## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_361_1_node_61 | 20 | n |  | TRUE
1 | bus_MV_361_1_node_62 | 20 | n |  | TRUE
2 | bus_MV_361_1_node_63 | 20 | n |  | TRUE
3 | bus_MV_361_1_node_64 | 20 | n |  | TRUE
4 | bus_MV_361_1_node_65 | 20 | n |  | TRUE
5 | bus_MV_361_1_node_98 | 20 | n |  | TRUE
6 | bus_MV_361_1_node_177 | 20 | n |  | TRUE
7 | bus_MV_361_1_node_66 | 20 | n |  | TRUE
8 | bus_MV_361_1_node_68 | 20 | n |  | TRUE
9 | bus_MV_361_1_node_71 | 20 | n |  | TRUE
10 | bus_MV_361_1_node_72 | 20 | n |  | TRUE
11 | bus_MV_361_1_node_69 | 20 | n |  | TRUE
12 | bus_MV_361_1_node_70 | 20 | n |  | TRUE
13 | bus_MV_361_1_node_86 | 20 | n |  | TRUE
14 | bus_MV_361_1_node_78 | 20 | n |  | TRUE
15 | bus_MV_361_1_node_92 | 20 | n |  | TRUE
16 | bus_MV_361_1_node_74 | 20 | n |  | TRUE
17 | bus_MV_361_1_node_75 | 20 | n |  | TRUE
18 | bus_MV_361_1_node_174 | 20 | n |  | TRUE
19 | bus_MV_361_1_node_90 | 20 | n |  | TRUE
20 | bus_MV_361_1_node_154 | 20 | n |  | TRUE
21 | bus_MV_361_1_node_73 | 20 | n |  | TRUE
22 | bus_MV_361_1_node_76 | 20 | n |  | TRUE
23 | bus_MV_361_1_node_77 | 20 | n |  | TRUE
24 | bus_MV_361_1_node_79 | 20 | n |  | TRUE
25 | bus_MV_361_1_node_80 | 20 | n |  | TRUE
26 | bus_MV_361_1_node_84 | 20 | n |  | TRUE
27 | bus_MV_361_1_node_85 | 20 | n |  | TRUE
28 | bus_MV_361_1_node_125 | 20 | n |  | TRUE
29 | bus_MV_361_1_node_81 | 20 | n |  | TRUE
30 | bus_MV_361_1_node_83 | 20 | n |  | TRUE
31 | bus_MV_361_1_node_87 | 20 | n |  | TRUE
32 | bus_MV_361_1_node_97 | 20 | n |  | TRUE
33 | bus_MV_361_1_node_82 | 20 | n |  | TRUE
34 | bus_MV_361_1_node_88 | 20 | n |  | TRUE
35 | bus_MV_361_1_node_89 | 20 | n |  | TRUE
36 | bus_MV_361_1_node_123 | 20 | n |  | TRUE
37 | bus_MV_361_1_node_160 | 20 | n |  | TRUE
38 | bus_MV_361_1_node_91 | 20 | n |  | TRUE
39 | bus_MV_361_1_node_178 | 20 | n |  | TRUE
40 | bus_MV_361_1_node_95 | 20 | n |  | TRUE
41 | bus_MV_361_1_node_155 | 20 | n |  | TRUE
42 | bus_MV_361_1_node_124 | 20 | n |  | TRUE
43 | bus_MV_361_1_node_149 | 20 | n |  | TRUE
44 | bus_MV_361_1_node_99 | 20 | n |  | TRUE
45 | bus_MV_361_1_node_100 | 20 | n |  | TRUE
46 | bus_MV_361_1_node_104 | 20 | n |  | TRUE
47 | bus_MV_361_1_node_119 | 20 | n |  | TRUE
48 | bus_MV_361_1_node_126 | 20 | n |  | TRUE
49 | bus_MV_361_1_node_101 | 20 | n |  | TRUE
50 | bus_MV_361_1_node_102 | 20 | n |  | TRUE
51 | bus_MV_361_1_node_176 | 20 | n |  | TRUE
52 | bus_MV_361_1_node_103 | 20 | n |  | TRUE
53 | bus_MV_361_1_node_109 | 20 | n |  | TRUE
54 | bus_MV_361_1_node_173 | 20 | n |  | TRUE
55 | bus_MV_361_1_node_118 | 20 | n |  | TRUE
56 | bus_MV_361_1_node_106 | 20 | n |  | TRUE
57 | bus_MV_361_1_node_116 | 20 | n |  | TRUE
58 | bus_MV_361_1_node_108 | 20 | n |  | TRUE
59 | bus_MV_361_1_node_156 | 20 | n |  | TRUE
60 | bus_MV_361_1_node_112 | 20 | n |  | TRUE
61 | bus_MV_361_1_node_113 | 20 | n |  | TRUE
62 | bus_MV_361_1_node_114 | 20 | n |  | TRUE
63 | bus_MV_361_1_node_115 | 20 | n |  | TRUE
64 | bus_MV_361_1_node_128 | 20 | n |  | TRUE
65 | bus_MV_361_1_node_158 | 20 | n |  | TRUE
66 | bus_MV_361_1_node_117 | 20 | n |  | TRUE
67 | bus_MV_361_1_node_157 | 20 | n |  | TRUE
68 | bus_MV_361_1_node_120 | 20 | n |  | TRUE
69 | bus_MV_361_1_node_121 | 20 | n |  | TRUE
70 | bus_MV_361_1_node_122 | 20 | n |  | TRUE
71 | bus_MV_361_1_node_175 | 20 | n |  | TRUE
72 | bus_MV_361_1_node_127 | 20 | n |  | TRUE
73 | bus_MV_361_1_node_129 | 20 | n |  | TRUE
74 | bus_MV_361_1_node_130 | 20 | n |  | TRUE
75 | bus_MV_361_1_node_152 | 20 | n |  | TRUE
76 | bus_MV_361_1_node_150 | 20 | n |  | TRUE
77 | bus_MV_361_1_node_151 | 20 | n |  | TRUE
78 | bus_MV_361_1_node_153 | 20 | n |  | TRUE
79 | bus_MV_361_1_node_161 | 20 | n |  | TRUE
80 | bus_MV_361_1_node_159 | 20 | n |  | TRUE
81 | bus_MV_361_1_node_179 | 20 | n |  | TRUE
82 | bus_HV_361_1_node_126 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_361_1_load_61 | 0 | 0.18505 | 0.089622 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_361_1_load_98 | 5 | 0.37662 | 0.18241 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_361_1_load_177 | 6 | 0.15701 | 0.076041 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_361_1_load_66 | 7 | 0.24528 | 0.1188 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_361_1_load_86 | 13 | 0.1568 | 0.075942 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_361_1_load_92 | 15 | 0.30811 | 0.14923 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_361_1_load_75 | 17 | 0.32134 | 0.15563 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_361_1_load_154 | 20 | 0.28714 | 0.13907 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_361_1_load_73 | 21 | 0.16735 | 0.081049 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_361_1_load_76 | 22 | 0.19625 | 0.095047 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_361_1_load_125 | 28 | 0.39438 | 0.19101 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_361_1_load_87 | 31 | 0.28049 | 0.13585 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_361_1_load_97 | 32 | 0.32217 | 0.15604 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_361_1_load_123 | 36 | 0.246 | 0.11914 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_361_1_load_160 | 37 | 0.26898 | 0.13027 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_361_1_load_91 | 38 | 0.2068 | 0.10016 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_361_1_load_95 | 40 | 0.37036 | 0.17937 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_361_1_load_155 | 41 | 0.15211 | 0.07367 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_361_1_load_124 | 42 | 0.34287 | 0.16606 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_361_1_load_149 | 43 | 0.069413 | 0.033618 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_361_1_load_126 | 48 | 0.38723 | 0.18754 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_361_1_load_176 | 51 | 0.37207 | 0.1802 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_361_1_load_109 | 53 | 0.31258 | 0.15139 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_361_1_load_173 | 54 | 0.15537 | 0.07525 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_361_1_load_118 | 55 | 0.23677 | 0.11467 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_361_1_load_106 | 56 | 0.23724 | 0.1149 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_361_1_load_112 | 60 | 0.36632 | 0.17742 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_361_1_load_158 | 65 | 0.35858 | 0.17367 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_361_1_load_117 | 66 | 0.20338 | 0.0985 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_361_1_load_157 | 67 | 0.75726 | 0.36676 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_361_1_load_120 | 68 | 0.17061 | 0.082632 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_361_1_load_175 | 71 | 0.33943 | 0.1644 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_361_1_load_127 | 72 | 0.24163 | 0.11703 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_361_1_load_130 | 74 | 0.13562 | 0.065684 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_361_1_load_150 | 76 | 2.0189 | 0.9778 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_361_1_load_153 | 78 | 0.11687 | 0.056601 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_361_1_load_161 | 79 | 0.082178 | 0.039801 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_361_1_load_159 | 80 | 0.28455 | 0.13781 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_361_1_load_179 | 81 | 0.069691 | 0.033753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_361_1_line_0 |  | 0 | 1 | 0.022301 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
1 | MV_361_1_line_1 |  | 0 | 2 | 0.048203 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
2 | MV_361_1_line_2 |  | 1 | 3 | 0.20044 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_361_1_line_3 |  | 2 | 4 | 0.26599 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_361_1_line_4 |  | 3 | 5 | 0.090715 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
5 | MV_361_1_line_5 |  | 4 | 6 | 0.010893 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_361_1_line_6 |  | 5 | 44 | 0.015055 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_361_1_line_7 |  | 6 | 49 | 0.3395 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_361_1_line_8 |  | 7 | 8 | 0.070428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_361_1_line_9 |  | 8 | 9 | 0.17779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_361_1_line_10 |  | 8 | 10 | 0.22853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_361_1_line_11 |  | 9 | 16 | 0.28327 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_361_1_line_12 |  | 9 | 17 | 0.038515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_361_1_line_13 |  | 10 | 18 | 0.20097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_361_1_line_14 |  | 10 | 19 | 0.22844 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_361_1_line_15 |  | 10 | 20 | 0.006447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_361_1_line_16 |  | 11 | 12 | 0.53503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_361_1_line_17 |  | 11 | 13 | 0.038673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_361_1_line_18 |  | 11 | 14 | 0.24951 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_361_1_line_19 |  | 12 | 15 | 0.11986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_361_1_line_20 |  | 14 | 26 | 0.47609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_361_1_line_21 |  | 14 | 27 | 0.70586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_361_1_line_22 |  | 14 | 22 | 0.080599 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_361_1_line_23 |  | 16 | 21 | 0.027808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_361_1_line_24 |  | 18 | 71 | 0.019087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_361_1_line_25 |  | 19 | 43 | 0.067041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_361_1_line_26 |  | 19 | 35 | 0.21626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_361_1_line_27 |  | 20 | 78 | 0.013892 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_361_1_line_28 |  | 22 | 23 | 0.017096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_361_1_line_29 |  | 23 | 24 | 0.30037 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_361_1_line_30 |  | 23 | 25 | 0.5888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_361_1_line_31 |  | 24 | 28 | 0.049129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_361_1_line_32 |  | 25 | 29 | 0.51403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_361_1_line_33 |  | 25 | 30 | 0.66225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_361_1_line_34 |  | 25 | 31 | 0.029594 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_361_1_line_35 |  | 26 | 38 | 0.036996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_361_1_line_36 |  | 26 | 39 | 2.0671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_361_1_line_37 |  | 27 | 40 | 0.006473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_361_1_line_38 |  | 29 | 32 | 0.11072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_361_1_line_39 |  | 30 | 37 | 0.042403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_361_1_line_40 |  | 30 | 33 | 0.25549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_361_1_line_41 |  | 33 | 34 | 0.41369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_361_1_line_42 |  | 33 | 35 | 0.38238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_361_1_line_43 |  | 33 | 36 | 0.033065 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
44 | MV_361_1_line_44 |  | 34 | 41 | 0.063771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_361_1_line_45 |  | 35 | 42 | 0.039893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_361_1_line_46 |  | 36 | 47 | 0.024178 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_361_1_line_47 |  | 37 | 80 | 0.00011384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_361_1_line_48 |  | 39 | 81 | 0.067369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_361_1_line_49 |  | 44 | 45 | 0.48287 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_361_1_line_50 |  | 45 | 46 | 0.77491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_361_1_line_51 |  | 45 | 47 | 1.1265 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_361_1_line_52 |  | 45 | 48 | 0.009493 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_361_1_line_53 |  | 46 | 55 | 0.031997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_361_1_line_54 |  | 49 | 50 | 0.33169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_361_1_line_55 |  | 49 | 51 | 0.086752 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_361_1_line_56 |  | 50 | 52 | 0.47507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_361_1_line_57 |  | 50 | 53 | 0.0622 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_361_1_line_58 |  | 51 | 57 | 0.38507 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_361_1_line_59 |  | 51 | 58 | 0.1833 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_361_1_line_60 |  | 52 | 54 | 0.062201 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_361_1_line_61 |  | 56 | 57 | 0.23092 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_361_1_line_62 |  | 57 | 67 | 0.051459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_361_1_line_63 |  | 58 | 59 | 0.10208 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_361_1_line_64 |  | 59 | 79 | 0.034115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_361_1_line_65 |  | 59 | 75 | 0.15678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_361_1_line_66 |  | 60 | 61 | 0.005722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_361_1_line_67 |  | 61 | 62 | 0.29271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_361_1_line_68 |  | 61 | 63 | 0.46097 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_361_1_line_69 |  | 62 | 64 | 0.061183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_361_1_line_70 |  | 62 | 65 | 0.040626 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_361_1_line_71 |  | 63 | 66 | 0.003328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_361_1_line_72 |  | 64 | 73 | 0.008078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_361_1_line_73 |  | 64 | 72 | 0.025065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_361_1_line_74 |  | 68 | 69 | 0.020777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_361_1_line_75 |  | 69 | 70 | 0.41586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_361_1_line_76 |  | 70 | 71 | 0.008627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_361_1_line_77 |  | 73 | 74 | 0.068816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_361_1_line_78 |  | 74 | 75 | 0.026061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_361_1_line_79 |  | 75 | 77 | 0.064052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_361_1_line_80 |  | 76 | 77 | 0.079419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_361_1_trafo_126 | 25 MVA 110/20 kV | 82 | 48 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2698244.9113 | 1232385.4637
1 | 2698228.0608 | 1232399.9855
2 | 2698273.0271 | 1232348.9689
3 | 2698215.1735 | 1232581.2282
4 | 2698395.1339 | 1232354.4148
5 | 2698127.7294 | 1232605.3686
6 | 2698406.0457 | 1232354.9625
7 | 2697079.1012 | 1233108.2542
8 | 2697038.4846 | 1233051.5939
9 | 2696960.3456 | 1232904.9223
10 | 2697151.7545 | 1232940.4179
11 | 2696975.2826 | 1233591.1253
12 | 2696805.9822 | 1233188.0475
13 | 2696983.6466 | 1233628.8562
14 | 2697220.6038 | 1233545.5993
15 | 2696782.2446 | 1233305.536
16 | 2696777.7368 | 1232869.2539
17 | 2696922.4082 | 1232911.7865
18 | 2697145.294 | 1232799.2532
19 | 2697241.9907 | 1233002.8058
20 | 2697150.3124 | 1232934.1342
21 | 2696757.8483 | 1232888.4775
22 | 2697218.0303 | 1233465.0536
23 | 2697234.4798 | 1233460.2302
24 | 2697330.4269 | 1233321.8877
25 | 2697590.6854 | 1233519.3447
26 | 2697418.7048 | 1233778.8034
27 | 2697173.6439 | 1233909.3102
28 | 2697328.0354 | 1233272.8235
29 | 2697765.9964 | 1233427.8693
30 | 2697544.4621 | 1233089.8811
31 | 2697562.9606 | 1233508.993
32 | 2697869.3661 | 1233408.7786
33 | 2697507.8363 | 1232937.5237
34 | 2697459.8618 | 1232856.8666
35 | 2697358.0039 | 1233117.7336
36 | 2697491.5276 | 1232908.7462
37 | 2697584.3695 | 1233075.5483
38 | 2697440.9885 | 1233751.5375
39 | 2698609.9613 | 1235468.1013
40 | 2697169.9299 | 1233904.0011
41 | 2697514.3898 | 1232824.3937
42 | 2697381.0421 | 1233150.3461
43 | 2697294.9458 | 1232964.6829
44 | 2698116.6375 | 1232613.4581
45 | 2698072.1177 | 1232946.3351
46 | 2697741.8983 | 1233057.2113
47 | 2697512.4618 | 1232896.5473
48 | 2698081.3064 | 1232943.8516
49 | 2698612.3302 | 1232624.6015
50 | 2698410.2051 | 1232794.1881
51 | 2698693.1517 | 1232595.3323
52 | 2698261.3649 | 1232961.9496
53 | 2698446.7812 | 1232844.4975
54 | 2698279.6688 | 1233021.396
55 | 2697750.9339 | 1233027.2044
56 | 2699154.2493 | 1232454.212
57 | 2699070.9933 | 1232669.6052
58 | 2698875.5234 | 1232576.9269
59 | 2698857.7652 | 1232677.4502
60 | 2699280.5466 | 1232786.9879
61 | 2699279.4682 | 1232792.6074
62 | 2699014.5693 | 1232796.2031
63 | 2699509.1333 | 1232867.5362
64 | 2698963.9259 | 1232816.4191
65 | 2699011.0519 | 1232755.7512
66 | 2699507.5545 | 1232870.4675
67 | 2699073.1172 | 1232721.0205
68 | 2697524.5322 | 1232733.292
69 | 2697505.3468 | 1232725.1825
70 | 2697149.553 | 1232779.1525
71 | 2697141.0318 | 1232780.6477
72 | 2698939.8666 | 1232823.4479
73 | 2698962.012 | 1232808.5704
74 | 2698896.9436 | 1232830.2827
75 | 2698871.1148 | 1232833.6097
76 | 2698805.317 | 1232765.8465
77 | 2698816.2729 | 1232844.5058
78 | 2697137.9331 | 1232927.8301
79 | 2698891.2781 | 1232678.5686
80 | 2697584.4767 | 1233075.5099
81 | 2698671.1216 | 1235494.1137
82 | 2698081.3064 | 1232943.8516

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99824 | -0.02537 | 0.18505 | 0.089622
1 | 0.99828 | -0.025201 | 0 | 0
2 | 0.99816 | -0.025724 | 0 | 0
3 | 0.99865 | -0.023661 | 0 | 0
4 | 0.99769 | -0.027638 | 0 | 0
5 | 0.99899 | -0.004364 | 0.37662 | 0.18241
6 | 0.99767 | -0.027715 | 0.15701 | 0.076041
7 | 0.99571 | 0.0058674 | 0.24528 | 0.1188
8 | 0.99573 | 0.0056628 | 0 | 0
9 | 0.99562 | 0.0065926 | 0 | 0
10 | 0.99595 | 0.0038868 | 0 | 0
11 | 0.9934 | 0.018377 | 0 | 0
12 | 0.99319 | 0.020154 | 0 | 0
13 | 0.99339 | 0.01845 | 0.1568 | 0.075942
14 | 0.99362 | 0.020095 | 0 | 0
15 | 0.99312 | 0.019701 | 0.30811 | 0.14923
16 | 0.99556 | 0.0070918 | 0 | 0
17 | 0.99561 | 0.0067409 | 0.32134 | 0.15563
18 | 0.99582 | 0.0049506 | 0 | 0
19 | 0.99642 | -9.1604e-05 | 0 | 0
20 | 0.99594 | 0.0039182 | 0.28714 | 0.13907
21 | 0.99556 | 0.0071474 | 0.16735 | 0.081049
22 | 0.99374 | 0.019257 | 0.19625 | 0.095047
23 | 0.99377 | 0.01904 | 0 | 0
24 | 0.99361 | 0.020385 | 0 | 0
25 | 0.99504 | 0.0093531 | 0 | 0
26 | 0.99346 | 0.021367 | 0 | 0
27 | 0.99329 | 0.022878 | 0 | 0
28 | 0.99359 | 0.020618 | 0.39438 | 0.19101
29 | 0.99483 | 0.011067 | 0 | 0
30 | 0.99697 | -0.0050623 | 0 | 0
31 | 0.99502 | 0.0092517 | 0.28049 | 0.13585
32 | 0.99478 | 0.011489 | 0.32217 | 0.15604
33 | 0.9979 | -0.012114 | 0 | 0
34 | 0.99782 | -0.011528 | 0 | 0
35 | 0.9969 | -0.0039398 | 0 | 0
36 | 0.99799 | -0.011031 | 0.246 | 0.11914
37 | 0.99694 | -0.0047812 | 0.26898 | 0.13027
38 | 0.99345 | 0.021459 | 0.2068 | 0.10016
39 | 0.99318 | 0.019103 | 0 | 0
40 | 0.99329 | 0.022907 | 0.37036 | 0.17937
41 | 0.9978 | -0.011414 | 0.15211 | 0.07367
42 | 0.99688 | -0.0037763 | 0.34287 | 0.16606
43 | 0.99642 | -3.895e-05 | 0.069413 | 0.033618
44 | 0.99902 | -0.0042408 | 0 | 0
45 | 0.99996 | -0.00018159 | 0 | 0
46 | 0.99973 | 0.0015196 | 0 | 0
47 | 0.99803 | -0.010815 | 0 | 0
48 | 1 | 0 | -11.5859 | -5.2299
49 | 0.99555 | -0.080443 | 0 | 0
50 | 0.99536 | -0.078896 | 0 | 0
51 | 0.99533 | -0.082854 | 0.37207 | 0.1802
52 | 0.99526 | -0.078178 | 0 | 0
53 | 0.99532 | -0.079133 | 0.31258 | 0.15139
54 | 0.99525 | -0.078296 | 0.15537 | 0.07525
55 | 0.99972 | 0.0016095 | 0.23677 | 0.11467
56 | 0.99448 | -0.088258 | 0.23724 | 0.1149
57 | 0.99458 | -0.087586 | 0 | 0
58 | 0.99412 | -0.090994 | 0 | 0
59 | 0.99344 | -0.095535 | 0 | 0
60 | 0.99233 | -0.085755 | 0.36632 | 0.17742
61 | 0.99233 | -0.085781 | 0 | 0
62 | 0.99254 | -0.087532 | 0 | 0
63 | 0.99221 | -0.084805 | 0 | 0
64 | 0.99262 | -0.088144 | 0 | 0
65 | 0.99252 | -0.087356 | 0.35858 | 0.17367
66 | 0.99221 | -0.084797 | 0.20338 | 0.0985
67 | 0.99453 | -0.087117 | 0.75726 | 0.36676
68 | 0.99571 | 0.0058206 | 0.17061 | 0.082632
69 | 0.99571 | 0.0057782 | 0 | 0
70 | 0.9958 | 0.0050668 | 0 | 0
71 | 0.9958 | 0.0050548 | 0.33943 | 0.1644
72 | 0.99261 | -0.088071 | 0.24163 | 0.11703
73 | 0.99263 | -0.088247 | 0 | 0
74 | 0.99273 | -0.089127 | 0.13562 | 0.065684
75 | 0.99277 | -0.089502 | 0 | 0
76 | 0.9924 | -0.086 | 2.0189 | 0.9778
77 | 0.99261 | -0.087942 | 0 | 0
78 | 0.99594 | 0.0038984 | 0.11687 | 0.056601
79 | 0.99344 | -0.095502 | 0.082178 | 0.039801
80 | 0.99694 | -0.0047808 | 0.28455 | 0.13781
81 | 0.99318 | 0.019157 | 0.069691 | 0.033753
82 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -5.6067 | -2.6456 | 5.607 | 2.6443 | 0.00022147 | -0.0012717 | 0.17928 | 0.17926 | 0.17928 | 0.99824 | -0.02537 | 0.99828 | -0.025201 | 28.1005
1 | 5.4217 | 2.556 | -5.4212 | -2.5587 | 0.00044761 | -0.0027658 | 0.17334 | 0.17337 | 0.17337 | 0.99824 | -0.02537 | 0.99816 | -0.025724 | 27.1744
2 | -5.607 | -2.6443 | 5.6089 | 2.6329 | 0.0019887 | -0.011436 | 0.17926 | 0.17911 | 0.17926 | 0.99828 | -0.025201 | 0.99865 | -0.023661 | 28.0978
3 | 5.4212 | 2.5587 | -5.4188 | -2.574 | 0.0024735 | -0.015251 | 0.17337 | 0.17358 | 0.17358 | 0.99816 | -0.025724 | 0.99769 | -0.027638 | 27.2067
4 | -5.6089 | -2.6329 | 5.61 | 2.6356 | 0.0010389 | 0.0026686 | 0.17911 | 0.17911 | 0.17911 | 0.99865 | -0.023661 | 0.99899 | -0.004364 | 27.7689
5 | 5.4188 | 2.574 | -5.4187 | -2.5746 | 0.00010142 | -0.00062414 | 0.17358 | 0.17359 | 0.17359 | 0.99769 | -0.027638 | 0.99767 | -0.027715 | 27.208
6 | -5.9866 | -2.818 | 5.9868 | 2.8171 | 0.00017005 | -0.0008483 | 0.1912 | 0.19119 | 0.1912 | 0.99899 | -0.004364 | 0.99902 | -0.0042408 | 29.9685
7 | 5.2617 | 2.4986 | -5.2528 | -2.4889 | 0.0088531 | 0.0097024 | 0.16854 | 0.16854 | 0.16854 | 0.99767 | -0.027715 | 0.99555 | -0.080443 | 48.1557
8 | -0.24528 | -0.1188 | 0.24529 | 0.11713 | 5.8542e-06 | -0.0016655 | 0.0079013 | 0.0078804 | 0.0079013 | 0.99571 | 0.0058674 | 0.99573 | 0.0056628 | 3.5915
9 | 0.48876 | 0.22422 | -0.4887 | -0.22841 | 5.7876e-05 | -0.0041912 | 0.01559 | 0.015641 | 0.015641 | 0.99573 | 0.0056628 | 0.99562 | 0.0065926 | 7.1095
10 | -0.73405 | -0.34135 | 0.73422 | 0.33599 | 0.00016758 | -0.0053614 | 0.023469 | 0.023404 | 0.023469 | 0.99573 | 0.0056628 | 0.99595 | 0.0038868 | 10.6679
11 | 0.16736 | 0.073691 | -0.16735 | -0.080391 | 1.0791e-05 | -0.0067007 | 0.005302 | 0.0053833 | 0.0053833 | 0.99562 | 0.0065926 | 0.99556 | 0.0070918 | 2.4469
12 | 0.32135 | 0.15472 | -0.32134 | -0.15563 | 5.5045e-06 | -0.00090991 | 0.010341 | 0.010352 | 0.010352 | 0.99562 | 0.0065926 | 0.99561 | 0.0067409 | 4.7057
13 | 0.51014 | 0.2313 | -0.51007 | -0.23604 | 7.097e-05 | -0.004738 | 0.016235 | 0.016293 | 0.016293 | 0.99595 | 0.0038868 | 0.99582 | 0.0049506 | 7.4058
14 | -1.6484 | -0.76279 | 1.6492 | 0.75763 | 0.00084419 | -0.0051624 | 0.052646 | 0.05258 | 0.052646 | 0.99595 | 0.0038868 | 0.99642 | -9.1604e-05 | 23.9298
15 | 0.404 | 0.1955 | -0.404 | -0.19565 | 1.4568e-06 | -0.00015225 | 0.013009 | 0.013011 | 0.013011 | 0.99595 | 0.0038868 | 0.99594 | 0.0039182 | 5.9141
16 | 0.3082 | 0.13651 | -0.30813 | -0.1491 | 6.9595e-05 | -0.012583 | 0.0097954 | 0.0099494 | 0.0099494 | 0.9934 | 0.018377 | 0.99319 | 0.020154 | 4.5224
17 | 0.1568 | 0.075031 | -0.1568 | -0.075942 | 1.3203e-06 | -0.00091082 | 0.0050513 | 0.0050628 | 0.0050628 | 0.9934 | 0.018377 | 0.99339 | 0.01845 | 2.3013
18 | -0.465 | -0.21155 | 0.4651 | 0.21131 | 9.7948e-05 | -0.00023266 | 0.014845 | 0.014842 | 0.014845 | 0.9934 | 0.018377 | 0.99362 | 0.020095 | 7.0692
19 | 0.30813 | 0.1491 | -0.30811 | -0.14923 | 2.1144e-05 | -0.0001279 | 0.0099494 | 0.0099511 | 0.0099511 | 0.99319 | 0.020154 | 0.99312 | 0.019701 | 4.7386
20 | 0.27656 | 0.11782 | -0.27651 | -0.12903 | 4.9205e-05 | -0.011206 | 0.0087335 | 0.0088664 | 0.0088664 | 0.99362 | 0.020095 | 0.99346 | 0.021367 | 4.0302
21 | 0.37049 | 0.16263 | -0.37036 | -0.17922 | 0.00013242 | -0.016594 | 0.011755 | 0.011958 | 0.011958 | 0.99362 | 0.020095 | 0.99329 | 0.022878 | 5.4352
22 | -1.1121 | -0.49176 | 1.1123 | 0.4899 | 0.00013421 | -0.0018603 | 0.035329 | 0.035306 | 0.035329 | 0.99362 | 0.020095 | 0.99374 | 0.019257 | 16.0585
23 | 0.16735 | 0.080391 | -0.16735 | -0.081049 | 1.0775e-06 | -0.00065774 | 0.0053833 | 0.0053916 | 0.0053916 | 0.99556 | 0.0070918 | 0.99556 | 0.0071474 | 2.4507
24 | 0.51007 | 0.23604 | -0.51007 | -0.23649 | 6.7664e-06 | -0.00044991 | 0.016293 | 0.016298 | 0.016298 | 0.99582 | 0.0049506 | 0.9958 | 0.0050548 | 7.4083
25 | 0.069414 | 0.032029 | -0.069413 | -0.033618 | 4.4288e-07 | -0.0015891 | 0.0022148 | 0.0022344 | 0.0022344 | 0.99642 | -9.1604e-05 | 0.99642 | -3.895e-05 | 1.0157
26 | -1.7186 | -0.78966 | 1.7195 | 0.78479 | 0.00086585 | -0.0048722 | 0.054795 | 0.054733 | 0.054795 | 0.99642 | -9.1604e-05 | 0.9969 | -0.0039398 | 24.9066
27 | 0.11687 | 0.056585 | -0.11687 | -0.056601 | 3.5062e-07 | -1.6231e-05 | 0.0037636 | 0.0037638 | 0.0037638 | 0.99594 | 0.0039182 | 0.99594 | 0.0038984 | 1.7923
28 | -1.3085 | -0.58495 | 1.3086 | 0.58456 | 3.9563e-05 | -0.00039136 | 0.041637 | 0.041632 | 0.041637 | 0.99374 | 0.019257 | 0.99377 | 0.01904 | 18.926
29 | 0.39446 | 0.18279 | -0.39439 | -0.18985 | 6.4397e-05 | -0.0070624 | 0.012629 | 0.012717 | 0.012717 | 0.99377 | 0.01904 | 0.99361 | 0.020385 | 5.7803
30 | -1.703 | -0.76735 | 1.7053 | 0.75413 | 0.0023072 | -0.013217 | 0.05426 | 0.054096 | 0.05426 | 0.99377 | 0.01904 | 0.99504 | 0.0093531 | 24.6638
31 | 0.39439 | 0.18985 | -0.39438 | -0.19101 | 1.0619e-05 | -0.0011549 | 0.012717 | 0.012731 | 0.012731 | 0.99361 | 0.020385 | 0.99359 | 0.020618 | 5.787
32 | 0.32226 | 0.1413 | -0.32219 | -0.15342 | 7.2528e-05 | -0.012128 | 0.010208 | 0.010355 | 0.010355 | 0.99504 | 0.0093531 | 0.99483 | 0.011067 | 4.7069
33 | -2.3081 | -1.0312 | 2.3128 | 1.017 | 0.0047435 | -0.014279 | 0.073341 | 0.073157 | 0.073341 | 0.99504 | 0.0093531 | 0.99697 | -0.0050623 | 33.3367
34 | 0.28049 | 0.13581 | -0.28049 | -0.13585 | 4.3104e-06 | -3.2279e-05 | 0.0090413 | 0.0090417 | 0.0090417 | 0.99504 | 0.0093531 | 0.99502 | 0.0092517 | 4.3056
35 | 0.2068 | 0.099285 | -0.2068 | -0.10016 | 2.1981e-06 | -0.00087114 | 0.0066657 | 0.0066767 | 0.0066767 | 0.99346 | 0.021367 | 0.99345 | 0.021459 | 3.0349
36 | 0.06971 | 0.029743 | -0.069692 | -0.032166 | 1.8092e-05 | -0.0024235 | 0.0022023 | 0.002231 | 0.002231 | 0.99346 | 0.021367 | 0.99318 | 0.019103 | 1.0624
37 | 0.37036 | 0.17922 | -0.37036 | -0.17937 | 1.2358e-06 | -0.00015212 | 0.011958 | 0.011959 | 0.011959 | 0.99329 | 0.022878 | 0.99329 | 0.022907 | 5.4361
38 | 0.32219 | 0.15342 | -0.32217 | -0.15604 | 1.5899e-05 | -0.0026114 | 0.010355 | 0.010388 | 0.010388 | 0.99483 | 0.011067 | 0.99478 | 0.011489 | 4.7218
39 | 0.55355 | 0.26708 | -0.55353 | -0.26808 | 1.7941e-05 | -0.0010009 | 0.017796 | 0.017809 | 0.017809 | 0.99697 | -0.0050623 | 0.99694 | -0.0047812 | 8.0949
40 | -2.8664 | -1.284 | 2.8692 | 1.2788 | 0.0028188 | -0.0052327 | 0.090944 | 0.090872 | 0.090944 | 0.99697 | -0.0050623 | 0.9979 | -0.012114 | 41.3381
41 | 0.15212 | 0.062323 | -0.15211 | -0.072154 | 1.2785e-05 | -0.0098313 | 0.0047557 | 0.0048707 | 0.0048707 | 0.9979 | -0.012114 | 0.99782 | -0.011528 | 2.2139
42 | 2.0646 | 0.94147 | -2.0624 | -0.9499 | 0.0022032 | -0.0084287 | 0.065641 | 0.065751 | 0.065751 | 0.9979 | -0.012114 | 0.9969 | -0.0039398 | 29.8868
43 | -5.0859 | -2.2826 | 5.0863 | 2.2818 | 0.0004153 | -0.00082787 | 0.16127 | 0.16125 | 0.16127 | 0.9979 | -0.012114 | 0.99799 | -0.011031 | 44.5484
44 | 0.15211 | 0.072154 | -0.15211 | -0.07367 | 2.0275e-06 | -0.0015153 | 0.0048707 | 0.0048896 | 0.0048896 | 0.99782 | -0.011528 | 0.9978 | -0.011414 | 2.2226
45 | 0.34288 | 0.16512 | -0.34287 | -0.16606 | 6.4747e-06 | -0.00094465 | 0.01102 | 0.011032 | 0.011032 | 0.9969 | -0.0039398 | 0.99688 | -0.0037763 | 5.0146
46 | -5.3323 | -2.4009 | 5.3325 | 2.3995 | 0.00021375 | -0.0013927 | 0.16915 | 0.16914 | 0.16915 | 0.99799 | -0.011031 | 0.99803 | -0.010815 | 26.5133
47 | 0.28455 | 0.13781 | -0.28455 | -0.13781 | 1.2512e-08 | -2.6981e-06 | 0.0091549 | 0.0091549 | 0.0091549 | 0.99694 | -0.0047812 | 0.99694 | -0.0047808 | 4.1613
48 | 0.069692 | 0.032166 | -0.069691 | -0.033753 | 4.5157e-07 | -0.0015865 | 0.002231 | 0.0022507 | 0.0022507 | 0.99318 | 0.019103 | 0.99318 | 0.019157 | 1.023
49 | -5.9868 | -2.8171 | 5.9922 | 2.7899 | 0.0054433 | -0.027244 | 0.19119 | 0.19082 | 0.19119 | 0.99902 | -0.0042408 | 0.99996 | -0.00018159 | 29.9667
50 | 0.23683 | 0.09543 | -0.23677 | -0.11391 | 5.7803e-05 | -0.018479 | 0.007371 | 0.0075868 | 0.0075868 | 0.99996 | -0.00018159 | 0.99973 | 0.0015196 | 3.4486
51 | 5.3424 | 2.3345 | -5.3325 | -2.3995 | 0.0099093 | -0.06506 | 0.16831 | 0.16914 | 0.16914 | 0.99996 | -0.00018159 | 0.99803 | -0.010815 | 26.5105
52 | -11.5715 | -5.2198 | 11.5719 | 5.2194 | 0.00039393 | -0.00037462 | 0.36647 | 0.36646 | 0.36647 | 0.99996 | -0.00018159 | 1 | 0 | 57.4397
53 | 0.23677 | 0.11391 | -0.23677 | -0.11467 | 2.4618e-06 | -0.00076282 | 0.0075868 | 0.0075964 | 0.0075964 | 0.99973 | 0.0015196 | 0.99972 | 0.0016095 | 3.4529
54 | 0.46808 | 0.20745 | -0.46798 | -0.21527 | 9.8205e-05 | -0.0078185 | 0.014846 | 0.014939 | 0.014939 | 0.99555 | -0.080443 | 0.99536 | -0.078896 | 6.7907
55 | 4.7847 | 2.2814 | -4.7837 | -2.2837 | 0.00099015 | -0.0022295 | 0.1537 | 0.15374 | 0.15374 | 0.99555 | -0.080443 | 0.99533 | -0.082854 | 42.4699
56 | 0.15539 | 0.063946 | -0.15538 | -0.075179 | 1.5462e-05 | -0.011232 | 0.0048733 | 0.0050065 | 0.0050065 | 0.99536 | -0.078896 | 0.99526 | -0.078178 | 2.2757
57 | 0.31259 | 0.15132 | -0.31258 | -0.15139 | 1.1244e-05 | -6.6521e-05 | 0.010072 | 0.010073 | 0.010073 | 0.99536 | -0.078896 | 0.99532 | -0.079133 | 4.7967
58 | 0.99527 | 0.48018 | -0.99456 | -0.4802 | 0.00070486 | -1.3572e-05 | 0.03205 | 0.032056 | 0.032056 | 0.99533 | -0.082854 | 0.99458 | -0.087586 | 15.2645
59 | 3.4164 | 1.6233 | -3.4125 | -1.621 | 0.0039303 | 0.0022453 | 0.1097 | 0.1097 | 0.1097 | 0.99533 | -0.082854 | 0.99412 | -0.090994 | 52.2403
60 | 0.15538 | 0.075179 | -0.15537 | -0.07525 | 2.7782e-06 | -7.1812e-05 | 0.0050065 | 0.0050074 | 0.0050074 | 0.99526 | -0.078178 | 0.99525 | -0.078296 | 2.3845
61 | -0.23724 | -0.1149 | 0.23726 | 0.11464 | 2.4078e-05 | -0.00025759 | 0.0076517 | 0.0076482 | 0.0076517 | 0.99448 | -0.088258 | 0.99458 | -0.087586 | 3.6436
62 | 0.7573 | 0.36556 | -0.75726 | -0.36676 | 4.095e-05 | -0.0012032 | 0.024407 | 0.024423 | 0.024423 | 0.99458 | -0.087586 | 0.99453 | -0.087117 | 11.1012
63 | 3.4125 | 1.621 | -3.4103 | -1.6198 | 0.0021889 | 0.0012507 | 0.1097 | 0.10971 | 0.10971 | 0.99412 | -0.090994 | 0.99344 | -0.095535 | 52.241
64 | 0.082179 | 0.038997 | -0.082178 | -0.039801 | 3.194e-07 | -0.00080378 | 0.0026432 | 0.0026533 | 0.0026533 | 0.99344 | -0.095535 | 0.99344 | -0.095502 | 1.206
65 | 3.3281 | 1.5808 | -3.3257 | -1.5838 | 0.0024002 | -0.00298 | 0.10706 | 0.10711 | 0.10711 | 0.99344 | -0.095535 | 0.99277 | -0.089502 | 48.6859
66 | -0.36632 | -0.17742 | 0.36632 | 0.17728 | 1.0708e-06 | -0.00013421 | 0.011841 | 0.011839 | 0.011841 | 0.99233 | -0.085755 | 0.99233 | -0.085781 | 5.3821
67 | -0.56972 | -0.26488 | 0.56985 | 0.25803 | 0.00012994 | -0.0068449 | 0.018277 | 0.018194 | 0.018277 | 0.99233 | -0.085781 | 0.99254 | -0.087532 | 8.3079
68 | 0.2034 | 0.087593 | -0.20338 | -0.098422 | 2.6052e-05 | -0.010829 | 0.0064425 | 0.0065735 | 0.0065735 | 0.99233 | -0.085781 | 0.99221 | -0.084805 | 2.988
69 | -0.92844 | -0.43074 | 0.92851 | 0.42933 | 7.2334e-05 | -0.0014178 | 0.029768 | 0.02975 | 0.029768 | 0.99254 | -0.087532 | 0.99262 | -0.088144 | 13.5308
70 | 0.35858 | 0.17271 | -0.35858 | -0.17367 | 7.2753e-06 | -0.00095341 | 0.011576 | 0.011588 | 0.011588 | 0.99254 | -0.087532 | 0.99252 | -0.087356 | 5.2673
71 | 0.20338 | 0.098422 | -0.20338 | -0.0985 | 1.9203e-07 | -7.817e-05 | 0.0065735 | 0.0065745 | 0.0065745 | 0.99221 | -0.084805 | 0.99221 | -0.084797 | 2.9884
72 | -1.1701 | -0.54577 | 1.1702 | 0.54558 | 1.5205e-05 | -0.00018553 | 0.03755 | 0.037548 | 0.03755 | 0.99262 | -0.088144 | 0.99263 | -0.088247 | 17.0682
73 | 0.24164 | 0.11644 | -0.24163 | -0.11703 | 2.0381e-06 | -0.00058905 | 0.0078007 | 0.0078081 | 0.0078081 | 0.99262 | -0.088144 | 0.99261 | -0.088071 | 3.5492
74 | -0.17061 | -0.082632 | 0.17061 | 0.08214 | 8.3689e-07 | -0.00049158 | 0.005496 | 0.0054898 | 0.005496 | 0.99571 | 0.0058206 | 0.99571 | 0.0057782 | 2.4982
75 | -0.17061 | -0.08214 | 0.17063 | 0.0723 | 1.6366e-05 | -0.0098402 | 0.0054898 | 0.0053722 | 0.0054898 | 0.99571 | 0.0057782 | 0.9958 | 0.0050668 | 2.4954
76 | -0.17063 | -0.0723 | 0.17063 | 0.072096 | 3.3224e-07 | -0.00020416 | 0.0053722 | 0.0053699 | 0.0053722 | 0.9958 | 0.0050668 | 0.9958 | 0.0050548 | 2.4419
77 | -1.1702 | -0.54558 | 1.1703 | 0.544 | 0.00012945 | -0.0015807 | 0.037548 | 0.037528 | 0.037548 | 0.99263 | -0.088247 | 0.99273 | -0.089127 | 17.0671
78 | -1.3059 | -0.60968 | 1.306 | 0.60909 | 6.1096e-05 | -0.00059512 | 0.041909 | 0.041902 | 0.041909 | 0.99273 | -0.089127 | 0.99277 | -0.089502 | 19.0496
79 | 2.0197 | 0.97467 | -2.0194 | -0.97607 | 0.00036372 | -0.0013992 | 0.06521 | 0.065229 | 0.065229 | 0.99277 | -0.089502 | 0.99261 | -0.087942 | 29.6494
80 | -2.0189 | -0.9778 | 2.0194 | 0.97607 | 0.00045127 | -0.001734 | 0.065252 | 0.065229 | 0.065252 | 0.9924 | -0.086 | 0.99261 | -0.087942 | 29.6601

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.9731 | 5.4174

## res_load
| p_mw | q_mvar
0 | 0.18505 | 0.089622
1 | 0.37662 | 0.18241
2 | 0.15701 | 0.076041
3 | 0.24528 | 0.1188
4 | 0.1568 | 0.075942
5 | 0.30811 | 0.14923
6 | 0.32134 | 0.15563
7 | 0.28714 | 0.13907
8 | 0.16735 | 0.081049
9 | 0.19625 | 0.095047
10 | 0.39438 | 0.19101
11 | 0.28049 | 0.13585
12 | 0.32217 | 0.15604
13 | 0.246 | 0.11914
14 | 0.26898 | 0.13027
15 | 0.2068 | 0.10016
16 | 0.37036 | 0.17937
17 | 0.15211 | 0.07367
18 | 0.34287 | 0.16606
19 | 0.069413 | 0.033618
20 | 0.38723 | 0.18754
21 | 0.37207 | 0.1802
22 | 0.31258 | 0.15139
23 | 0.15537 | 0.07525
24 | 0.23677 | 0.11467
25 | 0.23724 | 0.1149
26 | 0.36632 | 0.17742
27 | 0.35858 | 0.17367
28 | 0.20338 | 0.0985
29 | 0.75726 | 0.36676
30 | 0.17061 | 0.082632
31 | 0.33943 | 0.1644
32 | 0.24163 | 0.11703
33 | 0.13562 | 0.065684
34 | 2.0189 | 0.9778
35 | 0.11687 | 0.056601
36 | 0.082178 | 0.039801
37 | 0.28455 | 0.13781
38 | 0.069691 | 0.033753

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1