## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_362_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_362_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_362_0_node_15 | 20 | n |  | TRUE
3 | bus_MV_362_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_362_0_node_8 | 20 | n |  | TRUE
5 | bus_MV_362_0_node_9 | 20 | n |  | TRUE
6 | bus_MV_362_0_node_13 | 20 | n |  | TRUE
7 | bus_MV_362_0_node_14 | 20 | n |  | TRUE
8 | bus_MV_362_0_node_199 | 20 | n |  | TRUE
9 | bus_MV_362_0_node_11 | 20 | n |  | TRUE
10 | bus_MV_362_0_node_208 | 20 | n |  | TRUE
11 | bus_MV_362_0_node_2 | 20 | n |  | TRUE
12 | bus_MV_362_0_node_200 | 20 | n |  | TRUE
13 | bus_MV_362_0_node_4 | 20 | n |  | TRUE
14 | bus_MV_362_0_node_5 | 20 | n |  | TRUE
15 | bus_MV_362_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_362_0_node_202 | 20 | n |  | TRUE
17 | bus_MV_362_0_node_151 | 20 | n |  | TRUE
18 | bus_MV_362_0_node_38 | 20 | n |  | TRUE
19 | bus_MV_362_0_node_7 | 20 | n |  | TRUE
20 | bus_MV_362_0_node_30 | 20 | n |  | TRUE
21 | bus_MV_362_0_node_183 | 20 | n |  | TRUE
22 | bus_MV_362_0_node_19 | 20 | n |  | TRUE
23 | bus_MV_362_0_node_203 | 20 | n |  | TRUE
24 | bus_MV_362_0_node_117 | 20 | n |  | TRUE
25 | bus_MV_362_0_node_31 | 20 | n |  | TRUE
26 | bus_MV_362_0_node_20 | 20 | n |  | TRUE
27 | bus_MV_362_0_node_148 | 20 | n |  | TRUE
28 | bus_MV_362_0_node_204 | 20 | n |  | TRUE
29 | bus_MV_362_0_node_207 | 20 | n |  | TRUE
30 | bus_MV_362_0_node_12 | 20 | n |  | TRUE
31 | bus_MV_362_0_node_10 | 20 | n |  | TRUE
32 | bus_MV_362_0_node_17 | 20 | n |  | TRUE
33 | bus_MV_362_0_node_150 | 20 | n |  | TRUE
34 | bus_MV_362_0_node_16 | 20 | n |  | TRUE
35 | bus_MV_362_0_node_201 | 20 | n |  | TRUE
36 | bus_MV_362_0_node_205 | 20 | n |  | TRUE
37 | bus_MV_362_0_node_21 | 20 | n |  | TRUE
38 | bus_MV_362_0_node_149 | 20 | n |  | TRUE
39 | bus_MV_362_0_node_48 | 20 | n |  | TRUE
40 | bus_MV_362_0_node_213 | 20 | n |  | TRUE
41 | bus_MV_362_0_node_22 | 20 | n |  | TRUE
42 | bus_MV_362_0_node_39 | 20 | n |  | TRUE
43 | bus_MV_362_0_node_23 | 20 | n |  | TRUE
44 | bus_MV_362_0_node_24 | 20 | n |  | TRUE
45 | bus_MV_362_0_node_25 | 20 | n |  | TRUE
46 | bus_MV_362_0_node_26 | 20 | n |  | TRUE
47 | bus_MV_362_0_node_28 | 20 | n |  | TRUE
48 | bus_MV_362_0_node_133 | 20 | n |  | TRUE
49 | bus_MV_362_0_node_27 | 20 | n |  | TRUE
50 | bus_MV_362_0_node_132 | 20 | n |  | TRUE
51 | bus_MV_362_0_node_128 | 20 | n |  | TRUE
52 | bus_MV_362_0_node_140 | 20 | n |  | TRUE
53 | bus_MV_362_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_362_0_node_146 | 20 | n |  | TRUE
55 | bus_MV_362_0_node_141 | 20 | n |  | TRUE
56 | bus_MV_362_0_node_131 | 20 | n |  | TRUE
57 | bus_MV_362_0_node_129 | 20 | n |  | TRUE
58 | bus_MV_362_0_node_127 | 20 | n |  | TRUE
59 | bus_MV_362_0_node_145 | 20 | n |  | TRUE
60 | bus_MV_362_0_node_142 | 20 | n |  | TRUE
61 | bus_MV_362_0_node_32 | 20 | n |  | TRUE
62 | bus_MV_362_0_node_139 | 20 | n |  | TRUE
63 | bus_MV_362_0_node_138 | 20 | n |  | TRUE
64 | bus_MV_362_0_node_36 | 20 | n |  | TRUE
65 | bus_MV_362_0_node_33 | 20 | n |  | TRUE
66 | bus_MV_362_0_node_34 | 20 | n |  | TRUE
67 | bus_MV_362_0_node_35 | 20 | n |  | TRUE
68 | bus_MV_362_0_node_37 | 20 | n |  | TRUE
69 | bus_MV_362_0_node_130 | 20 | n |  | TRUE
70 | bus_MV_362_0_node_122 | 20 | n |  | TRUE
71 | bus_MV_362_0_node_198 | 20 | n |  | TRUE
72 | bus_MV_362_0_node_41 | 20 | n |  | TRUE
73 | bus_MV_362_0_node_43 | 20 | n |  | TRUE
74 | bus_MV_362_0_node_42 | 20 | n |  | TRUE
75 | bus_MV_362_0_node_47 | 20 | n |  | TRUE
76 | bus_MV_362_0_node_44 | 20 | n |  | TRUE
77 | bus_MV_362_0_node_45 | 20 | n |  | TRUE
78 | bus_MV_362_0_node_206 | 20 | n |  | TRUE
79 | bus_MV_362_0_node_154 | 20 | n |  | TRUE
80 | bus_MV_362_0_node_153 | 20 | n |  | TRUE
81 | bus_MV_362_0_node_46 | 20 | n |  | TRUE
82 | bus_MV_362_0_node_51 | 20 | n |  | TRUE
83 | bus_MV_362_0_node_50 | 20 | n |  | TRUE
84 | bus_MV_362_0_node_49 | 20 | n |  | TRUE
85 | bus_MV_362_0_node_52 | 20 | n |  | TRUE
86 | bus_MV_362_0_node_155 | 20 | n |  | TRUE
87 | bus_MV_362_0_node_55 | 20 | n |  | TRUE
88 | bus_MV_362_0_node_195 | 20 | n |  | TRUE
89 | bus_MV_362_0_node_56 | 20 | n |  | TRUE
90 | bus_MV_362_0_node_53 | 20 | n |  | TRUE
91 | bus_MV_362_0_node_54 | 20 | n |  | TRUE
92 | bus_MV_362_0_node_194 | 20 | n |  | TRUE
93 | bus_MV_362_0_node_210 | 20 | n |  | TRUE
94 | bus_MV_362_0_node_181 | 20 | n |  | TRUE
95 | bus_MV_362_0_node_209 | 20 | n |  | TRUE
96 | bus_MV_362_0_node_143 | 20 | n |  | TRUE
97 | bus_MV_362_0_node_59 | 20 | n |  | TRUE
98 | bus_MV_362_0_node_60 | 20 | n |  | TRUE
99 | bus_MV_362_0_node_61 | 20 | n |  | TRUE
100 | bus_MV_362_0_node_63 | 20 | n |  | TRUE
101 | bus_MV_362_0_node_62 | 20 | n |  | TRUE
102 | bus_MV_362_0_node_189 | 20 | n |  | TRUE
103 | bus_MV_362_0_node_64 | 20 | n |  | TRUE
104 | bus_MV_362_0_node_121 | 20 | n |  | TRUE
105 | bus_MV_362_0_node_178 | 20 | n |  | TRUE
106 | bus_MV_362_0_node_65 | 20 | n |  | TRUE
107 | bus_MV_362_0_node_163 | 20 | n |  | TRUE
108 | bus_MV_362_0_node_164 | 20 | n |  | TRUE
109 | bus_MV_362_0_node_66 | 20 | n |  | TRUE
110 | bus_MV_362_0_node_67 | 20 | n |  | TRUE
111 | bus_MV_362_0_node_68 | 20 | n |  | TRUE
112 | bus_MV_362_0_node_72 | 20 | n |  | TRUE
113 | bus_MV_362_0_node_70 | 20 | n |  | TRUE
114 | bus_MV_362_0_node_74 | 20 | n |  | TRUE
115 | bus_MV_362_0_node_167 | 20 | n |  | TRUE
116 | bus_MV_362_0_node_69 | 20 | n |  | TRUE
117 | bus_MV_362_0_node_182 | 20 | n |  | TRUE
118 | bus_MV_362_0_node_71 | 20 | n |  | TRUE
119 | bus_MV_362_0_node_161 | 20 | n |  | TRUE
120 | bus_MV_362_0_node_109 | 20 | n |  | TRUE
121 | bus_MV_362_0_node_187 | 20 | n |  | TRUE
122 | bus_MV_362_0_node_99 | 20 | n |  | TRUE
123 | bus_MV_362_0_node_108 | 20 | n |  | TRUE
124 | bus_MV_362_0_node_73 | 20 | n |  | TRUE
125 | bus_MV_362_0_node_114 | 20 | n |  | TRUE
126 | bus_MV_362_0_node_110 | 20 | n |  | TRUE
127 | bus_MV_362_0_node_111 | 20 | n |  | TRUE
128 | bus_MV_362_0_node_92 | 20 | n |  | TRUE
129 | bus_MV_362_0_node_89 | 20 | n |  | TRUE
130 | bus_MV_362_0_node_100 | 20 | n |  | TRUE
131 | bus_MV_362_0_node_101 | 20 | n |  | TRUE
132 | bus_MV_362_0_node_214 | 20 | n |  | TRUE
133 | bus_MV_362_0_node_98 | 20 | n |  | TRUE
134 | bus_MV_362_0_node_75 | 20 | n |  | TRUE
135 | bus_MV_362_0_node_76 | 20 | n |  | TRUE
136 | bus_MV_362_0_node_166 | 20 | n |  | TRUE
137 | bus_MV_362_0_node_165 | 20 | n |  | TRUE
138 | bus_MV_362_0_node_77 | 20 | n |  | TRUE
139 | bus_MV_362_0_node_79 | 20 | n |  | TRUE
140 | bus_MV_362_0_node_185 | 20 | n |  | TRUE
141 | bus_MV_362_0_node_81 | 20 | n |  | TRUE
142 | bus_MV_362_0_node_82 | 20 | n |  | TRUE
143 | bus_MV_362_0_node_186 | 20 | n |  | TRUE
144 | bus_MV_362_0_node_102 | 20 | n |  | TRUE
145 | bus_MV_362_0_node_107 | 20 | n |  | TRUE
146 | bus_MV_362_0_node_105 | 20 | n |  | TRUE
147 | bus_MV_362_0_node_83 | 20 | n |  | TRUE
148 | bus_MV_362_0_node_84 | 20 | n |  | TRUE
149 | bus_MV_362_0_node_85 | 20 | n |  | TRUE
150 | bus_MV_362_0_node_86 | 20 | n |  | TRUE
151 | bus_MV_362_0_node_97 | 20 | n |  | TRUE
152 | bus_MV_362_0_node_158 | 20 | n |  | TRUE
153 | bus_MV_362_0_node_160 | 20 | n |  | TRUE
154 | bus_MV_362_0_node_184 | 20 | n |  | TRUE
155 | bus_MV_362_0_node_212 | 20 | n |  | TRUE
156 | bus_MV_362_0_node_157 | 20 | n |  | TRUE
157 | bus_MV_362_0_node_196 | 20 | n |  | TRUE
158 | bus_MV_362_0_node_156 | 20 | n |  | TRUE
159 | bus_MV_362_0_node_159 | 20 | n |  | TRUE
160 | bus_MV_362_0_node_174 | 20 | n |  | TRUE
161 | bus_MV_362_0_node_173 | 20 | n |  | TRUE
162 | bus_MV_362_0_node_190 | 20 | n |  | TRUE
163 | bus_MV_362_0_node_191 | 20 | n |  | TRUE
164 | bus_MV_362_0_node_87 | 20 | n |  | TRUE
165 | bus_MV_362_0_node_88 | 20 | n |  | TRUE
166 | bus_MV_362_0_node_91 | 20 | n |  | TRUE
167 | bus_MV_362_0_node_115 | 20 | n |  | TRUE
168 | bus_MV_362_0_node_93 | 20 | n |  | TRUE
169 | bus_MV_362_0_node_94 | 20 | n |  | TRUE
170 | bus_MV_362_0_node_197 | 20 | n |  | TRUE
171 | bus_MV_362_0_node_95 | 20 | n |  | TRUE
172 | bus_MV_362_0_node_96 | 20 | n |  | TRUE
173 | bus_MV_362_0_node_176 | 20 | n |  | TRUE
174 | bus_MV_362_0_node_118 | 20 | n |  | TRUE
175 | bus_MV_362_0_node_175 | 20 | n |  | TRUE
176 | bus_MV_362_0_node_103 | 20 | n |  | TRUE
177 | bus_MV_362_0_node_104 | 20 | n |  | TRUE
178 | bus_MV_362_0_node_106 | 20 | n |  | TRUE
179 | bus_MV_362_0_node_168 | 20 | n |  | TRUE
180 | bus_MV_362_0_node_169 | 20 | n |  | TRUE
181 | bus_MV_362_0_node_193 | 20 | n |  | TRUE
182 | bus_MV_362_0_node_171 | 20 | n |  | TRUE
183 | bus_MV_362_0_node_170 | 20 | n |  | TRUE
184 | bus_MV_362_0_node_112 | 20 | n |  | TRUE
185 | bus_MV_362_0_node_113 | 20 | n |  | TRUE
186 | bus_MV_362_0_node_162 | 20 | n |  | TRUE
187 | bus_MV_362_0_node_172 | 20 | n |  | TRUE
188 | bus_MV_362_0_node_192 | 20 | n |  | TRUE
189 | bus_MV_362_0_node_177 | 20 | n |  | TRUE
190 | bus_MV_362_0_node_211 | 20 | n |  | TRUE
191 | bus_MV_362_0_node_119 | 20 | n |  | TRUE
192 | bus_MV_362_0_node_120 | 20 | n |  | TRUE
193 | bus_MV_362_0_node_144 | 20 | n |  | TRUE
194 | bus_MV_362_0_node_123 | 20 | n |  | TRUE
195 | bus_MV_362_0_node_124 | 20 | n |  | TRUE
196 | bus_MV_362_0_node_179 | 20 | n |  | TRUE
197 | bus_MV_362_0_node_180 | 20 | n |  | TRUE
198 | bus_MV_362_0_node_125 | 20 | n |  | TRUE
199 | bus_MV_362_0_node_126 | 20 | n |  | TRUE
200 | bus_MV_362_0_node_152 | 20 | n |  | TRUE
201 | bus_MV_362_0_node_136 | 20 | n |  | TRUE
202 | bus_MV_362_0_node_134 | 20 | n |  | TRUE
203 | bus_MV_362_0_node_135 | 20 | n |  | TRUE
204 | bus_MV_362_0_node_137 | 20 | n |  | TRUE
205 | bus_MV_362_0_node_147 | 20 | n |  | TRUE
206 | bus_HV_362_0_node_117 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_362_0_load_0 | 0 | 0.27973 | 0.13548 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_362_0_load_199 | 8 | 0.30735 | 0.14886 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_362_0_load_208 | 10 | 0.17377 | 0.08416 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_362_0_load_200 | 12 | 0.08524 | 0.041284 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_362_0_load_202 | 16 | 0.1812 | 0.08776 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_362_0_load_151 | 17 | 0.089129 | 0.043167 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_362_0_load_38 | 18 | 0.18566 | 0.089917 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_362_0_load_30 | 20 | 0.18988 | 0.091962 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_362_0_load_183 | 21 | 0.19196 | 0.092972 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_362_0_load_19 | 22 | 0.18791 | 0.091009 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_362_0_load_203 | 23 | 0.27288 | 0.13216 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_362_0_load_117 | 24 | 0.087011 | 0.042141 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_362_0_load_207 | 29 | 0.2716 | 0.13154 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_362_0_load_10 | 31 | 0.29489 | 0.14282 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_362_0_load_150 | 33 | 0.41115 | 0.19913 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_362_0_load_201 | 35 | 0.40727 | 0.19725 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_362_0_load_205 | 36 | 0.23716 | 0.11486 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_362_0_load_213 | 40 | 0.088995 | 0.043102 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_362_0_load_39 | 42 | 0.2554 | 0.1237 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_362_0_load_23 | 43 | 0.34949 | 0.16927 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_362_0_load_133 | 48 | 0.14544 | 0.070442 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_362_0_load_140 | 52 | 0.17728 | 0.08586 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_362_0_load_146 | 54 | 0.20366 | 0.098638 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_362_0_load_141 | 55 | 0.20643 | 0.099978 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_362_0_load_131 | 56 | 0.072043 | 0.034892 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_362_0_load_127 | 58 | 0.07122 | 0.034493 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_362_0_load_139 | 62 | 0.11063 | 0.053583 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_362_0_load_138 | 63 | 0.10134 | 0.049083 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_362_0_load_33 | 65 | 0.19207 | 0.093024 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_362_0_load_37 | 68 | 0.36708 | 0.17779 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_362_0_load_122 | 70 | 0.26029 | 0.12606 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_362_0_load_198 | 71 | 0.16293 | 0.07891 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_362_0_load_41 | 72 | 0.26837 | 0.12998 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_362_0_load_206 | 78 | 0.28748 | 0.13923 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_362_0_load_153 | 80 | 0.071727 | 0.034739 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_362_0_load_50 | 83 | 0.33581 | 0.16264 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_362_0_load_52 | 85 | 0.27163 | 0.13156 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_362_0_load_155 | 86 | 0.071423 | 0.034592 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_362_0_load_55 | 87 | 0.07691 | 0.037249 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_362_0_load_195 | 88 | 0.29712 | 0.1439 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_362_0_load_56 | 89 | 0.20284 | 0.09824 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_362_0_load_194 | 92 | 0.38906 | 0.18843 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_362_0_load_210 | 93 | 0.092555 | 0.044826 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_362_0_load_209 | 95 | 0.083912 | 0.04064 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_362_0_load_59 | 97 | 0.13607 | 0.065901 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_362_0_load_63 | 100 | 0.13045 | 0.06318 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_362_0_load_189 | 102 | 0.078886 | 0.038206 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_362_0_load_178 | 105 | 0.088742 | 0.04298 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_362_0_load_163 | 107 | 0.65461 | 0.31704 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_362_0_load_66 | 109 | 0.1902 | 0.092119 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_362_0_load_167 | 115 | 0.11073 | 0.053628 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_362_0_load_182 | 117 | 0.35455 | 0.17172 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_362_0_load_161 | 119 | 0.099446 | 0.048164 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_362_0_load_109 | 120 | 0.27083 | 0.13117 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_362_0_load_187 | 121 | 0.29348 | 0.14214 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_362_0_load_108 | 123 | 0.18366 | 0.088953 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_362_0_load_73 | 124 | 0.33653 | 0.16299 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_362_0_load_214 | 132 | 0.37056 | 0.17947 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_362_0_load_98 | 133 | 0.2774 | 0.13435 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_362_0_load_166 | 136 | 0.58209 | 0.28192 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_362_0_load_165 | 137 | 0.66864 | 0.32384 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_362_0_load_77 | 138 | 0.37102 | 0.17969 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_362_0_load_185 | 140 | 0.1697 | 0.08219 | 0 | 0 |  | 1 | TRUE | wye
63 | MV_362_0_load_186 | 143 | 0.34814 | 0.16861 | 0 | 0 |  | 1 | TRUE | wye
64 | MV_362_0_load_102 | 144 | 0.16318 | 0.07903 | 0 | 0 |  | 1 | TRUE | wye
65 | MV_362_0_load_83 | 147 | 0.23113 | 0.11194 | 0 | 0 |  | 1 | TRUE | wye
66 | MV_362_0_load_97 | 151 | 0.21441 | 0.10384 | 0 | 0 |  | 1 | TRUE | wye
67 | MV_362_0_load_184 | 154 | 0.2763 | 0.13382 | 0 | 0 |  | 1 | TRUE | wye
68 | MV_362_0_load_212 | 155 | 0.16777 | 0.081254 | 0 | 0 |  | 1 | TRUE | wye
69 | MV_362_0_load_196 | 157 | 0.24598 | 0.11913 | 0 | 0 |  | 1 | TRUE | wye
70 | MV_362_0_load_156 | 158 | 0.71204 | 0.34486 | 0 | 0 |  | 1 | TRUE | wye
71 | MV_362_0_load_173 | 161 | 0.075527 | 0.036579 | 0 | 0 |  | 1 | TRUE | wye
72 | MV_362_0_load_87 | 164 | 0.26409 | 0.12791 | 0 | 0 |  | 1 | TRUE | wye
73 | MV_362_0_load_115 | 167 | 0.21708 | 0.10514 | 0 | 0 |  | 1 | TRUE | wye
74 | MV_362_0_load_93 | 168 | 0.28703 | 0.13901 | 0 | 0 |  | 1 | TRUE | wye
75 | MV_362_0_load_197 | 170 | 0.19622 | 0.095032 | 0 | 0 |  | 1 | TRUE | wye
76 | MV_362_0_load_176 | 173 | 0.071004 | 0.034389 | 0 | 0 |  | 1 | TRUE | wye
77 | MV_362_0_load_118 | 174 | 0.36029 | 0.1745 | 0 | 0 |  | 1 | TRUE | wye
78 | MV_362_0_load_175 | 175 | 0.12139 | 0.05879 | 0 | 0 |  | 1 | TRUE | wye
79 | MV_362_0_load_103 | 176 | 0.14997 | 0.072632 | 0 | 0 |  | 1 | TRUE | wye
80 | MV_362_0_load_168 | 179 | 0.21485 | 0.10406 | 0 | 0 |  | 1 | TRUE | wye
81 | MV_362_0_load_169 | 180 | 0.13106 | 0.063477 | 0 | 0 |  | 1 | TRUE | wye
82 | MV_362_0_load_193 | 181 | 0.29875 | 0.14469 | 0 | 0 |  | 1 | TRUE | wye
83 | MV_362_0_load_112 | 184 | 0.20344 | 0.09853 | 0 | 0 |  | 1 | TRUE | wye
84 | MV_362_0_load_162 | 186 | 0.075468 | 0.036551 | 0 | 0 |  | 1 | TRUE | wye
85 | MV_362_0_load_192 | 188 | 0.39002 | 0.18889 | 0 | 0 |  | 1 | TRUE | wye
86 | MV_362_0_load_211 | 190 | 0.33937 | 0.16436 | 0 | 0 |  | 1 | TRUE | wye
87 | MV_362_0_load_119 | 191 | 0.41282 | 0.19994 | 0 | 0 |  | 1 | TRUE | wye
88 | MV_362_0_load_144 | 193 | 0.12649 | 0.061261 | 0 | 0 |  | 1 | TRUE | wye
89 | MV_362_0_load_123 | 194 | 0.2495 | 0.12084 | 0 | 0 |  | 1 | TRUE | wye
90 | MV_362_0_load_179 | 196 | 0.3565 | 0.17266 | 0 | 0 |  | 1 | TRUE | wye
91 | MV_362_0_load_125 | 198 | 0.43189 | 0.20917 | 0 | 0 |  | 1 | TRUE | wye
92 | MV_362_0_load_152 | 200 | 0.069645 | 0.033731 | 0 | 0 |  | 1 | TRUE | wye
93 | MV_362_0_load_136 | 201 | 0.080036 | 0.038763 | 0 | 0 |  | 1 | TRUE | wye
94 | MV_362_0_load_134 | 202 | 0.10115 | 0.048991 | 0 | 0 |  | 1 | TRUE | wye
95 | MV_362_0_load_135 | 203 | 0.18573 | 0.089954 | 0 | 0 |  | 1 | TRUE | wye
96 | MV_362_0_load_137 | 204 | 0.069967 | 0.033887 | 0 | 0 |  | 1 | TRUE | wye
97 | MV_362_0_load_147 | 205 | 0.21822 | 0.10569 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_362_0_line_0 |  | 0 | 1 | 0.030046 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_362_0_line_1 |  | 0 | 2 | 0.31227 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_362_0_line_2 |  | 1 | 3 | 0.35375 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
3 | MV_362_0_line_3 |  | 1 | 4 | 0.42507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_362_0_line_4 |  | 1 | 5 | 0.32612 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
5 | MV_362_0_line_5 |  | 2 | 10 | 0.017013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_362_0_line_6 |  | 3 | 13 | 0.33978 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
7 | MV_362_0_line_7 |  | 3 | 15 | 0.28795 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_362_0_line_8 |  | 3 | 16 | 0.028177 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_362_0_line_9 |  | 4 | 22 | 0.04127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_362_0_line_10 |  | 5 | 23 | 0.045838 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
11 | MV_362_0_line_11 |  | 6 | 7 | 0.24474 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
12 | MV_362_0_line_12 |  | 6 | 8 | 0.073937 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_362_0_line_13 |  | 6 | 9 | 0.55793 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
14 | MV_362_0_line_14 |  | 7 | 33 | 0.012718 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
15 | MV_362_0_line_15 |  | 9 | 32 | 0.64689 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
16 | MV_362_0_line_16 |  | 9 | 31 | 0.013274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_362_0_line_17 |  | 11 | 12 | 0.028333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_362_0_line_18 |  | 11 | 13 | 0.24998 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
19 | MV_362_0_line_19 |  | 11 | 14 | 0.25553 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
20 | MV_362_0_line_20 |  | 13 | 17 | 0.046628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_362_0_line_21 |  | 14 | 18 | 0.048981 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
22 | MV_362_0_line_22 |  | 15 | 19 | 0.2614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_362_0_line_23 |  | 15 | 20 | 0.013736 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_362_0_line_24 |  | 18 | 24 | 1.4989 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
25 | MV_362_0_line_25 |  | 19 | 21 | 0.0031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_362_0_line_26 |  | 20 | 25 | 0.010698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_362_0_line_27 |  | 22 | 26 | 0.013345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_362_0_line_28 |  | 23 | 27 | 0.14925 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
29 | MV_362_0_line_29 |  | 24 | 70 | 1.4811 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_362_0_line_30 |  | 24 | 71 | 1.8537 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
31 | MV_362_0_line_31 |  | 25 | 61 | 0.41719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_362_0_line_32 |  | 26 | 41 | 0.70505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_362_0_line_33 |  | 27 | 38 | 0.023839 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
34 | MV_362_0_line_34 |  | 27 | 205 | 0.021526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_362_0_line_35 |  | 28 | 29 | 0.037522 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_362_0_line_36 |  | 28 | 30 | 0.20415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_362_0_line_37 |  | 30 | 31 | 0.027869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_362_0_line_38 |  | 32 | 36 | 0.20868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_362_0_line_39 |  | 32 | 37 | 0.56531 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_362_0_line_40 |  | 32 | 34 | 0.74833 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
41 | MV_362_0_line_41 |  | 33 | 38 | 0.035013 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
42 | MV_362_0_line_42 |  | 34 | 35 | 0.0088194 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
43 | MV_362_0_line_43 |  | 35 | 39 | 0.024048 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
44 | MV_362_0_line_44 |  | 37 | 40 | 0.028413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_362_0_line_45 |  | 39 | 86 | 0.13864 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
46 | MV_362_0_line_46 |  | 41 | 42 | 0.017407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_362_0_line_47 |  | 43 | 44 | 0.027662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_362_0_line_48 |  | 43 | 45 | 0.048012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_362_0_line_49 |  | 44 | 46 | 0.092118 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_362_0_line_50 |  | 45 | 47 | 0.093826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_362_0_line_51 |  | 46 | 48 | 0.034782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_362_0_line_52 |  | 46 | 49 | 0.10732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_362_0_line_53 |  | 46 | 50 | 0.046674 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_362_0_line_54 |  | 47 | 53 | 0.23744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_362_0_line_55 |  | 47 | 54 | 0.053609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_362_0_line_56 |  | 49 | 51 | 0.16103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_362_0_line_57 |  | 49 | 52 | 0.0084812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_362_0_line_58 |  | 50 | 56 | 0.064356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_362_0_line_59 |  | 51 | 57 | 0.057214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_362_0_line_60 |  | 51 | 58 | 0.041428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_362_0_line_61 |  | 53 | 55 | 0.0025201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_362_0_line_62 |  | 54 | 59 | 0.020704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_362_0_line_63 |  | 55 | 60 | 0.052337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_362_0_line_64 |  | 57 | 200 | 0.011783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_362_0_line_65 |  | 58 | 69 | 0.049627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_362_0_line_66 |  | 58 | 199 | 0.023013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_362_0_line_67 |  | 59 | 193 | 0.05784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_362_0_line_68 |  | 60 | 96 | 0.19768 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_362_0_line_69 |  | 60 | 195 | 1.0237 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_362_0_line_70 |  | 61 | 62 | 0.035618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_362_0_line_71 |  | 61 | 63 | 0.054706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_362_0_line_72 |  | 62 | 64 | 0.025241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_362_0_line_73 |  | 64 | 66 | 0.038721 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_362_0_line_74 |  | 65 | 66 | 0.027825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_362_0_line_75 |  | 65 | 67 | 0.047553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_362_0_line_76 |  | 67 | 68 | 0.009574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_362_0_line_77 |  | 68 | 69 | 0.080801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_362_0_line_78 |  | 70 | 104 | 0.050753 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_362_0_line_79 |  | 71 | 130 | 0.039868 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
80 | MV_362_0_line_80 |  | 72 | 73 | 0.042645 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_362_0_line_81 |  | 72 | 74 | 0.10539 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
82 | MV_362_0_line_82 |  | 73 | 75 | 0.1769 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
83 | MV_362_0_line_83 |  | 74 | 76 | 0.34354 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
84 | MV_362_0_line_84 |  | 74 | 77 | 0.31698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_362_0_line_85 |  | 75 | 84 | 0.41753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_362_0_line_86 |  | 75 | 85 | 0.031912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_362_0_line_87 |  | 75 | 81 | 0.45706 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
88 | MV_362_0_line_88 |  | 76 | 79 | 0.040892 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
89 | MV_362_0_line_89 |  | 76 | 80 | 0.061891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_362_0_line_90 |  | 77 | 78 | 0.013676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_362_0_line_91 |  | 79 | 86 | 0.1073 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_362_0_line_92 |  | 81 | 82 | 0.70187 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_362_0_line_93 |  | 81 | 83 | 0.071253 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_362_0_line_94 |  | 82 | 88 | 0.057496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_362_0_line_95 |  | 82 | 89 | 1.0634 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
96 | MV_362_0_line_96 |  | 84 | 87 | 0.03042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_362_0_line_97 |  | 85 | 90 | 0.009603 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_362_0_line_98 |  | 90 | 91 | 0.28384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_362_0_line_99 |  | 91 | 92 | 0.10469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_362_0_line_100 |  | 93 | 94 | 0.015854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_362_0_line_101 |  | 94 | 197 | 0.13638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_362_0_line_102 |  | 95 | 96 | 0.13494 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_362_0_line_103 |  | 97 | 98 | 0.10456 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
104 | MV_362_0_line_104 |  | 97 | 99 | 0.14374 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
105 | MV_362_0_line_105 |  | 98 | 100 | 0.62606 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
106 | MV_362_0_line_106 |  | 99 | 101 | 0.23022 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
107 | MV_362_0_line_107 |  | 99 | 102 | 0.55027 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
108 | MV_362_0_line_108 |  | 100 | 103 | 0.073215 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
109 | MV_362_0_line_109 |  | 101 | 105 | 0.10865 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
110 | MV_362_0_line_110 |  | 103 | 106 | 0.13035 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
111 | MV_362_0_line_111 |  | 104 | 192 | 0.72107 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_362_0_line_112 |  | 106 | 107 | 0.0096186 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
113 | MV_362_0_line_113 |  | 107 | 108 | 0.036417 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
114 | MV_362_0_line_114 |  | 108 | 137 | 0.038827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_362_0_line_115 |  | 108 | 135 | 0.041623 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
116 | MV_362_0_line_116 |  | 109 | 110 | 0.053662 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
117 | MV_362_0_line_117 |  | 110 | 111 | 0.25048 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
118 | MV_362_0_line_118 |  | 110 | 112 | 0.35877 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
119 | MV_362_0_line_119 |  | 111 | 113 | 0.40997 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
120 | MV_362_0_line_120 |  | 111 | 114 | 0.027264 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
121 | MV_362_0_line_121 |  | 111 | 115 | 0.01484 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
122 | MV_362_0_line_122 |  | 112 | 122 | 0.52936 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
123 | MV_362_0_line_123 |  | 112 | 123 | 0.011407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
124 | MV_362_0_line_124 |  | 113 | 118 | 0.22239 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
125 | MV_362_0_line_125 |  | 113 | 119 | 0.06755 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
126 | MV_362_0_line_126 |  | 113 | 116 | 0.34083 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
127 | MV_362_0_line_127 |  | 114 | 124 | 0.079602 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
128 | MV_362_0_line_128 |  | 116 | 117 | 0.057918 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
129 | MV_362_0_line_129 |  | 118 | 120 | 0.20242 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
130 | MV_362_0_line_130 |  | 118 | 121 | 0.025312 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
131 | MV_362_0_line_131 |  | 119 | 125 | 0.059081 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
132 | MV_362_0_line_132 |  | 120 | 126 | 0.004048 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
133 | MV_362_0_line_133 |  | 121 | 128 | 0.019515 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
134 | MV_362_0_line_134 |  | 122 | 133 | 0.01333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
135 | MV_362_0_line_135 |  | 122 | 130 | 0.87238 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
136 | MV_362_0_line_136 |  | 124 | 134 | 0.099677 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
137 | MV_362_0_line_137 |  | 125 | 186 | 0.00025132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
138 | MV_362_0_line_138 |  | 125 | 185 | 0.07579 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
139 | MV_362_0_line_139 |  | 126 | 127 | 0.4404 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
140 | MV_362_0_line_140 |  | 127 | 181 | 0.008889 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
141 | MV_362_0_line_141 |  | 128 | 129 | 0.28185 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
142 | MV_362_0_line_142 |  | 129 | 164 | 0.005477 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
143 | MV_362_0_line_143 |  | 130 | 131 | 0.40406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
144 | MV_362_0_line_144 |  | 131 | 132 | 0.030356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
145 | MV_362_0_line_145 |  | 134 | 135 | 0.032637 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
146 | MV_362_0_line_146 |  | 135 | 136 | 0.073649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
147 | MV_362_0_line_147 |  | 138 | 139 | 0.076486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
148 | MV_362_0_line_148 |  | 138 | 140 | 0.17772 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
149 | MV_362_0_line_149 |  | 139 | 141 | 0.30494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
150 | MV_362_0_line_150 |  | 139 | 142 | 0.56751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
151 | MV_362_0_line_151 |  | 141 | 143 | 0.13354 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
152 | MV_362_0_line_152 |  | 142 | 144 | 0.061514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
153 | MV_362_0_line_153 |  | 143 | 145 | 0.026095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
154 | MV_362_0_line_154 |  | 145 | 146 | 0.14954 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
155 | MV_362_0_line_155 |  | 146 | 176 | 0.002553 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
156 | MV_362_0_line_156 |  | 147 | 148 | 0.018576 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
157 | MV_362_0_line_157 |  | 148 | 149 | 0.36545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
158 | MV_362_0_line_158 |  | 149 | 150 | 0.42938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
159 | MV_362_0_line_159 |  | 149 | 151 | 0.077519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
160 | MV_362_0_line_160 |  | 150 | 152 | 0.11708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
161 | MV_362_0_line_161 |  | 150 | 153 | 0.14668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
162 | MV_362_0_line_162 |  | 150 | 154 | 0.072585 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
163 | MV_362_0_line_163 |  | 152 | 155 | 0.038514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
164 | MV_362_0_line_164 |  | 152 | 156 | 0.34244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
165 | MV_362_0_line_165 |  | 153 | 157 | 0.006254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
166 | MV_362_0_line_166 |  | 154 | 162 | 0.050842 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
167 | MV_362_0_line_167 |  | 156 | 158 | 0.020587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
168 | MV_362_0_line_168 |  | 159 | 160 | 0.076389 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
169 | MV_362_0_line_169 |  | 159 | 161 | 0.041023 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
170 | MV_362_0_line_170 |  | 160 | 175 | 0.048064 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
171 | MV_362_0_line_171 |  | 160 | 187 | 0.45089 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
172 | MV_362_0_line_172 |  | 162 | 163 | 0.3105 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
173 | MV_362_0_line_173 |  | 163 | 170 | 0.088824 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
174 | MV_362_0_line_174 |  | 164 | 165 | 0.1017 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
175 | MV_362_0_line_175 |  | 165 | 166 | 0.84615 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
176 | MV_362_0_line_176 |  | 166 | 167 | 0.018161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
177 | MV_362_0_line_177 |  | 168 | 169 | 0.056343 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
178 | MV_362_0_line_178 |  | 168 | 170 | 0.22604 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
179 | MV_362_0_line_179 |  | 169 | 171 | 0.21272 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
180 | MV_362_0_line_180 |  | 169 | 172 | 0.36823 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
181 | MV_362_0_line_181 |  | 171 | 173 | 0.037498 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
182 | MV_362_0_line_182 |  | 172 | 174 | 0.005114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
183 | MV_362_0_line_183 |  | 173 | 175 | 0.041217 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
184 | MV_362_0_line_184 |  | 176 | 177 | 0.089186 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
185 | MV_362_0_line_185 |  | 177 | 178 | 0.29666 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
186 | MV_362_0_line_186 |  | 178 | 179 | 0.013063 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
187 | MV_362_0_line_187 |  | 179 | 180 | 0.055464 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
188 | MV_362_0_line_188 |  | 180 | 183 | 0.048275 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
189 | MV_362_0_line_189 |  | 181 | 182 | 0.054242 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
190 | MV_362_0_line_190 |  | 182 | 183 | 0.27963 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
191 | MV_362_0_line_191 |  | 183 | 187 | 0.085744 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
192 | MV_362_0_line_192 |  | 184 | 185 | 0.0076863 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
193 | MV_362_0_line_193 |  | 187 | 188 | 0.023467 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
194 | MV_362_0_line_194 |  | 187 | 189 | 0.60613 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
195 | MV_362_0_line_195 |  | 189 | 190 | 0.024604 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
196 | MV_362_0_line_196 |  | 191 | 192 | 0.00605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
197 | MV_362_0_line_197 |  | 194 | 195 | 0.059631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
198 | MV_362_0_line_198 |  | 195 | 196 | 0.92385 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
199 | MV_362_0_line_199 |  | 196 | 197 | 0.15341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
200 | MV_362_0_line_200 |  | 198 | 199 | 0.055919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
201 | MV_362_0_line_201 |  | 200 | 201 | 3.2631e-06 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
202 | MV_362_0_line_202 |  | 201 | 203 | 0.066646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
203 | MV_362_0_line_203 |  | 202 | 203 | 0.02271 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
204 | MV_362_0_line_204 |  | 203 | 204 | 0.041414 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_362_0_trafo_117 | 25 MVA 110/20 kV | 206 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2699163.5199 | 1249441.9312
1 | 2699147.0474 | 1249416.8027
2 | 2699454.8956 | 1249554.2338
3 | 2698920.5861 | 1249426.8385
4 | 2699138.0841 | 1249637.4033
5 | 2699163.8613 | 1249195.9778
6 | 2699476.9896 | 1249351.0897
7 | 2699400.1015 | 1249155.0688
8 | 2699520.0062 | 1249411.2255
9 | 2699735.6019 | 1249110.602
10 | 2699471.8111 | 1249556.4749
11 | 2698942.0383 | 1249226.6733
12 | 2698923.2951 | 1249205.3772
13 | 2698912.4557 | 1249253.912
14 | 2698784.3678 | 1249108.5628
15 | 2698747.0506 | 1249510.9888
16 | 2698894.0411 | 1249417.3882
17 | 2698877.6991 | 1249284.9367
18 | 2698742.601 | 1249083.2278
19 | 2698871.7631 | 1249648.6086
20 | 2698736.6752 | 1249520.0231
21 | 2698873.0221 | 1249651.4429
22 | 2699124.9773 | 1249672.456
23 | 2699194.7925 | 1249162.2578
24 | 2697823.4363 | 1247899.2456
25 | 2698728.606 | 1249527.072
26 | 2699115.5161 | 1249681.8941
27 | 2699343.7707 | 1249171.2928
28 | 2699573.7785 | 1248940.1373
29 | 2699607.6902 | 1248956.1973
30 | 2699731.5863 | 1249069.6579
31 | 2699734.3063 | 1249097.3921
32 | 2700142.9579 | 1249258.7631
33 | 2699390.5152 | 1249146.6793
34 | 2700573.0428 | 1249808.8213
35 | 2700576.0205 | 1249817.1228
36 | 2700346.7226 | 1249224.5374
37 | 2700235.9559 | 1249816.3731
38 | 2699367.3126 | 1249172.9553
39 | 2700599.2435 | 1249823.622
40 | 2700256.3742 | 1249835.1221
41 | 2699528.0192 | 1250085.2778
42 | 2699512.6311 | 1250093.3773
43 | 2698166.69 | 1250043.7437
44 | 2698187.0489 | 1250024.9551
45 | 2698129.8137 | 1250074.6128
46 | 2698253.7733 | 1250007.3692
47 | 2698058.7365 | 1250120.3056
48 | 2698277.0552 | 1249981.5283
49 | 2698257.2811 | 1249930.6452
50 | 2698287.6943 | 1250039.5345
51 | 2698375.3672 | 1249839.9551
52 | 2698250.8614 | 1249936.1875
53 | 2698018.9288 | 1250270.876
54 | 2698021.756 | 1250081.494
55 | 2698020.5353 | 1250272.8177
56 | 2698331.5484 | 1249992.4332
57 | 2698338.6206 | 1249796.011
58 | 2698406.8291 | 1249812.9006
59 | 2698007.4738 | 1250066.5046
60 | 2698053.8979 | 1250313.143
61 | 2698457.2513 | 1249597.8364
62 | 2698480.2423 | 1249625.0403
63 | 2698414.8845 | 1249632.4455
64 | 2698498.043 | 1249642.8604
65 | 2698547.0184 | 1249687.9651
66 | 2698526.8669 | 1249668.7151
67 | 2698511.6981 | 1249719.9142
68 | 2698504.8879 | 1249726.6618
69 | 2698445.2377 | 1249781.347
70 | 2696597.5551 | 1248730.4352
71 | 2696691.5424 | 1246431.2952
72 | 2701036.0957 | 1250025.6113
73 | 2701041.2071 | 1250065.0407
74 | 2701014.0525 | 1249922.5543
75 | 2701054.0033 | 1250189.9909
76 | 2700810.1122 | 1249706.9124
77 | 2701127.3644 | 1249685.9551
78 | 2701137.3637 | 1249676.5961
79 | 2700793.1143 | 1249680.7138
80 | 2700758.365 | 1249705.7118
81 | 2700849.9073 | 1250367.7108
82 | 2700446.3049 | 1250736.0592
83 | 2700871.8726 | 1250435.4937
84 | 2700987.77 | 1250431.642
85 | 2701076.1262 | 1250213.053
86 | 2700694.4137 | 1249722.8048
87 | 2700982.0339 | 1250461.1787
88 | 2700408.8388 | 1250696.1373
89 | 2699874.136 | 1251632.3978
90 | 2701075.701 | 1250203.4604
91 | 2701260.1356 | 1250392.0687
92 | 2701180.4686 | 1250373.1376
93 | 2698583.5618 | 1251689.3544
94 | 2698588.6728 | 1251674.361
95 | 2698264.0585 | 1250449.2188
96 | 2698175.0909 | 1250347.7651
97 | 2695226.5611 | 1246439.0885
98 | 2695312.1285 | 1246498.5417
99 | 2695116.6908 | 1246347.8114
100 | 2695705.4029 | 1246011.4245
101 | 2695001.3044 | 1246503.3475
102 | 2694701.0486 | 1245987.2082
103 | 2695704.7036 | 1245938.2128
104 | 2696557.1474 | 1248761.1452
105 | 2695021.3549 | 1246583.2288
106 | 2695806.4321 | 1245856.7261
107 | 2695813.8348 | 1245850.5845
108 | 2695841.8619 | 1245827.3316
109 | 2695946.0101 | 1245997.1117
110 | 2695987.6104 | 1245963.2144
111 | 2696038.2458 | 1245801.2102
112 | 2696004.6495 | 1246212.2806
113 | 2696301.8281 | 1245668.1818
114 | 2696021.4877 | 1245779.6668
115 | 2696050.5935 | 1245797.8522
116 | 2696225.754 | 1245878.8305
117 | 2696269.7989 | 1245914.617
118 | 2696253.3364 | 1245486.8562
119 | 2696354.6564 | 1245626.0852
120 | 2696051.0291 | 1245480.0274
121 | 2696259.5384 | 1245462.3159
122 | 2696174.211 | 1246379.5778
123 | 2695994.2514 | 1246217.0381
124 | 2695975.1088 | 1245715.2004
125 | 2696399.0028 | 1245587.3317
126 | 2696050.7848 | 1245475.987
127 | 2696034.7805 | 1245250.2001
128 | 2696279.0499 | 1245460.8981
129 | 2696342.2824 | 1245245.2378
130 | 2696656.3873 | 1246412.2965
131 | 2696445.8963 | 1246201.7976
132 | 2696459.6984 | 1246228.8539
133 | 2696187.1831 | 1246376.3524
134 | 2695899.0591 | 1245779.8642
135 | 2695873.9452 | 1245800.7075
136 | 2695888.3401 | 1245856.2604
137 | 2695818.3819 | 1245796.4086
138 | 2695145.7433 | 1245018.7878
139 | 2695183.6728 | 1245079.9538
140 | 2694969.5333 | 1244995.7025
141 | 2695401.2961 | 1245035.1709
142 | 2695528.7939 | 1245437.8847
143 | 2695493.3861 | 1245131.8817
144 | 2695525.255 | 1245376.6032
145 | 2695515.12 | 1245146.4204
146 | 2695625.8032 | 1245147.6044
147 | 2695027.9906 | 1244659.8504
148 | 2695016.2192 | 1244645.4954
149 | 2695226.1564 | 1244557.8503
150 | 2695426.3869 | 1244473.1031
151 | 2695262.2608 | 1244626.4486
152 | 2695459.0614 | 1244564.9762
153 | 2695522.6964 | 1244519.5437
154 | 2695412.7662 | 1244401.8078
155 | 2695497.5837 | 1244562.1273
156 | 2695483.3407 | 1244773.0805
157 | 2695520.8843 | 1244525.5302
158 | 2695502.3625 | 1244780.9545
159 | 2695713.6095 | 1244725.2991
160 | 2695760.7458 | 1244708.925
161 | 2695725.7383 | 1244686.1101
162 | 2695424.4631 | 1244361.1317
163 | 2695665.8952 | 1244241.2286
164 | 2696347.2256 | 1245242.8496
165 | 2696440.5025 | 1245202.3121
166 | 2696633.17 | 1245553.0266
167 | 2696619.0119 | 1245564.4491
168 | 2695816.9258 | 1244507.0898
169 | 2695872.9306 | 1244500.9231
170 | 2695724.9404 | 1244300.6148
171 | 2695813.7226 | 1244623.9157
172 | 2696121.5853 | 1244649.9486
173 | 2695780.933 | 1244621.9741
174 | 2696123.5663 | 1244645.2327
175 | 2695770.9838 | 1244661.9718
176 | 2695627.8413 | 1245149.1495
177 | 2695714.6588 | 1245169.5651
178 | 2695936.4427 | 1245086.7845
179 | 2695939.2755 | 1245074.032
180 | 2695951.3032 | 1245019.8876
181 | 2696033.7976 | 1245241.3664
182 | 2696031.6302 | 1245187.1678
183 | 2695962.2646 | 1244972.9154
184 | 2696427.1938 | 1245638.8483
185 | 2696431.8195 | 1245644.9869
186 | 2696398.8343 | 1245587.1452
187 | 2695966.4007 | 1244896.2128
188 | 2695943.3029 | 1244891.7024
189 | 2696175.5236 | 1244871.725
190 | 2696196.6766 | 1244859.1584
191 | 2696624.229 | 1249273.1791
192 | 2696620.0195 | 1249277.5361
193 | 2697962.8674 | 1250103.325
194 | 2697540.6697 | 1251261.9393
195 | 2697585.0939 | 1251223.1958
196 | 2698379.8433 | 1251694.2206
197 | 2698491.1936 | 1251588.6948
198 | 2698379.7558 | 1249866.8556
199 | 2698422.0135 | 1249830.2329
200 | 2698331.2855 | 1249786.79
201 | 2698331.2835 | 1249786.7875
202 | 2698275.49 | 1249716.9912
203 | 2698289.7939 | 1249734.631
204 | 2698321.8667 | 1249708.431
205 | 2699349.9063 | 1249150.682
206 | 2697823.4363 | 1247899.2456

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0

## res_ext_grid
| p_mw | q_mvar
0

## res_load
| p_mw | q_mvar
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1