## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_364_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_364_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_364_0_node_109 | 20 | n |  | TRUE
3 | bus_MV_364_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_364_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_364_0_node_110 | 20 | n |  | TRUE
6 | bus_MV_364_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_364_0_node_7 | 20 | n |  | TRUE
8 | bus_MV_364_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_364_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_364_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_364_0_node_14 | 20 | n |  | TRUE
12 | bus_MV_364_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_364_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_364_0_node_10 | 20 | n |  | TRUE
15 | bus_MV_364_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_364_0_node_112 | 20 | n |  | TRUE
17 | bus_MV_364_0_node_11 | 20 | n |  | TRUE
18 | bus_MV_364_0_node_24 | 20 | n |  | TRUE
19 | bus_MV_364_0_node_113 | 20 | n |  | TRUE
20 | bus_MV_364_0_node_86 | 20 | n |  | TRUE
21 | bus_MV_364_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_364_0_node_15 | 20 | n |  | TRUE
23 | bus_MV_364_0_node_95 | 20 | n |  | TRUE
24 | bus_MV_364_0_node_17 | 20 | n |  | TRUE
25 | bus_MV_364_0_node_18 | 20 | n |  | TRUE
26 | bus_MV_364_0_node_19 | 20 | n |  | TRUE
27 | bus_MV_364_0_node_23 | 20 | n |  | TRUE
28 | bus_MV_364_0_node_20 | 20 | n |  | TRUE
29 | bus_MV_364_0_node_104 | 20 | n |  | TRUE
30 | bus_MV_364_0_node_21 | 20 | n |  | TRUE
31 | bus_MV_364_0_node_46 | 20 | n |  | TRUE
32 | bus_MV_364_0_node_22 | 20 | n |  | TRUE
33 | bus_MV_364_0_node_32 | 20 | n |  | TRUE
34 | bus_MV_364_0_node_36 | 20 | n |  | TRUE
35 | bus_MV_364_0_node_35 | 20 | n |  | TRUE
36 | bus_MV_364_0_node_105 | 20 | n |  | TRUE
37 | bus_MV_364_0_node_101 | 20 | n |  | TRUE
38 | bus_MV_364_0_node_102 | 20 | n |  | TRUE
39 | bus_MV_364_0_node_103 | 20 | n |  | TRUE
40 | bus_MV_364_0_node_34 | 20 | n |  | TRUE
41 | bus_MV_364_0_node_31 | 20 | n |  | TRUE
42 | bus_MV_364_0_node_45 | 20 | n |  | TRUE
43 | bus_MV_364_0_node_25 | 20 | n |  | TRUE
44 | bus_MV_364_0_node_26 | 20 | n |  | TRUE
45 | bus_MV_364_0_node_27 | 20 | n |  | TRUE
46 | bus_MV_364_0_node_28 | 20 | n |  | TRUE
47 | bus_MV_364_0_node_30 | 20 | n |  | TRUE
48 | bus_MV_364_0_node_106 | 20 | n |  | TRUE
49 | bus_MV_364_0_node_100 | 20 | n |  | TRUE
50 | bus_MV_364_0_node_29 | 20 | n |  | TRUE
51 | bus_MV_364_0_node_121 | 20 | n |  | TRUE
52 | bus_MV_364_0_node_107 | 20 | n |  | TRUE
53 | bus_MV_364_0_node_108 | 20 | n |  | TRUE
54 | bus_MV_364_0_node_87 | 20 | n |  | TRUE
55 | bus_MV_364_0_node_122 | 20 | n |  | TRUE
56 | bus_MV_364_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_364_0_node_38 | 20 | n |  | TRUE
58 | bus_MV_364_0_node_39 | 20 | n |  | TRUE
59 | bus_MV_364_0_node_53 | 20 | n |  | TRUE
60 | bus_MV_364_0_node_55 | 20 | n |  | TRUE
61 | bus_MV_364_0_node_47 | 20 | n |  | TRUE
62 | bus_MV_364_0_node_51 | 20 | n |  | TRUE
63 | bus_MV_364_0_node_88 | 20 | n |  | TRUE
64 | bus_MV_364_0_node_89 | 20 | n |  | TRUE
65 | bus_MV_364_0_node_50 | 20 | n |  | TRUE
66 | bus_MV_364_0_node_40 | 20 | n |  | TRUE
67 | bus_MV_364_0_node_41 | 20 | n |  | TRUE
68 | bus_MV_364_0_node_42 | 20 | n |  | TRUE
69 | bus_MV_364_0_node_43 | 20 | n |  | TRUE
70 | bus_MV_364_0_node_116 | 20 | n |  | TRUE
71 | bus_MV_364_0_node_44 | 20 | n |  | TRUE
72 | bus_MV_364_0_node_48 | 20 | n |  | TRUE
73 | bus_MV_364_0_node_115 | 20 | n |  | TRUE
74 | bus_MV_364_0_node_49 | 20 | n |  | TRUE
75 | bus_MV_364_0_node_111 | 20 | n |  | TRUE
76 | bus_MV_364_0_node_114 | 20 | n |  | TRUE
77 | bus_MV_364_0_node_56 | 20 | n |  | TRUE
78 | bus_MV_364_0_node_119 | 20 | n |  | TRUE
79 | bus_MV_364_0_node_120 | 20 | n |  | TRUE
80 | bus_MV_364_0_node_123 | 20 | n |  | TRUE
81 | bus_MV_364_0_node_58 | 20 | n |  | TRUE
82 | bus_MV_364_0_node_57 | 20 | n |  | TRUE
83 | bus_MV_364_0_node_64 | 20 | n |  | TRUE
84 | bus_MV_364_0_node_59 | 20 | n |  | TRUE
85 | bus_MV_364_0_node_118 | 20 | n |  | TRUE
86 | bus_MV_364_0_node_62 | 20 | n |  | TRUE
87 | bus_MV_364_0_node_60 | 20 | n |  | TRUE
88 | bus_MV_364_0_node_61 | 20 | n |  | TRUE
89 | bus_MV_364_0_node_63 | 20 | n |  | TRUE
90 | bus_MV_364_0_node_65 | 20 | n |  | TRUE
91 | bus_MV_364_0_node_66 | 20 | n |  | TRUE
92 | bus_MV_364_0_node_67 | 20 | n |  | TRUE
93 | bus_MV_364_0_node_68 | 20 | n |  | TRUE
94 | bus_MV_364_0_node_69 | 20 | n |  | TRUE
95 | bus_MV_364_0_node_71 | 20 | n |  | TRUE
96 | bus_MV_364_0_node_70 | 20 | n |  | TRUE
97 | bus_MV_364_0_node_72 | 20 | n |  | TRUE
98 | bus_MV_364_0_node_77 | 20 | n |  | TRUE
99 | bus_MV_364_0_node_80 | 20 | n |  | TRUE
100 | bus_MV_364_0_node_78 | 20 | n |  | TRUE
101 | bus_MV_364_0_node_117 | 20 | n |  | TRUE
102 | bus_MV_364_0_node_76 | 20 | n |  | TRUE
103 | bus_MV_364_0_node_94 | 20 | n |  | TRUE
104 | bus_MV_364_0_node_83 | 20 | n |  | TRUE
105 | bus_MV_364_0_node_79 | 20 | n |  | TRUE
106 | bus_MV_364_0_node_73 | 20 | n |  | TRUE
107 | bus_MV_364_0_node_74 | 20 | n |  | TRUE
108 | bus_MV_364_0_node_75 | 20 | n |  | TRUE
109 | bus_MV_364_0_node_98 | 20 | n |  | TRUE
110 | bus_MV_364_0_node_97 | 20 | n |  | TRUE
111 | bus_MV_364_0_node_81 | 20 | n |  | TRUE
112 | bus_MV_364_0_node_82 | 20 | n |  | TRUE
113 | bus_MV_364_0_node_91 | 20 | n |  | TRUE
114 | bus_MV_364_0_node_90 | 20 | n |  | TRUE
115 | bus_MV_364_0_node_92 | 20 | n |  | TRUE
116 | bus_MV_364_0_node_93 | 20 | n |  | TRUE
117 | bus_MV_364_0_node_85 | 20 | n |  | TRUE
118 | bus_MV_364_0_node_99 | 20 | n |  | TRUE
119 | bus_MV_364_0_node_124 | 20 | n |  | TRUE
120 | bus_HV_364_0_node_105 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_364_0_load_0 | 0 | 0.22624 | 0.10957 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_364_0_load_110 | 5 | 0.29551 | 0.14312 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_364_0_load_4 | 6 | 0.24035 | 0.11641 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_364_0_load_7 | 7 | 0.23073 | 0.11175 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_364_0_load_13 | 10 | 0.318 | 0.15402 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_364_0_load_8 | 12 | 0.38535 | 0.18663 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_364_0_load_112 | 16 | 0.19681 | 0.095321 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_364_0_load_24 | 18 | 0.3985 | 0.193 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_364_0_load_113 | 19 | 0.26832 | 0.12995 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_364_0_load_95 | 23 | 0.25678 | 0.12436 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_364_0_load_17 | 24 | 0.18893 | 0.091502 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_364_0_load_104 | 29 | 0.14885 | 0.07209 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_364_0_load_46 | 31 | 0.25505 | 0.12352 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_364_0_load_36 | 34 | 0.27687 | 0.1341 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_364_0_load_35 | 35 | 0.23788 | 0.11521 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_364_0_load_105 | 36 | 0.18312 | 0.08869 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_364_0_load_101 | 37 | 0.1025 | 0.049642 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_364_0_load_31 | 41 | 0.12964 | 0.062788 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_364_0_load_25 | 43 | 0.33515 | 0.16232 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_364_0_load_106 | 48 | 0.26476 | 0.12823 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_364_0_load_100 | 49 | 0.17464 | 0.084582 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_364_0_load_121 | 51 | 0.083181 | 0.040286 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_364_0_load_107 | 52 | 0.30563 | 0.14802 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_364_0_load_87 | 54 | 0.12194 | 0.059059 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_364_0_load_122 | 55 | 0.057475 | 0.027836 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_364_0_load_37 | 56 | 0.16046 | 0.077716 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_364_0_load_39 | 58 | 0.17394 | 0.084244 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_364_0_load_55 | 60 | 0.20297 | 0.098301 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_364_0_load_47 | 61 | 0.30549 | 0.14796 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_364_0_load_51 | 62 | 0.20835 | 0.10091 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_364_0_load_40 | 66 | 0.3581 | 0.17344 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_364_0_load_116 | 70 | 0.22333 | 0.10816 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_364_0_load_115 | 73 | 0.25583 | 0.1239 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_364_0_load_111 | 75 | 0.084604 | 0.040975 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_364_0_load_114 | 76 | 0.18011 | 0.087232 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_364_0_load_119 | 78 | 0.21162 | 0.10249 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_364_0_load_123 | 80 | 0.21323 | 0.10327 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_364_0_load_64 | 83 | 0.37868 | 0.1834 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_364_0_load_59 | 84 | 0.38749 | 0.18767 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_364_0_load_118 | 85 | 0.077982 | 0.037768 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_364_0_load_60 | 87 | 0.35439 | 0.17164 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_364_0_load_65 | 90 | 0.35761 | 0.1732 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_364_0_load_68 | 93 | 0.26512 | 0.12841 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_364_0_load_77 | 98 | 0.36815 | 0.1783 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_364_0_load_78 | 100 | 0.36177 | 0.17521 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_364_0_load_117 | 101 | 0.28976 | 0.14034 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_364_0_load_94 | 103 | 0.070477 | 0.034134 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_364_0_load_83 | 104 | 0.20033 | 0.097026 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_364_0_load_79 | 105 | 0.072258 | 0.034996 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_364_0_load_73 | 106 | 0.18802 | 0.091065 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_364_0_load_98 | 109 | 0.17394 | 0.084241 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_364_0_load_90 | 114 | 0.10391 | 0.050328 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_364_0_load_92 | 115 | 0.18049 | 0.087417 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_364_0_load_93 | 116 | 0.19514 | 0.094512 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_364_0_load_85 | 117 | 0.32441 | 0.15712 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_364_0_load_124 | 119 | 0.10914 | 0.052859 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_364_0_line_0 |  | 0 | 1 | 0.003639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_364_0_line_1 |  | 0 | 2 | 0.52407 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_364_0_line_2 |  | 1 | 3 | 0.30137 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_364_0_line_3 |  | 1 | 4 | 0.39535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_364_0_line_4 |  | 2 | 5 | 0.0237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_364_0_line_5 |  | 3 | 6 | 0.024418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_364_0_line_6 |  | 4 | 7 | 0.068443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_364_0_line_7 |  | 6 | 8 | 0.009868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_364_0_line_8 |  | 8 | 9 | 1.2823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_364_0_line_9 |  | 9 | 10 | 0.044177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_364_0_line_10 |  | 10 | 11 | 0.027419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_364_0_line_11 |  | 11 | 22 | 0.74321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_364_0_line_12 |  | 12 | 13 | 0.014952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_364_0_line_13 |  | 13 | 14 | 0.45061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_364_0_line_14 |  | 13 | 15 | 0.9473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_364_0_line_15 |  | 14 | 16 | 0.062384 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_364_0_line_16 |  | 15 | 19 | 0.007003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_364_0_line_17 |  | 15 | 17 | 1.3785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_364_0_line_18 |  | 16 | 20 | 0.29597 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
19 | MV_364_0_line_19 |  | 17 | 18 | 0.033418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_364_0_line_20 |  | 18 | 21 | 0.023572 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_364_0_line_21 |  | 20 | 54 | 0.085254 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
22 | MV_364_0_line_22 |  | 20 | 117 | 0.088866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_364_0_line_23 |  | 21 | 22 | 0.53391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_364_0_line_24 |  | 22 | 23 | 0.05322 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_364_0_line_25 |  | 24 | 25 | 0.032986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_364_0_line_26 |  | 25 | 26 | 0.35132 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
27 | MV_364_0_line_27 |  | 25 | 27 | 0.52747 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
28 | MV_364_0_line_28 |  | 26 | 28 | 0.44769 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_364_0_line_29 |  | 26 | 29 | 0.037488 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_364_0_line_30 |  | 27 | 36 | 0.08247 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
31 | MV_364_0_line_31 |  | 28 | 30 | 0.41594 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
32 | MV_364_0_line_32 |  | 28 | 31 | 0.004798 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_364_0_line_33 |  | 29 | 39 | 0.021666 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_364_0_line_34 |  | 30 | 32 | 0.29491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_364_0_line_35 |  | 30 | 33 | 0.85763 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_364_0_line_36 |  | 30 | 34 | 0.052222 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_364_0_line_37 |  | 32 | 35 | 0.031678 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_364_0_line_38 |  | 33 | 40 | 0.17161 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
39 | MV_364_0_line_39 |  | 33 | 41 | 0.07054 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_364_0_line_40 |  | 36 | 42 | 1.3056 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
41 | MV_364_0_line_41 |  | 37 | 38 | 0.038406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_364_0_line_42 |  | 38 | 39 | 0.1058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_364_0_line_43 |  | 40 | 54 | 0.10534 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
44 | MV_364_0_line_44 |  | 42 | 55 | 0.071612 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
45 | MV_364_0_line_45 |  | 42 | 68 | 1.2013 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
46 | MV_364_0_line_46 |  | 43 | 44 | 0.061158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_364_0_line_47 |  | 44 | 45 | 0.43508 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
48 | MV_364_0_line_48 |  | 44 | 46 | 0.52654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_364_0_line_49 |  | 45 | 47 | 0.27013 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
50 | MV_364_0_line_50 |  | 45 | 48 | 0.069656 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
51 | MV_364_0_line_51 |  | 46 | 49 | 0.023014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_364_0_line_52 |  | 47 | 52 | 0.064189 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_364_0_line_53 |  | 47 | 50 | 0.33399 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
54 | MV_364_0_line_54 |  | 50 | 51 | 0.13825 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
55 | MV_364_0_line_55 |  | 52 | 53 | 0.039317 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
56 | MV_364_0_line_56 |  | 53 | 55 | 0.92376 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
57 | MV_364_0_line_57 |  | 56 | 57 | 0.034781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_364_0_line_58 |  | 57 | 58 | 0.081968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_364_0_line_59 |  | 58 | 63 | 0.01276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_364_0_line_60 |  | 59 | 60 | 0.43769 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
61 | MV_364_0_line_61 |  | 59 | 61 | 1.0257 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
62 | MV_364_0_line_62 |  | 59 | 62 | 0.074704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_364_0_line_63 |  | 60 | 77 | 0.006208 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_364_0_line_64 |  | 61 | 72 | 0.024865 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_364_0_line_65 |  | 63 | 64 | 0.84208 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_364_0_line_66 |  | 63 | 65 | 0.33632 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_364_0_line_67 |  | 64 | 78 | 0.039829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_364_0_line_68 |  | 64 | 79 | 0.12308 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_364_0_line_69 |  | 65 | 70 | 0.0853 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
70 | MV_364_0_line_70 |  | 65 | 71 | 0.29088 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
71 | MV_364_0_line_71 |  | 65 | 72 | 0.91758 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
72 | MV_364_0_line_72 |  | 66 | 67 | 0.061725 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_364_0_line_73 |  | 66 | 68 | 0.081351 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_364_0_line_74 |  | 67 | 69 | 0.2256 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_364_0_line_75 |  | 69 | 70 | 0.11173 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
76 | MV_364_0_line_76 |  | 71 | 73 | 0.062277 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
77 | MV_364_0_line_77 |  | 72 | 74 | 0.90343 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
78 | MV_364_0_line_78 |  | 72 | 75 | 1.1279 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
79 | MV_364_0_line_79 |  | 74 | 76 | 0.053204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_364_0_line_80 |  | 77 | 81 | 0.75087 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_364_0_line_81 |  | 79 | 80 | 0.066596 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
82 | MV_364_0_line_82 |  | 81 | 84 | 0.16403 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
83 | MV_364_0_line_83 |  | 81 | 82 | 0.34437 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
84 | MV_364_0_line_84 |  | 82 | 83 | 0.032799 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
85 | MV_364_0_line_85 |  | 83 | 85 | 0.34724 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
86 | MV_364_0_line_86 |  | 83 | 86 | 0.027158 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
87 | MV_364_0_line_87 |  | 86 | 89 | 0.32163 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
88 | MV_364_0_line_88 |  | 86 | 88 | 0.5346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_364_0_line_89 |  | 87 | 88 | 0.12264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_364_0_line_90 |  | 89 | 90 | 0.095478 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
91 | MV_364_0_line_91 |  | 90 | 91 | 0.044092 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_364_0_line_92 |  | 91 | 92 | 0.30008 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_364_0_line_93 |  | 92 | 93 | 0.066217 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
94 | MV_364_0_line_94 |  | 93 | 94 | 0.003949 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
95 | MV_364_0_line_95 |  | 94 | 95 | 0.34963 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
96 | MV_364_0_line_96 |  | 95 | 97 | 0.40196 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
97 | MV_364_0_line_97 |  | 95 | 99 | 0.23442 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
98 | MV_364_0_line_98 |  | 95 | 100 | 0.018569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_364_0_line_99 |  | 96 | 97 | 0.68233 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
100 | MV_364_0_line_100 |  | 96 | 98 | 0.052464 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
101 | MV_364_0_line_101 |  | 97 | 101 | 0.032528 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
102 | MV_364_0_line_102 |  | 98 | 102 | 0.05481 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
103 | MV_364_0_line_103 |  | 99 | 103 | 0.01749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_364_0_line_104 |  | 99 | 104 | 0.88576 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
105 | MV_364_0_line_105 |  | 100 | 105 | 0.033669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_364_0_line_106 |  | 102 | 107 | 0.62309 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
107 | MV_364_0_line_107 |  | 105 | 111 | 0.015608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_364_0_line_108 |  | 106 | 107 | 0.082931 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
109 | MV_364_0_line_109 |  | 107 | 108 | 0.27196 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
110 | MV_364_0_line_110 |  | 108 | 109 | 0.090523 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
111 | MV_364_0_line_111 |  | 109 | 110 | 0.05899 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
112 | MV_364_0_line_112 |  | 110 | 118 | 0.27328 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
113 | MV_364_0_line_113 |  | 111 | 112 | 0.0849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_364_0_line_114 |  | 112 | 113 | 0.012243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_364_0_line_115 |  | 112 | 114 | 0.025926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_364_0_line_116 |  | 113 | 115 | 0.027679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_364_0_line_117 |  | 113 | 116 | 0.029494 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_364_0_line_118 |  | 118 | 119 | 0.014546 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_364_0_trafo_105 | 25 MVA 110/20 kV | 120 | 36 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2689346.8682 | 1246707.2052
1 | 2689343.6376 | 1246705.5108
2 | 2689826.9373 | 1246917.392
3 | 2689198.4575 | 1246513.7933
4 | 2689401.4536 | 1246405.0348
5 | 2689836.4082 | 1246938.985
6 | 2689182.6919 | 1246495.1089
7 | 2689458.3602 | 1246367.0066
8 | 2689176.1243 | 1246487.7269
9 | 2689577.3878 | 1246078.7339
10 | 2689604.2047 | 1246043.6015
11 | 2689625.1975 | 1246025.8943
12 | 2690474.0777 | 1246328.0634
13 | 2690461.9883 | 1246319.2168
14 | 2690705.3949 | 1246189.0141
15 | 2690328.9368 | 1246029.8832
16 | 2690744.2892 | 1246140.239
17 | 2689917.2849 | 1245775.7276
18 | 2689936.649 | 1245748.4563
19 | 2690335.0108 | 1246033.4006
20 | 2690901.946 | 1245889.7537
21 | 2689921.9372 | 1245732.0432
22 | 2689612.1131 | 1245793.3673
23 | 2689602.5907 | 1245741.0065
24 | 2690640.594 | 1244949.0055
25 | 2690671.2208 | 1244961.4829
26 | 2690532.137 | 1245280.4418
27 | 2690887.089 | 1244773.5565
28 | 2690748.1915 | 1245319.7167
29 | 2690514.561 | 1245313.5539
30 | 2690957.1632 | 1245158.0292
31 | 2690747.017 | 1245324.3689
32 | 2691183.3301 | 1245037.1772
33 | 2691089.2823 | 1245580.2062
34 | 2690939.9933 | 1245207.3474
35 | 2691207.1609 | 1245016.3056
36 | 2690834.5576 | 1244709.9822
37 | 2690415.175 | 1245445.9708
38 | 2690439.9253 | 1245416.5483
39 | 2690503.6207 | 1245332.2566
40 | 2690996.6092 | 1245724.6367
41 | 2691043.2821 | 1245633.6846
42 | 2691779.2415 | 1243808.8126
43 | 2693146.3002 | 1243814.4631
44 | 2693171.7955 | 1243762.0239
45 | 2693030.0341 | 1244020.6495
46 | 2693391.8358 | 1243789.3591
47 | 2692805.391 | 1243997.6367
48 | 2693018.5636 | 1244089.3546
49 | 2693406.2161 | 1243771.3608
50 | 2692809.0295 | 1244156.7908
51 | 2692705.5315 | 1244248.4417
52 | 2692748.2204 | 1243968.1206
53 | 2692742.6684 | 1244007.0408
54 | 2690942.6166 | 1245814.8263
55 | 2691830.962 | 1243858.272
56 | 2692028.5342 | 1242533.2773
57 | 2692043.4244 | 1242501.8292
58 | 2692121.8181 | 1242479.2617
59 | 2690517.4317 | 1242929.2993
60 | 2690228.8383 | 1242600.2276
61 | 2691326.5538 | 1242298.8934
62 | 2690474.31 | 1242990.3537
63 | 2692134.29 | 1242476.5647
64 | 2692354.8365 | 1241941.5718
65 | 2691962.9308 | 1242667.1156
66 | 2691799.7464 | 1243032.05
67 | 2691804.7733 | 1242970.5375
68 | 2691772.3151 | 1243092.4819
69 | 2691914.8843 | 1242855.5673
70 | 2691928.6676 | 1242745.2319
71 | 2691689.2115 | 1242765.5428
72 | 2691340.5475 | 1242278.3157
73 | 2691629.4094 | 1242748.1618
74 | 2692032.4113 | 1242346.276
75 | 2690552.217 | 1241471.6514
76 | 2692070.6408 | 1242311.9211
77 | 2690227.6836 | 1242594.1278
78 | 2692364.9109 | 1241905.435
79 | 2692268.0805 | 1241970.3662
80 | 2692262.3455 | 1242036.7153
81 | 2689802.3676 | 1242784.1622
82 | 2689638.4153 | 1242946.9597
83 | 2689615.1383 | 1242970.0474
84 | 2689964.3687 | 1242809.8903
85 | 2689779.4243 | 1243275.968
86 | 2689589.2686 | 1242978.1184
87 | 2689405.5083 | 1242550.1201
88 | 2689480.2821 | 1242642.4929
89 | 2689400.2023 | 1243123.7416
90 | 2689353.0212 | 1243206.748
91 | 2689389.2802 | 1243231.9905
92 | 2689397.3614 | 1243424.5103
93 | 2689351.8351 | 1243472.5935
94 | 2689348.6195 | 1243470.2879
95 | 2689291.1068 | 1243702.016
96 | 2688942.0556 | 1243413.5274
97 | 2689043.5468 | 1243550.6174
98 | 2688893.816 | 1243434.1108
99 | 2689314.109 | 1243810.3091
100 | 2689305.6666 | 1243690.4911
101 | 2689013.1497 | 1243562.4257
102 | 2688844.4847 | 1243457.9431
103 | 2689327.3252 | 1243798.8531
104 | 2689008.4516 | 1244641.6551
105 | 2689332.0657 | 1243669.5947
106 | 2688801.0991 | 1243050.4151
107 | 2688883.6917 | 1243042.9348
108 | 2688668.3919 | 1242886.2432
109 | 2688584.6406 | 1242851.7338
110 | 2688532.8442 | 1242823.2288
111 | 2689344.3036 | 1243659.9078
112 | 2689403.708 | 1243666.3517
113 | 2689413.2201 | 1243658.6115
114 | 2689387.3216 | 1243646.2604
115 | 2689430.9314 | 1243679.8823
116 | 2689436.0969 | 1243639.9951
117 | 2690980.0544 | 1245932.1356
118 | 2688393.2636 | 1242897.7142
119 | 2688385.2005 | 1242909.6918
120 | 2690834.5576 | 1244709.9822

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98357 | -0.0092597 | 0.22624 | 0.10957
1 | 0.98358 | -0.0092829 | 0 | 0
2 | 0.98327 | -0.011234 | 0 | 0
3 | 0.98387 | -0.011781 | 0 | 0
4 | 0.98346 | -0.0083148 | 0 | 0
5 | 0.98326 | -0.011148 | 0.29551 | 0.14312
6 | 0.98389 | -0.011977 | 0.24035 | 0.11641
7 | 0.98344 | -0.008123 | 0.23073 | 0.11175
8 | 0.9839 | -0.012085 | 0 | 0
9 | 0.98554 | -0.024885 | 0 | 0
10 | 0.98559 | -0.025281 | 0.318 | 0.15402
11 | 0.98564 | -0.025632 | 0 | 0
12 | 0.99422 | -0.085549 | 0.38535 | 0.18663
13 | 0.99423 | -0.085619 | 0 | 0
14 | 0.99573 | -0.095751 | 0 | 0
15 | 0.99154 | -0.067626 | 0 | 0
16 | 0.99604 | -0.092926 | 0.19681 | 0.095321
17 | 0.98808 | -0.043333 | 0 | 0
18 | 0.988 | -0.042706 | 0.3985 | 0.193
19 | 0.99154 | -0.067603 | 0.26832 | 0.12995
20 | 0.99701 | -0.066457 | 0 | 0
21 | 0.98795 | -0.042378 | 0 | 0
22 | 0.98688 | -0.03471 | 0 | 0
23 | 0.98686 | -0.03488 | 0.25678 | 0.12436
24 | 0.9993 | -0.017591 | 0.18893 | 0.091502
25 | 0.99931 | -0.017665 | 0 | 0
26 | 0.99898 | -0.024559 | 0 | 0
27 | 0.99982 | -0.0067878 | 0 | 0
28 | 0.99858 | -0.032787 | 0 | 0
29 | 0.99896 | -0.024685 | 0.14885 | 0.07209
30 | 0.99823 | -0.039914 | 0 | 0
31 | 0.99858 | -0.032772 | 0.25505 | 0.12352
32 | 0.99814 | -0.039138 | 0 | 0
33 | 0.99761 | -0.052524 | 0 | 0
34 | 0.99821 | -0.040089 | 0.27687 | 0.1341
35 | 0.99813 | -0.03923 | 0.23788 | 0.11521
36 | 1 | 0 | -12.6511 | -5.0076
37 | 0.99894 | -0.024503 | 0.1025 | 0.049642
38 | 0.99894 | -0.024549 | 0 | 0
39 | 0.99896 | -0.024664 | 0 | 0
40 | 0.99733 | -0.062299 | 0 | 0
41 | 0.99759 | -0.052635 | 0.12964 | 0.062788
42 | 0.99515 | -0.1889 | 0 | 0
43 | 0.99441 | -0.21102 | 0.33515 | 0.16232
44 | 0.99444 | -0.21126 | 0 | 0
45 | 0.99456 | -0.20979 | 0 | 0
46 | 0.99432 | -0.21038 | 0 | 0
47 | 0.9946 | -0.20889 | 0 | 0
48 | 0.99455 | -0.21009 | 0.26476 | 0.12823
49 | 0.99432 | -0.21033 | 0.17464 | 0.084582
50 | 0.9946 | -0.20904 | 0 | 0
51 | 0.99459 | -0.20923 | 0.083181 | 0.040286
52 | 0.99461 | -0.20864 | 0.30563 | 0.14802
53 | 0.99462 | -0.20843 | 0 | 0
54 | 0.99715 | -0.064633 | 0.12194 | 0.059059
55 | 0.99514 | -0.18929 | 0.057475 | 0.027836
56 | 0.99249 | -0.25176 | 0.16046 | 0.077716
57 | 0.9925 | -0.25183 | 0 | 0
58 | 0.99252 | -0.25198 | 0.17394 | 0.084244
59 | 0.98934 | -0.3576 | 0 | 0
60 | 0.98844 | -0.39226 | 0.20297 | 0.098301
61 | 0.99156 | -0.273 | 0.30549 | 0.14796
62 | 0.98932 | -0.35742 | 0.20835 | 0.10091
63 | 0.99252 | -0.25203 | 0 | 0
64 | 0.99245 | -0.25372 | 0 | 0
65 | 0.99258 | -0.25078 | 0 | 0
66 | 0.99335 | -0.22936 | 0.3581 | 0.17344
67 | 0.99327 | -0.2312 | 0 | 0
68 | 0.99347 | -0.22683 | 0 | 0
69 | 0.99297 | -0.2379 | 0 | 0
70 | 0.99282 | -0.24121 | 0.22333 | 0.10816
71 | 0.99254 | -0.25202 | 0 | 0
72 | 0.99159 | -0.27246 | 0 | 0
73 | 0.99253 | -0.25229 | 0.25583 | 0.1239
74 | 0.99152 | -0.274 | 0 | 0
75 | 0.99154 | -0.27408 | 0.084604 | 0.040975
76 | 0.99151 | -0.27389 | 0.18011 | 0.087232
77 | 0.98843 | -0.39238 | 0 | 0
78 | 0.99244 | -0.25362 | 0.21162 | 0.10249
79 | 0.99244 | -0.25383 | 0 | 0
80 | 0.99244 | -0.25406 | 0.21323 | 0.10327
81 | 0.98777 | -0.40671 | 0 | 0
82 | 0.9875 | -0.41265 | 0 | 0
83 | 0.98747 | -0.41321 | 0.37868 | 0.1834
84 | 0.98774 | -0.40778 | 0.38749 | 0.18767
85 | 0.98746 | -0.41366 | 0.077982 | 0.037768
86 | 0.98745 | -0.41362 | 0 | 0
87 | 0.98716 | -0.41109 | 0.35439 | 0.17164
88 | 0.98721 | -0.41161 | 0 | 0
89 | 0.98725 | -0.41802 | 0 | 0
90 | 0.98712 | -0.42314 | 0.35761 | 0.1732
91 | 0.9871 | -0.42368 | 0 | 0
92 | 0.98693 | -0.42729 | 0 | 0
93 | 0.98685 | -0.43042 | 0.26512 | 0.12841
94 | 0.98685 | -0.43046 | 0 | 0
95 | 0.98668 | -0.43424 | 0 | 0
96 | 0.98647 | -0.43942 | 0 | 0
97 | 0.98659 | -0.43654 | 0 | 0
98 | 0.98646 | -0.43963 | 0.36815 | 0.1783
99 | 0.98667 | -0.43451 | 0 | 0
100 | 0.98666 | -0.43404 | 0.36177 | 0.17521
101 | 0.98658 | -0.43659 | 0.28976 | 0.14034
102 | 0.98646 | -0.43977 | 0 | 0
103 | 0.98666 | -0.4345 | 0.070477 | 0.034134
104 | 0.98658 | -0.43752 | 0.20033 | 0.097026
105 | 0.98663 | -0.43382 | 0.072258 | 0.034996
106 | 0.98639 | -0.44145 | 0.18802 | 0.091065
107 | 0.98639 | -0.44119 | 0 | 0
108 | 0.98636 | -0.44189 | 0 | 0
109 | 0.98635 | -0.44211 | 0.17394 | 0.084241
110 | 0.98635 | -0.44218 | 0 | 0
111 | 0.98662 | -0.43373 | 0 | 0
112 | 0.98657 | -0.43325 | 0 | 0
113 | 0.98657 | -0.4332 | 0 | 0
114 | 0.98657 | -0.43322 | 0.10391 | 0.050328
115 | 0.98656 | -0.43313 | 0.18049 | 0.087417
116 | 0.98656 | -0.43313 | 0.19514 | 0.094512
117 | 0.99697 | -0.066116 | 0.32441 | 0.15712
118 | 0.98633 | -0.44244 | 0 | 0
119 | 0.98633 | -0.44244 | 0.10914 | 0.052859
120 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.52184 | -0.2516 | 0.52184 | 0.25152 | 1.4044e-06 | -8.3638e-05 | 0.017003 | 0.017002 | 0.017003 | 0.98357 | -0.0092597 | 0.98358 | -0.0092829 | 7.7287
1 | 0.2956 | 0.14203 | -0.29551 | -0.14258 | 8.6574e-05 | -0.00055083 | 0.0096252 | 0.0096329 | 0.0096329 | 0.98357 | -0.0092597 | 0.98327 | -0.011234 | 4.5871
2 | -0.75261 | -0.35256 | 0.75285 | 0.34567 | 0.00023853 | -0.0068925 | 0.024392 | 0.024306 | 0.024392 | 0.98358 | -0.0092829 | 0.98387 | -0.011781 | 11.0874
3 | 0.23076 | 0.10105 | -0.23073 | -0.11017 | 2.9281e-05 | -0.0091221 | 0.0073936 | 0.0075051 | 0.0075051 | 0.98358 | -0.0092829 | 0.98346 | -0.0083148 | 3.4114
4 | 0.29551 | 0.14258 | -0.29551 | -0.14312 | 2.9381e-06 | -0.00054621 | 0.0096329 | 0.0096399 | 0.0096399 | 0.98327 | -0.011234 | 0.98326 | -0.011148 | 4.3818
5 | -0.75285 | -0.34567 | 0.75286 | 0.34511 | 1.9253e-05 | -0.00055865 | 0.024306 | 0.024299 | 0.024306 | 0.98387 | -0.011781 | 0.98389 | -0.011977 | 11.0483
6 | 0.23073 | 0.11017 | -0.23073 | -0.11175 | 5.1604e-06 | -0.001579 | 0.0075051 | 0.0075252 | 0.0075252 | 0.98346 | -0.0083148 | 0.98344 | -0.008123 | 3.4206
7 | -0.99321 | -0.46152 | 0.99323 | 0.46129 | 1.3601e-05 | -0.00022405 | 0.032133 | 0.032131 | 0.032133 | 0.98389 | -0.011977 | 0.9839 | -0.012085 | 14.6061
8 | -0.99323 | -0.46129 | 0.99497 | 0.43212 | 0.0017474 | -0.029169 | 0.032131 | 0.031774 | 0.032131 | 0.9839 | -0.012085 | 0.98554 | -0.024885 | 14.6048
9 | -0.99497 | -0.43212 | 0.99503 | 0.43112 | 5.9519e-05 | -0.0010069 | 0.031774 | 0.031762 | 0.031774 | 0.98554 | -0.024885 | 0.98559 | -0.025281 | 14.4427
10 | -1.313 | -0.58513 | 1.3131 | 0.58452 | 6.4879e-05 | -0.00061672 | 0.042104 | 0.042096 | 0.042104 | 0.98559 | -0.025281 | 0.98564 | -0.025632 | 19.1382
11 | -1.3131 | -0.58452 | 1.3148 | 0.56777 | 0.0017497 | -0.016742 | 0.042096 | 0.041894 | 0.042096 | 0.98564 | -0.025632 | 0.98688 | -0.03471 | 19.1347
12 | -0.38535 | -0.18663 | 0.38535 | 0.18628 | 3.0838e-06 | -0.00035197 | 0.012432 | 0.012427 | 0.012432 | 0.99422 | -0.085549 | 0.99423 | -0.085619 | 5.6508
13 | -2.6395 | -1.1375 | 2.6437 | 1.1281 | 0.0041833 | -0.0094101 | 0.083452 | 0.083331 | 0.083452 | 0.99423 | -0.085619 | 0.99573 | -0.095751 | 37.9329
14 | 2.2542 | 0.95123 | -2.2478 | -0.97163 | 0.0064048 | -0.020397 | 0.071039 | 0.071293 | 0.071293 | 0.99423 | -0.085619 | 0.99154 | -0.067626 | 32.4061
15 | -2.6437 | -1.1281 | 2.6445 | 1.1285 | 0.00077181 | 0.00040958 | 0.083331 | 0.08333 | 0.083331 | 0.99573 | -0.095751 | 0.99604 | -0.092926 | 39.6812
16 | 0.26832 | 0.12979 | -0.26832 | -0.12995 | 7.0417e-07 | -0.00016418 | 0.0086777 | 0.0086797 | 0.0086797 | 0.99154 | -0.067626 | 0.99154 | -0.067603 | 3.9453
17 | 1.9794 | 0.84184 | -1.9722 | -0.87193 | 0.0072605 | -0.030093 | 0.062625 | 0.062999 | 0.062999 | 0.99154 | -0.067626 | 0.98808 | -0.043333 | 28.6358
18 | -2.8413 | -1.2238 | 2.8435 | 1.226 | 0.0021841 | 0.0021288 | 0.089661 | 0.089657 | 0.089661 | 0.99604 | -0.092926 | 0.99701 | -0.066457 | 25.6174
19 | 1.9722 | 0.87193 | -1.972 | -0.87266 | 0.00017709 | -0.00072639 | 0.062999 | 0.063008 | 0.063008 | 0.98808 | -0.043333 | 0.988 | -0.042706 | 28.64
20 | 1.5735 | 0.67966 | -1.5734 | -0.68018 | 7.8935e-05 | -0.00052594 | 0.05008 | 0.050087 | 0.050087 | 0.988 | -0.042706 | 0.98795 | -0.042378 | 22.7667
21 | -3.1679 | -1.381 | 3.1683 | 1.3784 | 0.00041213 | -0.0026082 | 0.10006 | 0.10003 | 0.10006 | 0.99701 | -0.066457 | 0.99715 | -0.064633 | 27.6409
22 | 0.32442 | 0.15501 | -0.32441 | -0.15712 | 1.289e-05 | -0.0021052 | 0.010411 | 0.010437 | 0.010437 | 0.99701 | -0.066457 | 0.99697 | -0.066116 | 4.7441
23 | 1.5734 | 0.68018 | -1.5716 | -0.69208 | 0.0017933 | -0.011897 | 0.050087 | 0.050232 | 0.050232 | 0.98795 | -0.042378 | 0.98688 | -0.03471 | 22.8328
24 | 0.25679 | 0.12431 | -0.25678 | -0.12436 | 6.604e-06 | -5.774e-05 | 0.0083451 | 0.0083459 | 0.0083459 | 0.98688 | -0.03471 | 0.98686 | -0.03488 | 3.9742
25 | -0.18893 | -0.091502 | 0.18893 | 0.090716 | 1.6167e-06 | -0.000786 | 0.0060641 | 0.0060542 | 0.0060641 | 0.9993 | -0.017591 | 0.99931 | -0.017665 | 2.7564
26 | 4.4479 | 1.8281 | -4.4467 | -1.8538 | 0.0012434 | -0.025655 | 0.13892 | 0.13922 | 0.13922 | 0.99931 | -0.017665 | 0.99898 | -0.024559 | 16.5339
27 | -4.6368 | -1.9188 | 4.6389 | 1.8804 | 0.0020223 | -0.038409 | 0.14496 | 0.14452 | 0.14496 | 0.99931 | -0.017665 | 0.99982 | -0.0067878 | 17.2166
28 | 4.1953 | 1.736 | -4.1939 | -1.7689 | 0.0014144 | -0.032823 | 0.1312 | 0.13158 | 0.13158 | 0.99898 | -0.024559 | 0.99858 | -0.032787 | 15.6274
29 | 0.25135 | 0.11774 | -0.25135 | -0.11778 | 4.2971e-06 | -4.1969e-05 | 0.0080207 | 0.0080212 | 0.0080212 | 0.99898 | -0.024559 | 0.99896 | -0.024685 | 3.8196
30 | -4.6389 | -1.8804 | 4.6395 | 1.8811 | 0.0006139 | 0.00067536 | 0.14452 | 0.14452 | 0.14452 | 0.99982 | -0.0067878 | 1 | 0 | 17.6247
31 | 3.9389 | 1.6455 | -3.9377 | -1.6761 | 0.0011625 | -0.030611 | 0.1234 | 0.12376 | 0.12376 | 0.99858 | -0.032787 | 0.99823 | -0.039914 | 14.6982
32 | 0.25505 | 0.12341 | -0.25505 | -0.12352 | 4.2981e-07 | -0.0001141 | 0.0081908 | 0.0081922 | 0.0081922 | 0.99858 | -0.032787 | 0.99858 | -0.032772 | 3.7237
33 | 0.1025 | 0.04569 | -0.1025 | -0.046206 | 3.0475e-07 | -0.00051613 | 0.0032429 | 0.003249 | 0.003249 | 0.99896 | -0.024685 | 0.99896 | -0.024664 | 1.4768
34 | 0.2379 | 0.10816 | -0.23788 | -0.11517 | 2.274e-05 | -0.007009 | 0.0075575 | 0.0076437 | 0.0076437 | 0.99823 | -0.039914 | 0.99814 | -0.039138 | 3.4744
35 | 3.4229 | 1.4339 | -3.4211 | -1.4974 | 0.0018201 | -0.063583 | 0.10732 | 0.10806 | 0.10806 | 0.99823 | -0.039914 | 0.99761 | -0.052524 | 12.8341
36 | 0.27688 | 0.13404 | -0.27687 | -0.1341 | 7.3639e-06 | -5.7508e-05 | 0.008896 | 0.0088967 | 0.0088967 | 0.99823 | -0.039914 | 0.99821 | -0.040089 | 4.2365
37 | 0.23788 | 0.11517 | -0.23788 | -0.11521 | 3.2979e-06 | -3.5611e-05 | 0.0076437 | 0.0076442 | 0.0076442 | 0.99814 | -0.039138 | 0.99813 | -0.03923 | 3.6401
38 | 3.2915 | 1.4347 | -3.2908 | -1.4342 | 0.00066026 | 0.00051394 | 0.1039 | 0.1039 | 0.1039 | 0.99761 | -0.052524 | 0.99733 | -0.062299 | 12.6713
39 | 0.12964 | 0.062706 | -0.12964 | -0.062788 | 2.1831e-06 | -8.244e-05 | 0.0041672 | 0.0041683 | 0.0041683 | 0.99761 | -0.052524 | 0.99759 | -0.052635 | 1.9849
40 | 7.9976 | 3.116 | -7.969 | -3.078 | 0.028571 | 0.038002 | 0.24778 | 0.24781 | 0.24781 | 1 | 0 | 0.99515 | -0.1889 | 30.2208
41 | -0.1025 | -0.049642 | 0.1025 | 0.048727 | 5.5341e-07 | -0.00091488 | 0.0032911 | 0.0032796 | 0.0032911 | 0.99894 | -0.024503 | 0.99894 | -0.024549 | 1.4959
42 | -0.1025 | -0.048727 | 0.1025 | 0.046206 | 1.5049e-06 | -0.0025203 | 0.0032796 | 0.003249 | 0.0032796 | 0.99894 | -0.024549 | 0.99896 | -0.024664 | 1.4907
43 | 3.2908 | 1.4342 | -3.2902 | -1.4374 | 0.00054951 | -0.0031945 | 0.1039 | 0.10395 | 0.10395 | 0.99733 | -0.062299 | 0.99715 | -0.064633 | 28.7143
44 | 1.2214 | 0.50105 | -1.2214 | -0.50645 | 1.925e-05 | -0.0054007 | 0.038297 | 0.038357 | 0.038357 | 0.99515 | -0.1889 | 0.99514 | -0.18929 | 4.5554
45 | 6.7476 | 2.577 | -6.7379 | -2.6588 | 0.009695 | -0.081845 | 0.20952 | 0.21048 | 0.21048 | 0.99515 | -0.1889 | 0.99347 | -0.22683 | 24.9973
46 | -0.33515 | -0.16232 | 0.33516 | 0.16088 | 9.5255e-06 | -0.0014412 | 0.01081 | 0.010792 | 0.01081 | 0.99441 | -0.21102 | 0.99444 | -0.21126 | 4.9138
47 | -0.50982 | -0.23249 | 0.50988 | 0.21777 | 5.5002e-05 | -0.014722 | 0.016266 | 0.016093 | 0.016266 | 0.99444 | -0.21126 | 0.99456 | -0.20979 | 4.4933
48 | 0.17466 | 0.071615 | -0.17464 | -0.084039 | 2.1659e-05 | -0.012424 | 0.0054799 | 0.0056267 | 0.0056267 | 0.99444 | -0.21126 | 0.99432 | -0.21038 | 2.5576
49 | -0.77464 | -0.34583 | 0.77467 | 0.32544 | 2.9682e-05 | -0.020388 | 0.024623 | 0.024388 | 0.024623 | 0.99456 | -0.20979 | 0.9946 | -0.20889 | 2.9244
50 | 0.26476 | 0.12805 | -0.26476 | -0.12823 | 1.8096e-06 | -0.00017574 | 0.0085365 | 0.0085388 | 0.0085388 | 0.99456 | -0.20979 | 0.99455 | -0.21009 | 1.0413
51 | 0.17464 | 0.084039 | -0.17464 | -0.084582 | 9.739e-07 | -0.00054297 | 0.0056267 | 0.0056336 | 0.0056336 | 0.99432 | -0.21038 | 0.99432 | -0.21033 | 2.5607
52 | -0.85785 | -0.34013 | 0.85786 | 0.33528 | 8.4106e-06 | -0.0048438 | 0.026784 | 0.026733 | 0.026784 | 0.9946 | -0.20889 | 0.99461 | -0.20864 | 3.181
53 | 0.083181 | 0.01469 | -0.083181 | -0.039933 | 3.9466e-07 | -0.025243 | 0.0024516 | 0.0026781 | 0.0026781 | 0.9946 | -0.20889 | 0.9946 | -0.20904 | 0.31806
54 | 0.083181 | 0.039933 | -0.083181 | -0.040286 | 3.5396e-07 | -0.0003535 | 0.0026781 | 0.0026825 | 0.0026825 | 0.9946 | -0.20904 | 0.99459 | -0.20923 | 0.32714
55 | -1.1635 | -0.48331 | 1.1635 | 0.48035 | 9.6119e-06 | -0.0029629 | 0.036567 | 0.036534 | 0.036567 | 0.99461 | -0.20864 | 0.99462 | -0.20843 | 4.3428
56 | -1.1635 | -0.48035 | 1.1639 | 0.47862 | 0.00043911 | -0.0017311 | 0.036534 | 0.036508 | 0.036534 | 0.99462 | -0.20843 | 0.99514 | -0.18929 | 4.4553
57 | -0.16046 | -0.077716 | 0.16047 | 0.076899 | 1.2462e-06 | -0.00081765 | 0.0051858 | 0.0051755 | 0.0051858 | 0.99249 | -0.25176 | 0.9925 | -0.25183 | 2.3572
58 | -0.16047 | -0.076899 | 0.16047 | 0.074972 | 2.9174e-06 | -0.001927 | 0.0051755 | 0.0051515 | 0.0051755 | 0.9925 | -0.25183 | 0.99252 | -0.25198 | 2.3525
59 | -0.33441 | -0.15922 | 0.33441 | 0.15892 | 1.9762e-06 | -0.00029954 | 0.010772 | 0.010769 | 0.010772 | 0.99252 | -0.25198 | 0.99252 | -0.25203 | 4.8966
60 | 4.3461 | 1.7413 | -4.3432 | -1.7382 | 0.0029116 | 0.0031074 | 0.13661 | 0.13662 | 0.13662 | 0.98934 | -0.3576 | 0.98844 | -0.39226 | 16.6615
61 | -4.5544 | -1.8404 | 4.562 | 1.8487 | 0.0075088 | 0.0082665 | 0.14333 | 0.1433 | 0.14333 | 0.98934 | -0.3576 | 0.99156 | -0.273 | 17.4796
62 | 0.20836 | 0.099166 | -0.20835 | -0.10091 | 4.5359e-06 | -0.0017444 | 0.0067331 | 0.0067551 | 0.0067551 | 0.98934 | -0.3576 | 0.98932 | -0.35742 | 3.0705
63 | 4.1402 | 1.6399 | -4.1402 | -1.6403 | 1.9216e-05 | -0.00044576 | 0.13006 | 0.13006 | 0.13006 | 0.98844 | -0.39226 | 0.98843 | -0.39238 | 15.4466
64 | -4.8674 | -1.9967 | 4.8676 | 1.9949 | 0.00010674 | -0.0017699 | 0.15317 | 0.15315 | 0.15317 | 0.99156 | -0.273 | 0.99159 | -0.27246 | 18.1908
65 | 0.42488 | 0.13205 | -0.42485 | -0.1954 | 2.7028e-05 | -0.06335 | 0.012941 | 0.013602 | 0.013602 | 0.99252 | -0.25203 | 0.99245 | -0.25372 | 1.6155
66 | -0.75929 | -0.29096 | 0.75933 | 0.26568 | 3.4049e-05 | -0.025284 | 0.02365 | 0.023397 | 0.02365 | 0.99252 | -0.25203 | 0.99258 | -0.25078 | 2.8088
67 | 0.21162 | 0.10156 | -0.21162 | -0.10249 | 2.4829e-06 | -0.00093591 | 0.0068275 | 0.0068394 | 0.0068394 | 0.99245 | -0.25372 | 0.99244 | -0.25362 | 3.1088
68 | 0.21323 | 0.093842 | -0.21323 | -0.1031 | 1.0513e-06 | -0.0092614 | 0.0067764 | 0.0068893 | 0.0068893 | 0.99245 | -0.25372 | 0.99244 | -0.25383 | 0.81821
69 | -6.1518 | -2.4088 | 6.1529 | 2.4102 | 0.0011223 | 0.0014073 | 0.19214 | 0.19214 | 0.19214 | 0.99258 | -0.25078 | 0.99282 | -0.24121 | 23.4319
70 | 0.25584 | 0.12302 | -0.25583 | -0.12375 | 7.0745e-06 | -0.00073158 | 0.0082561 | 0.0082655 | 0.0082655 | 0.99258 | -0.25078 | 0.99254 | -0.25202 | 1.008
71 | 5.1366 | 2.0201 | -5.1323 | -2.0851 | 0.0043471 | -0.06501 | 0.16053 | 0.16127 | 0.16127 | 0.99258 | -0.25078 | 0.99159 | -0.27246 | 19.1536
72 | 6.3791 | 2.4909 | -6.3787 | -2.4952 | 0.00044749 | -0.0042423 | 0.19901 | 0.19906 | 0.19906 | 0.99335 | -0.22936 | 0.99327 | -0.2312 | 23.6417
73 | -6.7372 | -2.6643 | 6.7379 | 2.6588 | 0.00065972 | -0.0055282 | 0.21054 | 0.21048 | 0.21054 | 0.99335 | -0.22936 | 0.99347 | -0.22683 | 25.0051
74 | 6.3787 | 2.4952 | -6.3771 | -2.5107 | 0.0016374 | -0.015497 | 0.19906 | 0.19924 | 0.19924 | 0.99327 | -0.2312 | 0.99297 | -0.2379 | 23.6631
75 | 6.3771 | 2.5107 | -6.3762 | -2.5183 | 0.00081206 | -0.0076703 | 0.19924 | 0.19933 | 0.19933 | 0.99297 | -0.2379 | 0.99282 | -0.24121 | 23.6738
76 | 0.25583 | 0.12375 | -0.25583 | -0.1239 | 1.5167e-06 | -0.00015662 | 0.0082655 | 0.0082675 | 0.0082675 | 0.99254 | -0.25202 | 0.99253 | -0.25229 | 1.0082
77 | 0.18012 | 0.052061 | -0.18011 | -0.085984 | 1.0428e-05 | -0.033922 | 0.0054585 | 0.0058108 | 0.0058108 | 0.99159 | -0.27246 | 0.99152 | -0.274 | 1.3802
78 | 0.084607 | 0.038109 | -0.084604 | -0.040975 | 2.9716e-06 | -0.0028664 | 0.0027014 | 0.0027368 | 0.0027368 | 0.99159 | -0.27246 | 0.99154 | -0.27408 | 0.33376
79 | 0.18011 | 0.085984 | -0.18011 | -0.087232 | 2.4047e-06 | -0.0012481 | 0.0058108 | 0.0058265 | 0.0058265 | 0.99152 | -0.274 | 0.99151 | -0.27389 | 2.6484
80 | 4.1402 | 1.6403 | -4.1379 | -1.6942 | 0.0023352 | -0.053868 | 0.13006 | 0.13067 | 0.13067 | 0.98843 | -0.39238 | 0.98777 | -0.40671 | 15.5192
81 | 0.21323 | 0.1031 | -0.21323 | -0.10327 | 1.1269e-06 | -0.00016817 | 0.0068893 | 0.0068915 | 0.0068915 | 0.99244 | -0.25383 | 0.99244 | -0.25406 | 0.84042
82 | 0.3875 | 0.18727 | -0.38749 | -0.18767 | 9.2525e-06 | -0.00040089 | 0.012578 | 0.012583 | 0.012583 | 0.98777 | -0.40671 | 0.98774 | -0.40778 | 1.5345
83 | 3.7504 | 1.5069 | -3.7495 | -1.5318 | 0.00088138 | -0.024856 | 0.11812 | 0.1184 | 0.1184 | 0.98777 | -0.40671 | 0.9875 | -0.41265 | 14.062
84 | 3.7495 | 1.5318 | -3.7494 | -1.5341 | 8.4164e-05 | -0.0023664 | 0.1184 | 0.11843 | 0.11843 | 0.9875 | -0.41265 | 0.98747 | -0.41321 | 14.0652
85 | 0.077983 | 0.036893 | -0.077982 | -0.037768 | 7.9058e-07 | -0.00087536 | 0.002522 | 0.002533 | 0.002533 | 0.98747 | -0.41321 | 0.98746 | -0.41366 | 0.30891
86 | 3.2927 | 1.3138 | -3.2927 | -1.3158 | 5.3393e-05 | -0.0019743 | 0.10364 | 0.10366 | 0.10366 | 0.98747 | -0.41321 | 0.98745 | -0.41362 | 12.3112
87 | 2.9382 | 1.1594 | -2.9377 | -1.1829 | 0.00050328 | -0.023494 | 0.092341 | 0.0926 | 0.0926 | 0.98745 | -0.41362 | 0.98725 | -0.41802 | 10.9977
88 | 0.35451 | 0.15638 | -0.35442 | -0.16879 | 9.2782e-05 | -0.012415 | 0.011327 | 0.011479 | 0.011479 | 0.98745 | -0.41362 | 0.98721 | -0.41161 | 5.2177
89 | -0.35439 | -0.17164 | 0.35442 | 0.16879 | 2.1642e-05 | -0.0028472 | 0.011515 | 0.011479 | 0.011515 | 0.98716 | -0.41109 | 0.98721 | -0.41161 | 5.2341
90 | 2.9377 | 1.1829 | -2.9374 | -1.1827 | 0.0002918 | 0.0001816 | 0.0926 | 0.092603 | 0.092603 | 0.98725 | -0.41802 | 0.98712 | -0.42314 | 11.2931
91 | 2.5798 | 1.0095 | -2.5797 | -1.0128 | 5.2981e-05 | -0.0032339 | 0.081014 | 0.081049 | 0.081049 | 0.98712 | -0.42314 | 0.9871 | -0.42368 | 9.6258
92 | 2.5797 | 1.0128 | -2.5793 | -1.0348 | 0.00036179 | -0.022003 | 0.081049 | 0.08129 | 0.08129 | 0.9871 | -0.42368 | 0.98693 | -0.42729 | 9.6544
93 | 2.5793 | 1.0348 | -2.5792 | -1.0347 | 0.00015595 | 5.8839e-05 | 0.08129 | 0.081292 | 0.081292 | 0.98693 | -0.42729 | 0.98685 | -0.43042 | 9.9136
94 | 2.3141 | 0.90632 | -2.3141 | -0.90661 | 3.8194e-06 | -0.00029033 | 0.072698 | 0.072701 | 0.072701 | 0.98685 | -0.43042 | 0.98685 | -0.43046 | 8.6343
95 | 2.3141 | 0.90661 | -2.3137 | -0.93231 | 0.00033947 | -0.025699 | 0.072701 | 0.072982 | 0.072982 | 0.98685 | -0.43046 | 0.98668 | -0.43424 | 8.6677
96 | 1.1292 | 0.38448 | -1.1292 | -0.41429 | 9.0338e-05 | -0.029813 | 0.034901 | 0.035193 | 0.035193 | 0.98668 | -0.43424 | 0.98659 | -0.43654 | 4.1796
97 | 0.27083 | 0.11111 | -0.27082 | -0.12854 | 3.2206e-06 | -0.017433 | 0.0085645 | 0.0087708 | 0.0087708 | 0.98668 | -0.43424 | 0.98667 | -0.43451 | 1.0417
98 | 0.91365 | 0.43672 | -0.91363 | -0.43715 | 2.1765e-05 | -0.00042516 | 0.029628 | 0.029633 | 0.029633 | 0.98668 | -0.43424 | 0.98666 | -0.43404 | 13.4696
99 | -0.8393 | -0.3257 | 0.83938 | 0.27504 | 8.4969e-05 | -0.05066 | 0.026345 | 0.025845 | 0.026345 | 0.98647 | -0.43942 | 0.98659 | -0.43654 | 3.1289
100 | 0.8393 | 0.3257 | -0.83929 | -0.32959 | 6.6742e-06 | -0.0038945 | 0.026345 | 0.026387 | 0.026387 | 0.98647 | -0.43942 | 0.98646 | -0.43963 | 3.1338
101 | 0.28977 | 0.13925 | -0.28976 | -0.14034 | 1.3923e-06 | -0.0010852 | 0.0094068 | 0.0094206 | 0.0094206 | 0.98659 | -0.43654 | 0.98658 | -0.43659 | 2.6024
102 | 0.47114 | 0.15129 | -0.47114 | -0.15536 | 2.1086e-06 | -0.0040731 | 0.014481 | 0.014518 | 0.014518 | 0.98646 | -0.43963 | 0.98646 | -0.43977 | 1.7242
103 | 0.070477 | 0.033727 | -0.070477 | -0.034134 | 1.2229e-07 | -0.0004065 | 0.0022859 | 0.0022911 | 0.0022911 | 0.98667 | -0.43451 | 0.98666 | -0.4345 | 1.0414
104 | 0.20035 | 0.094813 | -0.20033 | -0.097026 | 1.3333e-05 | -0.0022127 | 0.0064849 | 0.0065131 | 0.0065131 | 0.98667 | -0.43451 | 0.98658 | -0.43752 | 0.79428
105 | 0.55186 | 0.26193 | -0.55185 | -0.26271 | 1.4366e-05 | -0.00077829 | 0.017873 | 0.017882 | 0.017882 | 0.98666 | -0.43404 | 0.98663 | -0.43382 | 8.1284
106 | 0.47114 | 0.15536 | -0.47112 | -0.20166 | 2.4788e-05 | -0.0463 | 0.014518 | 0.014998 | 0.014998 | 0.98646 | -0.43977 | 0.98639 | -0.44119 | 1.7812
107 | 0.47959 | 0.22772 | -0.47958 | -0.22808 | 5.0291e-06 | -0.00036126 | 0.015533 | 0.015538 | 0.015538 | 0.98663 | -0.43382 | 0.98662 | -0.43373 | 7.0627
108 | -0.18802 | -0.091065 | 0.18803 | 0.090857 | 1.1044e-06 | -0.00020728 | 0.0061141 | 0.0061115 | 0.0061141 | 0.98639 | -0.44145 | 0.98639 | -0.44119 | 0.74563
109 | 0.28309 | 0.11081 | -0.28308 | -0.12091 | 7.9763e-06 | -0.010101 | 0.0088969 | 0.0090089 | 0.0090089 | 0.98639 | -0.44119 | 0.98636 | -0.44189 | 2.1399
110 | 0.28308 | 0.12091 | -0.28308 | -0.12427 | 2.7006e-06 | -0.0033619 | 0.0090089 | 0.009048 | 0.009048 | 0.98636 | -0.44189 | 0.98635 | -0.44211 | 2.1492
111 | 0.10914 | 0.040026 | -0.10914 | -0.042219 | 2.5157e-07 | -0.0021922 | 0.0034023 | 0.0034249 | 0.0034249 | 0.98635 | -0.44211 | 0.98635 | -0.44218 | 0.81352
112 | 0.10914 | 0.042219 | -0.10914 | -0.052374 | 1.2122e-06 | -0.010155 | 0.0034249 | 0.003543 | 0.003543 | 0.98635 | -0.44218 | 0.98633 | -0.44244 | 0.84157
113 | 0.47958 | 0.22808 | -0.47956 | -0.23004 | 2.7408e-05 | -0.001965 | 0.015538 | 0.015563 | 0.015563 | 0.98662 | -0.43373 | 0.98657 | -0.43325 | 7.0741
114 | 0.37564 | 0.18032 | -0.37564 | -0.1806 | 2.4303e-06 | -0.0002838 | 0.012192 | 0.012196 | 0.012196 | 0.98657 | -0.43325 | 0.98657 | -0.4332 | 5.5435
115 | 0.10392 | 0.049726 | -0.10391 | -0.050328 | 3.9415e-07 | -0.00060239 | 0.0033708 | 0.0033784 | 0.0033784 | 0.98657 | -0.43325 | 0.98657 | -0.43322 | 1.5357
116 | 0.18049 | 0.086774 | -0.18049 | -0.087417 | 1.2707e-06 | -0.00064285 | 0.00586 | 0.0058682 | 0.0058682 | 0.98657 | -0.4332 | 0.98656 | -0.43313 | 2.6673
117 | 0.19514 | 0.093827 | -0.19514 | -0.094512 | 1.5827e-06 | -0.00068494 | 0.0063357 | 0.0063445 | 0.0063445 | 0.98657 | -0.4332 | 0.98656 | -0.43313 | 2.8838
118 | 0.10914 | 0.052374 | -0.10914 | -0.052859 | 8.8353e-08 | -0.00048541 | 0.003543 | 0.0035492 | 0.0035492 | 0.98633 | -0.44244 | 0.98633 | -0.44244 | 0.98044

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.8342 | 5.0963

## res_load
| p_mw | q_mvar
0 | 0.22624 | 0.10957
1 | 0.29551 | 0.14312
2 | 0.24035 | 0.11641
3 | 0.23073 | 0.11175
4 | 0.318 | 0.15402
5 | 0.38535 | 0.18663
6 | 0.19681 | 0.095321
7 | 0.3985 | 0.193
8 | 0.26832 | 0.12995
9 | 0.25678 | 0.12436
10 | 0.18893 | 0.091502
11 | 0.14885 | 0.07209
12 | 0.25505 | 0.12352
13 | 0.27687 | 0.1341
14 | 0.23788 | 0.11521
15 | 0.18312 | 0.08869
16 | 0.1025 | 0.049642
17 | 0.12964 | 0.062788
18 | 0.33515 | 0.16232
19 | 0.26476 | 0.12823
20 | 0.17464 | 0.084582
21 | 0.083181 | 0.040286
22 | 0.30563 | 0.14802
23 | 0.12194 | 0.059059
24 | 0.057475 | 0.027836
25 | 0.16046 | 0.077716
26 | 0.17394 | 0.084244
27 | 0.20297 | 0.098301
28 | 0.30549 | 0.14796
29 | 0.20835 | 0.10091
30 | 0.3581 | 0.17344
31 | 0.22333 | 0.10816
32 | 0.25583 | 0.1239
33 | 0.084604 | 0.040975
34 | 0.18011 | 0.087232
35 | 0.21162 | 0.10249
36 | 0.21323 | 0.10327
37 | 0.37868 | 0.1834
38 | 0.38749 | 0.18767
39 | 0.077982 | 0.037768
40 | 0.35439 | 0.17164
41 | 0.35761 | 0.1732
42 | 0.26512 | 0.12841
43 | 0.36815 | 0.1783
44 | 0.36177 | 0.17521
45 | 0.28976 | 0.14034
46 | 0.070477 | 0.034134
47 | 0.20033 | 0.097026
48 | 0.072258 | 0.034996
49 | 0.18802 | 0.091065
50 | 0.17394 | 0.084241
51 | 0.10391 | 0.050328
52 | 0.18049 | 0.087417
53 | 0.19514 | 0.094512
54 | 0.32441 | 0.15712
55 | 0.10914 | 0.052859

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1