## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_368_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_368_0_node_74 | 20 | n |  | TRUE
2 | bus_MV_368_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_368_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_368_0_node_136 | 20 | n |  | TRUE
5 | bus_MV_368_0_node_18 | 20 | n |  | TRUE
6 | bus_MV_368_0_node_163 | 20 | n |  | TRUE
7 | bus_MV_368_0_node_133 | 20 | n |  | TRUE
8 | bus_MV_368_0_node_32 | 20 | n |  | TRUE
9 | bus_MV_368_0_node_134 | 20 | n |  | TRUE
10 | bus_MV_368_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_368_0_node_7 | 20 | n |  | TRUE
12 | bus_MV_368_0_node_86 | 20 | n |  | TRUE
13 | bus_MV_368_0_node_138 | 20 | n |  | TRUE
14 | bus_MV_368_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_368_0_node_9 | 20 | n |  | TRUE
16 | bus_MV_368_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_368_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_368_0_node_11 | 20 | n |  | TRUE
19 | bus_MV_368_0_node_14 | 20 | n |  | TRUE
20 | bus_MV_368_0_node_13 | 20 | n |  | TRUE
21 | bus_MV_368_0_node_85 | 20 | n |  | TRUE
22 | bus_MV_368_0_node_52 | 20 | n |  | TRUE
23 | bus_MV_368_0_node_15 | 20 | n |  | TRUE
24 | bus_MV_368_0_node_16 | 20 | n |  | TRUE
25 | bus_MV_368_0_node_17 | 20 | n |  | TRUE
26 | bus_MV_368_0_node_19 | 20 | n |  | TRUE
27 | bus_MV_368_0_node_20 | 20 | n |  | TRUE
28 | bus_MV_368_0_node_159 | 20 | n |  | TRUE
29 | bus_MV_368_0_node_21 | 20 | n |  | TRUE
30 | bus_MV_368_0_node_22 | 20 | n |  | TRUE
31 | bus_MV_368_0_node_158 | 20 | n |  | TRUE
32 | bus_MV_368_0_node_24 | 20 | n |  | TRUE
33 | bus_MV_368_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_368_0_node_165 | 20 | n |  | TRUE
35 | bus_MV_368_0_node_25 | 20 | n |  | TRUE
36 | bus_MV_368_0_node_29 | 20 | n |  | TRUE
37 | bus_MV_368_0_node_135 | 20 | n |  | TRUE
38 | bus_MV_368_0_node_27 | 20 | n |  | TRUE
39 | bus_MV_368_0_node_34 | 20 | n |  | TRUE
40 | bus_MV_368_0_node_162 | 20 | n |  | TRUE
41 | bus_MV_368_0_node_28 | 20 | n |  | TRUE
42 | bus_MV_368_0_node_30 | 20 | n |  | TRUE
43 | bus_MV_368_0_node_137 | 20 | n |  | TRUE
44 | bus_MV_368_0_node_35 | 20 | n |  | TRUE
45 | bus_MV_368_0_node_36 | 20 | n |  | TRUE
46 | bus_MV_368_0_node_38 | 20 | n |  | TRUE
47 | bus_MV_368_0_node_37 | 20 | n |  | TRUE
48 | bus_MV_368_0_node_41 | 20 | n |  | TRUE
49 | bus_MV_368_0_node_40 | 20 | n |  | TRUE
50 | bus_MV_368_0_node_39 | 20 | n |  | TRUE
51 | bus_MV_368_0_node_157 | 20 | n |  | TRUE
52 | bus_MV_368_0_node_140 | 20 | n |  | TRUE
53 | bus_MV_368_0_node_139 | 20 | n |  | TRUE
54 | bus_HV_368_0_node_15 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_368_0_load_0 | 0 | 0.11411 | 0.055264 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_368_0_load_74 | 1 | 0.15803 | 0.07654 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_368_0_load_1 | 2 | 0.17703 | 0.085741 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_368_0_load_136 | 4 | 0.07651 | 0.037056 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_368_0_load_18 | 5 | 0.20359 | 0.098603 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_368_0_load_163 | 6 | 0.26328 | 0.12751 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_368_0_load_133 | 7 | 0.18517 | 0.08968 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_368_0_load_32 | 8 | 0.16013 | 0.077556 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_368_0_load_6 | 10 | 0.32552 | 0.15766 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_368_0_load_138 | 13 | 0.17482 | 0.084671 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_368_0_load_8 | 14 | 0.3916 | 0.18966 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_368_0_load_12 | 17 | 0.19154 | 0.092767 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_368_0_load_14 | 19 | 0.13228 | 0.064066 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_368_0_load_85 | 21 | 0.18214 | 0.088213 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_368_0_load_52 | 22 | 0.065078 | 0.031519 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_368_0_load_15 | 23 | 0.26978 | 0.13066 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_368_0_load_159 | 28 | 0.34851 | 0.16879 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_368_0_load_22 | 30 | 0.38427 | 0.18611 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_368_0_load_158 | 31 | 0.37179 | 0.18006 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_368_0_load_165 | 34 | 0.050911 | 0.024657 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_368_0_load_135 | 37 | 0.076386 | 0.036996 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_368_0_load_34 | 39 | 0.38714 | 0.1875 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_368_0_load_162 | 40 | 0.20496 | 0.099267 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_368_0_load_28 | 41 | 0.26082 | 0.12632 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_368_0_load_137 | 43 | 0.30521 | 0.14782 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_368_0_load_38 | 46 | 0.40465 | 0.19598 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_368_0_load_41 | 48 | 0.40779 | 0.1975 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_368_0_load_157 | 51 | 0.32589 | 0.15783 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_368_0_line_0 |  | 0 | 1 | 1.8176 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_368_0_line_1 |  | 0 | 2 | 1.5739 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_368_0_line_2 |  | 2 | 3 | 0.06698 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_368_0_line_3 |  | 2 | 4 | 1.2526 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
4 | MV_368_0_line_4 |  | 3 | 5 | 1.2291 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
5 | MV_368_0_line_5 |  | 3 | 6 | 1.6645 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
6 | MV_368_0_line_6 |  | 4 | 43 | 0.075117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_368_0_line_7 |  | 5 | 26 | 0.06905 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
8 | MV_368_0_line_8 |  | 6 | 52 | 0.05603 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
9 | MV_368_0_line_9 |  | 7 | 8 | 2.0009 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_368_0_line_10 |  | 7 | 9 | 0.13153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_368_0_line_11 |  | 9 | 29 | 0.30638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_368_0_line_12 |  | 10 | 11 | 0.061317 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
13 | MV_368_0_line_13 |  | 10 | 12 | 1.6373 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
14 | MV_368_0_line_14 |  | 11 | 13 | 1.6405 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
15 | MV_368_0_line_15 |  | 12 | 21 | 0.060486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_368_0_line_16 |  | 13 | 53 | 0.08392 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_368_0_line_17 |  | 14 | 15 | 0.094369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_368_0_line_18 |  | 15 | 16 | 0.33076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_368_0_line_19 |  | 16 | 17 | 0.084627 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_368_0_line_20 |  | 17 | 20 | 0.02333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_368_0_line_21 |  | 17 | 18 | 0.33747 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_368_0_line_22 |  | 18 | 19 | 0.050365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_368_0_line_23 |  | 19 | 22 | 3.1335 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_368_0_line_24 |  | 20 | 21 | 0.84293 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_368_0_line_25 |  | 23 | 24 | 0.086204 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
26 | MV_368_0_line_26 |  | 24 | 25 | 0.48997 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
27 | MV_368_0_line_27 |  | 25 | 26 | 0.63322 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
28 | MV_368_0_line_28 |  | 25 | 27 | 0.39253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_368_0_line_29 |  | 25 | 28 | 0.011688 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_368_0_line_30 |  | 27 | 29 | 0.47728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_368_0_line_31 |  | 27 | 30 | 0.049978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_368_0_line_32 |  | 29 | 31 | 0.059851 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_368_0_line_33 |  | 32 | 33 | 0.2854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_368_0_line_34 |  | 32 | 34 | 0.09635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_368_0_line_35 |  | 33 | 38 | 0.69075 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_368_0_line_36 |  | 33 | 39 | 0.078638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_368_0_line_37 |  | 33 | 35 | 0.52805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_368_0_line_38 |  | 35 | 36 | 0.10229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_368_0_line_39 |  | 35 | 37 | 0.048155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_368_0_line_40 |  | 36 | 42 | 0.34033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_368_0_line_41 |  | 36 | 41 | 0.041905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_368_0_line_42 |  | 38 | 40 | 0.10575 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_368_0_line_43 |  | 39 | 44 | 0.025393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_368_0_line_44 |  | 42 | 43 | 0.009606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_368_0_line_45 |  | 44 | 45 | 0.11938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_368_0_line_46 |  | 45 | 46 | 0.03939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_368_0_line_47 |  | 46 | 50 | 0.082994 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_368_0_line_48 |  | 47 | 48 | 0.070749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_368_0_line_49 |  | 47 | 49 | 0.68103 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_368_0_line_50 |  | 49 | 51 | 0.051809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_368_0_line_51 |  | 49 | 50 | 0.96784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_368_0_line_52 |  | 52 | 53 | 0.33451 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_368_0_trafo_15 | 25 MVA 110/20 kV | 54 | 23 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2695836.2026 | 1271027.051
1 | 2697559.9365 | 1271603.6354
2 | 2694266.457 | 1270912.9623
3 | 2694202.2608 | 1270893.2106
4 | 2694010.0714 | 1272139.0595
5 | 2693455.9656 | 1271869.7718
6 | 2692673.706 | 1270234.4402
7 | 2692739.8566 | 1272628.8885
8 | 2690739.7776 | 1272686.8175
9 | 2692819.3603 | 1272524.1354
10 | 2690910.1973 | 1269780.1317
11 | 2690936.5048 | 1269835.4154
12 | 2689298.6599 | 1270069.514
13 | 2692559.7956 | 1270072.6827
14 | 2687925.5517 | 1270038.4938
15 | 2688014.9288 | 1270068.0488
16 | 2688324.6979 | 1270084.7409
17 | 2688406.5637 | 1270106.1829
18 | 2688293.4647 | 1270424.1406
19 | 2688329.9563 | 1270458.9702
20 | 2688429.2722 | 1270111.8163
21 | 2689267.556 | 1270023.4506
22 | 2687114.6773 | 1273347.2617
23 | 2692932.8388 | 1271914.5434
24 | 2693006.86 | 1271959.1014
25 | 2693231.7022 | 1272205.9642
26 | 2693402.2396 | 1271826.3967
27 | 2693342.9609 | 1272420.2568
28 | 2693235.2952 | 1272217.0858
29 | 2693032.0388 | 1272365.1155
30 | 2693337.795 | 1272370.6892
31 | 2692974.7193 | 1272347.4869
32 | 2693361.3681 | 1272710.6804
33 | 2693586.4113 | 1272582.168
34 | 2693287.264 | 1272772.5167
35 | 2693640.2777 | 1272373.0241
36 | 2693735.6158 | 1272338.3408
37 | 2693684.0099 | 1272375.3507
38 | 2693068.7386 | 1272599.3233
39 | 2693614.2088 | 1272655.7202
40 | 2693133.1783 | 1272515.469
41 | 2693722.9128 | 1272298.4279
42 | 2694038.034 | 1272207.9725
43 | 2694046.6772 | 1272203.7288
44 | 2693619.6178 | 1272680.4769
45 | 2693663.5591 | 1272779.5681
46 | 2693680.0803 | 1272815.3491
47 | 2693875.777 | 1272989.8482
48 | 2693945.0938 | 1272975.6866
49 | 2693790.0022 | 1273665.4546
50 | 2693612.6558 | 1272863.7428
51 | 2693765.0711 | 1273710.908
52 | 2692691.7333 | 1270181.3901
53 | 2692600.2206 | 1270023.2128
54 | 2692932.8388 | 1271914.5434

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99001 | -0.27026 | 0.11411 | 0.055264
1 | 0.98945 | -0.27397 | 0.15803 | 0.07654
2 | 0.99084 | -0.26456 | 0.17703 | 0.085741
3 | 0.99095 | -0.2633 | 0 | 0
4 | 0.98715 | -0.3622 | 0.07651 | 0.037056
5 | 0.99671 | -0.066201 | 0.20359 | 0.098603
6 | 0.98806 | -0.3621 | 0.26328 | 0.12751
7 | 0.99723 | -0.020157 | 0.18517 | 0.08968
8 | 0.99661 | -0.024255 | 0.16013 | 0.077556
9 | 0.99729 | -0.02067 | 0 | 0
10 | 0.98557 | -0.44084 | 0.32552 | 0.15766
11 | 0.98561 | -0.44036 | 0 | 0
12 | 0.98369 | -0.48929 | 0 | 0
13 | 0.98775 | -0.36777 | 0.17482 | 0.084671
14 | 0.98202 | -0.49642 | 0.3916 | 0.18966
15 | 0.98207 | -0.49687 | 0 | 0
16 | 0.98224 | -0.49834 | 0 | 0
17 | 0.9823 | -0.49786 | 0.19154 | 0.092767
18 | 0.98217 | -0.49884 | 0 | 0
19 | 0.98216 | -0.49873 | 0.13228 | 0.064066
20 | 0.98233 | -0.49806 | 0 | 0
21 | 0.98361 | -0.48863 | 0.18214 | 0.088213
22 | 0.98176 | -0.50178 | 0.065078 | 0.031519
23 | 1 | 0 | -6.4039 | -2.9231
24 | 0.99976 | -0.0044479 | 0 | 0
25 | 0.99841 | -0.029675 | 0 | 0
26 | 0.99705 | -0.05473 | 0 | 0
27 | 0.99786 | -0.025271 | 0 | 0
28 | 0.9984 | -0.029725 | 0.34851 | 0.16879
29 | 0.99742 | -0.021764 | 0 | 0
30 | 0.99783 | -0.025043 | 0.38427 | 0.18611
31 | 0.9974 | -0.021499 | 0.37179 | 0.18006
32 | 0.9845 | -0.34169 | 0 | 0
33 | 0.98452 | -0.34177 | 0 | 0
34 | 0.9845 | -0.34164 | 0.050911 | 0.024657
35 | 0.98573 | -0.35118 | 0 | 0
36 | 0.98597 | -0.35303 | 0 | 0
37 | 0.98572 | -0.35113 | 0.076386 | 0.036996
38 | 0.98434 | -0.34039 | 0 | 0
39 | 0.98437 | -0.34045 | 0.38714 | 0.1875
40 | 0.9843 | -0.34066 | 0.20496 | 0.099267
41 | 0.98595 | -0.3529 | 0.26082 | 0.12632
42 | 0.98689 | -0.36017 | 0 | 0
43 | 0.98692 | -0.36037 | 0.30521 | 0.14782
44 | 0.98433 | -0.34014 | 0 | 0
45 | 0.98415 | -0.33868 | 0 | 0
46 | 0.9841 | -0.3382 | 0.40465 | 0.19598
47 | 0.98252 | -0.3349 | 0 | 0
48 | 0.98248 | -0.33455 | 0.40779 | 0.1975
49 | 0.98306 | -0.33131 | 0 | 0
50 | 0.98398 | -0.33915 | 0 | 0
51 | 0.98304 | -0.3311 | 0.32589 | 0.15783
52 | 0.98802 | -0.36278 | 0 | 0
53 | 0.9878 | -0.36678 | 0 | 0
54 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.15812 | 0.074467 | -0.15803 | -0.07654 | 8.4549e-05 | -0.0020726 | 0.0050963 | 0.005123 | 0.005123 | 0.99001 | -0.27026 | 0.98945 | -0.27397 | 2.4395
1 | -0.27222 | -0.12973 | 0.27244 | 0.12802 | 0.00021625 | -0.0017077 | 0.008793 | 0.0087701 | 0.008793 | 0.99001 | -0.27026 | 0.99084 | -0.26456 | 4.1872
2 | -2.9645 | -1.3503 | 2.9647 | 1.3482 | 0.0002913 | -0.0020445 | 0.094905 | 0.094878 | 0.094905 | 0.99084 | -0.26456 | 0.99095 | -0.2633 | 26.2168
3 | 2.515 | 1.1365 | -2.5075 | -1.1295 | 0.0074361 | 0.0069657 | 0.080406 | 0.080425 | 0.080425 | 0.99084 | -0.26456 | 0.98715 | -0.3622 | 22.9785
4 | -4.6999 | -2.1515 | 4.7197 | 2.1787 | 0.019861 | 0.027184 | 0.15058 | 0.15056 | 0.15058 | 0.99095 | -0.2633 | 0.99671 | -0.066201 | 36.726
5 | 1.7351 | 0.80327 | -1.7314 | -0.80004 | 0.0036826 | 0.0032223 | 0.0557 | 0.055726 | 0.055726 | 0.99095 | -0.2633 | 0.98806 | -0.3621 | 13.5916
6 | 2.431 | 1.0925 | -2.4304 | -1.094 | 0.00060933 | -0.0015665 | 0.07794 | 0.077961 | 0.077961 | 0.98715 | -0.3622 | 0.98692 | -0.36037 | 35.4367
7 | -4.9233 | -2.2773 | 4.9245 | 2.2789 | 0.0012149 | 0.0016701 | 0.15711 | 0.15711 | 0.15711 | 0.99671 | -0.066201 | 0.99705 | -0.05473 | 38.319
8 | 1.4681 | 0.67253 | -1.4681 | -0.67458 | 4.5673e-05 | -0.0020476 | 0.04718 | 0.047206 | 0.047206 | 0.98806 | -0.3621 | 0.98802 | -0.36278 | 11.2128
9 | 0.16023 | 0.075241 | -0.16013 | -0.077556 | 9.4144e-05 | -0.0023151 | 0.0051241 | 0.0051537 | 0.0051537 | 0.99723 | -0.020157 | 0.99661 | -0.024255 | 2.4542
10 | -0.34539 | -0.16492 | 0.34541 | 0.1618 | 2.148e-05 | -0.0031169 | 0.01108 | 0.011041 | 0.01108 | 0.99723 | -0.020157 | 0.99729 | -0.02067 | 5.0362
11 | -0.34541 | -0.1618 | 0.34546 | 0.15454 | 4.9461e-05 | -0.0072618 | 0.011041 | 0.010953 | 0.011041 | 0.99729 | -0.02067 | 0.99742 | -0.021764 | 5.0186
12 | -1.2908 | -0.60632 | 1.2909 | 0.60431 | 5.1647e-05 | -0.0020058 | 0.041772 | 0.041747 | 0.041772 | 0.98557 | -0.44084 | 0.98561 | -0.44036 | 11.5393
13 | 0.96533 | 0.44866 | -0.96386 | -0.44898 | 0.0014624 | -0.0003221 | 0.031179 | 0.031204 | 0.031204 | 0.98557 | -0.44084 | 0.98369 | -0.48929 | 8.9154
14 | -1.2909 | -0.60431 | 1.2929 | 0.60519 | 0.0020368 | 0.00088162 | 0.041747 | 0.041721 | 0.041747 | 0.98561 | -0.44036 | 0.98775 | -0.36777 | 10.1822
15 | 0.96386 | 0.44898 | -0.96379 | -0.45035 | 7.8668e-05 | -0.001374 | 0.031204 | 0.031221 | 0.031221 | 0.98369 | -0.48929 | 0.98361 | -0.48863 | 14.1915
16 | -1.4678 | -0.68986 | 1.4678 | 0.6868 | 6.8946e-05 | -0.0030647 | 0.047398 | 0.047359 | 0.047398 | 0.98775 | -0.36777 | 0.9878 | -0.36678 | 11.2584
17 | -0.3916 | -0.18966 | 0.39162 | 0.18749 | 2.0566e-05 | -0.0021669 | 0.012791 | 0.012763 | 0.012791 | 0.98202 | -0.49642 | 0.98207 | -0.49687 | 5.8139
18 | -0.39162 | -0.18749 | 0.39169 | 0.1799 | 7.1386e-05 | -0.0075967 | 0.012763 | 0.012668 | 0.012763 | 0.98207 | -0.49687 | 0.98224 | -0.49834 | 5.8013
19 | -0.39169 | -0.1799 | 0.39172 | 0.17982 | 2.4194e-05 | -8.2324e-05 | 0.012668 | 0.012667 | 0.012668 | 0.98224 | -0.49834 | 0.9823 | -0.49786 | 6.0323
20 | -0.78067 | -0.36304 | 0.78069 | 0.36251 | 1.9933e-05 | -0.00053159 | 0.025301 | 0.025295 | 0.025301 | 0.9823 | -0.49786 | 0.98233 | -0.49806 | 11.5006
21 | 0.19741 | 0.09046 | -0.19739 | -0.090834 | 2.4504e-05 | -0.00037334 | 0.0063815 | 0.0063862 | 0.0063862 | 0.9823 | -0.49786 | 0.98217 | -0.49884 | 3.0411
22 | 0.19739 | 0.090834 | -0.19738 | -0.091993 | 2.7484e-06 | -0.0011592 | 0.0063862 | 0.0064006 | 0.0064006 | 0.98217 | -0.49884 | 0.98216 | -0.49873 | 2.9094
23 | 0.065102 | 0.027927 | -0.065078 | -0.031519 | 2.4705e-05 | -0.0035916 | 0.0020821 | 0.0021261 | 0.0021261 | 0.98216 | -0.49873 | 0.98176 | -0.50178 | 1.0124
24 | -0.78069 | -0.36251 | 0.78165 | 0.36214 | 0.00096046 | -0.00037071 | 0.025295 | 0.025283 | 0.025295 | 0.98233 | -0.49806 | 0.98361 | -0.48863 | 12.0451
25 | 6.3899 | 2.9126 | -6.3886 | -2.9147 | 0.0012968 | -0.0021018 | 0.20272 | 0.20276 | 0.20276 | 1 | 0 | 0.99976 | -0.0044479 | 48.1614
26 | 6.3886 | 2.9147 | -6.3813 | -2.9266 | 0.0073807 | -0.011908 | 0.20276 | 0.20298 | 0.20298 | 0.99976 | -0.0044479 | 0.99841 | -0.029675 | 48.2148
27 | 4.9302 | 2.2601 | -4.9245 | -2.2789 | 0.0057097 | -0.018838 | 0.15682 | 0.15711 | 0.15711 | 0.99841 | -0.029675 | 0.99705 | -0.05473 | 37.3176
28 | 1.1025 | 0.49773 | -1.1019 | -0.50687 | 0.00064309 | -0.0091464 | 0.034976 | 0.035088 | 0.035088 | 0.99841 | -0.029675 | 0.99786 | -0.025271 | 15.9489
29 | 0.34851 | 0.16878 | -0.34851 | -0.16879 | 2.6104e-06 | -1.2273e-05 | 0.011196 | 0.011196 | 0.011196 | 0.99841 | -0.029675 | 0.9984 | -0.029725 | 5.3316
30 | 0.71759 | 0.32194 | -0.71726 | -0.33319 | 0.00033183 | -0.011243 | 0.022753 | 0.022889 | 0.022889 | 0.99786 | -0.025271 | 0.99742 | -0.021764 | 10.4043
31 | 0.38428 | 0.18493 | -0.38427 | -0.18611 | 1.0168e-05 | -0.0011851 | 0.012337 | 0.012352 | 0.012352 | 0.99786 | -0.025271 | 0.99783 | -0.025043 | 5.6147
32 | 0.3718 | 0.17865 | -0.37179 | -0.18006 | 1.1405e-05 | -0.0014182 | 0.011938 | 0.011956 | 0.011956 | 0.99742 | -0.021764 | 0.9974 | -0.021499 | 5.4346
33 | -0.050911 | -0.022428 | 0.050912 | 0.015823 | 9.6891e-07 | -0.0066045 | 0.0016313 | 0.0015633 | 0.0016313 | 0.9845 | -0.34169 | 0.98452 | -0.34177 | 0.74148
34 | 0.050911 | 0.022428 | -0.050911 | -0.024657 | 3.4794e-07 | -0.0022296 | 0.0016313 | 0.0016587 | 0.0016587 | 0.9845 | -0.34169 | 0.9845 | -0.34164 | 0.75395
35 | 0.20501 | 0.083179 | -0.20497 | -0.09915 | 3.9912e-05 | -0.015971 | 0.0064871 | 0.0066775 | 0.0066775 | 0.98452 | -0.34177 | 0.98434 | -0.34039 | 3.0352
36 | 1.5271 | 0.70726 | -1.5269 | -0.70901 | 0.00025575 | -0.0017437 | 0.049346 | 0.049369 | 0.049369 | 0.98452 | -0.34177 | 0.98437 | -0.34045 | 22.4403
37 | -1.783 | -0.80627 | 1.7853 | 0.79472 | 0.0023149 | -0.011549 | 0.057378 | 0.057231 | 0.057378 | 0.98452 | -0.34177 | 0.98573 | -0.35118 | 26.0808
38 | -1.8617 | -0.8306 | 1.8622 | 0.82837 | 0.0004865 | -0.0022293 | 0.059702 | 0.059674 | 0.059702 | 0.98573 | -0.35118 | 0.98597 | -0.35303 | 27.1372
39 | 0.076387 | 0.035879 | -0.076386 | -0.036996 | 3.9491e-07 | -0.001117 | 0.0024715 | 0.0024856 | 0.0024856 | 0.98573 | -0.35118 | 0.98572 | -0.35113 | 1.1298
40 | -2.123 | -0.95372 | 2.1252 | 0.94644 | 0.0021068 | -0.0072817 | 0.068143 | 0.068049 | 0.068143 | 0.98597 | -0.35303 | 0.98689 | -0.36017 | 30.9742
41 | 0.26083 | 0.12535 | -0.26082 | -0.12632 | 4.0219e-06 | -0.00097144 | 0.0084728 | 0.0084851 | 0.0084851 | 0.98597 | -0.35303 | 0.98595 | -0.3529 | 3.8569
42 | 0.20497 | 0.09915 | -0.20496 | -0.099267 | 8.4035e-06 | -0.00011706 | 0.0066775 | 0.006679 | 0.006679 | 0.98434 | -0.34039 | 0.9843 | -0.34066 | 3.1805
43 | 1.1397 | 0.52151 | -1.1397 | -0.52208 | 4.5809e-05 | -0.00057387 | 0.036756 | 0.036763 | 0.036763 | 0.98437 | -0.34045 | 0.98433 | -0.34014 | 16.7106
44 | -2.1252 | -0.94644 | 2.1252 | 0.94623 | 5.9381e-05 | -0.00020577 | 0.068049 | 0.068046 | 0.068049 | 0.98689 | -0.36017 | 0.98692 | -0.36037 | 30.9312
45 | 1.1397 | 0.52208 | -1.1395 | -0.52478 | 0.00021559 | -0.0026972 | 0.036763 | 0.036797 | 0.036797 | 0.98433 | -0.34014 | 0.98415 | -0.33868 | 16.726
46 | 1.1395 | 0.52478 | -1.1394 | -0.52567 | 7.1224e-05 | -0.00088973 | 0.036797 | 0.036808 | 0.036808 | 0.98415 | -0.33868 | 0.9841 | -0.3382 | 16.7311
47 | 0.73473 | 0.32969 | -0.73465 | -0.32973 | 8.2522e-05 | -4.4252e-05 | 0.023623 | 0.023624 | 0.023624 | 0.9841 | -0.3382 | 0.98398 | -0.33915 | 11.2495
48 | 0.40781 | 0.19588 | -0.40779 | -0.1975 | 1.6714e-05 | -0.0016256 | 0.013292 | 0.013313 | 0.013313 | 0.98252 | -0.3349 | 0.98248 | -0.33455 | 6.0515
49 | -0.40781 | -0.19588 | 0.40802 | 0.19523 | 0.00021423 | -0.00065109 | 0.013292 | 0.013282 | 0.013292 | 0.98252 | -0.3349 | 0.98306 | -0.33131 | 6.3297
50 | 0.32589 | 0.15664 | -0.32589 | -0.15783 | 7.8087e-06 | -0.0011931 | 0.010618 | 0.010633 | 0.010633 | 0.98306 | -0.33131 | 0.98304 | -0.3311 | 4.8332
51 | -0.73392 | -0.35187 | 0.73465 | 0.32973 | 0.00072944 | -0.022136 | 0.0239 | 0.023624 | 0.0239 | 0.98306 | -0.33131 | 0.98398 | -0.33915 | 10.8637
52 | 1.4681 | 0.67458 | -1.4678 | -0.6868 | 0.00027371 | -0.01222 | 0.047206 | 0.047359 | 0.047359 | 0.98802 | -0.36278 | 0.9878 | -0.36678 | 11.2492

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.6737 | 3.0538

## res_load
| p_mw | q_mvar
0 | 0.11411 | 0.055264
1 | 0.15803 | 0.07654
2 | 0.17703 | 0.085741
3 | 0.07651 | 0.037056
4 | 0.20359 | 0.098603
5 | 0.26328 | 0.12751
6 | 0.18517 | 0.08968
7 | 0.16013 | 0.077556
8 | 0.32552 | 0.15766
9 | 0.17482 | 0.084671
10 | 0.3916 | 0.18966
11 | 0.19154 | 0.092767
12 | 0.13228 | 0.064066
13 | 0.18214 | 0.088213
14 | 0.065078 | 0.031519
15 | 0.26978 | 0.13066
16 | 0.34851 | 0.16879
17 | 0.38427 | 0.18611
18 | 0.37179 | 0.18006
19 | 0.050911 | 0.024657
20 | 0.076386 | 0.036996
21 | 0.38714 | 0.1875
22 | 0.20496 | 0.099267
23 | 0.26082 | 0.12632
24 | 0.30521 | 0.14782
25 | 0.40465 | 0.19598
26 | 0.40779 | 0.1975
27 | 0.32589 | 0.15783

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1