## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_369_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_369_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_369_0_node_194 | 20 | n |  | TRUE
3 | bus_MV_369_0_node_10 | 20 | n |  | TRUE
4 | bus_MV_369_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_369_0_node_25 | 20 | n |  | TRUE
6 | bus_MV_369_0_node_175 | 20 | n |  | TRUE
7 | bus_MV_369_0_node_11 | 20 | n |  | TRUE
8 | bus_MV_369_0_node_26 | 20 | n |  | TRUE
9 | bus_MV_369_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_369_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_369_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_369_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_369_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_369_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_369_0_node_180 | 20 | n |  | TRUE
16 | bus_MV_369_0_node_197 | 20 | n |  | TRUE
17 | bus_MV_369_0_node_179 | 20 | n |  | TRUE
18 | bus_MV_369_0_node_68 | 20 | n |  | TRUE
19 | bus_MV_369_0_node_67 | 20 | n |  | TRUE
20 | bus_MV_369_0_node_12 | 20 | n |  | TRUE
21 | bus_MV_369_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_369_0_node_23 | 20 | n |  | TRUE
23 | bus_MV_369_0_node_15 | 20 | n |  | TRUE
24 | bus_MV_369_0_node_24 | 20 | n |  | TRUE
25 | bus_MV_369_0_node_181 | 20 | n |  | TRUE
26 | bus_MV_369_0_node_16 | 20 | n |  | TRUE
27 | bus_MV_369_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_369_0_node_18 | 20 | n |  | TRUE
29 | bus_MV_369_0_node_19 | 20 | n |  | TRUE
30 | bus_MV_369_0_node_21 | 20 | n |  | TRUE
31 | bus_MV_369_0_node_22 | 20 | n |  | TRUE
32 | bus_MV_369_0_node_50 | 20 | n |  | TRUE
33 | bus_MV_369_0_node_20 | 20 | n |  | TRUE
34 | bus_MV_369_0_node_158 | 20 | n |  | TRUE
35 | bus_MV_369_0_node_56 | 20 | n |  | TRUE
36 | bus_MV_369_0_node_196 | 20 | n |  | TRUE
37 | bus_MV_369_0_node_51 | 20 | n |  | TRUE
38 | bus_MV_369_0_node_52 | 20 | n |  | TRUE
39 | bus_MV_369_0_node_69 | 20 | n |  | TRUE
40 | bus_MV_369_0_node_54 | 20 | n |  | TRUE
41 | bus_MV_369_0_node_55 | 20 | n |  | TRUE
42 | bus_MV_369_0_node_53 | 20 | n |  | TRUE
43 | bus_MV_369_0_node_59 | 20 | n |  | TRUE
44 | bus_MV_369_0_node_60 | 20 | n |  | TRUE
45 | bus_MV_369_0_node_66 | 20 | n |  | TRUE
46 | bus_MV_369_0_node_191 | 20 | n |  | TRUE
47 | bus_MV_369_0_node_57 | 20 | n |  | TRUE
48 | bus_MV_369_0_node_58 | 20 | n |  | TRUE
49 | bus_MV_369_0_node_61 | 20 | n |  | TRUE
50 | bus_MV_369_0_node_62 | 20 | n |  | TRUE
51 | bus_MV_369_0_node_185 | 20 | n |  | TRUE
52 | bus_MV_369_0_node_186 | 20 | n |  | TRUE
53 | bus_MV_369_0_node_192 | 20 | n |  | TRUE
54 | bus_MV_369_0_node_184 | 20 | n |  | TRUE
55 | bus_MV_369_0_node_27 | 20 | n |  | TRUE
56 | bus_MV_369_0_node_190 | 20 | n |  | TRUE
57 | bus_MV_369_0_node_176 | 20 | n |  | TRUE
58 | bus_MV_369_0_node_29 | 20 | n |  | TRUE
59 | bus_MV_369_0_node_30 | 20 | n |  | TRUE
60 | bus_MV_369_0_node_31 | 20 | n |  | TRUE
61 | bus_MV_369_0_node_160 | 20 | n |  | TRUE
62 | bus_MV_369_0_node_43 | 20 | n |  | TRUE
63 | bus_MV_369_0_node_159 | 20 | n |  | TRUE
64 | bus_MV_369_0_node_32 | 20 | n |  | TRUE
65 | bus_MV_369_0_node_34 | 20 | n |  | TRUE
66 | bus_MV_369_0_node_33 | 20 | n |  | TRUE
67 | bus_MV_369_0_node_83 | 20 | n |  | TRUE
68 | bus_MV_369_0_node_35 | 20 | n |  | TRUE
69 | bus_MV_369_0_node_49 | 20 | n |  | TRUE
70 | bus_MV_369_0_node_173 | 20 | n |  | TRUE
71 | bus_MV_369_0_node_182 | 20 | n |  | TRUE
72 | bus_MV_369_0_node_99 | 20 | n |  | TRUE
73 | bus_MV_369_0_node_100 | 20 | n |  | TRUE
74 | bus_MV_369_0_node_109 | 20 | n |  | TRUE
75 | bus_MV_369_0_node_103 | 20 | n |  | TRUE
76 | bus_MV_369_0_node_104 | 20 | n |  | TRUE
77 | bus_MV_369_0_node_105 | 20 | n |  | TRUE
78 | bus_MV_369_0_node_106 | 20 | n |  | TRUE
79 | bus_MV_369_0_node_107 | 20 | n |  | TRUE
80 | bus_MV_369_0_node_108 | 20 | n |  | TRUE
81 | bus_MV_369_0_node_172 | 20 | n |  | TRUE
82 | bus_MV_369_0_node_110 | 20 | n |  | TRUE
83 | bus_MV_369_0_node_111 | 20 | n |  | TRUE
84 | bus_MV_369_0_node_168 | 20 | n |  | TRUE
85 | bus_MV_369_0_node_112 | 20 | n |  | TRUE
86 | bus_MV_369_0_node_114 | 20 | n |  | TRUE
87 | bus_MV_369_0_node_113 | 20 | n |  | TRUE
88 | bus_MV_369_0_node_115 | 20 | n |  | TRUE
89 | bus_MV_369_0_node_116 | 20 | n |  | TRUE
90 | bus_MV_369_0_node_174 | 20 | n |  | TRUE
91 | bus_MV_369_0_node_41 | 20 | n |  | TRUE
92 | bus_MV_369_0_node_36 | 20 | n |  | TRUE
93 | bus_MV_369_0_node_37 | 20 | n |  | TRUE
94 | bus_MV_369_0_node_38 | 20 | n |  | TRUE
95 | bus_MV_369_0_node_39 | 20 | n |  | TRUE
96 | bus_MV_369_0_node_40 | 20 | n |  | TRUE
97 | bus_MV_369_0_node_177 | 20 | n |  | TRUE
98 | bus_MV_369_0_node_195 | 20 | n |  | TRUE
99 | bus_MV_369_0_node_187 | 20 | n |  | TRUE
100 | bus_MV_369_0_node_189 | 20 | n |  | TRUE
101 | bus_MV_369_0_node_188 | 20 | n |  | TRUE
102 | bus_MV_369_0_node_42 | 20 | n |  | TRUE
103 | bus_MV_369_0_node_44 | 20 | n |  | TRUE
104 | bus_MV_369_0_node_46 | 20 | n |  | TRUE
105 | bus_MV_369_0_node_183 | 20 | n |  | TRUE
106 | bus_MV_369_0_node_63 | 20 | n |  | TRUE
107 | bus_MV_369_0_node_65 | 20 | n |  | TRUE
108 | bus_MV_369_0_node_193 | 20 | n |  | TRUE
109 | bus_HV_369_0_node_182 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_369_0_load_0 | 0 | 0.27092 | 0.13121 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_369_0_load_194 | 2 | 0.11038 | 0.053461 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_369_0_load_2 | 4 | 0.061604 | 0.029836 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_369_0_load_25 | 5 | 0.25733 | 0.12463 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_369_0_load_175 | 6 | 0.1959 | 0.094876 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_369_0_load_11 | 7 | 0.19834 | 0.096061 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_369_0_load_3 | 9 | 0.091923 | 0.04452 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_369_0_load_8 | 12 | 0.057053 | 0.027632 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_369_0_load_5 | 13 | 0.17422 | 0.08438 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_369_0_load_197 | 16 | 0.20674 | 0.10013 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_369_0_load_179 | 17 | 0.17739 | 0.085912 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_369_0_load_67 | 19 | 0.24783 | 0.12003 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_369_0_load_12 | 20 | 0.16425 | 0.07955 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_369_0_load_23 | 22 | 0.21874 | 0.10594 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_369_0_load_181 | 25 | 0.29429 | 0.14253 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_369_0_load_16 | 26 | 0.24261 | 0.1175 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_369_0_load_22 | 31 | 0.36293 | 0.17578 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_369_0_load_50 | 32 | 0.28046 | 0.13583 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_369_0_load_158 | 34 | 0.090975 | 0.044061 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_369_0_load_56 | 35 | 0.13215 | 0.064005 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_369_0_load_196 | 36 | 0.22095 | 0.10701 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_369_0_load_69 | 39 | 0.063423 | 0.030717 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_369_0_load_55 | 41 | 0.36462 | 0.17659 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_369_0_load_66 | 45 | 0.13694 | 0.066324 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_369_0_load_191 | 46 | 0.11998 | 0.058108 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_369_0_load_57 | 47 | 0.29745 | 0.14406 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_369_0_load_62 | 50 | 0.17905 | 0.086716 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_369_0_load_186 | 52 | 0.1193 | 0.05778 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_369_0_load_192 | 53 | 0.40056 | 0.194 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_369_0_load_190 | 56 | 0.31842 | 0.15422 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_369_0_load_176 | 57 | 0.32915 | 0.15941 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_369_0_load_29 | 58 | 0.11438 | 0.055395 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_369_0_load_160 | 61 | 0.095636 | 0.046319 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_369_0_load_159 | 63 | 0.10513 | 0.050917 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_369_0_load_32 | 64 | 0.26378 | 0.12776 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_369_0_load_83 | 67 | 0.18777 | 0.090942 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_369_0_load_49 | 69 | 0.3257 | 0.15775 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_369_0_load_173 | 70 | 0.1615 | 0.07822 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_369_0_load_182 | 71 | 0.12236 | 0.059264 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_369_0_load_99 | 72 | 0.26497 | 0.12833 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_369_0_load_103 | 75 | 0.27799 | 0.13464 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_369_0_load_106 | 78 | 0.20658 | 0.10005 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_369_0_load_172 | 81 | 0.35787 | 0.17332 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_369_0_load_168 | 84 | 0.089072 | 0.04314 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_369_0_load_112 | 85 | 0.17419 | 0.084364 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_369_0_load_113 | 87 | 0.22271 | 0.10786 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_369_0_load_116 | 89 | 0.09601 | 0.0465 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_369_0_load_174 | 90 | 0.32642 | 0.15809 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_369_0_load_36 | 92 | 0.15305 | 0.074127 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_369_0_load_177 | 97 | 0.30169 | 0.14611 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_369_0_load_195 | 98 | 0.4019 | 0.19465 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_369_0_load_187 | 99 | 0.18494 | 0.08957 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_369_0_load_189 | 100 | 0.28188 | 0.13652 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_369_0_load_188 | 101 | 0.17513 | 0.084821 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_369_0_load_42 | 102 | 0.39482 | 0.19122 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_369_0_load_183 | 105 | 0.4129 | 0.19998 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_369_0_load_63 | 106 | 0.22401 | 0.10849 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_369_0_load_193 | 108 | 0.27049 | 0.131 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_369_0_line_0 |  | 0 | 1 | 0.027949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_369_0_line_1 |  | 1 | 2 | 1.6902 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_369_0_line_2 |  | 2 | 3 | 0.069852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_369_0_line_3 |  | 3 | 18 | 0.85204 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_369_0_line_4 |  | 3 | 11 | 0.80523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_369_0_line_5 |  | 4 | 5 | 0.89206 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
6 | MV_369_0_line_6 |  | 4 | 6 | 1.3146 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_369_0_line_7 |  | 4 | 7 | 1.2185 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
8 | MV_369_0_line_8 |  | 5 | 8 | 0.046096 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_369_0_line_9 |  | 6 | 9 | 0.67031 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_369_0_line_10 |  | 7 | 10 | 1.1321 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
11 | MV_369_0_line_11 |  | 8 | 55 | 0.33134 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
12 | MV_369_0_line_12 |  | 10 | 14 | 0.78379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_369_0_line_13 |  | 10 | 12 | 1.2199 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
14 | MV_369_0_line_14 |  | 10 | 13 | 0.011827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_369_0_line_15 |  | 11 | 12 | 0.12 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_369_0_line_16 |  | 14 | 15 | 0.78702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_369_0_line_17 |  | 14 | 16 | 0.035516 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_369_0_line_18 |  | 15 | 17 | 0.045281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_369_0_line_19 |  | 18 | 19 | 0.068552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_369_0_line_20 |  | 20 | 21 | 0.027837 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_369_0_line_21 |  | 20 | 22 | 1.0134 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_369_0_line_22 |  | 21 | 23 | 0.52775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_369_0_line_23 |  | 22 | 24 | 0.009029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_369_0_line_24 |  | 23 | 25 | 0.076405 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_369_0_line_25 |  | 24 | 30 | 0.35495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_369_0_line_26 |  | 26 | 27 | 0.034345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_369_0_line_27 |  | 27 | 28 | 0.38325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_369_0_line_28 |  | 27 | 29 | 0.73427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_369_0_line_29 |  | 27 | 30 | 0.71232 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_369_0_line_30 |  | 28 | 31 | 0.053579 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_369_0_line_31 |  | 28 | 32 | 1.2144 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_369_0_line_32 |  | 29 | 33 | 0.60259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_369_0_line_33 |  | 29 | 34 | 0.060705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_369_0_line_34 |  | 30 | 36 | 0.017246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_369_0_line_35 |  | 32 | 37 | 0.070404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_369_0_line_36 |  | 33 | 35 | 0.064062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_369_0_line_37 |  | 37 | 38 | 0.45631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_369_0_line_38 |  | 37 | 39 | 1.2703 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
39 | MV_369_0_line_39 |  | 38 | 40 | 0.8498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_369_0_line_40 |  | 38 | 41 | 0.013186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_369_0_line_41 |  | 39 | 71 | 0.76008 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
42 | MV_369_0_line_42 |  | 40 | 46 | 0.028622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_369_0_line_43 |  | 40 | 42 | 0.22907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_369_0_line_44 |  | 42 | 43 | 0.45129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_369_0_line_45 |  | 42 | 44 | 0.51617 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_369_0_line_46 |  | 42 | 45 | 0.032545 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_369_0_line_47 |  | 43 | 106 | 0.030782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_369_0_line_48 |  | 43 | 107 | 0.19394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_369_0_line_49 |  | 43 | 49 | 0.51413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_369_0_line_50 |  | 44 | 50 | 0.040906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_369_0_line_51 |  | 47 | 48 | 0.039112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_369_0_line_52 |  | 48 | 49 | 0.2826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_369_0_line_53 |  | 49 | 105 | 0.010378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_369_0_line_54 |  | 49 | 54 | 0.34718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_369_0_line_55 |  | 51 | 52 | 0.008445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_369_0_line_56 |  | 51 | 53 | 1.6016 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_369_0_line_57 |  | 53 | 54 | 0.028675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_369_0_line_58 |  | 55 | 56 | 0.053167 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
59 | MV_369_0_line_59 |  | 56 | 57 | 0.10541 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
60 | MV_369_0_line_60 |  | 57 | 104 | 0.011622 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
61 | MV_369_0_line_61 |  | 58 | 59 | 0.04788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_369_0_line_62 |  | 59 | 60 | 0.25473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_369_0_line_63 |  | 60 | 61 | 0.016238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_369_0_line_64 |  | 61 | 62 | 0.21164 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_369_0_line_65 |  | 61 | 63 | 0.096509 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_369_0_line_66 |  | 62 | 103 | 0.47911 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_369_0_line_67 |  | 62 | 104 | 0.36868 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
68 | MV_369_0_line_68 |  | 62 | 102 | 0.004984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_369_0_line_69 |  | 64 | 65 | 0.050681 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
70 | MV_369_0_line_70 |  | 64 | 66 | 0.16891 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
71 | MV_369_0_line_71 |  | 65 | 67 | 0.90736 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
72 | MV_369_0_line_72 |  | 66 | 68 | 0.46406 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_369_0_line_73 |  | 67 | 70 | 0.85937 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_369_0_line_74 |  | 67 | 71 | 1.1305 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
75 | MV_369_0_line_75 |  | 68 | 69 | 0.03357 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
76 | MV_369_0_line_76 |  | 69 | 91 | 0.015601 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_369_0_line_77 |  | 70 | 77 | 0.03077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_369_0_line_78 |  | 70 | 82 | 0.070996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_369_0_line_79 |  | 72 | 73 | 0.005785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_369_0_line_80 |  | 73 | 74 | 0.2341 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_369_0_line_81 |  | 74 | 84 | 0.014371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_369_0_line_82 |  | 74 | 85 | 0.2641 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_369_0_line_83 |  | 74 | 80 | 0.12737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_369_0_line_84 |  | 75 | 76 | 0.062933 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_369_0_line_85 |  | 76 | 77 | 0.23479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_369_0_line_86 |  | 78 | 79 | 0.044925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_369_0_line_87 |  | 79 | 80 | 0.27121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_369_0_line_88 |  | 80 | 81 | 0.015747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_369_0_line_89 |  | 80 | 82 | 0.55566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_369_0_line_90 |  | 80 | 83 | 0.77065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_369_0_line_91 |  | 83 | 86 | 0.73169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_369_0_line_92 |  | 83 | 87 | 0.026081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_369_0_line_93 |  | 86 | 88 | 0.60759 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_369_0_line_94 |  | 86 | 89 | 0.050849 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_369_0_line_95 |  | 88 | 90 | 0.025508 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_369_0_line_96 |  | 91 | 93 | 0.43093 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
97 | MV_369_0_line_97 |  | 92 | 93 | 0.009065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_369_0_line_98 |  | 93 | 94 | 0.31547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_369_0_line_99 |  | 93 | 95 | 0.47546 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_369_0_line_100 |  | 93 | 96 | 0.36369 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
101 | MV_369_0_line_101 |  | 94 | 97 | 0.042639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_369_0_line_102 |  | 95 | 98 | 0.077962 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_369_0_line_103 |  | 96 | 99 | 0.006833 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
104 | MV_369_0_line_104 |  | 98 | 100 | 0.45833 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
105 | MV_369_0_line_105 |  | 99 | 101 | 0.60895 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
106 | MV_369_0_line_106 |  | 101 | 103 | 0.065607 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
107 | MV_369_0_line_107 |  | 107 | 108 | 0.002863 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_369_0_trafo_182 | 25 MVA 110/20 kV | 109 | 71 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2700996.1737 | 1270027.939
1 | 2700998.8171 | 1270000.116
2 | 2699336.8677 | 1269692.3099
3 | 2699268.2233 | 1269681.1912
4 | 2697859.0802 | 1267174.1611
5 | 2697304.2124 | 1266475.6647
6 | 2697108.0733 | 1268253.1178
7 | 2698820.0584 | 1267923.377
8 | 2697269.5463 | 1266445.4024
9 | 2697378.1996 | 1268866.5871
10 | 2699915.1617 | 1268210.454
11 | 2699038.2106 | 1269139.2736
12 | 2699155.4427 | 1269164.8947
13 | 2699927.007 | 1268211.0993
14 | 2700124.3654 | 1268010.7043
15 | 2700694.7754 | 1267879.8522
16 | 2700126.9868 | 1268046.123
17 | 2700682.8511 | 1267923.5415
18 | 2698952.731 | 1270472.6681
19 | 2698966.249 | 1270539.3288
20 | 2702019.1211 | 1267576.164
21 | 2702036.169 | 1267598.2103
22 | 2701502.4234 | 1266704.3655
23 | 2702226.8328 | 1267736.8782
24 | 2701506.0369 | 1266696.0872
25 | 2702237.8931 | 1267812.478
26 | 2701673.3245 | 1266158.5544
27 | 2701639.5954 | 1266151.5685
28 | 2701767.8537 | 1265931.3122
29 | 2702006.848 | 1265942.3071
30 | 2701561.1522 | 1266481.2308
31 | 2701760.6959 | 1265984.4114
32 | 2700932.2641 | 1265050.1082
33 | 2702330.7288 | 1265907.1972
34 | 2701948.7585 | 1265924.6829
35 | 2702326.8336 | 1265959.3852
36 | 2701543.9995 | 1266479.001
37 | 2700864.1405 | 1265067.8799
38 | 2701156.7453 | 1264855.7794
39 | 2700249.9537 | 1266179.885
40 | 2701309.4416 | 1264426.7244
41 | 2701168.7552 | 1264850.2803
42 | 2701524.7648 | 1264409.0471
43 | 2701873.5874 | 1264399.4939
44 | 2701517.9279 | 1264665.7774
45 | 2701524.1153 | 1264441.5853
46 | 2701318.7729 | 1264453.173
47 | 2701532.7304 | 1264200.1874
48 | 2701571.1314 | 1264208.1868
49 | 2701812.9977 | 1264274.7128
50 | 2701558.478 | 1264665.1399
51 | 2703543.911 | 1264790.702
52 | 2703547.7936 | 1264783.1971
53 | 2702069.7105 | 1264164.8132
54 | 2702042.0734 | 1264156.874
55 | 2697170.99 | 1266134.0013
56 | 2697181.6965 | 1266081.9231
57 | 2697207.3331 | 1265979.6822
58 | 2696976.2604 | 1265947.5606
59 | 2696966.0945 | 1265903.046
60 | 2696969.8746 | 1265752.5947
61 | 2696969.8603 | 1265736.3569
62 | 2697168.1022 | 1265662.2414
63 | 2697062.9971 | 1265711.0663
64 | 2698233.1624 | 1265685.7506
65 | 2698282.0577 | 1265671.8961
66 | 2698079.7809 | 1265756.4849
67 | 2698823.0203 | 1264943.4316
68 | 2698002.385 | 1265935.4276
69 | 2697982.1238 | 1265908.8808
70 | 2699206.2628 | 1264174.2454
71 | 2699645.456 | 1265719.1246
72 | 2699237.9035 | 1263716.5757
73 | 2699236.206 | 1263722.1073
74 | 2699388.0977 | 1263900.2386
75 | 2699000.4971 | 1264063.9614
76 | 2699062.3564 | 1264052.3877
77 | 2699203.7645 | 1264143.5781
78 | 2699311.5628 | 1264094.5914
79 | 2699266.7388 | 1264092.07
80 | 2699348.7872 | 1263952.3323
81 | 2699345.9137 | 1263936.849
82 | 2699277.4703 | 1264174.7408
83 | 2699705.1977 | 1263976.8287
84 | 2699389.021 | 1263914.5804
85 | 2699519.8444 | 1263671.3427
86 | 2699780.5598 | 1264223.4819
87 | 2699706.1817 | 1264002.889
88 | 2699931.0182 | 1263829.8852
89 | 2699756.8702 | 1264268.4751
90 | 2699931.6905 | 1263804.3866
91 | 2697974.6017 | 1265895.2003
92 | 2697670.1554 | 1265834.5236
93 | 2697674.5122 | 1265842.4799
94 | 2697553.7256 | 1265924.2199
95 | 2697818.9153 | 1265566.7502
96 | 2697527.646 | 1265697.1461
97 | 2697511.2272 | 1265928.9894
98 | 2697770.8591 | 1265505.36
99 | 2697521.1558 | 1265699.3408
100 | 2697457.395 | 1265170.9861
101 | 2697217.88 | 1265171.2877
102 | 2697172.6982 | 1265660.282
103 | 2697196.509 | 1265233.3319
104 | 2697206.364 | 1265968.1011
105 | 2701813.9141 | 1264264.3755
106 | 2701867.7509 | 1264369.2681
107 | 2701870.4848 | 1264593.4137
108 | 2701871.5083 | 1264596.0891
109 | 2699645.456 | 1265719.1246

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98487 | -0.44587 | 0.27092 | 0.13121
1 | 0.98488 | -0.44596 | 0 | 0
2 | 0.98578 | -0.44002 | 0.11038 | 0.053461
3 | 0.98581 | -0.44033 | 0 | 0
4 | 0.98857 | -0.3737 | 0.061604 | 0.029836
5 | 0.98936 | -0.3457 | 0.25733 | 0.12463
6 | 0.98783 | -0.37856 | 0.1959 | 0.094876
7 | 0.98771 | -0.40476 | 0.19834 | 0.096061
8 | 0.98938 | -0.34531 | 0 | 0
9 | 0.98771 | -0.37935 | 0.091923 | 0.04452
10 | 0.98702 | -0.42982 | 0 | 0
11 | 0.98646 | -0.44572 | 0 | 0
12 | 0.9866 | -0.44451 | 0.057053 | 0.027632
13 | 0.98702 | -0.42979 | 0.17422 | 0.08438
14 | 0.98664 | -0.42758 | 0 | 0
15 | 0.98646 | -0.42639 | 0 | 0
16 | 0.98662 | -0.42767 | 0.20674 | 0.10013
17 | 0.98645 | -0.42629 | 0.17739 | 0.085912
18 | 0.9854 | -0.44311 | 0 | 0
19 | 0.98537 | -0.44291 | 0.24783 | 0.12003
20 | 0.98462 | -0.26634 | 0.16425 | 0.07955
21 | 0.98461 | -0.26626 | 0 | 0
22 | 0.98553 | -0.25935 | 0.21874 | 0.10594
23 | 0.98441 | -0.26456 | 0 | 0
24 | 0.98553 | -0.25942 | 0 | 0
25 | 0.98437 | -0.26484 | 0.29429 | 0.14253
26 | 0.98665 | -0.26827 | 0.24261 | 0.1175
27 | 0.98666 | -0.26837 | 0 | 0
28 | 0.98733 | -0.27282 | 0 | 0
29 | 0.98646 | -0.26758 | 0 | 0
30 | 0.98584 | -0.26195 | 0 | 0
31 | 0.98729 | -0.27306 | 0.36293 | 0.17578
32 | 0.99135 | -0.23799 | 0.28046 | 0.13583
33 | 0.98635 | -0.26693 | 0 | 0
34 | 0.98645 | -0.26751 | 0.090975 | 0.044061
35 | 0.98634 | -0.26683 | 0.13215 | 0.064005
36 | 0.98584 | -0.26191 | 0.22095 | 0.10701
37 | 0.99153 | -0.23933 | 0 | 0
38 | 0.99005 | -0.22785 | 0 | 0
39 | 0.99827 | -0.060133 | 0.063423 | 0.030717
40 | 0.9877 | -0.2093 | 0 | 0
41 | 0.99005 | -0.22779 | 0.36462 | 0.17659
42 | 0.9871 | -0.20443 | 0 | 0
43 | 0.9861 | -0.19594 | 0 | 0
44 | 0.98699 | -0.20353 | 0 | 0
45 | 0.98709 | -0.20448 | 0.13694 | 0.066324
46 | 0.9877 | -0.20926 | 0.11998 | 0.058108
47 | 0.98517 | -0.18788 | 0.29745 | 0.14406
48 | 0.98518 | -0.18802 | 0 | 0
49 | 0.98529 | -0.18898 | 0 | 0
50 | 0.98698 | -0.20344 | 0.17905 | 0.086716
51 | 0.98467 | -0.18927 | 0 | 0
52 | 0.98466 | -0.18925 | 0.1193 | 0.05778
53 | 0.98504 | -0.18673 | 0.40056 | 0.194
54 | 0.98506 | -0.18691 | 0 | 0
55 | 0.98953 | -0.3424 | 0 | 0
56 | 0.98958 | -0.34048 | 0.31842 | 0.15422
57 | 0.98971 | -0.33611 | 0.32915 | 0.15941
58 | 0.98975 | -0.33233 | 0.11438 | 0.055395
59 | 0.98976 | -0.3324 | 0 | 0
60 | 0.9898 | -0.33268 | 0 | 0
61 | 0.9898 | -0.3327 | 0.095636 | 0.046319
62 | 0.98993 | -0.33174 | 0 | 0
63 | 0.98978 | -0.33283 | 0.10513 | 0.050917
64 | 0.99316 | -0.24308 | 0.26378 | 0.12776
65 | 0.99322 | -0.24188 | 0 | 0
66 | 0.99273 | -0.25868 | 0 | 0
67 | 0.99565 | -0.15429 | 0.18777 | 0.090942
68 | 0.99221 | -0.26919 | 0 | 0
69 | 0.99217 | -0.26994 | 0.3257 | 0.15775
70 | 0.99206 | -0.18343 | 0.1615 | 0.07822
71 | 1 | 0 | -12.5874 | -5.5858
72 | 0.99047 | -0.17294 | 0.26497 | 0.12833
73 | 0.99047 | -0.17296 | 0 | 0
74 | 0.99059 | -0.17219 | 0 | 0
75 | 0.99193 | -0.18281 | 0.27799 | 0.13464
76 | 0.99197 | -0.18259 | 0 | 0
77 | 0.99205 | -0.18334 | 0 | 0
78 | 0.99059 | -0.17227 | 0.20658 | 0.10005
79 | 0.9906 | -0.17238 | 0 | 0
80 | 0.99068 | -0.17299 | 0 | 0
81 | 0.99067 | -0.17292 | 0.35787 | 0.17332
82 | 0.9919 | -0.18228 | 0 | 0
83 | 0.99005 | -0.16898 | 0 | 0
84 | 0.99059 | -0.17217 | 0.089072 | 0.04314
85 | 0.9905 | -0.17276 | 0.17419 | 0.084364
86 | 0.98965 | -0.16629 | 0 | 0
87 | 0.99004 | -0.16891 | 0.22271 | 0.10786
88 | 0.9894 | -0.16415 | 0 | 0
89 | 0.98965 | -0.16635 | 0.09601 | 0.0465
90 | 0.98938 | -0.16426 | 0.32642 | 0.15809
91 | 0.99215 | -0.27027 | 0 | 0
92 | 0.9917 | -0.27934 | 0.15305 | 0.074127
93 | 0.9917 | -0.27936 | 0 | 0
94 | 0.99158 | -0.2783 | 0 | 0
95 | 0.99128 | -0.27559 | 0 | 0
96 | 0.9914 | -0.28527 | 0 | 0
97 | 0.99156 | -0.27814 | 0.30169 | 0.14611
98 | 0.99118 | -0.27625 | 0.4019 | 0.19465
99 | 0.9914 | -0.28538 | 0.18494 | 0.08957
100 | 0.99093 | -0.27785 | 0.28188 | 0.13652
101 | 0.99033 | -0.32378 | 0.17513 | 0.084821
102 | 0.98993 | -0.33171 | 0.39482 | 0.19122
103 | 0.99028 | -0.32475 | 0 | 0
104 | 0.98971 | -0.33597 | 0 | 0
105 | 0.98529 | -0.18893 | 0.4129 | 0.19998
106 | 0.9861 | -0.19586 | 0.22401 | 0.10849
107 | 0.986 | -0.1966 | 0 | 0
108 | 0.986 | -0.19659 | 0.27049 | 0.131
109 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.27092 | -0.13121 | 0.27093 | 0.13057 | 2.9021e-06 | -0.00064642 | 0.0088233 | 0.0088151 | 0.0088233 | 0.98487 | -0.44587 | 0.98488 | -0.44596 | 4.0106
1 | -0.27093 | -0.13057 | 0.27116 | 0.12875 | 0.00023335 | -0.0018128 | 0.0088151 | 0.0087903 | 0.0088151 | 0.98488 | -0.44596 | 0.98578 | -0.44002 | 4.1977
2 | -0.38154 | -0.18222 | 0.38156 | 0.1806 | 1.4273e-05 | -0.0016165 | 0.012382 | 0.012361 | 0.012382 | 0.98578 | -0.44002 | 0.98581 | -0.44033 | 5.6281
3 | 0.24793 | 0.11751 | -0.24783 | -0.11844 | 9.8148e-05 | -0.00092662 | 0.0080345 | 0.0080469 | 0.0080469 | 0.98581 | -0.44033 | 0.9854 | -0.44311 | 3.8319
4 | -0.62949 | -0.29811 | 0.62993 | 0.27955 | 0.00044214 | -0.018565 | 0.020396 | 0.020168 | 0.020396 | 0.98581 | -0.44033 | 0.98646 | -0.44572 | 9.2709
5 | -1.7954 | -0.79635 | 1.7964 | 0.79561 | 0.0010453 | -0.00074519 | 0.057353 | 0.057326 | 0.057353 | 0.98857 | -0.3737 | 0.98936 | -0.3457 | 6.9942
6 | 0.28803 | 0.13722 | -0.28783 | -0.13862 | 0.00020372 | -0.001405 | 0.0093166 | 0.0093359 | 0.0093359 | 0.98857 | -0.3737 | 0.98783 | -0.37856 | 4.4457
7 | 1.4457 | 0.6293 | -1.4448 | -0.63105 | 0.00092138 | -0.001746 | 0.046043 | 0.046079 | 0.046079 | 0.98857 | -0.3737 | 0.98771 | -0.40476 | 5.6194
8 | -2.0537 | -0.92024 | 2.0538 | 0.91683 | 3.635e-05 | -0.0034141 | 0.065664 | 0.065623 | 0.065664 | 0.98936 | -0.3457 | 0.98938 | -0.34531 | 7.7986
9 | 0.091934 | 0.043746 | -0.091923 | -0.04452 | 1.0607e-05 | -0.00077412 | 0.0029752 | 0.0029851 | 0.0029851 | 0.98783 | -0.37856 | 0.98771 | -0.37935 | 1.4215
10 | 1.2465 | 0.53499 | -1.2458 | -0.53692 | 0.00063465 | -0.0019382 | 0.039644 | 0.039677 | 0.039677 | 0.98771 | -0.40476 | 0.98702 | -0.42982 | 4.8386
11 | -2.0538 | -0.91683 | 2.054 | 0.89228 | 0.00025996 | -0.024546 | 0.065623 | 0.065332 | 0.065623 | 0.98938 | -0.34531 | 0.98953 | -0.3424 | 7.7937
12 | 0.38432 | 0.14849 | -0.38417 | -0.16667 | 0.00015443 | -0.018178 | 0.01205 | 0.012252 | 0.012252 | 0.98702 | -0.42982 | 0.98664 | -0.42758 | 5.5693
13 | 0.68728 | 0.30433 | -0.68707 | -0.3071 | 0.00021046 | -0.0027704 | 0.021983 | 0.02202 | 0.02202 | 0.98702 | -0.42982 | 0.9866 | -0.44451 | 2.6854
14 | 0.17422 | 0.084105 | -0.17422 | -0.08438 | 5.058e-07 | -0.00027495 | 0.0056582 | 0.0056617 | 0.0056617 | 0.98702 | -0.42982 | 0.98702 | -0.42979 | 2.5735
15 | -0.62993 | -0.27955 | 0.63002 | 0.27946 | 8.6955e-05 | -8.4957e-05 | 0.020168 | 0.020166 | 0.020168 | 0.98646 | -0.44572 | 0.9866 | -0.44451 | 9.6037
16 | 0.17742 | 0.066581 | -0.17739 | -0.08486 | 3.347e-05 | -0.018279 | 0.0055445 | 0.0057544 | 0.0057544 | 0.98664 | -0.42758 | 0.98646 | -0.42639 | 2.6156
17 | 0.20675 | 0.10009 | -0.20674 | -0.10013 | 2.8583e-06 | -3.9482e-05 | 0.0067207 | 0.0067212 | 0.0067212 | 0.98664 | -0.42758 | 0.98662 | -0.42767 | 3.2006
18 | 0.17739 | 0.08486 | -0.17739 | -0.085912 | 2.0063e-06 | -0.0010515 | 0.0057544 | 0.0057678 | 0.0057678 | 0.98646 | -0.42639 | 0.98645 | -0.42629 | 2.6217
19 | 0.24783 | 0.11844 | -0.24783 | -0.12003 | 5.9408e-06 | -0.0015875 | 0.0080469 | 0.0080671 | 0.0080671 | 0.9854 | -0.44311 | 0.98537 | -0.44291 | 3.6669
20 | 0.29437 | 0.12961 | -0.29437 | -0.13026 | 3.3073e-06 | -0.00064337 | 0.0094299 | 0.0094376 | 0.0094376 | 0.98462 | -0.26634 | 0.98461 | -0.26626 | 4.2898
21 | -0.45862 | -0.20916 | 0.45901 | 0.20823 | 0.00039396 | -0.00092721 | 0.014778 | 0.014764 | 0.014778 | 0.98462 | -0.26634 | 0.98553 | -0.25935 | 7.0373
22 | 0.29437 | 0.13026 | -0.2943 | -0.14245 | 6.3739e-05 | -0.012195 | 0.0094376 | 0.0095881 | 0.0095881 | 0.98461 | -0.26626 | 0.98441 | -0.26456 | 4.3582
23 | -0.67775 | -0.31417 | 0.67775 | 0.31397 | 5.7706e-06 | -0.00020767 | 0.021881 | 0.021879 | 0.021881 | 0.98553 | -0.25935 | 0.98553 | -0.25942 | 9.9461
24 | 0.2943 | 0.14245 | -0.29429 | -0.14253 | 1.2516e-05 | -8.0548e-05 | 0.0095881 | 0.0095892 | 0.0095892 | 0.98441 | -0.26456 | 0.98437 | -0.26484 | 4.5663
25 | -0.67775 | -0.31397 | 0.67798 | 0.3058 | 0.00022578 | -0.0081669 | 0.021879 | 0.021779 | 0.021879 | 0.98553 | -0.25942 | 0.98584 | -0.26195 | 9.945
26 | -0.24261 | -0.1175 | 0.24261 | 0.1167 | 2.8485e-06 | -0.00079744 | 0.0078871 | 0.0078769 | 0.0078871 | 0.98665 | -0.26827 | 0.98666 | -0.26837 | 3.585
27 | -1.3655 | -0.58693 | 1.3665 | 0.5783 | 0.00096528 | -0.0086278 | 0.043487 | 0.043384 | 0.043487 | 0.98666 | -0.26837 | 0.98733 | -0.27282 | 19.7666
28 | 0.22319 | 0.074125 | -0.22315 | -0.091174 | 4.7534e-05 | -0.017049 | 0.0068809 | 0.0070542 | 0.0070542 | 0.98666 | -0.26837 | 0.98646 | -0.26758 | 3.2064
29 | 0.89972 | 0.3961 | -0.89893 | -0.41241 | 0.00079207 | -0.016308 | 0.028762 | 0.028961 | 0.028961 | 0.98666 | -0.26837 | 0.98584 | -0.26195 | 13.1639
30 | 0.36295 | 0.17572 | -0.36293 | -0.17578 | 1.3271e-05 | -5.4037e-05 | 0.01179 | 0.011791 | 0.011791 | 0.98733 | -0.27282 | 0.98729 | -0.27306 | 5.6147
31 | -1.7294 | -0.75403 | 1.736 | 0.75673 | 0.0065819 | 0.0027037 | 0.055163 | 0.055146 | 0.055163 | 0.98733 | -0.27282 | 0.99135 | -0.23799 | 26.2679
32 | 0.13217 | 0.048523 | -0.13216 | -0.062518 | 1.4158e-05 | -0.013995 | 0.0041202 | 0.0042787 | 0.0042787 | 0.98646 | -0.26758 | 0.98635 | -0.26693 | 1.9449
33 | 0.090976 | 0.042651 | -0.090975 | -0.044061 | 7.0487e-07 | -0.0014102 | 0.0029404 | 0.0029581 | 0.0029581 | 0.98646 | -0.26758 | 0.98645 | -0.26751 | 1.3446
34 | 0.22095 | 0.10661 | -0.22095 | -0.10701 | 1.189e-06 | -0.00039984 | 0.0071837 | 0.0071888 | 0.0071888 | 0.98584 | -0.26195 | 0.98584 | -0.26191 | 3.2676
35 | -2.0165 | -0.89256 | 2.0169 | 0.89102 | 0.00038744 | -0.0015374 | 0.064214 | 0.064195 | 0.064214 | 0.99135 | -0.23799 | 0.99153 | -0.23933 | 29.1882
36 | 0.13216 | 0.062518 | -0.13215 | -0.064005 | 1.5726e-06 | -0.0014876 | 0.0042787 | 0.0042975 | 0.0042975 | 0.98635 | -0.26693 | 0.98634 | -0.26683 | 1.9534
37 | 2.5393 | 1.1355 | -2.5353 | -1.145 | 0.0040016 | -0.009508 | 0.080986 | 0.081113 | 0.081113 | 0.99153 | -0.23933 | 0.99005 | -0.22785 | 36.8697
38 | -4.5562 | -2.0265 | 4.5808 | 2.0531 | 0.024577 | 0.02653 | 0.14518 | 0.14516 | 0.14518 | 0.99153 | -0.23933 | 0.99827 | -0.060133 | 41.4799
39 | 2.1707 | 0.96875 | -2.1652 | -0.98697 | 0.0054685 | -0.018219 | 0.069309 | 0.069547 | 0.069547 | 0.99005 | -0.22785 | 0.9877 | -0.2093 | 31.6125
40 | 0.36462 | 0.17628 | -0.36462 | -0.17659 | 2.4555e-06 | -0.00030787 | 0.011809 | 0.011813 | 0.011813 | 0.99005 | -0.22785 | 0.99005 | -0.22779 | 5.3694
41 | -4.6442 | -2.0838 | 4.6501 | 2.0903 | 0.0058686 | 0.0065324 | 0.1472 | 0.14717 | 0.1472 | 0.99827 | -0.060133 | 1 | 0 | 17.951
42 | 0.11998 | 0.057442 | -0.11998 | -0.058108 | 5.7881e-07 | -0.0006665 | 0.0038878 | 0.0038963 | 0.0038963 | 0.9877 | -0.2093 | 0.9877 | -0.20926 | 1.771
43 | 2.0453 | 0.92952 | -2.0439 | -0.93447 | 0.0013197 | -0.0049409 | 0.06566 | 0.065725 | 0.065725 | 0.9877 | -0.2093 | 0.9871 | -0.20443 | 29.875
44 | 1.7279 | 0.79441 | -1.7261 | -0.80435 | 0.0018679 | -0.0099342 | 0.055617 | 0.055746 | 0.055746 | 0.9871 | -0.20443 | 0.9861 | -0.19594 | 25.3392
45 | 0.17907 | 0.073765 | -0.17905 | -0.085765 | 2.2648e-05 | -0.012 | 0.0056638 | 0.0058066 | 0.0058066 | 0.9871 | -0.20443 | 0.98699 | -0.20353 | 2.6394
46 | 0.13694 | 0.066287 | -0.13694 | -0.066324 | 1.148e-06 | -3.7137e-05 | 0.0044494 | 0.0044498 | 0.0044498 | 0.9871 | -0.20443 | 0.98709 | -0.20448 | 2.119
47 | 0.22401 | 0.10778 | -0.22401 | -0.10849 | 2.1791e-06 | -0.00071402 | 0.0072774 | 0.0072865 | 0.0072865 | 0.9861 | -0.19594 | 0.9861 | -0.19586 | 3.312
48 | 0.27052 | 0.13073 | -0.27049 | -0.13094 | 2.674e-05 | -0.00020837 | 0.0087954 | 0.0087983 | 0.0087983 | 0.9861 | -0.19594 | 0.986 | -0.1966 | 4.1897
49 | 1.2315 | 0.56584 | -1.2304 | -0.57744 | 0.0010844 | -0.011605 | 0.039675 | 0.039822 | 0.039822 | 0.9861 | -0.19594 | 0.98529 | -0.18898 | 18.1011
50 | 0.17905 | 0.085765 | -0.17905 | -0.086716 | 1.8451e-06 | -0.00095086 | 0.0058066 | 0.0058187 | 0.0058187 | 0.98699 | -0.20353 | 0.98698 | -0.20344 | 2.6449
51 | -0.29745 | -0.14406 | 0.29745 | 0.14316 | 4.8911e-06 | -0.00090491 | 0.0096843 | 0.0096727 | 0.0096843 | 0.98517 | -0.18788 | 0.98518 | -0.18802 | 4.4019
52 | -0.29745 | -0.14316 | 0.29749 | 0.13662 | 3.4999e-05 | -0.0065394 | 0.0096727 | 0.0095911 | 0.0096727 | 0.98518 | -0.18802 | 0.98529 | -0.18898 | 4.3967
53 | 0.41291 | 0.19974 | -0.4129 | -0.19998 | 2.5027e-06 | -0.00023981 | 0.013439 | 0.013442 | 0.013442 | 0.98529 | -0.18898 | 0.98529 | -0.18893 | 6.1099
54 | 0.52004 | 0.24109 | -0.51991 | -0.24909 | 0.0001315 | -0.0080064 | 0.016794 | 0.016895 | 0.016895 | 0.98529 | -0.18898 | 0.98506 | -0.18691 | 7.6794
55 | 0.1193 | 0.057584 | -0.1193 | -0.05778 | 1.7015e-07 | -0.00019545 | 0.0038836 | 0.0038861 | 0.0038861 | 0.98467 | -0.18927 | 0.98466 | -0.18925 | 1.7664
56 | -0.1193 | -0.057584 | 0.11934 | 0.055756 | 4.2779e-05 | -0.0018277 | 0.0038836 | 0.0038603 | 0.0038836 | 0.98467 | -0.18927 | 0.98504 | -0.18673 | 1.8494
57 | -0.5199 | -0.24976 | 0.51991 | 0.24909 | 1.0932e-05 | -0.00066109 | 0.016903 | 0.016895 | 0.016903 | 0.98504 | -0.18673 | 0.98506 | -0.18691 | 7.6832
58 | -2.054 | -0.89228 | 2.0541 | 0.89226 | 8.0877e-05 | -1.7679e-05 | 0.065332 | 0.06533 | 0.065332 | 0.98953 | -0.3424 | 0.98958 | -0.34048 | 7.9673
59 | -2.3725 | -1.0465 | 2.3727 | 1.0465 | 0.00021495 | 4.3961e-05 | 0.075643 | 0.07564 | 0.075643 | 0.98958 | -0.34048 | 0.98971 | -0.33611 | 9.2248
60 | -2.7019 | -1.2059 | 2.7019 | 1.2051 | 1.5839e-05 | -0.00085524 | 0.086302 | 0.086291 | 0.086302 | 0.98971 | -0.33611 | 0.98971 | -0.33597 | 10.2496
61 | -0.11438 | -0.055395 | 0.11438 | 0.054275 | 8.7483e-07 | -0.0011196 | 0.0037066 | 0.0036925 | 0.0037066 | 0.98975 | -0.33233 | 0.98976 | -0.3324 | 1.6848
62 | -0.11438 | -0.054275 | 0.11438 | 0.048318 | 4.5455e-06 | -0.0059568 | 0.0036925 | 0.0036214 | 0.0036925 | 0.98976 | -0.3324 | 0.9898 | -0.33268 | 1.6784
63 | -0.11438 | -0.048318 | 0.11438 | 0.047939 | 2.8394e-07 | -0.00037974 | 0.0036214 | 0.0036171 | 0.0036214 | 0.9898 | -0.33268 | 0.9898 | -0.3327 | 1.6461
64 | -0.31515 | -0.14506 | 0.31519 | 0.14484 | 3.8595e-05 | -0.00022339 | 0.010118 | 0.010115 | 0.010118 | 0.9898 | -0.3327 | 0.98993 | -0.33174 | 4.8183
65 | 0.10513 | 0.050806 | -0.10513 | -0.050917 | 1.995e-06 | -0.00011162 | 0.0034055 | 0.0034069 | 0.0034069 | 0.9898 | -0.3327 | 0.98978 | -0.33283 | 1.6223
66 | -3.4124 | -1.5139 | 3.4135 | 1.479 | 0.001035 | -0.034934 | 0.10886 | 0.10844 | 0.10886 | 0.98993 | -0.33174 | 0.99028 | -0.32475 | 12.9291
67 | 2.7024 | 1.1779 | -2.7019 | -1.2051 | 0.00050048 | -0.027138 | 0.085966 | 0.086291 | 0.086291 | 0.98993 | -0.33174 | 0.98971 | -0.33597 | 10.2484
68 | 0.39482 | 0.1911 | -0.39482 | -0.19122 | 1.0887e-06 | -0.00011629 | 0.012791 | 0.012793 | 0.012793 | 0.98993 | -0.33174 | 0.98993 | -0.33171 | 5.8149
69 | -5.5121 | -2.3759 | 5.5124 | 2.3724 | 0.00028224 | -0.0035605 | 0.17447 | 0.17442 | 0.17447 | 0.99316 | -0.24308 | 0.99322 | -0.24188 | 20.7205
70 | 5.2483 | 2.2482 | -5.2467 | -2.2462 | 0.001658 | 0.0019694 | 0.16596 | 0.16596 | 0.16596 | 0.99316 | -0.24308 | 0.99273 | -0.25868 | 20.2392
71 | -5.5124 | -2.3724 | 5.5222 | 2.3843 | 0.0098369 | 0.011919 | 0.17442 | 0.1744 | 0.17442 | 0.99322 | -0.24188 | 0.99565 | -0.15429 | 21.2711
72 | 5.2467 | 2.2462 | -5.2443 | -2.279 | 0.0023447 | -0.032771 | 0.16596 | 0.16636 | 0.16636 | 0.99273 | -0.25868 | 0.99221 | -0.26919 | 19.7582
73 | 2.1881 | 0.97627 | -2.1807 | -0.97266 | 0.0073907 | 0.003616 | 0.06947 | 0.069482 | 0.069482 | 0.99565 | -0.15429 | 0.99206 | -0.18343 | 33.0868
74 | -7.8981 | -3.4515 | 7.9233 | 3.485 | 0.02516 | 0.033514 | 0.24991 | 0.24987 | 0.24991 | 0.99565 | -0.15429 | 1 | 0 | 30.4765
75 | 5.2443 | 2.279 | -5.2442 | -2.2813 | 0.00017006 | -0.0023688 | 0.16636 | 0.16639 | 0.16639 | 0.99221 | -0.26919 | 0.99217 | -0.26994 | 19.7616
76 | 4.9185 | 2.1236 | -4.9184 | -2.1247 | 6.9372e-05 | -0.0011097 | 0.15587 | 0.15589 | 0.15589 | 0.99217 | -0.26994 | 0.99215 | -0.27027 | 18.5138
77 | 0.27803 | 0.12834 | -0.27802 | -0.12906 | 3.2647e-06 | -0.00072207 | 0.0089104 | 0.0089193 | 0.0089193 | 0.99206 | -0.18343 | 0.99205 | -0.18334 | 4.0542
78 | 1.7412 | 0.7661 | -1.7409 | -0.76768 | 0.00029051 | -0.0015819 | 0.055354 | 0.055374 | 0.055374 | 0.99206 | -0.18343 | 0.9919 | -0.18228 | 25.1698
79 | -0.26497 | -0.12833 | 0.26497 | 0.1282 | 5.6855e-07 | -0.00013533 | 0.0085808 | 0.0085791 | 0.0085808 | 0.99047 | -0.17294 | 0.99047 | -0.17296 | 3.9004
80 | -0.26497 | -0.1282 | 0.265 | 0.12794 | 3.0686e-05 | -0.00025498 | 0.0085791 | 0.0085756 | 0.0085791 | 0.99047 | -0.17296 | 0.99059 | -0.17219 | 4.0853
81 | 0.089072 | 0.042803 | -0.089072 | -0.04314 | 1.5936e-07 | -0.00033666 | 0.0028799 | 0.0028841 | 0.0028841 | 0.99059 | -0.17219 | 0.99059 | -0.17217 | 1.311
82 | 0.1742 | 0.084064 | -0.17419 | -0.084364 | 1.4962e-05 | -0.00029998 | 0.0056368 | 0.0056407 | 0.0056407 | 0.99059 | -0.17219 | 0.9905 | -0.17276 | 2.6861
83 | -0.52828 | -0.25481 | 0.52833 | 0.25184 | 4.9567e-05 | -0.0029697 | 0.017092 | 0.017055 | 0.017092 | 0.99059 | -0.17219 | 0.99068 | -0.17299 | 7.7692
84 | -0.27799 | -0.13464 | 0.278 | 0.13457 | 9.0591e-06 | -6.825e-05 | 0.008989 | 0.0089881 | 0.008989 | 0.99193 | -0.18281 | 0.99197 | -0.18259 | 4.2805
85 | -0.278 | -0.13457 | 0.27802 | 0.12906 | 2.5127e-05 | -0.0055091 | 0.0089881 | 0.0089193 | 0.0089881 | 0.99197 | -0.18259 | 0.99205 | -0.18334 | 4.0855
86 | -0.20658 | -0.10005 | 0.20658 | 0.098998 | 2.678e-06 | -0.0010518 | 0.0066889 | 0.0066756 | 0.0066889 | 0.99059 | -0.17227 | 0.9906 | -0.17238 | 3.0404
87 | -0.20658 | -0.098998 | 0.2066 | 0.092648 | 1.5944e-05 | -0.00635 | 0.0066756 | 0.0065977 | 0.0066756 | 0.9906 | -0.17238 | 0.99068 | -0.17299 | 3.0343
88 | 0.35787 | 0.17296 | -0.35787 | -0.17332 | 2.8212e-06 | -0.00036816 | 0.011582 | 0.011587 | 0.011587 | 0.99068 | -0.17299 | 0.99067 | -0.17292 | 5.2667
89 | -1.7386 | -0.78004 | 1.7409 | 0.76768 | 0.0022809 | -0.01236 | 0.055528 | 0.055374 | 0.055528 | 0.99068 | -0.17299 | 0.9919 | -0.18228 | 25.24
90 | 0.64584 | 0.2626 | -0.64542 | -0.28052 | 0.00042883 | -0.01792 | 0.020316 | 0.020519 | 0.020519 | 0.99068 | -0.17299 | 0.99005 | -0.16898 | 9.327
91 | 0.4227 | 0.17327 | -0.42253 | -0.19033 | 0.00017584 | -0.017065 | 0.01332 | 0.013518 | 0.013518 | 0.99005 | -0.16898 | 0.98965 | -0.16629 | 6.1443
92 | 0.22271 | 0.10725 | -0.22271 | -0.10786 | 1.8107e-06 | -0.00060984 | 0.0072075 | 0.0072153 | 0.0072153 | 0.99005 | -0.16898 | 0.99004 | -0.16891 | 3.2797
93 | 0.32652 | 0.14389 | -0.32643 | -0.15807 | 8.9315e-05 | -0.014178 | 0.010408 | 0.010582 | 0.010582 | 0.98965 | -0.16629 | 0.9894 | -0.16415 | 4.81
94 | 0.096011 | 0.046441 | -0.09601 | -0.0465 | 8.7703e-07 | -5.8904e-05 | 0.003111 | 0.0031117 | 0.0031117 | 0.98965 | -0.16629 | 0.98965 | -0.16635 | 1.4818
95 | 0.32643 | 0.15807 | -0.32642 | -0.15809 | 5.0892e-06 | -2.6621e-05 | 0.010582 | 0.010582 | 0.010582 | 0.9894 | -0.16415 | 0.98938 | -0.16426 | 5.0392
96 | 4.9184 | 2.1247 | -4.9165 | -2.1553 | 0.0019209 | -0.030631 | 0.15589 | 0.15626 | 0.15626 | 0.99215 | -0.27027 | 0.9917 | -0.27936 | 18.5585
97 | -0.15305 | -0.074127 | 0.15305 | 0.073914 | 2.9639e-07 | -0.00021277 | 0.0049503 | 0.0049476 | 0.0049503 | 0.9917 | -0.27934 | 0.9917 | -0.27936 | 2.2501
98 | 0.30173 | 0.13772 | -0.30169 | -0.14511 | 3.9627e-05 | -0.007395 | 0.0096548 | 0.0097463 | 0.0097463 | 0.9917 | -0.27936 | 0.99158 | -0.2783 | 4.4301
99 | 0.68421 | 0.31955 | -0.68391 | -0.33062 | 0.00030865 | -0.011068 | 0.021982 | 0.022121 | 0.022121 | 0.9917 | -0.27936 | 0.99128 | -0.27559 | 10.0552
100 | 3.7775 | 1.6242 | -3.7765 | -1.6506 | 0.000956 | -0.026442 | 0.11969 | 0.12001 | 0.12001 | 0.9917 | -0.27936 | 0.9914 | -0.28527 | 14.2528
101 | 0.30169 | 0.14511 | -0.30169 | -0.14611 | 5.4142e-06 | -0.00099935 | 0.0097463 | 0.009759 | 0.009759 | 0.99158 | -0.2783 | 0.99156 | -0.27814 | 4.4359
102 | 0.68391 | 0.33062 | -0.68384 | -0.33067 | 6.7979e-05 | -4.8867e-05 | 0.022121 | 0.022123 | 0.022123 | 0.99128 | -0.27559 | 0.99118 | -0.27625 | 10.5346
103 | 3.7765 | 1.6506 | -3.7765 | -1.6511 | 1.801e-05 | -0.00049659 | 0.12001 | 0.12001 | 0.12001 | 0.9914 | -0.28527 | 0.9914 | -0.28538 | 14.2535
104 | 0.28194 | 0.13602 | -0.28188 | -0.13652 | 6.7929e-05 | -0.00049486 | 0.0091171 | 0.0091239 | 0.0091239 | 0.99118 | -0.27625 | 0.99093 | -0.27785 | 4.3447
105 | 3.5916 | 1.5615 | -3.5887 | -1.559 | 0.0028227 | 0.0025391 | 0.11404 | 0.11405 | 0.11405 | 0.9914 | -0.28538 | 0.99033 | -0.32378 | 13.909
106 | 3.4136 | 1.4742 | -3.4135 | -1.479 | 0.00014112 | -0.0047863 | 0.10839 | 0.10844 | 0.10844 | 0.99033 | -0.32378 | 0.99028 | -0.32475 | 12.8792
107 | 0.27049 | 0.13094 | -0.27049 | -0.131 | 2.9589e-07 | -6.6369e-05 | 0.0087983 | 0.0087991 | 0.0087991 | 0.986 | -0.1966 | 0.986 | -0.19659 | 3.9996

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.7097 | 5.6451

## res_load
| p_mw | q_mvar
0 | 0.27092 | 0.13121
1 | 0.11038 | 0.053461
2 | 0.061604 | 0.029836
3 | 0.25733 | 0.12463
4 | 0.1959 | 0.094876
5 | 0.19834 | 0.096061
6 | 0.091923 | 0.04452
7 | 0.057053 | 0.027632
8 | 0.17422 | 0.08438
9 | 0.20674 | 0.10013
10 | 0.17739 | 0.085912
11 | 0.24783 | 0.12003
12 | 0.16425 | 0.07955
13 | 0.21874 | 0.10594
14 | 0.29429 | 0.14253
15 | 0.24261 | 0.1175
16 | 0.36293 | 0.17578
17 | 0.28046 | 0.13583
18 | 0.090975 | 0.044061
19 | 0.13215 | 0.064005
20 | 0.22095 | 0.10701
21 | 0.063423 | 0.030717
22 | 0.36462 | 0.17659
23 | 0.13694 | 0.066324
24 | 0.11998 | 0.058108
25 | 0.29745 | 0.14406
26 | 0.17905 | 0.086716
27 | 0.1193 | 0.05778
28 | 0.40056 | 0.194
29 | 0.31842 | 0.15422
30 | 0.32915 | 0.15941
31 | 0.11438 | 0.055395
32 | 0.095636 | 0.046319
33 | 0.10513 | 0.050917
34 | 0.26378 | 0.12776
35 | 0.18777 | 0.090942
36 | 0.3257 | 0.15775
37 | 0.1615 | 0.07822
38 | 0.12236 | 0.059264
39 | 0.26497 | 0.12833
40 | 0.27799 | 0.13464
41 | 0.20658 | 0.10005
42 | 0.35787 | 0.17332
43 | 0.089072 | 0.04314
44 | 0.17419 | 0.084364
45 | 0.22271 | 0.10786
46 | 0.09601 | 0.0465
47 | 0.32642 | 0.15809
48 | 0.15305 | 0.074127
49 | 0.30169 | 0.14611
50 | 0.4019 | 0.19465
51 | 0.18494 | 0.08957
52 | 0.28188 | 0.13652
53 | 0.17513 | 0.084821
54 | 0.39482 | 0.19122
55 | 0.4129 | 0.19998
56 | 0.22401 | 0.10849
57 | 0.27049 | 0.131

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1