## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_369_1_node_70 | 20 | n |  | TRUE
1 | bus_MV_369_1_node_71 | 20 | n |  | TRUE
2 | bus_MV_369_1_node_131 | 20 | n |  | TRUE
3 | bus_MV_369_1_node_72 | 20 | n |  | TRUE
4 | bus_MV_369_1_node_140 | 20 | n |  | TRUE
5 | bus_MV_369_1_node_73 | 20 | n |  | TRUE
6 | bus_MV_369_1_node_90 | 20 | n |  | TRUE
7 | bus_MV_369_1_node_76 | 20 | n |  | TRUE
8 | bus_MV_369_1_node_77 | 20 | n |  | TRUE
9 | bus_MV_369_1_node_91 | 20 | n |  | TRUE
10 | bus_MV_369_1_node_147 | 20 | n |  | TRUE
11 | bus_MV_369_1_node_146 | 20 | n |  | TRUE
12 | bus_MV_369_1_node_78 | 20 | n |  | TRUE
13 | bus_MV_369_1_node_166 | 20 | n |  | TRUE
14 | bus_MV_369_1_node_79 | 20 | n |  | TRUE
15 | bus_MV_369_1_node_80 | 20 | n |  | TRUE
16 | bus_MV_369_1_node_81 | 20 | n |  | TRUE
17 | bus_MV_369_1_node_167 | 20 | n |  | TRUE
18 | bus_MV_369_1_node_82 | 20 | n |  | TRUE
19 | bus_MV_369_1_node_84 | 20 | n |  | TRUE
20 | bus_MV_369_1_node_85 | 20 | n |  | TRUE
21 | bus_MV_369_1_node_86 | 20 | n |  | TRUE
22 | bus_MV_369_1_node_87 | 20 | n |  | TRUE
23 | bus_MV_369_1_node_89 | 20 | n |  | TRUE
24 | bus_MV_369_1_node_156 | 20 | n |  | TRUE
25 | bus_MV_369_1_node_88 | 20 | n |  | TRUE
26 | bus_MV_369_1_node_155 | 20 | n |  | TRUE
27 | bus_MV_369_1_node_151 | 20 | n |  | TRUE
28 | bus_MV_369_1_node_154 | 20 | n |  | TRUE
29 | bus_MV_369_1_node_149 | 20 | n |  | TRUE
30 | bus_MV_369_1_node_92 | 20 | n |  | TRUE
31 | bus_MV_369_1_node_93 | 20 | n |  | TRUE
32 | bus_MV_369_1_node_94 | 20 | n |  | TRUE
33 | bus_MV_369_1_node_95 | 20 | n |  | TRUE
34 | bus_MV_369_1_node_97 | 20 | n |  | TRUE
35 | bus_MV_369_1_node_164 | 20 | n |  | TRUE
36 | bus_MV_369_1_node_96 | 20 | n |  | TRUE
37 | bus_MV_369_1_node_98 | 20 | n |  | TRUE
38 | bus_MV_369_1_node_165 | 20 | n |  | TRUE
39 | bus_MV_369_1_node_117 | 20 | n |  | TRUE
40 | bus_MV_369_1_node_118 | 20 | n |  | TRUE
41 | bus_MV_369_1_node_170 | 20 | n |  | TRUE
42 | bus_MV_369_1_node_120 | 20 | n |  | TRUE
43 | bus_MV_369_1_node_119 | 20 | n |  | TRUE
44 | bus_MV_369_1_node_157 | 20 | n |  | TRUE
45 | bus_MV_369_1_node_133 | 20 | n |  | TRUE
46 | bus_MV_369_1_node_121 | 20 | n |  | TRUE
47 | bus_MV_369_1_node_122 | 20 | n |  | TRUE
48 | bus_MV_369_1_node_123 | 20 | n |  | TRUE
49 | bus_MV_369_1_node_127 | 20 | n |  | TRUE
50 | bus_MV_369_1_node_125 | 20 | n |  | TRUE
51 | bus_MV_369_1_node_126 | 20 | n |  | TRUE
52 | bus_MV_369_1_node_128 | 20 | n |  | TRUE
53 | bus_MV_369_1_node_163 | 20 | n |  | TRUE
54 | bus_MV_369_1_node_130 | 20 | n |  | TRUE
55 | bus_MV_369_1_node_134 | 20 | n |  | TRUE
56 | bus_MV_369_1_node_129 | 20 | n |  | TRUE
57 | bus_MV_369_1_node_161 | 20 | n |  | TRUE
58 | bus_MV_369_1_node_132 | 20 | n |  | TRUE
59 | bus_MV_369_1_node_135 | 20 | n |  | TRUE
60 | bus_MV_369_1_node_136 | 20 | n |  | TRUE
61 | bus_MV_369_1_node_138 | 20 | n |  | TRUE
62 | bus_MV_369_1_node_139 | 20 | n |  | TRUE
63 | bus_MV_369_1_node_145 | 20 | n |  | TRUE
64 | bus_MV_369_1_node_141 | 20 | n |  | TRUE
65 | bus_MV_369_1_node_142 | 20 | n |  | TRUE
66 | bus_MV_369_1_node_143 | 20 | n |  | TRUE
67 | bus_MV_369_1_node_144 | 20 | n |  | TRUE
68 | bus_MV_369_1_node_169 | 20 | n |  | TRUE
69 | bus_MV_369_1_node_171 | 20 | n |  | TRUE
70 | bus_MV_369_1_node_152 | 20 | n |  | TRUE
71 | bus_MV_369_1_node_150 | 20 | n |  | TRUE
72 | bus_MV_369_1_node_162 | 20 | n |  | TRUE
73 | bus_HV_369_1_node_162 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_369_1_load_70 | 0 | 0.29223 | 0.14154 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_369_1_load_140 | 4 | 0.34084 | 0.16507 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_369_1_load_73 | 5 | 0.37295 | 0.18063 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_369_1_load_90 | 6 | 0.21321 | 0.10326 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_369_1_load_91 | 9 | 0.17665 | 0.085555 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_369_1_load_146 | 11 | 0.26303 | 0.12739 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_369_1_load_78 | 12 | 0.22102 | 0.10705 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_369_1_load_167 | 17 | 0.089338 | 0.043269 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_369_1_load_82 | 18 | 0.14019 | 0.067898 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_369_1_load_84 | 19 | 0.21401 | 0.10365 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_369_1_load_155 | 26 | 0.15725 | 0.07616 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_369_1_load_151 | 27 | 0.39348 | 0.19057 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_369_1_load_154 | 28 | 0.16408 | 0.079466 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_369_1_load_149 | 29 | 0.18183 | 0.088065 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_369_1_load_97 | 34 | 0.22221 | 0.10762 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_369_1_load_164 | 35 | 0.4266 | 0.20661 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_369_1_load_98 | 37 | 0.24159 | 0.11701 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_369_1_load_165 | 38 | 0.070357 | 0.034076 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_369_1_load_117 | 39 | 0.36104 | 0.17486 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_369_1_load_170 | 41 | 0.39531 | 0.19146 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_369_1_load_157 | 44 | 0.39531 | 0.19146 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_369_1_load_133 | 45 | 0.28066 | 0.13593 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_369_1_load_121 | 46 | 0.36714 | 0.17781 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_369_1_load_125 | 50 | 0.23463 | 0.11364 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_369_1_load_163 | 53 | 0.095526 | 0.046265 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_369_1_load_134 | 55 | 0.26567 | 0.12867 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_369_1_load_161 | 57 | 0.073612 | 0.035652 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_369_1_load_132 | 58 | 0.39388 | 0.19077 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_369_1_load_135 | 59 | 0.35595 | 0.17239 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_369_1_load_145 | 63 | 0.13705 | 0.066377 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_369_1_load_141 | 64 | 0.15393 | 0.074552 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_369_1_load_169 | 68 | 0.25442 | 0.12322 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_369_1_load_171 | 69 | 0.34131 | 0.16531 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_369_1_load_152 | 70 | 0.28335 | 0.13723 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_369_1_load_150 | 71 | 0.14663 | 0.071015 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_369_1_load_162 | 72 | 0.076194 | 0.036903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_369_1_line_0 |  | 0 | 1 | 0.034448 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_369_1_line_1 |  | 1 | 2 | 0.27685 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_369_1_line_2 |  | 2 | 41 | 0.067422 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_369_1_line_3 |  | 2 | 3 | 0.37465 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_369_1_line_4 |  | 2 | 56 | 0.59938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_369_1_line_5 |  | 3 | 4 | 0.007393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_369_1_line_6 |  | 4 | 62 | 0.024675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_369_1_line_7 |  | 5 | 6 | 0.28813 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_369_1_line_8 |  | 6 | 10 | 0.27594 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_369_1_line_9 |  | 6 | 29 | 0.39605 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_369_1_line_10 |  | 6 | 21 | 0.017813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_369_1_line_11 |  | 7 | 8 | 0.54121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_369_1_line_12 |  | 7 | 9 | 0.003787 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_369_1_line_13 |  | 8 | 10 | 0.46155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_369_1_line_14 |  | 8 | 11 | 0.026868 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_369_1_line_15 |  | 9 | 30 | 0.061656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_369_1_line_16 |  | 10 | 71 | 0.055648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_369_1_line_17 |  | 12 | 13 | 0.055974 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_369_1_line_18 |  | 13 | 17 | 0.060969 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_369_1_line_19 |  | 13 | 36 | 0.12487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_369_1_line_20 |  | 14 | 15 | 0.07346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_369_1_line_21 |  | 14 | 16 | 0.20057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_369_1_line_22 |  | 15 | 17 | 0.061503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_369_1_line_23 |  | 16 | 18 | 0.040228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_369_1_line_24 |  | 19 | 20 | 0.079593 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_369_1_line_25 |  | 20 | 21 | 0.090042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_369_1_line_26 |  | 20 | 22 | 0.47942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_369_1_line_27 |  | 20 | 23 | 0.39857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_369_1_line_28 |  | 22 | 24 | 0.090709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_369_1_line_29 |  | 22 | 25 | 0.67766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_369_1_line_30 |  | 22 | 26 | 0.026881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_369_1_line_31 |  | 23 | 28 | 0.027078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_369_1_line_32 |  | 24 | 72 | 0.059932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_369_1_line_33 |  | 25 | 27 | 0.082052 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_369_1_line_34 |  | 30 | 31 | 0.13102 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_369_1_line_35 |  | 30 | 32 | 0.62805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_369_1_line_36 |  | 30 | 33 | 0.6688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_369_1_line_37 |  | 31 | 34 | 0.04148 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_369_1_line_38 |  | 32 | 35 | 0.0223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_369_1_line_39 |  | 33 | 36 | 0.71699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_369_1_line_40 |  | 33 | 37 | 0.012855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_369_1_line_41 |  | 36 | 38 | 0.019873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_369_1_line_42 |  | 39 | 40 | 0.062878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_369_1_line_43 |  | 39 | 41 | 0.20211 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_369_1_line_44 |  | 40 | 42 | 0.1395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_369_1_line_45 |  | 42 | 45 | 0.062841 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_369_1_line_46 |  | 42 | 43 | 0.84523 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_369_1_line_47 |  | 43 | 44 | 0.015512 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
48 | MV_369_1_line_48 |  | 44 | 72 | 0.21833 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
49 | MV_369_1_line_49 |  | 45 | 48 | 0.005534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_369_1_line_50 |  | 46 | 47 | 0.01949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_369_1_line_51 |  | 47 | 48 | 0.22135 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_369_1_line_52 |  | 48 | 49 | 0.21534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_369_1_line_53 |  | 49 | 52 | 0.052584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_369_1_line_54 |  | 49 | 53 | 0.054983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_369_1_line_55 |  | 49 | 51 | 0.094834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_369_1_line_56 |  | 50 | 51 | 0.023226 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_369_1_line_57 |  | 52 | 54 | 0.38469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_369_1_line_58 |  | 52 | 55 | 0.048455 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_369_1_line_59 |  | 54 | 58 | 0.003377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_369_1_line_60 |  | 56 | 57 | 0.0057146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_369_1_line_61 |  | 59 | 60 | 0.011763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_369_1_line_62 |  | 60 | 61 | 0.39308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_369_1_line_63 |  | 61 | 62 | 0.22504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_369_1_line_64 |  | 61 | 63 | 0.056566 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_369_1_line_65 |  | 63 | 70 | 0.31901 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_369_1_line_66 |  | 63 | 64 | 0.15367 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_369_1_line_67 |  | 64 | 65 | 0.052485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_369_1_line_68 |  | 65 | 66 | 0.35237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_369_1_line_69 |  | 66 | 67 | 0.2242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_369_1_line_70 |  | 66 | 68 | 0.077789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_369_1_line_71 |  | 67 | 69 | 0.04219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_369_1_trafo_162 | 25 MVA 110/20 kV | 73 | 72 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2696430.5793 | 1262837.6279
1 | 2696430.9817 | 1262872.0736
2 | 2696154.2705 | 1262863.4173
3 | 2696355.0898 | 1263179.6989
4 | 2696353.9085 | 1263186.9967
5 | 2694677.6089 | 1262590.4311
6 | 2694953.5302 | 1262673.4322
7 | 2694321.3173 | 1262521.3943
8 | 2694400.9491 | 1262807.941
9 | 2694324.9659 | 1262520.3405
10 | 2694749.2837 | 1262858.9741
11 | 2694420.257 | 1262789.2562
12 | 2694597.2361 | 1261874.7888
13 | 2694542.9733 | 1261861.0547
14 | 2694643.6993 | 1261811.3363
15 | 2694615.7317 | 1261762.5384
16 | 2694711.4163 | 1261667.3371
17 | 2694579.194 | 1261812.0112
18 | 2694730.0649 | 1261692.9007
19 | 2695022.3429 | 1262561.0128
20 | 2695050.0159 | 1262635.6401
21 | 2694969.7079 | 1262665.8747
22 | 2695358.8345 | 1262728.8752
23 | 2695284.7783 | 1262527.8519
24 | 2695415.2878 | 1262754.2728
25 | 2695126.7807 | 1263033.8975
26 | 2695335.625 | 1262739.2997
27 | 2695198.4707 | 1262993.9851
28 | 2695309.7035 | 1262517.1003
29 | 2694697.1281 | 1262975.2888
30 | 2694313.7921 | 1262459.8802
31 | 2694300.6657 | 1262336.6602
32 | 2694075.2367 | 1262381.8962
33 | 2694441.7204 | 1262100.9089
34 | 2694259.2711 | 1262339.3248
35 | 2694097.5293 | 1262381.3186
36 | 2694485.2381 | 1261886.8087
37 | 2694452.4074 | 1262093.7181
38 | 2694491.9566 | 1261868.1392
39 | 2696056.6805 | 1262617.9763
40 | 2696031.1977 | 1262560.4936
41 | 2696109.4155 | 1262813.0807
42 | 2696051.9964 | 1262463.8972
43 | 2695631.9456 | 1262888.6921
44 | 2695617.0386 | 1262893.1325
45 | 2696025.1457 | 1262407.0817
46 | 2695810.6849 | 1262505.6176
47 | 2695828.3828 | 1262497.342
48 | 2696022.7857 | 1262402.0727
49 | 2696196.4152 | 1262356.679
50 | 2696137.9941 | 1262289.1521
51 | 2696158.4867 | 1262278.2208
52 | 2696212.9831 | 1262390.576
53 | 2696146.7812 | 1262380.3358
54 | 2696382.7133 | 1262479.9897
55 | 2696169.2619 | 1262411.4656
56 | 2696413.9665 | 1262558.1515
57 | 2696411.8448 | 1262552.8454
58 | 2696379.624 | 1262481.3738
59 | 2696685.9813 | 1263268.7604
60 | 2696674.1896 | 1263268.3674
61 | 2696409.7108 | 1263370
62 | 2696349.9478 | 1263211.3521
63 | 2696386.2919 | 1263421.5159
64 | 2696522.9041 | 1263491.8792
65 | 2696498.0588 | 1263537.9781
66 | 2696501.523 | 1263790.8526
67 | 2696414.1411 | 1263887.5732
68 | 2696490.9367 | 1263867.0668
69 | 2696396.7525 | 1263926.0324
70 | 2696171.6131 | 1263657.4806
71 | 2694771.6846 | 1262903.5358
72 | 2695470.5978 | 1262731.1932
73 | 2695470.5978 | 1262731.1932

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99417 | -0.06578 | 0.29223 | 0.14154
1 | 0.99419 | -0.065656 | 0 | 0
2 | 0.99434 | -0.064663 | 0 | 0
3 | 0.99299 | -0.074374 | 0 | 0
4 | 0.99297 | -0.074224 | 0.34084 | 0.16507
5 | 0.9968 | 0.021697 | 0.37295 | 0.18063
6 | 0.99701 | 0.023007 | 0.21321 | 0.10326
7 | 0.99379 | 0.029731 | 0 | 0
8 | 0.99488 | 0.021881 | 0 | 0
9 | 0.99378 | 0.029788 | 0.17665 | 0.085555
10 | 0.99596 | 0.014087 | 0 | 0
11 | 0.99486 | 0.021794 | 0.26303 | 0.12739
12 | 0.99246 | 0.039028 | 0.22102 | 0.10705
13 | 0.99248 | 0.03918 | 0 | 0
14 | 0.99244 | 0.039479 | 0 | 0
15 | 0.99245 | 0.039385 | 0 | 0
16 | 0.9924 | 0.039778 | 0 | 0
17 | 0.99246 | 0.039313 | 0.089338 | 0.043269
18 | 0.9924 | 0.039845 | 0.14019 | 0.067898
19 | 0.99735 | 0.019858 | 0.21401 | 0.10365
20 | 0.99739 | 0.020065 | 0 | 0
21 | 0.99707 | 0.02252 | 0 | 0
22 | 0.9993 | 0.0053655 | 0 | 0
23 | 0.9973 | 0.020714 | 0 | 0
24 | 0.99972 | 0.0021296 | 0 | 0
25 | 0.99896 | 0.0082079 | 0 | 0
26 | 0.99929 | 0.0054156 | 0.15725 | 0.07616
27 | 0.9989 | 0.0078166 | 0.39348 | 0.19057
28 | 0.9973 | 0.020767 | 0.16408 | 0.079466
29 | 0.99687 | 0.022124 | 0.18183 | 0.088065
30 | 0.99367 | 0.03058 | 0 | 0
31 | 0.99363 | 0.030919 | 0 | 0
32 | 0.99333 | 0.033506 | 0 | 0
33 | 0.99303 | 0.035087 | 0 | 0
34 | 0.99362 | 0.030806 | 0.22221 | 0.10762
35 | 0.99332 | 0.033621 | 0.4266 | 0.20661
36 | 0.99255 | 0.038592 | 0 | 0
37 | 0.99302 | 0.035124 | 0.24159 | 0.11701
38 | 0.99255 | 0.038609 | 0.070357 | 0.034076
39 | 0.99566 | -0.055168 | 0.36104 | 0.17486
40 | 0.99602 | -0.052603 | 0 | 0
41 | 0.99463 | -0.06253 | 0.39531 | 0.19146
42 | 0.99655 | -0.057182 | 0 | 0
43 | 0.99867 | -0.033326 | 0 | 0
44 | 0.99871 | -0.032883 | 0.39531 | 0.19146
45 | 0.99636 | -0.058576 | 0.28066 | 0.13593
46 | 0.99623 | -0.057473 | 0.36714 | 0.17781
47 | 0.99624 | -0.057559 | 0 | 0
48 | 0.99635 | -0.058494 | 0 | 0
49 | 0.99608 | -0.05617 | 0 | 0
50 | 0.99604 | -0.055975 | 0.23463 | 0.11364
51 | 0.99605 | -0.055909 | 0 | 0
52 | 0.99603 | -0.055789 | 0 | 0
53 | 0.99607 | -0.056109 | 0.095526 | 0.046265
54 | 0.99584 | -0.054076 | 0 | 0
55 | 0.99601 | -0.055636 | 0.26567 | 0.12867
56 | 0.99429 | -0.064407 | 0 | 0
57 | 0.99429 | -0.064402 | 0.073612 | 0.035652
58 | 0.99584 | -0.05406 | 0.39388 | 0.19077
59 | 0.9923 | -0.068486 | 0.35595 | 0.17239
60 | 0.99231 | -0.068537 | 0 | 0
61 | 0.99249 | -0.070112 | 0 | 0
62 | 0.99293 | -0.073822 | 0 | 0
63 | 0.9924 | -0.069377 | 0.13705 | 0.066377
64 | 0.99218 | -0.071027 | 0.15393 | 0.074552
65 | 0.99214 | -0.070704 | 0 | 0
66 | 0.99187 | -0.068431 | 0 | 0
67 | 0.99178 | -0.067553 | 0 | 0
68 | 0.99185 | -0.068195 | 0.25442 | 0.12322
69 | 0.99176 | -0.067379 | 0.34131 | 0.16531
70 | 0.99223 | -0.070491 | 0.28335 | 0.13723
71 | 0.99595 | 0.014183 | 0.14663 | 0.071015
72 | 1 | 0 | -8.7729 | -4.0088
73 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.29223 | -0.14154 | 0.29224 | 0.1415 | 5.4557e-06 | -3.7229e-05 | 0.0094284 | 0.0094279 | 0.0094284 | 0.99417 | -0.06578 | 0.99419 | -0.065656 | 4.4897
1 | -0.29224 | -0.1415 | 0.29228 | 0.1412 | 4.3824e-05 | -0.00029927 | 0.0094279 | 0.0094238 | 0.0094279 | 0.99419 | -0.065656 | 0.99434 | -0.064663 | 4.4895
2 | -2.2366 | -1.0332 | 2.2372 | 1.0335 | 0.00061456 | 0.00030534 | 0.071526 | 0.071525 | 0.071526 | 0.99434 | -0.064663 | 0.99463 | -0.06253 | 34.0602
3 | 1.8707 | 0.87066 | -1.8683 | -0.8696 | 0.0023956 | 0.0010589 | 0.059904 | 0.059909 | 0.059909 | 0.99434 | -0.064663 | 0.99299 | -0.074374 | 28.5282
4 | 0.073616 | 0.021369 | -0.073612 | -0.035517 | 4.2006e-06 | -0.014147 | 0.0022254 | 0.002373 | 0.002373 | 0.99434 | -0.064663 | 0.99429 | -0.064407 | 1.0786
5 | 1.8683 | 0.8696 | -1.8683 | -0.86977 | 3.5425e-05 | -0.00016354 | 0.059909 | 0.059911 | 0.059911 | 0.99299 | -0.074374 | 0.99297 | -0.074224 | 27.2325
6 | 1.5274 | 0.70469 | -1.5274 | -0.70525 | 7.8791e-05 | -0.00055749 | 0.048903 | 0.04891 | 0.04891 | 0.99297 | -0.074224 | 0.99293 | -0.073822 | 22.232
7 | -0.37295 | -0.18063 | 0.37302 | 0.18033 | 7.3907e-05 | -0.00029556 | 0.012001 | 0.011996 | 0.012001 | 0.9968 | 0.021697 | 0.99701 | 0.023007 | 5.7146
8 | 2.0047 | 0.87821 | -2.0028 | -0.8773 | 0.0019745 | 0.00090966 | 0.063371 | 0.063375 | 0.063375 | 0.99701 | 0.023007 | 0.99596 | 0.014087 | 30.1785
9 | 0.18185 | 0.08761 | -0.18183 | -0.088065 | 2.4129e-05 | -0.00045481 | 0.0058446 | 0.0058505 | 0.0058505 | 0.99701 | 0.023007 | 0.99687 | 0.022124 | 2.786
10 | -2.7728 | -1.2494 | 2.773 | 1.249 | 0.00018439 | -0.00036809 | 0.088059 | 0.088054 | 0.088059 | 0.99701 | 0.023007 | 0.99707 | 0.02252 | 40.0267
11 | -1.5891 | -0.70276 | 1.591 | 0.69053 | 0.0018353 | -0.012232 | 0.050474 | 0.050325 | 0.050474 | 0.99379 | 0.029731 | 0.99488 | 0.021881 | 22.9426
12 | 1.5891 | 0.70276 | -1.5891 | -0.70284 | 1.288e-05 | -8.5478e-05 | 0.050474 | 0.050475 | 0.050475 | 0.99379 | 0.029731 | 0.99378 | 0.029788 | 22.9431
13 | -1.854 | -0.81789 | 1.8561 | 0.8076 | 0.0021257 | -0.010289 | 0.058799 | 0.058672 | 0.058799 | 0.99488 | 0.021881 | 0.99596 | 0.014087 | 26.7267
14 | 0.26303 | 0.12736 | -0.26303 | -0.12739 | 3.4425e-06 | -2.9591e-05 | 0.0084799 | 0.0084803 | 0.0084803 | 0.99488 | 0.021881 | 0.99486 | 0.021794 | 4.0382
15 | 1.4125 | 0.61729 | -1.4123 | -0.61869 | 0.0001651 | -0.0014047 | 0.044777 | 0.044794 | 0.044794 | 0.99378 | 0.029788 | 0.99367 | 0.03058 | 20.361
16 | 0.14663 | 0.069698 | -0.14663 | -0.071015 | 1.6508e-06 | -0.0013174 | 0.0047057 | 0.0047223 | 0.0047223 | 0.99596 | 0.014087 | 0.99595 | 0.014183 | 2.1465
17 | -0.22102 | -0.10705 | 0.22103 | 0.10698 | 5.0882e-06 | -6.2632e-05 | 0.0071432 | 0.0071424 | 0.0071432 | 0.99246 | 0.039028 | 0.99248 | 0.03918 | 3.4015
18 | 0.22955 | 0.1009 | -0.22954 | -0.10233 | 4.3393e-06 | -0.0014326 | 0.0072932 | 0.0073101 | 0.0073101 | 0.99248 | 0.03918 | 0.99246 | 0.039313 | 3.3228
19 | -0.45057 | -0.20789 | 0.45061 | 0.20496 | 3.4642e-05 | -0.0029268 | 0.014433 | 0.014398 | 0.014433 | 0.99248 | 0.03918 | 0.99255 | 0.038592 | 6.5605
20 | -0.1402 | -0.062238 | 0.1402 | 0.060511 | 1.9435e-06 | -0.001727 | 0.0044618 | 0.0044417 | 0.0044618 | 0.99244 | 0.039479 | 0.99245 | 0.039385 | 2.0281
21 | 0.1402 | 0.062238 | -0.14019 | -0.066953 | 5.3982e-06 | -0.0047148 | 0.0044618 | 0.0045192 | 0.0045192 | 0.99244 | 0.039479 | 0.9924 | 0.039778 | 2.0542
22 | -0.1402 | -0.060511 | 0.1402 | 0.059065 | 1.6138e-06 | -0.0014459 | 0.0044417 | 0.0044252 | 0.0044417 | 0.99245 | 0.039385 | 0.99246 | 0.039313 | 2.0189
23 | 0.14019 | 0.066953 | -0.14019 | -0.067898 | 1.0997e-06 | -0.00094562 | 0.0045192 | 0.0045311 | 0.0045311 | 0.9924 | 0.039778 | 0.9924 | 0.039845 | 2.0596
24 | -0.21401 | -0.10365 | 0.21402 | 0.10356 | 6.7164e-06 | -9.0312e-05 | 0.0068826 | 0.0068814 | 0.0068826 | 0.99735 | 0.019858 | 0.99739 | 0.020065 | 3.2774
25 | 2.7739 | 1.2472 | -2.773 | -1.249 | 0.00093174 | -0.0018616 | 0.088028 | 0.088054 | 0.088054 | 0.99739 | 0.020065 | 0.99707 | 0.02252 | 40.0244
26 | -3.1521 | -1.4201 | 3.1585 | 1.4106 | 0.0063996 | -0.0095105 | 0.10006 | 0.099927 | 0.10006 | 0.99739 | 0.020065 | 0.9993 | 0.0053655 | 45.4827
27 | 0.16409 | 0.069362 | -0.16408 | -0.078824 | 1.4449e-05 | -0.0094614 | 0.0051562 | 0.005269 | 0.005269 | 0.99739 | 0.020065 | 0.9973 | 0.020714 | 2.395
28 | -3.7093 | -1.6605 | 3.711 | 1.6588 | 0.0016687 | -0.0016686 | 0.1174 | 0.11738 | 0.1174 | 0.9993 | 0.0053655 | 0.99972 | 0.0021296 | 53.3644
29 | 0.39364 | 0.17438 | -0.3935 | -0.19049 | 0.00014212 | -0.016109 | 0.012437 | 0.012634 | 0.012634 | 0.9993 | 0.0053655 | 0.99896 | 0.0082079 | 5.7425
30 | 0.15725 | 0.07552 | -0.15725 | -0.07616 | 9.1278e-07 | -0.00064063 | 0.0050394 | 0.0050474 | 0.0050474 | 0.9993 | 0.0053655 | 0.99929 | 0.0054156 | 2.2943
31 | 0.16408 | 0.078824 | -0.16408 | -0.079466 | 1.0051e-06 | -0.00064273 | 0.005269 | 0.0052771 | 0.0052771 | 0.9973 | 0.020714 | 0.9973 | 0.020767 | 2.3987
32 | -3.711 | -1.6588 | 3.7121 | 1.6577 | 0.0011021 | -0.0011036 | 0.11738 | 0.11736 | 0.11738 | 0.99972 | 0.0021296 | 1 | 0 | 53.3528
33 | 0.3935 | 0.19049 | -0.39348 | -0.19057 | 2.3335e-05 | -8.3127e-05 | 0.012634 | 0.012635 | 0.012635 | 0.99896 | 0.0082079 | 0.9989 | 0.0078166 | 6.0166
34 | 0.22222 | 0.10449 | -0.22221 | -0.10757 | 8.9496e-06 | -0.0030861 | 0.0071338 | 0.0071725 | 0.0071725 | 0.99367 | 0.03058 | 0.99363 | 0.030919 | 3.2602
35 | 0.42676 | 0.19133 | -0.42661 | -0.20609 | 0.00015683 | -0.014755 | 0.013587 | 0.013769 | 0.013769 | 0.99367 | 0.03058 | 0.99333 | 0.033506 | 6.2585
36 | 0.76334 | 0.32287 | -0.76282 | -0.33848 | 0.00052152 | -0.015602 | 0.024078 | 0.02426 | 0.02426 | 0.99367 | 0.03058 | 0.99303 | 0.035087 | 11.0274
37 | 0.22221 | 0.10757 | -0.22221 | -0.10762 | 3.8023e-06 | -4.6508e-05 | 0.0071725 | 0.0071731 | 0.0071731 | 0.99363 | 0.030919 | 0.99362 | 0.030806 | 3.4158
38 | 0.42661 | 0.20609 | -0.4266 | -0.20661 | 5.6465e-06 | -0.00052368 | 0.013769 | 0.013775 | 0.013775 | 0.99333 | 0.033506 | 0.99332 | 0.033621 | 6.2615
39 | 0.52123 | 0.22177 | -0.52097 | -0.23857 | 0.00026263 | -0.016795 | 0.016467 | 0.016665 | 0.016665 | 0.99303 | 0.035087 | 0.99255 | 0.038592 | 7.575
40 | 0.24159 | 0.1167 | -0.24159 | -0.11701 | 1.0445e-06 | -0.00030235 | 0.0077996 | 0.0078034 | 0.0078034 | 0.99303 | 0.035087 | 0.99302 | 0.035124 | 3.547
41 | 0.070357 | 0.033608 | -0.070357 | -0.034076 | 1.368e-07 | -0.00046741 | 0.0022678 | 0.0022737 | 0.0022737 | 0.99255 | 0.038592 | 0.99255 | 0.038609 | 1.0335
42 | -2.9961 | -1.4012 | 2.9972 | 1.4018 | 0.0010303 | 0.00057089 | 0.095898 | 0.095897 | 0.095898 | 0.99566 | -0.055168 | 0.99602 | -0.052603 | 45.6658
43 | 2.6351 | 1.2264 | -2.6325 | -1.225 | 0.0025572 | 0.0013628 | 0.084269 | 0.084271 | 0.084271 | 0.99566 | -0.055168 | 0.99463 | -0.06253 | 40.1293
44 | -2.9972 | -1.4018 | 2.9989 | 1.399 | 0.001712 | -0.0027983 | 0.095897 | 0.095857 | 0.095897 | 0.99602 | -0.052603 | 0.99655 | -0.057182 | 43.5897
45 | 1.6383 | 0.76724 | -1.638 | -0.76712 | 0.00030747 | 0.0001181 | 0.052403 | 0.052404 | 0.052404 | 0.99655 | -0.057182 | 0.99636 | -0.058576 | 24.9544
46 | -4.6372 | -2.1662 | 4.6461 | 2.1439 | 0.0089524 | -0.022353 | 0.14826 | 0.14791 | 0.14826 | 0.99655 | -0.057182 | 0.99867 | -0.033326 | 40.9559
47 | -4.6461 | -2.1439 | 4.6463 | 2.1435 | 0.0001639 | -0.00041166 | 0.14791 | 0.1479 | 0.14791 | 0.99867 | -0.033326 | 0.99871 | -0.032883 | 40.8587
48 | -5.0416 | -2.3349 | 5.0468 | 2.3406 | 0.0051692 | 0.0056385 | 0.1606 | 0.16059 | 0.1606 | 0.99871 | -0.032883 | 1 | 0 | 45.8845
49 | 1.3573 | 0.63119 | -1.3573 | -0.63132 | 1.3897e-05 | -0.00012705 | 0.04337 | 0.043372 | 0.043372 | 0.99636 | -0.058576 | 0.99635 | -0.058494 | 19.7144
50 | -0.36714 | -0.17781 | 0.36714 | 0.17735 | 3.6337e-06 | -0.00046077 | 0.011821 | 0.011815 | 0.011821 | 0.99623 | -0.057473 | 0.99624 | -0.057559 | 5.373
51 | -0.36714 | -0.17735 | 0.36718 | 0.17212 | 4.102e-05 | -0.0052338 | 0.011815 | 0.011749 | 0.011815 | 0.99624 | -0.057559 | 0.99635 | -0.058494 | 5.3703
52 | 0.99013 | 0.4592 | -0.98984 | -0.46422 | 0.00028803 | -0.005017 | 0.031622 | 0.031685 | 0.031685 | 0.99635 | -0.058494 | 0.99608 | -0.05617 | 14.4022
53 | 0.65968 | 0.30789 | -0.65965 | -0.30913 | 3.1271e-05 | -0.0012363 | 0.021098 | 0.021113 | 0.021113 | 0.99608 | -0.05617 | 0.99603 | -0.055789 | 9.597
54 | 0.095527 | 0.044963 | -0.095526 | -0.046265 | 6.9088e-07 | -0.0013023 | 0.0030598 | 0.0030761 | 0.0030761 | 0.99608 | -0.05617 | 0.99607 | -0.056109 | 1.3982
55 | 0.23464 | 0.11137 | -0.23463 | -0.11361 | 7.1998e-06 | -0.0022443 | 0.0075271 | 0.0075553 | 0.0075553 | 0.99608 | -0.05617 | 0.99605 | -0.055909 | 3.4342
56 | -0.23463 | -0.11364 | 0.23463 | 0.11361 | 2.3623e-06 | -2.6028e-05 | 0.0075556 | 0.0075553 | 0.0075556 | 0.99604 | -0.055975 | 0.99605 | -0.055909 | 3.5979
57 | 0.39397 | 0.1816 | -0.39389 | -0.19069 | 8.1905e-05 | -0.0090861 | 0.012573 | 0.012686 | 0.012686 | 0.99603 | -0.055789 | 0.99584 | -0.054076 | 5.7662
58 | 0.26568 | 0.12753 | -0.26567 | -0.12867 | 4.727e-06 | -0.0011463 | 0.0085411 | 0.0085556 | 0.0085556 | 0.99603 | -0.055789 | 0.99601 | -0.055636 | 3.8889
59 | 0.39389 | 0.19069 | -0.39388 | -0.19077 | 7.2555e-07 | -7.9745e-05 | 0.012686 | 0.012687 | 0.012687 | 0.99584 | -0.054076 | 0.99584 | -0.05406 | 5.7667
60 | 0.073612 | 0.035517 | -0.073612 | -0.035652 | 4.2997e-08 | -0.00013488 | 0.002373 | 0.0023747 | 0.0023747 | 0.99429 | -0.064407 | 0.99429 | -0.064402 | 1.0794
61 | -0.35595 | -0.17239 | 0.35595 | 0.17212 | 2.0782e-06 | -0.00027593 | 0.011506 | 0.011502 | 0.011506 | 0.9923 | -0.068486 | 0.99231 | -0.068537 | 5.2298
62 | -0.35595 | -0.17212 | 0.35602 | 0.16289 | 6.8728e-05 | -0.0092227 | 0.011502 | 0.011388 | 0.011502 | 0.99231 | -0.068537 | 0.99249 | -0.070112 | 5.2282
63 | -1.5266 | -0.71033 | 1.5274 | 0.70525 | 0.00071963 | -0.0050814 | 0.048975 | 0.04891 | 0.048975 | 0.99249 | -0.070112 | 0.99293 | -0.073822 | 22.2614
64 | 1.1706 | 0.54744 | -1.1705 | -0.54874 | 0.00010674 | -0.0012986 | 0.037588 | 0.037604 | 0.037604 | 0.99249 | -0.070112 | 0.9924 | -0.069377 | 17.0929
65 | 0.2834 | 0.13689 | -0.28335 | -0.13723 | 4.7662e-05 | -0.00034515 | 0.0091549 | 0.0091597 | 0.0091597 | 0.9924 | -0.069377 | 0.99223 | -0.070491 | 4.3617
66 | 0.75007 | 0.34547 | -0.74991 | -0.34555 | 0.000158 | -8.1668e-05 | 0.024021 | 0.024024 | 0.024024 | 0.9924 | -0.069377 | 0.99218 | -0.071027 | 11.4398
67 | 0.59598 | 0.271 | -0.59595 | -0.27223 | 2.5443e-05 | -0.001226 | 0.019048 | 0.019063 | 0.019063 | 0.99218 | -0.071027 | 0.99214 | -0.070704 | 8.6652
68 | 0.59595 | 0.27223 | -0.59578 | -0.28046 | 0.00017186 | -0.0082282 | 0.019063 | 0.019165 | 0.019165 | 0.99214 | -0.070704 | 0.99187 | -0.068431 | 8.7112
69 | 0.34136 | 0.15906 | -0.34132 | -0.16432 | 3.617e-05 | -0.0052551 | 0.01096 | 0.011026 | 0.011026 | 0.99187 | -0.068431 | 0.99178 | -0.067553 | 5.0118
70 | 0.25442 | 0.12139 | -0.25442 | -0.12322 | 7.0099e-06 | -0.0018251 | 0.0082045 | 0.0082275 | 0.0082275 | 0.99187 | -0.068431 | 0.99185 | -0.068195 | 3.7398
71 | 0.34132 | 0.16432 | -0.34131 | -0.16531 | 6.8553e-06 | -0.00098878 | 0.011026 | 0.011039 | 0.011039 | 0.99178 | -0.067553 | 0.99176 | -0.067379 | 5.0175

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.8491 | 4.0457

## res_load
| p_mw | q_mvar
0 | 0.29223 | 0.14154
1 | 0.34084 | 0.16507
2 | 0.37295 | 0.18063
3 | 0.21321 | 0.10326
4 | 0.17665 | 0.085555
5 | 0.26303 | 0.12739
6 | 0.22102 | 0.10705
7 | 0.089338 | 0.043269
8 | 0.14019 | 0.067898
9 | 0.21401 | 0.10365
10 | 0.15725 | 0.07616
11 | 0.39348 | 0.19057
12 | 0.16408 | 0.079466
13 | 0.18183 | 0.088065
14 | 0.22221 | 0.10762
15 | 0.4266 | 0.20661
16 | 0.24159 | 0.11701
17 | 0.070357 | 0.034076
18 | 0.36104 | 0.17486
19 | 0.39531 | 0.19146
20 | 0.39531 | 0.19146
21 | 0.28066 | 0.13593
22 | 0.36714 | 0.17781
23 | 0.23463 | 0.11364
24 | 0.095526 | 0.046265
25 | 0.26567 | 0.12867
26 | 0.073612 | 0.035652
27 | 0.39388 | 0.19077
28 | 0.35595 | 0.17239
29 | 0.13705 | 0.066377
30 | 0.15393 | 0.074552
31 | 0.25442 | 0.12322
32 | 0.34131 | 0.16531
33 | 0.28335 | 0.13723
34 | 0.14663 | 0.071015
35 | 0.076194 | 0.036903

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1