## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_36_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_36_0_node_3 | 20 | n |  | TRUE
2 | bus_MV_36_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_36_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_36_0_node_38 | 20 | n |  | TRUE
5 | bus_MV_36_0_node_7 | 20 | n |  | TRUE
6 | bus_MV_36_0_node_16 | 20 | n |  | TRUE
7 | bus_MV_36_0_node_19 | 20 | n |  | TRUE
8 | bus_MV_36_0_node_9 | 20 | n |  | TRUE
9 | bus_MV_36_0_node_20 | 20 | n |  | TRUE
10 | bus_MV_36_0_node_25 | 20 | n |  | TRUE
11 | bus_MV_36_0_node_59 | 20 | n |  | TRUE
12 | bus_MV_36_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_36_0_node_201 | 20 | n |  | TRUE
14 | bus_MV_36_0_node_13 | 20 | n |  | TRUE
15 | bus_MV_36_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_36_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_36_0_node_206 | 20 | n |  | TRUE
18 | bus_MV_36_0_node_39 | 20 | n |  | TRUE
19 | bus_MV_36_0_node_202 | 20 | n |  | TRUE
20 | bus_MV_36_0_node_225 | 20 | n |  | TRUE
21 | bus_MV_36_0_node_14 | 20 | n |  | TRUE
22 | bus_MV_36_0_node_15 | 20 | n |  | TRUE
23 | bus_MV_36_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_36_0_node_198 | 20 | n |  | TRUE
25 | bus_MV_36_0_node_129 | 20 | n |  | TRUE
26 | bus_MV_36_0_node_18 | 20 | n |  | TRUE
27 | bus_MV_36_0_node_21 | 20 | n |  | TRUE
28 | bus_MV_36_0_node_22 | 20 | n |  | TRUE
29 | bus_MV_36_0_node_204 | 20 | n |  | TRUE
30 | bus_MV_36_0_node_23 | 20 | n |  | TRUE
31 | bus_MV_36_0_node_24 | 20 | n |  | TRUE
32 | bus_MV_36_0_node_32 | 20 | n |  | TRUE
33 | bus_MV_36_0_node_27 | 20 | n |  | TRUE
34 | bus_MV_36_0_node_57 | 20 | n |  | TRUE
35 | bus_MV_36_0_node_60 | 20 | n |  | TRUE
36 | bus_MV_36_0_node_207 | 20 | n |  | TRUE
37 | bus_MV_36_0_node_28 | 20 | n |  | TRUE
38 | bus_MV_36_0_node_199 | 20 | n |  | TRUE
39 | bus_MV_36_0_node_29 | 20 | n |  | TRUE
40 | bus_MV_36_0_node_30 | 20 | n |  | TRUE
41 | bus_MV_36_0_node_31 | 20 | n |  | TRUE
42 | bus_MV_36_0_node_33 | 20 | n |  | TRUE
43 | bus_MV_36_0_node_34 | 20 | n |  | TRUE
44 | bus_MV_36_0_node_62 | 20 | n |  | TRUE
45 | bus_MV_36_0_node_35 | 20 | n |  | TRUE
46 | bus_MV_36_0_node_36 | 20 | n |  | TRUE
47 | bus_MV_36_0_node_41 | 20 | n |  | TRUE
48 | bus_MV_36_0_node_176 | 20 | n |  | TRUE
49 | bus_MV_36_0_node_37 | 20 | n |  | TRUE
50 | bus_MV_36_0_node_65 | 20 | n |  | TRUE
51 | bus_MV_36_0_node_40 | 20 | n |  | TRUE
52 | bus_MV_36_0_node_232 | 20 | n |  | TRUE
53 | bus_MV_36_0_node_46 | 20 | n |  | TRUE
54 | bus_MV_36_0_node_42 | 20 | n |  | TRUE
55 | bus_MV_36_0_node_43 | 20 | n |  | TRUE
56 | bus_MV_36_0_node_45 | 20 | n |  | TRUE
57 | bus_MV_36_0_node_47 | 20 | n |  | TRUE
58 | bus_MV_36_0_node_48 | 20 | n |  | TRUE
59 | bus_MV_36_0_node_49 | 20 | n |  | TRUE
60 | bus_MV_36_0_node_200 | 20 | n |  | TRUE
61 | bus_MV_36_0_node_50 | 20 | n |  | TRUE
62 | bus_MV_36_0_node_56 | 20 | n |  | TRUE
63 | bus_MV_36_0_node_52 | 20 | n |  | TRUE
64 | bus_MV_36_0_node_51 | 20 | n |  | TRUE
65 | bus_MV_36_0_node_54 | 20 | n |  | TRUE
66 | bus_MV_36_0_node_219 | 20 | n |  | TRUE
67 | bus_MV_36_0_node_53 | 20 | n |  | TRUE
68 | bus_MV_36_0_node_58 | 20 | n |  | TRUE
69 | bus_MV_36_0_node_61 | 20 | n |  | TRUE
70 | bus_MV_36_0_node_63 | 20 | n |  | TRUE
71 | bus_MV_36_0_node_64 | 20 | n |  | TRUE
72 | bus_MV_36_0_node_177 | 20 | n |  | TRUE
73 | bus_MV_36_0_node_66 | 20 | n |  | TRUE
74 | bus_HV_36_0_node_64 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_36_0_load_0 | 0 | 0.10036 | 0.048608 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_36_0_load_3 | 1 | 0.36314 | 0.17588 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_36_0_load_1 | 2 | 0.070397 | 0.034095 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_36_0_load_2 | 3 | 0.20791 | 0.1007 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_36_0_load_38 | 4 | 0.056319 | 0.027277 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_36_0_load_7 | 5 | 0.074627 | 0.036144 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_36_0_load_59 | 11 | 0.16477 | 0.079803 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_36_0_load_201 | 13 | 0.14258 | 0.069053 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_36_0_load_206 | 17 | 0.11102 | 0.053771 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_36_0_load_202 | 19 | 0.054221 | 0.02626 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_36_0_load_225 | 20 | 0.11183 | 0.054161 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_36_0_load_14 | 21 | 0.088125 | 0.042681 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_36_0_load_198 | 24 | 0.10549 | 0.05109 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_36_0_load_129 | 25 | 0.20548 | 0.099521 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_36_0_load_18 | 26 | 0.15912 | 0.077064 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_36_0_load_204 | 29 | 0.15114 | 0.073199 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_36_0_load_23 | 30 | 0.11729 | 0.056806 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_36_0_load_57 | 34 | 0.13053 | 0.063217 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_36_0_load_207 | 36 | 0.1567 | 0.075894 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_36_0_load_199 | 38 | 0.13073 | 0.063315 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_36_0_load_29 | 39 | 0.088744 | 0.042981 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_36_0_load_34 | 43 | 0.091731 | 0.044428 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_36_0_load_62 | 44 | 0.096857 | 0.04691 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_36_0_load_35 | 45 | 0.1086 | 0.052598 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_36_0_load_176 | 48 | 0.154 | 0.074583 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_36_0_load_40 | 51 | 0.11808 | 0.057188 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_36_0_load_232 | 52 | 0.052206 | 0.025284 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_36_0_load_46 | 53 | 0.14704 | 0.071214 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_36_0_load_42 | 54 | 0.093851 | 0.045454 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_36_0_load_200 | 60 | 0.068881 | 0.033361 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_36_0_load_56 | 62 | 0.11103 | 0.053774 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_36_0_load_51 | 64 | 0.13077 | 0.063333 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_36_0_load_219 | 66 | 0.055198 | 0.026734 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_36_0_load_53 | 67 | 0.10118 | 0.049003 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_36_0_load_58 | 68 | 0.14685 | 0.071124 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_36_0_load_61 | 69 | 0.11034 | 0.053438 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_36_0_load_177 | 72 | 0.1034 | 0.05008 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_36_0_load_66 | 73 | 0.13125 | 0.063566 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_36_0_line_0 |  | 0 | 1 | 0.67997 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_36_0_line_1 |  | 1 | 2 | 0.32598 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_36_0_line_2 |  | 2 | 3 | 0.49237 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_36_0_line_3 |  | 3 | 4 | 0.83475 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_36_0_line_4 |  | 4 | 18 | 0.030894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_36_0_line_5 |  | 5 | 6 | 0.97337 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_36_0_line_6 |  | 5 | 7 | 0.25113 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_36_0_line_7 |  | 6 | 24 | 0.091141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_36_0_line_8 |  | 6 | 22 | 0.44601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_36_0_line_9 |  | 7 | 26 | 0.033156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_36_0_line_10 |  | 8 | 9 | 0.26004 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_36_0_line_11 |  | 8 | 10 | 0.16459 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_36_0_line_12 |  | 8 | 11 | 0.043147 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_36_0_line_13 |  | 9 | 27 | 0.30146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_36_0_line_14 |  | 9 | 26 | 0.048538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_36_0_line_15 |  | 10 | 34 | 0.087412 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_36_0_line_16 |  | 11 | 35 | 0.036892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_36_0_line_17 |  | 11 | 68 | 0.035302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_36_0_line_18 |  | 12 | 13 | 0.019177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_36_0_line_19 |  | 12 | 14 | 0.27708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_36_0_line_20 |  | 12 | 15 | 0.26325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_36_0_line_21 |  | 13 | 27 | 0.064924 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_36_0_line_22 |  | 14 | 20 | 0.005773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_36_0_line_23 |  | 15 | 19 | 0.062713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_36_0_line_24 |  | 15 | 16 | 0.38807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_36_0_line_25 |  | 16 | 17 | 0.15193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_36_0_line_26 |  | 16 | 18 | 1.0677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_36_0_line_27 |  | 17 | 56 | 0.17926 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_36_0_line_28 |  | 19 | 28 | 0.56758 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_36_0_line_29 |  | 21 | 22 | 0.017856 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_36_0_line_30 |  | 22 | 23 | 1.4464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_36_0_line_31 |  | 23 | 25 | 0.10516 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_36_0_line_32 |  | 28 | 29 | 0.11445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_36_0_line_33 |  | 30 | 31 | 0.093902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_36_0_line_34 |  | 30 | 32 | 0.31346 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_36_0_line_35 |  | 31 | 33 | 0.37028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_36_0_line_36 |  | 32 | 43 | 0.09302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_36_0_line_37 |  | 32 | 37 | 0.18857 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_36_0_line_38 |  | 32 | 40 | 0.29978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_36_0_line_39 |  | 33 | 35 | 0.005143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_36_0_line_40 |  | 33 | 36 | 0.076586 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_36_0_line_41 |  | 37 | 38 | 0.02424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_36_0_line_42 |  | 39 | 40 | 0.065539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_36_0_line_43 |  | 39 | 41 | 0.066515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_36_0_line_44 |  | 41 | 42 | 0.1399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_36_0_line_45 |  | 42 | 44 | 0.091181 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_36_0_line_46 |  | 44 | 49 | 0.015326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_36_0_line_47 |  | 45 | 46 | 0.09362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_36_0_line_48 |  | 45 | 47 | 1.8582 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_36_0_line_49 |  | 46 | 48 | 0.20215 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_36_0_line_50 |  | 47 | 51 | 0.14675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_36_0_line_51 |  | 48 | 50 | 0.065455 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_36_0_line_52 |  | 48 | 70 | 0.072522 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
53 | MV_36_0_line_53 |  | 48 | 73 | 0.059738 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_36_0_line_54 |  | 49 | 50 | 0.06639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_36_0_line_55 |  | 51 | 52 | 3.1459 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_36_0_line_56 |  | 51 | 53 | 3.81 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_36_0_line_57 |  | 53 | 57 | 0.03299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_36_0_line_58 |  | 54 | 55 | 0.025616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_36_0_line_59 |  | 55 | 56 | 0.35014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_36_0_line_60 |  | 57 | 58 | 0.10989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_36_0_line_61 |  | 57 | 59 | 0.9577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_36_0_line_62 |  | 58 | 60 | 0.094713 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_36_0_line_63 |  | 59 | 61 | 0.61849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_36_0_line_64 |  | 59 | 62 | 0.039266 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_36_0_line_65 |  | 61 | 63 | 0.40031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_36_0_line_66 |  | 61 | 64 | 0.036187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_36_0_line_67 |  | 63 | 65 | 0.3147 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_36_0_line_68 |  | 63 | 66 | 0.072091 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_36_0_line_69 |  | 65 | 67 | 0.028595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_36_0_line_70 |  | 68 | 69 | 0.027089 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_36_0_line_71 |  | 70 | 71 | 0.038829 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_36_0_line_72 |  | 71 | 72 | 0.044488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_36_0_trafo_64 | 25 MVA 110/20 kV | 74 | 71 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2585786.6108 | 1175248.1507
1 | 2585720.8555 | 1175924.9295
2 | 2585535.3903 | 1176193.0127
3 | 2585964.8979 | 1176433.7536
4 | 2586799.0272 | 1176401.688
5 | 2588695.5489 | 1177086.6707
6 | 2588793.7511 | 1178055.0781
7 | 2588446.2737 | 1177056.2001
8 | 2588420.015 | 1176776.6089
9 | 2588369.1878 | 1177031.6376
10 | 2588541.573 | 1176665.6396
11 | 2588438.4258 | 1176737.5866
12 | 2588110.5304 | 1176858.7602
13 | 2588129.1139 | 1176853.8206
14 | 2588027.998 | 1176651.0309
15 | 2587972.5985 | 1176900.9585
16 | 2587734.2738 | 1176667.9257
17 | 2587610.3424 | 1176582.2274
18 | 2586821.3503 | 1176380.3611
19 | 2587938.575 | 1176953.365
20 | 2588024.2062 | 1176646.6697
21 | 2588516.0378 | 1178150.2223
22 | 2588500.0694 | 1178158.2128
23 | 2587742.9774 | 1178687.1701
24 | 2588850.9442 | 1178126.0403
25 | 2587747.999 | 1178792.2134
26 | 2588416.4276 | 1177042.7513
27 | 2588193.4701 | 1176862.386
28 | 2587974.9332 | 1177519.7799
29 | 2588068.7542 | 1177581.3448
30 | 2588495.9692 | 1176300.8088
31 | 2588472.7695 | 1176389.7655
32 | 2588803.1865 | 1176238.5808
33 | 2588454.1698 | 1176698.6029
34 | 2588604.1816 | 1176726.6394
35 | 2588452.169 | 1176703.3425
36 | 2588382.7896 | 1176670.8498
37 | 2588745.8525 | 1176418.2245
38 | 2588721.9498 | 1176416.0797
39 | 2588749.4561 | 1175967.2443
40 | 2588814.7464 | 1175972.0682
41 | 2588736.897 | 1175901.9348
42 | 2588711.1534 | 1175764.4583
43 | 2588711.8734 | 1176220.8441
44 | 2588802.3059 | 1175762.174
45 | 2588929.1412 | 1175383.1225
46 | 2588899.3787 | 1175466.887
47 | 2590055.579 | 1173905.3318
48 | 2588781.4728 | 1175631.0848
49 | 2588817.0036 | 1175757.6885
50 | 2588803.2074 | 1175692.826
51 | 2590142.4139 | 1173790.1848
52 | 2593288.2785 | 1173803.4861
53 | 2588963.8017 | 1170167.1157
54 | 2587439.2394 | 1176138.6822
55 | 2587429.4205 | 1176161.6035
56 | 2587638.1298 | 1176405.1352
57 | 2588951.4121 | 1170136.5344
58 | 2589045.9156 | 1170083.4778
59 | 2588730.1409 | 1169421.7453
60 | 2589081.8208 | 1169995.8346
61 | 2588767.9026 | 1168939.0209
62 | 2588764.4104 | 1169440.9125
63 | 2588549.1084 | 1168739.0923
64 | 2588801.8574 | 1168948.0838
65 | 2588252.8751 | 1168845.2992
66 | 2588489.1579 | 1168699.0542
67 | 2588224.4152 | 1168848.8016
68 | 2588470.4366 | 1176751.9096
69 | 2588487.8973 | 1176731.1987
70 | 2588714.7471 | 1175636.0752
71 | 2588680.3254 | 1175638.9531
72 | 2588676.3002 | 1175683.0686
73 | 2588841.2107 | 1175631.2457
74 | 2588680.3254 | 1175638.9531

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98638 | -0.00086343 | 0.10036 | 0.048608
1 | 0.98652 | 7.4994e-06 | 0.36314 | 0.17588
2 | 0.98681 | 0.0019109 | 0.070397 | 0.034095
3 | 0.98733 | 0.0052338 | 0.20791 | 0.1007
4 | 0.98854 | 0.013062 | 0.056319 | 0.027277
5 | 0.99106 | -0.0078819 | 0.074627 | 0.036144
6 | 0.99034 | -0.016474 | 0 | 0
7 | 0.99128 | -0.0054211 | 0 | 0
8 | 0.99237 | 0.0037499 | 0 | 0
9 | 0.99134 | -0.0057383 | 0 | 0
10 | 0.99233 | 0.0034835 | 0 | 0
11 | 0.99256 | 0.0053932 | 0.16477 | 0.079803
12 | 0.99056 | -0.0030906 | 0 | 0
13 | 0.9906 | -0.0033153 | 0.14258 | 0.069053
14 | 0.99052 | -0.0027737 | 0 | 0
15 | 0.99016 | -0.00019365 | 0 | 0
16 | 0.98966 | 0.0034215 | 0 | 0
17 | 0.98962 | 0.0036952 | 0.11102 | 0.053771
18 | 0.98857 | 0.012766 | 0 | 0
19 | 0.99014 | -5.3082e-05 | 0.054221 | 0.02626
20 | 0.99052 | -0.0027658 | 0.11183 | 0.054161
21 | 0.99017 | -0.016032 | 0.088125 | 0.042681
22 | 0.99018 | -0.016013 | 0 | 0
23 | 0.9898 | -0.013988 | 0 | 0
24 | 0.99032 | -0.016593 | 0.10549 | 0.05109
25 | 0.98976 | -0.014255 | 0.20548 | 0.099521
26 | 0.9913 | -0.0055129 | 0.15912 | 0.077064
27 | 0.99078 | -0.001759 | 0 | 0
28 | 0.98998 | -0.0012589 | 0 | 0
29 | 0.98995 | -0.0010577 | 0.15114 | 0.073199
30 | 0.99435 | -0.0075141 | 0.11729 | 0.056806
31 | 0.99402 | -0.0051381 | 0 | 0
32 | 0.9961 | 0.0074188 | 0 | 0
33 | 0.9927 | 0.0043779 | 0 | 0
34 | 0.99231 | 0.0033431 | 0.13053 | 0.063217
35 | 0.99268 | 0.0045019 | 0 | 0
36 | 0.99268 | 0.0042304 | 0.1567 | 0.075894
37 | 0.99605 | 0.0071075 | 0 | 0
38 | 0.99605 | 0.0071453 | 0.13073 | 0.063315
39 | 0.99756 | -0.0031504 | 0.088744 | 0.042981
40 | 0.9973 | -0.0012715 | 0 | 0
41 | 0.99783 | -0.0051206 | 0 | 0
42 | 0.99841 | -0.0092388 | 0 | 0
43 | 0.99609 | 0.0073145 | 0.091731 | 0.044428
44 | 0.99897 | -0.0044467 | 0.096857 | 0.04691
45 | 0.99929 | -0.0061546 | 0.1086 | 0.052598
46 | 0.99939 | -0.0067652 | 0 | 0
47 | 0.99656 | -0.03413 | 0 | 0
48 | 0.99973 | -0.0034062 | 0.154 | 0.074583
49 | 0.99904 | -0.0049135 | 0 | 0
50 | 0.99932 | -0.0069308 | 0 | 0
51 | 0.99641 | -0.033318 | 0.11808 | 0.057188
52 | 0.9961 | -0.03582 | 0.052206 | 0.025284
53 | 0.99204 | -0.079698 | 0.14704 | 0.071214
54 | 0.98955 | 0.0036726 | 0.093851 | 0.045454
55 | 0.98955 | 0.0036437 | 0 | 0
56 | 0.98959 | 0.0033492 | 0 | 0
57 | 0.99202 | -0.079621 | 0 | 0
58 | 0.99201 | -0.079539 | 0 | 0
59 | 0.99154 | -0.077289 | 0 | 0
60 | 0.992 | -0.079619 | 0.068881 | 0.033361
61 | 0.99132 | -0.075874 | 0 | 0
62 | 0.99154 | -0.077343 | 0.11103 | 0.053774
63 | 0.99124 | -0.075263 | 0 | 0
64 | 0.99131 | -0.075818 | 0.13077 | 0.063333
65 | 0.99118 | -0.075678 | 0 | 0
66 | 0.99123 | -0.075312 | 0.055198 | 0.026734
67 | 0.99118 | -0.075643 | 0.10118 | 0.049003
68 | 0.99255 | 0.0055024 | 0.14685 | 0.071124
69 | 0.99254 | 0.0054657 | 0.11034 | 0.053438
70 | 0.99991 | -0.0011887 | 0 | 0
71 | 1 | 0 | -4.6619 | -2.0341
72 | 0.99999 | 5.353e-05 | 0.1034 | 0.05008
73 | 0.99972 | -0.0035012 | 0.13125 | 0.063566
74 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.10036 | -0.048608 | 0.10038 | 0.047826 | 1.2864e-05 | -0.00078184 | 0.0032636 | 0.0032536 | 0.0032636 | 0.98638 | -0.00086343 | 0.98652 | 7.4994e-06 | 1.5541
1 | -0.46352 | -0.2237 | 0.46365 | 0.22341 | 0.00013169 | -0.00029636 | 0.01506 | 0.015056 | 0.01506 | 0.98652 | 7.4994e-06 | 0.98681 | 0.0019109 | 7.1716
2 | -0.53404 | -0.2575 | 0.53431 | 0.25709 | 0.00026378 | -0.00040747 | 0.017344 | 0.017337 | 0.017344 | 0.98681 | 0.0019109 | 0.98733 | 0.0052338 | 8.2589
3 | -0.74222 | -0.35779 | 0.74308 | 0.35736 | 0.00086272 | -0.00043224 | 0.024091 | 0.024079 | 0.024091 | 0.98733 | 0.0052338 | 0.98854 | 0.013062 | 11.4718
4 | -0.7994 | -0.38463 | 0.79943 | 0.38392 | 2.7669e-05 | -0.00071263 | 0.025906 | 0.025897 | 0.025906 | 0.98854 | 0.013062 | 0.98857 | 0.012766 | 11.7754
5 | 0.3995 | 0.14783 | -0.39924 | -0.1488 | 0.00026725 | -0.00097311 | 0.012408 | 0.012419 | 0.012419 | 0.99106 | -0.0078819 | 0.99034 | -0.016474 | 5.914
6 | -0.47413 | -0.18397 | 0.47423 | 0.18374 | 9.8168e-05 | -0.00023304 | 0.014814 | 0.014811 | 0.014814 | 0.99106 | -0.0078819 | 0.99128 | -0.0054211 | 7.0541
7 | 0.10549 | 0.050984 | -0.10549 | -0.05109 | 1.8948e-06 | -0.00010552 | 0.0034152 | 0.0034166 | 0.0034166 | 0.99034 | -0.016474 | 0.99032 | -0.016593 | 1.6269
8 | 0.29375 | 0.097814 | -0.2937 | -0.10824 | 4.9026e-05 | -0.010428 | 0.0090247 | 0.0091255 | 0.0091255 | 0.99034 | -0.016474 | 0.99018 | -0.016013 | 4.1479
9 | -0.47423 | -0.18374 | 0.47424 | 0.18296 | 9.704e-06 | -0.00077503 | 0.014811 | 0.014802 | 0.014811 | 0.99128 | -0.0054211 | 0.9913 | -0.0055129 | 6.7321
10 | 2.1027 | 0.89497 | -2.1007 | -0.894 | 0.0020476 | 0.00097713 | 0.066477 | 0.06648 | 0.06648 | 0.99237 | 0.0037499 | 0.99134 | -0.0057383 | 31.6572
11 | 0.13054 | 0.062926 | -0.13053 | -0.063116 | 5.2139e-06 | -0.00019023 | 0.0042154 | 0.0042178 | 0.0042178 | 0.99237 | 0.0037499 | 0.99233 | 0.0034835 | 2.0085
12 | -2.2333 | -0.9579 | 2.2336 | 0.95809 | 0.00038412 | 0.00018987 | 0.070688 | 0.070687 | 0.070688 | 0.99237 | 0.0037499 | 0.99256 | 0.0053932 | 33.6608
13 | 1.4673 | 0.6351 | -1.4664 | -0.64191 | 0.00087389 | -0.0068103 | 0.046558 | 0.04664 | 0.04664 | 0.99134 | -0.0057383 | 0.99078 | -0.001759 | 21.2
14 | 0.63338 | 0.25889 | -0.63336 | -0.26002 | 2.5742e-05 | -0.0011312 | 0.019925 | 0.019938 | 0.019938 | 0.99134 | -0.0057383 | 0.9913 | -0.0055129 | 9.0626
15 | 0.13053 | 0.063116 | -0.13053 | -0.063217 | 2.7715e-06 | -0.00010102 | 0.0042178 | 0.0042191 | 0.0042191 | 0.99233 | 0.0034835 | 0.99231 | 0.0033431 | 2.0091
16 | -2.6556 | -1.1616 | 2.656 | 1.1608 | 0.00034997 | -0.00076407 | 0.084301 | 0.084291 | 0.084301 | 0.99256 | 0.0053932 | 0.99268 | 0.0045019 | 38.3186
17 | 0.25719 | 0.1237 | -0.25719 | -0.12453 | 3.2511e-06 | -0.0008294 | 0.0083004 | 0.0083109 | 0.0083109 | 0.99256 | 0.0053932 | 0.99255 | 0.0055024 | 3.7777
18 | -1.3235 | -0.57321 | 1.3236 | 0.57278 | 4.5227e-05 | -0.00043587 | 0.042033 | 0.042028 | 0.042033 | 0.99056 | -0.0030906 | 0.9906 | -0.0033153 | 19.106
19 | 0.11183 | 0.047536 | -0.11183 | -0.054026 | 4.7393e-06 | -0.0064898 | 0.0035413 | 0.0036195 | 0.0036195 | 0.99056 | -0.0030906 | 0.99052 | -0.0027737 | 1.6452
20 | 1.2117 | 0.52568 | -1.2112 | -0.53169 | 0.00052167 | -0.00601 | 0.038492 | 0.038564 | 0.038564 | 0.99056 | -0.0030906 | 0.99016 | -0.00019365 | 17.529
21 | -1.4662 | -0.64183 | 1.4664 | 0.64191 | 0.00025163 | 8.1544e-05 | 0.046641 | 0.04664 | 0.046641 | 0.9906 | -0.0033153 | 0.99078 | -0.001759 | 22.2099
22 | 0.11183 | 0.054026 | -0.11183 | -0.054161 | 1.0099e-07 | -0.00013521 | 0.0036195 | 0.0036212 | 0.0036212 | 0.99052 | -0.0027737 | 0.99052 | -0.0027658 | 1.646
23 | 0.20539 | 0.094666 | -0.20539 | -0.096133 | 3.6496e-06 | -0.0014669 | 0.0065934 | 0.0066115 | 0.0066115 | 0.99016 | -0.00019365 | 0.99014 | -5.3082e-05 | 3.0052
24 | 1.0058 | 0.43702 | -1.0053 | -0.44594 | 0.00053132 | -0.0089219 | 0.031972 | 0.032078 | 0.032078 | 0.99016 | -0.00019365 | 0.98966 | 0.0034215 | 14.581
25 | 0.20489 | 0.086683 | -0.20488 | -0.090233 | 8.5946e-06 | -0.0035501 | 0.0064893 | 0.0065304 | 0.0065304 | 0.98966 | 0.0034215 | 0.98962 | 0.0036952 | 2.9684
26 | 0.80037 | 0.35926 | -0.79943 | -0.38392 | 0.00094447 | -0.02466 | 0.02559 | 0.025897 | 0.025897 | 0.98966 | 0.0034215 | 0.98857 | 0.012766 | 11.7713
27 | 0.093858 | 0.036462 | -0.093855 | -0.03667 | 2.7575e-06 | -0.00020785 | 0.0029372 | 0.0029394 | 0.0029394 | 0.98962 | 0.0036952 | 0.98959 | 0.0033492 | 1.3997
28 | 0.15116 | 0.069873 | -0.15114 | -0.070522 | 2.3879e-05 | -0.00064922 | 0.0048552 | 0.0048634 | 0.0048634 | 0.99014 | -5.3082e-05 | 0.98998 | -0.0012589 | 2.3159
29 | -0.088125 | -0.042681 | 0.088125 | 0.04266 | 2.5923e-07 | -2.0738e-05 | 0.0028547 | 0.0028544 | 0.0028547 | 0.99017 | -0.016032 | 0.99018 | -0.016013 | 1.3594
30 | 0.20557 | 0.065582 | -0.20549 | -0.099403 | 8.0529e-05 | -0.033822 | 0.0062909 | 0.0066575 | 0.0066575 | 0.99018 | -0.016013 | 0.9898 | -0.013988 | 3.0262
31 | 0.20549 | 0.099403 | -0.20548 | -0.099521 | 8.3067e-06 | -0.00011779 | 0.0066575 | 0.0066591 | 0.0066591 | 0.9898 | -0.013988 | 0.98976 | -0.014255 | 3.171
32 | 0.15114 | 0.070522 | -0.15114 | -0.073199 | 3.6387e-06 | -0.002677 | 0.0048634 | 0.0048969 | 0.0048969 | 0.98998 | -0.0012589 | 0.98995 | -0.0010577 | 2.2259
33 | 2.8176 | 1.2271 | -2.8166 | -1.229 | 0.00099819 | -0.0019199 | 0.089221 | 0.089246 | 0.089246 | 0.99435 | -0.0075141 | 0.99402 | -0.0051381 | 40.5665
34 | -2.9349 | -1.2839 | 2.9398 | 1.2865 | 0.0048302 | 0.0026549 | 0.093001 | 0.092997 | 0.093001 | 0.99435 | -0.0075141 | 0.9961 | 0.0074188 | 44.2862
35 | 2.8166 | 1.229 | -2.8127 | -1.2365 | 0.0039417 | -0.0075546 | 0.089246 | 0.089348 | 0.089348 | 0.99402 | -0.0051381 | 0.9927 | 0.0043779 | 40.6127
36 | 0.091733 | 0.044318 | -0.091731 | -0.044428 | 1.4454e-06 | -0.00010928 | 0.0029525 | 0.0029539 | 0.0029539 | 0.9961 | 0.0074188 | 0.99609 | 0.0073145 | 1.4066
37 | 0.13073 | 0.062521 | -0.13073 | -0.062741 | 5.9298e-06 | -0.00021964 | 0.0041997 | 0.0042025 | 0.0042025 | 0.9961 | 0.0074188 | 0.99605 | 0.0071075 | 2.0012
38 | -3.1622 | -1.3934 | 3.1662 | 1.3874 | 0.0040103 | -0.0059208 | 0.10014 | 0.10006 | 0.10014 | 0.9961 | 0.0074188 | 0.9973 | -0.0012715 | 45.5204
39 | 2.656 | 1.1607 | -2.656 | -1.1608 | 4.8781e-05 | -0.00010654 | 0.084289 | 0.084291 | 0.084291 | 0.9927 | 0.0043779 | 0.99268 | 0.0045019 | 38.314
40 | 0.15671 | 0.075806 | -0.1567 | -0.075894 | 3.4975e-06 | -8.7905e-05 | 0.0050622 | 0.0050633 | 0.0050633 | 0.9927 | 0.0043779 | 0.99268 | 0.0042304 | 2.4111
41 | 0.13073 | 0.062741 | -0.13073 | -0.063315 | 5.7251e-07 | -0.00057403 | 0.0042025 | 0.0042097 | 0.0042097 | 0.99605 | 0.0071075 | 0.99605 | 0.0071453 | 1.9135
42 | 3.1671 | 1.3861 | -3.1662 | -1.3874 | 0.00087587 | -0.001297 | 0.10004 | 0.10006 | 0.10006 | 0.99756 | -0.0031504 | 0.9973 | -0.0012715 | 45.4827
43 | -3.2559 | -1.4291 | 3.2568 | 1.4278 | 0.00093997 | -0.001302 | 0.1029 | 0.10288 | 0.1029 | 0.99756 | -0.0031504 | 0.99783 | -0.0051206 | 46.7706
44 | -3.2568 | -1.4278 | 3.2588 | 1.4251 | 0.0019759 | -0.0027416 | 0.10288 | 0.10284 | 0.10288 | 0.99783 | -0.0051206 | 0.99841 | -0.0092388 | 46.7622
45 | -3.2588 | -1.4251 | 3.2605 | 1.426 | 0.0017181 | 0.00096758 | 0.10284 | 0.10284 | 0.10284 | 0.99841 | -0.0092388 | 0.99897 | -0.0044467 | 48.9706
46 | -3.3574 | -1.473 | 3.3576 | 1.4727 | 0.00022964 | -0.00029708 | 0.10594 | 0.10594 | 0.10594 | 0.99897 | -0.0044467 | 0.99904 | -0.0049135 | 48.1567
47 | -0.89792 | -0.36965 | 0.89802 | 0.36745 | 9.8259e-05 | -0.0022032 | 0.028051 | 0.028027 | 0.028051 | 0.99929 | -0.0061546 | 0.99939 | -0.0067652 | 12.7505
48 | 0.78932 | 0.31705 | -0.78732 | -0.31801 | 0.002001 | -0.00095573 | 0.024573 | 0.024597 | 0.024597 | 0.99929 | -0.0061546 | 0.99656 | -0.03413 | 11.7126
49 | -0.89802 | -0.36745 | 0.8983 | 0.36738 | 0.00028288 | -6.3924e-05 | 0.028027 | 0.028024 | 0.028027 | 0.99939 | -0.0067652 | 0.99973 | -0.0034062 | 13.3461
50 | 0.78732 | 0.31801 | -0.7872 | -0.32145 | 0.00011871 | -0.0034441 | 0.024597 | 0.024634 | 0.024634 | 0.99656 | -0.03413 | 0.99641 | -0.033318 | 11.1975
51 | 3.3599 | 1.4721 | -3.3586 | -1.4714 | 0.0013084 | 0.00074149 | 0.10592 | 0.10592 | 0.10592 | 0.99973 | -0.0034062 | 0.99932 | -0.0069308 | 50.4391
52 | -4.5434 | -1.9776 | 4.5441 | 1.9756 | 0.00071696 | -0.001966 | 0.14308 | 0.14305 | 0.14308 | 0.99973 | -0.0034062 | 0.99991 | -0.0011887 | 39.5252
53 | 0.13125 | 0.063496 | -0.13125 | -0.063566 | 1.887e-06 | -7.0094e-05 | 0.0042101 | 0.004211 | 0.004211 | 0.99973 | -0.0034062 | 0.99972 | -0.0035012 | 2.0052
54 | -3.3576 | -1.4727 | 3.3586 | 1.4714 | 0.00099457 | -0.0012875 | 0.10594 | 0.10592 | 0.10594 | 0.99904 | -0.0049135 | 0.99932 | -0.0069308 | 48.1548
55 | 0.052221 | 0.021567 | -0.052206 | -0.025284 | 1.5412e-05 | -0.0037179 | 0.0016369 | 0.0016811 | 0.0016811 | 0.99641 | -0.033318 | 0.9961 | -0.03582 | 0.8005
56 | 0.6169 | 0.2427 | -0.61439 | -0.24562 | 0.0025102 | -0.0029237 | 0.019206 | 0.019254 | 0.019254 | 0.99641 | -0.033318 | 0.99204 | -0.079698 | 9.1685
57 | 0.46735 | 0.17441 | -0.46734 | -0.17518 | 9.2848e-06 | -0.00077242 | 0.014516 | 0.014524 | 0.014524 | 0.99204 | -0.079698 | 0.99202 | -0.079621 | 6.6016
58 | -0.093851 | -0.045454 | 0.093851 | 0.044855 | 3.1568e-07 | -0.0005988 | 0.0030421 | 0.0030345 | 0.0030421 | 0.98955 | 0.0036726 | 0.98955 | 0.0036437 | 1.3828
59 | -0.093851 | -0.044855 | 0.093855 | 0.03667 | 4.1648e-06 | -0.0081854 | 0.0030345 | 0.0029394 | 0.0030345 | 0.98955 | 0.0036437 | 0.98959 | 0.0033492 | 1.3793
60 | 0.068883 | 0.030668 | -0.068882 | -0.03325 | 7.1633e-07 | -0.0025819 | 0.0021941 | 0.0022258 | 0.0022258 | 0.99202 | -0.079621 | 0.99201 | -0.079539 | 1.0117
61 | 0.39846 | 0.14451 | -0.39826 | -0.16695 | 0.00019816 | -0.022433 | 0.012334 | 0.012572 | 0.012572 | 0.99202 | -0.079621 | 0.99154 | -0.077289 | 5.7147
62 | 0.068882 | 0.03325 | -0.068881 | -0.033361 | 8.3652e-07 | -0.00011074 | 0.0022258 | 0.0022272 | 0.0022272 | 0.99201 | -0.079539 | 0.992 | -0.079619 | 1.0606
63 | 0.28723 | 0.11322 | -0.28716 | -0.12771 | 6.7898e-05 | -0.014495 | 0.0089885 | 0.009152 | 0.009152 | 0.99154 | -0.077289 | 0.99132 | -0.075874 | 4.16
64 | 0.11103 | 0.053729 | -0.11103 | -0.053774 | 9.0234e-07 | -4.552e-05 | 0.0035911 | 0.0035917 | 0.0035917 | 0.99154 | -0.077289 | 0.99154 | -0.077343 | 1.7103
65 | 0.1564 | 0.065228 | -0.15638 | -0.074616 | 1.33e-05 | -0.0093879 | 0.0049345 | 0.0050461 | 0.0050461 | 0.99132 | -0.075874 | 0.99124 | -0.075263 | 2.2937
66 | 0.13077 | 0.062484 | -0.13077 | -0.063333 | 8.6264e-07 | -0.00084881 | 0.0042204 | 0.0042311 | 0.0042311 | 0.99132 | -0.075874 | 0.99131 | -0.075818 | 1.9232
67 | 0.10118 | 0.047967 | -0.10118 | -0.048332 | 5.9712e-06 | -0.00036537 | 0.0032611 | 0.0032657 | 0.0032657 | 0.99124 | -0.075263 | 0.99118 | -0.075678 | 1.5551
68 | 0.055199 | 0.02665 | -0.055198 | -0.026734 | 4.0953e-07 | -8.4304e-05 | 0.0017851 | 0.0017862 | 0.0017862 | 0.99124 | -0.075263 | 0.99123 | -0.075312 | 0.85055
69 | 0.10118 | 0.048332 | -0.10118 | -0.049003 | 4.0817e-07 | -0.00067062 | 0.0032657 | 0.0032742 | 0.0032742 | 0.99118 | -0.075678 | 0.99118 | -0.075643 | 1.4883
70 | 0.11034 | 0.053407 | -0.11034 | -0.053438 | 6.1355e-07 | -3.1474e-05 | 0.0035652 | 0.0035656 | 0.0035656 | 0.99255 | 0.0055024 | 0.99254 | 0.0054657 | 1.6979
71 | -4.5441 | -1.9756 | 4.5445 | 1.9746 | 0.00038375 | -0.0010531 | 0.14305 | 0.14304 | 0.14305 | 0.99991 | -0.0011887 | 1 | 0 | 39.5173
72 | 0.1034 | 0.049018 | -0.1034 | -0.05008 | 6.507e-07 | -0.001062 | 0.0033034 | 0.0033166 | 0.0033166 | 1 | 0 | 0.99999 | 5.353e-05 | 1.5076

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 4.6619 | 2.0341

## res_load
| p_mw | q_mvar
0 | 0.10036 | 0.048608
1 | 0.36314 | 0.17588
2 | 0.070397 | 0.034095
3 | 0.20791 | 0.1007
4 | 0.056319 | 0.027277
5 | 0.074627 | 0.036144
6 | 0.16477 | 0.079803
7 | 0.14258 | 0.069053
8 | 0.11102 | 0.053771
9 | 0.054221 | 0.02626
10 | 0.11183 | 0.054161
11 | 0.088125 | 0.042681
12 | 0.10549 | 0.05109
13 | 0.20548 | 0.099521
14 | 0.15912 | 0.077064
15 | 0.15114 | 0.073199
16 | 0.11729 | 0.056806
17 | 0.13053 | 0.063217
18 | 0.1567 | 0.075894
19 | 0.13073 | 0.063315
20 | 0.088744 | 0.042981
21 | 0.091731 | 0.044428
22 | 0.096857 | 0.04691
23 | 0.1086 | 0.052598
24 | 0.154 | 0.074583
25 | 0.11808 | 0.057188
26 | 0.052206 | 0.025284
27 | 0.14704 | 0.071214
28 | 0.093851 | 0.045454
29 | 0.068881 | 0.033361
30 | 0.11103 | 0.053774
31 | 0.13077 | 0.063333
32 | 0.055198 | 0.026734
33 | 0.10118 | 0.049003
34 | 0.14685 | 0.071124
35 | 0.11034 | 0.053438
36 | 0.1034 | 0.05008
37 | 0.13125 | 0.063566

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1