## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_374_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_374_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_374_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_374_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_374_0_node_108 | 20 | n |  | TRUE
5 | bus_MV_374_0_node_107 | 20 | n |  | TRUE
6 | bus_MV_374_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_374_0_node_99 | 20 | n |  | TRUE
8 | bus_MV_374_0_node_39 | 20 | n |  | TRUE
9 | bus_MV_374_0_node_98 | 20 | n |  | TRUE
10 | bus_MV_374_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_374_0_node_6 | 20 | n |  | TRUE
12 | bus_MV_374_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_374_0_node_7 | 20 | n |  | TRUE
14 | bus_MV_374_0_node_114 | 20 | n |  | TRUE
15 | bus_MV_374_0_node_115 | 20 | n |  | TRUE
16 | bus_MV_374_0_node_173 | 20 | n |  | TRUE
17 | bus_MV_374_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_374_0_node_10 | 20 | n |  | TRUE
19 | bus_MV_374_0_node_171 | 20 | n |  | TRUE
20 | bus_MV_374_0_node_11 | 20 | n |  | TRUE
21 | bus_MV_374_0_node_13 | 20 | n |  | TRUE
22 | bus_MV_374_0_node_15 | 20 | n |  | TRUE
23 | bus_MV_374_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_374_0_node_36 | 20 | n |  | TRUE
25 | bus_MV_374_0_node_14 | 20 | n |  | TRUE
26 | bus_MV_374_0_node_30 | 20 | n |  | TRUE
27 | bus_MV_374_0_node_174 | 20 | n |  | TRUE
28 | bus_MV_374_0_node_17 | 20 | n |  | TRUE
29 | bus_MV_374_0_node_18 | 20 | n |  | TRUE
30 | bus_MV_374_0_node_125 | 20 | n |  | TRUE
31 | bus_MV_374_0_node_117 | 20 | n |  | TRUE
32 | bus_MV_374_0_node_19 | 20 | n |  | TRUE
33 | bus_MV_374_0_node_20 | 20 | n |  | TRUE
34 | bus_MV_374_0_node_21 | 20 | n |  | TRUE
35 | bus_MV_374_0_node_22 | 20 | n |  | TRUE
36 | bus_MV_374_0_node_24 | 20 | n |  | TRUE
37 | bus_MV_374_0_node_25 | 20 | n |  | TRUE
38 | bus_MV_374_0_node_27 | 20 | n |  | TRUE
39 | bus_MV_374_0_node_28 | 20 | n |  | TRUE
40 | bus_MV_374_0_node_29 | 20 | n |  | TRUE
41 | bus_MV_374_0_node_96 | 20 | n |  | TRUE
42 | bus_MV_374_0_node_123 | 20 | n |  | TRUE
43 | bus_MV_374_0_node_31 | 20 | n |  | TRUE
44 | bus_MV_374_0_node_32 | 20 | n |  | TRUE
45 | bus_MV_374_0_node_34 | 20 | n |  | TRUE
46 | bus_MV_374_0_node_35 | 20 | n |  | TRUE
47 | bus_MV_374_0_node_33 | 20 | n |  | TRUE
48 | bus_MV_374_0_node_37 | 20 | n |  | TRUE
49 | bus_MV_374_0_node_164 | 20 | n |  | TRUE
50 | bus_MV_374_0_node_38 | 20 | n |  | TRUE
51 | bus_MV_374_0_node_40 | 20 | n |  | TRUE
52 | bus_MV_374_0_node_163 | 20 | n |  | TRUE
53 | bus_MV_374_0_node_69 | 20 | n |  | TRUE
54 | bus_MV_374_0_node_41 | 20 | n |  | TRUE
55 | bus_MV_374_0_node_42 | 20 | n |  | TRUE
56 | bus_MV_374_0_node_162 | 20 | n |  | TRUE
57 | bus_MV_374_0_node_43 | 20 | n |  | TRUE
58 | bus_MV_374_0_node_110 | 20 | n |  | TRUE
59 | bus_MV_374_0_node_45 | 20 | n |  | TRUE
60 | bus_MV_374_0_node_46 | 20 | n |  | TRUE
61 | bus_MV_374_0_node_47 | 20 | n |  | TRUE
62 | bus_MV_374_0_node_127 | 20 | n |  | TRUE
63 | bus_MV_374_0_node_172 | 20 | n |  | TRUE
64 | bus_MV_374_0_node_70 | 20 | n |  | TRUE
65 | bus_MV_374_0_node_71 | 20 | n |  | TRUE
66 | bus_MV_374_0_node_142 | 20 | n |  | TRUE
67 | bus_MV_374_0_node_97 | 20 | n |  | TRUE
68 | bus_MV_374_0_node_109 | 20 | n |  | TRUE
69 | bus_MV_374_0_node_111 | 20 | n |  | TRUE
70 | bus_MV_374_0_node_112 | 20 | n |  | TRUE
71 | bus_MV_374_0_node_116 | 20 | n |  | TRUE
72 | bus_MV_374_0_node_113 | 20 | n |  | TRUE
73 | bus_MV_374_0_node_118 | 20 | n |  | TRUE
74 | bus_MV_374_0_node_143 | 20 | n |  | TRUE
75 | bus_MV_374_0_node_124 | 20 | n |  | TRUE
76 | bus_MV_374_0_node_126 | 20 | n |  | TRUE
77 | bus_MV_374_0_node_144 | 20 | n |  | TRUE
78 | bus_MV_374_0_node_147 | 20 | n |  | TRUE
79 | bus_MV_374_0_node_145 | 20 | n |  | TRUE
80 | bus_MV_374_0_node_146 | 20 | n |  | TRUE
81 | bus_MV_374_0_node_170 | 20 | n |  | TRUE
82 | bus_HV_374_0_node_18 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_374_0_load_0 | 0 | 0.20216 | 0.097908 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_374_0_load_107 | 5 | 0.1045 | 0.050613 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_374_0_load_99 | 7 | 0.11553 | 0.055952 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_374_0_load_98 | 9 | 0.11461 | 0.055509 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_374_0_load_5 | 10 | 0.18943 | 0.091747 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_374_0_load_115 | 15 | 0.13129 | 0.063589 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_374_0_load_173 | 16 | 0.23864 | 0.11558 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_374_0_load_9 | 17 | 0.13702 | 0.066363 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_374_0_load_15 | 22 | 0.25648 | 0.12422 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_374_0_load_36 | 24 | 0.27386 | 0.13264 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_374_0_load_14 | 25 | 0.062287 | 0.030167 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_374_0_load_30 | 26 | 0.3262 | 0.15798 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_374_0_load_174 | 27 | 0.2632 | 0.12747 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_374_0_load_17 | 28 | 0.10235 | 0.04957 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_374_0_load_117 | 31 | 0.076157 | 0.036885 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_374_0_load_19 | 32 | 0.33271 | 0.16114 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_374_0_load_27 | 38 | 0.26717 | 0.1294 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_374_0_load_28 | 39 | 0.11526 | 0.055822 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_374_0_load_29 | 40 | 0.30922 | 0.14976 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_374_0_load_123 | 42 | 0.10041 | 0.048632 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_374_0_load_35 | 46 | 0.11142 | 0.053962 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_374_0_load_37 | 48 | 0.358 | 0.17339 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_374_0_load_164 | 49 | 0.31499 | 0.15256 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_374_0_load_38 | 50 | 0.12881 | 0.062387 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_374_0_load_163 | 52 | 0.1145 | 0.055456 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_374_0_load_69 | 53 | 0.26785 | 0.12973 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_374_0_load_41 | 54 | 0.36179 | 0.17522 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_374_0_load_162 | 56 | 0.2959 | 0.14331 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_374_0_load_43 | 57 | 0.051405 | 0.024896 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_374_0_load_45 | 59 | 0.36789 | 0.17818 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_374_0_load_172 | 63 | 0.34696 | 0.16804 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_374_0_load_142 | 66 | 0.087751 | 0.0425 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_374_0_load_97 | 67 | 0.16045 | 0.077709 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_374_0_load_109 | 68 | 0.16731 | 0.081032 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_374_0_load_112 | 70 | 0.31225 | 0.15123 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_374_0_load_116 | 71 | 0.37971 | 0.1839 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_374_0_load_113 | 72 | 1.2359 | 0.59858 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_374_0_load_124 | 75 | 0.070698 | 0.034241 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_374_0_load_126 | 76 | 0.10979 | 0.053173 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_374_0_load_147 | 78 | 0.078517 | 0.038027 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_374_0_load_145 | 79 | 0.34819 | 0.16863 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_374_0_load_146 | 80 | 0.37996 | 0.18402 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_374_0_load_170 | 81 | 0.26112 | 0.12647 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_374_0_line_0 |  | 0 | 1 | 0.077525 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
1 | MV_374_0_line_1 |  | 1 | 2 | 0.12963 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
2 | MV_374_0_line_2 |  | 1 | 3 | 0.96676 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_374_0_line_3 |  | 2 | 4 | 0.010704 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_374_0_line_4 |  | 2 | 5 | 0.08396 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
5 | MV_374_0_line_5 |  | 3 | 6 | 0.45661 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_374_0_line_6 |  | 3 | 7 | 0.038842 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
7 | MV_374_0_line_7 |  | 4 | 68 | 0.071415 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_374_0_line_8 |  | 4 | 58 | 0.15226 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_374_0_line_9 |  | 6 | 8 | 0.47628 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_374_0_line_10 |  | 6 | 9 | 0.004501 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
11 | MV_374_0_line_11 |  | 8 | 51 | 0.28565 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
12 | MV_374_0_line_12 |  | 8 | 50 | 0.062605 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
13 | MV_374_0_line_13 |  | 10 | 11 | 0.079541 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
14 | MV_374_0_line_14 |  | 11 | 12 | 0.45562 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_374_0_line_15 |  | 12 | 16 | 0.004811 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_374_0_line_16 |  | 12 | 13 | 0.65448 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_374_0_line_17 |  | 13 | 14 | 1.3193 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_374_0_line_18 |  | 13 | 15 | 0.077398 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_374_0_line_19 |  | 14 | 72 | 0.12234 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_374_0_line_20 |  | 15 | 69 | 0.054881 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_374_0_line_21 |  | 17 | 18 | 0.045737 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_374_0_line_22 |  | 17 | 19 | 1.0194 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
23 | MV_374_0_line_23 |  | 18 | 20 | 0.2319 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_374_0_line_24 |  | 19 | 25 | 2.1225 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
25 | MV_374_0_line_25 |  | 19 | 81 | 0.025365 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_374_0_line_26 |  | 20 | 21 | 1.2141 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_374_0_line_27 |  | 20 | 22 | 0.056729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_374_0_line_28 |  | 21 | 23 | 0.30747 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_374_0_line_29 |  | 21 | 24 | 0.039448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_374_0_line_30 |  | 23 | 27 | 0.030257 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_374_0_line_31 |  | 25 | 26 | 2.1642 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
32 | MV_374_0_line_32 |  | 26 | 43 | 0.017505 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_374_0_line_33 |  | 27 | 37 | 0.69716 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
34 | MV_374_0_line_34 |  | 28 | 29 | 0.15843 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_374_0_line_35 |  | 28 | 30 | 0.33257 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
36 | MV_374_0_line_36 |  | 28 | 31 | 1.0052 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
37 | MV_374_0_line_37 |  | 30 | 39 | 0.080328 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
38 | MV_374_0_line_38 |  | 30 | 75 | 0.037091 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_374_0_line_39 |  | 31 | 73 | 0.05412 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_374_0_line_40 |  | 32 | 33 | 0.010518 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_374_0_line_41 |  | 32 | 34 | 0.051471 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_374_0_line_42 |  | 33 | 35 | 0.056076 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_374_0_line_43 |  | 33 | 36 | 1.1508 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_374_0_line_44 |  | 34 | 37 | 0.27914 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
45 | MV_374_0_line_45 |  | 35 | 38 | 0.023662 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_374_0_line_46 |  | 35 | 39 | 0.1329 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_374_0_line_47 |  | 36 | 40 | 0.049319 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_374_0_line_48 |  | 36 | 41 | 0.42407 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
49 | MV_374_0_line_49 |  | 37 | 42 | 0.077576 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_374_0_line_50 |  | 41 | 67 | 0.034863 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_374_0_line_51 |  | 43 | 44 | 0.16523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_374_0_line_52 |  | 43 | 45 | 0.58279 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_374_0_line_53 |  | 44 | 46 | 0.060296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_374_0_line_54 |  | 45 | 49 | 0.011483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_374_0_line_55 |  | 45 | 47 | 0.75251 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_374_0_line_56 |  | 47 | 48 | 0.027377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_374_0_line_57 |  | 51 | 52 | 0.062294 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
58 | MV_374_0_line_58 |  | 51 | 53 | 0.86828 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
59 | MV_374_0_line_59 |  | 53 | 64 | 0.016889 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_374_0_line_60 |  | 53 | 61 | 2.1617 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
61 | MV_374_0_line_61 |  | 54 | 55 | 0.028422 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
62 | MV_374_0_line_62 |  | 54 | 56 | 1.9343 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
63 | MV_374_0_line_63 |  | 55 | 57 | 1.3708 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
64 | MV_374_0_line_64 |  | 55 | 58 | 1.4998 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
65 | MV_374_0_line_65 |  | 58 | 69 | 1.1461 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_374_0_line_66 |  | 58 | 70 | 0.090506 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
67 | MV_374_0_line_67 |  | 59 | 60 | 0.00441 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_374_0_line_68 |  | 60 | 61 | 0.89223 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
69 | MV_374_0_line_69 |  | 61 | 62 | 0.14435 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_374_0_line_70 |  | 61 | 63 | 0.025348 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
71 | MV_374_0_line_71 |  | 62 | 76 | 0.015185 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
72 | MV_374_0_line_72 |  | 64 | 65 | 0.034545 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
73 | MV_374_0_line_73 |  | 65 | 66 | 0.069822 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
74 | MV_374_0_line_74 |  | 66 | 74 | 0.098016 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
75 | MV_374_0_line_75 |  | 69 | 71 | 0.11235 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
76 | MV_374_0_line_76 |  | 73 | 74 | 0.71545 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
77 | MV_374_0_line_77 |  | 74 | 77 | 0.21916 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
78 | MV_374_0_line_78 |  | 77 | 78 | 0.0092032 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
79 | MV_374_0_line_79 |  | 78 | 79 | 0.018229 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
80 | MV_374_0_line_80 |  | 79 | 80 | 0.0006163 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_374_0_trafo_18 | 25 MVA 110/20 kV | 82 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2705288.7941 | 1269508.3361
1 | 2705211.2752 | 1269507.3543
2 | 2705160.4309 | 1269549.3964
3 | 2705856.9905 | 1269645.4856
4 | 2705149.7107 | 1269549.9728
5 | 2705158.5456 | 1269465.4577
6 | 2706280.2252 | 1269547.7551
7 | 2705880.4208 | 1269676.4656
8 | 2706727.9829 | 1269430.3584
9 | 2706281.3131 | 1269552.1229
10 | 2704422.2229 | 1268635.4406
11 | 2704494.4301 | 1268668.8012
12 | 2704317.9211 | 1268954.1937
13 | 2704455.4022 | 1269265.9902
14 | 2705402.9551 | 1269233.4235
15 | 2704496.9746 | 1269331.2753
16 | 2704318.6123 | 1268958.9544
17 | 2704843.2577 | 1267307.7818
18 | 2704874.8603 | 1267337.301
19 | 2704428.0283 | 1266376.8273
20 | 2705002.5446 | 1267409.3741
21 | 2705610.6129 | 1267053.9377
22 | 2705051.6057 | 1267436.2374
23 | 2705806.692 | 1267130.6435
24 | 2705572.4523 | 1267043.9405
25 | 2705364.7526 | 1264472.199
26 | 2706526.9699 | 1266297.8791
27 | 2705831.1742 | 1267112.7666
28 | 2706553.2421 | 1268224.5404
29 | 2706423.9889 | 1268226.8688
30 | 2706571.4762 | 1267892.4721
31 | 2707557.6576 | 1268263.0287
32 | 2706651.0009 | 1267634.7735
33 | 2706660.8658 | 1267638.4217
34 | 2706602.7251 | 1267616.9208
35 | 2706642.2477 | 1267691.3312
36 | 2707487.4223 | 1267756.3765
37 | 2706404.308 | 1267509.6974
38 | 2706664.6474 | 1267699.1533
39 | 2706598.1373 | 1267816.6979
40 | 2707443.4729 | 1267734.2804
41 | 2707891.8516 | 1267883.9341
42 | 2706470.1525 | 1267520.8078
43 | 2706530.9026 | 1266314.8979
44 | 2706687.9048 | 1266363.7156
45 | 2706238.3916 | 1266593.1493
46 | 2706726.3894 | 1266317.2261
47 | 2705833.9175 | 1266787.0036
48 | 2705807.8184 | 1266795.4436
49 | 2706246.3906 | 1266601.4112
50 | 2706763.009 | 1269378.4685
51 | 2706991.9796 | 1269369.0912
52 | 2706986.4805 | 1269430.8118
53 | 2707818.8745 | 1269104.2265
54 | 2704766.0211 | 1271068.5789
55 | 2704746.0092 | 1271048.4954
56 | 2705226.0251 | 1272947.3471
57 | 2703484.4435 | 1271584.7763
58 | 2705045.9861 | 1269579.0082
59 | 2707892.3668 | 1271311.7387
60 | 2707893.8256 | 1271315.9023
61 | 2707414.3059 | 1271227.7517
62 | 2707328.9316 | 1271237.4971
63 | 2707390.8294 | 1271237.3109
64 | 2707827.0031 | 1269089.4175
65 | 2707850.744 | 1269084.8468
66 | 2707857.1772 | 1269015.3214
67 | 2707862.9596 | 1267864.4232
68 | 2705147.9178 | 1269478.5801
69 | 2704526.3888 | 1269377.6082
70 | 2705024.463 | 1269491.0984
71 | 2704466.1321 | 1269472.4351
72 | 2705398.1519 | 1269355.4178
73 | 2707609.1568 | 1268279.5663
74 | 2707804.7697 | 1268967.7506
75 | 2706535.5128 | 1267883.3957
76 | 2707328.7805 | 1271222.3125
77 | 2707868.4146 | 1268951.1199
78 | 2707877.5984 | 1268951.7151
79 | 2707895.7797 | 1268952.9749
80 | 2707896.3941 | 1268953.0231
81 | 2704402.6381 | 1266378.4246
82 | 2706423.9889 | 1268226.8688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98746 | -0.59195 | 0.20216 | 0.097908
1 | 0.98748 | -0.59142 | 0 | 0
2 | 0.98733 | -0.59249 | 0 | 0
3 | 0.98861 | -0.58274 | 0 | 0
4 | 0.98732 | -0.59257 | 0 | 0
5 | 0.98733 | -0.5925 | 0.1045 | 0.050613
6 | 0.98916 | -0.57829 | 0 | 0
7 | 0.98861 | -0.5829 | 0.11553 | 0.055952
8 | 0.98976 | -0.57338 | 0 | 0
9 | 0.98916 | -0.57829 | 0.11461 | 0.055509
10 | 0.98617 | -0.60229 | 0.18943 | 0.091747
11 | 0.98618 | -0.60178 | 0 | 0
12 | 0.98621 | -0.60158 | 0 | 0
13 | 0.9863 | -0.60077 | 0 | 0
14 | 0.98577 | -0.60367 | 0 | 0
15 | 0.98634 | -0.60043 | 0.13129 | 0.063589
16 | 0.98621 | -0.60158 | 0.23864 | 0.11558
17 | 0.99605 | -0.12841 | 0.13702 | 0.066363
18 | 0.99608 | -0.12827 | 0 | 0
19 | 0.9951 | -0.18518 | 0 | 0
20 | 0.99619 | -0.12756 | 0 | 0
21 | 0.9969 | -0.12266 | 0 | 0
22 | 0.99617 | -0.12739 | 0.25648 | 0.12422
23 | 0.99711 | -0.12109 | 0 | 0
24 | 0.99689 | -0.12253 | 0.27386 | 0.13264
25 | 0.99351 | -0.2825 | 0.062287 | 0.030167
26 | 0.99197 | -0.3768 | 0.3262 | 0.15798
27 | 0.99713 | -0.12093 | 0.2632 | 0.12747
28 | 0.99949 | -0.0036341 | 0.10235 | 0.04957
29 | 1 | 0 | -10.1031 | -4.1328
30 | 0.99872 | -0.05205 | 0 | 0
31 | 0.99556 | -0.24875 | 0.076157 | 0.036885
32 | 0.99842 | -0.054394 | 0.33271 | 0.16114
33 | 0.99842 | -0.054327 | 0 | 0
34 | 0.99837 | -0.0547 | 0 | 0
35 | 0.99848 | -0.053876 | 0 | 0
36 | 0.99825 | -0.055634 | 0 | 0
37 | 0.99816 | -0.056316 | 0 | 0
38 | 0.99848 | -0.053883 | 0.26717 | 0.1294
39 | 0.99863 | -0.052749 | 0.11526 | 0.055822
40 | 0.99825 | -0.055653 | 0.30922 | 0.14976
41 | 0.99817 | -0.057613 | 0 | 0
42 | 0.99815 | -0.056227 | 0.10041 | 0.048632
43 | 0.99196 | -0.37683 | 0 | 0
44 | 0.99194 | -0.37664 | 0 | 0
45 | 0.99184 | -0.37768 | 0 | 0
46 | 0.99193 | -0.37656 | 0.11142 | 0.053962
47 | 0.99169 | -0.37945 | 0 | 0
48 | 0.99168 | -0.37933 | 0.358 | 0.17339
49 | 0.99183 | -0.37764 | 0.31499 | 0.15256
50 | 0.98975 | -0.57365 | 0.12881 | 0.062387
51 | 0.99012 | -0.57029 | 0 | 0
52 | 0.99012 | -0.5703 | 0.1145 | 0.055456
53 | 0.99233 | -0.426 | 0.26785 | 0.12973
54 | 0.98643 | -0.63499 | 0.36179 | 0.17522
55 | 0.98644 | -0.63497 | 0 | 0
56 | 0.98584 | -0.65437 | 0.2959 | 0.14331
57 | 0.98639 | -0.63771 | 0.051405 | 0.024896
58 | 0.98717 | -0.59374 | 0 | 0
59 | 0.99111 | -0.49737 | 0.36789 | 0.17818
60 | 0.99111 | -0.49737 | 0 | 0
61 | 0.99121 | -0.49661 | 0 | 0
62 | 0.99121 | -0.49664 | 0 | 0
63 | 0.99121 | -0.4969 | 0.34696 | 0.16804
64 | 0.99236 | -0.42577 | 0 | 0
65 | 0.99242 | -0.42531 | 0 | 0
66 | 0.99253 | -0.42438 | 0.087751 | 0.0425
67 | 0.99816 | -0.057681 | 0.16045 | 0.077709
68 | 0.98732 | -0.59259 | 0.16731 | 0.081032
69 | 0.98637 | -0.60018 | 0 | 0
70 | 0.98716 | -0.59377 | 0.31225 | 0.15123
71 | 0.98633 | -0.60161 | 0.37971 | 0.1839
72 | 0.98572 | -0.60386 | 1.2359 | 0.59858
73 | 0.99545 | -0.24953 | 0 | 0
74 | 0.9927 | -0.42306 | 0 | 0
75 | 0.99872 | -0.052054 | 0.070698 | 0.034241
76 | 0.99121 | -0.49664 | 0.10979 | 0.053173
77 | 0.99264 | -0.4233 | 0 | 0
78 | 0.99264 | -0.42331 | 0.078517 | 0.038027
79 | 0.99263 | -0.42332 | 0.34819 | 0.16863
80 | 0.99263 | -0.42332 | 0.37996 | 0.18402
81 | 0.9951 | -0.18519 | 0.26112 | 0.12647
82 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.20216 | -0.097908 | 0.20216 | 0.097814 | 2.3823e-06 | -9.4396e-05 | 0.0065665 | 0.0065652 | 0.0065665 | 0.98746 | -0.59195 | 0.98748 | -0.59142 | 1.6016
1 | 3.4721 | 1.407 | -3.4716 | -1.4147 | 0.00048082 | -0.0076701 | 0.10952 | 0.10961 | 0.10961 | 0.98748 | -0.59142 | 0.98733 | -0.59249 | 17.1797
2 | -3.6743 | -1.5048 | 3.6783 | 1.4478 | 0.0040021 | -0.057046 | 0.11607 | 0.11543 | 0.11607 | 0.98748 | -0.59142 | 0.98861 | -0.58274 | 18.1929
3 | 3.3671 | 1.3692 | -3.3671 | -1.3698 | 3.7359e-05 | -0.00063458 | 0.10628 | 0.10628 | 0.10628 | 0.98733 | -0.59249 | 0.98732 | -0.59257 | 16.6587
4 | 0.1045 | 0.045471 | -0.1045 | -0.050613 | 2.9339e-07 | -0.0051424 | 0.0033322 | 0.003395 | 0.003395 | 0.98733 | -0.59249 | 0.98733 | -0.5925 | 0.53213
5 | -3.7938 | -1.5037 | 3.7958 | 1.4767 | 0.0019984 | -0.02693 | 0.11916 | 0.11886 | 0.11916 | 0.98861 | -0.58274 | 0.98916 | -0.57829 | 18.6775
6 | 0.11553 | 0.055903 | -0.11553 | -0.055952 | 3.8891e-07 | -4.8574e-05 | 0.0037476 | 0.0037482 | 0.0037482 | 0.98861 | -0.58274 | 0.98861 | -0.5829 | 0.91419
7 | 0.16731 | 0.076658 | -0.16731 | -0.081032 | 6.4535e-07 | -0.0043737 | 0.0053809 | 0.0054354 | 0.0054354 | 0.98732 | -0.59257 | 0.98732 | -0.59259 | 0.85194
8 | 3.1998 | 1.2932 | -3.1993 | -1.3022 | 0.00047955 | -0.0090544 | 0.10091 | 0.10101 | 0.10101 | 0.98732 | -0.59257 | 0.98717 | -0.59374 | 15.8322
9 | -3.9104 | -1.532 | 3.9126 | 1.5039 | 0.0022052 | -0.028056 | 0.12257 | 0.12226 | 0.12257 | 0.98916 | -0.57829 | 0.98976 | -0.57338 | 19.2108
10 | 0.11461 | 0.055233 | -0.11461 | -0.055509 | 1.9092e-08 | -0.0002767 | 0.003713 | 0.0037165 | 0.0037165 | 0.98916 | -0.57829 | 0.98916 | -0.57829 | 0.58252
11 | -4.0414 | -1.5662 | 4.0428 | 1.5494 | 0.0014085 | -0.016796 | 0.12642 | 0.12623 | 0.12642 | 0.98976 | -0.57338 | 0.99012 | -0.57029 | 19.8143
12 | 0.12881 | 0.062309 | -0.12881 | -0.062387 | 7.7746e-07 | -7.8254e-05 | 0.0041735 | 0.0041745 | 0.0041745 | 0.98976 | -0.57338 | 0.98975 | -0.57365 | 1.0182
13 | -0.18943 | -0.091747 | 0.18944 | 0.09165 | 2.1519e-06 | -9.7011e-05 | 0.0061613 | 0.0061601 | 0.0061613 | 0.98617 | -0.60229 | 0.98618 | -0.60178 | 1.5028
14 | -0.18944 | -0.09165 | 0.18944 | 0.063811 | 5.0579e-06 | -0.02784 | 0.0061601 | 0.0058513 | 0.0061601 | 0.98618 | -0.60178 | 0.98621 | -0.60158 | 0.96553
15 | 0.23864 | 0.11529 | -0.23864 | -0.11558 | 8.9412e-08 | -0.00029395 | 0.0077577 | 0.0077614 | 0.0077614 | 0.98621 | -0.60158 | 0.98621 | -0.60158 | 1.2165
16 | -0.42808 | -0.1791 | 0.42812 | 0.13912 | 3.614e-05 | -0.039979 | 0.013583 | 0.013175 | 0.013583 | 0.98621 | -0.60158 | 0.9863 | -0.60077 | 2.129
17 | 1.2366 | 0.51091 | -1.236 | -0.59114 | 0.00064013 | -0.080232 | 0.039161 | 0.040121 | 0.040121 | 0.9863 | -0.60077 | 0.98577 | -0.60367 | 6.2886
18 | -1.6647 | -0.65003 | 1.6648 | 0.64533 | 6.5372e-05 | -0.0046941 | 0.052307 | 0.052257 | 0.052307 | 0.9863 | -0.60077 | 0.98634 | -0.60043 | 8.1986
19 | 1.236 | 0.59114 | -1.2359 | -0.59858 | 6.0998e-05 | -0.0074351 | 0.040121 | 0.040216 | 0.040216 | 0.98577 | -0.60367 | 0.98572 | -0.60386 | 6.3035
20 | -1.7961 | -0.70892 | 1.7961 | 0.7056 | 5.4126e-05 | -0.0033243 | 0.056513 | 0.056477 | 0.056513 | 0.98634 | -0.60043 | 0.98637 | -0.60018 | 8.8579
21 | -1.5739 | -0.69081 | 1.574 | 0.68797 | 3.5048e-05 | -0.0028314 | 0.049815 | 0.049782 | 0.049815 | 0.99605 | -0.12841 | 0.99608 | -0.12827 | 7.8081
22 | 1.4369 | 0.62444 | -1.4361 | -0.62382 | 0.00075055 | 0.00062167 | 0.045406 | 0.045422 | 0.045422 | 0.99605 | -0.12841 | 0.9951 | -0.18518 | 7.0422
23 | -1.574 | -0.68797 | 1.5741 | 0.67362 | 0.00017699 | -0.014359 | 0.049782 | 0.049616 | 0.049782 | 0.99608 | -0.12827 | 0.99619 | -0.12756 | 7.8029
24 | 1.175 | 0.49893 | -1.174 | -0.49904 | 0.0010401 | -0.00010375 | 0.037032 | 0.037065 | 0.037065 | 0.9951 | -0.18518 | 0.99351 | -0.2825 | 5.7466
25 | 0.26112 | 0.12489 | -0.26112 | -0.12647 | 5.5391e-07 | -0.0015778 | 0.0083968 | 0.0084167 | 0.0084167 | 0.9951 | -0.18518 | 0.9951 | -0.18519 | 1.3192
26 | -1.8306 | -0.79649 | 1.8318 | 0.72143 | 0.001237 | -0.07506 | 0.057851 | 0.057011 | 0.057851 | 0.99619 | -0.12756 | 0.9969 | -0.12266 | 9.0675
27 | 0.25648 | 0.12288 | -0.25648 | -0.12422 | 5.1541e-06 | -0.0013426 | 0.0082412 | 0.0082581 | 0.0082581 | 0.99619 | -0.12756 | 0.99617 | -0.12739 | 3.7537
28 | -2.1057 | -0.85313 | 2.1061 | 0.83416 | 0.00040993 | -0.018972 | 0.06579 | 0.065583 | 0.06579 | 0.9969 | -0.12266 | 0.99711 | -0.12109 | 10.3119
29 | 0.27386 | 0.1317 | -0.27386 | -0.13264 | 4.0834e-06 | -0.00093482 | 0.0087997 | 0.0088114 | 0.0088114 | 0.9969 | -0.12266 | 0.99689 | -0.12253 | 4.0052
30 | -2.1061 | -0.83416 | 2.1062 | 0.83229 | 4.0201e-05 | -0.0018675 | 0.065583 | 0.065563 | 0.065583 | 0.99711 | -0.12109 | 0.99713 | -0.12093 | 10.2795
31 | 1.1117 | 0.46887 | -1.1107 | -0.46926 | 0.00095046 | -0.00039244 | 0.035057 | 0.03509 | 0.03509 | 0.99351 | -0.2825 | 0.99197 | -0.3768 | 5.4404
32 | 0.78455 | 0.31128 | -0.78454 | -0.31236 | 3.265e-06 | -0.0010804 | 0.024563 | 0.024574 | 0.024574 | 0.99197 | -0.3768 | 0.99196 | -0.37683 | 3.8518
33 | -2.3694 | -0.95976 | 2.3707 | 0.96247 | 0.001363 | 0.0027061 | 0.074009 | 0.073998 | 0.074009 | 0.99713 | -0.12093 | 0.99816 | -0.056316 | 11.4742
34 | -10.0842 | -4.1295 | 10.0891 | 4.1223 | 0.0048475 | -0.0072198 | 0.31473 | 0.31462 | 0.31473 | 0.99949 | -0.0036341 | 1 | 0 | 49.3304
35 | 3.73 | 1.5044 | -3.7284 | -1.5005 | 0.0016021 | 0.0038493 | 0.11616 | 0.11617 | 0.11617 | 0.99949 | -0.0036341 | 0.99872 | -0.05205 | 18.0103
36 | 6.2519 | 2.5755 | -6.2382 | -2.5401 | 0.013687 | 0.035422 | 0.19529 | 0.19531 | 0.19531 | 0.99949 | -0.0036341 | 0.99556 | -0.24875 | 30.2799
37 | 3.6577 | 1.4686 | -3.6573 | -1.4735 | 0.00032232 | -0.0048523 | 0.11393 | 0.11398 | 0.11398 | 0.99872 | -0.05205 | 0.99863 | -0.052749 | 17.8653
38 | 0.070698 | 0.031916 | -0.070698 | -0.034241 | 5.8329e-08 | -0.0023245 | 0.0022421 | 0.0022705 | 0.0022705 | 0.99872 | -0.05205 | 0.99872 | -0.052054 | 0.35588
39 | 6.162 | 2.5032 | -6.1614 | -2.5063 | 0.00062212 | -0.0030197 | 0.19286 | 0.19289 | 0.19289 | 0.99556 | -0.24875 | 0.99545 | -0.24953 | 30.2341
40 | -2.8045 | -1.15 | 2.8045 | 1.1494 | 2.496e-05 | -0.00064471 | 0.087639 | 0.087632 | 0.087639 | 0.99842 | -0.054394 | 0.99842 | -0.054327 | 13.7365
41 | 2.4717 | 0.9889 | -2.4716 | -0.99207 | 9.4276e-05 | -0.0031706 | 0.076974 | 0.077008 | 0.077008 | 0.99842 | -0.054394 | 0.99837 | -0.0547 | 12.0703
42 | -3.2742 | -1.3012 | 3.2744 | 1.2978 | 0.00017975 | -0.0034113 | 0.10187 | 0.10183 | 0.10187 | 0.99842 | -0.054327 | 0.99848 | -0.053876 | 15.967
43 | 0.46976 | 0.1518 | -0.46968 | -0.22383 | 7.6089e-05 | -0.072025 | 0.014274 | 0.015046 | 0.015046 | 0.99842 | -0.054327 | 0.99825 | -0.055634 | 2.3583
44 | 2.4716 | 0.99207 | -2.4711 | -1.0093 | 0.00051277 | -0.017189 | 0.077008 | 0.077198 | 0.077198 | 0.99837 | -0.0547 | 0.99816 | -0.056316 | 12.1
45 | 0.26717 | 0.12792 | -0.26717 | -0.1294 | 5.3741e-07 | -0.0014819 | 0.008564 | 0.0085826 | 0.0085826 | 0.99848 | -0.053876 | 0.99848 | -0.053883 | 1.3452
46 | -3.5416 | -1.4257 | 3.5421 | 1.4177 | 0.00049991 | -0.0080448 | 0.11038 | 0.11029 | 0.11038 | 0.99848 | -0.053876 | 0.99863 | -0.052749 | 17.3005
47 | 0.30922 | 0.14668 | -0.30922 | -0.14976 | 1.4985e-06 | -0.0030871 | 0.0098971 | 0.0099357 | 0.0099357 | 0.99825 | -0.055634 | 0.99825 | -0.055653 | 1.5573
48 | 0.16046 | 0.07715 | -0.16045 | -0.077669 | 1.0333e-05 | -0.00051918 | 0.0051487 | 0.0051554 | 0.0051554 | 0.99825 | -0.055634 | 0.99817 | -0.057613 | 1.473
49 | 0.10041 | 0.046787 | -0.10041 | -0.048632 | 1.0706e-06 | -0.0018451 | 0.0032038 | 0.0032267 | 0.0032267 | 0.99816 | -0.056316 | 0.99815 | -0.056227 | 1.4667
50 | 0.16045 | 0.077669 | -0.16045 | -0.077709 | 1.6511e-06 | -4.0433e-05 | 0.0051554 | 0.0051559 | 0.0051559 | 0.99817 | -0.057613 | 0.99816 | -0.057681 | 2.4552
51 | 0.11142 | 0.048665 | -0.11142 | -0.052545 | 2.7975e-06 | -0.0038809 | 0.0035383 | 0.003585 | 0.003585 | 0.99196 | -0.37683 | 0.99194 | -0.37664 | 1.6295
52 | 0.67312 | 0.26369 | -0.67304 | -0.29967 | 8.1204e-05 | -0.035981 | 0.021038 | 0.021443 | 0.021443 | 0.99196 | -0.37683 | 0.99184 | -0.37768 | 3.361
53 | 0.11142 | 0.052545 | -0.11142 | -0.053962 | 1.0396e-06 | -0.0014162 | 0.003585 | 0.0036028 | 0.0036028 | 0.99194 | -0.37664 | 0.99193 | -0.37656 | 1.6376
54 | 0.31499 | 0.15229 | -0.31499 | -0.15256 | 1.5902e-06 | -0.00026924 | 0.010183 | 0.010187 | 0.010187 | 0.99184 | -0.37768 | 0.99183 | -0.37764 | 4.6302
55 | 0.35805 | 0.14739 | -0.358 | -0.17274 | 4.7362e-05 | -0.025358 | 0.011269 | 0.011571 | 0.011571 | 0.99184 | -0.37768 | 0.99169 | -0.37945 | 3.1964
56 | 0.358 | 0.17274 | -0.358 | -0.17339 | 4.8968e-06 | -0.00064138 | 0.011571 | 0.011579 | 0.011579 | 0.99169 | -0.37945 | 0.99168 | -0.37933 | 5.2632
57 | 0.1145 | 0.051619 | -0.1145 | -0.055456 | 2.6142e-07 | -0.0038369 | 0.0036619 | 0.0037093 | 0.0037093 | 0.99012 | -0.57029 | 0.99012 | -0.5703 | 0.58139
58 | -4.1573 | -1.601 | 4.1626 | 1.6139 | 0.005229 | 0.012882 | 0.12989 | 0.12987 | 0.12989 | 0.99012 | -0.57029 | 0.99233 | -0.426 | 20.1375
59 | -5.2556 | -2.0763 | 5.2557 | 2.0753 | 0.00014102 | -0.00096558 | 0.16439 | 0.16438 | 0.16439 | 0.99233 | -0.426 | 0.99236 | -0.42577 | 25.766
60 | 0.8252 | 0.33264 | -0.82468 | -0.33419 | 0.00051763 | -0.0015472 | 0.025882 | 0.025915 | 0.025915 | 0.99233 | -0.426 | 0.99121 | -0.49661 | 4.0178
61 | -0.65781 | -0.31628 | 0.65782 | 0.31455 | 4.0029e-06 | -0.0017354 | 0.02136 | 0.021338 | 0.02136 | 0.98643 | -0.63499 | 0.98644 | -0.63497 | 3.348
62 | 0.29602 | 0.14106 | -0.2959 | -0.14331 | 0.00012737 | -0.0022502 | 0.0095963 | 0.0096272 | 0.0096272 | 0.98643 | -0.63499 | 0.98584 | -0.65437 | 2.3481
63 | 0.051406 | 0.023056 | -0.051405 | -0.024896 | 1.3485e-06 | -0.0018401 | 0.0016488 | 0.0016716 | 0.0016716 | 0.98644 | -0.63497 | 0.98639 | -0.63771 | 0.25916
64 | -0.70922 | -0.3376 | 0.7095 | 0.33634 | 0.0002826 | -0.0012589 | 0.022987 | 0.022961 | 0.022987 | 0.98644 | -0.63497 | 0.98717 | -0.59374 | 3.5638
65 | 2.1775 | 0.82019 | -2.1759 | -0.88938 | 0.0016576 | -0.069188 | 0.068044 | 0.068794 | 0.068794 | 0.98717 | -0.59374 | 0.98637 | -0.60018 | 10.7828
66 | 0.31225 | 0.14569 | -0.31225 | -0.15123 | 2.8589e-06 | -0.00554 | 0.010076 | 0.010146 | 0.010146 | 0.98717 | -0.59374 | 0.98716 | -0.59377 | 1.5902
67 | -0.36789 | -0.17818 | 0.36789 | 0.1779 | 1.9314e-07 | -0.00027207 | 0.011906 | 0.011902 | 0.011906 | 0.99111 | -0.49737 | 0.99111 | -0.49737 | 1.8661
68 | -0.36789 | -0.1779 | 0.36792 | 0.12285 | 3.6943e-05 | -0.055053 | 0.011902 | 0.011297 | 0.011902 | 0.99111 | -0.49737 | 0.99121 | -0.49661 | 1.8656
69 | 0.10979 | 0.043325 | -0.10979 | -0.052235 | 5.4238e-07 | -0.0089108 | 0.0034374 | 0.0035409 | 0.0035409 | 0.99121 | -0.49661 | 0.99121 | -0.49664 | 0.555
70 | 0.34697 | 0.16801 | -0.34696 | -0.16804 | 2.2776e-06 | -2.8937e-05 | 0.011227 | 0.011228 | 0.011228 | 0.99121 | -0.49661 | 0.99121 | -0.4969 | 2.7384
71 | 0.10979 | 0.052235 | -0.10979 | -0.053173 | 5.9026e-08 | -0.00093739 | 0.0035409 | 0.0035527 | 0.0035527 | 0.99121 | -0.49664 | 0.99121 | -0.49664 | 0.55685
72 | -5.2557 | -2.0753 | 5.256 | 2.0734 | 0.00028838 | -0.0019752 | 0.16438 | 0.16435 | 0.16438 | 0.99236 | -0.42577 | 0.99242 | -0.42531 | 25.7643
73 | -5.256 | -2.0734 | 5.2566 | 2.0694 | 0.00058262 | -0.0039932 | 0.16435 | 0.16431 | 0.16435 | 0.99242 | -0.42531 | 0.99253 | -0.42438 | 25.7607
74 | -5.3444 | -2.1119 | 5.3452 | 2.1063 | 0.00084571 | -0.0055917 | 0.16713 | 0.16707 | 0.16713 | 0.99253 | -0.42438 | 0.9927 | -0.42306 | 26.1967
75 | 0.37973 | 0.18378 | -0.37971 | -0.1839 | 1.2209e-05 | -0.0001238 | 0.012346 | 0.012348 | 0.012348 | 0.98637 | -0.60018 | 0.98633 | -0.60161 | 3.0117
76 | 6.1614 | 2.5063 | -6.1519 | -2.4817 | 0.009504 | 0.02458 | 0.19289 | 0.1929 | 0.1929 | 0.99545 | -0.24953 | 0.9927 | -0.42306 | 29.9076
77 | 0.80671 | 0.37541 | -0.80666 | -0.38895 | 4.5633e-05 | -0.013543 | 0.025875 | 0.026044 | 0.026044 | 0.9927 | -0.42306 | 0.99264 | -0.4233 | 4.0821
78 | 0.80666 | 0.38895 | -0.80666 | -0.38952 | 1.9294e-06 | -0.00056869 | 0.026044 | 0.026051 | 0.026051 | 0.99264 | -0.4233 | 0.99264 | -0.42331 | 4.0832
79 | 0.72815 | 0.35149 | -0.72814 | -0.35262 | 3.1161e-06 | -0.0011268 | 0.023514 | 0.023528 | 0.023528 | 0.99264 | -0.42331 | 0.99263 | -0.42332 | 3.6878
80 | 0.37996 | 0.18398 | -0.37996 | -0.18402 | 2.8764e-08 | -3.8139e-05 | 0.012277 | 0.012278 | 0.012278 | 0.99263 | -0.42332 | 0.99263 | -0.42332 | 1.9244

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.1031 | 4.1328

## res_load
| p_mw | q_mvar
0 | 0.20216 | 0.097908
1 | 0.1045 | 0.050613
2 | 0.11553 | 0.055952
3 | 0.11461 | 0.055509
4 | 0.18943 | 0.091747
5 | 0.13129 | 0.063589
6 | 0.23864 | 0.11558
7 | 0.13702 | 0.066363
8 | 0.25648 | 0.12422
9 | 0.27386 | 0.13264
10 | 0.062287 | 0.030167
11 | 0.3262 | 0.15798
12 | 0.2632 | 0.12747
13 | 0.10235 | 0.04957
14 | 0.076157 | 0.036885
15 | 0.33271 | 0.16114
16 | 0.26717 | 0.1294
17 | 0.11526 | 0.055822
18 | 0.30922 | 0.14976
19 | 0.10041 | 0.048632
20 | 0.11142 | 0.053962
21 | 0.358 | 0.17339
22 | 0.31499 | 0.15256
23 | 0.12881 | 0.062387
24 | 0.1145 | 0.055456
25 | 0.26785 | 0.12973
26 | 0.36179 | 0.17522
27 | 0.2959 | 0.14331
28 | 0.051405 | 0.024896
29 | 0.36789 | 0.17818
30 | 0.34696 | 0.16804
31 | 0.087751 | 0.0425
32 | 0.16045 | 0.077709
33 | 0.16731 | 0.081032
34 | 0.31225 | 0.15123
35 | 0.37971 | 0.1839
36 | 1.2359 | 0.59858
37 | 0.070698 | 0.034241
38 | 0.10979 | 0.053173
39 | 0.078517 | 0.038027
40 | 0.34819 | 0.16863
41 | 0.37996 | 0.18402
42 | 0.26112 | 0.12647

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1