## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_374_1_node_48 | 20 | n |  | TRUE
1 | bus_MV_374_1_node_50 | 20 | n |  | TRUE
2 | bus_MV_374_1_node_53 | 20 | n |  | TRUE
3 | bus_MV_374_1_node_54 | 20 | n |  | TRUE
4 | bus_MV_374_1_node_51 | 20 | n |  | TRUE
5 | bus_MV_374_1_node_66 | 20 | n |  | TRUE
6 | bus_MV_374_1_node_52 | 20 | n |  | TRUE
7 | bus_MV_374_1_node_55 | 20 | n |  | TRUE
8 | bus_MV_374_1_node_160 | 20 | n |  | TRUE
9 | bus_MV_374_1_node_78 | 20 | n |  | TRUE
10 | bus_MV_374_1_node_159 | 20 | n |  | TRUE
11 | bus_MV_374_1_node_76 | 20 | n |  | TRUE
12 | bus_MV_374_1_node_87 | 20 | n |  | TRUE
13 | bus_MV_374_1_node_156 | 20 | n |  | TRUE
14 | bus_MV_374_1_node_128 | 20 | n |  | TRUE
15 | bus_MV_374_1_node_91 | 20 | n |  | TRUE
16 | bus_MV_374_1_node_79 | 20 | n |  | TRUE
17 | bus_MV_374_1_node_82 | 20 | n |  | TRUE
18 | bus_MV_374_1_node_86 | 20 | n |  | TRUE
19 | bus_MV_374_1_node_77 | 20 | n |  | TRUE
20 | bus_MV_374_1_node_75 | 20 | n |  | TRUE
21 | bus_MV_374_1_node_90 | 20 | n |  | TRUE
22 | bus_MV_374_1_node_81 | 20 | n |  | TRUE
23 | bus_MV_374_1_node_88 | 20 | n |  | TRUE
24 | bus_MV_374_1_node_89 | 20 | n |  | TRUE
25 | bus_MV_374_1_node_152 | 20 | n |  | TRUE
26 | bus_MV_374_1_node_92 | 20 | n |  | TRUE
27 | bus_MV_374_1_node_93 | 20 | n |  | TRUE
28 | bus_MV_374_1_node_56 | 20 | n |  | TRUE
29 | bus_MV_374_1_node_58 | 20 | n |  | TRUE
30 | bus_MV_374_1_node_61 | 20 | n |  | TRUE
31 | bus_MV_374_1_node_57 | 20 | n |  | TRUE
32 | bus_MV_374_1_node_64 | 20 | n |  | TRUE
33 | bus_MV_374_1_node_62 | 20 | n |  | TRUE
34 | bus_MV_374_1_node_67 | 20 | n |  | TRUE
35 | bus_MV_374_1_node_106 | 20 | n |  | TRUE
36 | bus_MV_374_1_node_167 | 20 | n |  | TRUE
37 | bus_MV_374_1_node_59 | 20 | n |  | TRUE
38 | bus_MV_374_1_node_63 | 20 | n |  | TRUE
39 | bus_MV_374_1_node_148 | 20 | n |  | TRUE
40 | bus_MV_374_1_node_60 | 20 | n |  | TRUE
41 | bus_MV_374_1_node_84 | 20 | n |  | TRUE
42 | bus_MV_374_1_node_133 | 20 | n |  | TRUE
43 | bus_MV_374_1_node_68 | 20 | n |  | TRUE
44 | bus_MV_374_1_node_158 | 20 | n |  | TRUE
45 | bus_MV_374_1_node_132 | 20 | n |  | TRUE
46 | bus_MV_374_1_node_65 | 20 | n |  | TRUE
47 | bus_MV_374_1_node_165 | 20 | n |  | TRUE
48 | bus_MV_374_1_node_134 | 20 | n |  | TRUE
49 | bus_MV_374_1_node_131 | 20 | n |  | TRUE
50 | bus_MV_374_1_node_105 | 20 | n |  | TRUE
51 | bus_MV_374_1_node_85 | 20 | n |  | TRUE
52 | bus_MV_374_1_node_83 | 20 | n |  | TRUE
53 | bus_MV_374_1_node_120 | 20 | n |  | TRUE
54 | bus_MV_374_1_node_140 | 20 | n |  | TRUE
55 | bus_MV_374_1_node_137 | 20 | n |  | TRUE
56 | bus_MV_374_1_node_72 | 20 | n |  | TRUE
57 | bus_MV_374_1_node_73 | 20 | n |  | TRUE
58 | bus_MV_374_1_node_153 | 20 | n |  | TRUE
59 | bus_MV_374_1_node_154 | 20 | n |  | TRUE
60 | bus_MV_374_1_node_74 | 20 | n |  | TRUE
61 | bus_MV_374_1_node_150 | 20 | n |  | TRUE
62 | bus_MV_374_1_node_176 | 20 | n |  | TRUE
63 | bus_MV_374_1_node_166 | 20 | n |  | TRUE
64 | bus_MV_374_1_node_94 | 20 | n |  | TRUE
65 | bus_MV_374_1_node_95 | 20 | n |  | TRUE
66 | bus_MV_374_1_node_175 | 20 | n |  | TRUE
67 | bus_MV_374_1_node_121 | 20 | n |  | TRUE
68 | bus_MV_374_1_node_135 | 20 | n |  | TRUE
69 | bus_MV_374_1_node_100 | 20 | n |  | TRUE
70 | bus_MV_374_1_node_129 | 20 | n |  | TRUE
71 | bus_MV_374_1_node_130 | 20 | n |  | TRUE
72 | bus_MV_374_1_node_104 | 20 | n |  | TRUE
73 | bus_MV_374_1_node_102 | 20 | n |  | TRUE
74 | bus_MV_374_1_node_103 | 20 | n |  | TRUE
75 | bus_MV_374_1_node_157 | 20 | n |  | TRUE
76 | bus_MV_374_1_node_136 | 20 | n |  | TRUE
77 | bus_MV_374_1_node_138 | 20 | n |  | TRUE
78 | bus_MV_374_1_node_139 | 20 | n |  | TRUE
79 | bus_MV_374_1_node_169 | 20 | n |  | TRUE
80 | bus_MV_374_1_node_149 | 20 | n |  | TRUE
81 | bus_MV_374_1_node_151 | 20 | n |  | TRUE
82 | bus_MV_374_1_node_155 | 20 | n |  | TRUE
83 | bus_MV_374_1_node_161 | 20 | n |  | TRUE
84 | bus_HV_374_1_node_148 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_374_1_load_48 | 0 | 0.3975 | 0.19252 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_374_1_load_55 | 7 | 0.31731 | 0.15368 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_374_1_load_160 | 8 | 0.40673 | 0.19699 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_374_1_load_159 | 10 | 0.22864 | 0.11074 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_374_1_load_156 | 13 | 0.10177 | 0.049291 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_374_1_load_128 | 14 | 0.28068 | 0.13594 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_374_1_load_91 | 15 | 0.37229 | 0.18031 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_374_1_load_79 | 16 | 0.24593 | 0.11911 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_374_1_load_86 | 18 | 0.19566 | 0.094764 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_374_1_load_77 | 19 | 0.27853 | 0.1349 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_374_1_load_75 | 20 | 0.21855 | 0.10585 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_374_1_load_90 | 21 | 0.21266 | 0.10299 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_374_1_load_89 | 24 | 0.19989 | 0.096812 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_374_1_load_67 | 34 | 0.24979 | 0.12098 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_374_1_load_167 | 36 | 0.25583 | 0.12391 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_374_1_load_148 | 39 | 0.10296 | 0.049868 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_374_1_load_133 | 42 | 0.092818 | 0.044954 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_374_1_load_68 | 43 | 0.33159 | 0.1606 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_374_1_load_158 | 44 | 0.39739 | 0.19246 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_374_1_load_132 | 45 | 0.10743 | 0.05203 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_374_1_load_165 | 47 | 0.24768 | 0.11996 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_374_1_load_134 | 48 | 0.17359 | 0.084075 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_374_1_load_131 | 49 | 0.095656 | 0.046328 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_374_1_load_83 | 52 | 0.18045 | 0.087395 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_374_1_load_140 | 54 | 0.18535 | 0.08977 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_374_1_load_137 | 55 | 0.21243 | 0.10288 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_374_1_load_72 | 56 | 0.40073 | 0.19408 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_374_1_load_176 | 62 | 0.35322 | 0.17107 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_374_1_load_166 | 63 | 0.2792 | 0.13522 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_374_1_load_94 | 64 | 0.24296 | 0.11767 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_374_1_load_175 | 66 | 0.19429 | 0.094097 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_374_1_load_121 | 67 | 0.13953 | 0.067579 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_374_1_load_135 | 68 | 0.31443 | 0.15229 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_374_1_load_100 | 69 | 0.2444 | 0.11837 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_374_1_load_129 | 70 | 0.11827 | 0.057281 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_374_1_load_130 | 71 | 0.10119 | 0.049008 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_374_1_load_102 | 73 | 0.32913 | 0.15941 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_374_1_load_157 | 75 | 0.35212 | 0.17054 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_374_1_load_136 | 76 | 0.71121 | 0.34446 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_374_1_load_138 | 77 | 0.11507 | 0.055731 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_374_1_load_139 | 78 | 0.073824 | 0.035754 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_374_1_load_169 | 79 | 0.28311 | 0.13711 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_374_1_load_149 | 80 | 0.096138 | 0.046562 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_374_1_load_155 | 82 | 1.2047 | 0.58348 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_374_1_load_161 | 83 | 0.34655 | 0.16784 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_374_1_line_0 |  | 0 | 1 | 0.084601 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_374_1_line_1 |  | 1 | 2 | 0.43946 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
2 | MV_374_1_line_2 |  | 1 | 3 | 0.22837 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
3 | MV_374_1_line_3 |  | 2 | 10 | 0.045642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_374_1_line_4 |  | 2 | 11 | 0.65458 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
5 | MV_374_1_line_5 |  | 2 | 12 | 0.4394 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
6 | MV_374_1_line_6 |  | 3 | 13 | 0.021197 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_374_1_line_7 |  | 4 | 5 | 0.073563 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
8 | MV_374_1_line_8 |  | 4 | 6 | 0.84256 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_374_1_line_9 |  | 4 | 7 | 0.044585 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
10 | MV_374_1_line_10 |  | 5 | 14 | 0.017598 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
11 | MV_374_1_line_11 |  | 6 | 8 | 0.031835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_374_1_line_12 |  | 6 | 9 | 0.51358 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
13 | MV_374_1_line_13 |  | 7 | 15 | 0.21684 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
14 | MV_374_1_line_14 |  | 9 | 16 | 0.36578 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_374_1_line_15 |  | 9 | 17 | 0.93664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_374_1_line_16 |  | 9 | 18 | 0.50488 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
17 | MV_374_1_line_17 |  | 9 | 19 | 0.009967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_374_1_line_18 |  | 11 | 20 | 0.005415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_374_1_line_19 |  | 12 | 21 | 0.064894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_374_1_line_20 |  | 12 | 22 | 0.62798 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
21 | MV_374_1_line_21 |  | 13 | 25 | 0.0082245 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_374_1_line_22 |  | 15 | 26 | 0.003868 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_374_1_line_23 |  | 17 | 63 | 0.017451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_374_1_line_24 |  | 18 | 22 | 0.051558 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
25 | MV_374_1_line_25 |  | 22 | 23 | 0.55485 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
26 | MV_374_1_line_26 |  | 23 | 24 | 0.007477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_374_1_line_27 |  | 25 | 61 | 0.42555 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
28 | MV_374_1_line_28 |  | 26 | 27 | 0.31995 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_374_1_line_29 |  | 27 | 47 | 0.02432 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
30 | MV_374_1_line_30 |  | 28 | 29 | 0.54717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_374_1_line_31 |  | 28 | 30 | 0.33539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_374_1_line_32 |  | 29 | 35 | 0.74753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_374_1_line_33 |  | 29 | 36 | 0.033186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_374_1_line_34 |  | 30 | 32 | 0.48507 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
35 | MV_374_1_line_35 |  | 30 | 43 | 0.005021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_374_1_line_36 |  | 30 | 37 | 0.35969 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
37 | MV_374_1_line_37 |  | 31 | 32 | 0.095845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_374_1_line_38 |  | 31 | 33 | 0.28584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_374_1_line_39 |  | 31 | 34 | 0.002839 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_374_1_line_40 |  | 32 | 46 | 0.22039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_374_1_line_41 |  | 32 | 47 | 0.04219 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
42 | MV_374_1_line_42 |  | 33 | 44 | 0.030372 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_374_1_line_43 |  | 33 | 40 | 0.33284 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_374_1_line_44 |  | 35 | 49 | 0.061372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_374_1_line_45 |  | 35 | 50 | 0.34806 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_374_1_line_46 |  | 37 | 38 | 0.17443 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_374_1_line_47 |  | 37 | 39 | 0.05995 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
48 | MV_374_1_line_48 |  | 38 | 45 | 0.032308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_374_1_line_49 |  | 40 | 41 | 1.3288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_374_1_line_50 |  | 40 | 42 | 0.018192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_374_1_line_51 |  | 41 | 51 | 1.3078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_374_1_line_52 |  | 41 | 52 | 0.045242 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_374_1_line_53 |  | 46 | 48 | 0.028411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_374_1_line_54 |  | 50 | 75 | 0.036591 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_374_1_line_55 |  | 50 | 74 | 0.641 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_374_1_line_56 |  | 51 | 64 | 0.003861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_374_1_line_57 |  | 53 | 54 | 0.049066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_374_1_line_58 |  | 53 | 55 | 0.083727 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_374_1_line_59 |  | 55 | 77 | 0.033891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_374_1_line_60 |  | 55 | 78 | 0.089619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_374_1_line_61 |  | 55 | 76 | 0.063542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_374_1_line_62 |  | 56 | 57 | 0.033931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_374_1_line_63 |  | 57 | 58 | 0.33168 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_374_1_line_64 |  | 58 | 59 | 0.78705 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_374_1_line_65 |  | 58 | 60 | 0.071133 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_374_1_line_66 |  | 58 | 61 | 0.51024 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_374_1_line_67 |  | 59 | 83 | 0.027918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_374_1_line_68 |  | 60 | 62 | 0.04459 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_374_1_line_69 |  | 61 | 80 | 0.011204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_374_1_line_70 |  | 64 | 68 | 0.20693 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_374_1_line_71 |  | 65 | 66 | 0.018015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_374_1_line_72 |  | 65 | 67 | 0.21228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_374_1_line_73 |  | 67 | 76 | 0.18068 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_374_1_line_74 |  | 68 | 76 | 0.17136 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_374_1_line_75 |  | 69 | 70 | 1.4228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_374_1_line_76 |  | 70 | 71 | 0.09704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_374_1_line_77 |  | 70 | 72 | 0.01286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_374_1_line_78 |  | 71 | 79 | 2.1675 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_374_1_line_79 |  | 72 | 74 | 0.22036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_374_1_line_80 |  | 73 | 74 | 0.1081 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_374_1_line_81 |  | 80 | 81 | 0.018371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_374_1_line_82 |  | 81 | 82 | 0.009182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_374_1_trafo_148 | 25 MVA 110/20 kV | 84 | 39 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2710615.8199 | 1267791.0897
1 | 2710698.7117 | 1267773.026
2 | 2710888.1202 | 1268040.4886
3 | 2710798.7719 | 1267618.8332
4 | 2710206.6813 | 1268151.816
5 | 2710234.6527 | 1268154.8403
6 | 2710545.5513 | 1268096.4304
7 | 2710168.0315 | 1268140.0851
8 | 2710513.6326 | 1268095.5326
9 | 2710503.6102 | 1268354.2824
10 | 2710868.8417 | 1267999.0906
11 | 2711299.8906 | 1267822.0382
12 | 2711160.2389 | 1268385.481
13 | 2710788.6369 | 1267600.4271
14 | 2710236.701 | 1268172.3186
15 | 2710103.5003 | 1268347.0964
16 | 2710470.8439 | 1268718.5886
17 | 2710945.0003 | 1269180.4
18 | 2710787.9027 | 1268771.5158
19 | 2710493.6423 | 1268353.5176
20 | 2711303.1939 | 1267817.7411
21 | 2711223.1412 | 1268368.8055
22 | 2710833.8137 | 1268748.056
23 | 2711219.5898 | 1268757.1128
24 | 2711226.9213 | 1268755.5383
25 | 2710781.1996 | 1267597.1404
26 | 2710099.6993 | 1268347.8707
27 | 2709924.688 | 1268285.9696
28 | 2710156.5036 | 1268044.5646
29 | 2710110.7175 | 1267678.2921
30 | 2710009.7471 | 1268146.2306
31 | 2709826.2417 | 1268210.7513
32 | 2709898.6812 | 1268224.7436
33 | 2709786.4244 | 1268022.1137
34 | 2709825.419 | 1268208.0336
35 | 2709736.8319 | 1267740.3139
36 | 2710139.6694 | 1267694.668
37 | 2709931.3846 | 1267887.0686
38 | 2710062.7739 | 1267922.2226
39 | 2709926.8833 | 1267827.3074
40 | 2709688.501 | 1268077.2767
41 | 2709214.6527 | 1267650.6074
42 | 2709699.409 | 1268063.1377
43 | 2710006.1287 | 1268149.7218
44 | 2709775.4702 | 1267993.7855
45 | 2710069.495 | 1267953.6789
46 | 2709891.7647 | 1268101.274
47 | 2709915.0311 | 1268263.6372
48 | 2709898.9949 | 1268073.7981
49 | 2709723.2306 | 1267795.0215
50 | 2709613.9823 | 1267626.0569
51 | 2708313.2541 | 1267887.6458
52 | 2709236.7649 | 1267611.1374
53 | 2708176.1916 | 1268343.2078
54 | 2708225.0418 | 1268347.7708
55 | 2708178.3274 | 1268259.5077
56 | 2711113.7756 | 1267209.8889
57 | 2711083.8406 | 1267193.9134
58 | 2710761.8453 | 1267273.4619
59 | 2710432.8864 | 1267261.6515
60 | 2710778.6826 | 1267204.3506
61 | 2710782.7671 | 1267469.8475
62 | 2710823.0918 | 1267208.3644
63 | 2710961.2983 | 1269183.4977
64 | 2708309.3985 | 1267887.286
65 | 2708045.1654 | 1267836.8833
66 | 2708063.1941 | 1267835.7787
67 | 2708057.1698 | 1268048.8211
68 | 2708257.4064 | 1268087.5747
69 | 2708346.6959 | 1266343.3472
70 | 2709521.2867 | 1267146.3401
71 | 2709582.9806 | 1267072.1886
72 | 2709515.7601 | 1267157.9518
73 | 2709570.1832 | 1267340.1742
74 | 2709462.7237 | 1267328.4617
75 | 2709632.8627 | 1267657.4011
76 | 2708137.9573 | 1268210.4374
77 | 2708211.9099 | 1268254.9446
78 | 2708267.946 | 1268259.197
79 | 2710250.3441 | 1265009.9703
80 | 2710780.1212 | 1267480.7351
81 | 2710775.783 | 1267498.5861
82 | 2710773.6128 | 1267507.5088
83 | 2710460.4299 | 1267261.6106
84 | 2709926.8833 | 1267827.3074

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99273 | -0.1846 | 0.3975 | 0.19252
1 | 0.99277 | -0.185 | 0 | 0
2 | 0.99305 | -0.17972 | 0 | 0
3 | 0.99265 | -0.18734 | 0 | 0
4 | 0.9967 | -0.078387 | 0 | 0
5 | 0.99669 | -0.078468 | 0 | 0
6 | 0.99577 | -0.097489 | 0 | 0
7 | 0.99675 | -0.077314 | 0.31731 | 0.15368
8 | 0.99575 | -0.097333 | 0.40673 | 0.19699
9 | 0.99525 | -0.10811 | 0 | 0
10 | 0.99303 | -0.17959 | 0.22864 | 0.11074
11 | 0.99302 | -0.18041 | 0 | 0
12 | 0.99377 | -0.154 | 0 | 0
13 | 0.99263 | -0.18756 | 0.10177 | 0.049291
14 | 0.99669 | -0.078506 | 0.28068 | 0.13594
15 | 0.99735 | -0.055271 | 0.37229 | 0.18031
16 | 0.99507 | -0.10922 | 0.24593 | 0.11911
17 | 0.99474 | -0.11138 | 0 | 0
18 | 0.99429 | -0.14351 | 0.19566 | 0.094764
19 | 0.99524 | -0.10808 | 0.27853 | 0.1349
20 | 0.99302 | -0.18039 | 0.21855 | 0.10585
21 | 0.99375 | -0.15384 | 0.21266 | 0.10299
22 | 0.99425 | -0.14437 | 0 | 0
23 | 0.99422 | -0.1449 | 0 | 0
24 | 0.99422 | -0.14488 | 0.19989 | 0.096812
25 | 0.99263 | -0.18764 | 0 | 0
26 | 0.99735 | -0.055168 | 0 | 0
27 | 0.99777 | -0.046601 | 0 | 0
28 | 0.99818 | -0.015532 | 0 | 0
29 | 0.99695 | -0.0059921 | 0 | 0
30 | 0.99894 | -0.021144 | 0 | 0
31 | 0.99755 | -0.038143 | 0 | 0
32 | 0.99793 | -0.041215 | 0 | 0
33 | 0.99651 | -0.029743 | 0 | 0
34 | 0.99755 | -0.038134 | 0.24979 | 0.12098
35 | 0.9955 | 0.0055467 | 0 | 0
36 | 0.99694 | -0.0058908 | 0.25583 | 0.12391
37 | 0.99985 | -0.0030482 | 0 | 0
38 | 0.99982 | -0.0028557 | 0 | 0
39 | 1 | 0 | -11.9784 | -5.1736
40 | 0.99546 | -0.021379 | 0 | 0
41 | 0.99142 | 0.012413 | 0 | 0
42 | 0.99546 | -0.021359 | 0.092818 | 0.044954
43 | 0.99894 | -0.021124 | 0.33159 | 0.1606
44 | 0.99648 | -0.02989 | 0.39739 | 0.19246
45 | 0.99982 | -0.0028149 | 0.10743 | 0.05203
46 | 0.99788 | -0.040802 | 0 | 0
47 | 0.9978 | -0.045948 | 0.24768 | 0.11996
48 | 0.99788 | -0.040743 | 0.17359 | 0.084075
49 | 0.99549 | 0.0056147 | 0.095656 | 0.046328
50 | 0.99487 | 0.010851 | 0 | 0
51 | 0.98774 | 0.045684 | 0 | 0
52 | 0.99141 | 0.012312 | 0.18045 | 0.087395
53 | 0.98629 | 0.036462 | 0 | 0
54 | 0.98628 | 0.036572 | 0.18535 | 0.08977
55 | 0.98632 | 0.036664 | 0.21243 | 0.10288
56 | 0.9913 | -0.18469 | 0.40073 | 0.19408
57 | 0.99132 | -0.18485 | 0 | 0
58 | 0.99158 | -0.18319 | 0 | 0
59 | 0.99123 | -0.18037 | 0 | 0
60 | 0.99153 | -0.1835 | 0 | 0
61 | 0.9923 | -0.18914 | 0 | 0
62 | 0.9915 | -0.18369 | 0.35322 | 0.17107
63 | 0.99473 | -0.11133 | 0.2792 | 0.13522
64 | 0.98773 | 0.045787 | 0.24296 | 0.11767
65 | 0.98619 | 0.035866 | 0 | 0
66 | 0.98619 | 0.035909 | 0.19429 | 0.094097
67 | 0.98627 | 0.036389 | 0.13953 | 0.067579
68 | 0.98694 | 0.040698 | 0.31443 | 0.15229
69 | 0.99309 | 0.016001 | 0.2444 | 0.11837
70 | 0.99377 | 0.020362 | 0.11827 | 0.057281
71 | 0.99372 | 0.020791 | 0.10119 | 0.049008
72 | 0.99378 | 0.020251 | 0 | 0
73 | 0.99392 | 0.017953 | 0.32913 | 0.15941
74 | 0.99399 | 0.018389 | 0 | 0
75 | 0.99484 | 0.010694 | 0.35212 | 0.17054
76 | 0.98639 | 0.03715 | 0.71121 | 0.34446
77 | 0.98631 | 0.036711 | 0.11507 | 0.055731
78 | 0.98631 | 0.036739 | 0.073824 | 0.035754
79 | 0.99252 | 0.013035 | 0.28311 | 0.13711
80 | 0.99228 | -0.18897 | 0.096138 | 0.046562
81 | 0.99225 | -0.1887 | 0 | 0
82 | 0.99223 | -0.18856 | 1.2047 | 0.58348
83 | 0.99122 | -0.18026 | 0.34655 | 0.16784
84 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.3975 | -0.19252 | 0.39752 | 0.19053 | 1.8593e-05 | -0.0019852 | 0.012843 | 0.012818 | 0.012843 | 0.99273 | -0.1846 | 0.99277 | -0.185 | 5.8378
1 | -2.9029 | -1.3249 | 2.9036 | 1.2924 | 0.00068941 | -0.032469 | 0.092787 | 0.092391 | 0.092787 | 0.99277 | -0.185 | 0.99305 | -0.17972 | 11.0198
2 | 2.5054 | 1.1344 | -2.5052 | -1.1513 | 0.00026797 | -0.016949 | 0.079971 | 0.080179 | 0.080179 | 0.99277 | -0.185 | 0.99265 | -0.18734 | 9.5224
3 | 0.22865 | 0.10966 | -0.22864 | -0.11074 | 3.3172e-06 | -0.0010737 | 0.0073716 | 0.0073852 | 0.0073852 | 0.99305 | -0.17972 | 0.99303 | -0.17959 | 3.3569
4 | 0.21856 | 0.05641 | -0.21855 | -0.10572 | 5.5006e-06 | -0.049313 | 0.0065616 | 0.0070578 | 0.0070578 | 0.99305 | -0.17972 | 0.99302 | -0.18041 | 0.83821
5 | -3.3508 | -1.4585 | 3.3526 | 1.4599 | 0.0017671 | 0.001436 | 0.10623 | 0.10622 | 0.10623 | 0.99305 | -0.17972 | 0.99377 | -0.154 | 12.9554
6 | 2.5052 | 1.1513 | -2.5051 | -1.1529 | 2.4943e-05 | -0.0015729 | 0.080179 | 0.080198 | 0.080198 | 0.99265 | -0.18734 | 0.99263 | -0.18756 | 9.5247
7 | 0.28068 | 0.12969 | -0.28068 | -0.13527 | 1.0879e-06 | -0.0055824 | 0.0089553 | 0.0090243 | 0.0090243 | 0.9967 | -0.078387 | 0.99669 | -0.078468 | 1.0718
8 | 5.182 | 2.1501 | -5.1779 | -2.2103 | 0.0040892 | -0.060136 | 0.16249 | 0.16321 | 0.16321 | 0.9967 | -0.078387 | 0.99577 | -0.097489 | 19.3839
9 | -5.4627 | -2.2798 | 5.4629 | 2.2767 | 0.00023976 | -0.003164 | 0.17144 | 0.17141 | 0.17144 | 0.9967 | -0.078387 | 0.99675 | -0.077314 | 20.3614
10 | 0.28068 | 0.13527 | -0.28068 | -0.13594 | 5.2502e-07 | -0.00066735 | 0.0090243 | 0.0090327 | 0.0090327 | 0.99669 | -0.078468 | 0.99669 | -0.078506 | 2.1455
11 | 0.40673 | 0.19624 | -0.40673 | -0.19699 | 7.2897e-06 | -0.0007515 | 0.013092 | 0.013101 | 0.013101 | 0.99577 | -0.097489 | 0.99575 | -0.097333 | 5.9552
12 | 4.7712 | 2.014 | -4.7691 | -2.051 | 0.0021247 | -0.036937 | 0.15014 | 0.15058 | 0.15058 | 0.99577 | -0.097489 | 0.99525 | -0.10811 | 17.8833
13 | -5.7802 | -2.4303 | 5.7828 | 2.4335 | 0.0025485 | 0.0031318 | 0.1816 | 0.18159 | 0.1816 | 0.99675 | -0.077314 | 0.99735 | -0.055271 | 22.1465
14 | 0.24597 | 0.1187 | -0.24593 | -0.11911 | 4.0926e-05 | -0.00040681 | 0.0079218 | 0.0079273 | 0.0079273 | 0.99525 | -0.10811 | 0.99507 | -0.10922 | 3.7749
15 | 0.27933 | 0.13379 | -0.2792 | -0.13481 | 0.00013489 | -0.0010225 | 0.0089836 | 0.0089975 | 0.0089975 | 0.99525 | -0.10811 | 0.99474 | -0.11138 | 4.2845
16 | 3.9652 | 1.6638 | -3.9624 | -1.6611 | 0.0027996 | 0.00276 | 0.12473 | 0.12474 | 0.12474 | 0.99525 | -0.10811 | 0.99429 | -0.14351 | 15.2124
17 | 0.27853 | 0.13466 | -0.27853 | -0.1349 | 1.0718e-06 | -0.0002354 | 0.0089737 | 0.0089766 | 0.0089766 | 0.99525 | -0.10811 | 0.99524 | -0.10808 | 4.0803
18 | 0.21855 | 0.10572 | -0.21855 | -0.10585 | 3.6019e-07 | -0.00012738 | 0.0070578 | 0.0070594 | 0.0070594 | 0.99302 | -0.18041 | 0.99302 | -0.18039 | 3.2088
19 | 0.21266 | 0.10147 | -0.21266 | -0.10299 | 4.0701e-06 | -0.0015289 | 0.0068446 | 0.0068639 | 0.0068639 | 0.99377 | -0.154 | 0.99375 | -0.15384 | 3.1199
20 | -3.5653 | -1.5614 | 3.5667 | 1.5153 | 0.0014619 | -0.046064 | 0.11306 | 0.11252 | 0.11306 | 0.99377 | -0.154 | 0.99425 | -0.14437 | 13.4278
21 | 2.4034 | 1.1036 | -2.4033 | -1.1042 | 8.9037e-06 | -0.00061098 | 0.07691 | 0.076918 | 0.076918 | 0.99263 | -0.18756 | 0.99263 | -0.18764 | 9.1351
22 | -6.1551 | -2.6138 | 6.1551 | 2.6135 | 2.6517e-05 | -0.00026962 | 0.19355 | 0.19355 | 0.19355 | 0.99735 | -0.055271 | 0.99735 | -0.055168 | 22.9872
23 | 0.2792 | 0.13481 | -0.2792 | -0.13522 | 1.8871e-06 | -0.00041173 | 0.0089975 | 0.0090027 | 0.0090027 | 0.99474 | -0.11138 | 0.99473 | -0.11133 | 4.0921
24 | 3.7668 | 1.5663 | -3.7666 | -1.5701 | 0.0001324 | -0.0037726 | 0.11844 | 0.11848 | 0.11848 | 0.99429 | -0.14351 | 0.99425 | -0.14437 | 14.0716
25 | 0.1999 | 0.054735 | -0.19989 | -0.096636 | 3.9107e-06 | -0.041901 | 0.0060176 | 0.0064466 | 0.0064466 | 0.99425 | -0.14437 | 0.99422 | -0.1449 | 0.76563
26 | 0.19989 | 0.096636 | -0.19989 | -0.096812 | 4.1498e-07 | -0.00017634 | 0.0064466 | 0.0064488 | 0.0064488 | 0.99422 | -0.1449 | 0.99422 | -0.14488 | 2.9313
27 | 2.4033 | 1.1042 | -2.4026 | -1.1301 | 0.00078122 | -0.025897 | 0.076918 | 0.077241 | 0.077241 | 0.99263 | -0.18764 | 0.9923 | -0.18914 | 12.1067
28 | -6.1551 | -2.6135 | 6.1573 | 2.5912 | 0.0021903 | -0.022316 | 0.19355 | 0.19327 | 0.19355 | 0.99735 | -0.055168 | 0.99777 | -0.046601 | 22.9868
29 | -6.1573 | -2.5912 | 6.1575 | 2.5895 | 0.00016623 | -0.0016973 | 0.19327 | 0.19325 | 0.19327 | 0.99777 | -0.046601 | 0.9978 | -0.045948 | 22.9543
30 | 1.7871 | 0.79581 | -1.7848 | -0.80811 | 0.0023445 | -0.012305 | 0.056576 | 0.05673 | 0.05673 | 0.99818 | -0.015532 | 0.99695 | -0.0059921 | 25.7865
31 | -1.7871 | -0.79581 | 1.7885 | 0.78825 | 0.0014308 | -0.0075604 | 0.056576 | 0.056483 | 0.056576 | 0.99818 | -0.015532 | 0.99894 | -0.021144 | 25.7164
32 | 1.5289 | 0.68499 | -1.5266 | -0.70201 | 0.0023588 | -0.017014 | 0.048512 | 0.048724 | 0.048724 | 0.99695 | -0.0059921 | 0.9955 | 0.0055467 | 22.1472
33 | 0.25584 | 0.12312 | -0.25583 | -0.12391 | 2.998e-06 | -0.00078662 | 0.0082212 | 0.0082311 | 0.0082311 | 0.99695 | -0.0059921 | 0.99694 | -0.0058908 | 3.7414
34 | 9.7261 | 4.1895 | -9.7178 | -4.2188 | 0.0083251 | -0.029302 | 0.30603 | 0.30646 | 0.30646 | 0.99894 | -0.021144 | 0.99793 | -0.041215 | 36.3962
35 | 0.33159 | 0.16048 | -0.33159 | -0.1606 | 7.5975e-07 | -0.0001194 | 0.010646 | 0.010647 | 0.010647 | 0.99894 | -0.021144 | 0.99894 | -0.021124 | 4.8396
36 | -11.8462 | -5.1382 | 11.8554 | 5.1191 | 0.0091574 | -0.019041 | 0.37315 | 0.37283 | 0.37315 | 0.99894 | -0.021144 | 0.99985 | -0.0030482 | 44.317
37 | -3.1371 | -1.4323 | 3.1384 | 1.4304 | 0.001274 | -0.0019002 | 0.099798 | 0.09977 | 0.099798 | 0.99755 | -0.038143 | 0.99793 | -0.041215 | 45.3625
38 | 2.8873 | 1.3114 | -2.8841 | -1.3172 | 0.0032165 | -0.0058303 | 0.091769 | 0.09185 | 0.09185 | 0.99755 | -0.038143 | 0.99651 | -0.029743 | 41.7502
39 | 0.24979 | 0.12091 | -0.24979 | -0.12098 | 2.4444e-07 | -6.738e-05 | 0.0080308 | 0.0080316 | 0.0080316 | 0.99755 | -0.038143 | 0.99755 | -0.038134 | 3.6507
40 | 0.1736 | 0.078162 | -0.17359 | -0.0834 | 9.0268e-06 | -0.0052374 | 0.0055074 | 0.0055714 | 0.0055714 | 0.99793 | -0.041215 | 0.99788 | -0.040802 | 2.5324
41 | 6.4058 | 2.7102 | -6.4051 | -2.7095 | 0.00060873 | 0.00077258 | 0.2012 | 0.20121 | 0.20121 | 0.99793 | -0.041215 | 0.9978 | -0.045948 | 24.5372
42 | 0.3974 | 0.19243 | -0.39739 | -0.19246 | 8.8537e-06 | -3.0459e-05 | 0.012791 | 0.012791 | 0.012791 | 0.99651 | -0.029743 | 0.99648 | -0.02989 | 6.0911
43 | 2.4867 | 1.1248 | -2.4839 | -1.1318 | 0.0027809 | -0.0070583 | 0.079063 | 0.079158 | 0.079158 | 0.99651 | -0.029743 | 0.99546 | -0.021379 | 35.9808
44 | 0.095657 | 0.044876 | -0.095656 | -0.046328 | 7.7368e-07 | -0.0014519 | 0.0030639 | 0.0030821 | 0.0030821 | 0.9955 | 0.0055467 | 0.99549 | 0.0056147 | 1.4009
45 | 1.4309 | 0.65713 | -1.4299 | -0.66507 | 0.00097086 | -0.0079425 | 0.04566 | 0.04576 | 0.04576 | 0.9955 | 0.0055467 | 0.99487 | 0.010851 | 20.8001
46 | 0.10743 | 0.047096 | -0.10743 | -0.051259 | 2.7098e-06 | -0.0041625 | 0.0033867 | 0.0034367 | 0.0034367 | 0.99985 | -0.0030482 | 0.99982 | -0.0028557 | 1.5621
47 | -11.9628 | -5.1662 | 11.9644 | 5.1631 | 0.0015526 | -0.0031543 | 0.37622 | 0.37617 | 0.37622 | 0.99985 | -0.0030482 | 1 | 0 | 44.6818
48 | 0.10743 | 0.051259 | -0.10743 | -0.05203 | 5.1086e-07 | -0.00077097 | 0.0034367 | 0.0034464 | 0.0034464 | 0.99982 | -0.0028557 | 0.99982 | -0.0028149 | 1.5665
49 | 2.3911 | 1.0873 | -2.3808 | -1.1155 | 0.010344 | -0.028243 | 0.076173 | 0.076554 | 0.076554 | 0.99546 | -0.021379 | 0.99142 | 0.012413 | 34.7975
50 | 0.092818 | 0.044523 | -0.092818 | -0.044954 | 2.1684e-07 | -0.00043036 | 0.0029853 | 0.0029907 | 0.0029907 | 0.99546 | -0.021379 | 0.99546 | -0.021359 | 1.3594
51 | 2.2003 | 1.0282 | -2.1916 | -1.0562 | 0.0087781 | -0.027973 | 0.070718 | 0.0711 | 0.0711 | 0.99142 | 0.012413 | 0.98774 | 0.045684 | 32.3182
52 | 0.18045 | 0.087343 | -0.18045 | -0.087395 | 2.747e-06 | -5.1366e-05 | 0.0058373 | 0.005838 | 0.005838 | 0.99142 | 0.012413 | 0.99141 | 0.012312 | 2.78
53 | 0.17359 | 0.0834 | -0.17359 | -0.084075 | 1.1791e-06 | -0.00067513 | 0.0055714 | 0.0055798 | 0.0055798 | 0.99788 | -0.040802 | 0.99788 | -0.040743 | 2.5363
54 | 0.35212 | 0.1705 | -0.35212 | -0.17054 | 8.4021e-06 | -3.7972e-05 | 0.011352 | 0.011353 | 0.011353 | 0.99487 | 0.010851 | 0.99484 | 0.010694 | 5.406
55 | 1.0778 | 0.49457 | -1.0768 | -0.50941 | 0.0010187 | -0.014832 | 0.03441 | 0.034595 | 0.034595 | 0.99487 | 0.010851 | 0.99399 | 0.018389 | 15.7252
56 | 2.1916 | 1.0562 | -2.1915 | -1.0563 | 2.6057e-05 | -8.2209e-05 | 0.0711 | 0.071101 | 0.071101 | 0.98774 | 0.045684 | 0.98773 | 0.045787 | 32.3187
57 | 0.18536 | 0.088632 | -0.18535 | -0.08977 | 2.3744e-06 | -0.0011389 | 0.0060135 | 0.0060279 | 0.0060279 | 0.98629 | 0.036462 | 0.98628 | 0.036572 | 2.74
58 | -0.18536 | -0.088632 | 0.18536 | 0.088538 | 5.3934e-06 | -9.3857e-05 | 0.0060135 | 0.0060122 | 0.0060135 | 0.98629 | 0.036462 | 0.98632 | 0.036664 | 2.8636
59 | 0.11507 | 0.054944 | -0.11507 | -0.055731 | 6.3188e-07 | -0.00078701 | 0.0037321 | 0.0037421 | 0.0037421 | 0.98632 | 0.036664 | 0.98631 | 0.036711 | 1.701
60 | 0.073824 | 0.033673 | -0.073824 | -0.035754 | 6.8205e-07 | -0.0020814 | 0.0023748 | 0.0024008 | 0.0024008 | 0.98632 | 0.036664 | 0.98631 | 0.036739 | 1.0913
61 | -0.58668 | -0.28004 | 0.58672 | 0.27999 | 4.0984e-05 | -4.813e-05 | 0.019027 | 0.019026 | 0.019027 | 0.98632 | 0.036664 | 0.98639 | 0.03715 | 9.0604
62 | -0.40073 | -0.19408 | 0.40074 | 0.19329 | 7.6097e-06 | -0.00079387 | 0.012966 | 0.012956 | 0.012966 | 0.9913 | -0.18469 | 0.99132 | -0.18485 | 5.8938
63 | -0.40074 | -0.19329 | 0.40084 | 0.19296 | 9.916e-05 | -0.0003271 | 0.012956 | 0.012951 | 0.012956 | 0.99132 | -0.18485 | 0.99158 | -0.18319 | 6.1696
64 | 0.34669 | 0.14876 | -0.34656 | -0.16719 | 0.00012926 | -0.018432 | 0.010983 | 0.011206 | 0.011206 | 0.99158 | -0.18319 | 0.99123 | -0.18037 | 5.0936
65 | 0.35325 | 0.17095 | -0.35323 | -0.17103 | 1.6545e-05 | -7.3127e-05 | 0.011425 | 0.011426 | 0.011426 | 0.99158 | -0.18319 | 0.99153 | -0.1835 | 5.441
66 | -1.1008 | -0.51267 | 1.1016 | 0.50094 | 0.00084775 | -0.011735 | 0.035352 | 0.035206 | 0.035352 | 0.99158 | -0.18319 | 0.9923 | -0.18914 | 16.0689
67 | 0.34656 | 0.16719 | -0.34655 | -0.16784 | 4.6836e-06 | -0.00065354 | 0.011206 | 0.011214 | 0.011214 | 0.99123 | -0.18037 | 0.99122 | -0.18026 | 5.0973
68 | 0.35323 | 0.17103 | -0.35322 | -0.17107 | 1.0373e-05 | -4.5835e-05 | 0.011426 | 0.011427 | 0.011427 | 0.99153 | -0.1835 | 0.9915 | -0.18369 | 5.4413
69 | 1.3009 | 0.62915 | -1.3009 | -0.62941 | 2.6438e-05 | -0.00025557 | 0.04204 | 0.042043 | 0.042043 | 0.9923 | -0.18914 | 0.99228 | -0.18897 | 19.1107
70 | 1.9486 | 0.93859 | -1.9471 | -0.9379 | 0.0014732 | 0.00068196 | 0.063212 | 0.063215 | 0.063215 | 0.98773 | 0.045787 | 0.98694 | 0.040698 | 30.1022
71 | 0.19429 | 0.093679 | -0.19429 | -0.094097 | 9.5949e-07 | -0.00041805 | 0.0063137 | 0.006319 | 0.006319 | 0.98619 | 0.035866 | 0.98619 | 0.035909 | 2.8723
72 | -0.19429 | -0.093679 | 0.1943 | 0.093441 | 1.5069e-05 | -0.00023705 | 0.0063137 | 0.0063105 | 0.0063137 | 0.98619 | 0.035866 | 0.98627 | 0.036389 | 3.0065
73 | -0.33383 | -0.16102 | 0.33387 | 0.16083 | 3.7877e-05 | -0.00018612 | 0.010848 | 0.010846 | 0.010848 | 0.98627 | 0.036389 | 0.98639 | 0.03715 | 5.1659
74 | 1.6327 | 0.78562 | -1.6318 | -0.78528 | 0.00085751 | 0.00033797 | 0.052996 | 0.052998 | 0.052998 | 0.98694 | 0.040698 | 0.98639 | 0.03715 | 25.2373
75 | -0.2444 | -0.11837 | 0.24456 | 0.11679 | 0.00015754 | -0.0015777 | 0.0078937 | 0.0078725 | 0.0078937 | 0.99309 | 0.016001 | 0.99377 | 0.020362 | 3.7589
76 | 0.38464 | 0.18149 | -0.38462 | -0.18377 | 1.9819e-05 | -0.0022822 | 0.012355 | 0.012383 | 0.012383 | 0.99377 | 0.020362 | 0.99372 | 0.020791 | 5.6287
77 | -0.74747 | -0.35556 | 0.74748 | 0.35526 | 9.9237e-06 | -0.00030029 | 0.024044 | 0.02404 | 0.024044 | 0.99377 | 0.020362 | 0.99378 | 0.020251 | 10.9292
78 | 0.28343 | 0.13476 | -0.28311 | -0.13711 | 0.00032212 | -0.0023503 | 0.0091169 | 0.009149 | 0.009149 | 0.99372 | 0.020791 | 0.99252 | 0.013035 | 4.3567
79 | -0.74748 | -0.35526 | 0.74764 | 0.35011 | 0.00016956 | -0.0051469 | 0.02404 | 0.023976 | 0.02404 | 0.99378 | 0.020251 | 0.99399 | 0.018389 | 10.9275
80 | -0.32913 | -0.15941 | 0.32915 | 0.15929 | 2.1725e-05 | -0.00011388 | 0.010622 | 0.01062 | 0.010622 | 0.99392 | 0.017953 | 0.99399 | 0.018389 | 5.0579
81 | 1.2048 | 0.58284 | -1.2047 | -0.58327 | 3.7185e-05 | -0.00042083 | 0.038936 | 0.038941 | 0.038941 | 0.99228 | -0.18897 | 0.99225 | -0.1887 | 17.7006
82 | 1.2047 | 0.58327 | -1.2047 | -0.58348 | 1.859e-05 | -0.00021033 | 0.038941 | 0.038944 | 0.038944 | 0.99225 | -0.1887 | 0.99223 | -0.18856 | 17.7018

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.0813 | 5.2235

## res_load
| p_mw | q_mvar
0 | 0.3975 | 0.19252
1 | 0.31731 | 0.15368
2 | 0.40673 | 0.19699
3 | 0.22864 | 0.11074
4 | 0.10177 | 0.049291
5 | 0.28068 | 0.13594
6 | 0.37229 | 0.18031
7 | 0.24593 | 0.11911
8 | 0.19566 | 0.094764
9 | 0.27853 | 0.1349
10 | 0.21855 | 0.10585
11 | 0.21266 | 0.10299
12 | 0.19989 | 0.096812
13 | 0.24979 | 0.12098
14 | 0.25583 | 0.12391
15 | 0.10296 | 0.049868
16 | 0.092818 | 0.044954
17 | 0.33159 | 0.1606
18 | 0.39739 | 0.19246
19 | 0.10743 | 0.05203
20 | 0.24768 | 0.11996
21 | 0.17359 | 0.084075
22 | 0.095656 | 0.046328
23 | 0.18045 | 0.087395
24 | 0.18535 | 0.08977
25 | 0.21243 | 0.10288
26 | 0.40073 | 0.19408
27 | 0.35322 | 0.17107
28 | 0.2792 | 0.13522
29 | 0.24296 | 0.11767
30 | 0.19429 | 0.094097
31 | 0.13953 | 0.067579
32 | 0.31443 | 0.15229
33 | 0.2444 | 0.11837
34 | 0.11827 | 0.057281
35 | 0.10119 | 0.049008
36 | 0.32913 | 0.15941
37 | 0.35212 | 0.17054
38 | 0.71121 | 0.34446
39 | 0.11507 | 0.055731
40 | 0.073824 | 0.035754
41 | 0.28311 | 0.13711
42 | 0.096138 | 0.046562
43 | 1.2047 | 0.58348
44 | 0.34655 | 0.16784

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1