## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_384_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_384_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_384_0_node_5 | 20 | n |  | TRUE
3 | bus_MV_384_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_384_0_node_6 | 20 | n |  | TRUE
5 | bus_MV_384_0_node_13 | 20 | n |  | TRUE
6 | bus_MV_384_0_node_169 | 20 | n |  | TRUE
7 | bus_MV_384_0_node_7 | 20 | n |  | TRUE
8 | bus_MV_384_0_node_8 | 20 | n |  | TRUE
9 | bus_MV_384_0_node_18 | 20 | n |  | TRUE
10 | bus_MV_384_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_384_0_node_10 | 20 | n |  | TRUE
12 | bus_MV_384_0_node_114 | 20 | n |  | TRUE
13 | bus_MV_384_0_node_11 | 20 | n |  | TRUE
14 | bus_MV_384_0_node_16 | 20 | n |  | TRUE
15 | bus_MV_384_0_node_182 | 20 | n |  | TRUE
16 | bus_MV_384_0_node_12 | 20 | n |  | TRUE
17 | bus_MV_384_0_node_30 | 20 | n |  | TRUE
18 | bus_MV_384_0_node_14 | 20 | n |  | TRUE
19 | bus_MV_384_0_node_15 | 20 | n |  | TRUE
20 | bus_MV_384_0_node_17 | 20 | n |  | TRUE
21 | bus_MV_384_0_node_175 | 20 | n |  | TRUE
22 | bus_MV_384_0_node_181 | 20 | n |  | TRUE
23 | bus_MV_384_0_node_19 | 20 | n |  | TRUE
24 | bus_MV_384_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_384_0_node_28 | 20 | n |  | TRUE
26 | bus_MV_384_0_node_21 | 20 | n |  | TRUE
27 | bus_MV_384_0_node_22 | 20 | n |  | TRUE
28 | bus_MV_384_0_node_23 | 20 | n |  | TRUE
29 | bus_MV_384_0_node_24 | 20 | n |  | TRUE
30 | bus_MV_384_0_node_25 | 20 | n |  | TRUE
31 | bus_MV_384_0_node_27 | 20 | n |  | TRUE
32 | bus_MV_384_0_node_117 | 20 | n |  | TRUE
33 | bus_MV_384_0_node_29 | 20 | n |  | TRUE
34 | bus_MV_384_0_node_31 | 20 | n |  | TRUE
35 | bus_MV_384_0_node_171 | 20 | n |  | TRUE
36 | bus_MV_384_0_node_168 | 20 | n |  | TRUE
37 | bus_MV_384_0_node_150 | 20 | n |  | TRUE
38 | bus_MV_384_0_node_106 | 20 | n |  | TRUE
39 | bus_MV_384_0_node_180 | 20 | n |  | TRUE
40 | bus_MV_384_0_node_149 | 20 | n |  | TRUE
41 | bus_MV_384_0_node_68 | 20 | n |  | TRUE
42 | bus_MV_384_0_node_112 | 20 | n |  | TRUE
43 | bus_MV_384_0_node_148 | 20 | n |  | TRUE
44 | bus_MV_384_0_node_147 | 20 | n |  | TRUE
45 | bus_MV_384_0_node_146 | 20 | n |  | TRUE
46 | bus_MV_384_0_node_111 | 20 | n |  | TRUE
47 | bus_MV_384_0_node_104 | 20 | n |  | TRUE
48 | bus_MV_384_0_node_102 | 20 | n |  | TRUE
49 | bus_MV_384_0_node_103 | 20 | n |  | TRUE
50 | bus_MV_384_0_node_105 | 20 | n |  | TRUE
51 | bus_MV_384_0_node_110 | 20 | n |  | TRUE
52 | bus_MV_384_0_node_107 | 20 | n |  | TRUE
53 | bus_MV_384_0_node_108 | 20 | n |  | TRUE
54 | bus_MV_384_0_node_109 | 20 | n |  | TRUE
55 | bus_MV_384_0_node_116 | 20 | n |  | TRUE
56 | bus_MV_384_0_node_113 | 20 | n |  | TRUE
57 | bus_MV_384_0_node_115 | 20 | n |  | TRUE
58 | bus_MV_384_0_node_118 | 20 | n |  | TRUE
59 | bus_HV_384_0_node_24 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_384_0_load_0 | 0 | 0.23219 | 0.11245 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_384_0_load_6 | 4 | 0.30584 | 0.14813 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_384_0_load_169 | 6 | 0.24887 | 0.12053 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_384_0_load_18 | 9 | 0.37761 | 0.18288 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_384_0_load_9 | 10 | 0.10002 | 0.048443 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_384_0_load_182 | 15 | 0.16745 | 0.0811 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_384_0_load_12 | 16 | 0.28855 | 0.13975 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_384_0_load_14 | 18 | 0.22565 | 0.10929 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_384_0_load_175 | 21 | 0.23413 | 0.11339 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_384_0_load_181 | 22 | 0.086335 | 0.041814 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_384_0_load_28 | 25 | 0.39447 | 0.19105 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_384_0_load_21 | 26 | 0.36917 | 0.1788 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_384_0_load_22 | 27 | 0.27966 | 0.13545 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_384_0_load_27 | 31 | 0.25542 | 0.1237 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_384_0_load_117 | 32 | 0.13083 | 0.063365 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_384_0_load_29 | 33 | 0.24107 | 0.11675 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_384_0_load_31 | 34 | 0.21826 | 0.10571 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_384_0_load_171 | 35 | 0.1506 | 0.07294 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_384_0_load_168 | 36 | 0.37374 | 0.18101 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_384_0_load_180 | 39 | 0.14109 | 0.068332 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_384_0_load_68 | 41 | 0.12528 | 0.060674 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_384_0_load_112 | 42 | 0.20817 | 0.10082 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_384_0_load_147 | 44 | 0.097781 | 0.047357 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_384_0_load_146 | 45 | 0.099006 | 0.047951 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_384_0_load_102 | 48 | 0.29925 | 0.14493 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_384_0_load_110 | 51 | 0.40303 | 0.1952 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_384_0_load_107 | 52 | 0.1072 | 0.051921 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_384_0_load_108 | 53 | 0.14799 | 0.071676 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_384_0_load_113 | 56 | 0.14668 | 0.071042 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_384_0_load_115 | 57 | 0.081316 | 0.039383 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_384_0_load_118 | 58 | 0.2596 | 0.12573 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_384_0_line_0 |  | 0 | 1 | 0.009006 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_384_0_line_1 |  | 1 | 2 | 0.045336 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_384_0_line_2 |  | 2 | 5 | 0.66657 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_384_0_line_3 |  | 2 | 6 | 0.034439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_384_0_line_4 |  | 2 | 3 | 0.096358 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_384_0_line_5 |  | 3 | 4 | 0.15349 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
6 | MV_384_0_line_6 |  | 4 | 7 | 0.040805 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
7 | MV_384_0_line_7 |  | 5 | 17 | 1.5316 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
8 | MV_384_0_line_8 |  | 5 | 16 | 0.097861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_384_0_line_9 |  | 6 | 14 | 0.006928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_384_0_line_10 |  | 7 | 8 | 0.19455 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_384_0_line_11 |  | 8 | 9 | 0.027237 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
12 | MV_384_0_line_12 |  | 9 | 23 | 0.034651 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
13 | MV_384_0_line_13 |  | 10 | 11 | 0.13824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_384_0_line_14 |  | 10 | 12 | 1.2938 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_384_0_line_15 |  | 11 | 13 | 0.8676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_384_0_line_16 |  | 12 | 56 | 0.22286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_384_0_line_17 |  | 13 | 14 | 1.1101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_384_0_line_18 |  | 13 | 15 | 0.11782 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_384_0_line_19 |  | 14 | 19 | 0.28388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_384_0_line_20 |  | 17 | 33 | 0.14759 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
21 | MV_384_0_line_21 |  | 18 | 19 | 0.11738 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_384_0_line_22 |  | 19 | 20 | 0.66361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_384_0_line_23 |  | 19 | 21 | 0.33789 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_384_0_line_24 |  | 20 | 22 | 0.004825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_384_0_line_25 |  | 23 | 24 | 1.4093 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_384_0_line_26 |  | 24 | 25 | 0.041286 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_384_0_line_27 |  | 25 | 30 | 0.13501 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
28 | MV_384_0_line_28 |  | 26 | 27 | 1.229 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_384_0_line_29 |  | 27 | 28 | 0.004728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_384_0_line_30 |  | 28 | 29 | 0.3194 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_384_0_line_31 |  | 28 | 30 | 0.53653 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_384_0_line_32 |  | 29 | 31 | 0.011385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_384_0_line_33 |  | 31 | 32 | 0.47582 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_384_0_line_34 |  | 32 | 55 | 0.080158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_384_0_line_35 |  | 33 | 34 | 0.39737 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
36 | MV_384_0_line_36 |  | 34 | 35 | 0.91513 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_384_0_line_37 |  | 35 | 38 | 0.025647 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
38 | MV_384_0_line_38 |  | 36 | 37 | 0.039105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_384_0_line_39 |  | 37 | 43 | 0.98948 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_384_0_line_40 |  | 38 | 42 | 1.5577 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_384_0_line_41 |  | 38 | 49 | 1.3237 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
42 | MV_384_0_line_42 |  | 39 | 40 | 0.013928 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_384_0_line_43 |  | 40 | 43 | 0.40367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_384_0_line_44 |  | 41 | 42 | 2.2887 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_384_0_line_45 |  | 43 | 44 | 0.13073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_384_0_line_46 |  | 44 | 47 | 0.21473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_384_0_line_47 |  | 45 | 46 | 0.046968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_384_0_line_48 |  | 46 | 50 | 1.2715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_384_0_line_49 |  | 46 | 52 | 0.8432 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_384_0_line_50 |  | 47 | 50 | 0.80426 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_384_0_line_51 |  | 47 | 49 | 0.52387 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
52 | MV_384_0_line_52 |  | 48 | 49 | 0.055362 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_384_0_line_53 |  | 50 | 51 | 0.037828 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_384_0_line_54 |  | 53 | 54 | 0.26482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_384_0_line_55 |  | 54 | 55 | 1.6571 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_384_0_line_56 |  | 55 | 57 | 0.029216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_384_0_line_57 |  | 57 | 58 | 0.1247 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_384_0_trafo_24 | 25 MVA 110/20 kV | 59 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2554754.3351 | 1151205.7807
1 | 2554746.7079 | 1151200.9578
2 | 2554712.5212 | 1151175.3687
3 | 2554713.3748 | 1151258.0606
4 | 2554752.125 | 1151406.5789
5 | 2554282.4414 | 1151415.2264
6 | 2554714.8413 | 1151141.0335
7 | 2554744.9961 | 1151446.4754
8 | 2554779.9778 | 1151609.5076
9 | 2554797.0678 | 1151630.7011
10 | 2555048.1667 | 1149822.6729
11 | 2555012.0364 | 1149954.6557
12 | 2556325.7567 | 1149618.3618
13 | 2554876.2681 | 1150398.9138
14 | 2554714.7661 | 1151134.1082
15 | 2554868.9675 | 1150281.3189
16 | 2554375.688 | 1151444.9222
17 | 2553254.636 | 1152550.688
18 | 2554875.4257 | 1150806.9642
19 | 2554858.5675 | 1150923.1286
20 | 2555288.3727 | 1150759.2872
21 | 2555112.4087 | 1151146.1429
22 | 2555292.5455 | 1150756.8438
23 | 2554821.528 | 1151655.3077
24 | 2554844.4728 | 1152511.4448
25 | 2554885.1986 | 1152518.8649
26 | 2556242.7414 | 1152840.4256
27 | 2555031.3563 | 1153047.5318
28 | 2555029.663 | 1153051.9468
29 | 2554932.6613 | 1153285.9836
30 | 2555004.475 | 1152582.1256
31 | 2554935.4831 | 1153297.0126
32 | 2554831.8521 | 1153761.4068
33 | 2553190.879 | 1152681.997
34 | 2553370.6329 | 1153036.3836
35 | 2553464.4836 | 1153946.6847
36 | 2554167.7296 | 1154696.924
37 | 2554194.0012 | 1154725.9498
38 | 2553455.3478 | 1153970.6123
39 | 2553869.2136 | 1155359.0641
40 | 2553867.4737 | 1155345.2481
41 | 2550710.8475 | 1152418.4539
42 | 2551943.7635 | 1154346.6861
43 | 2553573.8718 | 1155216.0874
44 | 2553462.6634 | 1155283.6331
45 | 2554229.5041 | 1155893.5377
46 | 2554191.2563 | 1155916.3002
47 | 2553343.1616 | 1155459.0347
48 | 2553436.2981 | 1155043.8292
49 | 2553387.5182 | 1155070.01
50 | 2553220.1828 | 1156134.2096
51 | 2553257.8777 | 1156137.3845
52 | 2554033.577 | 1156744.6247
53 | 2555810.0035 | 1155365.8536
54 | 2555824.7347 | 1155103.843
55 | 2554777.0998 | 1153819.9512
56 | 2556505.7896 | 1149713.9725
57 | 2554754.4703 | 1153801.4722
58 | 2554684.2729 | 1153698.4098
59 | 2554932.6613 | 1153285.9836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9912 | -0.13922 | 0.23219 | 0.11245
1 | 0.9912 | -0.13924 | 0 | 0
2 | 0.99122 | -0.13937 | 0 | 0
3 | 0.99143 | -0.13647 | 0 | 0
4 | 0.99217 | -0.11566 | 0.30584 | 0.14813
5 | 0.99023 | -0.15251 | 0 | 0
6 | 0.99116 | -0.13904 | 0.24887 | 0.12053
7 | 0.99227 | -0.11436 | 0 | 0
8 | 0.99274 | -0.10815 | 0 | 0
9 | 0.9928 | -0.10728 | 0.37761 | 0.18288
10 | 0.99027 | -0.1347 | 0.10002 | 0.048443
11 | 0.99031 | -0.13504 | 0 | 0
12 | 0.9899 | -0.13771 | 0 | 0
13 | 0.99058 | -0.13652 | 0 | 0
14 | 0.99116 | -0.13899 | 0 | 0
15 | 0.99054 | -0.13676 | 0.16745 | 0.0811
16 | 0.99018 | -0.15286 | 0.28855 | 0.13975
17 | 0.98588 | -0.27573 | 0 | 0
18 | 0.99091 | -0.13779 | 0.22565 | 0.10929
19 | 0.99096 | -0.13747 | 0 | 0
20 | 0.99089 | -0.13711 | 0 | 0
21 | 0.9908 | -0.13845 | 0.23413 | 0.11339
22 | 0.99089 | -0.1371 | 0.086335 | 0.041814
23 | 0.99289 | -0.1061 | 0 | 0
24 | 0.99656 | -0.057379 | 0 | 0
25 | 0.99667 | -0.055933 | 0.39447 | 0.19105
26 | 0.99811 | -0.018705 | 0.36917 | 0.1788
27 | 0.99899 | -0.01313 | 0.27966 | 0.13545
28 | 0.99899 | -0.013166 | 0 | 0
29 | 1 | 0 | -6.871 | -2.9783
30 | 0.99749 | -0.033185 | 0 | 0
31 | 0.99999 | 0.00011078 | 0.25542 | 0.1237
32 | 0.99942 | -0.0039138 | 0.13083 | 0.063365
33 | 0.98569 | -0.27838 | 0.24107 | 0.11675
34 | 0.98467 | -0.30757 | 0.21826 | 0.10571
35 | 0.98258 | -0.36901 | 0.1506 | 0.07294
36 | 0.9804 | -0.38455 | 0.37374 | 0.18101
37 | 0.98042 | -0.38473 | 0 | 0
38 | 0.98255 | -0.36938 | 0 | 0
39 | 0.98082 | -0.38793 | 0.14109 | 0.068332
40 | 0.98082 | -0.38795 | 0 | 0
41 | 0.98097 | -0.38024 | 0.12528 | 0.060674
42 | 0.98153 | -0.37637 | 0.20817 | 0.10082
43 | 0.98089 | -0.38853 | 0 | 0
44 | 0.98098 | -0.38906 | 0.097781 | 0.047357
45 | 0.98018 | -0.3843 | 0.099006 | 0.047951
46 | 0.98019 | -0.38435 | 0 | 0
47 | 0.98115 | -0.39015 | 0 | 0
48 | 0.98145 | -0.38539 | 0.29925 | 0.14493
49 | 0.98149 | -0.38518 | 0 | 0
50 | 0.98052 | -0.38621 | 0 | 0
51 | 0.98049 | -0.38641 | 0.40303 | 0.1952
52 | 0.98001 | -0.38552 | 0.1072 | 0.051921
53 | 0.99886 | -0.0070784 | 0.14799 | 0.071676
54 | 0.99891 | -0.0074949 | 0 | 0
55 | 0.99937 | -0.0034958 | 0 | 0
56 | 0.98986 | -0.13735 | 0.14668 | 0.071042
57 | 0.99936 | -0.0033774 | 0.081316 | 0.039383
58 | 0.9993 | -0.0037699 | 0.2596 | 0.12573
59 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23219 | -0.11245 | 0.23219 | 0.11224 | 6.7848e-07 | -0.00021106 | 0.0075135 | 0.0075108 | 0.0075135 | 0.9912 | -0.13922 | 0.9912 | -0.13924 | 3.4152
1 | -0.23219 | -0.11224 | 0.23219 | 0.11118 | 3.4082e-06 | -0.0010625 | 0.0075108 | 0.0074974 | 0.0075108 | 0.9912 | -0.13924 | 0.99122 | -0.13937 | 3.414
2 | 2.773 | 1.165 | -2.7706 | -1.1857 | 0.0024777 | -0.020645 | 0.087598 | 0.087853 | 0.087853 | 0.99122 | -0.13937 | 0.99023 | -0.15251 | 24.2689
3 | 1.2098 | 0.50555 | -1.2097 | -0.50634 | 6.7054e-05 | -0.00078795 | 0.038185 | 0.038194 | 0.038194 | 0.99122 | -0.13937 | 0.99116 | -0.13904 | 17.361
4 | -4.215 | -1.7817 | 4.2158 | 1.7791 | 0.00082641 | -0.002648 | 0.13327 | 0.13324 | 0.13327 | 0.99122 | -0.13937 | 0.99143 | -0.13647 | 36.8155
5 | -4.2158 | -1.7791 | 4.2183 | 1.7818 | 0.0025012 | 0.0026712 | 0.13324 | 0.13323 | 0.13324 | 0.99143 | -0.13647 | 0.99217 | -0.11566 | 38.0672
6 | -4.5242 | -1.9299 | 4.5246 | 1.9288 | 0.00040359 | -0.0010849 | 0.14311 | 0.14309 | 0.14311 | 0.99217 | -0.11566 | 0.99227 | -0.11436 | 39.5326
7 | 2.482 | 1.046 | -2.4733 | -1.038 | 0.0086705 | 0.0080383 | 0.078519 | 0.07854 | 0.07854 | 0.99023 | -0.15251 | 0.98588 | -0.27573 | 22.4401
8 | 0.28857 | 0.13965 | -0.28855 | -0.13975 | 1.5231e-05 | -0.00010501 | 0.0093456 | 0.0093471 | 0.0093471 | 0.99023 | -0.15251 | 0.99018 | -0.15286 | 4.451
9 | 0.96083 | 0.38581 | -0.96082 | -0.38597 | 8.4112e-06 | -0.00016001 | 0.030156 | 0.030158 | 0.030158 | 0.99116 | -0.13904 | 0.99116 | -0.13899 | 13.708
10 | -4.5246 | -1.9288 | 4.5265 | 1.9236 | 0.001923 | -0.0051771 | 0.14309 | 0.14302 | 0.14309 | 0.99227 | -0.11436 | 0.99274 | -0.10815 | 39.5283
11 | -4.5265 | -1.9236 | 4.5268 | 1.9229 | 0.00026906 | -0.00072541 | 0.14302 | 0.14301 | 0.14302 | 0.99274 | -0.10815 | 0.9928 | -0.10728 | 39.5076
12 | -4.9044 | -2.1058 | 4.9048 | 2.1049 | 0.00040306 | -0.00087889 | 0.15519 | 0.15518 | 0.15519 | 0.9928 | -0.10728 | 0.99289 | -0.1061 | 42.871
13 | -0.24676 | -0.11279 | 0.24677 | 0.10956 | 1.1488e-05 | -0.0032334 | 0.0079092 | 0.0078705 | 0.0079092 | 0.99027 | -0.1347 | 0.99031 | -0.13504 | 3.5951
14 | 0.14674 | 0.064347 | -0.14669 | -0.06583 | 5.0484e-05 | -0.0014825 | 0.0046709 | 0.0046888 | 0.0046888 | 0.99027 | -0.1347 | 0.9899 | -0.13771 | 2.2327
15 | -0.24677 | -0.10956 | 0.24684 | 0.089257 | 6.9658e-05 | -0.0203 | 0.0078705 | 0.0076493 | 0.0078705 | 0.99031 | -0.13504 | 0.99058 | -0.13652 | 3.5775
16 | 0.14669 | 0.06583 | -0.14668 | -0.071042 | 6.6295e-06 | -0.005212 | 0.0046888 | 0.004753 | 0.004753 | 0.9899 | -0.13771 | 0.98986 | -0.13735 | 2.1605
17 | -0.4143 | -0.17022 | 0.41455 | 0.14427 | 0.00024714 | -0.02595 | 0.013053 | 0.012784 | 0.013053 | 0.99058 | -0.13652 | 0.99116 | -0.13899 | 5.9331
18 | 0.16746 | 0.080966 | -0.16745 | -0.0811 | 6.1699e-06 | -0.00013415 | 0.0054205 | 0.0054222 | 0.0054222 | 0.99058 | -0.13652 | 0.99054 | -0.13676 | 2.582
19 | 0.54628 | 0.2417 | -0.54616 | -0.24832 | 0.00011523 | -0.006623 | 0.017398 | 0.017477 | 0.017477 | 0.99116 | -0.13899 | 0.99096 | -0.13747 | 7.9443
20 | 2.4733 | 1.038 | -2.4729 | -1.0426 | 0.00044005 | -0.0046005 | 0.07854 | 0.078596 | 0.078596 | 0.98588 | -0.27573 | 0.98569 | -0.27838 | 21.7116
21 | -0.22565 | -0.10929 | 0.22566 | 0.10915 | 1.1155e-05 | -0.00013061 | 0.007304 | 0.0073023 | 0.007304 | 0.99091 | -0.13779 | 0.99096 | -0.13747 | 3.4781
22 | 0.086342 | 0.026145 | -0.086336 | -0.041701 | 6.4699e-06 | -0.015556 | 0.002628 | 0.0027932 | 0.0027932 | 0.99096 | -0.13747 | 0.99089 | -0.13711 | 1.2697
23 | 0.23416 | 0.11302 | -0.23413 | -0.11339 | 3.4561e-05 | -0.00037441 | 0.0075743 | 0.0075793 | 0.0075793 | 0.99096 | -0.13747 | 0.9908 | -0.13845 | 3.6092
24 | 0.086336 | 0.041701 | -0.086335 | -0.041814 | 5.0292e-08 | -0.0001131 | 0.0027932 | 0.0027947 | 0.0027947 | 0.99089 | -0.13711 | 0.99089 | -0.1371 | 1.2703
25 | -4.9048 | -2.1049 | 4.9211 | 2.0689 | 0.016334 | -0.035969 | 0.15518 | 0.15464 | 0.15518 | 0.99289 | -0.1061 | 0.99656 | -0.057379 | 42.8672
26 | -4.9211 | -2.0689 | 4.9216 | 2.0679 | 0.00047679 | -0.0010603 | 0.15464 | 0.15462 | 0.15464 | 0.99656 | -0.057379 | 0.99667 | -0.055933 | 42.7173
27 | -5.3161 | -2.2589 | 5.3195 | 2.2627 | 0.003469 | 0.0037991 | 0.1673 | 0.1673 | 0.1673 | 0.99667 | -0.055933 | 0.99749 | -0.033185 | 47.7997
28 | -0.36917 | -0.1788 | 0.36947 | 0.17752 | 0.00030769 | -0.0012702 | 0.011863 | 0.011845 | 0.011863 | 0.99811 | -0.018705 | 0.99899 | -0.01313 | 5.6492
29 | -0.64913 | -0.31297 | 0.64914 | 0.31286 | 2.737e-06 | -0.00011185 | 0.020824 | 0.020823 | 0.020824 | 0.99899 | -0.01313 | 0.99899 | -0.013166 | 9.4656
30 | -5.9759 | -2.5625 | 5.9814 | 2.5555 | 0.0054426 | -0.0069912 | 0.18789 | 0.18777 | 0.18789 | 0.99899 | -0.013166 | 1 | 0 | 51.9034
31 | 5.3268 | 2.2497 | -5.3195 | -2.2627 | 0.007244 | -0.013077 | 0.16709 | 0.1673 | 0.1673 | 0.99899 | -0.013166 | 0.99749 | -0.033185 | 46.2147
32 | 0.87562 | 0.41225 | -0.87561 | -0.41252 | 1.1865e-05 | -0.00026831 | 0.027938 | 0.027942 | 0.027942 | 1 | 0 | 0.99999 | 0.00011078 | 12.7008
33 | 0.62019 | 0.28882 | -0.61986 | -0.28918 | 0.00033079 | -0.0003605 | 0.01975 | 0.019757 | 0.019757 | 0.99999 | 0.00011078 | 0.99942 | -0.0039138 | 9.408
34 | 0.48903 | 0.22581 | -0.489 | -0.22772 | 2.5942e-05 | -0.0019038 | 0.015558 | 0.015582 | 0.015582 | 0.99942 | -0.0039138 | 0.99937 | -0.0034958 | 7.0826
35 | 2.2318 | 0.92582 | -2.23 | -0.92421 | 0.0018268 | 0.0016048 | 0.070763 | 0.070769 | 0.070769 | 0.98569 | -0.27838 | 0.98467 | -0.30757 | 20.2197
36 | 2.0117 | 0.81851 | -2.0083 | -0.81572 | 0.0034065 | 0.0027837 | 0.063673 | 0.063685 | 0.063685 | 0.98467 | -0.30757 | 0.98258 | -0.36901 | 18.1957
37 | 1.8577 | 0.74278 | -1.8577 | -0.7436 | 4.2807e-05 | -0.00081833 | 0.05878 | 0.058789 | 0.058789 | 0.98258 | -0.36901 | 0.98255 | -0.36938 | 16.2401
38 | -0.37374 | -0.18101 | 0.37375 | 0.18012 | 7.7979e-06 | -0.00089513 | 0.012227 | 0.012216 | 0.012227 | 0.9804 | -0.38455 | 0.98042 | -0.38473 | 5.5579
39 | -0.37375 | -0.18012 | 0.37394 | 0.15745 | 0.00019259 | -0.022663 | 0.012216 | 0.011941 | 0.012216 | 0.98042 | -0.38473 | 0.98089 | -0.38853 | 5.5527
40 | 0.33384 | 0.15732 | -0.33351 | -0.15891 | 0.00032695 | -0.0015886 | 0.010843 | 0.010865 | 0.010865 | 0.98255 | -0.36938 | 0.98153 | -0.37637 | 5.1739
41 | 1.5239 | 0.58628 | -1.5224 | -0.629 | 0.0014857 | -0.042714 | 0.04797 | 0.048447 | 0.048447 | 0.98255 | -0.36938 | 0.98149 | -0.38518 | 13.3832
42 | -0.14109 | -0.068332 | 0.14109 | 0.068013 | 3.9548e-07 | -0.00031979 | 0.0046139 | 0.0046098 | 0.0046139 | 0.98082 | -0.38793 | 0.98082 | -0.38795 | 2.0972
43 | -0.14109 | -0.068013 | 0.1411 | 0.058743 | 1.1168e-05 | -0.0092693 | 0.0046098 | 0.0044981 | 0.0046098 | 0.98082 | -0.38795 | 0.98089 | -0.38853 | 2.0954
44 | -0.12528 | -0.060674 | 0.12534 | 0.058085 | 6.7862e-05 | -0.0025883 | 0.0040962 | 0.004063 | 0.0040962 | 0.98097 | -0.38024 | 0.98153 | -0.37637 | 1.9506
45 | -0.51504 | -0.2162 | 0.51509 | 0.21321 | 4.7064e-05 | -0.0029894 | 0.016439 | 0.016405 | 0.016439 | 0.98089 | -0.38853 | 0.98098 | -0.38906 | 7.4722
46 | -0.61287 | -0.26057 | 0.61298 | 0.25566 | 0.00010978 | -0.0049021 | 0.019597 | 0.019541 | 0.019597 | 0.98098 | -0.38906 | 0.98115 | -0.39015 | 8.9079
47 | -0.099006 | -0.047951 | 0.099007 | 0.046874 | 6.5536e-07 | -0.0010772 | 0.0032398 | 0.0032261 | 0.0032398 | 0.98018 | -0.3843 | 0.98019 | -0.38435 | 1.4727
48 | -0.20623 | -0.097839 | 0.2063 | 0.068684 | 7.2821e-05 | -0.029155 | 0.0067225 | 0.0064015 | 0.0067225 | 0.98019 | -0.38435 | 0.98052 | -0.38621 | 3.0557
49 | 0.10722 | 0.050965 | -0.1072 | -0.051921 | 1.843e-05 | -0.00095541 | 0.0034963 | 0.0035087 | 0.0035087 | 0.98019 | -0.38435 | 0.98001 | -0.38552 | 1.6708
50 | 0.60975 | 0.24549 | -0.60934 | -0.26384 | 0.00040587 | -0.018353 | 0.019339 | 0.019549 | 0.019549 | 0.98115 | -0.39015 | 0.98052 | -0.38621 | 8.8859
51 | -1.2227 | -0.50115 | 1.2231 | 0.48412 | 0.00038061 | -0.01703 | 0.03888 | 0.03869 | 0.03888 | 0.98115 | -0.39015 | 0.98149 | -0.38518 | 10.7403
52 | -0.29925 | -0.14493 | 0.29926 | 0.14487 | 9.4334e-06 | -5.7756e-05 | 0.0097798 | 0.009779 | 0.0097798 | 0.98145 | -0.38539 | 0.98149 | -0.38518 | 4.657
53 | 0.40304 | 0.19516 | -0.40303 | -0.1952 | 1.1715e-05 | -3.6078e-05 | 0.013184 | 0.013184 | 0.013184 | 0.98052 | -0.38621 | 0.98049 | -0.38641 | 6.2782
54 | -0.14799 | -0.071676 | 0.148 | 0.065369 | 7.8537e-06 | -0.0063064 | 0.0047523 | 0.0046757 | 0.0047523 | 0.99886 | -0.0070784 | 0.99891 | -0.0074949 | 2.1601
55 | -0.148 | -0.065369 | 0.14806 | 0.063435 | 6.423e-05 | -0.0019346 | 0.0046757 | 0.0046529 | 0.0046757 | 0.99891 | -0.0074949 | 0.99937 | -0.0034958 | 2.2265
56 | 0.34094 | 0.16428 | -0.34093 | -0.16498 | 4.6649e-06 | -0.00069529 | 0.010932 | 0.010941 | 0.010941 | 0.99937 | -0.0034958 | 0.99936 | -0.0033774 | 4.973
57 | 0.25962 | 0.12559 | -0.2596 | -0.12573 | 1.5423e-05 | -0.000139 | 0.0083308 | 0.0083326 | 0.0083326 | 0.99936 | -0.0033774 | 0.9993 | -0.0037699 | 3.9679

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.871 | 2.9783

## res_load
| p_mw | q_mvar
0 | 0.23219 | 0.11245
1 | 0.30584 | 0.14813
2 | 0.24887 | 0.12053
3 | 0.37761 | 0.18288
4 | 0.10002 | 0.048443
5 | 0.16745 | 0.0811
6 | 0.28855 | 0.13975
7 | 0.22565 | 0.10929
8 | 0.23413 | 0.11339
9 | 0.086335 | 0.041814
10 | 0.39447 | 0.19105
11 | 0.36917 | 0.1788
12 | 0.27966 | 0.13545
13 | 0.25542 | 0.1237
14 | 0.13083 | 0.063365
15 | 0.24107 | 0.11675
16 | 0.21826 | 0.10571
17 | 0.1506 | 0.07294
18 | 0.37374 | 0.18101
19 | 0.14109 | 0.068332
20 | 0.12528 | 0.060674
21 | 0.20817 | 0.10082
22 | 0.097781 | 0.047357
23 | 0.099006 | 0.047951
24 | 0.29925 | 0.14493
25 | 0.40303 | 0.1952
26 | 0.1072 | 0.051921
27 | 0.14799 | 0.071676
28 | 0.14668 | 0.071042
29 | 0.081316 | 0.039383
30 | 0.2596 | 0.12573

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1