## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_384_1_node_32 | 20 | n |  | TRUE
1 | bus_MV_384_1_node_33 | 20 | n |  | TRUE
2 | bus_MV_384_1_node_34 | 20 | n |  | TRUE
3 | bus_MV_384_1_node_40 | 20 | n |  | TRUE
4 | bus_MV_384_1_node_35 | 20 | n |  | TRUE
5 | bus_MV_384_1_node_51 | 20 | n |  | TRUE
6 | bus_MV_384_1_node_36 | 20 | n |  | TRUE
7 | bus_MV_384_1_node_37 | 20 | n |  | TRUE
8 | bus_MV_384_1_node_44 | 20 | n |  | TRUE
9 | bus_MV_384_1_node_119 | 20 | n |  | TRUE
10 | bus_MV_384_1_node_46 | 20 | n |  | TRUE
11 | bus_MV_384_1_node_43 | 20 | n |  | TRUE
12 | bus_MV_384_1_node_38 | 20 | n |  | TRUE
13 | bus_MV_384_1_node_42 | 20 | n |  | TRUE
14 | bus_MV_384_1_node_170 | 20 | n |  | TRUE
15 | bus_MV_384_1_node_71 | 20 | n |  | TRUE
16 | bus_MV_384_1_node_39 | 20 | n |  | TRUE
17 | bus_MV_384_1_node_123 | 20 | n |  | TRUE
18 | bus_MV_384_1_node_128 | 20 | n |  | TRUE
19 | bus_MV_384_1_node_41 | 20 | n |  | TRUE
20 | bus_MV_384_1_node_127 | 20 | n |  | TRUE
21 | bus_MV_384_1_node_178 | 20 | n |  | TRUE
22 | bus_MV_384_1_node_122 | 20 | n |  | TRUE
23 | bus_MV_384_1_node_50 | 20 | n |  | TRUE
24 | bus_MV_384_1_node_49 | 20 | n |  | TRUE
25 | bus_MV_384_1_node_52 | 20 | n |  | TRUE
26 | bus_MV_384_1_node_59 | 20 | n |  | TRUE
27 | bus_MV_384_1_node_70 | 20 | n |  | TRUE
28 | bus_MV_384_1_node_124 | 20 | n |  | TRUE
29 | bus_MV_384_1_node_130 | 20 | n |  | TRUE
30 | bus_MV_384_1_node_133 | 20 | n |  | TRUE
31 | bus_MV_384_1_node_164 | 20 | n |  | TRUE
32 | bus_MV_384_1_node_121 | 20 | n |  | TRUE
33 | bus_MV_384_1_node_45 | 20 | n |  | TRUE
34 | bus_MV_384_1_node_47 | 20 | n |  | TRUE
35 | bus_MV_384_1_node_48 | 20 | n |  | TRUE
36 | bus_MV_384_1_node_53 | 20 | n |  | TRUE
37 | bus_MV_384_1_node_161 | 20 | n |  | TRUE
38 | bus_MV_384_1_node_65 | 20 | n |  | TRUE
39 | bus_MV_384_1_node_151 | 20 | n |  | TRUE
40 | bus_MV_384_1_node_54 | 20 | n |  | TRUE
41 | bus_MV_384_1_node_55 | 20 | n |  | TRUE
42 | bus_MV_384_1_node_56 | 20 | n |  | TRUE
43 | bus_MV_384_1_node_57 | 20 | n |  | TRUE
44 | bus_MV_384_1_node_120 | 20 | n |  | TRUE
45 | bus_MV_384_1_node_58 | 20 | n |  | TRUE
46 | bus_MV_384_1_node_162 | 20 | n |  | TRUE
47 | bus_MV_384_1_node_163 | 20 | n |  | TRUE
48 | bus_MV_384_1_node_62 | 20 | n |  | TRUE
49 | bus_MV_384_1_node_166 | 20 | n |  | TRUE
50 | bus_MV_384_1_node_167 | 20 | n |  | TRUE
51 | bus_MV_384_1_node_157 | 20 | n |  | TRUE
52 | bus_MV_384_1_node_60 | 20 | n |  | TRUE
53 | bus_MV_384_1_node_61 | 20 | n |  | TRUE
54 | bus_MV_384_1_node_66 | 20 | n |  | TRUE
55 | bus_MV_384_1_node_63 | 20 | n |  | TRUE
56 | bus_MV_384_1_node_64 | 20 | n |  | TRUE
57 | bus_MV_384_1_node_72 | 20 | n |  | TRUE
58 | bus_MV_384_1_node_96 | 20 | n |  | TRUE
59 | bus_MV_384_1_node_165 | 20 | n |  | TRUE
60 | bus_MV_384_1_node_92 | 20 | n |  | TRUE
61 | bus_MV_384_1_node_155 | 20 | n |  | TRUE
62 | bus_MV_384_1_node_173 | 20 | n |  | TRUE
63 | bus_MV_384_1_node_74 | 20 | n |  | TRUE
64 | bus_MV_384_1_node_75 | 20 | n |  | TRUE
65 | bus_MV_384_1_node_77 | 20 | n |  | TRUE
66 | bus_MV_384_1_node_86 | 20 | n |  | TRUE
67 | bus_MV_384_1_node_160 | 20 | n |  | TRUE
68 | bus_MV_384_1_node_82 | 20 | n |  | TRUE
69 | bus_MV_384_1_node_84 | 20 | n |  | TRUE
70 | bus_MV_384_1_node_78 | 20 | n |  | TRUE
71 | bus_MV_384_1_node_156 | 20 | n |  | TRUE
72 | bus_MV_384_1_node_129 | 20 | n |  | TRUE
73 | bus_MV_384_1_node_79 | 20 | n |  | TRUE
74 | bus_MV_384_1_node_80 | 20 | n |  | TRUE
75 | bus_MV_384_1_node_81 | 20 | n |  | TRUE
76 | bus_MV_384_1_node_152 | 20 | n |  | TRUE
77 | bus_MV_384_1_node_99 | 20 | n |  | TRUE
78 | bus_MV_384_1_node_83 | 20 | n |  | TRUE
79 | bus_MV_384_1_node_85 | 20 | n |  | TRUE
80 | bus_MV_384_1_node_87 | 20 | n |  | TRUE
81 | bus_MV_384_1_node_137 | 20 | n |  | TRUE
82 | bus_MV_384_1_node_135 | 20 | n |  | TRUE
83 | bus_MV_384_1_node_88 | 20 | n |  | TRUE
84 | bus_MV_384_1_node_89 | 20 | n |  | TRUE
85 | bus_MV_384_1_node_94 | 20 | n |  | TRUE
86 | bus_MV_384_1_node_91 | 20 | n |  | TRUE
87 | bus_MV_384_1_node_142 | 20 | n |  | TRUE
88 | bus_MV_384_1_node_95 | 20 | n |  | TRUE
89 | bus_MV_384_1_node_93 | 20 | n |  | TRUE
90 | bus_MV_384_1_node_101 | 20 | n |  | TRUE
91 | bus_MV_384_1_node_140 | 20 | n |  | TRUE
92 | bus_MV_384_1_node_141 | 20 | n |  | TRUE
93 | bus_MV_384_1_node_143 | 20 | n |  | TRUE
94 | bus_MV_384_1_node_139 | 20 | n |  | TRUE
95 | bus_MV_384_1_node_97 | 20 | n |  | TRUE
96 | bus_MV_384_1_node_98 | 20 | n |  | TRUE
97 | bus_MV_384_1_node_100 | 20 | n |  | TRUE
98 | bus_MV_384_1_node_138 | 20 | n |  | TRUE
99 | bus_MV_384_1_node_136 | 20 | n |  | TRUE
100 | bus_MV_384_1_node_125 | 20 | n |  | TRUE
101 | bus_MV_384_1_node_126 | 20 | n |  | TRUE
102 | bus_MV_384_1_node_131 | 20 | n |  | TRUE
103 | bus_MV_384_1_node_132 | 20 | n |  | TRUE
104 | bus_MV_384_1_node_134 | 20 | n |  | TRUE
105 | bus_MV_384_1_node_144 | 20 | n |  | TRUE
106 | bus_MV_384_1_node_153 | 20 | n |  | TRUE
107 | bus_MV_384_1_node_145 | 20 | n |  | TRUE
108 | bus_MV_384_1_node_154 | 20 | n |  | TRUE
109 | bus_MV_384_1_node_174 | 20 | n |  | TRUE
110 | bus_MV_384_1_node_172 | 20 | n |  | TRUE
111 | bus_MV_384_1_node_158 | 20 | n |  | TRUE
112 | bus_MV_384_1_node_177 | 20 | n |  | TRUE
113 | bus_MV_384_1_node_176 | 20 | n |  | TRUE
114 | bus_MV_384_1_node_179 | 20 | n |  | TRUE
115 | bus_HV_384_1_node_78 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_384_1_load_32 | 0 | 0.31178 | 0.151 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_384_1_load_51 | 5 | 0.37825 | 0.18319 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_384_1_load_44 | 8 | 0.32736 | 0.15855 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_384_1_load_119 | 9 | 0.097003 | 0.046981 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_384_1_load_42 | 13 | 0.36643 | 0.17747 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_384_1_load_170 | 14 | 0.1016 | 0.049205 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_384_1_load_123 | 17 | 0.10751 | 0.052067 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_384_1_load_127 | 20 | 0.444 | 0.21504 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_384_1_load_178 | 21 | 0.3215 | 0.15571 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_384_1_load_52 | 25 | 0.40804 | 0.19762 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_384_1_load_59 | 26 | 0.067652 | 0.032765 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_384_1_load_70 | 27 | 0.35283 | 0.17088 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_384_1_load_133 | 30 | 0.30996 | 0.15012 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_384_1_load_121 | 32 | 0.076621 | 0.037109 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_384_1_load_45 | 33 | 0.3314 | 0.1605 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_384_1_load_48 | 35 | 0.07227 | 0.035002 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_384_1_load_53 | 36 | 0.091984 | 0.04455 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_384_1_load_161 | 37 | 0.097443 | 0.047194 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_384_1_load_151 | 39 | 0.23076 | 0.11176 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_384_1_load_54 | 40 | 0.31285 | 0.15152 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_384_1_load_120 | 44 | 0.12003 | 0.058135 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_384_1_load_58 | 45 | 0.1107 | 0.053613 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_384_1_load_162 | 46 | 0.37741 | 0.18279 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_384_1_load_167 | 50 | 0.16787 | 0.081303 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_384_1_load_157 | 51 | 0.050938 | 0.02467 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_384_1_load_60 | 52 | 0.24945 | 0.12082 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_384_1_load_66 | 54 | 0.098477 | 0.047695 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_384_1_load_63 | 55 | 0.062876 | 0.030452 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_384_1_load_72 | 57 | 0.2088 | 0.10113 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_384_1_load_165 | 59 | 0.1281 | 0.062044 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_384_1_load_155 | 61 | 0.39271 | 0.1902 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_384_1_load_74 | 63 | 0.23275 | 0.11273 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_384_1_load_160 | 67 | 0.20522 | 0.099393 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_384_1_load_82 | 68 | 0.23056 | 0.11167 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_384_1_load_156 | 71 | 0.14025 | 0.067925 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_384_1_load_129 | 72 | 0.12551 | 0.060787 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_384_1_load_79 | 73 | 0.14889 | 0.072109 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_384_1_load_152 | 76 | 0.32681 | 0.15828 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_384_1_load_83 | 78 | 0.26628 | 0.12897 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_384_1_load_85 | 79 | 0.094544 | 0.04579 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_384_1_load_135 | 82 | 0.089982 | 0.04358 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_384_1_load_88 | 83 | 0.39806 | 0.19279 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_384_1_load_142 | 87 | 0.18029 | 0.087319 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_384_1_load_95 | 88 | 0.39114 | 0.18944 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_384_1_load_101 | 90 | 0.19119 | 0.092599 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_384_1_load_141 | 92 | 0.21306 | 0.10319 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_384_1_load_139 | 94 | 0.073586 | 0.035639 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_384_1_load_97 | 95 | 0.3479 | 0.1685 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_384_1_load_138 | 98 | 0.090108 | 0.043641 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_384_1_load_126 | 101 | 1.0703 | 0.51836 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_384_1_load_132 | 103 | 0.52518 | 0.25436 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_384_1_load_134 | 104 | 0.30145 | 0.146 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_384_1_load_153 | 106 | 0.2063 | 0.099916 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_384_1_load_154 | 108 | 0.14565 | 0.070543 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_384_1_load_172 | 110 | 0.38398 | 0.18597 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_384_1_load_176 | 113 | 0.16792 | 0.08133 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_384_1_load_179 | 114 | 0.1162 | 0.056276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_384_1_line_0 |  | 0 | 1 | 0.029152 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_384_1_line_1 |  | 1 | 2 | 0.47608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_384_1_line_2 |  | 1 | 3 | 0.8441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_384_1_line_3 |  | 2 | 4 | 0.30777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_384_1_line_4 |  | 2 | 5 | 0.10859 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_384_1_line_5 |  | 3 | 18 | 0.16322 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
6 | MV_384_1_line_6 |  | 3 | 19 | 0.35235 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
7 | MV_384_1_line_7 |  | 3 | 20 | 0.09921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_384_1_line_8 |  | 3 | 16 | 0.21685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_384_1_line_9 |  | 4 | 6 | 0.12802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_384_1_line_10 |  | 4 | 7 | 0.19857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_384_1_line_11 |  | 4 | 8 | 0.018726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_384_1_line_12 |  | 6 | 9 | 0.0084152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_384_1_line_13 |  | 6 | 10 | 0.032604 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_384_1_line_14 |  | 7 | 11 | 0.30909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_384_1_line_15 |  | 7 | 12 | 0.29971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_384_1_line_16 |  | 7 | 13 | 0.026603 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_384_1_line_17 |  | 9 | 23 | 0.010505 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_384_1_line_18 |  | 10 | 24 | 0.21863 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_384_1_line_19 |  | 11 | 26 | 0.19222 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_384_1_line_20 |  | 12 | 14 | 0.016462 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_384_1_line_21 |  | 12 | 15 | 0.53719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_384_1_line_22 |  | 15 | 27 | 0.052014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_384_1_line_23 |  | 16 | 17 | 0.039608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_384_1_line_24 |  | 17 | 28 | 0.050385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_384_1_line_25 |  | 18 | 29 | 0.632 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
26 | MV_384_1_line_26 |  | 18 | 30 | 0.040865 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_384_1_line_27 |  | 19 | 21 | 0.061854 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
28 | MV_384_1_line_28 |  | 19 | 22 | 0.099431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_384_1_line_29 |  | 21 | 31 | 0.10214 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
30 | MV_384_1_line_30 |  | 22 | 32 | 0.054881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_384_1_line_31 |  | 23 | 34 | 0.032832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_384_1_line_32 |  | 24 | 25 | 0.015929 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_384_1_line_33 |  | 28 | 100 | 0.039239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_384_1_line_34 |  | 29 | 102 | 0.19506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_384_1_line_35 |  | 29 | 72 | 0.080166 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
36 | MV_384_1_line_36 |  | 30 | 104 | 0.040441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_384_1_line_37 |  | 31 | 47 | 0.90009 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
38 | MV_384_1_line_38 |  | 33 | 34 | 0.014232 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_384_1_line_39 |  | 33 | 35 | 0.014877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_384_1_line_40 |  | 36 | 37 | 0.4861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_384_1_line_41 |  | 37 | 38 | 0.016231 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_384_1_line_42 |  | 37 | 39 | 0.93272 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_384_1_line_43 |  | 38 | 56 | 0.70082 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_384_1_line_44 |  | 40 | 41 | 0.10706 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_384_1_line_45 |  | 41 | 42 | 0.99272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_384_1_line_46 |  | 42 | 43 | 1.2351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_384_1_line_47 |  | 42 | 44 | 0.089028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_384_1_line_48 |  | 43 | 45 | 0.12509 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
49 | MV_384_1_line_49 |  | 43 | 46 | 2.7166 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
50 | MV_384_1_line_50 |  | 45 | 49 | 2.1598 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
51 | MV_384_1_line_51 |  | 46 | 47 | 0.10618 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
52 | MV_384_1_line_52 |  | 46 | 48 | 0.99447 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_384_1_line_53 |  | 48 | 52 | 0.062811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_384_1_line_54 |  | 49 | 50 | 0.013687 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
55 | MV_384_1_line_55 |  | 50 | 51 | 1.2813 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
56 | MV_384_1_line_56 |  | 51 | 111 | 0.30018 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
57 | MV_384_1_line_57 |  | 52 | 53 | 0.026318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_384_1_line_58 |  | 53 | 54 | 1.4067 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_384_1_line_59 |  | 54 | 55 | 2.1 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_384_1_line_60 |  | 55 | 56 | 0.029784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_384_1_line_61 |  | 57 | 58 | 0.40237 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_384_1_line_62 |  | 58 | 59 | 0.068211 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_384_1_line_63 |  | 58 | 60 | 0.93897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_384_1_line_64 |  | 60 | 88 | 0.012418 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_384_1_line_65 |  | 60 | 84 | 1.0363 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_384_1_line_66 |  | 60 | 86 | 0.41507 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
67 | MV_384_1_line_67 |  | 61 | 62 | 0.65749 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_384_1_line_68 |  | 62 | 106 | 0.48313 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_384_1_line_69 |  | 62 | 110 | 0.023157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_384_1_line_70 |  | 63 | 64 | 0.027724 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_384_1_line_71 |  | 64 | 65 | 0.40213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_384_1_line_72 |  | 65 | 70 | 1.2945 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_384_1_line_73 |  | 65 | 68 | 0.043808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_384_1_line_74 |  | 66 | 67 | 0.031421 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_384_1_line_75 |  | 66 | 68 | 0.67029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_384_1_line_76 |  | 66 | 69 | 0.933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_384_1_line_77 |  | 69 | 79 | 0.033815 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_384_1_line_78 |  | 69 | 78 | 0.051821 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_384_1_line_79 |  | 70 | 71 | 0.008399 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
80 | MV_384_1_line_80 |  | 71 | 72 | 0.50182 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
81 | MV_384_1_line_81 |  | 73 | 74 | 0.006808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_384_1_line_82 |  | 74 | 75 | 0.4547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_384_1_line_83 |  | 75 | 76 | 0.015661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_384_1_line_84 |  | 76 | 77 | 0.048907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_384_1_line_85 |  | 77 | 96 | 0.087019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_384_1_line_86 |  | 79 | 80 | 0.020406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_384_1_line_87 |  | 80 | 81 | 0.050934 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_384_1_line_88 |  | 81 | 82 | 0.041636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_384_1_line_89 |  | 82 | 99 | 0.040974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_384_1_line_90 |  | 83 | 84 | 0.008239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_384_1_line_91 |  | 84 | 85 | 0.44722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_384_1_line_92 |  | 85 | 91 | 0.052038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_384_1_line_93 |  | 85 | 92 | 0.0083709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_384_1_line_94 |  | 85 | 89 | 0.23359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_384_1_line_95 |  | 86 | 87 | 0.061709 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
96 | MV_384_1_line_96 |  | 87 | 93 | 0.049263 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_384_1_line_97 |  | 89 | 90 | 0.00475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_384_1_line_98 |  | 91 | 94 | 0.027987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_384_1_line_99 |  | 93 | 105 | 0.47455 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
100 | MV_384_1_line_100 |  | 95 | 96 | 0.021164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_384_1_line_101 |  | 96 | 97 | 0.12518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_384_1_line_102 |  | 97 | 98 | 0.015188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_384_1_line_103 |  | 98 | 99 | 0.046844 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_384_1_line_104 |  | 100 | 101 | 0.062249 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_384_1_line_105 |  | 102 | 103 | 0.021927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_384_1_line_106 |  | 105 | 106 | 0.033138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_384_1_line_107 |  | 105 | 107 | 0.25437 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
108 | MV_384_1_line_108 |  | 107 | 108 | 0.1099 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_384_1_line_109 |  | 108 | 109 | 0.28004 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
110 | MV_384_1_line_110 |  | 109 | 113 | 0.033912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_384_1_line_111 |  | 109 | 112 | 0.51705 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
112 | MV_384_1_line_112 |  | 111 | 112 | 0.64793 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
113 | MV_384_1_line_113 |  | 112 | 114 | 0.07582 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_384_1_trafo_78 | 25 MVA 110/20 kV | 115 | 70 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2548826.023 | 1148448.0452
1 | 2548847.2928 | 1148428.1094
2 | 2549157.6897 | 1148275.4866
3 | 2548565.6599 | 1149031.1274
4 | 2549231.4309 | 1148091.6341
5 | 2549151.6135 | 1148371.4771
6 | 2549251.4975 | 1148042.5725
7 | 2549086.1856 | 1148031.119
8 | 2549248.1852 | 1148084.1222
9 | 2549243.1162 | 1148041.8175
10 | 2549278.3889 | 1148024.136
11 | 2548837.9848 | 1147959.6654
12 | 2549211.6104 | 1147824.3727
13 | 2549081.9309 | 1148057.3799
14 | 2549195.136 | 1147823.2891
15 | 2549317.1155 | 1147496.5892
16 | 2548749.7777 | 1149026.9867
17 | 2548728.8613 | 1148993.3516
18 | 2548539.2357 | 1148896.1715
19 | 2548535.5692 | 1149273.2562
20 | 2548602.9303 | 1148939.2529
21 | 2548473.5362 | 1149273.7321
22 | 2548609.708 | 1149282.4048
23 | 2549232.6533 | 1148040.875
24 | 2549458.5042 | 1147957.674
25 | 2549467.7642 | 1147944.7005
26 | 2548646.8208 | 1147979.7383
27 | 2549312.0738 | 1147445.1492
28 | 2548696.939 | 1148957.1006
29 | 2548290.4173 | 1148823.6788
30 | 2548505.1282 | 1148918.6803
31 | 2548371.4235 | 1149272.2849
32 | 2548612.0764 | 1149227.9475
33 | 2549235.9141 | 1148015.8279
34 | 2549221.6967 | 1148015.6432
35 | 2549237.0622 | 1148000.9949
36 | 2549924.1065 | 1147746.6695
37 | 2550338.7823 | 1148000.3195
38 | 2550349.4428 | 1148012.5823
39 | 2550635.6823 | 1147116.1147
40 | 2548442.1006 | 1153679.4947
41 | 2548361.7927 | 1153608.7026
42 | 2548620.187 | 1153843.4224
43 | 2548552.7139 | 1152711.3708
44 | 2548534.148 | 1153820.548
45 | 2548465.4447 | 1152790.2377
46 | 2548697.4835 | 1149998.631
47 | 2548606.6732 | 1149944.7782
48 | 2549677.1613 | 1150169.4973
49 | 2546339.5548 | 1152409.0505
50 | 2546341.5838 | 1152396.5035
51 | 2545761.0623 | 1151254.2531
52 | 2549707.6198 | 1150224.2266
53 | 2549733.3023 | 1150221.0547
54 | 2551139.8471 | 1150202.8506
55 | 2550782.17 | 1148133.4999
56 | 2550781.3044 | 1148103.7471
57 | 2544077.3676 | 1149877.4769
58 | 2543990.2577 | 1149484.6475
59 | 2543922.1006 | 1149481.9368
60 | 2544534.1072 | 1149403.9868
61 | 2544567.8203 | 1150858.1811
62 | 2544650.4552 | 1150205.907
63 | 2546957.4068 | 1149069.9057
64 | 2546950.4261 | 1149096.7369
65 | 2546655.2306 | 1149234.0315
66 | 2546008.1945 | 1149411.9215
67 | 2545977.3014 | 1149406.1848
68 | 2546641.5403 | 1149192.4532
69 | 2545786.3761 | 1148831.21
70 | 2547713.1131 | 1148934.8728
71 | 2547718.4932 | 1148928.4115
72 | 2548213.6116 | 1148846.6461
73 | 2545252.5348 | 1148732.3598
74 | 2545246.0425 | 1148730.2511
75 | 2545487.7528 | 1148809.2864
76 | 2545480.8622 | 1148823.3563
77 | 2545525.2951 | 1148840.8629
78 | 2545764.5247 | 1148878.1985
79 | 2545760.4924 | 1148809.4556
80 | 2545745.5807 | 1148795.5257
81 | 2545716.2887 | 1148754.0347
82 | 2545686.4773 | 1148783.0827
83 | 2545019.6077 | 1149009.8536
84 | 2545024.7954 | 1149016.2651
85 | 2545201.6379 | 1149043.6992
86 | 2544521.4283 | 1149578.3741
87 | 2544575.8466 | 1149549.2966
88 | 2544526.3221 | 1149413.6611
89 | 2545354.0776 | 1149065.2459
90 | 2545358.531 | 1149063.5601
91 | 2545170.2852 | 1149021.5399
92 | 2545207.6792 | 1149048.5912
93 | 2544622.2471 | 1149540.5471
94 | 2545145.5659 | 1149010.3792
95 | 2545576.9851 | 1148906.8521
96 | 2545557.3615 | 1148899.4814
97 | 2545616.6688 | 1148857.8117
98 | 2545628.9738 | 1148849.2795
99 | 2545659.463 | 1148813.8906
100 | 2548722.4679 | 1148927.245
101 | 2548727.3655 | 1148865.4848
102 | 2548297.7571 | 1148719.1275
103 | 2548290.0451 | 1148698.6014
104 | 2548465.163 | 1148924.8653
105 | 2544762.2011 | 1149710.8726
106 | 2544772.2194 | 1149738.3729
107 | 2544956.5812 | 1149827.8412
108 | 2545057.209 | 1149869.2541
109 | 2545120.189 | 1150142.1236
110 | 2544628.352 | 1150199.8851
111 | 2545713.4761 | 1150957.8701
112 | 2545419.4928 | 1150380.4702
113 | 2545114.4986 | 1150175.5488
114 | 2545487.6468 | 1150413.6918
115 | 2547713.1131 | 1148934.8728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99363 | -0.094765 | 0.31178 | 0.151
1 | 0.99365 | -0.094654 | 0 | 0
2 | 0.99213 | -0.082029 | 0 | 0
3 | 0.99668 | -0.11927 | 0 | 0
4 | 0.99129 | -0.07503 | 0 | 0
5 | 0.99208 | -0.081539 | 0.37825 | 0.18319
6 | 0.99115 | -0.073688 | 0 | 0
7 | 0.99107 | -0.073281 | 0 | 0
8 | 0.99129 | -0.074955 | 0.32736 | 0.15855
9 | 0.99114 | -0.073637 | 0.097003 | 0.046981
10 | 0.99112 | -0.073867 | 0 | 0
11 | 0.99104 | -0.073104 | 0 | 0
12 | 0.9909 | -0.071967 | 0 | 0
13 | 0.99105 | -0.073401 | 0.36643 | 0.17747
14 | 0.99089 | -0.071946 | 0.1016 | 0.049205
15 | 0.99065 | -0.069919 | 0 | 0
16 | 0.99635 | -0.11629 | 0 | 0
17 | 0.99629 | -0.11574 | 0.10751 | 0.052067
18 | 0.99694 | -0.11764 | 0 | 0
19 | 0.99636 | -0.12153 | 0 | 0
20 | 0.99662 | -0.11875 | 0.444 | 0.21504
21 | 0.99631 | -0.12191 | 0.3215 | 0.15571
22 | 0.99635 | -0.12145 | 0 | 0
23 | 0.99113 | -0.073587 | 0 | 0
24 | 0.99101 | -0.072822 | 0 | 0
25 | 0.991 | -0.072743 | 0.40804 | 0.19762
26 | 0.99102 | -0.073266 | 0.067652 | 0.032765
27 | 0.99063 | -0.069697 | 0.35283 | 0.17088
28 | 0.99622 | -0.1151 | 0 | 0
29 | 0.99802 | -0.11087 | 0 | 0
30 | 0.99691 | -0.11734 | 0.30996 | 0.15012
31 | 0.99622 | -0.12251 | 0 | 0
32 | 0.99635 | -0.1214 | 0.076621 | 0.037109
33 | 0.99111 | -0.073358 | 0.3314 | 0.1605
34 | 0.99112 | -0.073427 | 0 | 0
35 | 0.99111 | -0.073345 | 0.07227 | 0.035002
36 | 0.98971 | -0.16574 | 0.091984 | 0.04455
37 | 0.9898 | -0.16518 | 0.097443 | 0.047194
38 | 0.98981 | -0.16526 | 0 | 0
39 | 0.98938 | -0.16788 | 0.23076 | 0.11176
40 | 0.99078 | -0.33311 | 0.31285 | 0.15152
41 | 0.99085 | -0.3327 | 0 | 0
42 | 0.99124 | -0.33573 | 0 | 0
43 | 0.99191 | -0.33903 | 0 | 0
44 | 0.99123 | -0.3356 | 0.12003 | 0.058135
45 | 0.99184 | -0.33945 | 0.1107 | 0.053613
46 | 0.99539 | -0.12792 | 0.37741 | 0.18279
47 | 0.99548 | -0.12739 | 0 | 0
48 | 0.9938 | -0.14024 | 0 | 0
49 | 0.98942 | -0.48438 | 0 | 0
50 | 0.98942 | -0.48442 | 0.16787 | 0.081303
51 | 0.98806 | -0.56652 | 0.050938 | 0.02467
52 | 0.99373 | -0.1397 | 0.24945 | 0.12082
53 | 0.99371 | -0.13956 | 0 | 0
54 | 0.99214 | -0.15231 | 0.098477 | 0.047695
55 | 0.9902 | -0.1685 | 0.062876 | 0.030452
56 | 0.99018 | -0.16839 | 0 | 0
57 | 0.98442 | -0.66823 | 0.2088 | 0.10113
58 | 0.98459 | -0.66717 | 0 | 0
59 | 0.98457 | -0.66728 | 0.1281 | 0.062044
60 | 0.98499 | -0.67037 | 0 | 0
61 | 0.9844 | -0.67131 | 0.39271 | 0.1902
62 | 0.98491 | -0.66807 | 0 | 0
63 | 0.99653 | 0.026589 | 0.23275 | 0.11273
64 | 0.99654 | 0.026668 | 0 | 0
65 | 0.99666 | 0.025664 | 0 | 0
66 | 0.99454 | 0.010942 | 0 | 0
67 | 0.99453 | 0.010863 | 0.20522 | 0.099393
68 | 0.99656 | 0.026484 | 0.23056 | 0.11167
69 | 0.99292 | 0.024271 | 0 | 0
70 | 1 | 0 | -13.5421 | -5.8371
71 | 0.99998 | -9.5408e-05 | 0.14025 | 0.067925
72 | 0.99816 | -0.10995 | 0.12551 | 0.060787
73 | 0.9923 | 0.02937 | 0.14889 | 0.072109
74 | 0.99231 | 0.029358 | 0 | 0
75 | 0.99239 | 0.028698 | 0 | 0
76 | 0.99239 | 0.02868 | 0.32681 | 0.15828
77 | 0.99242 | 0.028435 | 0 | 0
78 | 0.99289 | 0.024102 | 0.26628 | 0.12897
79 | 0.99287 | 0.024671 | 0.094544 | 0.04579
80 | 0.99284 | 0.02489 | 0 | 0
81 | 0.99278 | 0.025438 | 0 | 0
82 | 0.99273 | 0.025889 | 0.089982 | 0.04358
83 | 0.98382 | -0.66117 | 0.39806 | 0.19279
84 | 0.98383 | -0.66121 | 0 | 0
85 | 0.98355 | -0.65894 | 0 | 0
86 | 0.98535 | -0.66582 | 0 | 0
87 | 0.98538 | -0.66563 | 0.18029 | 0.087319
88 | 0.98499 | -0.67031 | 0.39114 | 0.18944
89 | 0.9835 | -0.65843 | 0 | 0
90 | 0.98349 | -0.65842 | 0.19119 | 0.092599
91 | 0.98355 | -0.6589 | 0 | 0
92 | 0.98355 | -0.65892 | 0.21306 | 0.10319
93 | 0.98541 | -0.66546 | 0 | 0
94 | 0.98355 | -0.65887 | 0.073586 | 0.035639
95 | 0.99247 | 0.028097 | 0.3479 | 0.1685
96 | 0.99248 | 0.028008 | 0 | 0
97 | 0.99261 | 0.026889 | 0 | 0
98 | 0.99262 | 0.026754 | 0.090108 | 0.043641
99 | 0.99268 | 0.026292 | 0 | 0
100 | 0.99617 | -0.1146 | 0 | 0
101 | 0.99608 | -0.1138 | 1.0703 | 0.51836
102 | 0.99789 | -0.10967 | 0 | 0
103 | 0.99788 | -0.10953 | 0.52518 | 0.25436
104 | 0.99689 | -0.11749 | 0.30145 | 0.146
105 | 0.98569 | -0.66373 | 0 | 0
106 | 0.98564 | -0.66333 | 0.2063 | 0.099916
107 | 0.98592 | -0.6624 | 0 | 0
108 | 0.98602 | -0.66181 | 0.14565 | 0.070543
109 | 0.98655 | -0.62957 | 0 | 0
110 | 0.9849 | -0.66796 | 0.38398 | 0.18597
111 | 0.98775 | -0.58549 | 0 | 0
112 | 0.98707 | -0.62646 | 0 | 0
113 | 0.98654 | -0.6295 | 0.16792 | 0.08133
114 | 0.98705 | -0.62657 | 0.1162 | 0.056276
115 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.31178 | -0.151 | 0.31179 | 0.15097 | 5.2611e-06 | -3.1065e-05 | 0.010065 | 0.010064 | 0.010065 | 0.99363 | -0.094765 | 0.99365 | -0.094654 | 4.7926
1 | 2.5095 | 1.1489 | -2.5054 | -1.1589 | 0.0040932 | -0.0099917 | 0.080183 | 0.080319 | 0.080319 | 0.99365 | -0.094654 | 0.99213 | -0.082029 | 36.5088
2 | -2.8213 | -1.2999 | 2.8304 | 1.2826 | 0.009153 | -0.017244 | 0.090245 | 0.090005 | 0.090245 | 0.99365 | -0.094654 | 0.99668 | -0.11927 | 41.0206
3 | 2.1271 | 0.97825 | -2.1252 | -0.98491 | 0.0019093 | -0.0066607 | 0.068124 | 0.068212 | 0.068212 | 0.99213 | -0.082029 | 0.99129 | -0.07503 | 31.0053
4 | 0.37827 | 0.18065 | -0.37825 | -0.18319 | 2.1623e-05 | -0.0025455 | 0.012197 | 0.012229 | 0.012229 | 0.99213 | -0.082029 | 0.99208 | -0.081539 | 5.5587
5 | -10.0526 | -4.3247 | 10.0551 | 4.3058 | 0.0025316 | -0.018954 | 0.31696 | 0.31673 | 0.31696 | 0.99668 | -0.11927 | 0.99694 | -0.11764 | 24.8403
6 | 5.5996 | 2.2684 | -5.598 | -2.3114 | 0.0016715 | -0.043029 | 0.17499 | 0.17547 | 0.17547 | 0.99668 | -0.11927 | 0.99636 | -0.12153 | 13.7517
7 | 0.44403 | 0.21269 | -0.444 | -0.21504 | 2.6988e-05 | -0.0023449 | 0.01426 | 0.01429 | 0.01429 | 0.99668 | -0.11927 | 0.99662 | -0.11875 | 6.4953
8 | 1.1785 | 0.56097 | -1.1781 | -0.56599 | 0.00041444 | -0.0050187 | 0.037804 | 0.037868 | 0.037868 | 0.99668 | -0.11927 | 0.99635 | -0.11629 | 17.2129
9 | 0.90893 | 0.42974 | -0.90879 | -0.4327 | 0.00014669 | -0.0029596 | 0.029278 | 0.029316 | 0.029316 | 0.99129 | -0.07503 | 0.99115 | -0.073688 | 13.3254
10 | 0.88892 | 0.39707 | -0.88871 | -0.40166 | 0.0002135 | -0.0045946 | 0.028351 | 0.028407 | 0.028407 | 0.99129 | -0.07503 | 0.99107 | -0.073281 | 12.9123
11 | 0.32737 | 0.15811 | -0.32736 | -0.15855 | 2.8034e-06 | -0.00043852 | 0.010587 | 0.010592 | 0.010592 | 0.99129 | -0.07503 | 0.99129 | -0.074955 | 4.8148
12 | 0.50069 | 0.24059 | -0.50068 | -0.24079 | 2.9411e-06 | -0.00019651 | 0.016179 | 0.016181 | 0.016181 | 0.99115 | -0.073688 | 0.99114 | -0.073637 | 7.3552
13 | 0.4081 | 0.1921 | -0.40809 | -0.19214 | 1.0026e-05 | -3.1956e-05 | 0.013137 | 0.013138 | 0.013138 | 0.99115 | -0.073688 | 0.99112 | -0.073867 | 6.256
14 | 0.067655 | 0.025293 | -0.067653 | -0.032541 | 1.8952e-06 | -0.007248 | 0.0021038 | 0.0021867 | 0.0021867 | 0.99107 | -0.073281 | 0.99104 | -0.073104 | 0.99397
15 | 0.45461 | 0.19892 | -0.45453 | -0.20592 | 8.4069e-05 | -0.0070025 | 0.014454 | 0.014537 | 0.014537 | 0.99107 | -0.073281 | 0.9909 | -0.071967 | 6.6079
16 | 0.36644 | 0.17744 | -0.36643 | -0.17747 | 6.6663e-06 | -2.7018e-05 | 0.011859 | 0.011859 | 0.011859 | 0.99107 | -0.073281 | 0.99105 | -0.073401 | 5.6474
17 | 0.40368 | 0.19381 | -0.40368 | -0.19405 | 2.3861e-06 | -0.00024569 | 0.013042 | 0.013045 | 0.013045 | 0.99114 | -0.073637 | 0.99113 | -0.073587 | 5.9297
18 | 0.40809 | 0.19214 | -0.40804 | -0.19725 | 5.0622e-05 | -0.0051122 | 0.013138 | 0.013202 | 0.013202 | 0.99112 | -0.073867 | 0.99101 | -0.072822 | 6.0009
19 | 0.067653 | 0.032541 | -0.067652 | -0.032765 | 1.6398e-06 | -0.00022434 | 0.0021867 | 0.0021896 | 0.0021896 | 0.99104 | -0.073104 | 0.99102 | -0.073266 | 1.0427
20 | 0.1016 | 0.048819 | -0.1016 | -0.049205 | 2.3733e-07 | -0.00038585 | 0.0032838 | 0.0032886 | 0.0032886 | 0.9909 | -0.071967 | 0.99089 | -0.071946 | 1.4948
21 | 0.35293 | 0.15711 | -0.35284 | -0.16967 | 9.2067e-05 | -0.012563 | 0.011255 | 0.011409 | 0.011409 | 0.9909 | -0.071967 | 0.99065 | -0.069919 | 5.1858
22 | 0.35284 | 0.16967 | -0.35283 | -0.17088 | 9.0503e-06 | -0.0012161 | 0.011409 | 0.011424 | 0.011424 | 0.99065 | -0.069919 | 0.99063 | -0.069697 | 5.1928
23 | 1.1781 | 0.56599 | -1.178 | -0.5669 | 7.585e-05 | -0.00091625 | 0.037868 | 0.03788 | 0.03788 | 0.99635 | -0.11629 | 0.99629 | -0.11574 | 17.2182
24 | 1.0705 | 0.51484 | -1.0704 | -0.51601 | 7.972e-05 | -0.0011704 | 0.034419 | 0.034434 | 0.034434 | 0.99629 | -0.11574 | 0.99622 | -0.1151 | 15.6518
25 | -10.6666 | -4.6009 | 10.6776 | 4.5281 | 0.011018 | -0.072816 | 0.33637 | 0.33547 | 0.33637 | 0.99694 | -0.11764 | 0.99802 | -0.11087 | 26.3613
26 | 0.61144 | 0.29511 | -0.61142 | -0.29608 | 2.1098e-05 | -0.00096345 | 0.019659 | 0.019671 | 0.019671 | 0.99694 | -0.11764 | 0.99691 | -0.11734 | 8.9416
27 | 5.5213 | 2.278 | -5.5211 | -2.2855 | 0.00028632 | -0.0075547 | 0.17305 | 0.17313 | 0.17313 | 0.99636 | -0.12153 | 0.99631 | -0.12191 | 13.5686
28 | 0.076622 | 0.033452 | -0.076621 | -0.035808 | 7.878e-07 | -0.0023565 | 0.0024223 | 0.0024504 | 0.0024504 | 0.99636 | -0.12153 | 0.99635 | -0.12145 | 1.1138
29 | 5.1996 | 2.1298 | -5.1991 | -2.1423 | 0.00041861 | -0.012504 | 0.1628 | 0.16294 | 0.16294 | 0.99631 | -0.12191 | 0.99622 | -0.12251 | 12.7699
30 | 0.076621 | 0.035808 | -0.076621 | -0.037109 | 4.4282e-07 | -0.0013007 | 0.0024504 | 0.0024666 | 0.0024666 | 0.99635 | -0.12145 | 0.99635 | -0.1214 | 1.1212
31 | 0.40368 | 0.19405 | -0.40367 | -0.19482 | 7.4647e-06 | -0.00076784 | 0.013045 | 0.013055 | 0.013055 | 0.99113 | -0.073587 | 0.99112 | -0.073427 | 5.9341
32 | 0.40804 | 0.19725 | -0.40804 | -0.19762 | 3.7077e-06 | -0.00037241 | 0.013202 | 0.013207 | 0.013207 | 0.99101 | -0.072822 | 0.991 | -0.072743 | 6.003
33 | 1.0704 | 0.51601 | -1.0704 | -0.51692 | 6.2133e-05 | -0.00091133 | 0.034434 | 0.034446 | 0.034446 | 0.99622 | -0.1151 | 0.99617 | -0.1146 | 15.6571
34 | 0.52526 | 0.24922 | -0.52519 | -0.25384 | 7.3894e-05 | -0.0046163 | 0.016816 | 0.016874 | 0.016874 | 0.99802 | -0.11087 | 0.99789 | -0.10967 | 7.6702
35 | -11.2029 | -4.7773 | 11.2044 | 4.7681 | 0.0015365 | -0.0091704 | 0.35227 | 0.35216 | 0.35227 | 0.99802 | -0.11087 | 0.99816 | -0.10995 | 27.6076
36 | 0.30146 | 0.14595 | -0.30145 | -0.146 | 6.778e-06 | -4.3734e-05 | 0.0096986 | 0.0096992 | 0.0096992 | 0.99691 | -0.11734 | 0.99689 | -0.11749 | 4.6187
37 | 5.1991 | 2.1423 | -5.1954 | -2.2524 | 0.0037207 | -0.11008 | 0.16294 | 0.16421 | 0.16421 | 0.99622 | -0.12251 | 0.99548 | -0.12739 | 12.8691
38 | -0.40367 | -0.19516 | 0.40367 | 0.19482 | 3.2392e-06 | -0.00033282 | 0.013059 | 0.013055 | 0.013059 | 0.99111 | -0.073358 | 0.99112 | -0.073427 | 5.936
39 | 0.07227 | 0.034653 | -0.07227 | -0.035002 | 1.0844e-07 | -0.00034889 | 0.0023344 | 0.0023389 | 0.0023389 | 0.99111 | -0.073358 | 0.99111 | -0.073345 | 1.0631
40 | -0.091984 | -0.04455 | 0.091992 | 0.043986 | 7.678e-06 | -0.00056367 | 0.0029811 | 0.0029739 | 0.0029811 | 0.98971 | -0.16574 | 0.9898 | -0.16518 | 1.4196
41 | -0.42029 | -0.20191 | 0.42029 | 0.20153 | 4.0057e-06 | -0.00037848 | 0.013599 | 0.013594 | 0.013599 | 0.9898 | -0.16518 | 0.98981 | -0.16526 | 6.1813
42 | 0.23085 | 0.11073 | -0.23076 | -0.11176 | 9.2837e-05 | -0.0010323 | 0.0074673 | 0.0074812 | 0.0074812 | 0.9898 | -0.16518 | 0.98938 | -0.16788 | 3.5625
43 | -0.42029 | -0.20153 | 0.42046 | 0.18518 | 0.00017032 | -0.016349 | 0.013594 | 0.013394 | 0.013594 | 0.98981 | -0.16526 | 0.99018 | -0.16839 | 6.1791
44 | -0.31285 | -0.15152 | 0.31287 | 0.15141 | 1.9562e-05 | -0.00011321 | 0.010128 | 0.010126 | 0.010128 | 0.99078 | -0.33311 | 0.99085 | -0.3327 | 4.8228
45 | -0.31287 | -0.15141 | 0.313 | 0.12817 | 0.00013209 | -0.02324 | 0.010126 | 0.0098499 | 0.010126 | 0.99085 | -0.3327 | 0.99124 | -0.33573 | 4.6029
46 | -0.43303 | -0.18421 | 0.43334 | 0.15531 | 0.00030252 | -0.028905 | 0.013705 | 0.013397 | 0.013705 | 0.99124 | -0.33573 | 0.99191 | -0.33903 | 6.2294
47 | 0.12003 | 0.056047 | -0.12003 | -0.058135 | 1.7809e-06 | -0.002088 | 0.003858 | 0.0038841 | 0.0038841 | 0.99124 | -0.33573 | 0.99123 | -0.3356 | 1.7655
48 | 3.5422 | 1.5362 | -3.542 | -1.5515 | 0.0002444 | -0.015327 | 0.11237 | 0.11255 | 0.11255 | 0.99191 | -0.33903 | 0.99184 | -0.33945 | 8.8202
49 | -3.9756 | -1.6915 | 3.9832 | 1.7046 | 0.0076612 | 0.013186 | 0.12574 | 0.12565 | 0.12574 | 0.99191 | -0.33903 | 0.99539 | -0.12792 | 9.747
50 | 3.4313 | 1.4979 | -3.4267 | -1.4914 | 0.0045806 | 0.0064579 | 0.10897 | 0.10904 | 0.10904 | 0.99184 | -0.33945 | 0.98942 | -0.48438 | 8.4524
51 | -5.195 | -2.2654 | 5.1954 | 2.2524 | 0.00044277 | -0.012972 | 0.16436 | 0.16421 | 0.16436 | 0.99539 | -0.12792 | 0.99548 | -0.12739 | 12.8811
52 | 0.83435 | 0.37796 | -0.8331 | -0.37835 | 0.001251 | -0.00039083 | 0.026564 | 0.026578 | 0.026578 | 0.99539 | -0.12792 | 0.9938 | -0.14024 | 12.6563
53 | 0.8331 | 0.37835 | -0.83304 | -0.37981 | 5.9274e-05 | -0.0014635 | 0.026578 | 0.026596 | 0.026596 | 0.9938 | -0.14024 | 0.99373 | -0.1397 | 12.0891
54 | 3.4267 | 1.4914 | -3.4267 | -1.4931 | 2.5145e-05 | -0.0016696 | 0.10904 | 0.10906 | 0.10906 | 0.98942 | -0.48438 | 0.98942 | -0.48442 | 8.5467
55 | 3.2588 | 1.4118 | -3.2563 | -1.4086 | 0.0024566 | 0.003143 | 0.10362 | 0.10366 | 0.10366 | 0.98942 | -0.48442 | 0.98806 | -0.56652 | 8.0356
56 | 3.2054 | 1.384 | -3.2049 | -1.3833 | 0.00055759 | 0.00068949 | 0.10201 | 0.10202 | 0.10202 | 0.98806 | -0.56652 | 0.98775 | -0.58549 | 7.9082
57 | 0.58359 | 0.259 | -0.58358 | -0.25961 | 1.2091e-05 | -0.00061692 | 0.018548 | 0.018555 | 0.018555 | 0.99373 | -0.1397 | 0.99371 | -0.13956 | 8.434
58 | 0.58358 | 0.25961 | -0.58271 | -0.26073 | 0.00086377 | -0.0011146 | 0.018555 | 0.018574 | 0.018574 | 0.99371 | -0.13956 | 0.99214 | -0.15231 | 8.845
59 | 0.48424 | 0.21303 | -0.48335 | -0.21494 | 0.00088818 | -0.0019066 | 0.015393 | 0.015422 | 0.015422 | 0.99214 | -0.15231 | 0.9902 | -0.1685 | 7.3436
60 | 0.42047 | 0.18449 | -0.42046 | -0.18518 | 7.1292e-06 | -0.00069513 | 0.013386 | 0.013394 | 0.013394 | 0.9902 | -0.1685 | 0.99018 | -0.16839 | 6.0883
61 | -0.2088 | -0.10113 | 0.20883 | 0.10068 | 3.3153e-05 | -0.00044482 | 0.0068033 | 0.0067973 | 0.0068033 | 0.98442 | -0.66823 | 0.98459 | -0.66717 | 3.2397
62 | 0.12811 | 0.061966 | -0.1281 | -0.062044 | 2.1162e-06 | -7.7613e-05 | 0.0041723 | 0.0041734 | 0.0041734 | 0.98459 | -0.66717 | 0.98457 | -0.66728 | 1.9873
63 | -0.33694 | -0.16265 | 0.33709 | 0.14095 | 0.00014716 | -0.021698 | 0.01097 | 0.010708 | 0.01097 | 0.98459 | -0.66717 | 0.98499 | -0.67037 | 4.9862
64 | 0.39115 | 0.18915 | -0.39114 | -0.18944 | 2.6887e-06 | -0.00028685 | 0.012733 | 0.012737 | 0.012737 | 0.98499 | -0.67037 | 0.98499 | -0.67031 | 5.7896
65 | 0.87715 | 0.38254 | -0.87605 | -0.40619 | 0.0010993 | -0.023652 | 0.028045 | 0.028334 | 0.028334 | 0.98499 | -0.67037 | 0.98383 | -0.66121 | 12.879
66 | -1.6054 | -0.71264 | 1.6059 | 0.69921 | 0.00052955 | -0.013435 | 0.051477 | 0.051314 | 0.051477 | 0.98499 | -0.67037 | 0.98535 | -0.66582 | 14.2202
67 | -0.39271 | -0.1902 | 0.39291 | 0.18956 | 0.00019166 | -0.00064096 | 0.012796 | 0.012786 | 0.012796 | 0.9844 | -0.67131 | 0.98491 | -0.66807 | 6.0933
68 | -0.77689 | -0.37499 | 0.77744 | 0.37478 | 0.00055015 | -0.00021531 | 0.025284 | 0.025277 | 0.025284 | 0.98491 | -0.66807 | 0.98564 | -0.66333 | 12.0402
69 | 0.38399 | 0.18544 | -0.38398 | -0.18597 | 4.8317e-06 | -0.0005349 | 0.012498 | 0.012505 | 0.012505 | 0.98491 | -0.66807 | 0.9849 | -0.66796 | 5.6841
70 | -0.23275 | -0.11273 | 0.23276 | 0.1127 | 2.7722e-06 | -3.1132e-05 | 0.0074916 | 0.0074912 | 0.0074916 | 0.99653 | 0.026589 | 0.99654 | 0.026668 | 3.5674
71 | -0.23276 | -0.1127 | 0.23279 | 0.10317 | 2.9652e-05 | -0.0095273 | 0.0074912 | 0.007375 | 0.0074912 | 0.99654 | 0.026668 | 0.99666 | 0.025664 | 3.4051
72 | -2.0392 | -0.93022 | 2.0464 | 0.90157 | 0.0072418 | -0.028656 | 0.064918 | 0.064554 | 0.064918 | 0.99666 | 0.025664 | 1 | 0 | 29.5082
73 | 1.8064 | 0.82706 | -1.8062 | -0.82804 | 0.0001937 | -0.00098143 | 0.057543 | 0.057556 | 0.057556 | 0.99666 | 0.025664 | 0.99656 | 0.026484 | 26.1618
74 | 0.20522 | 0.099357 | -0.20522 | -0.099393 | 2.4523e-06 | -3.5566e-05 | 0.0066182 | 0.0066187 | 0.0066187 | 0.99454 | 0.010942 | 0.99453 | 0.010863 | 3.1518
75 | -1.5726 | -0.71528 | 1.5756 | 0.71637 | 0.0030026 | 0.0010877 | 0.050147 | 0.050137 | 0.050147 | 0.99454 | 0.010942 | 0.99656 | 0.026484 | 23.8794
76 | 1.3674 | 0.61593 | -1.365 | -0.63722 | 0.0023746 | -0.021293 | 0.043531 | 0.043797 | 0.043797 | 0.99454 | 0.010942 | 0.99292 | 0.024271 | 19.9078
77 | 1.0987 | 0.50831 | -1.0987 | -0.50909 | 5.5939e-05 | -0.00077934 | 0.035197 | 0.035207 | 0.035207 | 0.99292 | 0.024271 | 0.99287 | 0.024671 | 16.003
78 | 0.26629 | 0.12891 | -0.26628 | -0.12897 | 6.8314e-06 | -5.671e-05 | 0.0086013 | 0.0086021 | 0.0086021 | 0.99292 | 0.024271 | 0.99289 | 0.024102 | 4.0962
79 | 11.4817 | 4.925 | -11.4815 | -4.926 | 0.00016879 | -0.00096039 | 0.36065 | 0.36067 | 0.36067 | 1 | 0 | 0.99998 | -9.5408e-05 | 28.2653
80 | 11.3413 | 4.8581 | -11.3299 | -4.8289 | 0.011364 | 0.029174 | 0.35617 | 0.35619 | 0.35619 | 0.99998 | -9.5408e-05 | 0.99816 | -0.10995 | 27.6114
81 | -0.14889 | -0.072109 | 0.14889 | 0.071949 | 2.1041e-07 | -0.00015999 | 0.0048126 | 0.0048106 | 0.0048126 | 0.9923 | 0.02937 | 0.99231 | 0.029358 | 2.1875
82 | -0.14889 | -0.071949 | 0.1489 | 0.061262 | 1.3667e-05 | -0.010687 | 0.0048106 | 0.0046836 | 0.0048106 | 0.99231 | 0.029358 | 0.99239 | 0.028698 | 2.1866
83 | -0.1489 | -0.061262 | 0.1489 | 0.060894 | 4.5823e-07 | -0.00036812 | 0.0046836 | 0.0046796 | 0.0046836 | 0.99239 | 0.028698 | 0.99239 | 0.02868 | 2.1289
84 | -0.47571 | -0.21918 | 0.47573 | 0.21803 | 1.5142e-05 | -0.0011456 | 0.015236 | 0.015222 | 0.015236 | 0.99239 | 0.02868 | 0.99242 | 0.028435 | 6.9254
85 | -0.47573 | -0.21803 | 0.47575 | 0.21599 | 2.6874e-05 | -0.0020384 | 0.015222 | 0.015197 | 0.015222 | 0.99242 | 0.028435 | 0.99248 | 0.028008 | 6.9191
86 | 1.0041 | 0.4633 | -1.0041 | -0.46377 | 2.8168e-05 | -0.00047192 | 0.032153 | 0.032159 | 0.032159 | 0.99287 | 0.024671 | 0.99284 | 0.02489 | 14.6176
87 | 1.0041 | 0.46377 | -1.004 | -0.46495 | 7.0353e-05 | -0.0011778 | 0.032159 | 0.032173 | 0.032173 | 0.99284 | 0.02489 | 0.99278 | 0.025438 | 14.6242
88 | 1.004 | 0.46495 | -1.004 | -0.46591 | 5.7558e-05 | -0.00096268 | 0.032173 | 0.032185 | 0.032185 | 0.99278 | 0.025438 | 0.99273 | 0.025889 | 14.6297
89 | 0.914 | 0.42233 | -0.91395 | -0.42328 | 4.691e-05 | -0.00095017 | 0.029278 | 0.02929 | 0.02929 | 0.99273 | 0.025889 | 0.99268 | 0.026292 | 13.3137
90 | -0.39806 | -0.19279 | 0.39806 | 0.1926 | 1.8521e-06 | -0.00018985 | 0.012978 | 0.012975 | 0.012978 | 0.98382 | -0.66117 | 0.98383 | -0.66121 | 5.8989
91 | 0.47799 | 0.2136 | -0.47785 | -0.22389 | 0.00014204 | -0.01029 | 0.015362 | 0.015488 | 0.015488 | 0.98383 | -0.66121 | 0.98355 | -0.65894 | 7.0401
92 | 0.073586 | 0.033791 | -0.073586 | -0.034993 | 3.9484e-07 | -0.0012018 | 0.0023766 | 0.0023915 | 0.0023915 | 0.98355 | -0.65894 | 0.98355 | -0.6589 | 1.0871
93 | 0.21306 | 0.103 | -0.21306 | -0.10319 | 5.3931e-07 | -0.00019318 | 0.0069458 | 0.0069482 | 0.0069482 | 0.98355 | -0.65894 | 0.98355 | -0.65892 | 3.1583
94 | 0.1912 | 0.087098 | -0.19119 | -0.092489 | 1.1987e-05 | -0.0053915 | 0.0061667 | 0.006234 | 0.006234 | 0.98355 | -0.65894 | 0.9835 | -0.65843 | 2.8336
95 | -1.6059 | -0.69921 | 1.606 | 0.69547 | 5.0166e-05 | -0.0037364 | 0.051314 | 0.05127 | 0.051314 | 0.98535 | -0.66582 | 0.98538 | -0.66563 | 8.043
96 | -1.7863 | -0.78279 | 1.7863 | 0.77981 | 4.9659e-05 | -0.0029776 | 0.057134 | 0.057099 | 0.057134 | 0.98538 | -0.66563 | 0.98541 | -0.66546 | 8.9552
97 | 0.19119 | 0.092489 | -0.19119 | -0.092599 | 2.465e-07 | -0.00010963 | 0.006234 | 0.0062354 | 0.0062354 | 0.9835 | -0.65843 | 0.98349 | -0.65842 | 2.8343
98 | 0.073586 | 0.034993 | -0.073586 | -0.035639 | 2.1443e-07 | -0.00064636 | 0.0023915 | 0.0023998 | 0.0023998 | 0.98355 | -0.6589 | 0.98355 | -0.65887 | 1.0908
99 | -1.7863 | -0.77981 | 1.7868 | 0.75112 | 0.00047525 | -0.028693 | 0.057099 | 0.056765 | 0.057099 | 0.98541 | -0.66546 | 0.98569 | -0.66373 | 8.9496
100 | -0.3479 | -0.1685 | 0.3479 | 0.168 | 3.5698e-06 | -0.00049668 | 0.011244 | 0.011237 | 0.011244 | 0.99247 | 0.028097 | 0.99248 | 0.028008 | 5.1107
101 | -0.82366 | -0.38399 | 0.82377 | 0.38108 | 0.0001166 | -0.0029097 | 0.026433 | 0.026397 | 0.026433 | 0.99248 | 0.028008 | 0.99261 | 0.026889 | 12.0149
102 | -0.82377 | -0.38108 | 0.82379 | 0.38073 | 1.4126e-05 | -0.00035311 | 0.026397 | 0.026392 | 0.026397 | 0.99261 | 0.026889 | 0.99262 | 0.026754 | 11.9985
103 | -0.9139 | -0.42437 | 0.91395 | 0.42328 | 5.3675e-05 | -0.0010861 | 0.029304 | 0.02929 | 0.029304 | 0.99262 | 0.026754 | 0.99268 | 0.026292 | 13.3198
104 | 1.0704 | 0.51692 | -1.0703 | -0.51836 | 9.8655e-05 | -0.0014455 | 0.034446 | 0.034464 | 0.034464 | 0.99617 | -0.1146 | 0.99608 | -0.1138 | 15.6656
105 | 0.52519 | 0.25384 | -0.52518 | -0.25436 | 8.3385e-06 | -0.00051884 | 0.016874 | 0.016881 | 0.016881 | 0.99789 | -0.10967 | 0.99788 | -0.10953 | 7.6732
106 | 0.98379 | 0.47394 | -0.98374 | -0.4747 | 4.5261e-05 | -0.00075526 | 0.031981 | 0.031991 | 0.031991 | 0.98569 | -0.66373 | 0.98564 | -0.66333 | 14.5413
107 | -2.7706 | -1.2251 | 2.7712 | 1.2099 | 0.00061739 | -0.015184 | 0.088719 | 0.088536 | 0.088719 | 0.98569 | -0.66373 | 0.98592 | -0.6624 | 13.9058
108 | -2.7712 | -1.2099 | 2.7715 | 1.2033 | 0.00026594 | -0.0065627 | 0.088536 | 0.088458 | 0.088536 | 0.98592 | -0.6624 | 0.98602 | -0.66181 | 13.8771
109 | -2.9171 | -1.2739 | 2.918 | 1.2758 | 0.00086822 | 0.0019581 | 0.093192 | 0.093187 | 0.093192 | 0.98602 | -0.66181 | 0.98655 | -0.62957 | 14.4484
110 | 0.16793 | 0.080542 | -0.16792 | -0.08133 | 1.347e-06 | -0.00078765 | 0.0054496 | 0.0054597 | 0.0054597 | 0.98655 | -0.62957 | 0.98654 | -0.6295 | 2.4817
111 | -3.0859 | -1.3564 | 3.0874 | 1.3256 | 0.0015485 | -0.030764 | 0.098634 | 0.098265 | 0.098634 | 0.98655 | -0.62957 | 0.98707 | -0.62646 | 15.4599
112 | 3.2049 | 1.3833 | -3.2036 | -1.3818 | 0.0012039 | 0.0014909 | 0.10202 | 0.10204 | 0.10204 | 0.98775 | -0.58549 | 0.98707 | -0.62646 | 7.9098
113 | 0.1162 | 0.056189 | -0.1162 | -0.056276 | 1.9254e-06 | -8.6981e-05 | 0.0037747 | 0.0037759 | 0.0037759 | 0.98707 | -0.62646 | 0.98705 | -0.62657 | 1.798

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.5421 | 5.8371

## res_load
| p_mw | q_mvar
0 | 0.31178 | 0.151
1 | 0.37825 | 0.18319
2 | 0.32736 | 0.15855
3 | 0.097003 | 0.046981
4 | 0.36643 | 0.17747
5 | 0.1016 | 0.049205
6 | 0.10751 | 0.052067
7 | 0.444 | 0.21504
8 | 0.3215 | 0.15571
9 | 0.40804 | 0.19762
10 | 0.067652 | 0.032765
11 | 0.35283 | 0.17088
12 | 0.30996 | 0.15012
13 | 0.076621 | 0.037109
14 | 0.3314 | 0.1605
15 | 0.07227 | 0.035002
16 | 0.091984 | 0.04455
17 | 0.097443 | 0.047194
18 | 0.23076 | 0.11176
19 | 0.31285 | 0.15152
20 | 0.12003 | 0.058135
21 | 0.1107 | 0.053613
22 | 0.37741 | 0.18279
23 | 0.16787 | 0.081303
24 | 0.050938 | 0.02467
25 | 0.24945 | 0.12082
26 | 0.098477 | 0.047695
27 | 0.062876 | 0.030452
28 | 0.2088 | 0.10113
29 | 0.1281 | 0.062044
30 | 0.39271 | 0.1902
31 | 0.23275 | 0.11273
32 | 0.20522 | 0.099393
33 | 0.23056 | 0.11167
34 | 0.14025 | 0.067925
35 | 0.12551 | 0.060787
36 | 0.14889 | 0.072109
37 | 0.32681 | 0.15828
38 | 0.26628 | 0.12897
39 | 0.094544 | 0.04579
40 | 0.089982 | 0.04358
41 | 0.39806 | 0.19279
42 | 0.18029 | 0.087319
43 | 0.39114 | 0.18944
44 | 0.19119 | 0.092599
45 | 0.21306 | 0.10319
46 | 0.073586 | 0.035639
47 | 0.3479 | 0.1685
48 | 0.090108 | 0.043641
49 | 1.0703 | 0.51836
50 | 0.52518 | 0.25436
51 | 0.30145 | 0.146
52 | 0.2063 | 0.099916
53 | 0.14565 | 0.070543
54 | 0.38398 | 0.18597
55 | 0.16792 | 0.08133
56 | 0.1162 | 0.056276

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1