## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_38_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_38_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_38_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_38_0_node_116 | 20 | n |  | TRUE
4 | bus_MV_38_0_node_114 | 20 | n |  | TRUE
5 | bus_MV_38_0_node_115 | 20 | n |  | TRUE
6 | bus_MV_38_0_node_57 | 20 | n |  | TRUE
7 | bus_MV_38_0_node_60 | 20 | n |  | TRUE
8 | bus_MV_38_0_node_59 | 20 | n |  | TRUE
9 | bus_MV_38_0_node_54 | 20 | n |  | TRUE
10 | bus_MV_38_0_node_113 | 20 | n |  | TRUE
11 | bus_MV_38_0_node_120 | 20 | n |  | TRUE
12 | bus_MV_38_0_node_3 | 20 | n |  | TRUE
13 | bus_MV_38_0_node_4 | 20 | n |  | TRUE
14 | bus_MV_38_0_node_5 | 20 | n |  | TRUE
15 | bus_MV_38_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_38_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_38_0_node_8 | 20 | n |  | TRUE
18 | bus_MV_38_0_node_40 | 20 | n |  | TRUE
19 | bus_MV_38_0_node_99 | 20 | n |  | TRUE
20 | bus_MV_38_0_node_44 | 20 | n |  | TRUE
21 | bus_MV_38_0_node_9 | 20 | n |  | TRUE
22 | bus_MV_38_0_node_98 | 20 | n |  | TRUE
23 | bus_MV_38_0_node_43 | 20 | n |  | TRUE
24 | bus_MV_38_0_node_10 | 20 | n |  | TRUE
25 | bus_MV_38_0_node_111 | 20 | n |  | TRUE
26 | bus_MV_38_0_node_15 | 20 | n |  | TRUE
27 | bus_MV_38_0_node_11 | 20 | n |  | TRUE
28 | bus_MV_38_0_node_13 | 20 | n |  | TRUE
29 | bus_MV_38_0_node_14 | 20 | n |  | TRUE
30 | bus_MV_38_0_node_16 | 20 | n |  | TRUE
31 | bus_MV_38_0_node_112 | 20 | n |  | TRUE
32 | bus_MV_38_0_node_28 | 20 | n |  | TRUE
33 | bus_MV_38_0_node_107 | 20 | n |  | TRUE
34 | bus_MV_38_0_node_51 | 20 | n |  | TRUE
35 | bus_MV_38_0_node_33 | 20 | n |  | TRUE
36 | bus_MV_38_0_node_17 | 20 | n |  | TRUE
37 | bus_MV_38_0_node_18 | 20 | n |  | TRUE
38 | bus_MV_38_0_node_19 | 20 | n |  | TRUE
39 | bus_MV_38_0_node_21 | 20 | n |  | TRUE
40 | bus_MV_38_0_node_48 | 20 | n |  | TRUE
41 | bus_MV_38_0_node_49 | 20 | n |  | TRUE
42 | bus_MV_38_0_node_20 | 20 | n |  | TRUE
43 | bus_MV_38_0_node_118 | 20 | n |  | TRUE
44 | bus_MV_38_0_node_119 | 20 | n |  | TRUE
45 | bus_MV_38_0_node_50 | 20 | n |  | TRUE
46 | bus_MV_38_0_node_52 | 20 | n |  | TRUE
47 | bus_MV_38_0_node_32 | 20 | n |  | TRUE
48 | bus_MV_38_0_node_22 | 20 | n |  | TRUE
49 | bus_MV_38_0_node_126 | 20 | n |  | TRUE
50 | bus_MV_38_0_node_23 | 20 | n |  | TRUE
51 | bus_MV_38_0_node_26 | 20 | n |  | TRUE
52 | bus_MV_38_0_node_27 | 20 | n |  | TRUE
53 | bus_MV_38_0_node_24 | 20 | n |  | TRUE
54 | bus_MV_38_0_node_35 | 20 | n |  | TRUE
55 | bus_MV_38_0_node_25 | 20 | n |  | TRUE
56 | bus_MV_38_0_node_45 | 20 | n |  | TRUE
57 | bus_MV_38_0_node_46 | 20 | n |  | TRUE
58 | bus_MV_38_0_node_34 | 20 | n |  | TRUE
59 | bus_MV_38_0_node_31 | 20 | n |  | TRUE
60 | bus_MV_38_0_node_29 | 20 | n |  | TRUE
61 | bus_MV_38_0_node_30 | 20 | n |  | TRUE
62 | bus_MV_38_0_node_36 | 20 | n |  | TRUE
63 | bus_MV_38_0_node_38 | 20 | n |  | TRUE
64 | bus_MV_38_0_node_39 | 20 | n |  | TRUE
65 | bus_MV_38_0_node_42 | 20 | n |  | TRUE
66 | bus_MV_38_0_node_41 | 20 | n |  | TRUE
67 | bus_MV_38_0_node_53 | 20 | n |  | TRUE
68 | bus_MV_38_0_node_108 | 20 | n |  | TRUE
69 | bus_MV_38_0_node_109 | 20 | n |  | TRUE
70 | bus_MV_38_0_node_110 | 20 | n |  | TRUE
71 | bus_MV_38_0_node_89 | 20 | n |  | TRUE
72 | bus_MV_38_0_node_55 | 20 | n |  | TRUE
73 | bus_MV_38_0_node_56 | 20 | n |  | TRUE
74 | bus_MV_38_0_node_58 | 20 | n |  | TRUE
75 | bus_MV_38_0_node_93 | 20 | n |  | TRUE
76 | bus_MV_38_0_node_61 | 20 | n |  | TRUE
77 | bus_MV_38_0_node_62 | 20 | n |  | TRUE
78 | bus_MV_38_0_node_63 | 20 | n |  | TRUE
79 | bus_MV_38_0_node_94 | 20 | n |  | TRUE
80 | bus_MV_38_0_node_95 | 20 | n |  | TRUE
81 | bus_MV_38_0_node_96 | 20 | n |  | TRUE
82 | bus_MV_38_0_node_92 | 20 | n |  | TRUE
83 | bus_MV_38_0_node_125 | 20 | n |  | TRUE
84 | bus_MV_38_0_node_124 | 20 | n |  | TRUE
85 | bus_MV_38_0_node_88 | 20 | n |  | TRUE
86 | bus_MV_38_0_node_128 | 20 | n |  | TRUE
87 | bus_MV_38_0_node_66 | 20 | n |  | TRUE
88 | bus_MV_38_0_node_64 | 20 | n |  | TRUE
89 | bus_MV_38_0_node_127 | 20 | n |  | TRUE
90 | bus_MV_38_0_node_68 | 20 | n |  | TRUE
91 | bus_MV_38_0_node_65 | 20 | n |  | TRUE
92 | bus_MV_38_0_node_73 | 20 | n |  | TRUE
93 | bus_MV_38_0_node_74 | 20 | n |  | TRUE
94 | bus_MV_38_0_node_67 | 20 | n |  | TRUE
95 | bus_MV_38_0_node_69 | 20 | n |  | TRUE
96 | bus_MV_38_0_node_70 | 20 | n |  | TRUE
97 | bus_MV_38_0_node_71 | 20 | n |  | TRUE
98 | bus_MV_38_0_node_97 | 20 | n |  | TRUE
99 | bus_MV_38_0_node_72 | 20 | n |  | TRUE
100 | bus_MV_38_0_node_79 | 20 | n |  | TRUE
101 | bus_MV_38_0_node_103 | 20 | n |  | TRUE
102 | bus_MV_38_0_node_87 | 20 | n |  | TRUE
103 | bus_MV_38_0_node_75 | 20 | n |  | TRUE
104 | bus_MV_38_0_node_76 | 20 | n |  | TRUE
105 | bus_MV_38_0_node_78 | 20 | n |  | TRUE
106 | bus_MV_38_0_node_101 | 20 | n |  | TRUE
107 | bus_MV_38_0_node_102 | 20 | n |  | TRUE
108 | bus_MV_38_0_node_100 | 20 | n |  | TRUE
109 | bus_MV_38_0_node_106 | 20 | n |  | TRUE
110 | bus_MV_38_0_node_90 | 20 | n |  | TRUE
111 | bus_MV_38_0_node_81 | 20 | n |  | TRUE
112 | bus_MV_38_0_node_82 | 20 | n |  | TRUE
113 | bus_MV_38_0_node_83 | 20 | n |  | TRUE
114 | bus_MV_38_0_node_84 | 20 | n |  | TRUE
115 | bus_MV_38_0_node_85 | 20 | n |  | TRUE
116 | bus_MV_38_0_node_86 | 20 | n |  | TRUE
117 | bus_MV_38_0_node_104 | 20 | n |  | TRUE
118 | bus_MV_38_0_node_105 | 20 | n |  | TRUE
119 | bus_MV_38_0_node_91 | 20 | n |  | TRUE
120 | bus_MV_38_0_node_117 | 20 | n |  | TRUE
121 | bus_MV_38_0_node_122 | 20 | n |  | TRUE
122 | bus_MV_38_0_node_123 | 20 | n |  | TRUE
123 | bus_HV_38_0_node_117 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_38_0_load_0 | 0 | 0.053256 | 0.025793 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_38_0_load_116 | 3 | 0.13801 | 0.066839 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_38_0_load_57 | 6 | 0.16346 | 0.079168 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_38_0_load_54 | 9 | 0.11615 | 0.056255 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_38_0_load_113 | 10 | 0.078201 | 0.037875 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_38_0_load_120 | 11 | 0.15704 | 0.076058 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_38_0_load_3 | 12 | 0.083528 | 0.040454 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_38_0_load_8 | 17 | 0.075943 | 0.036781 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_38_0_load_99 | 19 | 0.19371 | 0.093818 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_38_0_load_98 | 22 | 0.14761 | 0.071488 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_38_0_load_43 | 23 | 0.05792 | 0.028052 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_38_0_load_111 | 25 | 0.15801 | 0.076529 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_38_0_load_11 | 27 | 0.14497 | 0.07021 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_38_0_load_112 | 31 | 0.10897 | 0.052777 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_38_0_load_28 | 32 | 0.13418 | 0.064985 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_38_0_load_107 | 33 | 0.10811 | 0.052359 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_38_0_load_51 | 34 | 0.071687 | 0.03472 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_38_0_load_33 | 35 | 0.10549 | 0.05109 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_38_0_load_17 | 36 | 0.14734 | 0.071362 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_38_0_load_48 | 40 | 0.10116 | 0.048992 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_38_0_load_118 | 43 | 0.15195 | 0.073592 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_38_0_load_119 | 44 | 0.067608 | 0.032744 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_38_0_load_52 | 46 | 0.13126 | 0.063571 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_38_0_load_22 | 48 | 0.069579 | 0.033699 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_38_0_load_126 | 49 | 0.069367 | 0.033596 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_38_0_load_35 | 54 | 0.10202 | 0.049412 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_38_0_load_45 | 56 | 0.14722 | 0.0713 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_38_0_load_46 | 57 | 0.15887 | 0.076946 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_38_0_load_34 | 58 | 0.16232 | 0.078613 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_38_0_load_29 | 60 | 0.053387 | 0.025857 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_38_0_load_36 | 62 | 0.1048 | 0.050759 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_38_0_load_42 | 65 | 0.10046 | 0.048654 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_38_0_load_53 | 67 | 0.14278 | 0.069153 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_38_0_load_109 | 69 | 0.054506 | 0.026398 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_38_0_load_89 | 71 | 0.12905 | 0.062501 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_38_0_load_58 | 74 | 0.16217 | 0.078544 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_38_0_load_93 | 75 | 0.051576 | 0.024979 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_38_0_load_94 | 79 | 0.12222 | 0.059195 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_38_0_load_92 | 82 | 0.14149 | 0.068524 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_38_0_load_124 | 84 | 0.052444 | 0.0254 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_38_0_load_88 | 85 | 0.13579 | 0.065764 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_38_0_load_128 | 86 | 0.11548 | 0.05593 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_38_0_load_64 | 88 | 0.11912 | 0.057691 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_38_0_load_68 | 90 | 0.14062 | 0.068105 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_38_0_load_65 | 91 | 0.14266 | 0.069094 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_38_0_load_67 | 94 | 0.12947 | 0.062707 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_38_0_load_70 | 96 | 0.087801 | 0.042524 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_38_0_load_97 | 98 | 0.075463 | 0.036549 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_38_0_load_79 | 100 | 0.12026 | 0.058246 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_38_0_load_103 | 101 | 0.11244 | 0.054457 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_38_0_load_75 | 103 | 0.092624 | 0.04486 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_38_0_load_102 | 107 | 0.13829 | 0.066976 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_38_0_load_100 | 108 | 0.083805 | 0.040588 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_38_0_load_106 | 109 | 0.12454 | 0.060316 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_38_0_load_81 | 111 | 0.13902 | 0.067332 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_38_0_load_104 | 117 | 0.068569 | 0.033209 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_38_0_load_105 | 118 | 0.12142 | 0.058804 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_38_0_load_117 | 120 | 0.13844 | 0.067052 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_38_0_load_122 | 121 | 0.1277 | 0.06185 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 120 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_38_0_line_0 |  | 0 | 1 | 0.17836 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_38_0_line_1 |  | 1 | 2 | 0.30532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_38_0_line_2 |  | 2 | 4 | 0.61338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_38_0_line_3 |  | 2 | 10 | 0.056501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_38_0_line_4 |  | 3 | 4 | 1.3465 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
5 | MV_38_0_line_5 |  | 3 | 5 | 0.097155 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_38_0_line_6 |  | 4 | 11 | 0.037523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_38_0_line_7 |  | 5 | 8 | 0.88092 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
8 | MV_38_0_line_8 |  | 6 | 7 | 0.017742 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_38_0_line_9 |  | 6 | 8 | 0.5302 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
10 | MV_38_0_line_10 |  | 6 | 9 | 0.20194 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
11 | MV_38_0_line_11 |  | 7 | 76 | 0.12886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_38_0_line_12 |  | 7 | 77 | 0.23323 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
13 | MV_38_0_line_13 |  | 7 | 78 | 0.21372 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
14 | MV_38_0_line_14 |  | 8 | 75 | 0.070531 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
15 | MV_38_0_line_15 |  | 9 | 72 | 0.025415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_38_0_line_16 |  | 12 | 13 | 0.057566 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_38_0_line_17 |  | 12 | 14 | 0.24542 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
18 | MV_38_0_line_18 |  | 13 | 15 | 0.16647 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_38_0_line_19 |  | 14 | 16 | 1.378 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_38_0_line_20 |  | 15 | 17 | 0.15895 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_38_0_line_21 |  | 16 | 18 | 0.086675 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_38_0_line_22 |  | 16 | 19 | 0.035256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_38_0_line_23 |  | 16 | 20 | 1.493 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
24 | MV_38_0_line_24 |  | 17 | 21 | 0.016914 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_38_0_line_25 |  | 18 | 22 | 0.013441 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_38_0_line_26 |  | 20 | 23 | 0.050331 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_38_0_line_27 |  | 21 | 24 | 0.21491 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
28 | MV_38_0_line_28 |  | 22 | 63 | 0.054956 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
29 | MV_38_0_line_29 |  | 22 | 66 | 0.44268 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
30 | MV_38_0_line_30 |  | 24 | 25 | 0.020012 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_38_0_line_31 |  | 25 | 26 | 0.026969 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
32 | MV_38_0_line_32 |  | 26 | 28 | 0.14537 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_38_0_line_33 |  | 27 | 28 | 0.075457 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
34 | MV_38_0_line_34 |  | 27 | 29 | 0.52426 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
35 | MV_38_0_line_35 |  | 28 | 30 | 0.18715 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_38_0_line_36 |  | 29 | 31 | 0.032894 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_38_0_line_37 |  | 29 | 32 | 0.5597 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
38 | MV_38_0_line_38 |  | 30 | 33 | 0.023615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_38_0_line_39 |  | 32 | 34 | 0.75554 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
40 | MV_38_0_line_40 |  | 34 | 35 | 1.416 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
41 | MV_38_0_line_41 |  | 35 | 39 | 0.055177 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
42 | MV_38_0_line_42 |  | 36 | 37 | 0.013955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_38_0_line_43 |  | 37 | 38 | 0.13825 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_38_0_line_44 |  | 37 | 39 | 0.43701 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
45 | MV_38_0_line_45 |  | 38 | 40 | 0.007577 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
46 | MV_38_0_line_46 |  | 38 | 41 | 0.20248 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
47 | MV_38_0_line_47 |  | 39 | 42 | 0.91088 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_38_0_line_48 |  | 41 | 45 | 0.14459 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_38_0_line_49 |  | 42 | 43 | 0.051304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_38_0_line_50 |  | 42 | 44 | 6.2074 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
51 | MV_38_0_line_51 |  | 45 | 46 | 0.020308 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_38_0_line_52 |  | 46 | 47 | 0.12302 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_38_0_line_53 |  | 47 | 53 | 0.42966 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
54 | MV_38_0_line_54 |  | 48 | 49 | 1.1076 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
55 | MV_38_0_line_55 |  | 48 | 50 | 0.15746 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
56 | MV_38_0_line_56 |  | 50 | 51 | 0.9379 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_38_0_line_57 |  | 50 | 52 | 0.50576 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
58 | MV_38_0_line_58 |  | 51 | 57 | 0.006289 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
59 | MV_38_0_line_59 |  | 51 | 53 | 0.31814 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_38_0_line_60 |  | 51 | 55 | 0.14191 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
61 | MV_38_0_line_61 |  | 52 | 58 | 0.32837 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
62 | MV_38_0_line_62 |  | 53 | 54 | 0.016903 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_38_0_line_63 |  | 54 | 59 | 0.073549 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
64 | MV_38_0_line_64 |  | 55 | 56 | 0.030482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_38_0_line_65 |  | 59 | 61 | 0.24571 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
66 | MV_38_0_line_66 |  | 60 | 61 | 0.029311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_38_0_line_67 |  | 62 | 63 | 0.024474 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_38_0_line_68 |  | 62 | 64 | 0.044882 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
69 | MV_38_0_line_69 |  | 64 | 65 | 0.093066 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
70 | MV_38_0_line_70 |  | 66 | 67 | 0.076168 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
71 | MV_38_0_line_71 |  | 67 | 68 | 1.948 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
72 | MV_38_0_line_72 |  | 68 | 69 | 0.21155 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
73 | MV_38_0_line_73 |  | 69 | 70 | 0.19182 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
74 | MV_38_0_line_74 |  | 70 | 71 | 2.2725 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
75 | MV_38_0_line_75 |  | 71 | 110 | 0.062 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
76 | MV_38_0_line_76 |  | 72 | 73 | 0.04005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_38_0_line_77 |  | 73 | 74 | 0.071122 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_38_0_line_78 |  | 76 | 85 | 0.022784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_38_0_line_79 |  | 77 | 86 | 0.025254 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
80 | MV_38_0_line_80 |  | 78 | 87 | 0.11043 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
81 | MV_38_0_line_81 |  | 78 | 88 | 0.013349 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
82 | MV_38_0_line_82 |  | 79 | 80 | 0.059095 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
83 | MV_38_0_line_83 |  | 79 | 81 | 0.21605 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
84 | MV_38_0_line_84 |  | 80 | 82 | 1.5491 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
85 | MV_38_0_line_85 |  | 81 | 83 | 1.5127 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
86 | MV_38_0_line_86 |  | 82 | 92 | 0.051171 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
87 | MV_38_0_line_87 |  | 83 | 84 | 0.20133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_38_0_line_88 |  | 86 | 89 | 0.018484 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
89 | MV_38_0_line_89 |  | 87 | 90 | 0.042164 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
90 | MV_38_0_line_90 |  | 88 | 91 | 0.046079 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
91 | MV_38_0_line_91 |  | 89 | 122 | 0.016317 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
92 | MV_38_0_line_92 |  | 90 | 92 | 0.15025 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
93 | MV_38_0_line_93 |  | 90 | 93 | 0.14092 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
94 | MV_38_0_line_94 |  | 90 | 94 | 0.11884 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
95 | MV_38_0_line_95 |  | 93 | 98 | 0.006703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_38_0_line_96 |  | 93 | 99 | 0.14284 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_38_0_line_97 |  | 94 | 95 | 0.012512 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
98 | MV_38_0_line_98 |  | 94 | 96 | 0.013526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_38_0_line_99 |  | 95 | 97 | 0.12872 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
100 | MV_38_0_line_100 |  | 97 | 100 | 0.12444 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
101 | MV_38_0_line_101 |  | 99 | 101 | 0.079184 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
102 | MV_38_0_line_102 |  | 101 | 102 | 0.035048 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
103 | MV_38_0_line_103 |  | 102 | 113 | 0.012183 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
104 | MV_38_0_line_104 |  | 103 | 104 | 0.043899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_38_0_line_105 |  | 104 | 105 | 0.27418 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
106 | MV_38_0_line_106 |  | 105 | 109 | 0.055402 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
107 | MV_38_0_line_107 |  | 105 | 106 | 0.2833 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
108 | MV_38_0_line_108 |  | 106 | 107 | 0.076613 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_38_0_line_109 |  | 106 | 108 | 0.095886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_38_0_line_110 |  | 107 | 114 | 0.025317 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
111 | MV_38_0_line_111 |  | 109 | 110 | 3.0354 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
112 | MV_38_0_line_112 |  | 110 | 119 | 0.010849 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
113 | MV_38_0_line_113 |  | 111 | 112 | 0.025938 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
114 | MV_38_0_line_114 |  | 111 | 113 | 0.029262 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
115 | MV_38_0_line_115 |  | 112 | 114 | 0.073784 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
116 | MV_38_0_line_116 |  | 112 | 115 | 0.22111 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
117 | MV_38_0_line_117 |  | 114 | 116 | 0.076129 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
118 | MV_38_0_line_118 |  | 115 | 117 | 0.069662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_38_0_line_119 |  | 116 | 118 | 0.04563 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
120 | MV_38_0_line_120 |  | 119 | 120 | 0.10047 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
121 | MV_38_0_line_121 |  | 121 | 122 | 0.1417 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_38_0_trafo_117 | 25 MVA 110/20 kV | 123 | 120 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2730575.3262 | 1234885.4355
1 | 2730600.7134 | 1234708.8886
2 | 2730778.5803 | 1234578.9127
3 | 2731604.1874 | 1232966.5078
4 | 2731256.0444 | 1234267.1866
5 | 2731695.9206 | 1232993.7847
6 | 2732903.9707 | 1232499.3195
7 | 2732917.4333 | 1232487.7218
8 | 2732573.1881 | 1232913.6845
9 | 2732910.5817 | 1232701.1496
10 | 2730765.799 | 1234523.8738
11 | 2731264.3061 | 1234300.0747
12 | 2741215.5166 | 1229008.1143
13 | 2741217.8774 | 1229061.2389
14 | 2740973.6117 | 1228962.77
15 | 2741360.1627 | 1229121.5936
16 | 2739984.5522 | 1228651.753
17 | 2741512.5521 | 1229158.0209
18 | 2739915.9698 | 1228615.5304
19 | 2740012.6127 | 1228673.0974
20 | 2740804.4344 | 1227404.021
21 | 2741529.0201 | 1229161.8775
22 | 2739902.536 | 1228615.0773
23 | 2740814.467 | 1227356.8954
24 | 2741664.343 | 1229053.6711
25 | 2741683.9412 | 1229049.3563
26 | 2741710.5723 | 1229045.0981
27 | 2741883.3038 | 1229110.4397
28 | 2741840.3181 | 1229058.0687
29 | 2742387.4639 | 1229254.202
30 | 2741874.2015 | 1228897.9813
31 | 2742406.412 | 1229277.9654
32 | 2742764.6987 | 1228840.7261
33 | 2741857.857 | 1228880.9099
34 | 2743259.263 | 1228269.548
35 | 2743639.0415 | 1229633.6967
36 | 2743925.6223 | 1229525.9629
37 | 2743931.9375 | 1229538.4156
38 | 2744043.4347 | 1229548.546
39 | 2743693.9914 | 1229638.6951
40 | 2744042.229 | 1229541.0658
41 | 2744245.2818 | 1229532.5904
42 | 2743114.7235 | 1229937.1688
43 | 2743089.0485 | 1229892.7119
44 | 2742345.6201 | 1236096.7339
45 | 2744389.5215 | 1229542.4213
46 | 2744409.0638 | 1229536.7018
47 | 2744528.4026 | 1229505.4951
48 | 2745567.6309 | 1229837.8906
49 | 2746610.2825 | 1230211.4475
50 | 2745476.7173 | 1229966.4584
51 | 2744998.6956 | 1229961.9917
52 | 2745445.7868 | 1229539.7998
53 | 2744833.0491 | 1229808.4747
54 | 2744829.29 | 1229824.9533
55 | 2744893.8645 | 1229908.834
56 | 2744884.3817 | 1229937.8065
57 | 2744996.7459 | 1229967.9718
58 | 2745117.4241 | 1229537.855
59 | 2744755.7569 | 1229823.4395
60 | 2744482.9655 | 1229815.8995
61 | 2744510.4263 | 1229806.1581
62 | 2739871.5518 | 1228640.5408
63 | 2739849.7549 | 1228630.3861
64 | 2739868.2474 | 1228685.2907
65 | 2739782.0144 | 1228691.7582
66 | 2739514.2582 | 1228402.4557
67 | 2739444.9955 | 1228370.7648
68 | 2737679.1447 | 1227548.3809
69 | 2737474.5951 | 1227604.4432
70 | 2737291.0136 | 1227661.753
71 | 2735504.8836 | 1229066.7175
72 | 2732920.7258 | 1232724.0959
73 | 2732959.297 | 1232734.8788
74 | 2733011.7557 | 1232687.3342
75 | 2732627.1566 | 1232959.0936
76 | 2732957.4929 | 1232400.6104
77 | 2732755.2269 | 1232325.8934
78 | 2733112.3914 | 1232402.4895
79 | 2734215.1479 | 1233769.1742
80 | 2734204.489 | 1233711.6732
81 | 2734402.1586 | 1233857.8207
82 | 2733404.7815 | 1232384.9844
83 | 2735863.4067 | 1234248.9493
84 | 2736046.8452 | 1234228.4391
85 | 2732940.2146 | 1232385.7002
86 | 2732745.2235 | 1232302.6948
87 | 2733201.2032 | 1232338.5801
88 | 2733109.4487 | 1232389.4681
89 | 2732737.8989 | 1232285.7169
90 | 2733228.9213 | 1232306.8076
91 | 2733073.1349 | 1232361.1032
92 | 2733374.2103 | 1232345.0868
93 | 2733215.8268 | 1232166.4951
94 | 2733328.8724 | 1232242.516
95 | 2733333.5794 | 1232230.9229
96 | 2733340.7942 | 1232248.905
97 | 2733432.5577 | 1232165.5325
98 | 2733210.3225 | 1232162.6462
99 | 2733301.755 | 1232086.1308
100 | 2733527.2027 | 1232084.7445
101 | 2733322.1685 | 1232009.6236
102 | 2733330.6437 | 1231975.6181
103 | 2733552.7602 | 1231513.011
104 | 2733594.7459 | 1231526.2322
105 | 2733707.6479 | 1231642.3131
106 | 2733472.9371 | 1231800.9628
107 | 2733409.7605 | 1231842.5715
108 | 2733458.2169 | 1231878.1979
109 | 2733743.838 | 1231600.625
110 | 2735505.382 | 1229128.6259
111 | 2733340.9084 | 1231935.4698
112 | 2733343.2836 | 1231909.6457
113 | 2733333.8243 | 1231963.8573
114 | 2733385.7033 | 1231850.4581
115 | 2733131.042 | 1231929.6061
116 | 2733358.4935 | 1231813.9056
117 | 2733061.8232 | 1231920.1262
118 | 2733352.3189 | 1231768.6954
119 | 2735516.2619 | 1229128.4736
120 | 2735588.1706 | 1229177.5096
121 | 2732688.1607 | 1232135.8018
122 | 2732731.4389 | 1232270.7266
123 | 2735588.1706 | 1229177.5096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99092 | -0.49238 | 0.053256 | 0.025793
1 | 0.99094 | -0.49226 | 0 | 0
2 | 0.99096 | -0.49239 | 0 | 0
3 | 0.9913 | -0.47729 | 0.13801 | 0.066839
4 | 0.99106 | -0.49274 | 0 | 0
5 | 0.99132 | -0.4772 | 0 | 0
6 | 0.99171 | -0.45235 | 0.16346 | 0.079168
7 | 0.99172 | -0.45232 | 0 | 0
8 | 0.99155 | -0.46234 | 0 | 0
9 | 0.99168 | -0.45451 | 0.11615 | 0.056255
10 | 0.99096 | -0.49233 | 0.078201 | 0.037875
11 | 0.99105 | -0.49266 | 0.15704 | 0.076058
12 | 0.98946 | -0.60712 | 0.083528 | 0.040454
13 | 0.98942 | -0.60752 | 0 | 0
14 | 0.98964 | -0.60534 | 0 | 0
15 | 0.9893 | -0.60867 | 0 | 0
16 | 0.99065 | -0.59431 | 0 | 0
17 | 0.98919 | -0.60975 | 0.075943 | 0.036781
18 | 0.99072 | -0.59353 | 0 | 0
19 | 0.99064 | -0.59423 | 0.19371 | 0.093818
20 | 0.99059 | -0.5977 | 0 | 0
21 | 0.98917 | -0.60986 | 0 | 0
22 | 0.99073 | -0.59341 | 0.14761 | 0.071488
23 | 0.99059 | -0.59771 | 0.05792 | 0.028052
24 | 0.98903 | -0.61125 | 0 | 0
25 | 0.98901 | -0.61138 | 0.15801 | 0.076529
26 | 0.98898 | -0.61361 | 0 | 0
27 | 0.98884 | -0.61494 | 0.14497 | 0.07021
28 | 0.98889 | -0.6145 | 0 | 0
29 | 0.98829 | -0.65303 | 0 | 0
30 | 0.98888 | -0.61463 | 0 | 0
31 | 0.98829 | -0.65305 | 0.10897 | 0.052777
32 | 0.98774 | -0.69137 | 0.13418 | 0.064985
33 | 0.98887 | -0.6146 | 0.10811 | 0.052359
34 | 0.98708 | -0.73928 | 0.071687 | 0.03472
35 | 0.98589 | -0.82528 | 0.10549 | 0.05109
36 | 0.98569 | -0.82999 | 0.14734 | 0.071362
37 | 0.9857 | -0.83001 | 0 | 0
38 | 0.98565 | -0.83046 | 0 | 0
39 | 0.98585 | -0.82841 | 0 | 0
40 | 0.98565 | -0.83046 | 0.10116 | 0.048992
41 | 0.98555 | -0.83792 | 0 | 0
42 | 0.98579 | -0.82917 | 0 | 0
43 | 0.98578 | -0.82907 | 0.15195 | 0.073592
44 | 0.98552 | -0.84586 | 0.067608 | 0.032744
45 | 0.98551 | -0.83835 | 0 | 0
46 | 0.9855 | -0.83841 | 0.13126 | 0.063571
47 | 0.98547 | -0.83873 | 0 | 0
48 | 0.98512 | -0.8548 | 0.069579 | 0.033699
49 | 0.98507 | -0.85779 | 0.069367 | 0.033596
50 | 0.98514 | -0.85394 | 0 | 0
51 | 0.98522 | -0.85293 | 0 | 0
52 | 0.98509 | -0.85452 | 0 | 0
53 | 0.98528 | -0.85225 | 0 | 0
54 | 0.98528 | -0.85227 | 0.10202 | 0.049412
55 | 0.98521 | -0.85306 | 0 | 0
56 | 0.98521 | -0.853 | 0.14722 | 0.0713
57 | 0.98522 | -0.85293 | 0.15887 | 0.076946
58 | 0.98503 | -0.85611 | 0.16232 | 0.078613
59 | 0.98528 | -0.85242 | 0 | 0
60 | 0.98527 | -0.8525 | 0.053387 | 0.025857
61 | 0.98527 | -0.85252 | 0 | 0
62 | 0.99072 | -0.59385 | 0.1048 | 0.050759
63 | 0.99072 | -0.59385 | 0 | 0
64 | 0.99072 | -0.59388 | 0 | 0
65 | 0.99071 | -0.59394 | 0.10046 | 0.048654
66 | 0.99149 | -0.54008 | 0 | 0
67 | 0.99156 | -0.53935 | 0.14278 | 0.069153
68 | 0.99511 | -0.29492 | 0 | 0
69 | 0.99532 | -0.29288 | 0.054506 | 0.026398
70 | 0.9955 | -0.29098 | 0 | 0
71 | 0.9997 | -0.0024 | 0.12905 | 0.062501
72 | 0.99167 | -0.45446 | 0 | 0
73 | 0.99166 | -0.45439 | 0 | 0
74 | 0.99165 | -0.45425 | 0.16217 | 0.078544
75 | 0.99155 | -0.46248 | 0.051576 | 0.024979
76 | 0.9917 | -0.45212 | 0 | 0
77 | 0.9917 | -0.45242 | 0 | 0
78 | 0.99181 | -0.45178 | 0 | 0
79 | 0.99171 | -0.46184 | 0.12222 | 0.059195
80 | 0.99172 | -0.46181 | 0 | 0
81 | 0.99171 | -0.4619 | 0 | 0
82 | 0.99187 | -0.4508 | 0.14149 | 0.068524
83 | 0.99166 | -0.46508 | 0 | 0
84 | 0.99165 | -0.46498 | 0.052444 | 0.0254
85 | 0.99169 | -0.45209 | 0.13579 | 0.065764
86 | 0.9917 | -0.45243 | 0.11548 | 0.05593
87 | 0.99187 | -0.45145 | 0 | 0
88 | 0.99181 | -0.45178 | 0.11912 | 0.057691
89 | 0.9917 | -0.45244 | 0 | 0
90 | 0.99191 | -0.44887 | 0.14062 | 0.068105
91 | 0.9918 | -0.45203 | 0.14266 | 0.069094
92 | 0.99188 | -0.45076 | 0 | 0
93 | 0.99212 | -0.4359 | 0 | 0
94 | 0.99188 | -0.45042 | 0.12947 | 0.062707
95 | 0.99188 | -0.45043 | 0 | 0
96 | 0.99188 | -0.45041 | 0.087801 | 0.042524
97 | 0.99188 | -0.45045 | 0 | 0
98 | 0.99212 | -0.4359 | 0.075463 | 0.036549
99 | 0.99224 | -0.43523 | 0 | 0
100 | 0.99187 | -0.45102 | 0.12026 | 0.058246
101 | 0.99236 | -0.42771 | 0.11244 | 0.054457
102 | 0.99239 | -0.42753 | 0 | 0
103 | 0.99316 | -0.39211 | 0.092624 | 0.04486
104 | 0.99316 | -0.39216 | 0 | 0
105 | 0.99318 | -0.39198 | 0 | 0
106 | 0.99261 | -0.4262 | 0 | 0
107 | 0.99253 | -0.42665 | 0.13829 | 0.066976
108 | 0.9926 | -0.42611 | 0.083805 | 0.040588
109 | 0.99323 | -0.39163 | 0.12454 | 0.060316
110 | 0.99977 | -0.0017872 | 0 | 0
111 | 0.99242 | -0.42733 | 0.13902 | 0.067332
112 | 0.99245 | -0.42719 | 0 | 0
113 | 0.9924 | -0.42747 | 0 | 0
114 | 0.99251 | -0.42679 | 0 | 0
115 | 0.99244 | -0.42731 | 0 | 0
116 | 0.99251 | -0.42681 | 0 | 0
117 | 0.99243 | -0.42725 | 0.068569 | 0.033209
118 | 0.9925 | -0.42702 | 0.12142 | 0.058804
119 | 0.99979 | -0.0016135 | 0 | 0
120 | 1 | 0 | -6.6497 | -2.6557
121 | 0.99169 | -0.45313 | 0.1277 | 0.06185
122 | 0.9917 | -0.45244 | 0 | 0
123 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.053256 | -0.025793 | 0.053257 | 0.025585 | 9.4289e-07 | -0.0002085 | 0.0017238 | 0.0017212 | 0.0017238 | 0.99092 | -0.49238 | 0.99094 | -0.49226 | 0.82087
1 | -0.053257 | -0.025585 | 0.053258 | 0.018426 | 1.1486e-06 | -0.0071583 | 0.0017212 | 0.0016417 | 0.0017212 | 0.99094 | -0.49226 | 0.99096 | -0.49239 | 0.78236
2 | -0.13146 | -0.054976 | 0.13147 | 0.040597 | 1.3596e-05 | -0.014379 | 0.0041509 | 0.0040079 | 0.0041509 | 0.99096 | -0.49239 | 0.99106 | -0.49274 | 1.8868
3 | 0.078202 | 0.03655 | -0.078201 | -0.037875 | 4.8008e-07 | -0.0013246 | 0.0025146 | 0.0025312 | 0.0025312 | 0.99096 | -0.49239 | 0.99096 | -0.49233 | 1.1505
4 | 0.28855 | 0.11405 | -0.28851 | -0.11578 | 3.9329e-05 | -0.0017228 | 0.0090355 | 0.0090552 | 0.0090552 | 0.9913 | -0.47729 | 0.99106 | -0.49274 | 1.4039
5 | -0.42656 | -0.18089 | 0.42657 | 0.1749 | 5.4379e-06 | -0.0059957 | 0.013493 | 0.013425 | 0.013493 | 0.9913 | -0.47729 | 0.99132 | -0.4772 | 2.1148
6 | 0.15704 | 0.075179 | -0.15704 | -0.076058 | 1.2912e-06 | -0.00087957 | 0.0050714 | 0.0050825 | 0.0050825 | 0.99106 | -0.49274 | 0.99105 | -0.49266 | 2.3102
7 | -0.42657 | -0.1749 | 0.42662 | 0.17385 | 5.6627e-05 | -0.0010446 | 0.013425 | 0.013412 | 0.013425 | 0.99132 | -0.4772 | 0.99155 | -0.46234 | 2.0814
8 | -0.92004 | -0.40863 | 0.92004 | 0.40754 | 4.7057e-06 | -0.0010937 | 0.029304 | 0.029291 | 0.029304 | 0.99171 | -0.45235 | 0.99172 | -0.45232 | 4.5931
9 | 0.47824 | 0.19813 | -0.4782 | -0.19874 | 4.3e-05 | -0.00060506 | 0.015068 | 0.015076 | 0.015076 | 0.99171 | -0.45235 | 0.99155 | -0.46234 | 2.3374
10 | 0.27834 | 0.13134 | -0.27833 | -0.13159 | 5.7882e-06 | -0.00025896 | 0.0089587 | 0.0089621 | 0.0089621 | 0.99171 | -0.45235 | 0.99168 | -0.45451 | 1.3895
11 | 0.13579 | 0.062204 | -0.13579 | -0.065229 | 3.2795e-06 | -0.003025 | 0.0043476 | 0.0043851 | 0.0043851 | 0.99172 | -0.45232 | 0.9917 | -0.45212 | 1.9932
12 | 0.24319 | 0.099469 | -0.24319 | -0.11388 | 4.3064e-06 | -0.01441 | 0.0076482 | 0.0078167 | 0.0078167 | 0.99172 | -0.45232 | 0.9917 | -0.45242 | 1.2252
13 | -1.299 | -0.56921 | 1.2991 | 0.55607 | 0.00011214 | -0.013145 | 0.041284 | 0.041131 | 0.041284 | 0.99172 | -0.45232 | 0.99181 | -0.45178 | 6.4708
14 | 0.051576 | 0.024884 | -0.051576 | -0.024979 | 7.0037e-08 | -9.5666e-05 | 0.0016672 | 0.0016684 | 0.0016684 | 0.99155 | -0.46234 | 0.99155 | -0.46248 | 0.25866
15 | 0.16218 | 0.075339 | -0.16218 | -0.075935 | 9.2069e-07 | -0.00059647 | 0.0052055 | 0.0052129 | 0.0052129 | 0.99168 | -0.45451 | 0.99167 | -0.45446 | 2.3695
16 | 2.274 | 0.81306 | -2.2739 | -0.81655 | 8.8346e-05 | -0.0034912 | 0.070457 | 0.070492 | 0.070492 | 0.98946 | -0.60712 | 0.98942 | -0.60752 | 11.0489
17 | -2.3575 | -0.85351 | 2.3579 | 0.83864 | 0.00040495 | -0.014871 | 0.07315 | 0.073001 | 0.07315 | 0.98946 | -0.60712 | 0.98964 | -0.60534 | 11.4655
18 | 2.2739 | 0.81655 | -2.2736 | -0.82665 | 0.00025597 | -0.010094 | 0.070492 | 0.070593 | 0.070593 | 0.98942 | -0.60752 | 0.9893 | -0.60867 | 11.0648
19 | -2.3579 | -0.83864 | 2.3602 | 0.75503 | 0.002244 | -0.083618 | 0.073001 | 0.072209 | 0.073001 | 0.98964 | -0.60534 | 0.99065 | -0.59431 | 11.4421
20 | 2.2736 | 0.82665 | -2.2734 | -0.83628 | 0.00024511 | -0.0096356 | 0.070593 | 0.070691 | 0.070691 | 0.9893 | -0.60867 | 0.98919 | -0.60975 | 11.0801
21 | -2.6118 | -0.87236 | 2.612 | 0.86711 | 0.00017234 | -0.0052479 | 0.080241 | 0.080192 | 0.080241 | 0.99065 | -0.59431 | 0.99072 | -0.59353 | 12.577
22 | 0.19371 | 0.092993 | -0.19371 | -0.093818 | 1.8484e-06 | -0.00082554 | 0.0062615 | 0.006272 | 0.006272 | 0.99065 | -0.59431 | 0.99064 | -0.59423 | 2.8509
23 | 0.057922 | 0.024337 | -0.05792 | -0.026358 | 1.8093e-06 | -0.0020204 | 0.0018308 | 0.0018544 | 0.0018544 | 0.99065 | -0.59431 | 0.99059 | -0.5977 | 0.28751
24 | 2.1975 | 0.7995 | -2.1974 | -0.80053 | 2.4342e-05 | -0.0010261 | 0.068241 | 0.068252 | 0.068252 | 0.98919 | -0.60975 | 0.98917 | -0.60986 | 10.6977
25 | -2.612 | -0.86711 | 2.612 | 0.86629 | 2.6707e-05 | -0.00081391 | 0.080192 | 0.080184 | 0.080192 | 0.99072 | -0.59353 | 0.99073 | -0.59341 | 12.5693
26 | 0.05792 | 0.026358 | -0.05792 | -0.028052 | 8.454e-08 | -0.0016943 | 0.0018544 | 0.0018754 | 0.0018754 | 0.99059 | -0.5977 | 0.99059 | -0.59771 | 0.51807
27 | 2.1974 | 0.80053 | -2.1971 | -0.81356 | 0.00030995 | -0.013036 | 0.068252 | 0.068384 | 0.068384 | 0.98917 | -0.60986 | 0.98903 | -0.61125 | 10.7186
28 | 0.20526 | 0.093187 | -0.20526 | -0.093259 | 8.4657e-07 | -7.2287e-05 | 0.0065684 | 0.0065693 | 0.0065693 | 0.99073 | -0.59341 | 0.99072 | -0.59385 | 1.0185
29 | -2.9649 | -1.031 | 2.9662 | 1.0339 | 0.001322 | 0.0029538 | 0.091463 | 0.091458 | 0.091463 | 0.99073 | -0.59341 | 0.99149 | -0.54008 | 14.1804
30 | 2.1971 | 0.81356 | -2.1971 | -0.81478 | 2.8923e-05 | -0.0012136 | 0.068384 | 0.068397 | 0.068397 | 0.98903 | -0.61125 | 0.98901 | -0.61138 | 10.7205
31 | 2.0391 | 0.73825 | -2.039 | -0.73818 | 3.8576e-05 | 6.727e-05 | 0.063298 | 0.063298 | 0.063298 | 0.98901 | -0.61138 | 0.98898 | -0.61361 | 9.8137
32 | 2.039 | 0.73818 | -2.0389 | -0.74701 | 0.00018023 | -0.0088312 | 0.063298 | 0.063387 | 0.063387 | 0.98898 | -0.61361 | 0.98889 | -0.6145 | 9.9353
33 | -1.9307 | -0.70607 | 1.9308 | 0.70148 | 8.3911e-05 | -0.0045888 | 0.060013 | 0.059967 | 0.060013 | 0.98884 | -0.61494 | 0.98889 | -0.6145 | 9.4065
34 | 1.7857 | 0.63586 | -1.7851 | -0.63503 | 0.00057319 | 0.00083314 | 0.055337 | 0.055344 | 0.055344 | 0.98884 | -0.61494 | 0.98829 | -0.65303 | 8.5804
35 | 0.10811 | 0.04553 | -0.10811 | -0.051808 | 1.0828e-06 | -0.0062777 | 0.0034244 | 0.0034996 | 0.0034996 | 0.98889 | -0.6145 | 0.98888 | -0.61463 | 0.96674
36 | 0.10897 | 0.051675 | -0.10897 | -0.052777 | 1.9793e-07 | -0.001102 | 0.0035227 | 0.0035366 | 0.0035366 | 0.98829 | -0.65303 | 0.98829 | -0.65305 | 0.97697
37 | 1.6762 | 0.58335 | -1.6756 | -0.58266 | 0.00053706 | 0.00068895 | 0.05184 | 0.051848 | 0.051848 | 0.98829 | -0.65303 | 0.98774 | -0.69137 | 8.0384
38 | 0.10811 | 0.051808 | -0.10811 | -0.052359 | 3.8688e-07 | -0.00055124 | 0.0034996 | 0.0035066 | 0.0035066 | 0.98888 | -0.61463 | 0.98887 | -0.6146 | 1.5939
39 | 1.5414 | 0.51768 | -1.5408 | -0.51706 | 0.00060927 | 0.00062013 | 0.047523 | 0.047532 | 0.047532 | 0.98774 | -0.69137 | 0.98708 | -0.73928 | 7.3693
40 | 1.4691 | 0.48234 | -1.4681 | -0.48146 | 0.0010342 | 0.00087628 | 0.045222 | 0.04524 | 0.04524 | 0.98708 | -0.73928 | 0.98589 | -0.82528 | 7.0139
41 | 1.3626 | 0.43037 | -1.3626 | -0.43035 | 3.4486e-05 | 1.8604e-05 | 0.041841 | 0.041842 | 0.041842 | 0.98589 | -0.82528 | 0.98585 | -0.82841 | 6.4871
42 | -0.14734 | -0.071362 | 0.14734 | 0.071039 | 4.2791e-07 | -0.0003236 | 0.0047947 | 0.0047905 | 0.0047947 | 0.98569 | -0.82999 | 0.9857 | -0.83001 | 2.1794
43 | 0.9955 | 0.34468 | -0.99546 | -0.35309 | 4.077e-05 | -0.0084163 | 0.030853 | 0.030934 | 0.030934 | 0.9857 | -0.83001 | 0.98565 | -0.83046 | 4.8486
44 | -1.1428 | -0.41572 | 1.143 | 0.38913 | 0.00017002 | -0.026587 | 0.035615 | 0.035356 | 0.035615 | 0.9857 | -0.83001 | 0.98585 | -0.82841 | 5.5823
45 | 0.10116 | 0.048739 | -0.10116 | -0.048992 | 3.9613e-08 | -0.0002525 | 0.0032886 | 0.0032918 | 0.0032918 | 0.98565 | -0.83046 | 0.98565 | -0.83046 | 0.90933
46 | 0.8943 | 0.30435 | -0.89425 | -0.30448 | 5.5337e-05 | -0.00012308 | 0.027667 | 0.02767 | 0.02767 | 0.98565 | -0.83046 | 0.98555 | -0.83792 | 4.2899
47 | 0.21958 | 0.041224 | -0.21957 | -0.096838 | 1.2786e-05 | -0.055614 | 0.0065421 | 0.0070273 | 0.0070273 | 0.98585 | -0.82841 | 0.98579 | -0.82917 | 1.1015
48 | 0.89425 | 0.30448 | -0.89421 | -0.31328 | 3.431e-05 | -0.0088044 | 0.02767 | 0.027754 | 0.027754 | 0.98555 | -0.83792 | 0.98551 | -0.83835 | 4.3502
49 | 0.15195 | 0.072402 | -0.15195 | -0.073592 | 1.6691e-06 | -0.0011899 | 0.004929 | 0.0049441 | 0.0049441 | 0.98579 | -0.82917 | 0.98578 | -0.82907 | 2.2473
50 | 0.067618 | 0.024436 | -0.067608 | -0.032744 | 1.0244e-05 | -0.0083085 | 0.0021054 | 0.0022004 | 0.0022004 | 0.98579 | -0.82917 | 0.98552 | -0.84586 | 0.34115
51 | 0.89421 | 0.31328 | -0.89421 | -0.31452 | 4.8358e-06 | -0.0012365 | 0.027754 | 0.027766 | 0.027766 | 0.98551 | -0.83835 | 0.9855 | -0.83841 | 4.3521
52 | 0.76295 | 0.25095 | -0.76293 | -0.25844 | 2.1101e-05 | -0.0074949 | 0.023526 | 0.023596 | 0.023596 | 0.9855 | -0.83841 | 0.98547 | -0.83873 | 3.6984
53 | 0.76293 | 0.25844 | -0.76284 | -0.25879 | 8.5421e-05 | -0.00034697 | 0.023596 | 0.023601 | 0.023601 | 0.98547 | -0.83873 | 0.98528 | -0.85225 | 3.6591
54 | 0.069369 | 0.032116 | -0.069367 | -0.033596 | 2.0004e-06 | -0.0014803 | 0.00224 | 0.0022587 | 0.0022587 | 0.98512 | -0.8548 | 0.98507 | -0.85779 | 0.35018
55 | -0.13895 | -0.065814 | 0.13895 | 0.065606 | 1.1404e-06 | -0.00020817 | 0.0045053 | 0.0045027 | 0.0045053 | 0.98512 | -0.8548 | 0.98514 | -0.85394 | 0.6985
56 | -0.30128 | -0.127 | 0.3013 | 0.069813 | 2.4998e-05 | -0.057182 | 0.0095807 | 0.0090622 | 0.0095807 | 0.98514 | -0.85394 | 0.98522 | -0.85293 | 1.5017
57 | 0.16233 | 0.061389 | -0.16232 | -0.078222 | 6.5495e-06 | -0.016833 | 0.0050856 | 0.0052803 | 0.0052803 | 0.98514 | -0.85394 | 0.98509 | -0.85452 | 1.4586
58 | 0.15887 | 0.076737 | -0.15887 | -0.076946 | 8.1244e-08 | -0.00020936 | 0.0051696 | 0.0051723 | 0.0051723 | 0.98522 | -0.85293 | 0.98522 | -0.85293 | 1.4288
59 | -0.6074 | -0.21242 | 0.60743 | 0.19303 | 3.4605e-05 | -0.019385 | 0.018854 | 0.018674 | 0.018854 | 0.98522 | -0.85293 | 0.98528 | -0.85225 | 2.9552
60 | 0.14722 | 0.06587 | -0.14722 | -0.070594 | 1.5493e-06 | -0.0047243 | 0.0047256 | 0.0047839 | 0.0047839 | 0.98522 | -0.85293 | 0.98521 | -0.85306 | 1.3215
61 | 0.16232 | 0.078222 | -0.16232 | -0.078613 | 8.4128e-06 | -0.00039078 | 0.0052803 | 0.0052854 | 0.0052854 | 0.98509 | -0.85452 | 0.98503 | -0.85611 | 1.5101
62 | 0.15541 | 0.065755 | -0.15541 | -0.066317 | 1.9982e-07 | -0.00056279 | 0.0049441 | 0.0049506 | 0.0049506 | 0.98528 | -0.85225 | 0.98528 | -0.85227 | 1.3676
63 | 0.053388 | 0.016905 | -0.053387 | -0.016995 | 1.8185e-07 | -8.9515e-05 | 0.0016407 | 0.0016415 | 0.0016415 | 0.98528 | -0.85227 | 0.98528 | -0.85242 | 0.46901
64 | 0.14722 | 0.070594 | -0.14722 | -0.0713 | 9.3303e-07 | -0.00070615 | 0.0047839 | 0.0047929 | 0.0047929 | 0.98521 | -0.85306 | 0.98521 | -0.853 | 2.1786
65 | 0.053387 | 0.016995 | -0.053387 | -0.025177 | 3.3566e-07 | -0.0081826 | 0.0016415 | 0.0017294 | 0.0017294 | 0.98528 | -0.85242 | 0.98527 | -0.85252 | 0.47774
66 | -0.053387 | -0.025857 | 0.053387 | 0.025177 | 1.1761e-07 | -0.00067933 | 0.001738 | 0.0017294 | 0.001738 | 0.98527 | -0.8525 | 0.98527 | -0.85252 | 0.79
67 | -0.20526 | -0.094768 | 0.20526 | 0.093259 | 3.2727e-07 | -0.0015091 | 0.0065876 | 0.0065693 | 0.0065876 | 0.99072 | -0.59385 | 0.99072 | -0.59385 | 1.0325
68 | 0.10046 | 0.044009 | -0.10046 | -0.04552 | 2.2262e-07 | -0.0015111 | 0.0031957 | 0.0032136 | 0.0032136 | 0.99072 | -0.59385 | 0.99072 | -0.59388 | 0.88774
69 | 0.10046 | 0.04552 | -0.10046 | -0.048654 | 4.6977e-07 | -0.0031334 | 0.0032136 | 0.0032524 | 0.0032524 | 0.99072 | -0.59388 | 0.99071 | -0.59394 | 0.89845
70 | -2.9662 | -1.0339 | 2.9664 | 1.0293 | 0.00019677 | -0.0045942 | 0.091458 | 0.091413 | 0.091458 | 0.99149 | -0.54008 | 0.99156 | -0.53935 | 14.3351
71 | -3.1092 | -1.0985 | 3.1156 | 1.1131 | 0.0064075 | 0.014573 | 0.096001 | 0.095975 | 0.096001 | 0.99156 | -0.53935 | 0.99511 | -0.29492 | 14.8839
72 | -3.1156 | -1.1131 | 3.1162 | 1.1002 | 0.00060133 | -0.012827 | 0.095975 | 0.095848 | 0.095975 | 0.99511 | -0.29492 | 0.99532 | -0.29288 | 15.0432
73 | -3.1707 | -1.1266 | 3.1712 | 1.115 | 0.00056387 | -0.011625 | 0.097593 | 0.097478 | 0.097593 | 0.99532 | -0.29288 | 0.9955 | -0.29098 | 15.2968
74 | -3.1712 | -1.115 | 3.179 | 1.1326 | 0.0077064 | 0.017597 | 0.097478 | 0.097448 | 0.097478 | 0.9955 | -0.29098 | 0.9997 | -0.0024 | 15.1129
75 | -3.308 | -1.1951 | 3.3082 | 1.1913 | 0.00019755 | -0.0037823 | 0.10156 | 0.10153 | 0.10156 | 0.9997 | -0.0024 | 0.99977 | -0.0017872 | 15.9192
76 | 0.16218 | 0.075935 | -0.16218 | -0.076875 | 1.4561e-06 | -0.00093994 | 0.0052129 | 0.0052245 | 0.0052245 | 0.99167 | -0.45446 | 0.99166 | -0.45439 | 2.3748
77 | 0.16218 | 0.076875 | -0.16217 | -0.078544 | 2.6021e-06 | -0.0016691 | 0.0052245 | 0.0052455 | 0.0052455 | 0.99166 | -0.45439 | 0.99165 | -0.45425 | 2.3843
78 | 0.13579 | 0.065229 | -0.13579 | -0.065764 | 5.8578e-07 | -0.00053482 | 0.0043851 | 0.0043918 | 0.0043918 | 0.9917 | -0.45212 | 0.99169 | -0.45209 | 1.9963
79 | 0.24319 | 0.11388 | -0.24319 | -0.11544 | 4.7797e-07 | -0.0015603 | 0.0078167 | 0.007836 | 0.007836 | 0.9917 | -0.45242 | 0.9917 | -0.45243 | 1.2282
80 | -1.5609 | -0.68197 | 1.561 | 0.67519 | 8.3745e-05 | -0.0067788 | 0.049579 | 0.0495 | 0.049579 | 0.99181 | -0.45178 | 0.99187 | -0.45145 | 7.771
81 | 0.26178 | 0.1259 | -0.26178 | -0.12672 | 2.9522e-07 | -0.00082489 | 0.0084547 | 0.0084651 | 0.0084651 | 0.99181 | -0.45178 | 0.99181 | -0.45178 | 1.3268
82 | -0.17467 | -0.064465 | 0.17467 | 0.060813 | 5.3276e-07 | -0.0036515 | 0.0054196 | 0.0053837 | 0.0054196 | 0.99171 | -0.46184 | 0.99172 | -0.46181 | 0.84947
83 | 0.052446 | 0.0052694 | -0.052446 | -0.01862 | 1.6366e-07 | -0.013351 | 0.0015343 | 0.00162 | 0.00162 | 0.99171 | -0.46184 | 0.99171 | -0.4619 | 0.25392
84 | -0.17467 | -0.060813 | 0.17469 | 0.05875 | 1.597e-05 | -0.0020634 | 0.0053837 | 0.0053639 | 0.0053837 | 0.99172 | -0.46181 | 0.99187 | -0.4508 | 0.83469
85 | 0.052446 | 0.01862 | -0.052444 | -0.020673 | 1.4353e-06 | -0.0020525 | 0.00162 | 0.001641 | 0.001641 | 0.99171 | -0.4619 | 0.99166 | -0.46508 | 0.25442
86 | -0.31617 | -0.12727 | 0.31617 | 0.12411 | 1.5504e-06 | -0.0031623 | 0.0099194 | 0.0098854 | 0.0099194 | 0.99187 | -0.4508 | 0.99188 | -0.45076 | 1.5548
87 | 0.052444 | 0.020673 | -0.052444 | -0.0254 | 7.4729e-07 | -0.0047268 | 0.001641 | 0.0016963 | 0.0016963 | 0.99166 | -0.46508 | 0.99165 | -0.46498 | 0.77104
88 | 0.12771 | 0.059509 | -0.12771 | -0.060651 | 9.641e-08 | -0.0011421 | 0.0041012 | 0.0041153 | 0.0041153 | 0.9917 | -0.45243 | 0.9917 | -0.45244 | 0.64504
89 | -1.561 | -0.67519 | 1.561 | 0.67523 | 3.6881e-05 | 4.1835e-05 | 0.0495 | 0.049499 | 0.0495 | 0.99187 | -0.45145 | 0.99191 | -0.44887 | 7.6744
90 | 0.14266 | 0.069032 | -0.14266 | -0.069094 | 3.501e-07 | -6.1714e-05 | 0.0046129 | 0.0046137 | 0.0046137 | 0.99181 | -0.45178 | 0.9918 | -0.45203 | 0.7153
91 | 0.12771 | 0.060651 | -0.12771 | -0.06166 | 8.5651e-08 | -0.0010082 | 0.0041153 | 0.004128 | 0.004128 | 0.9917 | -0.45244 | 0.9917 | -0.45244 | 0.64703
92 | 0.31618 | 0.12392 | -0.31617 | -0.12411 | 5.2404e-06 | -0.00019024 | 0.0098832 | 0.0098854 | 0.0098854 | 0.99191 | -0.44887 | 0.99188 | -0.45076 | 1.5326
93 | -2.3554 | -1.0214 | 2.3557 | 1.0219 | 0.00028084 | 0.00056351 | 0.074716 | 0.074714 | 0.074716 | 0.99191 | -0.44887 | 0.99212 | -0.4359 | 11.5839
94 | 0.33754 | 0.15411 | -0.33754 | -0.15426 | 4.9487e-06 | -0.00014832 | 0.010799 | 0.010801 | 0.010801 | 0.99191 | -0.44887 | 0.99188 | -0.45042 | 1.6746
95 | 0.075464 | 0.036391 | -0.075463 | -0.036549 | 5.3223e-08 | -0.00015751 | 0.0024377 | 0.0024397 | 0.0024397 | 0.99212 | -0.4359 | 0.99212 | -0.4359 | 1.109
96 | -2.4311 | -1.0583 | 2.4314 | 1.0496 | 0.00026237 | -0.0086875 | 0.07715 | 0.077047 | 0.07715 | 0.99212 | -0.4359 | 0.99224 | -0.43523 | 12.0924
97 | 0.12026 | 0.049349 | -0.12026 | -0.050122 | 5.5492e-08 | -0.00077342 | 0.0037834 | 0.003792 | 0.003792 | 0.99188 | -0.45042 | 0.99188 | -0.45043 | 0.59435
98 | 0.087801 | 0.042206 | -0.087801 | -0.042524 | 1.4536e-07 | -0.00031768 | 0.0028353 | 0.0028393 | 0.0028393 | 0.99188 | -0.45042 | 0.99188 | -0.45041 | 1.2906
99 | 0.12026 | 0.050122 | -0.12026 | -0.058079 | 5.859e-07 | -0.0079567 | 0.003792 | 0.0038869 | 0.0038869 | 0.99188 | -0.45043 | 0.99188 | -0.45045 | 0.60924
100 | 0.12026 | 0.058079 | -0.12026 | -0.058246 | 6.7154e-07 | -0.00016742 | 0.0038869 | 0.0038891 | 0.0038891 | 0.99188 | -0.45045 | 0.99187 | -0.45102 | 0.60296
101 | -2.4314 | -1.0496 | 2.4316 | 1.05 | 0.00016781 | 0.00034347 | 0.077047 | 0.077046 | 0.077047 | 0.99224 | -0.43523 | 0.99236 | -0.42771 | 11.9453
102 | -2.544 | -1.1044 | 2.5441 | 1.1023 | 7.0467e-05 | -0.002129 | 0.080677 | 0.080652 | 0.080677 | 0.99236 | -0.42771 | 0.99239 | -0.42753 | 12.6453
103 | -2.5441 | -1.1023 | 2.5441 | 1.1016 | 2.4485e-05 | -0.00074009 | 0.080652 | 0.080643 | 0.080652 | 0.99239 | -0.42753 | 0.9924 | -0.42747 | 12.6414
104 | -0.092624 | -0.04486 | 0.092624 | 0.043826 | 5.2213e-07 | -0.0010337 | 0.0029914 | 0.0029784 | 0.0029914 | 0.99316 | -0.39211 | 0.99316 | -0.39216 | 1.3597
105 | -0.092624 | -0.043826 | 0.092625 | 0.034549 | 1.1317e-06 | -0.0092773 | 0.0029784 | 0.0028734 | 0.0029784 | 0.99316 | -0.39216 | 0.99318 | -0.39198 | 0.82276
106 | -3.1894 | -1.3752 | 3.1895 | 1.3718 | 0.0001744 | -0.0033357 | 0.10095 | 0.10091 | 0.10095 | 0.99318 | -0.39198 | 0.99323 | -0.39163 | 15.8231
107 | 3.0967 | 1.3406 | -3.0958 | -1.3384 | 0.00097299 | 0.0022304 | 0.098081 | 0.098086 | 0.098086 | 0.99318 | -0.39198 | 0.99261 | -0.4262 | 15.2071
108 | 3.012 | 1.3 | -3.0117 | -1.3047 | 0.00021561 | -0.0046211 | 0.095406 | 0.095461 | 0.095461 | 0.99261 | -0.4262 | 0.99253 | -0.42665 | 14.9626
109 | 0.083806 | 0.038333 | -0.083805 | -0.040588 | 9.2899e-07 | -0.0022554 | 0.0026801 | 0.0027081 | 0.0027081 | 0.99261 | -0.4262 | 0.9926 | -0.42611 | 1.2309
110 | 2.8735 | 1.2377 | -2.8734 | -1.2392 | 6.479e-05 | -0.0015305 | 0.090996 | 0.091014 | 0.091014 | 0.99253 | -0.42665 | 0.99251 | -0.42679 | 14.2656
111 | -3.3141 | -1.4321 | 3.326 | 1.46 | 0.011926 | 0.027903 | 0.10493 | 0.10488 | 0.10493 | 0.99323 | -0.39163 | 0.99977 | -0.0017872 | 16.2681
112 | -6.6342 | -2.6514 | 6.6343 | 2.6507 | 0.00014265 | -0.00060103 | 0.20629 | 0.20628 | 0.20629 | 0.99977 | -0.0017872 | 0.99979 | -0.0016135 | 32.3337
113 | -2.6832 | -1.1671 | 2.6832 | 1.1656 | 5.8047e-05 | -0.0015725 | 0.085112 | 0.085093 | 0.085112 | 0.99242 | -0.42733 | 0.99245 | -0.42719 | 13.3404
114 | 2.5441 | 1.0998 | -2.5441 | -1.1016 | 5.8788e-05 | -0.0017777 | 0.080622 | 0.080643 | 0.080643 | 0.99242 | -0.42733 | 0.9924 | -0.42747 | 12.64
115 | -2.7518 | -1.1897 | 2.752 | 1.1852 | 0.00017327 | -0.004469 | 0.087202 | 0.087149 | 0.087202 | 0.99245 | -0.42719 | 0.99251 | -0.42679 | 13.668
116 | 0.06857 | 0.0241 | -0.068569 | -0.031571 | 4.9485e-07 | -0.0074708 | 0.0021141 | 0.0021958 | 0.0021958 | 0.99245 | -0.42719 | 0.99244 | -0.42731 | 0.60656
117 | 0.12142 | 0.054031 | -0.12142 | -0.058743 | 3.5663e-07 | -0.0047117 | 0.0038653 | 0.003923 | 0.003923 | 0.99251 | -0.42679 | 0.99251 | -0.42681 | 0.6149
118 | 0.068569 | 0.031571 | -0.068569 | -0.033209 | 4.525e-07 | -0.0016381 | 0.0021958 | 0.0022161 | 0.0022161 | 0.99244 | -0.42731 | 0.99243 | -0.42725 | 1.0073
119 | 0.12142 | 0.058743 | -0.12142 | -0.058804 | 2.5076e-07 | -6.1458e-05 | 0.003923 | 0.0039238 | 0.0039238 | 0.99251 | -0.42681 | 0.9925 | -0.42702 | 0.60834
120 | -6.6343 | -2.6507 | 6.6357 | 2.6452 | 0.0013206 | -0.0055678 | 0.20628 | 0.20621 | 0.20628 | 0.99979 | -0.0016135 | 1 | 0 | 32.3325
121 | -0.1277 | -0.06185 | 0.12771 | 0.06166 | 8.6251e-07 | -0.00019031 | 0.0041305 | 0.004128 | 0.0041305 | 0.99169 | -0.45313 | 0.9917 | -0.45244 | 0.64038

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.7881 | 2.7227

## res_load
| p_mw | q_mvar
0 | 0.053256 | 0.025793
1 | 0.13801 | 0.066839
2 | 0.16346 | 0.079168
3 | 0.11615 | 0.056255
4 | 0.078201 | 0.037875
5 | 0.15704 | 0.076058
6 | 0.083528 | 0.040454
7 | 0.075943 | 0.036781
8 | 0.19371 | 0.093818
9 | 0.14761 | 0.071488
10 | 0.05792 | 0.028052
11 | 0.15801 | 0.076529
12 | 0.14497 | 0.07021
13 | 0.10897 | 0.052777
14 | 0.13418 | 0.064985
15 | 0.10811 | 0.052359
16 | 0.071687 | 0.03472
17 | 0.10549 | 0.05109
18 | 0.14734 | 0.071362
19 | 0.10116 | 0.048992
20 | 0.15195 | 0.073592
21 | 0.067608 | 0.032744
22 | 0.13126 | 0.063571
23 | 0.069579 | 0.033699
24 | 0.069367 | 0.033596
25 | 0.10202 | 0.049412
26 | 0.14722 | 0.0713
27 | 0.15887 | 0.076946
28 | 0.16232 | 0.078613
29 | 0.053387 | 0.025857
30 | 0.1048 | 0.050759
31 | 0.10046 | 0.048654
32 | 0.14278 | 0.069153
33 | 0.054506 | 0.026398
34 | 0.12905 | 0.062501
35 | 0.16217 | 0.078544
36 | 0.051576 | 0.024979
37 | 0.12222 | 0.059195
38 | 0.14149 | 0.068524
39 | 0.052444 | 0.0254
40 | 0.13579 | 0.065764
41 | 0.11548 | 0.05593
42 | 0.11912 | 0.057691
43 | 0.14062 | 0.068105
44 | 0.14266 | 0.069094
45 | 0.12947 | 0.062707
46 | 0.087801 | 0.042524
47 | 0.075463 | 0.036549
48 | 0.12026 | 0.058246
49 | 0.11244 | 0.054457
50 | 0.092624 | 0.04486
51 | 0.13829 | 0.066976
52 | 0.083805 | 0.040588
53 | 0.12454 | 0.060316
54 | 0.13902 | 0.067332
55 | 0.068569 | 0.033209
56 | 0.12142 | 0.058804
57 | 0.13844 | 0.067052
58 | 0.1277 | 0.06185

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1