## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_400_1_node_4 | 20 | n |  | TRUE
1 | bus_MV_400_1_node_10 | 20 | n |  | TRUE
2 | bus_MV_400_1_node_6 | 20 | n |  | TRUE
3 | bus_MV_400_1_node_7 | 20 | n |  | TRUE
4 | bus_MV_400_1_node_11 | 20 | n |  | TRUE
5 | bus_MV_400_1_node_58 | 20 | n |  | TRUE
6 | bus_MV_400_1_node_8 | 20 | n |  | TRUE
7 | bus_MV_400_1_node_9 | 20 | n |  | TRUE
8 | bus_MV_400_1_node_163 | 20 | n |  | TRUE
9 | bus_MV_400_1_node_28 | 20 | n |  | TRUE
10 | bus_MV_400_1_node_29 | 20 | n |  | TRUE
11 | bus_MV_400_1_node_32 | 20 | n |  | TRUE
12 | bus_MV_400_1_node_30 | 20 | n |  | TRUE
13 | bus_MV_400_1_node_172 | 20 | n |  | TRUE
14 | bus_MV_400_1_node_173 | 20 | n |  | TRUE
15 | bus_MV_400_1_node_31 | 20 | n |  | TRUE
16 | bus_MV_400_1_node_33 | 20 | n |  | TRUE
17 | bus_MV_400_1_node_34 | 20 | n |  | TRUE
18 | bus_MV_400_1_node_60 | 20 | n |  | TRUE
19 | bus_MV_400_1_node_59 | 20 | n |  | TRUE
20 | bus_MV_400_1_node_61 | 20 | n |  | TRUE
21 | bus_MV_400_1_node_50 | 20 | n |  | TRUE
22 | bus_MV_400_1_node_49 | 20 | n |  | TRUE
23 | bus_MV_400_1_node_35 | 20 | n |  | TRUE
24 | bus_MV_400_1_node_36 | 20 | n |  | TRUE
25 | bus_MV_400_1_node_41 | 20 | n |  | TRUE
26 | bus_MV_400_1_node_37 | 20 | n |  | TRUE
27 | bus_MV_400_1_node_39 | 20 | n |  | TRUE
28 | bus_MV_400_1_node_38 | 20 | n |  | TRUE
29 | bus_MV_400_1_node_40 | 20 | n |  | TRUE
30 | bus_MV_400_1_node_42 | 20 | n |  | TRUE
31 | bus_MV_400_1_node_181 | 20 | n |  | TRUE
32 | bus_MV_400_1_node_43 | 20 | n |  | TRUE
33 | bus_MV_400_1_node_44 | 20 | n |  | TRUE
34 | bus_MV_400_1_node_45 | 20 | n |  | TRUE
35 | bus_MV_400_1_node_46 | 20 | n |  | TRUE
36 | bus_MV_400_1_node_47 | 20 | n |  | TRUE
37 | bus_MV_400_1_node_48 | 20 | n |  | TRUE
38 | bus_MV_400_1_node_177 | 20 | n |  | TRUE
39 | bus_MV_400_1_node_174 | 20 | n |  | TRUE
40 | bus_MV_400_1_node_166 | 20 | n |  | TRUE
41 | bus_MV_400_1_node_171 | 20 | n |  | TRUE
42 | bus_MV_400_1_node_51 | 20 | n |  | TRUE
43 | bus_MV_400_1_node_52 | 20 | n |  | TRUE
44 | bus_MV_400_1_node_170 | 20 | n |  | TRUE
45 | bus_MV_400_1_node_54 | 20 | n |  | TRUE
46 | bus_MV_400_1_node_55 | 20 | n |  | TRUE
47 | bus_MV_400_1_node_56 | 20 | n |  | TRUE
48 | bus_MV_400_1_node_57 | 20 | n |  | TRUE
49 | bus_MV_400_1_node_196 | 20 | n |  | TRUE
50 | bus_MV_400_1_node_197 | 20 | n |  | TRUE
51 | bus_MV_400_1_node_216 | 20 | n |  | TRUE
52 | bus_MV_400_1_node_63 | 20 | n |  | TRUE
53 | bus_MV_400_1_node_64 | 20 | n |  | TRUE
54 | bus_MV_400_1_node_65 | 20 | n |  | TRUE
55 | bus_MV_400_1_node_214 | 20 | n |  | TRUE
56 | bus_MV_400_1_node_97 | 20 | n |  | TRUE
57 | bus_MV_400_1_node_98 | 20 | n |  | TRUE
58 | bus_MV_400_1_node_143 | 20 | n |  | TRUE
59 | bus_MV_400_1_node_99 | 20 | n |  | TRUE
60 | bus_MV_400_1_node_193 | 20 | n |  | TRUE
61 | bus_MV_400_1_node_160 | 20 | n |  | TRUE
62 | bus_MV_400_1_node_100 | 20 | n |  | TRUE
63 | bus_MV_400_1_node_101 | 20 | n |  | TRUE
64 | bus_MV_400_1_node_102 | 20 | n |  | TRUE
65 | bus_MV_400_1_node_212 | 20 | n |  | TRUE
66 | bus_MV_400_1_node_104 | 20 | n |  | TRUE
67 | bus_MV_400_1_node_103 | 20 | n |  | TRUE
68 | bus_MV_400_1_node_105 | 20 | n |  | TRUE
69 | bus_MV_400_1_node_142 | 20 | n |  | TRUE
70 | bus_MV_400_1_node_144 | 20 | n |  | TRUE
71 | bus_MV_400_1_node_145 | 20 | n |  | TRUE
72 | bus_MV_400_1_node_146 | 20 | n |  | TRUE
73 | bus_MV_400_1_node_147 | 20 | n |  | TRUE
74 | bus_MV_400_1_node_148 | 20 | n |  | TRUE
75 | bus_MV_400_1_node_157 | 20 | n |  | TRUE
76 | bus_MV_400_1_node_155 | 20 | n |  | TRUE
77 | bus_MV_400_1_node_149 | 20 | n |  | TRUE
78 | bus_MV_400_1_node_150 | 20 | n |  | TRUE
79 | bus_MV_400_1_node_159 | 20 | n |  | TRUE
80 | bus_MV_400_1_node_152 | 20 | n |  | TRUE
81 | bus_MV_400_1_node_153 | 20 | n |  | TRUE
82 | bus_MV_400_1_node_154 | 20 | n |  | TRUE
83 | bus_MV_400_1_node_156 | 20 | n |  | TRUE
84 | bus_MV_400_1_node_194 | 20 | n |  | TRUE
85 | bus_MV_400_1_node_158 | 20 | n |  | TRUE
86 | bus_MV_400_1_node_195 | 20 | n |  | TRUE
87 | bus_MV_400_1_node_161 | 20 | n |  | TRUE
88 | bus_MV_400_1_node_165 | 20 | n |  | TRUE
89 | bus_MV_400_1_node_167 | 20 | n |  | TRUE
90 | bus_MV_400_1_node_168 | 20 | n |  | TRUE
91 | bus_MV_400_1_node_169 | 20 | n |  | TRUE
92 | bus_MV_400_1_node_180 | 20 | n |  | TRUE
93 | bus_MV_400_1_node_175 | 20 | n |  | TRUE
94 | bus_MV_400_1_node_176 | 20 | n |  | TRUE
95 | bus_MV_400_1_node_178 | 20 | n |  | TRUE
96 | bus_MV_400_1_node_179 | 20 | n |  | TRUE
97 | bus_MV_400_1_node_213 | 20 | n |  | TRUE
98 | bus_HV_400_1_node_50 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_400_1_load_4 | 0 | 0.21652 | 0.10487 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_400_1_load_11 | 4 | 0.35964 | 0.17418 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_400_1_load_58 | 5 | 0.17883 | 0.086612 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_400_1_load_8 | 6 | 0.14517 | 0.070308 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_400_1_load_163 | 8 | 0.098271 | 0.047595 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_400_1_load_28 | 9 | 0.36647 | 0.17749 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_400_1_load_172 | 13 | 0.081694 | 0.039566 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_400_1_load_173 | 14 | 0.15114 | 0.073198 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_400_1_load_34 | 17 | 0.33501 | 0.16225 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_400_1_load_61 | 20 | 0.17693 | 0.08569 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_400_1_load_49 | 22 | 0.39848 | 0.19299 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_400_1_load_35 | 23 | 0.10607 | 0.051371 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_400_1_load_37 | 26 | 0.27843 | 0.13485 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_400_1_load_38 | 28 | 0.07965 | 0.038576 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_400_1_load_40 | 29 | 0.078398 | 0.03797 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_400_1_load_181 | 31 | 0.56527 | 0.27377 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_400_1_load_43 | 32 | 0.3179 | 0.15397 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_400_1_load_48 | 37 | 0.29985 | 0.14522 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_400_1_load_177 | 38 | 0.075872 | 0.036747 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_400_1_load_174 | 39 | 0.091997 | 0.044556 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_400_1_load_171 | 41 | 0.25447 | 0.12325 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_400_1_load_51 | 42 | 0.28222 | 0.13669 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_400_1_load_54 | 45 | 0.24347 | 0.11792 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_400_1_load_196 | 49 | 0.13361 | 0.06471 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_400_1_load_197 | 50 | 0.17121 | 0.082919 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_400_1_load_216 | 51 | 0.27339 | 0.13241 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_400_1_load_63 | 52 | 0.18272 | 0.088495 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_400_1_load_214 | 55 | 0.12372 | 0.059921 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_400_1_load_97 | 56 | 0.069139 | 0.033486 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_400_1_load_193 | 60 | 0.090213 | 0.043692 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_400_1_load_160 | 61 | 0.2544 | 0.12321 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_400_1_load_100 | 62 | 0.065784 | 0.03186 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_400_1_load_103 | 67 | 0.10571 | 0.051197 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_400_1_load_105 | 68 | 0.11083 | 0.053677 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_400_1_load_142 | 69 | 0.34744 | 0.16827 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_400_1_load_144 | 70 | 0.10045 | 0.048649 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_400_1_load_145 | 71 | 0.10212 | 0.049461 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_400_1_load_146 | 72 | 0.068109 | 0.032987 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_400_1_load_157 | 75 | 0.20669 | 0.1001 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_400_1_load_155 | 76 | 0.23628 | 0.11444 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_400_1_load_149 | 77 | 0.19264 | 0.093301 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_400_1_load_152 | 80 | 0.19936 | 0.096555 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_400_1_load_194 | 84 | 0.095473 | 0.04624 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_400_1_load_195 | 86 | 0.20865 | 0.10105 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_400_1_load_165 | 88 | 0.36748 | 0.17798 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_400_1_load_169 | 91 | 0.27933 | 0.13529 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_400_1_load_180 | 92 | 0.10552 | 0.051107 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_400_1_load_213 | 97 | 0.17017 | 0.082417 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_400_1_line_0 |  | 0 | 1 | 0.21389 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_400_1_line_1 |  | 1 | 8 | 0.057749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_400_1_line_2 |  | 1 | 7 | 0.27215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_400_1_line_3 |  | 2 | 3 | 0.62478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_400_1_line_4 |  | 2 | 4 | 0.11787 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_400_1_line_5 |  | 2 | 5 | 1.0928 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_400_1_line_6 |  | 3 | 6 | 0.09336 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_400_1_line_7 |  | 5 | 19 | 0.16507 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_400_1_line_8 |  | 6 | 7 | 0.02752 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_400_1_line_9 |  | 9 | 10 | 0.057783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_400_1_line_10 |  | 10 | 11 | 0.18932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_400_1_line_11 |  | 11 | 18 | 0.50631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_400_1_line_12 |  | 11 | 19 | 0.2857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_400_1_line_13 |  | 11 | 20 | 0.030727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_400_1_line_14 |  | 11 | 15 | 0.46222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_400_1_line_15 |  | 12 | 13 | 0.050033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_400_1_line_16 |  | 12 | 14 | 0.078296 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_400_1_line_17 |  | 12 | 15 | 0.27756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_400_1_line_18 |  | 12 | 16 | 0.5773 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_400_1_line_19 |  | 13 | 28 | 0.16826 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_400_1_line_20 |  | 15 | 17 | 0.033451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_400_1_line_21 |  | 16 | 21 | 0.3365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_400_1_line_22 |  | 16 | 22 | 0.061734 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_400_1_line_23 |  | 18 | 51 | 0.056756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_400_1_line_24 |  | 21 | 40 | 0.13562 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
25 | MV_400_1_line_25 |  | 21 | 41 | 0.018356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_400_1_line_26 |  | 23 | 24 | 0.088154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_400_1_line_27 |  | 24 | 25 | 1.5245 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_400_1_line_28 |  | 25 | 29 | 0.073143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_400_1_line_29 |  | 26 | 27 | 0.049966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_400_1_line_30 |  | 27 | 30 | 0.4313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_400_1_line_31 |  | 28 | 29 | 0.012513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_400_1_line_32 |  | 30 | 31 | 0.06209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_400_1_line_33 |  | 31 | 90 | 0.094602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_400_1_line_34 |  | 32 | 33 | 0.10811 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_400_1_line_35 |  | 33 | 34 | 0.095061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_400_1_line_36 |  | 33 | 35 | 0.30217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_400_1_line_37 |  | 33 | 36 | 0.23525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_400_1_line_38 |  | 34 | 37 | 0.13094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_400_1_line_39 |  | 35 | 38 | 0.0024054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_400_1_line_40 |  | 36 | 39 | 0.05114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_400_1_line_41 |  | 38 | 95 | 0.04562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_400_1_line_42 |  | 39 | 93 | 0.090794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_400_1_line_43 |  | 40 | 89 | 0.026839 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
44 | MV_400_1_line_44 |  | 40 | 90 | 0.074176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_400_1_line_45 |  | 40 | 88 | 0.027445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_400_1_line_46 |  | 42 | 43 | 0.11026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_400_1_line_47 |  | 43 | 44 | 0.31159 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_400_1_line_48 |  | 44 | 92 | 0.028077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_400_1_line_49 |  | 44 | 89 | 0.58989 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_400_1_line_50 |  | 45 | 46 | 0.045746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_400_1_line_51 |  | 46 | 47 | 0.43507 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_400_1_line_52 |  | 46 | 48 | 0.28838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_400_1_line_53 |  | 47 | 49 | 0.1914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_400_1_line_54 |  | 48 | 50 | 0.045529 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_400_1_line_55 |  | 49 | 87 | 1.4424 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_400_1_line_56 |  | 50 | 94 | 0.075967 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_400_1_line_57 |  | 51 | 54 | 0.074365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_400_1_line_58 |  | 52 | 53 | 0.032662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_400_1_line_59 |  | 53 | 54 | 0.13309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_400_1_line_60 |  | 54 | 55 | 3.46 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_400_1_line_61 |  | 55 | 97 | 0.62287 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_400_1_line_62 |  | 56 | 57 | 0.12273 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_400_1_line_63 |  | 57 | 58 | 0.67682 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_400_1_line_64 |  | 58 | 72 | 0.028332 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_400_1_line_65 |  | 58 | 73 | 0.49251 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_400_1_line_66 |  | 58 | 69 | 0.094082 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_400_1_line_67 |  | 59 | 60 | 0.007881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_400_1_line_68 |  | 59 | 61 | 0.44222 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_400_1_line_69 |  | 61 | 87 | 0.078574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_400_1_line_70 |  | 61 | 77 | 0.22713 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_400_1_line_71 |  | 62 | 63 | 0.012109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_400_1_line_72 |  | 63 | 64 | 0.30831 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_400_1_line_73 |  | 63 | 65 | 4.5584 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_400_1_line_74 |  | 64 | 66 | 0.3708 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_400_1_line_75 |  | 64 | 67 | 0.02284 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_400_1_line_76 |  | 65 | 97 | 0.016313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_400_1_line_77 |  | 66 | 68 | 0.057836 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_400_1_line_78 |  | 69 | 70 | 0.027279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_400_1_line_79 |  | 69 | 71 | 0.039586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_400_1_line_80 |  | 73 | 74 | 0.363 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_400_1_line_81 |  | 73 | 75 | 0.081968 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_400_1_line_82 |  | 74 | 76 | 0.024013 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_400_1_line_83 |  | 75 | 85 | 0.037269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_400_1_line_84 |  | 76 | 81 | 0.13548 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_400_1_line_85 |  | 77 | 78 | 0.035611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_400_1_line_86 |  | 78 | 79 | 0.25915 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_400_1_line_87 |  | 79 | 86 | 0.035188 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_400_1_line_88 |  | 79 | 85 | 0.20449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_400_1_line_89 |  | 80 | 81 | 0.012816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_400_1_line_90 |  | 80 | 82 | 0.057498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_400_1_line_91 |  | 82 | 83 | 0.96316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_400_1_line_92 |  | 83 | 84 | 0.18688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_400_1_line_93 |  | 89 | 91 | 0.038602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_400_1_line_94 |  | 92 | 96 | 0.067663 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_400_1_line_95 |  | 93 | 94 | 0.22212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_400_1_line_96 |  | 95 | 96 | 0.078761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_400_1_trafo_50 | 25 MVA 110/20 kV | 98 | 21 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2683404.495 | 1283864.6059
1 | 2683225.5433 | 1283981.7654
2 | 2683763.5528 | 1284023.0661
3 | 2683393.1076 | 1284195.8833
4 | 2683763.3702 | 1284140.931
5 | 2684845.5527 | 1283869.521
6 | 2683301.4685 | 1284213.725
7 | 2683293.079 | 1284187.5062
8 | 2683174.1321 | 1283955.4632
9 | 2685283.9592 | 1283759.5312
10 | 2685228.4676 | 1283748.4525
11 | 2685111.6044 | 1283655.7177
12 | 2685384.3022 | 1283308.9976
13 | 2685334.5831 | 1283303.4052
14 | 2685448.13 | 1283264.6217
15 | 2685215.915 | 1283414.8295
16 | 2685731.6932 | 1283505.5748
17 | 2685182.4871 | 1283411.9439
18 | 2685262.3317 | 1284044.652
19 | 2685008.7077 | 1283844.4725
20 | 2685082.9388 | 1283644.4276
21 | 2685886.5088 | 1283372.2585
22 | 2685725.4463 | 1283566.9923
23 | 2683981.3377 | 1282224.176
24 | 2684037.0348 | 1282166.1981
25 | 2685209.7829 | 1283140.1724
26 | 2685490.902 | 1283176.4179
27 | 2685537.6748 | 1283164.7086
28 | 2685291.8342 | 1283140.669
29 | 2685279.4845 | 1283138.6571
30 | 2685860.5191 | 1283181.0048
31 | 2685855.1676 | 1283242.8633
32 | 2686395.2165 | 1282882.0936
33 | 2686378.5204 | 1282988.9073
34 | 2686288.1027 | 1282958.8018
35 | 2686434.8407 | 1283165.9402
36 | 2686594.42 | 1283082.1102
37 | 2686282.1548 | 1283089.5936
38 | 2686434.7983 | 1283168.3453
39 | 2686583.2243 | 1283130.0277
40 | 2685952.8425 | 1283297.0274
41 | 2685868.1537 | 1283372.059
42 | 2686173.0953 | 1283683.9866
43 | 2686132.0248 | 1283581.6316
44 | 2686345.4606 | 1283354.6258
45 | 2686917.2866 | 1283560.6067
46 | 2686910.7474 | 1283515.3268
47 | 2687130.8549 | 1283351.157
48 | 2686697.6052 | 1283472.8738
49 | 2687315.7301 | 1283301.0382
50 | 2686653.6052 | 1283481.3452
51 | 2685252.8896 | 1284100.5412
52 | 2685427.2649 | 1284052.0798
53 | 2685395.9106 | 1284042.6062
54 | 2685325.6821 | 1284116.7418
55 | 2686214.8857 | 1287460.4826
56 | 2687808.0182 | 1280589.1917
57 | 2687831.8604 | 1280709.5827
58 | 2687438.5877 | 1281260.4198
59 | 2688070.0531 | 1281565.2557
60 | 2688077.3749 | 1281562.2847
61 | 2687978.411 | 1281997.8808
62 | 2682559.6875 | 1291073.1163
63 | 2682555.0082 | 1291061.9409
64 | 2682331.3256 | 1291256.1681
65 | 2685620.2461 | 1287688.064
66 | 2682020.3372 | 1291144.8628
67 | 2682340.1025 | 1291277.265
68 | 2681970.5495 | 1291115.4325
69 | 2687347.0314 | 1281238.7667
70 | 2687338.5901 | 1281219.8498
71 | 2687356.5496 | 1281200.3422
72 | 2687432.5592 | 1281288.103
73 | 2687523.1902 | 1281525.1456
74 | 2687232.8188 | 1281603.8768
75 | 2687594.8782 | 1281564.8886
76 | 2687215.1639 | 1281587.5461
77 | 2687824.3672 | 1281830.9745
78 | 2687802.8165 | 1281802.5737
79 | 2687556.8943 | 1281720.8468
80 | 2687103.9828 | 1281489.0186
81 | 2687113.5902 | 1281497.5344
82 | 2687061.3635 | 1281450.2783
83 | 2687055.9509 | 1280881.2909
84 | 2686907.6691 | 1280994.2111
85 | 2687624.637 | 1281587.3944
86 | 2687529.1904 | 1281742.543
87 | 2688035.9916 | 1282051.3973
88 | 2685956.3225 | 1283269.804
89 | 2685979.6293 | 1283299.7093
90 | 2685909.4097 | 1283288.7428
91 | 2685984.4005 | 1283261.4016
92 | 2686362.5369 | 1283333.5725
93 | 2686578.6362 | 1283220.6307
94 | 2686603.9991 | 1283423.8112
95 | 2686433.9934 | 1283213.9579
96 | 2686392.2789 | 1283272.797
97 | 2685636.3083 | 1287691.178
98 | 2685886.5088 | 1283372.2585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99027 | 0.041719 | 0.21652 | 0.10487
1 | 0.99036 | 0.042292 | 0 | 0
2 | 0.99093 | 0.038988 | 0 | 0
3 | 0.99056 | 0.04184 | 0 | 0
4 | 0.99084 | 0.038465 | 0.35964 | 0.17418
5 | 0.99265 | 0.052281 | 0.17883 | 0.086612
6 | 0.99048 | 0.041241 | 0.14517 | 0.070308
7 | 0.99047 | 0.041332 | 0 | 0
8 | 0.99035 | 0.042359 | 0.098271 | 0.047595
9 | 0.99322 | 0.052761 | 0.36647 | 0.17749
10 | 0.99324 | 0.052507 | 0 | 0
11 | 0.99333 | 0.05171 | 0 | 0
12 | 0.99587 | 0.031927 | 0 | 0
13 | 0.99585 | 0.032114 | 0.081694 | 0.039566
14 | 0.99586 | 0.032065 | 0.15114 | 0.073198
15 | 0.99485 | 0.039933 | 0 | 0
16 | 0.99837 | 0.012594 | 0 | 0
17 | 0.99483 | 0.040068 | 0.33501 | 0.16225
18 | 0.99267 | 0.056773 | 0 | 0
19 | 0.99297 | 0.054657 | 0 | 0
20 | 0.99333 | 0.051775 | 0.17693 | 0.08569
21 | 1 | 0 | -9.5336 | -4.3135
22 | 0.99833 | 0.012296 | 0.39848 | 0.19299
23 | 0.99543 | 0.029325 | 0.10607 | 0.051371
24 | 0.99544 | 0.029218 | 0 | 0
25 | 0.99575 | 0.03158 | 0 | 0
26 | 0.99923 | -0.0015107 | 0.27843 | 0.13485
27 | 0.99925 | -0.0016755 | 0 | 0
28 | 0.99577 | 0.031486 | 0.07965 | 0.038576
29 | 0.99576 | 0.031509 | 0.078398 | 0.03797
30 | 0.9994 | -0.0029398 | 0 | 0
31 | 0.99943 | -0.0030985 | 0.56527 | 0.27377
32 | 0.99591 | -0.0024693 | 0.3179 | 0.15397
33 | 0.99598 | -0.0020501 | 0 | 0
34 | 0.99594 | -0.0017321 | 0 | 0
35 | 0.9973 | -0.012448 | 0 | 0
36 | 0.99513 | 0.0044875 | 0 | 0
37 | 0.99589 | -0.0012715 | 0.29985 | 0.14522
38 | 0.99731 | -0.01253 | 0.075872 | 0.036747
39 | 0.99495 | 0.0059213 | 0.091997 | 0.044556
40 | 0.99961 | -0.0046426 | 0 | 0
41 | 0.99999 | 5.5628e-05 | 0.25447 | 0.12325
42 | 0.99809 | -0.021012 | 0.28222 | 0.13669
43 | 0.99813 | -0.021376 | 0 | 0
44 | 0.9983 | -0.020235 | 0 | 0
45 | 0.99235 | 0.02003 | 0.24347 | 0.11792
46 | 0.99237 | 0.019896 | 0 | 0
47 | 0.99108 | 0.030109 | 0 | 0
48 | 0.99331 | 0.012469 | 0 | 0
49 | 0.99051 | 0.034701 | 0.13361 | 0.06471
50 | 0.99346 | 0.011309 | 0.17121 | 0.082919
51 | 0.99259 | 0.057366 | 0.27339 | 0.13241
52 | 0.99248 | 0.05825 | 0.18272 | 0.088495
53 | 0.99249 | 0.058178 | 0 | 0
54 | 0.99252 | 0.057903 | 0 | 0
55 | 0.98869 | 0.025834 | 0.12372 | 0.059921
56 | 0.98133 | -0.018214 | 0.069139 | 0.033486
57 | 0.98135 | -0.018107 | 0 | 0
58 | 0.98144 | -0.017488 | 0 | 0
59 | 0.98414 | -0.011099 | 0 | 0
60 | 0.98413 | -0.01109 | 0.090213 | 0.043692
61 | 0.98421 | -0.010584 | 0.2544 | 0.12321
62 | 0.9857 | -0.0024814 | 0.065784 | 0.03186
63 | 0.9857 | -0.0024911 | 0 | 0
64 | 0.98562 | -0.0019273 | 0 | 0
65 | 0.98815 | 0.021151 | 0 | 0
66 | 0.98557 | -0.0015274 | 0 | 0
67 | 0.98562 | -0.001898 | 0.10571 | 0.051197
68 | 0.98555 | -0.0016074 | 0.11083 | 0.053677
69 | 0.98134 | -0.01815 | 0.34744 | 0.16827
70 | 0.98134 | -0.018117 | 0.10045 | 0.048649
71 | 0.98134 | -0.018101 | 0.10212 | 0.049461
72 | 0.98144 | -0.017464 | 0.068109 | 0.032987
73 | 0.98188 | -0.021401 | 0 | 0
74 | 0.98163 | -0.01987 | 0 | 0
75 | 0.98207 | -0.019753 | 0.20669 | 0.1001
76 | 0.98162 | -0.019762 | 0.23628 | 0.11444
77 | 0.98341 | -0.017001 | 0.19264 | 0.093301
78 | 0.98333 | -0.016423 | 0 | 0
79 | 0.98251 | -0.023108 | 0 | 0
80 | 0.98156 | -0.019508 | 0.19936 | 0.096555
81 | 0.98157 | -0.019532 | 0 | 0
82 | 0.98156 | -0.019543 | 0 | 0
83 | 0.98144 | -0.019381 | 0 | 0
84 | 0.98142 | -0.019186 | 0.095473 | 0.04624
85 | 0.98214 | -0.020276 | 0 | 0
86 | 0.9825 | -0.0232 | 0.20865 | 0.10105
87 | 0.98443 | -0.012368 | 0 | 0
88 | 0.99959 | -0.0045224 | 0.36748 | 0.17798
89 | 0.99955 | -0.0053672 | 0 | 0
90 | 0.99953 | -0.0039694 | 0 | 0
91 | 0.99953 | -0.0052392 | 0.27933 | 0.13529
92 | 0.99817 | -0.019226 | 0.10552 | 0.051107
93 | 0.99463 | 0.0083769 | 0 | 0
94 | 0.99386 | 0.014444 | 0 | 0
95 | 0.99752 | -0.014127 | 0 | 0
96 | 0.99787 | -0.016874 | 0 | 0
97 | 0.98815 | 0.021118 | 0.17017 | 0.082417
98 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.21652 | -0.10487 | 0.21654 | 0.10463 | 1.8736e-05 | -0.00023869 | 0.0070132 | 0.00701 | 0.0070132 | 0.99027 | 0.041719 | 0.99036 | 0.042292 | 3.3396
1 | 0.098271 | 0.046243 | -0.098271 | -0.047595 | 7.7677e-07 | -0.0013521 | 0.0031658 | 0.0031828 | 0.0031828 | 0.99036 | 0.042292 | 0.99035 | 0.042359 | 1.4467
2 | -0.31481 | -0.15087 | 0.31485 | 0.14451 | 3.7326e-05 | -0.0063627 | 0.010176 | 0.010097 | 0.010176 | 0.99036 | 0.042292 | 0.99047 | 0.041332 | 4.6253
3 | 0.46024 | 0.1995 | -0.46006 | -0.21408 | 0.00018021 | -0.014589 | 0.014613 | 0.014788 | 0.014788 | 0.99093 | 0.038988 | 0.99056 | 0.04184 | 6.7217
4 | 0.35967 | 0.17406 | -0.35964 | -0.17418 | 2.8458e-05 | -0.00012033 | 0.01164 | 0.011642 | 0.011642 | 0.99093 | 0.038988 | 0.99084 | 0.038465 | 5.5438
5 | -0.8199 | -0.37356 | 0.82124 | 0.37311 | 0.0013406 | -0.00044356 | 0.026248 | 0.026232 | 0.026248 | 0.99093 | 0.038988 | 0.99265 | 0.052281 | 12.4988
6 | 0.46006 | 0.21408 | -0.46002 | -0.21417 | 3.6378e-05 | -8.6564e-05 | 0.014788 | 0.014789 | 0.014789 | 0.99056 | 0.04184 | 0.99048 | 0.041241 | 7.0425
7 | -1.0001 | -0.45972 | 1.0004 | 0.45972 | 0.00030131 | -5.5044e-06 | 0.032009 | 0.032007 | 0.032009 | 0.99265 | 0.052281 | 0.99297 | 0.054657 | 15.2425
8 | 0.31485 | 0.14386 | -0.31485 | -0.14451 | 3.7425e-06 | -0.0006435 | 0.010089 | 0.010097 | 0.010097 | 0.99048 | 0.041241 | 0.99047 | 0.041332 | 4.5894
9 | -0.36647 | -0.17749 | 0.36648 | 0.17613 | 1.0789e-05 | -0.0013578 | 0.011835 | 0.011817 | 0.011835 | 0.99322 | 0.052761 | 0.99324 | 0.052507 | 5.3794
10 | -0.36648 | -0.17613 | 0.36651 | 0.17168 | 3.513e-05 | -0.0044494 | 0.011817 | 0.011762 | 0.011817 | 0.99324 | 0.052507 | 0.99333 | 0.05171 | 5.3716
11 | 1.0362 | 0.45612 | -1.0355 | -0.46782 | 0.00073483 | -0.011702 | 0.032902 | 0.033043 | 0.033043 | 0.99333 | 0.05171 | 0.99267 | 0.056773 | 15.0195
12 | 1.0008 | 0.45311 | -1.0004 | -0.45972 | 0.00038974 | -0.0066128 | 0.031926 | 0.032007 | 0.032007 | 0.99333 | 0.05171 | 0.99297 | 0.054657 | 14.5485
13 | 0.17693 | 0.084966 | -0.17693 | -0.08569 | 1.3367e-06 | -0.00072349 | 0.0057039 | 0.0057131 | 0.0057131 | 0.99333 | 0.05171 | 0.99333 | 0.051775 | 2.5969
14 | -2.5804 | -1.1659 | 2.5846 | 1.1562 | 0.0041719 | -0.0096685 | 0.082289 | 0.082159 | 0.082289 | 0.99333 | 0.05171 | 0.99485 | 0.039933 | 37.4041
15 | 0.34587 | 0.16022 | -0.34587 | -0.1614 | 8.1654e-06 | -0.0011823 | 0.011049 | 0.011064 | 0.011064 | 0.99587 | 0.031927 | 0.99585 | 0.032114 | 5.029
16 | 0.15114 | 0.071345 | -0.15114 | -0.073198 | 2.465e-06 | -0.0018533 | 0.0048446 | 0.0048678 | 0.0048678 | 0.99587 | 0.031927 | 0.99586 | 0.032065 | 2.2126
17 | 2.9228 | 1.312 | -2.9196 | -1.3177 | 0.0031984 | -0.0056169 | 0.092868 | 0.092947 | 0.092947 | 0.99587 | 0.031927 | 0.99485 | 0.039933 | 42.2485
18 | -3.4198 | -1.5436 | 3.4289 | 1.5326 | 0.0091029 | -0.011004 | 0.10876 | 0.1086 | 0.10876 | 0.99587 | 0.031927 | 0.99837 | 0.012594 | 49.4368
19 | 0.26417 | 0.12183 | -0.26415 | -0.12202 | 2.1325e-05 | -0.00018583 | 0.0084329 | 0.0084354 | 0.0084354 | 0.99585 | 0.032114 | 0.99577 | 0.031486 | 4.0168
20 | 0.33501 | 0.16146 | -0.33501 | -0.16225 | 5.2052e-06 | -0.00078891 | 0.010791 | 0.010801 | 0.010801 | 0.99485 | 0.039933 | 0.99483 | 0.040068 | 4.9096
21 | -3.8274 | -1.7255 | 3.834 | 1.7195 | 0.0066149 | -0.006059 | 0.12139 | 0.1213 | 0.12139 | 0.99837 | 0.012594 | 1 | 0 | 55.1794
22 | 0.39849 | 0.19293 | -0.39848 | -0.19299 | 1.8027e-05 | -6.2164e-05 | 0.012802 | 0.012803 | 0.012803 | 0.99837 | 0.012594 | 0.99833 | 0.012296 | 6.0965
23 | 1.0355 | 0.46782 | -1.0354 | -0.46913 | 8.2768e-05 | -0.0013107 | 0.033043 | 0.033059 | 0.033059 | 0.99267 | 0.056773 | 0.99259 | 0.057366 | 15.0268
24 | 5.4312 | 2.4607 | -5.4292 | -2.4639 | 0.0019413 | -0.0032399 | 0.17213 | 0.17218 | 0.17218 | 1 | 0 | 0.99961 | -0.0046426 | 47.5637
25 | 0.25447 | 0.12281 | -0.25447 | -0.12325 | 1.6315e-06 | -0.00043779 | 0.0081566 | 0.0081621 | 0.0081621 | 1 | 0 | 0.99999 | 5.5628e-05 | 3.7101
26 | -0.10607 | -0.051371 | 0.10607 | 0.049286 | 1.3642e-06 | -0.0020852 | 0.0034178 | 0.0033918 | 0.0034178 | 0.99543 | 0.029325 | 0.99544 | 0.029218 | 1.5535
27 | -0.10607 | -0.049286 | 0.1061 | 0.047502 | 3.1046e-05 | -0.0017845 | 0.0033918 | 0.0033701 | 0.0033918 | 0.99544 | 0.029218 | 0.99575 | 0.03158 | 1.6152
28 | -0.1061 | -0.047502 | 0.1061 | 0.04577 | 1.1023e-06 | -0.0017312 | 0.0033701 | 0.0033499 | 0.0033701 | 0.99575 | 0.03158 | 0.99576 | 0.031509 | 1.5319
29 | -0.27843 | -0.13485 | 0.27844 | 0.13366 | 5.3195e-06 | -0.0011896 | 0.0089376 | 0.0089227 | 0.0089376 | 0.99923 | -0.0015107 | 0.99925 | -0.0016755 | 4.0625
30 | -0.27844 | -0.13366 | 0.27848 | 0.12339 | 4.5193e-05 | -0.01027 | 0.0089227 | 0.0087982 | 0.0089227 | 0.99925 | -0.0016755 | 0.9994 | -0.0029398 | 4.0558
31 | 0.1845 | 0.083444 | -0.1845 | -0.08374 | 5.7599e-07 | -0.00029605 | 0.0058703 | 0.0058739 | 0.0058739 | 0.99577 | 0.031486 | 0.99576 | 0.031509 | 2.6699
32 | -0.27848 | -0.12339 | 0.27849 | 0.12191 | 6.4037e-06 | -0.0014788 | 0.0087982 | 0.0087809 | 0.0087982 | 0.9994 | -0.0029398 | 0.99943 | -0.0030985 | 3.9992
33 | -0.84376 | -0.39569 | 0.84385 | 0.39346 | 9.1416e-05 | -0.0022292 | 0.026918 | 0.02689 | 0.026918 | 0.99943 | -0.0030985 | 0.99953 | -0.0039694 | 12.2355
34 | -0.3179 | -0.15397 | 0.31792 | 0.15385 | 2.0189e-05 | -0.00011537 | 0.010238 | 0.010237 | 0.010238 | 0.99591 | -0.0024693 | 0.99598 | -0.0020501 | 4.8755
35 | 0.29988 | 0.13988 | -0.29987 | -0.14213 | 1.1707e-05 | -0.0022479 | 0.0095908 | 0.0096186 | 0.0096186 | 0.99598 | -0.0020501 | 0.99594 | -0.0017321 | 4.3721
36 | -3.4615 | -1.5666 | 3.4663 | 1.5609 | 0.0048883 | -0.0057162 | 0.11012 | 0.11004 | 0.11012 | 0.99598 | -0.0020501 | 0.9973 | -0.012448 | 50.0562
37 | 2.8437 | 1.2728 | -2.8411 | -1.2776 | 0.0025627 | -0.0048068 | 0.090301 | 0.090367 | 0.090367 | 0.99598 | -0.0020501 | 0.99513 | 0.0044875 | 41.0758
38 | 0.29987 | 0.14213 | -0.29985 | -0.14522 | 1.6238e-05 | -0.0030961 | 0.0096186 | 0.0096574 | 0.0096574 | 0.99594 | -0.0017321 | 0.99589 | -0.0012715 | 4.3897
39 | -3.4663 | -1.5609 | 3.4664 | 1.5608 | 3.8883e-05 | -4.559e-05 | 0.11004 | 0.11004 | 0.11004 | 0.9973 | -0.012448 | 0.99731 | -0.01253 | 50.0174
40 | 2.8411 | 1.2776 | -2.8405 | -1.2787 | 0.00055761 | -0.0010435 | 0.090367 | 0.090381 | 0.090381 | 0.99513 | 0.0044875 | 0.99495 | 0.0059213 | 41.0824
41 | -3.5423 | -1.5976 | 3.543 | 1.5967 | 0.00077039 | -0.00085508 | 0.11248 | 0.11246 | 0.11248 | 0.99731 | -0.01253 | 0.99752 | -0.014127 | 51.1258
42 | 2.7485 | 1.2341 | -2.7476 | -1.236 | 0.00092651 | -0.0018704 | 0.087417 | 0.087442 | 0.087442 | 0.99495 | 0.0059213 | 0.99463 | 0.0083769 | 39.7464
43 | 4.2178 | 1.8949 | -4.2176 | -1.8957 | 0.00023117 | -0.00075197 | 0.13353 | 0.13354 | 0.13354 | 0.99961 | -0.0046426 | 0.99955 | -0.0053672 | 36.8907
44 | 0.84392 | 0.39171 | -0.84385 | -0.39346 | 7.1547e-05 | -0.0017483 | 0.026869 | 0.02689 | 0.02689 | 0.99961 | -0.0046426 | 0.99953 | -0.0039694 | 12.2229
45 | 0.36749 | 0.17733 | -0.36748 | -0.17798 | 5.0909e-06 | -0.00065324 | 0.011783 | 0.011792 | 0.011792 | 0.99961 | -0.0046426 | 0.99959 | -0.0045224 | 5.3599
46 | -0.28222 | -0.13669 | 0.28224 | 0.13407 | 1.2064e-05 | -0.0026191 | 0.0090697 | 0.0090368 | 0.0090697 | 0.99809 | -0.021012 | 0.99813 | -0.021376 | 4.1226
47 | -0.28224 | -0.13407 | 0.28228 | 0.13373 | 4.5313e-05 | -0.00034227 | 0.0090368 | 0.0090323 | 0.0090368 | 0.99813 | -0.021376 | 0.9983 | -0.020235 | 4.3033
48 | 3.6515 | 1.6445 | -3.651 | -1.6451 | 0.00050269 | -0.00051889 | 0.1158 | 0.11581 | 0.11581 | 0.9983 | -0.020235 | 0.99817 | -0.019226 | 52.6418
49 | -3.9338 | -1.7783 | 3.9382 | 1.7613 | 0.0044315 | -0.016973 | 0.12483 | 0.1246 | 0.12483 | 0.9983 | -0.020235 | 0.99955 | -0.0053672 | 34.4847
50 | -0.24347 | -0.11792 | 0.24348 | 0.11685 | 3.7756e-06 | -0.0010745 | 0.0078696 | 0.007856 | 0.0078696 | 0.99235 | 0.02003 | 0.99237 | 0.019896 | 3.5771
51 | 2.3266 | 1.0472 | -2.3234 | -1.0565 | 0.0032048 | -0.0092659 | 0.07422 | 0.074343 | 0.074343 | 0.99237 | 0.019896 | 0.99108 | 0.030109 | 33.7923
52 | -2.5701 | -1.1641 | 2.5727 | 1.158 | 0.0025908 | -0.0060186 | 0.082074 | 0.081993 | 0.082074 | 0.99237 | 0.019896 | 0.99331 | 0.012469 | 37.3065
53 | 2.3234 | 1.0565 | -2.322 | -1.0606 | 0.0014132 | -0.0040668 | 0.074343 | 0.074397 | 0.074397 | 0.99108 | 0.030109 | 0.99051 | 0.034701 | 33.8169
54 | -2.5727 | -1.158 | 2.5731 | 1.1571 | 0.00040856 | -0.00095153 | 0.081993 | 0.08198 | 0.081993 | 0.99331 | 0.012469 | 0.99346 | 0.011309 | 37.2696
55 | 2.1884 | 0.99584 | -2.1758 | -0.98962 | 0.012622 | 0.0062268 | 0.070072 | 0.070092 | 0.070092 | 0.99051 | 0.034701 | 0.98443 | -0.012368 | 33.3772
56 | -2.7443 | -1.24 | 2.7453 | 1.2406 | 0.0010364 | 0.00055962 | 0.087506 | 0.087505 | 0.087506 | 0.99346 | 0.011309 | 0.99386 | 0.014444 | 41.6694
57 | 0.762 | 0.33672 | -0.76194 | -0.33845 | 5.8327e-05 | -0.0017319 | 0.024229 | 0.024249 | 0.024249 | 0.99259 | 0.057366 | 0.99252 | 0.057903 | 11.0223
58 | -0.18272 | -0.088495 | 0.18272 | 0.087727 | 1.518e-06 | -0.00076772 | 0.0059051 | 0.0058954 | 0.0059051 | 0.99248 | 0.05825 | 0.99249 | 0.058178 | 2.6841
59 | -0.18272 | -0.087727 | 0.18273 | 0.084599 | 6.1344e-06 | -0.0031284 | 0.0058954 | 0.0058566 | 0.0058954 | 0.99249 | 0.058178 | 0.99252 | 0.057903 | 2.6797
60 | 0.57922 | 0.25385 | -0.57712 | -0.2566 | 0.002091 | -0.0027436 | 0.018393 | 0.018441 | 0.018441 | 0.99252 | 0.057903 | 0.98869 | 0.025834 | 8.7815
61 | 0.4534 | 0.19668 | -0.45317 | -0.19726 | 0.00023122 | -0.00058164 | 0.01443 | 0.014439 | 0.014439 | 0.98869 | 0.025834 | 0.98815 | 0.021118 | 6.8755
62 | -0.069139 | -0.033486 | 0.06914 | 0.033345 | 1.1158e-06 | -0.0001404 | 0.0022598 | 0.002258 | 0.0022598 | 0.98133 | -0.018214 | 0.98135 | -0.018107 | 1.0761
63 | -0.06914 | -0.033345 | 0.069146 | 0.032571 | 6.1215e-06 | -0.00077437 | 0.002258 | 0.0022482 | 0.002258 | 0.98135 | -0.018107 | 0.98144 | -0.017488 | 1.0752
64 | 0.068109 | 0.032335 | -0.068109 | -0.032987 | 1.867e-07 | -0.00065153 | 0.0022176 | 0.0022259 | 0.0022259 | 0.98144 | -0.017488 | 0.98144 | -0.017464 | 1.0118
65 | -0.68732 | -0.32968 | 0.68765 | 0.31844 | 0.00032844 | -0.011234 | 0.022422 | 0.02228 | 0.022422 | 0.98144 | -0.017488 | 0.98188 | -0.021401 | 10.1917
66 | 0.55007 | 0.26477 | -0.55001 | -0.26485 | 5.405e-05 | -7.4319e-05 | 0.017956 | 0.017957 | 0.017957 | 0.98144 | -0.017488 | 0.98134 | -0.01815 | 8.5512
67 | 0.090213 | 0.04351 | -0.090213 | -0.043692 | 9.0896e-08 | -0.00018222 | 0.0029379 | 0.0029402 | 0.0029402 | 0.98414 | -0.011099 | 0.98413 | -0.01109 | 1.3365
68 | -0.090213 | -0.04351 | 0.09022 | 0.043003 | 6.7856e-06 | -0.0005071 | 0.0029379 | 0.0029314 | 0.0029379 | 0.98414 | -0.011099 | 0.98421 | -0.010584 | 1.399
69 | -2.1753 | -0.99128 | 2.1758 | 0.98962 | 0.00051551 | -0.0016648 | 0.070114 | 0.070092 | 0.070114 | 0.98421 | -0.010584 | 0.98443 | -0.012368 | 31.8701
70 | 1.8306 | 0.82507 | -1.8292 | -0.82445 | 0.0014037 | 0.00061682 | 0.058895 | 0.058898 | 0.058898 | 0.98421 | -0.010584 | 0.98341 | -0.017001 | 28.0469
71 | -0.065784 | -0.03186 | 0.065784 | 0.03158 | 7.3939e-08 | -0.00028089 | 0.0021406 | 0.002137 | 0.0021406 | 0.9857 | -0.0024814 | 0.9857 | -0.0024911 | 0.97301
72 | 0.21656 | 0.088534 | -0.21655 | -0.09568 | 1.9552e-05 | -0.0071458 | 0.0068519 | 0.0069338 | 0.0069338 | 0.9857 | -0.0024911 | 0.98562 | -0.0019273 | 3.1517
73 | -0.28235 | -0.12011 | 0.283 | 0.11522 | 0.00065144 | -0.0048924 | 0.008986 | 0.0089265 | 0.008986 | 0.9857 | -0.0024911 | 0.98815 | 0.021151 | 4.2791
74 | 0.11084 | 0.045012 | -0.11083 | -0.05361 | 6.2491e-06 | -0.0085981 | 0.0035037 | 0.0036061 | 0.0036061 | 0.98562 | -0.0019273 | 0.98557 | -0.0015274 | 1.6391
75 | 0.10571 | 0.050668 | -0.10571 | -0.051197 | 3.6014e-07 | -0.00052965 | 0.0034334 | 0.0034401 | 0.0034401 | 0.98562 | -0.0019273 | 0.98562 | -0.001898 | 1.5637
76 | -0.283 | -0.11522 | 0.283 | 0.11484 | 1.7345e-06 | -0.0003798 | 0.0089265 | 0.0089223 | 0.0089265 | 0.98815 | 0.021151 | 0.98815 | 0.021118 | 4.0575
77 | 0.11083 | 0.05361 | -0.11083 | -0.053677 | 1.3403e-06 | -6.6225e-05 | 0.0036061 | 0.0036069 | 0.0036069 | 0.98557 | -0.0015274 | 0.98555 | -0.0016074 | 1.7176
78 | 0.10045 | 0.048021 | -0.10045 | -0.048649 | 3.9158e-07 | -0.00062713 | 0.0032751 | 0.0032831 | 0.0032831 | 0.98134 | -0.01815 | 0.98134 | -0.018117 | 1.4923
79 | 0.10212 | 0.048551 | -0.10212 | -0.049461 | 5.8676e-07 | -0.00091004 | 0.0033263 | 0.0033379 | 0.0033379 | 0.98134 | -0.01815 | 0.98134 | -0.018101 | 1.5172
80 | 0.5313 | 0.21719 | -0.53116 | -0.22551 | 0.00013877 | -0.0083125 | 0.016875 | 0.01697 | 0.01697 | 0.98188 | -0.021401 | 0.98163 | -0.01987 | 7.7134
81 | -1.2189 | -0.53564 | 1.2192 | 0.53568 | 0.00022377 | 4.5807e-05 | 0.039145 | 0.039144 | 0.039145 | 0.98188 | -0.021401 | 0.98207 | -0.019753 | 18.6403
82 | 0.53116 | 0.22551 | -0.53115 | -0.22606 | 9.2348e-06 | -0.00054972 | 0.01697 | 0.016976 | 0.016976 | 0.98163 | -0.01987 | 0.98162 | -0.019762 | 7.7163
83 | -1.4259 | -0.63579 | 1.426 | 0.63496 | 0.00010475 | -0.00082721 | 0.04589 | 0.04588 | 0.04589 | 0.98207 | -0.019753 | 0.98214 | -0.020276 | 20.8592
84 | 0.29486 | 0.11162 | -0.29485 | -0.11473 | 1.5604e-05 | -0.0031122 | 0.0092719 | 0.0093047 | 0.0093047 | 0.98162 | -0.019762 | 0.98157 | -0.019532 | 4.2294
85 | 1.6366 | 0.73115 | -1.6365 | -0.73193 | 0.00013165 | -0.00078316 | 0.052618 | 0.052628 | 0.052628 | 0.98341 | -0.017001 | 0.98333 | -0.016423 | 23.9217
86 | 1.6365 | 0.73193 | -1.6352 | -0.73143 | 0.0012789 | 0.00050217 | 0.052628 | 0.052631 | 0.052631 | 0.98333 | -0.016423 | 0.98251 | -0.023108 | 25.0625
87 | 0.20865 | 0.10102 | -0.20865 | -0.10105 | 2.9088e-06 | -3.8729e-05 | 0.0068111 | 0.0068116 | 0.0068116 | 0.98251 | -0.023108 | 0.9825 | -0.0232 | 3.2436
88 | 1.4265 | 0.63042 | -1.426 | -0.63496 | 0.00057394 | -0.0045412 | 0.045824 | 0.04588 | 0.04588 | 0.98251 | -0.023108 | 0.98214 | -0.020276 | 20.8545
89 | -0.29485 | -0.11502 | 0.29485 | 0.11473 | 1.4818e-06 | -0.00029438 | 0.0093079 | 0.0093047 | 0.0093079 | 0.98156 | -0.019508 | 0.98157 | -0.019532 | 4.2309
90 | 0.095487 | 0.01847 | -0.095487 | -0.019792 | 6.2965e-07 | -0.0013225 | 0.0028603 | 0.002868 | 0.002868 | 0.98156 | -0.019508 | 0.98156 | -0.019543 | 1.3036
91 | 0.095487 | 0.019792 | -0.095476 | -0.041943 | 1.12e-05 | -0.02215 | 0.002868 | 0.0030673 | 0.0030673 | 0.98156 | -0.019543 | 0.98144 | -0.019381 | 1.3942
92 | 0.095476 | 0.041943 | -0.095473 | -0.04624 | 2.3872e-06 | -0.0042972 | 0.0030673 | 0.0031203 | 0.0031203 | 0.98144 | -0.019381 | 0.98142 | -0.019186 | 1.4183
93 | 0.27933 | 0.13437 | -0.27933 | -0.13529 | 4.1353e-06 | -0.00091959 | 0.0089521 | 0.0089637 | 0.0089637 | 0.99955 | -0.0053672 | 0.99953 | -0.0052392 | 4.0744
94 | 3.5455 | 1.594 | -3.5444 | -1.5952 | 0.0011419 | -0.0012704 | 0.11242 | 0.11244 | 0.11244 | 0.99817 | -0.019226 | 0.99787 | -0.016874 | 51.1098
95 | 2.7476 | 1.236 | -2.7453 | -1.2406 | 0.0022689 | -0.0045695 | 0.087442 | 0.087505 | 0.087505 | 0.99463 | 0.0083769 | 0.99386 | 0.014444 | 39.7749
96 | -3.543 | -1.5967 | 3.5444 | 1.5952 | 0.0013296 | -0.0014774 | 0.11246 | 0.11244 | 0.11246 | 0.99752 | -0.014127 | 0.99787 | -0.016874 | 51.1199

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.5336 | 4.3135

## res_load
| p_mw | q_mvar
0 | 0.21652 | 0.10487
1 | 0.35964 | 0.17418
2 | 0.17883 | 0.086612
3 | 0.14517 | 0.070308
4 | 0.098271 | 0.047595
5 | 0.36647 | 0.17749
6 | 0.081694 | 0.039566
7 | 0.15114 | 0.073198
8 | 0.33501 | 0.16225
9 | 0.17693 | 0.08569
10 | 0.39848 | 0.19299
11 | 0.10607 | 0.051371
12 | 0.27843 | 0.13485
13 | 0.07965 | 0.038576
14 | 0.078398 | 0.03797
15 | 0.56527 | 0.27377
16 | 0.3179 | 0.15397
17 | 0.29985 | 0.14522
18 | 0.075872 | 0.036747
19 | 0.091997 | 0.044556
20 | 0.25447 | 0.12325
21 | 0.28222 | 0.13669
22 | 0.24347 | 0.11792
23 | 0.13361 | 0.06471
24 | 0.17121 | 0.082919
25 | 0.27339 | 0.13241
26 | 0.18272 | 0.088495
27 | 0.12372 | 0.059921
28 | 0.069139 | 0.033486
29 | 0.090213 | 0.043692
30 | 0.2544 | 0.12321
31 | 0.065784 | 0.03186
32 | 0.10571 | 0.051197
33 | 0.11083 | 0.053677
34 | 0.34744 | 0.16827
35 | 0.10045 | 0.048649
36 | 0.10212 | 0.049461
37 | 0.068109 | 0.032987
38 | 0.20669 | 0.1001
39 | 0.23628 | 0.11444
40 | 0.19264 | 0.093301
41 | 0.19936 | 0.096555
42 | 0.095473 | 0.04624
43 | 0.20865 | 0.10105
44 | 0.36748 | 0.17798
45 | 0.27933 | 0.13529
46 | 0.10552 | 0.051107
47 | 0.17017 | 0.082417

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1