## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_401_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_401_0_node_3 | 20 | n |  | TRUE
2 | bus_MV_401_0_node_85 | 20 | n |  | TRUE
3 | bus_MV_401_0_node_10 | 20 | n |  | TRUE
4 | bus_MV_401_0_node_1 | 20 | n |  | TRUE
5 | bus_MV_401_0_node_81 | 20 | n |  | TRUE
6 | bus_MV_401_0_node_82 | 20 | n |  | TRUE
7 | bus_MV_401_0_node_84 | 20 | n |  | TRUE
8 | bus_MV_401_0_node_56 | 20 | n |  | TRUE
9 | bus_MV_401_0_node_21 | 20 | n |  | TRUE
10 | bus_MV_401_0_node_22 | 20 | n |  | TRUE
11 | bus_MV_401_0_node_4 | 20 | n |  | TRUE
12 | bus_MV_401_0_node_2 | 20 | n |  | TRUE
13 | bus_MV_401_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_401_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_401_0_node_7 | 20 | n |  | TRUE
16 | bus_MV_401_0_node_6 | 20 | n |  | TRUE
17 | bus_MV_401_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_401_0_node_64 | 20 | n |  | TRUE
19 | bus_MV_401_0_node_77 | 20 | n |  | TRUE
20 | bus_MV_401_0_node_14 | 20 | n |  | TRUE
21 | bus_MV_401_0_node_78 | 20 | n |  | TRUE
22 | bus_MV_401_0_node_11 | 20 | n |  | TRUE
23 | bus_MV_401_0_node_12 | 20 | n |  | TRUE
24 | bus_MV_401_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_401_0_node_15 | 20 | n |  | TRUE
26 | bus_MV_401_0_node_52 | 20 | n |  | TRUE
27 | bus_MV_401_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_401_0_node_50 | 20 | n |  | TRUE
29 | bus_MV_401_0_node_16 | 20 | n |  | TRUE
30 | bus_MV_401_0_node_69 | 20 | n |  | TRUE
31 | bus_MV_401_0_node_18 | 20 | n |  | TRUE
32 | bus_MV_401_0_node_55 | 20 | n |  | TRUE
33 | bus_MV_401_0_node_49 | 20 | n |  | TRUE
34 | bus_MV_401_0_node_19 | 20 | n |  | TRUE
35 | bus_MV_401_0_node_44 | 20 | n |  | TRUE
36 | bus_MV_401_0_node_31 | 20 | n |  | TRUE
37 | bus_MV_401_0_node_51 | 20 | n |  | TRUE
38 | bus_MV_401_0_node_67 | 20 | n |  | TRUE
39 | bus_MV_401_0_node_53 | 20 | n |  | TRUE
40 | bus_MV_401_0_node_66 | 20 | n |  | TRUE
41 | bus_MV_401_0_node_54 | 20 | n |  | TRUE
42 | bus_MV_401_0_node_72 | 20 | n |  | TRUE
43 | bus_MV_401_0_node_71 | 20 | n |  | TRUE
44 | bus_MV_401_0_node_68 | 20 | n |  | TRUE
45 | bus_MV_401_0_node_36 | 20 | n |  | TRUE
46 | bus_MV_401_0_node_32 | 20 | n |  | TRUE
47 | bus_MV_401_0_node_80 | 20 | n |  | TRUE
48 | bus_MV_401_0_node_30 | 20 | n |  | TRUE
49 | bus_MV_401_0_node_40 | 20 | n |  | TRUE
50 | bus_MV_401_0_node_42 | 20 | n |  | TRUE
51 | bus_MV_401_0_node_43 | 20 | n |  | TRUE
52 | bus_MV_401_0_node_79 | 20 | n |  | TRUE
53 | bus_MV_401_0_node_23 | 20 | n |  | TRUE
54 | bus_MV_401_0_node_24 | 20 | n |  | TRUE
55 | bus_MV_401_0_node_25 | 20 | n |  | TRUE
56 | bus_MV_401_0_node_27 | 20 | n |  | TRUE
57 | bus_MV_401_0_node_70 | 20 | n |  | TRUE
58 | bus_MV_401_0_node_26 | 20 | n |  | TRUE
59 | bus_MV_401_0_node_28 | 20 | n |  | TRUE
60 | bus_MV_401_0_node_73 | 20 | n |  | TRUE
61 | bus_MV_401_0_node_37 | 20 | n |  | TRUE
62 | bus_MV_401_0_node_45 | 20 | n |  | TRUE
63 | bus_MV_401_0_node_38 | 20 | n |  | TRUE
64 | bus_MV_401_0_node_29 | 20 | n |  | TRUE
65 | bus_MV_401_0_node_33 | 20 | n |  | TRUE
66 | bus_MV_401_0_node_34 | 20 | n |  | TRUE
67 | bus_MV_401_0_node_35 | 20 | n |  | TRUE
68 | bus_MV_401_0_node_48 | 20 | n |  | TRUE
69 | bus_MV_401_0_node_46 | 20 | n |  | TRUE
70 | bus_MV_401_0_node_47 | 20 | n |  | TRUE
71 | bus_MV_401_0_node_39 | 20 | n |  | TRUE
72 | bus_MV_401_0_node_57 | 20 | n |  | TRUE
73 | bus_MV_401_0_node_58 | 20 | n |  | TRUE
74 | bus_MV_401_0_node_59 | 20 | n |  | TRUE
75 | bus_MV_401_0_node_60 | 20 | n |  | TRUE
76 | bus_MV_401_0_node_75 | 20 | n |  | TRUE
77 | bus_MV_401_0_node_61 | 20 | n |  | TRUE
78 | bus_MV_401_0_node_62 | 20 | n |  | TRUE
79 | bus_MV_401_0_node_76 | 20 | n |  | TRUE
80 | bus_MV_401_0_node_63 | 20 | n |  | TRUE
81 | bus_MV_401_0_node_74 | 20 | n |  | TRUE
82 | bus_MV_401_0_node_65 | 20 | n |  | TRUE
83 | bus_HV_401_0_node_22 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_401_0_load_0 | 0 | 0.2099 | 0.10166 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_401_0_load_85 | 2 | 0.22275 | 0.10788 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_401_0_load_10 | 3 | 0.066362 | 0.032141 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_401_0_load_1 | 4 | 0.2082 | 0.10084 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_401_0_load_81 | 5 | 0.28649 | 0.13875 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_401_0_load_56 | 8 | 0.1632 | 0.07904 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_401_0_load_21 | 9 | 0.39974 | 0.1936 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_401_0_load_5 | 13 | 0.28553 | 0.13829 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_401_0_load_6 | 16 | 0.37935 | 0.18373 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_401_0_load_64 | 18 | 0.38116 | 0.18461 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_401_0_load_77 | 19 | 0.30445 | 0.14745 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_401_0_load_78 | 21 | 0.36424 | 0.17641 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_401_0_load_11 | 22 | 0.18643 | 0.090291 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_401_0_load_50 | 28 | 0.2314 | 0.11207 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_401_0_load_69 | 30 | 0.12149 | 0.058839 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_401_0_load_55 | 32 | 0.27279 | 0.13212 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_401_0_load_49 | 33 | 0.17762 | 0.086024 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_401_0_load_44 | 35 | 0.36153 | 0.17509 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_401_0_load_31 | 36 | 0.31042 | 0.15034 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_401_0_load_67 | 38 | 1.2908 | 0.62517 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_401_0_load_66 | 40 | 0.97958 | 0.47443 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_401_0_load_54 | 41 | 0.36636 | 0.17744 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_401_0_load_72 | 42 | 1.1046 | 0.53499 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_401_0_load_71 | 43 | 0.55335 | 0.268 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_401_0_load_68 | 44 | 0.16807 | 0.081398 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_401_0_load_80 | 47 | 0.16226 | 0.078584 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_401_0_load_40 | 49 | 0.079145 | 0.038332 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_401_0_load_43 | 51 | 0.081066 | 0.039262 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_401_0_load_23 | 53 | 0.40494 | 0.19612 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_401_0_load_70 | 57 | 0.16539 | 0.0801 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_401_0_load_73 | 60 | 0.99841 | 0.48355 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_401_0_load_37 | 61 | 0.18665 | 0.090398 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_401_0_load_45 | 62 | 0.31793 | 0.15398 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_401_0_load_29 | 64 | 0.080156 | 0.038821 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_401_0_load_33 | 65 | 0.1877 | 0.090908 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_401_0_load_48 | 68 | 0.27081 | 0.13116 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_401_0_load_46 | 69 | 0.11675 | 0.056546 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_401_0_load_39 | 71 | 0.10318 | 0.049974 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_401_0_load_57 | 72 | 0.22439 | 0.10868 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_401_0_load_58 | 73 | 0.36581 | 0.17717 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_401_0_load_75 | 76 | 0.39667 | 0.19212 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_401_0_load_61 | 77 | 0.41213 | 0.1996 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_401_0_load_65 | 82 | 1.1273 | 0.54598 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_401_0_line_0 |  | 0 | 1 | 1.1707 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_401_0_line_1 |  | 0 | 2 | 3.2424 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_401_0_line_2 |  | 1 | 3 | 1.3023 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_401_0_line_3 |  | 1 | 4 | 0.055495 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
4 | MV_401_0_line_4 |  | 2 | 7 | 0.13225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_401_0_line_5 |  | 3 | 14 | 0.065789 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_401_0_line_6 |  | 4 | 12 | 0.05143 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_401_0_line_7 |  | 5 | 6 | 0.056123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_401_0_line_8 |  | 5 | 7 | 0.39444 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_401_0_line_9 |  | 6 | 8 | 3.421 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_401_0_line_10 |  | 9 | 10 | 0.046542 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
11 | MV_401_0_line_11 |  | 9 | 11 | 2.0137 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
12 | MV_401_0_line_12 |  | 10 | 20 | 0.096316 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
13 | MV_401_0_line_13 |  | 11 | 13 | 0.016995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_401_0_line_14 |  | 11 | 12 | 0.43878 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
15 | MV_401_0_line_15 |  | 14 | 15 | 0.39315 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_401_0_line_16 |  | 15 | 17 | 0.77022 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
17 | MV_401_0_line_17 |  | 15 | 16 | 0.046171 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_401_0_line_18 |  | 17 | 21 | 0.11338 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_401_0_line_19 |  | 17 | 18 | 0.87129 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_401_0_line_20 |  | 18 | 19 | 0.37427 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
21 | MV_401_0_line_21 |  | 19 | 80 | 0.046474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_401_0_line_22 |  | 20 | 23 | 0.45216 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_401_0_line_23 |  | 22 | 23 | 0.033486 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_401_0_line_24 |  | 23 | 24 | 0.29589 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
25 | MV_401_0_line_25 |  | 24 | 35 | 0.074323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_401_0_line_26 |  | 24 | 34 | 0.65305 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_401_0_line_27 |  | 25 | 26 | 0.12991 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
28 | MV_401_0_line_28 |  | 25 | 27 | 0.34095 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_401_0_line_29 |  | 25 | 28 | 0.004771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_401_0_line_30 |  | 26 | 41 | 0.006483 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_401_0_line_31 |  | 26 | 37 | 0.068769 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
32 | MV_401_0_line_32 |  | 27 | 31 | 0.43357 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_401_0_line_33 |  | 27 | 32 | 0.08685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_401_0_line_34 |  | 27 | 29 | 0.38673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_401_0_line_35 |  | 29 | 30 | 0.034386 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_401_0_line_36 |  | 30 | 44 | 0.034102 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_401_0_line_37 |  | 31 | 33 | 0.0385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_401_0_line_38 |  | 31 | 34 | 0.41587 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
39 | MV_401_0_line_39 |  | 32 | 45 | 0.043276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_401_0_line_40 |  | 34 | 36 | 0.072861 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_401_0_line_41 |  | 36 | 46 | 0.040297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_401_0_line_42 |  | 37 | 38 | 0.013408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_401_0_line_43 |  | 37 | 39 | 0.0096702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_401_0_line_44 |  | 37 | 40 | 0.007482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_401_0_line_45 |  | 39 | 42 | 0.010516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_401_0_line_46 |  | 39 | 43 | 0.021761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_401_0_line_47 |  | 40 | 82 | 0.012083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_401_0_line_48 |  | 42 | 60 | 0.028942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_401_0_line_49 |  | 45 | 66 | 1.0676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_401_0_line_50 |  | 45 | 67 | 0.48355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_401_0_line_51 |  | 46 | 47 | 3.034 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_401_0_line_52 |  | 46 | 48 | 1.2628 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_401_0_line_53 |  | 47 | 52 | 0.039951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_401_0_line_54 |  | 48 | 64 | 0.039654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_401_0_line_55 |  | 49 | 50 | 0.011709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_401_0_line_56 |  | 50 | 51 | 0.93718 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
57 | MV_401_0_line_57 |  | 50 | 52 | 1.2225 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_401_0_line_58 |  | 53 | 54 | 0.049954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_401_0_line_59 |  | 54 | 55 | 0.47397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_401_0_line_60 |  | 55 | 56 | 0.61684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_401_0_line_61 |  | 55 | 57 | 0.082394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_401_0_line_62 |  | 56 | 59 | 0.35537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_401_0_line_63 |  | 56 | 61 | 0.11609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_401_0_line_64 |  | 58 | 59 | 0.3545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_401_0_line_65 |  | 58 | 60 | 0.042627 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_401_0_line_66 |  | 59 | 62 | 0.046132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_401_0_line_67 |  | 61 | 63 | 0.19278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_401_0_line_68 |  | 63 | 71 | 0.084472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_401_0_line_69 |  | 65 | 66 | 0.003539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_401_0_line_70 |  | 67 | 68 | 0.17287 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_401_0_line_71 |  | 68 | 70 | 0.058253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_401_0_line_72 |  | 69 | 70 | 0.58316 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_401_0_line_73 |  | 72 | 73 | 0.13777 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_401_0_line_74 |  | 73 | 74 | 0.14682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_401_0_line_75 |  | 74 | 75 | 0.30154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_401_0_line_76 |  | 75 | 76 | 0.013395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_401_0_line_77 |  | 76 | 81 | 0.047681 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_401_0_line_78 |  | 77 | 78 | 0.073749 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_401_0_line_79 |  | 78 | 79 | 0.30211 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_401_0_line_80 |  | 79 | 80 | 0.070063 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_401_0_line_81 |  | 79 | 81 | 0.18718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_401_0_trafo_22 | 25 MVA 110/20 kV | 83 | 10 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2691049.2085 | 1290189.2409
1 | 2692198.4801 | 1289966.4136
2 | 2687806.9189 | 1290212.5616
3 | 2691712.6282 | 1288758.189
4 | 2692212.7285 | 1290020.0627
5 | 2687747.8071 | 1290734.0886
6 | 2687801.2011 | 1290751.8782
7 | 2687783.0339 | 1290341.2198
8 | 2687507.9269 | 1294160.2665
9 | 2694343.4491 | 1289406.7078
10 | 2694336.8073 | 1289360.6376
11 | 2692497.1917 | 1290210.7184
12 | 2692225.7778 | 1290069.823
13 | 2692485.6375 | 1290198.2554
14 | 2691684.4959 | 1288699.1538
15 | 2691765.3237 | 1288433.5424
16 | 2691790.3319 | 1288394.7308
17 | 2691604.5169 | 1287975.8315
18 | 2691785.9837 | 1287123.6439
19 | 2691850.7195 | 1286755.015
20 | 2694432.5547 | 1289350.185
21 | 2691491.8077 | 1287988.124
22 | 2694799.926 | 1289414.4013
23 | 2694801.0053 | 1289380.9329
24 | 2694778.7231 | 1289675.9854
25 | 2695213.0814 | 1289327.4552
26 | 2695121.2103 | 1289315.6042
27 | 2695480.8753 | 1289332.6292
28 | 2695211.7098 | 1289332.0261
29 | 2695468.2381 | 1289031.1517
30 | 2695462.2958 | 1288997.2829
31 | 2695324.9336 | 1289637.9014
32 | 2695567.8138 | 1289327.179
33 | 2695356.8502 | 1289618.189
34 | 2695028.5297 | 1289929.6079
35 | 2694738.3992 | 1289738.1149
36 | 2695007.3671 | 1289999.1405
37 | 2695135.0307 | 1289261.0671
38 | 2695138.4773 | 1289274.024
39 | 2695125.3821 | 1289261.7006
40 | 2695137.1024 | 1289254.8329
41 | 2695127.3881 | 1289317.6281
42 | 2695123.9816 | 1289251.2935
43 | 2695112.1969 | 1289278.6784
44 | 2695456.4026 | 1288963.6942
45 | 2695611.2114 | 1289327.2502
46 | 2694990.0554 | 1290035.5053
47 | 2692850.0223 | 1292186.2043
48 | 2696061.6898 | 1290703.4663
49 | 2691618.7027 | 1292450.1373
50 | 2691625.579 | 1292459.6307
51 | 2691514.0832 | 1293390.1523
52 | 2692813.4274 | 1292170.6909
53 | 2695307.9529 | 1289049.8834
54 | 2695263.0895 | 1289072.1221
55 | 2695284.3222 | 1288851.7999
56 | 2694845.1501 | 1289060.5656
57 | 2695362.2898 | 1288825.2213
58 | 2695095.9548 | 1289186.1793
59 | 2694890.6489 | 1289221.6106
60 | 2695116.2414 | 1289223.448
61 | 2694728.9685 | 1289065.1775
62 | 2694933.4371 | 1289238.8527
63 | 2694694.7425 | 1288875.4338
64 | 2696098.6261 | 1290691.2802
65 | 2695956.194 | 1288567.1294
66 | 2695957.2244 | 1288563.7431
67 | 2696064.58 | 1289376.0286
68 | 2696237.4317 | 1289373.2707
69 | 2696865.7817 | 1289247.5702
70 | 2696295.6918 | 1289370.3538
71 | 2694774.4707 | 1288899.3695
72 | 2692285.9686 | 1286204.1291
73 | 2692320.7547 | 1286337.4366
74 | 2692334.8308 | 1286483.4975
75 | 2692038.3214 | 1286522.7483
76 | 2692026.7342 | 1286529.5288
77 | 2691508.5395 | 1286787.3854
78 | 2691565.0223 | 1286739.9655
79 | 2691857.9322 | 1286665.9597
80 | 2691818.0212 | 1286723.5441
81 | 2691989.4819 | 1286559.4291
82 | 2695134.6765 | 1289242.9961
83 | 2694336.8073 | 1289360.6376

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99146 | -0.3489 | 0.2099 | 0.10166
1 | 0.99347 | -0.33488 | 0 | 0
2 | 0.98722 | -0.37883 | 0.22275 | 0.10788
3 | 0.99095 | -0.48117 | 0.066362 | 0.032141
4 | 0.99354 | -0.33455 | 0.2082 | 0.10084
5 | 0.9868 | -0.38056 | 0.28649 | 0.13875
6 | 0.98678 | -0.38046 | 0 | 0
7 | 0.98714 | -0.37817 | 0 | 0
8 | 0.98569 | -0.38799 | 0.1632 | 0.07904
9 | 0.99993 | -0.00032752 | 0.39974 | 0.1936
10 | 1 | 0 | -15.2111 | -7.075
11 | 0.99418 | -0.33139 | 0 | 0
12 | 0.99361 | -0.33423 | 0 | 0
13 | 0.99417 | -0.33133 | 0.28553 | 0.13829
14 | 0.99089 | -0.48148 | 0 | 0
15 | 0.99053 | -0.48324 | 0 | 0
16 | 0.9905 | -0.48346 | 0.37935 | 0.18373
17 | 0.98991 | -0.48594 | 0 | 0
18 | 0.98866 | -0.55604 | 0.38116 | 0.18461
19 | 0.9879 | -0.57522 | 0.30445 | 0.14745
20 | 0.99932 | -0.038324 | 0 | 0
21 | 0.98983 | -0.48645 | 0.36424 | 0.17641
22 | 0.99777 | -0.045147 | 0.18643 | 0.090291
23 | 0.99778 | -0.045071 | 0 | 0
24 | 0.99573 | -0.16109 | 0 | 0
25 | 0.98887 | -0.32633 | 0 | 0
26 | 0.98855 | -0.32763 | 0 | 0
27 | 0.98975 | -0.32275 | 0 | 0
28 | 0.98887 | -0.32632 | 0.2314 | 0.11207
29 | 0.98961 | -0.32153 | 0 | 0
30 | 0.9896 | -0.32142 | 0.12149 | 0.058839
31 | 0.99103 | -0.31712 | 0 | 0
32 | 0.98966 | -0.32208 | 0.27279 | 0.13212
33 | 0.99102 | -0.31704 | 0.17762 | 0.086024
34 | 0.99362 | -0.17037 | 0 | 0
35 | 0.9957 | -0.16077 | 0.36153 | 0.17509
36 | 0.99355 | -0.1698 | 0.31042 | 0.15034
37 | 0.98833 | -0.33157 | 0 | 0
38 | 0.9883 | -0.33135 | 1.2908 | 0.62517
39 | 0.98828 | -0.33115 | 0 | 0
40 | 0.98831 | -0.33137 | 0.97958 | 0.47443
41 | 0.98854 | -0.3276 | 0.36636 | 0.17744
42 | 0.98823 | -0.33076 | 1.1046 | 0.53499
43 | 0.98826 | -0.331 | 0.55335 | 0.268
44 | 0.98959 | -0.32135 | 0.16807 | 0.081398
45 | 0.98963 | -0.32188 | 0 | 0
46 | 0.99353 | -0.16963 | 0 | 0
47 | 0.99163 | -0.18307 | 0.16226 | 0.078584
48 | 0.99333 | -0.17105 | 0 | 0
49 | 0.99125 | -0.18562 | 0.079145 | 0.038332
50 | 0.99125 | -0.18563 | 0 | 0
51 | 0.9911 | -0.18661 | 0.081066 | 0.039262
52 | 0.99163 | -0.183 | 0 | 0
53 | 0.98645 | -0.31706 | 0.40494 | 0.19612
54 | 0.98647 | -0.3173 | 0 | 0
55 | 0.98672 | -0.31946 | 0 | 0
56 | 0.98717 | -0.32292 | 0 | 0
57 | 0.9867 | -0.31929 | 0.16539 | 0.0801
58 | 0.98809 | -0.32964 | 0 | 0
59 | 0.98756 | -0.3257 | 0 | 0
60 | 0.98815 | -0.3301 | 0.99841 | 0.48355
61 | 0.98712 | -0.32257 | 0.18665 | 0.090398
62 | 0.98754 | -0.32552 | 0.31793 | 0.15398
63 | 0.9871 | -0.32237 | 0 | 0
64 | 0.99333 | -0.17101 | 0.080156 | 0.038821
65 | 0.98937 | -0.3203 | 0.1877 | 0.090908
66 | 0.98938 | -0.32031 | 0 | 0
67 | 0.98939 | -0.31984 | 0 | 0
68 | 0.98926 | -0.3207 | 0.27081 | 0.13116
69 | 0.98912 | -0.32148 | 0.11675 | 0.056546
70 | 0.98925 | -0.32062 | 0 | 0
71 | 0.98709 | -0.32227 | 0.10318 | 0.049974
72 | 0.98692 | -0.57037 | 0.22439 | 0.10868
73 | 0.98698 | -0.56998 | 0.36581 | 0.17717
74 | 0.98709 | -0.57103 | 0 | 0
75 | 0.98732 | -0.57308 | 0 | 0
76 | 0.98733 | -0.57316 | 0.39667 | 0.19212
77 | 0.98732 | -0.57772 | 0.41213 | 0.1996
78 | 0.98738 | -0.57735 | 0 | 0
79 | 0.98762 | -0.5758 | 0 | 0
80 | 0.98782 | -0.57448 | 0 | 0
81 | 0.98739 | -0.57371 | 0 | 0
82 | 0.98829 | -0.33121 | 1.1273 | 0.54598
83 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.88543 | -0.41666 | 0.88712 | 0.41634 | 0.0016922 | -0.00031663 | 0.028492 | 0.028475 | 0.028492 | 0.99146 | -0.3489 | 0.99347 | -0.33488 | 13.5676
1 | 0.67553 | 0.315 | -0.6728 | -0.31708 | 0.0027267 | -0.0020808 | 0.021702 | 0.021749 | 0.021749 | 0.99146 | -0.3489 | 0.98722 | -0.37883 | 10.3566
2 | 2.9048 | 1.3223 | -2.9008 | -1.3133 | 0.0039993 | 0.0089822 | 0.092738 | 0.09276 | 0.09276 | 0.99347 | -0.33488 | 0.99095 | -0.48117 | 14.3813
3 | -3.7919 | -1.7386 | 3.7922 | 1.7353 | 0.00025186 | -0.0032999 | 0.12121 | 0.12117 | 0.12121 | 0.99347 | -0.33488 | 0.99354 | -0.33455 | 18.9987
4 | 0.45005 | 0.20919 | -0.45001 | -0.21226 | 3.7279e-05 | -0.003066 | 0.014512 | 0.01455 | 0.01455 | 0.98722 | -0.37883 | 0.98714 | -0.37817 | 6.6138
5 | 2.8344 | 1.2812 | -2.8342 | -1.2851 | 0.000167 | -0.0039649 | 0.090612 | 0.090661 | 0.090661 | 0.99095 | -0.48117 | 0.99089 | -0.48148 | 14.2102
6 | -4.0004 | -1.8362 | 4.0006 | 1.8331 | 0.00025985 | -0.0030437 | 0.12789 | 0.12785 | 0.12789 | 0.99354 | -0.33455 | 0.99361 | -0.33423 | 20.0455
7 | 0.16337 | 0.073871 | -0.16337 | -0.075175 | 2.0674e-06 | -0.0013042 | 0.0052451 | 0.0052609 | 0.0052609 | 0.9868 | -0.38056 | 0.98678 | -0.38046 | 2.3913
8 | -0.44986 | -0.21263 | 0.45001 | 0.21226 | 0.00014885 | -0.00036547 | 0.014556 | 0.01455 | 0.014556 | 0.9868 | -0.38056 | 0.98714 | -0.37817 | 6.9315
9 | 0.16337 | 0.075175 | -0.1632 | -0.07904 | 0.00017028 | -0.0038657 | 0.0052609 | 0.0053106 | 0.0053106 | 0.98678 | -0.38046 | 0.98569 | -0.38799 | 2.5288
10 | -4.7015 | -2.172 | 4.7019 | 2.1692 | 0.00032142 | -0.0027431 | 0.14952 | 0.14948 | 0.14952 | 0.99993 | -0.00032752 | 1 | 0 | 23.435
11 | 4.3018 | 1.9784 | -4.2884 | -1.945 | 0.013436 | 0.033364 | 0.13669 | 0.13673 | 0.13673 | 0.99993 | -0.00032752 | 0.99418 | -0.33139 | 21.1982
12 | 10.4953 | 4.8953 | -10.4915 | -4.8851 | 0.003843 | 0.010201 | 0.33431 | 0.33431 | 0.33431 | 1 | 0 | 0.99932 | -0.038324 | 51.8311
13 | 0.28553 | 0.13789 | -0.28553 | -0.13829 | 1.9243e-06 | -0.00040049 | 0.0092069 | 0.009212 | 0.009212 | 0.99418 | -0.33139 | 0.99417 | -0.33133 | 4.1873
14 | 4.0028 | 1.8071 | -4.0006 | -1.8331 | 0.0022106 | -0.025989 | 0.12752 | 0.12785 | 0.12785 | 0.99418 | -0.33139 | 0.99361 | -0.33423 | 20.0394
15 | 2.8342 | 1.2851 | -2.8332 | -1.3088 | 0.0010018 | -0.023681 | 0.090661 | 0.090955 | 0.090955 | 0.99089 | -0.48148 | 0.99053 | -0.48324 | 14.2563
16 | 2.4539 | 1.1251 | -2.4524 | -1.1718 | 0.001484 | -0.046617 | 0.078674 | 0.07926 | 0.07926 | 0.99053 | -0.48324 | 0.98991 | -0.48594 | 12.4233
17 | 0.37936 | 0.18368 | -0.37935 | -0.18373 | 1.2413e-05 | -4.6303e-05 | 0.012284 | 0.012284 | 0.012284 | 0.99053 | -0.48324 | 0.9905 | -0.48346 | 5.8497
18 | 0.36426 | 0.17629 | -0.36424 | -0.17641 | 2.8137e-05 | -0.000115 | 0.011801 | 0.011803 | 0.011803 | 0.98991 | -0.48594 | 0.98983 | -0.48645 | 5.6205
19 | 2.0881 | 0.99546 | -2.0867 | -0.99283 | 0.0014158 | 0.0026286 | 0.067459 | 0.067474 | 0.067474 | 0.98991 | -0.48594 | 0.98866 | -0.55604 | 10.4611
20 | 1.7056 | 0.80822 | -1.7045 | -0.80749 | 0.0010435 | 0.00073423 | 0.055108 | 0.055114 | 0.055114 | 0.98866 | -0.55604 | 0.9879 | -0.57522 | 15.7469
21 | 1.4001 | 0.66004 | -1.3999 | -0.66108 | 0.00012696 | -0.0010452 | 0.04523 | 0.045243 | 0.045243 | 0.9879 | -0.57522 | 0.98782 | -0.57448 | 20.5651
22 | 10.4915 | 4.8851 | -10.4758 | -4.9046 | 0.015632 | -0.019526 | 0.33431 | 0.33466 | 0.33466 | 0.99932 | -0.038324 | 0.99778 | -0.045071 | 52.4541
23 | -0.18643 | -0.090291 | 0.18643 | 0.090252 | 2.1427e-06 | -3.8456e-05 | 0.005993 | 0.0059925 | 0.005993 | 0.99777 | -0.045147 | 0.99778 | -0.045071 | 2.8538
24 | 10.2894 | 4.8144 | -10.278 | -4.7841 | 0.011411 | 0.030278 | 0.32867 | 0.32867 | 0.32867 | 0.99778 | -0.045071 | 0.99573 | -0.16109 | 50.9566
25 | 0.36154 | 0.17334 | -0.36153 | -0.17509 | 1.3432e-05 | -0.0017554 | 0.011624 | 0.011646 | 0.011646 | 0.99573 | -0.16109 | 0.9957 | -0.16077 | 5.2937
26 | 9.9164 | 4.6107 | -9.8961 | -4.6399 | 0.020316 | -0.029157 | 0.31705 | 0.31755 | 0.31755 | 0.99573 | -0.16109 | 0.99362 | -0.17037 | 49.772
27 | 7.6045 | 3.6141 | -7.6021 | -3.6207 | 0.002426 | -0.006613 | 0.24579 | 0.24589 | 0.24589 | 0.98887 | -0.32633 | 0.98855 | -0.32763 | 38.5407
28 | -7.8359 | -3.7261 | 7.8427 | 3.7089 | 0.0067523 | -0.017165 | 0.25329 | 0.25303 | 0.25329 | 0.98887 | -0.32633 | 0.98975 | -0.32275 | 39.7012
29 | 0.2314 | 0.11196 | -0.2314 | -0.11207 | 3.5874e-07 | -0.00011129 | 0.0075041 | 0.0075056 | 0.0075056 | 0.98887 | -0.32633 | 0.98887 | -0.32632 | 3.4116
30 | 0.36636 | 0.17728 | -0.36636 | -0.17744 | 1.2228e-06 | -0.0001509 | 0.011885 | 0.011887 | 0.011887 | 0.98855 | -0.32763 | 0.98854 | -0.3276 | 5.4033
31 | 7.2357 | 3.4434 | -7.2344 | -3.4447 | 0.0013784 | -0.0013013 | 0.234 | 0.23404 | 0.23404 | 0.98855 | -0.32763 | 0.98833 | -0.33157 | 55.5907
32 | -8.9807 | -4.2077 | 8.9918 | 4.1873 | 0.011197 | -0.020416 | 0.28926 | 0.28893 | 0.28926 | 0.98975 | -0.32275 | 0.99103 | -0.31712 | 45.3382
33 | 0.84837 | 0.36922 | -0.84829 | -0.37122 | 8.4509e-05 | -0.0020061 | 0.026986 | 0.027009 | 0.027009 | 0.98975 | -0.32275 | 0.98966 | -0.32208 | 12.277
34 | 0.2896 | 0.12961 | -0.28956 | -0.13864 | 4.4737e-05 | -0.0090309 | 0.009254 | 0.0093648 | 0.0093648 | 0.98975 | -0.32275 | 0.98961 | -0.32153 | 4.2567
35 | 0.28956 | 0.13864 | -0.28956 | -0.13944 | 4.0303e-06 | -0.00080283 | 0.0093648 | 0.009375 | 0.009375 | 0.98961 | -0.32153 | 0.9896 | -0.32142 | 4.2614
36 | 0.16807 | 0.080601 | -0.16807 | -0.081398 | 1.3485e-06 | -0.00079696 | 0.0054374 | 0.0054474 | 0.0054474 | 0.9896 | -0.32142 | 0.98959 | -0.32135 | 2.4761
37 | 0.17762 | 0.085122 | -0.17762 | -0.086024 | 1.6952e-06 | -0.0009023 | 0.0057373 | 0.0057487 | 0.0057487 | 0.99103 | -0.31712 | 0.99102 | -0.31704 | 2.613
38 | -9.1695 | -4.2724 | 9.1824 | 4.3065 | 0.012891 | 0.034098 | 0.29467 | 0.29466 | 0.29467 | 0.99103 | -0.31712 | 0.99362 | -0.17037 | 45.6845
39 | 0.5755 | 0.2391 | -0.57548 | -0.24011 | 1.9103e-05 | -0.0010063 | 0.018178 | 0.018189 | 0.018189 | 0.98966 | -0.32208 | 0.98963 | -0.32188 | 8.2679
40 | 0.71377 | 0.33337 | -0.71372 | -0.33508 | 5.1001e-05 | -0.0017023 | 0.022888 | 0.022909 | 0.022909 | 0.99362 | -0.17037 | 0.99355 | -0.1698 | 10.413
41 | 0.4033 | 0.18473 | -0.40329 | -0.18568 | 8.9444e-06 | -0.00094709 | 0.012889 | 0.0129 | 0.0129 | 0.99355 | -0.1698 | 0.99353 | -0.16963 | 5.8637
42 | 1.2909 | 0.62487 | -1.2908 | -0.62517 | 3.1412e-05 | -0.00030337 | 0.041889 | 0.041893 | 0.041893 | 0.98833 | -0.33157 | 0.9883 | -0.33135 | 19.0424
43 | 3.8366 | 1.7999 | -3.8364 | -1.8001 | 0.0001978 | -0.00016684 | 0.12378 | 0.12378 | 0.12378 | 0.98833 | -0.33157 | 0.98828 | -0.33115 | 56.2645
44 | 2.107 | 1.02 | -2.1069 | -1.0201 | 4.6696e-05 | -0.00016064 | 0.068373 | 0.068375 | 0.068375 | 0.98833 | -0.33157 | 0.98831 | -0.33137 | 31.0796
45 | 3.283 | 1.5326 | -3.2828 | -1.5328 | 0.00015724 | -0.00019857 | 0.10583 | 0.10583 | 0.10583 | 0.98828 | -0.33115 | 0.98823 | -0.33076 | 48.1061
46 | 0.55336 | 0.2675 | -0.55335 | -0.268 | 9.3668e-06 | -0.00050467 | 0.017953 | 0.01796 | 0.01796 | 0.98828 | -0.33115 | 0.98826 | -0.331 | 8.1634
47 | 1.1273 | 0.5457 | -1.1273 | -0.54598 | 2.1591e-05 | -0.00027538 | 0.036583 | 0.036587 | 0.036587 | 0.98831 | -0.33137 | 0.98829 | -0.33121 | 16.6304
48 | 2.1782 | 0.99777 | -2.178 | -0.99839 | 0.00018927 | -0.00061865 | 0.069986 | 0.069994 | 0.069994 | 0.98823 | -0.33076 | 0.98815 | -0.3301 | 31.8156
49 | 0.18775 | 0.065882 | -0.1877 | -0.090825 | 5.0197e-05 | -0.024943 | 0.0058041 | 0.0060841 | 0.0060841 | 0.98963 | -0.32188 | 0.98938 | -0.32031 | 2.7655
50 | 0.38773 | 0.17423 | -0.38763 | -0.1855 | 0.00010035 | -0.011274 | 0.0124 | 0.012538 | 0.012538 | 0.98963 | -0.32188 | 0.98939 | -0.31984 | 5.6992
51 | 0.32312 | 0.14927 | -0.32254 | -0.15248 | 0.0005806 | -0.0032048 | 0.010342 | 0.010386 | 0.010386 | 0.99353 | -0.16963 | 0.99163 | -0.18307 | 4.9456
52 | 0.080171 | 0.036409 | -0.080156 | -0.037887 | 1.483e-05 | -0.0014785 | 0.0025584 | 0.0025765 | 0.0025765 | 0.99353 | -0.16963 | 0.99333 | -0.17105 | 1.2269
53 | 0.16028 | 0.073892 | -0.16028 | -0.074829 | 1.4111e-06 | -0.00093756 | 0.0051379 | 0.0051494 | 0.0051494 | 0.99163 | -0.18307 | 0.99163 | -0.183 | 2.3407
54 | 0.080156 | 0.037887 | -0.080156 | -0.038821 | 3.5302e-07 | -0.00093409 | 0.0025765 | 0.0025883 | 0.0025883 | 0.99333 | -0.17105 | 0.99333 | -0.17101 | 1.1765
55 | -0.079145 | -0.038332 | 0.079145 | 0.038057 | 1.0238e-07 | -0.00027466 | 0.002561 | 0.0025575 | 0.002561 | 0.99125 | -0.18562 | 0.99125 | -0.18563 | 1.1641
56 | 0.081078 | 0.03817 | -0.081066 | -0.039262 | 1.1432e-05 | -0.001092 | 0.0026098 | 0.0026236 | 0.0026236 | 0.99125 | -0.18563 | 0.9911 | -0.18661 | 1.2493
57 | -0.16022 | -0.076227 | 0.16028 | 0.074829 | 5.7955e-05 | -0.0013982 | 0.0051672 | 0.0051494 | 0.0051672 | 0.99125 | -0.18563 | 0.99163 | -0.183 | 2.4606
58 | -0.40494 | -0.19612 | 0.40495 | 0.19496 | 1.1549e-05 | -0.0011572 | 0.013167 | 0.013152 | 0.013167 | 0.98645 | -0.31706 | 0.98647 | -0.3173 | 5.985
59 | -0.40495 | -0.19496 | 0.40506 | 0.18398 | 0.00010831 | -0.010983 | 0.013152 | 0.013016 | 0.013152 | 0.98647 | -0.3173 | 0.98672 | -0.31946 | 5.9782
60 | -0.57045 | -0.26217 | 0.57072 | 0.2479 | 0.00027519 | -0.014264 | 0.018367 | 0.018196 | 0.018367 | 0.98672 | -0.31946 | 0.98717 | -0.32292 | 8.3487
61 | 0.16539 | 0.078186 | -0.16539 | -0.0801 | 3.165e-06 | -0.0019144 | 0.0053521 | 0.0053763 | 0.0053763 | 0.98672 | -0.31946 | 0.9867 | -0.31929 | 2.4438
62 | -0.86057 | -0.37913 | 0.86093 | 0.37096 | 0.0003575 | -0.0081658 | 0.027499 | 0.027403 | 0.027499 | 0.98717 | -0.32292 | 0.98756 | -0.3257 | 12.4998
63 | 0.28985 | 0.13123 | -0.28984 | -0.13392 | 1.3464e-05 | -0.002697 | 0.0093042 | 0.0093371 | 0.0093371 | 0.98717 | -0.32292 | 0.98712 | -0.32257 | 4.2441
64 | 1.1795 | 0.51581 | -1.1789 | -0.52387 | 0.00067122 | -0.0080601 | 0.037612 | 0.037709 | 0.037709 | 0.98809 | -0.32964 | 0.98756 | -0.3257 | 17.1404
65 | -1.1795 | -0.51581 | 1.1796 | 0.51484 | 8.0477e-05 | -0.00096985 | 0.037612 | 0.0376 | 0.037612 | 0.98809 | -0.32964 | 0.98815 | -0.3301 | 17.0962
66 | 0.31793 | 0.15291 | -0.31793 | -0.15398 | 6.5582e-06 | -0.0010722 | 0.010313 | 0.010326 | 0.010326 | 0.98756 | -0.3257 | 0.98754 | -0.32552 | 4.6937
67 | 0.10319 | 0.043525 | -0.10318 | -0.048009 | 2.8045e-06 | -0.0044841 | 0.0032751 | 0.0033282 | 0.0033282 | 0.98712 | -0.32257 | 0.9871 | -0.32237 | 1.5128
68 | 0.10318 | 0.048009 | -0.10318 | -0.049974 | 1.2584e-06 | -0.0019648 | 0.0033282 | 0.0033529 | 0.0033529 | 0.9871 | -0.32237 | 0.98709 | -0.32227 | 1.524
69 | -0.1877 | -0.090908 | 0.1877 | 0.090825 | 1.7489e-07 | -8.266e-05 | 0.0060852 | 0.0060841 | 0.0060852 | 0.98937 | -0.3203 | 0.98938 | -0.32031 | 2.766
70 | 0.38763 | 0.1855 | -0.38758 | -0.18567 | 4.8432e-05 | -0.00017166 | 0.012538 | 0.012541 | 0.012541 | 0.98939 | -0.31984 | 0.98926 | -0.3207 | 5.9718
71 | 0.11677 | 0.054513 | -0.11677 | -0.055874 | 1.1047e-06 | -0.0013608 | 0.0037604 | 0.0037774 | 0.0037774 | 0.98926 | -0.3207 | 0.98925 | -0.32062 | 1.717
72 | -0.11675 | -0.056546 | 0.11677 | 0.055874 | 1.4859e-05 | -0.0006719 | 0.003786 | 0.0037774 | 0.003786 | 0.98912 | -0.32148 | 0.98925 | -0.32062 | 1.8029
73 | -0.22439 | -0.10868 | 0.22441 | 0.10853 | 1.3052e-05 | -0.00015203 | 0.0072929 | 0.0072908 | 0.0072929 | 0.98692 | -0.57037 | 0.98698 | -0.56998 | 3.4728
74 | -0.59022 | -0.2857 | 0.59029 | 0.2823 | 7.1935e-05 | -0.0033938 | 0.019179 | 0.019136 | 0.019179 | 0.98698 | -0.56998 | 0.98709 | -0.57103 | 8.7178
75 | -0.59029 | -0.2823 | 0.59044 | 0.27533 | 0.00014673 | -0.0069729 | 0.019136 | 0.019048 | 0.019136 | 0.98709 | -0.57103 | 0.98732 | -0.57308 | 8.6981
76 | -0.59044 | -0.27533 | 0.59044 | 0.27502 | 6.487e-06 | -0.00030984 | 0.019048 | 0.019044 | 0.019048 | 0.98732 | -0.57308 | 0.98733 | -0.57316 | 8.6582
77 | -0.98711 | -0.46714 | 0.98718 | 0.46605 | 6.4868e-05 | -0.0010906 | 0.03193 | 0.031916 | 0.03193 | 0.98733 | -0.57316 | 0.98739 | -0.57371 | 14.5136
78 | -0.41213 | -0.1996 | 0.41215 | 0.19953 | 2.3553e-05 | -7.1077e-05 | 0.013389 | 0.013388 | 0.013389 | 0.98732 | -0.57772 | 0.98738 | -0.57735 | 6.3756
79 | -0.41215 | -0.19953 | 0.41225 | 0.19924 | 9.6443e-05 | -0.0002913 | 0.013388 | 0.013383 | 0.013388 | 0.98738 | -0.57735 | 0.98762 | -0.5758 | 6.3751
80 | -1.3997 | -0.661 | 1.3999 | 0.66108 | 0.00025553 | 7.8456e-05 | 0.045244 | 0.045243 | 0.045244 | 0.98762 | -0.5758 | 0.98782 | -0.57448 | 21.5449
81 | 0.98743 | 0.46176 | -0.98718 | -0.46605 | 0.00025411 | -0.0042827 | 0.031862 | 0.031916 | 0.031916 | 0.98762 | -0.5758 | 0.98739 | -0.57371 | 14.5073

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 15.2111 | 7.075

## res_load
| p_mw | q_mvar
0 | 0.2099 | 0.10166
1 | 0.22275 | 0.10788
2 | 0.066362 | 0.032141
3 | 0.2082 | 0.10084
4 | 0.28649 | 0.13875
5 | 0.1632 | 0.07904
6 | 0.39974 | 0.1936
7 | 0.28553 | 0.13829
8 | 0.37935 | 0.18373
9 | 0.38116 | 0.18461
10 | 0.30445 | 0.14745
11 | 0.36424 | 0.17641
12 | 0.18643 | 0.090291
13 | 0.2314 | 0.11207
14 | 0.12149 | 0.058839
15 | 0.27279 | 0.13212
16 | 0.17762 | 0.086024
17 | 0.36153 | 0.17509
18 | 0.31042 | 0.15034
19 | 1.2908 | 0.62517
20 | 0.97958 | 0.47443
21 | 0.36636 | 0.17744
22 | 1.1046 | 0.53499
23 | 0.55335 | 0.268
24 | 0.16807 | 0.081398
25 | 0.16226 | 0.078584
26 | 0.079145 | 0.038332
27 | 0.081066 | 0.039262
28 | 0.40494 | 0.19612
29 | 0.16539 | 0.0801
30 | 0.99841 | 0.48355
31 | 0.18665 | 0.090398
32 | 0.31793 | 0.15398
33 | 0.080156 | 0.038821
34 | 0.1877 | 0.090908
35 | 0.27081 | 0.13116
36 | 0.11675 | 0.056546
37 | 0.10318 | 0.049974
38 | 0.22439 | 0.10868
39 | 0.36581 | 0.17717
40 | 0.39667 | 0.19212
41 | 0.41213 | 0.1996
42 | 1.1273 | 0.54598

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1