## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_405_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_405_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_405_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_405_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_405_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_405_0_node_6 | 20 | n |  | TRUE
6 | bus_MV_405_0_node_7 | 20 | n |  | TRUE
7 | bus_MV_405_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_405_0_node_172 | 20 | n |  | TRUE
9 | bus_MV_405_0_node_9 | 20 | n |  | TRUE
10 | bus_MV_405_0_node_171 | 20 | n |  | TRUE
11 | bus_MV_405_0_node_11 | 20 | n |  | TRUE
12 | bus_MV_405_0_node_179 | 20 | n |  | TRUE
13 | bus_MV_405_0_node_68 | 20 | n |  | TRUE
14 | bus_MV_405_0_node_10 | 20 | n |  | TRUE
15 | bus_MV_405_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_405_0_node_49 | 20 | n |  | TRUE
17 | bus_MV_405_0_node_50 | 20 | n |  | TRUE
18 | bus_MV_405_0_node_175 | 20 | n |  | TRUE
19 | bus_MV_405_0_node_22 | 20 | n |  | TRUE
20 | bus_MV_405_0_node_23 | 20 | n |  | TRUE
21 | bus_MV_405_0_node_24 | 20 | n |  | TRUE
22 | bus_MV_405_0_node_27 | 20 | n |  | TRUE
23 | bus_MV_405_0_node_139 | 20 | n |  | TRUE
24 | bus_MV_405_0_node_191 | 20 | n |  | TRUE
25 | bus_MV_405_0_node_25 | 20 | n |  | TRUE
26 | bus_MV_405_0_node_29 | 20 | n |  | TRUE
27 | bus_MV_405_0_node_34 | 20 | n |  | TRUE
28 | bus_MV_405_0_node_35 | 20 | n |  | TRUE
29 | bus_MV_405_0_node_40 | 20 | n |  | TRUE
30 | bus_MV_405_0_node_26 | 20 | n |  | TRUE
31 | bus_MV_405_0_node_31 | 20 | n |  | TRUE
32 | bus_MV_405_0_node_136 | 20 | n |  | TRUE
33 | bus_MV_405_0_node_36 | 20 | n |  | TRUE
34 | bus_MV_405_0_node_28 | 20 | n |  | TRUE
35 | bus_MV_405_0_node_135 | 20 | n |  | TRUE
36 | bus_MV_405_0_node_30 | 20 | n |  | TRUE
37 | bus_MV_405_0_node_204 | 20 | n |  | TRUE
38 | bus_MV_405_0_node_32 | 20 | n |  | TRUE
39 | bus_MV_405_0_node_134 | 20 | n |  | TRUE
40 | bus_MV_405_0_node_37 | 20 | n |  | TRUE
41 | bus_MV_405_0_node_203 | 20 | n |  | TRUE
42 | bus_MV_405_0_node_33 | 20 | n |  | TRUE
43 | bus_MV_405_0_node_133 | 20 | n |  | TRUE
44 | bus_MV_405_0_node_140 | 20 | n |  | TRUE
45 | bus_MV_405_0_node_81 | 20 | n |  | TRUE
46 | bus_MV_405_0_node_137 | 20 | n |  | TRUE
47 | bus_MV_405_0_node_38 | 20 | n |  | TRUE
48 | bus_MV_405_0_node_41 | 20 | n |  | TRUE
49 | bus_MV_405_0_node_168 | 20 | n |  | TRUE
50 | bus_MV_405_0_node_39 | 20 | n |  | TRUE
51 | bus_MV_405_0_node_42 | 20 | n |  | TRUE
52 | bus_MV_405_0_node_47 | 20 | n |  | TRUE
53 | bus_MV_405_0_node_64 | 20 | n |  | TRUE
54 | bus_MV_405_0_node_65 | 20 | n |  | TRUE
55 | bus_MV_405_0_node_66 | 20 | n |  | TRUE
56 | bus_MV_405_0_node_169 | 20 | n |  | TRUE
57 | bus_MV_405_0_node_187 | 20 | n |  | TRUE
58 | bus_MV_405_0_node_43 | 20 | n |  | TRUE
59 | bus_MV_405_0_node_44 | 20 | n |  | TRUE
60 | bus_MV_405_0_node_45 | 20 | n |  | TRUE
61 | bus_MV_405_0_node_46 | 20 | n |  | TRUE
62 | bus_MV_405_0_node_67 | 20 | n |  | TRUE
63 | bus_MV_405_0_node_52 | 20 | n |  | TRUE
64 | bus_MV_405_0_node_54 | 20 | n |  | TRUE
65 | bus_MV_405_0_node_53 | 20 | n |  | TRUE
66 | bus_MV_405_0_node_71 | 20 | n |  | TRUE
67 | bus_MV_405_0_node_72 | 20 | n |  | TRUE
68 | bus_MV_405_0_node_181 | 20 | n |  | TRUE
69 | bus_MV_405_0_node_212 | 20 | n |  | TRUE
70 | bus_MV_405_0_node_198 | 20 | n |  | TRUE
71 | bus_MV_405_0_node_194 | 20 | n |  | TRUE
72 | bus_MV_405_0_node_51 | 20 | n |  | TRUE
73 | bus_MV_405_0_node_170 | 20 | n |  | TRUE
74 | bus_MV_405_0_node_55 | 20 | n |  | TRUE
75 | bus_MV_405_0_node_56 | 20 | n |  | TRUE
76 | bus_MV_405_0_node_58 | 20 | n |  | TRUE
77 | bus_MV_405_0_node_59 | 20 | n |  | TRUE
78 | bus_MV_405_0_node_57 | 20 | n |  | TRUE
79 | bus_MV_405_0_node_62 | 20 | n |  | TRUE
80 | bus_MV_405_0_node_61 | 20 | n |  | TRUE
81 | bus_MV_405_0_node_60 | 20 | n |  | TRUE
82 | bus_MV_405_0_node_186 | 20 | n |  | TRUE
83 | bus_MV_405_0_node_63 | 20 | n |  | TRUE
84 | bus_MV_405_0_node_69 | 20 | n |  | TRUE
85 | bus_MV_405_0_node_188 | 20 | n |  | TRUE
86 | bus_MV_405_0_node_213 | 20 | n |  | TRUE
87 | bus_MV_405_0_node_73 | 20 | n |  | TRUE
88 | bus_MV_405_0_node_197 | 20 | n |  | TRUE
89 | bus_MV_405_0_node_79 | 20 | n |  | TRUE
90 | bus_MV_405_0_node_196 | 20 | n |  | TRUE
91 | bus_MV_405_0_node_80 | 20 | n |  | TRUE
92 | bus_MV_405_0_node_199 | 20 | n |  | TRUE
93 | bus_MV_405_0_node_76 | 20 | n |  | TRUE
94 | bus_MV_405_0_node_77 | 20 | n |  | TRUE
95 | bus_MV_405_0_node_78 | 20 | n |  | TRUE
96 | bus_MV_405_0_node_211 | 20 | n |  | TRUE
97 | bus_MV_405_0_node_202 | 20 | n |  | TRUE
98 | bus_MV_405_0_node_138 | 20 | n |  | TRUE
99 | bus_MV_405_0_node_190 | 20 | n |  | TRUE
100 | bus_HV_405_0_node_61 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_405_0_load_0 | 0 | 0.14847 | 0.071908 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_405_0_load_4 | 4 | 0.17389 | 0.084221 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_405_0_load_7 | 6 | 0.26816 | 0.12987 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_405_0_load_172 | 8 | 0.081229 | 0.039341 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_405_0_load_9 | 9 | 0.23326 | 0.11297 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_405_0_load_179 | 12 | 0.30452 | 0.14748 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_405_0_load_10 | 14 | 0.2404 | 0.11643 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_405_0_load_49 | 16 | 0.25787 | 0.12489 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_405_0_load_175 | 18 | 0.28673 | 0.13887 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_405_0_load_22 | 19 | 0.31889 | 0.15445 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_405_0_load_139 | 23 | 0.07098 | 0.034377 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_405_0_load_191 | 24 | 0.32923 | 0.15945 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_405_0_load_35 | 28 | 0.17811 | 0.086263 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_405_0_load_136 | 32 | 0.088435 | 0.042831 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_405_0_load_36 | 33 | 0.16823 | 0.081475 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_405_0_load_135 | 35 | 0.089817 | 0.0435 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_405_0_load_204 | 37 | 0.33804 | 0.16372 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_405_0_load_134 | 39 | 0.086387 | 0.041839 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_405_0_load_37 | 40 | 0.20094 | 0.097319 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_405_0_load_203 | 41 | 0.40778 | 0.1975 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_405_0_load_133 | 43 | 0.081231 | 0.039342 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_405_0_load_140 | 44 | 0.069284 | 0.033556 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_405_0_load_81 | 45 | 0.1972 | 0.095509 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_405_0_load_41 | 48 | 0.40121 | 0.19431 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_405_0_load_168 | 49 | 0.2696 | 0.13057 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_405_0_load_47 | 52 | 0.30777 | 0.14906 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_405_0_load_64 | 53 | 0.37299 | 0.18065 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_405_0_load_43 | 58 | 0.17653 | 0.085496 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_405_0_load_67 | 62 | 0.29308 | 0.14194 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_405_0_load_52 | 63 | 0.15479 | 0.074969 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_405_0_load_53 | 65 | 0.18609 | 0.09013 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_405_0_load_71 | 66 | 0.050971 | 0.024686 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_405_0_load_181 | 68 | 0.060176 | 0.029145 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_405_0_load_212 | 69 | 0.07562 | 0.036625 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_405_0_load_194 | 71 | 0.16013 | 0.077557 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_405_0_load_170 | 73 | 0.35077 | 0.16988 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_405_0_load_55 | 74 | 0.39004 | 0.18891 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_405_0_load_61 | 80 | 0.17584 | 0.085165 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_405_0_load_60 | 81 | 0.23018 | 0.11148 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_405_0_load_186 | 82 | 0.19506 | 0.094471 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_405_0_load_63 | 83 | 0.21743 | 0.10531 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_405_0_load_69 | 84 | 0.065877 | 0.031906 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_405_0_load_188 | 85 | 0.14391 | 0.069701 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_405_0_load_73 | 87 | 0.076953 | 0.03727 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_405_0_load_196 | 90 | 0.30309 | 0.14679 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_405_0_load_199 | 92 | 0.13515 | 0.065458 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_405_0_load_76 | 93 | 0.18019 | 0.087272 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_405_0_load_211 | 96 | 0.34633 | 0.16773 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_405_0_load_202 | 97 | 0.31274 | 0.15147 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_405_0_load_190 | 99 | 0.39182 | 0.18977 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_405_0_line_0 |  | 0 | 1 | 0.01935 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_405_0_line_1 |  | 1 | 2 | 0.32737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_405_0_line_2 |  | 1 | 3 | 0.15581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_405_0_line_3 |  | 2 | 4 | 0.056912 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_405_0_line_4 |  | 2 | 5 | 0.4442 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_405_0_line_5 |  | 3 | 6 | 0.012903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_405_0_line_6 |  | 4 | 7 | 0.03141 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_405_0_line_7 |  | 5 | 9 | 0.16896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_405_0_line_8 |  | 7 | 8 | 1.6328 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_405_0_line_9 |  | 8 | 10 | 0.007777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_405_0_line_10 |  | 10 | 11 | 0.95917 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_405_0_line_11 |  | 11 | 15 | 0.62217 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_405_0_line_12 |  | 11 | 16 | 1.1299 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_405_0_line_13 |  | 11 | 14 | 0.018609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_405_0_line_14 |  | 12 | 13 | 1.5719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_405_0_line_15 |  | 13 | 62 | 0.09372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_405_0_line_16 |  | 13 | 84 | 0.95519 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_405_0_line_17 |  | 15 | 18 | 0.12099 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_405_0_line_18 |  | 16 | 17 | 0.053895 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_405_0_line_19 |  | 17 | 72 | 0.13741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_405_0_line_20 |  | 19 | 20 | 0.011066 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_405_0_line_21 |  | 20 | 21 | 0.12876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_405_0_line_22 |  | 20 | 22 | 0.39171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_405_0_line_23 |  | 21 | 23 | 0.023417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_405_0_line_24 |  | 21 | 24 | 0.39925 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_405_0_line_25 |  | 22 | 27 | 0.34595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_405_0_line_26 |  | 22 | 33 | 0.013916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_405_0_line_27 |  | 22 | 30 | 0.19343 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_405_0_line_28 |  | 25 | 26 | 0.36777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_405_0_line_29 |  | 25 | 27 | 0.17776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_405_0_line_30 |  | 25 | 28 | 0.024621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_405_0_line_31 |  | 25 | 29 | 0.57736 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_405_0_line_32 |  | 26 | 36 | 0.18375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_405_0_line_33 |  | 26 | 37 | 0.017026 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_405_0_line_34 |  | 27 | 44 | 0.027329 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_405_0_line_35 |  | 27 | 42 | 0.077518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_405_0_line_36 |  | 29 | 45 | 0.04577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_405_0_line_37 |  | 30 | 31 | 0.2575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_405_0_line_38 |  | 30 | 32 | 0.032717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_405_0_line_39 |  | 31 | 40 | 0.034663 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_405_0_line_40 |  | 31 | 34 | 0.23832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_405_0_line_41 |  | 32 | 46 | 0.02621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_405_0_line_42 |  | 34 | 35 | 0.0033021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_405_0_line_43 |  | 36 | 38 | 0.48383 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_405_0_line_44 |  | 36 | 39 | 0.079466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_405_0_line_45 |  | 38 | 41 | 0.043959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_405_0_line_46 |  | 40 | 47 | 0.12883 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_405_0_line_47 |  | 40 | 48 | 0.58468 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_405_0_line_48 |  | 42 | 43 | 0.021786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_405_0_line_49 |  | 46 | 98 | 0.032177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_405_0_line_50 |  | 47 | 49 | 1.8662 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
51 | MV_405_0_line_51 |  | 48 | 50 | 0.028136 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_405_0_line_52 |  | 49 | 57 | 0.6197 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
53 | MV_405_0_line_53 |  | 49 | 55 | 0.054011 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
54 | MV_405_0_line_54 |  | 50 | 51 | 0.47215 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_405_0_line_55 |  | 51 | 52 | 0.074791 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_405_0_line_56 |  | 53 | 54 | 0.034684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_405_0_line_57 |  | 54 | 55 | 0.04364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_405_0_line_58 |  | 55 | 56 | 0.33071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_405_0_line_59 |  | 56 | 73 | 0.039333 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_405_0_line_60 |  | 57 | 85 | 0.027276 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
61 | MV_405_0_line_61 |  | 58 | 59 | 0.038902 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_405_0_line_62 |  | 59 | 60 | 1.4412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_405_0_line_63 |  | 59 | 61 | 0.8274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_405_0_line_64 |  | 60 | 63 | 0.093492 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_405_0_line_65 |  | 61 | 64 | 0.25645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_405_0_line_66 |  | 61 | 65 | 0.18113 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_405_0_line_67 |  | 63 | 66 | 1.925 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_405_0_line_68 |  | 64 | 71 | 0.057588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_405_0_line_69 |  | 66 | 67 | 0.041293 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_405_0_line_70 |  | 67 | 77 | 1.4753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_405_0_line_71 |  | 68 | 69 | 1.3295 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_405_0_line_72 |  | 68 | 70 | 2.233 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_405_0_line_73 |  | 70 | 92 | 0.1014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_405_0_line_74 |  | 70 | 88 | 0.79548 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_405_0_line_75 |  | 72 | 73 | 0.03495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_405_0_line_76 |  | 74 | 75 | 0.05876 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_405_0_line_77 |  | 75 | 76 | 0.55979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_405_0_line_78 |  | 75 | 77 | 0.51937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_405_0_line_79 |  | 76 | 81 | 0.071834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_405_0_line_80 |  | 76 | 78 | 0.33421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_405_0_line_81 |  | 77 | 82 | 0.092403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_405_0_line_82 |  | 78 | 79 | 0.30733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_405_0_line_83 |  | 78 | 80 | 0.15003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_405_0_line_84 |  | 79 | 83 | 0.074755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_405_0_line_85 |  | 79 | 84 | 1.4834 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_405_0_line_86 |  | 80 | 85 | 1.7017 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
87 | MV_405_0_line_87 |  | 82 | 86 | 2.0166 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_405_0_line_88 |  | 86 | 96 | 0.007856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_405_0_line_89 |  | 87 | 88 | 0.67794 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_405_0_line_90 |  | 88 | 90 | 0.044108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_405_0_line_91 |  | 89 | 90 | 0.053586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_405_0_line_92 |  | 89 | 91 | 0.62779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_405_0_line_93 |  | 91 | 97 | 0.010167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_405_0_line_94 |  | 91 | 94 | 0.28276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_405_0_line_95 |  | 91 | 95 | 0.45832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_405_0_line_96 |  | 93 | 94 | 0.005427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_405_0_line_97 |  | 95 | 96 | 0.12245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_405_0_line_98 |  | 98 | 99 | 0.017922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_405_0_trafo_61 | 25 MVA 110/20 kV | 100 | 80 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2594305.9381 | 1206450.441
1 | 2594294.5542 | 1206466.0495
2 | 2594524.2072 | 1206508.4324
3 | 2594204.3312 | 1206368.3507
4 | 2594574.5722 | 1206534.9337
5 | 2594856.1955 | 1206803.5502
6 | 2594205.2845 | 1206355.6317
7 | 2594602.5008 | 1206549.4604
8 | 2595847.625 | 1205493.2267
9 | 2594985.1984 | 1206913.0766
10 | 2595850.9361 | 1205486.1872
11 | 2596713.9896 | 1205067.6774
12 | 2592262.5188 | 1206136.5388
13 | 2592399.2457 | 1204570.5507
14 | 2596725.6123 | 1205082.2344
15 | 2597192.2176 | 1204815.2899
16 | 2596124.6441 | 1204103.647
17 | 2596076.5666 | 1204128.0033
18 | 2597300.5328 | 1204764.5777
19 | 2595070.4329 | 1201729.1849
20 | 2595070.7389 | 1201740.2462
21 | 2594975.9802 | 1201764.8285
22 | 2595359.6467 | 1201849.2366
23 | 2594970.0713 | 1201742.1693
24 | 2594785.8041 | 1202115.8723
25 | 2595422.2472 | 1201661.9754
26 | 2595298.7547 | 1201513.2593
27 | 2595287.5348 | 1201691.3643
28 | 2595409.2114 | 1201682.6856
29 | 2595805.8495 | 1201230.4785
30 | 2595397.6769 | 1201939.033
31 | 2595604.4055 | 1201907.7355
32 | 2595366.9904 | 1201944.7258
33 | 2595366.9127 | 1201837.3578
34 | 2595512.0812 | 1201771.3651
35 | 2595512.8093 | 1201768.146
36 | 2595210.0811 | 1201529.9398
37 | 2595288.712 | 1201527.0081
38 | 2594982.2434 | 1201577.3331
39 | 2595189.8395 | 1201589.1216
40 | 2595638.7844 | 1201912.8127
41 | 2594972.1731 | 1201620.1203
42 | 2595311.0301 | 1201636.4826
43 | 2595289.244 | 1201636.5816
44 | 2595260.2058 | 1201691.4864
45 | 2595822.4267 | 1201188.3551
46 | 2595342.1341 | 1201953.0398
47 | 2595762.7033 | 1201948.052
48 | 2596222.174 | 1201951.64
49 | 2595729.8618 | 1203813.9194
50 | 2596226.608 | 1201923.8554
51 | 2596513.2684 | 1201964.3995
52 | 2596584.1703 | 1201988.2039
53 | 2595840.0094 | 1203817.7201
54 | 2595820.8128 | 1203846.6383
55 | 2595782.6753 | 1203825.2318
56 | 2595973.8289 | 1204027.3516
57 | 2595196.0103 | 1204128.6138
58 | 2590021.5238 | 1204543.1447
59 | 2590059.2846 | 1204552.4975
60 | 2590578.3317 | 1203422.2784
61 | 2590246.9793 | 1205067.5332
62 | 2592311.7391 | 1204536.8566
63 | 2590670.9318 | 1203407.8017
64 | 2590000.1776 | 1205064.7098
65 | 2590428.0586 | 1205071.9513
66 | 2592421.4878 | 1202607.1224
67 | 2592447.5924 | 1202575.1272
68 | 2589058.1654 | 1199757.5418
69 | 2588799.8707 | 1201061.6711
70 | 2591178.0943 | 1200459.0077
71 | 2589952.1211 | 1205032.8404
72 | 2595968.4963 | 1204071.9017
73 | 2595941.4746 | 1204049.7194
74 | 2593834.2085 | 1202319.9456
75 | 2593833.2719 | 1202261.1926
76 | 2593921.2508 | 1202573.9372
77 | 2593562.0701 | 1202213.3008
78 | 2593922.0551 | 1202830.0861
79 | 2593822.9535 | 1202951.6327
80 | 2594071.5094 | 1202820.9068
81 | 2593982.1785 | 1202595.4309
82 | 2593565.9129 | 1202122.492
83 | 2593801.0039 | 1202895.5364
84 | 2593328.6972 | 1204350.2857
85 | 2595169.8497 | 1204120.642
86 | 2592884.5956 | 1200224.4947
87 | 2591810.3888 | 1199734.1097
88 | 2591932.0399 | 1200401.0455
89 | 2592025.798 | 1200429.2003
90 | 2591974.7366 | 1200412.5604
91 | 2592351.4733 | 1200376.7865
92 | 2591239.8253 | 1200539.5483
93 | 2592387.6814 | 1200108.5845
94 | 2592387.3306 | 1200113.999
95 | 2592755.7226 | 1200246.0628
96 | 2592876.8327 | 1200225.8381
97 | 2592344.6169 | 1200384.3106
98 | 2595311.7851 | 1201962.747
99 | 2595294.8422 | 1201968.7304
100 | 2594071.5094 | 1202820.9068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98011 | -0.63284 | 0.14847 | 0.071908
1 | 0.98011 | -0.63288 | 0 | 0
2 | 0.98029 | -0.6344 | 0 | 0
3 | 0.98006 | -0.63238 | 0 | 0
4 | 0.98036 | -0.63385 | 0.17389 | 0.084221
5 | 0.98009 | -0.63587 | 0 | 0
6 | 0.98006 | -0.63234 | 0.26816 | 0.12987
7 | 0.9804 | -0.63414 | 0 | 0
8 | 0.98302 | -0.61469 | 0.081229 | 0.039341
9 | 0.98004 | -0.6354 | 0.23326 | 0.11297
10 | 0.98303 | -0.61476 | 0 | 0
11 | 0.98473 | -0.60227 | 0 | 0
12 | 0.99497 | -0.018034 | 0.30452 | 0.14748
13 | 0.9959 | -0.012071 | 0 | 0
14 | 0.98472 | -0.60222 | 0.2404 | 0.11643
15 | 0.9845 | -0.60048 | 0 | 0
16 | 0.98788 | -0.57836 | 0.25787 | 0.12489
17 | 0.98805 | -0.57705 | 0 | 0
18 | 0.98446 | -0.60006 | 0.28673 | 0.13887
19 | 0.98199 | -0.84471 | 0.31889 | 0.15445
20 | 0.982 | -0.84466 | 0 | 0
21 | 0.98193 | -0.84405 | 0 | 0
22 | 0.98236 | -0.84794 | 0 | 0
23 | 0.98193 | -0.84403 | 0.07098 | 0.034377
24 | 0.98167 | -0.8457 | 0.32923 | 0.15945
25 | 0.98148 | -0.84072 | 0 | 0
26 | 0.98109 | -0.83747 | 0 | 0
27 | 0.98176 | -0.84302 | 0 | 0
28 | 0.98147 | -0.84067 | 0.17811 | 0.086263
29 | 0.98126 | -0.84222 | 0 | 0
30 | 0.98292 | -0.85256 | 0 | 0
31 | 0.98382 | -0.86011 | 0 | 0
32 | 0.9829 | -0.85237 | 0.088435 | 0.042831
33 | 0.98236 | -0.84791 | 0.16823 | 0.081475
34 | 0.9838 | -0.85989 | 0 | 0
35 | 0.9838 | -0.85988 | 0.089817 | 0.0435
36 | 0.98097 | -0.83653 | 0 | 0
37 | 0.98107 | -0.83754 | 0.33804 | 0.16372
38 | 0.98071 | -0.83429 | 0 | 0
39 | 0.98096 | -0.83645 | 0.086387 | 0.041839
40 | 0.98395 | -0.86114 | 0.20094 | 0.097319
41 | 0.98069 | -0.83407 | 0.40778 | 0.1975
42 | 0.98175 | -0.84295 | 0 | 0
43 | 0.98175 | -0.84293 | 0.081231 | 0.039342
44 | 0.98175 | -0.843 | 0.069284 | 0.033556
45 | 0.98124 | -0.84211 | 0.1972 | 0.095509
46 | 0.98289 | -0.85225 | 0 | 0
47 | 0.98488 | -0.85413 | 0 | 0
48 | 0.98314 | -0.8669 | 0.40121 | 0.19431
49 | 0.98961 | -0.58235 | 0.2696 | 0.13057
50 | 0.98312 | -0.86704 | 0 | 0
51 | 0.98294 | -0.86541 | 0 | 0
52 | 0.98289 | -0.8657 | 0.30777 | 0.14906
53 | 0.98942 | -0.58599 | 0.37299 | 0.18065
54 | 0.98943 | -0.58615 | 0 | 0
55 | 0.98945 | -0.58635 | 0 | 0
56 | 0.98859 | -0.57905 | 0 | 0
57 | 0.99231 | -0.42829 | 0 | 0
58 | 0.98956 | 0.017805 | 0.17653 | 0.085496
59 | 0.98957 | 0.017889 | 0 | 0
60 | 0.99052 | 0.012797 | 0 | 0
61 | 0.98921 | 0.020463 | 0 | 0
62 | 0.99587 | -0.011746 | 0.29308 | 0.14194
63 | 0.99058 | 0.012576 | 0.15479 | 0.074969
64 | 0.98915 | 0.020893 | 0 | 0
65 | 0.98914 | 0.020046 | 0.18609 | 0.09013
66 | 0.99301 | 0.039287 | 0.050971 | 0.024686
67 | 0.99307 | 0.039888 | 0 | 0
68 | 0.98614 | -0.0044864 | 0.060176 | 0.029145
69 | 0.98594 | -0.0058256 | 0.07562 | 0.036625
70 | 0.98673 | -0.00016641 | 0 | 0
71 | 0.98914 | 0.021003 | 0.16013 | 0.077557
72 | 0.98835 | -0.57956 | 0 | 0
73 | 0.98843 | -0.58019 | 0.35077 | 0.16988
74 | 0.99595 | 0.024959 | 0.39004 | 0.18891
75 | 0.99599 | 0.025238 | 0 | 0
76 | 0.99798 | 0.012936 | 0 | 0
77 | 0.99441 | 0.034676 | 0 | 0
78 | 0.99926 | 0.0049552 | 0 | 0
79 | 0.99891 | 0.00797 | 0 | 0
80 | 1 | 0 | -10.5838 | -4.8587
81 | 0.99796 | 0.01313 | 0.23018 | 0.11148
82 | 0.99421 | 0.036179 | 0.19506 | 0.094471
83 | 0.99889 | 0.0081606 | 0.21743 | 0.10531
84 | 0.99701 | -0.0047439 | 0.065877 | 0.031906
85 | 0.99237 | -0.42804 | 0.14391 | 0.069701
86 | 0.98844 | -0.012124 | 0 | 0
87 | 0.9869 | -0.0026667 | 0.076953 | 0.03727
88 | 0.987 | -0.0019962 | 0 | 0
89 | 0.98706 | -0.0024412 | 0 | 0
90 | 0.98702 | -0.0021089 | 0.30309 | 0.14679
91 | 0.98758 | -0.006007 | 0 | 0
92 | 0.98671 | -5.8341e-06 | 0.13515 | 0.065458
93 | 0.98752 | -0.0054332 | 0.18019 | 0.087272
94 | 0.98752 | -0.0054452 | 0 | 0
95 | 0.98825 | -0.01079 | 0 | 0
96 | 0.98843 | -0.012013 | 0.34633 | 0.16773
97 | 0.98758 | -0.0059681 | 0.31274 | 0.15147
98 | 0.98287 | -0.85209 | 0 | 0
99 | 0.98286 | -0.85201 | 0.39182 | 0.18977
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14847 | -0.071908 | 0.14847 | 0.071465 | 6.0916e-07 | -0.00044363 | 0.0048589 | 0.0048532 | 0.0048589 | 0.98011 | -0.63284 | 0.98011 | -0.63288 | 2.2086
1 | -0.41665 | -0.19748 | 0.41673 | 0.18999 | 8.0042e-05 | -0.0074861 | 0.01358 | 0.013487 | 0.01358 | 0.98011 | -0.63288 | 0.98029 | -0.6344 | 6.1728
2 | 0.26817 | 0.12601 | -0.26816 | -0.12958 | 1.5924e-05 | -0.0035688 | 0.0087271 | 0.0087724 | 0.0087724 | 0.98011 | -0.63288 | 0.98006 | -0.63238 | 3.9875
3 | -0.65004 | -0.29861 | 0.65009 | 0.29857 | 4.4995e-05 | -3.7111e-05 | 0.021066 | 0.021065 | 0.021066 | 0.98029 | -0.6344 | 0.98036 | -0.63385 | 10.0312
4 | 0.23332 | 0.10862 | -0.23327 | -0.1091 | 4.5496e-05 | -0.00048098 | 0.0075788 | 0.0075851 | 0.0075851 | 0.98029 | -0.6344 | 0.98009 | -0.63587 | 3.612
5 | 0.26816 | 0.12958 | -0.26816 | -0.12987 | 1.3262e-06 | -0.00029552 | 0.0087724 | 0.0087762 | 0.0087762 | 0.98006 | -0.63238 | 0.98006 | -0.63234 | 3.9892
6 | -0.82398 | -0.38279 | 0.82401 | 0.38208 | 3.0002e-05 | -0.00071191 | 0.026753 | 0.026744 | 0.026753 | 0.98036 | -0.63385 | 0.9804 | -0.63414 | 12.1605
7 | 0.23327 | 0.1091 | -0.23326 | -0.11297 | 1.3061e-05 | -0.0038709 | 0.0075851 | 0.0076342 | 0.0076342 | 0.98009 | -0.63587 | 0.98004 | -0.6354 | 3.4701
8 | -0.82401 | -0.38208 | 0.82609 | 0.3815 | 0.002079 | -0.00057638 | 0.026744 | 0.026721 | 0.026744 | 0.9804 | -0.63414 | 0.98302 | -0.61469 | 12.7354
9 | -0.90732 | -0.42085 | 0.90733 | 0.42067 | 8.9557e-06 | -0.00017678 | 0.029371 | 0.029369 | 0.029371 | 0.98302 | -0.61469 | 0.98303 | -0.61476 | 13.3505
10 | -0.90733 | -0.42067 | 0.9088 | 0.42048 | 0.0014733 | -0.0001856 | 0.029369 | 0.029355 | 0.029369 | 0.98303 | -0.61476 | 0.98473 | -0.60227 | 13.9852
11 | 0.28682 | 0.12169 | -0.28675 | -0.13607 | 7.0579e-05 | -0.01438 | 0.0091336 | 0.0093066 | 0.0093066 | 0.98473 | -0.60227 | 0.9845 | -0.60048 | 4.2303
12 | -1.436 | -0.65818 | 1.4403 | 0.65957 | 0.0043157 | 0.001391 | 0.046308 | 0.046292 | 0.046308 | 0.98473 | -0.60227 | 0.98788 | -0.57836 | 22.0516
13 | 0.24041 | 0.116 | -0.2404 | -0.11643 | 1.5223e-06 | -0.00043039 | 0.0078251 | 0.0078306 | 0.0078306 | 0.98473 | -0.60227 | 0.98472 | -0.60222 | 3.5594
14 | -0.30452 | -0.14748 | 0.30479 | 0.14579 | 0.00026926 | -0.0016909 | 0.0098168 | 0.0097934 | 0.0098168 | 0.99497 | -0.018034 | 0.9959 | -0.012071 | 4.6747
15 | 0.29309 | 0.13973 | -0.29308 | -0.14194 | 1.1115e-05 | -0.002216 | 0.0094115 | 0.0094394 | 0.0094394 | 0.9959 | -0.012071 | 0.99587 | -0.011746 | 4.2906
16 | -0.59787 | -0.28552 | 0.5985 | 0.28478 | 0.00062724 | -0.00073937 | 0.019205 | 0.019191 | 0.019205 | 0.9959 | -0.012071 | 0.99701 | -0.0047439 | 9.1452
17 | 0.28675 | 0.13607 | -0.28673 | -0.13887 | 1.4044e-05 | -0.0027957 | 0.0093066 | 0.0093421 | 0.0093421 | 0.9845 | -0.60048 | 0.98446 | -0.60006 | 4.2464
18 | -1.6982 | -0.78446 | 1.6985 | 0.78458 | 0.00028693 | 0.00011692 | 0.054663 | 0.054663 | 0.054663 | 0.98788 | -0.57836 | 0.98805 | -0.57705 | 26.0302
19 | -1.6985 | -0.78458 | 1.699 | 0.78154 | 0.00054772 | -0.0030413 | 0.054663 | 0.054623 | 0.054663 | 0.98805 | -0.57705 | 0.98835 | -0.57956 | 24.8467
20 | -0.31889 | -0.15445 | 0.3189 | 0.15444 | 2.139e-06 | -1.1399e-05 | 0.010416 | 0.010416 | 0.010416 | 0.98199 | -0.84471 | 0.982 | -0.84466 | 4.96
21 | 0.40032 | 0.18993 | -0.40029 | -0.19288 | 2.9249e-05 | -0.0029558 | 0.013025 | 0.013063 | 0.013063 | 0.982 | -0.84466 | 0.98193 | -0.84405 | 5.9377
22 | -0.71922 | -0.34436 | 0.7195 | 0.33543 | 0.00028595 | -0.0089373 | 0.023441 | 0.023328 | 0.023441 | 0.982 | -0.84466 | 0.98236 | -0.84794 | 10.6551
23 | 0.07098 | 0.033838 | -0.07098 | -0.034377 | 1.6756e-07 | -0.00053903 | 0.0023117 | 0.0023186 | 0.0023186 | 0.98193 | -0.84405 | 0.98193 | -0.84403 | 1.0539
24 | 0.32931 | 0.15905 | -0.32923 | -0.15945 | 8.2269e-05 | -0.0004079 | 0.010751 | 0.010757 | 0.010757 | 0.98193 | -0.84405 | 0.98167 | -0.8457 | 5.1225
25 | 1.3599 | 0.61439 | -1.359 | -0.62209 | 0.00089001 | -0.0077022 | 0.04385 | 0.043947 | 0.043947 | 0.98236 | -0.84794 | 0.98176 | -0.84302 | 19.976
26 | 0.16823 | 0.081155 | -0.16823 | -0.081475 | 5.6008e-07 | -0.00032047 | 0.0054886 | 0.0054927 | 0.0054927 | 0.98236 | -0.84794 | 0.98236 | -0.84791 | 2.4967
27 | -2.2476 | -1.031 | 2.249 | 1.0269 | 0.0013625 | -0.0040553 | 0.072665 | 0.07261 | 0.072665 | 0.98236 | -0.84794 | 0.98292 | -0.85256 | 33.0293
28 | 0.83275 | 0.37657 | -0.83239 | -0.38492 | 0.00035613 | -0.0083497 | 0.026881 | 0.026984 | 0.026984 | 0.98148 | -0.84072 | 0.98109 | -0.83747 | 12.2656
29 | -1.2081 | -0.55609 | 1.2085 | 0.55211 | 0.00036265 | -0.0039821 | 0.039117 | 0.039066 | 0.039117 | 0.98148 | -0.84072 | 0.98176 | -0.84302 | 17.7803
30 | 0.17811 | 0.085697 | -0.17811 | -0.086263 | 1.1122e-06 | -0.00056595 | 0.0058135 | 0.0058207 | 0.0058207 | 0.98148 | -0.84072 | 0.98147 | -0.84067 | 2.6458
31 | 0.19725 | 0.093821 | -0.1972 | -0.094458 | 4.2511e-05 | -0.00063718 | 0.0064243 | 0.0064327 | 0.0064327 | 0.98148 | -0.84072 | 0.98126 | -0.84222 | 3.0632
32 | 0.49435 | 0.22122 | -0.49429 | -0.22542 | 6.2494e-05 | -0.0042037 | 0.015936 | 0.015987 | 0.015987 | 0.98109 | -0.83747 | 0.98097 | -0.83653 | 7.2668
33 | 0.33804 | 0.1637 | -0.33804 | -0.16372 | 3.705e-06 | -1.7243e-05 | 0.011051 | 0.011052 | 0.011052 | 0.98109 | -0.83747 | 0.98107 | -0.83754 | 5.2627
34 | 0.069284 | 0.032927 | -0.069284 | -0.033556 | 1.8628e-07 | -0.00062887 | 0.0022556 | 0.0022636 | 0.0022636 | 0.98176 | -0.84302 | 0.98175 | -0.843 | 1.0289
35 | 0.081232 | 0.037057 | -0.081231 | -0.038841 | 7.1926e-07 | -0.0017837 | 0.0026253 | 0.0026475 | 0.0026475 | 0.98176 | -0.84302 | 0.98175 | -0.84295 | 1.2034
36 | 0.1972 | 0.094458 | -0.1972 | -0.095509 | 2.5337e-06 | -0.0010515 | 0.0064327 | 0.0064462 | 0.0064462 | 0.98126 | -0.84222 | 0.98124 | -0.84211 | 2.9301
37 | -2.7292 | -1.257 | 2.7319 | 1.2519 | 0.0026749 | -0.0051519 | 0.088248 | 0.088175 | 0.088248 | 0.98292 | -0.85256 | 0.98382 | -0.86011 | 40.1129
38 | 0.48028 | 0.23009 | -0.48027 | -0.23084 | 1.0691e-05 | -0.0007515 | 0.01564 | 0.01565 | 0.01565 | 0.98292 | -0.85256 | 0.9829 | -0.85237 | 7.1137
39 | -2.8217 | -1.2898 | 2.8221 | 1.2891 | 0.00038346 | -0.00068742 | 0.091035 | 0.091025 | 0.091035 | 0.98382 | -0.86011 | 0.98395 | -0.86114 | 41.3795
40 | 0.08982 | 0.037917 | -0.089817 | -0.043424 | 2.663e-06 | -0.0055067 | 0.0028607 | 0.0029274 | 0.0029274 | 0.98382 | -0.86011 | 0.9838 | -0.85989 | 1.3306
41 | 0.39183 | 0.18801 | -0.39183 | -0.18861 | 5.7042e-06 | -0.00060287 | 0.012764 | 0.012772 | 0.012772 | 0.9829 | -0.85237 | 0.98289 | -0.85225 | 5.8054
42 | 0.089817 | 0.043424 | -0.089817 | -0.0435 | 3.7778e-08 | -7.6296e-05 | 0.0029274 | 0.0029283 | 0.0029283 | 0.9838 | -0.85989 | 0.9838 | -0.85988 | 1.3311
43 | 0.4079 | 0.18541 | -0.40779 | -0.19649 | 0.00011346 | -0.01108 | 0.013185 | 0.013324 | 0.013324 | 0.98097 | -0.83653 | 0.98071 | -0.83429 | 6.0564
44 | 0.086388 | 0.040014 | -0.086387 | -0.041839 | 8.3949e-07 | -0.0018255 | 0.0028016 | 0.0028247 | 0.0028247 | 0.98097 | -0.83653 | 0.98096 | -0.83645 | 1.2839
45 | 0.40779 | 0.19649 | -0.40778 | -0.1975 | 1.0429e-05 | -0.0010064 | 0.013324 | 0.013337 | 0.013337 | 0.98071 | -0.83429 | 0.98069 | -0.83407 | 6.0623
46 | -3.7327 | -1.7185 | 3.736 | 1.7204 | 0.0033362 | 0.0019406 | 0.12056 | 0.12056 | 0.12056 | 0.98395 | -0.86114 | 0.98488 | -0.85413 | 57.409
47 | 0.70961 | 0.33206 | -0.70906 | -0.33239 | 0.00055058 | -0.00033035 | 0.022986 | 0.022994 | 0.022994 | 0.98395 | -0.86114 | 0.98314 | -0.8669 | 10.9495
48 | 0.081231 | 0.038841 | -0.081231 | -0.039342 | 2.0436e-07 | -0.0005013 | 0.0026475 | 0.0026539 | 0.0026539 | 0.98175 | -0.84295 | 0.98175 | -0.84293 | 1.2063
49 | 0.39183 | 0.18861 | -0.39182 | -0.18935 | 7.0122e-06 | -0.0007401 | 0.012772 | 0.012781 | 0.012781 | 0.98289 | -0.85225 | 0.98287 | -0.85209 | 5.8097
50 | -3.736 | -1.7204 | 3.7457 | 1.7439 | 0.0096803 | 0.023517 | 0.12056 | 0.12053 | 0.12056 | 0.98488 | -0.85413 | 0.98961 | -0.58235 | 18.691
51 | 0.30785 | 0.13808 | -0.30785 | -0.13811 | 4.9204e-06 | -2.9383e-05 | 0.009907 | 0.0099074 | 0.0099074 | 0.98314 | -0.8669 | 0.98312 | -0.86704 | 4.7178
52 | -6.4408 | -2.9972 | 6.4503 | 3.0219 | 0.0095001 | 0.024705 | 0.20723 | 0.20722 | 0.20723 | 0.98961 | -0.58235 | 0.99231 | -0.42829 | 32.1284
53 | 2.4255 | 1.1227 | -2.4252 | -1.1225 | 0.0003014 | 0.00027827 | 0.077965 | 0.077966 | 0.077966 | 0.98961 | -0.58235 | 0.98945 | -0.58635 | 22.2761
54 | 0.30785 | 0.13811 | -0.30779 | -0.14898 | 6.2704e-05 | -0.010875 | 0.0099074 | 0.010043 | 0.010043 | 0.98312 | -0.86704 | 0.98294 | -0.86541 | 4.5648
55 | 0.30779 | 0.14898 | -0.30777 | -0.14906 | 1.3441e-05 | -7.7842e-05 | 0.010043 | 0.010044 | 0.010044 | 0.98294 | -0.86541 | 0.98289 | -0.8657 | 4.7827
56 | -0.37299 | -0.18065 | 0.37299 | 0.17984 | 6.764e-06 | -0.00080869 | 0.012092 | 0.012081 | 0.012092 | 0.98942 | -0.58599 | 0.98943 | -0.58615 | 5.4962
57 | -0.37299 | -0.17984 | 0.373 | 0.17882 | 8.4943e-06 | -0.0010175 | 0.012081 | 0.012068 | 0.012081 | 0.98943 | -0.58615 | 0.98945 | -0.58635 | 5.4915
58 | 2.0522 | 0.94364 | -2.0503 | -0.95079 | 0.0019201 | -0.0071542 | 0.065899 | 0.065994 | 0.065994 | 0.98945 | -0.58635 | 0.98859 | -0.57905 | 29.9971
59 | 2.0503 | 0.95079 | -2.05 | -0.95065 | 0.00030521 | 0.00014529 | 0.065994 | 0.065994 | 0.065994 | 0.98859 | -0.57905 | 0.98843 | -0.58019 | 31.4258
60 | -6.4503 | -3.0219 | 6.4506 | 3.0205 | 0.00036187 | -0.0014839 | 0.20722 | 0.2072 | 0.20722 | 0.99231 | -0.42829 | 0.99237 | -0.42804 | 32.4793
61 | -0.17653 | -0.085496 | 0.17653 | 0.085452 | 2.269e-06 | -4.4056e-05 | 0.0057219 | 0.0057213 | 0.0057219 | 0.98956 | 0.017805 | 0.98957 | 0.017889 | 2.7247
62 | -0.52292 | -0.2263 | 0.52344 | 0.19273 | 0.00051953 | -0.033573 | 0.016622 | 0.016256 | 0.016622 | 0.98957 | 0.017889 | 0.99052 | 0.012797 | 7.5553
63 | 0.34639 | 0.14085 | -0.34625 | -0.16015 | 0.00013408 | -0.019298 | 0.010908 | 0.011133 | 0.011133 | 0.98957 | 0.017889 | 0.98921 | 0.020463 | 5.0605
64 | -0.52344 | -0.19273 | 0.52347 | 0.19055 | 3.2938e-05 | -0.0021805 | 0.016256 | 0.016234 | 0.016256 | 0.99052 | 0.012797 | 0.99058 | 0.012576 | 7.3892
65 | 0.16015 | 0.070224 | -0.16014 | -0.076212 | 9.0406e-06 | -0.0059885 | 0.005103 | 0.0051757 | 0.0051757 | 0.98921 | 0.020463 | 0.98915 | 0.020893 | 2.3526
66 | 0.18611 | 0.089926 | -0.18609 | -0.09013 | 1.1747e-05 | -0.00020422 | 0.0060318 | 0.0060345 | 0.0060345 | 0.98921 | 0.020463 | 0.98914 | 0.020046 | 2.8736
67 | -0.67826 | -0.26552 | 0.6798 | 0.26422 | 0.0015436 | -0.0012937 | 0.021226 | 0.021203 | 0.021226 | 0.99058 | 0.012576 | 0.99301 | 0.039287 | 10.1078
68 | 0.16014 | 0.076212 | -0.16013 | -0.077557 | 2.0662e-06 | -0.0013447 | 0.0051757 | 0.0051927 | 0.0051927 | 0.98915 | 0.020893 | 0.98914 | 0.021003 | 2.3603
69 | -0.73077 | -0.28891 | 0.73081 | 0.28889 | 3.8393e-05 | -2.4565e-05 | 0.022844 | 0.022843 | 0.022844 | 0.99301 | 0.039287 | 0.99307 | 0.039888 | 10.8781
70 | -0.73081 | -0.28889 | 0.73182 | 0.2544 | 0.0010115 | -0.034484 | 0.022843 | 0.022492 | 0.022843 | 0.99307 | 0.039888 | 0.99441 | 0.034676 | 10.3834
71 | 0.075634 | 0.03509 | -0.07562 | -0.036625 | 1.4222e-05 | -0.0015342 | 0.0024408 | 0.0024601 | 0.0024601 | 0.98614 | -0.0044864 | 0.98594 | -0.0058256 | 1.1715
72 | -0.13581 | -0.064235 | 0.13589 | 0.061689 | 7.6387e-05 | -0.002546 | 0.0043979 | 0.004366 | 0.0043979 | 0.98614 | -0.0044864 | 0.98673 | -0.00016641 | 2.0942
73 | 0.13516 | 0.063101 | -0.13515 | -0.065458 | 2.5952e-06 | -0.0023563 | 0.0043638 | 0.0043934 | 0.0043934 | 0.98673 | -0.00016641 | 0.98671 | -5.8341e-06 | 1.997
74 | -0.27104 | -0.12479 | 0.27112 | 0.10632 | 7.8909e-05 | -0.018474 | 0.0087297 | 0.0085176 | 0.0087297 | 0.98673 | -0.00016641 | 0.987 | -0.0019962 | 3.968
75 | -1.699 | -0.78154 | 1.6992 | 0.78076 | 0.00013919 | -0.00077392 | 0.054623 | 0.054614 | 0.054623 | 0.98835 | -0.57956 | 0.98843 | -0.58019 | 24.8289
76 | -0.39004 | -0.18891 | 0.39006 | 0.18885 | 1.6519e-05 | -5.9238e-05 | 0.012562 | 0.012561 | 0.012562 | 0.99595 | 0.024959 | 0.99599 | 0.025238 | 5.9817
77 | -2.8214 | -1.1862 | 2.8272 | 1.1747 | 0.0058708 | -0.011544 | 0.088708 | 0.088559 | 0.088708 | 0.99599 | 0.025238 | 0.99798 | 0.012936 | 40.3217
78 | 2.4313 | 0.9974 | -2.4273 | -1.0085 | 0.0040297 | -0.011087 | 0.076167 | 0.076303 | 0.076303 | 0.99599 | 0.025238 | 0.99441 | 0.034676 | 34.6834
79 | 0.23019 | 0.10978 | -0.23018 | -0.11148 | 5.2337e-06 | -0.0017066 | 0.0073769 | 0.0073983 | 0.0073983 | 0.99798 | 0.012936 | 0.99796 | 0.01313 | 3.3628
80 | -3.0574 | -1.2845 | 3.0615 | 1.2777 | 0.0041018 | -0.0067408 | 0.095927 | 0.095838 | 0.095927 | 0.99798 | 0.012936 | 0.99926 | 0.0049552 | 43.6033
81 | 1.6955 | 0.75409 | -1.6951 | -0.75616 | 0.00035812 | -0.002075 | 0.053868 | 0.053893 | 0.053893 | 0.99441 | 0.034676 | 0.99421 | 0.036179 | 24.497
82 | 0.88334 | 0.41197 | -0.88301 | -0.4192 | 0.00032634 | -0.0072277 | 0.028158 | 0.028248 | 0.028248 | 0.99926 | 0.0049552 | 0.99891 | 0.00797 | 12.8399
83 | -3.9449 | -1.6897 | 3.948 | 1.687 | 0.0030776 | -0.0026666 | 0.12398 | 0.12394 | 0.12398 | 0.99926 | 0.0049552 | 1 | 0 | 56.3535
84 | 0.21744 | 0.10353 | -0.21743 | -0.10531 | 4.8492e-06 | -0.0017795 | 0.0069596 | 0.0069819 | 0.0069819 | 0.99891 | 0.00797 | 0.99889 | 0.0081606 | 3.1736
85 | 0.66558 | 0.31567 | -0.66438 | -0.31669 | 0.001199 | -0.0010127 | 0.021288 | 0.02131 | 0.02131 | 0.99891 | 0.00797 | 0.99701 | -0.0047439 | 10.1477
86 | 6.6218 | 3.1611 | -6.5945 | -3.0902 | 0.027261 | 0.070971 | 0.21182 | 0.21185 | 0.21185 | 1 | 0 | 0.99237 | -0.42804 | 32.8447
87 | 1.5 | 0.66169 | -1.4919 | -0.65895 | 0.0081469 | 0.0027371 | 0.047604 | 0.047632 | 0.047632 | 0.99421 | 0.036179 | 0.98844 | -0.012124 | 22.6818
88 | 1.4919 | 0.65895 | -1.4919 | -0.65913 | 2.3796e-05 | -0.0001762 | 0.047632 | 0.047634 | 0.047634 | 0.98844 | -0.012124 | 0.98843 | -0.012013 | 21.6518
89 | -0.076953 | -0.03727 | 0.07696 | 0.036486 | 7.5253e-06 | -0.00078363 | 0.002501 | 0.0024911 | 0.002501 | 0.9869 | -0.0026667 | 0.987 | -0.0019962 | 1.191
90 | -0.34808 | -0.1428 | 0.34809 | 0.14178 | 7.1229e-06 | -0.0010238 | 0.011004 | 0.010993 | 0.011004 | 0.987 | -0.0019962 | 0.98702 | -0.0021089 | 5.0018
91 | 0.65121 | 0.28733 | -0.65118 | -0.28857 | 3.1021e-05 | -0.0012373 | 0.020817 | 0.020831 | 0.020831 | 0.98706 | -0.0024412 | 0.98702 | -0.0021089 | 9.4688
92 | -0.65121 | -0.28733 | 0.65157 | 0.27283 | 0.00036021 | -0.014505 | 0.020817 | 0.020648 | 0.020817 | 0.98706 | -0.0024412 | 0.98758 | -0.006007 | 9.4621
93 | 0.31274 | 0.15123 | -0.31274 | -0.15147 | 1.3999e-06 | -0.00023634 | 0.010154 | 0.010157 | 0.010157 | 0.98758 | -0.006007 | 0.98758 | -0.0059681 | 4.6169
94 | 0.18021 | 0.080565 | -0.18019 | -0.087145 | 1.2742e-05 | -0.0065803 | 0.00577 | 0.0058511 | 0.0058511 | 0.98758 | -0.006007 | 0.98752 | -0.0054452 | 2.6596
95 | -1.1445 | -0.50462 | 1.1453 | 0.49419 | 0.00081513 | -0.010438 | 0.036562 | 0.036437 | 0.036562 | 0.98758 | -0.006007 | 0.98825 | -0.01079 | 16.6192
96 | -0.18019 | -0.087272 | 0.18019 | 0.087145 | 2.481e-07 | -0.00012629 | 0.0058528 | 0.0058511 | 0.0058528 | 0.98752 | -0.0054332 | 0.98752 | -0.0054452 | 2.6603
97 | -1.1453 | -0.49419 | 1.1455 | 0.49139 | 0.00021684 | -0.0027916 | 0.036437 | 0.036404 | 0.036437 | 0.98825 | -0.01079 | 0.98843 | -0.012013 | 16.5624
98 | 0.39182 | 0.18935 | -0.39182 | -0.18977 | 3.9102e-06 | -0.00041221 | 0.012781 | 0.012787 | 0.012787 | 0.98287 | -0.85209 | 0.98286 | -0.85201 | 5.8121

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.7596 | 4.9438

## res_load
| p_mw | q_mvar
0 | 0.14847 | 0.071908
1 | 0.17389 | 0.084221
2 | 0.26816 | 0.12987
3 | 0.081229 | 0.039341
4 | 0.23326 | 0.11297
5 | 0.30452 | 0.14748
6 | 0.2404 | 0.11643
7 | 0.25787 | 0.12489
8 | 0.28673 | 0.13887
9 | 0.31889 | 0.15445
10 | 0.07098 | 0.034377
11 | 0.32923 | 0.15945
12 | 0.17811 | 0.086263
13 | 0.088435 | 0.042831
14 | 0.16823 | 0.081475
15 | 0.089817 | 0.0435
16 | 0.33804 | 0.16372
17 | 0.086387 | 0.041839
18 | 0.20094 | 0.097319
19 | 0.40778 | 0.1975
20 | 0.081231 | 0.039342
21 | 0.069284 | 0.033556
22 | 0.1972 | 0.095509
23 | 0.40121 | 0.19431
24 | 0.2696 | 0.13057
25 | 0.30777 | 0.14906
26 | 0.37299 | 0.18065
27 | 0.17653 | 0.085496
28 | 0.29308 | 0.14194
29 | 0.15479 | 0.074969
30 | 0.18609 | 0.09013
31 | 0.050971 | 0.024686
32 | 0.060176 | 0.029145
33 | 0.07562 | 0.036625
34 | 0.16013 | 0.077557
35 | 0.35077 | 0.16988
36 | 0.39004 | 0.18891
37 | 0.17584 | 0.085165
38 | 0.23018 | 0.11148
39 | 0.19506 | 0.094471
40 | 0.21743 | 0.10531
41 | 0.065877 | 0.031906
42 | 0.14391 | 0.069701
43 | 0.076953 | 0.03727
44 | 0.30309 | 0.14679
45 | 0.13515 | 0.065458
46 | 0.18019 | 0.087272
47 | 0.34633 | 0.16773
48 | 0.31274 | 0.15147
49 | 0.39182 | 0.18977

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1