## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_409_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_409_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_409_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_409_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_409_0_node_7 | 20 | n |  | TRUE
5 | bus_MV_409_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_409_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_409_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_409_0_node_185 | 20 | n |  | TRUE
9 | bus_MV_409_0_node_188 | 20 | n |  | TRUE
10 | bus_MV_409_0_node_183 | 20 | n |  | TRUE
11 | bus_MV_409_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_409_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_409_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_409_0_node_17 | 20 | n |  | TRUE
15 | bus_MV_409_0_node_11 | 20 | n |  | TRUE
16 | bus_MV_409_0_node_13 | 20 | n |  | TRUE
17 | bus_MV_409_0_node_12 | 20 | n |  | TRUE
18 | bus_MV_409_0_node_24 | 20 | n |  | TRUE
19 | bus_MV_409_0_node_20 | 20 | n |  | TRUE
20 | bus_MV_409_0_node_15 | 20 | n |  | TRUE
21 | bus_MV_409_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_409_0_node_25 | 20 | n |  | TRUE
23 | bus_MV_409_0_node_23 | 20 | n |  | TRUE
24 | bus_MV_409_0_node_22 | 20 | n |  | TRUE
25 | bus_MV_409_0_node_18 | 20 | n |  | TRUE
26 | bus_MV_409_0_node_19 | 20 | n |  | TRUE
27 | bus_MV_409_0_node_21 | 20 | n |  | TRUE
28 | bus_MV_409_0_node_189 | 20 | n |  | TRUE
29 | bus_MV_409_0_node_187 | 20 | n |  | TRUE
30 | bus_MV_409_0_node_26 | 20 | n |  | TRUE
31 | bus_MV_409_0_node_168 | 20 | n |  | TRUE
32 | bus_MV_409_0_node_169 | 20 | n |  | TRUE
33 | bus_MV_409_0_node_172 | 20 | n |  | TRUE
34 | bus_MV_409_0_node_171 | 20 | n |  | TRUE
35 | bus_MV_409_0_node_170 | 20 | n |  | TRUE
36 | bus_MV_409_0_node_173 | 20 | n |  | TRUE
37 | bus_MV_409_0_node_214 | 20 | n |  | TRUE
38 | bus_MV_409_0_node_180 | 20 | n |  | TRUE
39 | bus_MV_409_0_node_174 | 20 | n |  | TRUE
40 | bus_MV_409_0_node_175 | 20 | n |  | TRUE
41 | bus_MV_409_0_node_176 | 20 | n |  | TRUE
42 | bus_MV_409_0_node_177 | 20 | n |  | TRUE
43 | bus_MV_409_0_node_178 | 20 | n |  | TRUE
44 | bus_MV_409_0_node_179 | 20 | n |  | TRUE
45 | bus_MV_409_0_node_181 | 20 | n |  | TRUE
46 | bus_MV_409_0_node_186 | 20 | n |  | TRUE
47 | bus_MV_409_0_node_182 | 20 | n |  | TRUE
48 | bus_MV_409_0_node_184 | 20 | n |  | TRUE
49 | bus_MV_409_0_node_221 | 20 | n |  | TRUE
50 | bus_MV_409_0_node_222 | 20 | n |  | TRUE
51 | bus_HV_409_0_node_187 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_409_0_load_0 | 0 | 0.30338 | 0.14693 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_409_0_load_7 | 4 | 0.16173 | 0.078331 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_409_0_load_6 | 6 | 0.2404 | 0.11643 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_409_0_load_188 | 9 | 0.25861 | 0.12525 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_409_0_load_183 | 10 | 1.1133 | 0.53921 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_409_0_load_8 | 11 | 0.27789 | 0.13459 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_409_0_load_17 | 14 | 0.35978 | 0.17425 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_409_0_load_11 | 15 | 0.12932 | 0.062631 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_409_0_load_24 | 18 | 0.38462 | 0.18628 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_409_0_load_20 | 19 | 0.22792 | 0.11039 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_409_0_load_25 | 22 | 0.33416 | 0.16184 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_409_0_load_22 | 24 | 0.29844 | 0.14454 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_409_0_load_189 | 28 | 0.13555 | 0.065648 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_409_0_load_187 | 29 | 0.095931 | 0.046462 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_409_0_load_26 | 30 | 0.052085 | 0.025226 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_409_0_load_168 | 31 | 0.12467 | 0.060382 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_409_0_load_172 | 33 | 0.089115 | 0.043161 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_409_0_load_173 | 36 | 0.25196 | 0.12203 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_409_0_load_214 | 37 | 0.30686 | 0.14862 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_409_0_load_174 | 39 | 0.29853 | 0.14459 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_409_0_load_178 | 43 | 0.092177 | 0.044643 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_409_0_load_179 | 44 | 0.43487 | 0.21062 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_409_0_load_186 | 46 | 0.23948 | 0.11599 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_409_0_load_184 | 48 | 0.3998 | 0.19363 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_409_0_load_221 | 49 | 3.1249 | 1.5135 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_409_0_load_222 | 50 | 0.11293 | 0.054696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_409_0_line_0 |  | 0 | 1 | 0.046289 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_409_0_line_1 |  | 1 | 2 | 0.40992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_409_0_line_2 |  | 1 | 3 | 0.39724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_409_0_line_3 |  | 2 | 4 | 0.15315 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_409_0_line_4 |  | 3 | 5 | 0.49074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_409_0_line_5 |  | 3 | 6 | 0.075055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_409_0_line_6 |  | 5 | 10 | 0.071307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_409_0_line_7 |  | 5 | 7 | 0.18128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_409_0_line_8 |  | 7 | 8 | 0.077612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_409_0_line_9 |  | 7 | 9 | 0.02375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_409_0_line_10 |  | 8 | 48 | 0.024616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_409_0_line_11 |  | 10 | 42 | 0.044034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_409_0_line_12 |  | 11 | 12 | 0.022183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_409_0_line_13 |  | 12 | 13 | 0.44227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_409_0_line_14 |  | 13 | 14 | 0.095374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_409_0_line_15 |  | 14 | 25 | 0.045932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_409_0_line_16 |  | 15 | 16 | 0.11841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_409_0_line_17 |  | 15 | 17 | 0.27209 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_409_0_line_18 |  | 15 | 18 | 0.84949 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_409_0_line_19 |  | 16 | 20 | 0.9962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_409_0_line_20 |  | 17 | 19 | 1.5566 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_409_0_line_21 |  | 19 | 27 | 0.032261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_409_0_line_22 |  | 20 | 21 | 0.77232 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_409_0_line_23 |  | 20 | 22 | 0.076215 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_409_0_line_24 |  | 21 | 23 | 1.0822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_409_0_line_25 |  | 21 | 24 | 0.18921 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_409_0_line_26 |  | 23 | 30 | 0.076028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_409_0_line_27 |  | 25 | 26 | 0.046892 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_409_0_line_28 |  | 26 | 27 | 0.26449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_409_0_line_29 |  | 26 | 28 | 0.032577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_409_0_line_30 |  | 27 | 29 | 1.3975 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_409_0_line_31 |  | 29 | 46 | 0.011671 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
32 | MV_409_0_line_32 |  | 31 | 32 | 0.079726 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_409_0_line_33 |  | 31 | 33 | 2.3082 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_409_0_line_34 |  | 32 | 34 | 0.76796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_409_0_line_35 |  | 33 | 38 | 2.2922 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_409_0_line_36 |  | 34 | 37 | 0.060866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_409_0_line_37 |  | 34 | 35 | 0.44248 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_409_0_line_38 |  | 35 | 36 | 0.11403 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_409_0_line_39 |  | 38 | 45 | 0.62898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_409_0_line_40 |  | 38 | 44 | 0.022211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_409_0_line_41 |  | 39 | 40 | 0.019007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_409_0_line_42 |  | 40 | 41 | 0.01341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_409_0_line_43 |  | 40 | 42 | 0.096317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_409_0_line_44 |  | 41 | 43 | 0.011403 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_409_0_line_45 |  | 45 | 46 | 0.028154 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
46 | MV_409_0_line_46 |  | 45 | 47 | 0.10744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_409_0_line_47 |  | 45 | 48 | 0.011133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_409_0_line_48 |  | 47 | 49 | 0.056522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_409_0_line_49 |  | 49 | 50 | 0.015863 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_409_0_trafo_187 | 25 MVA 110/20 kV | 51 | 29 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2733261.3735 | 1258627.7144
1 | 2733261.454 | 1258674.0034
2 | 2732999.4615 | 1258382.4975
3 | 2733029.1064 | 1258738.3025
4 | 2732971.2984 | 1258231.9596
5 | 2732637.1599 | 1258526.4778
6 | 2732987.7213 | 1258799.8847
7 | 2732549.7072 | 1258520.6912
8 | 2732527.9758 | 1258471.0478
9 | 2732529.2208 | 1258509.0705
10 | 2732634.5989 | 1258463.4484
11 | 2731987.3325 | 1260313.7728
12 | 2731965.6048 | 1260309.3396
13 | 2731795.9461 | 1259909.8681
14 | 2731764.1521 | 1259820.4667
15 | 2729922.7596 | 1259758.5062
16 | 2729968.298 | 1259867.7281
17 | 2730054.6743 | 1259520.531
18 | 2729073.4387 | 1259741.5602
19 | 2731608.0145 | 1259620.8753
20 | 2729901.5886 | 1260621.7306
21 | 2729651.0295 | 1260896.4975
22 | 2729883.7518 | 1260695.8291
23 | 2729191.1296 | 1261592.2629
24 | 2729815.6277 | 1260989.8145
25 | 2731761.4246 | 1259775.0419
26 | 2731747.7283 | 1259730.1957
27 | 2731610.6906 | 1259588.7275
28 | 2731718.2161 | 1259742.717
29 | 2732474.5346 | 1258490.2165
30 | 2729137.371 | 1261538.451
31 | 2732261.7418 | 1255583.9226
32 | 2732286.3604 | 1255508.0925
33 | 2730443.5358 | 1257005.8116
34 | 2732608.8384 | 1255705.2734
35 | 2733004.2265 | 1255518.1592
36 | 2733089.3934 | 1255593.9862
37 | 2732551.3136 | 1255725.4372
38 | 2732439.0333 | 1258133.6918
39 | 2732649.8273 | 1258344.0273
40 | 2732662.2661 | 1258358.3971
41 | 2732672.5658 | 1258349.7756
42 | 2732604.2861 | 1258431.5985
43 | 2732667.6321 | 1258339.7447
44 | 2732456.5254 | 1258121.4478
45 | 2732495.3265 | 1258457.282
46 | 2732477.8326 | 1258479.0215
47 | 2732497.6418 | 1258371.1103
48 | 2732504.6916 | 1258463.0859
49 | 2732545.9485 | 1258400.6968
50 | 2732560.3172 | 1258393.9753
51 | 2732474.5346 | 1258490.2165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99831 | 0.010071 | 0.30338 | 0.14693
1 | 0.99833 | 0.010241 | 0 | 0
2 | 0.99825 | 0.010905 | 0 | 0
3 | 0.99857 | 0.0083978 | 0 | 0
4 | 0.9982 | 0.010603 | 0.16173 | 0.078331
5 | 0.999 | 0.0050943 | 0 | 0
6 | 0.99854 | 0.00861 | 0.2404 | 0.11643
7 | 0.99951 | 0.00077135 | 0 | 0
8 | 0.99975 | -0.0013002 | 0 | 0
9 | 0.9995 | 0.00084448 | 0.25861 | 0.12525
10 | 0.99887 | 0.0063563 | 1.1133 | 0.53921
11 | 0.99359 | -0.044774 | 0.27789 | 0.13459
12 | 0.9936 | -0.044848 | 0 | 0
13 | 0.99376 | -0.046173 | 0 | 0
14 | 0.99379 | -0.04642 | 0.35978 | 0.17425
15 | 0.98991 | -0.087369 | 0.12932 | 0.062631
16 | 0.9898 | -0.086919 | 0 | 0
17 | 0.99053 | -0.081631 | 0 | 0
18 | 0.98927 | -0.091437 | 0.38462 | 0.18628
19 | 0.99407 | -0.048794 | 0.22792 | 0.11039
20 | 0.98895 | -0.082278 | 0 | 0
21 | 0.98861 | -0.080791 | 0 | 0
22 | 0.9889 | -0.082593 | 0.33416 | 0.16184
23 | 0.98854 | -0.081117 | 0 | 0
24 | 0.9885 | -0.081491 | 0.29844 | 0.14454
25 | 0.99383 | -0.046734 | 0 | 0
26 | 0.99387 | -0.047051 | 0 | 0
27 | 0.99413 | -0.049199 | 0 | 0
28 | 0.99386 | -0.046999 | 0.13555 | 0.065648
29 | 1 | 0 | -9.7971 | -4.5477
30 | 0.98853 | -0.081073 | 0.052085 | 0.025226
31 | 0.99252 | -0.048712 | 0.12467 | 0.060382
32 | 0.99243 | -0.049466 | 0 | 0
33 | 0.99553 | -0.023142 | 0.089115 | 0.043161
34 | 0.99189 | -0.045293 | 0 | 0
35 | 0.99175 | -0.04409 | 0 | 0
36 | 0.99169 | -0.044443 | 0.25196 | 0.12203
37 | 0.99186 | -0.045069 | 0.30686 | 0.14862
38 | 0.99891 | 0.0051033 | 0 | 0
39 | 0.99879 | 0.0070573 | 0.29853 | 0.14459
40 | 0.9988 | 0.0069895 | 0 | 0
41 | 0.9988 | 0.007004 | 0 | 0
42 | 0.99884 | 0.0065517 | 0 | 0
43 | 0.99879 | 0.0070165 | 0.092177 | 0.044643
44 | 0.9989 | 0.0052188 | 0.43487 | 0.21062
45 | 0.99987 | -0.0023043 | 0 | 0
46 | 0.99996 | -0.0006903 | 0.23948 | 0.11599
47 | 0.99943 | 0.0018401 | 0 | 0
48 | 0.99983 | -0.0019551 | 0.3998 | 0.19363
49 | 0.9992 | 0.0040288 | 3.1249 | 1.5135
50 | 0.99919 | 0.0040501 | 0.11293 | 0.054696
51 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.30338 | -0.14693 | 0.30338 | 0.14688 | 7.8352e-06 | -5.0167e-05 | 0.0097473 | 0.0097466 | 0.0097473 | 0.99831 | 0.010071 | 0.99833 | 0.010241 | 4.6416
1 | 0.16176 | 0.068404 | -0.16174 | -0.078154 | 1.4429e-05 | -0.0097496 | 0.0050783 | 0.0051947 | 0.0051947 | 0.99833 | 0.010241 | 0.99825 | 0.010905 | 2.3612
2 | -0.46514 | -0.21529 | 0.46525 | 0.20586 | 0.00011559 | -0.0094208 | 0.014821 | 0.014708 | 0.014821 | 0.99833 | 0.010241 | 0.99857 | 0.0083978 | 6.7366
3 | 0.16174 | 0.078154 | -0.16173 | -0.078331 | 7.3665e-06 | -0.00017757 | 0.0051947 | 0.005197 | 0.005197 | 0.99825 | 0.010905 | 0.9982 | 0.010603 | 2.4747
4 | -0.70566 | -0.32051 | 0.70599 | 0.30892 | 0.00032686 | -0.011592 | 0.022406 | 0.022268 | 0.022406 | 0.99857 | 0.0083978 | 0.999 | 0.0050943 | 10.1844
5 | 0.24041 | 0.11465 | -0.2404 | -0.11643 | 5.9577e-06 | -0.0017851 | 0.0076998 | 0.0077222 | 0.0077222 | 0.99857 | 0.0083978 | 0.99854 | 0.00861 | 3.5101
6 | 1.5043 | 0.72243 | -1.5041 | -0.72406 | 0.00022145 | -0.0016332 | 0.048221 | 0.048243 | 0.048243 | 0.999 | 0.0050943 | 0.99887 | 0.0063563 | 21.9284
7 | -2.2103 | -1.0313 | 2.2115 | 1.0274 | 0.0012013 | -0.0039656 | 0.07048 | 0.070427 | 0.07048 | 0.999 | 0.0050943 | 0.99951 | 0.00077135 | 32.0363
8 | -2.4701 | -1.1521 | 2.4707 | 1.1504 | 0.00064186 | -0.0016613 | 0.078718 | 0.078696 | 0.078718 | 0.99951 | 0.00077135 | 0.99975 | -0.0013002 | 35.7811
9 | 0.25861 | 0.12469 | -0.25861 | -0.12525 | 2.1818e-06 | -0.00056584 | 0.008292 | 0.0082991 | 0.0082991 | 0.99951 | 0.00077135 | 0.9995 | 0.00084448 | 3.7723
10 | -2.4707 | -1.1504 | 2.4709 | 1.1499 | 0.0002035 | -0.00052712 | 0.078696 | 0.078689 | 0.078696 | 0.99975 | -0.0013002 | 0.99983 | -0.0019551 | 35.7708
11 | 0.39074 | 0.18485 | -0.39073 | -0.1859 | 9.1835e-06 | -0.0010462 | 0.012492 | 0.012505 | 0.012505 | 0.99887 | 0.0063563 | 0.99884 | 0.0065517 | 5.6843
12 | -0.27789 | -0.13459 | 0.27789 | 0.13407 | 2.3815e-06 | -0.00052218 | 0.0089708 | 0.0089642 | 0.0089708 | 0.99359 | -0.044774 | 0.9936 | -0.044848 | 4.0777
13 | -0.27789 | -0.13407 | 0.27794 | 0.12365 | 4.6762e-05 | -0.010413 | 0.0089642 | 0.0088368 | 0.0089642 | 0.9936 | -0.044848 | 0.99376 | -0.046173 | 4.0747
14 | -0.27794 | -0.12365 | 0.27795 | 0.12141 | 9.913e-06 | -0.002246 | 0.0088368 | 0.0088105 | 0.0088368 | 0.99376 | -0.046173 | 0.99379 | -0.04642 | 4.0167
15 | -0.63773 | -0.29566 | 0.63775 | 0.29458 | 2.5549e-05 | -0.0010756 | 0.020419 | 0.020405 | 0.020419 | 0.99379 | -0.04642 | 0.99383 | -0.046734 | 9.2812
16 | 0.68555 | 0.26047 | -0.68548 | -0.26322 | 7.2398e-05 | -0.0027486 | 0.021386 | 0.021415 | 0.021415 | 0.98991 | -0.087369 | 0.9898 | -0.086919 | 9.7342
17 | -1.1997 | -0.50853 | 1.2004 | 0.50865 | 0.00069994 | 0.00011992 | 0.037999 | 0.037996 | 0.037999 | 0.98991 | -0.087369 | 0.99053 | -0.081631 | 18.095
18 | 0.38486 | 0.18543 | -0.38462 | -0.18628 | 0.00023514 | -0.00084583 | 0.012458 | 0.012471 | 0.012471 | 0.98991 | -0.087369 | 0.98927 | -0.091437 | 5.9384
19 | 0.68548 | 0.26322 | -0.68486 | -0.28631 | 0.00061701 | -0.0231 | 0.021415 | 0.021668 | 0.021668 | 0.9898 | -0.086919 | 0.98895 | -0.082278 | 9.8491
20 | -1.2004 | -0.50865 | 1.2044 | 0.50933 | 0.0040017 | 0.00067678 | 0.037996 | 0.037975 | 0.037996 | 0.99053 | -0.081631 | 0.99407 | -0.048794 | 18.0933
21 | -1.4323 | -0.61971 | 1.4324 | 0.61898 | 8.8446e-05 | -0.00073497 | 0.045321 | 0.045312 | 0.045321 | 0.99407 | -0.048794 | 0.99413 | -0.049199 | 20.6005
22 | 0.35068 | 0.12455 | -0.35056 | -0.14254 | 0.00012371 | -0.017992 | 0.010863 | 0.01105 | 0.01105 | 0.98895 | -0.082278 | 0.98861 | -0.080791 | 5.0228
23 | 0.33418 | 0.16176 | -0.33416 | -0.16184 | 1.5951e-05 | -7.899e-05 | 0.010838 | 0.010839 | 0.010839 | 0.98895 | -0.082278 | 0.9889 | -0.082593 | 5.1613
24 | 0.052088 | -0.0017976 | -0.052085 | -0.023452 | 3.4866e-06 | -0.02525 | 0.0015219 | 0.0016681 | 0.0016681 | 0.98861 | -0.080791 | 0.98854 | -0.081117 | 0.75821
25 | 0.29847 | 0.14434 | -0.29844 | -0.14454 | 3.1604e-05 | -0.00020094 | 0.009681 | 0.0096838 | 0.0096838 | 0.98861 | -0.080791 | 0.9885 | -0.081491 | 4.6113
26 | 0.052085 | 0.023452 | -0.052085 | -0.025226 | 2.8608e-07 | -0.0017738 | 0.0016681 | 0.00169 | 0.00169 | 0.98854 | -0.081117 | 0.98853 | -0.081073 | 0.76818
27 | -0.63775 | -0.29458 | 0.63778 | 0.29348 | 2.6049e-05 | -0.0010981 | 0.020405 | 0.020392 | 0.020405 | 0.99383 | -0.046734 | 0.99387 | -0.047051 | 9.2752
28 | -0.77333 | -0.35836 | 0.77354 | 0.35219 | 0.00021574 | -0.0061755 | 0.024756 | 0.024681 | 0.024756 | 0.99387 | -0.047051 | 0.99413 | -0.049199 | 11.2529
29 | 0.13555 | 0.06488 | -0.13555 | -0.065648 | 8.3039e-07 | -0.00076804 | 0.0043648 | 0.0043745 | 0.0043745 | 0.99387 | -0.047051 | 0.99386 | -0.046999 | 1.9884
30 | -2.206 | -0.97117 | 2.2182 | 0.97715 | 0.012194 | 0.0059792 | 0.06999 | 0.069971 | 0.06999 | 0.99413 | -0.049199 | 1 | 0 | 33.3286
31 | 7.565 | 3.5601 | -7.5647 | -3.5603 | 0.00024883 | -0.00021739 | 0.24136 | 0.24136 | 0.24136 | 1 | 0 | 0.99996 | -0.0006903 | 57.3303
32 | 0.55925 | 0.2407 | -0.55921 | -0.24076 | 4.4548e-05 | -6.5848e-05 | 0.017709 | 0.01771 | 0.01771 | 0.99252 | -0.048712 | 0.99243 | -0.049466 | 8.4331
33 | -0.68393 | -0.30108 | 0.68587 | 0.29957 | 0.0019398 | -0.0015076 | 0.021734 | 0.021703 | 0.021734 | 0.99252 | -0.048712 | 0.99553 | -0.023142 | 10.3497
34 | 0.55921 | 0.24076 | -0.55888 | -0.25872 | 0.00032538 | -0.017953 | 0.01771 | 0.017924 | 0.017924 | 0.99243 | -0.049466 | 0.99189 | -0.045293 | 8.1472
35 | -0.77498 | -0.34273 | 0.77744 | 0.34155 | 0.0024626 | -0.0011787 | 0.024572 | 0.02454 | 0.024572 | 0.99553 | -0.023142 | 0.99891 | 0.0051033 | 11.7008
36 | 0.30687 | 0.14719 | -0.30686 | -0.14862 | 7.987e-06 | -0.0014274 | 0.0099053 | 0.0099234 | 0.0099234 | 0.99189 | -0.045293 | 0.99186 | -0.045069 | 4.5106
37 | 0.25201 | 0.11152 | -0.25197 | -0.1219 | 3.8593e-05 | -0.010381 | 0.0080205 | 0.0081476 | 0.0081476 | 0.99189 | -0.045293 | 0.99175 | -0.04409 | 3.7035
38 | 0.25197 | 0.1219 | -0.25196 | -0.12203 | 1.349e-05 | -0.00012544 | 0.0081476 | 0.0081493 | 0.0081493 | 0.99175 | -0.04409 | 0.99169 | -0.044443 | 3.8806
39 | -1.2123 | -0.55164 | 1.2136 | 0.53701 | 0.0012383 | -0.014632 | 0.038491 | 0.038314 | 0.038491 | 0.99891 | 0.0051033 | 0.99987 | -0.0023043 | 17.496
40 | 0.43487 | 0.21009 | -0.43487 | -0.21062 | 5.7788e-06 | -0.00052743 | 0.013957 | 0.013964 | 0.013964 | 0.99891 | 0.0051033 | 0.9989 | 0.0052188 | 6.3472
41 | -0.29853 | -0.14459 | 0.29853 | 0.14413 | 2.3308e-06 | -0.00045204 | 0.009587 | 0.0095813 | 0.009587 | 0.99879 | 0.0070573 | 0.9988 | 0.0069895 | 4.3577
42 | 0.092177 | 0.044052 | -0.092177 | -0.044372 | 1.5629e-07 | -0.00031936 | 0.0029527 | 0.0029567 | 0.0029567 | 0.9988 | 0.0069895 | 0.9988 | 0.007004 | 1.344
43 | -0.39071 | -0.18819 | 0.39073 | 0.1859 | 2.0154e-05 | -0.0022883 | 0.012534 | 0.012505 | 0.012534 | 0.9988 | 0.0069895 | 0.99884 | 0.0065517 | 5.6973
44 | 0.092177 | 0.044372 | -0.092177 | -0.044643 | 1.3324e-07 | -0.00027156 | 0.0029567 | 0.0029601 | 0.0029601 | 0.9988 | 0.007004 | 0.99879 | 0.0070165 | 1.3455
45 | -7.3247 | -3.4449 | 7.3252 | 3.4443 | 0.00056271 | -0.00055876 | 0.23369 | 0.23368 | 0.23369 | 0.99987 | -0.0023043 | 0.99996 | -0.0006903 | 55.509
46 | 3.2402 | 1.5646 | -3.2387 | -1.5667 | 0.0015484 | -0.0021042 | 0.10388 | 0.10392 | 0.10392 | 0.99987 | -0.0023043 | 0.99943 | 0.0018401 | 47.235
47 | 2.8709 | 1.3433 | -2.8707 | -1.3435 | 0.00012447 | -0.00022882 | 0.09151 | 0.091513 | 0.091513 | 0.99987 | -0.0023043 | 0.99983 | -0.0019551 | 41.5969
48 | 3.2387 | 1.5667 | -3.2379 | -1.5678 | 0.00081497 | -0.0011059 | 0.10392 | 0.10393 | 0.10393 | 0.99943 | 0.0018401 | 0.9992 | 0.0040288 | 47.2427
49 | 0.11293 | 0.054318 | -0.11293 | -0.054696 | 2.7796e-07 | -0.00037806 | 0.0036205 | 0.0036253 | 0.0036253 | 0.9992 | 0.0040288 | 0.99919 | 0.0040501 | 1.6479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.8931 | 4.5942

## res_load
| p_mw | q_mvar
0 | 0.30338 | 0.14693
1 | 0.16173 | 0.078331
2 | 0.2404 | 0.11643
3 | 0.25861 | 0.12525
4 | 1.1133 | 0.53921
5 | 0.27789 | 0.13459
6 | 0.35978 | 0.17425
7 | 0.12932 | 0.062631
8 | 0.38462 | 0.18628
9 | 0.22792 | 0.11039
10 | 0.33416 | 0.16184
11 | 0.29844 | 0.14454
12 | 0.13555 | 0.065648
13 | 0.095931 | 0.046462
14 | 0.052085 | 0.025226
15 | 0.12467 | 0.060382
16 | 0.089115 | 0.043161
17 | 0.25196 | 0.12203
18 | 0.30686 | 0.14862
19 | 0.29853 | 0.14459
20 | 0.092177 | 0.044643
21 | 0.43487 | 0.21062
22 | 0.23948 | 0.11599
23 | 0.3998 | 0.19363
24 | 3.1249 | 1.5135
25 | 0.11293 | 0.054696

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1