## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_409_2_node_60 | 20 | n |  | TRUE
1 | bus_MV_409_2_node_70 | 20 | n |  | TRUE
2 | bus_MV_409_2_node_137 | 20 | n |  | TRUE
3 | bus_MV_409_2_node_69 | 20 | n |  | TRUE
4 | bus_MV_409_2_node_80 | 20 | n |  | TRUE
5 | bus_MV_409_2_node_71 | 20 | n |  | TRUE
6 | bus_MV_409_2_node_72 | 20 | n |  | TRUE
7 | bus_MV_409_2_node_73 | 20 | n |  | TRUE
8 | bus_MV_409_2_node_74 | 20 | n |  | TRUE
9 | bus_MV_409_2_node_75 | 20 | n |  | TRUE
10 | bus_MV_409_2_node_79 | 20 | n |  | TRUE
11 | bus_MV_409_2_node_77 | 20 | n |  | TRUE
12 | bus_MV_409_2_node_108 | 20 | n |  | TRUE
13 | bus_MV_409_2_node_76 | 20 | n |  | TRUE
14 | bus_MV_409_2_node_96 | 20 | n |  | TRUE
15 | bus_MV_409_2_node_78 | 20 | n |  | TRUE
16 | bus_MV_409_2_node_208 | 20 | n |  | TRUE
17 | bus_MV_409_2_node_218 | 20 | n |  | TRUE
18 | bus_MV_409_2_node_90 | 20 | n |  | TRUE
19 | bus_MV_409_2_node_107 | 20 | n |  | TRUE
20 | bus_MV_409_2_node_88 | 20 | n |  | TRUE
21 | bus_MV_409_2_node_81 | 20 | n |  | TRUE
22 | bus_MV_409_2_node_82 | 20 | n |  | TRUE
23 | bus_MV_409_2_node_83 | 20 | n |  | TRUE
24 | bus_MV_409_2_node_84 | 20 | n |  | TRUE
25 | bus_MV_409_2_node_85 | 20 | n |  | TRUE
26 | bus_MV_409_2_node_86 | 20 | n |  | TRUE
27 | bus_MV_409_2_node_87 | 20 | n |  | TRUE
28 | bus_MV_409_2_node_191 | 20 | n |  | TRUE
29 | bus_MV_409_2_node_89 | 20 | n |  | TRUE
30 | bus_MV_409_2_node_93 | 20 | n |  | TRUE
31 | bus_MV_409_2_node_217 | 20 | n |  | TRUE
32 | bus_MV_409_2_node_95 | 20 | n |  | TRUE
33 | bus_MV_409_2_node_193 | 20 | n |  | TRUE
34 | bus_MV_409_2_node_192 | 20 | n |  | TRUE
35 | bus_MV_409_2_node_97 | 20 | n |  | TRUE
36 | bus_MV_409_2_node_98 | 20 | n |  | TRUE
37 | bus_MV_409_2_node_106 | 20 | n |  | TRUE
38 | bus_MV_409_2_node_99 | 20 | n |  | TRUE
39 | bus_MV_409_2_node_100 | 20 | n |  | TRUE
40 | bus_MV_409_2_node_101 | 20 | n |  | TRUE
41 | bus_MV_409_2_node_102 | 20 | n |  | TRUE
42 | bus_MV_409_2_node_104 | 20 | n |  | TRUE
43 | bus_MV_409_2_node_136 | 20 | n |  | TRUE
44 | bus_MV_409_2_node_103 | 20 | n |  | TRUE
45 | bus_MV_409_2_node_113 | 20 | n |  | TRUE
46 | bus_MV_409_2_node_115 | 20 | n |  | TRUE
47 | bus_MV_409_2_node_135 | 20 | n |  | TRUE
48 | bus_MV_409_2_node_114 | 20 | n |  | TRUE
49 | bus_MV_409_2_node_109 | 20 | n |  | TRUE
50 | bus_MV_409_2_node_110 | 20 | n |  | TRUE
51 | bus_MV_409_2_node_111 | 20 | n |  | TRUE
52 | bus_MV_409_2_node_117 | 20 | n |  | TRUE
53 | bus_MV_409_2_node_133 | 20 | n |  | TRUE
54 | bus_MV_409_2_node_112 | 20 | n |  | TRUE
55 | bus_MV_409_2_node_116 | 20 | n |  | TRUE
56 | bus_MV_409_2_node_202 | 20 | n |  | TRUE
57 | bus_MV_409_2_node_118 | 20 | n |  | TRUE
58 | bus_MV_409_2_node_119 | 20 | n |  | TRUE
59 | bus_MV_409_2_node_120 | 20 | n |  | TRUE
60 | bus_MV_409_2_node_123 | 20 | n |  | TRUE
61 | bus_MV_409_2_node_122 | 20 | n |  | TRUE
62 | bus_MV_409_2_node_121 | 20 | n |  | TRUE
63 | bus_MV_409_2_node_226 | 20 | n |  | TRUE
64 | bus_MV_409_2_node_125 | 20 | n |  | TRUE
65 | bus_MV_409_2_node_146 | 20 | n |  | TRUE
66 | bus_MV_409_2_node_126 | 20 | n |  | TRUE
67 | bus_MV_409_2_node_127 | 20 | n |  | TRUE
68 | bus_MV_409_2_node_128 | 20 | n |  | TRUE
69 | bus_MV_409_2_node_145 | 20 | n |  | TRUE
70 | bus_MV_409_2_node_151 | 20 | n |  | TRUE
71 | bus_MV_409_2_node_129 | 20 | n |  | TRUE
72 | bus_MV_409_2_node_130 | 20 | n |  | TRUE
73 | bus_MV_409_2_node_131 | 20 | n |  | TRUE
74 | bus_MV_409_2_node_132 | 20 | n |  | TRUE
75 | bus_MV_409_2_node_134 | 20 | n |  | TRUE
76 | bus_MV_409_2_node_150 | 20 | n |  | TRUE
77 | bus_MV_409_2_node_141 | 20 | n |  | TRUE
78 | bus_MV_409_2_node_142 | 20 | n |  | TRUE
79 | bus_MV_409_2_node_143 | 20 | n |  | TRUE
80 | bus_MV_409_2_node_144 | 20 | n |  | TRUE
81 | bus_MV_409_2_node_152 | 20 | n |  | TRUE
82 | bus_MV_409_2_node_195 | 20 | n |  | TRUE
83 | bus_MV_409_2_node_147 | 20 | n |  | TRUE
84 | bus_MV_409_2_node_148 | 20 | n |  | TRUE
85 | bus_MV_409_2_node_149 | 20 | n |  | TRUE
86 | bus_MV_409_2_node_206 | 20 | n |  | TRUE
87 | bus_MV_409_2_node_194 | 20 | n |  | TRUE
88 | bus_MV_409_2_node_196 | 20 | n |  | TRUE
89 | bus_MV_409_2_node_197 | 20 | n |  | TRUE
90 | bus_MV_409_2_node_199 | 20 | n |  | TRUE
91 | bus_MV_409_2_node_207 | 20 | n |  | TRUE
92 | bus_MV_409_2_node_198 | 20 | n |  | TRUE
93 | bus_MV_409_2_node_201 | 20 | n |  | TRUE
94 | bus_MV_409_2_node_204 | 20 | n |  | TRUE
95 | bus_MV_409_2_node_205 | 20 | n |  | TRUE
96 | bus_MV_409_2_node_220 | 20 | n |  | TRUE
97 | bus_HV_409_2_node_130 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_409_2_load_137 | 2 | 0.091407 | 0.04427 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_409_2_load_69 | 3 | 0.11018 | 0.053364 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_409_2_load_80 | 4 | 0.1363 | 0.066011 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_409_2_load_71 | 5 | 0.11118 | 0.053846 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_409_2_load_108 | 12 | 0.13484 | 0.065304 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_409_2_load_96 | 14 | 0.11548 | 0.055927 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_409_2_load_208 | 16 | 0.12651 | 0.061273 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_409_2_load_218 | 17 | 0.11711 | 0.056721 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_409_2_load_107 | 19 | 0.11068 | 0.053605 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_409_2_load_88 | 20 | 0.13748 | 0.066584 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_409_2_load_83 | 23 | 0.1494 | 0.072359 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_409_2_load_84 | 24 | 0.15873 | 0.076875 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_409_2_load_191 | 28 | 0.088122 | 0.042679 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_409_2_load_89 | 29 | 0.059489 | 0.028812 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_409_2_load_217 | 31 | 0.080966 | 0.039214 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_409_2_load_192 | 34 | 0.15097 | 0.073116 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_409_2_load_106 | 37 | 0.077252 | 0.037415 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_409_2_load_99 | 38 | 0.15356 | 0.074373 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_409_2_load_136 | 43 | 0.14907 | 0.072199 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_409_2_load_115 | 46 | 0.10564 | 0.051162 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_409_2_load_135 | 47 | 0.13624 | 0.065986 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_409_2_load_114 | 48 | 0.1399 | 0.067758 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_409_2_load_109 | 49 | 0.13619 | 0.065959 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_409_2_load_110 | 50 | 0.13489 | 0.065329 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_409_2_load_111 | 51 | 0.097286 | 0.047118 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_409_2_load_112 | 54 | 0.14454 | 0.070002 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_409_2_load_118 | 57 | 0.11026 | 0.053404 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_409_2_load_122 | 61 | 0.1265 | 0.061265 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_409_2_load_226 | 63 | 0.18084 | 0.087585 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_409_2_load_146 | 65 | 0.11053 | 0.053533 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_409_2_load_126 | 66 | 0.099492 | 0.048186 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_409_2_load_145 | 69 | 0.071437 | 0.034599 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_409_2_load_151 | 70 | 0.10374 | 0.050246 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_409_2_load_129 | 71 | 0.051748 | 0.025063 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_409_2_load_132 | 74 | 0.1168 | 0.056568 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_409_2_load_141 | 77 | 0.090626 | 0.043892 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_409_2_load_152 | 81 | 0.1042 | 0.050464 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_409_2_load_195 | 82 | 0.15275 | 0.07398 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_409_2_load_147 | 83 | 0.13872 | 0.067186 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_409_2_load_206 | 86 | 0.13675 | 0.06623 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_409_2_load_194 | 87 | 0.16419 | 0.07952 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_409_2_load_207 | 91 | 0.090834 | 0.043993 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_409_2_load_198 | 92 | 0.19119 | 0.092599 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_409_2_load_201 | 93 | 0.19609 | 0.09497 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_409_2_load_205 | 95 | 0.052569 | 0.025461 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_409_2_load_220 | 96 | 0.16008 | 0.07753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_409_2_line_0 |  | 0 | 1 | 1.0303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_409_2_line_1 |  | 0 | 2 | 0.077187 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_409_2_line_2 |  | 1 | 4 | 1.2373 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_409_2_line_3 |  | 1 | 3 | 0.084421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_409_2_line_4 |  | 4 | 21 | 0.2107 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_409_2_line_5 |  | 4 | 9 | 0.096567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_409_2_line_6 |  | 5 | 6 | 0.041278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_409_2_line_7 |  | 5 | 7 | 0.041894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_409_2_line_8 |  | 6 | 8 | 0.25592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_409_2_line_9 |  | 6 | 9 | 0.557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_409_2_line_10 |  | 7 | 10 | 0.11682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_409_2_line_11 |  | 8 | 11 | 0.41957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_409_2_line_12 |  | 8 | 12 | 0.005499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_409_2_line_13 |  | 10 | 20 | 0.087016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_409_2_line_14 |  | 11 | 15 | 0.16894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_409_2_line_15 |  | 11 | 16 | 0.026069 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_409_2_line_16 |  | 11 | 13 | 0.14882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_409_2_line_17 |  | 13 | 14 | 0.050783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_409_2_line_18 |  | 14 | 35 | 0.048328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_409_2_line_19 |  | 15 | 17 | 0.069288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_409_2_line_20 |  | 15 | 18 | 0.14254 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_409_2_line_21 |  | 15 | 19 | 0.20186 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_409_2_line_22 |  | 16 | 30 | 0.39037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_409_2_line_23 |  | 16 | 33 | 0.21702 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_409_2_line_24 |  | 17 | 96 | 0.38328 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_409_2_line_25 |  | 18 | 29 | 0.010999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_409_2_line_26 |  | 20 | 27 | 0.03055 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_409_2_line_27 |  | 21 | 22 | 0.11532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_409_2_line_28 |  | 22 | 23 | 0.034722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_409_2_line_29 |  | 24 | 25 | 0.063999 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_409_2_line_30 |  | 25 | 26 | 0.067294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_409_2_line_31 |  | 25 | 27 | 0.22218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_409_2_line_32 |  | 26 | 28 | 0.027736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_409_2_line_33 |  | 28 | 38 | 0.49679 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_409_2_line_34 |  | 30 | 31 | 0.023807 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_409_2_line_35 |  | 31 | 94 | 1.986 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_409_2_line_36 |  | 32 | 33 | 0.016918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_409_2_line_37 |  | 32 | 34 | 0.13496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_409_2_line_38 |  | 33 | 87 | 0.046176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_409_2_line_39 |  | 35 | 36 | 0.29943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_409_2_line_40 |  | 36 | 37 | 0.079952 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_409_2_line_41 |  | 38 | 39 | 0.033063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_409_2_line_42 |  | 39 | 40 | 0.39077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_409_2_line_43 |  | 40 | 41 | 0.70207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_409_2_line_44 |  | 40 | 42 | 0.66447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_409_2_line_45 |  | 40 | 43 | 0.025038 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_409_2_line_46 |  | 41 | 44 | 0.28924 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_409_2_line_47 |  | 41 | 45 | 0.63755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_409_2_line_48 |  | 41 | 46 | 0.05805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_409_2_line_49 |  | 42 | 48 | 0.059112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_409_2_line_50 |  | 44 | 47 | 0.13825 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
51 | MV_409_2_line_51 |  | 45 | 54 | 0.052959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_409_2_line_52 |  | 46 | 55 | 0.1145 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_409_2_line_53 |  | 47 | 73 | 0.05938 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_409_2_line_54 |  | 49 | 50 | 0.01175 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_409_2_line_55 |  | 49 | 51 | 0.057311 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_409_2_line_56 |  | 50 | 52 | 0.007236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_409_2_line_57 |  | 51 | 53 | 0.042196 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_409_2_line_58 |  | 52 | 56 | 0.27387 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_409_2_line_59 |  | 52 | 55 | 0.43072 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_409_2_line_60 |  | 53 | 62 | 0.004732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_409_2_line_61 |  | 56 | 58 | 0.1308 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_409_2_line_62 |  | 56 | 93 | 0.037406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_409_2_line_63 |  | 57 | 58 | 0.02101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_409_2_line_64 |  | 59 | 60 | 0.18362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_409_2_line_65 |  | 59 | 61 | 0.028346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_409_2_line_66 |  | 60 | 64 | 0.38644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_409_2_line_67 |  | 60 | 65 | 0.044409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_409_2_line_68 |  | 62 | 63 | 0.014374 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_409_2_line_69 |  | 63 | 74 | 0.047493 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_409_2_line_70 |  | 64 | 66 | 0.13978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_409_2_line_71 |  | 65 | 83 | 0.22347 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_409_2_line_72 |  | 66 | 67 | 0.052864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_409_2_line_73 |  | 67 | 68 | 0.2413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_409_2_line_74 |  | 68 | 69 | 0.067356 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_409_2_line_75 |  | 68 | 70 | 0.1466 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_409_2_line_76 |  | 71 | 72 | 0.039946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_409_2_line_77 |  | 72 | 73 | 0.51856 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
78 | MV_409_2_line_78 |  | 74 | 75 | 0.053793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_409_2_line_79 |  | 75 | 76 | 0.16202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_409_2_line_80 |  | 76 | 86 | 0.044894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_409_2_line_81 |  | 76 | 84 | 0.12089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_409_2_line_82 |  | 77 | 78 | 0.058655 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_409_2_line_83 |  | 78 | 79 | 0.27135 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_409_2_line_84 |  | 79 | 80 | 0.50524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_409_2_line_85 |  | 79 | 81 | 0.05923 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_409_2_line_86 |  | 80 | 82 | 0.054389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_409_2_line_87 |  | 81 | 85 | 0.064901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_409_2_line_88 |  | 82 | 88 | 0.0543 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_409_2_line_89 |  | 83 | 84 | 0.026942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_409_2_line_90 |  | 84 | 85 | 0.13461 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_409_2_line_91 |  | 88 | 89 | 0.15666 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_409_2_line_92 |  | 89 | 90 | 0.013358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_409_2_line_93 |  | 89 | 91 | 0.017682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_409_2_line_94 |  | 90 | 92 | 0.087525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_409_2_line_95 |  | 94 | 95 | 0.057437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_409_2_trafo_130 | 25 MVA 110/20 kV | 97 | 72 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2733820.7922 | 1266435.8255
1 | 2734265.162 | 1265680.2628
2 | 2733745.2785 | 1266451.8094
3 | 2734318.0939 | 1265616.6938
4 | 2733106.1686 | 1265246.9453
5 | 2732820.8368 | 1265338.9148
6 | 2732787.317 | 1265314.6835
7 | 2732854.8529 | 1265363.5134
8 | 2732673.8405 | 1265286.0757
9 | 2733065.6373 | 1265333.6702
10 | 2732942.7907 | 1265438.2829
11 | 2732603.1197 | 1264939.4187
12 | 2732677.4074 | 1265290.2708
13 | 2732737.502 | 1264917.7026
14 | 2732787.1471 | 1264906.3734
15 | 2732474.4611 | 1264998.5457
16 | 2732607.3059 | 1264913.6884
17 | 2732478.2921 | 1265067.563
18 | 2732402.6315 | 1264875.4323
19 | 2732282.4809 | 1264936.1665
20 | 2732877.5924 | 1265495.8888
21 | 2733192.1287 | 1265054.5777
22 | 2733097.7054 | 1264989.0007
23 | 2733073.1536 | 1265013.5536
24 | 2732673.5707 | 1265508.023
25 | 2732705.7892 | 1265563.3204
26 | 2732669.6755 | 1265600.6116
27 | 2732854.3961 | 1265515.7688
28 | 2732658.4161 | 1265625.9527
29 | 2732408.5575 | 1264866.1563
30 | 2732435.7314 | 1264563.0472
31 | 2732439.4373 | 1264539.5637
32 | 2732530.4845 | 1264699.843
33 | 2732546.5286 | 1264705.3522
34 | 2732568.0647 | 1264570.4465
35 | 2732828.4671 | 1264881.3335
36 | 2732965.3924 | 1264683.8255
37 | 2732899.7034 | 1264729.4026
38 | 2732170.9097 | 1265721.52
39 | 2732145.898 | 1265743.2258
40 | 2731854.5708 | 1265913.9257
41 | 2731591.7409 | 1266490.1774
42 | 2731526.4777 | 1266083.4537
43 | 2731840.4754 | 1265934.6196
44 | 2731770.7703 | 1266371.1648
45 | 2731231.4594 | 1266580.4636
46 | 2731648.324 | 1266501.3924
47 | 2731811.6978 | 1266242.5897
48 | 2731584.5691 | 1266089.3521
49 | 2731456.9555 | 1266859.3256
50 | 2731467.0891 | 1266853.3788
51 | 2731446.578 | 1266915.6896
52 | 2731463.6811 | 1266847.1304
53 | 2731471.3732 | 1266949.8316
54 | 2731213.4293 | 1266629.6096
55 | 2731621.0291 | 1266612.5892
56 | 2731668.1428 | 1266747.1429
57 | 2731590.4468 | 1266873.0773
58 | 2731609.4004 | 1266864.0114
59 | 2731739.8277 | 1267002.5588
60 | 2731663.1565 | 1267169.3632
61 | 2731754.1332 | 1266978.0657
62 | 2731475.666 | 1266951.8512
63 | 2731476.6494 | 1266961.8046
64 | 2731883.096 | 1266999.5065
65 | 2731639.6858 | 1267206.075
66 | 2732022.0011 | 1267015.1224
67 | 2732010.2684 | 1267066.6423
68 | 2732022.0748 | 1267305.1869
69 | 2732034.0732 | 1267371.4287
70 | 2731877.7292 | 1267279.5845
71 | 2732305.0854 | 1266224.2615
72 | 2732275.1379 | 1266197.7218
73 | 2731868.011 | 1266261.9305
74 | 2731453.5619 | 1267003.308
75 | 2731400.0773 | 1266996.212
76 | 2731335.9039 | 1267144.9702
77 | 2731341.4479 | 1267528.8108
78 | 2731288.5855 | 1267554.2268
79 | 2731237.8612 | 1267379.4577
80 | 2731401.2441 | 1267643.9041
81 | 2731287.4754 | 1267347.1069
82 | 2731411.2852 | 1267590.4497
83 | 2731416.381 | 1267197.5753
84 | 2731404.71 | 1267221.872
85 | 2731329.1438 | 1267299.2542
86 | 2731293.8922 | 1267160.7961
87 | 2732581.8912 | 1264675.5393
88 | 2731421.3099 | 1267537.0828
89 | 2731560.1487 | 1267556.8239
90 | 2731566.2033 | 1267564.2434
91 | 2731562.9849 | 1267539.3705
92 | 2731567.7678 | 1267650.6901
93 | 2731705.5388 | 1266747.5472
94 | 2730704.7197 | 1263572.6867
95 | 2730655.9889 | 1263542.0482
96 | 2732206.4583 | 1265337.7653
97 | 2732275.1379 | 1266197.7218

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9884 | -0.02113 | 0 | 0
1 | 0.98852 | -0.02147 | 0 | 0
2 | 0.98838 | -0.021218 | 0.091407 | 0.04427
3 | 0.9885 | -0.021361 | 0.11018 | 0.053364
4 | 0.98897 | -0.015499 | 0.1363 | 0.066011
5 | 0.98947 | -0.018417 | 0.11118 | 0.053846
6 | 0.98937 | -0.017737 | 0 | 0
7 | 0.98957 | -0.019161 | 0 | 0
8 | 0.98893 | -0.014212 | 0 | 0
9 | 0.98903 | -0.015871 | 0 | 0
10 | 0.98986 | -0.021221 | 0 | 0
11 | 0.98828 | -0.0088986 | 0 | 0
12 | 0.98893 | -0.014203 | 0.13484 | 0.065304
13 | 0.98824 | -0.0086553 | 0 | 0
14 | 0.98823 | -0.0085645 | 0.11548 | 0.055927
15 | 0.98818 | -0.0080243 | 0 | 0
16 | 0.98825 | -0.0091058 | 0.12651 | 0.061273
17 | 0.98816 | -0.0077947 | 0.11711 | 0.056721
18 | 0.98817 | -0.0081335 | 0 | 0
19 | 0.98814 | -0.0083029 | 0.11068 | 0.053605
20 | 0.99008 | -0.022741 | 0.13748 | 0.066584
21 | 0.98891 | -0.015954 | 0 | 0
22 | 0.98889 | -0.01576 | 0 | 0
23 | 0.98888 | -0.015697 | 0.1494 | 0.072359
24 | 0.99073 | -0.027635 | 0.15873 | 0.076875
25 | 0.99075 | -0.02751 | 0 | 0
26 | 0.99094 | -0.028892 | 0 | 0
27 | 0.99016 | -0.023323 | 0 | 0
28 | 0.99102 | -0.02946 | 0.088122 | 0.042679
29 | 0.98817 | -0.0081255 | 0.059489 | 0.028812
30 | 0.98815 | -0.0099017 | 0 | 0
31 | 0.98815 | -0.0098688 | 0.080966 | 0.039214
32 | 0.98812 | -0.010014 | 0 | 0
33 | 0.98812 | -0.010042 | 0 | 0
34 | 0.98809 | -0.0097785 | 0.15097 | 0.073116
35 | 0.98823 | -0.0085429 | 0 | 0
36 | 0.9882 | -0.0083295 | 0 | 0
37 | 0.98819 | -0.0084063 | 0.077252 | 0.037415
38 | 0.99324 | -0.010572 | 0.15356 | 0.074373
39 | 0.99334 | -0.011343 | 0 | 0
40 | 0.99458 | -0.020317 | 0 | 0
41 | 0.99705 | -0.037473 | 0 | 0
42 | 0.99446 | -0.019588 | 0 | 0
43 | 0.99457 | -0.020363 | 0.14907 | 0.072199
44 | 0.99789 | -0.026879 | 0 | 0
45 | 0.99693 | -0.036724 | 0 | 0
46 | 0.99687 | -0.036043 | 0.10564 | 0.051162
47 | 0.99829 | -0.021799 | 0.13624 | 0.065986
48 | 0.99445 | -0.019491 | 0.1399 | 0.067758
49 | 0.99497 | -0.030167 | 0.13619 | 0.065959
50 | 0.99502 | -0.029821 | 0.13489 | 0.065329
51 | 0.99478 | -0.03176 | 0.097286 | 0.047118
52 | 0.99504 | -0.029973 | 0 | 0
53 | 0.99464 | -0.032884 | 0 | 0
54 | 0.99692 | -0.036634 | 0.14454 | 0.070002
55 | 0.99634 | -0.040212 | 0 | 0
56 | 0.99493 | -0.029043 | 0 | 0
57 | 0.9949 | -0.029198 | 0.11026 | 0.053404
58 | 0.9949 | -0.029225 | 0 | 0
59 | 0.99358 | -0.030775 | 0 | 0
60 | 0.99361 | -0.031023 | 0 | 0
61 | 0.99358 | -0.030732 | 0.1265 | 0.061265
62 | 0.99463 | -0.032805 | 0 | 0
63 | 0.9946 | -0.032568 | 0.18084 | 0.087585
64 | 0.99348 | -0.030071 | 0 | 0
65 | 0.99363 | -0.031171 | 0.11053 | 0.053533
66 | 0.9934 | -0.030647 | 0.099492 | 0.048186
67 | 0.99339 | -0.030562 | 0 | 0
68 | 0.99334 | -0.030121 | 0 | 0
69 | 0.99333 | -0.030066 | 0.071437 | 0.034599
70 | 0.99331 | -0.030308 | 0.10374 | 0.050246
71 | 1 | 2.3517e-05 | 0.051748 | 0.025063
72 | 1 | 0 | -5.6602 | -2.4575
73 | 0.99846 | -0.019568 | 0 | 0
74 | 0.99446 | -0.033725 | 0.1168 | 0.056568
75 | 0.99436 | -0.033026 | 0 | 0
76 | 0.99407 | -0.030894 | 0 | 0
77 | 0.99361 | -0.028685 | 0.090626 | 0.043892
78 | 0.99362 | -0.02862 | 0 | 0
79 | 0.99366 | -0.02886 | 0 | 0
80 | 0.99338 | -0.026687 | 0 | 0
81 | 0.99372 | -0.028339 | 0.1042 | 0.050464
82 | 0.99335 | -0.02643 | 0.15275 | 0.07398
83 | 0.99385 | -0.029307 | 0.13872 | 0.067186
84 | 0.99387 | -0.029477 | 0 | 0
85 | 0.99377 | -0.028716 | 0 | 0
86 | 0.99406 | -0.03097 | 0.13675 | 0.06623
87 | 0.98811 | -0.0099506 | 0.16419 | 0.07952
88 | 0.99333 | -0.026269 | 0 | 0
89 | 0.99327 | -0.02578 | 0 | 0
90 | 0.99327 | -0.025751 | 0 | 0
91 | 0.99327 | -0.025761 | 0.090834 | 0.043993
92 | 0.99325 | -0.025554 | 0.19119 | 0.092599
93 | 0.99492 | -0.028955 | 0.19609 | 0.09497
94 | 0.98795 | -0.011593 | 0 | 0
95 | 0.98794 | -0.011558 | 0.052569 | 0.025461
96 | 0.98804 | -0.0085615 | 0.16008 | 0.07753
97 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.091408 | -0.044181 | 0.091419 | 0.02015 | 1.1017e-05 | -0.024031 | 0.0029652 | 0.0027338 | 0.0029652 | 0.9884 | -0.02113 | 0.98852 | -0.02147 | 1.3478
1 | 0.091408 | 0.044181 | -0.091407 | -0.04427 | 1.2096e-06 | -8.9261e-05 | 0.0029652 | 0.0029663 | 0.0029663 | 0.9884 | -0.02113 | 0.98838 | -0.021218 | 1.4125
2 | -0.2016 | -0.071544 | 0.20169 | 0.070154 | 8.5844e-05 | -0.0013903 | 0.0062471 | 0.0062331 | 0.0062471 | 0.98852 | -0.02147 | 0.98897 | -0.015499 | 2.9748
3 | 0.11018 | 0.051394 | -0.11018 | -0.053364 | 1.4306e-06 | -0.0019692 | 0.0035505 | 0.0035752 | 0.0035752 | 0.98852 | -0.02147 | 0.9885 | -0.021361 | 1.6251
4 | 0.14942 | 0.068617 | -0.14941 | -0.068858 | 8.6522e-06 | -0.00024058 | 0.0047993 | 0.0048023 | 0.0048023 | 0.98897 | -0.015499 | 0.98891 | -0.015954 | 2.2868
5 | -0.4874 | -0.20478 | 0.48743 | 0.20254 | 3.0649e-05 | -0.0022461 | 0.015432 | 0.015406 | 0.015432 | 0.98897 | -0.015499 | 0.98903 | -0.015871 | 7.0144
6 | 1.8396 | 0.79812 | -1.8394 | -0.79903 | 0.00018864 | -0.00090886 | 0.058503 | 0.058514 | 0.058514 | 0.98947 | -0.018417 | 0.98937 | -0.017737 | 26.5974
7 | -1.9508 | -0.85196 | 1.951 | 0.85105 | 0.00021567 | -0.00091544 | 0.062104 | 0.062093 | 0.062104 | 0.98947 | -0.018417 | 0.98957 | -0.019161 | 28.2292
8 | 1.3518 | 0.60945 | -1.3512 | -0.61524 | 0.00064061 | -0.0057885 | 0.043265 | 0.043337 | 0.043337 | 0.98937 | -0.017737 | 0.98893 | -0.014212 | 19.6988
9 | 0.48761 | 0.18957 | -0.48743 | -0.20254 | 0.00017485 | -0.012961 | 0.015265 | 0.015406 | 0.015406 | 0.98937 | -0.017737 | 0.98903 | -0.015871 | 7.0029
10 | -1.951 | -0.85105 | 1.9516 | 0.84849 | 0.00060097 | -0.0025539 | 0.062093 | 0.062061 | 0.062093 | 0.98957 | -0.019161 | 0.98986 | -0.021221 | 28.224
11 | 1.2163 | 0.55006 | -1.2155 | -0.5596 | 0.00085309 | -0.0095376 | 0.038967 | 0.039086 | 0.039086 | 0.98893 | -0.014212 | 0.98828 | -0.0088986 | 17.7663
12 | 0.13484 | 0.065176 | -0.13484 | -0.065304 | 1.4034e-07 | -0.00012836 | 0.0043716 | 0.0043733 | 0.0043733 | 0.98893 | -0.014212 | 0.98893 | -0.014203 | 1.9878
13 | -1.9516 | -0.84849 | 1.952 | 0.84659 | 0.00044725 | -0.0019035 | 0.062061 | 0.062037 | 0.062061 | 0.98986 | -0.021221 | 0.99008 | -0.022741 | 28.2095
14 | 0.44744 | 0.21004 | -0.44739 | -0.21396 | 4.7176e-05 | -0.0039253 | 0.014438 | 0.014487 | 0.014487 | 0.98828 | -0.0088986 | 0.98818 | -0.0080243 | 6.5852
15 | 0.57529 | 0.26907 | -0.57527 | -0.26909 | 1.5985e-05 | -2.0382e-05 | 0.018551 | 0.018552 | 0.018552 | 0.98828 | -0.0088986 | 0.98825 | -0.0091058 | 8.8341
16 | 0.19274 | 0.080491 | -0.19273 | -0.083959 | 7.4433e-06 | -0.0034681 | 0.0061012 | 0.0061409 | 0.0061409 | 0.98828 | -0.0088986 | 0.98824 | -0.0086553 | 2.7913
17 | 0.19273 | 0.083959 | -0.19273 | -0.085142 | 2.5624e-06 | -0.0011834 | 0.0061409 | 0.0061548 | 0.0061548 | 0.98824 | -0.0086553 | 0.98823 | -0.0085645 | 2.7976
18 | 0.077256 | 0.029215 | -0.077256 | -0.030341 | 3.774e-07 | -0.0011268 | 0.0024127 | 0.0024246 | 0.0024246 | 0.98823 | -0.0085645 | 0.98823 | -0.0085429 | 1.1021
19 | 0.27722 | 0.1322 | -0.27721 | -0.13382 | 7.4629e-06 | -0.0016132 | 0.008972 | 0.0089924 | 0.0089924 | 0.98818 | -0.0080243 | 0.98816 | -0.0077947 | 4.0875
20 | 0.05949 | 0.02839 | -0.059489 | -0.028555 | 9.4268e-07 | -0.00016557 | 0.0019256 | 0.0019277 | 0.0019277 | 0.98818 | -0.0080243 | 0.98817 | -0.0081335 | 0.91795
21 | 0.11069 | 0.053373 | -0.11068 | -0.053605 | 4.6384e-06 | -0.0002324 | 0.0035897 | 0.0035927 | 0.0035927 | 0.98818 | -0.0080243 | 0.98814 | -0.0083029 | 1.7108
22 | 0.13356 | 0.060025 | -0.13355 | -0.060473 | 1.2741e-05 | -0.00044711 | 0.0042773 | 0.0042827 | 0.0042827 | 0.98825 | -0.0091058 | 0.98815 | -0.0099017 | 2.0394
23 | 0.3152 | 0.14779 | -0.31516 | -0.14802 | 3.9998e-05 | -0.00022794 | 0.010169 | 0.010172 | 0.010172 | 0.98825 | -0.0091058 | 0.98812 | -0.010042 | 4.8439
24 | 0.1601 | 0.077095 | -0.16008 | -0.07753 | 1.8422e-05 | -0.0004352 | 0.005191 | 0.0051967 | 0.0051967 | 0.98816 | -0.0077947 | 0.98804 | -0.0085615 | 2.4746
25 | 0.059489 | 0.028555 | -0.059489 | -0.028812 | 5.4653e-08 | -0.00025642 | 0.0019277 | 0.001931 | 0.001931 | 0.98817 | -0.0081335 | 0.98817 | -0.0081255 | 0.87771
26 | -2.0895 | -0.91317 | 2.0897 | 0.91251 | 0.00018027 | -0.00066159 | 0.066487 | 0.066479 | 0.066487 | 0.99008 | -0.022741 | 0.99016 | -0.023323 | 30.2216
27 | 0.14941 | 0.068858 | -0.1494 | -0.071549 | 3.5749e-06 | -0.0026915 | 0.0048023 | 0.0048357 | 0.0048357 | 0.98891 | -0.015954 | 0.98889 | -0.01576 | 2.1981
28 | 0.1494 | 0.071549 | -0.1494 | -0.072359 | 1.0863e-06 | -0.00081038 | 0.0048357 | 0.004846 | 0.004846 | 0.98889 | -0.01576 | 0.98888 | -0.015697 | 2.2027
29 | -0.15873 | -0.076875 | 0.15873 | 0.076802 | 3.0106e-06 | -7.3108e-05 | 0.0051388 | 0.0051379 | 0.0051388 | 0.99073 | -0.027635 | 0.99075 | -0.02751 | 2.4471
30 | -2.2497 | -0.9845 | 2.2502 | 0.98306 | 0.00045983 | -0.001441 | 0.071552 | 0.071534 | 0.071552 | 0.99075 | -0.02751 | 0.99094 | -0.028892 | 32.5238
31 | 2.091 | 0.9077 | -2.0897 | -0.91251 | 0.0013096 | -0.0048154 | 0.066419 | 0.066479 | 0.066479 | 0.99075 | -0.02751 | 0.99016 | -0.023323 | 30.2178
32 | -2.2502 | -0.98306 | 2.2504 | 0.98246 | 0.00018946 | -0.00059415 | 0.071534 | 0.071526 | 0.071534 | 0.99094 | -0.028892 | 0.99102 | -0.02946 | 32.5155
33 | -2.3385 | -1.0251 | 2.3434 | 1.0276 | 0.0048959 | 0.0024829 | 0.074376 | 0.07437 | 0.074376 | 0.99102 | -0.02946 | 0.99324 | -0.010572 | 35.4173
34 | 0.13355 | 0.060473 | -0.13355 | -0.061027 | 5.8386e-07 | -0.00055485 | 0.0042827 | 0.0042894 | 0.0042894 | 0.98815 | -0.0099017 | 0.98815 | -0.0098688 | 1.9497
35 | 0.05258 | 0.021814 | -0.05257 | -0.024122 | 9.9422e-06 | -0.0023083 | 0.001663 | 0.0016901 | 0.0016901 | 0.98815 | -0.0098688 | 0.98795 | -0.011593 | 0.80479
36 | -0.15097 | -0.069971 | 0.15097 | 0.069577 | 5.332e-07 | -0.00039423 | 0.0048612 | 0.0048564 | 0.0048612 | 0.98812 | -0.010014 | 0.98812 | -0.010042 | 2.2096
37 | 0.15097 | 0.069971 | -0.15097 | -0.073116 | 4.2918e-06 | -0.0031447 | 0.0048612 | 0.0049006 | 0.0049006 | 0.98812 | -0.010014 | 0.98809 | -0.0097785 | 2.2275
38 | 0.16419 | 0.078444 | -0.16419 | -0.07952 | 1.7466e-06 | -0.0010759 | 0.0053161 | 0.0053297 | 0.0053297 | 0.98812 | -0.010042 | 0.98811 | -0.0099506 | 2.4226
39 | 0.077256 | 0.030341 | -0.077253 | -0.037322 | 2.4263e-06 | -0.006981 | 0.0024246 | 0.0025063 | 0.0025063 | 0.98823 | -0.0085429 | 0.9882 | -0.0083295 | 1.1392
40 | 0.077253 | 0.037322 | -0.077252 | -0.037415 | 8.9524e-07 | -9.2646e-05 | 0.0025063 | 0.0025075 | 0.0025075 | 0.9882 | -0.0083295 | 0.98819 | -0.0084063 | 1.194
41 | -2.497 | -1.102 | 2.4972 | 1.1013 | 0.00027771 | -0.00069648 | 0.079325 | 0.079316 | 0.079325 | 0.99324 | -0.010572 | 0.99334 | -0.011343 | 36.0569
42 | -2.4972 | -1.1013 | 2.5005 | 1.0931 | 0.0032775 | -0.0082456 | 0.079316 | 0.079209 | 0.079316 | 0.99334 | -0.011343 | 0.99458 | -0.020317 | 36.0528
43 | -2.7895 | -1.2159 | 2.7968 | 1.2014 | 0.0072956 | -0.014459 | 0.088323 | 0.088131 | 0.088323 | 0.99458 | -0.020317 | 0.99705 | -0.037473 | 40.1466
44 | 0.13992 | 0.050676 | -0.1399 | -0.066362 | 1.719e-05 | -0.015686 | 0.0043193 | 0.0044949 | 0.0044949 | 0.99458 | -0.020317 | 0.99446 | -0.019588 | 2.0431
45 | 0.14907 | 0.07217 | -0.14907 | -0.072199 | 1.031e-06 | -2.8922e-05 | 0.0048072 | 0.0048076 | 0.0048076 | 0.99458 | -0.020317 | 0.99457 | -0.020363 | 2.2893
46 | -5.4435 | -2.3806 | 5.4476 | 2.3737 | 0.0041311 | -0.0068705 | 0.17202 | 0.1719 | 0.17202 | 0.99705 | -0.037473 | 0.99789 | -0.026879 | 47.5187
47 | 0.14456 | 0.053621 | -0.14454 | -0.068746 | 1.758e-05 | -0.015126 | 0.004464 | 0.0046346 | 0.0046346 | 0.99705 | -0.037473 | 0.99693 | -0.036724 | 2.1066
48 | 2.5021 | 1.1256 | -2.5016 | -1.1268 | 0.00048911 | -0.0012325 | 0.079436 | 0.079453 | 0.079453 | 0.99705 | -0.037473 | 0.99687 | -0.036043 | 36.1148
49 | 0.1399 | 0.066362 | -0.1399 | -0.067758 | 1.6006e-06 | -0.0013953 | 0.0044949 | 0.0045124 | 0.0045124 | 0.99446 | -0.019588 | 0.99445 | -0.019491 | 2.0511
50 | -5.4476 | -2.3737 | 5.4496 | 2.3705 | 0.0019726 | -0.0032911 | 0.1719 | 0.17185 | 0.1719 | 0.99789 | -0.026879 | 0.99829 | -0.021799 | 47.4871
51 | 0.14454 | 0.068746 | -0.14454 | -0.070002 | 1.5237e-06 | -0.0012563 | 0.0046346 | 0.0046503 | 0.0046503 | 0.99693 | -0.036724 | 0.99692 | -0.036634 | 2.1138
52 | 2.396 | 1.0756 | -2.3948 | -1.075 | 0.00118 | 0.00060338 | 0.076055 | 0.076057 | 0.076057 | 0.99687 | -0.036043 | 0.99634 | -0.040212 | 36.2174
53 | -5.5858 | -2.4364 | 5.5867 | 2.4351 | 0.00089054 | -0.0013833 | 0.17622 | 0.1762 | 0.17622 | 0.99829 | -0.021799 | 0.99846 | -0.019568 | 48.6804
54 | -1.9501 | -0.87864 | 1.9502 | 0.87868 | 8.0618e-05 | 3.661e-05 | 0.062056 | 0.062056 | 0.062056 | 0.99497 | -0.030167 | 0.99502 | -0.029821 | 29.5507
55 | 1.8139 | 0.81268 | -1.8136 | -0.81254 | 0.00033959 | 0.00014499 | 0.057668 | 0.057669 | 0.057669 | 0.99497 | -0.030167 | 0.99478 | -0.03176 | 27.4613
56 | -2.0851 | -0.94401 | 2.0851 | 0.94385 | 4.2593e-05 | -0.00015842 | 0.066403 | 0.066401 | 0.066403 | 0.99502 | -0.029821 | 0.99504 | -0.029973 | 30.1831
57 | 1.7163 | 0.76542 | -1.7161 | -0.76533 | 0.00022358 | 9.0201e-05 | 0.054533 | 0.054534 | 0.054534 | 0.99478 | -0.03176 | 0.99464 | -0.032884 | 25.9685
58 | 0.30639 | 0.14038 | -0.30636 | -0.14684 | 3.5235e-05 | -0.006463 | 0.0097775 | 0.0098572 | 0.0098572 | 0.99504 | -0.029973 | 0.99493 | -0.029043 | 4.4805
59 | -2.3915 | -1.0842 | 2.3948 | 1.075 | 0.0033315 | -0.0092073 | 0.076178 | 0.076057 | 0.076178 | 0.99504 | -0.029973 | 0.99634 | -0.040212 | 34.6264
60 | 1.7161 | 0.76533 | -1.716 | -0.76544 | 1.8788e-05 | -0.0001062 | 0.054534 | 0.054535 | 0.054535 | 0.99464 | -0.032884 | 0.99463 | -0.032805 | 24.7888
61 | 0.11027 | 0.052754 | -0.11027 | -0.052907 | 2.9331e-06 | -0.00015273 | 0.0035467 | 0.0035486 | 0.0035486 | 0.99493 | -0.029043 | 0.9949 | -0.029225 | 1.6898
62 | 0.19609 | 0.094086 | -0.19609 | -0.09497 | 1.9921e-06 | -0.00088348 | 0.0063105 | 0.0063216 | 0.0063216 | 0.99493 | -0.029043 | 0.99492 | -0.028955 | 2.8735
63 | -0.11026 | -0.053404 | 0.11027 | 0.052907 | 3.5383e-07 | -0.00049643 | 0.0035549 | 0.0035486 | 0.0035549 | 0.9949 | -0.029198 | 0.9949 | -0.029225 | 1.6159
64 | -0.1265 | -0.060597 | 0.1265 | 0.05627 | 4.0176e-06 | -0.004327 | 0.0040751 | 0.0040224 | 0.0040751 | 0.99358 | -0.030775 | 0.99361 | -0.031023 | 1.8523
65 | 0.1265 | 0.060597 | -0.1265 | -0.061265 | 6.2973e-07 | -0.00066794 | 0.0040751 | 0.0040836 | 0.0040836 | 0.99358 | -0.030775 | 0.99358 | -0.030732 | 1.8562
66 | 0.27475 | 0.1151 | -0.27471 | -0.12419 | 3.9106e-05 | -0.0090964 | 0.0086544 | 0.00876 | 0.00876 | 0.99361 | -0.031023 | 0.99348 | -0.030071 | 3.9818
67 | -0.40125 | -0.17137 | 0.40126 | 0.17032 | 9.5174e-06 | -0.001044 | 0.012676 | 0.012664 | 0.012676 | 0.99361 | -0.031023 | 0.99363 | -0.031171 | 5.7619
68 | 1.716 | 0.76544 | -1.716 | -0.76576 | 5.7075e-05 | -0.00032258 | 0.054535 | 0.054539 | 0.054539 | 0.99463 | -0.032805 | 0.9946 | -0.032568 | 24.7906
69 | 1.5351 | 0.67817 | -1.5349 | -0.6781 | 0.00020078 | 6.9682e-05 | 0.04871 | 0.048711 | 0.048711 | 0.9946 | -0.032568 | 0.99446 | -0.033725 | 23.1958
70 | 0.27471 | 0.12419 | -0.27469 | -0.12435 | 1.9116e-05 | -0.00015271 | 0.00876 | 0.008762 | 0.008762 | 0.99348 | -0.030071 | 0.9934 | -0.030647 | 4.1724
71 | -0.51179 | -0.22386 | 0.51189 | 0.22366 | 0.00010484 | -0.00019778 | 0.016229 | 0.016226 | 0.016229 | 0.99363 | -0.031171 | 0.99385 | -0.029307 | 7.728
72 | 0.1752 | 0.07616 | -0.17519 | -0.077404 | 2.1805e-06 | -0.0012449 | 0.0055513 | 0.0055658 | 0.0055658 | 0.9934 | -0.030647 | 0.99339 | -0.030562 | 2.5299
73 | 0.17519 | 0.077404 | -0.17518 | -0.083087 | 1.0101e-05 | -0.0056821 | 0.0055658 | 0.0056346 | 0.0056346 | 0.99339 | -0.030562 | 0.99334 | -0.030121 | 2.5612
74 | 0.071438 | 0.033012 | -0.071437 | -0.034599 | 4.7434e-07 | -0.0015867 | 0.002287 | 0.0023067 | 0.0023067 | 0.99334 | -0.030121 | 0.99333 | -0.030066 | 1.0485
75 | 0.10375 | 0.050075 | -0.10374 | -0.050246 | 2.9294e-06 | -0.00017085 | 0.0033478 | 0.00335 | 0.00335 | 0.99334 | -0.030121 | 0.99331 | -0.030308 | 1.5952
76 | -0.051748 | -0.025063 | 0.051748 | 0.024109 | 1.4587e-07 | -0.00095371 | 0.0016598 | 0.001648 | 0.0016598 | 1 | 2.3517e-05 | 1 | 0 | 0.75446
77 | 5.5945 | 2.4229 | -5.5867 | -2.4351 | 0.007767 | -0.012118 | 0.17599 | 0.1762 | 0.1762 | 1 | 0 | 0.99846 | -0.019568 | 48.6739
78 | 1.4181 | 0.62153 | -1.418 | -0.62276 | 0.00014512 | -0.001227 | 0.044946 | 0.044961 | 0.044961 | 0.99446 | -0.033725 | 0.99436 | -0.033026 | 20.4369
79 | 1.418 | 0.62276 | -1.4176 | -0.62646 | 0.00043769 | -0.0036941 | 0.044961 | 0.045006 | 0.045006 | 0.99436 | -0.033026 | 0.99407 | -0.030894 | 20.4573
80 | 0.13675 | 0.066178 | -0.13675 | -0.06623 | 1.5571e-06 | -5.1985e-05 | 0.0044118 | 0.0044124 | 0.0044124 | 0.99407 | -0.030894 | 0.99406 | -0.03097 | 2.1012
81 | 1.2808 | 0.56028 | -1.2805 | -0.56305 | 0.00026621 | -0.0027728 | 0.040597 | 0.04063 | 0.04063 | 0.99407 | -0.030894 | 0.99387 | -0.029477 | 18.4684
82 | -0.090626 | -0.043892 | 0.090627 | 0.043823 | 8.9415e-07 | -6.8572e-05 | 0.0029255 | 0.0029246 | 0.0029255 | 0.99361 | -0.028685 | 0.99362 | -0.02862 | 1.3931
83 | -0.090627 | -0.043823 | 0.09063 | 0.037428 | 3.016e-06 | -0.0063958 | 0.0029246 | 0.0028486 | 0.0029246 | 0.99362 | -0.02862 | 0.99366 | -0.02886 | 1.3294
84 | 0.43495 | 0.18967 | -0.43482 | -0.20154 | 0.00012948 | -0.011869 | 0.013785 | 0.013927 | 0.013927 | 0.99366 | -0.02886 | 0.99338 | -0.026687 | 6.3305
85 | -0.52558 | -0.2271 | 0.52561 | 0.22705 | 2.9195e-05 | -5.1531e-05 | 0.016633 | 0.016633 | 0.016633 | 0.99366 | -0.02886 | 0.99372 | -0.028339 | 7.9207
86 | 0.43482 | 0.20154 | -0.4348 | -0.20282 | 1.41e-05 | -0.0012772 | 0.013927 | 0.013943 | 0.013943 | 0.99338 | -0.026687 | 0.99335 | -0.02643 | 6.3376
87 | -0.6298 | -0.27751 | 0.62984 | 0.27599 | 3.4602e-05 | -0.00152 | 0.019993 | 0.019975 | 0.019993 | 0.99372 | -0.028339 | 0.99377 | -0.028716 | 9.0878
88 | 0.28205 | 0.12884 | -0.28205 | -0.13011 | 5.8967e-06 | -0.0012775 | 0.0090114 | 0.0090269 | 0.0090269 | 0.99335 | -0.02643 | 0.99333 | -0.026269 | 4.1031
89 | -0.65062 | -0.29084 | 0.65063 | 0.29021 | 1.5406e-05 | -0.00063083 | 0.0207 | 0.020693 | 0.0207 | 0.99385 | -0.029307 | 0.99387 | -0.029477 | 9.4091
90 | 0.62991 | 0.27284 | -0.62984 | -0.27599 | 7.1573e-05 | -0.0031532 | 0.019938 | 0.019975 | 0.019975 | 0.99387 | -0.029477 | 0.99377 | -0.028716 | 9.0797
91 | 0.28205 | 0.13011 | -0.28203 | -0.1338 | 1.7127e-05 | -0.0036854 | 0.0090269 | 0.0090723 | 0.0090723 | 0.99333 | -0.026269 | 0.99327 | -0.02578 | 4.1238
92 | 0.1912 | 0.090224 | -0.1912 | -0.090538 | 6.737e-07 | -0.00031447 | 0.0061444 | 0.0061483 | 0.0061483 | 0.99327 | -0.02578 | 0.99327 | -0.025751 | 2.7947
93 | 0.090834 | 0.043576 | -0.090834 | -0.043993 | 2.0274e-07 | -0.00041645 | 0.002928 | 0.0029332 | 0.0029332 | 0.99327 | -0.02578 | 0.99327 | -0.025761 | 1.3333
94 | 0.1912 | 0.090538 | -0.19119 | -0.092599 | 4.4355e-06 | -0.0020603 | 0.0061483 | 0.0061742 | 0.0061742 | 0.99327 | -0.025751 | 0.99325 | -0.025554 | 2.8065
95 | 0.05257 | 0.024122 | -0.052569 | -0.025461 | 2.2116e-07 | -0.0013384 | 0.0016901 | 0.0017067 | 0.0017067 | 0.98795 | -0.011593 | 0.98794 | -0.011558 | 0.77579

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.6602 | 2.4575

## res_load
| p_mw | q_mvar
0 | 0.091407 | 0.04427
1 | 0.11018 | 0.053364
2 | 0.1363 | 0.066011
3 | 0.11118 | 0.053846
4 | 0.13484 | 0.065304
5 | 0.11548 | 0.055927
6 | 0.12651 | 0.061273
7 | 0.11711 | 0.056721
8 | 0.11068 | 0.053605
9 | 0.13748 | 0.066584
10 | 0.1494 | 0.072359
11 | 0.15873 | 0.076875
12 | 0.088122 | 0.042679
13 | 0.059489 | 0.028812
14 | 0.080966 | 0.039214
15 | 0.15097 | 0.073116
16 | 0.077252 | 0.037415
17 | 0.15356 | 0.074373
18 | 0.14907 | 0.072199
19 | 0.10564 | 0.051162
20 | 0.13624 | 0.065986
21 | 0.1399 | 0.067758
22 | 0.13619 | 0.065959
23 | 0.13489 | 0.065329
24 | 0.097286 | 0.047118
25 | 0.14454 | 0.070002
26 | 0.11026 | 0.053404
27 | 0.1265 | 0.061265
28 | 0.18084 | 0.087585
29 | 0.11053 | 0.053533
30 | 0.099492 | 0.048186
31 | 0.071437 | 0.034599
32 | 0.10374 | 0.050246
33 | 0.051748 | 0.025063
34 | 0.1168 | 0.056568
35 | 0.090626 | 0.043892
36 | 0.1042 | 0.050464
37 | 0.15275 | 0.07398
38 | 0.13872 | 0.067186
39 | 0.13675 | 0.06623
40 | 0.16419 | 0.07952
41 | 0.090834 | 0.043993
42 | 0.19119 | 0.092599
43 | 0.19609 | 0.09497
44 | 0.052569 | 0.025461
45 | 0.16008 | 0.07753

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1