## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_40_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_40_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_40_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_40_0_node_37 | 20 | n |  | TRUE
4 | bus_MV_40_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_40_0_node_136 | 20 | n |  | TRUE
6 | bus_MV_40_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_40_0_node_128 | 20 | n |  | TRUE
8 | bus_MV_40_0_node_129 | 20 | n |  | TRUE
9 | bus_MV_40_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_40_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_40_0_node_15 | 20 | n |  | TRUE
12 | bus_MV_40_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_40_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_40_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_40_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_40_0_node_13 | 20 | n |  | TRUE
17 | bus_MV_40_0_node_14 | 20 | n |  | TRUE
18 | bus_MV_40_0_node_35 | 20 | n |  | TRUE
19 | bus_MV_40_0_node_16 | 20 | n |  | TRUE
20 | bus_MV_40_0_node_17 | 20 | n |  | TRUE
21 | bus_MV_40_0_node_18 | 20 | n |  | TRUE
22 | bus_MV_40_0_node_23 | 20 | n |  | TRUE
23 | bus_MV_40_0_node_135 | 20 | n |  | TRUE
24 | bus_MV_40_0_node_19 | 20 | n |  | TRUE
25 | bus_MV_40_0_node_21 | 20 | n |  | TRUE
26 | bus_MV_40_0_node_20 | 20 | n |  | TRUE
27 | bus_MV_40_0_node_22 | 20 | n |  | TRUE
28 | bus_MV_40_0_node_34 | 20 | n |  | TRUE
29 | bus_MV_40_0_node_24 | 20 | n |  | TRUE
30 | bus_MV_40_0_node_25 | 20 | n |  | TRUE
31 | bus_MV_40_0_node_28 | 20 | n |  | TRUE
32 | bus_MV_40_0_node_26 | 20 | n |  | TRUE
33 | bus_MV_40_0_node_27 | 20 | n |  | TRUE
34 | bus_MV_40_0_node_29 | 20 | n |  | TRUE
35 | bus_MV_40_0_node_30 | 20 | n |  | TRUE
36 | bus_MV_40_0_node_31 | 20 | n |  | TRUE
37 | bus_MV_40_0_node_32 | 20 | n |  | TRUE
38 | bus_MV_40_0_node_36 | 20 | n |  | TRUE
39 | bus_HV_40_0_node_19 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_40_0_load_0 | 0 | 0.15865 | 0.076839 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_40_0_load_136 | 5 | 0.10881 | 0.052697 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_40_0_load_128 | 7 | 0.2724 | 0.13193 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_40_0_load_129 | 8 | 0.11896 | 0.057617 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_40_0_load_5 | 10 | 0.17247 | 0.083532 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_40_0_load_15 | 11 | 0.061992 | 0.030024 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_40_0_load_8 | 12 | 0.1073 | 0.051967 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_40_0_load_11 | 14 | 0.23084 | 0.1118 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_40_0_load_12 | 15 | 0.35449 | 0.17169 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_40_0_load_35 | 18 | 0.38506 | 0.18649 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_40_0_load_23 | 22 | 0.061151 | 0.029617 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_40_0_load_135 | 23 | 0.39192 | 0.18982 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_40_0_load_19 | 24 | 0.33434 | 0.16193 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_40_0_load_21 | 25 | 0.076838 | 0.037214 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_40_0_load_34 | 28 | 0.33711 | 0.16327 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_40_0_load_24 | 29 | 0.21224 | 0.10279 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_40_0_load_28 | 31 | 0.18752 | 0.09082 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_40_0_load_32 | 37 | 0.20627 | 0.0999 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_40_0_load_36 | 38 | 0.14969 | 0.072496 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_40_0_line_0 |  | 0 | 1 | 0.087084 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_40_0_line_1 |  | 1 | 2 | 0.80212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_40_0_line_2 |  | 1 | 3 | 1.6676 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_40_0_line_3 |  | 2 | 6 | 0.11464 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_40_0_line_4 |  | 2 | 7 | 0.039435 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_40_0_line_5 |  | 2 | 4 | 0.53054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_40_0_line_6 |  | 3 | 38 | 0.046128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_40_0_line_7 |  | 4 | 5 | 0.09341 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_40_0_line_8 |  | 6 | 8 | 0.065024 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_40_0_line_9 |  | 6 | 9 | 0.2234 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_40_0_line_10 |  | 9 | 10 | 0.045302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_40_0_line_11 |  | 10 | 11 | 1.7446 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_40_0_line_12 |  | 11 | 19 | 0.14066 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_40_0_line_13 |  | 11 | 13 | 0.95362 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_40_0_line_14 |  | 12 | 13 | 0.049899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_40_0_line_15 |  | 14 | 15 | 0.3069 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_40_0_line_16 |  | 15 | 16 | 0.11043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_40_0_line_17 |  | 16 | 17 | 0.30145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_40_0_line_18 |  | 17 | 18 | 0.081652 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_40_0_line_19 |  | 18 | 33 | 0.077859 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_40_0_line_20 |  | 19 | 20 | 0.86967 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_40_0_line_21 |  | 20 | 21 | 0.86504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_40_0_line_22 |  | 20 | 22 | 0.083675 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_40_0_line_23 |  | 21 | 23 | 0.043417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_40_0_line_24 |  | 23 | 36 | 0.1443 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_40_0_line_25 |  | 24 | 25 | 0.044223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_40_0_line_26 |  | 24 | 26 | 0.16208 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_40_0_line_27 |  | 26 | 27 | 0.21347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_40_0_line_28 |  | 27 | 28 | 0.042334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_40_0_line_29 |  | 28 | 32 | 0.048802 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_40_0_line_30 |  | 29 | 30 | 0.071405 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_40_0_line_31 |  | 29 | 31 | 0.33507 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_40_0_line_32 |  | 30 | 32 | 0.095274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_40_0_line_33 |  | 30 | 33 | 0.57366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_40_0_line_34 |  | 31 | 34 | 0.019038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_40_0_line_35 |  | 34 | 35 | 0.23974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_40_0_line_36 |  | 34 | 36 | 0.79778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_40_0_line_37 |  | 35 | 37 | 0.092911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_40_0_trafo_19 | 25 MVA 110/20 kV | 39 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2744002.67 | 1247928.0141
1 | 2744003.5151 | 1248015.0936
2 | 2743884.3128 | 1248734.9047
3 | 2745647.0873 | 1248297.1363
4 | 2743754.6537 | 1248347.4089
5 | 2743688.0009 | 1248281.9656
6 | 2743951.5172 | 1248743.4663
7 | 2743872.2423 | 1248772.4468
8 | 2743971.4453 | 1248701.5777
9 | 2744025.3235 | 1248954.3226
10 | 2744069.3954 | 1248943.8392
11 | 2744518.4727 | 1250629.6312
12 | 2743523.4749 | 1250704.0906
13 | 2743569.4773 | 1250723.4215
14 | 2746597.3893 | 1250795.7237
15 | 2746466.7511 | 1250518.0188
16 | 2746385.5168 | 1250454.9409
17 | 2746125.3715 | 1250552.9589
18 | 2746047.2054 | 1250577.2664
19 | 2744620.2196 | 1250726.7602
20 | 2744286.3246 | 1251409.2763
21 | 2744772.7775 | 1251495.522
22 | 2744350.0046 | 1251463.5562
23 | 2744814.2345 | 1251508.8142
24 | 2745316.6022 | 1250571.5472
25 | 2745290.5697 | 1250607.1783
26 | 2745476.9461 | 1250595.1808
27 | 2745459.1407 | 1250776.4153
28 | 2745466.9702 | 1250818.0135
29 | 2745575.087 | 1250920.4096
30 | 2745565.6347 | 1250849.6326
31 | 2745432.2381 | 1251223.5006
32 | 2745483.065 | 1250864.0855
33 | 2745978.3282 | 1250613.2814
34 | 2745413.3764 | 1251226.4628
35 | 2745272.2878 | 1251072.1787
36 | 2744920.7894 | 1251606.1223
37 | 2745195.7202 | 1251026.2032
38 | 2745669.0976 | 1248258.385
39 | 2745316.6022 | 1250571.5472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98628 | -0.019349 | 0.15865 | 0.076839
1 | 0.98631 | -0.019177 | 0 | 0
2 | 0.98662 | -0.021566 | 0 | 0
3 | 0.98582 | -0.022576 | 0 | 0
4 | 0.98655 | -0.021074 | 0 | 0
5 | 0.98653 | -0.021201 | 0.10881 | 0.052697
6 | 0.98672 | -0.022271 | 0 | 0
7 | 0.9866 | -0.021699 | 0.2724 | 0.13193
8 | 0.98671 | -0.022179 | 0.11896 | 0.057617
9 | 0.98707 | -0.019277 | 0 | 0
10 | 0.98714 | -0.018669 | 0.17247 | 0.083532
11 | 0.99043 | 0.0085235 | 0.061992 | 0.030024
12 | 0.99023 | 0.0071834 | 0.1073 | 0.051967
13 | 0.99023 | 0.00712 | 0 | 0
14 | 0.99578 | 0.0089597 | 0.23084 | 0.1118
15 | 0.99592 | 0.0098277 | 0.35449 | 0.17169
16 | 0.996 | 0.0090599 | 0 | 0
17 | 0.99623 | 0.0070591 | 0 | 0
18 | 0.99629 | 0.0065411 | 0.38506 | 0.18649
19 | 0.99074 | 0.011043 | 0 | 0
20 | 0.99202 | 0.0018058 | 0 | 0
21 | 0.99335 | -0.0068542 | 0 | 0
22 | 0.99201 | 0.0017426 | 0.061151 | 0.029617
23 | 0.99341 | -0.0072582 | 0.39192 | 0.18982
24 | 1 | 0 | -3.6328 | -1.6124
25 | 1 | 3.9165e-05 | 0.076838 | 0.037214
26 | 0.99891 | -0.0090101 | 0 | 0
27 | 0.99796 | -0.0019587 | 0 | 0
28 | 0.99777 | -0.00055043 | 0.33711 | 0.16327
29 | 0.99679 | -0.0028675 | 0.21224 | 0.10279
30 | 0.99709 | -0.00024674 | 0 | 0
31 | 0.99552 | -0.014312 | 0.18752 | 0.09082
32 | 0.99748 | -0.0030419 | 0 | 0
33 | 0.99638 | 0.0056953 | 0 | 0
34 | 0.99547 | -0.014031 | 0 | 0
35 | 0.99541 | -0.013512 | 0 | 0
36 | 0.99385 | -0.003353 | 0 | 0
37 | 0.99539 | -0.013287 | 0.20627 | 0.0999
38 | 0.98581 | -0.022493 | 0.14969 | 0.072496
39 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15865 | -0.076839 | 0.15866 | 0.076741 | 4.1295e-06 | -9.8544e-05 | 0.0051596 | 0.0051583 | 0.0051596 | 0.98628 | -0.019349 | 0.98631 | -0.019177 | 2.457
1 | -0.30841 | -0.14628 | 0.30852 | 0.12767 | 0.00010446 | -0.018606 | 0.0099906 | 0.0097693 | 0.0099906 | 0.98631 | -0.019177 | 0.98662 | -0.021566 | 4.5412
2 | 0.14976 | 0.069535 | -0.14969 | -0.071427 | 6.9733e-05 | -0.001892 | 0.0048326 | 0.0048567 | 0.0048567 | 0.98631 | -0.019177 | 0.98582 | -0.022576 | 2.3127
3 | -0.68974 | -0.29982 | 0.68981 | 0.29718 | 7.4002e-05 | -0.0026426 | 0.022005 | 0.021974 | 0.022005 | 0.98662 | -0.021566 | 0.98672 | -0.022271 | 10.0024
4 | 0.27241 | 0.13189 | -0.2724 | -0.13193 | 5.51e-06 | -4.2374e-05 | 0.0088553 | 0.0088559 | 0.0088559 | 0.98662 | -0.021566 | 0.9866 | -0.021699 | 4.2171
5 | 0.10882 | 0.040262 | -0.10881 | -0.052589 | 8.4865e-06 | -0.012327 | 0.0033948 | 0.0035362 | 0.0035362 | 0.98662 | -0.021566 | 0.98655 | -0.021074 | 1.6074
6 | 0.14969 | 0.071427 | -0.14969 | -0.072496 | 1.4566e-06 | -0.0010699 | 0.0048567 | 0.0048703 | 0.0048703 | 0.98582 | -0.022576 | 0.98581 | -0.022493 | 2.2138
7 | 0.10881 | 0.052589 | -0.10881 | -0.052697 | 2.0819e-06 | -0.00010723 | 0.0035362 | 0.0035376 | 0.0035376 | 0.98655 | -0.021074 | 0.98653 | -0.021201 | 1.6846
8 | 0.11896 | 0.056105 | -0.11896 | -0.057617 | 1.2917e-06 | -0.0015112 | 0.0038481 | 0.0038671 | 0.0038671 | 0.98672 | -0.022271 | 0.98671 | -0.022179 | 1.7578
9 | -0.80878 | -0.35328 | 0.80905 | 0.35319 | 0.00026534 | -9.3555e-05 | 0.02582 | 0.025817 | 0.02582 | 0.98672 | -0.022271 | 0.98707 | -0.019277 | 12.2955
10 | -0.80905 | -0.35319 | 0.8091 | 0.35317 | 5.3798e-05 | -1.8998e-05 | 0.025817 | 0.025817 | 0.025817 | 0.98707 | -0.019277 | 0.98714 | -0.018669 | 12.294
11 | -0.98157 | -0.4367 | 0.98464 | 0.43659 | 0.0030657 | -0.00011598 | 0.031417 | 0.031393 | 0.031417 | 0.98714 | -0.018669 | 0.99043 | 0.0085235 | 14.9606
12 | -1.1539 | -0.5163 | 1.1543 | 0.51635 | 0.00034024 | 4.8337e-05 | 0.036846 | 0.036845 | 0.036846 | 0.99043 | 0.0085235 | 0.99074 | 0.011043 | 17.5459
13 | 0.10732 | 0.049695 | -0.1073 | -0.050799 | 2.0269e-05 | -0.0011038 | 0.003447 | 0.0034608 | 0.0034608 | 0.99043 | 0.0085235 | 0.99023 | 0.00712 | 1.648
14 | -0.1073 | -0.051967 | 0.1073 | 0.050799 | 8.0126e-07 | -0.001168 | 0.0034756 | 0.0034608 | 0.0034756 | 0.99023 | 0.0071834 | 0.99023 | 0.00712 | 1.5798
15 | -0.23084 | -0.1118 | 0.23087 | 0.11145 | 3.0211e-05 | -0.00034442 | 0.0074354 | 0.0074308 | 0.0074354 | 0.99578 | 0.0089597 | 0.99592 | 0.0098277 | 3.5407
16 | -0.58536 | -0.28314 | 0.58541 | 0.28054 | 5.2279e-05 | -0.0025999 | 0.018848 | 0.018815 | 0.018848 | 0.99592 | 0.0098277 | 0.996 | 0.0090599 | 8.5672
17 | -0.58541 | -0.28054 | 0.58555 | 0.27344 | 0.00014179 | -0.0070996 | 0.018815 | 0.018726 | 0.018815 | 0.996 | 0.0090599 | 0.99623 | 0.0070591 | 8.5522
18 | -0.58555 | -0.27344 | 0.58559 | 0.27152 | 3.8177e-05 | -0.0019236 | 0.018726 | 0.018703 | 0.018726 | 0.99623 | 0.0070591 | 0.99629 | 0.0065411 | 8.512
19 | -0.97065 | -0.45801 | 0.97075 | 0.4562 | 0.00010045 | -0.0018156 | 0.031098 | 0.031076 | 0.031098 | 0.99629 | 0.0065411 | 0.99638 | 0.0056953 | 14.1356
20 | -1.1543 | -0.51635 | 1.1559 | 0.49641 | 0.0015658 | -0.019943 | 0.036845 | 0.036606 | 0.036845 | 0.99074 | 0.011043 | 0.99202 | 0.0018058 | 16.7475
21 | -1.217 | -0.52593 | 1.2187 | 0.50608 | 0.0017085 | -0.019846 | 0.03858 | 0.038349 | 0.03858 | 0.99202 | 0.0018058 | 0.99335 | -0.0068542 | 17.5364
22 | 0.061152 | 0.029519 | -0.061151 | -0.029617 | 5.8246e-07 | -9.7937e-05 | 0.001976 | 0.0019772 | 0.0019772 | 0.99202 | 0.0018058 | 0.99201 | 0.0017426 | 0.94154
23 | -1.2187 | -0.50608 | 1.2188 | 0.50509 | 8.5217e-05 | -0.00099767 | 0.038349 | 0.038338 | 0.038349 | 0.99335 | -0.0068542 | 0.99341 | -0.0072582 | 17.4315
24 | -1.6107 | -0.6949 | 1.6114 | 0.69515 | 0.00066806 | 0.00024837 | 0.050976 | 0.050974 | 0.050976 | 0.99341 | -0.0072582 | 0.99385 | -0.003353 | 24.2742
25 | 0.076838 | 0.036159 | -0.076838 | -0.037214 | 3.5669e-07 | -0.0010558 | 0.0024515 | 0.0024646 | 0.0024646 | 1 | 0 | 1 | 3.9165e-05 | 1.1203
26 | 3.542 | 1.5657 | -3.5384 | -1.5636 | 0.003609 | 0.0020673 | 0.11179 | 0.11179 | 0.11179 | 1 | 0 | 0.99891 | -0.0090101 | 53.2353
27 | 3.5384 | 1.5636 | -3.5348 | -1.5677 | 0.0035636 | -0.0040239 | 0.11179 | 0.11185 | 0.11185 | 0.99891 | -0.0090101 | 0.99796 | -0.0019587 | 50.8425
28 | 3.5348 | 1.5677 | -3.5341 | -1.5685 | 0.00070716 | -0.0007967 | 0.11185 | 0.11187 | 0.11187 | 0.99796 | -0.0019587 | 0.99777 | -0.00055043 | 50.8479
29 | 3.197 | 1.4052 | -3.1961 | -1.4047 | 0.00088761 | 0.00049799 | 0.10104 | 0.10104 | 0.10104 | 0.99777 | -0.00055043 | 0.99748 | -0.0030419 | 48.1122
30 | -2.2227 | -0.96345 | 2.2233 | 0.96376 | 0.00062618 | 0.00030749 | 0.070157 | 0.070156 | 0.070157 | 0.99679 | -0.0028675 | 0.99709 | -0.00024674 | 33.4079
31 | 2.0104 | 0.86065 | -2.008 | -0.85955 | 0.0023948 | 0.0011031 | 0.063334 | 0.063338 | 0.063338 | 0.99679 | -0.0028675 | 0.99552 | -0.014312 | 30.1611
32 | -3.1948 | -1.4066 | 3.1961 | 1.4047 | 0.0012987 | -0.0018772 | 0.10106 | 0.10104 | 0.10106 | 0.99709 | -0.00024674 | 0.99748 | -0.0030419 | 45.9373
33 | 0.97148 | 0.44281 | -0.97075 | -0.4562 | 0.0007356 | -0.013389 | 0.03091 | 0.031076 | 0.031076 | 0.99709 | -0.00024674 | 0.99638 | 0.0056953 | 14.1253
34 | 1.8205 | 0.76873 | -1.8204 | -0.76916 | 8.3466e-05 | -0.00042571 | 0.057304 | 0.057309 | 0.057309 | 0.99552 | -0.014312 | 0.99547 | -0.014031 | 26.0495
35 | 0.20629 | 0.092036 | -0.20627 | -0.097704 | 1.3876e-05 | -0.005668 | 0.0065505 | 0.0066192 | 0.0066192 | 0.99547 | -0.014031 | 0.99541 | -0.013512 | 3.0087
36 | 1.6141 | 0.67712 | -1.6114 | -0.69515 | 0.0027557 | -0.018028 | 0.05076 | 0.050974 | 0.050974 | 0.99547 | -0.014031 | 0.99385 | -0.003353 | 23.17
37 | 0.20627 | 0.097704 | -0.20627 | -0.0999 | 5.457e-06 | -0.0021964 | 0.0066192 | 0.0066467 | 0.0066467 | 0.99541 | -0.013512 | 0.99539 | -0.013287 | 3.0212

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.9671 | 1.7743

## res_load
| p_mw | q_mvar
0 | 0.15865 | 0.076839
1 | 0.10881 | 0.052697
2 | 0.2724 | 0.13193
3 | 0.11896 | 0.057617
4 | 0.17247 | 0.083532
5 | 0.061992 | 0.030024
6 | 0.1073 | 0.051967
7 | 0.23084 | 0.1118
8 | 0.35449 | 0.17169
9 | 0.38506 | 0.18649
10 | 0.061151 | 0.029617
11 | 0.39192 | 0.18982
12 | 0.33434 | 0.16193
13 | 0.076838 | 0.037214
14 | 0.33711 | 0.16327
15 | 0.21224 | 0.10279
16 | 0.18752 | 0.09082
17 | 0.20627 | 0.0999
18 | 0.14969 | 0.072496

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1