## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_40_1_node_134 | 20 | n |  | TRUE
1 | bus_MV_40_1_node_76 | 20 | n |  | TRUE
2 | bus_MV_40_1_node_44 | 20 | n |  | TRUE
3 | bus_MV_40_1_node_74 | 20 | n |  | TRUE
4 | bus_MV_40_1_node_42 | 20 | n |  | TRUE
5 | bus_MV_40_1_node_50 | 20 | n |  | TRUE
6 | bus_MV_40_1_node_38 | 20 | n |  | TRUE
7 | bus_MV_40_1_node_39 | 20 | n |  | TRUE
8 | bus_MV_40_1_node_40 | 20 | n |  | TRUE
9 | bus_MV_40_1_node_61 | 20 | n |  | TRUE
10 | bus_MV_40_1_node_60 | 20 | n |  | TRUE
11 | bus_MV_40_1_node_62 | 20 | n |  | TRUE
12 | bus_MV_40_1_node_93 | 20 | n |  | TRUE
13 | bus_MV_40_1_node_63 | 20 | n |  | TRUE
14 | bus_MV_40_1_node_90 | 20 | n |  | TRUE
15 | bus_MV_40_1_node_83 | 20 | n |  | TRUE
16 | bus_MV_40_1_node_80 | 20 | n |  | TRUE
17 | bus_MV_40_1_node_41 | 20 | n |  | TRUE
18 | bus_MV_40_1_node_45 | 20 | n |  | TRUE
19 | bus_MV_40_1_node_43 | 20 | n |  | TRUE
20 | bus_MV_40_1_node_46 | 20 | n |  | TRUE
21 | bus_MV_40_1_node_77 | 20 | n |  | TRUE
22 | bus_MV_40_1_node_137 | 20 | n |  | TRUE
23 | bus_MV_40_1_node_130 | 20 | n |  | TRUE
24 | bus_MV_40_1_node_67 | 20 | n |  | TRUE
25 | bus_MV_40_1_node_68 | 20 | n |  | TRUE
26 | bus_MV_40_1_node_125 | 20 | n |  | TRUE
27 | bus_MV_40_1_node_126 | 20 | n |  | TRUE
28 | bus_MV_40_1_node_66 | 20 | n |  | TRUE
29 | bus_MV_40_1_node_127 | 20 | n |  | TRUE
30 | bus_MV_40_1_node_47 | 20 | n |  | TRUE
31 | bus_MV_40_1_node_52 | 20 | n |  | TRUE
32 | bus_MV_40_1_node_48 | 20 | n |  | TRUE
33 | bus_MV_40_1_node_53 | 20 | n |  | TRUE
34 | bus_MV_40_1_node_75 | 20 | n |  | TRUE
35 | bus_MV_40_1_node_54 | 20 | n |  | TRUE
36 | bus_MV_40_1_node_117 | 20 | n |  | TRUE
37 | bus_MV_40_1_node_133 | 20 | n |  | TRUE
38 | bus_MV_40_1_node_115 | 20 | n |  | TRUE
39 | bus_MV_40_1_node_99 | 20 | n |  | TRUE
40 | bus_MV_40_1_node_100 | 20 | n |  | TRUE
41 | bus_MV_40_1_node_122 | 20 | n |  | TRUE
42 | bus_MV_40_1_node_98 | 20 | n |  | TRUE
43 | bus_MV_40_1_node_96 | 20 | n |  | TRUE
44 | bus_MV_40_1_node_55 | 20 | n |  | TRUE
45 | bus_MV_40_1_node_57 | 20 | n |  | TRUE
46 | bus_MV_40_1_node_59 | 20 | n |  | TRUE
47 | bus_MV_40_1_node_119 | 20 | n |  | TRUE
48 | bus_MV_40_1_node_56 | 20 | n |  | TRUE
49 | bus_MV_40_1_node_124 | 20 | n |  | TRUE
50 | bus_MV_40_1_node_120 | 20 | n |  | TRUE
51 | bus_MV_40_1_node_58 | 20 | n |  | TRUE
52 | bus_MV_40_1_node_84 | 20 | n |  | TRUE
53 | bus_MV_40_1_node_118 | 20 | n |  | TRUE
54 | bus_MV_40_1_node_123 | 20 | n |  | TRUE
55 | bus_MV_40_1_node_85 | 20 | n |  | TRUE
56 | bus_MV_40_1_node_116 | 20 | n |  | TRUE
57 | bus_MV_40_1_node_94 | 20 | n |  | TRUE
58 | bus_MV_40_1_node_91 | 20 | n |  | TRUE
59 | bus_MV_40_1_node_88 | 20 | n |  | TRUE
60 | bus_MV_40_1_node_79 | 20 | n |  | TRUE
61 | bus_MV_40_1_node_64 | 20 | n |  | TRUE
62 | bus_MV_40_1_node_65 | 20 | n |  | TRUE
63 | bus_MV_40_1_node_71 | 20 | n |  | TRUE
64 | bus_MV_40_1_node_73 | 20 | n |  | TRUE
65 | bus_MV_40_1_node_69 | 20 | n |  | TRUE
66 | bus_MV_40_1_node_70 | 20 | n |  | TRUE
67 | bus_MV_40_1_node_72 | 20 | n |  | TRUE
68 | bus_MV_40_1_node_95 | 20 | n |  | TRUE
69 | bus_MV_40_1_node_82 | 20 | n |  | TRUE
70 | bus_MV_40_1_node_78 | 20 | n |  | TRUE
71 | bus_MV_40_1_node_81 | 20 | n |  | TRUE
72 | bus_MV_40_1_node_86 | 20 | n |  | TRUE
73 | bus_MV_40_1_node_111 | 20 | n |  | TRUE
74 | bus_MV_40_1_node_89 | 20 | n |  | TRUE
75 | bus_MV_40_1_node_87 | 20 | n |  | TRUE
76 | bus_MV_40_1_node_113 | 20 | n |  | TRUE
77 | bus_MV_40_1_node_112 | 20 | n |  | TRUE
78 | bus_MV_40_1_node_114 | 20 | n |  | TRUE
79 | bus_MV_40_1_node_102 | 20 | n |  | TRUE
80 | bus_MV_40_1_node_103 | 20 | n |  | TRUE
81 | bus_MV_40_1_node_92 | 20 | n |  | TRUE
82 | bus_MV_40_1_node_110 | 20 | n |  | TRUE
83 | bus_MV_40_1_node_109 | 20 | n |  | TRUE
84 | bus_MV_40_1_node_97 | 20 | n |  | TRUE
85 | bus_MV_40_1_node_101 | 20 | n |  | TRUE
86 | bus_MV_40_1_node_121 | 20 | n |  | TRUE
87 | bus_MV_40_1_node_104 | 20 | n |  | TRUE
88 | bus_MV_40_1_node_131 | 20 | n |  | TRUE
89 | bus_MV_40_1_node_108 | 20 | n |  | TRUE
90 | bus_MV_40_1_node_132 | 20 | n |  | TRUE
91 | bus_MV_40_1_node_105 | 20 | n |  | TRUE
92 | bus_MV_40_1_node_106 | 20 | n |  | TRUE
93 | bus_MV_40_1_node_107 | 20 | n |  | TRUE
94 | bus_HV_40_1_node_72 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_40_1_load_134 | 0 | 0.40205 | 0.19472 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_40_1_load_74 | 3 | 0.37286 | 0.18058 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_40_1_load_38 | 6 | 0.33503 | 0.16226 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_40_1_load_60 | 10 | 0.23414 | 0.1134 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_40_1_load_93 | 12 | 0.35896 | 0.17385 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_40_1_load_90 | 14 | 0.24493 | 0.11863 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_40_1_load_83 | 15 | 0.2728 | 0.13212 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_40_1_load_41 | 17 | 0.36397 | 0.17628 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_40_1_load_77 | 21 | 0.21519 | 0.10422 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_40_1_load_137 | 22 | 0.34393 | 0.16657 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_40_1_load_130 | 23 | 0.41369 | 0.20036 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_40_1_load_125 | 26 | 0.3277 | 0.15871 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_40_1_load_127 | 29 | 0.22946 | 0.11113 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_40_1_load_47 | 30 | 0.40386 | 0.1956 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_40_1_load_52 | 31 | 0.32398 | 0.15691 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_40_1_load_53 | 33 | 0.07329 | 0.035496 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_40_1_load_75 | 34 | 0.23736 | 0.11496 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_40_1_load_117 | 36 | 0.11131 | 0.053911 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_40_1_load_133 | 37 | 0.29967 | 0.14514 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_40_1_load_115 | 38 | 0.083861 | 0.040616 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_40_1_load_98 | 42 | 0.2241 | 0.10853 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_40_1_load_119 | 47 | 0.19587 | 0.094866 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_40_1_load_124 | 49 | 0.12951 | 0.062726 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_40_1_load_120 | 50 | 0.16154 | 0.078237 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_40_1_load_84 | 52 | 0.15445 | 0.074804 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_40_1_load_118 | 53 | 0.27726 | 0.13428 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_40_1_load_94 | 57 | 0.14014 | 0.067874 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_40_1_load_64 | 61 | 0.21565 | 0.10445 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_40_1_load_69 | 65 | 0.35662 | 0.17272 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_40_1_load_95 | 68 | 0.4127 | 0.19988 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_40_1_load_82 | 69 | 0.21219 | 0.10277 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_40_1_load_78 | 70 | 0.37618 | 0.18219 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_40_1_load_111 | 73 | 0.074534 | 0.036098 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_40_1_load_112 | 77 | 0.09763 | 0.047284 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_40_1_load_114 | 78 | 0.13858 | 0.067117 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_40_1_load_102 | 79 | 0.071135 | 0.034452 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_40_1_load_110 | 82 | 0.094398 | 0.045719 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_40_1_load_109 | 83 | 0.16158 | 0.078256 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_40_1_load_101 | 85 | 0.19612 | 0.094983 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_40_1_load_121 | 86 | 0.20011 | 0.096918 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_40_1_load_108 | 89 | 0.38411 | 0.18603 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_40_1_load_132 | 90 | 0.16174 | 0.078333 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_40_1_load_105 | 91 | 0.44858 | 0.21726 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_40_1_load_106 | 92 | 0.075882 | 0.036751 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_40_1_line_0 |  | 0 | 1 | 0.020098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_40_1_line_1 |  | 1 | 5 | 0.43549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_40_1_line_2 |  | 2 | 3 | 0.061553 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_40_1_line_3 |  | 2 | 4 | 1.2326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_40_1_line_4 |  | 4 | 18 | 0.76966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_40_1_line_5 |  | 4 | 17 | 0.093036 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_40_1_line_6 |  | 5 | 34 | 0.0062949 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_40_1_line_7 |  | 5 | 32 | 0.16718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_40_1_line_8 |  | 6 | 7 | 0.062294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_40_1_line_9 |  | 7 | 8 | 0.11841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_40_1_line_10 |  | 8 | 9 | 0.23544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_40_1_line_11 |  | 8 | 10 | 0.012493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_40_1_line_12 |  | 9 | 11 | 0.35123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_40_1_line_13 |  | 9 | 12 | 0.080116 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_40_1_line_14 |  | 11 | 13 | 0.31086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_40_1_line_15 |  | 11 | 14 | 0.0488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_40_1_line_16 |  | 12 | 57 | 0.039988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_40_1_line_17 |  | 13 | 15 | 0.022207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_40_1_line_18 |  | 13 | 16 | 0.012589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_40_1_line_19 |  | 14 | 58 | 0.059876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_40_1_line_20 |  | 15 | 59 | 0.026583 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_40_1_line_21 |  | 16 | 60 | 0.12845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_40_1_line_22 |  | 18 | 20 | 1.1034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_40_1_line_23 |  | 18 | 22 | 0.085007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_40_1_line_24 |  | 19 | 20 | 0.75139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_40_1_line_25 |  | 19 | 21 | 0.0724 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_40_1_line_26 |  | 20 | 23 | 0.011139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_40_1_line_27 |  | 21 | 24 | 0.04672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_40_1_line_28 |  | 24 | 25 | 0.10966 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_40_1_line_29 |  | 24 | 26 | 0.052492 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_40_1_line_30 |  | 25 | 27 | 0.005576 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_40_1_line_31 |  | 25 | 28 | 0.20562 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_40_1_line_32 |  | 27 | 29 | 0.048805 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_40_1_line_33 |  | 28 | 62 | 0.099844 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_40_1_line_34 |  | 29 | 57 | 0.12615 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_40_1_line_35 |  | 30 | 31 | 0.21498 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_40_1_line_36 |  | 30 | 32 | 0.24396 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_40_1_line_37 |  | 31 | 33 | 0.22785 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_40_1_line_38 |  | 33 | 35 | 0.011184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_40_1_line_39 |  | 35 | 44 | 0.089628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_40_1_line_40 |  | 35 | 45 | 0.047706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_40_1_line_41 |  | 36 | 37 | 0.11192 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_40_1_line_42 |  | 36 | 38 | 0.07521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_40_1_line_43 |  | 38 | 56 | 0.050036 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_40_1_line_44 |  | 39 | 40 | 0.16767 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_40_1_line_45 |  | 39 | 41 | 0.13249 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_40_1_line_46 |  | 39 | 42 | 0.023391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_40_1_line_47 |  | 40 | 43 | 0.1013 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_40_1_line_48 |  | 41 | 54 | 0.10526 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_40_1_line_49 |  | 41 | 86 | 0.026201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_40_1_line_50 |  | 43 | 84 | 0.083714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_40_1_line_51 |  | 43 | 68 | 0.039473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_40_1_line_52 |  | 44 | 46 | 0.18078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_40_1_line_53 |  | 44 | 47 | 0.0069446 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_40_1_line_54 |  | 45 | 50 | 0.022223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_40_1_line_55 |  | 46 | 53 | 0.011904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_40_1_line_56 |  | 46 | 48 | 0.2056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_40_1_line_57 |  | 46 | 51 | 0.48409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_40_1_line_58 |  | 48 | 49 | 0.010027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_40_1_line_59 |  | 49 | 54 | 0.0063081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_40_1_line_60 |  | 51 | 52 | 0.044358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_40_1_line_61 |  | 52 | 55 | 0.025715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_40_1_line_62 |  | 53 | 56 | 0.06183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_40_1_line_63 |  | 55 | 75 | 0.05318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_40_1_line_64 |  | 58 | 81 | 0.32527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_40_1_line_65 |  | 59 | 74 | 0.31517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_40_1_line_66 |  | 60 | 71 | 0.15482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_40_1_line_67 |  | 60 | 70 | 0.089512 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_40_1_line_68 |  | 61 | 62 | 0.085241 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
69 | MV_40_1_line_69 |  | 61 | 63 | 0.073303 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
70 | MV_40_1_line_70 |  | 63 | 64 | 0.30173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_40_1_line_71 |  | 63 | 65 | 0.050142 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_40_1_line_72 |  | 64 | 69 | 0.051559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_40_1_line_73 |  | 65 | 66 | 0.048255 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
74 | MV_40_1_line_74 |  | 66 | 67 | 0.22069 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
75 | MV_40_1_line_75 |  | 67 | 68 | 0.1106 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_40_1_line_76 |  | 71 | 72 | 0.14894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_40_1_line_77 |  | 72 | 73 | 0.0717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_40_1_line_78 |  | 74 | 79 | 0.089025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_40_1_line_79 |  | 75 | 76 | 0.014733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_40_1_line_80 |  | 75 | 77 | 0.015833 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_40_1_line_81 |  | 76 | 78 | 0.031465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_40_1_line_82 |  | 79 | 80 | 0.064761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_40_1_line_83 |  | 80 | 87 | 0.083716 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_40_1_line_84 |  | 81 | 82 | 0.010098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_40_1_line_85 |  | 82 | 83 | 0.056375 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_40_1_line_86 |  | 83 | 93 | 0.024391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_40_1_line_87 |  | 84 | 85 | 0.016776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_40_1_line_88 |  | 87 | 88 | 0.063084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_40_1_line_89 |  | 87 | 89 | 0.01868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_40_1_line_90 |  | 88 | 90 | 0.245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_40_1_line_91 |  | 91 | 92 | 0.027021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_40_1_line_92 |  | 92 | 93 | 0.0049509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_40_1_trafo_72 | 25 MVA 110/20 kV | 94 | 67 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2743638.4861 | 1252252.4435
1 | 2743656.8116 | 1252260.8179
2 | 2745167.6627 | 1252533.9343
3 | 2745117.9153 | 1252570.2501
4 | 2745496.5069 | 1252933.3364
5 | 2743629.5661 | 1252539.7762
6 | 2744675.0129 | 1254043.6414
7 | 2744622.5056 | 1254077.3914
8 | 2744521.7629 | 1254023.826
9 | 2744673.6057 | 1253845.2403
10 | 2744519.4553 | 1254036.1036
11 | 2744464.1576 | 1253917.6642
12 | 2744616.0133 | 1253789.5476
13 | 2744386.3799 | 1253706.6449
14 | 2744424.0255 | 1253889.7256
15 | 2744373.3718 | 1253724.6672
16 | 2744376.2051 | 1253699.1899
17 | 2745448.0341 | 1252853.9261
18 | 2745171.7285 | 1253102.6304
19 | 2744917.6977 | 1253566.964
20 | 2745142.7359 | 1253581.4205
21 | 2744883.3455 | 1253630.6955
22 | 2745194.8585 | 1253020.8304
23 | 2745135.5443 | 1253589.9413
24 | 2744842.136 | 1253609.145
25 | 2744768.4582 | 1253635.1465
26 | 2744822.7573 | 1253657.9288
27 | 2744763.3025 | 1253632.9851
28 | 2744723.5397 | 1253511.5091
29 | 2744731.2175 | 1253669.8362
30 | 2743864.4942 | 1252816.5154
31 | 2743690.365 | 1252942.5866
32 | 2743663.9643 | 1252677.5736
33 | 2743881.8153 | 1253066.1277
34 | 2743624.4688 | 1252536.0825
35 | 2743876.8158 | 1253076.138
36 | 2743985.9412 | 1253037.4809
37 | 2744067.967 | 1252961.3413
38 | 2744050.3628 | 1253076.0717
39 | 2744344.4657 | 1253081.8969
40 | 2744461.3388 | 1253118.6694
41 | 2744319.5504 | 1253212.0245
42 | 2744367.2288 | 1253086.5377
43 | 2744541.9706 | 1253179.9944
44 | 2743941.4903 | 1253108.7733
45 | 2743904.1862 | 1253089.9492
46 | 2744068.9971 | 1253162.8016
47 | 2743947.6747 | 1253111.9325
48 | 2744218.7967 | 1253199.7036
49 | 2744227.5467 | 1253204.6
50 | 2743902.1915 | 1253076.1285
51 | 2744087.0256 | 1253505.4094
52 | 2744071.0911 | 1253546.6054
53 | 2744073.3211 | 1253151.7074
54 | 2744233.0515 | 1253207.6805
55 | 2744071.9704 | 1253572.1955
56 | 2744096.8624 | 1253094.548
57 | 2744643.7471 | 1253760.7403
58 | 2744389.6008 | 1253938.7775
59 | 2744357.8012 | 1253746.2416
60 | 2744275.6437 | 1253631.0195
61 | 2744581.2689 | 1253542.2977
62 | 2744655.5125 | 1253584.5726
63 | 2744616.2913 | 1253477.9024
64 | 2744398.0434 | 1253582.2332
65 | 2744649.965 | 1253442.1572
66 | 2744682.912 | 1253406.8171
67 | 2744543.4114 | 1253296.5736
68 | 2744577.4531 | 1253197.2655
69 | 2744438.0315 | 1253614.928
70 | 2744223.6912 | 1253703.9125
71 | 2744171.4594 | 1253612.0093
72 | 2744116.6136 | 1253741.1418
73 | 2744051.4972 | 1253711.1301
74 | 2744144.0878 | 1253966.8581
75 | 2744020.8509 | 1253587.3669
76 | 2744025.6971 | 1253601.0199
77 | 2744005.0747 | 1253588.7009
78 | 2744000.9383 | 1253620.5253
79 | 2744076.0007 | 1254011.266
80 | 2744082.0885 | 1254073.4176
81 | 2744304.288 | 1254097.9611
82 | 2744294.5467 | 1254095.3021
83 | 2744283.7791 | 1254150.6396
84 | 2744572.3828 | 1253105.9773
85 | 2744560.4441 | 1253094.9755
86 | 2744309.7177 | 1253236.31
87 | 2744119.2443 | 1254146.402
88 | 2744056.9335 | 1254157.0186
89 | 2744137.9757 | 1254146.8249
90 | 2744246.4987 | 1254236.73
91 | 2744227.6584 | 1254149.3464
92 | 2744254.6452 | 1254147.9904
93 | 2744259.5898 | 1254147.7419
94 | 2744543.4114 | 1253296.5736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99371 | 0.0048158 | 0.40205 | 0.19472
1 | 0.99372 | 0.0047183 | 0 | 0
2 | 0.99238 | -0.010811 | 0 | 0
3 | 0.99235 | -0.010536 | 0.37286 | 0.18058
4 | 0.99296 | -0.01512 | 0 | 0
5 | 0.99395 | 0.002755 | 0 | 0
6 | 0.99524 | -0.044034 | 0.33503 | 0.16226
7 | 0.99526 | -0.044283 | 0 | 0
8 | 0.99531 | -0.04474 | 0 | 0
9 | 0.99548 | -0.046247 | 0 | 0
10 | 0.99531 | -0.044705 | 0.23414 | 0.1134
11 | 0.99443 | -0.037505 | 0 | 0
12 | 0.99594 | -0.042877 | 0.35896 | 0.17385
13 | 0.9939 | -0.033219 | 0 | 0
14 | 0.99436 | -0.036935 | 0.24493 | 0.11863
15 | 0.99387 | -0.033011 | 0.2728 | 0.13212
16 | 0.99389 | -0.03316 | 0 | 0
17 | 0.9929 | -0.015536 | 0.36397 | 0.17628
18 | 0.99368 | -0.020027 | 0 | 0
19 | 0.9966 | -0.039551 | 0 | 0
20 | 0.99519 | -0.030061 | 0 | 0
21 | 0.99681 | -0.037649 | 0.21519 | 0.10422
22 | 0.99362 | -0.020386 | 0.34393 | 0.16657
23 | 0.99518 | -0.030005 | 0.41369 | 0.20036
24 | 0.99691 | -0.038331 | 0 | 0
25 | 0.99719 | -0.040349 | 0 | 0
26 | 0.99688 | -0.03854 | 0.3277 | 0.15871
27 | 0.99717 | -0.040129 | 0 | 0
28 | 0.99782 | -0.032906 | 0 | 0
29 | 0.99694 | -0.038203 | 0.22946 | 0.11113
30 | 0.99438 | 0.0038177 | 0.40386 | 0.1956
31 | 0.99482 | 0.0068379 | 0.32398 | 0.15691
32 | 0.99408 | 0.0015979 | 0 | 0
33 | 0.99542 | 0.010942 | 0.07329 | 0.035496
34 | 0.99394 | 0.0027368 | 0.23736 | 0.11496
35 | 0.99544 | 0.010758 | 0 | 0
36 | 0.99592 | 0.0065753 | 0.11131 | 0.053911
37 | 0.99585 | 0.006166 | 0.29967 | 0.14514
38 | 0.99595 | 0.0062074 | 0.083861 | 0.040616
39 | 0.99813 | 0.00053881 | 0 | 0
40 | 0.99888 | -0.0059487 | 0 | 0
41 | 0.99729 | -0.0053759 | 0 | 0
42 | 0.99812 | 0.00060134 | 0.2241 | 0.10853
43 | 0.99957 | -0.0011168 | 0 | 0
44 | 0.99562 | 0.0091285 | 0 | 0
45 | 0.99543 | 0.010848 | 0 | 0
46 | 0.99604 | 0.0054558 | 0 | 0
47 | 0.99562 | 0.0091448 | 0.19587 | 0.094866
48 | 0.99681 | -0.0012633 | 0 | 0
49 | 0.99685 | -0.0015891 | 0.12951 | 0.062726
50 | 0.99542 | 0.010891 | 0.16154 | 0.078237
51 | 0.9958 | 0.0074222 | 0 | 0
52 | 0.99577 | 0.0076202 | 0.15445 | 0.074804
53 | 0.99603 | 0.005563 | 0.27726 | 0.13428
54 | 0.99687 | -0.0018038 | 0 | 0
55 | 0.99577 | 0.0076885 | 0 | 0
56 | 0.99599 | 0.0059168 | 0 | 0
57 | 0.9961 | -0.044281 | 0.14014 | 0.067874
58 | 0.9943 | -0.036408 | 0 | 0
59 | 0.99385 | -0.032848 | 0 | 0
60 | 0.99382 | -0.032546 | 0 | 0
61 | 0.99839 | -0.026186 | 0.21565 | 0.10445
62 | 0.99813 | -0.029283 | 0 | 0
63 | 0.9989 | -0.012974 | 0 | 0
64 | 0.99882 | -0.012299 | 0 | 0
65 | 0.99906 | -0.011023 | 0.35662 | 0.17272
66 | 0.99923 | -0.009048 | 0 | 0
67 | 1 | 0 | -10.6701 | -4.9051
68 | 0.99975 | -0.0027225 | 0.4127 | 0.19988
69 | 0.9988 | -0.01217 | 0.21219 | 0.10277
70 | 0.99375 | -0.032958 | 0.37618 | 0.18219
71 | 0.9938 | -0.032476 | 0 | 0
72 | 0.99379 | -0.032375 | 0 | 0
73 | 0.99378 | -0.032314 | 0.074534 | 0.036098
74 | 0.9936 | -0.030838 | 0 | 0
75 | 0.99575 | 0.0078329 | 0 | 0
76 | 0.99575 | 0.0078567 | 0 | 0
77 | 0.99575 | 0.0078514 | 0.09763 | 0.047284
78 | 0.99574 | 0.0079085 | 0.13858 | 0.067117
79 | 0.99353 | -0.030243 | 0.071135 | 0.034452
80 | 0.99349 | -0.029858 | 0 | 0
81 | 0.99398 | -0.03345 | 0 | 0
82 | 0.99397 | -0.033355 | 0.094398 | 0.045719
83 | 0.99389 | -0.033835 | 0.16158 | 0.078256
84 | 0.99955 | -0.00092764 | 0 | 0
85 | 0.99954 | -0.00088846 | 0.19612 | 0.094983
86 | 0.99728 | -0.0053133 | 0.20011 | 0.096918
87 | 0.99343 | -0.029351 | 0 | 0
88 | 0.99342 | -0.029254 | 0 | 0
89 | 0.99342 | -0.029265 | 0.38411 | 0.18603
90 | 0.99337 | -0.028819 | 0.16174 | 0.078333
91 | 0.99386 | -0.033504 | 0.44858 | 0.21726
92 | 0.99387 | -0.03365 | 0.075882 | 0.036751
93 | 0.99388 | -0.033682 | 0 | 0
94 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.40205 | -0.19472 | 0.40206 | 0.19425 | 4.5166e-06 | -0.00047251 | 0.012977 | 0.012971 | 0.012977 | 0.99371 | 0.0048158 | 0.99372 | 0.0047183 | 5.8988
1 | -0.40206 | -0.19425 | 0.40215 | 0.18401 | 9.6856e-05 | -0.010241 | 0.012971 | 0.012844 | 0.012971 | 0.99372 | 0.0047183 | 0.99395 | 0.002755 | 5.8961
2 | 0.37287 | 0.17914 | -0.37286 | -0.18058 | 1.1917e-05 | -0.0014438 | 0.012033 | 0.012052 | 0.012052 | 0.99238 | -0.010811 | 0.99235 | -0.010536 | 5.478
3 | -0.37287 | -0.17914 | 0.3731 | 0.15021 | 0.00023133 | -0.028931 | 0.012033 | 0.011693 | 0.012033 | 0.99238 | -0.010811 | 0.99296 | -0.01512 | 5.4697
4 | -0.7371 | -0.32639 | 0.73766 | 0.30843 | 0.00055928 | -0.017966 | 0.023436 | 0.023228 | 0.023436 | 0.99296 | -0.01512 | 0.99368 | -0.020027 | 10.6527
5 | 0.364 | 0.17618 | -0.36397 | -0.17628 | 2.2914e-05 | -9.5149e-05 | 0.011757 | 0.011758 | 0.011758 | 0.99296 | -0.01512 | 0.9929 | -0.015536 | 5.599
6 | 0.23736 | 0.11495 | -0.23736 | -0.11496 | 6.58e-07 | -7.012e-06 | 0.0076595 | 0.0076596 | 0.0076596 | 0.99395 | 0.002755 | 0.99394 | 0.0027368 | 3.6474
7 | -0.63951 | -0.29896 | 0.6396 | 0.29504 | 9.3599e-05 | -0.0039163 | 0.020503 | 0.020455 | 0.020503 | 0.99395 | 0.002755 | 0.99408 | 0.0015979 | 9.3194
8 | -0.33503 | -0.16226 | 0.33504 | 0.16079 | 9.6791e-06 | -0.0014704 | 0.010798 | 0.010779 | 0.010798 | 0.99524 | -0.044034 | 0.99526 | -0.044283 | 4.908
9 | -0.33504 | -0.16079 | 0.33506 | 0.158 | 1.8307e-05 | -0.0027951 | 0.010779 | 0.010744 | 0.010779 | 0.99526 | -0.044283 | 0.99531 | -0.04474 | 4.8996
10 | -0.5692 | -0.2711 | 0.5693 | 0.26556 | 0.0001047 | -0.0055388 | 0.018286 | 0.018217 | 0.018286 | 0.99531 | -0.04474 | 0.99548 | -0.046247 | 8.3116
11 | 0.23414 | 0.1131 | -0.23414 | -0.1134 | 9.4903e-07 | -0.00029521 | 0.0075416 | 0.0075453 | 0.0075453 | 0.99531 | -0.04474 | 0.99531 | -0.044705 | 3.4297
12 | 2.3702 | 1.0855 | -2.3675 | -1.093 | 0.0026831 | -0.0075056 | 0.075596 | 0.075697 | 0.075697 | 0.99548 | -0.046247 | 0.99443 | -0.037505 | 34.4075
13 | -2.9395 | -1.351 | 2.9407 | 1.3517 | 0.0012562 | 0.00069203 | 0.093812 | 0.093811 | 0.093812 | 0.99548 | -0.046247 | 0.99594 | -0.042877 | 44.6725
14 | 1.3416 | 0.60808 | -1.3409 | -0.61519 | 0.00076037 | -0.0071102 | 0.04276 | 0.042849 | 0.042849 | 0.99443 | -0.037505 | 0.9939 | -0.033219 | 19.4767
15 | 1.0258 | 0.48489 | -1.0258 | -0.48602 | 7.0713e-05 | -0.0011312 | 0.032939 | 0.032953 | 0.032953 | 0.99443 | -0.037505 | 0.99436 | -0.036935 | 14.9786
16 | -3.2997 | -1.5256 | 3.3003 | 1.5248 | 0.00059264 | -0.00077137 | 0.10537 | 0.10536 | 0.10537 | 0.99594 | -0.042877 | 0.9961 | -0.044281 | 47.8953
17 | 0.8901 | 0.40916 | -0.89008 | -0.40967 | 2.4007e-05 | -0.00051663 | 0.028453 | 0.02846 | 0.02846 | 0.9939 | -0.033219 | 0.99387 | -0.033011 | 12.9362
18 | 0.45077 | 0.20603 | -0.45077 | -0.20633 | 3.4836e-06 | -0.00029588 | 0.014395 | 0.014399 | 0.014399 | 0.9939 | -0.033219 | 0.99389 | -0.03316 | 6.545
19 | 0.78084 | 0.36739 | -0.78079 | -0.36879 | 5.0204e-05 | -0.0013986 | 0.025052 | 0.02507 | 0.02507 | 0.99436 | -0.036935 | 0.9943 | -0.036408 | 11.3955
20 | 0.61728 | 0.27755 | -0.61726 | -0.27817 | 1.3719e-05 | -0.00062286 | 0.019658 | 0.019666 | 0.019666 | 0.99387 | -0.033011 | 0.99385 | -0.032848 | 8.9389
21 | 0.45077 | 0.20633 | -0.45074 | -0.20934 | 3.5644e-05 | -0.0030188 | 0.014399 | 0.014436 | 0.014436 | 0.99389 | -0.03316 | 0.99382 | -0.032546 | 6.5617
22 | -1.0816 | -0.47491 | 1.0833 | 0.44937 | 0.0017197 | -0.025543 | 0.034317 | 0.03402 | 0.034317 | 0.99368 | -0.020027 | 0.99519 | -0.030061 | 15.5987
23 | 0.34394 | 0.16648 | -0.34393 | -0.16657 | 1.8666e-05 | -8.8506e-05 | 0.011101 | 0.011102 | 0.011102 | 0.99368 | -0.020027 | 0.99362 | -0.020386 | 5.2868
24 | 1.4992 | 0.63233 | -1.497 | -0.64946 | 0.0022378 | -0.017129 | 0.047132 | 0.047334 | 0.047334 | 0.9966 | -0.039551 | 0.99519 | -0.030061 | 21.5157
25 | -1.4992 | -0.63233 | 1.4995 | 0.63243 | 0.00028654 | 9.3618e-05 | 0.047132 | 0.047131 | 0.047132 | 0.9966 | -0.039551 | 0.99681 | -0.037649 | 22.4436
26 | 0.41369 | 0.20009 | -0.41369 | -0.20036 | 2.643e-06 | -0.00026262 | 0.01333 | 0.013333 | 0.013333 | 0.99519 | -0.030061 | 0.99518 | -0.030005 | 6.0606
27 | -1.7147 | -0.73665 | 1.7149 | 0.73559 | 0.00018215 | -0.0010545 | 0.054047 | 0.054034 | 0.054047 | 0.99681 | -0.037649 | 0.99691 | -0.038331 | 24.5667
28 | -2.0426 | -0.89425 | 2.0432 | 0.89183 | 0.00061002 | -0.0024218 | 0.064568 | 0.064538 | 0.064568 | 0.99691 | -0.038331 | 0.99719 | -0.040349 | 29.3491
29 | 0.32771 | 0.15866 | -0.3277 | -0.15871 | 1.0397e-05 | -5.5764e-05 | 0.010543 | 0.010544 | 0.010544 | 0.99691 | -0.038331 | 0.99688 | -0.03854 | 5.0209
30 | 3.6736 | 1.7044 | -3.6735 | -1.7045 | 0.00010231 | -0.00010203 | 0.11723 | 0.11724 | 0.11724 | 0.99719 | -0.040349 | 0.99717 | -0.040129 | 53.2889
31 | -5.7168 | -2.5962 | 5.7201 | 2.5916 | 0.0032796 | -0.0046357 | 0.18176 | 0.18168 | 0.18176 | 0.99719 | -0.040349 | 0.99782 | -0.032906 | 50.2102
32 | 3.6735 | 1.7045 | -3.6726 | -1.7054 | 0.00089561 | -0.00089275 | 0.11724 | 0.11725 | 0.11725 | 0.99717 | -0.040129 | 0.99694 | -0.038203 | 53.2953
33 | -5.7201 | -2.5916 | 5.7217 | 2.5893 | 0.0015914 | -0.002255 | 0.18168 | 0.18164 | 0.18168 | 0.99782 | -0.032906 | 0.99813 | -0.029283 | 50.1871
34 | 3.4431 | 1.5942 | -3.4404 | -1.5927 | 0.0027132 | 0.0015499 | 0.10987 | 0.10987 | 0.10987 | 0.99694 | -0.038203 | 0.9961 | -0.044281 | 52.319
35 | -1.0436 | -0.49047 | 1.0441 | 0.49048 | 0.00042921 | 1.4968e-05 | 0.033477 | 0.033474 | 0.033477 | 0.99438 | 0.0038177 | 0.99482 | 0.0068379 | 15.9413
36 | 0.63978 | 0.29487 | -0.6396 | -0.29504 | 0.00018183 | -0.000174 | 0.020451 | 0.020455 | 0.020455 | 0.99438 | 0.0038177 | 0.99408 | 0.0015979 | 9.7403
37 | -1.3681 | -0.64739 | 1.3688 | 0.64761 | 0.00078298 | 0.00022107 | 0.043919 | 0.043915 | 0.043919 | 0.99482 | 0.0068379 | 0.99542 | 0.010942 | 20.9137
38 | -1.4421 | -0.68311 | 1.4422 | 0.68285 | 3.1973e-05 | -0.00025511 | 0.046277 | 0.046274 | 0.046277 | 0.99542 | 0.010942 | 0.99544 | 0.010758 | 21.035
39 | -1.6037 | -0.75944 | 1.604 | 0.75741 | 0.00031667 | -0.002027 | 0.051458 | 0.051432 | 0.051458 | 0.99544 | 0.010758 | 0.99562 | 0.0091285 | 23.39
40 | 0.16154 | 0.076583 | -0.16154 | -0.077711 | 1.7165e-06 | -0.0011282 | 0.0051844 | 0.0051985 | 0.0051985 | 0.99544 | 0.010758 | 0.99543 | 0.010848 | 2.363
41 | 0.29969 | 0.14502 | -0.29967 | -0.14514 | 1.8574e-05 | -0.00012088 | 0.0096504 | 0.0096521 | 0.0096521 | 0.99592 | 0.0065753 | 0.99585 | 0.006166 | 4.5962
42 | -0.411 | -0.19893 | 0.41102 | 0.19715 | 1.7559e-05 | -0.0017759 | 0.013235 | 0.013213 | 0.013235 | 0.99592 | 0.0065753 | 0.99595 | 0.0062074 | 6.0161
43 | -0.49488 | -0.23777 | 0.4949 | 0.23659 | 1.6901e-05 | -0.00118 | 0.015914 | 0.015899 | 0.015914 | 0.99595 | 0.0062074 | 0.99599 | 0.0059168 | 7.2335
44 | -3.5241 | -1.6525 | 3.5269 | 1.6494 | 0.0028354 | -0.0031504 | 0.11257 | 0.11252 | 0.11257 | 0.99813 | 0.00053881 | 0.99888 | -0.0059487 | 51.1686
45 | 3.3 | 1.5445 | -3.2973 | -1.5431 | 0.0026213 | 0.0014845 | 0.10538 | 0.10538 | 0.10538 | 0.99813 | 0.00053881 | 0.99729 | -0.0053759 | 50.1804
46 | 0.2241 | 0.10798 | -0.2241 | -0.10853 | 1.6179e-06 | -0.00055593 | 0.0071944 | 0.0072014 | 0.0072014 | 0.99813 | 0.00053881 | 0.99812 | 0.00060134 | 3.2734
47 | -3.5269 | -1.6494 | 3.5292 | 1.6507 | 0.0022852 | 0.0013106 | 0.11252 | 0.11252 | 0.11252 | 0.99888 | -0.0059487 | 0.99957 | -0.0011168 | 53.5819
48 | 3.0972 | 1.4468 | -3.0959 | -1.4489 | 0.0013763 | -0.0020903 | 0.098951 | 0.098982 | 0.098982 | 0.99729 | -0.0053759 | 0.99687 | -0.0018038 | 44.9916
49 | 0.20011 | 0.096296 | -0.20011 | -0.096918 | 1.4471e-06 | -0.00062175 | 0.0064282 | 0.006436 | 0.006436 | 0.99729 | -0.0053759 | 0.99728 | -0.0053133 | 2.9255
50 | 0.19612 | 0.092587 | -0.19612 | -0.094583 | 4.4017e-06 | -0.0019957 | 0.0062634 | 0.0062883 | 0.0062883 | 0.99957 | -0.0011168 | 0.99955 | -0.00092764 | 2.8583
51 | -3.7253 | -1.7433 | 3.726 | 1.7425 | 0.00074345 | -0.00072129 | 0.11878 | 0.11877 | 0.11878 | 0.99957 | -0.0011168 | 0.99975 | -0.0027225 | 53.9927
52 | -1.7999 | -0.85211 | 1.8007 | 0.84807 | 0.00080385 | -0.0040419 | 0.05774 | 0.057687 | 0.05774 | 0.99562 | 0.0091285 | 0.99604 | 0.0054558 | 26.2454
53 | 0.19587 | 0.094702 | -0.19587 | -0.094866 | 3.6905e-07 | -0.00016425 | 0.0063082 | 0.0063103 | 0.0063103 | 0.99562 | 0.0091285 | 0.99562 | 0.0091448 | 2.8683
54 | 0.16154 | 0.077711 | -0.16154 | -0.078237 | 8.028e-07 | -0.00052553 | 0.0051985 | 0.0052052 | 0.0052052 | 0.99543 | 0.010848 | 0.99542 | 0.010891 | 2.366
55 | 0.77219 | 0.36913 | -0.77218 | -0.36941 | 9.7799e-06 | -0.00027907 | 0.024806 | 0.024809 | 0.024809 | 0.99604 | 0.0054558 | 0.99603 | 0.005563 | 11.2769
56 | -2.9637 | -1.3906 | 2.9661 | 1.3865 | 0.0024693 | -0.0041414 | 0.094879 | 0.094819 | 0.094879 | 0.99604 | 0.0054558 | 0.99681 | -0.0012633 | 43.127
57 | 0.39078 | 0.17339 | -0.39068 | -0.18482 | 0.00010031 | -0.011434 | 0.01239 | 0.012529 | 0.012529 | 0.99604 | 0.0054558 | 0.9958 | 0.0074222 | 5.695
58 | -2.9661 | -1.3865 | 2.9663 | 1.3863 | 0.00012034 | -0.00020219 | 0.094819 | 0.094817 | 0.094819 | 0.99681 | -0.0012633 | 0.99685 | -0.0015891 | 43.0998
59 | -3.0958 | -1.449 | 3.0959 | 1.4489 | 8.2508e-05 | -0.00012519 | 0.098983 | 0.098982 | 0.098983 | 0.99685 | -0.0015891 | 0.99687 | -0.0018038 | 44.9925
60 | 0.39068 | 0.18482 | -0.39067 | -0.18587 | 9.3054e-06 | -0.0010474 | 0.012529 | 0.012542 | 0.012542 | 0.9958 | 0.0074222 | 0.99577 | 0.0076202 | 5.7009
61 | 0.23622 | 0.11107 | -0.23622 | -0.11168 | 1.9677e-06 | -0.00060821 | 0.0075671 | 0.0075747 | 0.0075747 | 0.99577 | 0.0076202 | 0.99577 | 0.0076885 | 3.443
62 | 0.49492 | 0.23513 | -0.4949 | -0.23659 | 2.0841e-05 | -0.0014583 | 0.015881 | 0.015899 | 0.015899 | 0.99603 | 0.005563 | 0.99599 | 0.0059168 | 7.2268
63 | 0.23622 | 0.11168 | -0.23621 | -0.11293 | 4.0818e-06 | -0.0012578 | 0.0075747 | 0.0075903 | 0.0075903 | 0.99577 | 0.0076885 | 0.99575 | 0.0078329 | 3.4502
64 | 0.78079 | 0.36879 | -0.78051 | -0.37639 | 0.00027396 | -0.0075941 | 0.02507 | 0.025166 | 0.025166 | 0.9943 | -0.036408 | 0.99398 | -0.03345 | 11.4391
65 | 0.61726 | 0.27817 | -0.6171 | -0.28556 | 0.00016346 | -0.0073824 | 0.019666 | 0.019755 | 0.019755 | 0.99385 | -0.032848 | 0.9936 | -0.030838 | 8.9797
66 | 0.074536 | 0.027245 | -0.074535 | -0.030896 | 1.1162e-06 | -0.0036505 | 0.0023052 | 0.0023437 | 0.0023437 | 0.99382 | -0.032546 | 0.9938 | -0.032476 | 1.0653
67 | 0.3762 | 0.1821 | -0.37618 | -0.18219 | 2.3509e-05 | -9.0811e-05 | 0.01214 | 0.012142 | 0.012142 | 0.99382 | -0.032546 | 0.99375 | -0.032958 | 5.7818
68 | 5.723 | 2.5874 | -5.7217 | -2.5893 | 0.0013581 | -0.0019272 | 0.1816 | 0.18164 | 0.18164 | 0.99839 | -0.026186 | 0.99813 | -0.029283 | 50.1758
69 | -5.9387 | -2.6918 | 5.9411 | 2.6945 | 0.0023917 | 0.0026438 | 0.18853 | 0.18853 | 0.18853 | 0.99839 | -0.026186 | 0.9989 | -0.012974 | 53.865
70 | 0.21221 | 0.09436 | -0.2122 | -0.10154 | 1.8378e-05 | -0.0071823 | 0.0067118 | 0.0067988 | 0.0067988 | 0.9989 | -0.012974 | 0.99882 | -0.012299 | 3.0904
71 | -6.1533 | -2.7888 | 6.1542 | 2.7878 | 0.00092307 | -0.0010459 | 0.19524 | 0.19522 | 0.19524 | 0.9989 | -0.012974 | 0.99906 | -0.011023 | 53.9332
72 | 0.2122 | 0.10154 | -0.21219 | -0.10277 | 3.1889e-06 | -0.0012272 | 0.0067988 | 0.0068142 | 0.0068142 | 0.99882 | -0.012299 | 0.9988 | -0.01217 | 3.0974
73 | -6.5108 | -2.9605 | 6.5118 | 2.9596 | 0.00099535 | -0.00092929 | 0.20666 | 0.20664 | 0.20666 | 0.99906 | -0.011023 | 0.99923 | -0.009048 | 57.0893
74 | -6.5118 | -2.9596 | 6.5164 | 2.9553 | 0.0045497 | -0.0042589 | 0.20664 | 0.20655 | 0.20664 | 0.99923 | -0.009048 | 1 | 0 | 57.0839
75 | 4.1397 | 1.9393 | -4.1387 | -1.9424 | 0.00093063 | -0.0031171 | 0.13197 | 0.13201 | 0.13201 | 1 | 0 | 0.99975 | -0.0027225 | 36.4674
76 | 0.074535 | 0.030896 | -0.074534 | -0.034408 | 1.1109e-06 | -0.0035118 | 0.0023437 | 0.0023846 | 0.0023846 | 0.9938 | -0.032476 | 0.99379 | -0.032375 | 1.0839
77 | 0.074534 | 0.034408 | -0.074534 | -0.036098 | 5.4906e-07 | -0.0016905 | 0.0023846 | 0.0024056 | 0.0024056 | 0.99379 | -0.032375 | 0.99378 | -0.032314 | 1.0935
78 | 0.6171 | 0.28556 | -0.61705 | -0.28764 | 4.6443e-05 | -0.0020845 | 0.019755 | 0.019781 | 0.019781 | 0.9936 | -0.030838 | 0.99353 | -0.030243 | 8.9913
79 | 0.13858 | 0.066024 | -0.13858 | -0.066373 | 3.8991e-07 | -0.00034867 | 0.0044502 | 0.0044546 | 0.0044546 | 0.99575 | 0.0078329 | 0.99575 | 0.0078567 | 2.0248
80 | 0.09763 | 0.046909 | -0.09763 | -0.047284 | 2.0873e-07 | -0.00037475 | 0.0031401 | 0.0031448 | 0.0031448 | 0.99575 | 0.0078329 | 0.99575 | 0.0078514 | 1.4295
81 | 0.13858 | 0.066373 | -0.13858 | -0.067117 | 8.3528e-07 | -0.00074464 | 0.0044546 | 0.004464 | 0.004464 | 0.99575 | 0.0078567 | 0.99574 | 0.0079085 | 2.0291
82 | 0.54592 | 0.25319 | -0.54589 | -0.25471 | 2.6459e-05 | -0.0015184 | 0.017485 | 0.017503 | 0.017503 | 0.99353 | -0.030243 | 0.99349 | -0.029858 | 7.9561
83 | 0.54589 | 0.25471 | -0.54586 | -0.25667 | 3.4288e-05 | -0.0019626 | 0.017503 | 0.017528 | 0.017528 | 0.99349 | -0.029858 | 0.99343 | -0.029351 | 7.9672
84 | 0.78051 | 0.37639 | -0.7805 | -0.37662 | 8.5385e-06 | -0.00023566 | 0.025166 | 0.025169 | 0.025169 | 0.99398 | -0.03345 | 0.99397 | -0.033355 | 11.4405
85 | 0.68611 | 0.3309 | -0.68606 | -0.33094 | 4.9161e-05 | -3.5694e-05 | 0.022123 | 0.022124 | 0.022124 | 0.99397 | -0.033355 | 0.99389 | -0.033835 | 10.5351
86 | 0.52448 | 0.25268 | -0.52447 | -0.25326 | 9.3142e-06 | -0.0005725 | 0.016909 | 0.016916 | 0.016916 | 0.99389 | -0.033835 | 0.99388 | -0.033682 | 7.6893
87 | 0.19612 | 0.094583 | -0.19612 | -0.094983 | 8.8629e-07 | -0.00039992 | 0.0062883 | 0.0062933 | 0.0062933 | 0.99955 | -0.00092764 | 0.99954 | -0.00088846 | 2.8606
88 | 0.16175 | 0.071077 | -0.16175 | -0.072563 | 2.2273e-06 | -0.0014858 | 0.0051339 | 0.0051514 | 0.0051514 | 0.99343 | -0.029351 | 0.99342 | -0.029254 | 2.3416
89 | 0.38411 | 0.18559 | -0.38411 | -0.18603 | 3.8338e-06 | -0.00043902 | 0.012396 | 0.012402 | 0.012402 | 0.99343 | -0.029351 | 0.99342 | -0.029265 | 5.6372
90 | 0.16175 | 0.072563 | -0.16174 | -0.078333 | 8.7977e-06 | -0.00577 | 0.0051514 | 0.0052223 | 0.0052223 | 0.99342 | -0.029254 | 0.99337 | -0.028819 | 2.3738
91 | -0.44858 | -0.21726 | 0.44859 | 0.21662 | 7.5561e-06 | -0.00063502 | 0.014477 | 0.014469 | 0.014477 | 0.99386 | -0.033504 | 0.99387 | -0.03365 | 6.5805
92 | -0.52447 | -0.25337 | 0.52447 | 0.25326 | 1.8915e-06 | -0.0001162 | 0.016918 | 0.016916 | 0.016918 | 0.99387 | -0.03365 | 0.99388 | -0.033682 | 7.69

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.6701 | 4.9051

## res_load
| p_mw | q_mvar
0 | 0.40205 | 0.19472
1 | 0.37286 | 0.18058
2 | 0.33503 | 0.16226
3 | 0.23414 | 0.1134
4 | 0.35896 | 0.17385
5 | 0.24493 | 0.11863
6 | 0.2728 | 0.13212
7 | 0.36397 | 0.17628
8 | 0.21519 | 0.10422
9 | 0.34393 | 0.16657
10 | 0.41369 | 0.20036
11 | 0.3277 | 0.15871
12 | 0.22946 | 0.11113
13 | 0.40386 | 0.1956
14 | 0.32398 | 0.15691
15 | 0.07329 | 0.035496
16 | 0.23736 | 0.11496
17 | 0.11131 | 0.053911
18 | 0.29967 | 0.14514
19 | 0.083861 | 0.040616
20 | 0.2241 | 0.10853
21 | 0.19587 | 0.094866
22 | 0.12951 | 0.062726
23 | 0.16154 | 0.078237
24 | 0.15445 | 0.074804
25 | 0.27726 | 0.13428
26 | 0.14014 | 0.067874
27 | 0.21565 | 0.10445
28 | 0.35662 | 0.17272
29 | 0.4127 | 0.19988
30 | 0.21219 | 0.10277
31 | 0.37618 | 0.18219
32 | 0.074534 | 0.036098
33 | 0.09763 | 0.047284
34 | 0.13858 | 0.067117
35 | 0.071135 | 0.034452
36 | 0.094398 | 0.045719
37 | 0.16158 | 0.078256
38 | 0.19612 | 0.094983
39 | 0.20011 | 0.096918
40 | 0.38411 | 0.18603
41 | 0.16174 | 0.078333
42 | 0.44858 | 0.21726
43 | 0.075882 | 0.036751

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1