## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_411_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_411_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_411_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_411_0_node_1 | 20 | n |  | TRUE
4 | bus_MV_411_0_node_6 | 20 | n |  | TRUE
5 | bus_MV_411_0_node_7 | 20 | n |  | TRUE
6 | bus_MV_411_0_node_5 | 20 | n |  | TRUE
7 | bus_MV_411_0_node_9 | 20 | n |  | TRUE
8 | bus_MV_411_0_node_73 | 20 | n |  | TRUE
9 | bus_MV_411_0_node_71 | 20 | n |  | TRUE
10 | bus_MV_411_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_411_0_node_114 | 20 | n |  | TRUE
12 | bus_MV_411_0_node_59 | 20 | n |  | TRUE
13 | bus_MV_411_0_node_65 | 20 | n |  | TRUE
14 | bus_MV_411_0_node_8 | 20 | n |  | TRUE
15 | bus_MV_411_0_node_10 | 20 | n |  | TRUE
16 | bus_MV_411_0_node_55 | 20 | n |  | TRUE
17 | bus_MV_411_0_node_54 | 20 | n |  | TRUE
18 | bus_MV_411_0_node_56 | 20 | n |  | TRUE
19 | bus_MV_411_0_node_57 | 20 | n |  | TRUE
20 | bus_MV_411_0_node_20 | 20 | n |  | TRUE
21 | bus_MV_411_0_node_16 | 20 | n |  | TRUE
22 | bus_MV_411_0_node_84 | 20 | n |  | TRUE
23 | bus_MV_411_0_node_17 | 20 | n |  | TRUE
24 | bus_MV_411_0_node_81 | 20 | n |  | TRUE
25 | bus_MV_411_0_node_70 | 20 | n |  | TRUE
26 | bus_MV_411_0_node_53 | 20 | n |  | TRUE
27 | bus_MV_411_0_node_49 | 20 | n |  | TRUE
28 | bus_MV_411_0_node_12 | 20 | n |  | TRUE
29 | bus_MV_411_0_node_13 | 20 | n |  | TRUE
30 | bus_MV_411_0_node_14 | 20 | n |  | TRUE
31 | bus_MV_411_0_node_15 | 20 | n |  | TRUE
32 | bus_MV_411_0_node_18 | 20 | n |  | TRUE
33 | bus_MV_411_0_node_19 | 20 | n |  | TRUE
34 | bus_MV_411_0_node_27 | 20 | n |  | TRUE
35 | bus_MV_411_0_node_28 | 20 | n |  | TRUE
36 | bus_MV_411_0_node_26 | 20 | n |  | TRUE
37 | bus_MV_411_0_node_21 | 20 | n |  | TRUE
38 | bus_MV_411_0_node_104 | 20 | n |  | TRUE
39 | bus_MV_411_0_node_119 | 20 | n |  | TRUE
40 | bus_MV_411_0_node_22 | 20 | n |  | TRUE
41 | bus_MV_411_0_node_43 | 20 | n |  | TRUE
42 | bus_MV_411_0_node_44 | 20 | n |  | TRUE
43 | bus_MV_411_0_node_42 | 20 | n |  | TRUE
44 | bus_MV_411_0_node_113 | 20 | n |  | TRUE
45 | bus_MV_411_0_node_23 | 20 | n |  | TRUE
46 | bus_MV_411_0_node_24 | 20 | n |  | TRUE
47 | bus_MV_411_0_node_25 | 20 | n |  | TRUE
48 | bus_MV_411_0_node_36 | 20 | n |  | TRUE
49 | bus_MV_411_0_node_117 | 20 | n |  | TRUE
50 | bus_MV_411_0_node_37 | 20 | n |  | TRUE
51 | bus_MV_411_0_node_93 | 20 | n |  | TRUE
52 | bus_MV_411_0_node_91 | 20 | n |  | TRUE
53 | bus_MV_411_0_node_98 | 20 | n |  | TRUE
54 | bus_MV_411_0_node_95 | 20 | n |  | TRUE
55 | bus_MV_411_0_node_90 | 20 | n |  | TRUE
56 | bus_MV_411_0_node_103 | 20 | n |  | TRUE
57 | bus_MV_411_0_node_100 | 20 | n |  | TRUE
58 | bus_MV_411_0_node_101 | 20 | n |  | TRUE
59 | bus_MV_411_0_node_29 | 20 | n |  | TRUE
60 | bus_MV_411_0_node_30 | 20 | n |  | TRUE
61 | bus_MV_411_0_node_31 | 20 | n |  | TRUE
62 | bus_MV_411_0_node_52 | 20 | n |  | TRUE
63 | bus_MV_411_0_node_120 | 20 | n |  | TRUE
64 | bus_MV_411_0_node_83 | 20 | n |  | TRUE
65 | bus_MV_411_0_node_50 | 20 | n |  | TRUE
66 | bus_MV_411_0_node_82 | 20 | n |  | TRUE
67 | bus_MV_411_0_node_32 | 20 | n |  | TRUE
68 | bus_MV_411_0_node_33 | 20 | n |  | TRUE
69 | bus_MV_411_0_node_34 | 20 | n |  | TRUE
70 | bus_MV_411_0_node_38 | 20 | n |  | TRUE
71 | bus_MV_411_0_node_105 | 20 | n |  | TRUE
72 | bus_MV_411_0_node_40 | 20 | n |  | TRUE
73 | bus_MV_411_0_node_41 | 20 | n |  | TRUE
74 | bus_MV_411_0_node_45 | 20 | n |  | TRUE
75 | bus_MV_411_0_node_39 | 20 | n |  | TRUE
76 | bus_MV_411_0_node_118 | 20 | n |  | TRUE
77 | bus_MV_411_0_node_77 | 20 | n |  | TRUE
78 | bus_MV_411_0_node_78 | 20 | n |  | TRUE
79 | bus_MV_411_0_node_66 | 20 | n |  | TRUE
80 | bus_MV_411_0_node_67 | 20 | n |  | TRUE
81 | bus_MV_411_0_node_68 | 20 | n |  | TRUE
82 | bus_MV_411_0_node_46 | 20 | n |  | TRUE
83 | bus_MV_411_0_node_47 | 20 | n |  | TRUE
84 | bus_MV_411_0_node_48 | 20 | n |  | TRUE
85 | bus_MV_411_0_node_51 | 20 | n |  | TRUE
86 | bus_MV_411_0_node_116 | 20 | n |  | TRUE
87 | bus_MV_411_0_node_80 | 20 | n |  | TRUE
88 | bus_MV_411_0_node_79 | 20 | n |  | TRUE
89 | bus_MV_411_0_node_115 | 20 | n |  | TRUE
90 | bus_MV_411_0_node_107 | 20 | n |  | TRUE
91 | bus_MV_411_0_node_58 | 20 | n |  | TRUE
92 | bus_MV_411_0_node_60 | 20 | n |  | TRUE
93 | bus_MV_411_0_node_61 | 20 | n |  | TRUE
94 | bus_MV_411_0_node_64 | 20 | n |  | TRUE
95 | bus_MV_411_0_node_63 | 20 | n |  | TRUE
96 | bus_MV_411_0_node_62 | 20 | n |  | TRUE
97 | bus_MV_411_0_node_72 | 20 | n |  | TRUE
98 | bus_MV_411_0_node_75 | 20 | n |  | TRUE
99 | bus_MV_411_0_node_106 | 20 | n |  | TRUE
100 | bus_MV_411_0_node_74 | 20 | n |  | TRUE
101 | bus_MV_411_0_node_111 | 20 | n |  | TRUE
102 | bus_MV_411_0_node_109 | 20 | n |  | TRUE
103 | bus_MV_411_0_node_112 | 20 | n |  | TRUE
104 | bus_MV_411_0_node_110 | 20 | n |  | TRUE
105 | bus_MV_411_0_node_85 | 20 | n |  | TRUE
106 | bus_MV_411_0_node_86 | 20 | n |  | TRUE
107 | bus_MV_411_0_node_87 | 20 | n |  | TRUE
108 | bus_MV_411_0_node_88 | 20 | n |  | TRUE
109 | bus_MV_411_0_node_89 | 20 | n |  | TRUE
110 | bus_MV_411_0_node_92 | 20 | n |  | TRUE
111 | bus_MV_411_0_node_94 | 20 | n |  | TRUE
112 | bus_MV_411_0_node_96 | 20 | n |  | TRUE
113 | bus_MV_411_0_node_97 | 20 | n |  | TRUE
114 | bus_MV_411_0_node_99 | 20 | n |  | TRUE
115 | bus_MV_411_0_node_102 | 20 | n |  | TRUE
116 | bus_HV_411_0_node_112 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_411_0_load_0 | 0 | 0.39904 | 0.19326 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_411_0_load_73 | 8 | 1.3908 | 0.6736 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_411_0_load_114 | 11 | 0.41075 | 0.19894 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_411_0_load_65 | 13 | 0.06891 | 0.033375 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_411_0_load_8 | 14 | 0.36488 | 0.17672 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_411_0_load_55 | 16 | 0.069898 | 0.033853 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_411_0_load_54 | 17 | 0.10049 | 0.048671 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_411_0_load_56 | 18 | 0.14413 | 0.069805 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_411_0_load_57 | 19 | 0.070765 | 0.034273 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_411_0_load_20 | 20 | 0.21063 | 0.10201 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_411_0_load_84 | 22 | 0.076583 | 0.037091 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_411_0_load_81 | 24 | 0.1356 | 0.065676 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_411_0_load_70 | 25 | 0.48979 | 0.23721 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_411_0_load_53 | 26 | 0.11309 | 0.054771 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_411_0_load_12 | 28 | 0.40062 | 0.19403 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_411_0_load_26 | 36 | 0.14823 | 0.07179 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_411_0_load_21 | 37 | 0.24132 | 0.11688 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_411_0_load_104 | 38 | 0.098576 | 0.047743 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_411_0_load_119 | 39 | 0.38883 | 0.18832 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_411_0_load_22 | 40 | 0.3205 | 0.15523 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_411_0_load_113 | 44 | 1.5014 | 0.72714 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_411_0_load_23 | 45 | 0.37495 | 0.1816 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_411_0_load_117 | 49 | 0.27291 | 0.13218 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_411_0_load_91 | 52 | 0.081109 | 0.039283 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_411_0_load_98 | 53 | 0.16841 | 0.081564 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_411_0_load_95 | 54 | 0.15521 | 0.075172 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_411_0_load_103 | 56 | 0.14961 | 0.072457 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_411_0_load_100 | 57 | 0.1072 | 0.05192 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_411_0_load_101 | 58 | 0.21244 | 0.10289 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_411_0_load_29 | 59 | 0.35471 | 0.17179 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_411_0_load_120 | 63 | 0.16832 | 0.08152 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_411_0_load_83 | 64 | 0.33355 | 0.16155 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_411_0_load_32 | 67 | 0.13643 | 0.066074 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_411_0_load_105 | 71 | 0.36863 | 0.17853 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_411_0_load_45 | 74 | 0.32707 | 0.15841 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_411_0_load_39 | 75 | 0.35721 | 0.173 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_411_0_load_118 | 76 | 0.11496 | 0.055679 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_411_0_load_77 | 77 | 0.56701 | 0.27462 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_411_0_load_78 | 78 | 0.14804 | 0.0717 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_411_0_load_66 | 79 | 2.9338 | 1.4209 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_411_0_load_46 | 82 | 0.35082 | 0.16991 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_411_0_load_116 | 86 | 0.39218 | 0.18994 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_411_0_load_80 | 87 | 0.29968 | 0.14514 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_411_0_load_79 | 88 | 1.1716 | 0.56745 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_411_0_load_115 | 89 | 0.25945 | 0.12566 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_411_0_load_58 | 91 | 0.18291 | 0.088589 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_411_0_load_60 | 92 | 0.37511 | 0.18167 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_411_0_load_63 | 95 | 0.11804 | 0.057167 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_411_0_load_62 | 96 | 0.13637 | 0.066049 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_411_0_load_106 | 99 | 0.20946 | 0.10145 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_411_0_load_109 | 102 | 0.09853 | 0.04772 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_411_0_load_112 | 103 | 0.27018 | 0.13085 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_411_0_load_110 | 104 | 0.58949 | 0.2855 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_411_0_load_85 | 105 | 0.10024 | 0.048549 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_411_0_load_88 | 108 | 0.26906 | 0.13031 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_411_0_load_89 | 109 | 0.31383 | 0.15199 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_411_0_load_92 | 110 | 0.20924 | 0.10134 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_411_0_load_94 | 111 | 0.28889 | 0.13992 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_411_0_load_97 | 113 | 0.15467 | 0.074912 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_411_0_load_99 | 114 | 0.16704 | 0.080899 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_411_0_load_102 | 115 | 0.52509 | 0.25431 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_411_0_line_0 |  | 0 | 1 | 0.072748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_411_0_line_1 |  | 0 | 2 | 0.074275 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_411_0_line_2 |  | 0 | 3 | 0.098743 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_411_0_line_3 |  | 1 | 4 | 0.57997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_411_0_line_4 |  | 2 | 5 | 0.48523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_411_0_line_5 |  | 3 | 6 | 0.58393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_411_0_line_6 |  | 3 | 7 | 0.55976 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
7 | MV_411_0_line_7 |  | 4 | 16 | 0.079029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_411_0_line_8 |  | 4 | 17 | 0.31689 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_411_0_line_9 |  | 5 | 18 | 0.060728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_411_0_line_10 |  | 6 | 12 | 0.17598 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_411_0_line_11 |  | 6 | 13 | 0.05755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_411_0_line_12 |  | 6 | 10 | 0.051743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_411_0_line_13 |  | 7 | 15 | 0.87435 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
14 | MV_411_0_line_14 |  | 7 | 14 | 0.016236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_411_0_line_15 |  | 8 | 9 | 0.054916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_411_0_line_16 |  | 9 | 24 | 1.2668 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
17 | MV_411_0_line_17 |  | 9 | 25 | 0.024312 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
18 | MV_411_0_line_18 |  | 10 | 11 | 0.088755 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_411_0_line_19 |  | 12 | 19 | 0.42845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_411_0_line_20 |  | 15 | 26 | 0.077255 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
21 | MV_411_0_line_21 |  | 19 | 91 | 0.032788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_411_0_line_22 |  | 20 | 21 | 0.10737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_411_0_line_23 |  | 21 | 36 | 0.29128 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_411_0_line_24 |  | 22 | 23 | 0.048007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_411_0_line_25 |  | 23 | 36 | 0.16692 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_411_0_line_26 |  | 24 | 61 | 0.060219 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
27 | MV_411_0_line_27 |  | 25 | 97 | 0.043224 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
28 | MV_411_0_line_28 |  | 26 | 27 | 0.049549 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_411_0_line_29 |  | 27 | 84 | 0.35723 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
30 | MV_411_0_line_30 |  | 28 | 29 | 0.054307 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
31 | MV_411_0_line_31 |  | 28 | 30 | 0.061527 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
32 | MV_411_0_line_32 |  | 29 | 31 | 0.25178 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_411_0_line_33 |  | 29 | 32 | 0.52448 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
34 | MV_411_0_line_34 |  | 30 | 33 | 0.22564 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
35 | MV_411_0_line_35 |  | 31 | 37 | 0.086482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_411_0_line_36 |  | 31 | 38 | 0.32528 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
37 | MV_411_0_line_37 |  | 32 | 39 | 0.033971 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
38 | MV_411_0_line_38 |  | 33 | 40 | 0.085387 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
39 | MV_411_0_line_39 |  | 34 | 35 | 0.046472 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_411_0_line_40 |  | 34 | 36 | 0.096931 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_411_0_line_41 |  | 35 | 56 | 0.018168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_411_0_line_42 |  | 35 | 57 | 0.036898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_411_0_line_43 |  | 38 | 43 | 0.11977 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
44 | MV_411_0_line_44 |  | 39 | 44 | 0.2133 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
45 | MV_411_0_line_45 |  | 40 | 41 | 0.088846 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_411_0_line_46 |  | 41 | 42 | 0.24924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_411_0_line_47 |  | 42 | 53 | 0.039699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_411_0_line_48 |  | 43 | 71 | 0.11498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_411_0_line_49 |  | 43 | 72 | 0.28757 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_411_0_line_50 |  | 44 | 100 | 0.044575 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
51 | MV_411_0_line_51 |  | 45 | 46 | 0.047238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_411_0_line_52 |  | 46 | 47 | 0.067006 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_411_0_line_53 |  | 47 | 51 | 0.026722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_411_0_line_54 |  | 47 | 52 | 0.0044297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_411_0_line_55 |  | 48 | 49 | 0.014359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_411_0_line_56 |  | 48 | 50 | 0.42642 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_411_0_line_57 |  | 50 | 73 | 0.1964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_411_0_line_58 |  | 50 | 74 | 0.069395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_411_0_line_59 |  | 50 | 68 | 0.36271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_411_0_line_60 |  | 51 | 53 | 0.029785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_411_0_line_61 |  | 51 | 54 | 0.018354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_411_0_line_62 |  | 52 | 55 | 0.016749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_411_0_line_63 |  | 54 | 111 | 0.0027573 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_411_0_line_64 |  | 55 | 107 | 0.008378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_411_0_line_65 |  | 57 | 58 | 0.010293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_411_0_line_66 |  | 58 | 115 | 0.0048984 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_411_0_line_67 |  | 59 | 60 | 0.10431 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_411_0_line_68 |  | 60 | 61 | 0.20913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_411_0_line_69 |  | 61 | 66 | 0.057997 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
70 | MV_411_0_line_70 |  | 62 | 63 | 0.064411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_411_0_line_71 |  | 62 | 64 | 0.6084 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
72 | MV_411_0_line_72 |  | 62 | 65 | 0.44373 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
73 | MV_411_0_line_73 |  | 64 | 66 | 0.02697 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
74 | MV_411_0_line_74 |  | 65 | 87 | 0.21628 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
75 | MV_411_0_line_75 |  | 65 | 88 | 0.05612 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_411_0_line_76 |  | 65 | 83 | 0.61349 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
77 | MV_411_0_line_77 |  | 67 | 68 | 0.053088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_411_0_line_78 |  | 67 | 69 | 0.18342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_411_0_line_79 |  | 69 | 70 | 0.62743 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_411_0_line_80 |  | 70 | 76 | 0.052728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_411_0_line_81 |  | 70 | 77 | 0.93745 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_411_0_line_82 |  | 71 | 81 | 0.010628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_411_0_line_83 |  | 72 | 75 | 0.03936 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_411_0_line_84 |  | 73 | 75 | 0.065782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_411_0_line_85 |  | 78 | 79 | 0.20105 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_411_0_line_86 |  | 79 | 80 | 0.11398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_411_0_line_87 |  | 80 | 81 | 0.14726 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_411_0_line_88 |  | 82 | 83 | 0.031719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_411_0_line_89 |  | 83 | 84 | 0.18253 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
90 | MV_411_0_line_90 |  | 83 | 85 | 0.37545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_411_0_line_91 |  | 84 | 86 | 0.055422 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_411_0_line_92 |  | 85 | 89 | 0.040218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_411_0_line_93 |  | 86 | 90 | 0.062037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_411_0_line_94 |  | 90 | 99 | 0.043488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_411_0_line_95 |  | 91 | 92 | 0.0050713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_411_0_line_96 |  | 92 | 93 | 0.038495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_411_0_line_97 |  | 93 | 94 | 0.057043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_411_0_line_98 |  | 94 | 95 | 0.030814 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_411_0_line_99 |  | 95 | 96 | 0.02157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_411_0_line_100 |  | 97 | 98 | 0.18008 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
101 | MV_411_0_line_101 |  | 98 | 102 | 0.0079887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_411_0_line_102 |  | 98 | 100 | 0.058448 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
103 | MV_411_0_line_103 |  | 100 | 101 | 0.050864 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
104 | MV_411_0_line_104 |  | 101 | 103 | 0.034128 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
105 | MV_411_0_line_105 |  | 101 | 104 | 0.04317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_411_0_line_106 |  | 105 | 106 | 0.011073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_411_0_line_107 |  | 105 | 107 | 0.017647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_411_0_line_108 |  | 106 | 108 | 0.0069512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_411_0_line_109 |  | 106 | 109 | 0.0090063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_411_0_line_110 |  | 108 | 110 | 0.013761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_411_0_line_111 |  | 111 | 112 | 0.015712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_411_0_line_112 |  | 112 | 113 | 0.0027222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_411_0_line_113 |  | 113 | 114 | 0.00053762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_411_0_line_114 |  | 114 | 115 | 0.023009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_411_0_trafo_112 | 25 MVA 110/20 kV | 116 | 103 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2738389.7806 | 1255604.7588
1 | 2738359.4992 | 1255538.6118
2 | 2738452.4821 | 1255564.954
3 | 2738432.1841 | 1255693.9331
4 | 2738014.1253 | 1255120.597
5 | 2738429.4559 | 1255161.3174
6 | 2738621.3482 | 1256037.8239
7 | 2737926.0946 | 1255933.1132
8 | 2736116.3494 | 1254366.7421
9 | 2736083.9187 | 1254407.5506
10 | 2738587.1498 | 1256024.4331
11 | 2738500.5843 | 1256044.026
12 | 2738663.3766 | 1256192.6082
13 | 2738669.1067 | 1256020.895
14 | 2737927.0826 | 1255949.318
15 | 2737314.7123 | 1256297.3984
16 | 2737984.9852 | 1255184.4885
17 | 2737857.3045 | 1254845.2333
18 | 2738479.7035 | 1255163.0349
19 | 2738914.3109 | 1256525.1341
20 | 2736504.2107 | 1253772.3262
21 | 2736558.0352 | 1253692.8603
22 | 2736702.3904 | 1253553.7389
23 | 2736657.8308 | 1253535.8841
24 | 2735920.4839 | 1255663.7772
25 | 2736060.6901 | 1254400.375
26 | 2737237.4904 | 1256295.1281
27 | 2737234.8363 | 1256344.4903
28 | 2736288.6185 | 1253646.691
29 | 2736278.3272 | 1253698.9467
30 | 2736228.5541 | 1253637.9903
31 | 2736092.7731 | 1253658.5214
32 | 2736025.9995 | 1253975.2006
33 | 2736259.459 | 1253430.3438
34 | 2736482.6322 | 1253341.5109
35 | 2736514.8165 | 1253308.2553
36 | 2736558.7022 | 1253401.5858
37 | 2736143.6579 | 1253588.5153
38 | 2735852.8593 | 1253438.869
39 | 2736024.9399 | 1254009.1519
40 | 2736310.5027 | 1253361.7997
41 | 2736364.1217 | 1253290.9576
42 | 2736490.3501 | 1253201.9272
43 | 2735871.4002 | 1253320.5411
44 | 2736067.8764 | 1254218.085
45 | 2736566.6388 | 1253121.734
46 | 2736603.5508 | 1253150.934
47 | 2736584.5423 | 1253210.8174
48 | 2736241.8839 | 1252769.6229
49 | 2736253.5578 | 1252778.0324
50 | 2736142.9424 | 1253007.9222
51 | 2736559.2328 | 1253202.2483
52 | 2736586.1389 | 1253214.8913
53 | 2736529.7841 | 1253198.1324
54 | 2736552.6762 | 1253219.3917
55 | 2736600.5251 | 1253215.6348
56 | 2736499.6442 | 1253298.261
57 | 2736531.1141 | 1253275.3069
58 | 2736534.8405 | 1253265.7126
59 | 2735738.2458 | 1255855.0513
60 | 2735803.0946 | 1255773.3517
61 | 2735963.2589 | 1255704.8637
62 | 2736480.3774 | 1256126.5054
63 | 2736534.1011 | 1256101.5319
64 | 2735977.4874 | 1255784.0858
65 | 2736729.9295 | 1256409.8589
66 | 2735963.9905 | 1255761.0213
67 | 2735825.7082 | 1252741.2634
68 | 2735871.68 | 1252768.0531
69 | 2735658.7633 | 1252664.4906
70 | 2735106.3643 | 1252422.8257
71 | 2735761.7802 | 1253355.7379
72 | 2736142.5604 | 1253247.3661
73 | 2736180.2901 | 1253149.21
74 | 2736192.1259 | 1252964.7321
75 | 2736156.7959 | 1253210.6708
76 | 2735082.4778 | 1252375.816
77 | 2735155.5301 | 1253358.9821
78 | 2735409.3065 | 1253265.5048
79 | 2735555.5985 | 1253403.4235
80 | 2735629.9061 | 1253409.4886
81 | 2735752.1855 | 1253360.3667
82 | 2737055.702 | 1256208.9374
83 | 2737024.1992 | 1256212.634
84 | 2737045.9704 | 1256393.8618
85 | 2737183.4452 | 1255984.7873
86 | 2736999.468 | 1256424.0136
87 | 2736859.487 | 1256526.2185
88 | 2736746.7234 | 1256463.4076
89 | 2737156.2532 | 1255955.4524
90 | 2736943.058 | 1256398.1958
91 | 2738938.977 | 1256546.6425
92 | 2738942.7389 | 1256550.0435
93 | 2738971.5137 | 1256575.6134
94 | 2738996.817 | 1256626.3994
95 | 2738970.6385 | 1256613.2485
96 | 2738953.5859 | 1256600.3733
97 | 2736019.175 | 1254388.3458
98 | 2736033.8915 | 1254228.4812
99 | 2736899.7111 | 1256394.6905
100 | 2736066.6091 | 1254262.6419
101 | 2736116.0926 | 1254274.6566
102 | 2736041.8781 | 1254228.6648
103 | 2736145.7514 | 1254277.7005
104 | 2736130.4737 | 1254236.9081
105 | 2736597.3259 | 1253236.6128
106 | 2736593.3788 | 1253246.9321
107 | 2736606.4264 | 1253221.5986
108 | 2736586.5486 | 1253247.1772
109 | 2736601.3913 | 1253251.0445
110 | 2736573.5111 | 1253246.1753
111 | 2736551.6917 | 1253221.9673
112 | 2736546.0819 | 1253236.6434
113 | 2736545.1001 | 1253239.1824
114 | 2736544.9061 | 1253239.6839
115 | 2736536.6073 | 1253261.1439
116 | 2736145.7514 | 1254277.7005

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99155 | -0.29606 | 0.39904 | 0.19326
1 | 0.99153 | -0.29599 | 0 | 0
2 | 0.99153 | -0.296 | 0 | 0
3 | 0.99168 | -0.29492 | 0 | 0
4 | 0.99141 | -0.29513 | 0 | 0
5 | 0.99145 | -0.29537 | 0 | 0
6 | 0.99067 | -0.28629 | 0 | 0
7 | 0.99284 | -0.25486 | 0 | 0
8 | 0.99922 | -0.0025292 | 1.3908 | 0.6736
9 | 0.99932 | -0.003442 | 0 | 0
10 | 0.99064 | -0.28604 | 0 | 0
11 | 0.99057 | -0.28649 | 0.41075 | 0.19894
12 | 0.99047 | -0.28459 | 0 | 0
13 | 0.99066 | -0.28625 | 0.06891 | 0.033375
14 | 0.99283 | -0.25478 | 0.36488 | 0.17672
15 | 0.99376 | -0.23714 | 0 | 0
16 | 0.9914 | -0.29507 | 0.069898 | 0.033853
17 | 0.99135 | -0.29553 | 0.10049 | 0.048671
18 | 0.99143 | -0.29527 | 0.14413 | 0.069805
19 | 0.98998 | -0.28023 | 0.070765 | 0.034273
20 | 0.99497 | -0.040399 | 0.21063 | 0.10201
21 | 0.995 | -0.040664 | 0 | 0
22 | 0.99509 | -0.039978 | 0.076583 | 0.037091
23 | 0.9951 | -0.040021 | 0 | 0
24 | 0.99674 | -0.15585 | 0.1356 | 0.065676
25 | 0.99935 | -0.0032847 | 0.48979 | 0.23721
26 | 0.99389 | -0.22981 | 0.11309 | 0.054771
27 | 0.99393 | -0.22959 | 0 | 0
28 | 0.99794 | -0.048123 | 0.40062 | 0.19403
29 | 0.99798 | -0.047956 | 0 | 0
30 | 0.9979 | -0.048295 | 0 | 0
31 | 0.99752 | -0.049852 | 0 | 0
32 | 0.99883 | -0.044204 | 0 | 0
33 | 0.99775 | -0.048893 | 0 | 0
34 | 0.9952 | -0.039296 | 0 | 0
35 | 0.99523 | -0.039526 | 0 | 0
36 | 0.99512 | -0.039847 | 0.14823 | 0.07179
37 | 0.99749 | -0.049607 | 0.24132 | 0.11688
38 | 0.99634 | -0.11586 | 0.098576 | 0.047743
39 | 0.99889 | -0.043953 | 0.38883 | 0.18832
40 | 0.99756 | -0.050879 | 0.3205 | 0.15523
41 | 0.99692 | -0.055067 | 0 | 0
42 | 0.99574 | -0.044212 | 0 | 0
43 | 0.9956 | -0.13449 | 0 | 0
44 | 0.99963 | -0.0017158 | 1.5014 | 0.72714
45 | 0.99531 | -0.040292 | 0.37495 | 0.1816
46 | 0.99534 | -0.040504 | 0 | 0
47 | 0.99537 | -0.040799 | 0 | 0
48 | 0.99419 | -0.12534 | 0 | 0
49 | 0.99419 | -0.12529 | 0.27291 | 0.13218
50 | 0.99434 | -0.1266 | 0 | 0
51 | 0.99542 | -0.041225 | 0 | 0
52 | 0.99536 | -0.040748 | 0.081109 | 0.039283
53 | 0.99555 | -0.042472 | 0.16841 | 0.081564
54 | 0.99536 | -0.040749 | 0.15521 | 0.075172
55 | 0.99534 | -0.040569 | 0 | 0
56 | 0.99523 | -0.039494 | 0.14961 | 0.072457
57 | 0.99526 | -0.039772 | 0.1072 | 0.05192
58 | 0.99527 | -0.039854 | 0.21244 | 0.10289
59 | 0.99652 | -0.15578 | 0.35471 | 0.17179
60 | 0.99659 | -0.15533 | 0 | 0
61 | 0.99668 | -0.15619 | 0 | 0
62 | 0.99554 | -0.22049 | 0 | 0
63 | 0.99552 | -0.22036 | 0.16832 | 0.08152
64 | 0.9966 | -0.15664 | 0.33355 | 0.16155
65 | 0.99516 | -0.22265 | 0 | 0
66 | 0.99663 | -0.1565 | 0 | 0
67 | 0.99391 | -0.12318 | 0.13643 | 0.066074
68 | 0.99397 | -0.12364 | 0 | 0
69 | 0.99375 | -0.12189 | 0 | 0
70 | 0.9932 | -0.1171 | 0 | 0
71 | 0.99509 | -0.12976 | 0.36863 | 0.17853
72 | 0.99495 | -0.1293 | 0 | 0
73 | 0.9947 | -0.1294 | 0 | 0
74 | 0.99431 | -0.12633 | 0.32707 | 0.15841
75 | 0.99481 | -0.13032 | 0.35721 | 0.173
76 | 0.9932 | -0.11702 | 0.11496 | 0.055679
77 | 0.99217 | -0.12366 | 0.56701 | 0.27462
78 | 0.99396 | -0.12005 | 0.14804 | 0.0717
79 | 0.99402 | -0.11968 | 2.9338 | 1.4209
80 | 0.99447 | -0.12392 | 0 | 0
81 | 0.99505 | -0.12936 | 0 | 0
82 | 0.99439 | -0.22701 | 0.35082 | 0.16991
83 | 0.99441 | -0.22688 | 0 | 0
84 | 0.99422 | -0.22791 | 0 | 0
85 | 0.99429 | -0.22583 | 0 | 0
86 | 0.99416 | -0.22833 | 0.39218 | 0.18994
87 | 0.99515 | -0.22271 | 0.29968 | 0.14514
88 | 0.99508 | -0.22185 | 1.1716 | 0.56745
89 | 0.99427 | -0.2257 | 0.25945 | 0.12566
90 | 0.99413 | -0.22849 | 0 | 0
91 | 0.98995 | -0.27991 | 0.18291 | 0.088589
92 | 0.98994 | -0.27987 | 0.37511 | 0.18167
93 | 0.98993 | -0.27976 | 0 | 0
94 | 0.98991 | -0.27959 | 0 | 0
95 | 0.9899 | -0.2795 | 0.11804 | 0.057167
96 | 0.9899 | -0.27946 | 0.13637 | 0.066049
97 | 0.9994 | -0.0029913 | 0 | 0
98 | 0.99964 | -0.0017507 | 0 | 0
99 | 0.99412 | -0.22838 | 0.20946 | 0.10145
100 | 0.99972 | -0.0013383 | 0 | 0
101 | 0.99989 | -0.00054526 | 0 | 0
102 | 0.99964 | -0.0017414 | 0.09853 | 0.04772
103 | 1 | 0 | -20.7788 | -9.5356
104 | 0.99985 | -0.00024214 | 0.58949 | 0.2855
105 | 0.99531 | -0.040291 | 0.10024 | 0.048549
106 | 0.9953 | -0.040185 | 0 | 0
107 | 0.99533 | -0.04048 | 0 | 0
108 | 0.9953 | -0.040145 | 0.26906 | 0.13031
109 | 0.9953 | -0.040151 | 0.31383 | 0.15199
110 | 0.9953 | -0.040111 | 0.20924 | 0.10134
111 | 0.99536 | -0.040682 | 0.28889 | 0.13992
112 | 0.99532 | -0.040358 | 0 | 0
113 | 0.99532 | -0.040302 | 0.15467 | 0.074912
114 | 0.99531 | -0.040292 | 0.16704 | 0.080899
115 | 0.99527 | -0.039905 | 0.52509 | 0.25431
116 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.17042 | 0.064989 | -0.17042 | -0.066696 | 2.7477e-06 | -0.0017069 | 0.0053101 | 0.005328 | 0.005328 | 0.99155 | -0.29606 | 0.99153 | -0.29599 | 2.4218
1 | 0.14415 | 0.055253 | -0.14414 | -0.056995 | 2.0111e-06 | -0.0017429 | 0.0044944 | 0.0045128 | 0.0045128 | 0.99155 | -0.29606 | 0.99153 | -0.296 | 2.0513
2 | -0.71361 | -0.3135 | 0.7137 | 0.31345 | 9.0587e-05 | -5.917e-05 | 0.022692 | 0.022691 | 0.022692 | 0.99155 | -0.29606 | 0.99168 | -0.29492 | 10.8058
3 | 0.17042 | 0.066696 | -0.1704 | -0.080301 | 2.2606e-05 | -0.013605 | 0.005328 | 0.0054849 | 0.0054849 | 0.99153 | -0.29599 | 0.99141 | -0.29513 | 2.4931
4 | 0.14414 | 0.056995 | -0.14413 | -0.06838 | 1.3566e-05 | -0.011385 | 0.0045128 | 0.004645 | 0.004645 | 0.99153 | -0.296 | 0.99145 | -0.29537 | 2.1113
5 | 1.3651 | 0.62587 | -1.3636 | -0.63913 | 0.0014954 | -0.013253 | 0.043715 | 0.043883 | 0.043883 | 0.99168 | -0.29492 | 0.99067 | -0.28629 | 19.9467
6 | -2.0788 | -0.93932 | 2.0806 | 0.94115 | 0.0017591 | 0.0018336 | 0.066404 | 0.066395 | 0.066404 | 0.99168 | -0.29492 | 0.99284 | -0.25486 | 16.196
7 | 0.069898 | 0.031999 | -0.069898 | -0.033853 | 5.34e-07 | -0.0018544 | 0.0022384 | 0.0022614 | 0.0022614 | 0.99141 | -0.29513 | 0.9914 | -0.29507 | 1.0279
8 | 0.1005 | 0.048303 | -0.10049 | -0.048671 | 5.9603e-06 | -0.00036807 | 0.0032467 | 0.0032515 | 0.0032515 | 0.99141 | -0.29513 | 0.99135 | -0.29553 | 1.5483
9 | 0.14413 | 0.06838 | -0.14413 | -0.069805 | 1.7559e-06 | -0.0014247 | 0.004645 | 0.0046629 | 0.0046629 | 0.99145 | -0.29537 | 0.99143 | -0.29527 | 2.1195
10 | 0.88389 | 0.40946 | -0.8837 | -0.41352 | 0.00018963 | -0.0040666 | 0.028386 | 0.028436 | 0.028436 | 0.99067 | -0.28629 | 0.99047 | -0.28459 | 12.9256
11 | 0.06891 | 0.032026 | -0.06891 | -0.033375 | 3.7954e-07 | -0.0013484 | 0.0022143 | 0.0022311 | 0.0022311 | 0.99067 | -0.28629 | 0.99066 | -0.28625 | 1.0141
12 | 0.41079 | 0.19764 | -0.41078 | -0.19885 | 1.2203e-05 | -0.0012088 | 0.013284 | 0.013299 | 0.013299 | 0.99067 | -0.28629 | 0.99064 | -0.28604 | 6.045
13 | -2.4454 | -1.1175 | 2.4474 | 1.0863 | 0.0019458 | -0.031169 | 0.078175 | 0.077782 | 0.078175 | 0.99284 | -0.25486 | 0.99376 | -0.23714 | 18.5689
14 | 0.36488 | 0.17634 | -0.36488 | -0.17672 | 3.0107e-06 | -0.00038122 | 0.011783 | 0.011788 | 0.011788 | 0.99284 | -0.25486 | 0.99283 | -0.25478 | 5.3582
15 | -1.3908 | -0.6736 | 1.391 | 0.67234 | 0.00014607 | -0.0012659 | 0.044645 | 0.044629 | 0.044645 | 0.99922 | -0.0025292 | 0.99932 | -0.003442 | 20.2932
16 | 6.2551 | 2.7586 | -6.2463 | -2.7384 | 0.0088207 | 0.020231 | 0.19748 | 0.19752 | 0.19752 | 0.99932 | -0.003442 | 0.99674 | -0.15585 | 15.312
17 | -7.6461 | -3.4309 | 7.6463 | 3.428 | 0.00022011 | -0.0029271 | 0.24209 | 0.24205 | 0.24209 | 0.99932 | -0.003442 | 0.99935 | -0.0032847 | 18.9726
18 | 0.41078 | 0.19885 | -0.41075 | -0.19894 | 2.7972e-05 | -8.6454e-05 | 0.013299 | 0.0133 | 0.0133 | 0.99064 | -0.28604 | 0.99057 | -0.28649 | 6.3335
19 | 0.8837 | 0.41352 | -0.88324 | -0.42342 | 0.00046454 | -0.0098928 | 0.028436 | 0.028562 | 0.028562 | 0.99047 | -0.28459 | 0.98998 | -0.28023 | 12.9825
20 | -2.4474 | -1.0863 | 2.4475 | 1.0867 | 0.00016686 | 0.00034322 | 0.077782 | 0.077781 | 0.077782 | 0.99376 | -0.23714 | 0.99389 | -0.22981 | 12.0592
21 | 0.81248 | 0.38914 | -0.81245 | -0.3899 | 3.0216e-05 | -0.00075825 | 0.026269 | 0.026278 | 0.026278 | 0.98998 | -0.28023 | 0.98995 | -0.27991 | 11.9448
22 | -0.21063 | -0.10201 | 0.21063 | 0.099475 | 6.577e-06 | -0.0025359 | 0.0067899 | 0.0067582 | 0.0067899 | 0.99497 | -0.040399 | 0.995 | -0.040664 | 3.0863
23 | -0.21063 | -0.099475 | 0.21066 | 0.099145 | 2.3688e-05 | -0.00032946 | 0.0067582 | 0.0067539 | 0.0067582 | 0.995 | -0.040664 | 0.99512 | -0.039847 | 3.2182
24 | -0.076583 | -0.037091 | 0.076583 | 0.035956 | 3.8828e-07 | -0.0011349 | 0.0024685 | 0.0024543 | 0.0024685 | 0.99509 | -0.039978 | 0.9951 | -0.040021 | 1.122
25 | -0.076583 | -0.035956 | 0.076585 | 0.03576 | 1.7897e-06 | -0.00019621 | 0.0024543 | 0.0024519 | 0.0024543 | 0.9951 | -0.040021 | 0.99512 | -0.039847 | 1.1687
26 | 6.1107 | 2.6727 | -6.1103 | -2.68 | 0.0003473 | -0.0073221 | 0.19316 | 0.19325 | 0.19325 | 0.99674 | -0.15585 | 0.99668 | -0.15619 | 15.1451
27 | -8.1361 | -3.6652 | 8.1365 | 3.66 | 0.00044362 | -0.0051752 | 0.25777 | 0.2577 | 0.25777 | 0.99935 | -0.0032847 | 0.9994 | -0.0029913 | 20.2013
28 | -2.5606 | -1.1414 | 2.5607 | 1.1384 | 0.00010147 | -0.0030183 | 0.081428 | 0.081392 | 0.081428 | 0.99389 | -0.22981 | 0.99393 | -0.22959 | 12.7631
29 | -2.5607 | -1.1384 | 2.5615 | 1.1166 | 0.00072891 | -0.02177 | 0.081392 | 0.081133 | 0.081392 | 0.99393 | -0.22959 | 0.99422 | -0.22791 | 12.7574
30 | -4.4438 | -2.0911 | 4.444 | 2.0844 | 0.00016925 | -0.0067012 | 0.14207 | 0.14198 | 0.14207 | 0.99794 | -0.048123 | 0.99798 | -0.047956 | 11.1338
31 | 4.0432 | 1.897 | -4.043 | -1.9046 | 0.00015878 | -0.0076101 | 0.12919 | 0.12929 | 0.12929 | 0.99794 | -0.048123 | 0.9979 | -0.048295 | 10.1322
32 | 5.5841 | 2.6286 | -5.5816 | -2.643 | 0.0024823 | -0.014351 | 0.17853 | 0.17872 | 0.17872 | 0.99798 | -0.047956 | 0.99752 | -0.049852 | 28.013
33 | -10.0281 | -4.713 | 10.0364 | 4.652 | 0.0083033 | -0.061022 | 0.32051 | 0.31971 | 0.32051 | 0.99798 | -0.047956 | 0.99883 | -0.044204 | 25.1185
34 | 4.043 | 1.9046 | -4.0424 | -1.9325 | 0.00058428 | -0.027902 | 0.12929 | 0.12964 | 0.12964 | 0.9979 | -0.048295 | 0.99775 | -0.048893 | 10.1596
35 | 0.24133 | 0.11482 | -0.24132 | -0.11688 | 6.929e-06 | -0.0020525 | 0.0077341 | 0.0077599 | 0.0077599 | 0.99752 | -0.049852 | 0.99749 | -0.049607 | 3.5272
36 | 5.3403 | 2.5282 | -5.3369 | -2.5195 | 0.0033953 | 0.0086832 | 0.17099 | 0.17099 | 0.17099 | 0.99752 | -0.049852 | 0.99634 | -0.11586 | 26.5107
37 | -10.0364 | -4.652 | 10.0369 | 4.648 | 0.00053638 | -0.0039572 | 0.31971 | 0.31966 | 0.31971 | 0.99883 | -0.044204 | 0.99889 | -0.043953 | 25.0555
38 | 4.0424 | 1.9325 | -4.0417 | -1.935 | 0.00069329 | -0.0024117 | 0.12964 | 0.12967 | 0.12967 | 0.99775 | -0.048893 | 0.99756 | -0.050879 | 35.8213
39 | -0.4355 | -0.2066 | 0.43551 | 0.20551 | 1.2116e-05 | -0.0010954 | 0.013982 | 0.013968 | 0.013982 | 0.9952 | -0.039296 | 0.99523 | -0.039526 | 6.3554
40 | 0.4355 | 0.2066 | -0.43547 | -0.20669 | 3.3765e-05 | -9.3451e-05 | 0.013982 | 0.013983 | 0.013983 | 0.9952 | -0.039296 | 0.99512 | -0.039847 | 6.6587
41 | 0.14961 | 0.072028 | -0.14961 | -0.072457 | 5.6325e-07 | -0.00042949 | 0.0048162 | 0.0048216 | 0.0048216 | 0.99523 | -0.039526 | 0.99523 | -0.039494 | 2.1917
42 | -0.58512 | -0.27753 | 0.58514 | 0.27667 | 1.7371e-05 | -0.00086747 | 0.018784 | 0.018773 | 0.018784 | 0.99523 | -0.039526 | 0.99526 | -0.039772 | 8.5383
43 | 5.2383 | 2.4717 | -5.2352 | -2.4684 | 0.0030967 | 0.0033926 | 0.16782 | 0.16782 | 0.16782 | 0.99634 | -0.11586 | 0.9956 | -0.13449 | 47.9494
44 | -10.4258 | -4.8364 | 10.43 | 4.8471 | 0.0042001 | 0.010706 | 0.33214 | 0.33213 | 0.33214 | 0.99889 | -0.043953 | 0.99963 | -0.0017158 | 25.7474
45 | 3.7212 | 1.7797 | -3.719 | -1.7784 | 0.0022556 | 0.0013073 | 0.11937 | 0.11937 | 0.11937 | 0.99756 | -0.050879 | 0.99692 | -0.055067 | 56.8426
46 | 3.719 | 1.7784 | -3.7142 | -1.7829 | 0.0047441 | -0.0045 | 0.11937 | 0.11944 | 0.11944 | 0.99692 | -0.055067 | 0.99574 | -0.044212 | 54.2924
47 | 3.7142 | 1.7829 | -3.7135 | -1.7836 | 0.00075619 | -0.00071531 | 0.11944 | 0.11946 | 0.11946 | 0.99574 | -0.044212 | 0.99555 | -0.042472 | 54.2978
48 | 3.456 | 1.6634 | -3.4541 | -1.6655 | 0.001899 | -0.0021566 | 0.11121 | 0.11124 | 0.11124 | 0.9956 | -0.13449 | 0.99509 | -0.12976 | 50.5651
49 | 1.7793 | 0.80496 | -1.778 | -0.8114 | 0.0012327 | -0.0064357 | 0.056624 | 0.056706 | 0.056706 | 0.9956 | -0.13449 | 0.99495 | -0.1293 | 25.7755
50 | -11.9313 | -5.5742 | 11.9323 | 5.5692 | 0.00099586 | -0.005037 | 0.3803 | 0.38023 | 0.3803 | 0.99963 | -0.0017158 | 0.99972 | -0.0013383 | 29.8043
51 | -0.37495 | -0.1816 | 0.37496 | 0.18048 | 9.1965e-06 | -0.0011146 | 0.012083 | 0.012069 | 0.012083 | 0.99531 | -0.040292 | 0.99534 | -0.040504 | 5.4923
52 | -0.37496 | -0.18048 | 0.37497 | 0.1789 | 1.3008e-05 | -0.0015812 | 0.012069 | 0.012049 | 0.012069 | 0.99534 | -0.040504 | 0.99537 | -0.040799 | 5.4859
53 | -1.3485 | -0.64832 | 1.3486 | 0.6477 | 6.7164e-05 | -0.00061223 | 0.043394 | 0.043387 | 0.043394 | 0.99537 | -0.040799 | 0.99542 | -0.041225 | 19.7248
54 | 0.97355 | 0.46942 | -0.97354 | -0.46952 | 5.8107e-06 | -0.00010306 | 0.031345 | 0.031347 | 0.031347 | 0.99537 | -0.040799 | 0.99536 | -0.040748 | 14.2485
55 | 0.27291 | 0.13184 | -0.27291 | -0.13218 | 1.4853e-06 | -0.00033843 | 0.0088005 | 0.0088047 | 0.0088047 | 0.99419 | -0.12534 | 0.99419 | -0.12529 | 4.0022
56 | -0.27291 | -0.13184 | 0.27295 | 0.12179 | 4.3465e-05 | -0.010052 | 0.0088005 | 0.0086773 | 0.0088005 | 0.99419 | -0.12534 | 0.99434 | -0.1266 | 4.0002
57 | -1.4199 | -0.64428 | 1.4204 | 0.6398 | 0.00053661 | -0.0044789 | 0.045267 | 0.045212 | 0.045267 | 0.99434 | -0.1266 | 0.9947 | -0.1294 | 20.576
58 | 0.32708 | 0.15677 | -0.32707 | -0.15841 | 1.0293e-05 | -0.0016351 | 0.01053 | 0.010551 | 0.010551 | 0.99434 | -0.1266 | 0.99431 | -0.12633 | 4.7958
59 | 0.81986 | 0.36572 | -0.81953 | -0.37418 | 0.0003302 | -0.0084613 | 0.026063 | 0.026165 | 0.026165 | 0.99434 | -0.1266 | 0.99397 | -0.12364 | 11.8931
60 | -3.5446 | -1.7026 | 3.5451 | 1.7021 | 0.00051706 | -0.00055136 | 0.11404 | 0.11403 | 0.11404 | 0.99542 | -0.041225 | 0.99555 | -0.042472 | 51.8355
61 | 2.196 | 1.0549 | -2.1959 | -1.0553 | 0.00012232 | -0.00039792 | 0.070652 | 0.070657 | 0.070657 | 0.99542 | -0.041225 | 0.99536 | -0.040749 | 32.1168
62 | 0.89243 | 0.43024 | -0.89241 | -0.43063 | 1.8463e-05 | -0.00039072 | 0.028733 | 0.028738 | 0.028738 | 0.99536 | -0.040748 | 0.99534 | -0.040569 | 13.0627
63 | 2.0406 | 0.98015 | -2.0406 | -0.98021 | 1.5868e-05 | -6.0518e-05 | 0.065655 | 0.065656 | 0.065656 | 0.99536 | -0.040749 | 0.99536 | -0.040682 | 29.8438
64 | 0.89241 | 0.43063 | -0.8924 | -0.43082 | 9.2379e-06 | -0.00019543 | 0.028738 | 0.028741 | 0.028741 | 0.99534 | -0.040569 | 0.99533 | -0.04048 | 13.0639
65 | -0.69234 | -0.32859 | 0.69235 | 0.32835 | 6.7882e-06 | -0.00024141 | 0.022228 | 0.022225 | 0.022228 | 0.99526 | -0.039772 | 0.99527 | -0.039854 | 10.1037
66 | -0.90479 | -0.43124 | 0.90479 | 0.43112 | 5.5265e-06 | -0.00011421 | 0.029072 | 0.02907 | 0.029072 | 0.99527 | -0.039854 | 0.99527 | -0.039905 | 13.2143
67 | -0.35471 | -0.17179 | 0.35473 | 0.17168 | 2.4222e-05 | -0.0001085 | 0.011417 | 0.011416 | 0.011417 | 0.99652 | -0.15578 | 0.99659 | -0.15533 | 5.4367
68 | -0.35473 | -0.17168 | 0.35477 | 0.16674 | 3.6185e-05 | -0.004949 | 0.011416 | 0.011354 | 0.011416 | 0.99659 | -0.15533 | 0.99668 | -0.15619 | 5.1889
69 | 5.7556 | 2.5133 | -5.7553 | -2.5204 | 0.00029663 | -0.0070724 | 0.1819 | 0.18199 | 0.18199 | 0.99668 | -0.15619 | 0.99663 | -0.1565 | 14.2622
70 | 0.16832 | 0.079997 | -0.16832 | -0.08152 | 2.52e-06 | -0.0015234 | 0.005404 | 0.0054231 | 0.0054231 | 0.99554 | -0.22049 | 0.99552 | -0.22036 | 2.465
71 | -5.4184 | -2.3552 | 5.4216 | 2.3621 | 0.003187 | 0.0069013 | 0.17132 | 0.1713 | 0.17132 | 0.99554 | -0.22049 | 0.9966 | -0.15664 | 13.2804
72 | 5.2501 | 2.2752 | -5.2482 | -2.3294 | 0.0018945 | -0.054176 | 0.16592 | 0.16656 | 0.16656 | 0.99554 | -0.22049 | 0.99516 | -0.22265 | 13.0533
73 | -5.7551 | -2.5236 | 5.7553 | 2.5204 | 0.00013803 | -0.0032885 | 0.18203 | 0.18199 | 0.18203 | 0.9966 | -0.15664 | 0.99663 | -0.1565 | 14.2653
74 | 0.29969 | 0.11823 | -0.29968 | -0.14514 | 3.0129e-06 | -0.026914 | 0.0093453 | 0.0096592 | 0.0096592 | 0.99516 | -0.22265 | 0.99515 | -0.22271 | 0.75699
75 | 1.1717 | 0.56615 | -1.1716 | -0.56745 | 0.00010681 | -0.0012952 | 0.037749 | 0.037766 | 0.037766 | 0.99516 | -0.22265 | 0.99508 | -0.22185 | 17.1663
76 | 3.7767 | 1.645 | -3.774 | -1.6816 | 0.002717 | -0.036616 | 0.1195 | 0.11994 | 0.11994 | 0.99516 | -0.22265 | 0.99441 | -0.22688 | 18.7998
77 | -0.81948 | -0.37542 | 0.81953 | 0.37418 | 4.8547e-05 | -0.0012378 | 0.02618 | 0.026165 | 0.02618 | 0.99391 | -0.12318 | 0.99397 | -0.12364 | 11.9
78 | 0.68305 | 0.30934 | -0.68294 | -0.31364 | 0.00011642 | -0.004291 | 0.021779 | 0.021831 | 0.021831 | 0.99391 | -0.12318 | 0.99375 | -0.12189 | 9.9231
79 | 0.68294 | 0.31364 | -0.68253 | -0.3283 | 0.00040251 | -0.014666 | 0.021831 | 0.022013 | 0.022013 | 0.99375 | -0.12189 | 0.9932 | -0.1171 | 10.0061
80 | 0.11496 | 0.054438 | -0.11496 | -0.055679 | 9.662e-07 | -0.0012416 | 0.0036971 | 0.0037127 | 0.0037127 | 0.9932 | -0.1171 | 0.9932 | -0.11702 | 1.6876
81 | 0.56757 | 0.27386 | -0.56701 | -0.27462 | 0.00056078 | -0.00075156 | 0.018316 | 0.01833 | 0.01833 | 0.9932 | -0.1171 | 0.99217 | -0.12366 | 8.7288
82 | 3.0854 | 1.487 | -3.0853 | -1.4872 | 0.00014008 | -0.00020971 | 0.099361 | 0.099364 | 0.099364 | 0.99509 | -0.12976 | 0.99505 | -0.12936 | 45.1656
83 | 1.778 | 0.8114 | -1.7778 | -0.8113 | 0.0002255 | 9.4739e-05 | 0.056706 | 0.056707 | 0.056707 | 0.99495 | -0.1293 | 0.99481 | -0.13032 | 27.0032
84 | -1.4204 | -0.6398 | 1.4206 | 0.6383 | 0.00017944 | -0.001501 | 0.045212 | 0.045193 | 0.045212 | 0.9947 | -0.1294 | 0.99481 | -0.13032 | 20.5508
85 | -0.14804 | -0.0717 | 0.14805 | 0.071468 | 8.1703e-06 | -0.00023203 | 0.0047773 | 0.0047743 | 0.0047773 | 0.99396 | -0.12005 | 0.99402 | -0.11968 | 2.2749
86 | -3.0818 | -1.4924 | 3.0834 | 1.4901 | 0.0015042 | -0.0022439 | 0.099442 | 0.099408 | 0.099442 | 0.99402 | -0.11968 | 0.99447 | -0.12392 | 45.201
87 | -3.0834 | -1.4901 | 3.0853 | 1.4872 | 0.0019419 | -0.0029032 | 0.099408 | 0.099364 | 0.099408 | 0.99447 | -0.12392 | 0.99505 | -0.12936 | 45.1855
88 | -0.35082 | -0.16991 | 0.35083 | 0.16988 | 7.2365e-06 | -3.2911e-05 | 0.011316 | 0.011316 | 0.011316 | 0.99439 | -0.22701 | 0.99441 | -0.22688 | 5.3886
89 | 3.1637 | 1.3959 | -3.1632 | -1.4069 | 0.00056913 | -0.011019 | 0.10038 | 0.10052 | 0.10052 | 0.99441 | -0.22688 | 0.99422 | -0.22791 | 15.7551
90 | 0.25948 | 0.11585 | -0.25945 | -0.12471 | 3.4552e-05 | -0.008853 | 0.0082495 | 0.0083577 | 0.0083577 | 0.99441 | -0.22688 | 0.99429 | -0.22583 | 3.7989
91 | 0.60168 | 0.29025 | -0.60165 | -0.29029 | 3.7152e-05 | -4.2126e-05 | 0.019396 | 0.019397 | 0.019397 | 0.99422 | -0.22791 | 0.99416 | -0.22833 | 9.2368
92 | 0.25945 | 0.12471 | -0.25945 | -0.12566 | 3.7557e-06 | -0.00094818 | 0.0083577 | 0.0083696 | 0.0083696 | 0.99429 | -0.22583 | 0.99427 | -0.2257 | 3.8044
93 | 0.20947 | 0.10035 | -0.20947 | -0.10042 | 5.0285e-06 | -7.0047e-05 | 0.0067444 | 0.0067453 | 0.0067453 | 0.99416 | -0.22833 | 0.99413 | -0.22849 | 3.2121
94 | 0.20947 | 0.10042 | -0.20946 | -0.10145 | 2.6466e-06 | -0.0010254 | 0.0067453 | 0.0067583 | 0.0067583 | 0.99413 | -0.22849 | 0.99412 | -0.22838 | 3.0719
95 | 0.62953 | 0.30131 | -0.62953 | -0.30143 | 2.8044e-06 | -0.00011783 | 0.020352 | 0.020353 | 0.020353 | 0.98995 | -0.27991 | 0.98994 | -0.27987 | 9.2516
96 | 0.25442 | 0.11976 | -0.25442 | -0.12066 | 3.4602e-06 | -0.00089969 | 0.0082 | 0.0082112 | 0.0082112 | 0.98994 | -0.27987 | 0.98993 | -0.27976 | 3.7324
97 | 0.25442 | 0.12066 | -0.25441 | -0.12199 | 5.1449e-06 | -0.0013331 | 0.0082112 | 0.0082279 | 0.0082279 | 0.98993 | -0.27976 | 0.98991 | -0.27959 | 3.74
98 | 0.25441 | 0.12199 | -0.25441 | -0.12271 | 2.788e-06 | -0.00072012 | 0.0082279 | 0.0082371 | 0.0082371 | 0.98991 | -0.27959 | 0.9899 | -0.2795 | 3.7441
99 | 0.13637 | 0.065544 | -0.13637 | -0.066049 | 5.6146e-07 | -0.00050449 | 0.0044124 | 0.0044188 | 0.0044188 | 0.9899 | -0.2795 | 0.9899 | -0.27946 | 2.0086
100 | -8.1365 | -3.66 | 8.1384 | 3.6385 | 0.0018458 | -0.021569 | 0.2577 | 0.25744 | 0.2577 | 0.9994 | -0.0029913 | 0.99964 | -0.0017507 | 20.1962
101 | 0.09853 | 0.04753 | -0.09853 | -0.04772 | 1.0654e-07 | -0.00019057 | 0.0031591 | 0.0031615 | 0.0031615 | 0.99964 | -0.0017507 | 0.99964 | -0.0017414 | 1.437
102 | -8.2369 | -3.686 | 8.2375 | 3.679 | 0.00061303 | -0.0069949 | 0.26059 | 0.26051 | 0.26059 | 0.99964 | -0.0017507 | 0.99972 | -0.0013383 | 20.4228
103 | -20.1698 | -9.2482 | 20.173 | 9.2436 | 0.0032257 | -0.0045728 | 0.64072 | 0.64064 | 0.64072 | 0.99972 | -0.0013383 | 0.99989 | -0.00054526 | 50.2132
104 | -20.7626 | -9.5281 | 20.7648 | 9.5251 | 0.0022934 | -0.0029967 | 0.65954 | 0.65949 | 0.65954 | 0.99989 | -0.00054526 | 1 | 0 | 51.6879
105 | 0.58951 | 0.28448 | -0.58949 | -0.2855 | 2.0596e-05 | -0.0010243 | 0.018898 | 0.018911 | 0.018911 | 0.99989 | -0.00054526 | 0.99985 | -0.00024214 | 8.5957
106 | 0.79214 | 0.38269 | -0.79213 | -0.38294 | 9.6252e-06 | -0.00025905 | 0.025515 | 0.025519 | 0.025519 | 0.99531 | -0.040291 | 0.9953 | -0.040185 | 11.5994
107 | -0.89239 | -0.43123 | 0.8924 | 0.43082 | 1.9464e-05 | -0.00041164 | 0.028746 | 0.028741 | 0.028746 | 0.99531 | -0.040291 | 0.99533 | -0.04048 | 13.0663
108 | 0.4783 | 0.23116 | -0.4783 | -0.23133 | 2.2033e-06 | -0.00016376 | 0.015408 | 0.01541 | 0.01541 | 0.9953 | -0.040185 | 0.9953 | -0.040145 | 7.0045
109 | 0.31383 | 0.15178 | -0.31383 | -0.15199 | 1.2295e-06 | -0.00021265 | 0.010111 | 0.010114 | 0.010114 | 0.9953 | -0.040185 | 0.9953 | -0.040151 | 4.5971
110 | 0.20924 | 0.10102 | -0.20924 | -0.10134 | 8.3485e-07 | -0.00032524 | 0.0067391 | 0.0067432 | 0.0067432 | 0.9953 | -0.040145 | 0.9953 | -0.040111 | 3.0651
111 | 1.7517 | 0.84029 | -1.7517 | -0.84064 | 6.6601e-05 | -0.00035189 | 0.056347 | 0.056352 | 0.056352 | 0.99536 | -0.040682 | 0.99532 | -0.040358 | 25.6143
112 | 1.7517 | 0.84064 | -1.7517 | -0.84071 | 1.154e-05 | -6.0966e-05 | 0.056352 | 0.056352 | 0.056352 | 0.99532 | -0.040358 | 0.99532 | -0.040302 | 25.6147
113 | 1.597 | 0.76579 | -1.597 | -0.76581 | 1.8939e-06 | -1.2155e-05 | 0.051368 | 0.051368 | 0.051368 | 0.99532 | -0.040302 | 0.99531 | -0.040292 | 23.3491
114 | 1.4299 | 0.68491 | -1.4299 | -0.68543 | 6.4964e-05 | -0.00052493 | 0.045985 | 0.045992 | 0.045992 | 0.99531 | -0.040292 | 0.99527 | -0.039905 | 20.9055

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 21.049 | 9.6664

## res_load
| p_mw | q_mvar
0 | 0.39904 | 0.19326
1 | 1.3908 | 0.6736
2 | 0.41075 | 0.19894
3 | 0.06891 | 0.033375
4 | 0.36488 | 0.17672
5 | 0.069898 | 0.033853
6 | 0.10049 | 0.048671
7 | 0.14413 | 0.069805
8 | 0.070765 | 0.034273
9 | 0.21063 | 0.10201
10 | 0.076583 | 0.037091
11 | 0.1356 | 0.065676
12 | 0.48979 | 0.23721
13 | 0.11309 | 0.054771
14 | 0.40062 | 0.19403
15 | 0.14823 | 0.07179
16 | 0.24132 | 0.11688
17 | 0.098576 | 0.047743
18 | 0.38883 | 0.18832
19 | 0.3205 | 0.15523
20 | 1.5014 | 0.72714
21 | 0.37495 | 0.1816
22 | 0.27291 | 0.13218
23 | 0.081109 | 0.039283
24 | 0.16841 | 0.081564
25 | 0.15521 | 0.075172
26 | 0.14961 | 0.072457
27 | 0.1072 | 0.05192
28 | 0.21244 | 0.10289
29 | 0.35471 | 0.17179
30 | 0.16832 | 0.08152
31 | 0.33355 | 0.16155
32 | 0.13643 | 0.066074
33 | 0.36863 | 0.17853
34 | 0.32707 | 0.15841
35 | 0.35721 | 0.173
36 | 0.11496 | 0.055679
37 | 0.56701 | 0.27462
38 | 0.14804 | 0.0717
39 | 2.9338 | 1.4209
40 | 0.35082 | 0.16991
41 | 0.39218 | 0.18994
42 | 0.29968 | 0.14514
43 | 1.1716 | 0.56745
44 | 0.25945 | 0.12566
45 | 0.18291 | 0.088589
46 | 0.37511 | 0.18167
47 | 0.11804 | 0.057167
48 | 0.13637 | 0.066049
49 | 0.20946 | 0.10145
50 | 0.09853 | 0.04772
51 | 0.27018 | 0.13085
52 | 0.58949 | 0.2855
53 | 0.10024 | 0.048549
54 | 0.26906 | 0.13031
55 | 0.31383 | 0.15199
56 | 0.20924 | 0.10134
57 | 0.28889 | 0.13992
58 | 0.15467 | 0.074912
59 | 0.16704 | 0.080899
60 | 0.52509 | 0.25431

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1