## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_418_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_418_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_418_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_418_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_418_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_418_0_node_26 | 20 | n |  | TRUE
6 | bus_MV_418_0_node_6 | 20 | n |  | TRUE
7 | bus_MV_418_0_node_192 | 20 | n |  | TRUE
8 | bus_MV_418_0_node_27 | 20 | n |  | TRUE
9 | bus_MV_418_0_node_22 | 20 | n |  | TRUE
10 | bus_MV_418_0_node_204 | 20 | n |  | TRUE
11 | bus_MV_418_0_node_21 | 20 | n |  | TRUE
12 | bus_MV_418_0_node_7 | 20 | n |  | TRUE
13 | bus_MV_418_0_node_5 | 20 | n |  | TRUE
14 | bus_MV_418_0_node_191 | 20 | n |  | TRUE
15 | bus_MV_418_0_node_8 | 20 | n |  | TRUE
16 | bus_MV_418_0_node_10 | 20 | n |  | TRUE
17 | bus_MV_418_0_node_9 | 20 | n |  | TRUE
18 | bus_MV_418_0_node_12 | 20 | n |  | TRUE
19 | bus_MV_418_0_node_11 | 20 | n |  | TRUE
20 | bus_MV_418_0_node_13 | 20 | n |  | TRUE
21 | bus_MV_418_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_418_0_node_14 | 20 | n |  | TRUE
23 | bus_MV_418_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_418_0_node_17 | 20 | n |  | TRUE
25 | bus_MV_418_0_node_18 | 20 | n |  | TRUE
26 | bus_MV_418_0_node_19 | 20 | n |  | TRUE
27 | bus_MV_418_0_node_20 | 20 | n |  | TRUE
28 | bus_MV_418_0_node_197 | 20 | n |  | TRUE
29 | bus_MV_418_0_node_155 | 20 | n |  | TRUE
30 | bus_MV_418_0_node_157 | 20 | n |  | TRUE
31 | bus_MV_418_0_node_198 | 20 | n |  | TRUE
32 | bus_MV_418_0_node_156 | 20 | n |  | TRUE
33 | bus_MV_418_0_node_193 | 20 | n |  | TRUE
34 | bus_MV_418_0_node_154 | 20 | n |  | TRUE
35 | bus_MV_418_0_node_23 | 20 | n |  | TRUE
36 | bus_MV_418_0_node_44 | 20 | n |  | TRUE
37 | bus_MV_418_0_node_24 | 20 | n |  | TRUE
38 | bus_MV_418_0_node_25 | 20 | n |  | TRUE
39 | bus_MV_418_0_node_43 | 20 | n |  | TRUE
40 | bus_MV_418_0_node_165 | 20 | n |  | TRUE
41 | bus_MV_418_0_node_30 | 20 | n |  | TRUE
42 | bus_MV_418_0_node_28 | 20 | n |  | TRUE
43 | bus_MV_418_0_node_168 | 20 | n |  | TRUE
44 | bus_MV_418_0_node_167 | 20 | n |  | TRUE
45 | bus_MV_418_0_node_33 | 20 | n |  | TRUE
46 | bus_MV_418_0_node_29 | 20 | n |  | TRUE
47 | bus_MV_418_0_node_31 | 20 | n |  | TRUE
48 | bus_MV_418_0_node_32 | 20 | n |  | TRUE
49 | bus_MV_418_0_node_51 | 20 | n |  | TRUE
50 | bus_MV_418_0_node_45 | 20 | n |  | TRUE
51 | bus_MV_418_0_node_46 | 20 | n |  | TRUE
52 | bus_MV_418_0_node_52 | 20 | n |  | TRUE
53 | bus_MV_418_0_node_48 | 20 | n |  | TRUE
54 | bus_MV_418_0_node_47 | 20 | n |  | TRUE
55 | bus_MV_418_0_node_50 | 20 | n |  | TRUE
56 | bus_MV_418_0_node_206 | 20 | n |  | TRUE
57 | bus_MV_418_0_node_166 | 20 | n |  | TRUE
58 | bus_MV_418_0_node_38 | 20 | n |  | TRUE
59 | bus_MV_418_0_node_39 | 20 | n |  | TRUE
60 | bus_MV_418_0_node_40 | 20 | n |  | TRUE
61 | bus_MV_418_0_node_41 | 20 | n |  | TRUE
62 | bus_MV_418_0_node_163 | 20 | n |  | TRUE
63 | bus_MV_418_0_node_78 | 20 | n |  | TRUE
64 | bus_MV_418_0_node_79 | 20 | n |  | TRUE
65 | bus_MV_418_0_node_70 | 20 | n |  | TRUE
66 | bus_MV_418_0_node_71 | 20 | n |  | TRUE
67 | bus_MV_418_0_node_72 | 20 | n |  | TRUE
68 | bus_MV_418_0_node_73 | 20 | n |  | TRUE
69 | bus_MV_418_0_node_77 | 20 | n |  | TRUE
70 | bus_MV_418_0_node_186 | 20 | n |  | TRUE
71 | bus_MV_418_0_node_75 | 20 | n |  | TRUE
72 | bus_MV_418_0_node_76 | 20 | n |  | TRUE
73 | bus_MV_418_0_node_164 | 20 | n |  | TRUE
74 | bus_MV_418_0_node_189 | 20 | n |  | TRUE
75 | bus_MV_418_0_node_190 | 20 | n |  | TRUE
76 | bus_MV_418_0_node_200 | 20 | n |  | TRUE
77 | bus_MV_418_0_node_37 | 20 | n |  | TRUE
78 | bus_MV_418_0_node_34 | 20 | n |  | TRUE
79 | bus_MV_418_0_node_35 | 20 | n |  | TRUE
80 | bus_MV_418_0_node_205 | 20 | n |  | TRUE
81 | bus_MV_418_0_node_183 | 20 | n |  | TRUE
82 | bus_MV_418_0_node_53 | 20 | n |  | TRUE
83 | bus_MV_418_0_node_54 | 20 | n |  | TRUE
84 | bus_MV_418_0_node_55 | 20 | n |  | TRUE
85 | bus_MV_418_0_node_207 | 20 | n |  | TRUE
86 | bus_MV_418_0_node_59 | 20 | n |  | TRUE
87 | bus_MV_418_0_node_56 | 20 | n |  | TRUE
88 | bus_MV_418_0_node_57 | 20 | n |  | TRUE
89 | bus_MV_418_0_node_58 | 20 | n |  | TRUE
90 | bus_MV_418_0_node_159 | 20 | n |  | TRUE
91 | bus_MV_418_0_node_49 | 20 | n |  | TRUE
92 | bus_MV_418_0_node_208 | 20 | n |  | TRUE
93 | bus_MV_418_0_node_62 | 20 | n |  | TRUE
94 | bus_MV_418_0_node_63 | 20 | n |  | TRUE
95 | bus_MV_418_0_node_64 | 20 | n |  | TRUE
96 | bus_MV_418_0_node_65 | 20 | n |  | TRUE
97 | bus_MV_418_0_node_74 | 20 | n |  | TRUE
98 | bus_MV_418_0_node_188 | 20 | n |  | TRUE
99 | bus_MV_418_0_node_66 | 20 | n |  | TRUE
100 | bus_MV_418_0_node_69 | 20 | n |  | TRUE
101 | bus_MV_418_0_node_169 | 20 | n |  | TRUE
102 | bus_MV_418_0_node_185 | 20 | n |  | TRUE
103 | bus_MV_418_0_node_158 | 20 | n |  | TRUE
104 | bus_MV_418_0_node_160 | 20 | n |  | TRUE
105 | bus_MV_418_0_node_161 | 20 | n |  | TRUE
106 | bus_HV_418_0_node_31 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_418_0_load_0 | 0 | 0.24974 | 0.12096 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_418_0_load_26 | 5 | 0.15271 | 0.073961 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_418_0_load_192 | 7 | 0.31795 | 0.15399 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_418_0_load_204 | 10 | 0.19055 | 0.092285 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_418_0_load_21 | 11 | 0.21304 | 0.10318 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_418_0_load_5 | 13 | 0.23934 | 0.11592 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_418_0_load_9 | 17 | 0.29454 | 0.14265 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_418_0_load_12 | 18 | 0.11963 | 0.057939 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_418_0_load_13 | 20 | 0.28663 | 0.13882 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_418_0_load_14 | 22 | 0.31261 | 0.1514 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_418_0_load_16 | 23 | 0.29564 | 0.14318 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_418_0_load_17 | 24 | 0.25156 | 0.12184 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_418_0_load_197 | 28 | 0.27944 | 0.13534 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_418_0_load_157 | 30 | 0.16954 | 0.082111 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_418_0_load_198 | 31 | 0.24812 | 0.12017 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_418_0_load_193 | 33 | 0.073107 | 0.035407 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_418_0_load_154 | 34 | 0.08341 | 0.040397 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_418_0_load_43 | 39 | 0.18132 | 0.087819 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_418_0_load_165 | 40 | 0.079138 | 0.038328 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_418_0_load_30 | 41 | 0.12837 | 0.062172 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_418_0_load_167 | 44 | 0.081756 | 0.039596 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_418_0_load_31 | 47 | 0.36977 | 0.17909 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_418_0_load_45 | 50 | 0.35323 | 0.17108 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_418_0_load_52 | 52 | 0.070857 | 0.034318 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_418_0_load_47 | 54 | 0.16987 | 0.082274 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_418_0_load_206 | 56 | 0.35486 | 0.17187 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_418_0_load_38 | 58 | 0.21467 | 0.10397 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_418_0_load_163 | 62 | 0.40282 | 0.1951 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_418_0_load_79 | 64 | 0.10559 | 0.051141 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_418_0_load_70 | 65 | 0.16008 | 0.077529 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_418_0_load_77 | 69 | 0.091535 | 0.044332 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_418_0_load_186 | 70 | 0.14538 | 0.070411 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_418_0_load_190 | 75 | 0.20892 | 0.10118 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_418_0_load_200 | 76 | 0.26796 | 0.12978 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_418_0_load_34 | 78 | 0.3829 | 0.18545 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_418_0_load_205 | 80 | 0.20036 | 0.097039 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_418_0_load_183 | 81 | 0.33091 | 0.16027 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_418_0_load_53 | 82 | 0.054643 | 0.026465 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_418_0_load_59 | 86 | 0.15541 | 0.075267 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_418_0_load_56 | 87 | 0.060125 | 0.02912 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_418_0_load_58 | 89 | 0.10259 | 0.049686 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_418_0_load_49 | 91 | 0.18144 | 0.087874 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_418_0_load_208 | 92 | 0.11064 | 0.053586 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_418_0_load_62 | 93 | 0.053723 | 0.026019 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_418_0_load_74 | 97 | 0.12462 | 0.060358 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_418_0_load_188 | 98 | 0.13023 | 0.063074 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_418_0_load_66 | 99 | 0.10945 | 0.053007 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_418_0_load_169 | 101 | 0.13629 | 0.066008 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_418_0_load_185 | 102 | 0.1385 | 0.06708 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_418_0_load_158 | 103 | 0.11578 | 0.056073 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_418_0_line_0 |  | 0 | 1 | 0.017396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_418_0_line_1 |  | 0 | 2 | 0.18152 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_418_0_line_2 |  | 1 | 3 | 0.059033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_418_0_line_3 |  | 2 | 4 | 0.23977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_418_0_line_4 |  | 3 | 6 | 0.35585 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_418_0_line_5 |  | 3 | 7 | 0.072635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_418_0_line_6 |  | 4 | 5 | 0.13408 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_418_0_line_7 |  | 5 | 8 | 0.13582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_418_0_line_8 |  | 6 | 12 | 0.63056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_418_0_line_9 |  | 6 | 13 | 0.068814 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_418_0_line_10 |  | 7 | 14 | 0.093558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_418_0_line_11 |  | 8 | 9 | 0.11358 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_418_0_line_12 |  | 9 | 10 | 0.26751 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_418_0_line_13 |  | 9 | 11 | 0.075898 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_418_0_line_14 |  | 10 | 42 | 0.080499 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_418_0_line_15 |  | 12 | 15 | 0.83823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_418_0_line_16 |  | 12 | 16 | 0.94949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_418_0_line_17 |  | 12 | 17 | 0.046431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_418_0_line_18 |  | 14 | 32 | 0.094397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_418_0_line_19 |  | 15 | 18 | 0.012869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_418_0_line_20 |  | 16 | 19 | 0.44496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_418_0_line_21 |  | 16 | 20 | 0.003766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_418_0_line_22 |  | 19 | 21 | 0.65906 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_418_0_line_23 |  | 19 | 22 | 0.037029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_418_0_line_24 |  | 21 | 23 | 0.092492 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_418_0_line_25 |  | 24 | 25 | 0.071212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_418_0_line_26 |  | 25 | 26 | 0.058742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_418_0_line_27 |  | 25 | 27 | 0.50819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_418_0_line_28 |  | 26 | 28 | 0.0568 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_418_0_line_29 |  | 27 | 29 | 0.43802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_418_0_line_30 |  | 27 | 30 | 0.08894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_418_0_line_31 |  | 28 | 31 | 0.4056 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_418_0_line_32 |  | 29 | 34 | 0.013377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_418_0_line_33 |  | 29 | 32 | 0.24499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_418_0_line_34 |  | 32 | 33 | 0.018076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_418_0_line_35 |  | 35 | 36 | 0.26148 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_418_0_line_36 |  | 35 | 37 | 0.32285 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
37 | MV_418_0_line_37 |  | 35 | 38 | 0.34442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_418_0_line_38 |  | 35 | 39 | 0.027781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_418_0_line_39 |  | 36 | 43 | 0.12633 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_418_0_line_40 |  | 36 | 44 | 0.042256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_418_0_line_41 |  | 37 | 40 | 0.014895 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_418_0_line_42 |  | 38 | 41 | 0.054071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_418_0_line_43 |  | 40 | 45 | 0.051532 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_418_0_line_44 |  | 41 | 46 | 0.12547 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_418_0_line_45 |  | 42 | 46 | 0.15132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_418_0_line_46 |  | 43 | 80 | 0.053967 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_418_0_line_47 |  | 45 | 57 | 0.090568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_418_0_line_48 |  | 45 | 48 | 0.18292 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_418_0_line_49 |  | 47 | 48 | 0.025486 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_418_0_line_50 |  | 47 | 49 | 1.7102 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_418_0_line_51 |  | 49 | 56 | 0.047924 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_418_0_line_52 |  | 49 | 55 | 0.54987 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_418_0_line_53 |  | 50 | 51 | 0.023944 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_418_0_line_54 |  | 50 | 52 | 2.1603 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_418_0_line_55 |  | 51 | 53 | 1.3512 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_418_0_line_56 |  | 53 | 54 | 0.14631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_418_0_line_57 |  | 54 | 55 | 1.1022 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_418_0_line_58 |  | 55 | 91 | 0.032496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_418_0_line_59 |  | 57 | 76 | 0.059007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
60 | MV_418_0_line_60 |  | 57 | 77 | 0.23848 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_418_0_line_61 |  | 58 | 59 | 0.028738 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_418_0_line_62 |  | 58 | 60 | 0.036938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_418_0_line_63 |  | 59 | 61 | 1.3014 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_418_0_line_64 |  | 60 | 62 | 0.41302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_418_0_line_65 |  | 61 | 63 | 0.42219 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_418_0_line_66 |  | 61 | 64 | 0.15166 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_418_0_line_67 |  | 62 | 90 | 0.060149 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_418_0_line_68 |  | 62 | 73 | 0.064404 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_418_0_line_69 |  | 63 | 69 | 0.11283 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_418_0_line_70 |  | 65 | 66 | 0.033965 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_418_0_line_71 |  | 66 | 67 | 0.64872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_418_0_line_72 |  | 67 | 68 | 0.58332 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_418_0_line_73 |  | 67 | 69 | 0.063106 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_418_0_line_74 |  | 68 | 70 | 0.061421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_418_0_line_75 |  | 68 | 71 | 0.35269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_418_0_line_76 |  | 68 | 72 | 0.64106 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_418_0_line_77 |  | 71 | 97 | 0.052025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_418_0_line_78 |  | 72 | 101 | 0.037068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_418_0_line_79 |  | 73 | 74 | 0.20288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_418_0_line_80 |  | 74 | 75 | 0.041679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_418_0_line_81 |  | 76 | 105 | 0.027066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_418_0_line_82 |  | 77 | 81 | 0.082704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_418_0_line_83 |  | 77 | 79 | 0.1788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_418_0_line_84 |  | 78 | 79 | 0.066812 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_418_0_line_85 |  | 82 | 83 | 0.021855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_418_0_line_86 |  | 83 | 84 | 0.33315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_418_0_line_87 |  | 83 | 85 | 1.2057 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
88 | MV_418_0_line_88 |  | 84 | 86 | 0.13084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_418_0_line_89 |  | 85 | 92 | 0.15518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_418_0_line_90 |  | 86 | 89 | 0.074063 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_418_0_line_91 |  | 87 | 88 | 0.03311 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_418_0_line_92 |  | 88 | 89 | 0.020435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_418_0_line_93 |  | 90 | 103 | 0.029229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_418_0_line_94 |  | 92 | 95 | 0.64997 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_418_0_line_95 |  | 93 | 94 | 0.001739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_418_0_line_96 |  | 93 | 95 | 0.046922 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_418_0_line_97 |  | 94 | 96 | 0.73923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_418_0_line_98 |  | 95 | 97 | 0.89425 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
99 | MV_418_0_line_99 |  | 96 | 98 | 0.005687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_418_0_line_100 |  | 98 | 99 | 0.35148 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_418_0_line_101 |  | 98 | 100 | 0.40051 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
102 | MV_418_0_line_102 |  | 100 | 102 | 0.033205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_418_0_line_103 |  | 103 | 104 | 0.03211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_418_0_line_104 |  | 104 | 105 | 0.26747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_418_0_trafo_31 | 25 MVA 110/20 kV | 106 | 47 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2646416.3494 | 1241071.0489
1 | 2646420.5269 | 1241087.937
2 | 2646421.5636 | 1240889.6048
3 | 2646394.7563 | 1241139.7139
4 | 2646411.4141 | 1240665.5573
5 | 2646371.4846 | 1240537.6178
6 | 2646501.7748 | 1241389.8917
7 | 2646342.112 | 1241189.0908
8 | 2646341.9182 | 1240405.0898
9 | 2646435.8403 | 1240341.2261
10 | 2646187.0327 | 1240439.4839
11 | 2646511.1094 | 1240331.4752
12 | 2646870.0943 | 1241265.6609
13 | 2646542.2775 | 1241445.5231
14 | 2646301.4502 | 1241104.9299
15 | 2647065.3825 | 1240885.8459
16 | 2646991.0636 | 1241903.3115
17 | 2646825.0552 | 1241276.1068
18 | 2647078.2844 | 1240885.4701
19 | 2646692.5115 | 1242135.8648
20 | 2646993.1631 | 1241906.4412
21 | 2646724.3644 | 1242659.4365
22 | 2646713.9236 | 1242166.0752
23 | 2646741.1202 | 1242568.4753
24 | 2645636.6975 | 1241297.7004
25 | 2645575.8004 | 1241334.9016
26 | 2645536.5567 | 1241368.1557
27 | 2645821.2509 | 1241199.1347
28 | 2645493.0472 | 1241404.6683
29 | 2646076.2382 | 1241045.9627
30 | 2645817.9088 | 1241110.2579
31 | 2645122.0964 | 1241240.6323
32 | 2646213.1269 | 1241138.9199
33 | 2646219.0879 | 1241155.9885
34 | 2646063.4154 | 1241046.0649
35 | 2646418.2414 | 1240045.641
36 | 2646548.0586 | 1239900.8626
37 | 2646312.6909 | 1239786.816
38 | 2646206.9645 | 1240144.1359
39 | 2646440.6161 | 1240062.1085
40 | 2646310.1524 | 1239772.4348
41 | 2646153.0483 | 1240138.313
42 | 2646181.9259 | 1240359.1475
43 | 2646645.8546 | 1239916.9733
44 | 2646524.6752 | 1239880.6832
45 | 2646303.3172 | 1239723.3129
46 | 2646134.2611 | 1240262.3699
47 | 2646134.0404 | 1239713.6121
48 | 2646153.3932 | 1239698.9418
49 | 2644444.8734 | 1239446.1761
50 | 2642918.4276 | 1237431.2005
51 | 2642904.4252 | 1237450.576
52 | 2643677.8312 | 1235408.7301
53 | 2643544.3057 | 1238640.6687
54 | 2643492.0219 | 1238753.9732
55 | 2644105.7136 | 1239669.5378
56 | 2644419.548 | 1239405.4494
57 | 2646376.0994 | 1239685.3337
58 | 2645932.1883 | 1239005.2456
59 | 2645905.475 | 1238994.4545
60 | 2645960.4068 | 1239027.7561
61 | 2645451.6265 | 1237987.8287
62 | 2646266.6706 | 1239304.8675
63 | 2645579.3942 | 1237592.264
64 | 2645300.34 | 1237977.2225
65 | 2645784.3966 | 1236854.5997
66 | 2645750.6017 | 1236850.3257
67 | 2645631.3386 | 1237424.5216
68 | 2645959.5117 | 1237061.0833
69 | 2645609.429 | 1237483.7025
70 | 2645962.6787 | 1237122.1025
71 | 2646207.3953 | 1237231.5254
72 | 2646194.5576 | 1236893.7645
73 | 2646211.2588 | 1239337.6909
74 | 2646011.6133 | 1239306.5326
75 | 2645971.3095 | 1239295.9138
76 | 2646391.0274 | 1239628.2465
77 | 2646549.1814 | 1239521.2807
78 | 2646782.2062 | 1239450.6761
79 | 2646719.8071 | 1239474.5562
80 | 2646678.2198 | 1239873.7883
81 | 2646550.9715 | 1239438.6078
82 | 2648579.7207 | 1238403.6537
83 | 2648570.1237 | 1238384.007
84 | 2648864.914 | 1238230.4351
85 | 2647771.3451 | 1237480.838
86 | 2648965.5658 | 1238146.8761
87 | 2649027.6711 | 1238254.8692
88 | 2649007.2563 | 1238230.8853
89 | 2648994.7173 | 1238214.9605
90 | 2646292.0957 | 1239359.3786
91 | 2644082.8222 | 1239691.9379
92 | 2647631.9291 | 1237414.2207
93 | 2647131.1756 | 1236961.5713
94 | 2647131.4238 | 1236959.8499
95 | 2647124.5199 | 1237008.015
96 | 2647234.8515 | 1236354.4267
97 | 2646259.4746 | 1237234.6992
98 | 2647237.8712 | 1236349.6031
99 | 2647308.3652 | 1236005.2653
100 | 2647632.9207 | 1236283.6907
101 | 2646161.7111 | 1236878.1961
102 | 2647666.2016 | 1236282.49
103 | 2646303.1711 | 1239385.4389
104 | 2646307.7081 | 1239417.2266
105 | 2646368.5874 | 1239613.017
106 | 2646134.0404 | 1239713.6121

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98857 | -0.019818 | 0.24974 | 0.12096
1 | 0.9885 | -0.019336 | 0 | 0
2 | 0.98969 | -0.010449 | 0 | 0
3 | 0.98828 | -0.017699 | 0 | 0
4 | 0.99068 | -0.017761 | 0 | 0
5 | 0.99123 | -0.021805 | 0.15271 | 0.073961
6 | 0.98758 | -0.01298 | 0 | 0
7 | 0.98815 | -0.016619 | 0.31795 | 0.15399
8 | 0.99181 | -0.026122 | 0 | 0
9 | 0.99255 | -0.01994 | 0 | 0
10 | 0.99439 | -0.0047127 | 0.19055 | 0.092285
11 | 0.99252 | -0.020139 | 0.21304 | 0.10318
12 | 0.98653 | -0.0059807 | 0 | 0
13 | 0.98754 | -0.013185 | 0.23934 | 0.11592
14 | 0.98801 | -0.01558 | 0 | 0
15 | 0.9864 | -0.0052988 | 0 | 0
16 | 0.98544 | 0.0021837 | 0 | 0
17 | 0.98651 | -0.0058142 | 0.29454 | 0.14265
18 | 0.9864 | -0.00528 | 0.11963 | 0.057939
19 | 0.9851 | 0.0049183 | 0 | 0
20 | 0.98544 | 0.002197 | 0.28663 | 0.13882
21 | 0.98485 | 0.0069862 | 0 | 0
22 | 0.98507 | 0.0047741 | 0.31261 | 0.1514
23 | 0.98479 | 0.0066451 | 0.29564 | 0.14318
24 | 0.98649 | -0.0026866 | 0.25156 | 0.12184
25 | 0.98651 | -0.002903 | 0 | 0
26 | 0.98647 | -0.0025266 | 0 | 0
27 | 0.98702 | -0.007454 | 0 | 0
28 | 0.98642 | -0.0029013 | 0.27944 | 0.13534
29 | 0.98756 | -0.011909 | 0 | 0
30 | 0.987 | -0.0072748 | 0.16954 | 0.082111
31 | 0.98622 | -0.0041597 | 0.24812 | 0.12017
32 | 0.98788 | -0.014518 | 0 | 0
33 | 0.98788 | -0.014502 | 0.073107 | 0.035407
34 | 0.98756 | -0.011896 | 0.08341 | 0.040397
35 | 0.9986 | -0.012915 | 0 | 0
36 | 0.99851 | -0.012151 | 0 | 0
37 | 0.99936 | -0.0036049 | 0 | 0
38 | 0.99689 | -5.0883e-05 | 0 | 0
39 | 0.99859 | -0.012856 | 0.18132 | 0.087819
40 | 0.99938 | -0.0034879 | 0.079138 | 0.038328
41 | 0.99662 | 0.0019891 | 0.12837 | 0.062172
42 | 0.99498 | 4.705e-05 | 0 | 0
43 | 0.99848 | -0.011859 | 0 | 0
44 | 0.9985 | -0.01211 | 0.081756 | 0.039596
45 | 0.99946 | -0.0030769 | 0 | 0
46 | 0.99571 | -0.0054582 | 0 | 0
47 | 1 | 0 | -9.2726 | -4.1021
48 | 0.99993 | -0.00037827 | 0 | 0
49 | 0.99628 | -0.027179 | 0 | 0
50 | 0.99327 | -0.038093 | 0.35323 | 0.17108
51 | 0.99328 | -0.038212 | 0 | 0
52 | 0.99297 | -0.040205 | 0.070857 | 0.034318
53 | 0.99439 | -0.030747 | 0 | 0
54 | 0.99447 | -0.031438 | 0.16987 | 0.082274
55 | 0.99574 | -0.022614 | 0 | 0
56 | 0.99626 | -0.026975 | 0.35486 | 0.17187
57 | 0.99904 | -0.00010215 | 0 | 0
58 | 0.9957 | -0.011953 | 0.21467 | 0.10397
59 | 0.99564 | -0.011628 | 0 | 0
60 | 0.99579 | -0.012464 | 0 | 0
61 | 0.99288 | 0.0044463 | 0 | 0
62 | 0.99726 | 0.0021648 | 0.40282 | 0.1951
63 | 0.99204 | 0.0096976 | 0 | 0
64 | 0.99285 | 0.0042488 | 0.10559 | 0.051141
65 | 0.9915 | 0.010446 | 0.16008 | 0.077529
66 | 0.99151 | 0.010381 | 0 | 0
67 | 0.99164 | 0.0094706 | 0 | 0
68 | 0.99066 | 0.016111 | 0 | 0
69 | 0.99182 | 0.011148 | 0.091535 | 0.044332
70 | 0.99065 | 0.016217 | 0.14538 | 0.070411
71 | 0.99019 | 0.019569 | 0 | 0
72 | 0.99055 | 0.016828 | 0 | 0
73 | 0.99723 | 0.0019691 | 0 | 0
74 | 0.99718 | 0.0024348 | 0 | 0
75 | 0.99717 | 0.0025383 | 0.20892 | 0.10118
76 | 0.99872 | -0.002973 | 0.26796 | 0.12978
77 | 0.99871 | -0.0022952 | 0 | 0
78 | 0.99858 | -0.0018093 | 0.3829 | 0.18545
79 | 0.99863 | -0.0014991 | 0 | 0
80 | 0.99845 | -0.011991 | 0.20036 | 0.097039
81 | 0.99868 | -0.0019721 | 0.33091 | 0.16027
82 | 0.98701 | -0.0043749 | 0.054643 | 0.026465
83 | 0.98701 | -0.0043892 | 0 | 0
84 | 0.98687 | -0.0032673 | 0 | 0
85 | 0.98788 | 0.0025855 | 0 | 0
86 | 0.98682 | -0.0027804 | 0.15541 | 0.075267
87 | 0.98679 | -0.0029009 | 0.060125 | 0.02912
88 | 0.98679 | -0.0029245 | 0 | 0
89 | 0.9868 | -0.0029382 | 0.10259 | 0.049686
90 | 0.99755 | 0.0047701 | 0 | 0
91 | 0.99573 | -0.022544 | 0.18144 | 0.087874
92 | 0.98795 | 0.0020359 | 0.11064 | 0.053586
93 | 0.98853 | 0.007134 | 0.053723 | 0.026019
94 | 0.98853 | 0.0071399 | 0 | 0
95 | 0.98855 | 0.0069459 | 0 | 0
96 | 0.98817 | 0.010062 | 0 | 0
97 | 0.99012 | 0.020096 | 0.12462 | 0.060358
98 | 0.98817 | 0.010088 | 0.13023 | 0.063074
99 | 0.98809 | 0.0096058 | 0.10945 | 0.053007
100 | 0.98806 | 0.0093665 | 0 | 0
101 | 0.99054 | 0.016888 | 0.13629 | 0.066008
102 | 0.98805 | 0.009422 | 0.1385 | 0.06708
103 | 0.99764 | 0.0041635 | 0.11578 | 0.056073
104 | 0.99774 | 0.0034541 | 0 | 0
105 | 0.99863 | -0.0023884 | 0 | 0
106 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 2.9784 | 1.3076 | -2.9782 | -1.3079 | 0.00020954 | -0.00034372 | 0.094986 | 0.094991 | 0.094991 | 0.98857 | -0.019818 | 0.9885 | -0.019336 | 43.1777
1 | -3.2282 | -1.4285 | 3.2316 | 1.4305 | 0.0034366 | 0.0019406 | 0.10308 | 0.10308 | 0.10308 | 0.98857 | -0.019818 | 0.98969 | -0.010449 | 49.0877
2 | 2.9782 | 1.3079 | -2.9775 | -1.3091 | 0.00071124 | -0.001166 | 0.094991 | 0.095007 | 0.095007 | 0.9885 | -0.019336 | 0.98828 | -0.017699 | 43.1851
3 | -3.2316 | -1.4305 | 3.235 | 1.4259 | 0.003399 | -0.0046046 | 0.10308 | 0.10302 | 0.10308 | 0.98969 | -0.010449 | 0.99068 | -0.017761 | 46.8553
4 | 1.5524 | 0.65937 | -1.5512 | -0.66732 | 0.0011553 | -0.0079498 | 0.049266 | 0.049362 | 0.049362 | 0.98828 | -0.017699 | 0.98758 | -0.01298 | 22.4371
5 | 1.4251 | 0.64971 | -1.4249 | -0.65135 | 0.00020304 | -0.0016334 | 0.045749 | 0.045769 | 0.045769 | 0.98828 | -0.017699 | 0.98815 | -0.016619 | 20.8043
6 | -3.235 | -1.4259 | 3.2369 | 1.4233 | 0.0018988 | -0.0025803 | 0.10302 | 0.10298 | 0.10302 | 0.99068 | -0.017761 | 0.99123 | -0.021805 | 46.8253
7 | -3.3896 | -1.4972 | 3.3917 | 1.4947 | 0.0021109 | -0.0025619 | 0.10792 | 0.10788 | 0.10792 | 0.99123 | -0.021805 | 0.99181 | -0.026122 | 49.0532
8 | 1.3119 | 0.55148 | -1.3104 | -0.56571 | 0.0014625 | -0.014234 | 0.041598 | 0.041766 | 0.041766 | 0.98758 | -0.01298 | 0.98653 | -0.0059807 | 18.9846
9 | 0.23935 | 0.11584 | -0.23934 | -0.11592 | 7.4081e-06 | -7.5479e-05 | 0.0077727 | 0.0077737 | 0.0077737 | 0.98758 | -0.01298 | 0.98754 | -0.013185 | 3.7018
10 | 1.1069 | 0.49736 | -1.1068 | -0.49949 | 0.0001571 | -0.0021343 | 0.035452 | 0.035478 | 0.035478 | 0.98815 | -0.016619 | 0.98801 | -0.01558 | 16.1265
11 | -3.3917 | -1.4947 | 3.3941 | 1.496 | 0.0023551 | 0.0013417 | 0.10788 | 0.10788 | 0.10788 | 0.99181 | -0.026122 | 0.99255 | -0.01994 | 51.3712
12 | -3.6071 | -1.5991 | 3.6134 | 1.6027 | 0.0062765 | 0.0036162 | 0.11476 | 0.11475 | 0.11476 | 0.99255 | -0.01994 | 0.99439 | -0.0047127 | 54.6465
13 | 0.21305 | 0.1031 | -0.21304 | -0.10318 | 6.4089e-06 | -8.5245e-05 | 0.0068837 | 0.0068849 | 0.0068849 | 0.99255 | -0.01994 | 0.99252 | -0.020139 | 3.2785
14 | -3.8039 | -1.695 | 3.806 | 1.6962 | 0.0020963 | 0.001218 | 0.1209 | 0.1209 | 0.1209 | 0.99439 | -0.0047127 | 0.99498 | 4.705e-05 | 57.5699
15 | 0.11965 | 0.038169 | -0.11963 | -0.05764 | 1.5915e-05 | -0.019471 | 0.0036749 | 0.0038862 | 0.0038862 | 0.98653 | -0.0059807 | 0.9864 | -0.0052988 | 1.7665
16 | 0.89625 | 0.38597 | -0.8952 | -0.40769 | 0.0010429 | -0.02173 | 0.028554 | 0.028816 | 0.028816 | 0.98653 | -0.0059807 | 0.98544 | 0.0021837 | 13.098
17 | 0.29455 | 0.14158 | -0.29454 | -0.14265 | 5.6766e-06 | -0.0010772 | 0.0095629 | 0.0095766 | 0.0095766 | 0.98653 | -0.0059807 | 0.98651 | -0.0058142 | 4.353
18 | 1.1068 | 0.49949 | -1.1066 | -0.50164 | 0.00015874 | -0.0021527 | 0.035478 | 0.035505 | 0.035505 | 0.98801 | -0.01558 | 0.98788 | -0.014518 | 16.1385
19 | 0.11963 | 0.05764 | -0.11963 | -0.057939 | 2.5972e-07 | -0.00029888 | 0.0038862 | 0.00389 | 0.00389 | 0.9864 | -0.0052988 | 0.9864 | -0.00528 | 1.7682
20 | 0.60857 | 0.26896 | -0.60835 | -0.27921 | 0.0002271 | -0.010246 | 0.019491 | 0.019615 | 0.019615 | 0.98544 | 0.0021837 | 0.9851 | 0.0049183 | 8.916
21 | 0.28663 | 0.13873 | -0.28663 | -0.13882 | 4.3755e-07 | -8.7189e-05 | 0.0093283 | 0.0093294 | 0.0093294 | 0.98544 | 0.0021837 | 0.98544 | 0.002197 | 4.2407
22 | 0.29573 | 0.12784 | -0.29565 | -0.14309 | 7.9947e-05 | -0.015243 | 0.0094413 | 0.0096276 | 0.0096276 | 0.9851 | 0.0049183 | 0.98485 | 0.0069862 | 4.3762
23 | 0.31262 | 0.15136 | -0.31261 | -0.1514 | 6.8352e-06 | -3.8615e-05 | 0.010178 | 0.010179 | 0.010179 | 0.9851 | 0.0049183 | 0.98507 | 0.0047741 | 4.8471
24 | 0.29565 | 0.14309 | -0.29564 | -0.14318 | 1.5277e-05 | -9.7521e-05 | 0.0096276 | 0.009629 | 0.009629 | 0.98485 | 0.0069862 | 0.98479 | 0.0066451 | 4.5852
25 | -0.25156 | -0.12184 | 0.25157 | 0.12019 | 6.344e-06 | -0.0016528 | 0.0081794 | 0.0081584 | 0.0081794 | 0.98649 | -0.0026866 | 0.98651 | -0.002903 | 3.7179
26 | 0.52766 | 0.25366 | -0.52763 | -0.25502 | 2.304e-05 | -0.0013581 | 0.017132 | 0.017149 | 0.017149 | 0.98651 | -0.002903 | 0.98647 | -0.0025266 | 7.7951
27 | -0.77923 | -0.37385 | 0.77966 | 0.36216 | 0.00043138 | -0.011687 | 0.02529 | 0.025143 | 0.02529 | 0.98651 | -0.002903 | 0.98702 | -0.007454 | 11.4956
28 | 0.52763 | 0.25502 | -0.5276 | -0.25507 | 2.9764e-05 | -4.7339e-05 | 0.017149 | 0.01715 | 0.01715 | 0.98647 | -0.0025266 | 0.98642 | -0.0029013 | 8.1667
29 | -0.9492 | -0.4422 | 0.94975 | 0.43217 | 0.00054623 | -0.010032 | 0.030626 | 0.030501 | 0.030626 | 0.98702 | -0.007454 | 0.98756 | -0.011909 | 13.9209
30 | 0.16954 | 0.080043 | -0.16954 | -0.082111 | 3.587e-06 | -0.0020677 | 0.0054834 | 0.0055095 | 0.0055095 | 0.98702 | -0.007454 | 0.987 | -0.0072748 | 2.5043
31 | 0.24817 | 0.11973 | -0.24812 | -0.12017 | 4.7025e-05 | -0.00044159 | 0.0080637 | 0.0080697 | 0.0080697 | 0.98642 | -0.0029013 | 0.98622 | -0.0041597 | 3.8427
32 | 0.08341 | 0.040086 | -0.08341 | -0.040397 | 1.3088e-07 | -0.00031146 | 0.0027051 | 0.0027091 | 0.0027091 | 0.98756 | -0.011909 | 0.98756 | -0.011896 | 1.2314
33 | -1.0332 | -0.47226 | 1.0335 | 0.46666 | 0.00035988 | -0.0055999 | 0.033206 | 0.033137 | 0.033206 | 0.98756 | -0.011909 | 0.98788 | -0.014518 | 15.0936
34 | 0.073107 | 0.034986 | -0.073107 | -0.035407 | 1.3566e-07 | -0.00042115 | 0.0023683 | 0.0023737 | 0.0023737 | 0.98788 | -0.014518 | 0.98788 | -0.014502 | 1.0789
35 | 0.28216 | 0.12635 | -0.28213 | -0.13256 | 2.8113e-05 | -0.0062168 | 0.0089369 | 0.009012 | 0.009012 | 0.9986 | -0.012915 | 0.99851 | -0.012151 | 4.0964
36 | -4.4124 | -1.9641 | 4.4154 | 1.9553 | 0.003037 | -0.0088463 | 0.13962 | 0.13949 | 0.13962 | 0.9986 | -0.012915 | 0.99936 | -0.0036049 | 38.569
37 | 3.9489 | 1.7506 | -3.9418 | -1.7567 | 0.007175 | -0.0060581 | 0.12487 | 0.12497 | 0.12497 | 0.9986 | -0.012915 | 0.99689 | -5.0883e-05 | 56.8027
38 | 0.18133 | 0.087158 | -0.18132 | -0.087819 | 1.2563e-06 | -0.00066108 | 0.0058159 | 0.0058242 | 0.0058242 | 0.9986 | -0.012915 | 0.99859 | -0.012856 | 2.6474
39 | 0.20037 | 0.093972 | -0.20036 | -0.096977 | 6.9444e-06 | -0.0030051 | 0.0063983 | 0.0064357 | 0.0064357 | 0.99851 | -0.012151 | 0.99848 | -0.011859 | 2.9253
40 | 0.081756 | 0.03859 | -0.081756 | -0.039596 | 3.8722e-07 | -0.0010058 | 0.0026137 | 0.0026263 | 0.0026263 | 0.99851 | -0.012151 | 0.9985 | -0.01211 | 1.1938
41 | -4.4154 | -1.9553 | 4.4155 | 1.9544 | 8.955e-05 | -0.0008843 | 0.13949 | 0.13948 | 0.13949 | 0.99936 | -0.0036049 | 0.99938 | -0.0034879 | 21.8637
42 | 3.9418 | 1.7567 | -3.9406 | -1.7576 | 0.0011274 | -0.00094821 | 0.12497 | 0.12498 | 0.12498 | 0.99689 | -5.0883e-05 | 0.99662 | 0.0019891 | 56.8096
43 | -4.4947 | -1.9927 | 4.495 | 1.9896 | 0.00032108 | -0.0030533 | 0.14202 | 0.14198 | 0.14202 | 0.99938 | -0.0034879 | 0.99946 | -0.0030769 | 22.2598
44 | 3.8123 | 1.6954 | -3.809 | -1.6935 | 0.0032651 | 0.0018965 | 0.12085 | 0.12085 | 0.12085 | 0.99662 | 0.0019891 | 0.99571 | -0.0054582 | 57.5493
45 | -3.806 | -1.6962 | 3.809 | 1.6935 | 0.0029515 | -0.0027038 | 0.1209 | 0.12085 | 0.1209 | 0.99498 | 4.705e-05 | 0.99571 | -0.0054582 | 54.9526
46 | 0.20036 | 0.096977 | -0.20036 | -0.097039 | 3.983e-06 | -6.1734e-05 | 0.0064357 | 0.0064365 | 0.0064365 | 0.99848 | -0.011859 | 0.99845 | -0.011991 | 3.065
47 | 3.6235 | 1.5883 | -3.6219 | -1.59 | 0.0015791 | -0.0016908 | 0.11427 | 0.1143 | 0.1143 | 0.99946 | -0.0030769 | 0.99904 | -0.00010215 | 51.9524
48 | -8.1185 | -3.5779 | 8.1222 | 3.5685 | 0.0037095 | -0.0093971 | 0.25625 | 0.25612 | 0.25625 | 0.99946 | -0.0030769 | 0.99993 | -0.00037827 | 40.1646
49 | 8.1227 | 3.5672 | -8.1222 | -3.5685 | 0.00051654 | -0.0013104 | 0.2561 | 0.25612 | 0.25612 | 1 | 0 | 0.99993 | -0.00037827 | 40.1436
50 | 1.1359 | 0.52437 | -1.1319 | -0.52391 | 0.0039773 | 0.00045719 | 0.036116 | 0.036141 | 0.036141 | 1 | 0 | 0.99628 | -0.027179 | 17.21
51 | 0.35487 | 0.17073 | -0.35486 | -0.17187 | 8.3406e-06 | -0.0011332 | 0.011411 | 0.011425 | 0.011425 | 0.99628 | -0.027179 | 0.99626 | -0.026975 | 5.1931
52 | 0.77707 | 0.35318 | -0.77662 | -0.36607 | 0.00045189 | -0.01289 | 0.024732 | 0.024891 | 0.024891 | 0.99628 | -0.027179 | 0.99574 | -0.022614 | 11.3141
53 | -0.4241 | -0.20286 | 0.42411 | 0.2023 | 5.9645e-06 | -0.00056226 | 0.013663 | 0.013656 | 0.013663 | 0.99327 | -0.038093 | 0.99328 | -0.038212 | 6.2106
54 | 0.070877 | 0.031787 | -0.070857 | -0.034318 | 1.9886e-05 | -0.0025312 | 0.0022576 | 0.0022888 | 0.0022888 | 0.99327 | -0.038093 | 0.99297 | -0.040205 | 1.0899
55 | -0.42411 | -0.2023 | 0.42456 | 0.20099 | 0.00044832 | -0.0013124 | 0.013656 | 0.013636 | 0.013656 | 0.99328 | -0.038212 | 0.99439 | -0.030747 | 6.503
56 | -0.42456 | -0.20099 | 0.42459 | 0.19754 | 3.6207e-05 | -0.0034438 | 0.013636 | 0.013594 | 0.013636 | 0.99439 | -0.030747 | 0.99447 | -0.031438 | 6.1984
57 | -0.59447 | -0.27982 | 0.59518 | 0.27896 | 0.00071374 | -0.00085591 | 0.019072 | 0.019056 | 0.019072 | 0.99447 | -0.031438 | 0.99574 | -0.022614 | 9.0821
58 | 0.18144 | 0.087105 | -0.18144 | -0.087874 | 1.4794e-06 | -0.00076883 | 0.0058349 | 0.0058445 | 0.0058445 | 0.99574 | -0.022614 | 0.99573 | -0.022544 | 2.6566
59 | 2.9078 | 1.2507 | -2.9069 | -1.2502 | 0.0008795 | 0.0004806 | 0.091463 | 0.091464 | 0.091464 | 0.99904 | -0.00010215 | 0.99872 | -0.002973 | 43.5544
60 | 0.7141 | 0.33929 | -0.71388 | -0.33943 | 0.00022178 | -0.00014514 | 0.022845 | 0.022848 | 0.022848 | 0.99904 | -0.00010215 | 0.99871 | -0.0022952 | 10.8801
61 | 1.69 | 0.6768 | -1.6899 | -0.67745 | 0.00010689 | -0.00064851 | 0.052781 | 0.052788 | 0.052788 | 0.9957 | -0.011953 | 0.99564 | -0.011628 | 23.9948
62 | -1.9047 | -0.78076 | 1.9049 | 0.77994 | 0.00017561 | -0.00082235 | 0.059681 | 0.059672 | 0.059681 | 0.9957 | -0.011953 | 0.99579 | -0.012464 | 27.1278
63 | 1.6899 | 0.67745 | -1.6851 | -0.70672 | 0.0048721 | -0.029271 | 0.052788 | 0.053127 | 0.053127 | 0.99564 | -0.011628 | 0.99288 | 0.0044463 | 24.1486
64 | -1.9049 | -0.77994 | 1.9075 | 0.78109 | 0.00262 | 0.0011515 | 0.059672 | 0.059666 | 0.059672 | 0.99579 | -0.012464 | 0.99726 | 0.0021648 | 28.4151
65 | 1.5795 | 0.65575 | -1.5781 | -0.66527 | 0.0013966 | -0.0095146 | 0.049723 | 0.049834 | 0.049834 | 0.99288 | 0.0044463 | 0.99204 | 0.0096976 | 22.652
66 | 0.1056 | 0.050965 | -0.10559 | -0.051141 | 3.1423e-06 | -0.00017651 | 0.003409 | 0.0034113 | 0.0034113 | 0.99288 | 0.0044463 | 0.99285 | 0.0042488 | 1.6244
67 | -2.5193 | -1.0715 | 2.5199 | 1.0718 | 0.00067301 | 0.00035012 | 0.079247 | 0.079246 | 0.079247 | 0.99726 | 0.0021648 | 0.99755 | 0.0047701 | 37.7365
68 | 0.20894 | 0.095307 | -0.20893 | -0.095381 | 5.0714e-06 | -7.3286e-05 | 0.0066476 | 0.0066485 | 0.0066485 | 0.99726 | 0.0021648 | 0.99723 | 0.0019691 | 3.1659
69 | 1.5781 | 0.66527 | -1.5777 | -0.66781 | 0.0003743 | -0.0025396 | 0.049834 | 0.049864 | 0.049864 | 0.99204 | 0.0096976 | 0.99182 | 0.011148 | 22.6656
70 | -0.16008 | -0.077529 | 0.16008 | 0.076732 | 1.2136e-06 | -0.00079687 | 0.0051785 | 0.0051684 | 0.0051785 | 0.9915 | 0.010446 | 0.99151 | 0.010381 | 2.3539
71 | -0.16008 | -0.076732 | 0.1601 | 0.06151 | 2.2319e-05 | -0.015222 | 0.0051684 | 0.0049928 | 0.0051684 | 0.99151 | 0.010381 | 0.99164 | 0.0094706 | 2.3493
72 | 1.3258 | 0.56188 | -1.3244 | -0.57516 | 0.0013735 | -0.013275 | 0.041919 | 0.042076 | 0.042076 | 0.99164 | 0.0094706 | 0.99066 | 0.016111 | 19.1254
73 | -1.4859 | -0.62339 | 1.4862 | 0.62347 | 0.00024741 | 8.0873e-05 | 0.046909 | 0.046908 | 0.046909 | 0.99164 | 0.0094706 | 0.99182 | 0.011148 | 22.3376
74 | 0.14538 | 0.068972 | -0.14538 | -0.070411 | 1.8098e-06 | -0.0014387 | 0.0046889 | 0.0047071 | 0.0047071 | 0.99066 | 0.016111 | 0.99065 | 0.016217 | 2.1396
75 | 1.0428 | 0.45606 | -1.0422 | -0.46417 | 0.00051939 | -0.0081063 | 0.033165 | 0.033262 | 0.033262 | 0.99066 | 0.016111 | 0.99019 | 0.019569 | 15.119
76 | 0.13631 | 0.050124 | -0.13629 | -0.06514 | 1.5915e-05 | -0.015015 | 0.0042319 | 0.0044022 | 0.0044022 | 0.99066 | 0.016111 | 0.99055 | 0.016828 | 2.001
77 | 1.0422 | 0.46417 | -1.0422 | -0.46536 | 7.6873e-05 | -0.001195 | 0.033262 | 0.033276 | 0.033276 | 0.99019 | 0.019569 | 0.99012 | 0.020096 | 15.1256
78 | 0.13629 | 0.06514 | -0.13629 | -0.066008 | 9.6139e-07 | -0.00086809 | 0.0044022 | 0.0044132 | 0.0044132 | 0.99055 | 0.016828 | 0.99054 | 0.016888 | 2.006
79 | 0.20893 | 0.095381 | -0.20892 | -0.10019 | 1.2078e-05 | -0.0048135 | 0.0066485 | 0.0067076 | 0.0067076 | 0.99723 | 0.0019691 | 0.99718 | 0.0024348 | 3.0489
80 | 0.20892 | 0.10019 | -0.20892 | -0.10118 | 2.508e-06 | -0.00098877 | 0.0067076 | 0.00672 | 0.00672 | 0.99718 | 0.0024348 | 0.99717 | 0.0025383 | 3.0546
81 | 2.639 | 1.1204 | -2.6387 | -1.121 | 0.00024815 | -0.00057091 | 0.082868 | 0.082875 | 0.082875 | 0.99872 | -0.002973 | 0.99863 | -0.0023884 | 37.6706
82 | 0.33092 | 0.1583 | -0.33091 | -0.16027 | 1.2442e-05 | -0.0019658 | 0.010603 | 0.010628 | 0.010628 | 0.99871 | -0.0022952 | 0.99868 | -0.0019721 | 4.8309
83 | 0.38295 | 0.18113 | -0.38292 | -0.18538 | 3.5945e-05 | -0.0042471 | 0.012245 | 0.012298 | 0.012298 | 0.99871 | -0.0022952 | 0.99863 | -0.0014991 | 5.59
84 | -0.3829 | -0.18545 | 0.38292 | 0.18538 | 1.8005e-05 | -6.826e-05 | 0.012299 | 0.012298 | 0.012299 | 0.99858 | -0.0018093 | 0.99863 | -0.0014991 | 5.8567
85 | -0.054643 | -0.026465 | 0.054643 | 0.025956 | 9.1668e-08 | -0.00050831 | 0.0017757 | 0.0017693 | 0.0017757 | 0.98701 | -0.0043749 | 0.98701 | -0.0043892 | 0.80715
86 | 0.31819 | 0.14197 | -0.31814 | -0.14971 | 4.6611e-05 | -0.007734 | 0.010191 | 0.010285 | 0.010285 | 0.98701 | -0.0043892 | 0.98687 | -0.0032673 | 4.675
87 | -0.37283 | -0.16793 | 0.37314 | 0.16672 | 0.00030683 | -0.0012113 | 0.011959 | 0.011943 | 0.011959 | 0.98701 | -0.0043892 | 0.98788 | 0.0025855 | 5.695
88 | 0.31814 | 0.14971 | -0.31813 | -0.15274 | 1.8546e-05 | -0.0030369 | 0.010285 | 0.010323 | 0.010323 | 0.98687 | -0.0032673 | 0.98682 | -0.0027804 | 4.6924
89 | -0.37314 | -0.16672 | 0.37317 | 0.16311 | 2.9442e-05 | -0.0036074 | 0.011943 | 0.0119 | 0.011943 | 0.98788 | 0.0025855 | 0.98795 | 0.0020359 | 5.4285
90 | 0.16272 | 0.077478 | -0.16271 | -0.077561 | 3.6685e-06 | -8.3801e-05 | 0.0052721 | 0.0052731 | 0.0052731 | 0.98682 | -0.0027804 | 0.9868 | -0.0029382 | 2.511
91 | -0.060125 | -0.02912 | 0.060125 | 0.02835 | 1.6798e-07 | -0.00076975 | 0.0019543 | 0.0019446 | 0.0019543 | 0.98679 | -0.0029009 | 0.98679 | -0.0029245 | 0.88833
92 | -0.060125 | -0.02835 | 0.060125 | 0.027875 | 1.0285e-07 | -0.00047508 | 0.0019446 | 0.0019387 | 0.0019446 | 0.98679 | -0.0029245 | 0.9868 | -0.0029382 | 0.88392
93 | -2.5199 | -1.0718 | 2.5202 | 1.0712 | 0.00024502 | -0.00062184 | 0.079246 | 0.079238 | 0.079246 | 0.99755 | 0.0047701 | 0.99764 | 0.0041635 | 36.0208
94 | -0.48381 | -0.2167 | 0.48409 | 0.21611 | 0.0002777 | -0.00058387 | 0.01549 | 0.015481 | 0.01549 | 0.98795 | 0.0020359 | 0.98855 | 0.0069459 | 7.3762
95 | 0.37835 | 0.16415 | -0.37835 | -0.1642 | 3.3676e-07 | -4.0473e-05 | 0.012044 | 0.012044 | 0.012044 | 0.98853 | 0.007134 | 0.98853 | 0.0071399 | 5.4747
96 | -0.43207 | -0.19017 | 0.43209 | 0.18908 | 1.1894e-05 | -0.0010913 | 0.013786 | 0.013773 | 0.013786 | 0.98853 | 0.007134 | 0.98855 | 0.0069459 | 6.2663
97 | 0.37835 | 0.1642 | -0.37821 | -0.18139 | 0.00014561 | -0.017198 | 0.012044 | 0.012254 | 0.012254 | 0.98853 | 0.0071399 | 0.98817 | 0.010062 | 5.5698
98 | -0.91617 | -0.4052 | 0.91754 | 0.405 | 0.0013629 | -0.00019123 | 0.029254 | 0.029241 | 0.029254 | 0.98855 | 0.0069459 | 0.99012 | 0.020096 | 13.9303
99 | 0.37821 | 0.18139 | -0.3782 | -0.18153 | 1.1401e-06 | -0.00013225 | 0.012254 | 0.012255 | 0.012255 | 0.98817 | 0.010062 | 0.98817 | 0.010088 | 5.5706
100 | 0.10945 | 0.052602 | -0.10945 | -0.053007 | 7.8929e-06 | -0.00040475 | 0.0035476 | 0.0035528 | 0.0035528 | 0.98817 | 0.010088 | 0.98809 | 0.0096058 | 1.6918
101 | 0.13852 | 0.065848 | -0.1385 | -0.066306 | 1.4344e-05 | -0.00045785 | 0.0044805 | 0.0044864 | 0.0044864 | 0.98817 | 0.010088 | 0.98806 | 0.0093665 | 2.1364
102 | 0.1385 | 0.066306 | -0.1385 | -0.06708 | 8.9418e-07 | -0.00077372 | 0.0044864 | 0.0044962 | 0.0044962 | 0.98806 | 0.0093665 | 0.98805 | 0.009422 | 2.0437
103 | -2.636 | -1.1273 | 2.6363 | 1.1266 | 0.00029497 | -0.00067563 | 0.082956 | 0.082947 | 0.082956 | 0.99764 | 0.0041635 | 0.99774 | 0.0034541 | 37.7073
104 | -2.6363 | -1.1266 | 2.6387 | 1.121 | 0.0024546 | -0.0056349 | 0.082947 | 0.082875 | 0.082947 | 0.99774 | 0.0034541 | 0.99863 | -0.0023884 | 37.7033

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.6424 | 4.2812

## res_load
| p_mw | q_mvar
0 | 0.24974 | 0.12096
1 | 0.15271 | 0.073961
2 | 0.31795 | 0.15399
3 | 0.19055 | 0.092285
4 | 0.21304 | 0.10318
5 | 0.23934 | 0.11592
6 | 0.29454 | 0.14265
7 | 0.11963 | 0.057939
8 | 0.28663 | 0.13882
9 | 0.31261 | 0.1514
10 | 0.29564 | 0.14318
11 | 0.25156 | 0.12184
12 | 0.27944 | 0.13534
13 | 0.16954 | 0.082111
14 | 0.24812 | 0.12017
15 | 0.073107 | 0.035407
16 | 0.08341 | 0.040397
17 | 0.18132 | 0.087819
18 | 0.079138 | 0.038328
19 | 0.12837 | 0.062172
20 | 0.081756 | 0.039596
21 | 0.36977 | 0.17909
22 | 0.35323 | 0.17108
23 | 0.070857 | 0.034318
24 | 0.16987 | 0.082274
25 | 0.35486 | 0.17187
26 | 0.21467 | 0.10397
27 | 0.40282 | 0.1951
28 | 0.10559 | 0.051141
29 | 0.16008 | 0.077529
30 | 0.091535 | 0.044332
31 | 0.14538 | 0.070411
32 | 0.20892 | 0.10118
33 | 0.26796 | 0.12978
34 | 0.3829 | 0.18545
35 | 0.20036 | 0.097039
36 | 0.33091 | 0.16027
37 | 0.054643 | 0.026465
38 | 0.15541 | 0.075267
39 | 0.060125 | 0.02912
40 | 0.10259 | 0.049686
41 | 0.18144 | 0.087874
42 | 0.11064 | 0.053586
43 | 0.053723 | 0.026019
44 | 0.12462 | 0.060358
45 | 0.13023 | 0.063074
46 | 0.10945 | 0.053007
47 | 0.13629 | 0.066008
48 | 0.1385 | 0.06708
49 | 0.11578 | 0.056073

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1