## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_418_1_node_60 | 20 | n |  | TRUE
1 | bus_MV_418_1_node_61 | 20 | n |  | TRUE
2 | bus_MV_418_1_node_121 | 20 | n |  | TRUE
3 | bus_MV_418_1_node_80 | 20 | n |  | TRUE
4 | bus_MV_418_1_node_81 | 20 | n |  | TRUE
5 | bus_MV_418_1_node_82 | 20 | n |  | TRUE
6 | bus_MV_418_1_node_84 | 20 | n |  | TRUE
7 | bus_MV_418_1_node_86 | 20 | n |  | TRUE
8 | bus_MV_418_1_node_83 | 20 | n |  | TRUE
9 | bus_MV_418_1_node_210 | 20 | n |  | TRUE
10 | bus_MV_418_1_node_85 | 20 | n |  | TRUE
11 | bus_MV_418_1_node_184 | 20 | n |  | TRUE
12 | bus_MV_418_1_node_89 | 20 | n |  | TRUE
13 | bus_MV_418_1_node_105 | 20 | n |  | TRUE
14 | bus_MV_418_1_node_88 | 20 | n |  | TRUE
15 | bus_MV_418_1_node_209 | 20 | n |  | TRUE
16 | bus_MV_418_1_node_118 | 20 | n |  | TRUE
17 | bus_MV_418_1_node_90 | 20 | n |  | TRUE
18 | bus_MV_418_1_node_92 | 20 | n |  | TRUE
19 | bus_MV_418_1_node_91 | 20 | n |  | TRUE
20 | bus_MV_418_1_node_170 | 20 | n |  | TRUE
21 | bus_MV_418_1_node_203 | 20 | n |  | TRUE
22 | bus_MV_418_1_node_93 | 20 | n |  | TRUE
23 | bus_MV_418_1_node_94 | 20 | n |  | TRUE
24 | bus_MV_418_1_node_96 | 20 | n |  | TRUE
25 | bus_MV_418_1_node_95 | 20 | n |  | TRUE
26 | bus_MV_418_1_node_97 | 20 | n |  | TRUE
27 | bus_MV_418_1_node_114 | 20 | n |  | TRUE
28 | bus_MV_418_1_node_115 | 20 | n |  | TRUE
29 | bus_MV_418_1_node_100 | 20 | n |  | TRUE
30 | bus_MV_418_1_node_99 | 20 | n |  | TRUE
31 | bus_MV_418_1_node_194 | 20 | n |  | TRUE
32 | bus_MV_418_1_node_101 | 20 | n |  | TRUE
33 | bus_MV_418_1_node_102 | 20 | n |  | TRUE
34 | bus_MV_418_1_node_113 | 20 | n |  | TRUE
35 | bus_MV_418_1_node_103 | 20 | n |  | TRUE
36 | bus_MV_418_1_node_104 | 20 | n |  | TRUE
37 | bus_MV_418_1_node_109 | 20 | n |  | TRUE
38 | bus_MV_418_1_node_111 | 20 | n |  | TRUE
39 | bus_MV_418_1_node_107 | 20 | n |  | TRUE
40 | bus_MV_418_1_node_174 | 20 | n |  | TRUE
41 | bus_MV_418_1_node_106 | 20 | n |  | TRUE
42 | bus_MV_418_1_node_110 | 20 | n |  | TRUE
43 | bus_MV_418_1_node_108 | 20 | n |  | TRUE
44 | bus_MV_418_1_node_199 | 20 | n |  | TRUE
45 | bus_MV_418_1_node_125 | 20 | n |  | TRUE
46 | bus_MV_418_1_node_175 | 20 | n |  | TRUE
47 | bus_MV_418_1_node_112 | 20 | n |  | TRUE
48 | bus_MV_418_1_node_116 | 20 | n |  | TRUE
49 | bus_MV_418_1_node_117 | 20 | n |  | TRUE
50 | bus_MV_418_1_node_120 | 20 | n |  | TRUE
51 | bus_MV_418_1_node_122 | 20 | n |  | TRUE
52 | bus_MV_418_1_node_172 | 20 | n |  | TRUE
53 | bus_MV_418_1_node_173 | 20 | n |  | TRUE
54 | bus_MV_418_1_node_123 | 20 | n |  | TRUE
55 | bus_MV_418_1_node_124 | 20 | n |  | TRUE
56 | bus_MV_418_1_node_126 | 20 | n |  | TRUE
57 | bus_MV_418_1_node_127 | 20 | n |  | TRUE
58 | bus_MV_418_1_node_128 | 20 | n |  | TRUE
59 | bus_MV_418_1_node_131 | 20 | n |  | TRUE
60 | bus_MV_418_1_node_212 | 20 | n |  | TRUE
61 | bus_MV_418_1_node_133 | 20 | n |  | TRUE
62 | bus_MV_418_1_node_132 | 20 | n |  | TRUE
63 | bus_MV_418_1_node_187 | 20 | n |  | TRUE
64 | bus_MV_418_1_node_129 | 20 | n |  | TRUE
65 | bus_MV_418_1_node_196 | 20 | n |  | TRUE
66 | bus_MV_418_1_node_130 | 20 | n |  | TRUE
67 | bus_MV_418_1_node_139 | 20 | n |  | TRUE
68 | bus_MV_418_1_node_176 | 20 | n |  | TRUE
69 | bus_MV_418_1_node_179 | 20 | n |  | TRUE
70 | bus_MV_418_1_node_137 | 20 | n |  | TRUE
71 | bus_MV_418_1_node_134 | 20 | n |  | TRUE
72 | bus_MV_418_1_node_135 | 20 | n |  | TRUE
73 | bus_MV_418_1_node_136 | 20 | n |  | TRUE
74 | bus_MV_418_1_node_138 | 20 | n |  | TRUE
75 | bus_MV_418_1_node_178 | 20 | n |  | TRUE
76 | bus_MV_418_1_node_140 | 20 | n |  | TRUE
77 | bus_MV_418_1_node_141 | 20 | n |  | TRUE
78 | bus_MV_418_1_node_142 | 20 | n |  | TRUE
79 | bus_MV_418_1_node_143 | 20 | n |  | TRUE
80 | bus_MV_418_1_node_144 | 20 | n |  | TRUE
81 | bus_MV_418_1_node_145 | 20 | n |  | TRUE
82 | bus_MV_418_1_node_146 | 20 | n |  | TRUE
83 | bus_MV_418_1_node_182 | 20 | n |  | TRUE
84 | bus_MV_418_1_node_211 | 20 | n |  | TRUE
85 | bus_MV_418_1_node_180 | 20 | n |  | TRUE
86 | bus_MV_418_1_node_153 | 20 | n |  | TRUE
87 | bus_MV_418_1_node_147 | 20 | n |  | TRUE
88 | bus_MV_418_1_node_148 | 20 | n |  | TRUE
89 | bus_MV_418_1_node_149 | 20 | n |  | TRUE
90 | bus_MV_418_1_node_150 | 20 | n |  | TRUE
91 | bus_MV_418_1_node_152 | 20 | n |  | TRUE
92 | bus_MV_418_1_node_181 | 20 | n |  | TRUE
93 | bus_MV_418_1_node_177 | 20 | n |  | TRUE
94 | bus_MV_418_1_node_151 | 20 | n |  | TRUE
95 | bus_MV_418_1_node_202 | 20 | n |  | TRUE
96 | bus_MV_418_1_node_201 | 20 | n |  | TRUE
97 | bus_MV_418_1_node_171 | 20 | n |  | TRUE
98 | bus_MV_418_1_node_195 | 20 | n |  | TRUE
99 | bus_HV_418_1_node_178 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_418_1_load_60 | 0 | 0.082254 | 0.039837 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_418_1_load_80 | 3 | 0.29603 | 0.14338 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_418_1_load_210 | 9 | 0.18601 | 0.090088 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_418_1_load_184 | 11 | 0.26543 | 0.12855 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_418_1_load_89 | 12 | 0.16026 | 0.077615 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_418_1_load_105 | 13 | 0.19696 | 0.095391 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_418_1_load_88 | 14 | 0.055063 | 0.026668 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_418_1_load_209 | 15 | 0.25352 | 0.12279 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_418_1_load_118 | 16 | 0.060418 | 0.029262 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_418_1_load_170 | 20 | 0.10339 | 0.050075 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_418_1_load_203 | 21 | 0.24811 | 0.12016 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_418_1_load_93 | 22 | 0.18971 | 0.091882 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_418_1_load_114 | 27 | 0.23819 | 0.11536 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_418_1_load_115 | 28 | 0.20713 | 0.10032 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_418_1_load_99 | 30 | 0.16913 | 0.081913 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_418_1_load_194 | 31 | 0.1638 | 0.079332 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_418_1_load_101 | 32 | 0.2297 | 0.11125 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_418_1_load_113 | 34 | 0.18601 | 0.090089 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_418_1_load_107 | 39 | 0.24605 | 0.11917 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_418_1_load_174 | 40 | 0.089112 | 0.043159 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_418_1_load_106 | 41 | 0.13881 | 0.067228 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_418_1_load_108 | 43 | 0.091903 | 0.044511 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_418_1_load_199 | 44 | 0.34029 | 0.16481 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_418_1_load_175 | 46 | 0.58545 | 0.28355 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_418_1_load_112 | 47 | 0.22929 | 0.11105 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_418_1_load_120 | 50 | 0.076388 | 0.036997 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_418_1_load_172 | 52 | 0.26708 | 0.12935 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_418_1_load_173 | 53 | 0.12122 | 0.058712 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_418_1_load_123 | 54 | 0.16543 | 0.080124 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_418_1_load_124 | 55 | 2.8377 | 1.3744 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_418_1_load_212 | 60 | 0.3415 | 0.1654 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_418_1_load_132 | 62 | 0.37018 | 0.17929 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_418_1_load_187 | 63 | 0.12506 | 0.06057 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_418_1_load_196 | 65 | 0.16148 | 0.078208 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_418_1_load_139 | 67 | 0.28857 | 0.13976 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_418_1_load_176 | 68 | 0.070267 | 0.034032 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_418_1_load_179 | 69 | 0.077039 | 0.037312 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_418_1_load_134 | 71 | 0.15245 | 0.073836 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_418_1_load_138 | 74 | 0.20674 | 0.10013 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_418_1_load_178 | 75 | 0.071901 | 0.034823 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_418_1_load_140 | 76 | 0.12473 | 0.060411 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_418_1_load_182 | 83 | 0.1824 | 0.088339 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_418_1_load_211 | 84 | 0.25702 | 0.12448 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_418_1_load_180 | 85 | 0.084512 | 0.040931 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_418_1_load_153 | 86 | 0.18473 | 0.089471 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_418_1_load_147 | 87 | 0.36143 | 0.17505 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_418_1_load_181 | 92 | 0.21169 | 0.10252 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_418_1_load_177 | 93 | 0.15249 | 0.073855 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_418_1_load_202 | 95 | 0.41715 | 0.20203 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_418_1_load_201 | 96 | 0.062877 | 0.030453 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_418_1_load_195 | 98 | 0.11453 | 0.055469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_418_1_line_0 |  | 0 | 1 | 0.018048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_418_1_line_1 |  | 1 | 2 | 1.1924 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_418_1_line_2 |  | 2 | 51 | 1.3247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_418_1_line_3 |  | 2 | 50 | 0.038797 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_418_1_line_4 |  | 3 | 4 | 0.043476 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_418_1_line_5 |  | 3 | 5 | 0.085779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_418_1_line_6 |  | 4 | 6 | 0.30435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_418_1_line_7 |  | 5 | 7 | 0.39855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_418_1_line_8 |  | 6 | 11 | 0.054039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_418_1_line_9 |  | 6 | 8 | 0.29226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_418_1_line_10 |  | 7 | 13 | 0.076964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_418_1_line_11 |  | 8 | 9 | 0.028113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_418_1_line_12 |  | 8 | 10 | 0.29657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_418_1_line_13 |  | 10 | 12 | 0.020817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_418_1_line_14 |  | 11 | 49 | 0.035088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_418_1_line_15 |  | 12 | 17 | 0.1014 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_418_1_line_16 |  | 12 | 18 | 0.46782 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_418_1_line_17 |  | 14 | 15 | 0.51796 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_418_1_line_18 |  | 14 | 16 | 1.8201 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_418_1_line_19 |  | 15 | 23 | 0.23119 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_418_1_line_20 |  | 17 | 19 | 0.16794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_418_1_line_21 |  | 18 | 21 | 0.13167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_418_1_line_22 |  | 19 | 20 | 0.033394 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_418_1_line_23 |  | 20 | 97 | 0.014349 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_418_1_line_24 |  | 22 | 23 | 0.10938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_418_1_line_25 |  | 23 | 24 | 0.16411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_418_1_line_26 |  | 24 | 28 | 0.034077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_418_1_line_27 |  | 24 | 25 | 0.38011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_418_1_line_28 |  | 25 | 26 | 0.1881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_418_1_line_29 |  | 25 | 27 | 0.065907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_418_1_line_30 |  | 26 | 29 | 0.25843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_418_1_line_31 |  | 26 | 30 | 0.13804 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_418_1_line_32 |  | 28 | 48 | 0.038429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_418_1_line_33 |  | 29 | 31 | 0.033357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_418_1_line_34 |  | 31 | 42 | 0.073549 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_418_1_line_35 |  | 32 | 33 | 0.072952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_418_1_line_36 |  | 32 | 34 | 0.22319 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_418_1_line_37 |  | 33 | 35 | 0.38651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_418_1_line_38 |  | 34 | 47 | 0.25136 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_418_1_line_39 |  | 35 | 36 | 0.11083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_418_1_line_40 |  | 35 | 37 | 0.62765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_418_1_line_41 |  | 35 | 38 | 1.3925 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
42 | MV_418_1_line_42 |  | 35 | 39 | 0.022853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_418_1_line_43 |  | 36 | 40 | 0.030238 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_418_1_line_44 |  | 37 | 44 | 0.017562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_418_1_line_45 |  | 37 | 42 | 0.45907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_418_1_line_46 |  | 38 | 45 | 0.63027 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
47 | MV_418_1_line_47 |  | 38 | 46 | 0.10748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_418_1_line_48 |  | 39 | 43 | 0.029976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_418_1_line_49 |  | 41 | 42 | 0.27205 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_418_1_line_50 |  | 45 | 56 | 0.32518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_418_1_line_51 |  | 45 | 57 | 0.57869 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
52 | MV_418_1_line_52 |  | 45 | 58 | 0.57927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_418_1_line_53 |  | 45 | 59 | 0.46729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_418_1_line_54 |  | 45 | 54 | 0.063953 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_418_1_line_55 |  | 46 | 55 | 0.15599 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_418_1_line_56 |  | 48 | 49 | 0.24208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_418_1_line_57 |  | 51 | 52 | 0.028187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_418_1_line_58 |  | 51 | 53 | 0.028835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_418_1_line_59 |  | 52 | 97 | 0.040324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_418_1_line_60 |  | 56 | 60 | 0.005558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_418_1_line_61 |  | 57 | 61 | 0.17706 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_418_1_line_62 |  | 57 | 62 | 0.054518 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_418_1_line_63 |  | 58 | 63 | 0.065009 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_418_1_line_64 |  | 59 | 68 | 0.027549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_418_1_line_65 |  | 59 | 64 | 0.96333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_418_1_line_66 |  | 59 | 66 | 0.18701 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_418_1_line_67 |  | 61 | 69 | 0.038337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_418_1_line_68 |  | 61 | 70 | 0.11617 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_418_1_line_69 |  | 64 | 65 | 0.051931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_418_1_line_70 |  | 65 | 98 | 0.394 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_418_1_line_71 |  | 66 | 67 | 0.070548 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_418_1_line_72 |  | 68 | 90 | 0.026235 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_418_1_line_73 |  | 70 | 75 | 0.015887 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_418_1_line_74 |  | 70 | 73 | 0.32125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_418_1_line_75 |  | 71 | 72 | 0.042565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_418_1_line_76 |  | 72 | 73 | 0.40846 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_418_1_line_77 |  | 73 | 74 | 0.04539 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_418_1_line_78 |  | 76 | 77 | 0.034291 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_418_1_line_79 |  | 76 | 78 | 0.034593 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_418_1_line_80 |  | 77 | 79 | 0.14659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_418_1_line_81 |  | 77 | 80 | 0.35435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_418_1_line_82 |  | 78 | 81 | 0.33152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_418_1_line_83 |  | 78 | 82 | 0.31004 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_418_1_line_84 |  | 79 | 83 | 0.029586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_418_1_line_85 |  | 80 | 84 | 0.010697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_418_1_line_86 |  | 81 | 85 | 0.024518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_418_1_line_87 |  | 82 | 86 | 0.035429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_418_1_line_88 |  | 83 | 92 | 0.010888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_418_1_line_89 |  | 87 | 88 | 0.007732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_418_1_line_90 |  | 88 | 89 | 0.31272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_418_1_line_91 |  | 88 | 90 | 0.39278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_418_1_line_92 |  | 88 | 91 | 0.52878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_418_1_line_93 |  | 89 | 92 | 0.013963 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_418_1_line_94 |  | 90 | 93 | 0.023367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_418_1_line_95 |  | 91 | 96 | 0.059021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_418_1_line_96 |  | 91 | 94 | 0.2679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_418_1_line_97 |  | 94 | 95 | 0.035857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_418_1_trafo_178 | 25 MVA 110/20 kV | 99 | 75 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2650885.1253 | 1242679.7777
1 | 2650886.0895 | 1242697.7979
2 | 2651006.8075 | 1243884.0881
3 | 2650247.8569 | 1245630.581
4 | 2650230.7663 | 1245590.5873
5 | 2650202.8907 | 1245700.992
6 | 2650027.1722 | 1245426.0356
7 | 2650336.5702 | 1245924.852
8 | 2650076.9602 | 1245239.0749
9 | 2650057.4396 | 1245259.3572
10 | 2650283.2588 | 1245197.5023
11 | 2649982.6703 | 1245456.7367
12 | 2650299.1716 | 1245184.0281
13 | 2650400.0136 | 1245968.3974
14 | 2649300.913 | 1245083.5082
15 | 2649770.0738 | 1245302.9921
16 | 2648497.9552 | 1243450.0661
17 | 2650374.8914 | 1245116.5918
18 | 2650710.0702 | 1245407.685
19 | 2650423.5446 | 1245010.5007
20 | 2650419.8736 | 1244977.3088
21 | 2650806.0557 | 1245317.2675
22 | 2649611.1766 | 1245537.0404
23 | 2649691.2189 | 1245520.321
24 | 2649813.9257 | 1245610.5877
25 | 2649698.6498 | 1245790.3082
26 | 2649580.3116 | 1245790.4296
27 | 2649728.2367 | 1245846.7604
28 | 2649838.5989 | 1245634.1216
29 | 2649435.2148 | 1245877.5443
30 | 2649481.5601 | 1245693.9744
31 | 2649403.7462 | 1245888.8676
32 | 2649678.8968 | 1246519.6091
33 | 2649667.3815 | 1246590.3602
34 | 2649824.9922 | 1246350.8763
35 | 2649326.299 | 1246429.0184
36 | 2649400.7321 | 1246419.4088
37 | 2649239.4884 | 1246095.2295
38 | 2648285.0523 | 1246361.6772
39 | 2649343.0418 | 1246413.4633
40 | 2649419.3901 | 1246395.6139
41 | 2649181.1684 | 1245688.0405
42 | 2649334.2477 | 1245912.939
43 | 2649365.0024 | 1246393.0605
44 | 2649226.2331 | 1246106.7606
45 | 2648312.0203 | 1246609.24
46 | 2648184.4605 | 1246323.8225
47 | 2649871.7057 | 1246103.892
48 | 2649874.3096 | 1245643.2833
49 | 2650007.247 | 1245481.8494
50 | 2651043.7586 | 1243895.9135
51 | 2650442.0371 | 1244944.3137
52 | 2650421.9519 | 1244924.9745
53 | 2650446.1868 | 1244920.2836
54 | 2648261.2759 | 1246570.1232
55 | 2648082.119 | 1246441.5481
56 | 2648304.3018 | 1246728.7016
57 | 2648611.3533 | 1246492.584
58 | 2648555.0495 | 1247025.5579
59 | 2648383.3648 | 1246986.952
60 | 2648309.3357 | 1246731.0886
61 | 2648711.0798 | 1246412.4258
62 | 2648665.7143 | 1246496.7212
63 | 2648602.8548 | 1247069.6122
64 | 2647867.444 | 1246610.027
65 | 2647908.9624 | 1246641.383
66 | 2648265.0442 | 1247107.625
67 | 2648324.364 | 1247145.8111
68 | 2648403.6167 | 1247005.6287
69 | 2648703.8488 | 1246450.0749
70 | 2648801.5565 | 1246434.0391
71 | 2648793.2009 | 1246761.9345
72 | 2648751.7082 | 1246752.9319
73 | 2648940.7895 | 1246644.6045
74 | 2648895.4191 | 1246645.9314
75 | 2648804.1904 | 1246418.3717
76 | 2648282.5366 | 1247534.3759
77 | 2648290.9112 | 1247501.1217
78 | 2648274.9211 | 1247568.0921
79 | 2648363.3717 | 1247408.3162
80 | 2648538.4196 | 1247651.8314
81 | 2648313.689 | 1247400.1504
82 | 2648190.5129 | 1247399.2371
83 | 2648388.2527 | 1247392.2527
84 | 2648536.1892 | 1247662.2868
85 | 2648291.6321 | 1247389.4441
86 | 2648159.6955 | 1247381.8864
87 | 2648458.5408 | 1247231.9853
88 | 2648451.5669 | 1247228.6039
89 | 2648366.8687 | 1247379.5921
90 | 2648424.2754 | 1247018.0844
91 | 2648752.6046 | 1247390.8341
92 | 2648378.8835 | 1247386.7056
93 | 2648439.309 | 1247000.1617
94 | 2648730.4487 | 1247219.4481
95 | 2648759.3851 | 1247198.1603
96 | 2648722.0247 | 1247438.5372
97 | 2650418.2962 | 1244963.0467
98 | 2647840.8783 | 1247029.4601
99 | 2648804.1904 | 1246418.3717

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98132 | -0.034497 | 0.082254 | 0.039837
1 | 0.98133 | -0.034516 | 0 | 0
2 | 0.98152 | -0.033169 | 0 | 0
3 | 0.9828 | -0.039421 | 0.29603 | 0.14338
4 | 0.98283 | -0.039648 | 0 | 0
5 | 0.98278 | -0.039279 | 0 | 0
6 | 0.98302 | -0.041155 | 0 | 0
7 | 0.98268 | -0.038474 | 0 | 0
8 | 0.98256 | -0.0377 | 0 | 0
9 | 0.98255 | -0.037636 | 0.18601 | 0.090088
10 | 0.98215 | -0.034729 | 0 | 0
11 | 0.98314 | -0.042035 | 0.26543 | 0.12855
12 | 0.98212 | -0.034516 | 0.16026 | 0.077615
13 | 0.98266 | -0.038291 | 0.19696 | 0.095391
14 | 0.98365 | -0.049772 | 0.055063 | 0.026668
15 | 0.98376 | -0.048915 | 0.25352 | 0.12279
16 | 0.98343 | -0.051314 | 0.060418 | 0.029262
17 | 0.982 | -0.035696 | 0 | 0
18 | 0.9819 | -0.036106 | 0 | 0
19 | 0.98186 | -0.034758 | 0 | 0
20 | 0.98183 | -0.034567 | 0.10339 | 0.050075
21 | 0.98186 | -0.035714 | 0.24811 | 0.12016
22 | 0.9839 | -0.047545 | 0.18971 | 0.091882
23 | 0.98393 | -0.047793 | 0 | 0
24 | 0.98405 | -0.048846 | 0 | 0
25 | 0.9854 | -0.059289 | 0 | 0
26 | 0.98612 | -0.064897 | 0 | 0
27 | 0.98538 | -0.059098 | 0.23819 | 0.11536
28 | 0.98395 | -0.048112 | 0.20713 | 0.10032
29 | 0.98718 | -0.073035 | 0 | 0
30 | 0.98608 | -0.065188 | 0.16913 | 0.081913
31 | 0.98731 | -0.074076 | 0.1638 | 0.079332
32 | 0.99252 | -0.10623 | 0.2297 | 0.11125
33 | 0.99259 | -0.10679 | 0 | 0
34 | 0.99234 | -0.10737 | 0.18601 | 0.090089
35 | 0.9929 | -0.10965 | 0 | 0
36 | 0.99289 | -0.10954 | 0 | 0
37 | 0.98983 | -0.08606 | 0 | 0
38 | 0.99659 | -0.064681 | 0 | 0
39 | 0.99289 | -0.10955 | 0.24605 | 0.11917
40 | 0.99289 | -0.10951 | 0.089112 | 0.043159
41 | 0.98771 | -0.070709 | 0.13881 | 0.067228
42 | 0.98779 | -0.070238 | 0 | 0
43 | 0.99289 | -0.10952 | 0.091903 | 0.044511
44 | 0.98983 | -0.085987 | 0.34029 | 0.16481
45 | 0.99773 | -0.043256 | 0 | 0
46 | 0.99612 | -0.060252 | 0.58545 | 0.28355
47 | 0.99223 | -0.10808 | 0.22929 | 0.11105
48 | 0.98385 | -0.047381 | 0 | 0
49 | 0.98323 | -0.042718 | 0 | 0
50 | 0.98151 | -0.033206 | 0.076388 | 0.036997
51 | 0.98178 | -0.034283 | 0 | 0
52 | 0.98179 | -0.034319 | 0.26708 | 0.12935
53 | 0.98178 | -0.034241 | 0.12122 | 0.058712
54 | 0.99772 | -0.043132 | 0.16543 | 0.080124
55 | 0.99526 | -0.065649 | 2.8377 | 1.3744
56 | 0.99759 | -0.042005 | 0 | 0
57 | 0.99919 | -0.015423 | 0 | 0
58 | 0.99764 | -0.042644 | 0 | 0
59 | 0.99615 | -0.031389 | 0 | 0
60 | 0.99759 | -0.041982 | 0.3415 | 0.1654
61 | 0.99965 | -0.0066302 | 0 | 0
62 | 0.99915 | -0.015668 | 0.37018 | 0.17929
63 | 0.99763 | -0.042743 | 0.12506 | 0.06057
64 | 0.99582 | -0.028993 | 0 | 0
65 | 0.9958 | -0.028823 | 0.16148 | 0.078208
66 | 0.99608 | -0.030766 | 0 | 0
67 | 0.99604 | -0.031014 | 0.28857 | 0.13976
68 | 0.99608 | -0.030814 | 0.070267 | 0.034032
69 | 0.99965 | -0.006596 | 0.077039 | 0.037312
70 | 0.99996 | -0.00081933 | 0 | 0
71 | 0.99973 | 0.00092969 | 0.15245 | 0.073836
72 | 0.99973 | 0.00085339 | 0 | 0
73 | 0.99981 | 0.00026145 | 0 | 0
74 | 0.99979 | 0.00014791 | 0.20674 | 0.10013
75 | 1 | 0 | -12.537 | -5.6044
76 | 0.99446 | -0.01832 | 0.12473 | 0.060411
77 | 0.99448 | -0.018444 | 0 | 0
78 | 0.99445 | -0.018245 | 0 | 0
79 | 0.9946 | -0.019329 | 0 | 0
80 | 0.99436 | -0.017444 | 0 | 0
81 | 0.99442 | -0.018003 | 0 | 0
82 | 0.99438 | -0.017642 | 0 | 0
83 | 0.99463 | -0.019504 | 0.1824 | 0.088339
84 | 0.99436 | -0.017411 | 0.25702 | 0.12448
85 | 0.99441 | -0.017978 | 0.084512 | 0.040931
86 | 0.99437 | -0.017564 | 0.18473 | 0.089471
87 | 0.99507 | -0.022947 | 0.36143 | 0.17505
88 | 0.99507 | -0.02298 | 0 | 0
89 | 0.99466 | -0.01974 | 0 | 0
90 | 0.99601 | -0.030287 | 0 | 0
91 | 0.99475 | -0.020417 | 0 | 0
92 | 0.99464 | -0.019592 | 0.21169 | 0.10252
93 | 0.996 | -0.030245 | 0.15249 | 0.073855
94 | 0.99461 | -0.019135 | 0 | 0
95 | 0.99459 | -0.018955 | 0.41715 | 0.20203
96 | 0.99474 | -0.020375 | 0.062877 | 0.030453
97 | 0.98182 | -0.034502 | 0 | 0
98 | 0.99571 | -0.029381 | 0.11453 | 0.055469
99 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.082254 | -0.039837 | 0.082254 | 0.039422 | 1.738e-07 | -0.00041492 | 0.0026885 | 0.0026832 | 0.0026885 | 0.98132 | -0.034497 | 0.98133 | -0.034516 | 1.222
1 | -0.082254 | -0.039422 | 0.082269 | 0.038061 | 1.5197e-05 | -0.0013616 | 0.0026832 | 0.002666 | 0.0026832 | 0.98133 | -0.034516 | 0.98152 | -0.033169 | 1.2777
2 | -0.15866 | -0.075013 | 0.1587 | 0.044548 | 4.3973e-05 | -0.030465 | 0.0051616 | 0.0048467 | 0.0051616 | 0.98152 | -0.033169 | 0.98178 | -0.034283 | 2.3462
3 | 0.076389 | 0.036952 | -0.076388 | -0.036997 | 4.3066e-07 | -4.435e-05 | 0.0024957 | 0.0024963 | 0.0024963 | 0.98152 | -0.033169 | 0.98151 | -0.033206 | 1.1887
4 | -0.49302 | -0.22583 | 0.49304 | 0.22483 | 1.4714e-05 | -0.0009983 | 0.015928 | 0.015916 | 0.015928 | 0.9828 | -0.039421 | 0.98283 | -0.039648 | 7.2401
5 | 0.19699 | 0.082458 | -0.19698 | -0.084435 | 4.5218e-06 | -0.0019768 | 0.0062726 | 0.0062952 | 0.0062952 | 0.9828 | -0.039421 | 0.98278 | -0.039279 | 2.8615
6 | -0.49304 | -0.22483 | 0.49314 | 0.21784 | 0.00010238 | -0.0069902 | 0.015916 | 0.015832 | 0.015916 | 0.98283 | -0.039648 | 0.98302 | -0.041155 | 7.2346
7 | 0.19698 | 0.084435 | -0.19696 | -0.093618 | 2.1451e-05 | -0.0091835 | 0.0062952 | 0.0064064 | 0.0064064 | 0.98278 | -0.039279 | 0.98268 | -0.038474 | 2.912
8 | -1.7393 | -0.76326 | 1.7395 | 0.76208 | 0.00022439 | -0.0011804 | 0.055778 | 0.055764 | 0.055778 | 0.98302 | -0.041155 | 0.98314 | -0.042035 | 25.3538
9 | 1.2462 | 0.54542 | -1.2455 | -0.55197 | 0.00062384 | -0.0065547 | 0.039947 | 0.040026 | 0.040026 | 0.98302 | -0.041155 | 0.98256 | -0.0377 | 18.1939
10 | 0.19696 | 0.093618 | -0.19696 | -0.095391 | 4.2317e-06 | -0.0017732 | 0.0064064 | 0.0064289 | 0.0064289 | 0.98268 | -0.038474 | 0.98266 | -0.038291 | 2.9222
11 | 0.18601 | 0.08944 | -0.18601 | -0.090088 | 1.3819e-06 | -0.0006476 | 0.0060639 | 0.0060722 | 0.0060722 | 0.98256 | -0.0377 | 0.98255 | -0.037636 | 2.7601
12 | 1.0595 | 0.46253 | -1.0591 | -0.46923 | 0.00045785 | -0.0066974 | 0.033966 | 0.034047 | 0.034047 | 0.98256 | -0.0377 | 0.98215 | -0.034729 | 15.4759
13 | 1.0591 | 0.46923 | -1.059 | -0.4697 | 3.222e-05 | -0.00046987 | 0.034047 | 0.034053 | 0.034053 | 0.98215 | -0.034729 | 0.98212 | -0.034516 | 15.4785
14 | -2.005 | -0.89064 | 2.0052 | 0.88988 | 0.00019435 | -0.00075218 | 0.064418 | 0.064408 | 0.064418 | 0.98314 | -0.042035 | 0.98323 | -0.042718 | 29.2808
15 | 0.65061 | 0.27545 | -0.65054 | -0.27552 | 7.7915e-05 | -6.794e-05 | 0.020767 | 0.020768 | 0.020768 | 0.98212 | -0.034516 | 0.982 | -0.035696 | 9.8896
16 | 0.24817 | 0.11663 | -0.24812 | -0.11714 | 5.4193e-05 | -0.00050463 | 0.0080599 | 0.0080667 | 0.0080667 | 0.98212 | -0.034516 | 0.9819 | -0.036106 | 3.8413
17 | -0.11549 | -0.053836 | 0.11551 | 0.053245 | 1.288e-05 | -0.00059029 | 0.0037396 | 0.0037322 | 0.0037396 | 0.98365 | -0.049772 | 0.98376 | -0.048915 | 1.7808
18 | 0.06043 | 0.027167 | -0.060418 | -0.029262 | 1.2424e-05 | -0.0020942 | 0.0019444 | 0.0019705 | 0.0019705 | 0.98365 | -0.049772 | 0.98343 | -0.051314 | 0.93836
19 | -0.36903 | -0.17603 | 0.36909 | 0.1758 | 5.9277e-05 | -0.00023002 | 0.011998 | 0.011994 | 0.011998 | 0.98376 | -0.048915 | 0.98393 | -0.047793 | 5.7132
20 | 0.65054 | 0.27552 | -0.65044 | -0.27936 | 9.6907e-05 | -0.0038374 | 0.020768 | 0.020813 | 0.020813 | 0.982 | -0.035696 | 0.98186 | -0.034758 | 9.4603
21 | 0.24812 | 0.11714 | -0.24811 | -0.12016 | 1.1493e-05 | -0.0030274 | 0.0080667 | 0.0081051 | 0.0081051 | 0.9819 | -0.036106 | 0.98186 | -0.035714 | 3.6841
22 | 0.65044 | 0.27936 | -0.65042 | -0.28012 | 1.932e-05 | -0.00076291 | 0.020813 | 0.020822 | 0.020822 | 0.98186 | -0.034758 | 0.98183 | -0.034567 | 9.4644
23 | 0.54703 | 0.23005 | -0.54702 | -0.23038 | 5.8329e-06 | -0.00032853 | 0.017448 | 0.017452 | 0.017452 | 0.98183 | -0.034567 | 0.98182 | -0.034502 | 7.9326
24 | -0.18971 | -0.091882 | 0.18972 | 0.089355 | 5.5565e-06 | -0.0025267 | 0.0061846 | 0.0061526 | 0.0061846 | 0.9839 | -0.047545 | 0.98393 | -0.047793 | 2.8112
25 | -0.55881 | -0.26516 | 0.55888 | 0.26139 | 7.196e-05 | -0.0037725 | 0.018147 | 0.0181 | 0.018147 | 0.98393 | -0.047793 | 0.98405 | -0.048846 | 8.2486
26 | 2.2141 | 0.98346 | -2.2138 | -0.98418 | 0.00022981 | -0.00071963 | 0.07107 | 0.071079 | 0.071079 | 0.98405 | -0.048846 | 0.98395 | -0.048112 | 32.3087
27 | -2.7729 | -1.2448 | 2.777 | 1.2372 | 0.0040298 | -0.0076051 | 0.089167 | 0.089061 | 0.089167 | 0.98405 | -0.048846 | 0.9854 | -0.059289 | 40.5303
28 | -3.0152 | -1.3511 | 3.0175 | 1.3474 | 0.0023513 | -0.0036666 | 0.096793 | 0.09674 | 0.096793 | 0.9854 | -0.059289 | 0.98612 | -0.064897 | 43.9967
29 | 0.2382 | 0.11383 | -0.23819 | -0.11536 | 5.2759e-06 | -0.0015264 | 0.0077339 | 0.0077533 | 0.0077533 | 0.9854 | -0.059289 | 0.98538 | -0.059098 | 3.5242
30 | -3.1867 | -1.4292 | 3.1903 | 1.4242 | 0.0036037 | -0.0049378 | 0.10224 | 0.10217 | 0.10224 | 0.98612 | -0.064897 | 0.98718 | -0.073035 | 46.4716
31 | 0.16914 | 0.081758 | -0.16913 | -0.081913 | 7.441e-06 | -0.00015558 | 0.0054994 | 0.0055014 | 0.0055014 | 0.98612 | -0.064897 | 0.98608 | -0.065188 | 2.6197
32 | 2.0067 | 0.88387 | -2.0065 | -0.88469 | 0.00021235 | -0.00082524 | 0.064331 | 0.064342 | 0.064342 | 0.98395 | -0.048112 | 0.98385 | -0.047381 | 29.2462
33 | -3.1903 | -1.4242 | 3.1907 | 1.4236 | 0.00046477 | -0.00063838 | 0.10217 | 0.10216 | 0.10217 | 0.98718 | -0.073035 | 0.98731 | -0.074076 | 46.439
34 | -3.3545 | -1.5029 | 3.356 | 1.5038 | 0.0015137 | 0.00086247 | 0.10748 | 0.10747 | 0.10748 | 0.98731 | -0.074076 | 0.98779 | -0.070238 | 51.1787
35 | -0.6451 | -0.31189 | 0.64514 | 0.31019 | 4.2256e-05 | -0.0017034 | 0.020841 | 0.020819 | 0.020841 | 0.99252 | -0.10623 | 0.99259 | -0.10679 | 9.473
36 | 0.4154 | 0.20064 | -0.41533 | -0.20086 | 7.1608e-05 | -0.00021758 | 0.013417 | 0.013421 | 0.013421 | 0.99252 | -0.10623 | 0.99234 | -0.10737 | 6.3908
37 | -0.64514 | -0.31019 | 0.64537 | 0.30116 | 0.00022242 | -0.0090289 | 0.020819 | 0.020706 | 0.020819 | 0.99259 | -0.10679 | 0.9929 | -0.10965 | 9.4632
38 | 0.22932 | 0.11077 | -0.22929 | -0.11105 | 2.4593e-05 | -0.00028006 | 0.0074085 | 0.0074122 | 0.0074122 | 0.99234 | -0.10737 | 0.99223 | -0.10808 | 3.5296
39 | 0.089114 | 0.039839 | -0.089113 | -0.042447 | 1.2049e-06 | -0.0026084 | 0.002838 | 0.0028698 | 0.0028698 | 0.9929 | -0.10965 | 0.99289 | -0.10954 | 1.3045
40 | 3.8555 | 1.7157 | -3.8428 | -1.7267 | 0.012631 | -0.010982 | 0.12269 | 0.12287 | 0.12287 | 0.9929 | -0.10965 | 0.98983 | -0.08606 | 55.8479
41 | -4.9279 | -2.2191 | 4.9444 | 2.1839 | 0.016546 | -0.035246 | 0.15713 | 0.15657 | 0.15713 | 0.9929 | -0.10965 | 0.99659 | -0.064681 | 43.4059
42 | 0.33796 | 0.16244 | -0.33796 | -0.16297 | 3.6283e-06 | -0.00053685 | 0.010902 | 0.010909 | 0.010909 | 0.9929 | -0.10965 | 0.99289 | -0.10955 | 4.9585
43 | 0.089113 | 0.042447 | -0.089112 | -0.043159 | 3.3349e-07 | -0.00071163 | 0.0028698 | 0.0028788 | 0.0028788 | 0.99289 | -0.10954 | 0.99289 | -0.10951 | 1.3085
44 | 0.34029 | 0.1644 | -0.34029 | -0.16481 | 2.8494e-06 | -0.00040998 | 0.011022 | 0.011027 | 0.011027 | 0.98983 | -0.08606 | 0.98983 | -0.085987 | 5.0122
45 | 3.5025 | 1.5623 | -3.4949 | -1.5707 | 0.0076756 | -0.00844 | 0.11185 | 0.11198 | 0.11198 | 0.98983 | -0.08606 | 0.98779 | -0.070238 | 50.8983
46 | -8.3717 | -3.841 | 8.3799 | 3.8007 | 0.0081926 | -0.040361 | 0.2668 | 0.26623 | 0.2668 | 0.99659 | -0.064681 | 0.99773 | -0.043256 | 31.6869
47 | 3.4273 | 1.6572 | -3.4255 | -1.6592 | 0.0017453 | -0.0020298 | 0.11027 | 0.1103 | 0.1103 | 0.99659 | -0.064681 | 0.99612 | -0.060252 | 50.1381
48 | 0.091904 | 0.043805 | -0.091903 | -0.044511 | 3.5168e-07 | -0.00070546 | 0.00296 | 0.0029689 | 0.0029689 | 0.99289 | -0.10955 | 0.99289 | -0.10952 | 1.3495
49 | -0.13881 | -0.067228 | 0.13882 | 0.066917 | 9.8402e-06 | -0.00031071 | 0.0045077 | 0.0045036 | 0.0045077 | 0.98771 | -0.070709 | 0.98779 | -0.070238 | 2.1465
50 | 0.34156 | 0.15755 | -0.34151 | -0.16527 | 5.1864e-05 | -0.0077123 | 0.010883 | 0.010979 | 0.010979 | 0.99773 | -0.043256 | 0.99759 | -0.042005 | 4.9903
51 | -11.6936 | -5.2695 | 11.7081 | 5.2387 | 0.014563 | -0.030708 | 0.3711 | 0.37058 | 0.3711 | 0.99773 | -0.043256 | 0.99919 | -0.015423 | 44.0733
52 | 0.12508 | 0.046731 | -0.12506 | -0.060494 | 1.1988e-05 | -0.013763 | 0.0038632 | 0.0040199 | 0.0040199 | 0.99773 | -0.043256 | 0.99764 | -0.042644 | 1.8272
53 | 2.6816 | 1.1859 | -2.6771 | -1.1956 | 0.0044967 | -0.0097551 | 0.084836 | 0.084966 | 0.084966 | 0.99773 | -0.043256 | 0.99615 | -0.031389 | 38.6209
54 | 0.16544 | 0.078604 | -0.16543 | -0.080124 | 2.4063e-06 | -0.0015193 | 0.0052994 | 0.0053185 | 0.0053185 | 0.99773 | -0.043256 | 0.99772 | -0.043132 | 2.4175
55 | 2.8401 | 1.3757 | -2.8377 | -1.3744 | 0.0023245 | 0.0012714 | 0.091452 | 0.091455 | 0.091455 | 0.99612 | -0.060252 | 0.99526 | -0.065649 | 43.5498
56 | 2.0065 | 0.88469 | -2.0052 | -0.88988 | 0.0013393 | -0.0051941 | 0.064342 | 0.064408 | 0.064408 | 0.98385 | -0.047381 | 0.98323 | -0.042718 | 29.2764
57 | -0.27993 | -0.1026 | 0.27993 | 0.10195 | 2.8895e-06 | -0.00064785 | 0.0087662 | 0.0087596 | 0.0087662 | 0.98178 | -0.034283 | 0.98179 | -0.034319 | 3.9846
58 | 0.12123 | 0.058048 | -0.12122 | -0.058712 | 6.0252e-07 | -0.00066344 | 0.003952 | 0.0039605 | 0.0039605 | 0.98178 | -0.034283 | 0.98178 | -0.034241 | 1.8002
59 | -0.54701 | -0.2313 | 0.54702 | 0.23038 | 1.6405e-05 | -0.0009232 | 0.017462 | 0.017452 | 0.017462 | 0.98179 | -0.034319 | 0.98182 | -0.034502 | 7.9374
60 | 0.34151 | 0.16527 | -0.3415 | -0.1654 | 8.9446e-07 | -0.0001318 | 0.010979 | 0.01098 | 0.01098 | 0.99759 | -0.042005 | 0.99759 | -0.041982 | 4.991
61 | -12.0783 | -5.418 | 12.0831 | 5.4088 | 0.0047375 | -0.0091633 | 0.38245 | 0.38229 | 0.38245 | 0.99919 | -0.015423 | 0.99965 | -0.0066302 | 45.4219
62 | 0.3702 | 0.17923 | -0.37018 | -0.17929 | 1.3717e-05 | -5.6385e-05 | 0.011883 | 0.011884 | 0.011884 | 0.99919 | -0.015423 | 0.99915 | -0.015668 | 5.6589
63 | 0.12506 | 0.060494 | -0.12506 | -0.06057 | 1.8722e-06 | -7.6068e-05 | 0.0040199 | 0.0040209 | 0.0040209 | 0.99764 | -0.042644 | 0.99763 | -0.042743 | 1.9147
64 | 2.1124 | 0.95118 | -2.1122 | -0.95178 | 0.00016578 | -0.00060349 | 0.067135 | 0.067143 | 0.067143 | 0.99615 | -0.031389 | 0.99608 | -0.030814 | 30.5194
65 | 0.27612 | 0.1092 | -0.27602 | -0.13199 | 9.8055e-05 | -0.022787 | 0.0086048 | 0.0088694 | 0.0088694 | 0.99615 | -0.031389 | 0.99582 | -0.028993 | 4.0315
66 | 0.2886 | 0.13526 | -0.28858 | -0.13968 | 2.1424e-05 | -0.004424 | 0.0092363 | 0.0092915 | 0.0092915 | 0.99615 | -0.031389 | 0.99608 | -0.030766 | 4.2234
67 | 0.07704 | 0.036397 | -0.077039 | -0.037312 | 3.1128e-07 | -0.00091461 | 0.0024605 | 0.0024719 | 0.0024719 | 0.99965 | -0.0066302 | 0.99965 | -0.006596 | 1.1236
68 | -12.1601 | -5.4452 | 12.1633 | 5.4392 | 0.0031462 | -0.0059839 | 0.38475 | 0.38465 | 0.38475 | 0.99965 | -0.0066302 | 0.99996 | -0.00081933 | 45.6951
69 | 0.27602 | 0.13199 | -0.27602 | -0.13322 | 5.4632e-06 | -0.0012279 | 0.0088694 | 0.0088848 | 0.0088848 | 0.99582 | -0.028993 | 0.9958 | -0.028823 | 4.0385
70 | 0.11454 | 0.055009 | -0.11453 | -0.055469 | 9.54e-06 | -0.0004604 | 0.0036835 | 0.0036894 | 0.0036894 | 0.9958 | -0.028823 | 0.99571 | -0.029381 | 1.7568
71 | 0.28858 | 0.13968 | -0.28857 | -0.13976 | 1.0853e-05 | -7.6761e-05 | 0.0092915 | 0.0092926 | 0.0092926 | 0.99608 | -0.030766 | 0.99604 | -0.031014 | 4.425
72 | 2.042 | 0.91775 | -2.0418 | -0.91833 | 0.00014745 | -0.0005777 | 0.064881 | 0.064888 | 0.064888 | 0.99608 | -0.030814 | 0.99601 | -0.030287 | 29.4947
73 | -12.5225 | -5.5947 | 12.523 | 5.5939 | 0.00045579 | -0.00079536 | 0.39595 | 0.39593 | 0.39595 | 0.99996 | -0.00081933 | 1 | 0 | 47.0248
74 | 0.35927 | 0.1555 | -0.35921 | -0.16315 | 5.5208e-05 | -0.0076521 | 0.011301 | 0.011391 | 0.011391 | 0.99996 | -0.00081933 | 0.99981 | 0.00026145 | 5.1778
75 | -0.15245 | -0.073836 | 0.15245 | 0.072821 | 1.356e-06 | -0.0010153 | 0.0048913 | 0.0048786 | 0.0048913 | 0.99973 | 0.00092969 | 0.99973 | 0.00085339 | 2.2233
76 | -0.15245 | -0.072821 | 0.15247 | 0.063077 | 1.2666e-05 | -0.0097443 | 0.0048786 | 0.004764 | 0.0048786 | 0.99973 | 0.00085339 | 0.99981 | 0.00026145 | 2.2175
77 | 0.20674 | 0.10008 | -0.20674 | -0.10013 | 3.5572e-06 | -5.1937e-05 | 0.0066319 | 0.0066325 | 0.0066325 | 0.99981 | 0.00026145 | 0.99979 | 0.00014791 | 3.1584
78 | -0.394 | -0.17344 | 0.39401 | 0.17263 | 7.1432e-06 | -0.00080759 | 0.012496 | 0.012487 | 0.012496 | 0.99446 | -0.01832 | 0.99448 | -0.018444 | 5.6801
79 | 0.26927 | 0.11303 | -0.26927 | -0.11384 | 3.3223e-06 | -0.00081583 | 0.0084771 | 0.0084863 | 0.0084863 | 0.99446 | -0.01832 | 0.99445 | -0.018245 | 3.8574
80 | -0.65106 | -0.2885 | 0.65114 | 0.28507 | 8.3455e-05 | -0.0034371 | 0.020671 | 0.020631 | 0.020671 | 0.99448 | -0.018444 | 0.9946 | -0.019329 | 9.396
81 | 0.25705 | 0.11587 | -0.25702 | -0.12423 | 3.2083e-05 | -0.0083569 | 0.0081846 | 0.0082874 | 0.0082874 | 0.99448 | -0.018444 | 0.99436 | -0.017444 | 3.767
82 | 0.084516 | 0.032526 | -0.084512 | -0.040352 | 3.1591e-06 | -0.0078266 | 0.0026288 | 0.0027187 | 0.0027187 | 0.99445 | -0.018245 | 0.99442 | -0.018003 | 1.2358
83 | 0.18475 | 0.081319 | -0.18474 | -0.088635 | 1.4424e-05 | -0.0073159 | 0.0058596 | 0.0059484 | 0.0059484 | 0.99445 | -0.018245 | 0.99438 | -0.017642 | 2.7038
84 | -0.65114 | -0.28507 | 0.65116 | 0.28437 | 1.6804e-05 | -0.00069382 | 0.020631 | 0.020623 | 0.020631 | 0.9946 | -0.019329 | 0.99463 | -0.019504 | 9.3776
85 | 0.25702 | 0.12423 | -0.25702 | -0.12448 | 9.8117e-07 | -0.00025224 | 0.0082874 | 0.0082906 | 0.0082906 | 0.99436 | -0.017444 | 0.99436 | -0.017411 | 3.7684
86 | 0.084512 | 0.040352 | -0.084512 | -0.040931 | 2.4257e-07 | -0.0005788 | 0.0027187 | 0.002726 | 0.002726 | 0.99442 | -0.018003 | 0.99441 | -0.017978 | 1.2391
87 | 0.18474 | 0.088635 | -0.18473 | -0.089471 | 1.6765e-06 | -0.00083592 | 0.0059484 | 0.0059589 | 0.0059589 | 0.99438 | -0.017642 | 0.99437 | -0.017564 | 2.7086
88 | -0.83356 | -0.37271 | 0.83357 | 0.37246 | 1.0207e-05 | -0.00025416 | 0.026501 | 0.026498 | 0.026501 | 0.99463 | -0.019504 | 0.99464 | -0.019592 | 12.0459
89 | -0.36143 | -0.17505 | 0.36143 | 0.17487 | 1.4007e-06 | -0.00018238 | 0.01165 | 0.011648 | 0.01165 | 0.99507 | -0.022947 | 0.99507 | -0.02298 | 5.2956
90 | 1.0457 | 0.4674 | -1.0453 | -0.47466 | 0.00046222 | -0.007253 | 0.03323 | 0.033318 | 0.033318 | 0.99507 | -0.02298 | 0.99466 | -0.01974 | 15.1445
91 | -1.8874 | -0.85376 | 1.8893 | 0.84503 | 0.0018903 | -0.0087339 | 0.060097 | 0.059986 | 0.060097 | 0.99507 | -0.02298 | 0.99601 | -0.030287 | 27.3167
92 | 0.48026 | 0.21149 | -0.4801 | -0.22394 | 0.0001652 | -0.012448 | 0.015224 | 0.015374 | 0.015374 | 0.99507 | -0.02298 | 0.99475 | -0.020417 | 6.988
93 | 1.0453 | 0.47466 | -1.0453 | -0.47498 | 2.0695e-05 | -0.00032368 | 0.033318 | 0.033322 | 0.033322 | 0.99466 | -0.01974 | 0.99464 | -0.019592 | 15.1463
94 | 0.15249 | 0.073302 | -0.15249 | -0.073855 | 7.5122e-07 | -0.00055324 | 0.0049038 | 0.0049108 | 0.0049108 | 0.99601 | -0.030287 | 0.996 | -0.030245 | 2.2322
95 | 0.062877 | 0.029058 | -0.062877 | -0.030453 | 3.211e-07 | -0.0013943 | 0.0020101 | 0.0020274 | 0.0020274 | 0.99475 | -0.020417 | 0.99474 | -0.020375 | 0.92156
96 | 0.41722 | 0.19488 | -0.41716 | -0.20119 | 6.4244e-05 | -0.0063095 | 0.013363 | 0.013442 | 0.013442 | 0.99475 | -0.020417 | 0.99461 | -0.019135 | 6.1101
97 | 0.41716 | 0.20119 | -0.41715 | -0.20203 | 8.6564e-06 | -0.00084433 | 0.013442 | 0.013453 | 0.013453 | 0.99461 | -0.019135 | 0.99459 | -0.018955 | 6.1149

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.6089 | 5.6393

## res_load
| p_mw | q_mvar
0 | 0.082254 | 0.039837
1 | 0.29603 | 0.14338
2 | 0.18601 | 0.090088
3 | 0.26543 | 0.12855
4 | 0.16026 | 0.077615
5 | 0.19696 | 0.095391
6 | 0.055063 | 0.026668
7 | 0.25352 | 0.12279
8 | 0.060418 | 0.029262
9 | 0.10339 | 0.050075
10 | 0.24811 | 0.12016
11 | 0.18971 | 0.091882
12 | 0.23819 | 0.11536
13 | 0.20713 | 0.10032
14 | 0.16913 | 0.081913
15 | 0.1638 | 0.079332
16 | 0.2297 | 0.11125
17 | 0.18601 | 0.090089
18 | 0.24605 | 0.11917
19 | 0.089112 | 0.043159
20 | 0.13881 | 0.067228
21 | 0.091903 | 0.044511
22 | 0.34029 | 0.16481
23 | 0.58545 | 0.28355
24 | 0.22929 | 0.11105
25 | 0.076388 | 0.036997
26 | 0.26708 | 0.12935
27 | 0.12122 | 0.058712
28 | 0.16543 | 0.080124
29 | 2.8377 | 1.3744
30 | 0.3415 | 0.1654
31 | 0.37018 | 0.17929
32 | 0.12506 | 0.06057
33 | 0.16148 | 0.078208
34 | 0.28857 | 0.13976
35 | 0.070267 | 0.034032
36 | 0.077039 | 0.037312
37 | 0.15245 | 0.073836
38 | 0.20674 | 0.10013
39 | 0.071901 | 0.034823
40 | 0.12473 | 0.060411
41 | 0.1824 | 0.088339
42 | 0.25702 | 0.12448
43 | 0.084512 | 0.040931
44 | 0.18473 | 0.089471
45 | 0.36143 | 0.17505
46 | 0.21169 | 0.10252
47 | 0.15249 | 0.073855
48 | 0.41715 | 0.20203
49 | 0.062877 | 0.030453
50 | 0.11453 | 0.055469

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1