## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_41_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_41_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_41_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_41_0_node_14 | 20 | n |  | TRUE
4 | bus_MV_41_0_node_25 | 20 | n |  | TRUE
5 | bus_MV_41_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_41_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_41_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_41_0_node_10 | 20 | n |  | TRUE
9 | bus_MV_41_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_41_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_41_0_node_202 | 20 | n |  | TRUE
12 | bus_MV_41_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_41_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_41_0_node_19 | 20 | n |  | TRUE
15 | bus_MV_41_0_node_175 | 20 | n |  | TRUE
16 | bus_MV_41_0_node_11 | 20 | n |  | TRUE
17 | bus_MV_41_0_node_200 | 20 | n |  | TRUE
18 | bus_MV_41_0_node_21 | 20 | n |  | TRUE
19 | bus_MV_41_0_node_199 | 20 | n |  | TRUE
20 | bus_MV_41_0_node_13 | 20 | n |  | TRUE
21 | bus_MV_41_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_41_0_node_186 | 20 | n |  | TRUE
23 | bus_MV_41_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_41_0_node_22 | 20 | n |  | TRUE
25 | bus_MV_41_0_node_23 | 20 | n |  | TRUE
26 | bus_MV_41_0_node_183 | 20 | n |  | TRUE
27 | bus_MV_41_0_node_17 | 20 | n |  | TRUE
28 | bus_MV_41_0_node_18 | 20 | n |  | TRUE
29 | bus_MV_41_0_node_20 | 20 | n |  | TRUE
30 | bus_MV_41_0_node_24 | 20 | n |  | TRUE
31 | bus_MV_41_0_node_209 | 20 | n |  | TRUE
32 | bus_MV_41_0_node_174 | 20 | n |  | TRUE
33 | bus_MV_41_0_node_52 | 20 | n |  | TRUE
34 | bus_MV_41_0_node_53 | 20 | n |  | TRUE
35 | bus_MV_41_0_node_54 | 20 | n |  | TRUE
36 | bus_MV_41_0_node_55 | 20 | n |  | TRUE
37 | bus_MV_41_0_node_65 | 20 | n |  | TRUE
38 | bus_MV_41_0_node_64 | 20 | n |  | TRUE
39 | bus_MV_41_0_node_56 | 20 | n |  | TRUE
40 | bus_MV_41_0_node_185 | 20 | n |  | TRUE
41 | bus_MV_41_0_node_63 | 20 | n |  | TRUE
42 | bus_MV_41_0_node_60 | 20 | n |  | TRUE
43 | bus_MV_41_0_node_57 | 20 | n |  | TRUE
44 | bus_MV_41_0_node_58 | 20 | n |  | TRUE
45 | bus_MV_41_0_node_61 | 20 | n |  | TRUE
46 | bus_HV_41_0_node_22 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_41_0_load_0 | 0 | 0.15247 | 0.073846 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_41_0_load_25 | 4 | 0.31022 | 0.15025 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_41_0_load_3 | 5 | 0.097813 | 0.047373 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_41_0_load_6 | 9 | 0.15189 | 0.073563 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_41_0_load_202 | 11 | 0.1621 | 0.078508 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_41_0_load_175 | 15 | 0.12995 | 0.062937 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_41_0_load_200 | 17 | 0.27048 | 0.131 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_41_0_load_21 | 18 | 0.26497 | 0.12833 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_41_0_load_199 | 19 | 0.3101 | 0.15019 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_41_0_load_13 | 20 | 0.36077 | 0.17473 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_41_0_load_186 | 22 | 0.31916 | 0.15457 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_41_0_load_22 | 24 | 0.23097 | 0.11186 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_41_0_load_23 | 25 | 0.35154 | 0.17026 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_41_0_load_183 | 26 | 0.17855 | 0.086474 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_41_0_load_17 | 27 | 0.24183 | 0.11712 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_41_0_load_209 | 31 | 0.16245 | 0.07868 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_41_0_load_174 | 32 | 0.12067 | 0.058443 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_41_0_load_52 | 33 | 0.19372 | 0.093824 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_41_0_load_64 | 38 | 0.3473 | 0.16821 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_41_0_load_185 | 40 | 0.39137 | 0.18955 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_41_0_load_63 | 41 | 0.30794 | 0.14914 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_41_0_load_60 | 42 | 0.26125 | 0.12653 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_41_0_load_57 | 43 | 0.20637 | 0.099951 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_41_0_load_61 | 45 | 0.13104 | 0.063465 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_41_0_line_0 |  | 0 | 1 | 0.028837 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_41_0_line_1 |  | 1 | 2 | 0.78095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_41_0_line_2 |  | 2 | 3 | 0.37324 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_41_0_line_3 |  | 2 | 4 | 0.047056 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_41_0_line_4 |  | 3 | 21 | 1.133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_41_0_line_5 |  | 3 | 20 | 0.022412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_41_0_line_6 |  | 5 | 6 | 0.004576 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_41_0_line_7 |  | 6 | 7 | 0.33976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_41_0_line_8 |  | 7 | 8 | 0.43323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_41_0_line_9 |  | 7 | 9 | 0.036376 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_41_0_line_10 |  | 8 | 18 | 0.051541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_41_0_line_11 |  | 8 | 10 | 0.49873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_41_0_line_12 |  | 10 | 11 | 0.12191 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_41_0_line_13 |  | 12 | 13 | 0.24043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_41_0_line_14 |  | 12 | 14 | 0.36864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_41_0_line_15 |  | 12 | 15 | 0.019872 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_41_0_line_16 |  | 13 | 16 | 0.39703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_41_0_line_17 |  | 13 | 17 | 0.031469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_41_0_line_18 |  | 14 | 26 | 0.025323 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_41_0_line_19 |  | 14 | 28 | 0.51622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_41_0_line_20 |  | 15 | 32 | 0.012586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_41_0_line_21 |  | 16 | 19 | 0.023664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_41_0_line_22 |  | 16 | 20 | 0.33562 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_41_0_line_23 |  | 18 | 23 | 0.55666 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_41_0_line_24 |  | 21 | 22 | 0.018625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_41_0_line_25 |  | 22 | 37 | 0.018288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_41_0_line_26 |  | 23 | 24 | 0.017742 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
27 | MV_41_0_line_27 |  | 23 | 25 | 1.4513 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_41_0_line_28 |  | 23 | 26 | 0.35893 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
29 | MV_41_0_line_29 |  | 25 | 29 | 0.044861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_41_0_line_30 |  | 27 | 28 | 0.11021 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_41_0_line_31 |  | 29 | 30 | 0.40174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_41_0_line_32 |  | 30 | 31 | 0.028964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_41_0_line_33 |  | 33 | 34 | 0.007171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_41_0_line_34 |  | 34 | 35 | 0.7662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_41_0_line_35 |  | 34 | 36 | 0.34651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_41_0_line_36 |  | 35 | 37 | 1.2784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_41_0_line_37 |  | 35 | 38 | 0.041972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_41_0_line_38 |  | 36 | 39 | 0.30363 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_41_0_line_39 |  | 36 | 40 | 0.035799 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_41_0_line_40 |  | 36 | 41 | 0.35918 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_41_0_line_41 |  | 38 | 45 | 0.39062 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_41_0_line_42 |  | 39 | 42 | 0.015578 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_41_0_line_43 |  | 40 | 44 | 0.67915 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_41_0_line_44 |  | 43 | 44 | 0.086542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_41_0_trafo_22 | 25 MVA 110/20 kV | 46 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2751048.7686 | 1252547.5047
1 | 2751075.8414 | 1252537.5741
2 | 2751325.3278 | 1252854.6839
3 | 2751416.5356 | 1253049.9718
4 | 2751371.8057 | 1252847.3306
5 | 2750532.2362 | 1253745.3818
6 | 2750536.6589 | 1253746.6065
7 | 2750758.3027 | 1253673.4494
8 | 2751035.0059 | 1253657.1819
9 | 2750785.9678 | 1253649.8305
10 | 2751051.1797 | 1253748.428
11 | 2751128.3739 | 1253842.7893
12 | 2751087.4726 | 1253498.6648
13 | 2750947.9278 | 1253347.2595
14 | 2751396.3844 | 1253670.3418
15 | 2751075.6204 | 1253514.0331
16 | 2751099.3282 | 1253215.8463
17 | 2750932.7758 | 1253320.6252
18 | 2751057.4158 | 1253616.7916
19 | 2751093.8258 | 1253238.8617
20 | 2751397.7464 | 1253062.2703
21 | 2751785.9078 | 1252534.1076
22 | 2751796.8419 | 1252549.0912
23 | 2751520.8787 | 1253308.4591
24 | 2751537.8247 | 1253313.8757
25 | 2750876.7023 | 1254608.9908
26 | 2751396.4182 | 1253645.1179
27 | 2751568.9389 | 1254014.4141
28 | 2751662.3496 | 1254072.8957
29 | 2750910.7063 | 1254638.2525
30 | 2750788.489 | 1254855.1635
31 | 2750769.6461 | 1254833.1177
32 | 2751064.5413 | 1253508.5012
33 | 2752736.0052 | 1252957.2948
34 | 2752737.8676 | 1252950.3693
35 | 2752350.9794 | 1252454.2878
36 | 2752923.4468 | 1252763.4392
37 | 2751802.7032 | 1252566.3806
38 | 2752356.0282 | 1252412.7325
39 | 2752688.0385 | 1252733.138
40 | 2752956.3491 | 1252777.5469
41 | 2752934.6779 | 1252404.4317
42 | 2752676.4616 | 1252722.685
43 | 2753719.3951 | 1252808.1142
44 | 2753635.4364 | 1252787.1269
45 | 2752443.8972 | 1252032.1196
46 | 2751537.8247 | 1253313.8757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99119 | -0.026733 | 0.15247 | 0.073846
1 | 0.9912 | -0.026678 | 0 | 0
2 | 0.99135 | -0.027662 | 0 | 0
3 | 0.99157 | -0.029213 | 0 | 0
4 | 0.99132 | -0.027842 | 0.31022 | 0.15025
5 | 0.99903 | -0.0053183 | 0.097813 | 0.047373
6 | 0.99903 | -0.0053236 | 0 | 0
7 | 0.99907 | -0.0056318 | 0 | 0
8 | 0.99921 | -0.0065573 | 0 | 0
9 | 0.99906 | -0.0056987 | 0.15189 | 0.073563
10 | 0.99911 | -0.0057823 | 0 | 0
11 | 0.99907 | -0.0060223 | 0.1621 | 0.078508
12 | 0.99633 | -0.034738 | 0 | 0
13 | 0.99523 | -0.026451 | 0 | 0
14 | 0.99812 | -0.048331 | 0 | 0
15 | 0.99632 | -0.034679 | 0.12995 | 0.062937
16 | 0.99357 | -0.013814 | 0 | 0
17 | 0.99522 | -0.026349 | 0.27048 | 0.131
18 | 0.99924 | -0.0067089 | 0.26497 | 0.12833
19 | 0.99355 | -0.013904 | 0.3101 | 0.15019
20 | 0.99164 | -0.029752 | 0.36077 | 0.17473
21 | 0.98844 | -0.0052443 | 0 | 0
22 | 0.98838 | -0.0048327 | 0.31916 | 0.15457
23 | 0.99995 | -0.00062713 | 0 | 0
24 | 1 | 0 | -5.4853 | -2.4536
25 | 0.99852 | -0.011037 | 0.35154 | 0.17026
26 | 0.99817 | -0.047653 | 0.17855 | 0.086474
27 | 0.99791 | -0.047363 | 0.24183 | 0.11712
28 | 0.99796 | -0.047039 | 0 | 0
29 | 0.9985 | -0.011165 | 0 | 0
30 | 0.99842 | -0.010522 | 0 | 0
31 | 0.99842 | -0.010466 | 0.16245 | 0.07868
32 | 0.99632 | -0.034661 | 0.12067 | 0.058443
33 | 0.98398 | 0.031718 | 0.19372 | 0.093824
34 | 0.98398 | 0.031701 | 0 | 0
35 | 0.98532 | 0.020131 | 0 | 0
36 | 0.98346 | 0.036411 | 0 | 0
37 | 0.98834 | -0.0044995 | 0 | 0
38 | 0.9853 | 0.020375 | 0.3473 | 0.16821
39 | 0.98336 | 0.037315 | 0 | 0
40 | 0.98342 | 0.036141 | 0.39137 | 0.18955
41 | 0.98324 | 0.035022 | 0.30794 | 0.14914
42 | 0.98335 | 0.037365 | 0.26125 | 0.12653
43 | 0.98311 | 0.034136 | 0.20637 | 0.099951
44 | 0.98314 | 0.03436 | 0 | 0
45 | 0.9852 | 0.01973 | 0.13104 | 0.063465
46 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15247 | -0.073846 | 0.15247 | 0.073812 | 1.2507e-06 | -3.3038e-05 | 0.004934 | 0.0049336 | 0.004934 | 0.99119 | -0.026733 | 0.9912 | -0.026678 | 2.3495
1 | -0.15247 | -0.073812 | 0.1525 | 0.055498 | 2.4255e-05 | -0.018315 | 0.0049336 | 0.0047256 | 0.0049336 | 0.9912 | -0.026678 | 0.99135 | -0.027662 | 2.2425
2 | -0.46272 | -0.20569 | 0.46283 | 0.19697 | 0.00010759 | -0.0087279 | 0.014746 | 0.014644 | 0.014746 | 0.99135 | -0.027662 | 0.99157 | -0.029213 | 6.7025
3 | 0.31023 | 0.1502 | -0.31022 | -0.15025 | 8.4462e-06 | -4.9916e-05 | 0.010037 | 0.010037 | 0.010037 | 0.99135 | -0.027662 | 0.99132 | -0.027842 | 4.7797
4 | 2.1745 | 0.957 | -2.1672 | -0.98136 | 0.0072688 | -0.024357 | 0.069166 | 0.069481 | 0.069481 | 0.99157 | -0.029213 | 0.98844 | -0.0052443 | 31.5822
5 | -2.6373 | -1.154 | 2.6375 | 1.1535 | 0.00021014 | -0.00046383 | 0.083809 | 0.083803 | 0.083809 | 0.99157 | -0.029213 | 0.99164 | -0.029752 | 38.0948
6 | -0.097813 | -0.047373 | 0.097813 | 0.047264 | 6.0213e-08 | -0.00010903 | 0.0031404 | 0.003139 | 0.0031404 | 0.99903 | -0.0053183 | 0.99903 | -0.0053236 | 1.4275
7 | -0.097813 | -0.047264 | 0.097818 | 0.039169 | 4.3306e-06 | -0.0080954 | 0.003139 | 0.0030445 | 0.003139 | 0.99903 | -0.0053236 | 0.99907 | -0.0056318 | 1.4268
8 | -0.24971 | -0.11269 | 0.24974 | 0.10237 | 3.5692e-05 | -0.010316 | 0.0079158 | 0.0077979 | 0.0079158 | 0.99907 | -0.0056318 | 0.99921 | -0.0065573 | 3.5981
9 | 0.15189 | 0.073521 | -0.15189 | -0.073563 | 1.541e-06 | -4.238e-05 | 0.0048759 | 0.0048764 | 0.0048764 | 0.99907 | -0.0056318 | 0.99906 | -0.0056987 | 2.3221
10 | -0.41187 | -0.16886 | 0.41188 | 0.16763 | 1.1368e-05 | -0.0012253 | 0.01286 | 0.012847 | 0.01286 | 0.99921 | -0.0065573 | 0.99924 | -0.0067089 | 5.8455
11 | 0.16212 | 0.066484 | -0.1621 | -0.078366 | 1.7521e-05 | -0.011883 | 0.0050623 | 0.0052023 | 0.0052023 | 0.99921 | -0.0065573 | 0.99911 | -0.0057823 | 2.3647
12 | 0.1621 | 0.078366 | -0.1621 | -0.078508 | 5.8808e-06 | -0.00014159 | 0.0052023 | 0.0052042 | 0.0052042 | 0.99911 | -0.0057823 | 0.99907 | -0.0060223 | 2.4782
13 | 3.5944 | 1.5996 | -3.5902 | -1.604 | 0.0041731 | -0.0044542 | 0.11399 | 0.11406 | 0.11406 | 0.99633 | -0.034738 | 0.99523 | -0.026451 | 51.8447
14 | -3.845 | -1.7202 | 3.8523 | 1.7136 | 0.0073242 | -0.0065802 | 0.12205 | 0.12194 | 0.12205 | 0.99633 | -0.034738 | 0.99812 | -0.048331 | 55.4756
15 | 0.25062 | 0.12061 | -0.25062 | -0.12108 | 1.7241e-06 | -0.00047047 | 0.0080586 | 0.0080646 | 0.0080646 | 0.99633 | -0.034738 | 0.99632 | -0.034679 | 3.6657
16 | 3.3197 | 1.4738 | -3.3139 | -1.4814 | 0.0058892 | -0.0076266 | 0.10535 | 0.10546 | 0.10546 | 0.99523 | -0.026451 | 0.99357 | -0.013814 | 47.9386
17 | 0.27048 | 0.13026 | -0.27048 | -0.131 | 3.189e-06 | -0.00074326 | 0.0087079 | 0.0087173 | 0.0087173 | 0.99523 | -0.026451 | 0.99522 | -0.026349 | 3.9624
18 | -4.0942 | -1.8184 | 4.0944 | 1.8176 | 0.00020531 | -0.00071632 | 0.12957 | 0.12956 | 0.12957 | 0.99812 | -0.048331 | 0.99817 | -0.047653 | 35.7918
19 | 0.24188 | 0.10474 | -0.24184 | -0.117 | 4.0814e-05 | -0.012265 | 0.0076234 | 0.0077713 | 0.0077713 | 0.99812 | -0.048331 | 0.99796 | -0.047039 | 3.5324
20 | 0.12067 | 0.058145 | -0.12067 | -0.058443 | 2.5333e-07 | -0.00029822 | 0.003881 | 0.0038848 | 0.0038848 | 0.99632 | -0.034679 | 0.99632 | -0.034661 | 1.7658
21 | 0.3101 | 0.15016 | -0.3101 | -0.15019 | 4.2254e-06 | -2.5241e-05 | 0.010011 | 0.010011 | 0.010011 | 0.99357 | -0.013814 | 0.99355 | -0.013904 | 4.7672
22 | 3.0038 | 1.3312 | -2.9983 | -1.3282 | 0.0054493 | 0.0030185 | 0.095459 | 0.095464 | 0.095464 | 0.99357 | -0.013814 | 0.99164 | -0.029752 | 45.4591
23 | -0.67685 | -0.29597 | 0.6773 | 0.29558 | 0.00045157 | -0.00038115 | 0.021342 | 0.021334 | 0.021342 | 0.99924 | -0.0067089 | 0.99995 | -0.00062713 | 10.1627
24 | 2.1672 | 0.98136 | -2.1671 | -0.98175 | 0.00012004 | -0.00039884 | 0.069481 | 0.069486 | 0.069486 | 0.98844 | -0.0052443 | 0.98838 | -0.0048327 | 31.5846
25 | 1.8479 | 0.82718 | -1.8479 | -0.82758 | 8.5377e-05 | -0.00040122 | 0.059133 | 0.059138 | 0.059138 | 0.98838 | -0.0048327 | 0.98834 | -0.0044995 | 26.8809
26 | -5.471 | -2.4435 | 5.4713 | 2.4431 | 0.0002564 | -0.0004223 | 0.17298 | 0.17297 | 0.17298 | 0.99995 | -0.00062713 | 1 | 0 | 47.7845
27 | 0.51471 | 0.23735 | -0.51402 | -0.23864 | 0.00069322 | -0.0012957 | 0.016363 | 0.016384 | 0.016384 | 0.99995 | -0.00062713 | 0.99852 | -0.011037 | 7.8018
28 | 4.279 | 1.9106 | -4.273 | -1.9041 | 0.0060307 | 0.0064476 | 0.13528 | 0.13529 | 0.13529 | 0.99995 | -0.00062713 | 0.99817 | -0.047653 | 38.6544
29 | 0.16247 | 0.068381 | -0.16247 | -0.068433 | 2.0761e-06 | -5.2096e-05 | 0.0050962 | 0.0050968 | 0.0050968 | 0.99852 | -0.011037 | 0.9985 | -0.011165 | 2.427
30 | -0.24183 | -0.11712 | 0.24184 | 0.117 | 1.1861e-05 | -0.00012359 | 0.007773 | 0.0077713 | 0.007773 | 0.99791 | -0.047363 | 0.99796 | -0.047039 | 3.7014
31 | 0.16247 | 0.068433 | -0.16246 | -0.077991 | 1.4236e-05 | -0.0095582 | 0.0050968 | 0.0052103 | 0.0052103 | 0.9985 | -0.011165 | 0.99842 | -0.010522 | 2.3683
32 | 0.16246 | 0.077991 | -0.16245 | -0.07868 | 1.0515e-06 | -0.00068905 | 0.0052103 | 0.005219 | 0.005219 | 0.99842 | -0.010522 | 0.99842 | -0.010466 | 2.3723
33 | -0.19372 | -0.093824 | 0.19372 | 0.093659 | 3.8162e-07 | -0.00016566 | 0.0063148 | 0.0063127 | 0.0063148 | 0.98398 | 0.031718 | 0.98398 | 0.031701 | 2.8704
34 | -1.3615 | -0.64241 | 1.3635 | 0.62527 | 0.0019853 | -0.017148 | 0.044166 | 0.043947 | 0.044166 | 0.98398 | 0.031701 | 0.98532 | 0.020131 | 20.0755
35 | 1.1678 | 0.54876 | -1.1671 | -0.55656 | 0.0006646 | -0.0078089 | 0.037854 | 0.037954 | 0.037954 | 0.98398 | 0.031701 | 0.98346 | 0.036411 | 17.252
36 | -1.8419 | -0.85552 | 1.8479 | 0.82758 | 0.0060047 | -0.027942 | 0.059499 | 0.059138 | 0.059499 | 0.98532 | 0.020131 | 0.98834 | -0.0044995 | 27.0449
37 | 0.47837 | 0.23026 | -0.47835 | -0.23123 | 1.3567e-05 | -0.00096888 | 0.015554 | 0.015566 | 0.015566 | 0.98532 | 0.020131 | 0.9853 | 0.020375 | 7.0756
38 | 0.26128 | 0.11917 | -0.26125 | -0.12617 | 2.9098e-05 | -0.0070024 | 0.0084293 | 0.0085168 | 0.0085168 | 0.98346 | 0.036411 | 0.98336 | 0.037315 | 3.8713
39 | 0.59783 | 0.28863 | -0.59781 | -0.28866 | 2.422e-05 | -2.6163e-05 | 0.019486 | 0.019487 | 0.019487 | 0.98346 | 0.036411 | 0.98342 | 0.036141 | 9.2794
40 | 0.30801 | 0.14877 | -0.30794 | -0.14914 | 6.4547e-05 | -0.0003742 | 0.01004 | 0.010046 | 0.010046 | 0.98346 | 0.036411 | 0.98324 | 0.035022 | 4.7836
41 | 0.13105 | 0.063021 | -0.13104 | -0.063465 | 1.265e-05 | -0.00044475 | 0.0042605 | 0.0042663 | 0.0042663 | 0.9853 | 0.020375 | 0.9852 | 0.01973 | 2.0316
42 | 0.26125 | 0.12617 | -0.26125 | -0.12653 | 1.5093e-06 | -0.00035921 | 0.0085168 | 0.0085214 | 0.0085214 | 0.98336 | 0.037315 | 0.98335 | 0.037365 | 3.8734
43 | 0.20643 | 0.099106 | -0.20638 | -0.099856 | 5.4756e-05 | -0.00074959 | 0.0067219 | 0.0067319 | 0.0067319 | 0.98342 | 0.036141 | 0.98314 | 0.03436 | 3.2057
44 | -0.20637 | -0.099951 | 0.20638 | 0.099856 | 6.9891e-06 | -9.5479e-05 | 0.0067332 | 0.0067319 | 0.0067332 | 0.98311 | 0.034136 | 0.98314 | 0.03436 | 3.2063

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.7162 | 2.5654

## res_load
| p_mw | q_mvar
0 | 0.15247 | 0.073846
1 | 0.31022 | 0.15025
2 | 0.097813 | 0.047373
3 | 0.15189 | 0.073563
4 | 0.1621 | 0.078508
5 | 0.12995 | 0.062937
6 | 0.27048 | 0.131
7 | 0.26497 | 0.12833
8 | 0.3101 | 0.15019
9 | 0.36077 | 0.17473
10 | 0.31916 | 0.15457
11 | 0.23097 | 0.11186
12 | 0.35154 | 0.17026
13 | 0.17855 | 0.086474
14 | 0.24183 | 0.11712
15 | 0.16245 | 0.07868
16 | 0.12067 | 0.058443
17 | 0.19372 | 0.093824
18 | 0.3473 | 0.16821
19 | 0.39137 | 0.18955
20 | 0.30794 | 0.14914
21 | 0.26125 | 0.12653
22 | 0.20637 | 0.099951
23 | 0.13104 | 0.063465

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1