## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_41_3_node_128 | 20 | n |  | TRUE
1 | bus_MV_41_3_node_127 | 20 | n |  | TRUE
2 | bus_MV_41_3_node_192 | 20 | n |  | TRUE
3 | bus_MV_41_3_node_129 | 20 | n |  | TRUE
4 | bus_MV_41_3_node_131 | 20 | n |  | TRUE
5 | bus_MV_41_3_node_130 | 20 | n |  | TRUE
6 | bus_MV_41_3_node_132 | 20 | n |  | TRUE
7 | bus_MV_41_3_node_133 | 20 | n |  | TRUE
8 | bus_MV_41_3_node_152 | 20 | n |  | TRUE
9 | bus_MV_41_3_node_151 | 20 | n |  | TRUE
10 | bus_MV_41_3_node_206 | 20 | n |  | TRUE
11 | bus_MV_41_3_node_134 | 20 | n |  | TRUE
12 | bus_MV_41_3_node_135 | 20 | n |  | TRUE
13 | bus_MV_41_3_node_136 | 20 | n |  | TRUE
14 | bus_MV_41_3_node_137 | 20 | n |  | TRUE
15 | bus_MV_41_3_node_139 | 20 | n |  | TRUE
16 | bus_MV_41_3_node_160 | 20 | n |  | TRUE
17 | bus_MV_41_3_node_141 | 20 | n |  | TRUE
18 | bus_MV_41_3_node_142 | 20 | n |  | TRUE
19 | bus_MV_41_3_node_143 | 20 | n |  | TRUE
20 | bus_MV_41_3_node_148 | 20 | n |  | TRUE
21 | bus_MV_41_3_node_150 | 20 | n |  | TRUE
22 | bus_MV_41_3_node_144 | 20 | n |  | TRUE
23 | bus_MV_41_3_node_149 | 20 | n |  | TRUE
24 | bus_MV_41_3_node_154 | 20 | n |  | TRUE
25 | bus_MV_41_3_node_153 | 20 | n |  | TRUE
26 | bus_MV_41_3_node_145 | 20 | n |  | TRUE
27 | bus_MV_41_3_node_146 | 20 | n |  | TRUE
28 | bus_MV_41_3_node_147 | 20 | n |  | TRUE
29 | bus_MV_41_3_node_190 | 20 | n |  | TRUE
30 | bus_MV_41_3_node_158 | 20 | n |  | TRUE
31 | bus_MV_41_3_node_157 | 20 | n |  | TRUE
32 | bus_MV_41_3_node_155 | 20 | n |  | TRUE
33 | bus_MV_41_3_node_156 | 20 | n |  | TRUE
34 | bus_MV_41_3_node_191 | 20 | n |  | TRUE
35 | bus_MV_41_3_node_159 | 20 | n |  | TRUE
36 | bus_MV_41_3_node_117 | 20 | n |  | TRUE
37 | bus_MV_41_3_node_197 | 20 | n |  | TRUE
38 | bus_MV_41_3_node_125 | 20 | n |  | TRUE
39 | bus_MV_41_3_node_211 | 20 | n |  | TRUE
40 | bus_MV_41_3_node_113 | 20 | n |  | TRUE
41 | bus_MV_41_3_node_114 | 20 | n |  | TRUE
42 | bus_MV_41_3_node_126 | 20 | n |  | TRUE
43 | bus_MV_41_3_node_115 | 20 | n |  | TRUE
44 | bus_MV_41_3_node_120 | 20 | n |  | TRUE
45 | bus_MV_41_3_node_118 | 20 | n |  | TRUE
46 | bus_MV_41_3_node_124 | 20 | n |  | TRUE
47 | bus_MV_41_3_node_119 | 20 | n |  | TRUE
48 | bus_MV_41_3_node_121 | 20 | n |  | TRUE
49 | bus_MV_41_3_node_123 | 20 | n |  | TRUE
50 | bus_MV_41_3_node_122 | 20 | n |  | TRUE
51 | bus_HV_41_3_node_145 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_41_3_load_192 | 2 | 0.15128 | 0.073268 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_41_3_load_129 | 3 | 0.094724 | 0.045877 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_41_3_load_152 | 8 | 0.12994 | 0.062934 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_41_3_load_206 | 10 | 0.10518 | 0.050942 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_41_3_load_134 | 11 | 0.15865 | 0.076838 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_41_3_load_137 | 14 | 0.15184 | 0.073538 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_41_3_load_160 | 16 | 0.27773 | 0.13451 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_41_3_load_141 | 17 | 0.0902 | 0.043686 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_41_3_load_149 | 23 | 0.15196 | 0.073596 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_41_3_load_153 | 25 | 0.10896 | 0.052772 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_41_3_load_145 | 26 | 0.081489 | 0.039467 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_41_3_load_190 | 29 | 0.086814 | 0.042046 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_41_3_load_157 | 31 | 0.15549 | 0.075307 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_41_3_load_155 | 32 | 0.14145 | 0.068507 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_41_3_load_156 | 33 | 0.1091 | 0.052839 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_41_3_load_191 | 34 | 0.15317 | 0.074181 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_41_3_load_159 | 35 | 0.081188 | 0.039321 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_41_3_load_117 | 36 | 0.12735 | 0.061678 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_41_3_load_197 | 37 | 0.051837 | 0.025106 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_41_3_load_211 | 39 | 0.05144 | 0.024914 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_41_3_load_113 | 40 | 0.098706 | 0.047806 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_41_3_load_126 | 42 | 0.14808 | 0.07172 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_41_3_load_120 | 44 | 0.07892 | 0.038223 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_41_3_load_123 | 49 | 0.136 | 0.06587 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_41_3_load_122 | 50 | 0.16103 | 0.077991 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_41_3_line_0 |  | 0 | 1 | 0.37589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_41_3_line_1 |  | 0 | 2 | 0.056591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_41_3_line_2 |  | 1 | 39 | 1.2612 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_41_3_line_3 |  | 1 | 42 | 0.060962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_41_3_line_4 |  | 3 | 4 | 0.20675 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_41_3_line_5 |  | 3 | 5 | 0.10765 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_41_3_line_6 |  | 4 | 7 | 0.10091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_41_3_line_7 |  | 5 | 6 | 0.04926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_41_3_line_8 |  | 6 | 8 | 0.049823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_41_3_line_9 |  | 6 | 9 | 0.2651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_41_3_line_10 |  | 7 | 10 | 0.040257 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_41_3_line_11 |  | 9 | 33 | 0.004169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_41_3_line_12 |  | 9 | 12 | 0.14673 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_41_3_line_13 |  | 9 | 21 | 0.4098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_41_3_line_14 |  | 11 | 12 | 0.04138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_41_3_line_15 |  | 12 | 13 | 0.24495 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_41_3_line_16 |  | 13 | 14 | 0.03368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_41_3_line_17 |  | 14 | 15 | 0.15292 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_41_3_line_18 |  | 15 | 16 | 0.032991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_41_3_line_19 |  | 16 | 35 | 0.26068 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_41_3_line_20 |  | 17 | 18 | 0.040914 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_41_3_line_21 |  | 18 | 19 | 0.24084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_41_3_line_22 |  | 18 | 20 | 0.13991 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_41_3_line_23 |  | 19 | 21 | 0.20826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_41_3_line_24 |  | 19 | 22 | 0.17826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_41_3_line_25 |  | 19 | 23 | 0.14143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_41_3_line_26 |  | 20 | 30 | 0.16994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_41_3_line_27 |  | 20 | 31 | 0.046959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_41_3_line_28 |  | 21 | 32 | 0.025031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_41_3_line_29 |  | 22 | 24 | 0.10224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_41_3_line_30 |  | 22 | 25 | 0.034678 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_41_3_line_31 |  | 24 | 29 | 0.010216 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_41_3_line_32 |  | 26 | 27 | 0.042171 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_41_3_line_33 |  | 27 | 28 | 0.007209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_41_3_line_34 |  | 28 | 29 | 0.043236 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_41_3_line_35 |  | 30 | 34 | 0.052362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_41_3_line_36 |  | 34 | 36 | 0.18196 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_41_3_line_37 |  | 36 | 45 | 0.014078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_41_3_line_38 |  | 37 | 38 | 0.005344 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_41_3_line_39 |  | 38 | 45 | 0.52615 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_41_3_line_40 |  | 40 | 41 | 0.037167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_41_3_line_41 |  | 40 | 42 | 0.28404 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_41_3_line_42 |  | 41 | 43 | 0.0835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_41_3_line_43 |  | 43 | 44 | 0.28191 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_41_3_line_44 |  | 44 | 48 | 0.073501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_41_3_line_45 |  | 45 | 46 | 0.063073 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_41_3_line_46 |  | 46 | 49 | 0.025941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_41_3_line_47 |  | 47 | 48 | 0.060847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_41_3_line_48 |  | 47 | 49 | 0.049571 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_41_3_line_49 |  | 48 | 50 | 0.024158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_41_3_trafo_145 | 25 MVA 110/20 kV | 51 | 26 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2753619.842 | 1248717.1867
1 | 2753448.4714 | 1248458.0298
2 | 2753667.6992 | 1248745.1319
3 | 2752015.3722 | 1247327.5995
4 | 2752134.5056 | 1247158.9142
5 | 2751914.8515 | 1247289.0753
6 | 2751868.454 | 1247304.246
7 | 2752182.7195 | 1247077.8064
8 | 2751895.9762 | 1247339.9631
9 | 2751626.9875 | 1247366.1711
10 | 2752220.9801 | 1247073.2284
11 | 2751695.3485 | 1247496.0667
12 | 2751656.4231 | 1247509.9177
13 | 2751557.969 | 1247586.7968
14 | 2751524.8854 | 1247579.9893
15 | 2751467.2662 | 1247438.3365
16 | 2751438.1173 | 1247453.6452
17 | 2752235.3706 | 1247577.5732
18 | 2752271.1963 | 1247597.3344
19 | 2752052.5382 | 1247540.2018
20 | 2752395.6779 | 1247661.205
21 | 2751946.4642 | 1247556.5875
22 | 2752117.4077 | 1247654.954
23 | 2752001.8673 | 1247465.4529
24 | 2752214.4181 | 1247677.7543
25 | 2752095.2184 | 1247681.5438
26 | 2752304.8487 | 1247713.9669
27 | 2752264.8135 | 1247701.0151
28 | 2752265.2402 | 1247693.8191
29 | 2752224.5688 | 1247679.1496
30 | 2752532.9483 | 1247759.4962
31 | 2752424.836 | 1247624.3411
32 | 2751932.3611 | 1247577.2906
33 | 2751627.3808 | 1247362.0216
34 | 2752562.1604 | 1247802.7118
35 | 2751185.3995 | 1247517.5753
36 | 2752646.3177 | 1247964.0449
37 | 2753095.1061 | 1247664.5359
38 | 2753090.0571 | 1247666.3295
39 | 2754508.1482 | 1247774.115
40 | 2753136.3081 | 1248327.1095
41 | 2753119.5936 | 1248294.1013
42 | 2753406.5759 | 1248414.4922
43 | 2753041.1091 | 1248267.7717
44 | 2752802.4996 | 1248117.6387
45 | 2752659.5834 | 1247968.8689
46 | 2752720.3888 | 1247985.6287
47 | 2752721.1273 | 1248060.1532
48 | 2752729.2853 | 1248116.2399
49 | 2752726.2597 | 1248010.8488
50 | 2752718.9742 | 1248138.0955
51 | 2752304.8487 | 1247713.9669

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99616 | 0.0067579 | 0 | 0
1 | 0.99623 | 0.0062123 | 0 | 0
2 | 0.99615 | 0.0068587 | 0.15128 | 0.073268
3 | 0.99745 | 0.015796 | 0.094724 | 0.045877
4 | 0.99742 | 0.015981 | 0 | 0
5 | 0.99749 | 0.016134 | 0 | 0
6 | 0.9975 | 0.016044 | 0 | 0
7 | 0.99741 | 0.016095 | 0 | 0
8 | 0.99749 | 0.01612 | 0.12994 | 0.062934
9 | 0.99761 | 0.015229 | 0 | 0
10 | 0.9974 | 0.016144 | 0.10518 | 0.050942
11 | 0.99741 | 0.014001 | 0.15865 | 0.076838
12 | 0.99742 | 0.013923 | 0 | 0
13 | 0.99726 | 0.01535 | 0 | 0
14 | 0.99724 | 0.015553 | 0.15184 | 0.073538
15 | 0.99713 | 0.014871 | 0 | 0
16 | 0.99712 | 0.015012 | 0.27773 | 0.13451
17 | 0.99808 | 0.011505 | 0.0902 | 0.043686
18 | 0.99809 | 0.01155 | 0 | 0
19 | 0.99852 | 0.0079798 | 0 | 0
20 | 0.99773 | 0.0089714 | 0 | 0
21 | 0.99819 | 0.010585 | 0 | 0
22 | 0.99915 | 0.0029105 | 0 | 0
23 | 0.99849 | 0.0082225 | 0.15196 | 0.073596
24 | 0.99953 | -0.00010014 | 0 | 0
25 | 0.99914 | 0.0029549 | 0.10896 | 0.052772
26 | 1 | 0 | -3.0232 | -1.3783
27 | 0.99984 | 0.0012789 | 0 | 0
28 | 0.99981 | 0.0014979 | 0 | 0
29 | 0.99956 | -0.00039997 | 0.086814 | 0.042046
30 | 0.99748 | 0.011058 | 0 | 0
31 | 0.99772 | 0.0090575 | 0.15549 | 0.075307
32 | 0.99818 | 0.010627 | 0.14145 | 0.068507
33 | 0.99761 | 0.015234 | 0.1091 | 0.052839
34 | 0.99741 | 0.01171 | 0.15317 | 0.074181
35 | 0.99708 | 0.014751 | 0.081188 | 0.039321
36 | 0.99706 | 0.0091392 | 0.12735 | 0.061678
37 | 0.99699 | 0.0089199 | 0.051837 | 0.025106
38 | 0.99699 | 0.0089166 | 0 | 0
39 | 0.9961 | 0.0053415 | 0.05144 | 0.024914
40 | 0.99644 | 0.0076502 | 0.098706 | 0.047806
41 | 0.99646 | 0.0074822 | 0 | 0
42 | 0.99625 | 0.0061121 | 0.14808 | 0.07172
43 | 0.9965 | 0.0071124 | 0 | 0
44 | 0.99675 | 0.009054 | 0.07892 | 0.038223
45 | 0.99704 | 0.0092679 | 0 | 0
46 | 0.99694 | 0.0085204 | 0 | 0
47 | 0.99685 | 0.0082408 | 0 | 0
48 | 0.9968 | 0.008669 | 0 | 0
49 | 0.99691 | 0.0087436 | 0.136 | 0.06587
50 | 0.99679 | 0.0087154 | 0.16103 | 0.077991
51 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15128 | -0.071928 | 0.15129 | 0.063025 | 1.1563e-05 | -0.0089033 | 0.0048543 | 0.0047492 | 0.0048543 | 0.99616 | 0.0067579 | 0.99623 | 0.0062123 | 2.2065
1 | 0.15128 | 0.071928 | -0.15128 | -0.073268 | 1.7864e-06 | -0.0013403 | 0.0048543 | 0.0048711 | 0.0048711 | 0.99616 | 0.0067579 | 0.99615 | 0.0068587 | 2.2141
2 | 0.051446 | 0.023423 | -0.05144 | -0.024914 | 6.096e-06 | -0.0014903 | 0.001638 | 0.0016564 | 0.0016564 | 0.99623 | 0.0062123 | 0.9961 | 0.0053415 | 0.78876
3 | -0.20274 | -0.086448 | 0.20274 | 0.085005 | 3.311e-06 | -0.0014436 | 0.0063865 | 0.0063702 | 0.0063865 | 0.99623 | 0.0062123 | 0.99625 | 0.0061121 | 2.903
4 | 0.10519 | 0.042679 | -0.10518 | -0.04759 | 3.0289e-06 | -0.0049102 | 0.0032853 | 0.0033413 | 0.0033413 | 0.99745 | 0.015796 | 0.99742 | 0.015981 | 1.5188
5 | -0.19991 | -0.088556 | 0.19992 | 0.088433 | 7.6784e-06 | -0.00012305 | 0.0063279 | 0.0063264 | 0.0063279 | 0.99745 | 0.015796 | 0.99749 | 0.016134 | 3.0133
6 | 0.10518 | 0.04759 | -0.10518 | -0.049986 | 1.517e-06 | -0.0023964 | 0.0033413 | 0.0033705 | 0.0033705 | 0.99742 | 0.015981 | 0.99741 | 0.016095 | 1.5321
7 | -0.19992 | -0.088433 | 0.19992 | 0.087264 | 2.6264e-06 | -0.0011695 | 0.0063264 | 0.0063128 | 0.0063264 | 0.99749 | 0.016134 | 0.9975 | 0.016044 | 2.8757
8 | 0.12994 | 0.06175 | -0.12994 | -0.062934 | 1.1571e-06 | -0.0011833 | 0.0041635 | 0.0041784 | 0.0041784 | 0.9975 | 0.016044 | 0.99749 | 0.01612 | 1.8993
9 | -0.32986 | -0.14901 | 0.3299 | 0.14273 | 3.8558e-05 | -0.0062872 | 0.010475 | 0.010401 | 0.010475 | 0.9975 | 0.016044 | 0.99761 | 0.015229 | 4.7614
10 | 0.10518 | 0.049986 | -0.10518 | -0.050942 | 6.1271e-07 | -0.00095602 | 0.0033705 | 0.0033825 | 0.0033825 | 0.99741 | 0.016095 | 0.9974 | 0.016144 | 1.5375
11 | 0.1091 | 0.05274 | -0.1091 | -0.052839 | 6.8457e-08 | -9.9044e-05 | 0.0035065 | 0.0035077 | 0.0035077 | 0.99761 | 0.015229 | 0.99761 | 0.015234 | 1.5944
12 | 0.66968 | 0.31529 | -0.66956 | -0.31539 | 0.00011994 | -9.9169e-05 | 0.021418 | 0.021421 | 0.021421 | 0.99761 | 0.015229 | 0.99742 | 0.013923 | 10.2003
13 | -1.1087 | -0.51076 | 1.1094 | 0.50122 | 0.0006803 | -0.0095415 | 0.035322 | 0.035205 | 0.035322 | 0.99761 | 0.015229 | 0.99819 | 0.010585 | 16.0555
14 | -0.15865 | -0.076838 | 0.15865 | 0.075855 | 1.4344e-06 | -0.00098247 | 0.0051019 | 0.0050896 | 0.0051019 | 0.99741 | 0.014001 | 0.99742 | 0.013923 | 2.3191
15 | 0.5109 | 0.23954 | -0.51082 | -0.24533 | 8.7598e-05 | -0.0057913 | 0.016331 | 0.016403 | 0.016403 | 0.99742 | 0.013923 | 0.99726 | 0.01535 | 7.4561
16 | 0.51082 | 0.24533 | -0.5108 | -0.24612 | 1.2106e-05 | -0.00079614 | 0.016403 | 0.016413 | 0.016413 | 0.99726 | 0.01535 | 0.99724 | 0.015553 | 7.4606
17 | 0.35897 | 0.17259 | -0.35893 | -0.17274 | 3.6227e-05 | -0.00015884 | 0.01153 | 0.011532 | 0.011532 | 0.99724 | 0.015553 | 0.99713 | 0.014871 | 5.4914
18 | 0.35893 | 0.17274 | -0.35892 | -0.17353 | 5.8621e-06 | -0.00078143 | 0.011532 | 0.011542 | 0.011542 | 0.99713 | 0.014871 | 0.99712 | 0.015012 | 5.2463
19 | 0.081191 | 0.039014 | -0.081188 | -0.039321 | 3.1634e-06 | -0.00030741 | 0.0026079 | 0.0026117 | 0.0026117 | 0.99712 | 0.015012 | 0.99708 | 0.014751 | 1.2437
20 | -0.0902 | -0.043686 | 0.090201 | 0.043638 | 6.124e-07 | -4.8273e-05 | 0.0028987 | 0.0028981 | 0.0028987 | 0.99808 | 0.011505 | 0.99809 | 0.01155 | 1.3804
21 | -1.4051 | -0.65144 | 1.4058 | 0.6459 | 0.00064418 | -0.0055398 | 0.044796 | 0.044726 | 0.044796 | 0.99809 | 0.01155 | 0.99852 | 0.0079798 | 20.3617
22 | 1.3149 | 0.6078 | -1.3145 | -0.6077 | 0.00043762 | 0.00010778 | 0.041898 | 0.0419 | 0.0419 | 0.99809 | 0.01155 | 0.99773 | 0.0089714 | 19.9524
23 | 1.2512 | 0.5643 | -1.2508 | -0.56913 | 0.00043846 | -0.004826 | 0.039683 | 0.039742 | 0.039742 | 0.99852 | 0.0079798 | 0.99819 | 0.010585 | 18.0645
24 | -2.809 | -1.2804 | 2.8109 | 1.2768 | 0.0018945 | -0.0036844 | 0.089248 | 0.089197 | 0.089248 | 0.99852 | 0.0079798 | 0.99915 | 0.0029105 | 40.5673
25 | 0.15196 | 0.070231 | -0.15196 | -0.073596 | 4.4604e-06 | -0.0033655 | 0.0048398 | 0.0048814 | 0.0048814 | 0.99852 | 0.0079798 | 0.99849 | 0.0082225 | 2.2188
26 | 1.159 | 0.5335 | -1.1587 | -0.53745 | 0.00030959 | -0.0039464 | 0.036916 | 0.036965 | 0.036965 | 0.99773 | 0.0089714 | 0.99748 | 0.011058 | 16.8021
27 | 0.15549 | 0.074191 | -0.15549 | -0.075307 | 1.562e-06 | -0.0011156 | 0.0049847 | 0.0049987 | 0.0049987 | 0.99773 | 0.0089714 | 0.99772 | 0.0090575 | 2.2721
28 | 0.14145 | 0.067911 | -0.14145 | -0.068507 | 6.8921e-07 | -0.00059527 | 0.0045377 | 0.0045452 | 0.0045452 | 0.99819 | 0.010585 | 0.99818 | 0.010627 | 2.066
29 | -2.9198 | -1.3287 | 2.921 | 1.3266 | 0.0011721 | -0.0020901 | 0.092684 | 0.092655 | 0.092684 | 0.99915 | 0.0029105 | 0.99953 | -0.00010014 | 42.1292
30 | 0.10896 | 0.051945 | -0.10896 | -0.052772 | 5.6475e-07 | -0.0008264 | 0.0034875 | 0.0034979 | 0.0034979 | 0.99915 | 0.0029105 | 0.99914 | 0.0029549 | 1.5899
31 | -2.921 | -1.3266 | 2.9211 | 1.3264 | 0.00011708 | -0.00020897 | 0.092655 | 0.092652 | 0.092655 | 0.99953 | -0.00010014 | 0.99956 | -0.00039997 | 42.1159
32 | 3.0092 | 1.3678 | -3.0087 | -1.3687 | 0.00051268 | -0.00085464 | 0.095422 | 0.095434 | 0.095434 | 1 | 0 | 0.99984 | 0.0012789 | 43.3793
33 | 3.0087 | 1.3687 | -3.0086 | -1.3688 | 8.7655e-05 | -0.00014606 | 0.095434 | 0.095436 | 0.095436 | 0.99984 | 0.0012789 | 0.99981 | 0.0014979 | 43.3802
34 | 3.0086 | 1.3688 | -3.0079 | -1.3684 | 0.00070164 | 0.0003879 | 0.095436 | 0.095437 | 0.095437 | 0.99981 | 0.0014979 | 0.99956 | -0.00039997 | 45.4462
35 | 1.1587 | 0.53745 | -1.1586 | -0.53867 | 9.5554e-05 | -0.0012155 | 0.036965 | 0.03698 | 0.03698 | 0.99748 | 0.011058 | 0.99741 | 0.01171 | 16.809
36 | 1.0054 | 0.46449 | -1.0051 | -0.46449 | 0.00033316 | -7.3502e-06 | 0.032055 | 0.032058 | 0.032058 | 0.99741 | 0.01171 | 0.99706 | 0.0091392 | 15.2655
37 | 0.87775 | 0.40281 | -0.87774 | -0.40314 | 1.4696e-05 | -0.00032979 | 0.027962 | 0.027966 | 0.027966 | 0.99706 | 0.0091392 | 0.99704 | 0.0092679 | 12.7117
38 | -0.051837 | -0.025106 | 0.051837 | 0.024979 | 1.9775e-08 | -0.00012682 | 0.0016677 | 0.0016661 | 0.0016677 | 0.99699 | 0.0089199 | 0.99699 | 0.0089166 | 0.75805
39 | -0.051837 | -0.024979 | 0.05184 | 0.024356 | 2.5901e-06 | -0.00062276 | 0.0016661 | 0.0016583 | 0.0016661 | 0.99699 | 0.0089166 | 0.99704 | 0.0092679 | 0.79338
40 | -0.44959 | -0.20423 | 0.4496 | 0.20335 | 1.0147e-05 | -0.0008781 | 0.014306 | 0.014295 | 0.014306 | 0.99644 | 0.0076502 | 0.99646 | 0.0074822 | 6.5027
41 | 0.35089 | 0.15643 | -0.35083 | -0.15672 | 6.2713e-05 | -0.00029733 | 0.01113 | 0.011134 | 0.011134 | 0.99644 | 0.0076502 | 0.99625 | 0.0061121 | 5.3019
42 | -0.4496 | -0.20335 | 0.44963 | 0.20138 | 2.2743e-05 | -0.0019729 | 0.014295 | 0.014272 | 0.014295 | 0.99646 | 0.0074822 | 0.9965 | 0.0071124 | 6.4979
43 | -0.44963 | -0.20138 | 0.44973 | 0.20111 | 0.00010228 | -0.00027021 | 0.014272 | 0.014268 | 0.014272 | 0.9965 | 0.0071124 | 0.99675 | 0.009054 | 6.7962
44 | -0.52865 | -0.23933 | 0.52868 | 0.2376 | 2.7682e-05 | -0.0017354 | 0.016807 | 0.016786 | 0.016807 | 0.99675 | 0.009054 | 0.9968 | 0.008669 | 7.6394
45 | 0.8259 | 0.37879 | -0.82582 | -0.37881 | 7.7776e-05 | -2.6128e-05 | 0.026307 | 0.026308 | 0.026308 | 0.99704 | 0.0092679 | 0.99694 | 0.0085204 | 12.5278
46 | 0.82582 | 0.37881 | -0.8258 | -0.37942 | 2.3976e-05 | -0.00060846 | 0.026308 | 0.026316 | 0.026316 | 0.99694 | 0.0085204 | 0.99691 | 0.0087436 | 11.9617
47 | 0.68975 | 0.31358 | -0.68971 | -0.31502 | 3.9138e-05 | -0.001432 | 0.021942 | 0.021959 | 0.021959 | 0.99685 | 0.0082408 | 0.9968 | 0.008669 | 9.9814
48 | -0.68975 | -0.31358 | 0.68979 | 0.31355 | 4.2519e-05 | -3.2177e-05 | 0.021942 | 0.021941 | 0.021942 | 0.99685 | 0.0082408 | 0.99691 | 0.0087436 | 10.4484
49 | 0.16103 | 0.077418 | -0.16103 | -0.077991 | 8.6473e-07 | -0.00057285 | 0.0051745 | 0.0051817 | 0.0051817 | 0.9968 | 0.008669 | 0.99679 | 0.0087154 | 2.3553

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.1047 | 1.4178

## res_load
| p_mw | q_mvar
0 | 0.15128 | 0.073268
1 | 0.094724 | 0.045877
2 | 0.12994 | 0.062934
3 | 0.10518 | 0.050942
4 | 0.15865 | 0.076838
5 | 0.15184 | 0.073538
6 | 0.27773 | 0.13451
7 | 0.0902 | 0.043686
8 | 0.15196 | 0.073596
9 | 0.10896 | 0.052772
10 | 0.081489 | 0.039467
11 | 0.086814 | 0.042046
12 | 0.15549 | 0.075307
13 | 0.14145 | 0.068507
14 | 0.1091 | 0.052839
15 | 0.15317 | 0.074181
16 | 0.081188 | 0.039321
17 | 0.12735 | 0.061678
18 | 0.051837 | 0.025106
19 | 0.05144 | 0.024914
20 | 0.098706 | 0.047806
21 | 0.14808 | 0.07172
22 | 0.07892 | 0.038223
23 | 0.136 | 0.06587
24 | 0.16103 | 0.077991

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1