## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_423_1_node_3 | 20 | n |  | TRUE
1 | bus_MV_423_1_node_4 | 20 | n |  | TRUE
2 | bus_MV_423_1_node_6 | 20 | n |  | TRUE
3 | bus_MV_423_1_node_5 | 20 | n |  | TRUE
4 | bus_MV_423_1_node_91 | 20 | n |  | TRUE
5 | bus_MV_423_1_node_93 | 20 | n |  | TRUE
6 | bus_MV_423_1_node_7 | 20 | n |  | TRUE
7 | bus_MV_423_1_node_103 | 20 | n |  | TRUE
8 | bus_MV_423_1_node_8 | 20 | n |  | TRUE
9 | bus_MV_423_1_node_15 | 20 | n |  | TRUE
10 | bus_MV_423_1_node_19 | 20 | n |  | TRUE
11 | bus_MV_423_1_node_10 | 20 | n |  | TRUE
12 | bus_MV_423_1_node_12 | 20 | n |  | TRUE
13 | bus_MV_423_1_node_14 | 20 | n |  | TRUE
14 | bus_MV_423_1_node_13 | 20 | n |  | TRUE
15 | bus_MV_423_1_node_95 | 20 | n |  | TRUE
16 | bus_MV_423_1_node_94 | 20 | n |  | TRUE
17 | bus_MV_423_1_node_135 | 20 | n |  | TRUE
18 | bus_MV_423_1_node_18 | 20 | n |  | TRUE
19 | bus_MV_423_1_node_16 | 20 | n |  | TRUE
20 | bus_MV_423_1_node_17 | 20 | n |  | TRUE
21 | bus_MV_423_1_node_134 | 20 | n |  | TRUE
22 | bus_MV_423_1_node_102 | 20 | n |  | TRUE
23 | bus_MV_423_1_node_142 | 20 | n |  | TRUE
24 | bus_MV_423_1_node_99 | 20 | n |  | TRUE
25 | bus_MV_423_1_node_145 | 20 | n |  | TRUE
26 | bus_MV_423_1_node_68 | 20 | n |  | TRUE
27 | bus_MV_423_1_node_146 | 20 | n |  | TRUE
28 | bus_MV_423_1_node_101 | 20 | n |  | TRUE
29 | bus_MV_423_1_node_147 | 20 | n |  | TRUE
30 | bus_MV_423_1_node_80 | 20 | n |  | TRUE
31 | bus_MV_423_1_node_148 | 20 | n |  | TRUE
32 | bus_MV_423_1_node_77 | 20 | n |  | TRUE
33 | bus_MV_423_1_node_149 | 20 | n |  | TRUE
34 | bus_MV_423_1_node_88 | 20 | n |  | TRUE
35 | bus_MV_423_1_node_151 | 20 | n |  | TRUE
36 | bus_MV_423_1_node_150 | 20 | n |  | TRUE
37 | bus_MV_423_1_node_66 | 20 | n |  | TRUE
38 | bus_MV_423_1_node_153 | 20 | n |  | TRUE
39 | bus_MV_423_1_node_76 | 20 | n |  | TRUE
40 | bus_MV_423_1_node_133 | 20 | n |  | TRUE
41 | bus_MV_423_1_node_67 | 20 | n |  | TRUE
42 | bus_MV_423_1_node_97 | 20 | n |  | TRUE
43 | bus_MV_423_1_node_100 | 20 | n |  | TRUE
44 | bus_MV_423_1_node_136 | 20 | n |  | TRUE
45 | bus_MV_423_1_node_79 | 20 | n |  | TRUE
46 | bus_MV_423_1_node_65 | 20 | n |  | TRUE
47 | bus_MV_423_1_node_69 | 20 | n |  | TRUE
48 | bus_MV_423_1_node_71 | 20 | n |  | TRUE
49 | bus_MV_423_1_node_73 | 20 | n |  | TRUE
50 | bus_MV_423_1_node_72 | 20 | n |  | TRUE
51 | bus_MV_423_1_node_74 | 20 | n |  | TRUE
52 | bus_MV_423_1_node_78 | 20 | n |  | TRUE
53 | bus_MV_423_1_node_75 | 20 | n |  | TRUE
54 | bus_MV_423_1_node_87 | 20 | n |  | TRUE
55 | bus_MV_423_1_node_85 | 20 | n |  | TRUE
56 | bus_MV_423_1_node_82 | 20 | n |  | TRUE
57 | bus_MV_423_1_node_81 | 20 | n |  | TRUE
58 | bus_MV_423_1_node_83 | 20 | n |  | TRUE
59 | bus_MV_423_1_node_105 | 20 | n |  | TRUE
60 | bus_MV_423_1_node_89 | 20 | n |  | TRUE
61 | bus_MV_423_1_node_90 | 20 | n |  | TRUE
62 | bus_MV_423_1_node_92 | 20 | n |  | TRUE
63 | bus_MV_423_1_node_104 | 20 | n |  | TRUE
64 | bus_MV_423_1_node_96 | 20 | n |  | TRUE
65 | bus_MV_423_1_node_98 | 20 | n |  | TRUE
66 | bus_HV_423_1_node_83 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_423_1_load_3 | 0 | 0.16593 | 0.080365 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_423_1_load_6 | 2 | 0.16837 | 0.081546 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_423_1_load_93 | 5 | 0.068298 | 0.033078 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_423_1_load_103 | 7 | 0.28122 | 0.1362 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_423_1_load_15 | 9 | 0.263 | 0.12738 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_423_1_load_10 | 11 | 0.22765 | 0.11026 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_423_1_load_94 | 16 | 0.2891 | 0.14002 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_423_1_load_135 | 17 | 0.079028 | 0.038275 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_423_1_load_16 | 19 | 0.36852 | 0.17848 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_423_1_load_134 | 21 | 0.31549 | 0.1528 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_423_1_load_102 | 22 | 0.092456 | 0.044778 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_423_1_load_142 | 23 | 0.25032 | 0.12123 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_423_1_load_145 | 25 | 0.28324 | 0.13718 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_423_1_load_146 | 27 | 0.083233 | 0.040311 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_423_1_load_147 | 29 | 0.25501 | 0.12351 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_423_1_load_148 | 31 | 0.33689 | 0.16316 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_423_1_load_149 | 33 | 0.37998 | 0.18403 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_423_1_load_88 | 34 | 0.35848 | 0.17362 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_423_1_load_150 | 36 | 0.22232 | 0.10767 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_423_1_load_153 | 38 | 0.13525 | 0.065506 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_423_1_load_133 | 40 | 0.12282 | 0.059482 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_423_1_load_97 | 42 | 0.12086 | 0.058537 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_423_1_load_136 | 44 | 0.30987 | 0.15008 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_423_1_load_65 | 46 | 0.38256 | 0.18528 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_423_1_load_69 | 47 | 0.077116 | 0.037349 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_423_1_load_71 | 48 | 0.34813 | 0.16861 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_423_1_load_72 | 50 | 0.090845 | 0.043998 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_423_1_load_75 | 53 | 0.16266 | 0.078779 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_423_1_load_87 | 54 | 0.41255 | 0.19981 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_423_1_load_85 | 55 | 0.40186 | 0.19463 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_423_1_load_81 | 57 | 0.088602 | 0.042912 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_423_1_load_105 | 59 | 0.23155 | 0.11215 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_423_1_load_89 | 60 | 0.1022 | 0.049499 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_423_1_load_104 | 63 | 0.28979 | 0.14035 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_423_1_load_96 | 64 | 0.75548 | 0.36589 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_423_1_line_0 |  | 0 | 1 | 0.038258 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_423_1_line_1 |  | 0 | 2 | 0.41269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_423_1_line_2 |  | 1 | 3 | 0.014581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_423_1_line_3 |  | 2 | 6 | 0.02926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_423_1_line_4 |  | 3 | 4 | 0.42431 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_423_1_line_5 |  | 3 | 5 | 0.032401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_423_1_line_6 |  | 4 | 62 | 0.10514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_423_1_line_7 |  | 4 | 16 | 0.031925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_423_1_line_8 |  | 4 | 61 | 0.064933 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_423_1_line_9 |  | 6 | 7 | 0.41311 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_423_1_line_10 |  | 7 | 10 | 0.008376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_423_1_line_11 |  | 8 | 9 | 0.027915 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_423_1_line_12 |  | 8 | 10 | 0.32659 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_423_1_line_13 |  | 10 | 22 | 0.035032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_423_1_line_14 |  | 10 | 20 | 0.62939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_423_1_line_15 |  | 11 | 12 | 0.052406 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_423_1_line_16 |  | 12 | 13 | 0.29348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_423_1_line_17 |  | 13 | 17 | 0.035614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_423_1_line_18 |  | 13 | 18 | 0.090177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_423_1_line_19 |  | 14 | 15 | 0.014351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_423_1_line_20 |  | 14 | 16 | 0.031589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_423_1_line_21 |  | 15 | 64 | 0.037196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_423_1_line_22 |  | 18 | 21 | 0.033901 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_423_1_line_23 |  | 18 | 20 | 0.090615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_423_1_line_24 |  | 19 | 20 | 0.004365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_423_1_line_25 |  | 21 | 43 | 0.036614 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_423_1_line_26 |  | 23 | 24 | 0.029443 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_423_1_line_27 |  | 24 | 43 | 0.30144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_423_1_line_28 |  | 24 | 59 | 0.24081 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
29 | MV_423_1_line_29 |  | 24 | 29 | 0.78976 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_423_1_line_30 |  | 24 | 54 | 1.0207 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_423_1_line_31 |  | 24 | 65 | 0.51992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_423_1_line_32 |  | 25 | 26 | 0.061383 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_423_1_line_33 |  | 26 | 42 | 0.77039 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_423_1_line_34 |  | 27 | 28 | 0.061225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_423_1_line_35 |  | 28 | 43 | 0.10398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_423_1_line_36 |  | 29 | 30 | 0.015122 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_423_1_line_37 |  | 30 | 56 | 0.56606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_423_1_line_38 |  | 31 | 32 | 0.073047 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_423_1_line_39 |  | 32 | 49 | 0.49883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_423_1_line_40 |  | 33 | 34 | 0.42767 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_423_1_line_41 |  | 33 | 35 | 0.45296 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_423_1_line_42 |  | 35 | 36 | 0.044427 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_423_1_line_43 |  | 36 | 37 | 1.9335 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_423_1_line_44 |  | 37 | 41 | 0.14574 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_423_1_line_45 |  | 37 | 46 | 0.0161 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_423_1_line_46 |  | 38 | 39 | 0.002838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_423_1_line_47 |  | 39 | 47 | 1.2552 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_423_1_line_48 |  | 39 | 49 | 0.20552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_423_1_line_49 |  | 40 | 41 | 0.040365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_423_1_line_50 |  | 40 | 42 | 0.78303 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_423_1_line_51 |  | 42 | 65 | 0.055132 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_423_1_line_52 |  | 44 | 45 | 0.028755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_423_1_line_53 |  | 45 | 52 | 0.80057 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_423_1_line_54 |  | 48 | 49 | 0.006519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_423_1_line_55 |  | 48 | 50 | 0.12037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_423_1_line_56 |  | 49 | 52 | 1.0619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_423_1_line_57 |  | 50 | 51 | 0.079864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_423_1_line_58 |  | 51 | 53 | 0.051809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_423_1_line_59 |  | 52 | 54 | 0.043941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_423_1_line_60 |  | 52 | 55 | 0.016954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_423_1_line_61 |  | 56 | 57 | 0.008513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_423_1_line_62 |  | 58 | 59 | 0.0096061 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_423_1_line_63 |  | 60 | 61 | 0.025522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_423_1_line_64 |  | 62 | 63 | 0.046692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_423_1_trafo_83 | 25 MVA 110/20 kV | 66 | 58 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2660128.5486 | 1251967.3474
1 | 2660113.1441 | 1252002.3824
2 | 2660489.8421 | 1251767.9053
3 | 2660107.1902 | 1252015.6981
4 | 2659903.6829 | 1251899.4453
5 | 2660077.651 | 1252002.3846
6 | 2660486.4936 | 1251738.8396
7 | 2660150.5551 | 1251498.4083
8 | 2660475.5747 | 1251447.3236
9 | 2660503.2616 | 1251444.0125
10 | 2660151.8015 | 1251490.1263
11 | 2659790.046 | 1251728.8673
12 | 2659738.2715 | 1251719.8279
13 | 2659674.0339 | 1251536.4191
14 | 2659847.7432 | 1251891.2301
15 | 2659853.9495 | 1251878.2837
16 | 2659875.4691 | 1251904.5878
17 | 2659706.7446 | 1251537.994
18 | 2659668.6479 | 1251461.19
19 | 2659748.7933 | 1251504.2384
20 | 2659750.3891 | 1251500.1739
21 | 2659638.6247 | 1251445.2767
22 | 2660116.7898 | 1251491.3242
23 | 2659365.4084 | 1251452.3617
24 | 2659391.6232 | 1251465.767
25 | 2658870.6122 | 1252393.0416
26 | 2658914.1333 | 1252349.7548
27 | 2659663.6257 | 1251347.5599
28 | 2659604.3382 | 1251331.708
29 | 2658909.308 | 1250840.396
30 | 2658894.1976 | 1250840.9907
31 | 2658081.2216 | 1250005.7688
32 | 2658143.4009 | 1250044.1047
33 | 2656298.6085 | 1251696.8599
34 | 2656503.5918 | 1252072.2046
35 | 2656750.4092 | 1251664.4227
36 | 2656772.6675 | 1251702.9071
37 | 2658662.2917 | 1252112.502
38 | 2658488.6317 | 1250051.0269
39 | 2658491.0248 | 1250052.5626
40 | 2658755.0851 | 1252168.3379
41 | 2658721.6276 | 1252145.7572
42 | 2659437.5997 | 1251784.5284
43 | 2659606.2143 | 1251428.061
44 | 2658836.1279 | 1250300.3823
45 | 2658831.2566 | 1250328.7203
46 | 2658671.8611 | 1252099.5543
47 | 2659270.7082 | 1249068.8552
48 | 2658485.2233 | 1250257.9036
49 | 2658485.0989 | 1250251.3867
50 | 2658430.2349 | 1250364.9756
51 | 2658390.4116 | 1250434.2028
52 | 2658648.0148 | 1250751.3769
53 | 2658439.5003 | 1250450.5623
54 | 2658626.7849 | 1250789.8493
55 | 2658632.194 | 1250745.1606
56 | 2658611.8231 | 1250947.0887
57 | 2658603.2903 | 1250947.4046
58 | 2659176.316 | 1251345.73
59 | 2659177.6778 | 1251355.2391
60 | 2659943.7813 | 1251912.0929
61 | 2659934.0558 | 1251935.6889
62 | 2659941.9526 | 1251811.6261
63 | 2659895.2986 | 1251810.3487
64 | 2659819.0558 | 1251865.1222
65 | 2659451.3493 | 1251731.1403
66 | 2659176.316 | 1251345.73

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99174 | -0.060062 | 0.16593 | 0.080365
1 | 0.99167 | -0.059411 | 0 | 0
2 | 0.99308 | -0.050851 | 0.16837 | 0.081546
3 | 0.99164 | -0.059162 | 0 | 0
4 | 0.99086 | -0.052108 | 0 | 0
5 | 0.99164 | -0.059136 | 0.068298 | 0.033078
6 | 0.99315 | -0.051465 | 0 | 0
7 | 0.99462 | -0.041377 | 0.28122 | 0.1362
8 | 0.99448 | -0.042654 | 0 | 0
9 | 0.99447 | -0.042566 | 0.263 | 0.12738
10 | 0.99465 | -0.041581 | 0 | 0
11 | 0.99683 | -0.060924 | 0.22765 | 0.11026
12 | 0.99685 | -0.061066 | 0 | 0
13 | 0.99693 | -0.061781 | 0 | 0
14 | 0.99078 | -0.051419 | 0 | 0
15 | 0.99077 | -0.051287 | 0 | 0
16 | 0.99082 | -0.051706 | 0.2891 | 0.14002
17 | 0.99693 | -0.061748 | 0.079028 | 0.038275
18 | 0.99697 | -0.062055 | 0 | 0
19 | 0.99664 | -0.059157 | 0.36852 | 0.17848
20 | 0.99664 | -0.059176 | 0 | 0
21 | 0.9971 | -0.06323 | 0.31549 | 0.1528
22 | 0.99464 | -0.041543 | 0.092456 | 0.044778
23 | 0.99862 | -0.076421 | 0.25032 | 0.12123
24 | 0.99863 | -0.076331 | 0 | 0
25 | 0.9968 | -0.066868 | 0.28324 | 0.13718
26 | 0.99683 | -0.066656 | 0 | 0
27 | 0.99725 | -0.06449 | 0.083233 | 0.040311
28 | 0.99725 | -0.064548 | 0 | 0
29 | 0.99811 | -0.080575 | 0.25501 | 0.12351
30 | 0.99811 | -0.080609 | 0 | 0
31 | 0.99225 | -0.095797 | 0.33689 | 0.16316
32 | 0.9923 | -0.095495 | 0 | 0
33 | 0.99038 | -0.10268 | 0.37998 | 0.18403
34 | 0.99008 | -0.10458 | 0.35848 | 0.17362
35 | 0.99104 | -0.098533 | 0 | 0
36 | 0.99108 | -0.098929 | 0.22232 | 0.10767
37 | 0.9947 | -0.075622 | 0 | 0
38 | 0.99246 | -0.096862 | 0.13525 | 0.065506
39 | 0.99246 | -0.096867 | 0 | 0
40 | 0.99502 | -0.07858 | 0.12282 | 0.059482
41 | 0.99495 | -0.077943 | 0 | 0
42 | 0.99726 | -0.063969 | 0.12086 | 0.058537
43 | 0.99727 | -0.064635 | 0 | 0
44 | 0.99374 | -0.10724 | 0.30987 | 0.15008
45 | 0.99375 | -0.10735 | 0 | 0
46 | 0.99469 | -0.075697 | 0.38256 | 0.18528
47 | 0.99227 | -0.098135 | 0.077116 | 0.037349
48 | 0.99251 | -0.097298 | 0.34813 | 0.16861
49 | 0.99251 | -0.097345 | 0 | 0
50 | 0.99245 | -0.097706 | 0.090845 | 0.043998
51 | 0.99243 | -0.097559 | 0 | 0
52 | 0.99407 | -0.10983 | 0 | 0
53 | 0.99242 | -0.097459 | 0.16266 | 0.078779
54 | 0.99417 | -0.11063 | 0.41255 | 0.19981
55 | 0.99406 | -0.10975 | 0.40186 | 0.19463
56 | 0.99805 | -0.080258 | 0 | 0
57 | 0.99805 | -0.080249 | 0.088602 | 0.042912
58 | 1 | 0 | -8.5827 | -3.9993
59 | 0.99997 | -0.00011849 | 0.23155 | 0.11215
60 | 0.99085 | -0.052001 | 0.1022 | 0.049499
61 | 0.99085 | -0.052033 | 0 | 0
62 | 0.99082 | -0.051752 | 0 | 0
63 | 0.9908 | -0.051589 | 0.28979 | 0.14035
64 | 0.99073 | -0.050946 | 0.75548 | 0.36589
65 | 0.99739 | -0.065178 | 0 | 0
66 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 1.5064 | 0.70896 | -1.5063 | -0.70982 | 0.00011998 | -0.00086277 | 0.048461 | 0.048472 | 0.048472 | 0.99174 | -0.060062 | 0.99167 | -0.059411 | 22.0329
1 | -1.6723 | -0.78932 | 1.6745 | 0.79017 | 0.0021302 | 0.00084906 | 0.053828 | 0.053821 | 0.053828 | 0.99174 | -0.060062 | 0.99308 | -0.050851 | 25.6322
2 | 1.5063 | 0.70982 | -1.5062 | -0.71015 | 4.574e-05 | -0.00032878 | 0.048472 | 0.048477 | 0.048477 | 0.99167 | -0.059411 | 0.99164 | -0.059162 | 22.0348
3 | -1.8428 | -0.87172 | 1.843 | 0.87107 | 0.00013715 | -0.00064834 | 0.059259 | 0.059251 | 0.059259 | 0.99308 | -0.050851 | 0.99315 | -0.051465 | 26.9361
4 | 1.4379 | 0.67783 | -1.4367 | -0.68743 | 0.0012164 | -0.0095935 | 0.046277 | 0.046401 | 0.046401 | 0.99164 | -0.059162 | 0.99086 | -0.052108 | 21.0915
5 | 0.068298 | 0.032317 | -0.068298 | -0.033078 | 2.1018e-07 | -0.00076066 | 0.0021996 | 0.0022091 | 0.0022091 | 0.99164 | -0.059162 | 0.99164 | -0.059136 | 1.0041
6 | 0.28981 | 0.1368 | -0.2898 | -0.13926 | 1.2276e-05 | -0.0024609 | 0.0093367 | 0.0093675 | 0.0093675 | 0.99086 | -0.052108 | 0.99082 | -0.051752 | 4.258
7 | 1.0447 | 0.50325 | -1.0446 | -0.50398 | 4.8655e-05 | -0.0007339 | 0.033783 | 0.033793 | 0.033793 | 0.99086 | -0.052108 | 0.99082 | -0.051706 | 15.3603
8 | 0.1022 | 0.047379 | -0.1022 | -0.048901 | 9.3907e-07 | -0.0015218 | 0.003282 | 0.0033009 | 0.0033009 | 0.99086 | -0.052108 | 0.99085 | -0.052033 | 1.5004
9 | -1.843 | -0.87107 | 1.8455 | 0.8722 | 0.0025837 | 0.0011312 | 0.059251 | 0.059245 | 0.059251 | 0.99315 | -0.051465 | 0.99462 | -0.041377 | 28.2147
10 | -2.1268 | -1.0084 | 2.1268 | 1.0082 | 5.2181e-05 | -0.00018237 | 0.068313 | 0.068311 | 0.068313 | 0.99462 | -0.041377 | 0.99465 | -0.041581 | 31.0515
11 | 0.263 | 0.12672 | -0.263 | -0.12738 | 2.6789e-06 | -0.00065836 | 0.0084744 | 0.0084827 | 0.0084827 | 0.99448 | -0.042654 | 0.99447 | -0.042566 | 3.8558
12 | -0.263 | -0.12672 | 0.26305 | 0.12636 | 4.1764e-05 | -0.0003595 | 0.0084744 | 0.0084695 | 0.0084744 | 0.99448 | -0.042654 | 0.99465 | -0.041581 | 4.0354
13 | 0.092456 | 0.043951 | -0.092456 | -0.044778 | 4.1428e-07 | -0.00082737 | 0.0029711 | 0.0029815 | 0.0029815 | 0.99465 | -0.041581 | 0.99464 | -0.041543 | 1.3552
14 | -2.4823 | -1.1785 | 2.4876 | 1.1652 | 0.0053318 | -0.013315 | 0.079751 | 0.079567 | 0.079751 | 0.99465 | -0.041581 | 0.99664 | -0.059176 | 36.2507
15 | -0.22765 | -0.11026 | 0.22766 | 0.10901 | 3.746e-06 | -0.0012422 | 0.0073251 | 0.0073095 | 0.0073251 | 0.99683 | -0.060924 | 0.99685 | -0.061066 | 3.3296
16 | -0.22766 | -0.10901 | 0.22768 | 0.10206 | 2.0688e-05 | -0.0069574 | 0.0073095 | 0.0072247 | 0.0073095 | 0.99685 | -0.061066 | 0.99693 | -0.061781 | 3.3225
17 | 0.079028 | 0.03743 | -0.079028 | -0.038275 | 3.0609e-07 | -0.00084502 | 0.0025321 | 0.0025426 | 0.0025426 | 0.99693 | -0.061781 | 0.99693 | -0.061748 | 1.1557
18 | -0.3067 | -0.13949 | 0.30672 | 0.13735 | 1.1429e-05 | -0.0021366 | 0.0097564 | 0.0097309 | 0.0097564 | 0.99693 | -0.061781 | 0.99697 | -0.062055 | 4.4347
19 | 0.75552 | 0.3647 | -0.75551 | -0.36503 | 1.1449e-05 | -0.00033296 | 0.024443 | 0.024447 | 0.024447 | 0.99078 | -0.051419 | 0.99077 | -0.051287 | 11.1125
20 | -0.75552 | -0.3647 | 0.75554 | 0.36397 | 2.5186e-05 | -0.00073293 | 0.024443 | 0.024434 | 0.024443 | 0.99078 | -0.051419 | 0.99082 | -0.051706 | 11.1106
21 | 0.75551 | 0.36503 | -0.75548 | -0.36589 | 2.9692e-05 | -0.00086294 | 0.024447 | 0.024459 | 0.024459 | 0.99077 | -0.051287 | 0.99073 | -0.050946 | 11.1175
22 | -3.1639 | -1.4791 | 3.1644 | 1.4784 | 0.0004628 | -0.00066735 | 0.10113 | 0.10112 | 0.10113 | 0.99697 | -0.062055 | 0.9971 | -0.06323 | 45.9674
23 | 2.8572 | 1.3417 | -2.8562 | -1.3436 | 0.0010108 | -0.0018499 | 0.091399 | 0.091425 | 0.091425 | 0.99697 | -0.062055 | 0.99664 | -0.059176 | 41.5569
24 | -0.36852 | -0.17848 | 0.36852 | 0.17838 | 8.1959e-07 | -0.00010328 | 0.01186 | 0.011859 | 0.01186 | 0.99664 | -0.059157 | 0.99664 | -0.059176 | 5.391
25 | -3.4799 | -1.6312 | 3.4805 | 1.6305 | 0.00060508 | -0.0006898 | 0.11127 | 0.11126 | 0.11127 | 0.9971 | -0.06323 | 0.99727 | -0.064635 | 50.5756
26 | -0.25032 | -0.12123 | 0.25032 | 0.1212 | 3.3909e-06 | -3.2929e-05 | 0.00804 | 0.0080396 | 0.00804 | 0.99862 | -0.076421 | 0.99863 | -0.076331 | 3.8286
27 | 3.5689 | 1.6613 | -3.5637 | -1.6669 | 0.0052153 | -0.0056208 | 0.1138 | 0.11388 | 0.11388 | 0.99863 | -0.076331 | 0.99727 | -0.064635 | 51.7656
28 | -8.3308 | -3.8611 | 8.3369 | 3.8771 | 0.0060566 | 0.015954 | 0.26543 | 0.26542 | 0.26543 | 0.99863 | -0.076331 | 0.99997 | -0.00011849 | 41.1517
29 | 0.34379 | 0.1519 | -0.34362 | -0.15274 | 0.00016627 | -0.00083561 | 0.010865 | 0.010876 | 0.010876 | 0.99863 | -0.076331 | 0.99811 | -0.080575 | 5.1789
30 | 2.2871 | 1.0398 | -2.2775 | -1.035 | 0.0095943 | 0.0047998 | 0.072627 | 0.072641 | 0.072641 | 0.99863 | -0.076331 | 0.99417 | -0.11063 | 34.5911
31 | 1.8807 | 0.8869 | -1.8782 | -0.89852 | 0.002514 | -0.011618 | 0.060107 | 0.060261 | 0.060261 | 0.99863 | -0.076331 | 0.99739 | -0.065178 | 27.3912
32 | -0.28324 | -0.13718 | 0.28325 | 0.13711 | 9.0839e-06 | -6.7123e-05 | 0.0091142 | 0.0091133 | 0.0091142 | 0.9968 | -0.066868 | 0.99683 | -0.066656 | 4.3401
33 | -0.28325 | -0.13711 | 0.28336 | 0.13627 | 0.00011385 | -0.00084295 | 0.0091133 | 0.0091017 | 0.0091133 | 0.99683 | -0.066656 | 0.99726 | -0.063969 | 4.3396
34 | -0.083233 | -0.040311 | 0.083233 | 0.038858 | 5.8179e-07 | -0.0014536 | 0.0026771 | 0.002659 | 0.0026771 | 0.99725 | -0.06449 | 0.99725 | -0.064548 | 1.2168
35 | -0.083233 | -0.038858 | 0.083234 | 0.036389 | 9.7043e-07 | -0.0024687 | 0.002659 | 0.0026295 | 0.002659 | 0.99725 | -0.064548 | 0.99727 | -0.064635 | 1.2086
36 | 0.088609 | 0.02923 | -0.088608 | -0.029248 | 1.9622e-07 | -1.7862e-05 | 0.0026986 | 0.0026987 | 0.0026987 | 0.99811 | -0.080575 | 0.99811 | -0.080609 | 1.2851
37 | 0.088608 | 0.029248 | -0.088603 | -0.04271 | 5.7814e-06 | -0.013462 | 0.0026987 | 0.0028449 | 0.0028449 | 0.99811 | -0.080609 | 0.99805 | -0.080258 | 1.2932
38 | -0.33689 | -0.16316 | 0.3369 | 0.16309 | 1.5433e-05 | -7.6195e-05 | 0.01089 | 0.010889 | 0.01089 | 0.99225 | -0.095797 | 0.9923 | -0.095495 | 5.1858
39 | -0.3369 | -0.16309 | 0.33698 | 0.15138 | 7.7903e-05 | -0.011707 | 0.010889 | 0.010745 | 0.010889 | 0.9923 | -0.095495 | 0.99251 | -0.097345 | 4.9496
40 | 0.35859 | 0.17319 | -0.35848 | -0.17362 | 0.00010272 | -0.00043629 | 0.011607 | 0.011614 | 0.011614 | 0.99038 | -0.10268 | 0.99008 | -0.10458 | 5.5303
41 | -0.73857 | -0.35722 | 0.73903 | 0.35698 | 0.00046138 | -0.00024176 | 0.023913 | 0.023907 | 0.023913 | 0.99038 | -0.10268 | 0.99104 | -0.098533 | 11.3873
42 | -0.73903 | -0.35698 | 0.73906 | 0.35594 | 3.3879e-05 | -0.0010318 | 0.023907 | 0.023893 | 0.023907 | 0.99104 | -0.098533 | 0.99108 | -0.098929 | 10.8667
43 | -0.96138 | -0.46362 | 0.9647 | 0.46342 | 0.0033264 | -0.00019197 | 0.031088 | 0.03106 | 0.031088 | 0.99108 | -0.098929 | 0.9947 | -0.075622 | 14.804
44 | -1.3473 | -0.64869 | 1.3476 | 0.64536 | 0.00036604 | -0.0033353 | 0.043396 | 0.043352 | 0.043396 | 0.9947 | -0.075622 | 0.99495 | -0.077943 | 19.7253
45 | 0.38257 | 0.18527 | -0.38256 | -0.18528 | 4.3654e-06 | -1.6283e-05 | 0.012336 | 0.012336 | 0.012336 | 0.9947 | -0.075622 | 0.99469 | -0.075697 | 5.8744
46 | -0.13525 | -0.065506 | 0.13525 | 0.065439 | 7.2309e-08 | -6.672e-05 | 0.0043712 | 0.0043704 | 0.0043712 | 0.99246 | -0.096862 | 0.99246 | -0.096867 | 1.9869
47 | 0.07713 | 0.035882 | -0.077116 | -0.037349 | 1.3794e-05 | -0.001467 | 0.0024744 | 0.0024928 | 0.0024928 | 0.99246 | -0.096867 | 0.99227 | -0.098135 | 1.187
48 | -0.21238 | -0.10132 | 0.2124 | 0.096491 | 1.2742e-05 | -0.0048298 | 0.0068445 | 0.0067852 | 0.0068445 | 0.99246 | -0.096867 | 0.99251 | -0.097345 | 3.1112
49 | 1.3477 | 0.64443 | -1.3476 | -0.64536 | 0.00010125 | -0.00092408 | 0.04334 | 0.043352 | 0.043352 | 0.99502 | -0.07858 | 0.99495 | -0.077943 | 19.7056
50 | -1.4706 | -0.70391 | 1.4737 | 0.70494 | 0.0031205 | 0.001027 | 0.047299 | 0.047288 | 0.047299 | 0.99502 | -0.07858 | 0.99726 | -0.063969 | 22.5235
51 | -1.8779 | -0.89975 | 1.8782 | 0.89852 | 0.00026735 | -0.00123 | 0.060277 | 0.060261 | 0.060277 | 0.99726 | -0.063969 | 0.99739 | -0.065178 | 27.3986
52 | -0.30987 | -0.15008 | 0.30987 | 0.1494 | 3.8367e-06 | -0.00067686 | 0.010002 | 0.009993 | 0.010002 | 0.99374 | -0.10724 | 0.99375 | -0.10735 | 4.5462
53 | -0.30987 | -0.1494 | 0.30998 | 0.13055 | 0.00010426 | -0.018851 | 0.009993 | 0.0097674 | 0.009993 | 0.99375 | -0.10735 | 0.99407 | -0.10983 | 4.5423
54 | -0.60165 | -0.28816 | 0.60165 | 0.288 | 3.276e-06 | -0.00015235 | 0.019403 | 0.019401 | 0.019403 | 0.99251 | -0.097298 | 0.99251 | -0.097345 | 8.8195
55 | 0.25352 | 0.11955 | -0.25351 | -0.11968 | 1.4257e-05 | -0.00013261 | 0.0081525 | 0.0081543 | 0.0081543 | 0.99251 | -0.097298 | 0.99245 | -0.097706 | 3.883
56 | -1.151 | -0.53587 | 1.1529 | 0.51143 | 0.0019174 | -0.024446 | 0.036928 | 0.036628 | 0.036928 | 0.99251 | -0.097345 | 0.99407 | -0.10983 | 16.7857
57 | 0.16266 | 0.075684 | -0.16266 | -0.077561 | 2.9164e-06 | -0.0018773 | 0.0052185 | 0.0052418 | 0.0052418 | 0.99245 | -0.097706 | 0.99243 | -0.097559 | 2.3826
58 | 0.16266 | 0.077561 | -0.16266 | -0.078779 | 1.9059e-06 | -0.0012178 | 0.0052418 | 0.0052571 | 0.0052571 | 0.99243 | -0.097559 | 0.99242 | -0.097459 | 2.3896
59 | -1.8648 | -0.8362 | 1.865 | 0.83523 | 0.00020658 | -0.00097556 | 0.059348 | 0.059336 | 0.059348 | 0.99407 | -0.10983 | 0.99417 | -0.11063 | 26.9765
60 | 0.40186 | 0.19423 | -0.40186 | -0.19463 | 3.804e-06 | -0.00039887 | 0.012962 | 0.012967 | 0.012967 | 0.99407 | -0.10983 | 0.99406 | -0.10975 | 5.8939
61 | 0.088603 | 0.04271 | -0.088602 | -0.042912 | 9.2061e-08 | -0.00020244 | 0.0028449 | 0.0028475 | 0.0028475 | 0.99805 | -0.080258 | 0.99805 | -0.080249 | 1.2943
62 | 8.5687 | 3.9888 | -8.5684 | -3.9892 | 0.00022098 | -0.00047912 | 0.27284 | 0.27285 | 0.27285 | 1 | 0 | 0.99997 | -0.00011849 | 42.7666
63 | -0.1022 | -0.049499 | 0.1022 | 0.048901 | 3.7209e-07 | -0.00059815 | 0.0033084 | 0.0033009 | 0.0033084 | 0.99085 | -0.052001 | 0.99085 | -0.052033 | 1.5038
64 | 0.2898 | 0.13926 | -0.28979 | -0.14035 | 5.4779e-06 | -0.0010928 | 0.0093675 | 0.0093814 | 0.0093814 | 0.99082 | -0.051752 | 0.9908 | -0.051589 | 4.2643

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.5827 | 3.9993

## res_load
| p_mw | q_mvar
0 | 0.16593 | 0.080365
1 | 0.16837 | 0.081546
2 | 0.068298 | 0.033078
3 | 0.28122 | 0.1362
4 | 0.263 | 0.12738
5 | 0.22765 | 0.11026
6 | 0.2891 | 0.14002
7 | 0.079028 | 0.038275
8 | 0.36852 | 0.17848
9 | 0.31549 | 0.1528
10 | 0.092456 | 0.044778
11 | 0.25032 | 0.12123
12 | 0.28324 | 0.13718
13 | 0.083233 | 0.040311
14 | 0.25501 | 0.12351
15 | 0.33689 | 0.16316
16 | 0.37998 | 0.18403
17 | 0.35848 | 0.17362
18 | 0.22232 | 0.10767
19 | 0.13525 | 0.065506
20 | 0.12282 | 0.059482
21 | 0.12086 | 0.058537
22 | 0.30987 | 0.15008
23 | 0.38256 | 0.18528
24 | 0.077116 | 0.037349
25 | 0.34813 | 0.16861
26 | 0.090845 | 0.043998
27 | 0.16266 | 0.078779
28 | 0.41255 | 0.19981
29 | 0.40186 | 0.19463
30 | 0.088602 | 0.042912
31 | 0.23155 | 0.11215
32 | 0.1022 | 0.049499
33 | 0.28979 | 0.14035
34 | 0.75548 | 0.36589

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1