## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_424_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_424_0_node_158 | 20 | n |  | TRUE
2 | bus_MV_424_0_node_186 | 20 | n |  | TRUE
3 | bus_MV_424_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_424_0_node_23 | 20 | n |  | TRUE
5 | bus_MV_424_0_node_188 | 20 | n |  | TRUE
6 | bus_MV_424_0_node_26 | 20 | n |  | TRUE
7 | bus_MV_424_0_node_22 | 20 | n |  | TRUE
8 | bus_MV_424_0_node_187 | 20 | n |  | TRUE
9 | bus_MV_424_0_node_3 | 20 | n |  | TRUE
10 | bus_MV_424_0_node_4 | 20 | n |  | TRUE
11 | bus_MV_424_0_node_5 | 20 | n |  | TRUE
12 | bus_MV_424_0_node_6 | 20 | n |  | TRUE
13 | bus_MV_424_0_node_8 | 20 | n |  | TRUE
14 | bus_MV_424_0_node_9 | 20 | n |  | TRUE
15 | bus_MV_424_0_node_162 | 20 | n |  | TRUE
16 | bus_MV_424_0_node_161 | 20 | n |  | TRUE
17 | bus_MV_424_0_node_10 | 20 | n |  | TRUE
18 | bus_MV_424_0_node_38 | 20 | n |  | TRUE
19 | bus_MV_424_0_node_39 | 20 | n |  | TRUE
20 | bus_MV_424_0_node_14 | 20 | n |  | TRUE
21 | bus_MV_424_0_node_18 | 20 | n |  | TRUE
22 | bus_MV_424_0_node_130 | 20 | n |  | TRUE
23 | bus_MV_424_0_node_46 | 20 | n |  | TRUE
24 | bus_MV_424_0_node_11 | 20 | n |  | TRUE
25 | bus_MV_424_0_node_12 | 20 | n |  | TRUE
26 | bus_MV_424_0_node_13 | 20 | n |  | TRUE
27 | bus_MV_424_0_node_122 | 20 | n |  | TRUE
28 | bus_MV_424_0_node_196 | 20 | n |  | TRUE
29 | bus_MV_424_0_node_123 | 20 | n |  | TRUE
30 | bus_MV_424_0_node_124 | 20 | n |  | TRUE
31 | bus_MV_424_0_node_15 | 20 | n |  | TRUE
32 | bus_MV_424_0_node_16 | 20 | n |  | TRUE
33 | bus_MV_424_0_node_28 | 20 | n |  | TRUE
34 | bus_MV_424_0_node_34 | 20 | n |  | TRUE
35 | bus_MV_424_0_node_21 | 20 | n |  | TRUE
36 | bus_MV_424_0_node_30 | 20 | n |  | TRUE
37 | bus_MV_424_0_node_27 | 20 | n |  | TRUE
38 | bus_MV_424_0_node_29 | 20 | n |  | TRUE
39 | bus_MV_424_0_node_25 | 20 | n |  | TRUE
40 | bus_MV_424_0_node_160 | 20 | n |  | TRUE
41 | bus_MV_424_0_node_40 | 20 | n |  | TRUE
42 | bus_MV_424_0_node_24 | 20 | n |  | TRUE
43 | bus_MV_424_0_node_33 | 20 | n |  | TRUE
44 | bus_MV_424_0_node_31 | 20 | n |  | TRUE
45 | bus_MV_424_0_node_163 | 20 | n |  | TRUE
46 | bus_MV_424_0_node_47 | 20 | n |  | TRUE
47 | bus_MV_424_0_node_32 | 20 | n |  | TRUE
48 | bus_MV_424_0_node_42 | 20 | n |  | TRUE
49 | bus_MV_424_0_node_35 | 20 | n |  | TRUE
50 | bus_MV_424_0_node_51 | 20 | n |  | TRUE
51 | bus_MV_424_0_node_52 | 20 | n |  | TRUE
52 | bus_MV_424_0_node_72 | 20 | n |  | TRUE
53 | bus_MV_424_0_node_71 | 20 | n |  | TRUE
54 | bus_MV_424_0_node_154 | 20 | n |  | TRUE
55 | bus_MV_424_0_node_192 | 20 | n |  | TRUE
56 | bus_MV_424_0_node_69 | 20 | n |  | TRUE
57 | bus_MV_424_0_node_134 | 20 | n |  | TRUE
58 | bus_MV_424_0_node_63 | 20 | n |  | TRUE
59 | bus_MV_424_0_node_155 | 20 | n |  | TRUE
60 | bus_MV_424_0_node_156 | 20 | n |  | TRUE
61 | bus_MV_424_0_node_190 | 20 | n |  | TRUE
62 | bus_MV_424_0_node_153 | 20 | n |  | TRUE
63 | bus_MV_424_0_node_61 | 20 | n |  | TRUE
64 | bus_MV_424_0_node_62 | 20 | n |  | TRUE
65 | bus_MV_424_0_node_64 | 20 | n |  | TRUE
66 | bus_MV_424_0_node_67 | 20 | n |  | TRUE
67 | bus_MV_424_0_node_164 | 20 | n |  | TRUE
68 | bus_MV_424_0_node_65 | 20 | n |  | TRUE
69 | bus_MV_424_0_node_66 | 20 | n |  | TRUE
70 | bus_MV_424_0_node_68 | 20 | n |  | TRUE
71 | bus_MV_424_0_node_73 | 20 | n |  | TRUE
72 | bus_MV_424_0_node_75 | 20 | n |  | TRUE
73 | bus_MV_424_0_node_132 | 20 | n |  | TRUE
74 | bus_MV_424_0_node_133 | 20 | n |  | TRUE
75 | bus_MV_424_0_node_135 | 20 | n |  | TRUE
76 | bus_MV_424_0_node_139 | 20 | n |  | TRUE
77 | bus_MV_424_0_node_152 | 20 | n |  | TRUE
78 | bus_MV_424_0_node_157 | 20 | n |  | TRUE
79 | bus_MV_424_0_node_136 | 20 | n |  | TRUE
80 | bus_MV_424_0_node_137 | 20 | n |  | TRUE
81 | bus_MV_424_0_node_142 | 20 | n |  | TRUE
82 | bus_MV_424_0_node_138 | 20 | n |  | TRUE
83 | bus_MV_424_0_node_143 | 20 | n |  | TRUE
84 | bus_MV_424_0_node_195 | 20 | n |  | TRUE
85 | bus_MV_424_0_node_140 | 20 | n |  | TRUE
86 | bus_MV_424_0_node_141 | 20 | n |  | TRUE
87 | bus_MV_424_0_node_150 | 20 | n |  | TRUE
88 | bus_MV_424_0_node_149 | 20 | n |  | TRUE
89 | bus_MV_424_0_node_189 | 20 | n |  | TRUE
90 | bus_MV_424_0_node_191 | 20 | n |  | TRUE
91 | bus_MV_424_0_node_144 | 20 | n |  | TRUE
92 | bus_MV_424_0_node_151 | 20 | n |  | TRUE
93 | bus_MV_424_0_node_145 | 20 | n |  | TRUE
94 | bus_MV_424_0_node_146 | 20 | n |  | TRUE
95 | bus_MV_424_0_node_147 | 20 | n |  | TRUE
96 | bus_MV_424_0_node_148 | 20 | n |  | TRUE
97 | bus_HV_424_0_node_32 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_424_0_load_0 | 0 | 0.12748 | 0.061739 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_424_0_load_158 | 1 | 0.11192 | 0.054206 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_424_0_load_186 | 2 | 0.18554 | 0.089862 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_424_0_load_188 | 5 | 0.16289 | 0.078892 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_424_0_load_22 | 7 | 0.37951 | 0.1838 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_424_0_load_3 | 9 | 0.23704 | 0.1148 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_424_0_load_9 | 14 | 0.13225 | 0.064051 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_424_0_load_162 | 15 | 0.13997 | 0.06779 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_424_0_load_161 | 16 | 0.28961 | 0.14027 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_424_0_load_38 | 18 | 0.16684 | 0.080806 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_424_0_load_39 | 19 | 0.18138 | 0.087845 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_424_0_load_14 | 20 | 0.35658 | 0.1727 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_424_0_load_130 | 22 | 0.22016 | 0.10663 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_424_0_load_122 | 27 | 0.34544 | 0.16731 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_424_0_load_196 | 28 | 0.37385 | 0.18106 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_424_0_load_123 | 29 | 0.17938 | 0.086879 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_424_0_load_124 | 30 | 0.24361 | 0.11799 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_424_0_load_28 | 33 | 0.4131 | 0.20008 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_424_0_load_34 | 34 | 0.15638 | 0.075737 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_424_0_load_30 | 36 | 0.31883 | 0.15442 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_424_0_load_29 | 38 | 0.39418 | 0.19091 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_424_0_load_160 | 40 | 0.19213 | 0.093051 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_424_0_load_40 | 41 | 0.12653 | 0.06128 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_424_0_load_31 | 44 | 0.31883 | 0.15442 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_424_0_load_163 | 45 | 0.07093 | 0.034353 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_424_0_load_47 | 46 | 0.2777 | 0.13449 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_424_0_load_35 | 49 | 0.1416 | 0.068579 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_424_0_load_72 | 52 | 0.14971 | 0.072507 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_424_0_load_71 | 53 | 0.30084 | 0.1457 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_424_0_load_192 | 55 | 0.297 | 0.14384 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_424_0_load_190 | 61 | 0.13296 | 0.064398 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_424_0_load_61 | 63 | 0.19232 | 0.093145 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_424_0_load_164 | 67 | 0.11387 | 0.055152 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_424_0_load_65 | 68 | 0.22637 | 0.10963 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_424_0_load_73 | 71 | 0.17623 | 0.08535 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_424_0_load_75 | 72 | 0.2176 | 0.10539 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_424_0_load_132 | 73 | 0.34906 | 0.16906 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_424_0_load_152 | 77 | 0.21434 | 0.10381 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_424_0_load_157 | 78 | 0.40644 | 0.19685 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_424_0_load_142 | 81 | 0.20774 | 0.10062 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_424_0_load_143 | 83 | 0.17368 | 0.084118 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_424_0_load_195 | 84 | 0.31974 | 0.15486 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_424_0_load_141 | 86 | 0.36732 | 0.1779 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_424_0_load_149 | 88 | 0.31404 | 0.1521 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_424_0_load_189 | 89 | 0.59486 | 0.28811 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_424_0_load_191 | 90 | 0.21715 | 0.10517 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_424_0_load_151 | 92 | 0.19355 | 0.093742 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_424_0_load_147 | 95 | 0.22337 | 0.10819 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_424_0_load_148 | 96 | 0.34863 | 0.16885 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_424_0_line_0 |  | 0 | 1 | 0.36472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_424_0_line_1 |  | 1 | 2 | 0.69627 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
2 | MV_424_0_line_2 |  | 2 | 8 | 0.10439 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
3 | MV_424_0_line_3 |  | 2 | 3 | 0.86578 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
4 | MV_424_0_line_4 |  | 3 | 4 | 1.2488 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
5 | MV_424_0_line_5 |  | 3 | 5 | 0.060971 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
6 | MV_424_0_line_6 |  | 4 | 6 | 0.78295 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
7 | MV_424_0_line_7 |  | 4 | 7 | 0.004569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_424_0_line_8 |  | 6 | 37 | 0.41868 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
9 | MV_424_0_line_9 |  | 6 | 45 | 0.017498 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_424_0_line_10 |  | 6 | 39 | 0.34154 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
11 | MV_424_0_line_11 |  | 8 | 96 | 0.80893 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
12 | MV_424_0_line_12 |  | 9 | 10 | 0.083486 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
13 | MV_424_0_line_13 |  | 9 | 11 | 0.097571 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
14 | MV_424_0_line_14 |  | 10 | 12 | 0.13269 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
15 | MV_424_0_line_15 |  | 11 | 13 | 0.1172 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
16 | MV_424_0_line_16 |  | 12 | 14 | 0.026396 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
17 | MV_424_0_line_17 |  | 13 | 15 | 0.037275 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
18 | MV_424_0_line_18 |  | 13 | 16 | 0.078975 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
19 | MV_424_0_line_19 |  | 14 | 17 | 0.027049 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
20 | MV_424_0_line_20 |  | 15 | 22 | 0.76061 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
21 | MV_424_0_line_21 |  | 16 | 23 | 0.033536 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
22 | MV_424_0_line_22 |  | 17 | 24 | 0.80484 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
23 | MV_424_0_line_23 |  | 18 | 19 | 0.23292 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_424_0_line_24 |  | 18 | 20 | 0.41069 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
25 | MV_424_0_line_25 |  | 18 | 21 | 0.070252 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
26 | MV_424_0_line_26 |  | 20 | 31 | 0.061676 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
27 | MV_424_0_line_27 |  | 21 | 35 | 0.18826 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
28 | MV_424_0_line_28 |  | 23 | 48 | 0.1637 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
29 | MV_424_0_line_29 |  | 24 | 25 | 0.5108 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
30 | MV_424_0_line_30 |  | 24 | 26 | 0.38312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_424_0_line_31 |  | 24 | 27 | 0.022992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_424_0_line_32 |  | 25 | 28 | 0.084461 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
33 | MV_424_0_line_33 |  | 26 | 29 | 0.026065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_424_0_line_34 |  | 28 | 30 | 0.56004 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
35 | MV_424_0_line_35 |  | 31 | 32 | 0.41762 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
36 | MV_424_0_line_36 |  | 32 | 33 | 0.004927 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_424_0_line_37 |  | 32 | 34 | 0.22798 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
38 | MV_424_0_line_38 |  | 34 | 37 | 0.004713 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
39 | MV_424_0_line_39 |  | 35 | 36 | 0.095738 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
40 | MV_424_0_line_40 |  | 36 | 41 | 0.15525 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
41 | MV_424_0_line_41 |  | 37 | 42 | 0.23271 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
42 | MV_424_0_line_42 |  | 38 | 39 | 0.16724 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
43 | MV_424_0_line_43 |  | 39 | 40 | 0.063662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_424_0_line_44 |  | 41 | 48 | 0.047115 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
45 | MV_424_0_line_45 |  | 42 | 43 | 0.27152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_424_0_line_46 |  | 42 | 44 | 0.058545 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
47 | MV_424_0_line_47 |  | 43 | 46 | 0.019537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_424_0_line_48 |  | 44 | 47 | 0.017911 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
49 | MV_424_0_line_49 |  | 46 | 49 | 0.22356 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_424_0_line_50 |  | 50 | 51 | 0.41601 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
51 | MV_424_0_line_51 |  | 50 | 52 | 0.033522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_424_0_line_52 |  | 51 | 53 | 0.047559 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
53 | MV_424_0_line_53 |  | 53 | 58 | 0.009981 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
54 | MV_424_0_line_54 |  | 54 | 55 | 0.084098 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
55 | MV_424_0_line_55 |  | 54 | 56 | 0.7732 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
56 | MV_424_0_line_56 |  | 54 | 57 | 0.32029 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
57 | MV_424_0_line_57 |  | 56 | 72 | 0.029073 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
58 | MV_424_0_line_58 |  | 56 | 69 | 0.33166 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
59 | MV_424_0_line_59 |  | 56 | 70 | 0.43162 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
60 | MV_424_0_line_60 |  | 57 | 77 | 0.064706 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE
61 | MV_424_0_line_61 |  | 57 | 74 | 0.17759 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
62 | MV_424_0_line_62 |  | 58 | 65 | 0.22218 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
63 | MV_424_0_line_63 |  | 59 | 60 | 0.09893 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
64 | MV_424_0_line_64 |  | 59 | 61 | 0.053389 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
65 | MV_424_0_line_65 |  | 59 | 62 | 0.31104 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
66 | MV_424_0_line_66 |  | 60 | 89 | 0.041767 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
67 | MV_424_0_line_67 |  | 61 | 90 | 0.071381 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
68 | MV_424_0_line_68 |  | 62 | 77 | 0.092395 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
69 | MV_424_0_line_69 |  | 63 | 64 | 0.028164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_424_0_line_70 |  | 64 | 65 | 0.3611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_424_0_line_71 |  | 65 | 66 | 0.27174 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
72 | MV_424_0_line_72 |  | 65 | 67 | 0.059689 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
73 | MV_424_0_line_73 |  | 66 | 68 | 0.049698 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
74 | MV_424_0_line_74 |  | 68 | 69 | 0.047211 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_424_0_line_75 |  | 70 | 71 | 0.051342 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
76 | MV_424_0_line_76 |  | 73 | 74 | 0.027473 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_424_0_line_77 |  | 74 | 75 | 0.2666 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
78 | MV_424_0_line_78 |  | 74 | 76 | 0.16799 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
79 | MV_424_0_line_79 |  | 75 | 78 | 0.004148 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
80 | MV_424_0_line_80 |  | 76 | 85 | 0.77744 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
81 | MV_424_0_line_81 |  | 76 | 86 | 0.047089 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
82 | MV_424_0_line_82 |  | 76 | 79 | 0.36215 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
83 | MV_424_0_line_83 |  | 79 | 80 | 0.46455 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
84 | MV_424_0_line_84 |  | 79 | 81 | 0.010227 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
85 | MV_424_0_line_85 |  | 80 | 82 | 0.63868 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
86 | MV_424_0_line_86 |  | 80 | 83 | 0.042697 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
87 | MV_424_0_line_87 |  | 82 | 84 | 0.018838 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
88 | MV_424_0_line_88 |  | 83 | 91 | 0.025008 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
89 | MV_424_0_line_89 |  | 85 | 87 | 0.19906 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
90 | MV_424_0_line_90 |  | 85 | 88 | 0.1251 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
91 | MV_424_0_line_91 |  | 87 | 92 | 0.034377 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
92 | MV_424_0_line_92 |  | 91 | 93 | 0.38115 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
93 | MV_424_0_line_93 |  | 91 | 94 | 0.30758 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
94 | MV_424_0_line_94 |  | 93 | 95 | 0.037602 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
95 | MV_424_0_line_95 |  | 94 | 96 | 0.079942 | 0.1188 | 0.172 | 20.6 | 0 | 0.82 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_424_0_trafo_32 | 25 MVA 110/20 kV | 97 | 47 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2662123.884 | 1254636.1059
1 | 2662398.718 | 1254875.8652
2 | 2663051.1358 | 1254632.6603
3 | 2662571.3516 | 1253911.9759
4 | 2662846.1511 | 1253203.213
5 | 2662511.1227 | 1253921.0409
6 | 2663055.88 | 1252644.811
7 | 2662850.2492 | 1253205.258
8 | 2663145.9982 | 1254676.1398
9 | 2662719.2483 | 1251470.0752
10 | 2662656.4255 | 1251525.2609
11 | 2662702.8022 | 1251399.4292
12 | 2662630.4347 | 1251617.7293
13 | 2662792.1056 | 1251323.5432
14 | 2662612.7774 | 1251598.0622
15 | 2662820.253 | 1251299.1069
16 | 2662850.3117 | 1251376.9206
17 | 2662595.0683 | 1251577.5718
18 | 2662794.57 | 1251681.3328
19 | 2662672.3082 | 1251879.59
20 | 2662688.9535 | 1252078.2064
21 | 2662840.8417 | 1251734.1938
22 | 2663174.317 | 1250625.9345
23 | 2662875.0283 | 1251399.5868
24 | 2661918.3429 | 1251513.6196
25 | 2661862.5656 | 1251913.2411
26 | 2661735.1817 | 1251645.5022
27 | 2661907.7783 | 1251493.1838
28 | 2661860.9009 | 1251997.4831
29 | 2661716.8364 | 1251664.0687
30 | 2661942.9402 | 1252551.4867
31 | 2662705.0247 | 1252137.7519
32 | 2662953.4209 | 1252256.0019
33 | 2662951.4388 | 1252251.4887
34 | 2663063.5467 | 1252455.614
35 | 2662965.1963 | 1251780.1014
36 | 2663027.8552 | 1251707.7162
37 | 2663067.9585 | 1252457.3066
38 | 2662865.6289 | 1252445.1373
39 | 2662901.423 | 1252608.4995
40 | 2662845.9141 | 1252639.5325
41 | 2663020.0175 | 1251552.6678
42 | 2663204.7414 | 1252595.7507
43 | 2663323.0054 | 1252393.4362
44 | 2663231.6489 | 1252647.619
45 | 2663071.9789 | 1252651.6662
46 | 2663334.195 | 1252377.4
47 | 2663241.7233 | 1252662.4481
48 | 2662987.6481 | 1251518.344
49 | 2663546.774 | 1252446.5911
50 | 2665357.6813 | 1253181.4086
51 | 2665255.7866 | 1253003.8477
52 | 2665384.7801 | 1253201.0215
53 | 2665208.4762 | 1252998.1451
54 | 2664413.4552 | 1253985.8449
55 | 2664426.0013 | 1253902.6884
56 | 2665036.5407 | 1253528.0233
57 | 2664439.2956 | 1254295.0139
58 | 2665198.4735 | 1252998.5353
59 | 2664858.7702 | 1254386.6678
60 | 2664858.9168 | 1254436.6386
61 | 2664842.8413 | 1254436.4437
62 | 2664592.3536 | 1254262.4794
63 | 2665137.3554 | 1252846.5658
64 | 2665165.5246 | 1252848.6659
65 | 2665009.5288 | 1253029.0147
66 | 2665023.2688 | 1253198.8534
67 | 2664959.7436 | 1253054.277
68 | 2665013.2116 | 1253246.1769
69 | 2665060.5594 | 1253245.5627
70 | 2665195.6914 | 1253324.571
71 | 2665210.8623 | 1253275.514
72 | 2665056.0344 | 1253513.2044
73 | 2664353.6428 | 1254261.2811
74 | 2664326.4361 | 1254265.6332
75 | 2664214.67 | 1254187.5093
76 | 2664350.9594 | 1254431.8186
77 | 2664500.358 | 1254273.6074
78 | 2664210.5153 | 1254187.2975
79 | 2664268.7234 | 1254597.0444
80 | 2664280.1092 | 1254821.2733
81 | 2664258.5409 | 1254598.2793
82 | 2664445.0475 | 1255051.5083
83 | 2664237.3308 | 1254823.2552
84 | 2664453.2507 | 1255034.5409
85 | 2663957.3735 | 1254172.449
86 | 2664358.6246 | 1254478.2796
87 | 2663995.4886 | 1254046.0257
88 | 2663921.0149 | 1254292.1534
89 | 2664897.5789 | 1254452.4423
90 | 2664818.6227 | 1254503.5901
91 | 2664212.2927 | 1254824.7404
92 | 2663998.1258 | 1254012.1411
93 | 2664070.4091 | 1254974.3005
94 | 2663978.9832 | 1254762.8274
95 | 2664106.0968 | 1254962.4558
96 | 2663954.8597 | 1254686.6123
97 | 2663241.7233 | 1252662.4481

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99316 | -0.19063 | 0.12748 | 0.061739
1 | 0.99325 | -0.19005 | 0.11192 | 0.054206
2 | 0.99333 | -0.18727 | 0.18554 | 0.089862
3 | 0.99586 | -0.090962 | 0 | 0
4 | 0.99752 | -0.054602 | 0 | 0
5 | 0.99586 | -0.091001 | 0.16289 | 0.078892
6 | 0.99862 | -0.030207 | 0 | 0
7 | 0.99752 | -0.054581 | 0.37951 | 0.1838
8 | 0.99321 | -0.19004 | 0 | 0
9 | 0.99719 | -0.082438 | 0.23704 | 0.1148
10 | 0.99717 | -0.08294 | 0 | 0
11 | 0.99722 | -0.081758 | 0 | 0
12 | 0.99713 | -0.083727 | 0 | 0
13 | 0.99726 | -0.080932 | 0 | 0
14 | 0.99713 | -0.083883 | 0.13225 | 0.064051
15 | 0.99725 | -0.081009 | 0.13997 | 0.06779
16 | 0.99729 | -0.080261 | 0.28961 | 0.14027
17 | 0.99712 | -0.084028 | 0 | 0
18 | 0.99788 | -0.061739 | 0.16684 | 0.080806
19 | 0.9978 | -0.062255 | 0.18138 | 0.087845
20 | 0.99846 | -0.04041 | 0.35658 | 0.1727
21 | 0.99779 | -0.064986 | 0 | 0
22 | 0.99705 | -0.085893 | 0.22016 | 0.10663
23 | 0.9973 | -0.079938 | 0 | 0
24 | 0.99693 | -0.088121 | 0 | 0
25 | 0.99686 | -0.089427 | 0 | 0
26 | 0.99684 | -0.087421 | 0 | 0
27 | 0.99692 | -0.088026 | 0.34544 | 0.16731
28 | 0.99683 | -0.089725 | 0.37385 | 0.18106
29 | 0.99683 | -0.087365 | 0.17938 | 0.086879
30 | 0.99667 | -0.093703 | 0.24361 | 0.11799
31 | 0.99856 | -0.036847 | 0 | 0
32 | 0.99885 | -0.030828 | 0 | 0
33 | 0.99885 | -0.030804 | 0.4131 | 0.20008
34 | 0.99926 | -0.015997 | 0.15638 | 0.075737
35 | 0.99769 | -0.06716 | 0 | 0
36 | 0.99757 | -0.071563 | 0.31883 | 0.15442
37 | 0.99926 | -0.015919 | 0 | 0
38 | 0.99843 | -0.033301 | 0.39418 | 0.19091
39 | 0.99851 | -0.031389 | 0 | 0
40 | 0.99849 | -0.031246 | 0.19213 | 0.093051
41 | 0.9974 | -0.077888 | 0.12653 | 0.06128
42 | 0.99981 | -0.0040518 | 0 | 0
43 | 0.99967 | -0.0027578 | 0 | 0
44 | 0.99995 | -0.00096598 | 0.31883 | 0.15442
45 | 0.99862 | -0.030209 | 0.07093 | 0.034353
46 | 0.99966 | -0.0026603 | 0.2777 | 0.13449
47 | 1 | 0 | -12.0553 | -4.892
48 | 0.99738 | -0.078349 | 0 | 0
49 | 0.9996 | -0.0030456 | 0.1416 | 0.068579
50 | 0.98858 | -0.3403 | 0 | 0
51 | 0.9886 | -0.34014 | 0 | 0
52 | 0.98858 | -0.34024 | 0.14971 | 0.072507
53 | 0.9886 | -0.3401 | 0.30084 | 0.1457
54 | 0.98925 | -0.31682 | 0 | 0
55 | 0.98922 | -0.31756 | 0.297 | 0.14384
56 | 0.98875 | -0.33669 | 0 | 0
57 | 0.98936 | -0.31428 | 0 | 0
58 | 0.9886 | -0.34008 | 0 | 0
59 | 0.98924 | -0.31717 | 0 | 0
60 | 0.98923 | -0.31741 | 0 | 0
61 | 0.98924 | -0.31725 | 0.13296 | 0.064398
62 | 0.9893 | -0.31596 | 0 | 0
63 | 0.98853 | -0.33882 | 0.19232 | 0.093145
64 | 0.98854 | -0.33888 | 0 | 0
65 | 0.98863 | -0.33962 | 0 | 0
66 | 0.98867 | -0.33865 | 0 | 0
67 | 0.98862 | -0.33965 | 0.11387 | 0.055152
68 | 0.98868 | -0.33847 | 0.22637 | 0.10963
69 | 0.98869 | -0.33825 | 0 | 0
70 | 0.98874 | -0.33705 | 0 | 0
71 | 0.98873 | -0.3371 | 0.17623 | 0.08535
72 | 0.98875 | -0.33669 | 0.2176 | 0.10539
73 | 0.98946 | -0.31202 | 0.34906 | 0.16906
74 | 0.98947 | -0.31198 | 0 | 0
75 | 0.98944 | -0.31242 | 0 | 0
76 | 0.98959 | -0.30925 | 0 | 0
77 | 0.98932 | -0.31559 | 0.21434 | 0.10381
78 | 0.98944 | -0.31243 | 0.40644 | 0.19685
79 | 0.98994 | -0.30185 | 0 | 0
80 | 0.99039 | -0.29185 | 0 | 0
81 | 0.98994 | -0.30185 | 0.20774 | 0.10062
82 | 0.99035 | -0.29278 | 0 | 0
83 | 0.99044 | -0.29085 | 0.17368 | 0.084118
84 | 0.99035 | -0.29281 | 0.31974 | 0.15486
85 | 0.98951 | -0.3111 | 0 | 0
86 | 0.98957 | -0.30976 | 0.36732 | 0.1779
87 | 0.9895 | -0.31127 | 0 | 0
88 | 0.98946 | -0.31226 | 0.31404 | 0.1521
89 | 0.98922 | -0.3175 | 0.59486 | 0.28811
90 | 0.98922 | -0.31771 | 0.21715 | 0.10517
91 | 0.99047 | -0.29025 | 0 | 0
92 | 0.9895 | -0.3113 | 0.19355 | 0.093742
93 | 0.99045 | -0.29063 | 0 | 0
94 | 0.99081 | -0.28248 | 0 | 0
95 | 0.99044 | -0.29088 | 0.22337 | 0.10819
96 | 0.99102 | -0.27457 | 0.34863 | 0.16885
97 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12748 | -0.061739 | 0.12749 | 0.061317 | 1.0999e-05 | -0.00042261 | 0.004117 | 0.0041115 | 0.004117 | 0.99316 | -0.19063 | 0.99325 | -0.19005 | 1.9605
1 | -0.23941 | -0.11552 | 0.23942 | 0.11377 | 1.4769e-05 | -0.0017569 | 0.0077258 | 0.0077035 | 0.0077258 | 0.99325 | -0.19005 | 0.99333 | -0.18727 | 0.94218
2 | 5.7543 | 2.2776 | -5.7537 | -2.2849 | 0.0006182 | -0.0073011 | 0.17985 | 0.17993 | 0.17993 | 0.99333 | -0.18727 | 0.99321 | -0.19004 | 21.37
3 | -6.1793 | -2.4812 | 6.1908 | 2.4957 | 0.011554 | 0.01451 | 0.19351 | 0.19349 | 0.19351 | 0.99333 | -0.18727 | 0.99586 | -0.090962 | 23.5993
4 | -6.3537 | -2.57 | 6.3627 | 2.4835 | 0.0089742 | -0.086545 | 0.19867 | 0.19766 | 0.19867 | 0.99586 | -0.090962 | 0.99752 | -0.054602 | 23.5956
5 | 0.16289 | 0.074272 | -0.16289 | -0.078892 | 3.0374e-07 | -0.0046196 | 0.0051895 | 0.0052464 | 0.0052464 | 0.99586 | -0.090962 | 0.99586 | -0.091001 | 0.62309
6 | -6.7422 | -2.6672 | 6.7485 | 2.6134 | 0.0062893 | -0.053816 | 0.20983 | 0.2092 | 0.20983 | 0.99752 | -0.054602 | 0.99862 | -0.030207 | 24.92
7 | 0.37951 | 0.1837 | -0.37951 | -0.1838 | 9.0819e-07 | -0.00010828 | 0.012202 | 0.012203 | 0.012203 | 0.99752 | -0.054602 | 0.99752 | -0.054581 | 5.5468
8 | -7.4058 | -2.9172 | 7.4099 | 2.889 | 0.0040505 | -0.028202 | 0.23009 | 0.22976 | 0.23009 | 0.99862 | -0.030207 | 0.99926 | -0.015919 | 27.3271
9 | 0.07093 | 0.033256 | -0.07093 | -0.034353 | 2.7904e-08 | -0.0010964 | 0.0022646 | 0.0022782 | 0.0022782 | 0.99862 | -0.030207 | 0.99862 | -0.030209 | 0.35709
10 | 0.58639 | 0.27062 | -0.58633 | -0.28226 | 5.7937e-05 | -0.011641 | 0.018669 | 0.018813 | 0.018813 | 0.99862 | -0.030207 | 0.99851 | -0.031389 | 5.197
11 | 5.7537 | 2.2849 | -5.7444 | -2.2735 | 0.0093354 | 0.011455 | 0.17993 | 0.17996 | 0.17996 | 0.99321 | -0.19004 | 0.99102 | -0.27457 | 21.946
12 | 1.2749 | 0.48339 | -1.2749 | -0.48971 | 2.3842e-05 | -0.0063208 | 0.039471 | 0.039537 | 0.039537 | 0.99719 | -0.082438 | 0.99717 | -0.08294 | 4.6956
13 | -1.512 | -0.5982 | 1.512 | 0.59082 | 3.9495e-05 | -0.0073769 | 0.04707 | 0.046992 | 0.04707 | 0.99719 | -0.082438 | 0.99722 | -0.081758 | 5.5903
14 | 1.2749 | 0.48971 | -1.2749 | -0.49976 | 3.8057e-05 | -0.010045 | 0.039537 | 0.039642 | 0.039642 | 0.99717 | -0.08294 | 0.99713 | -0.083727 | 4.7081
15 | -1.512 | -0.59082 | 1.512 | 0.58196 | 4.7266e-05 | -0.0088615 | 0.046992 | 0.046899 | 0.046992 | 0.99722 | -0.081758 | 0.99726 | -0.080932 | 5.581
16 | 1.2749 | 0.49976 | -1.2748 | -0.50176 | 7.5951e-06 | -0.0019982 | 0.039642 | 0.039663 | 0.039663 | 0.99713 | -0.083727 | 0.99713 | -0.083883 | 4.7106
17 | 0.36017 | 0.17224 | -0.36017 | -0.17351 | 2.4078e-06 | -0.00127 | 0.011557 | 0.011573 | 0.011573 | 0.99726 | -0.080932 | 0.99725 | -0.081009 | 3.1968
18 | -1.8722 | -0.7542 | 1.8723 | 0.74824 | 4.9281e-05 | -0.0059559 | 0.058427 | 0.058362 | 0.058427 | 0.99726 | -0.080932 | 0.99729 | -0.080261 | 6.939
19 | 1.1426 | 0.43771 | -1.1426 | -0.43975 | 6.2149e-06 | -0.0020491 | 0.035423 | 0.035444 | 0.035444 | 0.99713 | -0.083883 | 0.99712 | -0.084028 | 4.2095
20 | 0.2202 | 0.10572 | -0.22016 | -0.10663 | 3.4967e-05 | -0.00091037 | 0.0070707 | 0.0070826 | 0.0070826 | 0.99725 | -0.081009 | 0.99705 | -0.085893 | 2.0236
21 | -2.1619 | -0.88851 | 2.1619 | 0.88598 | 2.808e-05 | -0.0025227 | 0.067656 | 0.067628 | 0.067656 | 0.99729 | -0.080261 | 0.9973 | -0.079938 | 8.0352
22 | 1.1426 | 0.43975 | -1.1424 | -0.50071 | 0.00018847 | -0.060954 | 0.035444 | 0.036118 | 0.036118 | 0.99712 | -0.084028 | 0.99693 | -0.088121 | 4.2895
23 | 0.18139 | 0.087577 | -0.18138 | -0.087845 | 1.41e-05 | -0.00026803 | 0.005827 | 0.0058305 | 0.0058305 | 0.99788 | -0.061739 | 0.9978 | -0.062255 | 2.7764
24 | -2.9566 | -1.2402 | 2.9578 | 1.241 | 0.001259 | 0.00076357 | 0.092751 | 0.092739 | 0.092751 | 0.99788 | -0.061739 | 0.99846 | -0.04041 | 11.3111
25 | 2.6083 | 1.0719 | -2.6082 | -1.0718 | 0.00016663 | 6.0183e-05 | 0.081579 | 0.081581 | 0.081581 | 0.99788 | -0.061739 | 0.99779 | -0.064986 | 9.9489
26 | -3.3144 | -1.4137 | 3.3147 | 1.4139 | 0.00023857 | 0.00018622 | 0.10418 | 0.10418 | 0.10418 | 0.99846 | -0.04041 | 0.99856 | -0.036847 | 12.7048
27 | 2.6082 | 1.0718 | -2.6079 | -1.0859 | 0.00022974 | -0.014108 | 0.081581 | 0.08174 | 0.08174 | 0.99779 | -0.064986 | 0.99769 | -0.06716 | 9.7078
28 | -2.1619 | -0.88598 | 2.162 | 0.87367 | 0.00013674 | -0.012315 | 0.067628 | 0.067493 | 0.067628 | 0.9973 | -0.079938 | 0.99738 | -0.078349 | 8.0319
29 | 0.61755 | 0.25677 | -0.61751 | -0.29552 | 3.5868e-05 | -0.038752 | 0.019366 | 0.019825 | 0.019825 | 0.99693 | -0.088121 | 0.99686 | -0.089427 | 2.3545
30 | 0.1794 | 0.077176 | -0.17938 | -0.086261 | 1.6666e-05 | -0.0090854 | 0.0056551 | 0.0057642 | 0.0057642 | 0.99693 | -0.088121 | 0.99684 | -0.087421 | 2.6201
31 | 0.34545 | 0.16676 | -0.34544 | -0.16731 | 3.7893e-06 | -0.00054446 | 0.011108 | 0.011114 | 0.011114 | 0.99693 | -0.088121 | 0.99692 | -0.088026 | 5.052
32 | 0.61751 | 0.29552 | -0.6175 | -0.29839 | 1.6062e-05 | -0.0028676 | 0.019825 | 0.019861 | 0.019861 | 0.99686 | -0.089427 | 0.99683 | -0.089725 | 5.4864
33 | 0.17938 | 0.086261 | -0.17938 | -0.086879 | 1.1577e-06 | -0.00061806 | 0.0057642 | 0.005772 | 0.005772 | 0.99684 | -0.087421 | 0.99683 | -0.087365 | 2.6236
34 | 0.24365 | 0.11732 | -0.24361 | -0.11799 | 3.1566e-05 | -0.0006631 | 0.0078313 | 0.0078401 | 0.0078401 | 0.99683 | -0.089725 | 0.99667 | -0.093703 | 2.24
35 | -3.3147 | -1.4139 | 3.3155 | 1.3828 | 0.00082658 | -0.031066 | 0.10418 | 0.10382 | 0.10418 | 0.99856 | -0.036847 | 0.99885 | -0.030828 | 12.3727
36 | 0.41311 | 0.19996 | -0.4131 | -0.20008 | 1.1574e-06 | -0.00011702 | 0.013264 | 0.013266 | 0.013266 | 0.99885 | -0.030828 | 0.99885 | -0.030804 | 6.0298
37 | -3.7286 | -1.5828 | 3.7297 | 1.5838 | 0.0011134 | 0.001023 | 0.11707 | 0.11706 | 0.11707 | 0.99885 | -0.030828 | 0.99926 | -0.015997 | 14.2764
38 | -3.8861 | -1.6596 | 3.8861 | 1.6592 | 1.2852e-05 | -0.00034776 | 0.12207 | 0.12207 | 0.12207 | 0.99926 | -0.015997 | 0.99926 | -0.015919 | 14.498
39 | 2.6079 | 1.0859 | -2.6077 | -1.0858 | 0.00022798 | 8.3415e-05 | 0.08174 | 0.081742 | 0.081742 | 0.99769 | -0.06716 | 0.99757 | -0.071563 | 9.9686
40 | 2.2889 | 0.93141 | -2.2886 | -0.9314 | 0.00028295 | 9.7991e-06 | 0.071509 | 0.071514 | 0.071514 | 0.99757 | -0.071563 | 0.9974 | -0.077888 | 8.7212
41 | -11.296 | -4.5482 | 11.3012 | 4.5353 | 0.0052674 | -0.012928 | 0.35179 | 0.35159 | 0.35179 | 0.99926 | -0.015919 | 0.99981 | -0.0040518 | 41.7798
42 | -0.39418 | -0.19091 | 0.3942 | 0.19073 | 2.4613e-05 | -0.00018136 | 0.012663 | 0.012661 | 0.012663 | 0.99843 | -0.033301 | 0.99851 | -0.031389 | 3.6181
43 | 0.19213 | 0.091536 | -0.19213 | -0.093051 | 3.2273e-06 | -0.0015145 | 0.0061528 | 0.0061717 | 0.0061717 | 0.99851 | -0.031389 | 0.99849 | -0.031246 | 2.8053
44 | 2.1621 | 0.87012 | -2.162 | -0.87367 | 3.9253e-05 | -0.0035449 | 0.067454 | 0.067493 | 0.067493 | 0.9974 | -0.077888 | 0.99738 | -0.078349 | 8.0158
45 | 0.41937 | 0.19589 | -0.41931 | -0.20235 | 6.5128e-05 | -0.0064602 | 0.013364 | 0.013445 | 0.013445 | 0.99981 | -0.0040518 | 0.99967 | -0.0027578 | 6.1112
46 | -11.7206 | -4.7312 | 11.722 | 4.728 | 0.0014267 | -0.0031623 | 0.36494 | 0.36489 | 0.36494 | 0.99981 | -0.0040518 | 0.99995 | -0.00096598 | 43.342
47 | 0.41931 | 0.20235 | -0.4193 | -0.20281 | 4.7165e-06 | -0.00046475 | 0.013445 | 0.01345 | 0.01345 | 0.99967 | -0.0027578 | 0.99966 | -0.0026603 | 6.1138
48 | -12.0409 | -4.8824 | 12.0413 | 4.8815 | 0.00046114 | -0.00094506 | 0.3751 | 0.37508 | 0.3751 | 0.99995 | -0.00096598 | 1 | 0 | 44.5482
49 | 0.14161 | 0.068318 | -0.1416 | -0.068579 | 8.2168e-06 | -0.00026154 | 0.0045403 | 0.0045436 | 0.0045436 | 0.99966 | -0.0026603 | 0.9996 | -0.0030456 | 2.1636
50 | -0.14971 | -0.071725 | 0.14971 | 0.046181 | 2.8376e-06 | -0.025544 | 0.0048474 | 0.0045749 | 0.0048474 | 0.98858 | -0.3403 | 0.9886 | -0.34014 | 0.75979
51 | 0.14971 | 0.071725 | -0.14971 | -0.072507 | 1.0537e-06 | -0.00078188 | 0.0048474 | 0.0048574 | 0.0048574 | 0.98858 | -0.3403 | 0.98858 | -0.34024 | 2.2079
52 | -0.14971 | -0.046181 | 0.14971 | 0.042629 | 1.8094e-07 | -0.0035512 | 0.0045749 | 0.0045454 | 0.0045749 | 0.9886 | -0.34014 | 0.9886 | -0.3401 | 0.54333
53 | -0.45055 | -0.18833 | 0.45055 | 0.18759 | 3.7116e-07 | -0.00074496 | 0.014259 | 0.014251 | 0.014259 | 0.9886 | -0.3401 | 0.9886 | -0.34008 | 1.6935
54 | 0.29701 | 0.14375 | -0.297 | -0.14384 | 7.1586e-06 | -9.5229e-05 | 0.0096288 | 0.0096301 | 0.0096301 | 0.98925 | -0.31682 | 0.98922 | -0.31756 | 2.7515
55 | 1.3776 | 0.51696 | -1.3771 | -0.51818 | 0.00050827 | -0.0012219 | 0.042937 | 0.042957 | 0.042957 | 0.98925 | -0.31682 | 0.98875 | -0.33669 | 5.2386
56 | -1.6746 | -0.66071 | 1.6747 | 0.63691 | 0.00016097 | -0.023803 | 0.052532 | 0.05228 | 0.052532 | 0.98925 | -0.31682 | 0.98936 | -0.31428 | 6.239
57 | 0.2176 | 0.1036 | -0.2176 | -0.10539 | 4.4618e-07 | -0.0017856 | 0.0070362 | 0.0070588 | 0.0070588 | 0.98875 | -0.33669 | 0.98875 | -0.33669 | 1.1064
58 | 0.98324 | 0.36319 | -0.98318 | -0.38791 | 5.7314e-05 | -0.024719 | 0.030602 | 0.03086 | 0.03086 | 0.98875 | -0.33669 | 0.98869 | -0.33825 | 3.6651
59 | 0.17623 | 0.051392 | -0.17623 | -0.083629 | 2.3978e-06 | -0.032237 | 0.0053595 | 0.0056951 | 0.0056951 | 0.98875 | -0.33669 | 0.98874 | -0.33705 | 0.67638
60 | 1.1594 | 0.51668 | -1.1594 | -0.5168 | 3.1636e-05 | -0.00011815 | 0.037037 | 0.037039 | 0.037039 | 0.98936 | -0.31428 | 0.98932 | -0.31559 | 4.5169
61 | -2.8342 | -1.1536 | 2.8344 | 1.1405 | 0.00025864 | -0.013045 | 0.089283 | 0.089138 | 0.089283 | 0.98936 | -0.31428 | 0.98947 | -0.31198 | 10.6037
62 | -0.45055 | -0.18759 | 0.45056 | 0.17101 | 8.1522e-06 | -0.016584 | 0.014251 | 0.014072 | 0.014251 | 0.9886 | -0.34008 | 0.98863 | -0.33962 | 1.6925
63 | 0.59487 | 0.27759 | -0.59487 | -0.28498 | 6.6755e-06 | -0.0073906 | 0.019156 | 0.019249 | 0.019249 | 0.98924 | -0.31717 | 0.98923 | -0.31741 | 2.2861
64 | 0.35012 | 0.1655 | -0.35012 | -0.16949 | 1.2533e-06 | -0.0039906 | 0.011301 | 0.011351 | 0.011351 | 0.98924 | -0.31717 | 0.98924 | -0.31725 | 1.3481
65 | -0.94499 | -0.44309 | 0.94505 | 0.41988 | 5.2309e-05 | -0.02321 | 0.030457 | 0.030175 | 0.030457 | 0.98924 | -0.31717 | 0.9893 | -0.31596 | 3.6172
66 | 0.59487 | 0.28498 | -0.59486 | -0.28811 | 2.8378e-06 | -0.0031202 | 0.019249 | 0.019288 | 0.019288 | 0.98923 | -0.31741 | 0.98922 | -0.3175 | 2.2908
67 | 0.21716 | 0.10509 | -0.21715 | -0.10517 | 3.2482e-06 | -8.4062e-05 | 0.00704 | 0.0070411 | 0.0070411 | 0.98924 | -0.31725 | 0.98922 | -0.31771 | 2.0118
68 | -0.94505 | -0.41988 | 0.94506 | 0.41298 | 1.5354e-05 | -0.0068951 | 0.030175 | 0.030094 | 0.030175 | 0.9893 | -0.31596 | 0.98932 | -0.31559 | 3.5838
69 | -0.19232 | -0.093145 | 0.19232 | 0.092488 | 1.4622e-06 | -0.00065668 | 0.0062403 | 0.0062319 | 0.0062403 | 0.98853 | -0.33882 | 0.98854 | -0.33888 | 2.8365
70 | -0.19232 | -0.092488 | 0.19234 | 0.084068 | 1.8409e-05 | -0.0084204 | 0.0062319 | 0.0061293 | 0.0062319 | 0.98854 | -0.33888 | 0.98863 | -0.33962 | 2.8327
71 | -0.75678 | -0.30577 | 0.75681 | 0.2855 | 2.7988e-05 | -0.020268 | 0.023833 | 0.023618 | 0.023833 | 0.98863 | -0.33962 | 0.98867 | -0.33865 | 2.8305
72 | 0.11387 | 0.050695 | -0.11387 | -0.055152 | 1.4686e-07 | -0.0044571 | 0.0036397 | 0.0036945 | 0.0036945 | 0.98863 | -0.33962 | 0.98862 | -0.33965 | 0.43878
73 | -0.75681 | -0.2855 | 0.75681 | 0.28179 | 5.0648e-06 | -0.0037069 | 0.023618 | 0.02358 | 0.023618 | 0.98867 | -0.33865 | 0.98868 | -0.33847 | 2.8049
74 | -0.98318 | -0.39143 | 0.98318 | 0.38791 | 8.2381e-06 | -0.0035183 | 0.030898 | 0.03086 | 0.030898 | 0.98868 | -0.33847 | 0.98869 | -0.33825 | 3.6696
75 | 0.17623 | 0.083629 | -0.17623 | -0.08535 | 8.0738e-07 | -0.0017213 | 0.0056951 | 0.0057169 | 0.0057169 | 0.98874 | -0.33705 | 0.98873 | -0.3371 | 1.5792
76 | -0.34906 | -0.16906 | 0.34906 | 0.167 | 6.4223e-07 | -0.0020545 | 0.011315 | 0.011289 | 0.011315 | 0.98946 | -0.31202 | 0.98947 | -0.31198 | 1.3438
77 | 0.40645 | 0.1766 | -0.40644 | -0.19654 | 8.3059e-06 | -0.019934 | 0.012929 | 0.013172 | 0.013172 | 0.98947 | -0.31198 | 0.98944 | -0.31242 | 1.5643
78 | -3.5899 | -1.4841 | 3.5903 | 1.4719 | 0.00039438 | -0.012206 | 0.11333 | 0.11319 | 0.11333 | 0.98947 | -0.31198 | 0.98959 | -0.30925 | 13.46
79 | 0.40644 | 0.19654 | -0.40644 | -0.19685 | 1.3154e-07 | -0.00031014 | 0.013172 | 0.013176 | 0.013176 | 0.98944 | -0.31242 | 0.98944 | -0.31243 | 1.5648
80 | 0.50764 | 0.1701 | -0.5076 | -0.22824 | 3.6002e-05 | -0.058132 | 0.015618 | 0.016237 | 0.016237 | 0.98959 | -0.30925 | 0.98951 | -0.3111 | 1.9283
81 | 0.36733 | 0.17785 | -0.36732 | -0.1779 | 6.1272e-06 | -5.0939e-05 | 0.011905 | 0.011906 | 0.011906 | 0.98959 | -0.30925 | 0.98957 | -0.30976 | 3.4017
82 | -4.4653 | -1.8199 | 4.4666 | 1.794 | 0.0013085 | -0.025905 | 0.14066 | 0.14036 | 0.14066 | 0.98959 | -0.30925 | 0.98994 | -0.30185 | 16.7055
83 | -4.6744 | -1.8938 | 4.6762 | 1.8607 | 0.0018341 | -0.033115 | 0.14707 | 0.14669 | 0.14707 | 0.98994 | -0.30185 | 0.99039 | -0.29185 | 17.4669
84 | 0.20774 | 0.09985 | -0.20774 | -0.10062 | 8.4652e-08 | -0.00076565 | 0.0067214 | 0.0067311 | 0.0067311 | 0.98994 | -0.30185 | 0.98994 | -0.30185 | 0.79942
85 | 0.31975 | 0.10559 | -0.31974 | -0.15345 | 1.1818e-05 | -0.047852 | 0.0098151 | 0.010338 | 0.010338 | 0.99039 | -0.29185 | 0.99035 | -0.29278 | 1.2278
86 | -4.9959 | -1.9663 | 4.9961 | 1.9633 | 0.00019131 | -0.0030243 | 0.15649 | 0.15646 | 0.15649 | 0.99039 | -0.29185 | 0.99044 | -0.29085 | 18.5858
87 | 0.31974 | 0.15345 | -0.31974 | -0.15486 | 3.6905e-07 | -0.0014113 | 0.010338 | 0.010356 | 0.010356 | 0.99035 | -0.29278 | 0.99035 | -0.29281 | 1.2299
88 | -5.1698 | -2.0474 | 5.1699 | 2.0456 | 0.00012019 | -0.0017641 | 0.16207 | 0.16205 | 0.16207 | 0.99044 | -0.29085 | 0.99047 | -0.29025 | 19.2478
89 | 0.19355 | 0.076281 | -0.19355 | -0.091171 | 1.3788e-06 | -0.01489 | 0.0060694 | 0.0062417 | 0.0062417 | 0.98951 | -0.3111 | 0.9895 | -0.31127 | 0.7413
90 | 0.31405 | 0.15196 | -0.31404 | -0.1521 | 1.19e-05 | -0.00014031 | 0.010178 | 0.01018 | 0.01018 | 0.98951 | -0.3111 | 0.98946 | -0.31226 | 2.9086
91 | 0.19355 | 0.091171 | -0.19355 | -0.093742 | 2.4635e-07 | -0.0025714 | 0.0062417 | 0.0062741 | 0.0062741 | 0.9895 | -0.31127 | 0.9895 | -0.3113 | 0.74514
92 | 0.22338 | 0.079576 | -0.22338 | -0.10814 | 3.4784e-06 | -0.028565 | 0.0069113 | 0.0072333 | 0.0072333 | 0.99047 | -0.29025 | 0.99045 | -0.29063 | 0.85907
93 | -5.3933 | -2.1252 | 5.3949 | 2.1036 | 0.0016044 | -0.02159 | 0.16895 | 0.16871 | 0.16895 | 0.99047 | -0.29025 | 0.99081 | -0.28248 | 20.0658
94 | 0.22338 | 0.10814 | -0.22337 | -0.10819 | 1.8062e-06 | -4.4287e-05 | 0.0072333 | 0.0072339 | 0.0072339 | 0.99045 | -0.29063 | 0.99044 | -0.29088 | 2.0668
95 | -5.3949 | -2.1036 | 5.3957 | 2.1046 | 0.00081093 | 0.00097087 | 0.16871 | 0.16871 | 0.16871 | 0.99081 | -0.28248 | 0.99102 | -0.27457 | 20.5742

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.0553 | 4.892

## res_load
| p_mw | q_mvar
0 | 0.12748 | 0.061739
1 | 0.11192 | 0.054206
2 | 0.18554 | 0.089862
3 | 0.16289 | 0.078892
4 | 0.37951 | 0.1838
5 | 0.23704 | 0.1148
6 | 0.13225 | 0.064051
7 | 0.13997 | 0.06779
8 | 0.28961 | 0.14027
9 | 0.16684 | 0.080806
10 | 0.18138 | 0.087845
11 | 0.35658 | 0.1727
12 | 0.22016 | 0.10663
13 | 0.34544 | 0.16731
14 | 0.37385 | 0.18106
15 | 0.17938 | 0.086879
16 | 0.24361 | 0.11799
17 | 0.4131 | 0.20008
18 | 0.15638 | 0.075737
19 | 0.31883 | 0.15442
20 | 0.39418 | 0.19091
21 | 0.19213 | 0.093051
22 | 0.12653 | 0.06128
23 | 0.31883 | 0.15442
24 | 0.07093 | 0.034353
25 | 0.2777 | 0.13449
26 | 0.1416 | 0.068579
27 | 0.14971 | 0.072507
28 | 0.30084 | 0.1457
29 | 0.297 | 0.14384
30 | 0.13296 | 0.064398
31 | 0.19232 | 0.093145
32 | 0.11387 | 0.055152
33 | 0.22637 | 0.10963
34 | 0.17623 | 0.08535
35 | 0.2176 | 0.10539
36 | 0.34906 | 0.16906
37 | 0.21434 | 0.10381
38 | 0.40644 | 0.19685
39 | 0.20774 | 0.10062
40 | 0.17368 | 0.084118
41 | 0.31974 | 0.15486
42 | 0.36732 | 0.1779
43 | 0.31404 | 0.1521
44 | 0.59486 | 0.28811
45 | 0.21715 | 0.10517
46 | 0.19355 | 0.093742
47 | 0.22337 | 0.10819
48 | 0.34863 | 0.16885

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1