## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_424_1_node_44 | 20 | n |  | TRUE
1 | bus_MV_424_1_node_45 | 20 | n |  | TRUE
2 | bus_MV_424_1_node_131 | 20 | n |  | TRUE
3 | bus_MV_424_1_node_193 | 20 | n |  | TRUE
4 | bus_MV_424_1_node_48 | 20 | n |  | TRUE
5 | bus_MV_424_1_node_49 | 20 | n |  | TRUE
6 | bus_MV_424_1_node_50 | 20 | n |  | TRUE
7 | bus_MV_424_1_node_53 | 20 | n |  | TRUE
8 | bus_MV_424_1_node_54 | 20 | n |  | TRUE
9 | bus_MV_424_1_node_76 | 20 | n |  | TRUE
10 | bus_MV_424_1_node_56 | 20 | n |  | TRUE
11 | bus_MV_424_1_node_74 | 20 | n |  | TRUE
12 | bus_MV_424_1_node_81 | 20 | n |  | TRUE
13 | bus_MV_424_1_node_84 | 20 | n |  | TRUE
14 | bus_MV_424_1_node_55 | 20 | n |  | TRUE
15 | bus_MV_424_1_node_57 | 20 | n |  | TRUE
16 | bus_MV_424_1_node_58 | 20 | n |  | TRUE
17 | bus_MV_424_1_node_60 | 20 | n |  | TRUE
18 | bus_MV_424_1_node_207 | 20 | n |  | TRUE
19 | bus_MV_424_1_node_59 | 20 | n |  | TRUE
20 | bus_MV_424_1_node_200 | 20 | n |  | TRUE
21 | bus_MV_424_1_node_194 | 20 | n |  | TRUE
22 | bus_MV_424_1_node_77 | 20 | n |  | TRUE
23 | bus_MV_424_1_node_78 | 20 | n |  | TRUE
24 | bus_MV_424_1_node_97 | 20 | n |  | TRUE
25 | bus_MV_424_1_node_79 | 20 | n |  | TRUE
26 | bus_MV_424_1_node_83 | 20 | n |  | TRUE
27 | bus_MV_424_1_node_82 | 20 | n |  | TRUE
28 | bus_MV_424_1_node_85 | 20 | n |  | TRUE
29 | bus_MV_424_1_node_80 | 20 | n |  | TRUE
30 | bus_MV_424_1_node_86 | 20 | n |  | TRUE
31 | bus_MV_424_1_node_197 | 20 | n |  | TRUE
32 | bus_MV_424_1_node_87 | 20 | n |  | TRUE
33 | bus_MV_424_1_node_88 | 20 | n |  | TRUE
34 | bus_MV_424_1_node_89 | 20 | n |  | TRUE
35 | bus_MV_424_1_node_90 | 20 | n |  | TRUE
36 | bus_MV_424_1_node_91 | 20 | n |  | TRUE
37 | bus_MV_424_1_node_93 | 20 | n |  | TRUE
38 | bus_MV_424_1_node_99 | 20 | n |  | TRUE
39 | bus_MV_424_1_node_198 | 20 | n |  | TRUE
40 | bus_MV_424_1_node_92 | 20 | n |  | TRUE
41 | bus_MV_424_1_node_95 | 20 | n |  | TRUE
42 | bus_MV_424_1_node_94 | 20 | n |  | TRUE
43 | bus_MV_424_1_node_182 | 20 | n |  | TRUE
44 | bus_MV_424_1_node_165 | 20 | n |  | TRUE
45 | bus_MV_424_1_node_96 | 20 | n |  | TRUE
46 | bus_MV_424_1_node_98 | 20 | n |  | TRUE
47 | bus_MV_424_1_node_100 | 20 | n |  | TRUE
48 | bus_MV_424_1_node_101 | 20 | n |  | TRUE
49 | bus_MV_424_1_node_199 | 20 | n |  | TRUE
50 | bus_MV_424_1_node_102 | 20 | n |  | TRUE
51 | bus_MV_424_1_node_104 | 20 | n |  | TRUE
52 | bus_MV_424_1_node_103 | 20 | n |  | TRUE
53 | bus_MV_424_1_node_105 | 20 | n |  | TRUE
54 | bus_MV_424_1_node_202 | 20 | n |  | TRUE
55 | bus_MV_424_1_node_108 | 20 | n |  | TRUE
56 | bus_MV_424_1_node_106 | 20 | n |  | TRUE
57 | bus_MV_424_1_node_107 | 20 | n |  | TRUE
58 | bus_MV_424_1_node_115 | 20 | n |  | TRUE
59 | bus_MV_424_1_node_176 | 20 | n |  | TRUE
60 | bus_MV_424_1_node_201 | 20 | n |  | TRUE
61 | bus_MV_424_1_node_111 | 20 | n |  | TRUE
62 | bus_MV_424_1_node_168 | 20 | n |  | TRUE
63 | bus_MV_424_1_node_167 | 20 | n |  | TRUE
64 | bus_MV_424_1_node_109 | 20 | n |  | TRUE
65 | bus_MV_424_1_node_114 | 20 | n |  | TRUE
66 | bus_MV_424_1_node_112 | 20 | n |  | TRUE
67 | bus_MV_424_1_node_203 | 20 | n |  | TRUE
68 | bus_MV_424_1_node_206 | 20 | n |  | TRUE
69 | bus_MV_424_1_node_169 | 20 | n |  | TRUE
70 | bus_MV_424_1_node_117 | 20 | n |  | TRUE
71 | bus_MV_424_1_node_116 | 20 | n |  | TRUE
72 | bus_MV_424_1_node_118 | 20 | n |  | TRUE
73 | bus_MV_424_1_node_121 | 20 | n |  | TRUE
74 | bus_MV_424_1_node_120 | 20 | n |  | TRUE
75 | bus_MV_424_1_node_177 | 20 | n |  | TRUE
76 | bus_MV_424_1_node_125 | 20 | n |  | TRUE
77 | bus_MV_424_1_node_126 | 20 | n |  | TRUE
78 | bus_MV_424_1_node_127 | 20 | n |  | TRUE
79 | bus_MV_424_1_node_205 | 20 | n |  | TRUE
80 | bus_MV_424_1_node_129 | 20 | n |  | TRUE
81 | bus_MV_424_1_node_128 | 20 | n |  | TRUE
82 | bus_MV_424_1_node_185 | 20 | n |  | TRUE
83 | bus_MV_424_1_node_184 | 20 | n |  | TRUE
84 | bus_MV_424_1_node_166 | 20 | n |  | TRUE
85 | bus_MV_424_1_node_170 | 20 | n |  | TRUE
86 | bus_MV_424_1_node_171 | 20 | n |  | TRUE
87 | bus_MV_424_1_node_172 | 20 | n |  | TRUE
88 | bus_MV_424_1_node_174 | 20 | n |  | TRUE
89 | bus_MV_424_1_node_175 | 20 | n |  | TRUE
90 | bus_MV_424_1_node_181 | 20 | n |  | TRUE
91 | bus_MV_424_1_node_178 | 20 | n |  | TRUE
92 | bus_MV_424_1_node_183 | 20 | n |  | TRUE
93 | bus_MV_424_1_node_179 | 20 | n |  | TRUE
94 | bus_MV_424_1_node_180 | 20 | n |  | TRUE
95 | bus_MV_424_1_node_208 | 20 | n |  | TRUE
96 | bus_MV_424_1_node_204 | 20 | n |  | TRUE
97 | bus_HV_424_1_node_94 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_424_1_load_131 | 2 | 0.26227 | 0.12702 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_424_1_load_193 | 3 | 0.26091 | 0.12636 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_424_1_load_48 | 4 | 0.17086 | 0.08275 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_424_1_load_76 | 9 | 0.1858 | 0.089989 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_424_1_load_74 | 11 | 0.38568 | 0.18679 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_424_1_load_84 | 13 | 0.18421 | 0.089219 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_424_1_load_55 | 14 | 0.23557 | 0.11409 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_424_1_load_207 | 18 | 0.21514 | 0.1042 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_424_1_load_200 | 20 | 0.33102 | 0.16032 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_424_1_load_194 | 21 | 0.39041 | 0.18908 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_424_1_load_77 | 22 | 0.32342 | 0.15664 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_424_1_load_85 | 28 | 0.35527 | 0.17207 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_424_1_load_80 | 29 | 0.18503 | 0.089614 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_424_1_load_86 | 30 | 0.32521 | 0.1575 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_424_1_load_197 | 31 | 0.32044 | 0.15519 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_424_1_load_87 | 32 | 0.15148 | 0.073365 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_424_1_load_99 | 38 | 0.28737 | 0.13918 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_424_1_load_198 | 39 | 0.20609 | 0.099816 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_424_1_load_92 | 40 | 0.15945 | 0.077227 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_424_1_load_182 | 43 | 0.10529 | 0.050994 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_424_1_load_165 | 44 | 0.07457 | 0.036116 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_424_1_load_96 | 45 | 0.2283 | 0.11057 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_424_1_load_199 | 49 | 0.17623 | 0.085351 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_424_1_load_102 | 50 | 0.25886 | 0.12537 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_424_1_load_202 | 54 | 0.21052 | 0.10196 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_424_1_load_115 | 58 | 0.41055 | 0.19884 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_424_1_load_176 | 59 | 0.089334 | 0.043266 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_424_1_load_201 | 60 | 0.24399 | 0.11817 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_424_1_load_168 | 62 | 0.089958 | 0.043569 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_424_1_load_109 | 64 | 0.12483 | 0.060459 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_424_1_load_206 | 68 | 0.080454 | 0.038966 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_424_1_load_169 | 69 | 0.15225 | 0.073737 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_424_1_load_121 | 73 | 0.078718 | 0.038125 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_424_1_load_120 | 74 | 0.20011 | 0.096918 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_424_1_load_177 | 75 | 0.1742 | 0.084371 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_424_1_load_125 | 76 | 0.19868 | 0.096226 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_424_1_load_128 | 81 | 0.36526 | 0.1769 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_424_1_load_184 | 83 | 0.13825 | 0.066958 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_424_1_load_166 | 84 | 0.081394 | 0.039421 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_424_1_load_170 | 85 | 0.11129 | 0.0539 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_424_1_load_171 | 86 | 0.15697 | 0.076026 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_424_1_load_172 | 87 | 0.38857 | 0.18819 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_424_1_load_174 | 88 | 0.12147 | 0.058829 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_424_1_load_175 | 89 | 0.3319 | 0.16075 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_424_1_load_178 | 91 | 0.06872 | 0.033283 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_424_1_load_183 | 92 | 0.099559 | 0.048219 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_424_1_load_179 | 93 | 0.14415 | 0.069813 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_424_1_load_180 | 94 | 0.072291 | 0.035012 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_424_1_load_208 | 95 | 0.19939 | 0.09657 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_424_1_load_204 | 96 | 0.27188 | 0.13168 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_424_1_line_0 |  | 0 | 1 | 0.5637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_424_1_line_1 |  | 0 | 2 | 0.025258 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_424_1_line_2 |  | 1 | 3 | 0.053609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_424_1_line_3 |  | 3 | 82 | 1.1182 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_424_1_line_4 |  | 4 | 5 | 0.057981 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_424_1_line_5 |  | 5 | 6 | 0.16695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_424_1_line_6 |  | 5 | 7 | 0.84889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_424_1_line_7 |  | 5 | 8 | 0.91309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_424_1_line_8 |  | 6 | 9 | 0.18518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_424_1_line_9 |  | 7 | 10 | 0.191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_424_1_line_10 |  | 7 | 11 | 0.048742 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_424_1_line_11 |  | 8 | 12 | 0.007734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_424_1_line_12 |  | 8 | 13 | 0.19648 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_424_1_line_13 |  | 10 | 14 | 0.049608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_424_1_line_14 |  | 12 | 27 | 0.25478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_424_1_line_15 |  | 12 | 29 | 0.072858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_424_1_line_16 |  | 14 | 15 | 0.052501 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_424_1_line_17 |  | 15 | 16 | 0.74095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_424_1_line_18 |  | 15 | 17 | 0.70348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_424_1_line_19 |  | 16 | 18 | 0.087452 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_424_1_line_20 |  | 17 | 21 | 0.12257 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_424_1_line_21 |  | 17 | 19 | 0.40943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_424_1_line_22 |  | 19 | 20 | 0.006562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_424_1_line_23 |  | 22 | 23 | 0.14705 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_424_1_line_24 |  | 22 | 24 | 0.64743 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_424_1_line_25 |  | 23 | 25 | 0.78182 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_424_1_line_26 |  | 24 | 46 | 0.11181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_424_1_line_27 |  | 24 | 45 | 0.026427 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_424_1_line_28 |  | 25 | 26 | 0.30761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_424_1_line_29 |  | 25 | 27 | 0.65991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_424_1_line_30 |  | 25 | 28 | 0.054502 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_424_1_line_31 |  | 26 | 31 | 0.040619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_424_1_line_32 |  | 27 | 30 | 0.13618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_424_1_line_33 |  | 32 | 33 | 0.018071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_424_1_line_34 |  | 32 | 34 | 0.037817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_424_1_line_35 |  | 33 | 35 | 0.3063 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_424_1_line_36 |  | 34 | 36 | 0.45129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_424_1_line_37 |  | 34 | 37 | 0.66228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_424_1_line_38 |  | 35 | 38 | 0.059907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_424_1_line_39 |  | 36 | 39 | 0.058342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_424_1_line_40 |  | 37 | 41 | 0.45608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_424_1_line_41 |  | 37 | 40 | 0.020133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_424_1_line_42 |  | 38 | 47 | 0.018021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_424_1_line_43 |  | 41 | 44 | 0.061286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_424_1_line_44 |  | 41 | 42 | 0.4245 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
45 | MV_424_1_line_45 |  | 42 | 43 | 0.041157 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
46 | MV_424_1_line_46 |  | 43 | 94 | 0.10264 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_424_1_line_47 |  | 44 | 46 | 0.060482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_424_1_line_48 |  | 47 | 48 | 0.67205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_424_1_line_49 |  | 48 | 49 | 0.12304 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_424_1_line_50 |  | 50 | 51 | 0.066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_424_1_line_51 |  | 50 | 52 | 0.12642 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_424_1_line_52 |  | 51 | 55 | 0.10762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_424_1_line_53 |  | 52 | 53 | 0.64635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_424_1_line_54 |  | 52 | 54 | 0.3672 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_424_1_line_55 |  | 53 | 56 | 0.45803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_424_1_line_56 |  | 53 | 57 | 0.51295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_424_1_line_57 |  | 53 | 58 | 0.011709 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_424_1_line_58 |  | 54 | 66 | 0.043717 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_424_1_line_59 |  | 55 | 62 | 0.10377 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_424_1_line_60 |  | 55 | 63 | 0.0058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_424_1_line_61 |  | 56 | 59 | 0.080885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_424_1_line_62 |  | 57 | 60 | 0.031823 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_424_1_line_63 |  | 57 | 61 | 0.26029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_424_1_line_64 |  | 58 | 70 | 0.091325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_424_1_line_65 |  | 58 | 71 | 0.11791 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_424_1_line_66 |  | 61 | 65 | 0.033513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_424_1_line_67 |  | 61 | 64 | 0.024331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_424_1_line_68 |  | 63 | 84 | 0.1795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_424_1_line_69 |  | 65 | 69 | 0.066485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_424_1_line_70 |  | 66 | 67 | 0.63412 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_424_1_line_71 |  | 66 | 68 | 0.65502 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_424_1_line_72 |  | 67 | 96 | 0.087385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_424_1_line_73 |  | 68 | 79 | 0.074477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_424_1_line_74 |  | 70 | 73 | 0.030409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_424_1_line_75 |  | 71 | 72 | 0.010034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_424_1_line_76 |  | 72 | 74 | 0.16009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_424_1_line_77 |  | 74 | 75 | 0.0634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_424_1_line_78 |  | 75 | 91 | 0.012119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_424_1_line_79 |  | 76 | 77 | 0.24651 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_424_1_line_80 |  | 77 | 78 | 0.76808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_424_1_line_81 |  | 77 | 79 | 0.80915 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_424_1_line_82 |  | 78 | 80 | 0.71339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_424_1_line_83 |  | 78 | 81 | 0.08156 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_424_1_line_84 |  | 80 | 82 | 0.36882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_424_1_line_85 |  | 80 | 83 | 0.085376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_424_1_line_86 |  | 82 | 95 | 0.10457 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
87 | MV_424_1_line_87 |  | 85 | 86 | 0.074227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_424_1_line_88 |  | 85 | 87 | 0.092158 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_424_1_line_89 |  | 87 | 88 | 0.037595 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
90 | MV_424_1_line_90 |  | 87 | 89 | 0.084101 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
91 | MV_424_1_line_91 |  | 88 | 90 | 0.023662 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
92 | MV_424_1_line_92 |  | 89 | 91 | 0.11552 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
93 | MV_424_1_line_93 |  | 89 | 92 | 0.20301 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_424_1_line_94 |  | 90 | 94 | 0.070494 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
95 | MV_424_1_line_95 |  | 91 | 93 | 0.03479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_424_1_trafo_94 | 25 MVA 110/20 kV | 97 | 42 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2663529.6582 | 1250835.0344
1 | 2663421.2764 | 1250508.3995
2 | 2663551.473 | 1250847.7661
3 | 2663455.6418 | 1250467.3161
4 | 2665274.7383 | 1252553.6795
5 | 2665332.4882 | 1252548.5122
6 | 2665433.4242 | 1252546.313
7 | 2665451.7622 | 1252914.3449
8 | 2665887.5531 | 1252605.7533
9 | 2665587.4331 | 1252467.9594
10 | 2665571.2404 | 1252931.9004
11 | 2665450.8595 | 1252865.6112
12 | 2665893.9558 | 1252601.3881
13 | 2665725.9065 | 1252717.4494
14 | 2665612.8699 | 1252945.6821
15 | 2665653.3441 | 1252979.2655
16 | 2665575.6865 | 1253232.2755
17 | 2666126.028 | 1253034.9164
18 | 2665635.9093 | 1253168.8635
19 | 2666037.4872 | 1253297.2058
20 | 2666031.4077 | 1253299.7176
21 | 2666033.9496 | 1252954.0095
22 | 2666467.4557 | 1252067.4662
23 | 2666391.1939 | 1252193.1901
24 | 2666137.3741 | 1251510.4992
25 | 2666360.9345 | 1252518.8284
26 | 2666172.3344 | 1252634.0019
27 | 2665949.0193 | 1252436.2826
28 | 2666355.1346 | 1252464.6358
29 | 2665937.5496 | 1252659.8591
30 | 2666028.9075 | 1252326.6827
31 | 2666210.7764 | 1252647.452
32 | 2667058.7034 | 1251231.7629
33 | 2667075.6211 | 1251238.2367
34 | 2667023.2181 | 1251218.5188
35 | 2667180.9926 | 1251456.6746
36 | 2667177.9891 | 1250989.3741
37 | 2666367.3423 | 1251310.3715
38 | 2667234.7681 | 1251476.2761
39 | 2667230.3929 | 1251015.1533
40 | 2666361.7968 | 1251329.701
41 | 2666093.5976 | 1251373.7692
42 | 2666000.586 | 1251218.4002
43 | 2666021.6538 | 1251183.0441
44 | 2666062.872 | 1251424.0145
45 | 2666148.2779 | 1251486.426
46 | 2666041.6534 | 1251480.6218
47 | 2667252.6988 | 1251478.5478
48 | 2667625.2086 | 1251189.8464
49 | 2667738.7439 | 1251237.2544
50 | 2665764.8549 | 1250113.4085
51 | 2665790.4219 | 1250052.538
52 | 2665721.1179 | 1250232.0185
53 | 2665881.5077 | 1250630.3918
54 | 2665401.7686 | 1250050.7591
55 | 2665894.122 | 1250079.2306
56 | 2665929.6236 | 1250874.0105
57 | 2665506.9756 | 1250617.2767
58 | 2665892.857 | 1250627.3824
59 | 2665885.5317 | 1250941.7899
60 | 2665538.7884 | 1250616.4611
61 | 2665361.4496 | 1250401.4735
62 | 2665908.0244 | 1249976.9558
63 | 2665893.6048 | 1250085.0068
64 | 2665375.637 | 1250381.8078
65 | 2665338.5051 | 1250377.0477
66 | 2665358.7134 | 1250043.179
67 | 2665414.5555 | 1249411.5271
68 | 2665286.0854 | 1249392.1977
69 | 2665314.0827 | 1250318.9072
70 | 2665957.9001 | 1250566.2513
71 | 2665990.4528 | 1250693.5482
72 | 2665998.9073 | 1250698.9906
73 | 2665981.7839 | 1250547.4285
74 | 2666128.1073 | 1250793.5301
75 | 2666179.2723 | 1250830.9696
76 | 2664908.7808 | 1248464.0596
77 | 2664801.2509 | 1248685.8836
78 | 2664403.1613 | 1249045.3436
79 | 2665267.7443 | 1249347.0307
80 | 2664423.7983 | 1249587.7376
81 | 2664449.2965 | 1248978.0866
82 | 2664393.0272 | 1249857.6488
83 | 2664378.7267 | 1249660.2472
84 | 2665979.7114 | 1249965.1122
85 | 2665982.5591 | 1251036.1012
86 | 2665943.8195 | 1251099.4173
87 | 2666064.3976 | 1250993.7276
88 | 2666092.476 | 1251018.7266
89 | 2666120.6981 | 1250931.2524
90 | 2666110.2779 | 1251034.3139
91 | 2666189.0529 | 1250838.1265
92 | 2666180.3564 | 1250737.2011
93 | 2666217.1289 | 1250858.6718
94 | 2666074.1932 | 1251094.8717
95 | 2664495.271 | 1249879.5644
96 | 2665364.5404 | 1249377.3626
97 | 2666000.586 | 1251218.4002

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98502 | -0.043176 | 0 | 0
1 | 0.98521 | -0.044756 | 0 | 0
2 | 0.98501 | -0.043259 | 0.26227 | 0.12702
3 | 0.98523 | -0.044881 | 0.26091 | 0.12636
4 | 0.9838 | 0.011051 | 0.17086 | 0.08275
5 | 0.98382 | 0.011175 | 0 | 0
6 | 0.98378 | 0.01149 | 0 | 0
7 | 0.98212 | 0.024212 | 0 | 0
8 | 0.98606 | -0.0050956 | 0 | 0
9 | 0.98374 | 0.011889 | 0.1858 | 0.089989
10 | 0.98184 | 0.026389 | 0 | 0
11 | 0.98209 | 0.023976 | 0.38568 | 0.18679
12 | 0.98608 | -0.0052451 | 0 | 0
13 | 0.98599 | -0.0055474 | 0.18421 | 0.089219
14 | 0.98176 | 0.026964 | 0.23557 | 0.11409
15 | 0.9817 | 0.027423 | 0 | 0
16 | 0.98149 | 0.02898 | 0 | 0
17 | 0.98104 | 0.0329 | 0 | 0
18 | 0.98146 | 0.028744 | 0.21514 | 0.1042
19 | 0.98087 | 0.034454 | 0 | 0
20 | 0.98087 | 0.034481 | 0.33102 | 0.16032
21 | 0.98095 | 0.032299 | 0.39041 | 0.18908
22 | 0.99324 | -0.042797 | 0.32342 | 0.15664
23 | 0.99231 | -0.050765 | 0 | 0
24 | 0.99773 | -0.0053242 | 0 | 0
25 | 0.98903 | -0.026703 | 0 | 0
26 | 0.9889 | -0.025588 | 0 | 0
27 | 0.98682 | -0.010667 | 0 | 0
28 | 0.98899 | -0.026942 | 0.35527 | 0.17207
29 | 0.98606 | -0.0050833 | 0.18503 | 0.089614
30 | 0.98677 | -0.010137 | 0.32521 | 0.1575
31 | 0.98888 | -0.02543 | 0.32044 | 0.15519
32 | 0.99726 | -0.018447 | 0.15148 | 0.073365
33 | 0.99725 | -0.018376 | 0 | 0
34 | 0.99729 | -0.018664 | 0 | 0
35 | 0.99707 | -0.017091 | 0 | 0
36 | 0.99717 | -0.01774 | 0 | 0
37 | 0.99832 | -0.0098505 | 0 | 0
38 | 0.99703 | -0.016823 | 0.28737 | 0.13918
39 | 0.99716 | -0.017598 | 0.20609 | 0.099816
40 | 0.99832 | -0.0098123 | 0.15945 | 0.077227
41 | 0.99888 | -0.013902 | 0 | 0
42 | 1 | 0 | -10.4869 | -4.7112
43 | 0.99988 | -0.0014082 | 0.10529 | 0.050994
44 | 0.99858 | -0.011621 | 0.07457 | 0.036116
45 | 0.99772 | -0.0053975 | 0.2283 | 0.11057
46 | 0.99828 | -0.0094169 | 0 | 0
47 | 0.99703 | -0.016803 | 0 | 0
48 | 0.99688 | -0.015728 | 0 | 0
49 | 0.99684 | -0.015992 | 0.17623 | 0.085351
50 | 0.99439 | -0.0088686 | 0.25886 | 0.12537
51 | 0.99437 | -0.0087749 | 0 | 0
52 | 0.99449 | -0.0080844 | 0 | 0
53 | 0.99648 | -0.023477 | 0 | 0
54 | 0.99309 | -0.019186 | 0.21052 | 0.10196
55 | 0.99435 | -0.0086079 | 0 | 0
56 | 0.99643 | -0.0232 | 0 | 0
57 | 0.99614 | -0.020564 | 0 | 0
58 | 0.99653 | -0.023814 | 0.41055 | 0.19884
59 | 0.99642 | -0.023118 | 0.089334 | 0.043266
60 | 0.99613 | -0.020658 | 0.24399 | 0.11817
61 | 0.996 | -0.021511 | 0 | 0
62 | 0.99434 | -0.0085032 | 0.089958 | 0.043569
63 | 0.99435 | -0.0086038 | 0 | 0
64 | 0.996 | -0.021475 | 0.12483 | 0.060459
65 | 0.996 | -0.021454 | 0 | 0
66 | 0.99294 | -0.020396 | 0 | 0
67 | 0.9926 | -0.022643 | 0 | 0
68 | 0.99104 | -0.036196 | 0.080454 | 0.038966
69 | 0.99598 | -0.021335 | 0.15225 | 0.073737
70 | 0.99652 | -0.023738 | 0 | 0
71 | 0.99732 | -0.017475 | 0 | 0
72 | 0.99737 | -0.017821 | 0 | 0
73 | 0.99652 | -0.02371 | 0.078718 | 0.038125
74 | 0.99808 | -0.023317 | 0.20011 | 0.096918
75 | 0.99838 | -0.025634 | 0.1742 | 0.084371
76 | 0.9886 | -0.054423 | 0.19868 | 0.096226
77 | 0.98869 | -0.053815 | 0 | 0
78 | 0.98749 | -0.04487 | 0 | 0
79 | 0.99091 | -0.035202 | 0 | 0
80 | 0.98671 | -0.038935 | 0 | 0
81 | 0.98743 | -0.045239 | 0.36526 | 0.1769
82 | 0.98637 | -0.036138 | 0 | 0
83 | 0.98669 | -0.038796 | 0.13825 | 0.066958
84 | 0.99433 | -0.0084516 | 0.081394 | 0.039421
85 | 0.99916 | -0.0095054 | 0.11129 | 0.0539
86 | 0.99914 | -0.0093699 | 0.15697 | 0.076026
87 | 0.9992 | -0.0091918 | 0.38857 | 0.18819
88 | 0.99931 | -0.0079737 | 0.12147 | 0.058829
89 | 0.999 | -0.011601 | 0.3319 | 0.16075
90 | 0.99938 | -0.0071905 | 0 | 0
91 | 0.99844 | -0.026101 | 0.06872 | 0.033283
92 | 0.99896 | -0.011847 | 0.099559 | 0.048219
93 | 0.99844 | -0.026042 | 0.14415 | 0.069813
94 | 0.99958 | -0.0048552 | 0.072291 | 0.035012
95 | 0.98632 | -0.036398 | 0.19939 | 0.09657
96 | 0.99257 | -0.02236 | 0.27188 | 0.13168
97 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26227 | -0.127 | 0.26233 | 0.11395 | 5.3838e-05 | -0.013045 | 0.0085399 | 0.0083802 | 0.0085399 | 0.98502 | -0.043176 | 0.98521 | -0.044756 | 3.8818
1 | 0.26227 | 0.127 | -0.26227 | -0.12702 | 3.2822e-06 | -2.7201e-05 | 0.0085399 | 0.0085403 | 0.0085403 | 0.98502 | -0.043176 | 0.98501 | -0.043259 | 4.0668
2 | -0.26233 | -0.11395 | 0.26233 | 0.11271 | 5.0174e-06 | -0.0012409 | 0.0083802 | 0.0083657 | 0.0083802 | 0.98521 | -0.044756 | 0.98523 | -0.044881 | 3.8092
3 | -0.52324 | -0.23907 | 0.52381 | 0.23813 | 0.00056551 | -0.00094306 | 0.016856 | 0.01684 | 0.016856 | 0.98523 | -0.044881 | 0.98637 | -0.036138 | 8.0265
4 | -0.17086 | -0.08275 | 0.17086 | 0.082685 | 3.205e-06 | -6.4987e-05 | 0.0055705 | 0.0055696 | 0.0055705 | 0.9838 | 0.011051 | 0.98382 | 0.011175 | 2.6526
5 | 0.18582 | 0.081857 | -0.18581 | -0.085713 | 7.9731e-06 | -0.0038557 | 0.005958 | 0.0060045 | 0.0060045 | 0.98382 | 0.011175 | 0.98378 | 0.01149 | 2.7293
6 | 1.5619 | 0.6863 | -1.559 | -0.70504 | 0.002853 | -0.018738 | 0.050058 | 0.050292 | 0.050292 | 0.98382 | 0.011175 | 0.98212 | 0.024212 | 22.8601
7 | -1.9186 | -0.85084 | 1.9232 | 0.83106 | 0.0046041 | -0.019784 | 0.061582 | 0.061334 | 0.061582 | 0.98382 | 0.011175 | 0.98606 | -0.0050956 | 27.9919
8 | 0.18581 | 0.085713 | -0.1858 | -0.089989 | 8.9924e-06 | -0.0042764 | 0.0060045 | 0.0060582 | 0.0060582 | 0.98378 | 0.01149 | 0.98374 | 0.011889 | 2.7537
9 | 1.1733 | 0.51829 | -1.173 | -0.52258 | 0.00036296 | -0.0042899 | 0.037702 | 0.037755 | 0.037755 | 0.98212 | 0.024212 | 0.98184 | 0.026389 | 17.1612
10 | 0.38569 | 0.18675 | -0.38568 | -0.18679 | 1.3779e-05 | -4.7494e-05 | 0.012596 | 0.012596 | 0.012596 | 0.98212 | 0.024212 | 0.98209 | 0.023976 | 5.9983
11 | -2.1074 | -0.92005 | 2.1074 | 0.91989 | 4.6789e-05 | -0.00016567 | 0.067318 | 0.067316 | 0.067318 | 0.98606 | -0.0050956 | 0.98608 | -0.0052451 | 30.5993
12 | 0.18423 | 0.088999 | -0.18421 | -0.089219 | 1.2566e-05 | -0.00022018 | 0.0059898 | 0.0059927 | 0.0059927 | 0.98606 | -0.0050956 | 0.98599 | -0.0055474 | 2.8536
13 | 1.173 | 0.52258 | -1.1729 | -0.52369 | 9.4435e-05 | -0.0011137 | 0.037755 | 0.037768 | 0.037768 | 0.98184 | 0.026389 | 0.98176 | 0.026964 | 17.1674
14 | -2.2925 | -1.0078 | 2.2943 | 1.0024 | 0.0018263 | -0.0053778 | 0.073311 | 0.073241 | 0.073311 | 0.98608 | -0.0052451 | 0.98682 | -0.010667 | 33.3231
15 | 0.18503 | 0.087923 | -0.18503 | -0.089614 | 3.5108e-06 | -0.0016904 | 0.0059973 | 0.0060187 | 0.0060187 | 0.98608 | -0.0052451 | 0.98606 | -0.0050833 | 2.7358
16 | 0.9373 | 0.4096 | -0.93724 | -0.41079 | 6.3434e-05 | -0.0011893 | 0.030077 | 0.030091 | 0.030091 | 0.98176 | 0.026964 | 0.9817 | 0.027423 | 13.6778
17 | 0.2152 | 0.087071 | -0.21515 | -0.1041 | 4.7427e-05 | -0.017032 | 0.0068264 | 0.0070298 | 0.0070298 | 0.9817 | 0.027423 | 0.98149 | 0.02898 | 3.1954
18 | 0.72204 | 0.32372 | -0.72153 | -0.33975 | 0.00051278 | -0.016024 | 0.023268 | 0.023467 | 0.023467 | 0.9817 | 0.027423 | 0.98104 | 0.0329 | 10.6668
19 | 0.21515 | 0.1041 | -0.21514 | -0.1042 | 7.7014e-06 | -9.5745e-05 | 0.0070298 | 0.0070311 | 0.0070311 | 0.98149 | 0.02898 | 0.98146 | 0.028744 | 3.3481
20 | 0.39044 | 0.18896 | -0.39041 | -0.18908 | 3.5583e-05 | -0.00011853 | 0.012764 | 0.012765 | 0.012765 | 0.98104 | 0.0329 | 0.98095 | 0.032299 | 6.0788
21 | 0.33108 | 0.15078 | -0.33102 | -0.16017 | 6.3319e-05 | -0.009388 | 0.010705 | 0.010823 | 0.010823 | 0.98104 | 0.0329 | 0.98087 | 0.034454 | 4.9194
22 | 0.33102 | 0.16017 | -0.33102 | -0.16032 | 1.0263e-06 | -0.00015043 | 0.010823 | 0.010825 | 0.010825 | 0.98087 | 0.034454 | 0.98087 | 0.034481 | 4.9203
23 | 3.3159 | 1.4491 | -3.313 | -1.4474 | 0.0028981 | 0.0016423 | 0.10517 | 0.10518 | 0.10518 | 0.99324 | -0.042797 | 0.99231 | -0.050765 | 50.0842
24 | -3.6393 | -1.6057 | 3.6548 | 1.6146 | 0.015417 | 0.0088907 | 0.11561 | 0.1156 | 0.11561 | 0.99324 | -0.042797 | 0.99773 | -0.0053242 | 55.0532
25 | 3.313 | 1.4474 | -3.3015 | -1.4623 | 0.011569 | -0.014888 | 0.10518 | 0.10539 | 0.10539 | 0.99231 | -0.050765 | 0.98903 | -0.026703 | 47.9053
26 | -3.8831 | -1.7251 | 3.8853 | 1.7232 | 0.0022553 | -0.0019899 | 0.12294 | 0.12291 | 0.12294 | 0.99773 | -0.0053242 | 0.99828 | -0.0094169 | 55.8808
27 | 0.22831 | 0.11054 | -0.2283 | -0.11057 | 2.5364e-06 | -2.9817e-05 | 0.0073392 | 0.0073396 | 0.0073396 | 0.99773 | -0.0053242 | 0.99772 | -0.0053975 | 3.495
28 | 0.32049 | 0.14708 | -0.32044 | -0.15425 | 4.3876e-05 | -0.0071704 | 0.010292 | 0.010382 | 0.010382 | 0.98903 | -0.026703 | 0.9889 | -0.025588 | 4.7189
29 | 2.6257 | 1.1432 | -2.6195 | -1.1568 | 0.0061685 | -0.013548 | 0.083587 | 0.083768 | 0.083768 | 0.98903 | -0.026703 | 0.98682 | -0.010667 | 38.0762
30 | 0.35529 | 0.17201 | -0.35527 | -0.17207 | 1.2891e-05 | -5.5568e-05 | 0.011521 | 0.011522 | 0.011522 | 0.98903 | -0.026703 | 0.98899 | -0.026942 | 5.4868
31 | 0.32044 | 0.15425 | -0.32044 | -0.15519 | 5.8511e-06 | -0.00094666 | 0.010382 | 0.010394 | 0.010394 | 0.9889 | -0.025588 | 0.98888 | -0.02543 | 4.7243
32 | 0.32523 | 0.15434 | -0.32521 | -0.1575 | 2.0238e-05 | -0.0031602 | 0.010531 | 0.010571 | 0.010571 | 0.98682 | -0.010667 | 0.98677 | -0.010137 | 4.8049
33 | 0.46374 | 0.19893 | -0.46373 | -0.19936 | 5.1489e-06 | -0.00042757 | 0.014607 | 0.014612 | 0.014612 | 0.99726 | -0.018447 | 0.99725 | -0.018376 | 6.6417
34 | -0.61522 | -0.27229 | 0.61524 | 0.2714 | 1.9138e-05 | -0.00089233 | 0.019475 | 0.019464 | 0.019475 | 0.99726 | -0.018447 | 0.99729 | -0.018664 | 8.8522
35 | 0.46373 | 0.19936 | -0.46365 | -0.2066 | 8.7803e-05 | -0.0072457 | 0.014612 | 0.014696 | 0.014696 | 0.99725 | -0.018376 | 0.99707 | -0.017091 | 6.68
36 | 0.20612 | 0.087724 | -0.2061 | -0.098432 | 2.5821e-05 | -0.010708 | 0.0064843 | 0.006612 | 0.006612 | 0.99729 | -0.018664 | 0.99717 | -0.01774 | 3.0054
37 | -0.82136 | -0.35913 | 0.82215 | 0.35884 | 0.00079422 | -0.00028969 | 0.025948 | 0.025939 | 0.025948 | 0.99729 | -0.018664 | 0.99832 | -0.0098505 | 12.3564
38 | 0.46365 | 0.2066 | -0.46363 | -0.20802 | 1.7292e-05 | -0.0014168 | 0.014696 | 0.014713 | 0.014713 | 0.99707 | -0.017091 | 0.99703 | -0.016823 | 6.6877
39 | 0.2061 | 0.098432 | -0.20609 | -0.099816 | 3.414e-06 | -0.0013841 | 0.006612 | 0.0066293 | 0.0066293 | 0.99717 | -0.01774 | 0.99716 | -0.017598 | 3.0133
40 | -0.98161 | -0.43558 | 0.98219 | 0.4249 | 0.00058475 | -0.010686 | 0.031053 | 0.030927 | 0.031053 | 0.99832 | -0.0098505 | 0.99888 | -0.013902 | 14.1152
41 | 0.15946 | 0.076749 | -0.15945 | -0.077227 | 7.0461e-07 | -0.00047887 | 0.0051171 | 0.0051231 | 0.0051231 | 0.99832 | -0.0098505 | 0.99832 | -0.0098123 | 2.3287
42 | 0.17626 | 0.068841 | -0.17626 | -0.069269 | 7.2275e-07 | -0.00042751 | 0.0054788 | 0.0054833 | 0.0054833 | 0.99703 | -0.016823 | 0.99703 | -0.016803 | 2.4924
43 | 3.9624 | 1.7571 | -3.9611 | -1.7582 | 0.001284 | -0.0010787 | 0.12527 | 0.12528 | 0.12528 | 0.99888 | -0.013902 | 0.99858 | -0.011621 | 56.9471
44 | -4.9446 | -2.182 | 4.9496 | 2.1711 | 0.0049966 | -0.010916 | 0.15619 | 0.15602 | 0.15619 | 0.99888 | -0.013902 | 1 | 0 | 43.1472
45 | 5.5233 | 2.5296 | -5.5227 | -2.5306 | 0.00061143 | -0.00096744 | 0.17537 | 0.17539 | 0.17539 | 1 | 0 | 0.99988 | -0.0014082 | 48.4496
46 | 5.4174 | 2.4796 | -5.4159 | -2.4821 | 0.0014672 | -0.002453 | 0.17201 | 0.17205 | 0.17205 | 0.99988 | -0.0014082 | 0.99958 | -0.0048552 | 47.5285
47 | 3.8865 | 1.7221 | -3.8853 | -1.7232 | 0.0012195 | -0.0010778 | 0.12289 | 0.12291 | 0.12291 | 0.99858 | -0.011621 | 0.99828 | -0.0094169 | 55.8666
48 | 0.17626 | 0.069269 | -0.17623 | -0.085209 | 2.7855e-05 | -0.01594 | 0.0054833 | 0.0056686 | 0.0056686 | 0.99703 | -0.016803 | 0.99688 | -0.015728 | 2.5766
49 | 0.17623 | 0.085209 | -0.17623 | -0.085351 | 7.0462e-06 | -0.00014155 | 0.0056686 | 0.0056704 | 0.0056704 | 0.99688 | -0.015728 | 0.99684 | -0.015992 | 2.7002
50 | 0.17136 | 0.07207 | -0.17136 | -0.073627 | 2.5746e-06 | -0.0015574 | 0.0053968 | 0.0054145 | 0.0054145 | 0.99439 | -0.0088686 | 0.99437 | -0.0087749 | 2.4611
51 | -0.43022 | -0.19744 | 0.43027 | 0.19732 | 4.2529e-05 | -0.0001226 | 0.013742 | 0.01374 | 0.013742 | 0.99439 | -0.0088686 | 0.99449 | -0.0080844 | 6.5438
52 | 0.17136 | 0.073627 | -0.17136 | -0.076167 | 4.2349e-06 | -0.0025394 | 0.0054145 | 0.005444 | 0.005444 | 0.99437 | -0.0087749 | 0.99435 | -0.0086079 | 2.4746
53 | -2.43 | -1.0987 | 2.4352 | 1.0849 | 0.0051588 | -0.013763 | 0.077412 | 0.077231 | 0.077412 | 0.99449 | -0.0080844 | 0.99648 | -0.023477 | 35.1874
54 | 1.9998 | 0.90138 | -1.9971 | -0.90015 | 0.0026526 | 0.0012286 | 0.063672 | 0.063677 | 0.063677 | 0.99449 | -0.0080844 | 0.99309 | -0.019186 | 30.3226
55 | 0.089339 | 0.030492 | -0.089335 | -0.041349 | 4.7579e-06 | -0.010857 | 0.0027347 | 0.0028519 | 0.0028519 | 0.99648 | -0.023477 | 0.99643 | -0.0232 | 1.2963
56 | 0.5213 | 0.237 | -0.52111 | -0.2491 | 0.00019013 | -0.012101 | 0.016589 | 0.016738 | 0.016738 | 0.99648 | -0.023477 | 0.99614 | -0.020564 | 7.6082
57 | -3.0458 | -1.3524 | 3.046 | 1.3522 | 0.00014569 | -0.0002344 | 0.096543 | 0.09654 | 0.096543 | 0.99648 | -0.023477 | 0.99653 | -0.023814 | 43.8832
58 | 1.7866 | 0.79819 | -1.7863 | -0.79809 | 0.00025202 | 0.00010639 | 0.056881 | 0.056882 | 0.056882 | 0.99309 | -0.019186 | 0.99294 | -0.020396 | 27.0865
59 | 0.089959 | 0.041119 | -0.089958 | -0.043569 | 1.1543e-06 | -0.0024494 | 0.0028715 | 0.0029018 | 0.0029018 | 0.99435 | -0.0086079 | 0.99434 | -0.0085032 | 1.319
60 | 0.081396 | 0.035047 | -0.081396 | -0.035184 | 5.1295e-08 | -0.00013691 | 0.0025728 | 0.0025744 | 0.0025744 | 0.99435 | -0.0086079 | 0.99435 | -0.0086038 | 1.1702
61 | 0.089335 | 0.041349 | -0.089334 | -0.043266 | 8.8551e-07 | -0.0019172 | 0.0028519 | 0.0028757 | 0.0028757 | 0.99643 | -0.0232 | 0.99642 | -0.023118 | 1.3071
62 | 0.24399 | 0.11813 | -0.24399 | -0.11817 | 3.4994e-06 | -3.5506e-05 | 0.0078559 | 0.0078564 | 0.0078564 | 0.99614 | -0.020564 | 0.99613 | -0.020658 | 3.7411
63 | 0.27712 | 0.13097 | -0.27708 | -0.13125 | 3.6605e-05 | -0.00028537 | 0.0088824 | 0.0088863 | 0.0088863 | 0.99614 | -0.020564 | 0.996 | -0.021511 | 4.2316
64 | 0.078719 | 0.035239 | -0.078718 | -0.037404 | 7.6894e-07 | -0.0021651 | 0.0024984 | 0.0025247 | 0.0025247 | 0.99653 | -0.023814 | 0.99652 | -0.023738 | 1.1476
65 | -3.5352 | -1.5863 | 3.5379 | 1.5878 | 0.0026468 | 0.001518 | 0.11225 | 0.11224 | 0.11225 | 0.99653 | -0.023814 | 0.99732 | -0.017475 | 53.4505
66 | 0.15225 | 0.071369 | -0.15225 | -0.072163 | 1.0647e-06 | -0.00079345 | 0.0048735 | 0.0048833 | 0.0048833 | 0.996 | -0.021511 | 0.996 | -0.021454 | 2.2197
67 | 0.12483 | 0.059883 | -0.12483 | -0.060459 | 5.24e-07 | -0.00057614 | 0.0040128 | 0.0040201 | 0.0040201 | 0.996 | -0.021511 | 0.996 | -0.021475 | 1.8273
68 | 0.081396 | 0.035184 | -0.081394 | -0.039421 | 1.6192e-06 | -0.0042369 | 0.0025744 | 0.0026256 | 0.0026256 | 0.99435 | -0.0086038 | 0.99433 | -0.0084516 | 1.1935
69 | 0.15225 | 0.072163 | -0.15225 | -0.073737 | 2.1251e-06 | -0.0015741 | 0.0048833 | 0.004903 | 0.004903 | 0.996 | -0.021454 | 0.99598 | -0.021335 | 2.2287
70 | 0.27197 | 0.12893 | -0.27189 | -0.12962 | 8.6604e-05 | -0.00069186 | 0.0087506 | 0.0087599 | 0.0087599 | 0.99294 | -0.020396 | 0.9926 | -0.022643 | 4.1714
71 | 1.5144 | 0.66915 | -1.5117 | -0.66823 | 0.0027044 | 0.00092445 | 0.048134 | 0.048143 | 0.048143 | 0.99294 | -0.020396 | 0.99104 | -0.036196 | 22.9251
72 | 0.27189 | 0.12962 | -0.27188 | -0.13168 | 8.9783e-06 | -0.0020529 | 0.0087599 | 0.0087858 | 0.0087858 | 0.9926 | -0.022643 | 0.99257 | -0.02236 | 3.9935
73 | 1.4312 | 0.62926 | -1.431 | -0.63095 | 0.0002063 | -0.0016851 | 0.04554 | 0.045561 | 0.045561 | 0.99104 | -0.036196 | 0.99091 | -0.035202 | 20.7095
74 | 0.078718 | 0.037404 | -0.078718 | -0.038125 | 2.5969e-07 | -0.00072093 | 0.0025247 | 0.0025337 | 0.0025337 | 0.99652 | -0.023738 | 0.99652 | -0.02371 | 1.1517
75 | -3.5379 | -1.5878 | 3.5381 | 1.5876 | 0.00016876 | -0.00018824 | 0.11224 | 0.11224 | 0.11224 | 0.99732 | -0.017475 | 0.99737 | -0.017821 | 51.0201
76 | -3.5381 | -1.5876 | 3.5407 | 1.5846 | 0.0026915 | -0.0030067 | 0.11224 | 0.1122 | 0.11224 | 0.99737 | -0.017821 | 0.99808 | -0.023317 | 51.0189
77 | -3.7409 | -1.6815 | 3.7421 | 1.6804 | 0.0011908 | -0.0011552 | 0.11862 | 0.11861 | 0.11862 | 0.99808 | -0.023317 | 0.99838 | -0.025634 | 53.9203
78 | -3.9163 | -1.7647 | 3.9165 | 1.7645 | 0.00024958 | -0.00021442 | 0.1242 | 0.1242 | 0.1242 | 0.99838 | -0.025634 | 0.99844 | -0.026101 | 56.4551
79 | -0.19868 | -0.096226 | 0.1987 | 0.09595 | 1.8241e-05 | -0.00027622 | 0.0064463 | 0.0064426 | 0.0064463 | 0.9886 | -0.054423 | 0.98869 | -0.053815 | 3.0696
80 | 1.2293 | 0.53407 | -1.2277 | -0.55151 | 0.0015788 | -0.017436 | 0.039134 | 0.039345 | 0.039345 | 0.98869 | -0.053815 | 0.98749 | -0.04487 | 17.8842
81 | -1.428 | -0.63002 | 1.431 | 0.63095 | 0.0029934 | 0.00092857 | 0.045572 | 0.045561 | 0.045572 | 0.98869 | -0.053815 | 0.99091 | -0.035202 | 21.701
82 | 0.86245 | 0.37469 | -0.86173 | -0.39107 | 0.00072477 | -0.016381 | 0.027489 | 0.027686 | 0.027686 | 0.98749 | -0.04487 | 0.98671 | -0.038935 | 12.5844
83 | 0.36528 | 0.17682 | -0.36526 | -0.1769 | 2.0454e-05 | -8.2128e-05 | 0.011864 | 0.011865 | 0.011865 | 0.98749 | -0.04487 | 0.98743 | -0.045239 | 5.6499
84 | 0.72347 | 0.32609 | -0.72321 | -0.33458 | 0.00026659 | -0.0084914 | 0.023217 | 0.023321 | 0.023321 | 0.98671 | -0.038935 | 0.98637 | -0.036138 | 10.6005
85 | 0.13825 | 0.064974 | -0.13825 | -0.066958 | 2.2892e-06 | -0.0019839 | 0.0044692 | 0.0044942 | 0.0044942 | 0.98671 | -0.038935 | 0.98669 | -0.038796 | 2.0428
86 | 0.1994 | 0.096454 | -0.19939 | -0.09657 | 7.8313e-06 | -0.00011654 | 0.0064826 | 0.0064842 | 0.0064842 | 0.98637 | -0.036138 | 0.98632 | -0.036398 | 3.0877
87 | 0.15698 | 0.074258 | -0.15697 | -0.076026 | 2.5054e-06 | -0.0017685 | 0.0050172 | 0.0050393 | 0.0050393 | 0.99916 | -0.0095054 | 0.99914 | -0.0093699 | 2.2906
88 | -0.26827 | -0.12816 | 0.26828 | 0.12806 | 1.2113e-05 | -0.00010225 | 0.0085897 | 0.0085884 | 0.0085897 | 0.99916 | -0.0095054 | 0.9992 | -0.0091918 | 4.0904
89 | -5.2204 | -2.3914 | 5.2209 | 2.3905 | 0.00049967 | -0.00092473 | 0.16589 | 0.16587 | 0.16589 | 0.9992 | -0.0091918 | 0.99931 | -0.0079737 | 45.8261
90 | 4.5635 | 2.0752 | -4.5627 | -2.0774 | 0.00085229 | -0.0022606 | 0.14483 | 0.14487 | 0.14487 | 0.9992 | -0.0091918 | 0.999 | -0.011601 | 40.0187
91 | -5.3423 | -2.4493 | 5.3426 | 2.4488 | 0.00032938 | -0.00057131 | 0.16977 | 0.16976 | 0.16977 | 0.99931 | -0.0079737 | 0.99938 | -0.0071905 | 46.8986
92 | 4.1312 | 1.8687 | -4.1294 | -1.8668 | 0.0018205 | 0.0019375 | 0.13102 | 0.13102 | 0.13102 | 0.999 | -0.011601 | 0.99844 | -0.026101 | 37.4353
93 | 0.099563 | 0.047979 | -0.099559 | -0.048219 | 3.6927e-06 | -0.00023955 | 0.0031936 | 0.0031967 | 0.0031967 | 0.999 | -0.011601 | 0.99896 | -0.011847 | 1.5222
94 | -5.3426 | -2.4488 | 5.3436 | 2.4471 | 0.00098109 | -0.0017029 | 0.16976 | 0.16973 | 0.16976 | 0.99938 | -0.0071905 | 0.99958 | -0.0048552 | 46.8959
95 | 0.14415 | 0.068985 | -0.14415 | -0.069813 | 9.937e-07 | -0.00082778 | 0.0046203 | 0.0046307 | 0.0046307 | 0.99844 | -0.026101 | 0.99844 | -0.026042 | 2.1049

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.4869 | 4.7112

## res_load
| p_mw | q_mvar
0 | 0.26227 | 0.12702
1 | 0.26091 | 0.12636
2 | 0.17086 | 0.08275
3 | 0.1858 | 0.089989
4 | 0.38568 | 0.18679
5 | 0.18421 | 0.089219
6 | 0.23557 | 0.11409
7 | 0.21514 | 0.1042
8 | 0.33102 | 0.16032
9 | 0.39041 | 0.18908
10 | 0.32342 | 0.15664
11 | 0.35527 | 0.17207
12 | 0.18503 | 0.089614
13 | 0.32521 | 0.1575
14 | 0.32044 | 0.15519
15 | 0.15148 | 0.073365
16 | 0.28737 | 0.13918
17 | 0.20609 | 0.099816
18 | 0.15945 | 0.077227
19 | 0.10529 | 0.050994
20 | 0.07457 | 0.036116
21 | 0.2283 | 0.11057
22 | 0.17623 | 0.085351
23 | 0.25886 | 0.12537
24 | 0.21052 | 0.10196
25 | 0.41055 | 0.19884
26 | 0.089334 | 0.043266
27 | 0.24399 | 0.11817
28 | 0.089958 | 0.043569
29 | 0.12483 | 0.060459
30 | 0.080454 | 0.038966
31 | 0.15225 | 0.073737
32 | 0.078718 | 0.038125
33 | 0.20011 | 0.096918
34 | 0.1742 | 0.084371
35 | 0.19868 | 0.096226
36 | 0.36526 | 0.1769
37 | 0.13825 | 0.066958
38 | 0.081394 | 0.039421
39 | 0.11129 | 0.0539
40 | 0.15697 | 0.076026
41 | 0.38857 | 0.18819
42 | 0.12147 | 0.058829
43 | 0.3319 | 0.16075
44 | 0.06872 | 0.033283
45 | 0.099559 | 0.048219
46 | 0.14415 | 0.069813
47 | 0.072291 | 0.035012
48 | 0.19939 | 0.09657
49 | 0.27188 | 0.13168

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1