## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_425_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_425_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_425_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_425_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_425_0_node_34 | 20 | n |  | TRUE
5 | bus_MV_425_0_node_226 | 20 | n |  | TRUE
6 | bus_MV_425_0_node_13 | 20 | n |  | TRUE
7 | bus_MV_425_0_node_15 | 20 | n |  | TRUE
8 | bus_MV_425_0_node_4 | 20 | n |  | TRUE
9 | bus_MV_425_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_425_0_node_7 | 20 | n |  | TRUE
11 | bus_MV_425_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_425_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_425_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_425_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_425_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_425_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_425_0_node_16 | 20 | n |  | TRUE
18 | bus_MV_425_0_node_17 | 20 | n |  | TRUE
19 | bus_MV_425_0_node_18 | 20 | n |  | TRUE
20 | bus_MV_425_0_node_20 | 20 | n |  | TRUE
21 | bus_MV_425_0_node_19 | 20 | n |  | TRUE
22 | bus_MV_425_0_node_21 | 20 | n |  | TRUE
23 | bus_MV_425_0_node_22 | 20 | n |  | TRUE
24 | bus_MV_425_0_node_27 | 20 | n |  | TRUE
25 | bus_MV_425_0_node_29 | 20 | n |  | TRUE
26 | bus_MV_425_0_node_28 | 20 | n |  | TRUE
27 | bus_MV_425_0_node_30 | 20 | n |  | TRUE
28 | bus_MV_425_0_node_40 | 20 | n |  | TRUE
29 | bus_MV_425_0_node_190 | 20 | n |  | TRUE
30 | bus_MV_425_0_node_31 | 20 | n |  | TRUE
31 | bus_MV_425_0_node_32 | 20 | n |  | TRUE
32 | bus_MV_425_0_node_33 | 20 | n |  | TRUE
33 | bus_MV_425_0_node_38 | 20 | n |  | TRUE
34 | bus_MV_425_0_node_232 | 20 | n |  | TRUE
35 | bus_MV_425_0_node_35 | 20 | n |  | TRUE
36 | bus_MV_425_0_node_36 | 20 | n |  | TRUE
37 | bus_MV_425_0_node_47 | 20 | n |  | TRUE
38 | bus_MV_425_0_node_37 | 20 | n |  | TRUE
39 | bus_MV_425_0_node_39 | 20 | n |  | TRUE
40 | bus_MV_425_0_node_41 | 20 | n |  | TRUE
41 | bus_MV_425_0_node_224 | 20 | n |  | TRUE
42 | bus_MV_425_0_node_42 | 20 | n |  | TRUE
43 | bus_MV_425_0_node_48 | 20 | n |  | TRUE
44 | bus_MV_425_0_node_49 | 20 | n |  | TRUE
45 | bus_MV_425_0_node_220 | 20 | n |  | TRUE
46 | bus_MV_425_0_node_56 | 20 | n |  | TRUE
47 | bus_MV_425_0_node_50 | 20 | n |  | TRUE
48 | bus_MV_425_0_node_52 | 20 | n |  | TRUE
49 | bus_MV_425_0_node_51 | 20 | n |  | TRUE
50 | bus_MV_425_0_node_54 | 20 | n |  | TRUE
51 | bus_MV_425_0_node_55 | 20 | n |  | TRUE
52 | bus_MV_425_0_node_53 | 20 | n |  | TRUE
53 | bus_MV_425_0_node_57 | 20 | n |  | TRUE
54 | bus_MV_425_0_node_221 | 20 | n |  | TRUE
55 | bus_MV_425_0_node_193 | 20 | n |  | TRUE
56 | bus_MV_425_0_node_214 | 20 | n |  | TRUE
57 | bus_MV_425_0_node_58 | 20 | n |  | TRUE
58 | bus_MV_425_0_node_59 | 20 | n |  | TRUE
59 | bus_MV_425_0_node_60 | 20 | n |  | TRUE
60 | bus_MV_425_0_node_61 | 20 | n |  | TRUE
61 | bus_MV_425_0_node_62 | 20 | n |  | TRUE
62 | bus_MV_425_0_node_231 | 20 | n |  | TRUE
63 | bus_MV_425_0_node_192 | 20 | n |  | TRUE
64 | bus_MV_425_0_node_191 | 20 | n |  | TRUE
65 | bus_MV_425_0_node_63 | 20 | n |  | TRUE
66 | bus_MV_425_0_node_64 | 20 | n |  | TRUE
67 | bus_MV_425_0_node_65 | 20 | n |  | TRUE
68 | bus_MV_425_0_node_66 | 20 | n |  | TRUE
69 | bus_MV_425_0_node_216 | 20 | n |  | TRUE
70 | bus_MV_425_0_node_67 | 20 | n |  | TRUE
71 | bus_MV_425_0_node_72 | 20 | n |  | TRUE
72 | bus_MV_425_0_node_73 | 20 | n |  | TRUE
73 | bus_MV_425_0_node_236 | 20 | n |  | TRUE
74 | bus_MV_425_0_node_68 | 20 | n |  | TRUE
75 | bus_MV_425_0_node_69 | 20 | n |  | TRUE
76 | bus_MV_425_0_node_70 | 20 | n |  | TRUE
77 | bus_MV_425_0_node_71 | 20 | n |  | TRUE
78 | bus_MV_425_0_node_215 | 20 | n |  | TRUE
79 | bus_MV_425_0_node_74 | 20 | n |  | TRUE
80 | bus_MV_425_0_node_75 | 20 | n |  | TRUE
81 | bus_MV_425_0_node_210 | 20 | n |  | TRUE
82 | bus_MV_425_0_node_76 | 20 | n |  | TRUE
83 | bus_MV_425_0_node_78 | 20 | n |  | TRUE
84 | bus_MV_425_0_node_77 | 20 | n |  | TRUE
85 | bus_MV_425_0_node_79 | 20 | n |  | TRUE
86 | bus_MV_425_0_node_213 | 20 | n |  | TRUE
87 | bus_MV_425_0_node_82 | 20 | n |  | TRUE
88 | bus_MV_425_0_node_83 | 20 | n |  | TRUE
89 | bus_MV_425_0_node_80 | 20 | n |  | TRUE
90 | bus_MV_425_0_node_207 | 20 | n |  | TRUE
91 | bus_MV_425_0_node_81 | 20 | n |  | TRUE
92 | bus_MV_425_0_node_187 | 20 | n |  | TRUE
93 | bus_MV_425_0_node_188 | 20 | n |  | TRUE
94 | bus_MV_425_0_node_189 | 20 | n |  | TRUE
95 | bus_MV_425_0_node_208 | 20 | n |  | TRUE
96 | bus_MV_425_0_node_209 | 20 | n |  | TRUE
97 | bus_MV_425_0_node_235 | 20 | n |  | TRUE
98 | bus_MV_425_0_node_219 | 20 | n |  | TRUE
99 | bus_MV_425_0_node_230 | 20 | n |  | TRUE
100 | bus_HV_425_0_node_52 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_425_0_load_0 | 0 | 0.23268 | 0.11269 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_425_0_load_226 | 5 | 0.29121 | 0.14104 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_425_0_load_15 | 7 | 0.30566 | 0.14804 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_425_0_load_4 | 8 | 0.37674 | 0.18246 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_425_0_load_11 | 14 | 0.30463 | 0.14754 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_425_0_load_12 | 15 | 0.28964 | 0.14028 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_425_0_load_14 | 16 | 0.28996 | 0.14044 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_425_0_load_20 | 20 | 0.32101 | 0.15547 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_425_0_load_21 | 22 | 0.41088 | 0.199 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_425_0_load_22 | 23 | 0.4128 | 0.19993 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_425_0_load_27 | 24 | 0.35893 | 0.17384 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_425_0_load_190 | 29 | 0.70905 | 0.34341 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_425_0_load_31 | 30 | 0.13866 | 0.067157 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_425_0_load_38 | 33 | 0.35145 | 0.17022 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_425_0_load_232 | 34 | 0.23094 | 0.11185 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_425_0_load_35 | 35 | 0.24092 | 0.11668 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_425_0_load_47 | 37 | 0.27018 | 0.13085 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_425_0_load_224 | 41 | 0.19282 | 0.093387 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_425_0_load_42 | 42 | 0.29011 | 0.14051 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_425_0_load_220 | 45 | 0.3395 | 0.16443 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_425_0_load_56 | 46 | 0.066332 | 0.032126 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_425_0_load_50 | 47 | 0.11249 | 0.05448 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_425_0_load_221 | 54 | 0.23845 | 0.11549 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_425_0_load_193 | 55 | 0.083173 | 0.040283 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_425_0_load_214 | 56 | 0.23045 | 0.11161 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_425_0_load_58 | 57 | 0.10747 | 0.052049 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_425_0_load_231 | 62 | 0.13341 | 0.064613 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_425_0_load_191 | 64 | 1.1117 | 0.53844 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_425_0_load_63 | 65 | 0.15909 | 0.077049 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_425_0_load_216 | 69 | 0.3626 | 0.17562 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_425_0_load_236 | 73 | 0.26355 | 0.12764 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_425_0_load_68 | 74 | 0.18341 | 0.088831 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_425_0_load_71 | 77 | 0.15165 | 0.073449 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_425_0_load_215 | 78 | 0.070399 | 0.034096 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_425_0_load_74 | 79 | 0.19597 | 0.094913 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_425_0_load_77 | 84 | 0.37366 | 0.18097 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_425_0_load_213 | 86 | 0.25141 | 0.12176 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_425_0_load_83 | 88 | 0.32291 | 0.15639 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_425_0_load_80 | 89 | 0.27713 | 0.13422 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_425_0_load_81 | 91 | 0.2777 | 0.1345 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_425_0_load_187 | 92 | 1.0354 | 0.50144 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_425_0_load_208 | 95 | 0.066164 | 0.032044 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_425_0_load_235 | 97 | 0.15651 | 0.075803 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_425_0_load_230 | 99 | 0.11016 | 0.053355 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_425_0_line_0 |  | 0 | 1 | 0.14485 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_425_0_line_1 |  | 1 | 2 | 0.30087 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
2 | MV_425_0_line_2 |  | 1 | 3 | 1.448 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
3 | MV_425_0_line_3 |  | 1 | 4 | 1.5814 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
4 | MV_425_0_line_4 |  | 2 | 5 | 0.091174 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
5 | MV_425_0_line_5 |  | 3 | 6 | 0.57124 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_425_0_line_6 |  | 3 | 7 | 0.034742 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
7 | MV_425_0_line_7 |  | 4 | 34 | 0.0067567 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
8 | MV_425_0_line_8 |  | 4 | 32 | 0.578 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_425_0_line_9 |  | 6 | 15 | 0.048481 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
10 | MV_425_0_line_10 |  | 7 | 17 | 0.018406 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
11 | MV_425_0_line_11 |  | 8 | 9 | 0.05595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_425_0_line_12 |  | 8 | 10 | 0.068512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_425_0_line_13 |  | 9 | 11 | 0.29851 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_425_0_line_14 |  | 10 | 12 | 0.17005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_425_0_line_15 |  | 11 | 13 | 0.56801 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
16 | MV_425_0_line_16 |  | 11 | 14 | 0.018786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_425_0_line_17 |  | 12 | 16 | 0.019078 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_425_0_line_18 |  | 13 | 15 | 0.054332 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
19 | MV_425_0_line_19 |  | 17 | 18 | 0.44999 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_425_0_line_20 |  | 18 | 19 | 0.62217 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_425_0_line_21 |  | 18 | 20 | 0.096222 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
22 | MV_425_0_line_22 |  | 19 | 21 | 0.42574 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_425_0_line_23 |  | 19 | 22 | 0.045838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_425_0_line_24 |  | 21 | 23 | 0.037167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_425_0_line_25 |  | 24 | 25 | 0.06048 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_425_0_line_26 |  | 24 | 26 | 0.059463 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
27 | MV_425_0_line_27 |  | 25 | 28 | 0.52141 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
28 | MV_425_0_line_28 |  | 26 | 27 | 0.042408 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
29 | MV_425_0_line_29 |  | 27 | 29 | 0.052137 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
30 | MV_425_0_line_30 |  | 28 | 40 | 1.2165 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
31 | MV_425_0_line_31 |  | 28 | 41 | 0.045482 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
32 | MV_425_0_line_32 |  | 29 | 94 | 0.047378 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_425_0_line_33 |  | 30 | 31 | 0.007765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_425_0_line_34 |  | 31 | 32 | 0.40373 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
35 | MV_425_0_line_35 |  | 32 | 33 | 0.028406 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
36 | MV_425_0_line_36 |  | 33 | 39 | 0.018558 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
37 | MV_425_0_line_37 |  | 33 | 38 | 0.074886 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
38 | MV_425_0_line_38 |  | 35 | 36 | 0.025087 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_425_0_line_39 |  | 35 | 37 | 1.7812 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
40 | MV_425_0_line_40 |  | 36 | 38 | 0.20799 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
41 | MV_425_0_line_41 |  | 37 | 43 | 0.032124 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_425_0_line_42 |  | 39 | 40 | 0.65656 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_425_0_line_43 |  | 40 | 42 | 0.056012 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
44 | MV_425_0_line_44 |  | 43 | 44 | 0.63898 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
45 | MV_425_0_line_45 |  | 43 | 45 | 2.975 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
46 | MV_425_0_line_46 |  | 44 | 46 | 0.016485 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_425_0_line_47 |  | 45 | 98 | 0.023216 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
48 | MV_425_0_line_48 |  | 46 | 52 | 0.048266 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_425_0_line_49 |  | 47 | 48 | 0.073941 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_425_0_line_50 |  | 47 | 49 | 0.08729 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
51 | MV_425_0_line_51 |  | 48 | 51 | 0.31822 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_425_0_line_52 |  | 49 | 50 | 0.7605 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_425_0_line_53 |  | 50 | 54 | 0.026661 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
54 | MV_425_0_line_54 |  | 50 | 52 | 0.27489 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_425_0_line_55 |  | 51 | 55 | 0.032303 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
56 | MV_425_0_line_56 |  | 52 | 53 | 0.14706 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_425_0_line_57 |  | 53 | 56 | 0.1355 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
58 | MV_425_0_line_58 |  | 55 | 63 | 0.011436 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
59 | MV_425_0_line_59 |  | 57 | 58 | 0.012608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_425_0_line_60 |  | 57 | 59 | 0.034484 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_425_0_line_61 |  | 58 | 60 | 0.75753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_425_0_line_62 |  | 59 | 61 | 0.051454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_425_0_line_63 |  | 60 | 62 | 0.02664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_425_0_line_64 |  | 61 | 63 | 0.024992 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
65 | MV_425_0_line_65 |  | 61 | 64 | 0.070611 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_425_0_line_66 |  | 62 | 67 | 0.035765 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_425_0_line_67 |  | 65 | 66 | 0.032137 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_425_0_line_68 |  | 66 | 67 | 0.50941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_425_0_line_69 |  | 66 | 68 | 0.79022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_425_0_line_70 |  | 68 | 69 | 0.012181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_425_0_line_71 |  | 68 | 70 | 0.8606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_425_0_line_72 |  | 68 | 71 | 0.57656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_425_0_line_73 |  | 68 | 72 | 0.59867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_425_0_line_74 |  | 70 | 73 | 0.020564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_425_0_line_75 |  | 71 | 77 | 0.003303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_425_0_line_76 |  | 72 | 78 | 0.022875 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_425_0_line_77 |  | 74 | 75 | 0.06645 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_425_0_line_78 |  | 75 | 76 | 0.20259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_425_0_line_79 |  | 76 | 77 | 0.051452 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_425_0_line_80 |  | 78 | 96 | 0.031414 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_425_0_line_81 |  | 79 | 80 | 0.004226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_425_0_line_82 |  | 79 | 81 | 0.2476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_425_0_line_83 |  | 80 | 82 | 0.10276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_425_0_line_84 |  | 81 | 97 | 0.029985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_425_0_line_85 |  | 81 | 90 | 0.55569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_425_0_line_86 |  | 82 | 83 | 0.40913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_425_0_line_87 |  | 82 | 84 | 0.041276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_425_0_line_88 |  | 83 | 85 | 0.63328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_425_0_line_89 |  | 83 | 86 | 0.038537 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_425_0_line_90 |  | 85 | 87 | 0.65855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_425_0_line_91 |  | 85 | 88 | 0.021475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_425_0_line_92 |  | 87 | 91 | 0.050435 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_425_0_line_93 |  | 89 | 90 | 0.65224 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_425_0_line_94 |  | 90 | 95 | 0.00302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_425_0_line_95 |  | 90 | 96 | 1.052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_425_0_line_96 |  | 92 | 93 | 0.060177 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_425_0_line_97 |  | 93 | 94 | 0.088133 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
98 | MV_425_0_line_98 |  | 98 | 99 | 1.8036 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_425_0_trafo_52 | 25 MVA 110/20 kV | 100 | 48 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2667070.1908 | 1261681.1664
1 | 2667069.9794 | 1261826.0163
2 | 2666804.4178 | 1261694.7035
3 | 2668048.3315 | 1261073.8371
4 | 2667141.2091 | 1263405.8372
5 | 2666763.7845 | 1261613.0842
6 | 2668224.2979 | 1261549.295
7 | 2668030.3925 | 1261044.0531
8 | 2668445.7974 | 1261583.356
9 | 2668399.2609 | 1261614.619
10 | 2668507.9139 | 1261556.2546
11 | 2668395.2907 | 1261847.7583
12 | 2668668.9898 | 1261566.8073
13 | 2668250.7125 | 1261648.1733
14 | 2668395.8495 | 1261866.5343
15 | 2668240.7039 | 1261594.8181
16 | 2668687.6796 | 1261569.8153
17 | 2668038.9073 | 1261027.7278
18 | 2667976.045 | 1260930.611
19 | 2667787.8722 | 1260602.0532
20 | 2667923.5059 | 1261011.2232
21 | 2667990.5186 | 1260439.2235
22 | 2667801.7274 | 1260558.3573
23 | 2668005.9411 | 1260473.0592
24 | 2666187.9925 | 1264500.2599
25 | 2666240.1389 | 1264469.365
26 | 2666136.8323 | 1264530.566
27 | 2666100.3428 | 1264552.1743
28 | 2666397.4415 | 1263972.2445
29 | 2666055.4876 | 1264578.7503
30 | 2666914.0309 | 1263650.68
31 | 2666917.6212 | 1263657.5702
32 | 2667154.8897 | 1263757.1337
33 | 2667175.7374 | 1263776.4961
34 | 2667134.958 | 1263408.4015
35 | 2667424.0608 | 1263773.1298
36 | 2667404.6506 | 1263757.2411
37 | 2669197.5643 | 1263939.0023
38 | 2667250.0018 | 1263766.866
39 | 2667163.7654 | 1263790.7041
40 | 2666928.8462 | 1264208.8554
41 | 2666432.8314 | 1263943.676
42 | 2666977.5804 | 1264236.3944
43 | 2669225.8983 | 1263923.7112
44 | 2669716.0663 | 1263551.309
45 | 2670835.8345 | 1266425.4786
46 | 2669725.902 | 1263538.0594
47 | 2669837.1204 | 1262996.7743
48 | 2669830.1794 | 1262923.6706
49 | 2669900.1074 | 1263057.2081
50 | 2669596.1936 | 1263484.0578
51 | 2669892.1994 | 1262670.9016
52 | 2669747.413 | 1263494.8248
53 | 2669880.243 | 1263493.0021
54 | 2669580.7369 | 1263505.7813
55 | 2669923.0104 | 1262661.1979
56 | 2670002.7545 | 1263435.1069
57 | 2669945.7665 | 1262574.5511
58 | 2669942.1652 | 1262562.4661
59 | 2669942.2873 | 1262601.1744
60 | 2670433.1063 | 1262573.4874
61 | 2669957.8215 | 1262650.2394
62 | 2670459.7432 | 1262573.0932
63 | 2669933.9184 | 1262657.7625
64 | 2670005.9985 | 1262665.4881
65 | 2670694.2627 | 1262651.3943
66 | 2670726.3948 | 1262651.9788
67 | 2670455.2389 | 1262537.6128
68 | 2670901.249 | 1262179.3155
69 | 2670889.2211 | 1262181.4508
70 | 2670734.2884 | 1262419.7759
71 | 2670547.3354 | 1261848.5587
72 | 2671341.4731 | 1262226.3426
73 | 2670751.4639 | 1262421.8495
74 | 2670369.6386 | 1261700.1202
75 | 2670410.0961 | 1261647.4064
76 | 2670511.4997 | 1261811.3036
77 | 2670544.7638 | 1261850.6407
78 | 2671335.0551 | 1262204.382
79 | 2672840.2625 | 1261635.2912
80 | 2672844.1635 | 1261633.638
81 | 2672595.6672 | 1261673.7588
82 | 2672925.2861 | 1261628.8002
83 | 2673198.8655 | 1261460.1286
84 | 2672935.4271 | 1261668.6109
85 | 2673512.3797 | 1261364.5652
86 | 2673223.874 | 1261489.4491
87 | 2673561.2616 | 1261663.8323
88 | 2673517.3625 | 1261383.8083
89 | 2672059.4435 | 1261191.33
90 | 2672172.8444 | 1261833.6402
91 | 2673512.252 | 1261673.6307
92 | 2666009.139 | 1264711.5532
93 | 2666059.5916 | 1264678.8364
94 | 2666014.7263 | 1264602.9007
95 | 2672170.1158 | 1261834.9524
96 | 2671325.4706 | 1262174.4662
97 | 2672585.7898 | 1261645.4384
98 | 2670845.603 | 1266446.5451
99 | 2669678.4073 | 1267821.5503
100 | 2669830.1794 | 1262923.6706

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98245 | -0.77324 | 0.23268 | 0.11269
1 | 0.98252 | -0.77282 | 0 | 0
2 | 0.98249 | -0.77296 | 0 | 0
3 | 0.98126 | -0.78269 | 0 | 0
4 | 0.98572 | -0.5658 | 0 | 0
5 | 0.98247 | -0.774 | 0.29121 | 0.14104
6 | 0.98102 | -0.78422 | 0 | 0
7 | 0.98124 | -0.78281 | 0.30566 | 0.14804
8 | 0.98065 | -0.78622 | 0.37674 | 0.18246
9 | 0.9807 | -0.78666 | 0 | 0
10 | 0.98062 | -0.786 | 0 | 0
11 | 0.9808 | -0.78542 | 0 | 0
12 | 0.98056 | -0.78541 | 0 | 0
13 | 0.98099 | -0.78445 | 0 | 0
14 | 0.9808 | -0.78535 | 0.30463 | 0.14754
15 | 0.981 | -0.78434 | 0.28964 | 0.14028
16 | 0.98055 | -0.78534 | 0.28996 | 0.14044
17 | 0.98123 | -0.78286 | 0 | 0
18 | 0.98107 | -0.78402 | 0 | 0
19 | 0.9809 | -0.78509 | 0 | 0
20 | 0.98105 | -0.78523 | 0.32101 | 0.15547
21 | 0.98084 | -0.78539 | 0 | 0
22 | 0.98088 | -0.78485 | 0.41088 | 0.199
23 | 0.98082 | -0.7852 | 0.4128 | 0.19993
24 | 0.98411 | -0.61108 | 0.35893 | 0.17384
25 | 0.98415 | -0.61091 | 0 | 0
26 | 0.98404 | -0.61513 | 0 | 0
27 | 0.98401 | -0.61522 | 0 | 0
28 | 0.9849 | -0.56818 | 0 | 0
29 | 0.98398 | -0.61534 | 0.70905 | 0.34341
30 | 0.98634 | -0.56088 | 0.13866 | 0.067157
31 | 0.98634 | -0.5609 | 0 | 0
32 | 0.98636 | -0.56075 | 0 | 0
33 | 0.98639 | -0.56048 | 0.35145 | 0.17022
34 | 0.98572 | -0.56586 | 0.23094 | 0.11185
35 | 0.9872 | -0.53733 | 0.24092 | 0.11668
36 | 0.98714 | -0.53771 | 0 | 0
37 | 0.99492 | -0.058181 | 0.27018 | 0.13085
38 | 0.9867 | -0.54088 | 0 | 0
39 | 0.98638 | -0.56058 | 0 | 0
40 | 0.98582 | -0.56378 | 0 | 0
41 | 0.9849 | -0.56852 | 0.19282 | 0.093387
42 | 0.98582 | -0.5638 | 0.29011 | 0.14051
43 | 0.995 | -0.057705 | 0 | 0
44 | 0.99654 | -0.047651 | 0 | 0
45 | 0.99409 | -0.10884 | 0.3395 | 0.16443
46 | 0.99658 | -0.047387 | 0.066332 | 0.032126
47 | 0.99981 | -0.0013146 | 0.11249 | 0.05448
48 | 1 | 0 | -12.8461 | -5.4453
49 | 0.99936 | -0.028814 | 0 | 0
50 | 0.99739 | -0.042029 | 0 | 0
51 | 0.99953 | -0.0026956 | 0 | 0
52 | 0.9967 | -0.046609 | 0 | 0
53 | 0.99669 | -0.046659 | 0 | 0
54 | 0.99738 | -0.042214 | 0.23845 | 0.11549
55 | 0.99948 | -0.0029641 | 0.083173 | 0.040283
56 | 0.99666 | -0.047691 | 0.23045 | 0.11161
57 | 0.99904 | -0.0013815 | 0.10747 | 0.052049
58 | 0.99899 | -0.0010414 | 0 | 0
59 | 0.99919 | -0.0023548 | 0 | 0
60 | 0.99586 | 0.019905 | 0 | 0
61 | 0.99941 | -0.0038032 | 0 | 0
62 | 0.9957 | 0.018443 | 0.13341 | 0.064613
63 | 0.99947 | -0.0030579 | 0 | 0
64 | 0.99931 | -0.0028666 | 1.1117 | 0.53844
65 | 0.99346 | 0.030305 | 0.15909 | 0.077049
66 | 0.99347 | 0.030368 | 0 | 0
67 | 0.99549 | 0.016538 | 0 | 0
68 | 0.9905 | 0.051187 | 0 | 0
69 | 0.99049 | 0.051241 | 0.3626 | 0.17562
70 | 0.99021 | 0.053363 | 0 | 0
71 | 0.99025 | 0.053062 | 0 | 0
72 | 0.98898 | 0.062215 | 0 | 0
73 | 0.9902 | 0.053429 | 0.26355 | 0.12764
74 | 0.99017 | 0.053442 | 0.18341 | 0.088831
75 | 0.99019 | 0.053592 | 0 | 0
76 | 0.99024 | 0.053171 | 0 | 0
77 | 0.99025 | 0.053074 | 0.15165 | 0.073449
78 | 0.98892 | 0.062648 | 0.070399 | 0.034096
79 | 0.98441 | 0.085142 | 0.19597 | 0.094913
80 | 0.9844 | 0.085193 | 0 | 0
81 | 0.98509 | 0.090503 | 0 | 0
82 | 0.98424 | 0.086457 | 0 | 0
83 | 0.98379 | 0.089788 | 0 | 0
84 | 0.98422 | 0.086646 | 0.37366 | 0.18097
85 | 0.98331 | 0.093483 | 0 | 0
86 | 0.98377 | 0.089667 | 0.25141 | 0.12176
87 | 0.98307 | 0.095366 | 0 | 0
88 | 0.9833 | 0.093569 | 0.32291 | 0.15639
89 | 0.98586 | 0.079315 | 0.27713 | 0.13422
90 | 0.98621 | 0.081583 | 0 | 0
91 | 0.98305 | 0.095538 | 0.2777 | 0.1345
92 | 0.98391 | -0.61561 | 1.0354 | 0.50144
93 | 0.98393 | -0.61553 | 0 | 0
94 | 0.98396 | -0.61541 | 0 | 0
95 | 0.98621 | 0.081585 | 0.066164 | 0.032044
96 | 0.9888 | 0.061666 | 0 | 0
97 | 0.98508 | 0.090561 | 0.15651 | 0.075803
98 | 0.99409 | -0.10884 | 0 | 0
99 | 0.99395 | -0.11644 | 0.11016 | 0.053355
100 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23268 | -0.11269 | 0.23269 | 0.11253 | 1.4888e-05 | -0.00015759 | 0.0075964 | 0.0075943 | 0.0075964 | 0.98245 | -0.77324 | 0.98252 | -0.77282 | 3.6173
1 | 0.29122 | 0.12268 | -0.29121 | -0.14093 | 8.2007e-06 | -0.018244 | 0.0092846 | 0.0095057 | 0.0095057 | 0.98252 | -0.77282 | 0.98249 | -0.77296 | 1.4899
2 | 2.7157 | 1.0395 | -2.7124 | -1.1253 | 0.0033018 | -0.085855 | 0.085434 | 0.08639 | 0.08639 | 0.98252 | -0.77282 | 0.98126 | -0.78269 | 13.5407
3 | -3.2396 | -1.2747 | 3.2455 | 1.2884 | 0.0059054 | 0.013763 | 0.10229 | 0.10226 | 0.10229 | 0.98252 | -0.77282 | 0.98572 | -0.5658 | 15.8582
4 | 0.29121 | 0.14093 | -0.29121 | -0.14104 | 2.9415e-06 | -0.00011374 | 0.0095057 | 0.0095072 | 0.0095072 | 0.98249 | -0.77296 | 0.98247 | -0.774 | 1.474
5 | 1.2616 | 0.51848 | -1.2613 | -0.55287 | 0.00028701 | -0.03439 | 0.040127 | 0.040525 | 0.040525 | 0.98126 | -0.78269 | 0.98102 | -0.78422 | 6.3518
6 | 1.4508 | 0.60684 | -1.4507 | -0.60893 | 2.2988e-05 | -0.0020889 | 0.046263 | 0.046287 | 0.046287 | 0.98126 | -0.78269 | 0.98124 | -0.78281 | 7.255
7 | 0.23094 | 0.11184 | -0.23094 | -0.11185 | 1.3622e-07 | -8.7085e-06 | 0.0075146 | 0.0075148 | 0.0075148 | 0.98572 | -0.5658 | 0.98572 | -0.56586 | 1.1651
8 | -3.4764 | -1.4003 | 3.4786 | 1.3662 | 0.0021441 | -0.034102 | 0.10976 | 0.10938 | 0.10976 | 0.98572 | -0.5658 | 0.98636 | -0.56075 | 17.2035
9 | 1.2613 | 0.55287 | -1.2613 | -0.55579 | 2.4623e-05 | -0.0029177 | 0.040525 | 0.040559 | 0.040559 | 0.98102 | -0.78422 | 0.981 | -0.78434 | 6.3573
10 | 1.1451 | 0.46089 | -1.1451 | -0.462 | 7.5024e-06 | -0.0011093 | 0.036313 | 0.036326 | 0.036326 | 0.98124 | -0.78281 | 0.98123 | -0.78286 | 5.6937
11 | -0.66674 | -0.31699 | 0.66677 | 0.31572 | 3.525e-05 | -0.0012743 | 0.021732 | 0.021716 | 0.021732 | 0.98065 | -0.78622 | 0.9807 | -0.78666 | 9.8783
12 | 0.29 | 0.13453 | -0.28999 | -0.1361 | 8.1166e-06 | -0.0015706 | 0.0094105 | 0.0094301 | 0.0094301 | 0.98065 | -0.78622 | 0.98062 | -0.786 | 4.2864
13 | -0.66677 | -0.31572 | 0.66684 | 0.30592 | 6.7608e-05 | -0.0098012 | 0.021716 | 0.021593 | 0.021716 | 0.9807 | -0.78666 | 0.9808 | -0.78542 | 5.9989
14 | 0.28999 | 0.1361 | -0.28997 | -0.14 | 2.0293e-05 | -0.0038981 | 0.0094301 | 0.0094795 | 0.0094795 | 0.98062 | -0.786 | 0.98056 | -0.78541 | 4.3089
15 | -0.97147 | -0.45302 | 0.97164 | 0.41878 | 0.00017237 | -0.034241 | 0.031549 | 0.031135 | 0.031549 | 0.9808 | -0.78542 | 0.98099 | -0.78445 | 4.945
16 | 0.30463 | 0.14711 | -0.30463 | -0.14754 | 2.4876e-06 | -0.00043074 | 0.0099567 | 0.0099622 | 0.0099622 | 0.9808 | -0.78542 | 0.9808 | -0.78535 | 4.5283
17 | 0.28997 | 0.14 | -0.28996 | -0.14044 | 2.29e-06 | -0.00043729 | 0.0094795 | 0.0094851 | 0.0094851 | 0.98056 | -0.78541 | 0.98055 | -0.78534 | 4.3114
18 | -0.97164 | -0.41878 | 0.97166 | 0.41551 | 1.6255e-05 | -0.0032761 | 0.031135 | 0.031097 | 0.031135 | 0.98099 | -0.78445 | 0.981 | -0.78434 | 4.8801
19 | 1.1451 | 0.462 | -1.1449 | -0.48911 | 0.00018502 | -0.027114 | 0.036326 | 0.036633 | 0.036633 | 0.98123 | -0.78286 | 0.98107 | -0.78402 | 5.7418
20 | 0.82386 | 0.33376 | -0.82372 | -0.3713 | 0.00013367 | -0.037544 | 0.026155 | 0.026591 | 0.026591 | 0.98107 | -0.78402 | 0.9809 | -0.78509 | 4.1678
21 | 0.32102 | 0.15536 | -0.32101 | -0.15547 | 3.7833e-06 | -0.00011784 | 0.010494 | 0.010495 | 0.010495 | 0.98107 | -0.78402 | 0.98105 | -0.78523 | 1.6272
22 | 0.41283 | 0.17335 | -0.41281 | -0.19908 | 2.337e-05 | -0.025723 | 0.013177 | 0.013488 | 0.013488 | 0.9809 | -0.78509 | 0.98084 | -0.78539 | 2.1142
23 | 0.41089 | 0.19795 | -0.41088 | -0.199 | 1.1036e-05 | -0.0010497 | 0.013422 | 0.013436 | 0.013436 | 0.9809 | -0.78509 | 0.98088 | -0.78485 | 6.1072
24 | 0.41281 | 0.19908 | -0.4128 | -0.19993 | 9.0347e-06 | -0.00085103 | 0.013488 | 0.013499 | 0.013499 | 0.98084 | -0.78539 | 0.98082 | -0.7852 | 6.1361
25 | -2.1036 | -1.0012 | 2.1037 | 0.9976 | 8.7218e-05 | -0.0036313 | 0.068338 | 0.068292 | 0.068338 | 0.98411 | -0.61108 | 0.98415 | -0.61091 | 10.7113
26 | 1.7446 | 0.82739 | -1.7446 | -0.82729 | 6.8103e-05 | 0.00010354 | 0.05664 | 0.056641 | 0.056641 | 0.98411 | -0.61108 | 0.98404 | -0.61513 | 8.7815
27 | -2.1037 | -0.9976 | 2.1045 | 0.99923 | 0.00086803 | 0.0016356 | 0.068292 | 0.068283 | 0.068292 | 0.98415 | -0.61091 | 0.9849 | -0.56818 | 10.5879
28 | 1.7446 | 0.82729 | -1.7445 | -0.82984 | 4.2064e-05 | -0.0025564 | 0.056641 | 0.056673 | 0.056673 | 0.98404 | -0.61513 | 0.98401 | -0.61522 | 8.883
29 | 1.7445 | 0.82984 | -1.7445 | -0.83299 | 5.1781e-05 | -0.0031427 | 0.056673 | 0.056713 | 0.056713 | 0.98401 | -0.61522 | 0.98398 | -0.61534 | 8.8893
30 | -2.2973 | -1.0926 | 2.2994 | 1.0195 | 0.0020641 | -0.073051 | 0.074562 | 0.073654 | 0.074562 | 0.9849 | -0.56818 | 0.98582 | -0.56378 | 11.6868
31 | 0.19282 | 0.093327 | -0.19282 | -0.093387 | 6.4019e-07 | -5.9264e-05 | 0.0062787 | 0.0062795 | 0.0062795 | 0.9849 | -0.56818 | 0.9849 | -0.56852 | 0.97357
32 | 1.0354 | 0.48958 | -1.0354 | -0.49245 | 1.6547e-05 | -0.0028729 | 0.033601 | 0.033637 | 0.033637 | 0.98398 | -0.61534 | 0.98396 | -0.61541 | 5.2723
33 | -0.13866 | -0.067157 | 0.13866 | 0.066976 | 2.1066e-07 | -0.00018031 | 0.0045092 | 0.0045069 | 0.0045092 | 0.98634 | -0.56088 | 0.98634 | -0.5609 | 2.0496
34 | -0.13866 | -0.066976 | 0.13866 | 0.042298 | 2.3736e-06 | -0.024678 | 0.0045069 | 0.0042428 | 0.0045069 | 0.98634 | -0.5609 | 0.98636 | -0.56075 | 0.7064
35 | -3.6172 | -1.4085 | 3.6173 | 1.4068 | 0.00011327 | -0.0016727 | 0.11361 | 0.11359 | 0.11361 | 0.98636 | -0.56075 | 0.98639 | -0.56048 | 17.8067
36 | 2.5909 | 1.1162 | -2.5909 | -1.1173 | 3.9095e-05 | -0.0011125 | 0.082563 | 0.082576 | 0.082576 | 0.98639 | -0.56048 | 0.98638 | -0.56058 | 12.9429
37 | -6.5597 | -2.6932 | 6.5609 | 2.6962 | 0.0011514 | 0.0029954 | 0.20753 | 0.20752 | 0.20753 | 0.98639 | -0.56048 | 0.9867 | -0.54088 | 32.1746
38 | 6.564 | 2.6837 | -6.5637 | -2.685 | 0.00033337 | -0.0013484 | 0.20737 | 0.20738 | 0.20738 | 0.9872 | -0.53733 | 0.98714 | -0.53771 | 32.5053
39 | -6.8049 | -2.8003 | 6.8344 | 2.8771 | 0.02944 | 0.076748 | 0.21518 | 0.21515 | 0.21518 | 0.9872 | -0.53733 | 0.99492 | -0.058181 | 33.3611
40 | 6.5637 | 2.685 | -6.5609 | -2.6962 | 0.0027659 | -0.011171 | 0.20738 | 0.20752 | 0.20752 | 0.98714 | -0.53771 | 0.9867 | -0.54088 | 32.5274
41 | -7.1045 | -3.0079 | 7.105 | 3.0062 | 0.00049735 | -0.0017181 | 0.22385 | 0.22383 | 0.22385 | 0.99492 | -0.058181 | 0.995 | -0.057705 | 35.0863
42 | 2.5909 | 1.1173 | -2.5895 | -1.1566 | 0.0013912 | -0.03933 | 0.082576 | 0.083048 | 0.083048 | 0.98638 | -0.56058 | 0.98582 | -0.56378 | 13.0169
43 | 0.29012 | 0.13709 | -0.29011 | -0.14051 | 1.535e-06 | -0.0034194 | 0.0093961 | 0.0094393 | 0.0094393 | 0.98582 | -0.56378 | 0.98582 | -0.5638 | 1.4795
44 | -7.5549 | -3.2166 | 7.5661 | 3.1831 | 0.011184 | -0.033511 | 0.23823 | 0.23778 | 0.23823 | 0.995 | -0.057705 | 0.99654 | -0.047651 | 37.3399
45 | 0.44989 | 0.21042 | -0.44967 | -0.2139 | 0.0002213 | -0.0034725 | 0.01441 | 0.01446 | 0.01446 | 0.995 | -0.057705 | 0.99409 | -0.10884 | 2.2419
46 | -7.5661 | -3.1831 | 7.5664 | 3.1823 | 0.00028799 | -0.00086651 | 0.23778 | 0.23777 | 0.23778 | 0.99654 | -0.047651 | 0.99658 | -0.047387 | 37.2694
47 | 0.11017 | 0.049472 | -0.11017 | -0.050913 | 8.8667e-08 | -0.0014415 | 0.003507 | 0.0035244 | 0.0035244 | 0.99409 | -0.10884 | 0.99409 | -0.10884 | 0.55241
48 | -7.6327 | -3.2144 | 7.6336 | 3.2119 | 0.00085821 | -0.002529 | 0.2399 | 0.23987 | 0.2399 | 0.99658 | -0.047387 | 0.9967 | -0.046609 | 37.6017
49 | -8.2374 | -3.436 | 8.2389 | 3.4323 | 0.001517 | -0.0037907 | 0.2577 | 0.25765 | 0.2577 | 0.99981 | -0.0013146 | 1 | 0 | 40.392
50 | 8.1249 | 3.3816 | -8.1229 | -3.3763 | 0.0020121 | 0.00529 | 0.2541 | 0.2541 | 0.2541 | 0.99981 | -0.0013146 | 0.99936 | -0.028814 | 39.3952
51 | 4.5932 | 2.0026 | -4.5912 | -2.0214 | 0.0020607 | -0.018824 | 0.14465 | 0.14488 | 0.14488 | 1 | 0 | 0.99953 | -0.0026956 | 22.7087
52 | 8.1229 | 3.3763 | -8.1077 | -3.4153 | 0.015204 | -0.039067 | 0.2541 | 0.25463 | 0.25463 | 0.99936 | -0.028814 | 0.99739 | -0.042029 | 39.9108
53 | 0.23845 | 0.11546 | -0.23845 | -0.11549 | 1.4392e-06 | -3.1683e-05 | 0.007668 | 0.0076684 | 0.0076684 | 0.99739 | -0.042029 | 0.99738 | -0.042214 | 2.191
54 | 7.8692 | 3.2999 | -7.864 | -3.3141 | 0.005185 | -0.01425 | 0.24697 | 0.24717 | 0.24717 | 0.99739 | -0.042029 | 0.9967 | -0.046609 | 38.7408
55 | 4.5912 | 2.0214 | -4.591 | -2.0233 | 0.00020955 | -0.0019097 | 0.14488 | 0.1449 | 0.1449 | 0.99953 | -0.0026956 | 0.99948 | -0.0029641 | 22.7124
56 | 0.23045 | 0.10227 | -0.23045 | -0.11144 | 2.4598e-06 | -0.0091779 | 0.0073024 | 0.0074142 | 0.0074142 | 0.9967 | -0.046609 | 0.99669 | -0.046659 | 1.1621
57 | 0.23045 | 0.11144 | -0.23045 | -0.11161 | 5.3109e-06 | -0.00016653 | 0.0074142 | 0.0074164 | 0.0074164 | 0.99669 | -0.046659 | 0.99666 | -0.047691 | 1.8089
58 | 4.5078 | 1.983 | -4.5077 | -1.9837 | 7.1498e-05 | -0.00067754 | 0.14224 | 0.14225 | 0.14225 | 0.99948 | -0.0029641 | 0.99947 | -0.0030579 | 22.2956
59 | 3.2868 | 1.3972 | -3.2867 | -1.3975 | 0.00017926 | -0.00024726 | 0.1032 | 0.1032 | 0.1032 | 0.99904 | -0.0013815 | 0.99899 | -0.0010414 | 46.9102
60 | -3.3943 | -1.4493 | 3.3948 | 1.4486 | 0.00052353 | -0.00066659 | 0.10665 | 0.10664 | 0.10665 | 0.99904 | -0.0013815 | 0.99919 | -0.0023548 | 48.4752
61 | 3.2867 | 1.3975 | -3.2759 | -1.4123 | 0.010792 | -0.014793 | 0.1032 | 0.10341 | 0.10341 | 0.99899 | -0.0010414 | 0.99586 | 0.019905 | 47.0034
62 | -3.3948 | -1.4486 | 3.3956 | 1.4476 | 0.000781 | -0.00099513 | 0.10664 | 0.10662 | 0.10664 | 0.99919 | -0.0023548 | 0.99941 | -0.0038032 | 48.471
63 | 3.2759 | 1.4123 | -3.2754 | -1.412 | 0.00050754 | 0.00028637 | 0.10341 | 0.10341 | 0.10341 | 0.99586 | 0.019905 | 0.9957 | 0.018443 | 49.2418
64 | -4.5075 | -1.9844 | 4.5077 | 1.9837 | 0.00024426 | -0.00067891 | 0.14226 | 0.14225 | 0.14226 | 0.99941 | -0.0038032 | 0.99947 | -0.0030579 | 39.2972
65 | 1.1119 | 0.53679 | -1.1117 | -0.53844 | 0.00011996 | -0.0016482 | 0.035663 | 0.035684 | 0.035684 | 0.99941 | -0.0038032 | 0.99931 | -0.0028666 | 16.22
66 | 3.142 | 1.3474 | -3.1413 | -1.347 | 0.000626 | 0.00034978 | 0.099115 | 0.099115 | 0.099115 | 0.9957 | 0.018443 | 0.99549 | 0.016538 | 47.1976
67 | -0.15909 | -0.077049 | 0.15909 | 0.077012 | 1.5104e-06 | -3.692e-05 | 0.0051363 | 0.0051358 | 0.0051363 | 0.99346 | 0.030305 | 0.99347 | 0.030368 | 2.4458
68 | -3.1346 | -1.3571 | 3.1413 | 1.347 | 0.0066901 | -0.010044 | 0.099253 | 0.099115 | 0.099253 | 0.99347 | 0.030368 | 0.99549 | 0.016538 | 45.1151
69 | 2.9755 | 1.28 | -2.9662 | -1.2958 | 0.009367 | -0.015788 | 0.094122 | 0.094337 | 0.094337 | 0.99347 | 0.030368 | 0.9905 | 0.051187 | 42.8805
70 | 0.3626 | 0.17533 | -0.3626 | -0.17562 | 2.2414e-06 | -0.00028467 | 0.011738 | 0.011742 | 0.011742 | 0.9905 | 0.051187 | 0.99049 | 0.051241 | 5.3373
71 | 0.26364 | 0.10703 | -0.26356 | -0.12716 | 8.1212e-05 | -0.020129 | 0.0082926 | 0.008531 | 0.008531 | 0.9905 | 0.051187 | 0.99021 | 0.053363 | 3.8777
72 | 0.33517 | 0.14271 | -0.33508 | -0.15618 | 8.8051e-05 | -0.013476 | 0.010617 | 0.010777 | 0.010777 | 0.9905 | 0.051187 | 0.99025 | 0.053062 | 4.8987
73 | 2.0048 | 0.87076 | -2.0015 | -0.88379 | 0.0032515 | -0.013038 | 0.063701 | 0.063865 | 0.063865 | 0.9905 | 0.051187 | 0.98898 | 0.062215 | 29.0296
74 | 0.26356 | 0.12716 | -0.26355 | -0.12764 | 1.9994e-06 | -0.00048083 | 0.008531 | 0.0085371 | 0.0085371 | 0.99021 | 0.053363 | 0.9902 | 0.053429 | 3.8805
75 | 0.33508 | 0.15618 | -0.33508 | -0.15626 | 5.1218e-07 | -7.7181e-05 | 0.010777 | 0.010778 | 0.010778 | 0.99025 | 0.053062 | 0.99025 | 0.053074 | 4.8992
76 | 2.0015 | 0.88379 | -2.0014 | -0.88429 | 0.00012457 | -0.00049721 | 0.063865 | 0.063871 | 0.063871 | 0.98898 | 0.062215 | 0.98892 | 0.062648 | 29.0324
77 | -0.18341 | -0.088831 | 0.18342 | 0.088756 | 4.1786e-06 | -7.516e-05 | 0.0059414 | 0.0059404 | 0.0059414 | 0.99017 | 0.053442 | 0.99019 | 0.053592 | 2.8292
78 | -0.18342 | -0.088756 | 0.18343 | 0.084016 | 9.4485e-06 | -0.00474 | 0.0059404 | 0.0058815 | 0.0059404 | 0.99019 | 0.053592 | 0.99024 | 0.053171 | 2.7002
79 | -0.18343 | -0.084016 | 0.18343 | 0.082812 | 2.3702e-06 | -0.0012039 | 0.0058815 | 0.005867 | 0.0058815 | 0.99024 | 0.053171 | 0.99025 | 0.053074 | 2.6734
80 | 1.931 | 0.8502 | -1.9308 | -0.8501 | 0.00021231 | 9.6313e-05 | 0.061589 | 0.06159 | 0.06159 | 0.98892 | 0.062648 | 0.9888 | 0.061666 | 29.3285
81 | 1.2267 | 0.54952 | -1.2267 | -0.54961 | 8.7661e-06 | -9.5177e-05 | 0.039418 | 0.039419 | 0.039419 | 0.98441 | 0.085142 | 0.9844 | 0.085193 | 17.9177
82 | -1.4227 | -0.64443 | 1.4236 | 0.64472 | 0.00092533 | 0.00029296 | 0.045801 | 0.045797 | 0.045801 | 0.98441 | 0.085142 | 0.98509 | 0.090503 | 21.8098
83 | 1.2267 | 0.54961 | -1.2265 | -0.55193 | 0.00021332 | -0.0023139 | 0.039419 | 0.039447 | 0.039447 | 0.9844 | 0.085193 | 0.98424 | 0.086457 | 17.9307
84 | 0.15651 | 0.075109 | -0.15651 | -0.075803 | 1.0378e-06 | -0.00069442 | 0.0050874 | 0.0050962 | 0.0050962 | 0.98509 | 0.090503 | 0.98508 | 0.090561 | 2.3165
85 | -1.5801 | -0.71983 | 1.582 | 0.70751 | 0.0019148 | -0.012322 | 0.050883 | 0.050728 | 0.050883 | 0.98509 | 0.090503 | 0.98621 | 0.081583 | 23.1288
86 | 0.85283 | 0.37191 | -0.85242 | -0.38124 | 0.00040838 | -0.0093374 | 0.027288 | 0.0274 | 0.0274 | 0.98424 | 0.086457 | 0.98379 | 0.089788 | 12.4547
87 | 0.37367 | 0.18002 | -0.37366 | -0.18097 | 8.163e-06 | -0.00095225 | 0.012165 | 0.012177 | 0.012177 | 0.98424 | 0.086457 | 0.98422 | 0.086646 | 5.5351
88 | 0.60101 | 0.25952 | -0.60069 | -0.27405 | 0.00031477 | -0.014534 | 0.019209 | 0.019384 | 0.019384 | 0.98379 | 0.089788 | 0.98331 | 0.093483 | 8.8107
89 | 0.25142 | 0.12172 | -0.25141 | -0.12176 | 4.6132e-06 | -4.1636e-05 | 0.0081965 | 0.0081971 | 0.0081971 | 0.98379 | 0.089788 | 0.98377 | 0.089667 | 3.9034
90 | 0.27778 | 0.11816 | -0.27771 | -0.13334 | 7.045e-05 | -0.015178 | 0.008862 | 0.009046 | 0.009046 | 0.98331 | 0.093483 | 0.98307 | 0.095366 | 4.1118
91 | 0.32291 | 0.1559 | -0.32291 | -0.15639 | 3.1789e-06 | -0.00049481 | 0.010527 | 0.010533 | 0.010533 | 0.98331 | 0.093483 | 0.9833 | 0.093569 | 4.7879
92 | 0.27771 | 0.13334 | -0.2777 | -0.1345 | 5.5187e-06 | -0.0011621 | 0.009046 | 0.0090609 | 0.0090609 | 0.98307 | 0.095366 | 0.98305 | 0.095538 | 4.1186
93 | -0.27713 | -0.13422 | 0.27722 | 0.13352 | 9.4371e-05 | -0.00069795 | 0.0090163 | 0.0090067 | 0.0090163 | 0.98586 | 0.079315 | 0.98621 | 0.081583 | 4.2935
94 | 0.066164 | 0.031974 | -0.066164 | -0.032044 | 1.8637e-08 | -7.0126e-05 | 0.002151 | 0.0021519 | 0.0021519 | 0.98621 | 0.081583 | 0.98621 | 0.081585 | 0.97812
95 | -1.9254 | -0.873 | 1.9308 | 0.8501 | 0.0053523 | -0.022905 | 0.061882 | 0.06159 | 0.061882 | 0.98621 | 0.081583 | 0.9888 | 0.061666 | 28.1282
96 | -1.0354 | -0.50144 | 1.0354 | 0.49779 | 2.1154e-05 | -0.0036486 | 0.033752 | 0.033705 | 0.033752 | 0.98391 | -0.61561 | 0.98393 | -0.61553 | 5.2903
97 | -1.0354 | -0.49779 | 1.0354 | 0.49245 | 3.0875e-05 | -0.0053438 | 0.033705 | 0.033637 | 0.033705 | 0.98393 | -0.61553 | 0.98396 | -0.61541 | 5.2829
98 | 0.11017 | 0.050913 | -0.11016 | -0.053355 | 8.0669e-06 | -0.0024417 | 0.0035244 | 0.003555 | 0.003555 | 0.99409 | -0.10884 | 0.99395 | -0.11644 | 0.55116

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.8461 | 5.4453

## res_load
| p_mw | q_mvar
0 | 0.23268 | 0.11269
1 | 0.29121 | 0.14104
2 | 0.30566 | 0.14804
3 | 0.37674 | 0.18246
4 | 0.30463 | 0.14754
5 | 0.28964 | 0.14028
6 | 0.28996 | 0.14044
7 | 0.32101 | 0.15547
8 | 0.41088 | 0.199
9 | 0.4128 | 0.19993
10 | 0.35893 | 0.17384
11 | 0.70905 | 0.34341
12 | 0.13866 | 0.067157
13 | 0.35145 | 0.17022
14 | 0.23094 | 0.11185
15 | 0.24092 | 0.11668
16 | 0.27018 | 0.13085
17 | 0.19282 | 0.093387
18 | 0.29011 | 0.14051
19 | 0.3395 | 0.16443
20 | 0.066332 | 0.032126
21 | 0.11249 | 0.05448
22 | 0.23845 | 0.11549
23 | 0.083173 | 0.040283
24 | 0.23045 | 0.11161
25 | 0.10747 | 0.052049
26 | 0.13341 | 0.064613
27 | 1.1117 | 0.53844
28 | 0.15909 | 0.077049
29 | 0.3626 | 0.17562
30 | 0.26355 | 0.12764
31 | 0.18341 | 0.088831
32 | 0.15165 | 0.073449
33 | 0.070399 | 0.034096
34 | 0.19597 | 0.094913
35 | 0.37366 | 0.18097
36 | 0.25141 | 0.12176
37 | 0.32291 | 0.15639
38 | 0.27713 | 0.13422
39 | 0.2777 | 0.1345
40 | 1.0354 | 0.50144
41 | 0.066164 | 0.032044
42 | 0.15651 | 0.075803
43 | 0.11016 | 0.053355

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1