## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_425_1_node_23 | 20 | n |  | TRUE
1 | bus_MV_425_1_node_25 | 20 | n |  | TRUE
2 | bus_MV_425_1_node_24 | 20 | n |  | TRUE
3 | bus_MV_425_1_node_84 | 20 | n |  | TRUE
4 | bus_MV_425_1_node_26 | 20 | n |  | TRUE
5 | bus_MV_425_1_node_85 | 20 | n |  | TRUE
6 | bus_MV_425_1_node_225 | 20 | n |  | TRUE
7 | bus_MV_425_1_node_184 | 20 | n |  | TRUE
8 | bus_MV_425_1_node_182 | 20 | n |  | TRUE
9 | bus_MV_425_1_node_183 | 20 | n |  | TRUE
10 | bus_MV_425_1_node_185 | 20 | n |  | TRUE
11 | bus_MV_425_1_node_186 | 20 | n |  | TRUE
12 | bus_MV_425_1_node_43 | 20 | n |  | TRUE
13 | bus_MV_425_1_node_44 | 20 | n |  | TRUE
14 | bus_MV_425_1_node_45 | 20 | n |  | TRUE
15 | bus_MV_425_1_node_113 | 20 | n |  | TRUE
16 | bus_MV_425_1_node_46 | 20 | n |  | TRUE
17 | bus_MV_425_1_node_112 | 20 | n |  | TRUE
18 | bus_MV_425_1_node_167 | 20 | n |  | TRUE
19 | bus_MV_425_1_node_223 | 20 | n |  | TRUE
20 | bus_MV_425_1_node_86 | 20 | n |  | TRUE
21 | bus_MV_425_1_node_89 | 20 | n |  | TRUE
22 | bus_MV_425_1_node_90 | 20 | n |  | TRUE
23 | bus_MV_425_1_node_93 | 20 | n |  | TRUE
24 | bus_MV_425_1_node_91 | 20 | n |  | TRUE
25 | bus_MV_425_1_node_88 | 20 | n |  | TRUE
26 | bus_MV_425_1_node_87 | 20 | n |  | TRUE
27 | bus_MV_425_1_node_217 | 20 | n |  | TRUE
28 | bus_MV_425_1_node_92 | 20 | n |  | TRUE
29 | bus_MV_425_1_node_94 | 20 | n |  | TRUE
30 | bus_MV_425_1_node_194 | 20 | n |  | TRUE
31 | bus_MV_425_1_node_95 | 20 | n |  | TRUE
32 | bus_MV_425_1_node_96 | 20 | n |  | TRUE
33 | bus_MV_425_1_node_97 | 20 | n |  | TRUE
34 | bus_MV_425_1_node_160 | 20 | n |  | TRUE
35 | bus_MV_425_1_node_159 | 20 | n |  | TRUE
36 | bus_MV_425_1_node_99 | 20 | n |  | TRUE
37 | bus_MV_425_1_node_158 | 20 | n |  | TRUE
38 | bus_MV_425_1_node_98 | 20 | n |  | TRUE
39 | bus_MV_425_1_node_100 | 20 | n |  | TRUE
40 | bus_MV_425_1_node_102 | 20 | n |  | TRUE
41 | bus_MV_425_1_node_104 | 20 | n |  | TRUE
42 | bus_MV_425_1_node_120 | 20 | n |  | TRUE
43 | bus_MV_425_1_node_161 | 20 | n |  | TRUE
44 | bus_MV_425_1_node_165 | 20 | n |  | TRUE
45 | bus_MV_425_1_node_163 | 20 | n |  | TRUE
46 | bus_MV_425_1_node_107 | 20 | n |  | TRUE
47 | bus_MV_425_1_node_108 | 20 | n |  | TRUE
48 | bus_MV_425_1_node_115 | 20 | n |  | TRUE
49 | bus_MV_425_1_node_116 | 20 | n |  | TRUE
50 | bus_MV_425_1_node_205 | 20 | n |  | TRUE
51 | bus_MV_425_1_node_106 | 20 | n |  | TRUE
52 | bus_MV_425_1_node_206 | 20 | n |  | TRUE
53 | bus_MV_425_1_node_153 | 20 | n |  | TRUE
54 | bus_MV_425_1_node_152 | 20 | n |  | TRUE
55 | bus_MV_425_1_node_109 | 20 | n |  | TRUE
56 | bus_MV_425_1_node_177 | 20 | n |  | TRUE
57 | bus_MV_425_1_node_174 | 20 | n |  | TRUE
58 | bus_MV_425_1_node_101 | 20 | n |  | TRUE
59 | bus_MV_425_1_node_103 | 20 | n |  | TRUE
60 | bus_MV_425_1_node_166 | 20 | n |  | TRUE
61 | bus_MV_425_1_node_130 | 20 | n |  | TRUE
62 | bus_MV_425_1_node_132 | 20 | n |  | TRUE
63 | bus_MV_425_1_node_131 | 20 | n |  | TRUE
64 | bus_MV_425_1_node_143 | 20 | n |  | TRUE
65 | bus_MV_425_1_node_133 | 20 | n |  | TRUE
66 | bus_MV_425_1_node_179 | 20 | n |  | TRUE
67 | bus_MV_425_1_node_173 | 20 | n |  | TRUE
68 | bus_MV_425_1_node_129 | 20 | n |  | TRUE
69 | bus_MV_425_1_node_168 | 20 | n |  | TRUE
70 | bus_MV_425_1_node_105 | 20 | n |  | TRUE
71 | bus_MV_425_1_node_110 | 20 | n |  | TRUE
72 | bus_MV_425_1_node_111 | 20 | n |  | TRUE
73 | bus_MV_425_1_node_212 | 20 | n |  | TRUE
74 | bus_MV_425_1_node_117 | 20 | n |  | TRUE
75 | bus_MV_425_1_node_114 | 20 | n |  | TRUE
76 | bus_MV_425_1_node_203 | 20 | n |  | TRUE
77 | bus_MV_425_1_node_198 | 20 | n |  | TRUE
78 | bus_MV_425_1_node_228 | 20 | n |  | TRUE
79 | bus_MV_425_1_node_175 | 20 | n |  | TRUE
80 | bus_MV_425_1_node_121 | 20 | n |  | TRUE
81 | bus_MV_425_1_node_118 | 20 | n |  | TRUE
82 | bus_MV_425_1_node_122 | 20 | n |  | TRUE
83 | bus_MV_425_1_node_123 | 20 | n |  | TRUE
84 | bus_MV_425_1_node_124 | 20 | n |  | TRUE
85 | bus_MV_425_1_node_164 | 20 | n |  | TRUE
86 | bus_MV_425_1_node_128 | 20 | n |  | TRUE
87 | bus_MV_425_1_node_125 | 20 | n |  | TRUE
88 | bus_MV_425_1_node_126 | 20 | n |  | TRUE
89 | bus_MV_425_1_node_127 | 20 | n |  | TRUE
90 | bus_MV_425_1_node_140 | 20 | n |  | TRUE
91 | bus_MV_425_1_node_222 | 20 | n |  | TRUE
92 | bus_MV_425_1_node_137 | 20 | n |  | TRUE
93 | bus_MV_425_1_node_144 | 20 | n |  | TRUE
94 | bus_MV_425_1_node_170 | 20 | n |  | TRUE
95 | bus_MV_425_1_node_202 | 20 | n |  | TRUE
96 | bus_MV_425_1_node_169 | 20 | n |  | TRUE
97 | bus_MV_425_1_node_134 | 20 | n |  | TRUE
98 | bus_MV_425_1_node_135 | 20 | n |  | TRUE
99 | bus_MV_425_1_node_136 | 20 | n |  | TRUE
100 | bus_MV_425_1_node_138 | 20 | n |  | TRUE
101 | bus_MV_425_1_node_141 | 20 | n |  | TRUE
102 | bus_MV_425_1_node_139 | 20 | n |  | TRUE
103 | bus_MV_425_1_node_142 | 20 | n |  | TRUE
104 | bus_MV_425_1_node_171 | 20 | n |  | TRUE
105 | bus_MV_425_1_node_181 | 20 | n |  | TRUE
106 | bus_MV_425_1_node_227 | 20 | n |  | TRUE
107 | bus_MV_425_1_node_180 | 20 | n |  | TRUE
108 | bus_MV_425_1_node_146 | 20 | n |  | TRUE
109 | bus_MV_425_1_node_211 | 20 | n |  | TRUE
110 | bus_MV_425_1_node_150 | 20 | n |  | TRUE
111 | bus_MV_425_1_node_147 | 20 | n |  | TRUE
112 | bus_MV_425_1_node_149 | 20 | n |  | TRUE
113 | bus_MV_425_1_node_148 | 20 | n |  | TRUE
114 | bus_MV_425_1_node_151 | 20 | n |  | TRUE
115 | bus_MV_425_1_node_154 | 20 | n |  | TRUE
116 | bus_MV_425_1_node_155 | 20 | n |  | TRUE
117 | bus_MV_425_1_node_196 | 20 | n |  | TRUE
118 | bus_MV_425_1_node_156 | 20 | n |  | TRUE
119 | bus_MV_425_1_node_234 | 20 | n |  | TRUE
120 | bus_MV_425_1_node_157 | 20 | n |  | TRUE
121 | bus_MV_425_1_node_201 | 20 | n |  | TRUE
122 | bus_MV_425_1_node_199 | 20 | n |  | TRUE
123 | bus_MV_425_1_node_233 | 20 | n |  | TRUE
124 | bus_MV_425_1_node_176 | 20 | n |  | TRUE
125 | bus_MV_425_1_node_178 | 20 | n |  | TRUE
126 | bus_MV_425_1_node_204 | 20 | n |  | TRUE
127 | bus_MV_425_1_node_200 | 20 | n |  | TRUE
128 | bus_MV_425_1_node_195 | 20 | n |  | TRUE
129 | bus_MV_425_1_node_197 | 20 | n |  | TRUE
130 | bus_HV_425_1_node_123 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_425_1_load_23 | 0 | 0.18326 | 0.088756 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_425_1_load_84 | 3 | 0.14389 | 0.069691 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_425_1_load_225 | 6 | 0.1492 | 0.072259 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_425_1_load_184 | 7 | 0.10758 | 0.052103 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_425_1_load_182 | 8 | 0.080181 | 0.038834 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_425_1_load_186 | 11 | 0.076063 | 0.036839 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_425_1_load_43 | 12 | 0.12804 | 0.06201 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_425_1_load_112 | 17 | 0.14778 | 0.071575 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_425_1_load_167 | 18 | 0.14589 | 0.07066 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_425_1_load_223 | 19 | 0.081636 | 0.039538 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_425_1_load_90 | 22 | 0.11591 | 0.056137 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_425_1_load_91 | 24 | 0.11629 | 0.056321 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_425_1_load_87 | 26 | 0.10679 | 0.05172 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_425_1_load_217 | 27 | 0.13566 | 0.065704 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_425_1_load_194 | 30 | 0.069596 | 0.033707 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_425_1_load_95 | 31 | 0.15633 | 0.075716 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_425_1_load_160 | 34 | 0.099693 | 0.048284 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_425_1_load_158 | 37 | 0.099456 | 0.048169 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_425_1_load_100 | 39 | 0.13345 | 0.064634 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_425_1_load_120 | 42 | 0.15004 | 0.072666 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_425_1_load_205 | 50 | 0.083545 | 0.040463 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_425_1_load_206 | 52 | 0.086467 | 0.041878 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_425_1_load_152 | 54 | 0.13991 | 0.067761 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_425_1_load_174 | 57 | 0.14231 | 0.068924 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_425_1_load_101 | 58 | 0.14475 | 0.070103 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_425_1_load_103 | 59 | 0.091269 | 0.044203 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_425_1_load_143 | 64 | 0.082606 | 0.040008 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_425_1_load_179 | 66 | 0.10117 | 0.048999 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_425_1_load_173 | 67 | 0.12739 | 0.061696 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_425_1_load_168 | 69 | 0.14927 | 0.072296 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_425_1_load_212 | 73 | 0.1214 | 0.058796 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_425_1_load_117 | 74 | 0.14743 | 0.071404 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_425_1_load_114 | 75 | 0.13505 | 0.065409 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_425_1_load_203 | 76 | 0.7215 | 0.34944 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_425_1_load_198 | 77 | 0.15422 | 0.074694 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_425_1_load_228 | 78 | 0.068259 | 0.03306 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_425_1_load_121 | 80 | 0.077268 | 0.037423 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_425_1_load_118 | 81 | 0.093061 | 0.045071 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_425_1_load_122 | 82 | 0.11129 | 0.053899 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_425_1_load_164 | 85 | 0.1557 | 0.075407 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_425_1_load_128 | 86 | 0.14099 | 0.068282 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_425_1_load_125 | 87 | 0.14547 | 0.070454 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_425_1_load_140 | 90 | 0.10423 | 0.050481 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_425_1_load_144 | 93 | 0.063099 | 0.03056 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_425_1_load_170 | 94 | 0.091463 | 0.044298 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_425_1_load_202 | 95 | 0.11584 | 0.056102 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_425_1_load_169 | 96 | 0.11369 | 0.055063 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_425_1_load_134 | 97 | 0.099356 | 0.04812 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_425_1_load_139 | 102 | 0.058703 | 0.028431 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_425_1_load_181 | 105 | 0.58626 | 0.28394 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_425_1_load_227 | 106 | 0.13562 | 0.065683 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_425_1_load_180 | 107 | 0.12035 | 0.058288 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_425_1_load_146 | 108 | 0.092618 | 0.044857 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_425_1_load_211 | 109 | 0.10515 | 0.050929 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_425_1_load_147 | 111 | 0.16015 | 0.077565 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_425_1_load_154 | 115 | 0.12608 | 0.061064 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_425_1_load_234 | 119 | 0.1128 | 0.054633 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_425_1_load_201 | 121 | 0.089751 | 0.043468 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_425_1_load_233 | 123 | 0.15427 | 0.074718 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_425_1_load_178 | 125 | 0.3476 | 0.16835 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_425_1_load_204 | 126 | 0.10039 | 0.048623 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_425_1_load_195 | 128 | 0.074933 | 0.036292 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_425_1_line_0 |  | 0 | 1 | 0.007655 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
1 | MV_425_1_line_1 |  | 0 | 2 | 0.12403 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
2 | MV_425_1_line_2 |  | 1 | 3 | 1.1491 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
3 | MV_425_1_line_3 |  | 2 | 4 | 0.58761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_425_1_line_4 |  | 3 | 5 | 0.1101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_425_1_line_5 |  | 3 | 6 | 1.9059 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
6 | MV_425_1_line_6 |  | 4 | 7 | 0.078053 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_425_1_line_7 |  | 4 | 8 | 0.082826 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_425_1_line_8 |  | 5 | 20 | 0.46025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_425_1_line_9 |  | 6 | 91 | 1.2909 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
10 | MV_425_1_line_10 |  | 6 | 88 | 1.6931 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
11 | MV_425_1_line_11 |  | 8 | 9 | 0.11895 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_425_1_line_12 |  | 9 | 10 | 0.059378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_425_1_line_13 |  | 10 | 11 | 0.087838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_425_1_line_14 |  | 12 | 13 | 0.11954 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_425_1_line_15 |  | 12 | 14 | 0.21644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_425_1_line_16 |  | 13 | 15 | 1.7719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_425_1_line_17 |  | 14 | 16 | 1.3368 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_425_1_line_18 |  | 15 | 17 | 0.013042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_425_1_line_19 |  | 16 | 18 | 0.038813 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_425_1_line_20 |  | 18 | 19 | 1.7797 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_425_1_line_21 |  | 19 | 91 | 0.018898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_425_1_line_22 |  | 20 | 21 | 0.32785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_425_1_line_23 |  | 20 | 22 | 0.059731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_425_1_line_24 |  | 21 | 23 | 0.033228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_425_1_line_25 |  | 21 | 24 | 0.076795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_425_1_line_26 |  | 21 | 25 | 0.33012 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_425_1_line_27 |  | 23 | 27 | 0.071732 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_425_1_line_28 |  | 24 | 28 | 0.084684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_425_1_line_29 |  | 25 | 26 | 0.014909 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_425_1_line_30 |  | 28 | 29 | 0.13026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_425_1_line_31 |  | 29 | 30 | 0.0084795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_425_1_line_32 |  | 31 | 32 | 0.019242 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_425_1_line_33 |  | 32 | 33 | 0.090128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_425_1_line_34 |  | 32 | 34 | 0.07103 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_425_1_line_35 |  | 33 | 35 | 0.071031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_425_1_line_36 |  | 33 | 36 | 0.21337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_425_1_line_37 |  | 33 | 37 | 0.029287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_425_1_line_38 |  | 34 | 43 | 0.007164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_425_1_line_39 |  | 35 | 45 | 0.014265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_425_1_line_40 |  | 36 | 40 | 0.14962 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
41 | MV_425_1_line_41 |  | 36 | 41 | 0.34604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_425_1_line_42 |  | 36 | 42 | 0.04237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_425_1_line_43 |  | 36 | 38 | 0.22205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_425_1_line_44 |  | 38 | 39 | 0.020729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_425_1_line_45 |  | 40 | 58 | 0.027073 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
46 | MV_425_1_line_46 |  | 41 | 59 | 0.031441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_425_1_line_47 |  | 41 | 55 | 0.35595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_425_1_line_48 |  | 43 | 44 | 0.058399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_425_1_line_49 |  | 44 | 123 | 0.097329 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_425_1_line_50 |  | 45 | 85 | 0.074969 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_425_1_line_51 |  | 46 | 47 | 0.1926 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_425_1_line_52 |  | 46 | 48 | 0.17628 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_425_1_line_53 |  | 46 | 49 | 0.59463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_425_1_line_54 |  | 46 | 50 | 0.031976 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_425_1_line_55 |  | 47 | 53 | 0.04912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_425_1_line_56 |  | 47 | 54 | 0.031388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_425_1_line_57 |  | 47 | 51 | 0.30266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_425_1_line_58 |  | 48 | 75 | 0.03886 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_425_1_line_59 |  | 49 | 76 | 0.27447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_425_1_line_60 |  | 51 | 52 | 0.025268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_425_1_line_61 |  | 53 | 77 | 0.002834 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_425_1_line_62 |  | 55 | 56 | 0.22712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_425_1_line_63 |  | 55 | 57 | 0.091887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_425_1_line_64 |  | 56 | 78 | 0.028371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_425_1_line_65 |  | 57 | 79 | 0.097838 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_425_1_line_66 |  | 58 | 60 | 0.25947 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
67 | MV_425_1_line_67 |  | 59 | 70 | 0.034047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_425_1_line_68 |  | 60 | 69 | 0.073502 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_425_1_line_69 |  | 60 | 61 | 0.058386 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
70 | MV_425_1_line_70 |  | 61 | 62 | 0.064627 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
71 | MV_425_1_line_71 |  | 62 | 65 | 0.86864 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_425_1_line_72 |  | 62 | 66 | 0.091015 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_425_1_line_73 |  | 62 | 67 | 0.11448 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_425_1_line_74 |  | 62 | 68 | 0.3615 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
75 | MV_425_1_line_75 |  | 62 | 63 | 0.24254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_425_1_line_76 |  | 63 | 64 | 0.043334 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_425_1_line_77 |  | 65 | 93 | 0.072312 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_425_1_line_78 |  | 65 | 94 | 0.65457 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
79 | MV_425_1_line_79 |  | 68 | 86 | 0.084687 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
80 | MV_425_1_line_80 |  | 70 | 71 | 0.006438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_425_1_line_81 |  | 70 | 72 | 0.66792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_425_1_line_82 |  | 71 | 73 | 0.043768 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_425_1_line_83 |  | 72 | 74 | 0.049991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_425_1_line_84 |  | 74 | 80 | 0.14139 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_425_1_line_85 |  | 75 | 81 | 0.40771 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
86 | MV_425_1_line_86 |  | 77 | 117 | 0.019312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_425_1_line_87 |  | 79 | 124 | 0.018554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_425_1_line_88 |  | 82 | 83 | 0.082995 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_425_1_line_89 |  | 83 | 84 | 0.12203 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
90 | MV_425_1_line_90 |  | 84 | 86 | 0.022947 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
91 | MV_425_1_line_91 |  | 87 | 88 | 0.092305 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_425_1_line_92 |  | 88 | 89 | 0.10363 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
93 | MV_425_1_line_93 |  | 89 | 90 | 0.06421 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
94 | MV_425_1_line_94 |  | 90 | 92 | 0.085545 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
95 | MV_425_1_line_95 |  | 92 | 101 | 1.2162 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
96 | MV_425_1_line_96 |  | 92 | 98 | 0.37971 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_425_1_line_97 |  | 94 | 95 | 0.083085 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_425_1_line_98 |  | 94 | 96 | 0.024625 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
99 | MV_425_1_line_99 |  | 96 | 104 | 0.045138 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
100 | MV_425_1_line_100 |  | 97 | 98 | 0.014073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_425_1_line_101 |  | 97 | 99 | 0.032146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_425_1_line_102 |  | 99 | 100 | 0.78335 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_425_1_line_103 |  | 100 | 102 | 0.070511 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_425_1_line_104 |  | 101 | 103 | 0.11165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_425_1_line_105 |  | 101 | 104 | 0.22139 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
106 | MV_425_1_line_106 |  | 101 | 105 | 0.049323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_425_1_line_107 |  | 103 | 106 | 0.018315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_425_1_line_108 |  | 105 | 107 | 0.044351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_425_1_line_109 |  | 108 | 109 | 0.26439 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
110 | MV_425_1_line_110 |  | 109 | 110 | 0.012268 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_425_1_line_111 |  | 110 | 113 | 0.51213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_425_1_line_112 |  | 111 | 112 | 0.03167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_425_1_line_113 |  | 111 | 113 | 0.08861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
114 | MV_425_1_line_114 |  | 112 | 114 | 0.33755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_425_1_line_115 |  | 114 | 115 | 0.071317 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
116 | MV_425_1_line_116 |  | 115 | 116 | 0.043149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_425_1_line_117 |  | 116 | 118 | 0.80222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_425_1_line_118 |  | 117 | 122 | 0.029597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_425_1_line_119 |  | 117 | 128 | 0.029668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_425_1_line_120 |  | 118 | 119 | 0.061354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_425_1_line_121 |  | 118 | 120 | 0.30921 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
122 | MV_425_1_line_122 |  | 120 | 121 | 0.024923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
123 | MV_425_1_line_123 |  | 121 | 122 | 0.071491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
124 | MV_425_1_line_124 |  | 124 | 125 | 0.036923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
125 | MV_425_1_line_125 |  | 125 | 126 | 0.10225 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
126 | MV_425_1_line_126 |  | 126 | 127 | 0.00062871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
127 | MV_425_1_line_127 |  | 127 | 129 | 0.085974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
128 | MV_425_1_line_128 |  | 128 | 129 | 0.052098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_425_1_trafo_123 | 25 MVA 110/20 kV | 130 | 83 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2664175.6317 | 1266634.1077
1 | 2664171.4439 | 1266640.5226
2 | 2664211.2378 | 1266515.2936
3 | 2664191.7309 | 1267789.4003
4 | 2664175.5974 | 1266077.8662
5 | 2664142.0328 | 1267887.5797
6 | 2666085.3052 | 1267572.6335
7 | 2664168.4965 | 1266155.592
8 | 2664093.0224 | 1266071.4219
9 | 2664088.7368 | 1265952.5521
10 | 2664029.3664 | 1265953.3763
11 | 2664044.7034 | 1266038.3477
12 | 2668615.936 | 1268918.5312
13 | 2668721.4806 | 1268868.3967
14 | 2668401.3517 | 1268951.3469
15 | 2670487.4306 | 1268722.9931
16 | 2667324.8716 | 1269137.8296
17 | 2670500.2679 | 1268724.7936
18 | 2667321.3012 | 1269099.1814
19 | 2667367.177 | 1267320.0318
20 | 2663769.6957 | 1267991.1633
21 | 2663797.0601 | 1268247.186
22 | 2663796.0929 | 1268044.7443
23 | 2663829.2506 | 1268239.5277
24 | 2663784.4753 | 1268322.5073
25 | 2663521.4655 | 1268295.4213
26 | 2663514.4646 | 1268282.2472
27 | 2663881.1366 | 1268289.0591
28 | 2663759.4165 | 1268403.0314
29 | 2663823.1168 | 1268497.9132
30 | 2663826.0175 | 1268505.8811
31 | 2664270.5691 | 1270909.2265
32 | 2664265.8521 | 1270890.572
33 | 2664212.3013 | 1270857.5088
34 | 2664310.4417 | 1270835.2813
35 | 2664212.9445 | 1270796.3021
36 | 2664226.8371 | 1271046.8901
37 | 2664182.9389 | 1270858.1792
38 | 2664105.3519 | 1270996.8545
39 | 2664089.4093 | 1271010.1585
40 | 2664331.7595 | 1271106.8777
41 | 2664285.6592 | 1271234.7409
42 | 2664254.3816 | 1271079.081
43 | 2664316.5022 | 1270831.4332
44 | 2664365.5892 | 1270799.8324
45 | 2664212.317 | 1270782.051
46 | 2664006.8184 | 1271663.4657
47 | 2663981.5432 | 1271626.7748
48 | 2664022.7494 | 1271839.007
49 | 2663856.7398 | 1271991.4944
50 | 2664013.2116 | 1271632.5051
51 | 2664021.4079 | 1271387.011
52 | 2664002.5664 | 1271403.8471
53 | 2663948.4479 | 1271590.4774
54 | 2663957.0492 | 1271646.3913
55 | 2664025.8005 | 1271206.7088
56 | 2663864.2258 | 1271206.2931
57 | 2663956.7168 | 1271267.4072
58 | 2664353.8524 | 1271091.1395
59 | 2664310.9339 | 1271216.2128
60 | 2664566.7381 | 1270942.8035
61 | 2664607.6493 | 1270911.7713
62 | 2664631.9045 | 1270875.2641
63 | 2664826.9336 | 1270908.8265
64 | 2664849.1666 | 1270871.6307
65 | 2665268.6342 | 1270459.7882
66 | 2664671.9372 | 1270813.6544
67 | 2664526.9683 | 1270829.5153
68 | 2664738.6756 | 1270667.0841
69 | 2664613.8151 | 1270999.3506
70 | 2664321.4754 | 1271247.7741
71 | 2664322.5421 | 1271254.1239
72 | 2664312.0977 | 1271559.6121
73 | 2664329.3302 | 1271297.3645
74 | 2664276.7008 | 1271589.7613
75 | 2664026.8659 | 1271877.648
76 | 2663718.9068 | 1272089.5942
77 | 2663946.5146 | 1271588.3993
78 | 2663887.923 | 1271221.5054
79 | 2663883.2368 | 1271332.0064
80 | 2664154.4169 | 1271518.7774
81 | 2664270.981 | 1272204.1953
82 | 2664971.8368 | 1270463.6314
83 | 2664918.3816 | 1270527.2483
84 | 2664831.1308 | 1270611.544
85 | 2664274.6754 | 1270742.7989
86 | 2664811.7425 | 1270623.9075
87 | 2666056.3993 | 1269288.7427
88 | 2666141.7998 | 1269264.7906
89 | 2666245.0173 | 1269270.6623
90 | 2666308.5921 | 1269260.434
91 | 2667349.7137 | 1267312.6828
92 | 2666366.1243 | 1269323.8729
93 | 2665322.4508 | 1270508.0867
94 | 2665715.5345 | 1269981.5151
95 | 2665772.298 | 1270042.1869
96 | 2665698.7742 | 1269963.4746
97 | 2666611.6068 | 1269198.6608
98 | 2666597.5739 | 1269197.1682
99 | 2666643.7332 | 1269197.9113
100 | 2666582.5351 | 1269322.2725
101 | 2665881.8769 | 1269868.0055
102 | 2666530.9356 | 1269370.3282
103 | 2665883.7933 | 1269948.4664
104 | 2665732.0498 | 1269932.9758
105 | 2665918.0327 | 1269834.4564
106 | 2665870.6188 | 1269961.2294
107 | 2665950.5435 | 1269804.2896
108 | 2663040.6023 | 1272790.912
109 | 2663176.4085 | 1272564.0655
110 | 2663170.3405 | 1272553.3924
111 | 2663366.4511 | 1272209.1606
112 | 2663376.3338 | 1272179.0768
113 | 2663333.812 | 1272291.5408
114 | 2663475.4871 | 1271867.2344
115 | 2663522.9258 | 1271920.4853
116 | 2663493.7373 | 1271952.3405
117 | 2663933.726 | 1271573.8942
118 | 2663609.424 | 1271660.9717
119 | 2663563.2386 | 1271701.4725
120 | 2663831.7403 | 1271648.3154
121 | 2663851.7897 | 1271633.4317
122 | 2663909.7445 | 1271591.337
123 | 2664444.8383 | 1270743.3306
124 | 2663894.3141 | 1271346.9154
125 | 2663891.4125 | 1271381.0758
126 | 2663844.2133 | 1271471.7855
127 | 2663844.6342 | 1271472.2525
128 | 2663914.133 | 1271551.6166
129 | 2663879.7266 | 1271512.4962
130 | 2664918.3816 | 1270527.2483

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98557 | -0.31383 | 0.18326 | 0.088756
1 | 0.98558 | -0.31381 | 0 | 0
2 | 0.98554 | -0.31493 | 0 | 0
3 | 0.98617 | -0.29735 | 0.14389 | 0.069691
4 | 0.98534 | -0.31359 | 0 | 0
5 | 0.9861 | -0.29687 | 0 | 0
6 | 0.98868 | -0.22791 | 0.1492 | 0.072259
7 | 0.98533 | -0.31349 | 0.10758 | 0.052103
8 | 0.98532 | -0.3138 | 0.080181 | 0.038834
9 | 0.9853 | -0.31373 | 0 | 0
10 | 0.9853 | -0.31368 | 0 | 0
11 | 0.98529 | -0.3136 | 0.076063 | 0.036839
12 | 0.98597 | -0.26293 | 0.12804 | 0.06201
13 | 0.98595 | -0.26274 | 0 | 0
14 | 0.98605 | -0.26355 | 0 | 0
15 | 0.98544 | -0.2662 | 0 | 0
16 | 0.98651 | -0.26584 | 0 | 0
17 | 0.98544 | -0.26618 | 0.14778 | 0.071575
18 | 0.98653 | -0.26557 | 0.14589 | 0.07066
19 | 0.98794 | -0.24969 | 0.081636 | 0.039538
20 | 0.98578 | -0.29465 | 0 | 0
21 | 0.9856 | -0.29335 | 0 | 0
22 | 0.98576 | -0.29474 | 0.11591 | 0.056137
23 | 0.98559 | -0.29329 | 0 | 0
24 | 0.98558 | -0.2932 | 0.11629 | 0.056321
25 | 0.98555 | -0.293 | 0 | 0
26 | 0.98555 | -0.29298 | 0.10679 | 0.05172
27 | 0.98557 | -0.29341 | 0.13566 | 0.065704
28 | 0.98557 | -0.29315 | 0 | 0
29 | 0.98556 | -0.29305 | 0 | 0
30 | 0.98556 | -0.29305 | 0.069596 | 0.033707
31 | 0.99689 | -0.056526 | 0.15633 | 0.075716
32 | 0.99689 | -0.056489 | 0 | 0
33 | 0.99694 | -0.056918 | 0 | 0
34 | 0.99686 | -0.056719 | 0.099693 | 0.048284
35 | 0.99693 | -0.056798 | 0 | 0
36 | 0.99712 | -0.058477 | 0 | 0
37 | 0.99694 | -0.056884 | 0.099456 | 0.048169
38 | 0.99708 | -0.058165 | 0 | 0
39 | 0.99708 | -0.058132 | 0.13345 | 0.064634
40 | 0.99746 | -0.05433 | 0 | 0
41 | 0.99569 | -0.047922 | 0 | 0
42 | 0.99711 | -0.058402 | 0.15004 | 0.072666
43 | 0.99686 | -0.056707 | 0 | 0
44 | 0.99685 | -0.056601 | 0 | 0
45 | 0.99692 | -0.056774 | 0 | 0
46 | 0.99213 | -0.035679 | 0 | 0
47 | 0.99238 | -0.037747 | 0 | 0
48 | 0.99208 | -0.03522 | 0 | 0
49 | 0.99158 | -0.030979 | 0 | 0
50 | 0.99212 | -0.035647 | 0.083545 | 0.040463
51 | 0.99235 | -0.03751 | 0 | 0
52 | 0.99235 | -0.037484 | 0.086467 | 0.041878
53 | 0.99246 | -0.038373 | 0 | 0
54 | 0.99238 | -0.037694 | 0.13991 | 0.067761
55 | 0.99441 | -0.038269 | 0 | 0
56 | 0.99439 | -0.038131 | 0 | 0
57 | 0.99408 | -0.035782 | 0.14231 | 0.068924
58 | 0.9975 | -0.054127 | 0.14475 | 0.070103
59 | 0.99567 | -0.047795 | 0.091269 | 0.044203
60 | 0.99824 | -0.01045 | 0 | 0
61 | 0.99833 | -0.0099917 | 0 | 0
62 | 0.99842 | -0.0094813 | 0 | 0
63 | 0.9984 | -0.0092864 | 0 | 0
64 | 0.99839 | -0.0093299 | 0.082606 | 0.040008
65 | 0.99684 | -0.030514 | 0 | 0
66 | 0.99841 | -0.0093771 | 0.10117 | 0.048999
67 | 0.99839 | -0.0096587 | 0.12739 | 0.061696
68 | 0.99938 | -0.0037329 | 0 | 0
69 | 0.99823 | -0.010322 | 0.14927 | 0.072296
70 | 0.99565 | -0.047694 | 0 | 0
71 | 0.99565 | -0.047685 | 0 | 0
72 | 0.99546 | -0.04628 | 0 | 0
73 | 0.99565 | -0.047623 | 0.1214 | 0.058796
74 | 0.99545 | -0.046147 | 0.14743 | 0.071404
75 | 0.99206 | -0.03533 | 0.13505 | 0.065409
76 | 0.99133 | -0.028626 | 0.7215 | 0.34944
77 | 0.99247 | -0.038409 | 0.15422 | 0.074694
78 | 0.99438 | -0.038108 | 0.068259 | 0.03306
79 | 0.99359 | -0.039765 | 0 | 0
80 | 0.99543 | -0.046281 | 0.077268 | 0.037423
81 | 0.99199 | -0.035805 | 0.093061 | 0.045071
82 | 0.99999 | 0.00010526 | 0.11129 | 0.053899
83 | 1 | 0 | -8.5709 | -3.7059
84 | 0.99967 | -0.0019964 | 0 | 0
85 | 0.99691 | -0.056637 | 0.1557 | 0.075407
86 | 0.99961 | -0.0023704 | 0.14099 | 0.068282
87 | 0.99215 | -0.13026 | 0.14547 | 0.070454
88 | 0.99217 | -0.13042 | 0 | 0
89 | 0.99228 | -0.12901 | 0 | 0
90 | 0.99234 | -0.12813 | 0.10423 | 0.050481
91 | 0.98795 | -0.24975 | 0 | 0
92 | 0.99243 | -0.12691 | 0 | 0
93 | 0.99683 | -0.03057 | 0.063099 | 0.03056
94 | 0.99432 | -0.10067 | 0.091463 | 0.044298
95 | 0.9943 | -0.10079 | 0.11584 | 0.056102
96 | 0.99428 | -0.10123 | 0.11369 | 0.055063
97 | 0.99236 | -0.12676 | 0.099356 | 0.04812
98 | 0.99236 | -0.12677 | 0 | 0
99 | 0.99236 | -0.12678 | 0 | 0
100 | 0.9923 | -0.12669 | 0 | 0
101 | 0.99385 | -0.10704 | 0 | 0
102 | 0.99229 | -0.12674 | 0.058703 | 0.028431
103 | 0.99383 | -0.10686 | 0 | 0
104 | 0.9942 | -0.10222 | 0 | 0
105 | 0.9938 | -0.10662 | 0.58626 | 0.28394
106 | 0.99382 | -0.10684 | 0.13562 | 0.065683
107 | 0.99379 | -0.10656 | 0.12035 | 0.058288
108 | 0.99122 | -0.032337 | 0.092618 | 0.044857
109 | 0.99126 | -0.032032 | 0.10515 | 0.050929
110 | 0.99127 | -0.032062 | 0 | 0
111 | 0.99143 | -0.032763 | 0.16015 | 0.077565
112 | 0.99144 | -0.032874 | 0 | 0
113 | 0.9914 | -0.033075 | 0 | 0
114 | 0.9916 | -0.033963 | 0 | 0
115 | 0.99165 | -0.033517 | 0.12608 | 0.061064
116 | 0.99167 | -0.033709 | 0 | 0
117 | 0.9925 | -0.03869 | 0 | 0
118 | 0.99216 | -0.036773 | 0 | 0
119 | 0.99215 | -0.036692 | 0.1128 | 0.054633
120 | 0.99239 | -0.038087 | 0 | 0
121 | 0.99241 | -0.038186 | 0.089751 | 0.043468
122 | 0.99247 | -0.038544 | 0 | 0
123 | 0.99682 | -0.056784 | 0.15427 | 0.074718
124 | 0.99353 | -0.039293 | 0 | 0
125 | 0.99341 | -0.038352 | 0.3476 | 0.16835
126 | 0.99296 | -0.04207 | 0.10039 | 0.048623
127 | 0.99296 | -0.042057 | 0 | 0
128 | 0.99258 | -0.039267 | 0.074933 | 0.036292
129 | 0.99272 | -0.040324 | 0 | 0
130 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.44715 | -0.19471 | 0.44715 | 0.19445 | 7.5432e-07 | -0.00025454 | 0.014285 | 0.014282 | 0.014285 | 0.98557 | -0.31383 | 0.98558 | -0.31381 | 3.9461
1 | 0.26389 | 0.10595 | -0.26388 | -0.1061 | 7.9009e-06 | -0.00014236 | 0.0083292 | 0.0083308 | 0.0083308 | 0.98557 | -0.31383 | 0.98554 | -0.31493 | 2.3802
2 | -0.44715 | -0.19445 | 0.44737 | 0.1933 | 0.00021491 | -0.0011576 | 0.014282 | 0.014266 | 0.014282 | 0.98558 | -0.31381 | 0.98617 | -0.29735 | 4.0805
3 | 0.26388 | 0.1061 | -0.26383 | -0.1197 | 5.5447e-05 | -0.013608 | 0.0083308 | 0.0084878 | 0.0084878 | 0.98554 | -0.31493 | 0.98534 | -0.31359 | 3.8581
4 | 0.54457 | 0.22696 | -0.54453 | -0.2295 | 4.3912e-05 | -0.0025434 | 0.01727 | 0.017299 | 0.017299 | 0.98617 | -0.29735 | 0.9861 | -0.29687 | 7.8631
5 | -1.1358 | -0.48994 | 1.1381 | 0.49023 | 0.0022923 | 0.00028672 | 0.03621 | 0.036183 | 0.03621 | 0.98617 | -0.29735 | 0.98868 | -0.22791 | 10.3456
6 | 0.10758 | 0.050294 | -0.10758 | -0.052103 | 1.2695e-06 | -0.001809 | 0.0034792 | 0.0035019 | 0.0035019 | 0.98534 | -0.31359 | 0.98533 | -0.31349 | 1.5918
7 | 0.15625 | 0.06941 | -0.15625 | -0.069503 | 3.7034e-06 | -9.3678e-05 | 0.005009 | 0.0050101 | 0.0050101 | 0.98534 | -0.31359 | 0.98532 | -0.3138 | 2.3858
8 | 0.54453 | 0.2295 | -0.54434 | -0.24013 | 0.00018518 | -0.010627 | 0.017299 | 0.017423 | 0.017423 | 0.9861 | -0.29687 | 0.98578 | -0.29465 | 7.9194
9 | 0.50445 | 0.19922 | -0.50415 | -0.20047 | 0.00029749 | -0.0012442 | 0.015836 | 0.015853 | 0.015853 | 0.98868 | -0.22791 | 0.98795 | -0.24975 | 4.5294
10 | -1.7918 | -0.76172 | 1.7968 | 0.76537 | 0.0050207 | 0.0036556 | 0.056847 | 0.056824 | 0.056847 | 0.98868 | -0.22791 | 0.99217 | -0.13042 | 16.2421
11 | 0.076065 | 0.03067 | -0.076064 | -0.033427 | 9.2868e-07 | -0.0027571 | 0.0024029 | 0.0024342 | 0.0024342 | 0.98532 | -0.3138 | 0.9853 | -0.31373 | 1.1065
12 | 0.076064 | 0.033427 | -0.076063 | -0.034803 | 4.7287e-07 | -0.0013762 | 0.0024342 | 0.0024507 | 0.0024507 | 0.9853 | -0.31373 | 0.9853 | -0.31368 | 1.114
13 | 0.076063 | 0.034803 | -0.076063 | -0.036839 | 7.1153e-07 | -0.0020358 | 0.0024507 | 0.0024761 | 0.0024761 | 0.9853 | -0.31368 | 0.98529 | -0.3136 | 1.1255
14 | 0.14786 | 0.06649 | -0.14786 | -0.069263 | 3.6211e-06 | -0.0027735 | 0.0047467 | 0.0047805 | 0.0047805 | 0.98597 | -0.26293 | 0.98595 | -0.26274 | 2.173
15 | -0.2759 | -0.1285 | 0.27592 | 0.12348 | 2.2786e-05 | -0.0050175 | 0.0089109 | 0.0088498 | 0.0089109 | 0.98597 | -0.26293 | 0.98605 | -0.26355 | 4.0504
16 | 0.14786 | 0.069263 | -0.14778 | -0.071273 | 7.2538e-05 | -0.0020098 | 0.0047805 | 0.0048064 | 0.0048064 | 0.98595 | -0.26274 | 0.98544 | -0.2662 | 2.2888
17 | -0.27592 | -0.12348 | 0.27605 | 0.092474 | 0.00013428 | -0.031008 | 0.0088498 | 0.0085191 | 0.0088498 | 0.98605 | -0.26355 | 0.98651 | -0.26584 | 4.0226
18 | 0.14778 | 0.071273 | -0.14778 | -0.071575 | 4.0252e-07 | -0.00030226 | 0.0048064 | 0.0048102 | 0.0048102 | 0.98544 | -0.2662 | 0.98544 | -0.26618 | 2.1865
19 | -0.27605 | -0.092474 | 0.27606 | 0.092432 | 5.0185e-06 | -4.1951e-05 | 0.0085191 | 0.0085187 | 0.0085191 | 0.98651 | -0.26584 | 0.98653 | -0.26557 | 4.0567
20 | -0.42195 | -0.16309 | 0.42251 | 0.16137 | 0.00055471 | -0.0017233 | 0.013237 | 0.013215 | 0.013237 | 0.98653 | -0.26557 | 0.98794 | -0.24969 | 6.3034
21 | -0.50414 | -0.20091 | 0.50415 | 0.20047 | 6.3423e-06 | -0.00043851 | 0.015858 | 0.015853 | 0.015858 | 0.98794 | -0.24969 | 0.98795 | -0.24975 | 7.2081
22 | 0.42843 | 0.18406 | -0.42835 | -0.19164 | 8.2141e-05 | -0.0075811 | 0.013655 | 0.013744 | 0.013744 | 0.98578 | -0.29465 | 0.9856 | -0.29335 | 6.2475
23 | 0.11591 | 0.056069 | -0.11591 | -0.056137 | 1.5134e-06 | -6.8344e-05 | 0.0037706 | 0.0037715 | 0.0037715 | 0.98578 | -0.29465 | 0.98576 | -0.29474 | 1.7959
24 | 0.13567 | 0.064852 | -0.13567 | -0.065623 | 8.6235e-07 | -0.0007704 | 0.0044042 | 0.004414 | 0.004414 | 0.9856 | -0.29335 | 0.98559 | -0.29329 | 2.0064
25 | 0.18589 | 0.083067 | -0.18589 | -0.084847 | 3.659e-06 | -0.00178 | 0.0059635 | 0.0059849 | 0.0059849 | 0.9856 | -0.29335 | 0.98558 | -0.2932 | 2.7204
26 | 0.10679 | 0.04372 | -0.10679 | -0.051375 | 5.1666e-06 | -0.0076546 | 0.0033799 | 0.0034711 | 0.0034711 | 0.9856 | -0.29335 | 0.98555 | -0.293 | 1.5778
27 | 0.13567 | 0.065623 | -0.13566 | -0.065704 | 2.4907e-06 | -8.1623e-05 | 0.004414 | 0.0044151 | 0.0044151 | 0.98559 | -0.29329 | 0.98557 | -0.29341 | 2.1024
28 | 0.069597 | 0.028526 | -0.069597 | -0.030489 | 5.5423e-07 | -0.0019639 | 0.0022031 | 0.0022255 | 0.0022255 | 0.98558 | -0.2932 | 0.98557 | -0.29315 | 1.0116
29 | 0.10679 | 0.051375 | -0.10679 | -0.05172 | 2.4011e-07 | -0.00034569 | 0.0034711 | 0.0034755 | 0.0034755 | 0.98555 | -0.293 | 0.98555 | -0.29298 | 1.5798
30 | 0.069597 | 0.030489 | -0.069596 | -0.03351 | 8.7538e-07 | -0.0030207 | 0.0022255 | 0.0022625 | 0.0022625 | 0.98557 | -0.29315 | 0.98556 | -0.29305 | 1.0284
31 | 0.069596 | 0.03351 | -0.069596 | -0.033707 | 5.7993e-08 | -0.00019664 | 0.0022625 | 0.002265 | 0.002265 | 0.98556 | -0.29305 | 0.98556 | -0.29305 | 1.0295
32 | -0.15633 | -0.075716 | 0.15633 | 0.075694 | 8.6736e-07 | -2.2285e-05 | 0.0050301 | 0.0050298 | 0.0050301 | 0.99689 | -0.056526 | 0.99689 | -0.056489 | 2.3953
33 | -0.41032 | -0.19695 | 0.41034 | 0.19482 | 2.0858e-05 | -0.0021325 | 0.01318 | 0.013153 | 0.01318 | 0.99689 | -0.056489 | 0.99694 | -0.056918 | 5.9907
34 | 0.25398 | 0.12126 | -0.25397 | -0.12133 | 8.4069e-06 | -7.9001e-05 | 0.0081499 | 0.0081509 | 0.0081509 | 0.99689 | -0.056489 | 0.99686 | -0.056719 | 3.8814
35 | 0.1557 | 0.071606 | -0.1557 | -0.073291 | 2.3448e-06 | -0.0016849 | 0.0049625 | 0.004983 | 0.004983 | 0.99694 | -0.056918 | 0.99693 | -0.056798 | 2.265
36 | -0.6655 | -0.3139 | 0.66563 | 0.30887 | 0.00012893 | -0.005026 | 0.021306 | 0.021244 | 0.021306 | 0.99694 | -0.056918 | 0.99712 | -0.058477 | 9.6846
37 | 0.099456 | 0.047474 | -0.099456 | -0.048169 | 3.9923e-07 | -0.00069487 | 0.0031911 | 0.0031998 | 0.0031998 | 0.99694 | -0.056918 | 0.99694 | -0.056884 | 1.4545
38 | 0.15428 | 0.073051 | -0.15428 | -0.073221 | 2.338e-07 | -0.00016991 | 0.0049433 | 0.0049454 | 0.0049454 | 0.99686 | -0.056719 | 0.99686 | -0.056707 | 2.2479
39 | 0.1557 | 0.073291 | -0.1557 | -0.073629 | 4.7327e-07 | -0.00033836 | 0.004983 | 0.0049872 | 0.0049872 | 0.99693 | -0.056798 | 0.99692 | -0.056774 | 2.2669
40 | -4.2356 | -1.8853 | 4.2369 | 1.8811 | 0.0013014 | -0.0041593 | 0.13422 | 0.13416 | 0.13422 | 0.99712 | -0.058477 | 0.99746 | -0.05433 | 37.0784
41 | 3.2865 | 1.4459 | -3.2815 | -1.4526 | 0.0049962 | -0.0067207 | 0.10395 | 0.10404 | 0.10404 | 0.99712 | -0.058477 | 0.99569 | -0.047922 | 47.2929
42 | 0.15004 | 0.07166 | -0.15004 | -0.072666 | 1.3141e-06 | -0.0010054 | 0.0048137 | 0.0048263 | 0.0048263 | 0.99712 | -0.058477 | 0.99711 | -0.058402 | 2.1938
43 | 0.13346 | 0.058873 | -0.13345 | -0.064142 | 5.3652e-06 | -0.0052693 | 0.004223 | 0.0042868 | 0.0042868 | 0.99712 | -0.058477 | 0.99708 | -0.058165 | 1.9486
44 | 0.13345 | 0.064142 | -0.13345 | -0.064634 | 5.0928e-07 | -0.00049189 | 0.0042868 | 0.004293 | 0.004293 | 0.99708 | -0.058165 | 0.99708 | -0.058132 | 1.9514
45 | -4.2369 | -1.8811 | 4.2371 | 1.8795 | 0.00015056 | -0.0016077 | 0.13416 | 0.13414 | 0.13416 | 0.99746 | -0.05433 | 0.9975 | -0.054127 | 21.0288
46 | 0.43743 | 0.19195 | -0.43742 | -0.19269 | 8.056e-06 | -0.00074182 | 0.01385 | 0.013858 | 0.013858 | 0.99569 | -0.047922 | 0.99567 | -0.047795 | 6.2992
47 | 2.8441 | 1.2607 | -2.8402 | -1.2679 | 0.00387 | -0.0072668 | 0.090195 | 0.090294 | 0.090294 | 0.99569 | -0.047922 | 0.99441 | -0.038269 | 41.0428
48 | 0.15428 | 0.073221 | -0.15428 | -0.074606 | 1.9134e-06 | -0.001385 | 0.0049454 | 0.0049627 | 0.0049627 | 0.99686 | -0.056707 | 0.99685 | -0.056601 | 2.2558
49 | 0.15428 | 0.074606 | -0.15427 | -0.074718 | 4.2721e-06 | -0.00011278 | 0.0049627 | 0.0049642 | 0.0049642 | 0.99685 | -0.056601 | 0.99682 | -0.056784 | 2.3639
50 | 0.1557 | 0.073629 | -0.1557 | -0.075407 | 2.5004e-06 | -0.0017782 | 0.0049872 | 0.0050095 | 0.0050095 | 0.99692 | -0.056774 | 0.99691 | -0.056637 | 2.277
51 | -1.0338 | -0.47475 | 1.0341 | 0.47031 | 0.00028124 | -0.0044441 | 0.0331 | 0.033046 | 0.0331 | 0.99213 | -0.035679 | 0.99238 | -0.037747 | 15.0456
52 | 0.22814 | 0.10582 | -0.22812 | -0.10996 | 1.2689e-05 | -0.004139 | 0.0073174 | 0.0073689 | 0.0073689 | 0.99213 | -0.035679 | 0.99208 | -0.03522 | 3.3495
53 | 0.72212 | 0.32921 | -0.7217 | -0.34306 | 0.00042642 | -0.013841 | 0.023092 | 0.023263 | 0.023263 | 0.99213 | -0.035679 | 0.99158 | -0.030979 | 10.5743
54 | 0.083546 | 0.039711 | -0.083545 | -0.040463 | 3.1034e-07 | -0.0007514 | 0.0026915 | 0.002701 | 0.002701 | 0.99213 | -0.035679 | 0.99212 | -0.035647 | 1.2277
55 | -1.2605 | -0.5715 | 1.2606 | 0.57037 | 0.00010625 | -0.0011236 | 0.040259 | 0.040245 | 0.040259 | 0.99238 | -0.037747 | 0.99246 | -0.038373 | 18.2994
56 | 0.13991 | 0.067023 | -0.13991 | -0.067761 | 8.551e-07 | -0.00073779 | 0.0045127 | 0.004522 | 0.004522 | 0.99238 | -0.037747 | 0.99238 | -0.037694 | 2.0555
57 | 0.086471 | 0.034168 | -0.086468 | -0.041284 | 3.0431e-06 | -0.0071155 | 0.0027046 | 0.0027873 | 0.0027873 | 0.99238 | -0.037747 | 0.99235 | -0.03751 | 1.267
58 | 0.22812 | 0.10996 | -0.22812 | -0.11001 | 3.7599e-06 | -4.3303e-05 | 0.0073689 | 0.0073695 | 0.0073695 | 0.99208 | -0.03522 | 0.99206 | -0.03533 | 3.5093
59 | 0.7217 | 0.34306 | -0.7215 | -0.34944 | 0.00019899 | -0.0063828 | 0.023263 | 0.023345 | 0.023345 | 0.99158 | -0.030979 | 0.99133 | -0.028626 | 10.6112
60 | 0.086468 | 0.041284 | -0.086467 | -0.041878 | 2.6278e-07 | -0.00059402 | 0.0027873 | 0.0027948 | 0.0027948 | 0.99235 | -0.03751 | 0.99235 | -0.037484 | 1.2704
61 | -1.2606 | -0.57037 | 1.2606 | 0.57031 | 6.1276e-06 | -6.4831e-05 | 0.040245 | 0.040244 | 0.040245 | 0.99246 | -0.038373 | 0.99247 | -0.038409 | 18.2931
62 | 0.068261 | 0.027028 | -0.06826 | -0.03239 | 1.4161e-06 | -0.0053616 | 0.0021313 | 0.0021934 | 0.0021934 | 0.99441 | -0.038269 | 0.99439 | -0.038131 | 0.99699
63 | 2.772 | 1.2409 | -2.771 | -1.2428 | 0.00095379 | -0.0018858 | 0.088165 | 0.088191 | 0.088191 | 0.99441 | -0.038269 | 0.99408 | -0.035782 | 40.0866
64 | 0.06826 | 0.03239 | -0.068259 | -0.03306 | 1.8291e-07 | -0.00066975 | 0.0021934 | 0.0022018 | 0.0022018 | 0.99439 | -0.038131 | 0.99438 | -0.038108 | 1.0008
65 | 2.6287 | 1.1739 | -2.6275 | -1.1732 | 0.0012184 | 0.00064777 | 0.083601 | 0.083602 | 0.083602 | 0.99408 | -0.035782 | 0.99359 | -0.039765 | 39.8106
66 | -4.3818 | -1.9496 | 4.3836 | 1.9541 | 0.0017844 | 0.0044412 | 0.1388 | 0.13879 | 0.1388 | 0.9975 | -0.054127 | 0.99824 | -0.01045 | 21.5187
67 | 0.34615 | 0.14849 | -0.34615 | -0.14929 | 5.4251e-06 | -0.00080426 | 0.01092 | 0.01093 | 0.01093 | 0.99567 | -0.047795 | 0.99565 | -0.047694 | 4.9681
68 | 0.14928 | 0.070548 | -0.14927 | -0.072296 | 2.2472e-06 | -0.0017481 | 0.0047746 | 0.0047965 | 0.0047965 | 0.99824 | -0.01045 | 0.99823 | -0.010322 | 2.1802
69 | -4.5329 | -2.0246 | 4.5333 | 2.0212 | 0.00037174 | -0.0034466 | 0.14357 | 0.14352 | 0.14357 | 0.99824 | -0.01045 | 0.99833 | -0.0099917 | 22.5024
70 | -4.5333 | -2.0212 | 4.5337 | 2.0173 | 0.00041121 | -0.0038159 | 0.14352 | 0.14347 | 0.14352 | 0.99833 | -0.0099917 | 0.99842 | -0.0094813 | 22.4956
71 | 3.4472 | 1.4453 | -3.4423 | -1.4714 | 0.0049157 | -0.026086 | 0.10808 | 0.10841 | 0.10841 | 0.99842 | -0.0094813 | 0.99684 | -0.030514 | 29.9478
72 | 0.10117 | 0.046834 | -0.10117 | -0.048999 | 1.2729e-06 | -0.0021658 | 0.0032234 | 0.0032502 | 0.0032502 | 0.99842 | -0.0094813 | 0.99841 | -0.0093771 | 1.4774
73 | 0.12739 | 0.061562 | -0.12739 | -0.061696 | 3.4147e-06 | -0.00013409 | 0.0040908 | 0.0040925 | 0.0040925 | 0.99842 | -0.0094813 | 0.99839 | -0.0096587 | 1.9488
74 | -8.2921 | -3.6052 | 8.2997 | 3.5869 | 0.007627 | -0.018369 | 0.26143 | 0.26117 | 0.26143 | 0.99842 | -0.0094813 | 0.99938 | -0.0037329 | 40.9766
75 | 0.082609 | 0.034185 | -0.082606 | -0.039957 | 2.2191e-06 | -0.0057717 | 0.0025849 | 0.0026532 | 0.0026532 | 0.99842 | -0.0094813 | 0.9984 | -0.0092864 | 1.206
76 | 0.082606 | 0.039957 | -0.082606 | -0.040008 | 5.4364e-07 | -5.1226e-05 | 0.0026532 | 0.0026539 | 0.0026539 | 0.9984 | -0.0092864 | 0.99839 | -0.0093299 | 1.2637
77 | 0.063099 | 0.030475 | -0.063099 | -0.03056 | 5.3081e-07 | -8.5448e-05 | 0.0020292 | 0.0020303 | 0.0020303 | 0.99684 | -0.030514 | 0.99683 | -0.03057 | 0.96682
78 | 3.3792 | 1.4409 | -3.3724 | -1.434 | 0.0068013 | 0.006964 | 0.10638 | 0.10639 | 0.10639 | 0.99684 | -0.030514 | 0.99432 | -0.10067 | 30.3981
79 | -8.2997 | -3.5869 | 8.3015 | 3.5826 | 0.0017845 | -0.0043108 | 0.26117 | 0.26111 | 0.26117 | 0.99938 | -0.0037329 | 0.99961 | -0.0023704 | 40.9358
80 | 0.1214 | 0.057608 | -0.1214 | -0.057761 | 1.3054e-07 | -0.00015234 | 0.003896 | 0.0038979 | 0.0038979 | 0.99565 | -0.047694 | 0.99565 | -0.047685 | 1.7718
81 | 0.22475 | 0.091686 | -0.2247 | -0.10748 | 4.5296e-05 | -0.015793 | 0.0070376 | 0.0072232 | 0.0072232 | 0.99565 | -0.047694 | 0.99546 | -0.04628 | 3.2833
82 | 0.1214 | 0.057761 | -0.1214 | -0.058796 | 8.9072e-07 | -0.0010357 | 0.0038979 | 0.0039109 | 0.0039109 | 0.99565 | -0.047685 | 0.99565 | -0.047623 | 1.7777
83 | 0.2247 | 0.10748 | -0.2247 | -0.10866 | 3.4892e-06 | -0.0011817 | 0.0072232 | 0.0072381 | 0.0072381 | 0.99546 | -0.04628 | 0.99545 | -0.046147 | 3.29
84 | 0.077269 | 0.037256 | -0.077268 | -0.037423 | 1.5603e-06 | -0.00016628 | 0.0024876 | 0.0024897 | 0.0024897 | 0.99545 | -0.046147 | 0.99543 | -0.046281 | 1.1856
85 | 0.093067 | 0.044597 | -0.093061 | -0.045071 | 6.5639e-06 | -0.00047488 | 0.003003 | 0.003009 | 0.003009 | 0.99206 | -0.03533 | 0.99199 | -0.035805 | 1.4329
86 | -1.4148 | -0.645 | 1.4149 | 0.64456 | 5.2729e-05 | -0.00043855 | 0.045227 | 0.045221 | 0.045227 | 0.99247 | -0.038409 | 0.9925 | -0.03869 | 20.5576
87 | 2.6275 | 1.1732 | -2.6273 | -1.1736 | 0.00017313 | -0.00038595 | 0.083602 | 0.083607 | 0.083607 | 0.99359 | -0.039765 | 0.99353 | -0.039293 | 38.0034
88 | -0.11129 | -0.053899 | 0.11129 | 0.051918 | 1.402e-06 | -0.0019812 | 0.0035696 | 0.0035451 | 0.0035696 | 0.99999 | 0.00010526 | 1 | 0 | 1.6226
89 | 8.4457 | 3.6435 | -8.443 | -3.6497 | 0.0026595 | -0.0061675 | 0.26553 | 0.26561 | 0.26561 | 1 | 0 | 0.99967 | -0.0019964 | 41.6321
90 | 8.443 | 3.6497 | -8.4425 | -3.6508 | 0.00050028 | -0.0011591 | 0.26561 | 0.26563 | 0.26563 | 0.99967 | -0.0019964 | 0.99961 | -0.0023704 | 41.6347
91 | -0.14547 | -0.070454 | 0.14547 | 0.068285 | 2.7095e-06 | -0.0021687 | 0.0047028 | 0.0046757 | 0.0047028 | 0.99215 | -0.13026 | 0.99217 | -0.13042 | 2.1377
92 | -1.9423 | -0.83366 | 1.9425 | 0.83029 | 0.00018917 | -0.0033626 | 0.061496 | 0.061456 | 0.061496 | 0.99217 | -0.13042 | 0.99228 | -0.12901 | 16.988
93 | -1.9425 | -0.83029 | 1.9426 | 0.82821 | 0.00011709 | -0.002084 | 0.061456 | 0.061432 | 0.061456 | 0.99228 | -0.12901 | 0.99234 | -0.12813 | 16.9769
94 | -2.0468 | -0.87869 | 2.047 | 0.87593 | 0.00017339 | -0.0027642 | 0.064797 | 0.064764 | 0.064797 | 0.99234 | -0.12813 | 0.99243 | -0.12691 | 17.8997
95 | -2.205 | -0.92397 | 2.2079 | 0.88487 | 0.0028221 | -0.0391 | 0.069543 | 0.069089 | 0.069543 | 0.99243 | -0.12691 | 0.99385 | -0.10704 | 19.2107
96 | 0.15807 | 0.048041 | -0.15806 | -0.056966 | 1.1899e-05 | -0.0089252 | 0.0048057 | 0.0048875 | 0.0048875 | 0.99243 | -0.12691 | 0.99236 | -0.12677 | 2.2216
97 | 0.11584 | 0.056005 | -0.11584 | -0.056102 | 2.0663e-06 | -9.6767e-05 | 0.0037355 | 0.0037368 | 0.0037368 | 0.99432 | -0.10067 | 0.9943 | -0.10079 | 1.7794
98 | 3.1651 | 1.3337 | -3.165 | -1.3344 | 0.00011827 | -0.00074922 | 0.099716 | 0.099725 | 0.099725 | 0.99432 | -0.10067 | 0.99428 | -0.10123 | 27.5484
99 | 3.0513 | 1.2793 | -3.0511 | -1.2807 | 0.00020122 | -0.0013845 | 0.096063 | 0.09608 | 0.09608 | 0.99428 | -0.10123 | 0.9942 | -0.10222 | 26.5414
100 | -0.15806 | -0.057296 | 0.15806 | 0.056966 | 4.4909e-07 | -0.00033076 | 0.0048908 | 0.0048875 | 0.0048908 | 0.99236 | -0.12676 | 0.99236 | -0.12677 | 2.2231
101 | 0.058707 | 0.0091764 | -0.058707 | -0.0099322 | 1.2848e-07 | -0.0007558 | 0.0017285 | 0.001732 | 0.001732 | 0.99236 | -0.12676 | 0.99236 | -0.12678 | 0.78729
102 | 0.058707 | 0.0099322 | -0.058703 | -0.028349 | 3.3742e-06 | -0.018416 | 0.001732 | 0.0018965 | 0.0018965 | 0.99236 | -0.12678 | 0.9923 | -0.12669 | 0.86204
103 | 0.058703 | 0.028349 | -0.058703 | -0.028431 | 4.521e-07 | -8.2602e-05 | 0.0018965 | 0.0018975 | 0.0018975 | 0.9923 | -0.12669 | 0.99229 | -0.12674 | 0.90358
104 | 0.13562 | 0.062619 | -0.13562 | -0.065251 | 2.827e-06 | -0.0026321 | 0.0043389 | 0.0043715 | 0.0043715 | 0.99385 | -0.10704 | 0.99383 | -0.10686 | 1.9871
105 | -3.0501 | -1.2875 | 3.0511 | 1.2807 | 0.000988 | -0.0067867 | 0.096165 | 0.09608 | 0.096165 | 0.99385 | -0.10704 | 0.9942 | -0.10222 | 26.5648
106 | 0.70664 | 0.34003 | -0.70661 | -0.34118 | 3.4185e-05 | -0.001153 | 0.022778 | 0.022793 | 0.022793 | 0.99385 | -0.10704 | 0.9938 | -0.10662 | 10.3603
107 | 0.13562 | 0.065251 | -0.13562 | -0.065683 | 4.6783e-07 | -0.00043177 | 0.0043715 | 0.004377 | 0.004377 | 0.99383 | -0.10686 | 0.99382 | -0.10684 | 1.9895
108 | 0.12035 | 0.057242 | -0.12035 | -0.058288 | 8.9028e-07 | -0.0010456 | 0.0038711 | 0.0038843 | 0.0038843 | 0.9938 | -0.10662 | 0.99379 | -0.10656 | 1.7656
109 | -0.092618 | -0.044857 | 0.092622 | 0.044549 | 4.2257e-06 | -0.00030748 | 0.002997 | 0.0029931 | 0.002997 | 0.99122 | -0.032337 | 0.99126 | -0.032032 | 1.4272
110 | -0.19778 | -0.095478 | 0.19778 | 0.095191 | 6.6956e-07 | -0.00028762 | 0.0063957 | 0.006392 | 0.0063957 | 0.99126 | -0.032032 | 0.99127 | -0.032062 | 2.9071
111 | -0.19778 | -0.095191 | 0.1978 | 0.083182 | 2.7292e-05 | -0.012009 | 0.006392 | 0.0062482 | 0.006392 | 0.99127 | -0.032062 | 0.9914 | -0.033075 | 2.9055
112 | -0.35796 | -0.16065 | 0.35797 | 0.15991 | 5.5138e-06 | -0.00074163 | 0.011424 | 0.011415 | 0.011424 | 0.99143 | -0.032763 | 0.99144 | -0.032874 | 5.1929
113 | 0.19781 | 0.083082 | -0.1978 | -0.083182 | 6.1625e-06 | -0.00010011 | 0.0062471 | 0.0062482 | 0.0062482 | 0.99143 | -0.032763 | 0.9914 | -0.033075 | 2.9754
114 | -0.35797 | -0.15991 | 0.35803 | 0.152 | 5.8245e-05 | -0.007906 | 0.011415 | 0.011323 | 0.011415 | 0.99144 | -0.032874 | 0.9916 | -0.033963 | 5.1889
115 | -0.35803 | -0.152 | 0.35804 | 0.15193 | 1.6291e-05 | -7.3514e-05 | 0.011323 | 0.011322 | 0.011323 | 0.9916 | -0.033963 | 0.99165 | -0.033517 | 5.3921
116 | -0.48412 | -0.21299 | 0.48414 | 0.21198 | 1.3645e-05 | -0.0010091 | 0.015397 | 0.015385 | 0.015397 | 0.99165 | -0.033517 | 0.99167 | -0.033709 | 6.9986
117 | -0.48414 | -0.21198 | 0.48439 | 0.19321 | 0.00024995 | -0.018771 | 0.015385 | 0.015173 | 0.015385 | 0.99167 | -0.033709 | 0.99216 | -0.036773 | 6.9932
118 | 0.68716 | 0.2797 | -0.68714 | -0.28039 | 1.8405e-05 | -0.00069062 | 0.021579 | 0.021586 | 0.021586 | 0.9925 | -0.03869 | 0.99247 | -0.038544 | 9.812
119 | -2.102 | -0.92426 | 2.1022 | 0.92362 | 0.00017665 | -0.00064542 | 0.066788 | 0.06678 | 0.066788 | 0.9925 | -0.03869 | 0.99258 | -0.039267 | 30.3581
120 | 0.1128 | 0.053191 | -0.1128 | -0.054633 | 1.0838e-06 | -0.0014417 | 0.0036287 | 0.0036468 | 0.0036468 | 0.99216 | -0.036773 | 0.99215 | -0.036692 | 1.6576
121 | -0.59719 | -0.2464 | 0.59734 | 0.23917 | 0.00014522 | -0.007226 | 0.018797 | 0.018717 | 0.018797 | 0.99216 | -0.036773 | 0.99239 | -0.038087 | 8.5439
122 | -0.59734 | -0.23917 | 0.59735 | 0.23859 | 1.1652e-05 | -0.0005826 | 0.018717 | 0.018711 | 0.018717 | 0.99239 | -0.038087 | 0.99241 | -0.038186 | 8.5077
123 | -0.6871 | -0.28206 | 0.68714 | 0.28039 | 4.4511e-05 | -0.001668 | 0.021605 | 0.021586 | 0.021605 | 0.99241 | -0.038186 | 0.99247 | -0.038544 | 9.8204
124 | 2.6273 | 1.1736 | -2.627 | -1.1744 | 0.00034461 | -0.00076788 | 0.083607 | 0.083618 | 0.083618 | 0.99353 | -0.039293 | 0.99341 | -0.038352 | 38.0081
125 | 2.2794 | 1.006 | -2.2784 | -1.0055 | 0.00095502 | 0.00047778 | 0.072401 | 0.072402 | 0.072402 | 0.99341 | -0.038352 | 0.99296 | -0.04207 | 34.4772
126 | 2.178 | 0.95691 | -2.178 | -0.95692 | 4.015e-06 | -1.361e-05 | 0.069161 | 0.069161 | 0.069161 | 0.99296 | -0.04207 | 0.99296 | -0.042057 | 31.437
127 | 2.178 | 0.95692 | -2.1775 | -0.95878 | 0.00054919 | -0.0018605 | 0.069161 | 0.069185 | 0.069185 | 0.99296 | -0.042057 | 0.99272 | -0.040324 | 31.4478
128 | -2.1771 | -0.95991 | 2.1775 | 0.95878 | 0.00033298 | -0.0011269 | 0.0692 | 0.069185 | 0.0692 | 0.99258 | -0.039267 | 0.99272 | -0.040324 | 31.4543

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.5709 | 3.7059

## res_load
| p_mw | q_mvar
0 | 0.18326 | 0.088756
1 | 0.14389 | 0.069691
2 | 0.1492 | 0.072259
3 | 0.10758 | 0.052103
4 | 0.080181 | 0.038834
5 | 0.076063 | 0.036839
6 | 0.12804 | 0.06201
7 | 0.14778 | 0.071575
8 | 0.14589 | 0.07066
9 | 0.081636 | 0.039538
10 | 0.11591 | 0.056137
11 | 0.11629 | 0.056321
12 | 0.10679 | 0.05172
13 | 0.13566 | 0.065704
14 | 0.069596 | 0.033707
15 | 0.15633 | 0.075716
16 | 0.099693 | 0.048284
17 | 0.099456 | 0.048169
18 | 0.13345 | 0.064634
19 | 0.15004 | 0.072666
20 | 0.083545 | 0.040463
21 | 0.086467 | 0.041878
22 | 0.13991 | 0.067761
23 | 0.14231 | 0.068924
24 | 0.14475 | 0.070103
25 | 0.091269 | 0.044203
26 | 0.082606 | 0.040008
27 | 0.10117 | 0.048999
28 | 0.12739 | 0.061696
29 | 0.14927 | 0.072296
30 | 0.1214 | 0.058796
31 | 0.14743 | 0.071404
32 | 0.13505 | 0.065409
33 | 0.7215 | 0.34944
34 | 0.15422 | 0.074694
35 | 0.068259 | 0.03306
36 | 0.077268 | 0.037423
37 | 0.093061 | 0.045071
38 | 0.11129 | 0.053899
39 | 0.1557 | 0.075407
40 | 0.14099 | 0.068282
41 | 0.14547 | 0.070454
42 | 0.10423 | 0.050481
43 | 0.063099 | 0.03056
44 | 0.091463 | 0.044298
45 | 0.11584 | 0.056102
46 | 0.11369 | 0.055063
47 | 0.099356 | 0.04812
48 | 0.058703 | 0.028431
49 | 0.58626 | 0.28394
50 | 0.13562 | 0.065683
51 | 0.12035 | 0.058288
52 | 0.092618 | 0.044857
53 | 0.10515 | 0.050929
54 | 0.16015 | 0.077565
55 | 0.12608 | 0.061064
56 | 0.1128 | 0.054633
57 | 0.089751 | 0.043468
58 | 0.15427 | 0.074718
59 | 0.3476 | 0.16835
60 | 0.10039 | 0.048623
61 | 0.074933 | 0.036292

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1