## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_426_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_426_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_426_0_node_22 | 20 | n |  | TRUE
3 | bus_MV_426_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_426_0_node_177 | 20 | n |  | TRUE
5 | bus_MV_426_0_node_9 | 20 | n |  | TRUE
6 | bus_MV_426_0_node_7 | 20 | n |  | TRUE
7 | bus_MV_426_0_node_8 | 20 | n |  | TRUE
8 | bus_MV_426_0_node_167 | 20 | n |  | TRUE
9 | bus_MV_426_0_node_10 | 20 | n |  | TRUE
10 | bus_MV_426_0_node_11 | 20 | n |  | TRUE
11 | bus_MV_426_0_node_12 | 20 | n |  | TRUE
12 | bus_MV_426_0_node_15 | 20 | n |  | TRUE
13 | bus_MV_426_0_node_14 | 20 | n |  | TRUE
14 | bus_MV_426_0_node_49 | 20 | n |  | TRUE
15 | bus_MV_426_0_node_16 | 20 | n |  | TRUE
16 | bus_MV_426_0_node_17 | 20 | n |  | TRUE
17 | bus_MV_426_0_node_135 | 20 | n |  | TRUE
18 | bus_MV_426_0_node_58 | 20 | n |  | TRUE
19 | bus_MV_426_0_node_50 | 20 | n |  | TRUE
20 | bus_MV_426_0_node_18 | 20 | n |  | TRUE
21 | bus_MV_426_0_node_19 | 20 | n |  | TRUE
22 | bus_MV_426_0_node_21 | 20 | n |  | TRUE
23 | bus_MV_426_0_node_23 | 20 | n |  | TRUE
24 | bus_MV_426_0_node_26 | 20 | n |  | TRUE
25 | bus_MV_426_0_node_25 | 20 | n |  | TRUE
26 | bus_MV_426_0_node_27 | 20 | n |  | TRUE
27 | bus_MV_426_0_node_31 | 20 | n |  | TRUE
28 | bus_MV_426_0_node_29 | 20 | n |  | TRUE
29 | bus_MV_426_0_node_28 | 20 | n |  | TRUE
30 | bus_MV_426_0_node_30 | 20 | n |  | TRUE
31 | bus_MV_426_0_node_186 | 20 | n |  | TRUE
32 | bus_MV_426_0_node_32 | 20 | n |  | TRUE
33 | bus_MV_426_0_node_33 | 20 | n |  | TRUE
34 | bus_MV_426_0_node_41 | 20 | n |  | TRUE
35 | bus_MV_426_0_node_35 | 20 | n |  | TRUE
36 | bus_MV_426_0_node_37 | 20 | n |  | TRUE
37 | bus_MV_426_0_node_36 | 20 | n |  | TRUE
38 | bus_MV_426_0_node_38 | 20 | n |  | TRUE
39 | bus_MV_426_0_node_39 | 20 | n |  | TRUE
40 | bus_MV_426_0_node_191 | 20 | n |  | TRUE
41 | bus_MV_426_0_node_45 | 20 | n |  | TRUE
42 | bus_MV_426_0_node_43 | 20 | n |  | TRUE
43 | bus_MV_426_0_node_40 | 20 | n |  | TRUE
44 | bus_MV_426_0_node_42 | 20 | n |  | TRUE
45 | bus_MV_426_0_node_61 | 20 | n |  | TRUE
46 | bus_MV_426_0_node_59 | 20 | n |  | TRUE
47 | bus_MV_426_0_node_44 | 20 | n |  | TRUE
48 | bus_MV_426_0_node_46 | 20 | n |  | TRUE
49 | bus_MV_426_0_node_165 | 20 | n |  | TRUE
50 | bus_MV_426_0_node_56 | 20 | n |  | TRUE
51 | bus_MV_426_0_node_47 | 20 | n |  | TRUE
52 | bus_MV_426_0_node_48 | 20 | n |  | TRUE
53 | bus_MV_426_0_node_51 | 20 | n |  | TRUE
54 | bus_MV_426_0_node_52 | 20 | n |  | TRUE
55 | bus_MV_426_0_node_187 | 20 | n |  | TRUE
56 | bus_MV_426_0_node_136 | 20 | n |  | TRUE
57 | bus_MV_426_0_node_53 | 20 | n |  | TRUE
58 | bus_MV_426_0_node_55 | 20 | n |  | TRUE
59 | bus_MV_426_0_node_54 | 20 | n |  | TRUE
60 | bus_MV_426_0_node_57 | 20 | n |  | TRUE
61 | bus_MV_426_0_node_141 | 20 | n |  | TRUE
62 | bus_MV_426_0_node_140 | 20 | n |  | TRUE
63 | bus_MV_426_0_node_60 | 20 | n |  | TRUE
64 | bus_MV_426_0_node_169 | 20 | n |  | TRUE
65 | bus_MV_426_0_node_62 | 20 | n |  | TRUE
66 | bus_MV_426_0_node_63 | 20 | n |  | TRUE
67 | bus_MV_426_0_node_131 | 20 | n |  | TRUE
68 | bus_MV_426_0_node_132 | 20 | n |  | TRUE
69 | bus_MV_426_0_node_133 | 20 | n |  | TRUE
70 | bus_MV_426_0_node_134 | 20 | n |  | TRUE
71 | bus_MV_426_0_node_138 | 20 | n |  | TRUE
72 | bus_MV_426_0_node_137 | 20 | n |  | TRUE
73 | bus_MV_426_0_node_188 | 20 | n |  | TRUE
74 | bus_MV_426_0_node_178 | 20 | n |  | TRUE
75 | bus_MV_426_0_node_179 | 20 | n |  | TRUE
76 | bus_MV_426_0_node_180 | 20 | n |  | TRUE
77 | bus_HV_426_0_node_63 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_426_0_load_0 | 0 | 0.37218 | 0.18026 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_426_0_load_22 | 2 | 0.086092 | 0.041696 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_426_0_load_177 | 4 | 0.22645 | 0.10968 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_426_0_load_7 | 6 | 0.22382 | 0.1084 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_426_0_load_10 | 9 | 0.3255 | 0.15765 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_426_0_load_11 | 10 | 0.26979 | 0.13067 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_426_0_load_14 | 13 | 0.3984 | 0.19295 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_426_0_load_135 | 17 | 0.11736 | 0.056839 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_426_0_load_58 | 18 | 0.16149 | 0.078214 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_426_0_load_18 | 20 | 0.37641 | 0.1823 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_426_0_load_23 | 23 | 0.33106 | 0.16034 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_426_0_load_27 | 26 | 0.16944 | 0.082064 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_426_0_load_31 | 27 | 0.29065 | 0.14077 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_426_0_load_28 | 29 | 0.14359 | 0.069542 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_426_0_load_186 | 31 | 0.27853 | 0.1349 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_426_0_load_32 | 32 | 0.099487 | 0.048184 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_426_0_load_33 | 33 | 0.083137 | 0.040265 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_426_0_load_41 | 34 | 0.081771 | 0.039604 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_426_0_load_35 | 35 | 0.16096 | 0.077956 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_426_0_load_191 | 40 | 0.10827 | 0.052439 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_426_0_load_43 | 42 | 0.12557 | 0.060814 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_426_0_load_59 | 46 | 0.11067 | 0.0536 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_426_0_load_165 | 49 | 0.15061 | 0.072942 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_426_0_load_56 | 50 | 0.093447 | 0.045258 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_426_0_load_47 | 51 | 0.15935 | 0.077177 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_426_0_load_51 | 53 | 0.10172 | 0.049266 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_426_0_load_187 | 55 | 0.10556 | 0.051125 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_426_0_load_57 | 60 | 0.14109 | 0.068335 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_426_0_load_140 | 62 | 0.20437 | 0.098982 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_426_0_load_169 | 64 | 0.10746 | 0.052047 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_426_0_load_62 | 65 | 0.084566 | 0.040957 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_426_0_load_63 | 66 | 0.055321 | 0.026793 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_426_0_load_131 | 67 | 0.86014 | 0.41658 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_426_0_load_132 | 68 | 0.28558 | 0.13831 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_426_0_load_133 | 69 | 0.17098 | 0.082812 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_426_0_load_137 | 72 | 0.09356 | 0.045313 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_426_0_load_188 | 73 | 0.064433 | 0.031206 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_426_0_load_178 | 74 | 0.27998 | 0.1356 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_426_0_line_0 |  | 0 | 1 | 0.071854 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
1 | MV_426_0_line_1 |  | 0 | 2 | 0.69989 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
2 | MV_426_0_line_2 |  | 1 | 3 | 0.70529 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_426_0_line_3 |  | 2 | 20 | 1.1136 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
4 | MV_426_0_line_4 |  | 3 | 4 | 0.004449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_426_0_line_5 |  | 3 | 5 | 1.1526 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
6 | MV_426_0_line_6 |  | 5 | 6 | 0.031023 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
7 | MV_426_0_line_7 |  | 6 | 7 | 0.057393 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
8 | MV_426_0_line_8 |  | 7 | 8 | 1.5222 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
9 | MV_426_0_line_9 |  | 8 | 66 | 0.013582 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_426_0_line_10 |  | 9 | 10 | 1.3349 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_426_0_line_11 |  | 10 | 11 | 0.037166 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_426_0_line_12 |  | 11 | 12 | 0.49341 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_426_0_line_13 |  | 12 | 14 | 0.44194 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_426_0_line_14 |  | 12 | 13 | 0.10182 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_426_0_line_15 |  | 14 | 18 | 0.13164 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_426_0_line_16 |  | 15 | 16 | 0.21832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_426_0_line_17 |  | 15 | 17 | 0.025796 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_426_0_line_18 |  | 16 | 18 | 0.032555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_426_0_line_19 |  | 16 | 19 | 0.12269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_426_0_line_20 |  | 17 | 56 | 0.017988 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_426_0_line_21 |  | 19 | 53 | 0.04283 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_426_0_line_22 |  | 19 | 52 | 0.52763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_426_0_line_23 |  | 20 | 21 | 0.041147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_426_0_line_24 |  | 21 | 22 | 0.74272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_426_0_line_25 |  | 22 | 23 | 0.003673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_426_0_line_26 |  | 23 | 24 | 0.38903 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_426_0_line_27 |  | 24 | 27 | 0.042545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_426_0_line_28 |  | 24 | 25 | 0.4625 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_426_0_line_29 |  | 25 | 26 | 0.097136 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_426_0_line_30 |  | 26 | 28 | 0.25179 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_426_0_line_31 |  | 28 | 30 | 0.20704 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_426_0_line_32 |  | 28 | 29 | 0.015996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_426_0_line_33 |  | 30 | 31 | 0.018515 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_426_0_line_34 |  | 31 | 76 | 0.039101 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_426_0_line_35 |  | 32 | 33 | 0.11459 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_426_0_line_36 |  | 33 | 34 | 0.062472 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_426_0_line_37 |  | 34 | 43 | 0.10974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_426_0_line_38 |  | 35 | 36 | 0.035947 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_426_0_line_39 |  | 35 | 37 | 0.057885 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_426_0_line_40 |  | 36 | 39 | 0.19165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_426_0_line_41 |  | 37 | 38 | 0.11167 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_426_0_line_42 |  | 38 | 40 | 0.022912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_426_0_line_43 |  | 39 | 41 | 0.8381 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_426_0_line_44 |  | 39 | 42 | 0.094474 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_426_0_line_45 |  | 41 | 49 | 0.026095 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_426_0_line_46 |  | 42 | 47 | 0.036801 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_426_0_line_47 |  | 43 | 44 | 0.41477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_426_0_line_48 |  | 44 | 45 | 0.16523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_426_0_line_49 |  | 44 | 46 | 0.056359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_426_0_line_50 |  | 45 | 64 | 0.018714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_426_0_line_51 |  | 46 | 63 | 0.076192 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_426_0_line_52 |  | 47 | 48 | 0.27594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_426_0_line_53 |  | 48 | 50 | 0.026513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_426_0_line_54 |  | 49 | 58 | 0.024125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_426_0_line_55 |  | 51 | 52 | 0.031732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_426_0_line_56 |  | 54 | 55 | 0.017855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_426_0_line_57 |  | 54 | 56 | 0.093861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_426_0_line_58 |  | 56 | 70 | 0.07619 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_426_0_line_59 |  | 57 | 58 | 0.34437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_426_0_line_60 |  | 57 | 59 | 0.3853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_426_0_line_61 |  | 57 | 60 | 0.026955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_426_0_line_62 |  | 58 | 63 | 0.27087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_426_0_line_63 |  | 59 | 61 | 0.091648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_426_0_line_64 |  | 59 | 62 | 0.096569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_426_0_line_65 |  | 61 | 73 | 0.012093 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_426_0_line_66 |  | 62 | 65 | 1.2971 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
67 | MV_426_0_line_67 |  | 62 | 72 | 0.1197 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_426_0_line_68 |  | 65 | 66 | 0.31795 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
69 | MV_426_0_line_69 |  | 67 | 68 | 0.037138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_426_0_line_70 |  | 68 | 69 | 0.035582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_426_0_line_71 |  | 69 | 70 | 0.088983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_426_0_line_72 |  | 69 | 71 | 0.16379 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_426_0_line_73 |  | 71 | 72 | 0.017116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_426_0_line_74 |  | 74 | 75 | 0.033066 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_426_0_line_75 |  | 75 | 76 | 0.52061 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_426_0_trafo_63 | 25 MVA 110/20 kV | 77 | 66 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2663108.4988 | 1242424.1778
1 | 2663060.202 | 1242370.8505
2 | 2663733.8331 | 1242738.517
3 | 2662749.4886 | 1242129.8834
4 | 2662749.3509 | 1242134.3294
5 | 2663150.4793 | 1241049.3122
6 | 2663163.0825 | 1241021.0048
7 | 2663181.5733 | 1240966.6758
8 | 2664648.1229 | 1240558.7944
9 | 2668471.7398 | 1240602.2247
10 | 2667144.0291 | 1240464.0807
11 | 2667112.8849 | 1240484.4982
12 | 2666825.5259 | 1240083.4061
13 | 2666808.4996 | 1240183.7941
14 | 2666603.3788 | 1239701.3616
15 | 2666386.5801 | 1239733.1671
16 | 2666483.9528 | 1239588.6135
17 | 2666368.1323 | 1239715.082
18 | 2666507.3556 | 1239611.3132
19 | 2666422.1537 | 1239482.6278
20 | 2664835.6304 | 1242576.5705
21 | 2664844.9285 | 1242616.655
22 | 2665149.7192 | 1242997.4421
23 | 2665153.2922 | 1242998.3375
24 | 2665536.2841 | 1243066.6226
25 | 2665456.8088 | 1243234.1386
26 | 2665361.0179 | 1243250.2497
27 | 2665576.9773 | 1243053.8299
28 | 2665121.4078 | 1243327.6138
29 | 2665110.3963 | 1243339.2454
30 | 2664951.667 | 1243265.289
31 | 2664953.7103 | 1243283.6907
32 | 2665530.5207 | 1238541.4645
33 | 2665629.4819 | 1238599.2405
34 | 2665685.6258 | 1238626.6369
35 | 2666375.1209 | 1238783.661
36 | 2666393.8301 | 1238752.9382
37 | 2666325.7551 | 1238753.4336
38 | 2666254.089 | 1238756.4692
39 | 2666485.4101 | 1238805.5092
40 | 2666231.1801 | 1238758.2594
41 | 2666161.4907 | 1239257.8437
42 | 2666533.0401 | 1238723.9205
43 | 2665640.9236 | 1238726.7642
44 | 2665833.7495 | 1239011.0794
45 | 2665732.4309 | 1239140.3449
46 | 2665886.8349 | 1239027.8571
47 | 2666502.1774 | 1238703.7501
48 | 2666548.1325 | 1238480.1577
49 | 2666144.4354 | 1239238.1293
50 | 2666532.5731 | 1238458.7785
51 | 2666442.8027 | 1239208.8506
52 | 2666468.1526 | 1239228.0361
53 | 2666440.7674 | 1239444.0542
54 | 2666293.6782 | 1239632.2497
55 | 2666278.3913 | 1239622.9505
56 | 2666353.4716 | 1239704.5999
57 | 2666019.6443 | 1239361.9917
58 | 2666123.741 | 1239225.9684
59 | 2665990.6649 | 1239656.9254
60 | 2665995.2076 | 1239373.5168
61 | 2666056.4036 | 1239624.8566
62 | 2665947.9454 | 1239739.7922
63 | 2665956.9631 | 1239056.0323
64 | 2665720.8094 | 1239155.0374
65 | 2664753.3131 | 1240244.983
66 | 2664655.8894 | 1240547.6381
67 | 2666276.4403 | 1239825.9218
68 | 2666251.9969 | 1239835.6618
69 | 2666226.7065 | 1239810.6349
70 | 2666295.6269 | 1239754.3545
71 | 2666067.0714 | 1239773.9766
72 | 2666057.4527 | 1239788.1348
73 | 2666059.1647 | 1239613.2461
74 | 2664944.6337 | 1243064.0628
75 | 2664961.1375 | 1243092.7408
76 | 2664922.3895 | 1243307.0974
77 | 2664655.8894 | 1240547.6381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9904 | -0.23237 | 0.37218 | 0.18026
1 | 0.99049 | -0.23133 | 0 | 0
2 | 0.98877 | -0.27446 | 0.086092 | 0.041696
3 | 0.99138 | -0.22093 | 0 | 0
4 | 0.99138 | -0.22091 | 0.22645 | 0.10968
5 | 0.99486 | -0.13043 | 0 | 0
6 | 0.9949 | -0.12993 | 0.22382 | 0.1084
7 | 0.99499 | -0.12893 | 0 | 0
8 | 0.99998 | -0.00023444 | 0 | 0
9 | 0.98607 | -0.24453 | 0.3255 | 0.15765
10 | 0.98692 | -0.23904 | 0.26979 | 0.13067
11 | 0.98695 | -0.23931 | 0 | 0
12 | 0.98753 | -0.23555 | 0 | 0
13 | 0.98745 | -0.23606 | 0.3984 | 0.19295
14 | 0.98839 | -0.22999 | 0 | 0
15 | 0.98909 | -0.23228 | 0 | 0
16 | 0.98869 | -0.22878 | 0 | 0
17 | 0.98913 | -0.23269 | 0.11736 | 0.056839
18 | 0.98864 | -0.22833 | 0.16149 | 0.078214
19 | 0.98863 | -0.22931 | 0 | 0
20 | 0.98631 | -0.33882 | 0.37641 | 0.1823
21 | 0.98623 | -0.33819 | 0 | 0
22 | 0.9848 | -0.32642 | 0 | 0
23 | 0.9848 | -0.32636 | 0.33106 | 0.16034
24 | 0.98392 | -0.33304 | 0 | 0
25 | 0.9834 | -0.32877 | 0 | 0
26 | 0.98323 | -0.32999 | 0.16944 | 0.082064
27 | 0.9839 | -0.33288 | 0.29065 | 0.14077
28 | 0.98289 | -0.3326 | 0 | 0
29 | 0.98289 | -0.33257 | 0.14359 | 0.069542
30 | 0.98274 | -0.33137 | 0 | 0
31 | 0.98272 | -0.33152 | 0.27853 | 0.1349
32 | 0.98951 | -0.21423 | 0.099487 | 0.048184
33 | 0.98953 | -0.21409 | 0.083137 | 0.040265
34 | 0.98955 | -0.21394 | 0.081771 | 0.039604
35 | 0.98934 | -0.21271 | 0.16096 | 0.077956
36 | 0.98935 | -0.21282 | 0 | 0
37 | 0.98932 | -0.21281 | 0 | 0
38 | 0.98931 | -0.21267 | 0 | 0
39 | 0.98941 | -0.21337 | 0 | 0
40 | 0.98931 | -0.21264 | 0.10827 | 0.052439
41 | 0.98993 | -0.21693 | 0 | 0
42 | 0.98937 | -0.2137 | 0.12557 | 0.060814
43 | 0.98959 | -0.21429 | 0 | 0
44 | 0.98973 | -0.21542 | 0 | 0
45 | 0.98971 | -0.21523 | 0 | 0
46 | 0.98976 | -0.21561 | 0.11067 | 0.0536
47 | 0.98937 | -0.21367 | 0 | 0
48 | 0.98934 | -0.21342 | 0 | 0
49 | 0.98995 | -0.21703 | 0.15061 | 0.072942
50 | 0.98933 | -0.2134 | 0.093447 | 0.045258
51 | 0.98851 | -0.22846 | 0.15935 | 0.077177
52 | 0.98852 | -0.22852 | 0 | 0
53 | 0.98862 | -0.22937 | 0.10172 | 0.049266
54 | 0.98915 | -0.23312 | 0 | 0
55 | 0.98915 | -0.2331 | 0.10556 | 0.051125
56 | 0.98917 | -0.233 | 0 | 0
57 | 0.99046 | -0.22036 | 0 | 0
58 | 0.98997 | -0.21716 | 0 | 0
59 | 0.99107 | -0.22437 | 0 | 0
60 | 0.99045 | -0.22031 | 0.14109 | 0.068335
61 | 0.99107 | -0.2243 | 0 | 0
62 | 0.99124 | -0.22539 | 0.20437 | 0.098982
63 | 0.9898 | -0.21597 | 0 | 0
64 | 0.9897 | -0.21521 | 0.10746 | 0.052047
65 | 0.99825 | -0.044698 | 0.084566 | 0.040957
66 | 1 | 0 | -7.5317 | -3.4866
67 | 0.98942 | -0.23515 | 0.86014 | 0.41658
68 | 0.98946 | -0.23553 | 0.28558 | 0.13831
69 | 0.98952 | -0.23603 | 0.17098 | 0.082812
70 | 0.98933 | -0.2344 | 0 | 0
71 | 0.99046 | -0.22963 | 0 | 0
72 | 0.99052 | -0.23021 | 0.09356 | 0.045313
73 | 0.99106 | -0.22429 | 0.064433 | 0.031206
74 | 0.9825 | -0.33002 | 0.27998 | 0.1356
75 | 0.98251 | -0.33013 | 0 | 0
76 | 0.9827 | -0.33171 | 0 | 0
77 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -2.3387 | -1.0854 | 2.3388 | 1.0832 | 0.00019592 | -0.0022758 | 0.07515 | 0.07512 | 0.07515 | 0.9904 | -0.23237 | 0.99049 | -0.23133 | 20.7596
1 | 1.9665 | 0.90518 | -1.9639 | -0.90311 | 0.0025585 | 0.0020651 | 0.063098 | 0.063109 | 0.063109 | 0.9904 | -0.23237 | 0.98877 | -0.27446 | 18.0311
2 | -2.3388 | -1.0832 | 2.3408 | 1.0608 | 0.0019149 | -0.022368 | 0.07512 | 0.074832 | 0.07512 | 0.99049 | -0.23133 | 0.99138 | -0.22093 | 20.7514
3 | 1.8778 | 0.86141 | -1.8741 | -0.85852 | 0.0037203 | 0.0028905 | 0.060317 | 0.060333 | 0.060333 | 0.98877 | -0.27446 | 0.98631 | -0.33882 | 17.2381
4 | 0.22645 | 0.10957 | -0.22645 | -0.10968 | 3.1875e-07 | -0.00010431 | 0.0073253 | 0.0073266 | 0.0073266 | 0.99138 | -0.22093 | 0.99138 | -0.22091 | 3.3303
5 | -2.5672 | -1.1704 | 2.5744 | 1.1771 | 0.0071399 | 0.006738 | 0.082155 | 0.082138 | 0.082155 | 0.99138 | -0.22093 | 0.99486 | -0.13043 | 23.4729
6 | -2.5744 | -1.1771 | 2.5745 | 1.1761 | 0.00010108 | -0.00097995 | 0.082138 | 0.082125 | 0.082138 | 0.99486 | -0.13043 | 0.9949 | -0.12993 | 22.69
7 | -2.7983 | -1.2845 | 2.7985 | 1.2827 | 0.0002212 | -0.0017883 | 0.089339 | 0.089316 | 0.089339 | 0.9949 | -0.12993 | 0.99499 | -0.12893 | 24.6794
8 | -2.7985 | -1.2827 | 2.8096 | 1.2936 | 0.011145 | 0.010844 | 0.089316 | 0.089293 | 0.089316 | 0.99499 | -0.12893 | 0.99998 | -0.00023444 | 25.5188
9 | -2.8096 | -1.2936 | 2.8097 | 1.2931 | 5.2302e-05 | -0.00042793 | 0.089293 | 0.089287 | 0.089293 | 0.99998 | -0.00023444 | 1 | 0 | 24.6665
10 | -0.3255 | -0.15765 | 0.32577 | 0.15626 | 0.00026612 | -0.0013841 | 0.010588 | 0.010568 | 0.010588 | 0.98607 | -0.24453 | 0.98692 | -0.23904 | 5.0419
11 | -0.59556 | -0.28693 | 0.59558 | 0.28607 | 1.8541e-05 | -0.00085885 | 0.019336 | 0.019326 | 0.019336 | 0.98692 | -0.23904 | 0.98695 | -0.23931 | 8.7893
12 | -0.59558 | -0.28607 | 0.59591 | 0.2857 | 0.0003282 | -0.00036852 | 0.019326 | 0.019318 | 0.019326 | 0.98695 | -0.23931 | 0.98753 | -0.23555 | 9.2026
13 | -0.99434 | -0.47856 | 0.99516 | 0.47856 | 0.00081918 | -1.8465e-06 | 0.032258 | 0.032251 | 0.032258 | 0.98753 | -0.23555 | 0.98839 | -0.22999 | 15.3609
14 | 0.39843 | 0.19285 | -0.3984 | -0.19295 | 3.0379e-05 | -9.9503e-05 | 0.01294 | 0.012941 | 0.012941 | 0.98753 | -0.23555 | 0.98745 | -0.23606 | 6.1625
15 | -0.99516 | -0.47856 | 0.9954 | 0.47855 | 0.00024395 | -7.634e-07 | 0.032251 | 0.032249 | 0.032251 | 0.98839 | -0.22999 | 0.98864 | -0.22833 | 15.3578
16 | 1.4187 | 0.66432 | -1.4181 | -0.66924 | 0.00061009 | -0.0049165 | 0.04572 | 0.045784 | 0.045784 | 0.98909 | -0.23228 | 0.98869 | -0.22878 | 20.8107
17 | -1.4187 | -0.66432 | 1.4187 | 0.66374 | 7.1975e-05 | -0.00058122 | 0.04572 | 0.045713 | 0.04572 | 0.98909 | -0.23228 | 0.98913 | -0.23269 | 20.7819
18 | 1.157 | 0.55603 | -1.1569 | -0.55677 | 6.1065e-05 | -0.00074165 | 0.037479 | 0.037489 | 0.037489 | 0.98869 | -0.22878 | 0.98864 | -0.22833 | 17.0403
19 | 0.26111 | 0.11321 | -0.26109 | -0.11335 | 1.5096e-05 | -0.00013371 | 0.0083096 | 0.0083112 | 0.0083112 | 0.98869 | -0.22878 | 0.98863 | -0.22931 | 3.9577
20 | -1.5361 | -0.72058 | 1.5362 | 0.72018 | 5.8877e-05 | -0.00040275 | 0.049518 | 0.049513 | 0.049518 | 0.98913 | -0.23269 | 0.98917 | -0.233 | 22.5082
21 | 0.10172 | 0.049216 | -0.10172 | -0.049266 | 8.3099e-07 | -4.9453e-05 | 0.0032996 | 0.0033003 | 0.0033003 | 0.98863 | -0.22931 | 0.98862 | -0.22937 | 1.5716
22 | 0.15937 | 0.064131 | -0.15935 | -0.076437 | 1.8221e-05 | -0.012306 | 0.0050162 | 0.0051612 | 0.0051612 | 0.98863 | -0.22931 | 0.98852 | -0.22852 | 2.346
23 | 1.4977 | 0.67622 | -1.4976 | -0.67714 | 0.0001271 | -0.00091793 | 0.048096 | 0.048107 | 0.048107 | 0.98631 | -0.33882 | 0.98623 | -0.33819 | 21.867
24 | 1.4976 | 0.67714 | -1.4953 | -0.69368 | 0.0023047 | -0.01654 | 0.048107 | 0.048317 | 0.048317 | 0.98623 | -0.33819 | 0.9848 | -0.32642 | 21.9624
25 | 1.4953 | 0.69368 | -1.4952 | -0.69376 | 1.1448e-05 | -8.1655e-05 | 0.048317 | 0.048318 | 0.048318 | 0.9848 | -0.32642 | 0.9848 | -0.32636 | 21.9629
26 | 1.1642 | 0.53342 | -1.1632 | -0.53326 | 0.00097683 | 0.00016184 | 0.037538 | 0.037543 | 0.037543 | 0.9848 | -0.32636 | 0.98392 | -0.33304 | 17.8777
27 | 0.29065 | 0.13978 | -0.29065 | -0.14077 | 5.0923e-06 | -0.00098187 | 0.0094625 | 0.009475 | 0.009475 | 0.98392 | -0.33304 | 0.9839 | -0.33288 | 4.3068
28 | 0.87256 | 0.39347 | -0.87207 | -0.40401 | 0.00048919 | -0.01054 | 0.028083 | 0.028213 | 0.028213 | 0.98392 | -0.33304 | 0.9834 | -0.32877 | 12.8242
29 | 0.87207 | 0.40401 | -0.87193 | -0.40404 | 0.00013777 | -2.5832e-05 | 0.028213 | 0.028215 | 0.028215 | 0.9834 | -0.32877 | 0.98323 | -0.32999 | 13.4355
30 | 0.70249 | 0.32198 | -0.70226 | -0.32212 | 0.00023096 | -0.00014583 | 0.022688 | 0.022692 | 0.022692 | 0.98323 | -0.32999 | 0.98289 | -0.3326 | 10.8056
31 | 0.55868 | 0.25295 | -0.55859 | -0.2577 | 8.9958e-05 | -0.0047481 | 0.018012 | 0.01807 | 0.01807 | 0.98289 | -0.3326 | 0.98274 | -0.33137 | 8.2137
32 | 0.14359 | 0.069173 | -0.14359 | -0.069542 | 4.6838e-07 | -0.00036882 | 0.004681 | 0.0046857 | 0.0046857 | 0.98289 | -0.3326 | 0.98289 | -0.33257 | 2.1299
33 | 0.55859 | 0.2577 | -0.55857 | -0.25771 | 1.0772e-05 | -1.4599e-05 | 0.01807 | 0.01807 | 0.01807 | 0.98274 | -0.33137 | 0.98272 | -0.33152 | 8.6049
34 | 0.28005 | 0.12281 | -0.28004 | -0.12286 | 5.6216e-06 | -4.1557e-05 | 0.0089827 | 0.0089832 | 0.0089832 | 0.98272 | -0.33152 | 0.9827 | -0.33171 | 4.2777
35 | -0.099487 | -0.048184 | 0.099489 | 0.048051 | 2.1222e-06 | -0.00013262 | 0.0032249 | 0.0032232 | 0.0032249 | 0.98951 | -0.21423 | 0.98953 | -0.21409 | 1.5357
36 | -0.18263 | -0.088316 | 0.18263 | 0.088245 | 3.8976e-06 | -7.0586e-05 | 0.005918 | 0.0059171 | 0.005918 | 0.98953 | -0.21409 | 0.98955 | -0.21394 | 2.8181
37 | -0.2644 | -0.12785 | 0.26441 | 0.12529 | 1.0713e-05 | -0.0025627 | 0.0085676 | 0.0085353 | 0.0085676 | 0.98955 | -0.21394 | 0.98959 | -0.21429 | 3.8944
38 | -0.26924 | -0.12718 | 0.26924 | 0.12634 | 3.6182e-06 | -0.000839 | 0.0086884 | 0.0086779 | 0.0086884 | 0.98934 | -0.21271 | 0.98935 | -0.21282 | 3.9493
39 | 0.10828 | 0.049228 | -0.10828 | -0.049295 | 1.2425e-06 | -6.6858e-05 | 0.0034706 | 0.0034714 | 0.0034714 | 0.98934 | -0.21271 | 0.98932 | -0.21281 | 1.653
40 | -0.26924 | -0.12634 | 0.26926 | 0.12187 | 1.9145e-05 | -0.0044735 | 0.0086779 | 0.0086232 | 0.0086779 | 0.98935 | -0.21282 | 0.98941 | -0.21337 | 3.9445
41 | 0.10828 | 0.049295 | -0.10827 | -0.051904 | 1.8131e-06 | -0.0026091 | 0.0034714 | 0.0035036 | 0.0035036 | 0.98932 | -0.21281 | 0.98931 | -0.21267 | 1.5926
42 | 0.10827 | 0.051904 | -0.10827 | -0.052439 | 3.762e-07 | -0.0005353 | 0.0035036 | 0.0035104 | 0.0035104 | 0.98931 | -0.21267 | 0.98931 | -0.21264 | 1.5956
43 | -0.48828 | -0.21991 | 0.48855 | 0.20039 | 0.00026913 | -0.01952 | 0.015625 | 0.015399 | 0.015625 | 0.98941 | -0.21337 | 0.98993 | -0.21693 | 7.1021
44 | 0.21903 | 0.09804 | -0.21902 | -0.098146 | 8.2526e-06 | -0.00010523 | 0.0070014 | 0.0070027 | 0.0070027 | 0.98941 | -0.21337 | 0.98937 | -0.2137 | 3.3346
45 | -0.48855 | -0.20039 | 0.48856 | 0.19978 | 8.2568e-06 | -0.00060813 | 0.015399 | 0.015392 | 0.015399 | 0.98993 | -0.21693 | 0.98995 | -0.21703 | 6.9994
46 | 0.093451 | 0.037331 | -0.093451 | -0.038191 | 4.249e-07 | -0.00085996 | 0.0029362 | 0.0029456 | 0.0029456 | 0.98937 | -0.2137 | 0.98937 | -0.21367 | 1.3389
47 | -0.26441 | -0.12529 | 0.26445 | 0.1156 | 3.9777e-05 | -0.0096876 | 0.0085353 | 0.008418 | 0.0085353 | 0.98959 | -0.21429 | 0.98973 | -0.21542 | 3.8797
48 | 0.10747 | 0.047745 | -0.10746 | -0.051609 | 2.6303e-06 | -0.0038636 | 0.0034299 | 0.0034772 | 0.0034772 | 0.98973 | -0.21542 | 0.98971 | -0.21523 | 1.5805
49 | -0.37192 | -0.16334 | 0.37193 | 0.16203 | 1.0548e-05 | -0.001315 | 0.011848 | 0.011832 | 0.011848 | 0.98973 | -0.21542 | 0.98976 | -0.21561 | 5.3854
50 | 0.10746 | 0.051609 | -0.10746 | -0.052047 | 3.0254e-07 | -0.00043758 | 0.0034772 | 0.0034827 | 0.0034827 | 0.98971 | -0.21523 | 0.9897 | -0.21521 | 1.5831
51 | -0.4826 | -0.21563 | 0.48262 | 0.21385 | 2.4142e-05 | -0.001775 | 0.015417 | 0.015396 | 0.015417 | 0.98976 | -0.21561 | 0.9898 | -0.21597 | 7.0076
52 | 0.093451 | 0.038191 | -0.093447 | -0.044639 | 3.2767e-06 | -0.0064478 | 0.0029456 | 0.0030218 | 0.0030218 | 0.98937 | -0.21367 | 0.98934 | -0.21342 | 1.3735
53 | 0.093447 | 0.044639 | -0.093447 | -0.045258 | 3.2403e-07 | -0.0006195 | 0.0030218 | 0.0030296 | 0.0030296 | 0.98934 | -0.21342 | 0.98933 | -0.2134 | 1.3771
54 | -0.63917 | -0.27273 | 0.63918 | 0.27217 | 1.3221e-05 | -0.00056058 | 0.020264 | 0.020258 | 0.020264 | 0.98995 | -0.21703 | 0.98997 | -0.21716 | 9.211
55 | -0.15935 | -0.077177 | 0.15935 | 0.076437 | 1.1305e-06 | -0.00074 | 0.0051706 | 0.0051612 | 0.0051706 | 0.98851 | -0.22846 | 0.98852 | -0.22852 | 2.3503
56 | 0.10556 | 0.050708 | -0.10556 | -0.051125 | 2.7886e-07 | -0.00041702 | 0.0034177 | 0.003423 | 0.003423 | 0.98915 | -0.23312 | 0.98915 | -0.2331 | 1.5559
57 | -0.10556 | -0.050708 | 0.10556 | 0.0506 | 1.9526e-06 | -0.00010841 | 0.0034177 | 0.0034163 | 0.0034177 | 0.98915 | -0.23312 | 0.98917 | -0.233 | 1.6275
58 | -1.6417 | -0.77078 | 1.642 | 0.76908 | 0.00028483 | -0.0016957 | 0.052929 | 0.052907 | 0.052929 | 0.98917 | -0.233 | 0.98933 | -0.2344 | 24.0587
59 | 1.1225 | 0.47182 | -1.1219 | -0.47971 | 0.00058047 | -0.0078899 | 0.035488 | 0.035579 | 0.035579 | 0.99046 | -0.22036 | 0.98997 | -0.21716 | 16.1724
60 | -1.2636 | -0.53952 | 1.2644 | 0.53073 | 0.00082269 | -0.0087864 | 0.040044 | 0.039941 | 0.040044 | 0.99046 | -0.22036 | 0.99107 | -0.22437 | 18.2018
61 | 0.14109 | 0.067704 | -0.14109 | -0.068335 | 7.4996e-07 | -0.00063113 | 0.0045612 | 0.0045692 | 0.0045692 | 0.99046 | -0.22036 | 0.99045 | -0.22031 | 2.0769
62 | 0.48271 | 0.20754 | -0.48262 | -0.21385 | 8.5295e-05 | -0.0063118 | 0.015322 | 0.015396 | 0.015396 | 0.98997 | -0.21716 | 0.9898 | -0.21597 | 6.998
63 | 0.064434 | 0.028774 | -0.064433 | -0.030923 | 5.2344e-07 | -0.0021491 | 0.0020554 | 0.0020817 | 0.0020817 | 0.99107 | -0.22437 | 0.99107 | -0.2243 | 0.94624
64 | -1.3288 | -0.55951 | 1.329 | 0.55731 | 0.00022724 | -0.0021977 | 0.041996 | 0.041971 | 0.041996 | 0.99107 | -0.22437 | 0.99124 | -0.22539 | 19.0892
65 | 0.064433 | 0.030923 | -0.064433 | -0.031206 | 7.0081e-08 | -0.00028358 | 0.0020817 | 0.0020853 | 0.0020853 | 0.99107 | -0.2243 | 0.99106 | -0.22429 | 0.94787
66 | -4.5911 | -2.107 | 4.6168 | 2.1349 | 0.025766 | 0.027858 | 0.14711 | 0.14709 | 0.14711 | 0.99124 | -0.22539 | 0.99825 | -0.044698 | 42.0324
67 | 3.0577 | 1.4508 | -3.0556 | -1.4496 | 0.0020719 | 0.0011575 | 0.098562 | 0.098564 | 0.098564 | 0.99124 | -0.22539 | 0.99052 | -0.23021 | 46.9352
68 | -4.7014 | -2.1759 | 4.708 | 2.183 | 0.0065505 | 0.0070935 | 0.14981 | 0.14981 | 0.14981 | 0.99825 | -0.044698 | 1 | 0 | 42.803
69 | -0.86014 | -0.41658 | 0.86018 | 0.41573 | 3.8533e-05 | -0.00085666 | 0.027884 | 0.027873 | 0.027884 | 0.98942 | -0.23515 | 0.98946 | -0.23553 | 12.6745
70 | -1.1458 | -0.55404 | 1.1458 | 0.55323 | 6.5471e-05 | -0.00081237 | 0.03713 | 0.03712 | 0.03713 | 0.98946 | -0.23553 | 0.98952 | -0.23603 | 16.8775
71 | 1.6423 | 0.7671 | -1.642 | -0.76908 | 0.00033236 | -0.0019813 | 0.052881 | 0.052907 | 0.052907 | 0.98952 | -0.23603 | 0.98933 | -0.2344 | 24.0486
72 | -2.9592 | -1.4031 | 2.9618 | 1.4046 | 0.0026638 | 0.0014769 | 0.095542 | 0.095539 | 0.095542 | 0.98952 | -0.23603 | 0.99046 | -0.22963 | 45.496
73 | -2.9618 | -1.4046 | 2.962 | 1.4043 | 0.00020856 | -0.00033907 | 0.095539 | 0.095534 | 0.095539 | 0.99046 | -0.22963 | 0.99052 | -0.23021 | 43.427
74 | -0.27998 | -0.1356 | 0.27998 | 0.13484 | 3.684e-06 | -0.00076102 | 0.0091403 | 0.0091306 | 0.0091403 | 0.9825 | -0.33002 | 0.98251 | -0.33013 | 4.1547
75 | -0.27998 | -0.13484 | 0.28004 | 0.12286 | 5.6993e-05 | -0.011985 | 0.0091306 | 0.0089832 | 0.0091306 | 0.98251 | -0.33013 | 0.9827 | -0.33171 | 4.1503

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 7.587 | 3.5134

## res_load
| p_mw | q_mvar
0 | 0.37218 | 0.18026
1 | 0.086092 | 0.041696
2 | 0.22645 | 0.10968
3 | 0.22382 | 0.1084
4 | 0.3255 | 0.15765
5 | 0.26979 | 0.13067
6 | 0.3984 | 0.19295
7 | 0.11736 | 0.056839
8 | 0.16149 | 0.078214
9 | 0.37641 | 0.1823
10 | 0.33106 | 0.16034
11 | 0.16944 | 0.082064
12 | 0.29065 | 0.14077
13 | 0.14359 | 0.069542
14 | 0.27853 | 0.1349
15 | 0.099487 | 0.048184
16 | 0.083137 | 0.040265
17 | 0.081771 | 0.039604
18 | 0.16096 | 0.077956
19 | 0.10827 | 0.052439
20 | 0.12557 | 0.060814
21 | 0.11067 | 0.0536
22 | 0.15061 | 0.072942
23 | 0.093447 | 0.045258
24 | 0.15935 | 0.077177
25 | 0.10172 | 0.049266
26 | 0.10556 | 0.051125
27 | 0.14109 | 0.068335
28 | 0.20437 | 0.098982
29 | 0.10746 | 0.052047
30 | 0.084566 | 0.040957
31 | 0.055321 | 0.026793
32 | 0.86014 | 0.41658
33 | 0.28558 | 0.13831
34 | 0.17098 | 0.082812
35 | 0.09356 | 0.045313
36 | 0.064433 | 0.031206
37 | 0.27998 | 0.1356

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1