## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_427_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_427_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_427_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_427_0_node_6 | 20 | n |  | TRUE
4 | bus_MV_427_0_node_11 | 20 | n |  | TRUE
5 | bus_MV_427_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_427_0_node_312 | 20 | n |  | TRUE
7 | bus_MV_427_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_427_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_427_0_node_10 | 20 | n |  | TRUE
10 | bus_MV_427_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_427_0_node_278 | 20 | n |  | TRUE
12 | bus_MV_427_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_427_0_node_19 | 20 | n |  | TRUE
14 | bus_MV_427_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_427_0_node_277 | 20 | n |  | TRUE
16 | bus_MV_427_0_node_249 | 20 | n |  | TRUE
17 | bus_MV_427_0_node_23 | 20 | n |  | TRUE
18 | bus_MV_427_0_node_32 | 20 | n |  | TRUE
19 | bus_MV_427_0_node_311 | 20 | n |  | TRUE
20 | bus_MV_427_0_node_12 | 20 | n |  | TRUE
21 | bus_MV_427_0_node_308 | 20 | n |  | TRUE
22 | bus_MV_427_0_node_16 | 20 | n |  | TRUE
23 | bus_MV_427_0_node_247 | 20 | n |  | TRUE
24 | bus_MV_427_0_node_17 | 20 | n |  | TRUE
25 | bus_MV_427_0_node_18 | 20 | n |  | TRUE
26 | bus_MV_427_0_node_307 | 20 | n |  | TRUE
27 | bus_MV_427_0_node_20 | 20 | n |  | TRUE
28 | bus_MV_427_0_node_21 | 20 | n |  | TRUE
29 | bus_MV_427_0_node_22 | 20 | n |  | TRUE
30 | bus_MV_427_0_node_295 | 20 | n |  | TRUE
31 | bus_MV_427_0_node_24 | 20 | n |  | TRUE
32 | bus_MV_427_0_node_252 | 20 | n |  | TRUE
33 | bus_MV_427_0_node_26 | 20 | n |  | TRUE
34 | bus_MV_427_0_node_25 | 20 | n |  | TRUE
35 | bus_MV_427_0_node_30 | 20 | n |  | TRUE
36 | bus_MV_427_0_node_27 | 20 | n |  | TRUE
37 | bus_MV_427_0_node_28 | 20 | n |  | TRUE
38 | bus_MV_427_0_node_29 | 20 | n |  | TRUE
39 | bus_MV_427_0_node_251 | 20 | n |  | TRUE
40 | bus_MV_427_0_node_31 | 20 | n |  | TRUE
41 | bus_MV_427_0_node_33 | 20 | n |  | TRUE
42 | bus_MV_427_0_node_306 | 20 | n |  | TRUE
43 | bus_MV_427_0_node_35 | 20 | n |  | TRUE
44 | bus_MV_427_0_node_36 | 20 | n |  | TRUE
45 | bus_MV_427_0_node_37 | 20 | n |  | TRUE
46 | bus_MV_427_0_node_40 | 20 | n |  | TRUE
47 | bus_MV_427_0_node_279 | 20 | n |  | TRUE
48 | bus_MV_427_0_node_38 | 20 | n |  | TRUE
49 | bus_MV_427_0_node_39 | 20 | n |  | TRUE
50 | bus_MV_427_0_node_254 | 20 | n |  | TRUE
51 | bus_MV_427_0_node_276 | 20 | n |  | TRUE
52 | bus_MV_427_0_node_42 | 20 | n |  | TRUE
53 | bus_MV_427_0_node_41 | 20 | n |  | TRUE
54 | bus_MV_427_0_node_244 | 20 | n |  | TRUE
55 | bus_MV_427_0_node_274 | 20 | n |  | TRUE
56 | bus_MV_427_0_node_268 | 20 | n |  | TRUE
57 | bus_MV_427_0_node_269 | 20 | n |  | TRUE
58 | bus_MV_427_0_node_253 | 20 | n |  | TRUE
59 | bus_MV_427_0_node_43 | 20 | n |  | TRUE
60 | bus_MV_427_0_node_47 | 20 | n |  | TRUE
61 | bus_MV_427_0_node_45 | 20 | n |  | TRUE
62 | bus_MV_427_0_node_46 | 20 | n |  | TRUE
63 | bus_MV_427_0_node_48 | 20 | n |  | TRUE
64 | bus_MV_427_0_node_49 | 20 | n |  | TRUE
65 | bus_MV_427_0_node_50 | 20 | n |  | TRUE
66 | bus_MV_427_0_node_51 | 20 | n |  | TRUE
67 | bus_MV_427_0_node_56 | 20 | n |  | TRUE
68 | bus_MV_427_0_node_57 | 20 | n |  | TRUE
69 | bus_MV_427_0_node_248 | 20 | n |  | TRUE
70 | bus_MV_427_0_node_250 | 20 | n |  | TRUE
71 | bus_MV_427_0_node_266 | 20 | n |  | TRUE
72 | bus_MV_427_0_node_267 | 20 | n |  | TRUE
73 | bus_MV_427_0_node_273 | 20 | n |  | TRUE
74 | bus_MV_427_0_node_270 | 20 | n |  | TRUE
75 | bus_MV_427_0_node_271 | 20 | n |  | TRUE
76 | bus_MV_427_0_node_272 | 20 | n |  | TRUE
77 | bus_MV_427_0_node_275 | 20 | n |  | TRUE
78 | bus_HV_427_0_node_17 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_427_0_load_0 | 0 | 0.1276 | 0.0618 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_427_0_load_11 | 4 | 0.074765 | 0.03621 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_427_0_load_312 | 6 | 0.33083 | 0.16023 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_427_0_load_8 | 10 | 0.15237 | 0.073797 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_427_0_load_278 | 11 | 0.2097 | 0.10156 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_427_0_load_19 | 13 | 0.2388 | 0.11566 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_427_0_load_7 | 14 | 0.1525 | 0.073861 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_427_0_load_277 | 15 | 0.092446 | 0.044774 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_427_0_load_311 | 19 | 0.18948 | 0.091768 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_427_0_load_12 | 20 | 0.39842 | 0.19296 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_427_0_load_308 | 21 | 0.35715 | 0.17298 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_427_0_load_247 | 23 | 0.18891 | 0.091492 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_427_0_load_307 | 26 | 0.20192 | 0.097796 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_427_0_load_20 | 27 | 0.07012 | 0.033961 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_427_0_load_295 | 30 | 0.2545 | 0.12326 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_427_0_load_252 | 32 | 0.11363 | 0.055032 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_427_0_load_25 | 34 | 0.38618 | 0.18704 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_427_0_load_30 | 35 | 0.26442 | 0.12806 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_427_0_load_27 | 36 | 0.14095 | 0.068264 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_427_0_load_28 | 37 | 0.57787 | 0.27987 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_427_0_load_31 | 40 | 0.21952 | 0.10632 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_427_0_load_33 | 41 | 0.12335 | 0.05974 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_427_0_load_306 | 42 | 0.18111 | 0.087716 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_427_0_load_35 | 43 | 0.20974 | 0.10158 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_427_0_load_279 | 47 | 0.11088 | 0.0537 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_427_0_load_254 | 50 | 0.13898 | 0.067313 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_427_0_load_276 | 51 | 0.30022 | 0.1454 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_427_0_load_244 | 54 | 0.35034 | 0.16968 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_427_0_load_274 | 55 | 0.09224 | 0.044674 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_427_0_load_269 | 57 | 0.076798 | 0.037195 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_427_0_load_253 | 58 | 0.071038 | 0.034405 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_427_0_load_43 | 59 | 0.37527 | 0.18175 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_427_0_load_47 | 60 | 0.23684 | 0.11471 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_427_0_load_51 | 66 | 0.38603 | 0.18696 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_427_0_load_56 | 67 | 0.22052 | 0.1068 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_427_0_load_248 | 69 | 0.21467 | 0.10397 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_427_0_load_250 | 70 | 0.19734 | 0.095574 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_427_0_load_266 | 71 | 0.10706 | 0.051853 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_427_0_load_270 | 74 | 0.069011 | 0.033424 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_427_0_load_272 | 76 | 0.096245 | 0.046614 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_427_0_load_275 | 77 | 0.15627 | 0.075684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_427_0_line_0 |  | 0 | 1 | 0.086108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_427_0_line_1 |  | 1 | 2 | 0.66309 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_427_0_line_2 |  | 1 | 3 | 0.35293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_427_0_line_3 |  | 2 | 4 | 0.042034 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_427_0_line_4 |  | 3 | 13 | 0.111 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_427_0_line_5 |  | 3 | 5 | 0.40873 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_427_0_line_6 |  | 5 | 6 | 0.027777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_427_0_line_7 |  | 5 | 7 | 0.33303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_427_0_line_8 |  | 5 | 8 | 0.66101 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_427_0_line_9 |  | 5 | 9 | 1.1411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_427_0_line_10 |  | 6 | 25 | 0.042623 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
11 | MV_427_0_line_11 |  | 7 | 10 | 0.094765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_427_0_line_12 |  | 8 | 11 | 0.031086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_427_0_line_13 |  | 8 | 12 | 0.51656 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_427_0_line_14 |  | 9 | 17 | 0.45358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_427_0_line_15 |  | 9 | 18 | 0.49454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_427_0_line_16 |  | 9 | 19 | 0.059794 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_427_0_line_17 |  | 10 | 14 | 0.068387 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_427_0_line_18 |  | 12 | 15 | 0.004348 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_427_0_line_19 |  | 12 | 16 | 0.45547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_427_0_line_20 |  | 16 | 69 | 0.06221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_427_0_line_21 |  | 17 | 31 | 0.30878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_427_0_line_22 |  | 17 | 32 | 0.032451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_427_0_line_23 |  | 18 | 40 | 0.020353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_427_0_line_24 |  | 20 | 21 | 0.3942 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_427_0_line_25 |  | 21 | 22 | 0.16684 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_427_0_line_26 |  | 21 | 26 | 0.34605 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
27 | MV_427_0_line_27 |  | 21 | 56 | 0.037448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_427_0_line_28 |  | 22 | 23 | 0.038366 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_427_0_line_29 |  | 24 | 25 | 0.67339 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
30 | MV_427_0_line_30 |  | 24 | 26 | 0.057928 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
31 | MV_427_0_line_31 |  | 27 | 28 | 0.092494 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_427_0_line_32 |  | 28 | 29 | 0.47513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_427_0_line_33 |  | 29 | 30 | 0.0295 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_427_0_line_34 |  | 29 | 31 | 0.40719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_427_0_line_35 |  | 31 | 33 | 0.69654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_427_0_line_36 |  | 31 | 34 | 0.041466 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_427_0_line_37 |  | 32 | 39 | 0.037367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_427_0_line_38 |  | 33 | 35 | 0.070293 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_427_0_line_39 |  | 36 | 37 | 0.061902 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_427_0_line_40 |  | 37 | 38 | 0.013281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_427_0_line_41 |  | 38 | 39 | 0.004877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_427_0_line_42 |  | 39 | 70 | 0.036891 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_427_0_line_43 |  | 41 | 42 | 1.2373 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_427_0_line_44 |  | 42 | 65 | 0.15646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_427_0_line_45 |  | 43 | 44 | 0.13942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_427_0_line_46 |  | 44 | 45 | 0.32346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_427_0_line_47 |  | 44 | 46 | 0.59582 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_427_0_line_48 |  | 45 | 47 | 0.019651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_427_0_line_49 |  | 46 | 53 | 0.20923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_427_0_line_50 |  | 46 | 52 | 0.67253 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_427_0_line_51 |  | 46 | 54 | 0.041531 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_427_0_line_52 |  | 46 | 55 | 0.11748 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_427_0_line_53 |  | 47 | 68 | 1.0935 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_427_0_line_54 |  | 48 | 49 | 0.17001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_427_0_line_55 |  | 48 | 50 | 0.02527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_427_0_line_56 |  | 49 | 51 | 0.030265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_427_0_line_57 |  | 49 | 52 | 0.16795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_427_0_line_58 |  | 51 | 61 | 0.12891 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_427_0_line_59 |  | 52 | 58 | 0.066225 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_427_0_line_60 |  | 53 | 56 | 0.44152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_427_0_line_61 |  | 53 | 57 | 0.062077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_427_0_line_62 |  | 55 | 76 | 0.028638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_427_0_line_63 |  | 59 | 60 | 0.18141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_427_0_line_64 |  | 60 | 63 | 0.002496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_427_0_line_65 |  | 60 | 62 | 0.085982 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_427_0_line_66 |  | 61 | 62 | 0.782 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_427_0_line_67 |  | 63 | 64 | 0.63029 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_427_0_line_68 |  | 64 | 65 | 0.86054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_427_0_line_69 |  | 64 | 66 | 0.036961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_427_0_line_70 |  | 67 | 68 | 0.023456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_427_0_line_71 |  | 71 | 72 | 0.026176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_427_0_line_72 |  | 72 | 73 | 0.16485 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_427_0_line_73 |  | 73 | 77 | 0.037378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_427_0_line_74 |  | 73 | 75 | 0.089659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_427_0_line_75 |  | 74 | 75 | 0.047451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_427_0_line_76 |  | 75 | 76 | 0.021802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_427_0_trafo_17 | 25 MVA 110/20 kV | 78 | 24 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2660276.0372 | 1248662.439
1 | 2660359.9141 | 1248644.9466
2 | 2660236.5253 | 1249193.9842
3 | 2660550.9524 | 1248518.117
4 | 2660207.2321 | 1249224.1299
5 | 2660501.868 | 1248282.8197
6 | 2660522.6357 | 1248264.3077
7 | 2660284.5423 | 1248414.2424
8 | 2660901.0428 | 1248242.9995
9 | 2661280.7326 | 1248628.9448
10 | 2660202.8574 | 1248462.2846
11 | 2660931.7898 | 1248245.606
12 | 2661052.5759 | 1248037.2258
13 | 2660657.775 | 1248487.9542
14 | 2660144.8844 | 1248498.3836
15 | 2661055.7625 | 1248040.194
16 | 2661274.3027 | 1247710.2857
17 | 2661432.0962 | 1248889.3918
18 | 2660976.2227 | 1248838.9077
19 | 2661280.1068 | 1248688.7354
20 | 2660129.5548 | 1247976.2995
21 | 2660198.3545 | 1247588.1515
22 | 2660232.8733 | 1247751.3813
23 | 2660260.6262 | 1247776.8808
24 | 2660434.0899 | 1247890.3016
25 | 2660565.2349 | 1248262.886
26 | 2660442.8529 | 1247833.0402
27 | 2661590.1097 | 1249702.3419
28 | 2661677.7779 | 1249672.8547
29 | 2661541.5357 | 1249238.9476
30 | 2661512.0277 | 1249236.7844
31 | 2661547.1249 | 1248891.2412
32 | 2661399.7859 | 1248892.4131
33 | 2661959.7414 | 1248713.903
34 | 2661542.7355 | 1248850.0114
35 | 2661975.6909 | 1248646.634
36 | 2661288.8726 | 1248910.1133
37 | 2661350.3284 | 1248903.882
38 | 2661363.5195 | 1248902.3353
39 | 2661362.9429 | 1248897.4926
40 | 2660957.4827 | 1248845.3417
41 | 2658134.1379 | 1246951.9829
42 | 2658949.1872 | 1246021.032
43 | 2659582.2448 | 1247419.9044
44 | 2659690.4676 | 1247495.8668
45 | 2659427.2138 | 1247455.3404
46 | 2660012.5036 | 1247232.4788
47 | 2659410.2704 | 1247465.3776
48 | 2659945.5093 | 1246756.4184
49 | 2659850.0327 | 1246877.3821
50 | 2659960.8147 | 1246736.3105
51 | 2659841.829 | 1246848.246
52 | 2659906.0359 | 1246907.19
53 | 2660029.0539 | 1247390.4774
54 | 2660045.5353 | 1247257.6526
55 | 2660123.9078 | 1247195.1822
56 | 2660183.5608 | 1247553.7332
57 | 2659979.0545 | 1247427.2682
58 | 2659968.3339 | 1246929.6547
59 | 2659797.4907 | 1246353.0255
60 | 2659617.8745 | 1246378.4688
61 | 2659805.7247 | 1246724.4969
62 | 2659572.3978 | 1246451.4399
63 | 2659615.7576 | 1246377.1355
64 | 2659496.4718 | 1245974.8182
65 | 2659102.1028 | 1246010.2235
66 | 2659492.4531 | 1246011.523
67 | 2658929.7009 | 1248468.8424
68 | 2658925.928 | 1248445.7667
69 | 2661246.0825 | 1247765.7267
70 | 2661326.3418 | 1248901.6077
71 | 2660382.4681 | 1247258.029
72 | 2660364.58 | 1247267.8753
73 | 2660221.0411 | 1247186.8162
74 | 2660098.6368 | 1247130.3452
75 | 2660142.5537 | 1247148.3156
76 | 2660134.4942 | 1247168.5733
77 | 2660191.9479 | 1247210.0909
78 | 2660434.0899 | 1247890.3016

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99791 | -0.02097 | 0.1276 | 0.0618
1 | 0.99792 | -0.021097 | 0 | 0
2 | 0.99786 | -0.020838 | 0 | 0
3 | 0.99801 | -0.021456 | 0 | 0
4 | 0.99786 | -0.020876 | 0.074765 | 0.03621
5 | 0.99824 | -0.022805 | 0 | 0
6 | 0.99837 | -0.02369 | 0.33083 | 0.16023
7 | 0.99811 | -0.021753 | 0 | 0
8 | 0.99781 | -0.020109 | 0 | 0
9 | 0.99474 | 0.0038864 | 0 | 0
10 | 0.99807 | -0.021422 | 0.15237 | 0.073797
11 | 0.9978 | -0.020032 | 0.2097 | 0.10156
12 | 0.99761 | -0.018816 | 0 | 0
13 | 0.99796 | -0.021779 | 0.2388 | 0.11566
14 | 0.99806 | -0.021301 | 0.1525 | 0.073861
15 | 0.99761 | -0.018811 | 0.092446 | 0.044774
16 | 0.99749 | -0.017841 | 0 | 0
17 | 0.99359 | 0.013209 | 0 | 0
18 | 0.99461 | 0.0049978 | 0 | 0
19 | 0.99472 | 0.0037479 | 0.18948 | 0.091768
20 | 0.99768 | -0.054676 | 0.39842 | 0.19296
21 | 0.99798 | -0.052762 | 0.35715 | 0.17298
22 | 0.99792 | -0.053159 | 0 | 0
23 | 0.99791 | -0.053073 | 0.18891 | 0.091492
24 | 1 | 0 | -8.5134 | -3.7726
25 | 0.99856 | -0.018357 | 0 | 0
26 | 0.9997 | -0.0078431 | 0.20192 | 0.097796
27 | 0.99299 | 0.017288 | 0.07012 | 0.033961
28 | 0.993 | 0.017368 | 0 | 0
29 | 0.99304 | 0.017139 | 0 | 0
30 | 0.99303 | 0.017229 | 0.2545 | 0.12326
31 | 0.99321 | 0.015977 | 0 | 0
32 | 0.99355 | 0.013605 | 0.11363 | 0.055032
33 | 0.99297 | 0.017768 | 0 | 0
34 | 0.99319 | 0.01617 | 0.38618 | 0.18704
35 | 0.99295 | 0.017989 | 0.26442 | 0.12806
36 | 0.99347 | 0.014272 | 0.14095 | 0.068264
37 | 0.99349 | 0.014169 | 0.57787 | 0.27987
38 | 0.9935 | 0.014054 | 0 | 0
39 | 0.9935 | 0.014012 | 0 | 0
40 | 0.9946 | 0.0050515 | 0.21952 | 0.10632
41 | 0.99007 | -0.0063381 | 0.12335 | 0.05974
42 | 0.99036 | -0.0043795 | 0.18111 | 0.087716
43 | 0.99468 | -0.027821 | 0.20974 | 0.10158
44 | 0.99471 | -0.02816 | 0 | 0
45 | 0.99458 | -0.026991 | 0 | 0
46 | 0.99512 | -0.03128 | 0 | 0
47 | 0.99457 | -0.026915 | 0.11088 | 0.0537
48 | 0.99317 | -0.016845 | 0 | 0
49 | 0.9932 | -0.017103 | 0 | 0
50 | 0.99317 | -0.016803 | 0.13898 | 0.067313
51 | 0.99314 | -0.016632 | 0.30022 | 0.1454
52 | 0.99358 | -0.019924 | 0 | 0
53 | 0.99598 | -0.037779 | 0 | 0
54 | 0.99509 | -0.031458 | 0.35034 | 0.16968
55 | 0.995 | -0.03209 | 0.09224 | 0.044674
56 | 0.99783 | -0.051605 | 0 | 0
57 | 0.99597 | -0.037725 | 0.076798 | 0.037195
58 | 0.99357 | -0.01987 | 0.071038 | 0.034405
59 | 0.99118 | -0.012057 | 0.37527 | 0.18175
60 | 0.99131 | -0.011218 | 0.23684 | 0.11471
61 | 0.99282 | -0.019363 | 0 | 0
62 | 0.99153 | -0.0095328 | 0 | 0
63 | 0.99131 | -0.011204 | 0 | 0
64 | 0.99076 | -0.0072732 | 0 | 0
65 | 0.99043 | -0.0049273 | 0 | 0
66 | 0.99074 | -0.0071003 | 0.38603 | 0.18696
67 | 0.99409 | -0.029912 | 0.22052 | 0.1068
68 | 0.9941 | -0.029975 | 0 | 0
69 | 0.99747 | -0.017683 | 0.21467 | 0.10397
70 | 0.99349 | 0.0141 | 0.19734 | 0.095574
71 | 0.99491 | -0.031794 | 0.10706 | 0.051853
72 | 0.99492 | -0.031828 | 0 | 0
73 | 0.99495 | -0.031602 | 0 | 0
74 | 0.99498 | -0.031834 | 0.069011 | 0.033424
75 | 0.99498 | -0.031872 | 0 | 0
76 | 0.99499 | -0.031952 | 0.096245 | 0.046614
77 | 0.99494 | -0.031533 | 0.15627 | 0.075684
78 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1276 | -0.0618 | 0.1276 | 0.059753 | 1.9216e-06 | -0.0020468 | 0.0041014 | 0.0040759 | 0.0041014 | 0.99791 | -0.02097 | 0.99792 | -0.021097 | 1.8643
1 | 0.07477 | 0.020397 | -0.074765 | -0.036161 | 4.7337e-06 | -0.015764 | 0.002242 | 0.0024026 | 0.0024026 | 0.99792 | -0.021097 | 0.99786 | -0.020838 | 1.0921
2 | -0.20237 | -0.08015 | 0.20239 | 0.071763 | 1.8422e-05 | -0.0083869 | 0.0062966 | 0.0062113 | 0.0062966 | 0.99792 | -0.021097 | 0.99801 | -0.021456 | 2.8621
3 | 0.074765 | 0.036161 | -0.074765 | -0.03621 | 4.3243e-07 | -4.9695e-05 | 0.0024026 | 0.0024032 | 0.0024032 | 0.99786 | -0.020838 | 0.99786 | -0.020876 | 1.1444
4 | 0.23882 | 0.11553 | -0.2388 | -0.11566 | 1.1648e-05 | -0.00012468 | 0.0076736 | 0.0076753 | 0.0076753 | 0.99801 | -0.021456 | 0.99796 | -0.021779 | 3.6549
5 | -0.44121 | -0.1873 | 0.44131 | 0.1776 | 0.00010406 | -0.0096916 | 0.013864 | 0.013757 | 0.013864 | 0.99801 | -0.021456 | 0.99824 | -0.022805 | 6.3019
6 | -3.6895 | -1.5932 | 3.69 | 1.5927 | 0.00050083 | -0.0005124 | 0.11622 | 0.11621 | 0.11622 | 0.99824 | -0.022805 | 0.99837 | -0.02369 | 52.8265
7 | 0.30493 | 0.13587 | -0.30489 | -0.14378 | 4.1842e-05 | -0.00791 | 0.009654 | 0.0097495 | 0.0097495 | 0.99824 | -0.022805 | 0.99811 | -0.021753 | 4.4316
8 | 0.51714 | 0.20926 | -0.51691 | -0.22491 | 0.00023215 | -0.015651 | 0.016133 | 0.016309 | 0.016309 | 0.99824 | -0.022805 | 0.99781 | -0.020109 | 7.4131
9 | 2.4262 | 1.0705 | -2.4172 | -1.0949 | 0.0089961 | -0.024386 | 0.076686 | 0.077006 | 0.077006 | 0.99824 | -0.022805 | 0.99474 | 0.0038864 | 35.0029
10 | -4.0209 | -1.7529 | 4.0215 | 1.7536 | 0.00062941 | 0.00066651 | 0.12683 | 0.12683 | 0.12683 | 0.99837 | -0.02369 | 0.99856 | -0.018357 | 36.2372
11 | 0.30489 | 0.14378 | -0.30488 | -0.14603 | 1.206e-05 | -0.0022504 | 0.0097495 | 0.0097774 | 0.0097774 | 0.99811 | -0.021753 | 0.99807 | -0.021422 | 4.4443
12 | 0.2097 | 0.10082 | -0.2097 | -0.10156 | 1.8831e-06 | -0.0007384 | 0.0067315 | 0.0067408 | 0.0067408 | 0.99781 | -0.020109 | 0.9978 | -0.020032 | 3.064
13 | 0.30721 | 0.12409 | -0.30715 | -0.13635 | 6.4265e-05 | -0.012258 | 0.0095856 | 0.0097242 | 0.0097242 | 0.99781 | -0.020109 | 0.99761 | -0.018816 | 4.4201
14 | 2.0081 | 0.909 | -2.0056 | -0.91897 | 0.0024827 | -0.0099672 | 0.063968 | 0.064097 | 0.064097 | 0.99474 | 0.0038864 | 0.99359 | 0.013209 | 29.135
15 | 0.21955 | 0.094164 | -0.21952 | -0.10584 | 3.2362e-05 | -0.011673 | 0.0069326 | 0.0070732 | 0.0070732 | 0.99474 | 0.0038864 | 0.99461 | 0.0049978 | 3.2151
16 | 0.18948 | 0.091699 | -0.18948 | -0.091768 | 3.9762e-06 | -6.8142e-05 | 0.0061088 | 0.0061097 | 0.0061097 | 0.99474 | 0.0038864 | 0.99472 | 0.0037479 | 2.9094
17 | 0.15251 | 0.072235 | -0.1525 | -0.073861 | 2.1839e-06 | -0.0016259 | 0.0048808 | 0.0049011 | 0.0049011 | 0.99807 | -0.021422 | 0.99806 | -0.021301 | 2.2278
18 | 0.092446 | 0.04467 | -0.092446 | -0.044774 | 5.1246e-08 | -0.0001033 | 0.002971 | 0.0029723 | 0.0029723 | 0.99761 | -0.018816 | 0.99761 | -0.018811 | 1.3511
19 | 0.2147 | 0.091679 | -0.21467 | -0.10249 | 2.8269e-05 | -0.010813 | 0.0067554 | 0.0068844 | 0.0068844 | 0.99761 | -0.018816 | 0.99749 | -0.017841 | 3.1293
20 | 0.21467 | 0.10249 | -0.21467 | -0.10397 | 3.9468e-06 | -0.0014767 | 0.0068844 | 0.006903 | 0.006903 | 0.99749 | -0.017841 | 0.99747 | -0.017683 | 3.1377
21 | 0.97576 | 0.42459 | -0.97536 | -0.43175 | 0.00039512 | -0.0071583 | 0.030917 | 0.031002 | 0.031002 | 0.99359 | 0.013209 | 0.99321 | 0.015977 | 14.0919
22 | 1.0299 | 0.49437 | -1.0298 | -0.49513 | 4.774e-05 | -0.00075071 | 0.033191 | 0.033201 | 0.033201 | 0.99359 | 0.013209 | 0.99355 | 0.013605 | 15.0912
23 | 0.21952 | 0.10584 | -0.21952 | -0.10632 | 1.3605e-06 | -0.00048032 | 0.0070732 | 0.0070792 | 0.0070792 | 0.99461 | 0.0049978 | 0.9946 | 0.0050515 | 3.2178
24 | -0.39842 | -0.19296 | 0.39853 | 0.19257 | 0.00011518 | -0.00039641 | 0.012809 | 0.012803 | 0.012809 | 0.99768 | -0.054676 | 0.99798 | -0.052762 | 6.0995
25 | 0.18892 | 0.090389 | -0.18891 | -0.090581 | 1.0914e-05 | -0.00019152 | 0.006058 | 0.0060604 | 0.0060604 | 0.99798 | -0.052762 | 0.99792 | -0.053159 | 2.8859
26 | -4.2639 | -1.9226 | 4.2697 | 1.9288 | 0.0058148 | 0.006217 | 0.1353 | 0.13529 | 0.1353 | 0.99798 | -0.052762 | 0.9997 | -0.0078431 | 38.6559
27 | 3.3193 | 1.4667 | -3.3188 | -1.4674 | 0.00055091 | -0.00072696 | 0.10497 | 0.10498 | 0.10498 | 0.99798 | -0.052762 | 0.99783 | -0.051605 | 47.7181
28 | 0.18891 | 0.090581 | -0.18891 | -0.091492 | 1.8847e-06 | -0.00091166 | 0.0060604 | 0.0060719 | 0.0060719 | 0.99792 | -0.053159 | 0.99791 | -0.053073 | 2.76
29 | 4.0267 | 1.7343 | -4.0215 | -1.7536 | 0.0052209 | -0.019274 | 0.12656 | 0.12683 | 0.12683 | 1 | 0 | 0.99856 | -0.018357 | 35.0358
30 | 4.4727 | 2.0278 | -4.4717 | -2.0266 | 0.0010688 | 0.0011497 | 0.14177 | 0.14177 | 0.14177 | 1 | 0 | 0.9997 | -0.0078431 | 40.5049
31 | -0.07012 | -0.033961 | 0.070121 | 0.033852 | 8.4492e-07 | -0.00010835 | 0.002265 | 0.0022636 | 0.002265 | 0.99299 | 0.017288 | 0.993 | 0.017368 | 1.0786
32 | -0.070121 | -0.033852 | 0.070124 | 0.022667 | 3.0639e-06 | -0.011186 | 0.0022636 | 0.0021423 | 0.0022636 | 0.993 | 0.017368 | 0.99304 | 0.017139 | 1.0289
33 | 0.2545 | 0.12256 | -0.2545 | -0.12326 | 2.6583e-06 | -0.00069378 | 0.0082115 | 0.0082202 | 0.0082202 | 0.99304 | 0.017139 | 0.99303 | 0.017229 | 3.7365
34 | -0.32462 | -0.14523 | 0.32468 | 0.13566 | 5.7468e-05 | -0.0095718 | 0.010338 | 0.010227 | 0.010338 | 0.99304 | 0.017139 | 0.99321 | 0.015977 | 4.6991
35 | 0.26449 | 0.11003 | -0.26443 | -0.12641 | 6.5935e-05 | -0.016382 | 0.0083261 | 0.0085206 | 0.0085206 | 0.99321 | 0.015977 | 0.99297 | 0.017768 | 3.873
36 | 0.38619 | 0.18606 | -0.38618 | -0.18704 | 8.602e-06 | -0.00097407 | 0.012459 | 0.012472 | 0.012472 | 0.99321 | 0.015977 | 0.99319 | 0.01617 | 5.669
37 | 0.91621 | 0.44009 | -0.91617 | -0.44096 | 4.3524e-05 | -0.00086775 | 0.029532 | 0.029543 | 0.029543 | 0.99355 | 0.013605 | 0.9935 | 0.014012 | 13.4288
38 | 0.26443 | 0.12641 | -0.26442 | -0.12806 | 6.8296e-06 | -0.0016528 | 0.0085206 | 0.0085415 | 0.0085415 | 0.99297 | 0.017768 | 0.99295 | 0.017989 | 3.8825
39 | -0.14095 | -0.068264 | 0.14095 | 0.066806 | 1.7044e-06 | -0.0014583 | 0.0045506 | 0.0045323 | 0.0045506 | 0.99347 | 0.014272 | 0.99349 | 0.014169 | 2.0685
40 | -0.71882 | -0.34668 | 0.71883 | 0.34637 | 9.5326e-06 | -0.00031017 | 0.023189 | 0.023185 | 0.023189 | 0.99349 | 0.014169 | 0.9935 | 0.014054 | 10.5404
41 | -0.71883 | -0.34637 | 0.71883 | 0.34626 | 3.4996e-06 | -0.0001139 | 0.023185 | 0.023183 | 0.023185 | 0.9935 | 0.014054 | 0.9935 | 0.014012 | 10.5386
42 | 0.19734 | 0.094705 | -0.19734 | -0.095574 | 1.9956e-06 | -0.0008688 | 0.00636 | 0.006371 | 0.006371 | 0.9935 | 0.014012 | 0.99349 | 0.0141 | 2.8959
43 | -0.12335 | -0.05974 | 0.12338 | 0.058314 | 3.5043e-05 | -0.0014264 | 0.0039961 | 0.0039779 | 0.0039961 | 0.99007 | -0.0063381 | 0.99036 | -0.0043795 | 1.9029
44 | -0.30449 | -0.14603 | 0.30451 | 0.14237 | 2.0145e-05 | -0.0036584 | 0.0098434 | 0.0097977 | 0.0098434 | 0.99036 | -0.0043795 | 0.99043 | -0.0049273 | 4.4743
45 | -0.20974 | -0.10158 | 0.20975 | 0.098293 | 8.4622e-06 | -0.003291 | 0.0067636 | 0.0067225 | 0.0067636 | 0.99468 | -0.027821 | 0.99471 | -0.02816 | 3.0744
46 | 0.33155 | 0.15063 | -0.3315 | -0.15826 | 4.8654e-05 | -0.0076261 | 0.010568 | 0.010662 | 0.010662 | 0.99471 | -0.02816 | 0.99458 | -0.026991 | 4.8463
47 | -0.5413 | -0.24892 | 0.54154 | 0.23491 | 0.00023549 | -0.014012 | 0.017291 | 0.017124 | 0.017291 | 0.99471 | -0.02816 | 0.99512 | -0.03128 | 7.8593
48 | 0.3315 | 0.15826 | -0.3315 | -0.15872 | 2.9839e-06 | -0.00046323 | 0.010662 | 0.010668 | 0.010668 | 0.99458 | -0.026991 | 0.99457 | -0.026915 | 4.849
49 | -3.2325 | -1.4443 | 3.2355 | 1.4402 | 0.0029448 | -0.0040777 | 0.10271 | 0.10265 | 0.10271 | 0.99512 | -0.03128 | 0.99598 | -0.037779 | 46.6848
50 | 1.8197 | 0.79375 | -1.8167 | -0.80874 | 0.0029875 | -0.01499 | 0.057592 | 0.057777 | 0.057777 | 0.99512 | -0.03128 | 0.99358 | -0.019924 | 26.2624
51 | 0.35035 | 0.16963 | -0.35034 | -0.16968 | 9.4355e-06 | -4.3186e-05 | 0.011292 | 0.011293 | 0.011293 | 0.99512 | -0.03128 | 0.99509 | -0.031458 | 5.3774
52 | 0.52091 | 0.24602 | -0.52085 | -0.24613 | 5.8464e-05 | -0.00010225 | 0.016712 | 0.016713 | 0.016713 | 0.99512 | -0.03128 | 0.995 | -0.03209 | 7.9588
53 | 0.22062 | 0.10502 | -0.22052 | -0.10625 | 9.8216e-05 | -0.0012292 | 0.007092 | 0.0071082 | 0.0071082 | 0.99457 | -0.026915 | 0.9941 | -0.029975 | 3.3849
54 | -0.13899 | -0.066718 | 0.13899 | 0.062716 | 4.5069e-06 | -0.0040027 | 0.0044811 | 0.004432 | 0.0044811 | 0.99317 | -0.016845 | 0.9932 | -0.017103 | 2.0369
55 | 0.13899 | 0.066718 | -0.13898 | -0.067313 | 6.7855e-07 | -0.00059494 | 0.0044811 | 0.0044886 | 0.0044886 | 0.99317 | -0.016845 | 0.99317 | -0.016803 | 2.0403
56 | 1.606 | 0.71693 | -1.6059 | -0.71762 | 0.0001056 | -0.00068145 | 0.051119 | 0.051127 | 0.051127 | 0.9932 | -0.017103 | 0.99314 | -0.016632 | 23.2396
57 | -1.745 | -0.77965 | 1.7457 | 0.7759 | 0.00069133 | -0.0037522 | 0.055551 | 0.055504 | 0.055551 | 0.9932 | -0.017103 | 0.99358 | -0.019924 | 25.2502
58 | 1.3057 | 0.57221 | -1.3053 | -0.57212 | 0.00039437 | 9.5283e-05 | 0.041437 | 0.041439 | 0.041439 | 0.99314 | -0.016632 | 0.99282 | -0.019363 | 19.7326
59 | 0.071039 | 0.032845 | -0.071038 | -0.034405 | 4.61e-07 | -0.0015608 | 0.0022739 | 0.0022933 | 0.0022933 | 0.99358 | -0.019924 | 0.99357 | -0.01987 | 1.0424
60 | -3.3123 | -1.476 | 3.3188 | 1.4674 | 0.0065036 | -0.0085475 | 0.1051 | 0.10498 | 0.1051 | 0.99598 | -0.037779 | 0.99783 | -0.051605 | 47.774
61 | 0.076799 | 0.035725 | -0.076798 | -0.037195 | 5.0317e-07 | -0.0014701 | 0.002455 | 0.0024733 | 0.0024733 | 0.99598 | -0.037779 | 0.99597 | -0.037725 | 1.1242
62 | 0.42861 | 0.20145 | -0.4286 | -0.20213 | 7.2221e-06 | -0.00067479 | 0.01374 | 0.013748 | 0.013748 | 0.995 | -0.03209 | 0.99499 | -0.031952 | 6.2493
63 | -0.37527 | -0.18175 | 0.37532 | 0.18157 | 4.7655e-05 | -0.00018294 | 0.012144 | 0.012141 | 0.012144 | 0.99118 | -0.012057 | 0.99131 | -0.011218 | 5.7828
64 | 0.69107 | 0.29362 | -0.69107 | -0.29368 | 1.5931e-06 | -5.8091e-05 | 0.021865 | 0.021866 | 0.021866 | 0.99131 | -0.011218 | 0.99131 | -0.011204 | 9.9391
65 | -1.3032 | -0.5899 | 1.3035 | 0.58996 | 0.00026584 | 6.5619e-05 | 0.041657 | 0.041656 | 0.041657 | 0.99131 | -0.011218 | 0.99153 | -0.0095328 | 19.8368
66 | 1.3053 | 0.57212 | -1.3035 | -0.58996 | 0.001802 | -0.017845 | 0.041439 | 0.041656 | 0.041656 | 0.99282 | -0.019363 | 0.99153 | -0.0095328 | 18.9346
67 | 0.69107 | 0.29368 | -0.69066 | -0.30834 | 0.00040545 | -0.01466 | 0.021866 | 0.022038 | 0.022038 | 0.99131 | -0.011204 | 0.99076 | -0.0072732 | 10.0173
68 | 0.30462 | 0.12224 | -0.30451 | -0.14237 | 0.00010758 | -0.02013 | 0.0095637 | 0.0097977 | 0.0097977 | 0.99076 | -0.0072732 | 0.99043 | -0.0049273 | 4.4535
69 | 0.38604 | 0.1861 | -0.38603 | -0.18696 | 7.7001e-06 | -0.00086394 | 0.012487 | 0.012498 | 0.012498 | 0.99076 | -0.0072732 | 0.99074 | -0.0071003 | 5.6808
70 | -0.22052 | -0.1068 | 0.22052 | 0.10625 | 1.5837e-06 | -0.00055298 | 0.0071152 | 0.0071082 | 0.0071152 | 0.99409 | -0.029912 | 0.9941 | -0.029975 | 3.2342
71 | -0.10706 | -0.051853 | 0.10706 | 0.051234 | 4.1537e-07 | -0.00061852 | 0.0034516 | 0.0034438 | 0.0034516 | 0.99491 | -0.031794 | 0.99492 | -0.031828 | 1.5689
72 | -0.10706 | -0.051234 | 0.10707 | 0.051041 | 3.4808e-06 | -0.00019262 | 0.0034438 | 0.0034414 | 0.0034438 | 0.99492 | -0.031828 | 0.99495 | -0.031602 | 1.6399
73 | 0.15627 | 0.074801 | -0.15627 | -0.075684 | 1.2636e-06 | -0.00088307 | 0.0050267 | 0.0050378 | 0.0050378 | 0.99495 | -0.031602 | 0.99494 | -0.031533 | 2.2899
74 | -0.26334 | -0.12584 | 0.26334 | 0.12373 | 8.5563e-06 | -0.0021167 | 0.008468 | 0.0084417 | 0.008468 | 0.99495 | -0.031602 | 0.99498 | -0.031872 | 3.8491
75 | -0.069011 | -0.033424 | 0.069011 | 0.032302 | 3.1154e-07 | -0.0011215 | 0.0022247 | 0.0022107 | 0.0022247 | 0.99498 | -0.031834 | 0.99498 | -0.031872 | 1.0112
76 | -0.33236 | -0.15603 | 0.33236 | 0.15551 | 3.3008e-06 | -0.00051436 | 0.010652 | 0.010646 | 0.010652 | 0.99498 | -0.031872 | 0.99499 | -0.031952 | 4.842

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 8.5134 | 3.7726

## res_load
| p_mw | q_mvar
0 | 0.1276 | 0.0618
1 | 0.074765 | 0.03621
2 | 0.33083 | 0.16023
3 | 0.15237 | 0.073797
4 | 0.2097 | 0.10156
5 | 0.2388 | 0.11566
6 | 0.1525 | 0.073861
7 | 0.092446 | 0.044774
8 | 0.18948 | 0.091768
9 | 0.39842 | 0.19296
10 | 0.35715 | 0.17298
11 | 0.18891 | 0.091492
12 | 0.20192 | 0.097796
13 | 0.07012 | 0.033961
14 | 0.2545 | 0.12326
15 | 0.11363 | 0.055032
16 | 0.38618 | 0.18704
17 | 0.26442 | 0.12806
18 | 0.14095 | 0.068264
19 | 0.57787 | 0.27987
20 | 0.21952 | 0.10632
21 | 0.12335 | 0.05974
22 | 0.18111 | 0.087716
23 | 0.20974 | 0.10158
24 | 0.11088 | 0.0537
25 | 0.13898 | 0.067313
26 | 0.30022 | 0.1454
27 | 0.35034 | 0.16968
28 | 0.09224 | 0.044674
29 | 0.076798 | 0.037195
30 | 0.071038 | 0.034405
31 | 0.37527 | 0.18175
32 | 0.23684 | 0.11471
33 | 0.38603 | 0.18696
34 | 0.22052 | 0.1068
35 | 0.21467 | 0.10397
36 | 0.19734 | 0.095574
37 | 0.10706 | 0.051853
38 | 0.069011 | 0.033424
39 | 0.096245 | 0.046614
40 | 0.15627 | 0.075684

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1