## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_429_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_429_0_node_11 | 20 | n |  | TRUE
2 | bus_MV_429_0_node_10 | 20 | n |  | TRUE
3 | bus_MV_429_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_429_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_429_0_node_5 | 20 | n |  | TRUE
6 | bus_MV_429_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_429_0_node_6 | 20 | n |  | TRUE
8 | bus_MV_429_0_node_7 | 20 | n |  | TRUE
9 | bus_MV_429_0_node_8 | 20 | n |  | TRUE
10 | bus_MV_429_0_node_9 | 20 | n |  | TRUE
11 | bus_MV_429_0_node_14 | 20 | n |  | TRUE
12 | bus_MV_429_0_node_16 | 20 | n |  | TRUE
13 | bus_MV_429_0_node_12 | 20 | n |  | TRUE
14 | bus_MV_429_0_node_13 | 20 | n |  | TRUE
15 | bus_MV_429_0_node_15 | 20 | n |  | TRUE
16 | bus_MV_429_0_node_87 | 20 | n |  | TRUE
17 | bus_MV_429_0_node_77 | 20 | n |  | TRUE
18 | bus_MV_429_0_node_17 | 20 | n |  | TRUE
19 | bus_MV_429_0_node_44 | 20 | n |  | TRUE
20 | bus_MV_429_0_node_78 | 20 | n |  | TRUE
21 | bus_MV_429_0_node_76 | 20 | n |  | TRUE
22 | bus_MV_429_0_node_18 | 20 | n |  | TRUE
23 | bus_MV_429_0_node_19 | 20 | n |  | TRUE
24 | bus_MV_429_0_node_20 | 20 | n |  | TRUE
25 | bus_MV_429_0_node_21 | 20 | n |  | TRUE
26 | bus_MV_429_0_node_33 | 20 | n |  | TRUE
27 | bus_MV_429_0_node_38 | 20 | n |  | TRUE
28 | bus_MV_429_0_node_96 | 20 | n |  | TRUE
29 | bus_MV_429_0_node_31 | 20 | n |  | TRUE
30 | bus_MV_429_0_node_22 | 20 | n |  | TRUE
31 | bus_MV_429_0_node_23 | 20 | n |  | TRUE
32 | bus_MV_429_0_node_28 | 20 | n |  | TRUE
33 | bus_MV_429_0_node_24 | 20 | n |  | TRUE
34 | bus_MV_429_0_node_70 | 20 | n |  | TRUE
35 | bus_MV_429_0_node_27 | 20 | n |  | TRUE
36 | bus_MV_429_0_node_37 | 20 | n |  | TRUE
37 | bus_MV_429_0_node_69 | 20 | n |  | TRUE
38 | bus_MV_429_0_node_25 | 20 | n |  | TRUE
39 | bus_MV_429_0_node_72 | 20 | n |  | TRUE
40 | bus_MV_429_0_node_26 | 20 | n |  | TRUE
41 | bus_MV_429_0_node_74 | 20 | n |  | TRUE
42 | bus_MV_429_0_node_73 | 20 | n |  | TRUE
43 | bus_MV_429_0_node_71 | 20 | n |  | TRUE
44 | bus_MV_429_0_node_91 | 20 | n |  | TRUE
45 | bus_MV_429_0_node_100 | 20 | n |  | TRUE
46 | bus_MV_429_0_node_36 | 20 | n |  | TRUE
47 | bus_MV_429_0_node_93 | 20 | n |  | TRUE
48 | bus_MV_429_0_node_35 | 20 | n |  | TRUE
49 | bus_MV_429_0_node_81 | 20 | n |  | TRUE
50 | bus_MV_429_0_node_80 | 20 | n |  | TRUE
51 | bus_MV_429_0_node_90 | 20 | n |  | TRUE
52 | bus_MV_429_0_node_29 | 20 | n |  | TRUE
53 | bus_MV_429_0_node_30 | 20 | n |  | TRUE
54 | bus_MV_429_0_node_34 | 20 | n |  | TRUE
55 | bus_MV_429_0_node_39 | 20 | n |  | TRUE
56 | bus_MV_429_0_node_40 | 20 | n |  | TRUE
57 | bus_MV_429_0_node_41 | 20 | n |  | TRUE
58 | bus_MV_429_0_node_42 | 20 | n |  | TRUE
59 | bus_MV_429_0_node_94 | 20 | n |  | TRUE
60 | bus_MV_429_0_node_43 | 20 | n |  | TRUE
61 | bus_MV_429_0_node_85 | 20 | n |  | TRUE
62 | bus_MV_429_0_node_45 | 20 | n |  | TRUE
63 | bus_MV_429_0_node_49 | 20 | n |  | TRUE
64 | bus_MV_429_0_node_97 | 20 | n |  | TRUE
65 | bus_MV_429_0_node_48 | 20 | n |  | TRUE
66 | bus_MV_429_0_node_46 | 20 | n |  | TRUE
67 | bus_MV_429_0_node_47 | 20 | n |  | TRUE
68 | bus_MV_429_0_node_86 | 20 | n |  | TRUE
69 | bus_MV_429_0_node_83 | 20 | n |  | TRUE
70 | bus_MV_429_0_node_52 | 20 | n |  | TRUE
71 | bus_MV_429_0_node_75 | 20 | n |  | TRUE
72 | bus_MV_429_0_node_60 | 20 | n |  | TRUE
73 | bus_MV_429_0_node_50 | 20 | n |  | TRUE
74 | bus_MV_429_0_node_51 | 20 | n |  | TRUE
75 | bus_MV_429_0_node_54 | 20 | n |  | TRUE
76 | bus_MV_429_0_node_53 | 20 | n |  | TRUE
77 | bus_MV_429_0_node_79 | 20 | n |  | TRUE
78 | bus_MV_429_0_node_98 | 20 | n |  | TRUE
79 | bus_MV_429_0_node_55 | 20 | n |  | TRUE
80 | bus_MV_429_0_node_57 | 20 | n |  | TRUE
81 | bus_MV_429_0_node_56 | 20 | n |  | TRUE
82 | bus_MV_429_0_node_59 | 20 | n |  | TRUE
83 | bus_MV_429_0_node_58 | 20 | n |  | TRUE
84 | bus_MV_429_0_node_101 | 20 | n |  | TRUE
85 | bus_MV_429_0_node_62 | 20 | n |  | TRUE
86 | bus_MV_429_0_node_84 | 20 | n |  | TRUE
87 | bus_MV_429_0_node_82 | 20 | n |  | TRUE
88 | bus_MV_429_0_node_67 | 20 | n |  | TRUE
89 | bus_MV_429_0_node_99 | 20 | n |  | TRUE
90 | bus_MV_429_0_node_66 | 20 | n |  | TRUE
91 | bus_MV_429_0_node_61 | 20 | n |  | TRUE
92 | bus_MV_429_0_node_64 | 20 | n |  | TRUE
93 | bus_MV_429_0_node_68 | 20 | n |  | TRUE
94 | bus_MV_429_0_node_92 | 20 | n |  | TRUE
95 | bus_MV_429_0_node_88 | 20 | n |  | TRUE
96 | bus_MV_429_0_node_89 | 20 | n |  | TRUE
97 | bus_HV_429_0_node_57 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_429_0_load_0 | 0 | 0.12526 | 0.060668 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_429_0_load_10 | 2 | 0.18615 | 0.090158 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_429_0_load_2 | 3 | 0.29725 | 0.14397 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_429_0_load_5 | 5 | 0.3976 | 0.19256 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_429_0_load_8 | 9 | 0.33545 | 0.16246 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_429_0_load_9 | 10 | 0.1779 | 0.086159 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_429_0_load_12 | 13 | 0.40939 | 0.19828 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_429_0_load_87 | 16 | 0.35662 | 0.17272 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_429_0_load_17 | 18 | 0.40475 | 0.19603 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_429_0_load_44 | 19 | 0.20083 | 0.097266 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_429_0_load_76 | 21 | 0.42561 | 0.20613 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_429_0_load_18 | 22 | 0.30297 | 0.14673 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_429_0_load_33 | 26 | 0.40196 | 0.19468 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_429_0_load_38 | 27 | 0.40535 | 0.19632 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_429_0_load_96 | 28 | 0.053194 | 0.025763 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_429_0_load_22 | 30 | 0.20513 | 0.09935 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_429_0_load_70 | 34 | 0.11584 | 0.056106 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_429_0_load_69 | 37 | 0.24717 | 0.11971 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_429_0_load_72 | 39 | 1.2121 | 0.58706 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_429_0_load_74 | 41 | 0.38226 | 0.18513 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_429_0_load_73 | 42 | 0.14136 | 0.068465 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_429_0_load_71 | 43 | 0.19452 | 0.094213 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_429_0_load_91 | 44 | 0.40801 | 0.19761 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_429_0_load_100 | 45 | 0.33375 | 0.16164 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_429_0_load_93 | 47 | 0.36655 | 0.17753 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_429_0_load_80 | 50 | 0.16217 | 0.078545 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_429_0_load_29 | 52 | 0.34706 | 0.16809 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_429_0_load_34 | 54 | 0.37171 | 0.18002 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_429_0_load_39 | 55 | 0.34844 | 0.16876 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_429_0_load_94 | 59 | 0.37969 | 0.18389 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_429_0_load_85 | 61 | 0.24688 | 0.11957 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_429_0_load_45 | 62 | 0.24664 | 0.11945 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_429_0_load_97 | 64 | 0.352 | 0.17048 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_429_0_load_86 | 68 | 0.24807 | 0.12015 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_429_0_load_83 | 69 | 0.11581 | 0.056087 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_429_0_load_75 | 71 | 0.30097 | 0.14577 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_429_0_load_50 | 73 | 0.1583 | 0.076666 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_429_0_load_79 | 77 | 0.35782 | 0.1733 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_429_0_load_98 | 78 | 0.068834 | 0.033338 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_429_0_load_55 | 79 | 0.20728 | 0.10039 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_429_0_load_101 | 84 | 0.26193 | 0.12686 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_429_0_load_84 | 86 | 0.21699 | 0.10509 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_429_0_load_99 | 89 | 0.27063 | 0.13107 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_429_0_load_61 | 91 | 0.34844 | 0.16876 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_429_0_load_68 | 93 | 0.24704 | 0.11965 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_429_0_load_92 | 94 | 0.23571 | 0.11416 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_429_0_load_89 | 96 | 0.24793 | 0.12008 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_429_0_line_0 |  | 0 | 1 | 0.54188 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
1 | MV_429_0_line_1 |  | 1 | 2 | 0.1306 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
2 | MV_429_0_line_2 |  | 2 | 6 | 0.13685 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
3 | MV_429_0_line_3 |  | 3 | 4 | 0.13793 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
4 | MV_429_0_line_4 |  | 3 | 5 | 2.231 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
5 | MV_429_0_line_5 |  | 4 | 6 | 0.5035 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
6 | MV_429_0_line_6 |  | 5 | 7 | 0.054835 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
7 | MV_429_0_line_7 |  | 7 | 8 | 0.54084 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
8 | MV_429_0_line_8 |  | 8 | 9 | 0.066662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_429_0_line_9 |  | 8 | 10 | 2.2856 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
10 | MV_429_0_line_10 |  | 10 | 11 | 2.3227 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
11 | MV_429_0_line_11 |  | 11 | 12 | 0.52686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_429_0_line_12 |  | 11 | 13 | 0.14374 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
13 | MV_429_0_line_13 |  | 12 | 18 | 0.021569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_429_0_line_14 |  | 13 | 14 | 0.12745 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
15 | MV_429_0_line_15 |  | 14 | 15 | 1.2444 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
16 | MV_429_0_line_16 |  | 15 | 16 | 0.2326 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
17 | MV_429_0_line_17 |  | 15 | 17 | 0.8718 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
18 | MV_429_0_line_18 |  | 16 | 19 | 0.85564 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
19 | MV_429_0_line_19 |  | 17 | 20 | 0.033199 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
20 | MV_429_0_line_20 |  | 17 | 21 | 0.027755 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_429_0_line_21 |  | 19 | 58 | 0.071668 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
22 | MV_429_0_line_22 |  | 20 | 77 | 0.034148 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
23 | MV_429_0_line_23 |  | 22 | 23 | 0.049765 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
24 | MV_429_0_line_24 |  | 23 | 24 | 0.31245 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
25 | MV_429_0_line_25 |  | 23 | 25 | 0.61587 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
26 | MV_429_0_line_26 |  | 24 | 26 | 0.049376 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
27 | MV_429_0_line_27 |  | 25 | 27 | 0.016494 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
28 | MV_429_0_line_28 |  | 26 | 28 | 0.70208 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
29 | MV_429_0_line_29 |  | 27 | 29 | 0.014587 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
30 | MV_429_0_line_30 |  | 28 | 49 | 0.45982 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
31 | MV_429_0_line_31 |  | 29 | 53 | 0.4462 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
32 | MV_429_0_line_32 |  | 30 | 31 | 0.055266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_429_0_line_33 |  | 31 | 32 | 0.35702 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_429_0_line_34 |  | 32 | 44 | 0.046102 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
35 | MV_429_0_line_35 |  | 32 | 35 | 0.66564 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
36 | MV_429_0_line_36 |  | 33 | 34 | 0.040975 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
37 | MV_429_0_line_37 |  | 33 | 35 | 0.33291 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
38 | MV_429_0_line_38 |  | 33 | 36 | 0.91496 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
39 | MV_429_0_line_39 |  | 33 | 37 | 0.032607 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
40 | MV_429_0_line_40 |  | 35 | 43 | 0.10858 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
41 | MV_429_0_line_41 |  | 35 | 38 | 0.39116 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
42 | MV_429_0_line_42 |  | 35 | 40 | 0.41571 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
43 | MV_429_0_line_43 |  | 36 | 45 | 0.020442 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
44 | MV_429_0_line_44 |  | 36 | 46 | 0.47235 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
45 | MV_429_0_line_45 |  | 38 | 39 | 0.048188 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
46 | MV_429_0_line_46 |  | 39 | 49 | 0.46843 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
47 | MV_429_0_line_47 |  | 40 | 41 | 0.039017 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
48 | MV_429_0_line_48 |  | 40 | 42 | 0.022395 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
49 | MV_429_0_line_49 |  | 41 | 50 | 0.12271 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
50 | MV_429_0_line_50 |  | 44 | 51 | 0.063269 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
51 | MV_429_0_line_51 |  | 46 | 47 | 0.008463 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
52 | MV_429_0_line_52 |  | 46 | 48 | 0.55056 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
53 | MV_429_0_line_53 |  | 48 | 54 | 0.026191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_429_0_line_54 |  | 49 | 87 | 1.1761 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
55 | MV_429_0_line_55 |  | 51 | 95 | 0.23877 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
56 | MV_429_0_line_56 |  | 52 | 53 | 0.002811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_429_0_line_57 |  | 55 | 56 | 0.052321 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_429_0_line_58 |  | 56 | 57 | 0.20459 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_429_0_line_59 |  | 57 | 58 | 0.48717 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
60 | MV_429_0_line_60 |  | 57 | 59 | 0.070062 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
61 | MV_429_0_line_61 |  | 58 | 60 | 0.20703 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
62 | MV_429_0_line_62 |  | 60 | 61 | 0.056723 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
63 | MV_429_0_line_63 |  | 62 | 63 | 0.058664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_429_0_line_64 |  | 63 | 64 | 0.15041 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
65 | MV_429_0_line_65 |  | 63 | 65 | 0.11292 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
66 | MV_429_0_line_66 |  | 64 | 72 | 0.066269 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
67 | MV_429_0_line_67 |  | 65 | 69 | 0.14982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_429_0_line_68 |  | 65 | 66 | 0.047207 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
69 | MV_429_0_line_69 |  | 66 | 67 | 0.11664 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
70 | MV_429_0_line_70 |  | 67 | 68 | 0.13465 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
71 | MV_429_0_line_71 |  | 68 | 70 | 0.021359 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
72 | MV_429_0_line_72 |  | 69 | 71 | 0.12592 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_429_0_line_73 |  | 70 | 76 | 0.27196 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
74 | MV_429_0_line_74 |  | 70 | 75 | 0.40918 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_429_0_line_75 |  | 72 | 80 | 0.23288 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
76 | MV_429_0_line_76 |  | 73 | 74 | 0.031583 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_429_0_line_77 |  | 74 | 75 | 0.29783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_429_0_line_78 |  | 75 | 78 | 0.10029 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_429_0_line_79 |  | 76 | 77 | 0.02239 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
80 | MV_429_0_line_80 |  | 79 | 80 | 0.06199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_429_0_line_81 |  | 80 | 81 | 0.13991 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
82 | MV_429_0_line_82 |  | 81 | 82 | 0.18916 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
83 | MV_429_0_line_83 |  | 82 | 85 | 0.31932 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
84 | MV_429_0_line_84 |  | 82 | 86 | 0.049681 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
85 | MV_429_0_line_85 |  | 82 | 83 | 0.42726 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
86 | MV_429_0_line_86 |  | 83 | 84 | 0.059922 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
87 | MV_429_0_line_87 |  | 84 | 87 | 0.13187 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
88 | MV_429_0_line_88 |  | 85 | 90 | 0.8165 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
89 | MV_429_0_line_89 |  | 85 | 91 | 0.015458 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
90 | MV_429_0_line_90 |  | 85 | 88 | 0.40353 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
91 | MV_429_0_line_91 |  | 88 | 89 | 0.019139 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
92 | MV_429_0_line_92 |  | 90 | 94 | 0.032934 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
93 | MV_429_0_line_93 |  | 90 | 92 | 0.77376 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
94 | MV_429_0_line_94 |  | 92 | 93 | 0.058237 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
95 | MV_429_0_line_95 |  | 95 | 96 | 0.062011 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_429_0_trafo_57 | 25 MVA 110/20 kV | 97 | 80 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2608040.5046 | 1209366.1697
1 | 2608395.8066 | 1208957.0289
2 | 2608525.8321 | 1208941.3142
3 | 2609211.7752 | 1208905.9945
4 | 2609085.9307 | 1208954.0416
5 | 2609623.1928 | 1206713.2547
6 | 2608662.6094 | 1208945.7566
7 | 2609651.4794 | 1206666.2521
8 | 2609656.1416 | 1206216.2906
9 | 2609700.4054 | 1206166.3678
10 | 2607511.2901 | 1205426.543
11 | 2606719.879 | 1207610.2385
12 | 2606974.1529 | 1207726.2912
13 | 2606580.3442 | 1207609.1285
14 | 2606479.0284 | 1207686.4502
15 | 2605888.987 | 1208655.6459
16 | 2605705.8253 | 1208770.4222
17 | 2605465.0452 | 1207893.8612
18 | 2606992.6481 | 1207715.162
19 | 2604866.9392 | 1208601.918
20 | 2605485.4211 | 1207867.6097
21 | 2605440.605 | 1207880.7087
22 | 2603607.0023 | 1206776.335
23 | 2603648.1945 | 1206748.4109
24 | 2603830.0067 | 1206867.9882
25 | 2603247.951 | 1206790.841
26 | 2603876.8262 | 1206851.9091
27 | 2603262.4325 | 1206783.9894
28 | 2604436.9931 | 1206428.6719
29 | 2603270.5319 | 1206796.0782
30 | 2604013.088 | 1207570.0361
31 | 2604058.034 | 1207602.1946
32 | 2604120.4147 | 1207760.646
33 | 2603994.0878 | 1207356.6952
34 | 2603965.4137 | 1207361.4373
35 | 2604206.7171 | 1207469.5786
36 | 2603597.3299 | 1207213.8692
37 | 2603971.9403 | 1207380.626
38 | 2604134.7914 | 1207325.5278
39 | 2604168.103 | 1207290.7076
40 | 2604371.9392 | 1207459.4565
41 | 2604394.3454 | 1207428.2444
42 | 2604394.0579 | 1207456.1298
43 | 2604250.255 | 1207377.3534
44 | 2604154.7509 | 1207790.3412
45 | 2603596.7337 | 1207193.4354
46 | 2603393.7162 | 1207286.2365
47 | 2603390.9593 | 1207294.2393
48 | 2603060.3612 | 1207095.5
49 | 2604406.4929 | 1206887.4788
50 | 2604509.4008 | 1207385.581
51 | 2604095.1997 | 1207812.1794
52 | 2603495.561 | 1206957.7806
53 | 2603492.9903 | 1206958.9353
54 | 2603065.8796 | 1207114.1574
55 | 2604970.6428 | 1208183.0827
56 | 2604980.3996 | 1208234.4857
57 | 2604841.1331 | 1208296.1177
58 | 2604808.0397 | 1208642.749
59 | 2604778.0666 | 1208325.1837
60 | 2604674.333 | 1208596.8079
61 | 2604628.2419 | 1208629.7685
62 | 2605269.9065 | 1207593.8008
63 | 2605212.0108 | 1207584.3343
64 | 2605242.7424 | 1207443.4279
65 | 2605192.6319 | 1207689.4865
66 | 2605239.5457 | 1207684.2352
67 | 2605337.0135 | 1207641.2635
68 | 2605445.5684 | 1207707.3411
69 | 2605043.8986 | 1207680.4191
70 | 2605439.4048 | 1207688.0138
71 | 2605087.2844 | 1207798.6304
72 | 2605176.9443 | 1207435.5447
73 | 2605543.4112 | 1207555.3131
74 | 2605574.1973 | 1207561.745
75 | 2605691.5734 | 1207608.4356
76 | 2605440.1935 | 1207833.6835
77 | 2605458.1045 | 1207847.1189
78 | 2605791.8146 | 1207611.5771
79 | 2604996.9766 | 1207437.7835
80 | 2605005.1307 | 1207497.8009
81 | 2604865.2405 | 1207500.1437
82 | 2604787.9355 | 1207592.833
83 | 2604693.9721 | 1207414.9618
84 | 2604649.4845 | 1207377.418
85 | 2604605.096 | 1207788.8212
86 | 2604834.4819 | 1207610.2018
87 | 2604559.6951 | 1207280.8412
88 | 2604486.6003 | 1207738.1156
89 | 2604485.0505 | 1207757.1916
90 | 2604488.4412 | 1208383.2386
91 | 2604609.952 | 1207801.5208
92 | 2604764.2536 | 1208093.612
93 | 2604760.6274 | 1208035.4882
94 | 2604512.5072 | 1208405.7911
95 | 2604100.8656 | 1208000.6313
96 | 2604138.479 | 1208050.0063
97 | 2605005.1307 | 1207497.8009

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98356 | -0.50918 | 0.12526 | 0.060668
1 | 0.98363 | -0.50688 | 0 | 0
2 | 0.98364 | -0.50674 | 0.18615 | 0.090158
3 | 0.98377 | -0.5035 | 0.29725 | 0.14397
4 | 0.98375 | -0.50391 | 0 | 0
5 | 0.9851 | -0.45514 | 0.3976 | 0.19256
6 | 0.98368 | -0.50527 | 0 | 0
7 | 0.98513 | -0.45468 | 0 | 0
8 | 0.98536 | -0.45 | 0 | 0
9 | 0.98534 | -0.44973 | 0.33545 | 0.16246
10 | 0.9884 | -0.34217 | 0.1779 | 0.086159
11 | 0.99191 | -0.21925 | 0 | 0
12 | 0.99163 | -0.21689 | 0 | 0
13 | 0.99203 | -0.21693 | 0.40939 | 0.19828
14 | 0.99232 | -0.20667 | 0 | 0
15 | 0.99358 | -0.18216 | 0 | 0
16 | 0.99343 | -0.18506 | 0.35662 | 0.17272
17 | 0.9969 | -0.065331 | 0 | 0
18 | 0.99162 | -0.21678 | 0.40475 | 0.19603
19 | 0.99243 | -0.2196 | 0.20083 | 0.097266
20 | 0.99696 | -0.064148 | 0 | 0
21 | 0.99689 | -0.06519 | 0.42561 | 0.20613
22 | 0.99143 | -0.22191 | 0.30297 | 0.14673
23 | 0.99145 | -0.22146 | 0 | 0
24 | 0.99159 | -0.21867 | 0 | 0
25 | 0.99125 | -0.22534 | 0 | 0
26 | 0.99161 | -0.21822 | 0.40196 | 0.19468
27 | 0.99124 | -0.22544 | 0.40535 | 0.19632
28 | 0.99262 | -0.18283 | 0.053194 | 0.025763
29 | 0.99124 | -0.22548 | 0 | 0
30 | 0.99033 | -0.24629 | 0.20513 | 0.09935
31 | 0.99034 | -0.24643 | 0 | 0
32 | 0.99044 | -0.24719 | 0 | 0
33 | 0.99048 | -0.2465 | 0 | 0
34 | 0.99048 | -0.24654 | 0.11584 | 0.056106
35 | 0.99068 | -0.24232 | 0 | 0
36 | 0.99006 | -0.255 | 0 | 0
37 | 0.99048 | -0.24656 | 0.24717 | 0.11971
38 | 0.99122 | -0.23156 | 0 | 0
39 | 0.99128 | -0.23023 | 1.2121 | 0.58706
40 | 0.99056 | -0.2446 | 0 | 0
41 | 0.99055 | -0.24476 | 0.38226 | 0.18513
42 | 0.99056 | -0.24462 | 0.14136 | 0.068465
43 | 0.99067 | -0.24249 | 0.19452 | 0.094213
44 | 0.99042 | -0.24744 | 0.40801 | 0.19761
45 | 0.99005 | -0.25523 | 0.33375 | 0.16164
46 | 0.98991 | -0.25795 | 0 | 0
47 | 0.9899 | -0.25798 | 0.36655 | 0.17753
48 | 0.98982 | -0.25964 | 0 | 0
49 | 0.99331 | -0.15887 | 0 | 0
50 | 0.99053 | -0.24543 | 0.16217 | 0.078545
51 | 0.99042 | -0.24757 | 0 | 0
52 | 0.99115 | -0.22643 | 0.34706 | 0.16809
53 | 0.99115 | -0.22645 | 0 | 0
54 | 0.9898 | -0.25953 | 0.37171 | 0.18002
55 | 0.99208 | -0.22428 | 0.34844 | 0.16876
56 | 0.99211 | -0.22405 | 0 | 0
57 | 0.99221 | -0.22489 | 0 | 0
58 | 0.99236 | -0.22201 | 0 | 0
59 | 0.99219 | -0.22509 | 0.37969 | 0.18389
60 | 0.99234 | -0.22243 | 0 | 0
61 | 0.99233 | -0.22251 | 0.24688 | 0.11957
62 | 0.99857 | -0.033035 | 0.24664 | 0.11945
63 | 0.9986 | -0.032859 | 0 | 0
64 | 0.99898 | -0.025667 | 0.352 | 0.17048
65 | 0.99833 | -0.03804 | 0 | 0
66 | 0.99822 | -0.040052 | 0 | 0
67 | 0.99797 | -0.045018 | 0 | 0
68 | 0.99767 | -0.050742 | 0.24807 | 0.12015
69 | 0.99825 | -0.037309 | 0.11581 | 0.056087
70 | 0.99762 | -0.051609 | 0 | 0
71 | 0.99818 | -0.03777 | 0.30097 | 0.14577
72 | 0.99938 | -0.011763 | 0 | 0
73 | 0.99744 | -0.050283 | 0.1583 | 0.076666
74 | 0.99745 | -0.050342 | 0 | 0
75 | 0.9975 | -0.050827 | 0 | 0
76 | 0.99707 | -0.062071 | 0 | 0
77 | 0.99703 | -0.062931 | 0.35782 | 0.1733
78 | 0.99749 | -0.050911 | 0.068834 | 0.033338
79 | 0.99998 | 0.00015081 | 0.20728 | 0.10039
80 | 1 | 0 | -13.924 | -6.1678
81 | 0.99898 | -0.036298 | 0 | 0
82 | 0.99837 | -0.048319 | 0 | 0
83 | 0.99724 | -0.070468 | 0 | 0
84 | 0.99708 | -0.073568 | 0.26193 | 0.12686
85 | 0.99822 | -0.051465 | 0 | 0
86 | 0.99836 | -0.048674 | 0.21699 | 0.10509
87 | 0.99631 | -0.10054 | 0 | 0
88 | 0.99818 | -0.05235 | 0 | 0
89 | 0.99817 | -0.052521 | 0.27063 | 0.13107
90 | 0.99806 | -0.055127 | 0 | 0
91 | 0.99822 | -0.051506 | 0.34844 | 0.16876
92 | 0.99798 | -0.056782 | 0 | 0
93 | 0.99796 | -0.057199 | 0.24704 | 0.11965
94 | 0.99806 | -0.055186 | 0.23571 | 0.11416
95 | 0.99039 | -0.24806 | 0 | 0
96 | 0.99038 | -0.24818 | 0.24793 | 0.12008
97 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12526 | -0.060668 | 0.12527 | 0.059999 | 6.4318e-06 | -0.00066924 | 0.004085 | 0.0040764 | 0.004085 | 0.98356 | -0.50918 | 0.98363 | -0.50688 | 0.99634
1 | -0.12527 | -0.059999 | 0.12527 | 0.055172 | 7.8261e-07 | -0.0048266 | 0.0040764 | 0.0040172 | 0.0040764 | 0.98363 | -0.50688 | 0.98364 | -0.50674 | 0.96826
2 | -0.31142 | -0.14533 | 0.31143 | 0.14517 | 9.9206e-06 | -0.00015702 | 0.010086 | 0.010084 | 0.010086 | 0.98364 | -0.50674 | 0.98368 | -0.50527 | 2.4599
3 | 0.31146 | 0.12148 | -0.31145 | -0.12658 | 4.8853e-06 | -0.0050948 | 0.00981 | 0.0098653 | 0.0098653 | 0.98377 | -0.5035 | 0.98375 | -0.50391 | 2.3433
4 | -0.60871 | -0.26545 | 0.60931 | 0.26352 | 0.00060284 | -0.0019257 | 0.019486 | 0.019454 | 0.019486 | 0.98377 | -0.5035 | 0.9851 | -0.45514 | 4.7528
5 | 0.31145 | 0.12658 | -0.31143 | -0.14517 | 1.8323e-05 | -0.018596 | 0.0098653 | 0.010084 | 0.010084 | 0.98375 | -0.50391 | 0.98368 | -0.50527 | 2.3952
6 | -1.0069 | -0.45609 | 1.0069 | 0.45407 | 2.1042e-05 | -0.0020136 | 0.032392 | 0.032368 | 0.032392 | 0.9851 | -0.45514 | 0.98513 | -0.45468 | 7.6941
7 | -1.0069 | -0.45407 | 1.0071 | 0.43421 | 0.00020585 | -0.019867 | 0.032368 | 0.032131 | 0.032368 | 0.98513 | -0.45468 | 0.98536 | -0.45 | 7.6883
8 | 0.33546 | 0.16092 | -0.33545 | -0.16246 | 1.0592e-05 | -0.0015422 | 0.0109 | 0.01092 | 0.01092 | 0.98536 | -0.45 | 0.98534 | -0.44973 | 4.9635
9 | -1.3426 | -0.59513 | 1.3456 | 0.59661 | 0.0030134 | 0.0014815 | 0.043024 | 0.04299 | 0.043024 | 0.98536 | -0.45 | 0.9884 | -0.34217 | 10.4937
10 | -1.5235 | -0.68277 | 1.5274 | 0.68552 | 0.0039334 | 0.0027474 | 0.04876 | 0.048725 | 0.04876 | 0.9884 | -0.34217 | 0.99191 | -0.21925 | 11.8927
11 | 0.40488 | 0.18319 | -0.40476 | -0.19553 | 0.00011902 | -0.012338 | 0.012933 | 0.013086 | 0.013086 | 0.99191 | -0.21925 | 0.99163 | -0.21689 | 5.948
12 | -1.9323 | -0.8687 | 1.9325 | 0.86348 | 0.00019979 | -0.0052197 | 0.061658 | 0.061594 | 0.061658 | 0.99191 | -0.21925 | 0.99203 | -0.21693 | 14.6456
13 | 0.40476 | 0.19553 | -0.40475 | -0.19603 | 4.9331e-06 | -0.00050493 | 0.013086 | 0.013092 | 0.013092 | 0.99163 | -0.21689 | 0.99162 | -0.21678 | 5.951
14 | -2.3419 | -1.0618 | 2.3424 | 1.0623 | 0.00050862 | 0.00057399 | 0.074825 | 0.074823 | 0.074825 | 0.99203 | -0.21693 | 0.99232 | -0.20667 | 18.25
15 | -2.3424 | -1.0623 | 2.3449 | 1.0178 | 0.002531 | -0.044548 | 0.074823 | 0.07427 | 0.074823 | 0.99232 | -0.20667 | 0.99358 | -0.18216 | 17.7727
16 | 1.5337 | 0.69834 | -1.5335 | -0.70692 | 0.00020453 | -0.0085831 | 0.048963 | 0.049069 | 0.049069 | 0.99358 | -0.18216 | 0.99343 | -0.18506 | 11.6553
17 | -3.8787 | -1.7161 | 3.8881 | 1.7287 | 0.0094355 | 0.012543 | 0.12323 | 0.12322 | 0.12323 | 0.99358 | -0.18216 | 0.9969 | -0.065331 | 30.0557
18 | 1.1769 | 0.5342 | -1.176 | -0.53405 | 0.00086059 | 0.00015409 | 0.037557 | 0.03757 | 0.03757 | 0.99343 | -0.18506 | 0.99243 | -0.2196 | 9.1635
19 | -4.3137 | -1.9341 | 4.314 | 1.9331 | 0.00022768 | -0.0010515 | 0.1369 | 0.13688 | 0.1369 | 0.9969 | -0.065331 | 0.99696 | -0.064148 | 32.5166
20 | 0.42562 | 0.20548 | -0.42561 | -0.20613 | 6.9441e-06 | -0.0006565 | 0.013686 | 0.013694 | 0.013694 | 0.9969 | -0.065331 | 0.99689 | -0.06519 | 6.2246
21 | 0.97521 | 0.43678 | -0.97517 | -0.4368 | 4.9354e-05 | -1.9901e-05 | 0.031082 | 0.031083 | 0.031083 | 0.99243 | -0.2196 | 0.99236 | -0.22201 | 7.5812
22 | -4.314 | -1.9331 | 4.3142 | 1.932 | 0.00023414 | -0.0010817 | 0.13688 | 0.13686 | 0.13688 | 0.99696 | -0.064148 | 0.99703 | -0.062931 | 32.5131
23 | -0.30297 | -0.14673 | 0.30297 | 0.14668 | 4.3887e-06 | -5.6451e-05 | 0.0098017 | 0.0098009 | 0.0098017 | 0.99143 | -0.22191 | 0.99145 | -0.22146 | 2.8005
24 | -1.0555 | -0.47184 | 1.0557 | 0.46022 | 0.00012907 | -0.011616 | 0.033665 | 0.033527 | 0.033665 | 0.99145 | -0.22146 | 0.99159 | -0.21867 | 7.9963
25 | 0.75257 | 0.32516 | -0.75244 | -0.34816 | 0.0001299 | -0.023003 | 0.02387 | 0.024145 | 0.024145 | 0.99145 | -0.22146 | 0.99125 | -0.22534 | 5.7352
26 | -1.0557 | -0.46022 | 1.0557 | 0.45838 | 2.03e-05 | -0.0018361 | 0.033527 | 0.033505 | 0.033527 | 0.99159 | -0.21867 | 0.99161 | -0.21822 | 7.9636
27 | 0.75244 | 0.34816 | -0.75244 | -0.34878 | 3.5205e-06 | -0.00061588 | 0.024145 | 0.024153 | 0.024153 | 0.99125 | -0.22534 | 0.99124 | -0.22544 | 5.737
28 | -1.4577 | -0.65306 | 1.4587 | 0.65373 | 0.0010818 | 0.00067176 | 0.046499 | 0.046488 | 0.046499 | 0.99161 | -0.21822 | 0.99262 | -0.18283 | 11.3412
29 | 0.34709 | 0.15246 | -0.34709 | -0.153 | 6.5112e-07 | -0.00054693 | 0.01104 | 0.011047 | 0.011047 | 0.99124 | -0.22544 | 0.99124 | -0.22548 | 2.6239
30 | -1.5119 | -0.67949 | 1.5127 | 0.68001 | 0.00076155 | 0.00051577 | 0.048206 | 0.048199 | 0.048206 | 0.99262 | -0.18283 | 0.99331 | -0.15887 | 11.7576
31 | 0.34709 | 0.153 | -0.34706 | -0.16802 | 2.673e-05 | -0.01502 | 0.011047 | 0.011231 | 0.011231 | 0.99124 | -0.22548 | 0.99115 | -0.22645 | 3.1024
32 | -0.20513 | -0.09935 | 0.20514 | 0.098057 | 3.2487e-06 | -0.0012932 | 0.0066439 | 0.0066275 | 0.0066439 | 0.99033 | -0.24629 | 0.99034 | -0.24643 | 3.0199
33 | -0.20514 | -0.098057 | 0.20516 | 0.089702 | 2.061e-05 | -0.008355 | 0.0066275 | 0.0065261 | 0.0066275 | 0.99034 | -0.24643 | 0.99044 | -0.24719 | 3.0125
34 | 0.65596 | 0.30233 | -0.65595 | -0.30405 | 7.4853e-06 | -0.0017208 | 0.021052 | 0.021073 | 0.021073 | 0.99044 | -0.24719 | 0.99042 | -0.24744 | 5.0054
35 | -0.86111 | -0.39203 | 0.8613 | 0.36725 | 0.00018328 | -0.024783 | 0.027577 | 0.027284 | 0.027577 | 0.99044 | -0.24719 | 0.99068 | -0.24232 | 6.5503
36 | 0.11584 | 0.05457 | -0.11584 | -0.056106 | 2.0996e-07 | -0.0015354 | 0.0037321 | 0.0037514 | 0.0037514 | 0.99048 | -0.2465 | 0.99048 | -0.24654 | 0.89107
37 | -1.4355 | -0.61921 | 1.4358 | 0.60696 | 0.00025217 | -0.012248 | 0.045565 | 0.045422 | 0.045565 | 0.99048 | -0.2465 | 0.99068 | -0.24232 | 10.823
38 | 1.0725 | 0.44615 | -1.0721 | -0.48007 | 0.00038827 | -0.03392 | 0.033855 | 0.034252 | 0.034252 | 0.99048 | -0.2465 | 0.99006 | -0.255 | 8.1358
39 | 0.24717 | 0.11849 | -0.24717 | -0.11971 | 7.6309e-07 | -0.0012213 | 0.0079887 | 0.0080041 | 0.0080041 | 0.99048 | -0.2465 | 0.99048 | -0.24656 | 1.9012
40 | 0.19453 | 0.090143 | -0.19452 | -0.094213 | 1.5636e-06 | -0.0040697 | 0.0062473 | 0.0062981 | 0.0062981 | 0.99068 | -0.24232 | 0.99067 | -0.24249 | 1.496
41 | -3.1775 | -1.3785 | 3.1789 | 1.3652 | 0.0014558 | -0.013337 | 0.10093 | 0.10076 | 0.10093 | 0.99068 | -0.24232 | 0.99122 | -0.23156 | 23.9731
42 | 0.68587 | 0.31418 | -0.6858 | -0.32969 | 7.4164e-05 | -0.015516 | 0.021983 | 0.022176 | 0.022176 | 0.99068 | -0.24232 | 0.99056 | -0.2446 | 5.2674
43 | 0.33375 | 0.16162 | -0.33375 | -0.16164 | 1.7036e-06 | -2.3469e-05 | 0.010812 | 0.010813 | 0.010813 | 0.99006 | -0.255 | 0.99005 | -0.25523 | 2.6372
44 | 0.73839 | 0.31845 | -0.73829 | -0.33604 | 9.5877e-05 | -0.017597 | 0.023446 | 0.023655 | 0.023655 | 0.99006 | -0.255 | 0.98991 | -0.25795 | 5.6188
45 | -3.1789 | -1.3652 | 3.1791 | 1.3635 | 0.00017901 | -0.0016445 | 0.10076 | 0.10074 | 0.10076 | 0.99122 | -0.23156 | 0.99128 | -0.23023 | 23.9329
46 | -4.3912 | -1.9506 | 4.3978 | 1.9595 | 0.0065372 | 0.0088677 | 0.13993 | 0.13992 | 0.13993 | 0.99128 | -0.23023 | 0.99331 | -0.15887 | 34.1287
47 | 0.54444 | 0.26207 | -0.54443 | -0.26353 | 4.4325e-06 | -0.0014584 | 0.017609 | 0.017627 | 0.017627 | 0.99056 | -0.2446 | 0.99055 | -0.24476 | 4.187
48 | 0.14136 | 0.067625 | -0.14136 | -0.068465 | 1.7133e-07 | -0.0008393 | 0.0045668 | 0.0045774 | 0.0045774 | 0.99056 | -0.2446 | 0.99056 | -0.24462 | 1.0873
49 | 0.16218 | 0.078392 | -0.16217 | -0.078545 | 2.4113e-06 | -0.00015235 | 0.0052495 | 0.0052515 | 0.0052515 | 0.99055 | -0.24476 | 0.99053 | -0.24543 | 1.2809
50 | 0.24794 | 0.10644 | -0.24794 | -0.10881 | 1.4372e-06 | -0.0023696 | 0.0078644 | 0.0078919 | 0.0078919 | 0.99042 | -0.24744 | 0.99042 | -0.24757 | 1.8746
51 | 0.36655 | 0.17721 | -0.36655 | -0.17753 | 4.3678e-07 | -0.00031641 | 0.011873 | 0.011877 | 0.011877 | 0.98991 | -0.25795 | 0.9899 | -0.25798 | 2.8211
52 | 0.37174 | 0.15883 | -0.37171 | -0.17941 | 2.8583e-05 | -0.020582 | 0.011789 | 0.012037 | 0.012037 | 0.98991 | -0.25795 | 0.98982 | -0.25964 | 2.8593
53 | 0.37171 | 0.17941 | -0.37171 | -0.18002 | 5.0697e-06 | -0.00061116 | 0.012037 | 0.012045 | 0.012045 | 0.98982 | -0.25964 | 0.9898 | -0.25953 | 5.4751
54 | -5.9105 | -2.6395 | 5.9257 | 2.609 | 0.015191 | -0.030518 | 0.18812 | 0.1876 | 0.18812 | 0.99331 | -0.15887 | 0.99631 | -0.10054 | 44.6841
55 | 0.24794 | 0.10881 | -0.24793 | -0.11776 | 5.5166e-06 | -0.0089422 | 0.0078919 | 0.0080002 | 0.0080002 | 0.99042 | -0.24757 | 0.99039 | -0.24806 | 1.9003
56 | -0.34706 | -0.16809 | 0.34706 | 0.16802 | 4.7336e-07 | -6.5793e-05 | 0.011231 | 0.011231 | 0.011231 | 0.99115 | -0.22643 | 0.99115 | -0.22645 | 5.1052
57 | -0.34844 | -0.16876 | 0.34845 | 0.1687 | 1.183e-05 | -5.4068e-05 | 0.011265 | 0.011265 | 0.011265 | 0.99208 | -0.22428 | 0.99211 | -0.22405 | 5.3645
58 | -0.34845 | -0.1687 | 0.34848 | 0.1639 | 3.4471e-05 | -0.0047983 | 0.011265 | 0.011204 | 0.011265 | 0.99211 | -0.22405 | 0.99221 | -0.22489 | 5.1203
59 | -0.72818 | -0.34517 | 0.72828 | 0.32693 | 9.7071e-05 | -0.018236 | 0.023445 | 0.023222 | 0.023445 | 0.99221 | -0.22489 | 0.99236 | -0.22201 | 5.569
60 | 0.3797 | 0.18126 | -0.37969 | -0.18389 | 3.8529e-06 | -0.0026314 | 0.012241 | 0.012274 | 0.012274 | 0.99221 | -0.22489 | 0.99219 | -0.22509 | 2.9156
61 | 0.24689 | 0.10987 | -0.24688 | -0.11765 | 4.7381e-06 | -0.0077838 | 0.007861 | 0.0079558 | 0.0079558 | 0.99236 | -0.22201 | 0.99234 | -0.22243 | 1.8897
62 | 0.24688 | 0.11765 | -0.24688 | -0.11957 | 1.7393e-06 | -0.001915 | 0.0079558 | 0.0079799 | 0.0079799 | 0.99234 | -0.22243 | 0.99233 | -0.22251 | 2.2044
63 | -0.24664 | -0.11945 | 0.24665 | 0.11939 | 6.5595e-06 | -6.5727e-05 | 0.0079224 | 0.0079215 | 0.0079224 | 0.99857 | -0.033035 | 0.9986 | -0.032859 | 3.7726
64 | -5.8175 | -2.6139 | 5.8194 | 2.6099 | 0.0018706 | -0.0040149 | 0.18437 | 0.1843 | 0.18437 | 0.9986 | -0.032859 | 0.99898 | -0.025667 | 43.7929
65 | 5.5708 | 2.4945 | -5.5696 | -2.4976 | 0.0012872 | -0.003119 | 0.17645 | 0.1765 | 0.1765 | 0.9986 | -0.032859 | 0.99833 | -0.03804 | 41.9241
66 | -6.1714 | -2.7804 | 6.1732 | 2.7829 | 0.0018072 | 0.0025308 | 0.1956 | 0.1956 | 0.1956 | 0.99898 | -0.025667 | 0.99938 | -0.011763 | 47.7066
67 | 0.41683 | 0.19816 | -0.4168 | -0.20172 | 3.5743e-05 | -0.0035543 | 0.013346 | 0.01339 | 0.01339 | 0.99833 | -0.03804 | 0.99825 | -0.037309 | 6.0865
68 | 5.1527 | 2.2995 | -5.1523 | -2.3009 | 0.00046 | -0.0013749 | 0.16316 | 0.16318 | 0.16318 | 0.99833 | -0.03804 | 0.99822 | -0.040052 | 38.76
69 | 5.1523 | 2.3009 | -5.1511 | -2.3042 | 0.0011371 | -0.003395 | 0.16318 | 0.16323 | 0.16323 | 0.99822 | -0.040052 | 0.99797 | -0.045018 | 38.7725
70 | 5.1511 | 2.3042 | -5.1498 | -2.3082 | 0.0013136 | -0.0039156 | 0.16323 | 0.16329 | 0.16329 | 0.99797 | -0.045018 | 0.99767 | -0.050742 | 38.7868
71 | 4.9017 | 2.188 | -4.9016 | -2.1887 | 0.0001886 | -0.00063897 | 0.15532 | 0.15533 | 0.15533 | 0.99767 | -0.050742 | 0.99762 | -0.051609 | 36.8955
72 | 0.30099 | 0.14563 | -0.30097 | -0.14577 | 2.098e-05 | -0.00013665 | 0.0096694 | 0.0096712 | 0.0096712 | 0.99825 | -0.037309 | 0.99818 | -0.03777 | 4.6054
73 | 4.6744 | 2.0963 | -4.6722 | -2.1046 | 0.0021891 | -0.0083246 | 0.14824 | 0.14836 | 0.14836 | 0.99762 | -0.051609 | 0.99707 | -0.062071 | 35.2402
74 | 0.22717 | 0.092349 | -0.22714 | -0.10206 | 2.7926e-05 | -0.0097137 | 0.0070959 | 0.0072065 | 0.0072065 | 0.99762 | -0.051609 | 0.9975 | -0.050827 | 3.2757
75 | -6.1732 | -2.7829 | 6.1764 | 2.777 | 0.0032591 | -0.0058989 | 0.1956 | 0.19549 | 0.1956 | 0.99938 | -0.011763 | 1 | 0 | 46.4599
76 | -0.1583 | -0.076666 | 0.1583 | 0.075916 | 1.0905e-06 | -0.0007499 | 0.0050904 | 0.0050809 | 0.0050904 | 0.99744 | -0.050283 | 0.99745 | -0.050342 | 2.3138
77 | -0.1583 | -0.075916 | 0.15831 | 0.068844 | 1.009e-05 | -0.0070722 | 0.0050809 | 0.0049958 | 0.0050809 | 0.99745 | -0.050342 | 0.9975 | -0.050827 | 2.3095
78 | 0.068835 | 0.033219 | -0.068834 | -0.033338 | 8.7483e-07 | -0.00011858 | 0.0022119 | 0.0022134 | 0.0022134 | 0.9975 | -0.050827 | 0.99749 | -0.050911 | 1.054
79 | 4.6722 | 2.1046 | -4.672 | -2.1053 | 0.00018039 | -0.0006847 | 0.14836 | 0.14837 | 0.14837 | 0.99707 | -0.062071 | 0.99703 | -0.062931 | 35.2426
80 | -0.20728 | -0.10039 | 0.20729 | 0.098914 | 3.6481e-06 | -0.001479 | 0.0066488 | 0.0066303 | 0.0066488 | 0.99998 | 0.00015081 | 1 | 0 | 3.0222
81 | 7.5263 | 3.2814 | -7.5207 | -3.2735 | 0.0056025 | 0.0079304 | 0.23702 | 0.23702 | 0.23702 | 1 | 0 | 0.99898 | -0.036298 | 57.8096
82 | 7.5207 | 3.2735 | -7.5168 | -3.2771 | 0.0038907 | -0.0036353 | 0.23702 | 0.2371 | 0.2371 | 0.99898 | -0.036298 | 0.99837 | -0.048319 | 56.3189
83 | 1.102 | 0.44388 | -1.1019 | -0.45591 | 0.00013845 | -0.01203 | 0.034353 | 0.034486 | 0.034486 | 0.99837 | -0.048319 | 0.99822 | -0.051465 | 8.1914
84 | 0.217 | 0.10503 | -0.21699 | -0.10509 | 1.7209e-06 | -6.1603e-05 | 0.0069707 | 0.0069715 | 0.0069715 | 0.99837 | -0.048319 | 0.99836 | -0.048674 | 1.7004
85 | 6.1977 | 2.7282 | -6.1917 | -2.7389 | 0.0060009 | -0.010741 | 0.1958 | 0.19599 | 0.19599 | 0.99837 | -0.048319 | 0.99724 | -0.070468 | 46.5532
86 | 6.1917 | 2.7389 | -6.1909 | -2.7404 | 0.00084254 | -0.0015026 | 0.19599 | 0.19602 | 0.19602 | 0.99724 | -0.070468 | 0.99708 | -0.073568 | 46.5596
87 | 5.929 | 2.6136 | -5.9257 | -2.609 | 0.0033079 | 0.0046197 | 0.18759 | 0.1876 | 0.1876 | 0.99708 | -0.073568 | 0.99631 | -0.10054 | 45.7553
88 | 0.48284 | 0.17204 | -0.48277 | -0.20306 | 6.7058e-05 | -0.031014 | 0.014823 | 0.015148 | 0.015148 | 0.99822 | -0.051465 | 0.99806 | -0.055127 | 3.5982
89 | 0.34844 | 0.16817 | -0.34844 | -0.16876 | 7.0871e-07 | -0.00058778 | 0.011189 | 0.011196 | 0.011196 | 0.99822 | -0.051465 | 0.99822 | -0.051506 | 2.6594
90 | 0.27064 | 0.1157 | -0.27063 | -0.13105 | 1.0927e-05 | -0.01535 | 0.0085117 | 0.0086959 | 0.0086959 | 0.99822 | -0.051465 | 0.99818 | -0.05235 | 2.0655
91 | 0.27063 | 0.13105 | -0.27063 | -0.13107 | 1.0317e-06 | -2.3188e-05 | 0.0086959 | 0.0086963 | 0.0086963 | 0.99818 | -0.05235 | 0.99817 | -0.052521 | 2.121
92 | 0.23571 | 0.11291 | -0.23571 | -0.11416 | 6.9024e-07 | -0.0012526 | 0.0075594 | 0.0075751 | 0.0075751 | 0.99806 | -0.055127 | 0.99806 | -0.055186 | 1.7993
93 | 0.24706 | 0.09015 | -0.24704 | -0.11958 | 1.7066e-05 | -0.029426 | 0.0076067 | 0.007939 | 0.007939 | 0.99806 | -0.055127 | 0.99798 | -0.056782 | 1.8857
94 | 0.24704 | 0.11958 | -0.24704 | -0.11965 | 3.3699e-06 | -6.9031e-05 | 0.007939 | 0.0079399 | 0.0079399 | 0.99798 | -0.056782 | 0.99796 | -0.057199 | 2.2685
95 | 0.24793 | 0.11776 | -0.24793 | -0.12008 | 1.4579e-06 | -0.0023223 | 0.0080002 | 0.0080295 | 0.0080295 | 0.99039 | -0.24806 | 0.99038 | -0.24818 | 1.9073

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.924 | 6.1678

## res_load
| p_mw | q_mvar
0 | 0.12526 | 0.060668
1 | 0.18615 | 0.090158
2 | 0.29725 | 0.14397
3 | 0.3976 | 0.19256
4 | 0.33545 | 0.16246
5 | 0.1779 | 0.086159
6 | 0.40939 | 0.19828
7 | 0.35662 | 0.17272
8 | 0.40475 | 0.19603
9 | 0.20083 | 0.097266
10 | 0.42561 | 0.20613
11 | 0.30297 | 0.14673
12 | 0.40196 | 0.19468
13 | 0.40535 | 0.19632
14 | 0.053194 | 0.025763
15 | 0.20513 | 0.09935
16 | 0.11584 | 0.056106
17 | 0.24717 | 0.11971
18 | 1.2121 | 0.58706
19 | 0.38226 | 0.18513
20 | 0.14136 | 0.068465
21 | 0.19452 | 0.094213
22 | 0.40801 | 0.19761
23 | 0.33375 | 0.16164
24 | 0.36655 | 0.17753
25 | 0.16217 | 0.078545
26 | 0.34706 | 0.16809
27 | 0.37171 | 0.18002
28 | 0.34844 | 0.16876
29 | 0.37969 | 0.18389
30 | 0.24688 | 0.11957
31 | 0.24664 | 0.11945
32 | 0.352 | 0.17048
33 | 0.24807 | 0.12015
34 | 0.11581 | 0.056087
35 | 0.30097 | 0.14577
36 | 0.1583 | 0.076666
37 | 0.35782 | 0.1733
38 | 0.068834 | 0.033338
39 | 0.20728 | 0.10039
40 | 0.26193 | 0.12686
41 | 0.21699 | 0.10509
42 | 0.27063 | 0.13107
43 | 0.34844 | 0.16876
44 | 0.24704 | 0.11965
45 | 0.23571 | 0.11416
46 | 0.24793 | 0.12008

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1