## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_435_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_435_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_435_0_node_154 | 20 | n |  | TRUE
3 | bus_MV_435_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_435_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_435_0_node_152 | 20 | n |  | TRUE
6 | bus_MV_435_0_node_153 | 20 | n |  | TRUE
7 | bus_MV_435_0_node_150 | 20 | n |  | TRUE
8 | bus_MV_435_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_435_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_435_0_node_151 | 20 | n |  | TRUE
11 | bus_MV_435_0_node_50 | 20 | n |  | TRUE
12 | bus_MV_435_0_node_33 | 20 | n |  | TRUE
13 | bus_MV_435_0_node_34 | 20 | n |  | TRUE
14 | bus_MV_435_0_node_51 | 20 | n |  | TRUE
15 | bus_MV_435_0_node_49 | 20 | n |  | TRUE
16 | bus_MV_435_0_node_144 | 20 | n |  | TRUE
17 | bus_MV_435_0_node_6 | 20 | n |  | TRUE
18 | bus_MV_435_0_node_7 | 20 | n |  | TRUE
19 | bus_MV_435_0_node_48 | 20 | n |  | TRUE
20 | bus_MV_435_0_node_8 | 20 | n |  | TRUE
21 | bus_MV_435_0_node_27 | 20 | n |  | TRUE
22 | bus_MV_435_0_node_10 | 20 | n |  | TRUE
23 | bus_MV_435_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_435_0_node_9 | 20 | n |  | TRUE
25 | bus_MV_435_0_node_95 | 20 | n |  | TRUE
26 | bus_MV_435_0_node_12 | 20 | n |  | TRUE
27 | bus_MV_435_0_node_19 | 20 | n |  | TRUE
28 | bus_MV_435_0_node_13 | 20 | n |  | TRUE
29 | bus_MV_435_0_node_94 | 20 | n |  | TRUE
30 | bus_MV_435_0_node_17 | 20 | n |  | TRUE
31 | bus_MV_435_0_node_15 | 20 | n |  | TRUE
32 | bus_MV_435_0_node_14 | 20 | n |  | TRUE
33 | bus_MV_435_0_node_16 | 20 | n |  | TRUE
34 | bus_MV_435_0_node_18 | 20 | n |  | TRUE
35 | bus_MV_435_0_node_93 | 20 | n |  | TRUE
36 | bus_MV_435_0_node_149 | 20 | n |  | TRUE
37 | bus_MV_435_0_node_52 | 20 | n |  | TRUE
38 | bus_MV_435_0_node_53 | 20 | n |  | TRUE
39 | bus_MV_435_0_node_25 | 20 | n |  | TRUE
40 | bus_MV_435_0_node_26 | 20 | n |  | TRUE
41 | bus_MV_435_0_node_30 | 20 | n |  | TRUE
42 | bus_MV_435_0_node_28 | 20 | n |  | TRUE
43 | bus_MV_435_0_node_111 | 20 | n |  | TRUE
44 | bus_MV_435_0_node_29 | 20 | n |  | TRUE
45 | bus_MV_435_0_node_146 | 20 | n |  | TRUE
46 | bus_MV_435_0_node_31 | 20 | n |  | TRUE
47 | bus_MV_435_0_node_156 | 20 | n |  | TRUE
48 | bus_MV_435_0_node_32 | 20 | n |  | TRUE
49 | bus_MV_435_0_node_40 | 20 | n |  | TRUE
50 | bus_MV_435_0_node_147 | 20 | n |  | TRUE
51 | bus_MV_435_0_node_110 | 20 | n |  | TRUE
52 | bus_MV_435_0_node_82 | 20 | n |  | TRUE
53 | bus_MV_435_0_node_102 | 20 | n |  | TRUE
54 | bus_MV_435_0_node_37 | 20 | n |  | TRUE
55 | bus_MV_435_0_node_35 | 20 | n |  | TRUE
56 | bus_MV_435_0_node_36 | 20 | n |  | TRUE
57 | bus_MV_435_0_node_38 | 20 | n |  | TRUE
58 | bus_MV_435_0_node_140 | 20 | n |  | TRUE
59 | bus_MV_435_0_node_145 | 20 | n |  | TRUE
60 | bus_MV_435_0_node_41 | 20 | n |  | TRUE
61 | bus_MV_435_0_node_116 | 20 | n |  | TRUE
62 | bus_MV_435_0_node_54 | 20 | n |  | TRUE
63 | bus_MV_435_0_node_42 | 20 | n |  | TRUE
64 | bus_MV_435_0_node_43 | 20 | n |  | TRUE
65 | bus_MV_435_0_node_44 | 20 | n |  | TRUE
66 | bus_MV_435_0_node_45 | 20 | n |  | TRUE
67 | bus_MV_435_0_node_47 | 20 | n |  | TRUE
68 | bus_MV_435_0_node_46 | 20 | n |  | TRUE
69 | bus_MV_435_0_node_113 | 20 | n |  | TRUE
70 | bus_MV_435_0_node_115 | 20 | n |  | TRUE
71 | bus_MV_435_0_node_114 | 20 | n |  | TRUE
72 | bus_MV_435_0_node_55 | 20 | n |  | TRUE
73 | bus_MV_435_0_node_57 | 20 | n |  | TRUE
74 | bus_MV_435_0_node_56 | 20 | n |  | TRUE
75 | bus_MV_435_0_node_60 | 20 | n |  | TRUE
76 | bus_MV_435_0_node_58 | 20 | n |  | TRUE
77 | bus_MV_435_0_node_59 | 20 | n |  | TRUE
78 | bus_MV_435_0_node_61 | 20 | n |  | TRUE
79 | bus_MV_435_0_node_62 | 20 | n |  | TRUE
80 | bus_MV_435_0_node_104 | 20 | n |  | TRUE
81 | bus_MV_435_0_node_112 | 20 | n |  | TRUE
82 | bus_MV_435_0_node_148 | 20 | n |  | TRUE
83 | bus_MV_435_0_node_107 | 20 | n |  | TRUE
84 | bus_MV_435_0_node_106 | 20 | n |  | TRUE
85 | bus_MV_435_0_node_108 | 20 | n |  | TRUE
86 | bus_MV_435_0_node_105 | 20 | n |  | TRUE
87 | bus_MV_435_0_node_109 | 20 | n |  | TRUE
88 | bus_MV_435_0_node_81 | 20 | n |  | TRUE
89 | bus_MV_435_0_node_96 | 20 | n |  | TRUE
90 | bus_MV_435_0_node_97 | 20 | n |  | TRUE
91 | bus_MV_435_0_node_98 | 20 | n |  | TRUE
92 | bus_MV_435_0_node_99 | 20 | n |  | TRUE
93 | bus_MV_435_0_node_100 | 20 | n |  | TRUE
94 | bus_MV_435_0_node_101 | 20 | n |  | TRUE
95 | bus_MV_435_0_node_103 | 20 | n |  | TRUE
96 | bus_HV_435_0_node_25 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_435_0_load_0 | 0 | 0.4033 | 0.19533 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_435_0_load_153 | 6 | 0.12531 | 0.060688 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_435_0_load_5 | 8 | 0.16138 | 0.078159 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_435_0_load_4 | 9 | 0.17445 | 0.084492 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_435_0_load_151 | 10 | 0.15943 | 0.077215 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_435_0_load_33 | 12 | 0.17648 | 0.085474 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_435_0_load_49 | 15 | 0.16306 | 0.078975 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_435_0_load_144 | 16 | 0.16795 | 0.081342 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_435_0_load_6 | 17 | 0.15852 | 0.076773 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_435_0_load_48 | 19 | 0.24946 | 0.12082 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_435_0_load_9 | 24 | 0.14631 | 0.070862 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_435_0_load_95 | 25 | 0.28099 | 0.13609 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_435_0_load_19 | 27 | 0.38069 | 0.18438 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_435_0_load_13 | 28 | 0.24127 | 0.11685 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_435_0_load_14 | 32 | 0.27849 | 0.13488 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_435_0_load_93 | 35 | 0.35104 | 0.17002 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_435_0_load_149 | 36 | 0.094776 | 0.045902 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_435_0_load_52 | 37 | 0.056445 | 0.027338 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_435_0_load_25 | 39 | 0.34076 | 0.16504 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_435_0_load_146 | 45 | 0.089222 | 0.043212 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_435_0_load_156 | 47 | 0.13802 | 0.066845 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_435_0_load_40 | 49 | 0.18661 | 0.090379 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_435_0_load_147 | 50 | 0.20612 | 0.09983 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_435_0_load_110 | 51 | 0.25009 | 0.12112 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_435_0_load_140 | 58 | 0.17891 | 0.08665 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_435_0_load_145 | 59 | 0.28712 | 0.13906 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_435_0_load_41 | 60 | 0.15769 | 0.076371 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_435_0_load_116 | 61 | 0.083918 | 0.040643 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_435_0_load_42 | 63 | 0.21523 | 0.10424 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_435_0_load_47 | 67 | 0.33907 | 0.16422 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_435_0_load_113 | 69 | 0.20594 | 0.099741 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_435_0_load_115 | 70 | 0.51187 | 0.24791 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_435_0_load_114 | 71 | 0.4611 | 0.22332 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_435_0_load_55 | 72 | 0.24503 | 0.11868 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_435_0_load_60 | 75 | 0.094749 | 0.045889 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_435_0_load_58 | 76 | 0.30748 | 0.14892 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_435_0_load_104 | 80 | 0.29836 | 0.1445 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_435_0_load_112 | 81 | 0.15949 | 0.077242 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_435_0_load_148 | 82 | 0.1417 | 0.06863 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_435_0_load_107 | 83 | 0.20815 | 0.10081 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_435_0_load_108 | 85 | 0.42961 | 0.20807 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_435_0_load_105 | 86 | 0.76284 | 0.36946 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_435_0_load_109 | 87 | 0.62127 | 0.30089 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_435_0_load_81 | 88 | 0.076421 | 0.037012 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_435_0_load_96 | 89 | 0.2722 | 0.13183 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_435_0_load_99 | 92 | 0.16096 | 0.077956 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_435_0_load_100 | 93 | 0.1414 | 0.068483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_435_0_line_0 |  | 0 | 1 | 0.007302 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_435_0_line_1 |  | 0 | 2 | 1.8417 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_435_0_line_2 |  | 1 | 3 | 0.23661 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_435_0_line_3 |  | 1 | 4 | 0.70747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_435_0_line_4 |  | 2 | 6 | 0.14147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_435_0_line_5 |  | 3 | 8 | 0.033489 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_435_0_line_6 |  | 4 | 9 | 0.041337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_435_0_line_7 |  | 5 | 6 | 0.02927 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_435_0_line_8 |  | 5 | 7 | 0.81326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_435_0_line_9 |  | 7 | 10 | 0.17943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_435_0_line_10 |  | 9 | 11 | 1.3455 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
11 | MV_435_0_line_11 |  | 11 | 15 | 0.02434 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
12 | MV_435_0_line_12 |  | 12 | 13 | 0.040958 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_435_0_line_13 |  | 12 | 14 | 1.576 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_435_0_line_14 |  | 13 | 54 | 0.51521 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_435_0_line_15 |  | 14 | 16 | 1.4915 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
16 | MV_435_0_line_16 |  | 14 | 15 | 0.045309 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
17 | MV_435_0_line_17 |  | 16 | 26 | 1.6183 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
18 | MV_435_0_line_18 |  | 17 | 18 | 0.061095 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
19 | MV_435_0_line_19 |  | 17 | 19 | 1.3425 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_435_0_line_20 |  | 18 | 20 | 0.32752 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_435_0_line_21 |  | 19 | 21 | 0.13838 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
22 | MV_435_0_line_22 |  | 20 | 22 | 0.29938 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_435_0_line_23 |  | 20 | 23 | 0.28122 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_435_0_line_24 |  | 20 | 24 | 0.036046 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_435_0_line_25 |  | 21 | 40 | 0.39328 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
26 | MV_435_0_line_26 |  | 22 | 25 | 0.11071 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_435_0_line_27 |  | 23 | 26 | 0.59454 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
28 | MV_435_0_line_28 |  | 23 | 27 | 0.082646 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_435_0_line_29 |  | 25 | 29 | 0.084856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_435_0_line_30 |  | 26 | 28 | 0.049905 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_435_0_line_31 |  | 27 | 30 | 0.045819 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_435_0_line_32 |  | 29 | 35 | 0.0015255 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_435_0_line_33 |  | 30 | 31 | 0.2785 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_435_0_line_34 |  | 31 | 32 | 0.083229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_435_0_line_35 |  | 32 | 33 | 0.11876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_435_0_line_36 |  | 33 | 34 | 0.78345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_435_0_line_37 |  | 34 | 36 | 0.11533 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_435_0_line_38 |  | 37 | 38 | 0.007117 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_435_0_line_39 |  | 38 | 62 | 0.55271 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_435_0_line_40 |  | 39 | 40 | 0.052976 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
41 | MV_435_0_line_41 |  | 40 | 41 | 0.61683 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
42 | MV_435_0_line_42 |  | 41 | 47 | 0.028867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_435_0_line_43 |  | 41 | 48 | 0.15564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_435_0_line_44 |  | 41 | 42 | 0.51592 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
45 | MV_435_0_line_45 |  | 42 | 43 | 0.52197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_435_0_line_46 |  | 43 | 51 | 0.047395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_435_0_line_47 |  | 43 | 52 | 1.2731 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_435_0_line_48 |  | 44 | 45 | 0.047957 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_435_0_line_49 |  | 44 | 46 | 0.083287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_435_0_line_50 |  | 46 | 48 | 0.23978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_435_0_line_51 |  | 46 | 49 | 0.039532 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_435_0_line_52 |  | 48 | 50 | 0.029126 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_435_0_line_53 |  | 50 | 53 | 0.029654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_435_0_line_54 |  | 51 | 78 | 0.011851 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_435_0_line_55 |  | 52 | 88 | 0.23667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_435_0_line_56 |  | 53 | 94 | 0.1554 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_435_0_line_57 |  | 54 | 60 | 0.054105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_435_0_line_58 |  | 54 | 56 | 0.24142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_435_0_line_59 |  | 55 | 56 | 0.35851 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_435_0_line_60 |  | 55 | 57 | 0.28399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_435_0_line_61 |  | 55 | 58 | 0.072946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_435_0_line_62 |  | 56 | 59 | 0.037044 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_435_0_line_63 |  | 57 | 61 | 0.03699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_435_0_line_64 |  | 58 | 62 | 0.016764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_435_0_line_65 |  | 63 | 64 | 0.041712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_435_0_line_66 |  | 64 | 65 | 0.067496 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_435_0_line_67 |  | 65 | 66 | 0.13205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_435_0_line_68 |  | 65 | 67 | 0.027154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_435_0_line_69 |  | 66 | 68 | 0.038616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_435_0_line_70 |  | 66 | 69 | 0.0051199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_435_0_line_71 |  | 68 | 70 | 0.019196 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_435_0_line_72 |  | 70 | 71 | 0.025338 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_435_0_line_73 |  | 71 | 95 | 0.0015825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_435_0_line_74 |  | 72 | 73 | 0.079229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_435_0_line_75 |  | 72 | 74 | 0.077555 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_435_0_line_76 |  | 73 | 75 | 0.066852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_435_0_line_77 |  | 74 | 76 | 0.064711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_435_0_line_78 |  | 76 | 77 | 0.078347 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_435_0_line_79 |  | 77 | 83 | 0.042534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_435_0_line_80 |  | 78 | 79 | 0.40781 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_435_0_line_81 |  | 78 | 80 | 0.069088 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_435_0_line_82 |  | 79 | 81 | 0.059821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_435_0_line_83 |  | 79 | 82 | 0.051782 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
84 | MV_435_0_line_84 |  | 80 | 86 | 0.0030306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_435_0_line_85 |  | 83 | 84 | 0.031722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_435_0_line_86 |  | 84 | 87 | 0.067364 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_435_0_line_87 |  | 84 | 85 | 0.049224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_435_0_line_88 |  | 84 | 86 | 0.038497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_435_0_line_89 |  | 89 | 90 | 0.0014498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_435_0_line_90 |  | 89 | 91 | 0.024172 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_435_0_line_91 |  | 90 | 92 | 0.018316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_435_0_line_92 |  | 91 | 93 | 0.010905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_435_0_line_93 |  | 92 | 94 | 0.0094303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_435_0_line_94 |  | 94 | 95 | 0.11662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_435_0_trafo_25 | 25 MVA 110/20 kV | 96 | 39 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2669521.0857 | 1225246.6258
1 | 2669513.7642 | 1225246.4402
2 | 2670577.3636 | 1223737.9708
3 | 2669322.4672 | 1225147.7454
4 | 2669623.3753 | 1225399.443
5 | 2670542.4037 | 1223578.7086
6 | 2670561.471 | 1223600.9156
7 | 2670025.2866 | 1223043.1026
8 | 2669300.2119 | 1225172.7692
9 | 2669638.6719 | 1225437.8581
10 | 2670129.5646 | 1223187.7455
11 | 2670701.8377 | 1226262.5855
12 | 2672166.8315 | 1226962.2844
13 | 2672207.6776 | 1226965.3152
14 | 2670724.6249 | 1226326.8762
15 | 2670714.5299 | 1226282.7384
16 | 2669796.1318 | 1227494.1596
17 | 2670762.6135 | 1229121.771
18 | 2670704.3292 | 1229140.0902
19 | 2671701.2682 | 1228161.9169
20 | 2670451.5099 | 1229213.5396
21 | 2671743.8827 | 1228030.2656
22 | 2670298.0485 | 1229409.7321
23 | 2670239.0951 | 1229311.9043
24 | 2670441.3887 | 1229180.2199
25 | 2670319.7579 | 1229517.6105
26 | 2669786.3225 | 1229112.4553
27 | 2670168.4256 | 1229354.7543
28 | 2669787.1536 | 1229162.3536
29 | 2670331.1734 | 1229601.6952
30 | 2670129.0534 | 1229377.7608
31 | 2670015.3561 | 1229594.6875
32 | 2670012.5588 | 1229677.1759
33 | 2670006.0851 | 1229795.2446
34 | 2669533.9858 | 1230387.2333
35 | 2670331.3786 | 1229603.2068
36 | 2669427.9134 | 1230341.9532
37 | 2672567.2897 | 1226134.3847
38 | 2672574.333 | 1226135.538
39 | 2671826.1749 | 1227710.013
40 | 2671879.1472 | 1227710.6753
41 | 2672231.6821 | 1227404.5747
42 | 2672486.1737 | 1227651.6994
43 | 2672688.9681 | 1228068.1161
44 | 2672160.1361 | 1227304.8407
45 | 2672113.6133 | 1227317.0071
46 | 2672181.693 | 1227249.0542
47 | 2672214.9877 | 1227428.1543
48 | 2672355.6511 | 1227406.8043
49 | 2672143.8534 | 1227260.7475
50 | 2672372.658 | 1227383.1288
51 | 2672675.6852 | 1228024.2508
52 | 2673444.4942 | 1229092.7546
53 | 2672397.0368 | 1227400.1144
54 | 2672547.9068 | 1226919.8894
55 | 2672650.1545 | 1226721.8057
56 | 2672427.2093 | 1226824.9344
57 | 2672758.4897 | 1226796.2227
58 | 2672639.4852 | 1226650.2059
59 | 2672399.2184 | 1226849.1987
60 | 2672601.361 | 1226925.1225
61 | 2672790.5462 | 1226791.5188
62 | 2672622.7385 | 1226651.6914
63 | 2672592.3744 | 1227124.8672
64 | 2672555.7061 | 1227123.0411
65 | 2672501.9288 | 1227153.1612
66 | 2672489.0826 | 1227202.2594
67 | 2672474.8712 | 1227150.074
68 | 2672500.3174 | 1227226.9015
69 | 2672484.0158 | 1227202.9948
70 | 2672495.9731 | 1227245.5995
71 | 2672486.6426 | 1227269.136
72 | 2672766.7084 | 1227816.2101
73 | 2672687.5731 | 1227809.0271
74 | 2672843.6948 | 1227825.5805
75 | 2672681.5593 | 1227875.5799
76 | 2672837.6683 | 1227890.0099
77 | 2672828.1347 | 1227967.4398
78 | 2672671.7265 | 1228013.0801
79 | 2672643.3291 | 1227612.5343
80 | 2672712.7771 | 1227957.5107
81 | 2672702.977 | 1227617.0879
82 | 2672591.6431 | 1227615.6834
83 | 2672785.7575 | 1227963.7877
84 | 2672754.1523 | 1227961.0639
85 | 2672759.2698 | 1227912.1067
86 | 2672715.7966 | 1227957.77
87 | 2672746.3669 | 1228027.9763
88 | 2673321.2874 | 1229284.0515
89 | 2672415.577 | 1227274.8595
90 | 2672416.5102 | 1227275.9691
91 | 2672399.6467 | 1227256.6956
92 | 2672423.5185 | 1227292.8915
93 | 2672407.9117 | 1227249.5823
94 | 2672427.1268 | 1227301.6042
95 | 2672486.0441 | 1227270.601
96 | 2671826.1749 | 1227710.013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98496 | -0.57261 | 0.4033 | 0.19533
1 | 0.98496 | -0.57266 | 0 | 0
2 | 0.98397 | -0.58356 | 0 | 0
3 | 0.98491 | -0.57223 | 0 | 0
4 | 0.98573 | -0.5781 | 0 | 0
5 | 0.98391 | -0.58341 | 0 | 0
6 | 0.98392 | -0.5833 | 0.12531 | 0.060688
7 | 0.98375 | -0.58254 | 0 | 0
8 | 0.9849 | -0.5723 | 0.16138 | 0.078159
9 | 0.98578 | -0.5784 | 0.17445 | 0.084492
10 | 0.98371 | -0.58221 | 0.15943 | 0.077215
11 | 0.98738 | -0.53427 | 0 | 0
12 | 0.98458 | -0.55914 | 0.17648 | 0.085474
13 | 0.98452 | -0.55971 | 0 | 0
14 | 0.98742 | -0.53373 | 0 | 0
15 | 0.98739 | -0.5341 | 0.16306 | 0.078975
16 | 0.99111 | -0.43263 | 0.16795 | 0.081342
17 | 0.99494 | -0.27025 | 0.15852 | 0.076773
18 | 0.99478 | -0.27996 | 0 | 0
19 | 0.99864 | -0.049572 | 0.24946 | 0.12082
20 | 0.99435 | -0.28254 | 0 | 0
21 | 0.99904 | -0.025618 | 0 | 0
22 | 0.9941 | -0.28041 | 0 | 0
23 | 0.99405 | -0.28437 | 0 | 0
24 | 0.99434 | -0.28248 | 0.14631 | 0.070862
25 | 0.99402 | -0.27959 | 0.28099 | 0.13609
26 | 0.99356 | -0.2872 | 0 | 0
27 | 0.99393 | -0.28535 | 0.38069 | 0.18438
28 | 0.99353 | -0.28735 | 0.24127 | 0.11685
29 | 0.99398 | -0.27923 | 0 | 0
30 | 0.99391 | -0.28524 | 0 | 0
31 | 0.99378 | -0.28446 | 0 | 0
32 | 0.99374 | -0.2842 | 0.27849 | 0.13488
33 | 0.99372 | -0.28422 | 0 | 0
34 | 0.99363 | -0.28379 | 0 | 0
35 | 0.99398 | -0.27922 | 0.35104 | 0.17002
36 | 0.99361 | -0.28393 | 0.094776 | 0.045902
37 | 0.98362 | -0.55396 | 0.056445 | 0.027338
38 | 0.98362 | -0.55397 | 0 | 0
39 | 1 | 0 | -11.0802 | -5.04
40 | 0.99961 | -0.022339 | 0 | 0
41 | 0.99743 | -0.046478 | 0 | 0
42 | 0.99642 | -0.057603 | 0 | 0
43 | 0.99402 | -0.036206 | 0 | 0
44 | 0.99678 | -0.040779 | 0 | 0
45 | 0.99678 | -0.040729 | 0.089222 | 0.043212
46 | 0.99679 | -0.040857 | 0 | 0
47 | 0.99742 | -0.046431 | 0.13802 | 0.066845
48 | 0.99688 | -0.041547 | 0 | 0
49 | 0.99678 | -0.04077 | 0.18661 | 0.090379
50 | 0.99678 | -0.040699 | 0.20612 | 0.09983
51 | 0.99381 | -0.034259 | 0.25009 | 0.12112
52 | 0.99384 | -0.03809 | 0 | 0
53 | 0.9967 | -0.039906 | 0 | 0
54 | 0.98402 | -0.55632 | 0 | 0
55 | 0.98369 | -0.55426 | 0 | 0
56 | 0.98383 | -0.55505 | 0 | 0
57 | 0.98366 | -0.55404 | 0 | 0
58 | 0.98366 | -0.55411 | 0.17891 | 0.08665
59 | 0.98381 | -0.55518 | 0.28712 | 0.13906
60 | 0.98401 | -0.55622 | 0.15769 | 0.076371
61 | 0.98365 | -0.554 | 0.083918 | 0.040643
62 | 0.98366 | -0.55412 | 0 | 0
63 | 0.99576 | -0.03134 | 0.21523 | 0.10424
64 | 0.99577 | -0.031447 | 0 | 0
65 | 0.99579 | -0.031614 | 0 | 0
66 | 0.99588 | -0.032457 | 0 | 0
67 | 0.99578 | -0.031504 | 0.33907 | 0.16422
68 | 0.99592 | -0.032794 | 0 | 0
69 | 0.99588 | -0.032444 | 0.20594 | 0.099741
70 | 0.99594 | -0.03296 | 0.51187 | 0.24791
71 | 0.99598 | -0.033336 | 0.4611 | 0.22332
72 | 0.99305 | -0.034323 | 0.24503 | 0.11868
73 | 0.99304 | -0.034245 | 0 | 0
74 | 0.9931 | -0.033977 | 0 | 0
75 | 0.99303 | -0.034171 | 0.094749 | 0.045889
76 | 0.99312 | -0.034226 | 0.30748 | 0.14892
77 | 0.99319 | -0.03481 | 0 | 0
78 | 0.99376 | -0.033808 | 0 | 0
79 | 0.99361 | -0.032485 | 0 | 0
80 | 0.99336 | -0.036392 | 0.29836 | 0.1445
81 | 0.99359 | -0.032372 | 0.15949 | 0.077242
82 | 0.99359 | -0.032575 | 0.1417 | 0.06863
83 | 0.99322 | -0.035124 | 0.20815 | 0.10081
84 | 0.99326 | -0.035436 | 0 | 0
85 | 0.99323 | -0.035182 | 0.42961 | 0.20807
86 | 0.99335 | -0.036297 | 0.76284 | 0.36946
87 | 0.99321 | -0.034932 | 0.62127 | 0.30089
88 | 0.99382 | -0.037914 | 0.076421 | 0.037012
89 | 0.99622 | -0.035569 | 0.2722 | 0.13183
90 | 0.99622 | -0.035577 | 0 | 0
91 | 0.99622 | -0.035529 | 0 | 0
92 | 0.99623 | -0.035667 | 0.16096 | 0.077956
93 | 0.99622 | -0.035511 | 0.1414 | 0.068483
94 | 0.99624 | -0.035731 | 0 | 0
95 | 0.99598 | -0.033368 | 0 | 0
96 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.68834 | -0.30503 | 0.68835 | 0.30487 | 4.7462e-06 | -0.00016773 | 0.022066 | 0.022064 | 0.022066 | 0.98496 | -0.57261 | 0.98496 | -0.57266 | 10.0302
1 | 0.28505 | 0.10971 | -0.28478 | -0.11167 | 0.0002636 | -0.0019657 | 0.0089517 | 0.0089743 | 0.0089743 | 0.98496 | -0.57261 | 0.98397 | -0.58356 | 4.2735
2 | 0.16139 | 0.072643 | -0.16138 | -0.078121 | 8.6089e-06 | -0.0054779 | 0.0051871 | 0.005255 | 0.005255 | 0.98496 | -0.57266 | 0.98491 | -0.57223 | 2.3887
3 | -0.84974 | -0.37751 | 0.85043 | 0.36132 | 0.00069644 | -0.016194 | 0.027251 | 0.02706 | 0.027251 | 0.98496 | -0.57266 | 0.98573 | -0.5781 | 12.387
4 | 0.28478 | 0.11167 | -0.28477 | -0.11494 | 1.527e-05 | -0.0032656 | 0.0089743 | 0.0090098 | 0.0090098 | 0.98397 | -0.58356 | 0.98392 | -0.5833 | 4.0954
5 | 0.16138 | 0.078121 | -0.16138 | -0.078159 | 1.6479e-06 | -3.7749e-05 | 0.005255 | 0.0052555 | 0.0052555 | 0.98491 | -0.57223 | 0.9849 | -0.5723 | 2.5026
6 | -0.85043 | -0.36132 | 0.85047 | 0.36037 | 4.0392e-05 | -0.00094706 | 0.02706 | 0.027049 | 0.02706 | 0.98573 | -0.5781 | 0.98578 | -0.5784 | 12.2999
7 | -0.15946 | -0.054284 | 0.15946 | 0.054251 | 1.2737e-06 | -3.303e-05 | 0.0049422 | 0.0049419 | 0.0049422 | 0.98391 | -0.58341 | 0.98392 | -0.5833 | 2.3534
8 | 0.15946 | 0.054284 | -0.15943 | -0.073071 | 2.7555e-05 | -0.018786 | 0.0049422 | 0.0051465 | 0.0051465 | 0.98391 | -0.58341 | 0.98375 | -0.58254 | 2.3393
9 | 0.15943 | 0.073071 | -0.15943 | -0.077215 | 6.4077e-06 | -0.0041439 | 0.0051465 | 0.0051983 | 0.0051983 | 0.98375 | -0.58254 | 0.98371 | -0.58221 | 2.3629
10 | -1.0249 | -0.44486 | 1.0262 | 0.44473 | 0.0013216 | -0.00013415 | 0.032719 | 0.0327 | 0.032719 | 0.98578 | -0.5784 | 0.98738 | -0.53427 | 9.3484
11 | -1.0262 | -0.44473 | 1.0263 | 0.44392 | 1.2567e-05 | -0.00080494 | 0.0327 | 0.032691 | 0.0327 | 0.98738 | -0.53427 | 0.98739 | -0.5341 | 9.0332
12 | 0.76472 | 0.32072 | -0.76468 | -0.32074 | 4.314e-05 | -2.0376e-05 | 0.024313 | 0.024314 | 0.024314 | 0.98458 | -0.55914 | 0.98452 | -0.55971 | 11.5781
13 | -0.9412 | -0.4062 | 0.94374 | 0.40596 | 0.0025348 | -0.00024139 | 0.030056 | 0.030035 | 0.030056 | 0.98458 | -0.55914 | 0.98742 | -0.53373 | 14.3124
14 | 0.76468 | 0.32074 | -0.76427 | -0.33254 | 0.00040889 | -0.011796 | 0.024314 | 0.024451 | 0.024451 | 0.98452 | -0.55971 | 0.98402 | -0.55632 | 11.1142
15 | -2.1331 | -0.92736 | 2.1394 | 0.93276 | 0.0063293 | 0.0054051 | 0.068 | 0.067979 | 0.068 | 0.98742 | -0.53373 | 0.99111 | -0.43263 | 19.4286
16 | 1.1894 | 0.5214 | -1.1893 | -0.5229 | 3.1559e-05 | -0.0014925 | 0.037966 | 0.037984 | 0.037984 | 0.98742 | -0.53373 | 0.98739 | -0.5341 | 10.4927
17 | -2.3074 | -1.0141 | 2.3105 | 1.0203 | 0.0031124 | 0.0061666 | 0.07341 | 0.073384 | 0.07341 | 0.99111 | -0.43263 | 0.99356 | -0.2872 | 11.3814
18 | 4.0887 | 1.764 | -4.0883 | -1.7631 | 0.00036409 | 0.00089548 | 0.1292 | 0.1292 | 0.1292 | 0.99494 | -0.27025 | 0.99478 | -0.27996 | 20.0312
19 | -4.2472 | -1.8408 | 4.2558 | 1.8622 | 0.008644 | 0.0214 | 0.13431 | 0.13428 | 0.13431 | 0.99494 | -0.27025 | 0.99864 | -0.049572 | 20.8226
20 | 4.0883 | 1.7631 | -4.0866 | -1.7825 | 0.0016925 | -0.019403 | 0.1292 | 0.12944 | 0.12944 | 0.99478 | -0.27996 | 0.99435 | -0.28254 | 20.2878
21 | -4.5053 | -1.983 | 4.5063 | 1.9855 | 0.0010002 | 0.0024987 | 0.14229 | 0.14229 | 0.14229 | 0.99864 | -0.049572 | 0.99904 | -0.025618 | 22.0607
22 | 0.63227 | 0.29446 | -0.6321 | -0.30148 | 0.00016458 | -0.0070169 | 0.020249 | 0.020336 | 0.020336 | 0.99435 | -0.28254 | 0.9941 | -0.28041 | 9.2438
23 | 3.308 | 1.418 | -3.3071 | -1.435 | 0.00095058 | -0.01693 | 0.10449 | 0.10469 | 0.10469 | 0.99435 | -0.28254 | 0.99405 | -0.28437 | 16.4092
24 | 0.14631 | 0.070011 | -0.14631 | -0.070862 | 1.0695e-06 | -0.00085061 | 0.004709 | 0.0047197 | 0.0047197 | 0.99435 | -0.28254 | 0.99434 | -0.28248 | 2.1453
25 | -4.5063 | -1.9855 | 4.5088 | 1.9622 | 0.0024554 | -0.023295 | 0.14229 | 0.142 | 0.14229 | 0.99904 | -0.025618 | 0.99961 | -0.022339 | 22.3024
26 | 0.6321 | 0.30148 | -0.63204 | -0.30407 | 6.1222e-05 | -0.0025938 | 0.020336 | 0.020369 | 0.020369 | 0.9941 | -0.28041 | 0.99402 | -0.27959 | 9.2587
27 | 2.553 | 1.1009 | -2.5518 | -1.1371 | 0.0012039 | -0.036217 | 0.080738 | 0.081168 | 0.081168 | 0.99405 | -0.28437 | 0.99356 | -0.2872 | 12.7223
28 | 0.75413 | 0.33412 | -0.75405 | -0.33417 | 8.4492e-05 | -4.4557e-05 | 0.023954 | 0.023955 | 0.023955 | 0.99405 | -0.28437 | 0.99393 | -0.28535 | 11.407
29 | 0.35106 | 0.16798 | -0.35104 | -0.16998 | 1.4503e-05 | -0.0019975 | 0.011302 | 0.011327 | 0.011327 | 0.99402 | -0.27959 | 0.99398 | -0.27923 | 5.1488
30 | 0.24127 | 0.1168 | -0.24127 | -0.11685 | 5.3939e-06 | -5.5432e-05 | 0.0077883 | 0.007789 | 0.007789 | 0.99356 | -0.2872 | 0.99353 | -0.28735 | 3.709
31 | 0.37335 | 0.14979 | -0.37335 | -0.15087 | 8.3585e-06 | -0.0010782 | 0.011684 | 0.011696 | 0.011696 | 0.99393 | -0.28535 | 0.99391 | -0.28524 | 5.3162
32 | 0.35104 | 0.16998 | -0.35104 | -0.17002 | 2.6137e-07 | -3.5907e-05 | 0.011327 | 0.011328 | 0.011328 | 0.99398 | -0.27923 | 0.99398 | -0.27922 | 5.149
33 | 0.37335 | 0.15087 | -0.37329 | -0.15742 | 5.1171e-05 | -0.0065528 | 0.011696 | 0.011768 | 0.011768 | 0.99391 | -0.28524 | 0.99378 | -0.28446 | 5.3492
34 | 0.37329 | 0.15742 | -0.37328 | -0.15938 | 1.5417e-05 | -0.0019579 | 0.011768 | 0.011791 | 0.011791 | 0.99378 | -0.28446 | 0.99374 | -0.2842 | 5.3594
35 | 0.094788 | 0.0245 | -0.094787 | -0.0273 | 1.2919e-06 | -0.0027997 | 0.002844 | 0.0028655 | 0.0028655 | 0.99374 | -0.2842 | 0.99372 | -0.28422 | 1.3025
36 | 0.094787 | 0.0273 | -0.094778 | -0.045767 | 9.1083e-06 | -0.018467 | 0.0028655 | 0.0030578 | 0.0030578 | 0.99372 | -0.28422 | 0.99363 | -0.28379 | 1.3899
37 | 0.094778 | 0.045767 | -0.094776 | -0.045902 | 1.9224e-06 | -0.00013473 | 0.0030578 | 0.0030595 | 0.0030595 | 0.99363 | -0.28379 | 0.99361 | -0.28393 | 1.4569
38 | -0.056445 | -0.027338 | 0.056445 | 0.027173 | 3.2162e-08 | -0.0001644 | 0.0018406 | 0.0018385 | 0.0018406 | 0.98362 | -0.55396 | 0.98362 | -0.55397 | 0.83665
39 | -0.056445 | -0.027173 | 0.056447 | 0.014405 | 2.2995e-06 | -0.012768 | 0.0018385 | 0.0017097 | 0.0018385 | 0.98362 | -0.55397 | 0.98366 | -0.55412 | 0.83569
40 | 11.0662 | 5.0295 | -11.0639 | -5.0234 | 0.0023287 | 0.006189 | 0.3509 | 0.3509 | 0.3509 | 1 | 0 | 0.99961 | -0.022339 | 54.4034
41 | 6.5552 | 3.0611 | -6.5421 | -3.0728 | 0.013021 | -0.011636 | 0.20893 | 0.20919 | 0.20919 | 0.99961 | -0.022339 | 0.99743 | -0.046478 | 57.7864
42 | 0.13802 | 0.06616 | -0.13802 | -0.066845 | 7.5768e-07 | -0.00068547 | 0.0044298 | 0.0044384 | 0.0044384 | 0.99743 | -0.046478 | 0.99742 | -0.046431 | 2.0174
43 | 2.7937 | 1.321 | -2.792 | -1.3242 | 0.001663 | -0.0032017 | 0.089439 | 0.089485 | 0.089485 | 0.99743 | -0.046478 | 0.99688 | -0.041547 | 40.6748
44 | 3.6104 | 1.6856 | -3.6071 | -1.7008 | 0.00332 | -0.015178 | 0.11532 | 0.11554 | 0.11554 | 0.99743 | -0.046478 | 0.99642 | -0.057603 | 31.9159
45 | 3.6071 | 1.7008 | -3.5978 | -1.7104 | 0.0093139 | -0.009581 | 0.11554 | 0.11569 | 0.11569 | 0.99642 | -0.057603 | 0.99402 | -0.036206 | 52.5858
46 | 3.5213 | 1.6804 | -3.5205 | -1.6813 | 0.00081248 | -0.00087688 | 0.11331 | 0.11332 | 0.11332 | 0.99402 | -0.036206 | 0.99381 | -0.034259 | 51.5112
47 | 0.076436 | 0.029938 | -0.076423 | -0.031432 | 1.2978e-05 | -0.0014933 | 0.002384 | 0.0024002 | 0.0024002 | 0.99402 | -0.036206 | 0.99384 | -0.03809 | 1.143
48 | 0.089223 | 0.042075 | -0.089222 | -0.043212 | 5.2511e-07 | -0.0011375 | 0.0028568 | 0.0028711 | 0.0028711 | 0.99678 | -0.040779 | 0.99678 | -0.040729 | 1.305
49 | -0.089223 | -0.042075 | 0.089224 | 0.040099 | 8.9981e-07 | -0.0019756 | 0.0028568 | 0.0028329 | 0.0028568 | 0.99678 | -0.040779 | 0.99679 | -0.040857 | 1.2986
50 | -0.27584 | -0.12954 | 0.27586 | 0.12386 | 2.4736e-05 | -0.0056814 | 0.0088254 | 0.0087566 | 0.0088254 | 0.99679 | -0.040857 | 0.99688 | -0.041547 | 4.0115
51 | 0.18661 | 0.089442 | -0.18661 | -0.090379 | 1.8992e-06 | -0.00093725 | 0.005993 | 0.0060048 | 0.0060048 | 0.99679 | -0.040857 | 0.99678 | -0.04077 | 2.7295
52 | 2.5162 | 1.2004 | -2.5159 | -1.201 | 0.00025344 | -0.00061584 | 0.08073 | 0.080739 | 0.080739 | 0.99688 | -0.041547 | 0.99678 | -0.040699 | 36.6994
53 | 2.3098 | 1.1012 | -2.3096 | -1.1018 | 0.00021743 | -0.00063892 | 0.074106 | 0.074115 | 0.074115 | 0.99678 | -0.040699 | 0.9967 | -0.039906 | 33.6886
54 | 3.2704 | 1.5602 | -3.2703 | -1.5604 | 0.00017528 | -0.00022747 | 0.10525 | 0.10526 | 0.10526 | 0.99381 | -0.034259 | 0.99376 | -0.033808 | 47.8441
55 | 0.076423 | 0.031432 | -0.076421 | -0.037012 | 1.8691e-06 | -0.0055808 | 0.0024002 | 0.0024664 | 0.0024664 | 0.99384 | -0.03809 | 0.99382 | -0.037914 | 1.1211
56 | 2.3096 | 1.1018 | -2.3084 | -1.1051 | 0.0011403 | -0.003346 | 0.074115 | 0.074161 | 0.074161 | 0.9967 | -0.039906 | 0.99624 | -0.035731 | 33.7095
57 | 0.15769 | 0.075121 | -0.15769 | -0.076371 | 1.9024e-06 | -0.0012503 | 0.0051241 | 0.00514 | 0.00514 | 0.98402 | -0.55632 | 0.98401 | -0.55622 | 2.3364
58 | 0.60658 | 0.25742 | -0.60646 | -0.26296 | 0.00012084 | -0.0055445 | 0.019331 | 0.019395 | 0.019395 | 0.98402 | -0.55632 | 0.98383 | -0.55505 | 8.8161
59 | -0.31928 | -0.13221 | 0.31933 | 0.12394 | 4.878e-05 | -0.0082696 | 0.010141 | 0.010051 | 0.010141 | 0.98369 | -0.55426 | 0.98383 | -0.55505 | 4.6097
60 | 0.083921 | 0.033229 | -0.083918 | -0.039789 | 2.7347e-06 | -0.0065602 | 0.0026488 | 0.0027256 | 0.0027256 | 0.98369 | -0.55426 | 0.98366 | -0.55404 | 1.2389
61 | 0.23536 | 0.098985 | -0.23536 | -0.10067 | 5.4816e-06 | -0.0016836 | 0.007493 | 0.0075123 | 0.0075123 | 0.98369 | -0.55426 | 0.98366 | -0.55411 | 3.4147
62 | 0.28712 | 0.13902 | -0.28712 | -0.13906 | 5.7831e-06 | -3.9181e-05 | 0.0093604 | 0.0093609 | 0.0093609 | 0.98383 | -0.55505 | 0.98381 | -0.55518 | 4.4576
63 | 0.083918 | 0.039789 | -0.083918 | -0.040643 | 3.6829e-07 | -0.00085442 | 0.0027256 | 0.0027364 | 0.0027364 | 0.98366 | -0.55404 | 0.98365 | -0.554 | 1.2438
64 | 0.056447 | 0.014018 | -0.056447 | -0.014405 | 6.5307e-08 | -0.00038727 | 0.0017069 | 0.0017097 | 0.0017097 | 0.98366 | -0.55411 | 0.98366 | -0.55412 | 0.77712
65 | -0.21523 | -0.10424 | 0.21524 | 0.10326 | 2.6718e-06 | -0.00098671 | 0.006933 | 0.0069206 | 0.006933 | 0.99576 | -0.03134 | 0.99577 | -0.031447 | 3.1514
66 | -0.21524 | -0.10326 | 0.21524 | 0.10166 | 4.3031e-06 | -0.0015967 | 0.0069206 | 0.0069007 | 0.0069206 | 0.99577 | -0.031447 | 0.99579 | -0.031614 | 3.1457
67 | -0.55432 | -0.26524 | 0.55437 | 0.26213 | 5.582e-05 | -0.00311 | 0.017814 | 0.017775 | 0.017814 | 0.99579 | -0.031614 | 0.99588 | -0.032457 | 8.0974
68 | 0.33908 | 0.16358 | -0.33907 | -0.16422 | 4.321e-06 | -0.00064159 | 0.010914 | 0.010922 | 0.010922 | 0.99579 | -0.031614 | 0.99578 | -0.031504 | 4.9645
69 | -0.76031 | -0.36175 | 0.76034 | 0.36084 | 3.0694e-05 | -0.00090535 | 0.024407 | 0.024395 | 0.024407 | 0.99588 | -0.032457 | 0.99592 | -0.032794 | 11.0939
70 | 0.20594 | 0.09962 | -0.20594 | -0.099741 | 3.0064e-07 | -0.00012115 | 0.0066313 | 0.0066329 | 0.0066329 | 0.99588 | -0.032457 | 0.99588 | -0.032444 | 3.0149
71 | -0.76034 | -0.36084 | 0.76036 | 0.36039 | 1.5248e-05 | -0.00045008 | 0.024395 | 0.02439 | 0.024395 | 0.99592 | -0.032794 | 0.99594 | -0.03296 | 11.0887
72 | -1.2722 | -0.6083 | 1.2723 | 0.60772 | 5.6504e-05 | -0.00058333 | 0.040874 | 0.040867 | 0.040874 | 0.99594 | -0.03296 | 0.99598 | -0.033336 | 18.5793
73 | -1.7334 | -0.83104 | 1.7334 | 0.83101 | 6.5582e-06 | -3.5536e-05 | 0.055716 | 0.055716 | 0.055716 | 0.99598 | -0.033336 | 0.99598 | -0.033368 | 25.3256
74 | 0.094751 | 0.04245 | -0.09475 | -0.044315 | 9.7065e-07 | -0.0018652 | 0.0030182 | 0.0030407 | 0.0030407 | 0.99305 | -0.034323 | 0.99304 | -0.034245 | 1.3822
75 | -0.33978 | -0.16113 | 0.3398 | 0.16104 | 1.6511e-05 | -8.0964e-05 | 0.010932 | 0.010931 | 0.010932 | 0.99305 | -0.034323 | 0.9931 | -0.033977 | 5.2056
76 | 0.09475 | 0.044315 | -0.094749 | -0.045889 | 8.3049e-07 | -0.0015737 | 0.0030407 | 0.0030604 | 0.0030604 | 0.99304 | -0.034245 | 0.99303 | -0.034171 | 1.3911
77 | -0.3398 | -0.16104 | 0.33981 | 0.15952 | 1.0304e-05 | -0.0015208 | 0.010931 | 0.010912 | 0.010931 | 0.9931 | -0.033977 | 0.99312 | -0.034226 | 4.9684
78 | -0.64729 | -0.30844 | 0.64734 | 0.30661 | 4.5384e-05 | -0.0018317 | 0.020842 | 0.020819 | 0.020842 | 0.99312 | -0.034226 | 0.99319 | -0.03481 | 9.4736
79 | -0.64734 | -0.30661 | 0.64736 | 0.30562 | 2.4597e-05 | -0.0009945 | 0.020819 | 0.020807 | 0.020819 | 0.99319 | -0.03481 | 0.99322 | -0.035124 | 9.4632
80 | 0.30124 | 0.1348 | -0.30119 | -0.1444 | 5.0643e-05 | -0.0095992 | 0.0095869 | 0.0097044 | 0.0097044 | 0.99376 | -0.033808 | 0.99361 | -0.032485 | 4.4111
81 | 2.969 | 1.4256 | -2.9679 | -1.425 | 0.0011267 | 0.00062433 | 0.095673 | 0.095674 | 0.095674 | 0.99376 | -0.033808 | 0.99336 | -0.036392 | 45.5591
82 | 0.15949 | 0.075833 | -0.15949 | -0.077242 | 2.1096e-06 | -0.0014095 | 0.0051307 | 0.0051485 | 0.0051485 | 0.99361 | -0.032485 | 0.99359 | -0.032372 | 2.3402
83 | 0.1417 | 0.06857 | -0.1417 | -0.06863 | 1.9302e-06 | -5.9819e-05 | 0.0045737 | 0.0045744 | 0.0045744 | 0.99361 | -0.032485 | 0.99359 | -0.032575 | 2.1783
84 | 2.6695 | 1.2805 | -2.6695 | -1.2805 | 2.9952e-05 | -6.2517e-05 | 0.08604 | 0.086041 | 0.086041 | 0.99336 | -0.036392 | 0.99335 | -0.036297 | 39.1096
85 | -0.85551 | -0.40643 | 0.85554 | 0.40569 | 3.2082e-05 | -0.00073769 | 0.027528 | 0.027519 | 0.027528 | 0.99322 | -0.035124 | 0.99326 | -0.035436 | 12.5128
86 | 0.6213 | 0.29932 | -0.62127 | -0.30089 | 3.6165e-05 | -0.001576 | 0.020043 | 0.020063 | 0.020063 | 0.99326 | -0.035436 | 0.99321 | -0.034932 | 9.1198
87 | 0.42962 | 0.20691 | -0.42961 | -0.20807 | 1.2635e-05 | -0.0011557 | 0.013859 | 0.013874 | 0.013874 | 0.99326 | -0.035436 | 0.99323 | -0.035182 | 6.3061
88 | -1.9065 | -0.91192 | 1.9067 | 0.91107 | 0.00019385 | -0.00084939 | 0.061421 | 0.06141 | 0.061421 | 0.99326 | -0.035436 | 0.99335 | -0.036297 | 27.9186
89 | -0.4136 | -0.19949 | 0.4136 | 0.19945 | 3.4268e-07 | -3.4253e-05 | 0.013306 | 0.013306 | 0.013306 | 0.99622 | -0.035569 | 0.99622 | -0.035577 | 6.0482
90 | 0.1414 | 0.067652 | -0.1414 | -0.068225 | 6.6681e-07 | -0.00057257 | 0.0045422 | 0.0045494 | 0.0045494 | 0.99622 | -0.035569 | 0.99622 | -0.035529 | 2.0679
91 | -0.4136 | -0.19945 | 0.41361 | 0.19902 | 4.3273e-06 | -0.00043274 | 0.013306 | 0.0133 | 0.013306 | 0.99622 | -0.035577 | 0.99623 | -0.035667 | 6.048
92 | 0.1414 | 0.068225 | -0.1414 | -0.068483 | 3.0151e-07 | -0.0002583 | 0.0045494 | 0.0045526 | 0.0045526 | 0.99622 | -0.035529 | 0.99622 | -0.035511 | 2.0694
93 | -0.57456 | -0.27697 | 0.57457 | 0.27675 | 4.2999e-06 | -0.00022219 | 0.018482 | 0.01848 | 0.018482 | 0.99623 | -0.035667 | 0.99624 | -0.035731 | 8.4011
94 | 1.7339 | 0.82839 | -1.7334 | -0.83101 | 0.00048299 | -0.0026195 | 0.055681 | 0.055716 | 0.055716 | 0.99624 | -0.035731 | 0.99598 | -0.033368 | 25.3254

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.421 | 5.2051

## res_load
| p_mw | q_mvar
0 | 0.4033 | 0.19533
1 | 0.12531 | 0.060688
2 | 0.16138 | 0.078159
3 | 0.17445 | 0.084492
4 | 0.15943 | 0.077215
5 | 0.17648 | 0.085474
6 | 0.16306 | 0.078975
7 | 0.16795 | 0.081342
8 | 0.15852 | 0.076773
9 | 0.24946 | 0.12082
10 | 0.14631 | 0.070862
11 | 0.28099 | 0.13609
12 | 0.38069 | 0.18438
13 | 0.24127 | 0.11685
14 | 0.27849 | 0.13488
15 | 0.35104 | 0.17002
16 | 0.094776 | 0.045902
17 | 0.056445 | 0.027338
18 | 0.34076 | 0.16504
19 | 0.089222 | 0.043212
20 | 0.13802 | 0.066845
21 | 0.18661 | 0.090379
22 | 0.20612 | 0.09983
23 | 0.25009 | 0.12112
24 | 0.17891 | 0.08665
25 | 0.28712 | 0.13906
26 | 0.15769 | 0.076371
27 | 0.083918 | 0.040643
28 | 0.21523 | 0.10424
29 | 0.33907 | 0.16422
30 | 0.20594 | 0.099741
31 | 0.51187 | 0.24791
32 | 0.4611 | 0.22332
33 | 0.24503 | 0.11868
34 | 0.094749 | 0.045889
35 | 0.30748 | 0.14892
36 | 0.29836 | 0.1445
37 | 0.15949 | 0.077242
38 | 0.1417 | 0.06863
39 | 0.20815 | 0.10081
40 | 0.42961 | 0.20807
41 | 0.76284 | 0.36946
42 | 0.62127 | 0.30089
43 | 0.076421 | 0.037012
44 | 0.2722 | 0.13183
45 | 0.16096 | 0.077956
46 | 0.1414 | 0.068483

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1