## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_437_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_437_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_437_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_437_0_node_3 | 20 | n |  | TRUE
4 | bus_MV_437_0_node_4 | 20 | n |  | TRUE
5 | bus_MV_437_0_node_7 | 20 | n |  | TRUE
6 | bus_MV_437_0_node_9 | 20 | n |  | TRUE
7 | bus_MV_437_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_437_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_437_0_node_10 | 20 | n |  | TRUE
10 | bus_MV_437_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_437_0_node_12 | 20 | n |  | TRUE
12 | bus_MV_437_0_node_11 | 20 | n |  | TRUE
13 | bus_MV_437_0_node_145 | 20 | n |  | TRUE
14 | bus_MV_437_0_node_14 | 20 | n |  | TRUE
15 | bus_MV_437_0_node_15 | 20 | n |  | TRUE
16 | bus_MV_437_0_node_16 | 20 | n |  | TRUE
17 | bus_MV_437_0_node_17 | 20 | n |  | TRUE
18 | bus_MV_437_0_node_154 | 20 | n |  | TRUE
19 | bus_MV_437_0_node_47 | 20 | n |  | TRUE
20 | bus_MV_437_0_node_48 | 20 | n |  | TRUE
21 | bus_MV_437_0_node_139 | 20 | n |  | TRUE
22 | bus_MV_437_0_node_42 | 20 | n |  | TRUE
23 | bus_MV_437_0_node_23 | 20 | n |  | TRUE
24 | bus_MV_437_0_node_24 | 20 | n |  | TRUE
25 | bus_MV_437_0_node_25 | 20 | n |  | TRUE
26 | bus_MV_437_0_node_29 | 20 | n |  | TRUE
27 | bus_MV_437_0_node_109 | 20 | n |  | TRUE
28 | bus_MV_437_0_node_26 | 20 | n |  | TRUE
29 | bus_MV_437_0_node_79 | 20 | n |  | TRUE
30 | bus_MV_437_0_node_28 | 20 | n |  | TRUE
31 | bus_MV_437_0_node_27 | 20 | n |  | TRUE
32 | bus_MV_437_0_node_31 | 20 | n |  | TRUE
33 | bus_MV_437_0_node_30 | 20 | n |  | TRUE
34 | bus_MV_437_0_node_155 | 20 | n |  | TRUE
35 | bus_MV_437_0_node_142 | 20 | n |  | TRUE
36 | bus_MV_437_0_node_32 | 20 | n |  | TRUE
37 | bus_MV_437_0_node_33 | 20 | n |  | TRUE
38 | bus_MV_437_0_node_34 | 20 | n |  | TRUE
39 | bus_MV_437_0_node_35 | 20 | n |  | TRUE
40 | bus_MV_437_0_node_149 | 20 | n |  | TRUE
41 | bus_MV_437_0_node_39 | 20 | n |  | TRUE
42 | bus_MV_437_0_node_61 | 20 | n |  | TRUE
43 | bus_MV_437_0_node_36 | 20 | n |  | TRUE
44 | bus_MV_437_0_node_37 | 20 | n |  | TRUE
45 | bus_MV_437_0_node_148 | 20 | n |  | TRUE
46 | bus_MV_437_0_node_81 | 20 | n |  | TRUE
47 | bus_MV_437_0_node_146 | 20 | n |  | TRUE
48 | bus_MV_437_0_node_38 | 20 | n |  | TRUE
49 | bus_MV_437_0_node_96 | 20 | n |  | TRUE
50 | bus_MV_437_0_node_41 | 20 | n |  | TRUE
51 | bus_MV_437_0_node_40 | 20 | n |  | TRUE
52 | bus_MV_437_0_node_110 | 20 | n |  | TRUE
53 | bus_MV_437_0_node_138 | 20 | n |  | TRUE
54 | bus_MV_437_0_node_44 | 20 | n |  | TRUE
55 | bus_MV_437_0_node_136 | 20 | n |  | TRUE
56 | bus_MV_437_0_node_43 | 20 | n |  | TRUE
57 | bus_MV_437_0_node_150 | 20 | n |  | TRUE
58 | bus_MV_437_0_node_112 | 20 | n |  | TRUE
59 | bus_MV_437_0_node_107 | 20 | n |  | TRUE
60 | bus_MV_437_0_node_62 | 20 | n |  | TRUE
61 | bus_MV_437_0_node_63 | 20 | n |  | TRUE
62 | bus_MV_437_0_node_104 | 20 | n |  | TRUE
63 | bus_MV_437_0_node_105 | 20 | n |  | TRUE
64 | bus_MV_437_0_node_106 | 20 | n |  | TRUE
65 | bus_MV_437_0_node_80 | 20 | n |  | TRUE
66 | bus_MV_437_0_node_53 | 20 | n |  | TRUE
67 | bus_MV_437_0_node_111 | 20 | n |  | TRUE
68 | bus_MV_437_0_node_45 | 20 | n |  | TRUE
69 | bus_MV_437_0_node_46 | 20 | n |  | TRUE
70 | bus_MV_437_0_node_83 | 20 | n |  | TRUE
71 | bus_MV_437_0_node_60 | 20 | n |  | TRUE
72 | bus_MV_437_0_node_49 | 20 | n |  | TRUE
73 | bus_MV_437_0_node_82 | 20 | n |  | TRUE
74 | bus_MV_437_0_node_153 | 20 | n |  | TRUE
75 | bus_MV_437_0_node_50 | 20 | n |  | TRUE
76 | bus_MV_437_0_node_51 | 20 | n |  | TRUE
77 | bus_MV_437_0_node_52 | 20 | n |  | TRUE
78 | bus_MV_437_0_node_144 | 20 | n |  | TRUE
79 | bus_MV_437_0_node_94 | 20 | n |  | TRUE
80 | bus_MV_437_0_node_54 | 20 | n |  | TRUE
81 | bus_MV_437_0_node_55 | 20 | n |  | TRUE
82 | bus_MV_437_0_node_56 | 20 | n |  | TRUE
83 | bus_MV_437_0_node_59 | 20 | n |  | TRUE
84 | bus_MV_437_0_node_140 | 20 | n |  | TRUE
85 | bus_HV_437_0_node_48 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_437_0_load_0 | 0 | 0.34813 | 0.1686 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_437_0_load_7 | 5 | 0.35098 | 0.16999 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_437_0_load_10 | 9 | 0.33689 | 0.16316 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_437_0_load_13 | 10 | 0.23429 | 0.11347 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_437_0_load_11 | 12 | 0.13976 | 0.067691 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_437_0_load_145 | 13 | 0.16551 | 0.080158 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_437_0_load_14 | 14 | 0.1667 | 0.080735 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_437_0_load_17 | 17 | 0.090113 | 0.043644 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_437_0_load_154 | 18 | 0.32562 | 0.1577 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_437_0_load_139 | 21 | 0.33189 | 0.16074 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_437_0_load_23 | 23 | 0.25834 | 0.12512 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_437_0_load_109 | 27 | 2.3778 | 1.1516 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_437_0_load_26 | 28 | 0.27926 | 0.13525 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_437_0_load_79 | 29 | 0.28259 | 0.13687 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_437_0_load_27 | 31 | 0.089656 | 0.043422 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_437_0_load_155 | 34 | 0.27357 | 0.13249 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_437_0_load_142 | 35 | 0.25103 | 0.12158 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_437_0_load_32 | 36 | 0.25396 | 0.123 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_437_0_load_149 | 40 | 0.069378 | 0.033601 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_437_0_load_61 | 42 | 0.25187 | 0.12199 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_437_0_load_148 | 45 | 0.32845 | 0.15907 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_437_0_load_146 | 47 | 0.19413 | 0.094022 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_437_0_load_96 | 49 | 0.39138 | 0.18955 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_437_0_load_110 | 52 | 0.070601 | 0.034194 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_437_0_load_138 | 53 | 0.10064 | 0.048742 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_437_0_load_136 | 55 | 0.06863 | 0.033239 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_437_0_load_150 | 57 | 0.099715 | 0.048294 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_437_0_load_107 | 59 | 0.08021 | 0.038848 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_437_0_load_104 | 62 | 0.17699 | 0.085721 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_437_0_load_111 | 67 | 0.15154 | 0.073392 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_437_0_load_45 | 68 | 0.16382 | 0.079339 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_437_0_load_83 | 70 | 0.28586 | 0.13845 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_437_0_load_82 | 73 | 0.40487 | 0.19609 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_437_0_load_153 | 74 | 0.71798 | 0.34773 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_437_0_load_50 | 75 | 0.22966 | 0.11123 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_437_0_load_144 | 78 | 0.14974 | 0.072523 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_437_0_load_94 | 79 | 0.36666 | 0.17758 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_437_0_load_54 | 80 | 0.25256 | 0.12232 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_437_0_load_140 | 84 | 0.28226 | 0.13671 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_437_0_line_0 |  | 0 | 1 | 0.043149 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_437_0_line_1 |  | 1 | 2 | 0.31686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_437_0_line_2 |  | 1 | 3 | 0.71951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_437_0_line_3 |  | 1 | 4 | 0.43314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_437_0_line_4 |  | 2 | 5 | 0.048186 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_437_0_line_5 |  | 2 | 6 | 0.37671 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_437_0_line_6 |  | 3 | 7 | 0.5654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_437_0_line_7 |  | 3 | 8 | 0.61804 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_437_0_line_8 |  | 3 | 9 | 0.002993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_437_0_line_9 |  | 4 | 10 | 0.024977 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_437_0_line_10 |  | 6 | 14 | 0.043045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_437_0_line_11 |  | 7 | 11 | 1.411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_437_0_line_12 |  | 7 | 12 | 0.12186 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_437_0_line_13 |  | 8 | 13 | 0.038557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_437_0_line_14 |  | 11 | 18 | 0.034144 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_437_0_line_15 |  | 14 | 15 | 0.064707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_437_0_line_16 |  | 15 | 16 | 0.92088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_437_0_line_17 |  | 16 | 17 | 0.077493 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_437_0_line_18 |  | 18 | 19 | 0.071694 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_437_0_line_19 |  | 18 | 20 | 0.46387 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_437_0_line_20 |  | 19 | 69 | 0.79518 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_437_0_line_21 |  | 20 | 72 | 0.53185 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_437_0_line_22 |  | 20 | 73 | 0.0822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_437_0_line_23 |  | 21 | 22 | 0.022399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_437_0_line_24 |  | 22 | 56 | 0.31076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_437_0_line_25 |  | 22 | 41 | 0.30606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_437_0_line_26 |  | 23 | 24 | 0.005802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_437_0_line_27 |  | 24 | 25 | 0.17205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_437_0_line_28 |  | 25 | 26 | 0.038333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_437_0_line_29 |  | 25 | 27 | 0.076294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_437_0_line_30 |  | 26 | 28 | 0.041646 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_437_0_line_31 |  | 27 | 29 | 0.12371 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_437_0_line_32 |  | 28 | 30 | 0.025979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_437_0_line_33 |  | 28 | 31 | 0.045612 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_437_0_line_34 |  | 29 | 65 | 0.036616 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
35 | MV_437_0_line_35 |  | 30 | 32 | 0.66651 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_437_0_line_36 |  | 32 | 35 | 0.014515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_437_0_line_37 |  | 32 | 33 | 0.64732 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_437_0_line_38 |  | 33 | 34 | 0.008378 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_437_0_line_39 |  | 36 | 37 | 0.047861 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_437_0_line_40 |  | 37 | 38 | 0.21155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_437_0_line_41 |  | 37 | 39 | 0.19538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_437_0_line_42 |  | 38 | 40 | 0.070581 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_437_0_line_43 |  | 39 | 41 | 0.20233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_437_0_line_44 |  | 39 | 42 | 0.013568 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_437_0_line_45 |  | 41 | 50 | 0.13442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_437_0_line_46 |  | 41 | 51 | 0.35033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_437_0_line_47 |  | 41 | 52 | 0.0048286 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_437_0_line_48 |  | 42 | 60 | 0.009594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_437_0_line_49 |  | 43 | 44 | 0.34964 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
50 | MV_437_0_line_50 |  | 43 | 45 | 0.040629 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_437_0_line_51 |  | 43 | 46 | 0.052702 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
52 | MV_437_0_line_52 |  | 44 | 47 | 0.025552 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_437_0_line_53 |  | 44 | 48 | 0.15959 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_437_0_line_54 |  | 45 | 64 | 0.031791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_437_0_line_55 |  | 46 | 65 | 0.83061 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_437_0_line_56 |  | 47 | 66 | 0.027535 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_437_0_line_57 |  | 48 | 49 | 0.03997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_437_0_line_58 |  | 50 | 55 | 0.013565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_437_0_line_59 |  | 51 | 53 | 0.023237 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_437_0_line_60 |  | 51 | 54 | 0.08649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_437_0_line_61 |  | 54 | 59 | 0.018771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_437_0_line_62 |  | 56 | 57 | 0.01321 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_437_0_line_63 |  | 56 | 58 | 0.10367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_437_0_line_64 |  | 58 | 67 | 0.066608 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_437_0_line_65 |  | 60 | 61 | 0.29158 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_437_0_line_66 |  | 61 | 79 | 0.022032 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_437_0_line_67 |  | 61 | 66 | 0.1726 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_437_0_line_68 |  | 62 | 63 | 0.042968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_437_0_line_69 |  | 63 | 64 | 0.10547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_437_0_line_70 |  | 66 | 77 | 0.23044 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
71 | MV_437_0_line_71 |  | 68 | 69 | 0.003722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_437_0_line_72 |  | 69 | 70 | 0.2476 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_437_0_line_73 |  | 70 | 71 | 0.15037 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_437_0_line_74 |  | 71 | 82 | 0.46916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_437_0_line_75 |  | 72 | 74 | 0.030458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_437_0_line_76 |  | 72 | 75 | 0.23323 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
77 | MV_437_0_line_77 |  | 75 | 76 | 0.036927 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
78 | MV_437_0_line_78 |  | 76 | 77 | 0.50367 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
79 | MV_437_0_line_79 |  | 77 | 78 | 0.03349 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_437_0_line_80 |  | 80 | 81 | 0.005085 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_437_0_line_81 |  | 80 | 82 | 0.005874 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_437_0_line_82 |  | 81 | 83 | 0.29618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_437_0_line_83 |  | 83 | 84 | 0.040084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_437_0_trafo_48 | 25 MVA 110/20 kV | 85 | 20 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2743134.381 | 1272071.6547
1 | 2743094.6191 | 1272088.686
2 | 2742842.3037 | 1272170.3929
3 | 2743389.5977 | 1272116.1574
4 | 2743042.7725 | 1271862.058
5 | 2742861.4753 | 1272214.601
6 | 2742603.5435 | 1272461.7815
7 | 2743583.5502 | 1271723.1079
8 | 2743409.3462 | 1271733.3966
9 | 2743386.9521 | 1272117.5724
10 | 2743066.855 | 1271855.1789
11 | 2744652.3794 | 1271017.8677
12 | 2743580.4642 | 1271601.2882
13 | 2743427.2236 | 1271767.5874
14 | 2742624.4257 | 1272499.0677
15 | 2742645.6947 | 1272559.8647
16 | 2741994.6832 | 1272911.9939
17 | 2742036.4725 | 1272977.2533
18 | 2744680.9961 | 1270999.1164
19 | 2744738.0002 | 1270955.6359
20 | 2745140.78 | 1270937.6457
21 | 2745947.8504 | 1269969.6543
22 | 2745964.9716 | 1269984.1586
23 | 2745818.027 | 1270462.4235
24 | 2745812.4393 | 1270464.0428
25 | 2745787.1795 | 1270615.6947
26 | 2745823.6264 | 1270603.4932
27 | 2745804.2244 | 1270689.8208
28 | 2745863.2233 | 1270590.2352
29 | 2745753.2388 | 1270802.5349
30 | 2745887.9214 | 1270581.959
31 | 2745877.6597 | 1270633.5021
32 | 2746157.5273 | 1270497.605
33 | 2746061.0263 | 1270739.0957
34 | 2746067.0694 | 1270744.9177
35 | 2746151.6765 | 1270484.3135
36 | 2745942.3105 | 1270266.1167
37 | 2745894.7378 | 1270260.8696
38 | 2745753.0443 | 1270260.3269
39 | 2745906.7965 | 1270081.8645
40 | 2745802.2759 | 1270273.9889
41 | 2746022.8681 | 1270118.069
42 | 2745893.6865 | 1270078.3705
43 | 2745532.883 | 1270395.3239
44 | 2745618.9 | 1270159.7617
45 | 2745492.2558 | 1270395.7013
46 | 2745520.8535 | 1270446.6349
47 | 2745593.3356 | 1270157.9408
48 | 2745726.9941 | 1270143.4552
49 | 2745758.253 | 1270168.2951
50 | 2745958.606 | 1270171.8352
51 | 2746106.5491 | 1270368.8248
52 | 2746027.6922 | 1270118.2756
53 | 2746111.4743 | 1270391.5362
54 | 2746150.5156 | 1270396.2401
55 | 2745972.1595 | 1270172.3977
56 | 2746111.9974 | 1269994.9151
57 | 2746111.6103 | 1270008.1189
58 | 2746186.4737 | 1269970.2104
59 | 2746169.2773 | 1270396.8452
60 | 2745884.4074 | 1270075.8277
61 | 2745658.1715 | 1269970.072
62 | 2745391.846 | 1270383.2499
63 | 2745405.8517 | 1270342.7315
64 | 2745467.6518 | 1270377.8663
65 | 2745764.7999 | 1270837.2775
66 | 2745594.5466 | 1270130.5208
67 | 2746195.765 | 1269905.8102
68 | 2744893.359 | 1270482.2792
69 | 2744894.006 | 1270478.6137
70 | 2744663.9196 | 1270387.1491
71 | 2744712.0575 | 1270244.6961
72 | 2745006.4232 | 1270616.867
73 | 2745190.023 | 1271003.578
74 | 2744976.0228 | 1270619.8682
75 | 2745148.7365 | 1270432.0872
76 | 2745158.7134 | 1270397.0748
77 | 2745421.5942 | 1270075.3274
78 | 2745442.0333 | 1270101.8573
79 | 2745641.6822 | 1269963.1807
80 | 2745038.0392 | 1270222.3015
81 | 2745033.453 | 1270224.5245
82 | 2745042.1266 | 1270225.9833
83 | 2745099.0773 | 1270051.8957
84 | 2745139.2279 | 1270049.8688
85 | 2745140.78 | 1270937.6457

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99157 | 0.014492 | 0.34813 | 0.1686
1 | 0.99159 | 0.014311 | 0 | 0
2 | 0.99134 | 0.016071 | 0 | 0
3 | 0.99267 | 0.0063411 | 0 | 0
4 | 0.99146 | 0.015387 | 0 | 0
5 | 0.99131 | 0.015863 | 0.35098 | 0.16999
6 | 0.99116 | 0.014084 | 0 | 0
7 | 0.99389 | -0.0022327 | 0 | 0
8 | 0.99254 | 0.0072562 | 0 | 0
9 | 0.99267 | 0.0063533 | 0.33689 | 0.16316
10 | 0.99145 | 0.015457 | 0.23429 | 0.11347
11 | 0.99715 | -0.023786 | 0 | 0
12 | 0.99385 | -0.0024418 | 0.13976 | 0.067691
13 | 0.99254 | 0.0073326 | 0.16551 | 0.080158
14 | 0.99115 | 0.014152 | 0.1667 | 0.080735
15 | 0.99114 | 0.014129 | 0 | 0
16 | 0.99104 | 0.014489 | 0 | 0
17 | 0.99103 | 0.014403 | 0.090113 | 0.043644
18 | 0.99723 | -0.024268 | 0.32562 | 0.1577
19 | 0.9971 | -0.025366 | 0 | 0
20 | 1 | 0 | -11.4693 | -5.1724
21 | 0.99413 | -0.075401 | 0.33189 | 0.16074
22 | 0.99414 | -0.07549 | 0 | 0
23 | 0.99195 | -0.12511 | 0.25834 | 0.12512
24 | 0.99195 | -0.12512 | 0 | 0
25 | 0.99201 | -0.12564 | 0 | 0
26 | 0.99197 | -0.12531 | 0 | 0
27 | 0.99212 | -0.12652 | 2.3778 | 1.1516
28 | 0.99192 | -0.12494 | 0.27926 | 0.13525
29 | 0.99297 | -0.12073 | 0.28259 | 0.13687
30 | 0.9919 | -0.12483 | 0 | 0
31 | 0.99191 | -0.12499 | 0.089656 | 0.043422
32 | 0.99146 | -0.12159 | 0 | 0
33 | 0.99123 | -0.11977 | 0 | 0
34 | 0.99123 | -0.11974 | 0.27357 | 0.13249
35 | 0.99145 | -0.12155 | 0.25103 | 0.12158
36 | 0.9945 | -0.078568 | 0.25396 | 0.123
37 | 0.99452 | -0.07842 | 0 | 0
38 | 0.9945 | -0.078299 | 0 | 0
39 | 0.9946 | -0.07907 | 0 | 0
40 | 0.9945 | -0.078244 | 0.069378 | 0.033601
41 | 0.99437 | -0.077338 | 0 | 0
42 | 0.99463 | -0.078808 | 0.25187 | 0.12199
43 | 0.99506 | -0.090809 | 0 | 0
44 | 0.99572 | -0.078761 | 0 | 0
45 | 0.99502 | -0.091075 | 0.32845 | 0.15907
46 | 0.99486 | -0.097602 | 0 | 0
47 | 0.99576 | -0.078586 | 0.19413 | 0.094022
48 | 0.99564 | -0.078036 | 0 | 0
49 | 0.99562 | -0.077848 | 0.39138 | 0.18955
50 | 0.99436 | -0.077243 | 0 | 0
51 | 0.99429 | -0.076734 | 0 | 0
52 | 0.99437 | -0.077334 | 0.070601 | 0.034194
53 | 0.99429 | -0.076706 | 0.10064 | 0.048742
54 | 0.99428 | -0.076658 | 0 | 0
55 | 0.99436 | -0.077232 | 0.06863 | 0.033239
56 | 0.99404 | -0.074705 | 0 | 0
57 | 0.99404 | -0.074689 | 0.099715 | 0.048294
58 | 0.99402 | -0.074534 | 0 | 0
59 | 0.99428 | -0.07664 | 0.08021 | 0.038848
60 | 0.99465 | -0.078948 | 0 | 0
61 | 0.9952 | -0.083143 | 0 | 0
62 | 0.99498 | -0.090714 | 0.17699 | 0.085721
63 | 0.99499 | -0.090805 | 0 | 0
64 | 0.99501 | -0.091015 | 0 | 0
65 | 0.99314 | -0.11657 | 0 | 0
66 | 0.99581 | -0.078391 | 0 | 0
67 | 0.99401 | -0.074415 | 0.15154 | 0.073392
68 | 0.9961 | -0.017417 | 0.16382 | 0.079339
69 | 0.9961 | -0.017424 | 0 | 0
70 | 0.99571 | -0.020319 | 0.28586 | 0.13845
71 | 0.99556 | -0.02155 | 0 | 0
72 | 0.99864 | -0.0064793 | 0 | 0
73 | 0.99996 | 0.00039303 | 0.40487 | 0.19609
74 | 0.99861 | -0.0062177 | 0.71798 | 0.34773
75 | 0.99753 | -0.070217 | 0.22966 | 0.11123
76 | 0.99745 | -0.070622 | 0 | 0
77 | 0.99632 | -0.076031 | 0 | 0
78 | 0.99631 | -0.076092 | 0.14974 | 0.072523
79 | 0.99519 | -0.083045 | 0.36666 | 0.17758
80 | 0.99524 | -0.018901 | 0.25256 | 0.12232
81 | 0.99524 | -0.018886 | 0 | 0
82 | 0.99524 | -0.018936 | 0 | 0
83 | 0.99513 | -0.017961 | 0 | 0
84 | 0.99511 | -0.017826 | 0.28226 | 0.13671
85 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.34813 | -0.1686 | 0.34813 | 0.16759 | 7.2965e-06 | -0.0010108 | 0.011261 | 0.011248 | 0.011261 | 0.99157 | 0.014492 | 0.99159 | 0.014311 | 5.1187
1 | 0.60802 | 0.2623 | -0.60786 | -0.26969 | 0.00015791 | -0.0073899 | 0.019278 | 0.019365 | 0.019365 | 0.99159 | 0.014311 | 0.99134 | 0.016071 | 8.8021
2 | -1.1905 | -0.53263 | 1.1919 | 0.51613 | 0.0013774 | -0.016501 | 0.037968 | 0.03777 | 0.037968 | 0.99159 | 0.014311 | 0.99267 | 0.0063411 | 17.2583
3 | 0.23432 | 0.10273 | -0.23429 | -0.11289 | 3.2606e-05 | -0.010157 | 0.0074485 | 0.0075722 | 0.0075722 | 0.99159 | 0.014311 | 0.99146 | 0.015387 | 3.4419
4 | 0.351 | 0.16994 | -0.35098 | -0.16999 | 1.1072e-05 | -4.9596e-05 | 0.011356 | 0.011357 | 0.011357 | 0.99134 | 0.016071 | 0.99131 | 0.015863 | 5.4079
5 | 0.25687 | 0.099754 | -0.25683 | -0.10017 | 4.3241e-05 | -0.00041481 | 0.0080241 | 0.0080288 | 0.0080288 | 0.99134 | 0.016071 | 0.99116 | 0.014084 | 3.8232
6 | -1.6943 | -0.74394 | 1.6965 | 0.73127 | 0.0021793 | -0.012672 | 0.053811 | 0.053657 | 0.053811 | 0.99267 | 0.0063411 | 0.99389 | -0.0022327 | 24.4596
7 | 0.16553 | 0.064719 | -0.16551 | -0.079252 | 2.2735e-05 | -0.014532 | 0.0051686 | 0.0053371 | 0.0053371 | 0.99267 | 0.0063411 | 0.99254 | 0.0072562 | 2.426
8 | 0.33689 | 0.16309 | -0.33689 | -0.16316 | 4.7337e-07 | -7.0277e-05 | 0.010885 | 0.010886 | 0.010886 | 0.99267 | 0.0063411 | 0.99267 | 0.0063533 | 4.948
9 | 0.23429 | 0.11289 | -0.23429 | -0.11347 | 1.9138e-06 | -0.00058564 | 0.0075722 | 0.0075797 | 0.0075797 | 0.99146 | 0.015387 | 0.99145 | 0.015457 | 3.4453
10 | 0.25683 | 0.10017 | -0.25682 | -0.10118 | 3.7093e-06 | -0.0010085 | 0.0080288 | 0.0080395 | 0.0080395 | 0.99116 | 0.014084 | 0.99115 | 0.014152 | 3.6543
11 | -1.8362 | -0.79882 | 1.8426 | 0.76731 | 0.0063302 | -0.03151 | 0.058162 | 0.057782 | 0.058162 | 0.99389 | -0.0022327 | 0.99715 | -0.023786 | 26.4371
12 | 0.13977 | 0.06755 | -0.13976 | -0.067691 | 4.4157e-06 | -0.00014093 | 0.0045088 | 0.0045107 | 0.0045107 | 0.99389 | -0.0022327 | 0.99385 | -0.0024418 | 2.1479
13 | 0.16551 | 0.079252 | -0.16551 | -0.080158 | 1.4693e-06 | -0.00090647 | 0.0053371 | 0.0053485 | 0.0053485 | 0.99254 | 0.0072562 | 0.99254 | 0.0073326 | 2.4312
14 | -1.8426 | -0.76731 | 1.8427 | 0.76654 | 0.00015217 | -0.00076552 | 0.057782 | 0.057773 | 0.057782 | 0.99715 | -0.023786 | 0.99723 | -0.024268 | 26.2647
15 | 0.090125 | 0.020442 | -0.090124 | -0.02196 | 6.2814e-07 | -0.0015175 | 0.0026916 | 0.0027017 | 0.0027017 | 0.99115 | 0.014152 | 0.99114 | 0.014129 | 1.228
16 | 0.090124 | 0.02196 | -0.090114 | -0.043554 | 9.5898e-06 | -0.021594 | 0.0027017 | 0.0029154 | 0.0029154 | 0.99114 | 0.014129 | 0.99104 | 0.014489 | 1.3252
17 | 0.090114 | 0.043554 | -0.090113 | -0.043644 | 1.174e-06 | -9.0124e-05 | 0.0029154 | 0.0029166 | 0.0029166 | 0.99104 | 0.014489 | 0.99103 | 0.014403 | 1.3888
18 | 0.98626 | 0.43869 | -0.98613 | -0.4387 | 0.00012472 | -6.9824e-06 | 0.031247 | 0.031248 | 0.031248 | 0.99723 | -0.024268 | 0.9971 | -0.025366 | 14.8799
19 | -3.1546 | -1.3629 | 3.1628 | 1.3675 | 0.008178 | 0.0045702 | 0.099476 | 0.09947 | 0.099476 | 0.99723 | -0.024268 | 1 | 0 | 47.3697
20 | 0.98613 | 0.4387 | -0.98509 | -0.45724 | 0.001044 | -0.018547 | 0.031248 | 0.031474 | 0.031474 | 0.9971 | -0.025366 | 0.9961 | -0.017424 | 14.3063
21 | 7.8877 | 3.6003 | -7.8773 | -3.6278 | 0.010312 | -0.027565 | 0.25029 | 0.2507 | 0.2507 | 1 | 0 | 0.99864 | -0.0064793 | 39.2941
22 | 0.40489 | 0.19413 | -0.40487 | -0.19609 | 1.8472e-05 | -0.0019571 | 0.012962 | 0.012987 | 0.012987 | 1 | 0 | 0.99996 | 0.00039303 | 5.903
23 | -0.33189 | -0.16074 | 0.3319 | 0.16022 | 3.4267e-06 | -0.00052753 | 0.010708 | 0.010702 | 0.010708 | 0.99413 | -0.075401 | 0.99414 | -0.07549 | 4.8674
24 | 0.25128 | 0.11003 | -0.25126 | -0.11736 | 2.661e-05 | -0.0073244 | 0.0079656 | 0.0080533 | 0.0080533 | 0.99414 | -0.07549 | 0.99404 | -0.074705 | 3.6606
25 | -0.58318 | -0.27025 | 0.58332 | 0.26307 | 0.00014166 | -0.0071817 | 0.018664 | 0.018577 | 0.018664 | 0.99414 | -0.07549 | 0.99437 | -0.077338 | 8.4837
26 | -0.25834 | -0.12512 | 0.25834 | 0.12498 | 5.4039e-07 | -0.00013615 | 0.0083533 | 0.0083516 | 0.0083533 | 0.99195 | -0.12511 | 0.99195 | -0.12512 | 3.797
27 | -0.25834 | -0.12498 | 0.25835 | 0.12094 | 1.5923e-05 | -0.0040374 | 0.0083516 | 0.0083011 | 0.0083516 | 0.99195 | -0.12512 | 0.99201 | -0.12564 | 3.7962
28 | 0.89392 | 0.39895 | -0.89388 | -0.39984 | 4.1542e-05 | -0.00088832 | 0.028486 | 0.028497 | 0.028497 | 0.99201 | -0.12564 | 0.99197 | -0.12531 | 12.9531
29 | -1.1523 | -0.51989 | 1.1524 | 0.51814 | 0.00013775 | -0.001752 | 0.036786 | 0.036765 | 0.036786 | 0.99201 | -0.12564 | 0.99212 | -0.12652 | 16.721
30 | 0.89388 | 0.39984 | -0.89383 | -0.4008 | 4.5167e-05 | -0.00096499 | 0.028497 | 0.028508 | 0.028508 | 0.99197 | -0.12531 | 0.99192 | -0.12494 | 12.9584
31 | -3.5302 | -1.6698 | 3.5331 | 1.6714 | 0.0028458 | 0.0016371 | 0.11363 | 0.11363 | 0.11363 | 0.99212 | -0.12652 | 0.99297 | -0.12073 | 54.1092
32 | 0.52492 | 0.22218 | -0.52491 | -0.22279 | 9.5479e-06 | -0.00060745 | 0.016589 | 0.016596 | 0.016596 | 0.99192 | -0.12494 | 0.9919 | -0.12483 | 7.5435
33 | 0.089656 | 0.043369 | -0.089656 | -0.043422 | 6.8289e-07 | -5.3147e-05 | 0.0028985 | 0.0028991 | 0.0028991 | 0.99192 | -0.12494 | 0.99191 | -0.12499 | 1.3805
34 | -3.8157 | -1.8083 | 3.8162 | 1.8088 | 0.00050651 | 0.00053397 | 0.12276 | 0.12276 | 0.12276 | 0.99297 | -0.12073 | 0.99314 | -0.11657 | 35.073
35 | 0.52491 | 0.22279 | -0.52466 | -0.23837 | 0.00024774 | -0.015577 | 0.016596 | 0.016779 | 0.016779 | 0.9919 | -0.12483 | 0.99146 | -0.12159 | 7.6268
36 | 0.25103 | 0.12124 | -0.25103 | -0.12158 | 1.2773e-06 | -0.00034029 | 0.0081168 | 0.0081211 | 0.0081211 | 0.99146 | -0.12159 | 0.99145 | -0.12155 | 3.6914
37 | 0.27363 | 0.11713 | -0.27357 | -0.1323 | 6.6251e-05 | -0.01517 | 0.0086664 | 0.0088498 | 0.0088498 | 0.99146 | -0.12159 | 0.99123 | -0.11977 | 4.0226
38 | 0.27357 | 0.1323 | -0.27357 | -0.13249 | 8.7621e-07 | -0.00019628 | 0.0088498 | 0.0088523 | 0.0088523 | 0.99123 | -0.11977 | 0.99123 | -0.11974 | 4.0238
39 | -0.25396 | -0.123 | 0.25396 | 0.12294 | 5.7205e-06 | -5.2928e-05 | 0.0081908 | 0.0081901 | 0.0081908 | 0.9945 | -0.078568 | 0.99452 | -0.07842 | 3.9004
40 | 0.06938 | 0.02694 | -0.069379 | -0.031935 | 1.3516e-06 | -0.0049952 | 0.0021604 | 0.002217 | 0.002217 | 0.99452 | -0.07842 | 0.9945 | -0.078299 | 1.0077
41 | -0.32334 | -0.14988 | 0.32337 | 0.14528 | 2.7762e-05 | -0.004606 | 0.010345 | 0.010289 | 0.010345 | 0.99452 | -0.07842 | 0.9946 | -0.07907 | 4.7022
42 | 0.069379 | 0.031935 | -0.069378 | -0.033601 | 4.6739e-07 | -0.0016666 | 0.002217 | 0.0022376 | 0.0022376 | 0.9945 | -0.078299 | 0.9945 | -0.078244 | 1.0171
43 | 0.90364 | 0.39848 | -0.90342 | -0.40319 | 0.00022237 | -0.0047118 | 0.028664 | 0.028721 | 0.028721 | 0.9946 | -0.07907 | 0.99437 | -0.077338 | 13.0548
44 | -1.227 | -0.54375 | 1.2271 | 0.54376 | 3.668e-05 | 6.9519e-06 | 0.038953 | 0.038953 | 0.038953 | 0.9946 | -0.07907 | 0.99463 | -0.078808 | 18.5493
45 | 0.068631 | 0.029746 | -0.06863 | -0.032919 | 8.6084e-07 | -0.003173 | 0.0021715 | 0.0022098 | 0.0022098 | 0.99437 | -0.077338 | 0.99436 | -0.077243 | 1.0044
46 | 0.18087 | 0.076292 | -0.18085 | -0.084557 | 1.5444e-05 | -0.0082653 | 0.0056988 | 0.0057963 | 0.0057963 | 0.99437 | -0.077338 | 0.99429 | -0.076734 | 2.6347
47 | 0.070601 | 0.03408 | -0.070601 | -0.034194 | 3.3421e-08 | -0.00011398 | 0.0022759 | 0.0022774 | 0.0022774 | 0.99437 | -0.077338 | 0.99437 | -0.077334 | 1.0352
48 | -1.4789 | -0.66575 | 1.479 | 0.66553 | 2.8378e-05 | -0.0002182 | 0.047072 | 0.047069 | 0.047072 | 0.99463 | -0.078808 | 0.99465 | -0.078948 | 21.3963
49 | -4.3283 | -2.0263 | 4.3307 | 2.0153 | 0.002457 | -0.010978 | 0.13865 | 0.13848 | 0.13865 | 0.99506 | -0.090809 | 0.99572 | -0.078761 | 32.9323
50 | 0.50547 | 0.2405 | -0.50545 | -0.24054 | 1.9091e-05 | -3.6066e-05 | 0.016239 | 0.01624 | 0.01624 | 0.99506 | -0.090809 | 0.99502 | -0.091075 | 7.7333
51 | 3.8228 | 1.7858 | -3.8222 | -1.785 | 0.00056287 | 0.0007474 | 0.12241 | 0.12241 | 0.12241 | 0.99506 | -0.090809 | 0.99486 | -0.097602 | 29.8554
52 | -4.7221 | -2.2002 | 4.7223 | 2.1987 | 0.00018008 | -0.0014904 | 0.15103 | 0.15101 | 0.15103 | 0.99572 | -0.078761 | 0.99576 | -0.078586 | 23.6727
53 | 0.39142 | 0.18484 | -0.39139 | -0.18861 | 3.3679e-05 | -0.0037675 | 0.01255 | 0.012597 | 0.012597 | 0.99572 | -0.078761 | 0.99564 | -0.078036 | 5.7258
54 | 0.177 | 0.081463 | -0.177 | -0.082214 | 1.3584e-06 | -0.0007511 | 0.0056529 | 0.005662 | 0.005662 | 0.99502 | -0.091075 | 0.99501 | -0.091015 | 2.5736
55 | 3.8222 | 1.785 | -3.8162 | -1.8088 | 0.0060282 | -0.023773 | 0.12241 | 0.12276 | 0.12276 | 0.99486 | -0.097602 | 0.99314 | -0.11657 | 33.9102
56 | -4.9164 | -2.2927 | 4.9167 | 2.2911 | 0.0002104 | -0.001597 | 0.15727 | 0.15724 | 0.15727 | 0.99576 | -0.078586 | 0.99581 | -0.078391 | 24.6497
57 | 0.39139 | 0.18861 | -0.39138 | -0.18955 | 8.4749e-06 | -0.00094349 | 0.012597 | 0.012609 | 0.012609 | 0.99564 | -0.078036 | 0.99562 | -0.077848 | 5.7312
58 | 0.06863 | 0.032919 | -0.06863 | -0.033239 | 8.8594e-08 | -0.00032021 | 0.0022098 | 0.0022138 | 0.0022138 | 0.99436 | -0.077243 | 0.99436 | -0.077232 | 1.0063
59 | 0.10064 | 0.048194 | -0.10064 | -0.048742 | 3.2628e-07 | -0.00054839 | 0.0032397 | 0.0032466 | 0.0032466 | 0.99429 | -0.076734 | 0.99429 | -0.076706 | 1.4757
60 | 0.080211 | 0.036363 | -0.080211 | -0.038405 | 7.6223e-07 | -0.0020413 | 0.0025569 | 0.002582 | 0.002582 | 0.99429 | -0.076734 | 0.99428 | -0.076658 | 1.1736
61 | 0.080211 | 0.038405 | -0.08021 | -0.038848 | 1.6743e-07 | -0.00044303 | 0.002582 | 0.0025876 | 0.0025876 | 0.99428 | -0.076658 | 0.99428 | -0.07664 | 1.1762
62 | 0.099715 | 0.047982 | -0.099715 | -0.048294 | 1.8233e-07 | -0.0003116 | 0.0032136 | 0.0032175 | 0.0032175 | 0.99404 | -0.074705 | 0.99404 | -0.074689 | 1.4625
63 | 0.15154 | 0.069377 | -0.15154 | -0.071822 | 3.2622e-06 | -0.0024448 | 0.0048401 | 0.0048701 | 0.0048701 | 0.99404 | -0.074705 | 0.99402 | -0.074534 | 2.2137
64 | 0.15154 | 0.071822 | -0.15154 | -0.073392 | 2.1175e-06 | -0.0015707 | 0.0048701 | 0.0048898 | 0.0048898 | 0.99402 | -0.074534 | 0.99401 | -0.074415 | 2.2226
65 | -1.479 | -0.66553 | 1.4798 | 0.65889 | 0.00086091 | -0.006636 | 0.047069 | 0.046987 | 0.047069 | 0.99465 | -0.078948 | 0.9952 | -0.083143 | 21.395
66 | 0.36666 | 0.17706 | -0.36666 | -0.17758 | 4.1052e-06 | -0.00051977 | 0.011811 | 0.011817 | 0.011817 | 0.9952 | -0.083143 | 0.99519 | -0.083045 | 5.3715
67 | -1.8465 | -0.83595 | 1.8475 | 0.83641 | 0.001063 | 0.00046161 | 0.058794 | 0.058791 | 0.058794 | 0.9952 | -0.083143 | 0.99581 | -0.078391 | 27.997
68 | -0.17699 | -0.085721 | 0.17699 | 0.084706 | 1.8632e-06 | -0.0010151 | 0.0057056 | 0.0056929 | 0.0057056 | 0.99498 | -0.090714 | 0.99499 | -0.090805 | 2.5935
69 | -0.17699 | -0.084706 | 0.177 | 0.082214 | 4.5384e-06 | -0.0024918 | 0.0056929 | 0.005662 | 0.0056929 | 0.99499 | -0.090805 | 0.99501 | -0.091015 | 2.5877
70 | -6.7642 | -3.1275 | 6.7675 | 3.115 | 0.0033205 | -0.012495 | 0.21603 | 0.21586 | 0.21603 | 0.99581 | -0.078391 | 0.99632 | -0.076031 | 33.8609
71 | -0.16382 | -0.079339 | 0.16382 | 0.079251 | 1.3824e-07 | -8.8135e-05 | 0.0052749 | 0.0052738 | 0.0052749 | 0.9961 | -0.017417 | 0.9961 | -0.017424 | 2.3977
72 | 0.82127 | 0.37799 | -0.82097 | -0.3781 | 0.00030288 | -0.00010346 | 0.026201 | 0.026204 | 0.026204 | 0.9961 | -0.017424 | 0.99571 | -0.020319 | 12.4783
73 | 0.53512 | 0.23965 | -0.53504 | -0.23978 | 7.7423e-05 | -0.00012945 | 0.016999 | 0.017001 | 0.017001 | 0.99571 | -0.020319 | 0.99556 | -0.02155 | 8.0956
74 | 0.53504 | 0.23978 | -0.53486 | -0.25082 | 0.00018245 | -0.011045 | 0.017001 | 0.017135 | 0.017135 | 0.99556 | -0.02155 | 0.99524 | -0.018936 | 7.7886
75 | 0.718 | 0.34701 | -0.71798 | -0.34773 | 2.1616e-05 | -0.00071881 | 0.023052 | 0.023061 | 0.023061 | 0.99864 | -0.0064793 | 0.99861 | -0.0062177 | 10.4823
76 | 7.1593 | 3.2808 | -7.155 | -3.2695 | 0.0043151 | 0.011283 | 0.22765 | 0.22765 | 0.22765 | 0.99864 | -0.0064793 | 0.99753 | -0.070217 | 35.295
77 | 6.9254 | 3.1583 | -6.9248 | -3.1603 | 0.00055369 | -0.0019968 | 0.22027 | 0.2203 | 0.2203 | 0.99753 | -0.070217 | 0.99745 | -0.070622 | 34.5295
78 | 6.9248 | 3.1603 | -6.9173 | -3.1875 | 0.0075661 | -0.027189 | 0.2203 | 0.22068 | 0.22068 | 0.99745 | -0.070622 | 0.99632 | -0.076031 | 34.589
79 | 0.14974 | 0.072485 | -0.14974 | -0.072523 | 1.3866e-06 | -3.8818e-05 | 0.0048203 | 0.0048208 | 0.0048208 | 0.99632 | -0.076031 | 0.99631 | -0.076092 | 2.2956
80 | 0.2823 | 0.12864 | -0.2823 | -0.12876 | 5.4975e-07 | -0.00012009 | 0.0089984 | 0.0089998 | 0.0089998 | 0.99524 | -0.018901 | 0.99524 | -0.018886 | 4.0908
81 | -0.53485 | -0.25096 | 0.53486 | 0.25082 | 2.3026e-06 | -0.00013823 | 0.017137 | 0.017135 | 0.017137 | 0.99524 | -0.018901 | 0.99524 | -0.018936 | 7.7894
82 | 0.2823 | 0.12876 | -0.28227 | -0.13576 | 3.233e-05 | -0.006994 | 0.0089998 | 0.009086 | 0.009086 | 0.99524 | -0.018886 | 0.99513 | -0.017961 | 4.13
83 | 0.28227 | 0.13576 | -0.28226 | -0.13671 | 4.4235e-06 | -0.00094642 | 0.009086 | 0.009098 | 0.009098 | 0.99513 | -0.017961 | 0.99511 | -0.017826 | 4.1354

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.4693 | 5.1724

## res_load
| p_mw | q_mvar
0 | 0.34813 | 0.1686
1 | 0.35098 | 0.16999
2 | 0.33689 | 0.16316
3 | 0.23429 | 0.11347
4 | 0.13976 | 0.067691
5 | 0.16551 | 0.080158
6 | 0.1667 | 0.080735
7 | 0.090113 | 0.043644
8 | 0.32562 | 0.1577
9 | 0.33189 | 0.16074
10 | 0.25834 | 0.12512
11 | 2.3778 | 1.1516
12 | 0.27926 | 0.13525
13 | 0.28259 | 0.13687
14 | 0.089656 | 0.043422
15 | 0.27357 | 0.13249
16 | 0.25103 | 0.12158
17 | 0.25396 | 0.123
18 | 0.069378 | 0.033601
19 | 0.25187 | 0.12199
20 | 0.32845 | 0.15907
21 | 0.19413 | 0.094022
22 | 0.39138 | 0.18955
23 | 0.070601 | 0.034194
24 | 0.10064 | 0.048742
25 | 0.06863 | 0.033239
26 | 0.099715 | 0.048294
27 | 0.08021 | 0.038848
28 | 0.17699 | 0.085721
29 | 0.15154 | 0.073392
30 | 0.16382 | 0.079339
31 | 0.28586 | 0.13845
32 | 0.40487 | 0.19609
33 | 0.71798 | 0.34773
34 | 0.22966 | 0.11123
35 | 0.14974 | 0.072523
36 | 0.36666 | 0.17758
37 | 0.25256 | 0.12232
38 | 0.28226 | 0.13671

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1