## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_451_1_node_8 | 20 | n |  | TRUE
1 | bus_MV_451_1_node_9 | 20 | n |  | TRUE
2 | bus_MV_451_1_node_10 | 20 | n |  | TRUE
3 | bus_MV_451_1_node_118 | 20 | n |  | TRUE
4 | bus_MV_451_1_node_120 | 20 | n |  | TRUE
5 | bus_MV_451_1_node_29 | 20 | n |  | TRUE
6 | bus_MV_451_1_node_170 | 20 | n |  | TRUE
7 | bus_MV_451_1_node_122 | 20 | n |  | TRUE
8 | bus_MV_451_1_node_22 | 20 | n |  | TRUE
9 | bus_MV_451_1_node_121 | 20 | n |  | TRUE
10 | bus_MV_451_1_node_33 | 20 | n |  | TRUE
11 | bus_MV_451_1_node_34 | 20 | n |  | TRUE
12 | bus_MV_451_1_node_35 | 20 | n |  | TRUE
13 | bus_MV_451_1_node_11 | 20 | n |  | TRUE
14 | bus_MV_451_1_node_12 | 20 | n |  | TRUE
15 | bus_MV_451_1_node_13 | 20 | n |  | TRUE
16 | bus_MV_451_1_node_14 | 20 | n |  | TRUE
17 | bus_MV_451_1_node_15 | 20 | n |  | TRUE
18 | bus_MV_451_1_node_16 | 20 | n |  | TRUE
19 | bus_MV_451_1_node_119 | 20 | n |  | TRUE
20 | bus_MV_451_1_node_106 | 20 | n |  | TRUE
21 | bus_MV_451_1_node_112 | 20 | n |  | TRUE
22 | bus_MV_451_1_node_114 | 20 | n |  | TRUE
23 | bus_MV_451_1_node_116 | 20 | n |  | TRUE
24 | bus_MV_451_1_node_17 | 20 | n |  | TRUE
25 | bus_MV_451_1_node_19 | 20 | n |  | TRUE
26 | bus_MV_451_1_node_18 | 20 | n |  | TRUE
27 | bus_MV_451_1_node_20 | 20 | n |  | TRUE
28 | bus_MV_451_1_node_36 | 20 | n |  | TRUE
29 | bus_MV_451_1_node_131 | 20 | n |  | TRUE
30 | bus_MV_451_1_node_133 | 20 | n |  | TRUE
31 | bus_MV_451_1_node_37 | 20 | n |  | TRUE
32 | bus_MV_451_1_node_44 | 20 | n |  | TRUE
33 | bus_MV_451_1_node_38 | 20 | n |  | TRUE
34 | bus_MV_451_1_node_39 | 20 | n |  | TRUE
35 | bus_MV_451_1_node_40 | 20 | n |  | TRUE
36 | bus_MV_451_1_node_42 | 20 | n |  | TRUE
37 | bus_MV_451_1_node_177 | 20 | n |  | TRUE
38 | bus_MV_451_1_node_132 | 20 | n |  | TRUE
39 | bus_MV_451_1_node_162 | 20 | n |  | TRUE
40 | bus_MV_451_1_node_115 | 20 | n |  | TRUE
41 | bus_MV_451_1_node_173 | 20 | n |  | TRUE
42 | bus_MV_451_1_node_172 | 20 | n |  | TRUE
43 | bus_MV_451_1_node_117 | 20 | n |  | TRUE
44 | bus_MV_451_1_node_178 | 20 | n |  | TRUE
45 | bus_MV_451_1_node_171 | 20 | n |  | TRUE
46 | bus_MV_451_1_node_179 | 20 | n |  | TRUE
47 | bus_MV_451_1_node_159 | 20 | n |  | TRUE
48 | bus_MV_451_1_node_160 | 20 | n |  | TRUE
49 | bus_MV_451_1_node_161 | 20 | n |  | TRUE
50 | bus_MV_451_1_node_176 | 20 | n |  | TRUE
51 | bus_MV_451_1_node_164 | 20 | n |  | TRUE
52 | bus_MV_451_1_node_21 | 20 | n |  | TRUE
53 | bus_MV_451_1_node_100 | 20 | n |  | TRUE
54 | bus_MV_451_1_node_23 | 20 | n |  | TRUE
55 | bus_MV_451_1_node_24 | 20 | n |  | TRUE
56 | bus_MV_451_1_node_27 | 20 | n |  | TRUE
57 | bus_MV_451_1_node_26 | 20 | n |  | TRUE
58 | bus_MV_451_1_node_175 | 20 | n |  | TRUE
59 | bus_MV_451_1_node_30 | 20 | n |  | TRUE
60 | bus_MV_451_1_node_168 | 20 | n |  | TRUE
61 | bus_MV_451_1_node_32 | 20 | n |  | TRUE
62 | bus_MV_451_1_node_123 | 20 | n |  | TRUE
63 | bus_MV_451_1_node_124 | 20 | n |  | TRUE
64 | bus_MV_451_1_node_125 | 20 | n |  | TRUE
65 | bus_MV_451_1_node_126 | 20 | n |  | TRUE
66 | bus_MV_451_1_node_127 | 20 | n |  | TRUE
67 | bus_MV_451_1_node_129 | 20 | n |  | TRUE
68 | bus_MV_451_1_node_128 | 20 | n |  | TRUE
69 | bus_MV_451_1_node_130 | 20 | n |  | TRUE
70 | bus_MV_451_1_node_135 | 20 | n |  | TRUE
71 | bus_MV_451_1_node_134 | 20 | n |  | TRUE
72 | bus_MV_451_1_node_137 | 20 | n |  | TRUE
73 | bus_MV_451_1_node_105 | 20 | n |  | TRUE
74 | bus_MV_451_1_node_108 | 20 | n |  | TRUE
75 | bus_MV_451_1_node_169 | 20 | n |  | TRUE
76 | bus_MV_451_1_node_107 | 20 | n |  | TRUE
77 | bus_MV_451_1_node_93 | 20 | n |  | TRUE
78 | bus_MV_451_1_node_94 | 20 | n |  | TRUE
79 | bus_MV_451_1_node_97 | 20 | n |  | TRUE
80 | bus_MV_451_1_node_99 | 20 | n |  | TRUE
81 | bus_MV_451_1_node_95 | 20 | n |  | TRUE
82 | bus_MV_451_1_node_111 | 20 | n |  | TRUE
83 | bus_MV_451_1_node_96 | 20 | n |  | TRUE
84 | bus_MV_451_1_node_110 | 20 | n |  | TRUE
85 | bus_MV_451_1_node_98 | 20 | n |  | TRUE
86 | bus_MV_451_1_node_102 | 20 | n |  | TRUE
87 | bus_MV_451_1_node_153 | 20 | n |  | TRUE
88 | bus_MV_451_1_node_185 | 20 | n |  | TRUE
89 | bus_MV_451_1_node_101 | 20 | n |  | TRUE
90 | bus_MV_451_1_node_158 | 20 | n |  | TRUE
91 | bus_MV_451_1_node_109 | 20 | n |  | TRUE
92 | bus_MV_451_1_node_151 | 20 | n |  | TRUE
93 | bus_MV_451_1_node_152 | 20 | n |  | TRUE
94 | bus_MV_451_1_node_154 | 20 | n |  | TRUE
95 | bus_MV_451_1_node_184 | 20 | n |  | TRUE
96 | bus_MV_451_1_node_157 | 20 | n |  | TRUE
97 | bus_MV_451_1_node_155 | 20 | n |  | TRUE
98 | bus_MV_451_1_node_156 | 20 | n |  | TRUE
99 | bus_HV_451_1_node_20 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_451_1_load_8 | 0 | 0.089038 | 0.043123 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_451_1_load_118 | 3 | 0.19375 | 0.09384 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_451_1_load_120 | 4 | 0.10902 | 0.052802 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_451_1_load_170 | 6 | 0.25889 | 0.12539 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_451_1_load_121 | 9 | 0.16911 | 0.081905 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_451_1_load_33 | 10 | 0.12709 | 0.061553 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_451_1_load_11 | 13 | 0.22291 | 0.10796 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_451_1_load_16 | 18 | 0.1934 | 0.093669 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_451_1_load_119 | 19 | 0.15182 | 0.073529 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_451_1_load_106 | 20 | 0.27808 | 0.13468 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_451_1_load_112 | 21 | 0.24894 | 0.12057 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_451_1_load_20 | 27 | 0.24685 | 0.11955 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_451_1_load_131 | 29 | 0.097691 | 0.047314 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_451_1_load_133 | 30 | 0.28197 | 0.13657 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_451_1_load_37 | 31 | 0.18975 | 0.091901 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_451_1_load_44 | 32 | 0.16467 | 0.079752 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_451_1_load_177 | 37 | 0.55405 | 0.26834 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_451_1_load_132 | 38 | 0.09042 | 0.043792 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_451_1_load_162 | 39 | 0.08851 | 0.042867 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_451_1_load_173 | 41 | 0.16989 | 0.082279 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_451_1_load_178 | 44 | 0.37785 | 0.183 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_451_1_load_171 | 45 | 0.27249 | 0.13197 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_451_1_load_179 | 46 | 0.38891 | 0.18836 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_451_1_load_159 | 47 | 0.11032 | 0.053433 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_451_1_load_176 | 50 | 0.16206 | 0.078488 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_451_1_load_164 | 51 | 0.20753 | 0.10051 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_451_1_load_23 | 54 | 0.22042 | 0.10675 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_451_1_load_175 | 58 | 0.19452 | 0.094212 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_451_1_load_168 | 60 | 0.3011 | 0.14583 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_451_1_load_32 | 61 | 0.2796 | 0.13542 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_451_1_load_123 | 62 | 0.078591 | 0.038063 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_451_1_load_128 | 68 | 0.075212 | 0.036427 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_451_1_load_130 | 69 | 0.076403 | 0.037004 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_451_1_load_135 | 70 | 0.39963 | 0.19355 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_451_1_load_134 | 71 | 0.076796 | 0.037194 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_451_1_load_137 | 72 | 0.17967 | 0.087018 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_451_1_load_169 | 75 | 0.37286 | 0.18058 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_451_1_load_107 | 76 | 0.33591 | 0.16269 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_451_1_load_93 | 77 | 0.18811 | 0.091104 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_451_1_load_111 | 82 | 0.13227 | 0.064059 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_451_1_load_102 | 86 | 0.35007 | 0.16954 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_451_1_load_185 | 88 | 0.20031 | 0.097014 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_451_1_load_101 | 89 | 0.25047 | 0.12131 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_451_1_load_158 | 90 | 0.13908 | 0.067358 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_451_1_load_109 | 91 | 0.11751 | 0.056914 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_451_1_load_151 | 92 | 0.080423 | 0.038951 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_451_1_load_184 | 95 | 0.34352 | 0.16638 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_451_1_load_155 | 97 | 0.28201 | 0.13658 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_451_1_load_156 | 98 | 0.16486 | 0.079844 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_451_1_line_0 |  | 0 | 1 | 0.12156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_451_1_line_1 |  | 1 | 2 | 0.20168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_451_1_line_2 |  | 2 | 6 | 0.025749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_451_1_line_3 |  | 2 | 7 | 0.28131 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_451_1_line_4 |  | 3 | 4 | 0.091342 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_451_1_line_5 |  | 3 | 5 | 0.14094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_451_1_line_6 |  | 4 | 9 | 0.086527 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_451_1_line_7 |  | 5 | 55 | 0.93676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_451_1_line_8 |  | 6 | 8 | 0.087241 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_451_1_line_9 |  | 7 | 9 | 0.023595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_451_1_line_10 |  | 8 | 52 | 0.11074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_451_1_line_11 |  | 10 | 11 | 0.005602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_451_1_line_12 |  | 11 | 12 | 0.64439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_451_1_line_13 |  | 12 | 28 | 0.17313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_451_1_line_14 |  | 12 | 29 | 0.033914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_451_1_line_15 |  | 13 | 14 | 0.047148 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_451_1_line_16 |  | 14 | 15 | 0.35616 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_451_1_line_17 |  | 14 | 16 | 0.26636 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_451_1_line_18 |  | 14 | 17 | 0.47325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_451_1_line_19 |  | 15 | 18 | 0.042277 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
20 | MV_451_1_line_20 |  | 15 | 19 | 0.30531 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
21 | MV_451_1_line_21 |  | 16 | 20 | 0.0424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_451_1_line_22 |  | 17 | 21 | 0.051728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_451_1_line_23 |  | 17 | 22 | 0.078192 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_451_1_line_24 |  | 17 | 23 | 0.50538 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_451_1_line_25 |  | 18 | 24 | 0.036132 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
26 | MV_451_1_line_26 |  | 19 | 26 | 0.036569 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
27 | MV_451_1_line_27 |  | 22 | 39 | 0.030108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_451_1_line_28 |  | 23 | 44 | 0.027534 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_451_1_line_29 |  | 23 | 43 | 0.44294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_451_1_line_30 |  | 24 | 25 | 0.38864 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_451_1_line_31 |  | 25 | 51 | 0.072893 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
32 | MV_451_1_line_32 |  | 26 | 27 | 0.34046 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
33 | MV_451_1_line_33 |  | 27 | 52 | 0.089925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_451_1_line_34 |  | 28 | 30 | 0.047999 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_451_1_line_35 |  | 30 | 36 | 0.051312 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_451_1_line_36 |  | 31 | 32 | 0.086216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_451_1_line_37 |  | 32 | 35 | 0.048399 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_451_1_line_38 |  | 33 | 34 | 0.21333 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_451_1_line_39 |  | 33 | 35 | 0.21575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_451_1_line_40 |  | 33 | 36 | 0.32134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_451_1_line_41 |  | 34 | 37 | 0.032512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_451_1_line_42 |  | 36 | 38 | 0.1039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_451_1_line_43 |  | 37 | 48 | 0.1294 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_451_1_line_44 |  | 38 | 46 | 0.0065377 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_451_1_line_45 |  | 40 | 41 | 0.03276 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_451_1_line_46 |  | 40 | 42 | 0.46194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_451_1_line_47 |  | 40 | 43 | 0.31044 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_451_1_line_48 |  | 41 | 49 | 0.087662 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_451_1_line_49 |  | 42 | 50 | 0.069794 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
50 | MV_451_1_line_50 |  | 43 | 45 | 0.055898 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_451_1_line_51 |  | 47 | 48 | 0.042867 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_451_1_line_52 |  | 48 | 49 | 0.20674 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_451_1_line_53 |  | 51 | 53 | 0.005737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_451_1_line_54 |  | 53 | 80 | 0.35186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_451_1_line_55 |  | 54 | 55 | 0.034952 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_451_1_line_56 |  | 55 | 56 | 0.6188 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_451_1_line_57 |  | 56 | 59 | 0.53 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_451_1_line_58 |  | 56 | 60 | 0.051438 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_451_1_line_59 |  | 56 | 57 | 0.27728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_451_1_line_60 |  | 57 | 58 | 0.02731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_451_1_line_61 |  | 59 | 61 | 0.047355 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_451_1_line_62 |  | 60 | 66 | 0.037512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_451_1_line_63 |  | 62 | 63 | 0.0022524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_451_1_line_64 |  | 62 | 64 | 0.020489 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_451_1_line_65 |  | 63 | 65 | 0.099354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_451_1_line_66 |  | 64 | 66 | 0.024866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_451_1_line_67 |  | 65 | 67 | 0.010809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_451_1_line_68 |  | 65 | 68 | 0.0015436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_451_1_line_69 |  | 67 | 69 | 0.02968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_451_1_line_70 |  | 70 | 71 | 0.095209 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_451_1_line_71 |  | 71 | 97 | 0.41665 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
72 | MV_451_1_line_72 |  | 71 | 72 | 0.31204 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
73 | MV_451_1_line_73 |  | 73 | 74 | 0.44318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_451_1_line_74 |  | 73 | 75 | 0.008116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_451_1_line_75 |  | 74 | 76 | 0.023816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_451_1_line_76 |  | 76 | 83 | 0.032417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_451_1_line_77 |  | 77 | 78 | 0.046482 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_451_1_line_78 |  | 78 | 79 | 0.55359 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_451_1_line_79 |  | 78 | 80 | 0.43937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_451_1_line_80 |  | 79 | 85 | 0.42765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_451_1_line_81 |  | 79 | 86 | 0.024119 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_451_1_line_82 |  | 80 | 89 | 0.040747 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_451_1_line_83 |  | 81 | 82 | 0.03771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_451_1_line_84 |  | 81 | 83 | 0.60569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_451_1_line_85 |  | 81 | 84 | 0.022058 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_451_1_line_86 |  | 82 | 90 | 0.0035038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_451_1_line_87 |  | 83 | 85 | 0.24007 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_451_1_line_88 |  | 84 | 91 | 0.12273 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
89 | MV_451_1_line_89 |  | 85 | 87 | 0.10405 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
90 | MV_451_1_line_90 |  | 85 | 88 | 0.010839 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
91 | MV_451_1_line_91 |  | 87 | 95 | 0.0068944 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
92 | MV_451_1_line_92 |  | 88 | 94 | 0.0035522 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_451_1_line_93 |  | 90 | 96 | 0.12849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_451_1_line_94 |  | 92 | 93 | 0.026831 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_451_1_line_95 |  | 93 | 94 | 0.029866 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_451_1_line_96 |  | 96 | 98 | 0.040025 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_451_1_line_97 |  | 97 | 98 | 0.0022326 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_451_1_trafo_20 | 25 MVA 110/20 kV | 99 | 27 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2530801.0428 | 1153021.8548
1 | 2530917.0073 | 1152985.9902
2 | 2531114.1419 | 1152954.5776
3 | 2531010.7665 | 1153255.8664
4 | 2531095.2685 | 1153221.1842
5 | 2531099.4041 | 1153357.0587
6 | 2531105.5046 | 1152930.7634
7 | 2531178.5902 | 1153170.1147
8 | 2531087.3907 | 1152845.4236
9 | 2531177.3022 | 1153193.6647
10 | 2532133.5176 | 1152742.6011
11 | 2532139.1358 | 1152742.6822
12 | 2531911.0293 | 1152201.3838
13 | 2531058.4895 | 1151948.8132
14 | 2531012.2545 | 1151958.0486
15 | 2530881.0438 | 1152027.3826
16 | 2530959.3873 | 1151821.524
17 | 2531272.5352 | 1151715.9786
18 | 2530873.4586 | 1151985.7912
19 | 2531063.5896 | 1152272.106
20 | 2530931.033 | 1151811.2773
21 | 2531304.1263 | 1151675.0172
22 | 2531196.9069 | 1151696.1213
23 | 2531760.8961 | 1151585.9231
24 | 2530866.0371 | 1151950.4347
25 | 2530564.4799 | 1151966.1511
26 | 2531056.1313 | 1152307.906
27 | 2531077.2422 | 1152647.708
28 | 2531865.6222 | 1152231.4481
29 | 2531900.7377 | 1152223.7068
30 | 2531837.9072 | 1152192.2588
31 | 2532002.1267 | 1152086.8008
32 | 2532003.4154 | 1152000.5941
33 | 2531910.5468 | 1151945.4033
34 | 2531933.074 | 1151850.6626
35 | 2532045.7061 | 1151977.0586
36 | 2531808.2792 | 1152150.3644
37 | 2531957.4616 | 1151834.7556
38 | 2531716.7084 | 1152199.3492
39 | 2531177.9701 | 1151676.4822
40 | 2532217.9369 | 1151575.5375
41 | 2532187.5054 | 1151587.8874
42 | 2532260.0304 | 1151967.2684
43 | 2532085.7672 | 1151373.0724
44 | 2531772.035 | 1151611.1106
45 | 2532086.9422 | 1151317.4173
46 | 2531710.2585 | 1152198.2811
47 | 2532011.2873 | 1151698.8604
48 | 2531969.0043 | 1151705.876
49 | 2532106.2657 | 1151620.8222
50 | 2532190.2658 | 1151969.278
51 | 2530534.3334 | 1151899.7846
52 | 2531084.6234 | 1152735.9391
53 | 2530529.6138 | 1151896.504
54 | 2530900.6758 | 1153837.8732
55 | 2530868.8678 | 1153823.3864
56 | 2531132.5542 | 1154082.237
57 | 2531280.155 | 1153906.8061
58 | 2531305.5645 | 1153896.61
59 | 2530975.8323 | 1154343.1238
60 | 2531183.89 | 1154079.0028
61 | 2530959.1278 | 1154298.8132
62 | 2531190.8838 | 1154147.1931
63 | 2531192.5599 | 1154148.6978
64 | 2531175.6377 | 1154133.5053
65 | 2531262.5759 | 1154119.2471
66 | 2531192.7239 | 1154115.4553
67 | 2531256.5807 | 1154110.244
68 | 2531263.4316 | 1154120.5318
69 | 2531233.4103 | 1154128.7919
70 | 2530229.9768 | 1153364.0892
71 | 2530280.649 | 1153283.4847
72 | 2529994.5364 | 1153158.9539
73 | 2529807.9728 | 1152359.7528
74 | 2529999.8057 | 1152376.5259
75 | 2529813.9714 | 1152354.9134
76 | 2530011.0534 | 1152355.7359
77 | 2530350.4216 | 1152051.0959
78 | 2530394.3686 | 1152035.9564
79 | 2530026.1174 | 1151975.4298
80 | 2530453.7729 | 1151650.0325
81 | 2530204.3926 | 1152724.3857
82 | 2530234.0002 | 1152747.7409
83 | 2530035.8585 | 1152334.872
84 | 2530190.8589 | 1152741.8303
85 | 2530183.3788 | 1152230.0436
86 | 2530034.508 | 1151998.0114
87 | 2530187.9324 | 1152333.993
88 | 2530188.4707 | 1152239.612
89 | 2530482.8885 | 1151621.7802
90 | 2530236.7511 | 1152749.9109
91 | 2530097.0307 | 1152662.7208
92 | 2530170.196 | 1152276.8149
93 | 2530195.6182 | 1152268.2338
94 | 2530189.2784 | 1152243.0712
95 | 2530181.0889 | 1152334.8285
96 | 2530315.735 | 1152845.6173
97 | 2530348.1223 | 1152872.3355
98 | 2530346.3067 | 1152871.0362
99 | 2531077.2422 | 1152647.708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99905 | 0.0017566 | 0.089038 | 0.043123
1 | 0.99906 | 0.0016381 | 0 | 0
2 | 0.99908 | 0.0014911 | 0 | 0
3 | 0.99793 | 0.0021649 | 0.19375 | 0.09384
4 | 0.99818 | 0.0042572 | 0.10902 | 0.052802
5 | 0.99771 | 0.0036651 | 0 | 0
6 | 0.99914 | 0.0010724 | 0.25889 | 0.12539
7 | 0.99848 | 0.0059719 | 0 | 0
8 | 0.99948 | 0.0038472 | 0 | 0
9 | 0.99843 | 0.0063534 | 0.16911 | 0.081905
10 | 0.9849 | -0.16219 | 0.12709 | 0.061553
11 | 0.9849 | -0.1622 | 0 | 0
12 | 0.98501 | -0.16288 | 0 | 0
13 | 0.9947 | -0.18337 | 0.22291 | 0.10796
14 | 0.99472 | -0.18324 | 0 | 0
15 | 0.99646 | -0.19737 | 0 | 0
16 | 0.99463 | -0.18242 | 0 | 0
17 | 0.99271 | -0.16674 | 0 | 0
18 | 0.99635 | -0.20393 | 0.1934 | 0.093669
19 | 0.99807 | -0.10503 | 0.15182 | 0.073529
20 | 0.99461 | -0.18228 | 0.27808 | 0.13468
21 | 0.99268 | -0.1669 | 0.24894 | 0.12057
22 | 0.99269 | -0.16683 | 0 | 0
23 | 0.98978 | -0.18895 | 0 | 0
24 | 0.99627 | -0.2048 | 0 | 0
25 | 0.99547 | -0.21409 | 0 | 0
26 | 0.99817 | -0.10458 | 0 | 0
27 | 1 | 0 | -10.1422 | -4.6462
28 | 0.98506 | -0.16316 | 0 | 0
29 | 0.985 | -0.16284 | 0.097691 | 0.047314
30 | 0.98507 | -0.16323 | 0.28197 | 0.13657
31 | 0.98535 | -0.1663 | 0.18975 | 0.091901
32 | 0.98538 | -0.16609 | 0.16467 | 0.079752
33 | 0.98551 | -0.16678 | 0 | 0
34 | 0.98588 | -0.16975 | 0 | 0
35 | 0.98541 | -0.16588 | 0 | 0
36 | 0.9851 | -0.16348 | 0 | 0
37 | 0.98593 | -0.1702 | 0.55405 | 0.26834
38 | 0.98504 | -0.16287 | 0.09042 | 0.043792
39 | 0.99269 | -0.1668 | 0.08851 | 0.042867
40 | 0.98737 | -0.16934 | 0 | 0
41 | 0.98728 | -0.16857 | 0.16989 | 0.082279
42 | 0.98728 | -0.16859 | 0 | 0
43 | 0.9883 | -0.17694 | 0 | 0
44 | 0.98977 | -0.18883 | 0.37785 | 0.183
45 | 0.98828 | -0.17676 | 0.27249 | 0.13197
46 | 0.98503 | -0.1629 | 0.38891 | 0.18836
47 | 0.9864 | -0.1666 | 0.11032 | 0.053433
48 | 0.98641 | -0.16666 | 0 | 0
49 | 0.98694 | -0.17113 | 0 | 0
50 | 0.98726 | -0.16873 | 0.16206 | 0.078488
51 | 0.99514 | -0.22256 | 0.20753 | 0.10051
52 | 0.99977 | 0.001716 | 0 | 0
53 | 0.99511 | -0.22234 | 0 | 0
54 | 0.99625 | 0.014329 | 0.22042 | 0.10675
55 | 0.99626 | 0.014423 | 0 | 0
56 | 0.99547 | 0.020635 | 0 | 0
57 | 0.9954 | 0.021216 | 0 | 0
58 | 0.9954 | 0.021279 | 0.19452 | 0.094212
59 | 0.99528 | 0.022208 | 0 | 0
60 | 0.99542 | 0.020278 | 0.3011 | 0.14583
61 | 0.99526 | 0.022047 | 0.2796 | 0.13542
62 | 0.9954 | 0.020485 | 0.078591 | 0.038063
63 | 0.9954 | 0.020488 | 0 | 0
64 | 0.9954 | 0.020432 | 0 | 0
65 | 0.99538 | 0.020656 | 0 | 0
66 | 0.99541 | 0.02037 | 0 | 0
67 | 0.99538 | 0.020666 | 0 | 0
68 | 0.99538 | 0.020658 | 0.075212 | 0.036427
69 | 0.99537 | 0.020692 | 0.076403 | 0.037004
70 | 0.98501 | -0.1442 | 0.39963 | 0.19355
71 | 0.98508 | -0.14372 | 0.076796 | 0.037194
72 | 0.98497 | -0.14443 | 0.17967 | 0.087018
73 | 0.98685 | -0.15161 | 0 | 0
74 | 0.98706 | -0.15348 | 0 | 0
75 | 0.98684 | -0.15157 | 0.37286 | 0.18058
76 | 0.98707 | -0.15357 | 0.33591 | 0.16269
77 | 0.99157 | -0.19283 | 0.18811 | 0.091104
78 | 0.99159 | -0.19272 | 0 | 0
79 | 0.98933 | -0.17332 | 0 | 0
80 | 0.99348 | -0.20873 | 0 | 0
81 | 0.98593 | -0.14325 | 0 | 0
82 | 0.98587 | -0.14263 | 0.13227 | 0.064059
83 | 0.9871 | -0.15383 | 0 | 0
84 | 0.98593 | -0.14322 | 0 | 0
85 | 0.98778 | -0.15976 | 0 | 0
86 | 0.98932 | -0.17321 | 0.35007 | 0.16954
87 | 0.98771 | -0.16021 | 0 | 0
88 | 0.98777 | -0.1598 | 0.20031 | 0.097014
89 | 0.99347 | -0.20861 | 0.25047 | 0.12131
90 | 0.98586 | -0.14258 | 0.13908 | 0.067358
91 | 0.9859 | -0.1434 | 0.11751 | 0.056914
92 | 0.98777 | -0.15975 | 0.080423 | 0.038951
93 | 0.98777 | -0.15978 | 0 | 0
94 | 0.98777 | -0.1598 | 0 | 0
95 | 0.9877 | -0.16023 | 0.34352 | 0.16638
96 | 0.98568 | -0.14086 | 0 | 0
97 | 0.98562 | -0.14029 | 0.28201 | 0.13658
98 | 0.98562 | -0.14032 | 0.16486 | 0.079844
99 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.089038 | -0.043123 | 0.08904 | 0.040227 | 1.3095e-06 | -0.0028966 | 0.0028586 | 0.0028232 | 0.0028586 | 0.99905 | 0.0017566 | 0.99906 | 0.0016381 | 1.2994
1 | -0.08904 | -0.040227 | 0.089042 | 0.035421 | 2.1038e-06 | -0.0048058 | 0.0028232 | 0.0027689 | 0.0028232 | 0.99906 | 0.0016381 | 0.99908 | 0.0014911 | 1.2833
2 | -1.7918 | -0.78643 | 1.7919 | 0.78585 | 0.00010987 | -0.0005811 | 0.056539 | 0.056532 | 0.056539 | 0.99908 | 0.0014911 | 0.99914 | 0.0010724 | 25.6995
3 | 1.7027 | 0.75101 | -1.7017 | -0.75739 | 0.0010875 | -0.0063777 | 0.053772 | 0.05385 | 0.05385 | 0.99908 | 0.0014911 | 0.99848 | 0.0059719 | 24.4774
4 | -1.4227 | -0.62299 | 1.4231 | 0.62309 | 0.00032851 | 9.7145e-05 | 0.044929 | 0.044928 | 0.044929 | 0.99793 | 0.0021649 | 0.99818 | 0.0042572 | 21.3947
5 | 1.229 | 0.52915 | -1.2287 | -0.53242 | 0.00028217 | -0.0032667 | 0.038707 | 0.038745 | 0.038745 | 0.99793 | 0.0021649 | 0.99771 | 0.0036651 | 17.6114
6 | -1.5321 | -0.67589 | 1.5325 | 0.67601 | 0.00036155 | 0.00012352 | 0.048428 | 0.048427 | 0.048428 | 0.99818 | 0.0042572 | 0.99843 | 0.0063534 | 23.0612
7 | 1.2287 | 0.53242 | -1.2268 | -0.55409 | 0.0018899 | -0.021671 | 0.038745 | 0.039005 | 0.039005 | 0.99771 | 0.0036651 | 0.99626 | 0.014423 | 17.7297
8 | -2.0508 | -0.91123 | 2.0514 | 0.91154 | 0.00065344 | 0.00030529 | 0.064838 | 0.064837 | 0.064838 | 0.99914 | 0.0010724 | 0.99948 | 0.0038472 | 30.8752
9 | 1.7017 | 0.75739 | -1.7016 | -0.75792 | 9.1355e-05 | -0.00053452 | 0.05385 | 0.053857 | 0.053857 | 0.99848 | 0.0059719 | 0.99843 | 0.0063534 | 24.4804
10 | -2.0514 | -0.91154 | 2.0521 | 0.90908 | 0.00062117 | -0.0024577 | 0.064837 | 0.064806 | 0.064837 | 0.99948 | 0.0038472 | 0.99977 | 0.001716 | 29.4712
11 | -0.12709 | -0.061553 | 0.12709 | 0.061424 | 1.2806e-07 | -0.00012971 | 0.004139 | 0.0041373 | 0.004139 | 0.9849 | -0.16219 | 0.9849 | -0.1622 | 1.8813
12 | -0.12709 | -0.061424 | 0.12711 | 0.046502 | 1.4089e-05 | -0.014922 | 0.0041373 | 0.0039666 | 0.0041373 | 0.9849 | -0.1622 | 0.98501 | -0.16288 | 1.8806
13 | -0.2248 | -0.093031 | 0.22481 | 0.089023 | 1.1677e-05 | -0.0040075 | 0.00713 | 0.0070859 | 0.00713 | 0.98501 | -0.16288 | 0.98506 | -0.16316 | 3.2409
14 | 0.097692 | 0.046529 | -0.097691 | -0.047314 | 4.5674e-07 | -0.00078551 | 0.0031712 | 0.0031812 | 0.0031812 | 0.98501 | -0.16288 | 0.985 | -0.16284 | 1.446
15 | -0.22291 | -0.10796 | 0.22292 | 0.10791 | 4.3399e-06 | -5.2974e-05 | 0.007188 | 0.0071873 | 0.007188 | 0.9947 | -0.18337 | 0.99472 | -0.18324 | 3.4229
16 | -3.8518 | -1.7638 | 3.859 | 1.7575 | 0.007181 | -0.0062988 | 0.12294 | 0.12284 | 0.12294 | 0.99472 | -0.18324 | 0.99646 | -0.19737 | 55.8841
17 | 0.27811 | 0.12739 | -0.27808 | -0.13368 | 2.8266e-05 | -0.0062837 | 0.0088774 | 0.008955 | 0.008955 | 0.99472 | -0.18324 | 0.99463 | -0.18242 | 4.0704
18 | 3.3508 | 1.5285 | -3.3436 | -1.5375 | 0.0072265 | -0.0090141 | 0.10688 | 0.10702 | 0.10702 | 0.99472 | -0.18324 | 0.99271 | -0.16674 | 48.6441
19 | 4.0491 | 1.8601 | -4.0489 | -1.8595 | 0.00025151 | 0.00061831 | 0.12909 | 0.12909 | 0.12909 | 0.99646 | -0.19737 | 0.99635 | -0.20393 | 20.0139
20 | -7.9081 | -3.6177 | 7.915 | 3.6359 | 0.0069177 | 0.018183 | 0.25193 | 0.25193 | 0.25193 | 0.99646 | -0.19737 | 0.99807 | -0.10503 | 39.0593
21 | 0.27808 | 0.13368 | -0.27808 | -0.13468 | 4.5455e-06 | -0.0010001 | 0.008955 | 0.0089676 | 0.0089676 | 0.99463 | -0.18242 | 0.99461 | -0.18228 | 4.0762
22 | 0.24895 | 0.12051 | -0.24894 | -0.12057 | 5.9626e-06 | -5.712e-05 | 0.0080429 | 0.0080437 | 0.0080437 | 0.99271 | -0.16674 | 0.99268 | -0.1669 | 3.8303
23 | 0.088512 | 0.042068 | -0.088511 | -0.042159 | 1.1319e-06 | -9.1279e-05 | 0.0028498 | 0.002851 | 0.002851 | 0.99271 | -0.16674 | 0.99269 | -0.16683 | 1.3576
24 | 3.0061 | 1.375 | -2.9978 | -1.3704 | 0.0083209 | 0.0046191 | 0.096126 | 0.096133 | 0.096133 | 0.99271 | -0.16674 | 0.98978 | -0.18895 | 45.7778
25 | 3.8555 | 1.7659 | -3.8552 | -1.7669 | 0.00026348 | -0.001039 | 0.12287 | 0.12288 | 0.12288 | 0.99635 | -0.20393 | 0.99627 | -0.2048 | 33.9447
26 | -8.0669 | -3.7094 | 8.0676 | 3.7075 | 0.00074512 | -0.0018695 | 0.25681 | 0.25678 | 0.25681 | 0.99807 | -0.10503 | 0.99817 | -0.10458 | 40.2516
27 | 0.088511 | 0.042159 | -0.08851 | -0.042867 | 3.2772e-07 | -0.00070831 | 0.002851 | 0.0028599 | 0.0028599 | 0.99269 | -0.16683 | 0.99269 | -0.1668 | 1.2999
28 | 0.37786 | 0.18236 | -0.37785 | -0.183 | 5.5076e-06 | -0.0006424 | 0.012237 | 0.012245 | 0.012245 | 0.98978 | -0.18895 | 0.98977 | -0.18883 | 5.5658
29 | 2.6199 | 1.188 | -2.6158 | -1.1971 | 0.0041687 | -0.0091087 | 0.0839 | 0.084025 | 0.084025 | 0.98978 | -0.18895 | 0.9883 | -0.17694 | 38.1932
30 | 3.8552 | 1.7669 | -3.8524 | -1.7781 | 0.0028381 | -0.011161 | 0.12288 | 0.12304 | 0.12304 | 0.99627 | -0.2048 | 0.99547 | -0.21409 | 33.989
31 | 3.8524 | 1.7781 | -3.8514 | -1.777 | 0.001013 | 0.001068 | 0.12304 | 0.12304 | 0.12304 | 0.99547 | -0.21409 | 0.99514 | -0.22256 | 35.1546
32 | -8.0676 | -3.7075 | 8.0756 | 3.7286 | 0.0080137 | 0.02108 | 0.25678 | 0.25677 | 0.25678 | 0.99817 | -0.10458 | 1 | 0 | 39.8105
33 | 2.0526 | 0.90709 | -2.0521 | -0.90908 | 0.00050399 | -0.0019971 | 0.064781 | 0.064806 | 0.064806 | 1 | 0 | 0.99977 | 0.001716 | 29.4571
34 | -0.22481 | -0.089023 | 0.22481 | 0.087912 | 3.212e-06 | -0.0011111 | 0.0070859 | 0.007074 | 0.0070859 | 0.98506 | -0.16316 | 0.98507 | -0.16323 | 3.2209
35 | -0.50679 | -0.22448 | 0.5068 | 0.22329 | 1.8058e-05 | -0.0011835 | 0.016243 | 0.016229 | 0.016243 | 0.98507 | -0.16323 | 0.9851 | -0.16348 | 7.3832
36 | -0.18975 | -0.091901 | 0.18976 | 0.091804 | 5.8595e-06 | -9.6264e-05 | 0.0061768 | 0.0061755 | 0.0061768 | 0.98535 | -0.1663 | 0.98538 | -0.16609 | 2.9413
37 | -0.35442 | -0.17156 | 0.35444 | 0.17151 | 1.1474e-05 | -4.8916e-05 | 0.011536 | 0.011535 | 0.011536 | 0.98538 | -0.16609 | 0.98541 | -0.16588 | 5.4931
38 | -1.3411 | -0.61224 | 1.3416 | 0.60745 | 0.00053035 | -0.0047916 | 0.043183 | 0.043123 | 0.043183 | 0.98551 | -0.16678 | 0.98588 | -0.16975 | 19.6285
39 | 0.35447 | 0.16652 | -0.35444 | -0.17151 | 3.8112e-05 | -0.0049912 | 0.011472 | 0.011535 | 0.011535 | 0.98551 | -0.16678 | 0.98541 | -0.16588 | 5.2431
40 | 0.9866 | 0.44572 | -0.98617 | -0.45304 | 0.00043263 | -0.0073201 | 0.031712 | 0.031802 | 0.031802 | 0.98551 | -0.16678 | 0.9851 | -0.16348 | 14.4556
41 | -1.3416 | -0.60745 | 1.3417 | 0.60672 | 8.0695e-05 | -0.00073059 | 0.043123 | 0.043114 | 0.043123 | 0.98588 | -0.16975 | 0.98593 | -0.1702 | 19.6013
42 | 0.47937 | 0.22975 | -0.47933 | -0.23215 | 3.3725e-05 | -0.0023973 | 0.015577 | 0.015608 | 0.015608 | 0.9851 | -0.16348 | 0.98504 | -0.16287 | 7.0946
43 | -1.8957 | -0.87505 | 1.8966 | 0.87544 | 0.0008616 | 0.00038945 | 0.061134 | 0.061132 | 0.061134 | 0.98593 | -0.1702 | 0.98641 | -0.16666 | 29.1114
44 | 0.38892 | 0.18835 | -0.38891 | -0.18836 | 1.8681e-06 | -6.4028e-06 | 0.012664 | 0.012664 | 0.012664 | 0.98504 | -0.16287 | 0.98503 | -0.1629 | 6.0304
45 | 2.1788 | 1.0053 | -2.1786 | -1.006 | 0.00021528 | -0.00069862 | 0.070155 | 0.070165 | 0.070165 | 0.98737 | -0.16934 | 0.98728 | -0.16857 | 31.8931
46 | 0.16208 | 0.067662 | -0.16206 | -0.078409 | 1.666e-05 | -0.010747 | 0.0051349 | 0.005264 | 0.005264 | 0.98737 | -0.16934 | 0.98728 | -0.16859 | 2.3927
47 | -2.3409 | -1.073 | 2.3433 | 1.0664 | 0.0023463 | -0.0065369 | 0.075287 | 0.075199 | 0.075287 | 0.98737 | -0.16934 | 0.9883 | -0.17694 | 34.2214
48 | 2.0087 | 0.92372 | -2.0081 | -0.92342 | 0.00065275 | 0.00030689 | 0.064647 | 0.064648 | 0.064648 | 0.98728 | -0.16857 | 0.98694 | -0.17113 | 30.7847
49 | 0.16206 | 0.078409 | -0.16206 | -0.078488 | 3.4465e-06 | -7.9053e-05 | 0.005264 | 0.0052651 | 0.0052651 | 0.98728 | -0.16859 | 0.98726 | -0.16873 | 2.5072
50 | 0.2725 | 0.13067 | -0.27249 | -0.13197 | 5.8256e-06 | -0.0013018 | 0.0088273 | 0.0088438 | 0.0088438 | 0.9883 | -0.17694 | 0.98828 | -0.17676 | 4.0199
51 | -0.11032 | -0.053433 | 0.11033 | 0.052437 | 7.3391e-07 | -0.00099564 | 0.0035874 | 0.0035748 | 0.0035874 | 0.9864 | -0.1666 | 0.98641 | -0.16666 | 1.6307
52 | -2.0069 | -0.92788 | 2.0081 | 0.92342 | 0.0011546 | -0.0044631 | 0.064707 | 0.064648 | 0.064707 | 0.98641 | -0.16666 | 0.98694 | -0.17113 | 29.4121
53 | 3.6438 | 1.6765 | -3.6437 | -1.6766 | 0.00010369 | -0.00010489 | 0.11635 | 0.11636 | 0.11636 | 0.99514 | -0.22256 | 0.99511 | -0.22234 | 52.8886
54 | 3.6437 | 1.6766 | -3.6374 | -1.683 | 0.0063651 | -0.0064175 | 0.11636 | 0.11646 | 0.11646 | 0.99511 | -0.22234 | 0.99348 | -0.20873 | 52.9346
55 | -0.22042 | -0.10675 | 0.22042 | 0.10671 | 3.1359e-06 | -3.9449e-05 | 0.0070965 | 0.007096 | 0.0070965 | 0.99625 | 0.014329 | 0.99626 | 0.014423 | 3.3793
56 | 1.0064 | 0.44738 | -1.0055 | -0.46178 | 0.00084589 | -0.014402 | 0.031913 | 0.032087 | 0.032087 | 0.99626 | 0.014423 | 0.99547 | 0.020635 | 14.5852
57 | 0.27966 | 0.12284 | -0.2796 | -0.13536 | 5.6454e-05 | -0.012521 | 0.0088577 | 0.0090101 | 0.0090101 | 0.99547 | 0.020635 | 0.99528 | 0.022208 | 4.0955
58 | 0.53135 | 0.25193 | -0.53132 | -0.25197 | 2.6651e-05 | -4.4155e-05 | 0.017053 | 0.017053 | 0.017053 | 0.99547 | 0.020635 | 0.99542 | 0.020278 | 8.1206
59 | 0.19454 | 0.087011 | -0.19452 | -0.093566 | 1.4318e-05 | -0.0065558 | 0.00618 | 0.00626 | 0.00626 | 0.99547 | 0.020635 | 0.9954 | 0.021216 | 2.8455
60 | 0.19452 | 0.093566 | -0.19452 | -0.094212 | 1.4306e-06 | -0.00064565 | 0.00626 | 0.0062682 | 0.0062682 | 0.9954 | 0.021216 | 0.9954 | 0.021279 | 2.8492
61 | 0.2796 | 0.13536 | -0.2796 | -0.13542 | 6.85e-06 | -5.1708e-05 | 0.0090101 | 0.0090108 | 0.0090108 | 0.99528 | 0.022208 | 0.99526 | 0.022047 | 4.2909
62 | 0.23022 | 0.10614 | -0.23021 | -0.10702 | 2.7106e-06 | -0.00088664 | 0.0073517 | 0.0073625 | 0.0073625 | 0.99542 | 0.020278 | 0.99541 | 0.02037 | 3.3466
63 | 0.15162 | 0.070034 | -0.15162 | -0.070087 | 7.0543e-08 | -5.3264e-05 | 0.0048435 | 0.0048442 | 0.0048442 | 0.9954 | 0.020485 | 0.9954 | 0.020488 | 2.2019
64 | -0.23021 | -0.1081 | 0.23021 | 0.10761 | 1.4868e-06 | -0.00048427 | 0.0073757 | 0.0073697 | 0.0073757 | 0.9954 | 0.020485 | 0.9954 | 0.020432 | 3.3526
65 | 0.15162 | 0.070087 | -0.15162 | -0.072436 | 3.131e-06 | -0.0023494 | 0.0048442 | 0.0048731 | 0.0048731 | 0.9954 | 0.020488 | 0.99538 | 0.020656 | 2.2151
66 | -0.23021 | -0.10761 | 0.23021 | 0.10702 | 1.8012e-06 | -0.00058772 | 0.0073697 | 0.0073625 | 0.0073697 | 0.9954 | 0.020432 | 0.99541 | 0.02037 | 3.3499
67 | 0.076403 | 0.036046 | -0.076403 | -0.036301 | 8.674e-08 | -0.00025567 | 0.00245 | 0.0024532 | 0.0024532 | 0.99538 | 0.020656 | 0.99538 | 0.020666 | 1.1151
68 | 0.075212 | 0.03639 | -0.075212 | -0.036427 | 1.2056e-08 | -3.651e-05 | 0.0024232 | 0.0024236 | 0.0024236 | 0.99538 | 0.020656 | 0.99538 | 0.020658 | 1.1017
69 | 0.076403 | 0.036301 | -0.076403 | -0.037004 | 2.3931e-07 | -0.00070203 | 0.0024532 | 0.002462 | 0.002462 | 0.99538 | 0.020666 | 0.99537 | 0.020692 | 1.1191
70 | -0.39963 | -0.19355 | 0.39966 | 0.19346 | 2.8724e-05 | -9.2295e-05 | 0.013013 | 0.013012 | 0.013013 | 0.98501 | -0.1442 | 0.98508 | -0.14372 | 6.1968
71 | -0.65615 | -0.31732 | 0.65649 | 0.31705 | 0.00033855 | -0.00027087 | 0.021359 | 0.021353 | 0.021359 | 0.98508 | -0.14372 | 0.98562 | -0.14029 | 10.1708
72 | 0.17969 | 0.086669 | -0.17967 | -0.087018 | 1.9017e-05 | -0.00034953 | 0.0058462 | 0.0058508 | 0.0058508 | 0.98508 | -0.14372 | 0.98497 | -0.14443 | 2.7861
73 | -0.37286 | -0.1804 | 0.37295 | 0.17011 | 8.5932e-05 | -0.010282 | 0.012117 | 0.011988 | 0.012117 | 0.98685 | -0.15161 | 0.98706 | -0.15348 | 5.5075
74 | 0.37286 | 0.1804 | -0.37286 | -0.18058 | 1.591e-06 | -0.00018824 | 0.012117 | 0.012119 | 0.012119 | 0.98685 | -0.15161 | 0.98684 | -0.15157 | 5.5086
75 | -0.37295 | -0.17011 | 0.37295 | 0.16956 | 4.5668e-06 | -0.00055265 | 0.011988 | 0.011982 | 0.011988 | 0.98706 | -0.15348 | 0.98707 | -0.15357 | 5.4492
76 | -0.70886 | -0.33225 | 0.70888 | 0.3315 | 2.2676e-05 | -0.00074741 | 0.022895 | 0.022886 | 0.022895 | 0.98707 | -0.15357 | 0.9871 | -0.15383 | 10.407
77 | -0.18811 | -0.091104 | 0.18811 | 0.091051 | 3.0659e-06 | -5.2639e-05 | 0.0060848 | 0.0060841 | 0.0060848 | 0.99157 | -0.19283 | 0.99159 | -0.19272 | 2.8975
78 | 3.1919 | 1.4799 | -3.1841 | -1.4905 | 0.0077654 | -0.010663 | 0.10243 | 0.10258 | 0.10258 | 0.99159 | -0.19272 | 0.98933 | -0.17332 | 46.6295
79 | -3.38 | -1.5709 | 3.3869 | 1.5626 | 0.0068981 | -0.0082881 | 0.10851 | 0.10838 | 0.10851 | 0.99159 | -0.19272 | 0.99348 | -0.20873 | 49.3221
80 | 2.834 | 1.3216 | -2.8293 | -1.3301 | 0.0047595 | -0.0085665 | 0.091243 | 0.091367 | 0.091367 | 0.98933 | -0.17332 | 0.98778 | -0.15976 | 41.5304
81 | 0.35007 | 0.16898 | -0.35007 | -0.16954 | 4.145e-06 | -0.00056241 | 0.011342 | 0.01135 | 0.01135 | 0.98933 | -0.17332 | 0.98932 | -0.17321 | 5.1589
82 | 0.25048 | 0.12035 | -0.25047 | -0.12131 | 3.552e-06 | -0.00095917 | 0.0080747 | 0.0080868 | 0.0080868 | 0.99348 | -0.20873 | 0.99347 | -0.20861 | 3.6758
83 | 1.3751 | 0.66009 | -1.375 | -0.66094 | 0.00010044 | -0.00084538 | 0.04466 | 0.044671 | 0.044671 | 0.98593 | -0.14325 | 0.98587 | -0.14263 | 20.3052
84 | -1.4926 | -0.71636 | 1.4945 | 0.70284 | 0.0018931 | -0.013513 | 0.048475 | 0.048298 | 0.048475 | 0.98593 | -0.14325 | 0.9871 | -0.15383 | 22.0342
85 | 0.11752 | 0.056262 | -0.11752 | -0.056774 | 4.2928e-07 | -0.00051182 | 0.0038148 | 0.0038213 | 0.0038213 | 0.98593 | -0.14325 | 0.98593 | -0.14322 | 1.737
86 | 1.2427 | 0.59688 | -1.2427 | -0.59696 | 7.6227e-06 | -7.9047e-05 | 0.040368 | 0.040369 | 0.040369 | 0.98587 | -0.14263 | 0.98586 | -0.14258 | 18.3497
87 | -2.2034 | -1.0343 | 2.205 | 1.0292 | 0.0016225 | -0.0051077 | 0.071184 | 0.071115 | 0.071184 | 0.9871 | -0.15383 | 0.98778 | -0.15976 | 32.3565
88 | 0.11752 | 0.056774 | -0.11751 | -0.056914 | 3.1946e-06 | -0.00014041 | 0.0038213 | 0.0038231 | 0.0038231 | 0.98593 | -0.14322 | 0.9859 | -0.1434 | 1.8205
89 | 0.34355 | 0.16626 | -0.34352 | -0.16637 | 2.3067e-05 | -0.00010674 | 0.011154 | 0.011156 | 0.011156 | 0.98778 | -0.15976 | 0.98771 | -0.16021 | 5.3122
90 | 0.28073 | 0.13463 | -0.28073 | -0.13464 | 1.5989e-06 | -1.1624e-05 | 0.009099 | 0.0090992 | 0.0090992 | 0.98778 | -0.15976 | 0.98777 | -0.1598 | 4.3329
91 | 0.34352 | 0.16637 | -0.34352 | -0.16638 | 1.5287e-06 | -7.0719e-06 | 0.011156 | 0.011156 | 0.011156 | 0.98771 | -0.16021 | 0.9877 | -0.16023 | 5.3122
92 | 0.080424 | 0.037626 | -0.080424 | -0.03763 | 4.2634e-08 | -4.1109e-06 | 0.0025949 | 0.0025949 | 0.0025949 | 0.98777 | -0.1598 | 0.98777 | -0.1598 | 1.2357
93 | 1.1036 | 0.5296 | -1.1034 | -0.53252 | 0.00022062 | -0.0029157 | 0.035844 | 0.035882 | 0.035882 | 0.98586 | -0.14258 | 0.98568 | -0.14086 | 16.3101
94 | -0.080423 | -0.038951 | 0.080424 | 0.038326 | 2.4356e-07 | -0.00062498 | 0.0026115 | 0.0026036 | 0.0026115 | 0.98777 | -0.15975 | 0.98777 | -0.15978 | 1.1871
95 | -0.080424 | -0.038326 | 0.080424 | 0.03763 | 2.6938e-07 | -0.00069568 | 0.0026036 | 0.0025949 | 0.0026036 | 0.98777 | -0.15978 | 0.98777 | -0.1598 | 1.1835
96 | 1.1034 | 0.53252 | -1.1034 | -0.53343 | 6.882e-05 | -0.000908 | 0.035882 | 0.035894 | 0.035894 | 0.98568 | -0.14086 | 0.98562 | -0.14032 | 16.3155
97 | -0.93849 | -0.45363 | 0.93849 | 0.45358 | 2.778e-06 | -5.096e-05 | 0.03053 | 0.030529 | 0.03053 | 0.98562 | -0.14029 | 0.98562 | -0.14032 | 13.8772

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 10.389 | 4.7657

## res_load
| p_mw | q_mvar
0 | 0.089038 | 0.043123
1 | 0.19375 | 0.09384
2 | 0.10902 | 0.052802
3 | 0.25889 | 0.12539
4 | 0.16911 | 0.081905
5 | 0.12709 | 0.061553
6 | 0.22291 | 0.10796
7 | 0.1934 | 0.093669
8 | 0.15182 | 0.073529
9 | 0.27808 | 0.13468
10 | 0.24894 | 0.12057
11 | 0.24685 | 0.11955
12 | 0.097691 | 0.047314
13 | 0.28197 | 0.13657
14 | 0.18975 | 0.091901
15 | 0.16467 | 0.079752
16 | 0.55405 | 0.26834
17 | 0.09042 | 0.043792
18 | 0.08851 | 0.042867
19 | 0.16989 | 0.082279
20 | 0.37785 | 0.183
21 | 0.27249 | 0.13197
22 | 0.38891 | 0.18836
23 | 0.11032 | 0.053433
24 | 0.16206 | 0.078488
25 | 0.20753 | 0.10051
26 | 0.22042 | 0.10675
27 | 0.19452 | 0.094212
28 | 0.3011 | 0.14583
29 | 0.2796 | 0.13542
30 | 0.078591 | 0.038063
31 | 0.075212 | 0.036427
32 | 0.076403 | 0.037004
33 | 0.39963 | 0.19355
34 | 0.076796 | 0.037194
35 | 0.17967 | 0.087018
36 | 0.37286 | 0.18058
37 | 0.33591 | 0.16269
38 | 0.18811 | 0.091104
39 | 0.13227 | 0.064059
40 | 0.35007 | 0.16954
41 | 0.20031 | 0.097014
42 | 0.25047 | 0.12131
43 | 0.13908 | 0.067358
44 | 0.11751 | 0.056914
45 | 0.080423 | 0.038951
46 | 0.34352 | 0.16638
47 | 0.28201 | 0.13658
48 | 0.16486 | 0.079844

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1