## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_453_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_453_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_453_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_453_0_node_107 | 20 | n |  | TRUE
4 | bus_MV_453_0_node_108 | 20 | n |  | TRUE
5 | bus_MV_453_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_453_0_node_32 | 20 | n |  | TRUE
7 | bus_MV_453_0_node_35 | 20 | n |  | TRUE
8 | bus_MV_453_0_node_30 | 20 | n |  | TRUE
9 | bus_MV_453_0_node_4 | 20 | n |  | TRUE
10 | bus_MV_453_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_453_0_node_6 | 20 | n |  | TRUE
12 | bus_MV_453_0_node_8 | 20 | n |  | TRUE
13 | bus_MV_453_0_node_9 | 20 | n |  | TRUE
14 | bus_MV_453_0_node_7 | 20 | n |  | TRUE
15 | bus_MV_453_0_node_73 | 20 | n |  | TRUE
16 | bus_MV_453_0_node_75 | 20 | n |  | TRUE
17 | bus_MV_453_0_node_74 | 20 | n |  | TRUE
18 | bus_MV_453_0_node_89 | 20 | n |  | TRUE
19 | bus_MV_453_0_node_88 | 20 | n |  | TRUE
20 | bus_MV_453_0_node_93 | 20 | n |  | TRUE
21 | bus_MV_453_0_node_72 | 20 | n |  | TRUE
22 | bus_MV_453_0_node_10 | 20 | n |  | TRUE
23 | bus_MV_453_0_node_11 | 20 | n |  | TRUE
24 | bus_MV_453_0_node_12 | 20 | n |  | TRUE
25 | bus_MV_453_0_node_13 | 20 | n |  | TRUE
26 | bus_MV_453_0_node_121 | 20 | n |  | TRUE
27 | bus_MV_453_0_node_22 | 20 | n |  | TRUE
28 | bus_MV_453_0_node_26 | 20 | n |  | TRUE
29 | bus_MV_453_0_node_27 | 20 | n |  | TRUE
30 | bus_MV_453_0_node_111 | 20 | n |  | TRUE
31 | bus_MV_453_0_node_14 | 20 | n |  | TRUE
32 | bus_MV_453_0_node_15 | 20 | n |  | TRUE
33 | bus_MV_453_0_node_16 | 20 | n |  | TRUE
34 | bus_MV_453_0_node_17 | 20 | n |  | TRUE
35 | bus_MV_453_0_node_122 | 20 | n |  | TRUE
36 | bus_MV_453_0_node_28 | 20 | n |  | TRUE
37 | bus_MV_453_0_node_18 | 20 | n |  | TRUE
38 | bus_MV_453_0_node_20 | 20 | n |  | TRUE
39 | bus_MV_453_0_node_19 | 20 | n |  | TRUE
40 | bus_MV_453_0_node_23 | 20 | n |  | TRUE
41 | bus_MV_453_0_node_21 | 20 | n |  | TRUE
42 | bus_MV_453_0_node_109 | 20 | n |  | TRUE
43 | bus_MV_453_0_node_85 | 20 | n |  | TRUE
44 | bus_MV_453_0_node_81 | 20 | n |  | TRUE
45 | bus_MV_453_0_node_24 | 20 | n |  | TRUE
46 | bus_MV_453_0_node_25 | 20 | n |  | TRUE
47 | bus_MV_453_0_node_29 | 20 | n |  | TRUE
48 | bus_MV_453_0_node_31 | 20 | n |  | TRUE
49 | bus_MV_453_0_node_33 | 20 | n |  | TRUE
50 | bus_MV_453_0_node_34 | 20 | n |  | TRUE
51 | bus_MV_453_0_node_36 | 20 | n |  | TRUE
52 | bus_MV_453_0_node_118 | 20 | n |  | TRUE
53 | bus_MV_453_0_node_99 | 20 | n |  | TRUE
54 | bus_MV_453_0_node_100 | 20 | n |  | TRUE
55 | bus_MV_453_0_node_39 | 20 | n |  | TRUE
56 | bus_MV_453_0_node_37 | 20 | n |  | TRUE
57 | bus_MV_453_0_node_102 | 20 | n |  | TRUE
58 | bus_MV_453_0_node_135 | 20 | n |  | TRUE
59 | bus_MV_453_0_node_127 | 20 | n |  | TRUE
60 | bus_MV_453_0_node_101 | 20 | n |  | TRUE
61 | bus_MV_453_0_node_119 | 20 | n |  | TRUE
62 | bus_MV_453_0_node_105 | 20 | n |  | TRUE
63 | bus_MV_453_0_node_116 | 20 | n |  | TRUE
64 | bus_MV_453_0_node_104 | 20 | n |  | TRUE
65 | bus_MV_453_0_node_38 | 20 | n |  | TRUE
66 | bus_MV_453_0_node_41 | 20 | n |  | TRUE
67 | bus_MV_453_0_node_42 | 20 | n |  | TRUE
68 | bus_MV_453_0_node_40 | 20 | n |  | TRUE
69 | bus_MV_453_0_node_43 | 20 | n |  | TRUE
70 | bus_MV_453_0_node_124 | 20 | n |  | TRUE
71 | bus_MV_453_0_node_56 | 20 | n |  | TRUE
72 | bus_MV_453_0_node_130 | 20 | n |  | TRUE
73 | bus_MV_453_0_node_86 | 20 | n |  | TRUE
74 | bus_MV_453_0_node_44 | 20 | n |  | TRUE
75 | bus_MV_453_0_node_125 | 20 | n |  | TRUE
76 | bus_MV_453_0_node_55 | 20 | n |  | TRUE
77 | bus_MV_453_0_node_83 | 20 | n |  | TRUE
78 | bus_MV_453_0_node_45 | 20 | n |  | TRUE
79 | bus_MV_453_0_node_46 | 20 | n |  | TRUE
80 | bus_MV_453_0_node_47 | 20 | n |  | TRUE
81 | bus_MV_453_0_node_59 | 20 | n |  | TRUE
82 | bus_MV_453_0_node_60 | 20 | n |  | TRUE
83 | bus_MV_453_0_node_114 | 20 | n |  | TRUE
84 | bus_MV_453_0_node_132 | 20 | n |  | TRUE
85 | bus_MV_453_0_node_69 | 20 | n |  | TRUE
86 | bus_MV_453_0_node_57 | 20 | n |  | TRUE
87 | bus_MV_453_0_node_54 | 20 | n |  | TRUE
88 | bus_MV_453_0_node_64 | 20 | n |  | TRUE
89 | bus_MV_453_0_node_50 | 20 | n |  | TRUE
90 | bus_MV_453_0_node_48 | 20 | n |  | TRUE
91 | bus_MV_453_0_node_49 | 20 | n |  | TRUE
92 | bus_MV_453_0_node_51 | 20 | n |  | TRUE
93 | bus_MV_453_0_node_53 | 20 | n |  | TRUE
94 | bus_MV_453_0_node_113 | 20 | n |  | TRUE
95 | bus_MV_453_0_node_52 | 20 | n |  | TRUE
96 | bus_MV_453_0_node_92 | 20 | n |  | TRUE
97 | bus_MV_453_0_node_91 | 20 | n |  | TRUE
98 | bus_MV_453_0_node_131 | 20 | n |  | TRUE
99 | bus_MV_453_0_node_126 | 20 | n |  | TRUE
100 | bus_MV_453_0_node_58 | 20 | n |  | TRUE
101 | bus_MV_453_0_node_90 | 20 | n |  | TRUE
102 | bus_MV_453_0_node_120 | 20 | n |  | TRUE
103 | bus_MV_453_0_node_68 | 20 | n |  | TRUE
104 | bus_MV_453_0_node_61 | 20 | n |  | TRUE
105 | bus_MV_453_0_node_70 | 20 | n |  | TRUE
106 | bus_MV_453_0_node_65 | 20 | n |  | TRUE
107 | bus_MV_453_0_node_66 | 20 | n |  | TRUE
108 | bus_MV_453_0_node_67 | 20 | n |  | TRUE
109 | bus_MV_453_0_node_71 | 20 | n |  | TRUE
110 | bus_MV_453_0_node_129 | 20 | n |  | TRUE
111 | bus_MV_453_0_node_87 | 20 | n |  | TRUE
112 | bus_MV_453_0_node_76 | 20 | n |  | TRUE
113 | bus_MV_453_0_node_77 | 20 | n |  | TRUE
114 | bus_MV_453_0_node_78 | 20 | n |  | TRUE
115 | bus_MV_453_0_node_79 | 20 | n |  | TRUE
116 | bus_MV_453_0_node_80 | 20 | n |  | TRUE
117 | bus_MV_453_0_node_84 | 20 | n |  | TRUE
118 | bus_MV_453_0_node_82 | 20 | n |  | TRUE
119 | bus_MV_453_0_node_123 | 20 | n |  | TRUE
120 | bus_MV_453_0_node_115 | 20 | n |  | TRUE
121 | bus_MV_453_0_node_94 | 20 | n |  | TRUE
122 | bus_MV_453_0_node_97 | 20 | n |  | TRUE
123 | bus_MV_453_0_node_134 | 20 | n |  | TRUE
124 | bus_MV_453_0_node_95 | 20 | n |  | TRUE
125 | bus_MV_453_0_node_103 | 20 | n |  | TRUE
126 | bus_MV_453_0_node_98 | 20 | n |  | TRUE
127 | bus_MV_453_0_node_117 | 20 | n |  | TRUE
128 | bus_MV_453_0_node_106 | 20 | n |  | TRUE
129 | bus_MV_453_0_node_128 | 20 | n |  | TRUE
130 | bus_HV_453_0_node_124 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_453_0_load_0 | 0 | 0.26091 | 0.12636 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_453_0_load_107 | 3 | 0.18668 | 0.090413 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_453_0_load_3 | 5 | 0.22324 | 0.10812 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_453_0_load_30 | 8 | 0.1255 | 0.060782 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_453_0_load_4 | 9 | 0.14651 | 0.070957 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_453_0_load_7 | 14 | 0.064211 | 0.031099 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_453_0_load_75 | 16 | 0.25479 | 0.1234 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_453_0_load_93 | 20 | 0.27743 | 0.13437 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_453_0_load_72 | 21 | 0.24184 | 0.11713 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_453_0_load_10 | 22 | 0.20923 | 0.10134 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_453_0_load_121 | 26 | 0.35731 | 0.17305 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_453_0_load_111 | 30 | 0.070446 | 0.034119 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_453_0_load_14 | 31 | 0.15648 | 0.075784 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_453_0_load_15 | 32 | 0.27907 | 0.13516 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_453_0_load_122 | 35 | 0.092699 | 0.044896 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_453_0_load_18 | 37 | 0.23134 | 0.11204 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_453_0_load_109 | 42 | 0.13912 | 0.067377 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_453_0_load_85 | 43 | 0.23363 | 0.11315 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_453_0_load_24 | 45 | 0.17561 | 0.085054 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_453_0_load_29 | 47 | 0.19291 | 0.09343 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_453_0_load_36 | 51 | 0.2423 | 0.11735 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_453_0_load_118 | 52 | 0.22404 | 0.10851 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_453_0_load_39 | 55 | 0.20283 | 0.098235 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_453_0_load_135 | 58 | 0.14444 | 0.069953 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_453_0_load_119 | 61 | 0.216 | 0.10461 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_453_0_load_105 | 62 | 0.37416 | 0.18122 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_453_0_load_116 | 63 | 0.13783 | 0.066755 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_453_0_load_104 | 64 | 0.14452 | 0.069996 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_453_0_load_40 | 68 | 0.25361 | 0.12283 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_453_0_load_43 | 69 | 0.29154 | 0.1412 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_453_0_load_124 | 70 | 0.34585 | 0.1675 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_453_0_load_130 | 72 | 0.40275 | 0.19506 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_453_0_load_86 | 73 | 0.20477 | 0.099173 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_453_0_load_125 | 75 | 0.27415 | 0.13278 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_453_0_load_59 | 81 | 0.29501 | 0.14288 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_453_0_load_114 | 83 | 0.072226 | 0.03498 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_453_0_load_132 | 84 | 0.30538 | 0.1479 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_453_0_load_69 | 85 | 0.12375 | 0.059934 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_453_0_load_54 | 87 | 0.28571 | 0.13838 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_453_0_load_64 | 88 | 0.25918 | 0.12553 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_453_0_load_48 | 90 | 0.1851 | 0.089646 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_453_0_load_113 | 94 | 0.17881 | 0.086602 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_453_0_load_91 | 97 | 0.14187 | 0.068709 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_453_0_load_131 | 98 | 0.13545 | 0.065602 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_453_0_load_126 | 99 | 0.21053 | 0.10196 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_453_0_load_90 | 101 | 0.27083 | 0.13117 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_453_0_load_120 | 102 | 0.33835 | 0.16387 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_453_0_load_61 | 104 | 0.19667 | 0.09525 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_453_0_load_70 | 105 | 0.33216 | 0.16087 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_453_0_load_65 | 106 | 0.25177 | 0.12194 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_453_0_load_129 | 110 | 0.069106 | 0.033469 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_453_0_load_87 | 111 | 0.36385 | 0.17622 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_453_0_load_76 | 112 | 0.13425 | 0.065022 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_453_0_load_77 | 113 | 0.28369 | 0.1374 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_453_0_load_78 | 114 | 0.21519 | 0.10422 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_453_0_load_123 | 119 | 0.15597 | 0.075542 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_453_0_load_115 | 120 | 0.18337 | 0.088813 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_453_0_load_94 | 121 | 0.29582 | 0.14327 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_453_0_load_134 | 123 | 0.28232 | 0.13673 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_453_0_load_117 | 127 | 0.35431 | 0.1716 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_453_0_load_106 | 128 | 0.24985 | 0.12101 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_453_0_load_128 | 129 | 0.11126 | 0.053887 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_453_0_line_0 |  | 0 | 1 | 0.054334 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_453_0_line_1 |  | 1 | 2 | 0.2415 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_453_0_line_2 |  | 2 | 5 | 0.009319 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_453_0_line_3 |  | 3 | 4 | 0.14541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_453_0_line_4 |  | 3 | 5 | 2.5868 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_453_0_line_5 |  | 4 | 42 | 0.31088 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_453_0_line_6 |  | 6 | 7 | 0.22043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_453_0_line_7 |  | 6 | 8 | 0.11346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_453_0_line_8 |  | 7 | 55 | 0.042882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_453_0_line_9 |  | 8 | 48 | 0.007195 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_453_0_line_10 |  | 9 | 10 | 0.044361 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_453_0_line_11 |  | 10 | 11 | 0.6482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_453_0_line_12 |  | 11 | 14 | 0.078648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_453_0_line_13 |  | 12 | 13 | 1.2002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_453_0_line_14 |  | 12 | 14 | 0.28914 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_453_0_line_15 |  | 13 | 15 | 0.42474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_453_0_line_16 |  | 13 | 16 | 0.12696 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_453_0_line_17 |  | 15 | 21 | 0.030351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_453_0_line_18 |  | 15 | 17 | 0.16723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_453_0_line_19 |  | 17 | 18 | 0.20212 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_453_0_line_20 |  | 17 | 19 | 0.098205 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_453_0_line_21 |  | 17 | 20 | 0.046323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_453_0_line_22 |  | 18 | 102 | 0.054445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_453_0_line_23 |  | 19 | 111 | 0.059597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_453_0_line_24 |  | 22 | 23 | 0.059438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_453_0_line_25 |  | 23 | 24 | 0.42858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_453_0_line_26 |  | 23 | 25 | 0.41659 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_453_0_line_27 |  | 24 | 31 | 0.047098 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_453_0_line_28 |  | 25 | 32 | 0.018469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_453_0_line_29 |  | 26 | 27 | 0.07168 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_453_0_line_30 |  | 26 | 28 | 0.33836 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_453_0_line_31 |  | 26 | 29 | 0.11106 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_453_0_line_32 |  | 26 | 30 | 0.12099 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_453_0_line_33 |  | 27 | 38 | 0.75802 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_453_0_line_34 |  | 28 | 36 | 0.36446 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_453_0_line_35 |  | 28 | 47 | 0.035289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_453_0_line_36 |  | 29 | 46 | 0.44064 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_453_0_line_37 |  | 32 | 33 | 0.045164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_453_0_line_38 |  | 33 | 34 | 0.77504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_453_0_line_39 |  | 34 | 35 | 0.095116 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_453_0_line_40 |  | 35 | 36 | 0.071438 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_453_0_line_41 |  | 37 | 38 | 0.02059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_453_0_line_42 |  | 37 | 39 | 0.16095 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_453_0_line_43 |  | 38 | 40 | 0.98852 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_453_0_line_44 |  | 39 | 41 | 0.093352 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_453_0_line_45 |  | 40 | 43 | 0.042606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_453_0_line_46 |  | 41 | 42 | 0.032339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_453_0_line_47 |  | 43 | 44 | 0.078156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_453_0_line_48 |  | 44 | 77 | 0.46806 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_453_0_line_49 |  | 44 | 116 | 0.58428 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_453_0_line_50 |  | 45 | 46 | 0.013777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_453_0_line_51 |  | 48 | 49 | 0.42748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_453_0_line_52 |  | 48 | 50 | 0.85859 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_453_0_line_53 |  | 49 | 51 | 0.030556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_453_0_line_54 |  | 50 | 52 | 0.018242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_453_0_line_55 |  | 50 | 53 | 0.54121 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_453_0_line_56 |  | 50 | 54 | 0.46421 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_453_0_line_57 |  | 51 | 56 | 0.022058 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_453_0_line_58 |  | 53 | 62 | 0.081987 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_453_0_line_59 |  | 53 | 57 | 0.48328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_453_0_line_60 |  | 53 | 60 | 0.61813 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_453_0_line_61 |  | 54 | 63 | 0.0031308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_453_0_line_62 |  | 54 | 64 | 0.16526 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
63 | MV_453_0_line_63 |  | 56 | 65 | 0.49003 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_453_0_line_64 |  | 57 | 58 | 0.079156 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_453_0_line_65 |  | 57 | 59 | 0.36134 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_453_0_line_66 |  | 59 | 129 | 0.029445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_453_0_line_67 |  | 60 | 61 | 0.05122 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_453_0_line_68 |  | 61 | 128 | 0.20386 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
69 | MV_453_0_line_69 |  | 64 | 126 | 0.036028 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_453_0_line_70 |  | 65 | 66 | 0.75041 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
71 | MV_453_0_line_71 |  | 65 | 67 | 1.3316 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
72 | MV_453_0_line_72 |  | 65 | 68 | 0.081247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_453_0_line_73 |  | 65 | 69 | 0.31117 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_453_0_line_74 |  | 66 | 70 | 0.023941 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_453_0_line_75 |  | 66 | 71 | 0.28035 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_453_0_line_76 |  | 67 | 72 | 0.11229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_453_0_line_77 |  | 67 | 73 | 0.36206 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
78 | MV_453_0_line_78 |  | 69 | 74 | 0.028859 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
79 | MV_453_0_line_79 |  | 71 | 75 | 0.014016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_453_0_line_80 |  | 71 | 76 | 1.0937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_453_0_line_81 |  | 73 | 77 | 0.21922 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
82 | MV_453_0_line_82 |  | 74 | 78 | 0.7068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_453_0_line_83 |  | 76 | 86 | 0.75968 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_453_0_line_84 |  | 76 | 87 | 0.051599 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
85 | MV_453_0_line_85 |  | 78 | 79 | 0.54877 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_453_0_line_86 |  | 78 | 80 | 0.7181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_453_0_line_87 |  | 78 | 81 | 0.10552 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_453_0_line_88 |  | 79 | 82 | 0.61837 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_453_0_line_89 |  | 79 | 83 | 0.068451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_453_0_line_90 |  | 80 | 84 | 0.037477 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_453_0_line_91 |  | 82 | 85 | 0.011512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_453_0_line_92 |  | 83 | 88 | 0.28908 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_453_0_line_93 |  | 84 | 89 | 0.006913 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_453_0_line_94 |  | 85 | 103 | 0.056065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_453_0_line_95 |  | 86 | 100 | 0.22314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_453_0_line_96 |  | 86 | 101 | 0.041737 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_453_0_line_97 |  | 88 | 104 | 0.28514 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
98 | MV_453_0_line_98 |  | 89 | 92 | 0.36797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_453_0_line_99 |  | 90 | 91 | 0.10819 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
100 | MV_453_0_line_100 |  | 91 | 92 | 0.41388 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_453_0_line_101 |  | 91 | 93 | 0.75864 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_453_0_line_102 |  | 92 | 94 | 0.079761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_453_0_line_103 |  | 93 | 98 | 0.055409 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_453_0_line_104 |  | 93 | 95 | 0.66899 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_453_0_line_105 |  | 95 | 96 | 0.83817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_453_0_line_106 |  | 95 | 97 | 0.041627 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
107 | MV_453_0_line_107 |  | 96 | 99 | 0.03482 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_453_0_line_108 |  | 100 | 102 | 0.01623 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_453_0_line_109 |  | 103 | 107 | 0.027779 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_453_0_line_110 |  | 105 | 106 | 0.084128 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_453_0_line_111 |  | 106 | 107 | 0.016282 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_453_0_line_112 |  | 107 | 108 | 0.021595 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_453_0_line_113 |  | 108 | 109 | 0.099797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_453_0_line_114 |  | 109 | 110 | 0.008737 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_453_0_line_115 |  | 112 | 113 | 0.003193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_453_0_line_116 |  | 112 | 114 | 0.03448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_453_0_line_117 |  | 113 | 115 | 0.18307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_453_0_line_118 |  | 114 | 116 | 0.058688 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_453_0_line_119 |  | 115 | 117 | 0.89375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_453_0_line_120 |  | 116 | 118 | 0.0699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_453_0_line_121 |  | 117 | 119 | 0.048196 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
122 | MV_453_0_line_122 |  | 118 | 120 | 0.022074 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
123 | MV_453_0_line_123 |  | 121 | 122 | 0.10236 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
124 | MV_453_0_line_124 |  | 121 | 123 | 0.44132 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
125 | MV_453_0_line_125 |  | 121 | 124 | 0.14239 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
126 | MV_453_0_line_126 |  | 122 | 125 | 0.32983 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
127 | MV_453_0_line_127 |  | 124 | 126 | 0.027673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
128 | MV_453_0_line_128 |  | 125 | 127 | 0.04493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_453_0_trafo_124 | 25 MVA 110/20 kV | 130 | 70 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2499305.6156 | 1130065.4119
1 | 2499348.6408 | 1130098.593
2 | 2499502.4572 | 1130277.6313
3 | 2501254.6332 | 1132193.1094
4 | 2501334.6023 | 1132314.5504
5 | 2499509.7409 | 1130283.4026
6 | 2502303.2829 | 1130279.4383
7 | 2502428.1171 | 1130166.4388
8 | 2502406.3328 | 1130325.6223
9 | 2504183.6674 | 1134107.2309
10 | 2504166.3433 | 1134066.3922
11 | 2504644.1121 | 1133731.4515
12 | 2504627.3528 | 1133400.5145
13 | 2504551.5532 | 1132542.8785
14 | 2504680.7593 | 1133684.6772
15 | 2504265.3891 | 1132304.9325
16 | 2504677.44 | 1132559.3211
17 | 2504182.4429 | 1132187.6105
18 | 2504060.1704 | 1132038.2838
19 | 2504103.3377 | 1132186.1438
20 | 2504211.8541 | 1132151.7884
21 | 2504251.5251 | 1132331.9468
22 | 2502054.4401 | 1134542.5108
23 | 2502039.5338 | 1134485.0063
24 | 2502084.6983 | 1134197.6737
25 | 2501939.8932 | 1134228.7335
26 | 2501765.0069 | 1133152.1469
27 | 2501708.2158 | 1133108.4113
28 | 2501678.117 | 1133479.164
29 | 2501730.5686 | 1133257.7283
30 | 2501862.9679 | 1133081.1315
31 | 2502073.8478 | 1134154.8123
32 | 2501924.0331 | 1134219.1965
33 | 2501885.8686 | 1134194.8909
34 | 2501743.4818 | 1133784.1877
35 | 2501704.5217 | 1133697.5909
36 | 2501676.7781 | 1133631.7467
37 | 2501735.2173 | 1132536.4071
38 | 2501744.9119 | 1132553.3931
39 | 2501642.0398 | 1132405.1772
40 | 2502117.9531 | 1132506.3246
41 | 2501645.9705 | 1132338.7832
42 | 2501645.3903 | 1132306.9842
43 | 2502148.5507 | 1132476.5878
44 | 2502215.7879 | 1132438.2411
45 | 2501937.6491 | 1133579.9029
46 | 2501932.7048 | 1133567.042
47 | 2501644.4474 | 1133490.0416
48 | 2502412.9131 | 1130328.5733
49 | 2502583.5233 | 1130563.4069
50 | 2502568.4644 | 1129675.1254
51 | 2502597.7867 | 1130590.4268
52 | 2502551.3019 | 1129681.0171
53 | 2502750.236 | 1129302.9771
54 | 2502421.7584 | 1129340.1325
55 | 2502467.1505 | 1130148.7416
56 | 2502608.6804 | 1130609.6073
57 | 2502736.5716 | 1129708.5578
58 | 2502806.264 | 1129670.7568
59 | 2502877.3634 | 1129997.9361
60 | 2503175.7949 | 1129380.9083
61 | 2503175.8463 | 1129432.1279
62 | 2502811.9055 | 1129248.951
63 | 2502424.5698 | 1129341.5102
64 | 2502336.2967 | 1129198.6826
65 | 2503007.971 | 1130681.5231
66 | 2503033.23 | 1131253.302
67 | 2502624.473 | 1131593.6692
68 | 2503031.2197 | 1130758.7527
69 | 2502911.4373 | 1130385.7042
70 | 2503013.1534 | 1131266.4326
71 | 2503244.9548 | 1131437.0618
72 | 2502597.7988 | 1131489.5132
73 | 2502492.4835 | 1131930.8186
74 | 2502883.67 | 1130393.5667
75 | 2503253.9319 | 1131426.2779
76 | 2503672.0044 | 1131265.104
77 | 2502370.3279 | 1132112.8498
78 | 2503469.8204 | 1130483.7437
79 | 2503644.3157 | 1130196.3689
80 | 2503936.656 | 1130745.3129
81 | 2503571.1506 | 1130462.6558
82 | 2504031.1888 | 1130314.5013
83 | 2503617.2923 | 1130135.6704
84 | 2503956.6341 | 1130777.0477
85 | 2504037.0351 | 1130304.5911
86 | 2503945.8164 | 1131811.5528
87 | 2503712.6815 | 1131233.3578
88 | 2503332.2409 | 1130087.5575
89 | 2503962.5147 | 1130773.3853
90 | 2504153.7533 | 1130892.1963
91 | 2504247.3419 | 1130837.9113
92 | 2503997.3343 | 1130959.9233
93 | 2504409.7994 | 1131218.469
94 | 2503941.0514 | 1130986.0509
95 | 2504421.197 | 1131457.5345
96 | 2504696.7587 | 1131966.0653
97 | 2504458.0127 | 1131438.1065
98 | 2504358.1423 | 1131238.5106
99 | 2504674.707 | 1131939.0749
100 | 2504037.6495 | 1131971.3231
101 | 2503938.7536 | 1131770.4179
102 | 2504043.5965 | 1131986.4267
103 | 2504075.6865 | 1130264.2857
104 | 2503471.8303 | 1129838.9272
105 | 2504049.5714 | 1130152.3655
106 | 2504069.3525 | 1130234.1345
107 | 2504082.3157 | 1130243.7122
108 | 2504100.2418 | 1130231.5978
109 | 2504153.0792 | 1130315.9103
110 | 2504144.6511 | 1130318.3011
111 | 2504085.689 | 1132230.8701
112 | 2502567.2451 | 1132851.2538
113 | 2502569.8889 | 1132853.0442
114 | 2502538.0969 | 1132832.8482
115 | 2502734.4696 | 1132873.4605
116 | 2502495.2832 | 1132792.8263
117 | 2503154.114 | 1132158.8061
118 | 2502448.8397 | 1132828.8323
119 | 2503176.0354 | 1132115.8836
120 | 2502433.15 | 1132843.8623
121 | 2502434.6688 | 1129054.9705
122 | 2502353.5996 | 1128992.8203
123 | 2502686.2959 | 1128692.4093
124 | 2502330.1265 | 1129151.6423
125 | 2502155.9188 | 1128748.2581
126 | 2502312.4056 | 1129171.6635
127 | 2502122.4165 | 1128778.264
128 | 2503154.399 | 1129634.8519
129 | 2502903.1088 | 1129983.5131
130 | 2503013.1534 | 1131266.4326

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98232 | -0.1101 | 0.26091 | 0.12636
1 | 0.98235 | -0.10992 | 0 | 0
2 | 0.98243 | -0.11066 | 0 | 0
3 | 0.98489 | -0.093376 | 0.18668 | 0.090413
4 | 0.98501 | -0.094482 | 0 | 0
5 | 0.98244 | -0.11069 | 0.22324 | 0.10812
6 | 0.99442 | -0.0095625 | 0 | 0
7 | 0.99436 | -0.0090729 | 0 | 0
8 | 0.99445 | -0.0097856 | 0.1255 | 0.060782
9 | 0.99168 | 0.031717 | 0.14651 | 0.070957
10 | 0.99169 | 0.031797 | 0 | 0
11 | 0.99181 | 0.030964 | 0 | 0
12 | 0.99194 | 0.032087 | 0 | 0
13 | 0.99225 | 0.031465 | 0 | 0
14 | 0.99183 | 0.030906 | 0.064211 | 0.031099
15 | 0.9925 | 0.03046 | 0 | 0
16 | 0.99219 | 0.031068 | 0.25479 | 0.1234
17 | 0.99265 | 0.029656 | 0 | 0
18 | 0.99299 | 0.027231 | 0 | 0
19 | 0.9926 | 0.030074 | 0 | 0
20 | 0.99263 | 0.02981 | 0.27743 | 0.13437
21 | 0.99249 | 0.030548 | 0.24184 | 0.11713
22 | 0.98215 | -0.078258 | 0.20923 | 0.10134
23 | 0.98216 | -0.07841 | 0 | 0
24 | 0.98208 | -0.077748 | 0 | 0
25 | 0.98236 | -0.079827 | 0 | 0
26 | 0.98413 | -0.082231 | 0.35731 | 0.17305
27 | 0.98435 | -0.080445 | 0 | 0
28 | 0.98353 | -0.087792 | 0 | 0
29 | 0.9841 | -0.082578 | 0 | 0
30 | 0.98412 | -0.082338 | 0.070446 | 0.034119
31 | 0.98207 | -0.077658 | 0.15648 | 0.075784
32 | 0.98237 | -0.079884 | 0.27907 | 0.13516
33 | 0.98241 | -0.080177 | 0 | 0
34 | 0.98304 | -0.084715 | 0 | 0
35 | 0.98312 | -0.085208 | 0.092699 | 0.044896
36 | 0.98319 | -0.085651 | 0 | 0
37 | 0.9858 | -0.090848 | 0.23134 | 0.11204
38 | 0.98583 | -0.091091 | 0 | 0
39 | 0.98555 | -0.09269 | 0 | 0
40 | 0.98909 | -0.11522 | 0 | 0
41 | 0.98545 | -0.091844 | 0 | 0
42 | 0.98542 | -0.091547 | 0.13912 | 0.067377
43 | 0.98923 | -0.11622 | 0.23363 | 0.11315
44 | 0.98951 | -0.11828 | 0 | 0
45 | 0.98399 | -0.081749 | 0.17561 | 0.085054
46 | 0.984 | -0.081779 | 0 | 0
47 | 0.98352 | -0.087709 | 0.19291 | 0.09343
48 | 0.99445 | -0.00981 | 0 | 0
49 | 0.99601 | -0.021595 | 0 | 0
50 | 0.99168 | 0.01189 | 0 | 0
51 | 0.99612 | -0.022425 | 0.2423 | 0.11735
52 | 0.99168 | 0.011939 | 0.22404 | 0.10851
53 | 0.99093 | 0.017581 | 0 | 0
54 | 0.99096 | 0.018188 | 0 | 0
55 | 0.99435 | -0.008969 | 0.20283 | 0.098235
56 | 0.99625 | -0.021365 | 0 | 0
57 | 0.99077 | 0.018563 | 0 | 0
58 | 0.99076 | 0.018698 | 0.14444 | 0.069953
59 | 0.99072 | 0.018938 | 0 | 0
60 | 0.99056 | 0.020788 | 0 | 0
61 | 0.99051 | 0.020493 | 0.216 | 0.10461
62 | 0.99087 | 0.017203 | 0.37416 | 0.18122
63 | 0.99096 | 0.018193 | 0.13783 | 0.066755
64 | 0.99061 | 0.015804 | 0.14452 | 0.069996
65 | 0.99818 | -0.035888 | 0 | 0
66 | 0.99993 | -0.0013615 | 0 | 0
67 | 0.99504 | -0.075397 | 0 | 0
68 | 0.99816 | -0.035646 | 0.25361 | 0.12283
69 | 0.99638 | -0.051437 | 0.29154 | 0.1412
70 | 1 | 0 | -13.4508 | -5.8369
71 | 0.99859 | -0.012908 | 0 | 0
72 | 0.99498 | -0.07486 | 0.40275 | 0.19506
73 | 0.99336 | -0.12088 | 0.20477 | 0.099173
74 | 0.99623 | -0.052779 | 0 | 0
75 | 0.99858 | -0.012862 | 0.27415 | 0.13278
76 | 0.99548 | 0.009055 | 0 | 0
77 | 0.99177 | -0.13459 | 0 | 0
78 | 0.99376 | -0.035544 | 0 | 0
79 | 0.99285 | -0.02789 | 0 | 0
80 | 0.99272 | -0.029363 | 0 | 0
81 | 0.99372 | -0.035176 | 0.29501 | 0.14288
82 | 0.99223 | -0.022579 | 0 | 0
83 | 0.9928 | -0.027458 | 0.072226 | 0.03498
84 | 0.99266 | -0.029019 | 0.30538 | 0.1479
85 | 0.99222 | -0.022475 | 0.12375 | 0.059934
86 | 0.9936 | 0.022839 | 0 | 0
87 | 0.99546 | 0.0088751 | 0.28571 | 0.13838
88 | 0.99255 | -0.029087 | 0.25918 | 0.12553
89 | 0.99265 | -0.028981 | 0 | 0
90 | 0.99187 | -0.025289 | 0.1851 | 0.089646
91 | 0.99191 | -0.025042 | 0 | 0
92 | 0.99226 | -0.026844 | 0 | 0
93 | 0.99145 | -0.022761 | 0 | 0
94 | 0.99224 | -0.026675 | 0.17881 | 0.086602
95 | 0.99115 | -0.021122 | 0 | 0
96 | 0.99093 | -0.019551 | 0 | 0
97 | 0.99114 | -0.021195 | 0.14187 | 0.068709
98 | 0.99143 | -0.022854 | 0.13545 | 0.065602
99 | 0.99092 | -0.019463 | 0.21053 | 0.10196
100 | 0.99312 | 0.026332 | 0 | 0
101 | 0.99358 | 0.0227 | 0.27083 | 0.13117
102 | 0.99309 | 0.026589 | 0.33835 | 0.16387
103 | 0.99218 | -0.022047 | 0 | 0
104 | 0.99244 | -0.029779 | 0.19667 | 0.09525
105 | 0.99209 | -0.022062 | 0.33216 | 0.16087
106 | 0.99214 | -0.021718 | 0.25177 | 0.12194
107 | 0.99215 | -0.021834 | 0 | 0
108 | 0.99215 | -0.021819 | 0 | 0
109 | 0.99214 | -0.021745 | 0 | 0
110 | 0.99214 | -0.021737 | 0.069106 | 0.033469
111 | 0.99258 | 0.030334 | 0.36385 | 0.17622
112 | 0.9887 | -0.11207 | 0.13425 | 0.065022
113 | 0.9887 | -0.11205 | 0.28369 | 0.1374
114 | 0.98873 | -0.11225 | 0.21519 | 0.10422
115 | 0.98866 | -0.11198 | 0 | 0
116 | 0.98879 | -0.11271 | 0 | 0
117 | 0.98849 | -0.11088 | 0 | 0
118 | 0.98877 | -0.11256 | 0 | 0
119 | 0.98847 | -0.11098 | 0.15597 | 0.075542
120 | 0.98876 | -0.11251 | 0.18337 | 0.088813
121 | 0.99028 | 0.014695 | 0.29582 | 0.14327
122 | 0.99023 | 0.015071 | 0 | 0
123 | 0.99004 | 0.013149 | 0.28232 | 0.13673
124 | 0.99054 | 0.016476 | 0 | 0
125 | 0.99008 | 0.016392 | 0 | 0
126 | 0.99057 | 0.016183 | 0 | 0
127 | 0.99006 | 0.016584 | 0.35431 | 0.1716
128 | 0.99041 | 0.019864 | 0.24985 | 0.12101
129 | 0.99072 | 0.018977 | 0.11126 | 0.053887
130 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.26091 | -0.12636 | 0.26091 | 0.1263 | 7.0252e-06 | -5.8193e-05 | 0.0085192 | 0.0085184 | 0.0085192 | 0.98232 | -0.1101 | 0.98235 | -0.10992 | 4.0568
1 | -0.26091 | -0.1263 | 0.26094 | 0.12075 | 2.3201e-05 | -0.0055579 | 0.0085184 | 0.0084484 | 0.0085184 | 0.98235 | -0.10992 | 0.98243 | -0.11066 | 3.872
2 | -0.26094 | -0.12075 | 0.26094 | 0.12053 | 8.8771e-07 | -0.00021449 | 0.0084484 | 0.0084458 | 0.0084484 | 0.98243 | -0.11066 | 0.98244 | -0.11069 | 3.8402
3 | -0.67199 | -0.31679 | 0.67208 | 0.31345 | 9.1866e-05 | -0.0033408 | 0.021775 | 0.021733 | 0.021775 | 0.98489 | -0.093376 | 0.98501 | -0.094482 | 9.8979
4 | 0.48531 | 0.22638 | -0.48418 | -0.22865 | 0.0011382 | -0.0022751 | 0.015696 | 0.015733 | 0.015733 | 0.98489 | -0.093376 | 0.98244 | -0.11069 | 7.4921
5 | -0.67208 | -0.31345 | 0.67235 | 0.31325 | 0.00026157 | -0.0001964 | 0.021733 | 0.021729 | 0.021733 | 0.98501 | -0.094482 | 0.98542 | -0.091547 | 10.3493
6 | 0.20284 | 0.092023 | -0.20283 | -0.097223 | 1.2424e-05 | -0.0052004 | 0.0064661 | 0.0065299 | 0.0065299 | 0.99442 | -0.0095625 | 0.99436 | -0.0090729 | 2.9682
7 | -0.20284 | -0.092023 | 0.20285 | 0.089346 | 6.3016e-06 | -0.002677 | 0.0064661 | 0.0064343 | 0.0064661 | 0.99442 | -0.0095625 | 0.99445 | -0.0097856 | 2.9391
8 | 0.20283 | 0.097223 | -0.20283 | -0.098235 | 2.4458e-06 | -0.0010116 | 0.0065299 | 0.0065427 | 0.0065427 | 0.99436 | -0.0090729 | 0.99435 | -0.008969 | 2.974
9 | -0.32835 | -0.15013 | 0.32835 | 0.14996 | 1.0549e-06 | -0.00016957 | 0.010481 | 0.010478 | 0.010481 | 0.99445 | -0.0097856 | 0.99445 | -0.00981 | 4.7639
10 | -0.14651 | -0.070957 | 0.14651 | 0.070906 | 1.7745e-06 | -5.0971e-05 | 0.0047386 | 0.004738 | 0.0047386 | 0.99168 | 0.031717 | 0.99169 | 0.031797 | 2.2565
11 | -0.14651 | -0.070906 | 0.14653 | 0.055689 | 1.8677e-05 | -0.015217 | 0.004738 | 0.0045624 | 0.004738 | 0.99169 | 0.031797 | 0.99181 | 0.030964 | 2.1536
12 | -0.14653 | -0.055689 | 0.14653 | 0.053842 | 2.1765e-06 | -0.0018466 | 0.0045624 | 0.0045436 | 0.0045624 | 0.99181 | 0.030964 | 0.99183 | 0.030906 | 2.0738
13 | -0.21076 | -0.084615 | 0.21083 | 0.05643 | 6.7027e-05 | -0.028185 | 0.0066095 | 0.0063495 | 0.0066095 | 0.99194 | 0.032087 | 0.99225 | 0.031465 | 3.0043
14 | 0.21076 | 0.084615 | -0.21074 | -0.084941 | 2.2517e-05 | -0.00032549 | 0.0066095 | 0.0066132 | 0.0066132 | 0.99194 | 0.032087 | 0.99183 | 0.030906 | 3.1491
15 | -0.46564 | -0.17969 | 0.46576 | 0.16974 | 0.00011871 | -0.009952 | 0.01452 | 0.014418 | 0.01452 | 0.99225 | 0.031465 | 0.9925 | 0.03046 | 6.6002
16 | 0.25481 | 0.12326 | -0.25479 | -0.1234 | 1.5343e-05 | -0.0001396 | 0.0082349 | 0.0082368 | 0.0082368 | 0.99225 | 0.031465 | 0.99219 | 0.031068 | 3.9223
17 | 0.24184 | 0.11641 | -0.24184 | -0.11713 | 2.4722e-06 | -0.0007131 | 0.0078066 | 0.0078157 | 0.0078157 | 0.9925 | 0.03046 | 0.99249 | 0.030548 | 3.5526
18 | -0.7076 | -0.28616 | 0.70771 | 0.28226 | 0.00010982 | -0.0039011 | 0.0222 | 0.022158 | 0.0222 | 0.9925 | 0.03046 | 0.99265 | 0.029656 | 10.091
19 | -1.349 | -0.58805 | 1.3495 | 0.58344 | 0.00049358 | -0.0046105 | 0.042796 | 0.042741 | 0.042796 | 0.99265 | 0.029656 | 0.99299 | 0.027231 | 19.4529
20 | 0.36388 | 0.17252 | -0.36386 | -0.17482 | 1.8025e-05 | -0.002305 | 0.011711 | 0.01174 | 0.01174 | 0.99265 | 0.029656 | 0.9926 | 0.030074 | 5.3363
21 | 0.27743 | 0.13328 | -0.27743 | -0.13437 | 4.9622e-06 | -0.0010883 | 0.0089508 | 0.0089646 | 0.0089646 | 0.99265 | 0.029656 | 0.99263 | 0.02981 | 4.0748
22 | -1.3495 | -0.58344 | 1.3496 | 0.58219 | 0.00013274 | -0.0012425 | 0.042741 | 0.042727 | 0.042741 | 0.99299 | 0.027231 | 0.99309 | 0.026589 | 19.4279
23 | 0.36386 | 0.17482 | -0.36385 | -0.17622 | 1.0982e-05 | -0.0013987 | 0.01174 | 0.011758 | 0.011758 | 0.9926 | 0.030074 | 0.99258 | 0.030334 | 5.3444
24 | -0.20923 | -0.10134 | 0.20923 | 0.099967 | 3.6954e-06 | -0.0013679 | 0.0068331 | 0.0068156 | 0.0068331 | 0.98215 | -0.078258 | 0.98216 | -0.07841 | 3.1059
25 | 0.15649 | 0.064834 | -0.15648 | -0.0747 | 1.4511e-05 | -0.009866 | 0.0049787 | 0.0050968 | 0.0050968 | 0.98216 | -0.07841 | 0.98208 | -0.077748 | 2.3167
26 | -0.36573 | -0.1648 | 0.3658 | 0.15523 | 7.6561e-05 | -0.0095741 | 0.01179 | 0.011677 | 0.01179 | 0.98216 | -0.07841 | 0.98236 | -0.079827 | 5.3592
27 | 0.15648 | 0.0747 | -0.15648 | -0.075784 | 1.6377e-06 | -0.0010841 | 0.0050968 | 0.0051106 | 0.0051106 | 0.98208 | -0.077748 | 0.98207 | -0.077658 | 2.323
28 | -0.3658 | -0.15523 | 0.36581 | 0.1548 | 3.3606e-06 | -0.00042455 | 0.011677 | 0.011672 | 0.011677 | 0.98236 | -0.079827 | 0.98237 | -0.079884 | 5.3078
29 | -1.5353 | -0.67796 | 1.5356 | 0.67807 | 0.0003095 | 0.00011097 | 0.049229 | 0.049228 | 0.049229 | 0.98413 | -0.082231 | 0.98435 | -0.080445 | 23.4424
30 | 0.93186 | 0.3965 | -0.93133 | -0.39655 | 0.00053206 | -5.772e-05 | 0.029706 | 0.02971 | 0.02971 | 0.98413 | -0.082231 | 0.98353 | -0.087792 | 14.1477
31 | 0.17564 | 0.074428 | -0.17563 | -0.074553 | 6.1968e-06 | -0.00012452 | 0.0055955 | 0.005597 | 0.005597 | 0.98413 | -0.082231 | 0.9841 | -0.082578 | 2.6652
32 | 0.070447 | 0.033979 | -0.070446 | -0.034119 | 1.1356e-06 | -0.00013918 | 0.0022942 | 0.002296 | 0.002296 | 0.98413 | -0.082231 | 0.98412 | -0.082338 | 1.0933
33 | -1.5356 | -0.67807 | 1.538 | 0.66123 | 0.0024421 | -0.016838 | 0.049228 | 0.049022 | 0.049228 | 0.98435 | -0.080445 | 0.98583 | -0.091091 | 22.3764
34 | 0.73842 | 0.30394 | -0.73815 | -0.31227 | 0.00026835 | -0.0083352 | 0.023437 | 0.023532 | 0.023532 | 0.98353 | -0.087792 | 0.98319 | -0.085651 | 10.6966
35 | 0.19291 | 0.092616 | -0.19291 | -0.09343 | 1.8615e-06 | -0.00081448 | 0.0062808 | 0.0062912 | 0.0062912 | 0.98353 | -0.087792 | 0.98352 | -0.087709 | 2.8596
36 | 0.17563 | 0.074553 | -0.17561 | -0.084735 | 1.8825e-05 | -0.010182 | 0.005597 | 0.0057204 | 0.0057204 | 0.9841 | -0.082578 | 0.984 | -0.081779 | 2.6002
37 | -0.64488 | -0.28996 | 0.6449 | 0.28893 | 2.6014e-05 | -0.001033 | 0.020778 | 0.020765 | 0.020778 | 0.98237 | -0.079884 | 0.98241 | -0.080177 | 9.4444
38 | -0.6449 | -0.28893 | 0.64534 | 0.27119 | 0.0004416 | -0.01774 | 0.020765 | 0.020556 | 0.020765 | 0.98241 | -0.080177 | 0.98304 | -0.084715 | 9.4387
39 | -0.64534 | -0.27119 | 0.6454 | 0.26901 | 5.359e-05 | -0.0021789 | 0.020556 | 0.020531 | 0.020556 | 0.98304 | -0.084715 | 0.98312 | -0.085208 | 9.3436
40 | -0.7381 | -0.31391 | 0.73815 | 0.31227 | 5.2856e-05 | -0.001633 | 0.023551 | 0.023532 | 0.023551 | 0.98312 | -0.085208 | 0.98319 | -0.085651 | 10.7052
41 | -1.0431 | -0.48973 | 1.0431 | 0.48926 | 3.1295e-05 | -0.00046848 | 0.033745 | 0.033739 | 0.033745 | 0.9858 | -0.090848 | 0.98583 | -0.091091 | 15.3385
42 | 0.81177 | 0.37768 | -0.81158 | -0.37775 | 0.00019713 | -6.3195e-05 | 0.026218 | 0.026221 | 0.026221 | 0.9858 | -0.090848 | 0.98555 | -0.09269 | 12.486
43 | -2.5812 | -1.1505 | 2.5902 | 1.1301 | 0.009007 | -0.020342 | 0.082751 | 0.082479 | 0.082751 | 0.98583 | -0.091091 | 0.98909 | -0.11522 | 37.6139
44 | 0.81158 | 0.37775 | -0.81149 | -0.37989 | 8.5769e-05 | -0.0021393 | 0.026221 | 0.026247 | 0.026247 | 0.98555 | -0.09269 | 0.98545 | -0.091844 | 11.9306
45 | -2.5902 | -1.1301 | 2.5905 | 1.1293 | 0.00038688 | -0.00088057 | 0.082479 | 0.082467 | 0.082479 | 0.98909 | -0.11522 | 0.98923 | -0.11622 | 37.4905
46 | 0.81149 | 0.37989 | -0.81146 | -0.38063 | 2.9753e-05 | -0.00074098 | 0.026247 | 0.026257 | 0.026257 | 0.98545 | -0.091844 | 0.98542 | -0.091547 | 11.9349
47 | -2.8242 | -1.2424 | 2.825 | 1.2408 | 0.00084564 | -0.0015758 | 0.090037 | 0.090016 | 0.090037 | 0.98923 | -0.11622 | 0.98951 | -0.11828 | 40.926
48 | -3.7984 | -1.6689 | 3.8075 | 1.6606 | 0.0091442 | -0.0082547 | 0.12104 | 0.12091 | 0.12104 | 0.98951 | -0.11828 | 0.99177 | -0.13459 | 55.0163
49 | 0.97334 | 0.42802 | -0.97258 | -0.44145 | 0.00075448 | -0.013425 | 0.03102 | 0.031182 | 0.031182 | 0.98951 | -0.11828 | 0.98879 | -0.11271 | 14.1739
50 | -0.17561 | -0.085054 | 0.17561 | 0.084735 | 6.0227e-07 | -0.00031832 | 0.0057244 | 0.0057204 | 0.0057244 | 0.98399 | -0.081749 | 0.984 | -0.081779 | 2.602
51 | -2.8734 | -1.2858 | 2.8781 | 1.2771 | 0.0047591 | -0.0086977 | 0.09138 | 0.09126 | 0.09138 | 0.99445 | -0.00981 | 0.99601 | -0.021595 | 41.5363
52 | 2.545 | 1.1358 | -2.5375 | -1.1538 | 0.0075245 | -0.017985 | 0.080902 | 0.081143 | 0.081143 | 0.99445 | -0.00981 | 0.99168 | 0.01189 | 36.8832
53 | -2.8781 | -1.2771 | 2.8785 | 1.2764 | 0.00033971 | -0.00062306 | 0.09126 | 0.091252 | 0.09126 | 0.99601 | -0.021595 | 0.99612 | -0.022425 | 41.482
54 | 0.22404 | 0.10808 | -0.22404 | -0.10851 | 1.2778e-06 | -0.00042795 | 0.0072409 | 0.0072463 | 0.0072463 | 0.99168 | 0.01189 | 0.99168 | 0.011939 | 3.2938
55 | 1.0969 | 0.48113 | -1.096 | -0.49357 | 0.00088213 | -0.012437 | 0.034867 | 0.035017 | 0.035017 | 0.99168 | 0.01189 | 0.99093 | 0.017581 | 15.9169
56 | 1.2166 | 0.56459 | -1.2156 | -0.5752 | 0.00094785 | -0.010611 | 0.039041 | 0.039176 | 0.039176 | 0.99168 | 0.01189 | 0.99096 | 0.018188 | 17.8073
57 | -3.1208 | -1.3938 | 3.1212 | 1.394 | 0.00038558 | 0.00021538 | 0.09905 | 0.09905 | 0.09905 | 0.99612 | -0.022425 | 0.99625 | -0.021365 | 47.1666
58 | 0.37419 | 0.18113 | -0.37416 | -0.18122 | 2.1427e-05 | -8.2682e-05 | 0.012111 | 0.012112 | 0.012112 | 0.99093 | 0.017581 | 0.99087 | 0.017203 | 5.7676
59 | 0.25575 | 0.10151 | -0.25571 | -0.11283 | 4.2103e-05 | -0.011316 | 0.0080159 | 0.0081435 | 0.0081435 | 0.99093 | 0.017581 | 0.99077 | 0.018563 | 3.7016
60 | 0.46608 | 0.21092 | -0.46589 | -0.22535 | 0.00018546 | -0.014432 | 0.014903 | 0.015082 | 0.015082 | 0.99093 | 0.017581 | 0.99056 | 0.020788 | 6.8556
61 | 0.13783 | 0.066682 | -0.13783 | -0.066755 | 8.3172e-08 | -7.3381e-05 | 0.0044604 | 0.0044613 | 0.0044613 | 0.99096 | 0.018188 | 0.99096 | 0.018193 | 2.0279
62 | 1.0778 | 0.50852 | -1.0774 | -0.50849 | 0.00035489 | 2.8619e-05 | 0.034716 | 0.034718 | 0.034718 | 0.99096 | 0.018188 | 0.99061 | 0.015804 | 16.5325
63 | -3.1212 | -1.394 | 3.1276 | 1.3843 | 0.0064093 | -0.0097339 | 0.09905 | 0.098913 | 0.09905 | 0.99625 | -0.021365 | 0.99818 | -0.035888 | 45.0226
64 | 0.14444 | 0.068099 | -0.14444 | -0.069953 | 2.299e-06 | -0.0018545 | 0.0046527 | 0.004676 | 0.004676 | 0.99077 | 0.018563 | 0.99076 | 0.018698 | 2.1255
65 | 0.11127 | 0.044731 | -0.11126 | -0.053198 | 6.0521e-06 | -0.0084667 | 0.0034942 | 0.0035935 | 0.0035935 | 0.99077 | 0.018563 | 0.99072 | 0.018938 | 1.6334
66 | 0.11126 | 0.053198 | -0.11126 | -0.053887 | 5.0884e-07 | -0.00068989 | 0.0035935 | 0.0036022 | 0.0036022 | 0.99072 | 0.018938 | 0.99072 | 0.018977 | 1.6374
67 | 0.46589 | 0.22535 | -0.46587 | -0.2254 | 2.076e-05 | -4.6991e-05 | 0.015082 | 0.015083 | 0.015083 | 0.99056 | 0.020788 | 0.99051 | 0.020493 | 7.1824
68 | 0.24987 | 0.12078 | -0.24985 | -0.12101 | 2.3771e-05 | -0.00022385 | 0.0080884 | 0.0080914 | 0.0080914 | 0.99051 | 0.020493 | 0.99041 | 0.019864 | 3.8531
69 | 0.9329 | 0.43849 | -0.93286 | -0.43932 | 4.3415e-05 | -0.00083122 | 0.030039 | 0.03005 | 0.03005 | 0.99061 | 0.015804 | 0.99057 | 0.016183 | 13.6589
70 | -10.8857 | -4.7661 | 10.9019 | 4.7238 | 0.016188 | -0.042365 | 0.34367 | 0.34301 | 0.34367 | 0.99818 | -0.035888 | 0.99993 | -0.0013615 | 40.8156
71 | 4.4388 | 1.9251 | -4.4262 | -1.9612 | 0.012639 | -0.036187 | 0.13992 | 0.14045 | 0.14045 | 0.99818 | -0.035888 | 0.99504 | -0.075397 | 38.7984
72 | 0.25362 | 0.1209 | -0.25361 | -0.12283 | 7.1822e-06 | -0.0019306 | 0.0081253 | 0.0081495 | 0.0081495 | 0.99818 | -0.035888 | 0.99816 | -0.035646 | 3.7043
73 | 3.0657 | 1.3359 | -3.0605 | -1.333 | 0.0051859 | 0.0028788 | 0.096713 | 0.096717 | 0.096717 | 0.99818 | -0.035888 | 0.99638 | -0.051437 | 46.0558
74 | -13.436 | -5.8275 | 13.4368 | 5.8264 | 0.00078316 | -0.0011101 | 0.4228 | 0.42278 | 0.4228 | 0.99993 | -0.0013615 | 1 | 0 | 50.2142
75 | 2.5341 | 1.1037 | -2.5309 | -1.102 | 0.0031807 | 0.0016581 | 0.079797 | 0.0798 | 0.0798 | 0.99993 | -0.0013615 | 0.99859 | -0.012908 | 38.0002
76 | 0.40277 | 0.19241 | -0.40275 | -0.19506 | 2.5203e-05 | -0.0026468 | 0.01295 | 0.012983 | 0.012983 | 0.99504 | -0.075397 | 0.99498 | -0.07486 | 5.9015
77 | 4.0234 | 1.7688 | -4.018 | -1.7631 | 0.0054039 | 0.0057313 | 0.12751 | 0.12751 | 0.12751 | 0.99504 | -0.075397 | 0.99336 | -0.12088 | 36.4319
78 | 2.769 | 1.1918 | -2.7686 | -1.1916 | 0.00039224 | 0.00021149 | 0.08734 | 0.087341 | 0.087341 | 0.99638 | -0.051437 | 0.99623 | -0.052779 | 41.5908
79 | 0.27416 | 0.13245 | -0.27415 | -0.13278 | 1.4503e-06 | -0.00033327 | 0.0088018 | 0.008806 | 0.008806 | 0.99859 | -0.012908 | 0.99858 | -0.012862 | 4.0027
80 | 2.2568 | 0.9696 | -2.2494 | -0.99336 | 0.0073923 | -0.023765 | 0.071006 | 0.071306 | 0.071306 | 0.99859 | -0.012908 | 0.99548 | 0.009055 | 32.412
81 | 3.8132 | 1.6639 | -3.8075 | -1.6606 | 0.0057097 | 0.0033185 | 0.1209 | 0.12091 | 0.12091 | 0.99336 | -0.12088 | 0.99177 | -0.13459 | 57.5751
82 | 2.7686 | 1.1916 | -2.7614 | -1.2062 | 0.0072139 | -0.014567 | 0.087341 | 0.087534 | 0.087534 | 0.99623 | -0.052779 | 0.99376 | -0.035544 | 39.788
83 | 1.9637 | 0.85505 | -1.9598 | -0.87182 | 0.0039252 | -0.016776 | 0.062108 | 0.062317 | 0.062317 | 0.99548 | 0.009055 | 0.9936 | 0.022839 | 28.3261
84 | 0.28572 | 0.13832 | -0.28571 | -0.13838 | 7.7907e-06 | -5.6162e-05 | 0.0092052 | 0.009206 | 0.009206 | 0.99548 | 0.009055 | 0.99546 | 0.0088751 | 4.3838
85 | 1.3069 | 0.59708 | -1.3056 | -0.60963 | 0.001281 | -0.012548 | 0.041738 | 0.041895 | 0.041895 | 0.99376 | -0.035544 | 0.99285 | -0.02789 | 19.0434
86 | 1.1595 | 0.46869 | -1.1582 | -0.48523 | 0.0012717 | -0.016537 | 0.036329 | 0.036516 | 0.036516 | 0.99376 | -0.035544 | 0.99272 | -0.029363 | 16.5984
87 | 0.29503 | 0.1404 | -0.29501 | -0.14288 | 1.2731e-05 | -0.0024842 | 0.0094911 | 0.0095224 | 0.0095224 | 0.99376 | -0.035544 | 0.99372 | -0.035176 | 4.3283
88 | 0.77738 | 0.35607 | -0.77686 | -0.37046 | 0.00051388 | -0.014392 | 0.024861 | 0.02504 | 0.02504 | 0.99285 | -0.02789 | 0.99223 | -0.022579 | 11.3818
89 | 0.52823 | 0.25356 | -0.5282 | -0.25516 | 2.6554e-05 | -0.0016031 | 0.017036 | 0.017057 | 0.017057 | 0.99285 | -0.02789 | 0.9928 | -0.027458 | 7.753
90 | 1.1582 | 0.48523 | -1.1582 | -0.48609 | 6.6733e-05 | -0.00086197 | 0.036516 | 0.036526 | 0.036526 | 0.99272 | -0.029363 | 0.99266 | -0.029019 | 16.6029
91 | 0.77686 | 0.37046 | -0.77685 | -0.37073 | 9.6374e-06 | -0.00026775 | 0.02504 | 0.025043 | 0.025043 | 0.99223 | -0.022579 | 0.99222 | -0.022475 | 11.3833
92 | 0.45598 | 0.22018 | -0.45586 | -0.22045 | 0.00011168 | -0.00027012 | 0.014723 | 0.014727 | 0.014727 | 0.9928 | -0.027458 | 0.99255 | -0.029087 | 7.0131
93 | 0.85277 | 0.33819 | -0.85276 | -0.33835 | 6.5688e-06 | -0.00016069 | 0.026678 | 0.02668 | 0.02668 | 0.99266 | -0.029019 | 0.99265 | -0.028981 | 12.1273
94 | 0.65311 | 0.31079 | -0.65307 | -0.3121 | 3.3169e-05 | -0.001308 | 0.021043 | 0.02106 | 0.02106 | 0.99222 | -0.022475 | 0.99218 | -0.022047 | 9.5725
95 | 1.6889 | 0.7407 | -1.6881 | -0.7457 | 0.00085618 | -0.0050032 | 0.05358 | 0.053642 | 0.053642 | 0.9936 | 0.022839 | 0.99312 | 0.026332 | 24.3827
96 | 0.27084 | 0.13112 | -0.27083 | -0.13117 | 5.684e-06 | -4.5629e-05 | 0.0087424 | 0.0087431 | 0.0087431 | 0.9936 | 0.022839 | 0.99358 | 0.0227 | 4.1634
97 | 0.19669 | 0.094927 | -0.19667 | -0.09525 | 2.0511e-05 | -0.00032246 | 0.0063519 | 0.0063561 | 0.0063561 | 0.99255 | -0.029087 | 0.99244 | -0.029779 | 3.0267
98 | 0.85276 | 0.33835 | -0.85241 | -0.3469 | 0.0003509 | -0.0085496 | 0.02668 | 0.026774 | 0.026774 | 0.99265 | -0.028981 | 0.99226 | -0.026844 | 12.1699
99 | -0.1851 | -0.089646 | 0.1851 | 0.089523 | 6.9045e-06 | -0.00012275 | 0.0059856 | 0.005984 | 0.0059856 | 0.99187 | -0.025289 | 0.99191 | -0.025042 | 2.8503
100 | -0.67335 | -0.27182 | 0.67359 | 0.26217 | 0.00024554 | -0.0096533 | 0.021133 | 0.021029 | 0.021133 | 0.99191 | -0.025042 | 0.99226 | -0.026844 | 9.6059
101 | 0.48825 | 0.1823 | -0.48801 | -0.20004 | 0.00023585 | -0.017743 | 0.015168 | 0.015357 | 0.015357 | 0.99191 | -0.025042 | 0.99145 | -0.022761 | 6.9803
102 | 0.17881 | 0.084728 | -0.17881 | -0.086602 | 3.543e-06 | -0.0018739 | 0.0057566 | 0.0057802 | 0.0057802 | 0.99226 | -0.026844 | 0.99224 | -0.026675 | 2.6274
103 | 0.13545 | 0.065538 | -0.13545 | -0.065602 | 1.8954e-06 | -6.3832e-05 | 0.0043813 | 0.0043821 | 0.0043821 | 0.99145 | -0.022761 | 0.99143 | -0.022854 | 2.0867
104 | 0.35256 | 0.1345 | -0.35245 | -0.15017 | 0.00010945 | -0.015664 | 0.010987 | 0.011158 | 0.011158 | 0.99145 | -0.022761 | 0.99115 | -0.021122 | 5.0718
105 | 0.21058 | 0.081507 | -0.21053 | -0.10115 | 5.0009e-05 | -0.01964 | 0.0065766 | 0.0068043 | 0.0068043 | 0.99115 | -0.021122 | 0.99093 | -0.019551 | 3.0928
106 | 0.14187 | 0.068661 | -0.14187 | -0.068709 | 1.5631e-06 | -4.784e-05 | 0.0045904 | 0.004591 | 0.004591 | 0.99115 | -0.021122 | 0.99114 | -0.021195 | 2.1862
107 | 0.21053 | 0.10115 | -0.21053 | -0.10196 | 2.1554e-06 | -0.0008157 | 0.0068043 | 0.0068146 | 0.0068146 | 0.99093 | -0.019551 | 0.99092 | -0.019463 | 3.0975
108 | 1.6881 | 0.7457 | -1.688 | -0.74606 | 6.2351e-05 | -0.00036369 | 0.053642 | 0.053646 | 0.053646 | 0.99312 | 0.026332 | 0.99309 | 0.026589 | 24.3847
109 | 0.65307 | 0.3121 | -0.65306 | -0.31275 | 1.6454e-05 | -0.00064801 | 0.02106 | 0.021068 | 0.021068 | 0.99218 | -0.022047 | 0.99215 | -0.021834 | 9.5763
110 | -0.33216 | -0.16087 | 0.33218 | 0.16078 | 1.7284e-05 | -8.8028e-05 | 0.010739 | 0.010738 | 0.010739 | 0.99209 | -0.022062 | 0.99214 | -0.021718 | 5.1138
111 | -0.58394 | -0.28272 | 0.58395 | 0.28234 | 7.7437e-06 | -0.00038037 | 0.018877 | 0.018872 | 0.018877 | 0.99214 | -0.021718 | 0.99215 | -0.021834 | 8.5805
112 | 0.069107 | 0.030411 | -0.069106 | -0.030919 | 1.395e-07 | -0.0005075 | 0.0021968 | 0.0022028 | 0.0022028 | 0.99215 | -0.021834 | 0.99215 | -0.021819 | 1.0013
113 | 0.069106 | 0.030919 | -0.069106 | -0.033264 | 6.5479e-07 | -0.0023453 | 0.0022028 | 0.0022315 | 0.0022315 | 0.99215 | -0.021819 | 0.99214 | -0.021745 | 1.0143
114 | 0.069106 | 0.033264 | -0.069106 | -0.033469 | 5.8154e-08 | -0.00020532 | 0.0022315 | 0.0022341 | 0.0022341 | 0.99214 | -0.021745 | 0.99214 | -0.021737 | 1.0155
115 | 0.4397 | 0.18769 | -0.4397 | -0.18777 | 8.3063e-07 | -7.4276e-05 | 0.013959 | 0.01396 | 0.01396 | 0.9887 | -0.11207 | 0.9887 | -0.11205 | 6.3453
116 | -0.57395 | -0.25271 | 0.57397 | 0.25191 | 1.5425e-05 | -0.00080019 | 0.01831 | 0.018301 | 0.01831 | 0.9887 | -0.11207 | 0.98873 | -0.11225 | 8.3229
117 | 0.15601 | 0.05037 | -0.15601 | -0.054641 | 5.6455e-06 | -0.0042709 | 0.0047867 | 0.0048265 | 0.0048265 | 0.9887 | -0.11205 | 0.98866 | -0.11198 | 2.1938
118 | -0.78915 | -0.35613 | 0.7892 | 0.35478 | 5.0032e-05 | -0.0013551 | 0.025278 | 0.025262 | 0.025278 | 0.98873 | -0.11225 | 0.98879 | -0.11271 | 11.4901
119 | 0.15601 | 0.054641 | -0.15598 | -0.075487 | 2.9064e-05 | -0.020846 | 0.0048265 | 0.0050605 | 0.0050605 | 0.98866 | -0.11198 | 0.98849 | -0.11088 | 2.3002
120 | 0.18338 | 0.086667 | -0.18338 | -0.088298 | 3.2834e-06 | -0.0016307 | 0.0059215 | 0.0059421 | 0.0059421 | 0.98879 | -0.11271 | 0.98877 | -0.11256 | 2.7009
121 | 0.15598 | 0.075487 | -0.15597 | -0.075542 | 2.1994e-06 | -5.4841e-05 | 0.0050605 | 0.0050612 | 0.0050612 | 0.98849 | -0.11088 | 0.98847 | -0.11098 | 2.4101
122 | 0.18338 | 0.088298 | -0.18337 | -0.088813 | 1.0416e-06 | -0.00051497 | 0.0059421 | 0.0059486 | 0.0059486 | 0.98877 | -0.11256 | 0.98876 | -0.11251 | 2.7039
123 | 0.35439 | 0.16046 | -0.35438 | -0.16285 | 1.7619e-05 | -0.0023914 | 0.01134 | 0.011369 | 0.011369 | 0.99028 | 0.014695 | 0.99023 | 0.015071 | 5.1679
124 | 0.28238 | 0.13626 | -0.28232 | -0.13673 | 6.5733e-05 | -0.00047536 | 0.0091398 | 0.0091464 | 0.0091464 | 0.99028 | 0.014695 | 0.99004 | 0.013149 | 4.3554
125 | -0.9326 | -0.43999 | 0.93283 | 0.43996 | 0.00022922 | -2.3165e-05 | 0.03006 | 0.030058 | 0.03006 | 0.99028 | 0.014695 | 0.99054 | 0.016476 | 14.3141
126 | 0.35438 | 0.16285 | -0.35432 | -0.17055 | 5.7394e-05 | -0.0077037 | 0.011369 | 0.011465 | 0.011465 | 0.99023 | 0.015071 | 0.99008 | 0.016392 | 5.2115
127 | -0.93283 | -0.43996 | 0.93286 | 0.43932 | 3.3368e-05 | -0.0006384 | 0.030058 | 0.03005 | 0.030058 | 0.99054 | 0.016476 | 0.99057 | 0.016183 | 13.6625
128 | 0.35432 | 0.17055 | -0.35431 | -0.1716 | 7.8939e-06 | -0.0010492 | 0.011465 | 0.011479 | 0.011479 | 0.99008 | 0.016392 | 0.99006 | 0.016584 | 5.2175

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.7967 | 6.0044

## res_load
| p_mw | q_mvar
0 | 0.26091 | 0.12636
1 | 0.18668 | 0.090413
2 | 0.22324 | 0.10812
3 | 0.1255 | 0.060782
4 | 0.14651 | 0.070957
5 | 0.064211 | 0.031099
6 | 0.25479 | 0.1234
7 | 0.27743 | 0.13437
8 | 0.24184 | 0.11713
9 | 0.20923 | 0.10134
10 | 0.35731 | 0.17305
11 | 0.070446 | 0.034119
12 | 0.15648 | 0.075784
13 | 0.27907 | 0.13516
14 | 0.092699 | 0.044896
15 | 0.23134 | 0.11204
16 | 0.13912 | 0.067377
17 | 0.23363 | 0.11315
18 | 0.17561 | 0.085054
19 | 0.19291 | 0.09343
20 | 0.2423 | 0.11735
21 | 0.22404 | 0.10851
22 | 0.20283 | 0.098235
23 | 0.14444 | 0.069953
24 | 0.216 | 0.10461
25 | 0.37416 | 0.18122
26 | 0.13783 | 0.066755
27 | 0.14452 | 0.069996
28 | 0.25361 | 0.12283
29 | 0.29154 | 0.1412
30 | 0.34585 | 0.1675
31 | 0.40275 | 0.19506
32 | 0.20477 | 0.099173
33 | 0.27415 | 0.13278
34 | 0.29501 | 0.14288
35 | 0.072226 | 0.03498
36 | 0.30538 | 0.1479
37 | 0.12375 | 0.059934
38 | 0.28571 | 0.13838
39 | 0.25918 | 0.12553
40 | 0.1851 | 0.089646
41 | 0.17881 | 0.086602
42 | 0.14187 | 0.068709
43 | 0.13545 | 0.065602
44 | 0.21053 | 0.10196
45 | 0.27083 | 0.13117
46 | 0.33835 | 0.16387
47 | 0.19667 | 0.09525
48 | 0.33216 | 0.16087
49 | 0.25177 | 0.12194
50 | 0.069106 | 0.033469
51 | 0.36385 | 0.17622
52 | 0.13425 | 0.065022
53 | 0.28369 | 0.1374
54 | 0.21519 | 0.10422
55 | 0.15597 | 0.075542
56 | 0.18337 | 0.088813
57 | 0.29582 | 0.14327
58 | 0.28232 | 0.13673
59 | 0.35431 | 0.1716
60 | 0.24985 | 0.12101
61 | 0.11126 | 0.053887

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1