## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_454_2_node_143 | 20 | n |  | TRUE
1 | bus_MV_454_2_node_35 | 20 | n |  | TRUE
2 | bus_MV_454_2_node_100 | 20 | n |  | TRUE
3 | bus_MV_454_2_node_58 | 20 | n |  | TRUE
4 | bus_MV_454_2_node_144 | 20 | n |  | TRUE
5 | bus_MV_454_2_node_101 | 20 | n |  | TRUE
6 | bus_MV_454_2_node_274 | 20 | n |  | TRUE
7 | bus_MV_454_2_node_52 | 20 | n |  | TRUE
8 | bus_MV_454_2_node_275 | 20 | n |  | TRUE
9 | bus_MV_454_2_node_48 | 20 | n |  | TRUE
10 | bus_MV_454_2_node_278 | 20 | n |  | TRUE
11 | bus_MV_454_2_node_72 | 20 | n |  | TRUE
12 | bus_MV_454_2_node_279 | 20 | n |  | TRUE
13 | bus_MV_454_2_node_70 | 20 | n |  | TRUE
14 | bus_MV_454_2_node_73 | 20 | n |  | TRUE
15 | bus_MV_454_2_node_281 | 20 | n |  | TRUE
16 | bus_MV_454_2_node_51 | 20 | n |  | TRUE
17 | bus_MV_454_2_node_67 | 20 | n |  | TRUE
18 | bus_MV_454_2_node_31 | 20 | n |  | TRUE
19 | bus_MV_454_2_node_32 | 20 | n |  | TRUE
20 | bus_MV_454_2_node_33 | 20 | n |  | TRUE
21 | bus_MV_454_2_node_34 | 20 | n |  | TRUE
22 | bus_MV_454_2_node_60 | 20 | n |  | TRUE
23 | bus_MV_454_2_node_69 | 20 | n |  | TRUE
24 | bus_MV_454_2_node_43 | 20 | n |  | TRUE
25 | bus_MV_454_2_node_251 | 20 | n |  | TRUE
26 | bus_MV_454_2_node_36 | 20 | n |  | TRUE
27 | bus_MV_454_2_node_37 | 20 | n |  | TRUE
28 | bus_MV_454_2_node_39 | 20 | n |  | TRUE
29 | bus_MV_454_2_node_224 | 20 | n |  | TRUE
30 | bus_MV_454_2_node_38 | 20 | n |  | TRUE
31 | bus_MV_454_2_node_47 | 20 | n |  | TRUE
32 | bus_MV_454_2_node_49 | 20 | n |  | TRUE
33 | bus_MV_454_2_node_42 | 20 | n |  | TRUE
34 | bus_MV_454_2_node_40 | 20 | n |  | TRUE
35 | bus_MV_454_2_node_41 | 20 | n |  | TRUE
36 | bus_MV_454_2_node_45 | 20 | n |  | TRUE
37 | bus_MV_454_2_node_44 | 20 | n |  | TRUE
38 | bus_MV_454_2_node_46 | 20 | n |  | TRUE
39 | bus_MV_454_2_node_50 | 20 | n |  | TRUE
40 | bus_MV_454_2_node_57 | 20 | n |  | TRUE
41 | bus_MV_454_2_node_252 | 20 | n |  | TRUE
42 | bus_MV_454_2_node_59 | 20 | n |  | TRUE
43 | bus_MV_454_2_node_62 | 20 | n |  | TRUE
44 | bus_MV_454_2_node_64 | 20 | n |  | TRUE
45 | bus_MV_454_2_node_63 | 20 | n |  | TRUE
46 | bus_MV_454_2_node_65 | 20 | n |  | TRUE
47 | bus_MV_454_2_node_66 | 20 | n |  | TRUE
48 | bus_MV_454_2_node_74 | 20 | n |  | TRUE
49 | bus_MV_454_2_node_68 | 20 | n |  | TRUE
50 | bus_MV_454_2_node_71 | 20 | n |  | TRUE
51 | bus_MV_454_2_node_97 | 20 | n |  | TRUE
52 | bus_MV_454_2_node_98 | 20 | n |  | TRUE
53 | bus_MV_454_2_node_99 | 20 | n |  | TRUE
54 | bus_HV_454_2_node_278 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_454_2_load_143 | 0 | 0.14172 | 0.068636 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_454_2_load_35 | 1 | 0.14403 | 0.069755 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_454_2_load_144 | 4 | 0.065395 | 0.031672 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_454_2_load_274 | 6 | 0.092278 | 0.044692 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_454_2_load_275 | 8 | 0.090848 | 0.044 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_454_2_load_278 | 10 | 0.065924 | 0.031929 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_454_2_load_279 | 12 | 0.086732 | 0.042006 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_454_2_load_70 | 13 | 0.13419 | 0.064994 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_454_2_load_73 | 14 | 0.13798 | 0.066827 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_454_2_load_281 | 15 | 0.13313 | 0.064475 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_454_2_load_31 | 18 | 0.083716 | 0.040545 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_454_2_load_43 | 24 | 0.11563 | 0.056004 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_454_2_load_251 | 25 | 0.12969 | 0.062813 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_454_2_load_224 | 29 | 0.22133 | 0.1072 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_454_2_load_38 | 30 | 0.16105 | 0.077999 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_454_2_load_40 | 34 | 0.16123 | 0.078085 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_454_2_load_45 | 36 | 0.12585 | 0.060953 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_454_2_load_44 | 37 | 0.13337 | 0.064595 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_454_2_load_46 | 38 | 0.13402 | 0.064911 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_454_2_load_50 | 39 | 0.12447 | 0.060284 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_454_2_load_252 | 41 | 0.12589 | 0.060973 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_454_2_load_59 | 42 | 0.12383 | 0.059973 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_454_2_load_62 | 43 | 0.073612 | 0.035652 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_454_2_load_74 | 48 | 0.117 | 0.056666 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_454_2_load_68 | 49 | 0.099346 | 0.048115 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_454_2_load_97 | 51 | 0.11027 | 0.053404 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_454_2_load_98 | 52 | 0.15704 | 0.076059 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_454_2_line_0 |  | 0 | 1 | 1.9385 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_454_2_line_1 |  | 0 | 2 | 0.038197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_454_2_line_2 |  | 0 | 3 | 0.068811 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_454_2_line_3 |  | 1 | 26 | 0.073026 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_454_2_line_4 |  | 2 | 53 | 0.17635 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_454_2_line_5 |  | 3 | 40 | 0.34069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_454_2_line_6 |  | 4 | 5 | 0.065549 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_454_2_line_7 |  | 5 | 53 | 0.4589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_454_2_line_8 |  | 6 | 7 | 0.065716 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_454_2_line_9 |  | 7 | 16 | 0.24993 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_454_2_line_10 |  | 8 | 9 | 0.05792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_454_2_line_11 |  | 9 | 37 | 0.29106 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_454_2_line_12 |  | 10 | 11 | 0.10824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_454_2_line_13 |  | 11 | 50 | 0.29186 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_454_2_line_14 |  | 12 | 13 | 0.068602 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_454_2_line_15 |  | 12 | 14 | 0.037021 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_454_2_line_16 |  | 13 | 50 | 0.019416 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_454_2_line_17 |  | 14 | 20 | 0.1388 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_454_2_line_18 |  | 15 | 16 | 0.89595 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_454_2_line_19 |  | 15 | 17 | 0.028715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_454_2_line_20 |  | 16 | 39 | 0.061142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_454_2_line_21 |  | 17 | 44 | 1.1222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_454_2_line_22 |  | 18 | 19 | 0.062937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_454_2_line_23 |  | 19 | 20 | 0.80991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_454_2_line_24 |  | 19 | 21 | 0.50722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_454_2_line_25 |  | 20 | 22 | 1.3088 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_454_2_line_26 |  | 20 | 23 | 0.42854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_454_2_line_27 |  | 21 | 24 | 0.093809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_454_2_line_28 |  | 21 | 25 | 1.6761 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_454_2_line_29 |  | 22 | 42 | 0.027589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_454_2_line_30 |  | 23 | 49 | 0.089041 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_454_2_line_31 |  | 25 | 47 | 0.040342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_454_2_line_32 |  | 26 | 27 | 0.11417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_454_2_line_33 |  | 27 | 28 | 0.6693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_454_2_line_34 |  | 27 | 29 | 0.059181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_454_2_line_35 |  | 28 | 33 | 0.14439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_454_2_line_36 |  | 28 | 30 | 0.044042 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_454_2_line_37 |  | 30 | 31 | 0.25111 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_454_2_line_38 |  | 30 | 32 | 0.11279 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_454_2_line_39 |  | 31 | 38 | 0.21269 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
40 | MV_454_2_line_40 |  | 32 | 36 | 0.047104 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_454_2_line_41 |  | 33 | 37 | 0.019487 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_454_2_line_42 |  | 34 | 35 | 0.015695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_454_2_line_43 |  | 35 | 36 | 0.0322 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_454_2_line_44 |  | 40 | 41 | 0.058252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_454_2_line_45 |  | 41 | 42 | 1.6624 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_454_2_line_46 |  | 43 | 44 | 0.052951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_454_2_line_47 |  | 43 | 45 | 0.16209 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_454_2_line_48 |  | 45 | 46 | 0.21941 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_454_2_line_49 |  | 46 | 47 | 0.62571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_454_2_line_50 |  | 46 | 48 | 0.025741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_454_2_line_51 |  | 51 | 52 | 1.5802 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_454_2_line_52 |  | 52 | 53 | 0.060183 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_454_2_trafo_278 | 25 MVA 110/20 kV | 54 | 10 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2557927.7832 | 1187218.4641
1 | 2558131.155 | 1185290.6802
2 | 2557965.7807 | 1187223.3215
3 | 2557859.3978 | 1187209.2188
4 | 2557702.5233 | 1187471.645
5 | 2557767.1368 | 1187463.7753
6 | 2553564.4294 | 1184689.6884
7 | 2553546.1823 | 1184752.8202
8 | 2558145.1901 | 1184402.9915
9 | 2558118.8292 | 1184454.5929
10 | 2556997.0813 | 1185203.1855
11 | 2556926.5806 | 1185135.79
12 | 2556569.3414 | 1185195.8209
13 | 2556626.0833 | 1185157.2638
14 | 2556537.0529 | 1185177.7105
15 | 2554462.4518 | 1184536.9746
16 | 2553674.035 | 1184962.5534
17 | 2554489.7051 | 1184531.5419
18 | 2556639.0124 | 1184594.8209
19 | 2556690.9404 | 1184613.1432
20 | 2556398.2835 | 1185174.7975
21 | 2556824.7806 | 1184271.2455
22 | 2556117.907 | 1186356.4582
23 | 2556120.8546 | 1185187.1123
24 | 2556880.4881 | 1184199.5269
25 | 2555472.3191 | 1183281.253
26 | 2558189.5228 | 1185247.1147
27 | 2558275.0994 | 1185237.478
28 | 2558255.0136 | 1184818.292
29 | 2558320.0953 | 1185275.7743
30 | 2558255.3967 | 1184862.1908
31 | 2558040.7537 | 1184992.5087
32 | 2558186.9599 | 1184951.8509
33 | 2558125.4861 | 1184755.2641
34 | 2558256.3377 | 1184985.9065
35 | 2558240.7851 | 1184988.3276
36 | 2558208.7268 | 1184992.2093
37 | 2558108.588 | 1184745.4772
38 | 2557828.0773 | 1184994.7068
39 | 2553689.5213 | 1185021.699
40 | 2557592.6572 | 1187282.6128
41 | 2557536.6984 | 1187272.0823
42 | 2556135.8668 | 1186376.9375
43 | 2555007.6853 | 1183691.9318
44 | 2555016.3669 | 1183743.9057
45 | 2554989.1817 | 1183530.906
46 | 2554979.6797 | 1183324.5101
47 | 2555437.4079 | 1183260.8687
48 | 2554984.3757 | 1183299.2944
49 | 2556203.2531 | 1185153.3674
50 | 2556645.4093 | 1185159.6359
51 | 2559368.4979 | 1188295.1197
52 | 2558097.1244 | 1187356.7712
53 | 2558093.102 | 1187296.7224
54 | 2556997.0813 | 1185203.1855

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98707 | -0.013062 | 0.14172 | 0.068636
1 | 0.98265 | -0.046768 | 0.14403 | 0.069755
2 | 0.98705 | -0.012952 | 0 | 0
3 | 0.98722 | -0.014224 | 0 | 0
4 | 0.98694 | -0.012206 | 0.065395 | 0.031672
5 | 0.98694 | -0.012256 | 0 | 0
6 | 0.99188 | -0.01312 | 0.092278 | 0.044692
7 | 0.99189 | -0.013045 | 0 | 0
8 | 0.9816 | -0.038679 | 0.090848 | 0.044
9 | 0.98161 | -0.038742 | 0 | 0
10 | 1 | 0 | -3.2743 | -1.3761
11 | 0.99956 | 0.0027597 | 0 | 0
12 | 0.99789 | 0.0070275 | 0.086732 | 0.042006
13 | 0.99829 | 0.010809 | 0.13419 | 0.064994
14 | 0.99775 | 0.0078978 | 0.13798 | 0.066827
15 | 0.99229 | -0.01028 | 0.13313 | 0.064475
16 | 0.99192 | -0.013277 | 0 | 0
17 | 0.9923 | -0.010386 | 0 | 0
18 | 0.99611 | 0.0047424 | 0.083716 | 0.040545
19 | 0.99611 | 0.0046819 | 0 | 0
20 | 0.99699 | 0.0006284 | 0 | 0
21 | 0.99561 | 0.0072689 | 0 | 0
22 | 0.99382 | 0.024205 | 0 | 0
23 | 0.99694 | 0.00099822 | 0 | 0
24 | 0.9956 | 0.0073932 | 0.11563 | 0.056004
25 | 0.99352 | -0.015039 | 0.12969 | 0.062813
26 | 0.98256 | -0.045981 | 0 | 0
27 | 0.9824 | -0.044733 | 0 | 0
28 | 0.98171 | -0.038789 | 0 | 0
29 | 0.98239 | -0.044573 | 0.22133 | 0.1072
30 | 0.98168 | -0.038481 | 0.16105 | 0.077999
31 | 0.98161 | -0.038911 | 0 | 0
32 | 0.98161 | -0.038909 | 0 | 0
33 | 0.98167 | -0.038423 | 0 | 0
34 | 0.98158 | -0.038652 | 0.16123 | 0.078085
35 | 0.98159 | -0.038684 | 0 | 0
36 | 0.98159 | -0.038746 | 0.12585 | 0.060953
37 | 0.98166 | -0.038372 | 0.13337 | 0.064595
38 | 0.98155 | -0.039271 | 0.13402 | 0.064911
39 | 0.99191 | -0.013187 | 0.12447 | 0.060284
40 | 0.98794 | -0.019864 | 0 | 0
41 | 0.98806 | -0.02081 | 0.12589 | 0.060973
42 | 0.99375 | 0.024732 | 0.12383 | 0.059973
43 | 0.99282 | -0.013638 | 0.073612 | 0.035652
44 | 0.9928 | -0.013536 | 0 | 0
45 | 0.99295 | -0.01228 | 0 | 0
46 | 0.99307 | -0.012847 | 0 | 0
47 | 0.99349 | -0.014925 | 0 | 0
48 | 0.99306 | -0.012811 | 0.117 | 0.056666
49 | 0.99692 | 0.00089027 | 0.099346 | 0.048115
50 | 0.99837 | 0.010302 | 0 | 0
51 | 0.98661 | -0.014917 | 0.11027 | 0.053404
52 | 0.98695 | -0.012628 | 0.15704 | 0.076059
53 | 0.98698 | -0.012418 | 0 | 0
54 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 1.1777 | 0.53826 | -1.1727 | -0.5374 | 0.0049563 | 0.00085985 | 0.037868 | 0.037896 | 0.037896 | 0.98707 | -0.013062 | 0.98265 | -0.046768 | 18.0455
1 | 0.33278 | 0.14208 | -0.33278 | -0.14297 | 5.716e-06 | -0.00088686 | 0.010582 | 0.010593 | 0.010593 | 0.98707 | -0.013062 | 0.98705 | -0.012952 | 4.8148
2 | -1.6522 | -0.74898 | 1.6524 | 0.74745 | 0.00025845 | -0.0015243 | 0.053051 | 0.053032 | 0.053051 | 0.98707 | -0.013062 | 0.98722 | -0.014224 | 24.1143
3 | 1.0287 | 0.46765 | -1.0286 | -0.4693 | 0.0001075 | -0.0016516 | 0.033196 | 0.033216 | 0.033216 | 0.98265 | -0.046768 | 0.98256 | -0.045981 | 15.0982
4 | 0.33278 | 0.14297 | -0.33275 | -0.14706 | 2.6535e-05 | -0.0040941 | 0.010593 | 0.01064 | 0.01064 | 0.98705 | -0.012952 | 0.98698 | -0.012418 | 4.8366
5 | -1.6524 | -0.74745 | 1.6537 | 0.7399 | 0.0012769 | -0.0075548 | 0.053032 | 0.052937 | 0.053032 | 0.98722 | -0.014224 | 0.98794 | -0.019864 | 24.1055
6 | -0.065395 | -0.031672 | 0.065396 | 0.030148 | 3.917e-07 | -0.0015243 | 0.0021253 | 0.0021063 | 0.0021253 | 0.98694 | -0.012206 | 0.98694 | -0.012256 | 0.96605
7 | -0.065396 | -0.030148 | 0.065398 | 0.019476 | 2.5641e-06 | -0.010672 | 0.0021063 | 0.0019958 | 0.0021063 | 0.98694 | -0.012256 | 0.98698 | -0.012418 | 0.95739
8 | -0.092278 | -0.044692 | 0.092279 | 0.044616 | 1.0423e-06 | -7.6531e-05 | 0.0029841 | 0.0029831 | 0.0029841 | 0.99188 | -0.01312 | 0.99189 | -0.013045 | 1.421
9 | -0.092279 | -0.044616 | 0.092282 | 0.038746 | 2.8975e-06 | -0.0058703 | 0.0029831 | 0.0029128 | 0.0029831 | 0.99189 | -0.013045 | 0.99192 | -0.013277 | 1.3559
10 | -0.090848 | -0.044 | 0.090849 | 0.042668 | 6.7751e-07 | -0.0013323 | 0.0029686 | 0.0029517 | 0.0029686 | 0.9816 | -0.038679 | 0.98161 | -0.038742 | 1.3494
11 | -0.090849 | -0.042668 | 0.090853 | 0.042336 | 4.5118e-06 | -0.000332 | 0.0029517 | 0.0029475 | 0.0029517 | 0.98161 | -0.038742 | 0.98166 | -0.038372 | 1.4056
12 | 3.2603 | 1.3656 | -3.2588 | -1.3678 | 0.0015049 | -0.0021368 | 0.10204 | 0.10207 | 0.10207 | 1 | 0 | 0.99956 | 0.0027597 | 46.3943
13 | 3.2588 | 1.3678 | -3.2547 | -1.3735 | 0.0040621 | -0.005749 | 0.10207 | 0.10215 | 0.10215 | 0.99956 | 0.0027597 | 0.99837 | 0.010302 | 46.4297
14 | -3.1191 | -1.3082 | 3.1202 | 1.3089 | 0.0011702 | 0.00065138 | 0.097846 | 0.097845 | 0.097846 | 0.99789 | 0.0070275 | 0.99829 | 0.010809 | 46.5932
15 | 3.0323 | 1.2662 | -3.0319 | -1.267 | 0.00044667 | -0.00074756 | 0.095062 | 0.095072 | 0.095072 | 0.99789 | 0.0070275 | 0.99775 | 0.0078978 | 43.2145
16 | -3.2544 | -1.3739 | 3.2547 | 1.3735 | 0.00027046 | -0.0003818 | 0.10215 | 0.10215 | 0.10215 | 0.99829 | 0.010809 | 0.99837 | 0.010302 | 46.4321
17 | 2.8939 | 1.2002 | -2.8919 | -1.199 | 0.0020319 | 0.0011079 | 0.090643 | 0.090645 | 0.090645 | 0.99775 | 0.0078978 | 0.99699 | 0.0006284 | 43.1644
18 | 0.21683 | 0.096589 | -0.21676 | -0.097594 | 7.626e-05 | -0.001005 | 0.0069056 | 0.0069181 | 0.0069181 | 0.99229 | -0.01028 | 0.99192 | -0.013277 | 3.2943
19 | -0.34996 | -0.16106 | 0.34996 | 0.16039 | 4.8115e-06 | -0.00067366 | 0.011207 | 0.011199 | 0.011207 | 0.99229 | -0.01028 | 0.9923 | -0.010386 | 5.0943
20 | 0.12447 | 0.058848 | -0.12447 | -0.060284 | 1.3164e-06 | -0.0014359 | 0.0040069 | 0.004025 | 0.004025 | 0.99192 | -0.013277 | 0.99191 | -0.013187 | 1.8295
21 | -0.34996 | -0.16039 | 0.35014 | 0.13405 | 0.00018275 | -0.026342 | 0.011199 | 0.010902 | 0.011199 | 0.9923 | -0.010386 | 0.9928 | -0.013536 | 5.0905
22 | -0.083716 | -0.040545 | 0.083716 | 0.039054 | 6.0632e-07 | -0.0014908 | 0.0026957 | 0.0026771 | 0.0026957 | 0.99611 | 0.0047424 | 0.99611 | 0.0046819 | 1.2253
23 | -0.87189 | -0.3462 | 0.87268 | 0.32723 | 0.00079318 | -0.018969 | 0.027186 | 0.026986 | 0.027186 | 0.99611 | 0.0046819 | 0.99699 | 0.0006284 | 12.3574
24 | 0.78817 | 0.30714 | -0.78776 | -0.31903 | 0.00040905 | -0.011889 | 0.024514 | 0.024643 | 0.024643 | 0.99611 | 0.0046819 | 0.99561 | 0.0072689 | 11.2013
25 | 1.9198 | 0.83397 | -1.9134 | -0.86302 | 0.0064561 | -0.029047 | 0.060606 | 0.06097 | 0.06097 | 0.99699 | 0.0006284 | 0.99382 | 0.024205 | 27.7136
26 | 0.099353 | 0.037843 | -0.099347 | -0.048011 | 5.6183e-06 | -0.010168 | 0.0030783 | 0.003195 | 0.003195 | 0.99699 | 0.0006284 | 0.99694 | 0.00099822 | 1.4523
27 | 0.11564 | 0.053785 | -0.11563 | -0.056004 | 1.7251e-06 | -0.0022197 | 0.0036978 | 0.0037254 | 0.0037254 | 0.99561 | 0.0072689 | 0.9956 | 0.0073932 | 1.6933
28 | 0.67213 | 0.26525 | -0.67081 | -0.26641 | 0.0013121 | -0.0011574 | 0.020951 | 0.020972 | 0.020972 | 0.99561 | 0.0072689 | 0.99352 | -0.015039 | 9.9866
29 | 1.9134 | 0.86302 | -1.9132 | -0.86363 | 0.00013693 | -0.00060994 | 0.06097 | 0.060978 | 0.060978 | 0.99382 | 0.024205 | 0.99375 | 0.024732 | 27.7171
30 | 0.099347 | 0.048011 | -0.099346 | -0.048115 | 1.6201e-06 | -0.00010463 | 0.003195 | 0.0031964 | 0.0031964 | 0.99694 | 0.00099822 | 0.99692 | 0.00089027 | 1.5221
31 | 0.54112 | 0.20359 | -0.54111 | -0.20454 | 1.5207e-05 | -0.00094623 | 0.016799 | 0.016809 | 0.016809 | 0.99352 | -0.015039 | 0.99349 | -0.014925 | 7.6402
32 | 1.0286 | 0.4693 | -1.0284 | -0.47188 | 0.00016833 | -0.0025814 | 0.033216 | 0.033248 | 0.033248 | 0.98256 | -0.045981 | 0.9824 | -0.044733 | 15.1129
33 | 0.80706 | 0.36605 | -0.80645 | -0.38128 | 0.00061029 | -0.015231 | 0.02604 | 0.026231 | 0.026231 | 0.9824 | -0.044733 | 0.98171 | -0.038789 | 11.9231
34 | 0.22133 | 0.10583 | -0.22133 | -0.1072 | 4.1159e-06 | -0.0013625 | 0.0072091 | 0.0072264 | 0.0072264 | 0.9824 | -0.044733 | 0.98239 | -0.044573 | 3.2847
35 | 0.22424 | 0.10316 | -0.22423 | -0.10648 | 1.0212e-05 | -0.0033193 | 0.0072581 | 0.0072995 | 0.0072995 | 0.98171 | -0.038789 | 0.98167 | -0.038423 | 3.318
36 | 0.58221 | 0.27812 | -0.58219 | -0.27912 | 2.118e-05 | -0.0010071 | 0.018973 | 0.018986 | 0.018986 | 0.98171 | -0.038789 | 0.98168 | -0.038481 | 8.63
37 | 0.13404 | 0.064387 | -0.13403 | -0.064671 | 8.562e-06 | -0.0002835 | 0.0043728 | 0.0043765 | 0.0043765 | 0.98168 | -0.038481 | 0.98161 | -0.038911 | 2.084
38 | 0.2871 | 0.13674 | -0.28709 | -0.13686 | 1.7577e-05 | -0.00011875 | 0.0093513 | 0.0093529 | 0.0093529 | 0.98168 | -0.038481 | 0.98161 | -0.038909 | 4.4538
39 | 0.13403 | 0.064671 | -0.13402 | -0.064911 | 7.2634e-06 | -0.00024009 | 0.0043765 | 0.0043796 | 0.0043796 | 0.98161 | -0.038911 | 0.98155 | -0.039271 | 2.0855
40 | 0.28709 | 0.13686 | -0.28708 | -0.13794 | 5.509e-06 | -0.001082 | 0.0093529 | 0.0093667 | 0.0093667 | 0.98161 | -0.038909 | 0.98159 | -0.038746 | 4.2576
41 | 0.22423 | 0.10648 | -0.22423 | -0.10693 | 1.3872e-06 | -0.00044796 | 0.0072995 | 0.0073052 | 0.0073052 | 0.98167 | -0.038423 | 0.98166 | -0.038372 | 3.3205
42 | -0.16123 | -0.078085 | 0.16123 | 0.077724 | 5.8104e-07 | -0.00036089 | 0.0052683 | 0.0052637 | 0.0052683 | 0.98158 | -0.038652 | 0.98159 | -0.038684 | 2.3947
43 | -0.16123 | -0.077724 | 0.16123 | 0.076984 | 1.1889e-06 | -0.00074041 | 0.0052637 | 0.0052543 | 0.0052637 | 0.98159 | -0.038684 | 0.98159 | -0.038746 | 2.3926
44 | -1.6537 | -0.7399 | 1.6539 | 0.73861 | 0.00021786 | -0.001293 | 0.052937 | 0.052921 | 0.052937 | 0.98794 | -0.019864 | 0.98806 | -0.02081 | 24.0622
45 | -1.7798 | -0.79958 | 1.7894 | 0.80366 | 0.0096213 | 0.0040778 | 0.057006 | 0.056982 | 0.057006 | 0.98806 | -0.02081 | 0.99375 | 0.024732 | 27.1456
46 | 0.35015 | 0.13281 | -0.35014 | -0.13405 | 8.3913e-06 | -0.0012437 | 0.010889 | 0.010902 | 0.010902 | 0.99282 | -0.013638 | 0.9928 | -0.013536 | 4.9553
47 | -0.42376 | -0.16846 | 0.42382 | 0.1683 | 5.0764e-05 | -0.00015896 | 0.013259 | 0.013257 | 0.013259 | 0.99282 | -0.013638 | 0.99295 | -0.01228 | 6.314
48 | -0.42382 | -0.1683 | 0.42387 | 0.16315 | 5.1267e-05 | -0.0051504 | 0.013257 | 0.013203 | 0.013257 | 0.99295 | -0.01228 | 0.99307 | -0.012847 | 6.026
49 | -0.54087 | -0.21921 | 0.54111 | 0.20454 | 0.00023817 | -0.014669 | 0.016965 | 0.016809 | 0.016965 | 0.99307 | -0.012847 | 0.99349 | -0.014925 | 7.7112
50 | 0.117 | 0.05606 | -0.117 | -0.056666 | 4.8976e-07 | -0.00060596 | 0.0037714 | 0.003779 | 0.003779 | 0.99307 | -0.012847 | 0.99306 | -0.012811 | 1.7177
51 | -0.11027 | -0.053404 | 0.1103 | 0.05159 | 3.5945e-05 | -0.0018143 | 0.0035848 | 0.0035617 | 0.0035848 | 0.98661 | -0.014917 | 0.98695 | -0.012628 | 1.707
52 | -0.26734 | -0.12765 | 0.26735 | 0.12758 | 8.0506e-06 | -6.4944e-05 | 0.0086652 | 0.0086644 | 0.0086652 | 0.98695 | -0.012628 | 0.98698 | -0.012418 | 4.1263

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.3402 | 1.408

## res_load
| p_mw | q_mvar
0 | 0.14172 | 0.068636
1 | 0.14403 | 0.069755
2 | 0.065395 | 0.031672
3 | 0.092278 | 0.044692
4 | 0.090848 | 0.044
5 | 0.065924 | 0.031929
6 | 0.086732 | 0.042006
7 | 0.13419 | 0.064994
8 | 0.13798 | 0.066827
9 | 0.13313 | 0.064475
10 | 0.083716 | 0.040545
11 | 0.11563 | 0.056004
12 | 0.12969 | 0.062813
13 | 0.22133 | 0.1072
14 | 0.16105 | 0.077999
15 | 0.16123 | 0.078085
16 | 0.12585 | 0.060953
17 | 0.13337 | 0.064595
18 | 0.13402 | 0.064911
19 | 0.12447 | 0.060284
20 | 0.12589 | 0.060973
21 | 0.12383 | 0.059973
22 | 0.073612 | 0.035652
23 | 0.117 | 0.056666
24 | 0.099346 | 0.048115
25 | 0.11027 | 0.053404
26 | 0.15704 | 0.076059

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1