## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_459_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_459_0_node_171 | 20 | n |  | TRUE
2 | bus_MV_459_0_node_4 | 20 | n |  | TRUE
3 | bus_MV_459_0_node_164 | 20 | n |  | TRUE
4 | bus_MV_459_0_node_169 | 20 | n |  | TRUE
5 | bus_MV_459_0_node_163 | 20 | n |  | TRUE
6 | bus_MV_459_0_node_152 | 20 | n |  | TRUE
7 | bus_MV_459_0_node_156 | 20 | n |  | TRUE
8 | bus_MV_459_0_node_151 | 20 | n |  | TRUE
9 | bus_MV_459_0_node_1 | 20 | n |  | TRUE
10 | bus_MV_459_0_node_2 | 20 | n |  | TRUE
11 | bus_MV_459_0_node_162 | 20 | n |  | TRUE
12 | bus_MV_459_0_node_53 | 20 | n |  | TRUE
13 | bus_MV_459_0_node_3 | 20 | n |  | TRUE
14 | bus_MV_459_0_node_172 | 20 | n |  | TRUE
15 | bus_MV_459_0_node_5 | 20 | n |  | TRUE
16 | bus_MV_459_0_node_17 | 20 | n |  | TRUE
17 | bus_MV_459_0_node_18 | 20 | n |  | TRUE
18 | bus_MV_459_0_node_7 | 20 | n |  | TRUE
19 | bus_MV_459_0_node_6 | 20 | n |  | TRUE
20 | bus_MV_459_0_node_161 | 20 | n |  | TRUE
21 | bus_MV_459_0_node_12 | 20 | n |  | TRUE
22 | bus_MV_459_0_node_13 | 20 | n |  | TRUE
23 | bus_MV_459_0_node_15 | 20 | n |  | TRUE
24 | bus_MV_459_0_node_16 | 20 | n |  | TRUE
25 | bus_MV_459_0_node_69 | 20 | n |  | TRUE
26 | bus_MV_459_0_node_71 | 20 | n |  | TRUE
27 | bus_MV_459_0_node_70 | 20 | n |  | TRUE
28 | bus_MV_459_0_node_121 | 20 | n |  | TRUE
29 | bus_MV_459_0_node_67 | 20 | n |  | TRUE
30 | bus_MV_459_0_node_42 | 20 | n |  | TRUE
31 | bus_MV_459_0_node_68 | 20 | n |  | TRUE
32 | bus_MV_459_0_node_14 | 20 | n |  | TRUE
33 | bus_MV_459_0_node_57 | 20 | n |  | TRUE
34 | bus_MV_459_0_node_56 | 20 | n |  | TRUE
35 | bus_MV_459_0_node_64 | 20 | n |  | TRUE
36 | bus_MV_459_0_node_186 | 20 | n |  | TRUE
37 | bus_MV_459_0_node_76 | 20 | n |  | TRUE
38 | bus_MV_459_0_node_39 | 20 | n |  | TRUE
39 | bus_MV_459_0_node_58 | 20 | n |  | TRUE
40 | bus_MV_459_0_node_59 | 20 | n |  | TRUE
41 | bus_MV_459_0_node_36 | 20 | n |  | TRUE
42 | bus_MV_459_0_node_63 | 20 | n |  | TRUE
43 | bus_MV_459_0_node_167 | 20 | n |  | TRUE
44 | bus_MV_459_0_node_75 | 20 | n |  | TRUE
45 | bus_MV_459_0_node_175 | 20 | n |  | TRUE
46 | bus_MV_459_0_node_176 | 20 | n |  | TRUE
47 | bus_MV_459_0_node_19 | 20 | n |  | TRUE
48 | bus_MV_459_0_node_20 | 20 | n |  | TRUE
49 | bus_MV_459_0_node_22 | 20 | n |  | TRUE
50 | bus_MV_459_0_node_27 | 20 | n |  | TRUE
51 | bus_MV_459_0_node_159 | 20 | n |  | TRUE
52 | bus_MV_459_0_node_160 | 20 | n |  | TRUE
53 | bus_MV_459_0_node_28 | 20 | n |  | TRUE
54 | bus_MV_459_0_node_26 | 20 | n |  | TRUE
55 | bus_MV_459_0_node_158 | 20 | n |  | TRUE
56 | bus_MV_459_0_node_113 | 20 | n |  | TRUE
57 | bus_MV_459_0_node_30 | 20 | n |  | TRUE
58 | bus_MV_459_0_node_111 | 20 | n |  | TRUE
59 | bus_MV_459_0_node_29 | 20 | n |  | TRUE
60 | bus_MV_459_0_node_62 | 20 | n |  | TRUE
61 | bus_MV_459_0_node_33 | 20 | n |  | TRUE
62 | bus_MV_459_0_node_34 | 20 | n |  | TRUE
63 | bus_MV_459_0_node_35 | 20 | n |  | TRUE
64 | bus_MV_459_0_node_120 | 20 | n |  | TRUE
65 | bus_MV_459_0_node_61 | 20 | n |  | TRUE
66 | bus_MV_459_0_node_37 | 20 | n |  | TRUE
67 | bus_MV_459_0_node_65 | 20 | n |  | TRUE
68 | bus_MV_459_0_node_38 | 20 | n |  | TRUE
69 | bus_MV_459_0_node_178 | 20 | n |  | TRUE
70 | bus_MV_459_0_node_165 | 20 | n |  | TRUE
71 | bus_MV_459_0_node_179 | 20 | n |  | TRUE
72 | bus_MV_459_0_node_49 | 20 | n |  | TRUE
73 | bus_MV_459_0_node_182 | 20 | n |  | TRUE
74 | bus_MV_459_0_node_66 | 20 | n |  | TRUE
75 | bus_MV_459_0_node_40 | 20 | n |  | TRUE
76 | bus_MV_459_0_node_41 | 20 | n |  | TRUE
77 | bus_MV_459_0_node_43 | 20 | n |  | TRUE
78 | bus_MV_459_0_node_124 | 20 | n |  | TRUE
79 | bus_MV_459_0_node_44 | 20 | n |  | TRUE
80 | bus_MV_459_0_node_122 | 20 | n |  | TRUE
81 | bus_MV_459_0_node_45 | 20 | n |  | TRUE
82 | bus_MV_459_0_node_123 | 20 | n |  | TRUE
83 | bus_MV_459_0_node_46 | 20 | n |  | TRUE
84 | bus_MV_459_0_node_47 | 20 | n |  | TRUE
85 | bus_MV_459_0_node_48 | 20 | n |  | TRUE
86 | bus_MV_459_0_node_134 | 20 | n |  | TRUE
87 | bus_MV_459_0_node_135 | 20 | n |  | TRUE
88 | bus_MV_459_0_node_133 | 20 | n |  | TRUE
89 | bus_MV_459_0_node_166 | 20 | n |  | TRUE
90 | bus_MV_459_0_node_50 | 20 | n |  | TRUE
91 | bus_MV_459_0_node_143 | 20 | n |  | TRUE
92 | bus_MV_459_0_node_51 | 20 | n |  | TRUE
93 | bus_MV_459_0_node_52 | 20 | n |  | TRUE
94 | bus_MV_459_0_node_55 | 20 | n |  | TRUE
95 | bus_MV_459_0_node_54 | 20 | n |  | TRUE
96 | bus_MV_459_0_node_142 | 20 | n |  | TRUE
97 | bus_MV_459_0_node_180 | 20 | n |  | TRUE
98 | bus_MV_459_0_node_144 | 20 | n |  | TRUE
99 | bus_MV_459_0_node_145 | 20 | n |  | TRUE
100 | bus_MV_459_0_node_146 | 20 | n |  | TRUE
101 | bus_MV_459_0_node_74 | 20 | n |  | TRUE
102 | bus_MV_459_0_node_72 | 20 | n |  | TRUE
103 | bus_MV_459_0_node_150 | 20 | n |  | TRUE
104 | bus_MV_459_0_node_126 | 20 | n |  | TRUE
105 | bus_MV_459_0_node_73 | 20 | n |  | TRUE
106 | bus_MV_459_0_node_137 | 20 | n |  | TRUE
107 | bus_MV_459_0_node_136 | 20 | n |  | TRUE
108 | bus_MV_459_0_node_128 | 20 | n |  | TRUE
109 | bus_MV_459_0_node_157 | 20 | n |  | TRUE
110 | bus_MV_459_0_node_125 | 20 | n |  | TRUE
111 | bus_MV_459_0_node_106 | 20 | n |  | TRUE
112 | bus_MV_459_0_node_107 | 20 | n |  | TRUE
113 | bus_MV_459_0_node_108 | 20 | n |  | TRUE
114 | bus_MV_459_0_node_109 | 20 | n |  | TRUE
115 | bus_MV_459_0_node_110 | 20 | n |  | TRUE
116 | bus_MV_459_0_node_131 | 20 | n |  | TRUE
117 | bus_MV_459_0_node_141 | 20 | n |  | TRUE
118 | bus_MV_459_0_node_140 | 20 | n |  | TRUE
119 | bus_MV_459_0_node_132 | 20 | n |  | TRUE
120 | bus_MV_459_0_node_129 | 20 | n |  | TRUE
121 | bus_MV_459_0_node_127 | 20 | n |  | TRUE
122 | bus_MV_459_0_node_130 | 20 | n |  | TRUE
123 | bus_MV_459_0_node_139 | 20 | n |  | TRUE
124 | bus_MV_459_0_node_138 | 20 | n |  | TRUE
125 | bus_MV_459_0_node_155 | 20 | n |  | TRUE
126 | bus_MV_459_0_node_170 | 20 | n |  | TRUE
127 | bus_MV_459_0_node_168 | 20 | n |  | TRUE
128 | bus_MV_459_0_node_187 | 20 | n |  | TRUE
129 | bus_HV_459_0_node_134 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_459_0_load_0 | 0 | 0.056657 | 0.02744 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_459_0_load_171 | 1 | 0.3533 | 0.17111 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_459_0_load_169 | 4 | 0.31462 | 0.15238 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_459_0_load_152 | 6 | 0.2617 | 0.12675 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_459_0_load_1 | 9 | 0.10679 | 0.051722 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_459_0_load_162 | 11 | 0.30741 | 0.14889 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_459_0_load_172 | 14 | 0.216 | 0.10461 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_459_0_load_5 | 15 | 0.20543 | 0.099497 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_459_0_load_17 | 16 | 0.34576 | 0.16746 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_459_0_load_161 | 20 | 0.13545 | 0.065601 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_459_0_load_12 | 21 | 0.12708 | 0.061546 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_459_0_load_69 | 25 | 0.11187 | 0.05418 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_459_0_load_67 | 29 | 0.10024 | 0.048548 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_459_0_load_68 | 31 | 0.14478 | 0.070122 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_459_0_load_56 | 34 | 0.2406 | 0.11653 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_459_0_load_64 | 35 | 0.15991 | 0.077447 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_459_0_load_186 | 36 | 0.13518 | 0.06547 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_459_0_load_59 | 40 | 0.22904 | 0.11093 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_459_0_load_63 | 42 | 0.37669 | 0.18244 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_459_0_load_167 | 43 | 0.18363 | 0.088937 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_459_0_load_75 | 44 | 0.11984 | 0.058041 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_459_0_load_175 | 45 | 0.17319 | 0.083881 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_459_0_load_19 | 47 | 0.40682 | 0.19703 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_459_0_load_159 | 51 | 0.14276 | 0.069143 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_459_0_load_160 | 52 | 0.10026 | 0.04856 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_459_0_load_26 | 54 | 0.23162 | 0.11218 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_459_0_load_158 | 55 | 0.3599 | 0.17431 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_459_0_load_111 | 58 | 0.31113 | 0.15068 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_459_0_load_29 | 59 | 0.080509 | 0.038992 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_459_0_load_33 | 61 | 0.40938 | 0.19827 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_459_0_load_120 | 64 | 0.16487 | 0.079848 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_459_0_load_65 | 67 | 0.25451 | 0.12326 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_459_0_load_178 | 69 | 0.29375 | 0.14227 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_459_0_load_165 | 70 | 0.25966 | 0.12576 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_459_0_load_179 | 71 | 0.11711 | 0.056718 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_459_0_load_182 | 73 | 0.24109 | 0.11676 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_459_0_load_66 | 74 | 0.19513 | 0.094506 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_459_0_load_40 | 75 | 0.21088 | 0.10213 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_459_0_load_124 | 78 | 0.078809 | 0.038169 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_459_0_load_122 | 80 | 0.071197 | 0.034482 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_459_0_load_45 | 81 | 0.3498 | 0.16942 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_459_0_load_123 | 82 | 0.069859 | 0.033834 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_459_0_load_134 | 86 | 0.091806 | 0.044464 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_459_0_load_166 | 89 | 0.18658 | 0.090364 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_459_0_load_50 | 90 | 0.067564 | 0.032723 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_459_0_load_51 | 92 | 0.11085 | 0.053685 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_459_0_load_142 | 96 | 0.2867 | 0.13885 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_459_0_load_180 | 97 | 0.15949 | 0.077247 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_459_0_load_144 | 98 | 0.13294 | 0.064388 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_459_0_load_150 | 103 | 0.16365 | 0.079261 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_459_0_load_137 | 106 | 0.073872 | 0.035778 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_459_0_load_136 | 107 | 0.23265 | 0.11268 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_459_0_load_157 | 109 | 0.40645 | 0.19685 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_459_0_load_125 | 110 | 0.70041 | 0.33922 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_459_0_load_106 | 111 | 0.19526 | 0.09457 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_459_0_load_107 | 112 | 0.13538 | 0.065569 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_459_0_load_141 | 117 | 0.097175 | 0.047064 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_459_0_load_140 | 118 | 0.38263 | 0.18532 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_459_0_load_132 | 119 | 0.34804 | 0.16856 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_459_0_load_129 | 120 | 0.11086 | 0.05369 | 0 | 0 |  | 1 | TRUE | wye
60 | MV_459_0_load_139 | 123 | 0.18678 | 0.090459 | 0 | 0 |  | 1 | TRUE | wye
61 | MV_459_0_load_138 | 124 | 0.60283 | 0.29196 | 0 | 0 |  | 1 | TRUE | wye
62 | MV_459_0_load_155 | 125 | 0.20029 | 0.097003 | 0 | 0 |  | 1 | TRUE | wye
63 | MV_459_0_load_187 | 128 | 0.093314 | 0.045194 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_459_0_line_0 |  | 0 | 1 | 0.90491 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_459_0_line_1 |  | 1 | 2 | 0.002809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_459_0_line_2 |  | 2 | 10 | 0.54136 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_459_0_line_3 |  | 2 | 13 | 0.70788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_459_0_line_4 |  | 3 | 4 | 0.055533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_459_0_line_5 |  | 3 | 5 | 0.77982 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_459_0_line_6 |  | 4 | 127 | 0.023714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_459_0_line_7 |  | 5 | 11 | 0.11825 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_459_0_line_8 |  | 6 | 7 | 0.85706 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_459_0_line_9 |  | 6 | 8 | 0.15823 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_459_0_line_10 |  | 7 | 126 | 0.39123 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_459_0_line_11 |  | 7 | 127 | 0.6486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_459_0_line_12 |  | 7 | 125 | 0.00962 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_459_0_line_13 |  | 8 | 87 | 0.32747 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_459_0_line_14 |  | 9 | 10 | 0.01991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_459_0_line_15 |  | 9 | 11 | 0.88574 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_459_0_line_16 |  | 11 | 12 | 0.062371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_459_0_line_17 |  | 12 | 94 | 0.55519 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_459_0_line_18 |  | 12 | 93 | 1.0508 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_459_0_line_19 |  | 13 | 14 | 0.11091 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_459_0_line_20 |  | 14 | 15 | 0.79377 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_459_0_line_21 |  | 15 | 19 | 0.068316 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_459_0_line_22 |  | 16 | 17 | 0.022499 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_459_0_line_23 |  | 17 | 18 | 1.0876 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_459_0_line_24 |  | 18 | 20 | 0.005686 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_459_0_line_25 |  | 18 | 19 | 0.93907 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_459_0_line_26 |  | 21 | 22 | 0.092209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_459_0_line_27 |  | 22 | 23 | 0.33535 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_459_0_line_28 |  | 22 | 24 | 0.51667 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_459_0_line_29 |  | 23 | 35 | 0.009735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_459_0_line_30 |  | 24 | 36 | 0.04935 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_459_0_line_31 |  | 24 | 37 | 1.3497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_459_0_line_32 |  | 24 | 32 | 0.31103 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_459_0_line_33 |  | 25 | 26 | 0.007531 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
34 | MV_459_0_line_34 |  | 25 | 27 | 0.12823 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_459_0_line_35 |  | 25 | 28 | 0.86719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
36 | MV_459_0_line_36 |  | 25 | 29 | 0.61213 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_459_0_line_37 |  | 25 | 30 | 0.5437 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_459_0_line_38 |  | 25 | 31 | 0.46978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_459_0_line_39 |  | 26 | 101 | 0.35714 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_459_0_line_40 |  | 27 | 72 | 0.23719 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_459_0_line_41 |  | 28 | 71 | 0.051765 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_459_0_line_42 |  | 28 | 63 | 0.12644 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_459_0_line_43 |  | 29 | 60 | 0.036974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_459_0_line_44 |  | 29 | 59 | 1.0643 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_459_0_line_45 |  | 30 | 78 | 0.01214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_459_0_line_46 |  | 32 | 33 | 0.24023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_459_0_line_47 |  | 32 | 34 | 0.092546 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_459_0_line_48 |  | 33 | 42 | 0.029513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_459_0_line_49 |  | 33 | 38 | 0.23835 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_459_0_line_50 |  | 37 | 44 | 0.084125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_459_0_line_51 |  | 38 | 39 | 0.6727 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_459_0_line_52 |  | 38 | 40 | 0.025379 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_459_0_line_53 |  | 38 | 41 | 0.2591 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_459_0_line_54 |  | 39 | 43 | 0.12456 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_459_0_line_55 |  | 41 | 65 | 0.6445 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_459_0_line_56 |  | 41 | 66 | 0.10597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_459_0_line_57 |  | 41 | 67 | 0.037206 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_459_0_line_58 |  | 43 | 100 | 0.069849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_459_0_line_59 |  | 45 | 46 | 0.027448 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_459_0_line_60 |  | 46 | 50 | 1.4967 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_459_0_line_61 |  | 47 | 48 | 0.024989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_459_0_line_62 |  | 48 | 49 | 0.98587 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_459_0_line_63 |  | 49 | 51 | 0.088054 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_459_0_line_64 |  | 50 | 53 | 0.52559 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_459_0_line_65 |  | 50 | 54 | 0.06706 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_459_0_line_66 |  | 51 | 52 | 1.1736 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_459_0_line_67 |  | 52 | 53 | 1.1383 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_459_0_line_68 |  | 53 | 55 | 0.020547 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_459_0_line_69 |  | 53 | 56 | 1.2506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_459_0_line_70 |  | 56 | 57 | 1.172 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_459_0_line_71 |  | 56 | 58 | 0.081882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_459_0_line_72 |  | 57 | 59 | 0.026838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_459_0_line_73 |  | 60 | 65 | 0.64213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_459_0_line_74 |  | 61 | 62 | 0.13909 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_459_0_line_75 |  | 62 | 63 | 0.23991 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_459_0_line_76 |  | 63 | 64 | 0.065233 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_459_0_line_77 |  | 65 | 74 | 0.097252 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_459_0_line_78 |  | 66 | 68 | 0.44379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_459_0_line_79 |  | 66 | 69 | 0.027068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_459_0_line_80 |  | 68 | 70 | 0.034638 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_459_0_line_81 |  | 72 | 73 | 0.011586 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_459_0_line_82 |  | 75 | 76 | 0.11051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_459_0_line_83 |  | 76 | 77 | 0.54176 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_459_0_line_84 |  | 77 | 79 | 0.57411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_459_0_line_85 |  | 77 | 80 | 0.02278 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_459_0_line_86 |  | 79 | 81 | 0.041828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_459_0_line_87 |  | 80 | 82 | 0.019035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_459_0_line_88 |  | 81 | 83 | 0.022857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_459_0_line_89 |  | 83 | 84 | 0.22571 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_459_0_line_90 |  | 83 | 85 | 0.87882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_459_0_line_91 |  | 84 | 89 | 0.10665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_459_0_line_92 |  | 85 | 90 | 0.079639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_459_0_line_93 |  | 86 | 87 | 0.042935 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
94 | MV_459_0_line_94 |  | 86 | 88 | 0.18785 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
95 | MV_459_0_line_95 |  | 87 | 91 | 0.76309 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_459_0_line_96 |  | 88 | 119 | 0.015584 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
97 | MV_459_0_line_97 |  | 89 | 91 | 0.019589 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_459_0_line_98 |  | 91 | 95 | 0.83084 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_459_0_line_99 |  | 92 | 93 | 0.12853 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_459_0_line_100 |  | 94 | 97 | 0.066558 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
101 | MV_459_0_line_101 |  | 95 | 96 | 0.02812 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_459_0_line_102 |  | 98 | 99 | 0.09842 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
103 | MV_459_0_line_103 |  | 99 | 100 | 0.18503 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
104 | MV_459_0_line_104 |  | 101 | 107 | 0.024736 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
105 | MV_459_0_line_105 |  | 101 | 102 | 0.096234 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
106 | MV_459_0_line_106 |  | 101 | 105 | 0.15465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_459_0_line_107 |  | 102 | 103 | 0.026528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_459_0_line_108 |  | 102 | 104 | 0.10226 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
109 | MV_459_0_line_109 |  | 104 | 110 | 0.034034 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
110 | MV_459_0_line_110 |  | 104 | 108 | 0.068164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_459_0_line_111 |  | 105 | 106 | 0.042972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_459_0_line_112 |  | 108 | 109 | 0.011033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_459_0_line_113 |  | 110 | 121 | 0.042592 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
114 | MV_459_0_line_114 |  | 111 | 112 | 0.080821 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_459_0_line_115 |  | 112 | 113 | 0.034885 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_459_0_line_116 |  | 113 | 114 | 0.048544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_459_0_line_117 |  | 113 | 115 | 0.093734 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_459_0_line_118 |  | 114 | 116 | 0.10832 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_459_0_line_119 |  | 114 | 117 | 0.030647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_459_0_line_120 |  | 115 | 118 | 0.043691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
121 | MV_459_0_line_121 |  | 116 | 119 | 0.18924 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
122 | MV_459_0_line_122 |  | 116 | 120 | 0.019711 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
123 | MV_459_0_line_123 |  | 120 | 121 | 0.02133 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
124 | MV_459_0_line_124 |  | 121 | 122 | 0.026884 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
125 | MV_459_0_line_125 |  | 122 | 123 | 0.027267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
126 | MV_459_0_line_126 |  | 122 | 124 | 0.042342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
127 | MV_459_0_line_127 |  | 126 | 128 | 0.019019 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_459_0_trafo_134 | 25 MVA 110/20 kV | 129 | 86 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2506975.992 | 1125027.4336
1 | 2506356.5032 | 1125687.0583
2 | 2506353.761 | 1125687.7012
3 | 2506346.0442 | 1124300.2014
4 | 2506334.9237 | 1124254.8795
5 | 2505764.4098 | 1124425.6753
6 | 2506131.6053 | 1123114.019
7 | 2506648.437 | 1123797.7179
8 | 2506051.6151 | 1122977.4121
9 | 2506099.6891 | 1125300.5986
10 | 2506105.4976 | 1125319.6421
11 | 2505702.5877 | 1124508.8681
12 | 2505664.7851 | 1124459.2168
13 | 2506649.2745 | 1126242.8642
14 | 2506744.1025 | 1126185.3425
15 | 2507286.6497 | 1126764.7527
16 | 2507997.3325 | 1128519.2204
17 | 2507977.8472 | 1128530.4685
18 | 2507702.0447 | 1127558.5364
19 | 2507325.4881 | 1126820.9017
20 | 2507698.0452 | 1127562.5888
21 | 2504748.6725 | 1120979.5047
22 | 2504701.1668 | 1121058.5906
23 | 2504777.8165 | 1121353.7524
24 | 2504487.9853 | 1121252.6732
25 | 2505257.2586 | 1122331.0946
26 | 2505264.1191 | 1122334.2446
27 | 2505141.8427 | 1122275.2149
28 | 2504437.4274 | 1122613.7611
29 | 2505181.7517 | 1121723.641
30 | 2504753.7347 | 1122536.2104
31 | 2504799.5945 | 1122437.1163
32 | 2504432.5454 | 1121452.1604
33 | 2504254.0727 | 1121466.7263
34 | 2504462.2442 | 1121539.8113
35 | 2504781.206 | 1121362.7378
36 | 2504521.0187 | 1121215.929
37 | 2504168.2815 | 1120712.4452
38 | 2504250.4896 | 1121622.7787
39 | 2503849.8668 | 1121182.4998
40 | 2504264.7775 | 1121643.7542
41 | 2504434.841 | 1121761.18
42 | 2504237.4539 | 1121442.6894
43 | 2503880.2638 | 1121061.709
44 | 2504243.8178 | 1120747.9925
45 | 2508725.1823 | 1122911.2295
46 | 2508711.2972 | 1122887.6028
47 | 2509658.6739 | 1121175.7872
48 | 2509640.7234 | 1121158.3783
49 | 2508798.6387 | 1121265.9426
50 | 2507251.3665 | 1122557.8849
51 | 2508722.1793 | 1121309.9785
52 | 2507556.6099 | 1121446.9153
53 | 2506926.693 | 1122395.0322
54 | 2507197.8567 | 1122598.3307
55 | 2506923.1945 | 1122415.2762
56 | 2506070.7078 | 1122355.5929
57 | 2506118.5328 | 1121184.5379
58 | 2506000.9877 | 1122398.8585
59 | 2506093.5451 | 1121174.6755
60 | 2505160.2497 | 1121693.5266
61 | 2504298.3648 | 1122515.8456
62 | 2504293.0155 | 1122654.8377
63 | 2504431.9137 | 1122700.1456
64 | 2504477.1095 | 1122715.5629
65 | 2504801.3051 | 1121672.8109
66 | 2504359.3491 | 1121798.2409
67 | 2504410.8775 | 1121732.7192
68 | 2504379.5107 | 1122135.7954
69 | 2504374.1491 | 1121820.9207
70 | 2504409.3289 | 1122118.0241
71 | 2504392.8958 | 1122640.3705
72 | 2504969.6807 | 1122306.0155
73 | 2504981.2119 | 1122307.4462
74 | 2504898.5565 | 1121673.0361
75 | 2504274.6706 | 1123220.1983
76 | 2504364.9226 | 1123156.4623
77 | 2504457.2956 | 1122803.4076
78 | 2504745.6412 | 1122528.4591
79 | 2504758.9382 | 1123137.7516
80 | 2504443.7549 | 1122785.0882
81 | 2504785.0089 | 1123170.4613
82 | 2504459.1662 | 1122773.9155
83 | 2504798.0958 | 1123189.1995
84 | 2504971.4265 | 1123205.9043
85 | 2504752.0301 | 1123903.2838
86 | 2505708.4327 | 1122926.9718
87 | 2505724.3161 | 1122966.8574
88 | 2505668.2025 | 1122745.3535
89 | 2505030.5586 | 1123294.251
90 | 2504683.7801 | 1123944.6518
91 | 2505042.5702 | 1123309.6828
92 | 2504897.7642 | 1124334.2963
93 | 2504950.1557 | 1124216.8893
94 | 2505360.9947 | 1124192.0707
95 | 2504992.5682 | 1123802.7251
96 | 2504974.0285 | 1123791.3986
97 | 2505295.7317 | 1124205.1344
98 | 2503851.0801 | 1120887.0106
99 | 2503912.669 | 1120963.7782
100 | 2503880.2073 | 1120995.1023
101 | 2505554.9629 | 1122477.6365
102 | 2505629.8871 | 1122501.1251
103 | 2505649.6646 | 1122483.3833
104 | 2505715.7841 | 1122481.4505
105 | 2505588.5453 | 1122408.4364
106 | 2505612.3916 | 1122444.0178
107 | 2505575.4647 | 1122463.7966
108 | 2505672.3079 | 1122438.725
109 | 2505680.0839 | 1122430.8766
110 | 2505735.5491 | 1122509.1572
111 | 2506006.0373 | 1122481.303
112 | 2505937.0383 | 1122523.3887
113 | 2505907.2392 | 1122541.5261
114 | 2505865.8122 | 1122566.8309
115 | 2505871.1661 | 1122478.7717
116 | 2505782.6489 | 1122577.7554
117 | 2505849.5095 | 1122540.8793
118 | 2505848.5925 | 1122441.3639
119 | 2505670.1365 | 1122729.9139
120 | 2505772.7186 | 1122561.0676
121 | 2505759.5121 | 1122544.318
122 | 2505779.4651 | 1122536.3243
123 | 2505802.3964 | 1122521.469
124 | 2505750.1707 | 1122514.7215
125 | 2506650.1928 | 1123806.0403
126 | 2506951.757 | 1123594.9064
127 | 2506325.3416 | 1124233.1816
128 | 2506947.8014 | 1123576.4227
129 | 2505708.4327 | 1122926.9718

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98548 | -0.042992 | 0.056657 | 0.02744
1 | 0.98558 | -0.042312 | 0.3533 | 0.17111
2 | 0.98558 | -0.042326 | 0 | 0
3 | 0.9912 | -0.040999 | 0 | 0
4 | 0.99134 | -0.041832 | 0.31462 | 0.15238
5 | 0.98922 | -0.028771 | 0 | 0
6 | 0.99755 | -0.013933 | 0.2617 | 0.12675
7 | 0.99331 | -0.054101 | 0 | 0
8 | 0.99812 | -0.017669 | 0 | 0
9 | 0.98652 | -0.048695 | 0.10679 | 0.051722
10 | 0.98648 | -0.048478 | 0 | 0
11 | 0.98892 | -0.026832 | 0.30741 | 0.14889
12 | 0.9889 | -0.026794 | 0 | 0
13 | 0.98476 | -0.037121 | 0 | 0
14 | 0.98457 | -0.038851 | 0.216 | 0.10461
15 | 0.98354 | -0.049077 | 0.20543 | 0.099497
16 | 0.98242 | -0.041865 | 0.34576 | 0.16746
17 | 0.98244 | -0.041768 | 0 | 0
18 | 0.98292 | -0.045526 | 0 | 0
19 | 0.98349 | -0.048885 | 0 | 0
20 | 0.98292 | -0.045516 | 0.13545 | 0.065601
21 | 0.98759 | -0.12735 | 0.12708 | 0.061546
22 | 0.9876 | -0.12748 | 0 | 0
23 | 0.98753 | -0.12692 | 0 | 0
24 | 0.98779 | -0.12876 | 0 | 0
25 | 0.99682 | -0.077884 | 0.11187 | 0.05418
26 | 0.99684 | -0.07759 | 0 | 0
27 | 0.99676 | -0.078326 | 0 | 0
28 | 0.99566 | -0.086087 | 0 | 0
29 | 0.99354 | -0.16719 | 0.10024 | 0.048548
30 | 0.99674 | -0.078434 | 0 | 0
31 | 0.99669 | -0.078723 | 0.14478 | 0.070122
32 | 0.988 | -0.1296 | 0 | 0
33 | 0.98824 | -0.13085 | 0 | 0
34 | 0.98796 | -0.12987 | 0.2406 | 0.11653
35 | 0.98753 | -0.1269 | 0.15991 | 0.077447
36 | 0.98778 | -0.12868 | 0.13518 | 0.06547
37 | 0.98759 | -0.12833 | 0 | 0
38 | 0.98859 | -0.1331 | 0 | 0
39 | 0.98832 | -0.1312 | 0 | 0
40 | 0.98858 | -0.13317 | 0.22904 | 0.11093
41 | 0.98915 | -0.13676 | 0 | 0
42 | 0.98822 | -0.13071 | 0.37669 | 0.18244
43 | 0.98824 | -0.13178 | 0.18363 | 0.088937
44 | 0.98758 | -0.12821 | 0.11984 | 0.058041
45 | 0.98282 | -0.21466 | 0.17319 | 0.083881
46 | 0.98283 | -0.21472 | 0 | 0
47 | 0.98036 | -0.2317 | 0.40682 | 0.19703
48 | 0.98037 | -0.23183 | 0 | 0
49 | 0.98089 | -0.23604 | 0 | 0
50 | 0.98333 | -0.21128 | 0 | 0
51 | 0.98093 | -0.23634 | 0.14276 | 0.069143
52 | 0.98218 | -0.22556 | 0.10026 | 0.04856
53 | 0.98361 | -0.21357 | 0 | 0
54 | 0.98331 | -0.21109 | 0.23162 | 0.11218
55 | 0.9836 | -0.21348 | 0.3599 | 0.17431
56 | 0.98587 | -0.2306 | 0 | 0
57 | 0.98977 | -0.19766 | 0 | 0
58 | 0.98584 | -0.23029 | 0.31113 | 0.15068
59 | 0.98983 | -0.1981 | 0.080509 | 0.038992
60 | 0.99341 | -0.16634 | 0 | 0
61 | 0.99533 | -0.084839 | 0.40938 | 0.19827
62 | 0.99544 | -0.084143 | 0 | 0
63 | 0.99557 | -0.085283 | 0 | 0
64 | 0.99556 | -0.085156 | 0.16487 | 0.079848
65 | 0.9912 | -0.15116 | 0 | 0
66 | 0.98907 | -0.13613 | 0 | 0
67 | 0.98913 | -0.13688 | 0.25451 | 0.12326
68 | 0.98892 | -0.1349 | 0 | 0
69 | 0.98906 | -0.13604 | 0.29375 | 0.14227
70 | 0.98891 | -0.13479 | 0.25966 | 0.12576
71 | 0.99565 | -0.086016 | 0.11711 | 0.056718
72 | 0.99669 | -0.077684 | 0 | 0
73 | 0.99668 | -0.077651 | 0.24109 | 0.11676
74 | 0.99117 | -0.15139 | 0.19513 | 0.094506
75 | 0.99732 | -0.013069 | 0.21088 | 0.10213
76 | 0.99735 | -0.01334 | 0 | 0
77 | 0.99749 | -0.0144 | 0 | 0
78 | 0.99673 | -0.078422 | 0.078809 | 0.038169
79 | 0.99775 | -0.015972 | 0 | 0
80 | 0.99749 | -0.014362 | 0.071197 | 0.034482
81 | 0.99776 | -0.016067 | 0.3498 | 0.16942
82 | 0.99749 | -0.014347 | 0.069859 | 0.033834
83 | 0.99778 | -0.016214 | 0 | 0
84 | 0.998 | -0.017474 | 0 | 0
85 | 0.99771 | -0.016194 | 0 | 0
86 | 1 | 0 | -13.7448 | -6.0926
87 | 0.99991 | -0.0012535 | 0 | 0
88 | 0.99942 | -0.0029274 | 0 | 0
89 | 0.9981 | -0.018043 | 0.18658 | 0.090364
90 | 0.9977 | -0.016134 | 0.067564 | 0.032723
91 | 0.99813 | -0.018189 | 0 | 0
92 | 0.98874 | -0.026253 | 0.11085 | 0.053685
93 | 0.98876 | -0.026414 | 0 | 0
94 | 0.98879 | -0.025948 | 0 | 0
95 | 0.99783 | -0.015889 | 0 | 0
96 | 0.99782 | -0.015792 | 0.2867 | 0.13885
97 | 0.98877 | -0.026079 | 0.15949 | 0.077247
98 | 0.98818 | -0.1313 | 0.13294 | 0.064388
99 | 0.9882 | -0.13145 | 0 | 0
100 | 0.98823 | -0.1317 | 0 | 0
101 | 0.99752 | -0.07376 | 0 | 0
102 | 0.99772 | -0.072667 | 0 | 0
103 | 0.99771 | -0.072616 | 0.16365 | 0.079261
104 | 0.99793 | -0.071476 | 0 | 0
105 | 0.99751 | -0.073651 | 0 | 0
106 | 0.99751 | -0.073615 | 0.073872 | 0.035778
107 | 0.99752 | -0.073692 | 0.23265 | 0.11268
108 | 0.99789 | -0.071148 | 0 | 0
109 | 0.99789 | -0.071094 | 0.40645 | 0.19685
110 | 0.998 | -0.07106 | 0.70041 | 0.33922
111 | 0.99803 | -0.068221 | 0.19526 | 0.09457
112 | 0.99805 | -0.068406 | 0.13538 | 0.065569
113 | 0.99806 | -0.068539 | 0 | 0
114 | 0.99811 | -0.068934 | 0 | 0
115 | 0.99802 | -0.068121 | 0 | 0
116 | 0.99822 | -0.069925 | 0 | 0
117 | 0.9981 | -0.068899 | 0.097175 | 0.047064
118 | 0.998 | -0.067922 | 0.38263 | 0.18532
119 | 0.99937 | -0.0031689 | 0.34804 | 0.16856
120 | 0.99816 | -0.070205 | 0.11086 | 0.05369
121 | 0.99811 | -0.070504 | 0 | 0
122 | 0.99808 | -0.070253 | 0 | 0
123 | 0.99807 | -0.070192 | 0.18678 | 0.090459
124 | 0.99805 | -0.069947 | 0.60283 | 0.29196
125 | 0.99331 | -0.054077 | 0.20029 | 0.097003
126 | 0.99326 | -0.053786 | 0 | 0
127 | 0.99141 | -0.042277 | 0 | 0
128 | 0.99326 | -0.053764 | 0.093314 | 0.045194
129 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.056657 | -0.02744 | 0.056663 | 0.026394 | 5.4432e-06 | -0.0010458 | 0.0018441 | 0.0018309 | 0.0018441 | 0.98548 | -0.042992 | 0.98558 | -0.042312 | 0.87813
1 | -0.40997 | -0.19751 | 0.40997 | 0.19744 | 6.6613e-07 | -6.495e-05 | 0.013329 | 0.013328 | 0.013329 | 0.98558 | -0.042312 | 0.98558 | -0.042326 | 6.0585
2 | -1.3147 | -0.56958 | 1.316 | 0.55739 | 0.0012685 | -0.012191 | 0.041967 | 0.041822 | 0.041967 | 0.98558 | -0.042326 | 0.98648 | -0.048478 | 19.0758
3 | 0.90476 | 0.37214 | -0.90398 | -0.38831 | 0.00078094 | -0.016172 | 0.028654 | 0.028841 | 0.028841 | 0.98558 | -0.042326 | 0.98476 | -0.037121 | 13.1094
4 | -2.0087 | -0.82788 | 2.009 | 0.82666 | 0.00029675 | -0.0012148 | 0.063275 | 0.06326 | 0.063275 | 0.9912 | -0.040999 | 0.99134 | -0.041832 | 28.7612
5 | 2.0087 | 0.82788 | -2.0045 | -0.84489 | 0.0041816 | -0.017016 | 0.063275 | 0.063479 | 0.063479 | 0.9912 | -0.040999 | 0.98922 | -0.028771 | 28.8543
6 | -2.3236 | -0.97904 | 2.3238 | 0.97853 | 0.00017066 | -0.00050585 | 0.073424 | 0.073417 | 0.073424 | 0.99134 | -0.041832 | 0.99141 | -0.042277 | 33.3744
7 | 2.0045 | 0.84489 | -2.0039 | -0.84747 | 0.00063644 | -0.0025731 | 0.063479 | 0.063511 | 0.063511 | 0.98922 | -0.028771 | 0.98892 | -0.026832 | 28.8686
8 | 2.6325 | 1.1025 | -2.622 | -1.097 | 0.010418 | 0.0055114 | 0.08259 | 0.082602 | 0.082602 | 0.99755 | -0.013933 | 0.99331 | -0.054101 | 39.3341
9 | -2.8942 | -1.2292 | 2.8959 | 1.226 | 0.0017483 | -0.0032431 | 0.090994 | 0.090951 | 0.090994 | 0.99755 | -0.013933 | 0.99812 | -0.017669 | 41.3608
10 | 0.093318 | 0.035531 | -0.093314 | -0.044746 | 4.5522e-06 | -0.0092147 | 0.002902 | 0.0030077 | 0.0030077 | 0.99331 | -0.054101 | 0.99326 | -0.053786 | 1.3671
11 | 2.3284 | 0.96466 | -2.3238 | -0.97853 | 0.0046563 | -0.013869 | 0.073246 | 0.073417 | 0.073417 | 0.99331 | -0.054101 | 0.99141 | -0.042277 | 33.3715
12 | 0.20029 | 0.096777 | -0.20029 | -0.097003 | 5.3695e-07 | -0.00022646 | 0.0064646 | 0.0064675 | 0.0064675 | 0.99331 | -0.054101 | 0.99331 | -0.054077 | 2.9398
13 | -2.8959 | -1.226 | 2.9007 | 1.2286 | 0.0048262 | 0.0026328 | 0.090951 | 0.090947 | 0.090951 | 0.99812 | -0.017669 | 0.99991 | -0.0012535 | 43.3101
14 | 1.316 | 0.55694 | -1.316 | -0.55739 | 4.6484e-05 | -0.00044884 | 0.041817 | 0.041822 | 0.041822 | 0.98652 | -0.048695 | 0.98648 | -0.048478 | 19.01
15 | -1.4228 | -0.60867 | 1.4261 | 0.60966 | 0.0032354 | 0.00099497 | 0.045285 | 0.045273 | 0.045285 | 0.98652 | -0.048695 | 0.98892 | -0.026832 | 21.5642
16 | 0.27039 | 0.08892 | -0.27038 | -0.090375 | 5.7574e-06 | -0.0014546 | 0.0083087 | 0.0083221 | 0.0083221 | 0.98892 | -0.026832 | 0.9889 | -0.026794 | 3.7828
17 | 0.15952 | 0.064215 | -0.1595 | -0.077171 | 1.9228e-05 | -0.012956 | 0.0050197 | 0.0051729 | 0.0051729 | 0.9889 | -0.026794 | 0.98879 | -0.025948 | 2.3513
18 | 0.11086 | 0.02616 | -0.11085 | -0.050686 | 1.6457e-05 | -0.024526 | 0.0033252 | 0.0035586 | 0.0035586 | 0.9889 | -0.026794 | 0.98876 | -0.026414 | 1.6175
19 | 0.90398 | 0.38831 | -0.90382 | -0.38834 | 0.00016438 | -2.5416e-05 | 0.028841 | 0.028842 | 0.028842 | 0.98476 | -0.037121 | 0.98457 | -0.038851 | 13.7344
20 | 0.68782 | 0.28373 | -0.68714 | -0.28422 | 0.00067336 | -0.00049586 | 0.021815 | 0.021825 | 0.021825 | 0.98457 | -0.038851 | 0.98354 | -0.049077 | 10.393
21 | 0.48171 | 0.18472 | -0.48169 | -0.1863 | 2.0935e-05 | -0.0015716 | 0.015142 | 0.015159 | 0.015159 | 0.98354 | -0.049077 | 0.98349 | -0.048885 | 6.8905
22 | -0.34576 | -0.16746 | 0.34577 | 0.16744 | 5.1082e-06 | -2.2724e-05 | 0.011289 | 0.011288 | 0.011289 | 0.98242 | -0.041865 | 0.98244 | -0.041768 | 5.3756
23 | -0.34577 | -0.16744 | 0.34595 | 0.14241 | 0.00017996 | -0.025023 | 0.011288 | 0.010987 | 0.011288 | 0.98244 | -0.041768 | 0.98292 | -0.045526 | 5.1311
24 | 0.13545 | 0.06547 | -0.13545 | -0.065601 | 1.4825e-07 | -0.00013112 | 0.0044184 | 0.00442 | 0.00442 | 0.98292 | -0.045526 | 0.98292 | -0.045516 | 2.0091
25 | -0.4814 | -0.20788 | 0.48169 | 0.1863 | 0.00029258 | -0.021588 | 0.0154 | 0.015159 | 0.0154 | 0.98292 | -0.045526 | 0.98349 | -0.048885 | 7
26 | -0.12708 | -0.061546 | 0.12708 | 0.0594 | 2.0831e-06 | -0.0021467 | 0.0041272 | 0.0041003 | 0.0041272 | 0.98759 | -0.12735 | 0.9876 | -0.12748 | 1.876
27 | 0.15992 | 0.069415 | -0.15991 | -0.077221 | 1.1839e-05 | -0.0078054 | 0.0050958 | 0.0051909 | 0.0051909 | 0.9876 | -0.12748 | 0.98753 | -0.12692 | 2.3595
28 | -0.287 | -0.12881 | 0.28706 | 0.1168 | 5.7428e-05 | -0.012017 | 0.0091952 | 0.0090569 | 0.0091952 | 0.9876 | -0.12748 | 0.98779 | -0.12876 | 4.1797
29 | 0.15991 | 0.077221 | -0.15991 | -0.077447 | 3.5039e-07 | -0.00022657 | 0.0051909 | 0.0051938 | 0.0051938 | 0.98753 | -0.12692 | 0.98753 | -0.1269 | 2.3608
30 | 0.13518 | 0.064321 | -0.13518 | -0.06547 | 1.2652e-06 | -0.0011493 | 0.004375 | 0.0043895 | 0.0043895 | 0.98779 | -0.12876 | 0.98778 | -0.12868 | 1.9952
31 | 0.11987 | 0.024652 | -0.11984 | -0.056083 | 2.462e-05 | -0.03143 | 0.0035763 | 0.0038676 | 0.0038676 | 0.98779 | -0.12876 | 0.98759 | -0.12833 | 1.758
32 | -0.5421 | -0.20577 | 0.54222 | 0.19856 | 0.00011871 | -0.0072122 | 0.016946 | 0.016872 | 0.016946 | 0.98779 | -0.12876 | 0.988 | -0.1296 | 7.7025
33 | -5.9281 | -2.6268 | 5.9283 | 2.6267 | 0.00012825 | -0.00016352 | 0.18778 | 0.18777 | 0.18778 | 0.99682 | -0.077884 | 0.99684 | -0.07759 | 51.8718
34 | 0.24112 | 0.11072 | -0.24111 | -0.11087 | 1.3492e-05 | -0.00014365 | 0.0076838 | 0.0076856 | 0.0076856 | 0.99682 | -0.077884 | 0.99676 | -0.078326 | 3.6598
35 | 0.69227 | 0.32275 | -0.69152 | -0.3233 | 0.00075641 | -0.0005537 | 0.02212 | 0.022132 | 0.022132 | 0.99682 | -0.077884 | 0.99566 | -0.086087 | 10.5392
36 | 4.6593 | 2.0324 | -4.6471 | -2.0192 | 0.012178 | 0.013167 | 0.14721 | 0.14722 | 0.14722 | 0.99682 | -0.077884 | 0.99354 | -0.16719 | 42.0621
37 | 0.078815 | 0.03724 | -0.078809 | -0.037881 | 6.1929e-06 | -0.00064101 | 0.0025244 | 0.0025325 | 0.0025325 | 0.99682 | -0.077884 | 0.99674 | -0.078434 | 1.2059
38 | 0.1448 | 0.069576 | -0.14478 | -0.070122 | 1.8144e-05 | -0.00054583 | 0.0046523 | 0.0046594 | 0.0046594 | 0.99682 | -0.077884 | 0.99669 | -0.078723 | 2.2187
39 | -5.9283 | -2.6267 | 5.9321 | 2.6065 | 0.0038856 | -0.020126 | 0.18777 | 0.18751 | 0.18777 | 0.99684 | -0.07759 | 0.99752 | -0.07376 | 29.4315
40 | 0.24111 | 0.11087 | -0.24109 | -0.11649 | 1.8872e-05 | -0.0056204 | 0.0076856 | 0.0077551 | 0.0077551 | 0.99676 | -0.078326 | 0.99669 | -0.077684 | 3.5251
41 | 0.11711 | 0.055493 | -0.11711 | -0.056718 | 9.7956e-07 | -0.0012249 | 0.0037573 | 0.0037726 | 0.0037726 | 0.99566 | -0.086087 | 0.99565 | -0.086016 | 1.7148
42 | 0.57441 | 0.26781 | -0.57435 | -0.27078 | 5.711e-05 | -0.0029757 | 0.018375 | 0.018412 | 0.018412 | 0.99566 | -0.086087 | 0.99557 | -0.085283 | 8.3691
43 | 2.7223 | 1.1642 | -2.7219 | -1.1649 | 0.00036533 | -0.00076294 | 0.086026 | 0.086036 | 0.086036 | 0.99354 | -0.16719 | 0.99341 | -0.16634 | 39.1072
44 | 1.8246 | 0.80646 | -1.8182 | -0.80372 | 0.006372 | 0.0027417 | 0.057961 | 0.057975 | 0.057975 | 0.99354 | -0.16719 | 0.98983 | -0.1981 | 27.6073
45 | 0.078809 | 0.037881 | -0.078809 | -0.038169 | 1.0408e-07 | -0.00028794 | 0.0025325 | 0.0025361 | 0.0025361 | 0.99674 | -0.078434 | 0.99673 | -0.078422 | 1.1528
46 | -0.78283 | -0.31498 | 0.78303 | 0.30944 | 0.00019447 | -0.0055425 | 0.024655 | 0.024594 | 0.024655 | 0.988 | -0.1296 | 0.98824 | -0.13085 | 11.2068
47 | 0.24061 | 0.11643 | -0.2406 | -0.11653 | 1.0059e-05 | -0.00010154 | 0.00781 | 0.0078113 | 0.0078113 | 0.988 | -0.1296 | 0.98796 | -0.12987 | 3.7197
48 | 0.3767 | 0.18176 | -0.37669 | -0.18244 | 5.8855e-06 | -0.00068641 | 0.012218 | 0.012226 | 0.012226 | 0.98824 | -0.13085 | 0.98822 | -0.13071 | 5.5575
49 | -1.1597 | -0.4912 | 1.1602 | 0.48577 | 0.00042995 | -0.0054323 | 0.03679 | 0.036727 | 0.03679 | 0.98824 | -0.13085 | 0.98859 | -0.1331 | 16.7229
50 | 0.11984 | 0.056083 | -0.11984 | -0.058041 | 1.6906e-06 | -0.0019585 | 0.0038676 | 0.0038922 | 0.0038922 | 0.98759 | -0.12833 | 0.98758 | -0.12821 | 1.7692
51 | 0.3167 | 0.12929 | -0.31661 | -0.14496 | 9.1206e-05 | -0.015665 | 0.0099888 | 0.010171 | 0.010171 | 0.98859 | -0.1331 | 0.98832 | -0.1312 | 4.6231
52 | 0.22904 | 0.1109 | -0.22904 | -0.11093 | 2.497e-06 | -2.8046e-05 | 0.0074309 | 0.0074313 | 0.0074313 | 0.98859 | -0.1331 | 0.98858 | -0.13317 | 3.5387
53 | -1.7059 | -0.72596 | 1.7069 | 0.72021 | 0.0010124 | -0.005749 | 0.054137 | 0.054068 | 0.054137 | 0.98859 | -0.1331 | 0.98915 | -0.13676 | 24.6075
54 | 0.31661 | 0.14496 | -0.31658 | -0.14509 | 2.2961e-05 | -0.00013085 | 0.010171 | 0.010173 | 0.010173 | 0.98832 | -0.1312 | 0.98824 | -0.13178 | 4.8441
55 | -2.5149 | -1.0972 | 2.5204 | 1.0838 | 0.0055052 | -0.013454 | 0.080077 | 0.079902 | 0.080077 | 0.98915 | -0.13676 | 0.9912 | -0.15116 | 36.3987
56 | 0.5535 | 0.25377 | -0.55346 | -0.25624 | 4.4751e-05 | -0.0024621 | 0.01777 | 0.017801 | 0.017801 | 0.98915 | -0.13676 | 0.98907 | -0.13613 | 8.0912
57 | 0.25451 | 0.12322 | -0.25451 | -0.12326 | 4.5148e-06 | -4.0629e-05 | 0.0082525 | 0.008253 | 0.008253 | 0.98915 | -0.13676 | 0.98913 | -0.13688 | 3.93
58 | 0.13295 | 0.056153 | -0.13295 | -0.057781 | 1.6647e-06 | -0.0016282 | 0.0042159 | 0.0042346 | 0.0042346 | 0.98824 | -0.13178 | 0.98823 | -0.1317 | 1.9248
59 | -0.17319 | -0.083881 | 0.17319 | 0.083248 | 1.169e-06 | -0.00063268 | 0.0056523 | 0.0056442 | 0.0056523 | 0.98282 | -0.21466 | 0.98283 | -0.21472 | 2.5692
60 | -0.17319 | -0.083248 | 0.17328 | 0.081574 | 8.4622e-05 | -0.0016738 | 0.0056442 | 0.0056224 | 0.0056442 | 0.98283 | -0.21472 | 0.98333 | -0.21128 | 2.6877
61 | -0.40682 | -0.19703 | 0.40683 | 0.19646 | 5.907e-06 | -0.00057169 | 0.01331 | 0.013303 | 0.01331 | 0.98036 | -0.2317 | 0.98037 | -0.23183 | 6.0501
62 | -0.40683 | -0.19646 | 0.40706 | 0.17389 | 0.00022799 | -0.022568 | 0.013303 | 0.013027 | 0.013303 | 0.98037 | -0.23183 | 0.98089 | -0.23604 | 6.0468
63 | -0.40706 | -0.17389 | 0.40708 | 0.17188 | 1.9913e-05 | -0.002017 | 0.013027 | 0.013004 | 0.013027 | 0.98089 | -0.23604 | 0.98093 | -0.23634 | 5.9214
64 | -0.40491 | -0.19221 | 0.40503 | 0.18011 | 0.00012009 | -0.012102 | 0.013158 | 0.013009 | 0.013158 | 0.98333 | -0.21128 | 0.98361 | -0.21357 | 5.9809
65 | 0.23163 | 0.11063 | -0.23162 | -0.11218 | 5.0971e-06 | -0.0015467 | 0.0075357 | 0.0075554 | 0.0075554 | 0.98333 | -0.21128 | 0.98331 | -0.21109 | 3.4343
66 | -0.54984 | -0.24102 | 0.55049 | 0.24008 | 0.00065207 | -0.00094139 | 0.017667 | 0.017651 | 0.017667 | 0.98093 | -0.23634 | 0.98218 | -0.22556 | 8.413
67 | -0.65075 | -0.28864 | 0.65164 | 0.28788 | 0.00088723 | -0.00075708 | 0.020924 | 0.020908 | 0.020924 | 0.98218 | -0.22556 | 0.98361 | -0.21357 | 9.9636
68 | 0.3599 | 0.17383 | -0.3599 | -0.17431 | 3.7763e-06 | -0.00047351 | 0.01173 | 0.011736 | 0.011736 | 0.98361 | -0.21357 | 0.9836 | -0.21348 | 5.3347
69 | -1.4166 | -0.64182 | 1.42 | 0.61389 | 0.0034518 | -0.027932 | 0.045643 | 0.045299 | 0.045643 | 0.98361 | -0.21357 | 0.98587 | -0.2306 | 20.7466
70 | -1.7312 | -0.76268 | 1.7376 | 0.76532 | 0.0064052 | 0.0026467 | 0.055392 | 0.055376 | 0.055392 | 0.98587 | -0.2306 | 0.98977 | -0.19766 | 26.3769
71 | 0.31114 | 0.14879 | -0.31113 | -0.15068 | 1.1174e-05 | -0.0018968 | 0.010099 | 0.010123 | 0.010123 | 0.98587 | -0.2306 | 0.98584 | -0.23029 | 4.6012
72 | -1.7376 | -0.76532 | 1.7377 | 0.76473 | 0.00010985 | -0.0005952 | 0.055376 | 0.055368 | 0.055376 | 0.98977 | -0.19766 | 0.98983 | -0.1981 | 25.1707
73 | 2.7219 | 1.1649 | -2.7156 | -1.1781 | 0.0063583 | -0.013211 | 0.086036 | 0.08621 | 0.08621 | 0.99341 | -0.16634 | 0.9912 | -0.15116 | 39.1862
74 | -0.40938 | -0.19827 | 0.40943 | 0.19814 | 4.3126e-05 | -0.00013751 | 0.013193 | 0.013191 | 0.013193 | 0.99533 | -0.084839 | 0.99544 | -0.084143 | 6.2822
75 | -0.40943 | -0.19814 | 0.40948 | 0.19248 | 5.5425e-05 | -0.0056603 | 0.013191 | 0.01312 | 0.013191 | 0.99544 | -0.084143 | 0.99557 | -0.085283 | 5.9957
76 | 0.16487 | 0.078305 | -0.16487 | -0.079848 | 2.448e-06 | -0.001543 | 0.0052923 | 0.0053117 | 0.0053117 | 0.99557 | -0.085283 | 0.99556 | -0.085156 | 2.4144
77 | 0.19514 | 0.094396 | -0.19513 | -0.094506 | 6.9075e-06 | -0.00010974 | 0.0063131 | 0.0063146 | 0.0063146 | 0.9912 | -0.15116 | 0.99117 | -0.15139 | 3.0069
78 | 0.2597 | 0.1146 | -0.25966 | -0.12495 | 4.128e-05 | -0.010352 | 0.008285 | 0.0084117 | 0.0084117 | 0.98907 | -0.13613 | 0.98892 | -0.1349 | 3.8235
79 | 0.29375 | 0.14164 | -0.29375 | -0.14227 | 3.2765e-06 | -0.00063125 | 0.0095182 | 0.0095262 | 0.0095262 | 0.98907 | -0.13613 | 0.98906 | -0.13604 | 4.3301
80 | 0.25966 | 0.12495 | -0.25966 | -0.12576 | 3.2759e-06 | -0.00080782 | 0.0084117 | 0.0084219 | 0.0084219 | 0.98892 | -0.1349 | 0.98891 | -0.13479 | 3.8281
81 | 0.24109 | 0.11649 | -0.24109 | -0.11676 | 9.3064e-07 | -0.00027452 | 0.0077551 | 0.0077586 | 0.0077586 | 0.99669 | -0.077684 | 0.99668 | -0.077651 | 3.5266
82 | -0.21088 | -0.10213 | 0.21089 | 0.099511 | 6.7531e-06 | -0.0026225 | 0.0067821 | 0.0067494 | 0.0067821 | 0.99732 | -0.013069 | 0.99735 | -0.01334 | 3.0828
83 | -0.21089 | -0.099511 | 0.21092 | 0.086652 | 3.2196e-05 | -0.012859 | 0.0067494 | 0.006599 | 0.0067494 | 0.99735 | -0.01334 | 0.99749 | -0.0144 | 3.0679
84 | -0.35197 | -0.15398 | 0.35207 | 0.14036 | 9.3425e-05 | -0.013615 | 0.011118 | 0.010966 | 0.011118 | 0.99749 | -0.0144 | 0.99775 | -0.015972 | 5.0537
85 | 0.14106 | 0.067323 | -0.14106 | -0.067864 | 6.2317e-07 | -0.000541 | 0.0045233 | 0.0045301 | 0.0045301 | 0.99749 | -0.0144 | 0.99749 | -0.014362 | 2.0591
86 | -0.35207 | -0.14036 | 0.35207 | 0.13937 | 6.7085e-06 | -0.00099223 | 0.010966 | 0.010955 | 0.010966 | 0.99775 | -0.015972 | 0.99776 | -0.016067 | 4.9845
87 | 0.069859 | 0.033382 | -0.069859 | -0.033834 | 1.2791e-07 | -0.00045217 | 0.0022407 | 0.0022464 | 0.0022464 | 0.99749 | -0.014362 | 0.99749 | -0.014347 | 1.0211
88 | -0.70188 | -0.30879 | 0.70189 | 0.30825 | 1.5014e-05 | -0.00053885 | 0.022185 | 0.022179 | 0.022185 | 0.99776 | -0.016067 | 0.99778 | -0.016214 | 10.0842
89 | -0.76946 | -0.31819 | 0.76964 | 0.31287 | 0.00017444 | -0.0053146 | 0.02409 | 0.024031 | 0.02409 | 0.99778 | -0.016214 | 0.998 | -0.017474 | 10.95
90 | 0.067569 | 0.0099429 | -0.067564 | -0.03083 | 4.8918e-06 | -0.020887 | 0.0019759 | 0.0021488 | 0.0021488 | 0.99778 | -0.016214 | 0.99771 | -0.016194 | 0.97672
91 | -0.76964 | -0.31287 | 0.76972 | 0.31036 | 8.2132e-05 | -0.0025122 | 0.024031 | 0.024004 | 0.024031 | 0.998 | -0.017474 | 0.9981 | -0.018043 | 10.9233
92 | 0.067564 | 0.03083 | -0.067564 | -0.032723 | 4.9617e-07 | -0.0018926 | 0.0021488 | 0.0021721 | 0.0021721 | 0.99771 | -0.016194 | 0.9977 | -0.016134 | 0.98731
93 | 4.1463 | 1.7465 | -4.1459 | -1.7477 | 0.00034985 | -0.0012185 | 0.12988 | 0.12989 | 0.12989 | 1 | 0 | 0.99991 | -0.0012535 | 35.8823
94 | 9.5845 | 4.3356 | -9.5792 | -4.3444 | 0.0053554 | -0.0087807 | 0.30367 | 0.30381 | 0.30381 | 1 | 0 | 0.99942 | -0.0029274 | 47.6197
95 | 1.2452 | 0.51911 | -1.2431 | -0.51872 | 0.0020629 | 0.00038295 | 0.038947 | 0.038957 | 0.038957 | 0.99991 | -0.0012535 | 0.99813 | -0.018189 | 18.5512
96 | 9.5792 | 4.3444 | -9.5787 | -4.3451 | 0.00044449 | -0.00072768 | 0.30381 | 0.30383 | 0.30383 | 0.99942 | -0.0029274 | 0.99937 | -0.0031689 | 47.6215
97 | -0.9563 | -0.40073 | 0.95632 | 0.40027 | 2.3514e-05 | -0.00045897 | 0.029989 | 0.029983 | 0.029989 | 0.9981 | -0.018043 | 0.99813 | -0.018189 | 13.6311
98 | 0.28679 | 0.11846 | -0.2867 | -0.13819 | 9.1592e-05 | -0.01973 | 0.0089742 | 0.0092076 | 0.0092076 | 0.99813 | -0.018189 | 0.99783 | -0.015889 | 4.1853
99 | -0.11085 | -0.053685 | 0.11085 | 0.050686 | 2.1955e-06 | -0.0029994 | 0.0035959 | 0.0035586 | 0.0035959 | 0.98874 | -0.026253 | 0.98876 | -0.026414 | 1.6345
100 | 0.1595 | 0.077171 | -0.15949 | -0.077247 | 3.1739e-06 | -7.5695e-05 | 0.0051729 | 0.0051739 | 0.0051739 | 0.98879 | -0.025948 | 0.98877 | -0.026079 | 2.4638
101 | 0.2867 | 0.13819 | -0.2867 | -0.13885 | 3.1855e-06 | -0.00066753 | 0.0092076 | 0.009216 | 0.009216 | 0.99783 | -0.015889 | 0.99782 | -0.015792 | 4.1891
102 | -0.13294 | -0.064388 | 0.13295 | 0.062094 | 2.4302e-06 | -0.002294 | 0.0043152 | 0.0042864 | 0.0043152 | 0.98818 | -0.1313 | 0.9882 | -0.13145 | 1.9615
103 | -0.13295 | -0.062094 | 0.13295 | 0.057781 | 4.483e-06 | -0.0043129 | 0.0042864 | 0.0042346 | 0.0042864 | 0.9882 | -0.13145 | 0.98823 | -0.1317 | 1.9484
104 | 0.23265 | 0.11209 | -0.23265 | -0.11268 | 1.8462e-06 | -0.00058712 | 0.0074734 | 0.0074808 | 0.0074808 | 0.99752 | -0.07376 | 0.99752 | -0.073692 | 3.4004
105 | -6.2387 | -2.7497 | 6.2398 | 2.7443 | 0.0011571 | -0.0053662 | 0.1973 | 0.19723 | 0.1973 | 0.99752 | -0.07376 | 0.99772 | -0.072667 | 30.9248
106 | 0.073873 | 0.031083 | -0.073872 | -0.034757 | 1.131e-06 | -0.0036739 | 0.0023194 | 0.0023626 | 0.0023626 | 0.99752 | -0.07376 | 0.99751 | -0.073651 | 1.0739
107 | 0.16365 | 0.07863 | -0.16365 | -0.079261 | 9.7881e-07 | -0.0006302 | 0.0052533 | 0.0052612 | 0.0052612 | 0.99772 | -0.072667 | 0.99771 | -0.072616 | 2.3915
108 | -6.4035 | -2.823 | 6.4048 | 2.8173 | 0.001295 | -0.005668 | 0.20248 | 0.20241 | 0.20248 | 0.99772 | -0.072667 | 0.99793 | -0.071476 | 31.7368
109 | -6.8112 | -3.0123 | 6.8117 | 3.0104 | 0.00048806 | -0.0018549 | 0.21544 | 0.21542 | 0.21544 | 0.99793 | -0.071476 | 0.998 | -0.07106 | 33.768
110 | 0.40647 | 0.19498 | -0.40645 | -0.19659 | 1.55e-05 | -0.0016161 | 0.013041 | 0.013061 | 0.013061 | 0.99793 | -0.071476 | 0.99789 | -0.071148 | 5.9369
111 | 0.073872 | 0.034757 | -0.073872 | -0.035778 | 3.2195e-07 | -0.0010208 | 0.0023626 | 0.0023754 | 0.0023754 | 0.99751 | -0.073651 | 0.99751 | -0.073615 | 1.0797
112 | 0.40645 | 0.19659 | -0.40645 | -0.19685 | 2.5133e-06 | -0.00026157 | 0.013061 | 0.013065 | 0.013065 | 0.99789 | -0.071148 | 0.99789 | -0.071094 | 5.9384
113 | -7.5121 | -3.3496 | 7.5129 | 3.3474 | 0.00074484 | -0.0022463 | 0.23791 | 0.23788 | 0.23791 | 0.998 | -0.07106 | 0.99811 | -0.070504 | 37.2905
114 | -0.19526 | -0.09457 | 0.19527 | 0.092649 | 4.2327e-06 | -0.0019209 | 0.0062754 | 0.0062514 | 0.0062754 | 0.99803 | -0.068221 | 0.99805 | -0.068406 | 2.8525
115 | -0.33065 | -0.15822 | 0.33066 | 0.15739 | 5.2298e-06 | -0.00082813 | 0.010602 | 0.010592 | 0.010602 | 0.99805 | -0.068406 | 0.99806 | -0.068539 | 4.8192
116 | -0.71332 | -0.33945 | 0.71335 | 0.3383 | 3.3811e-05 | -0.0011446 | 0.022849 | 0.022834 | 0.022849 | 0.99806 | -0.068539 | 0.99811 | -0.068934 | 10.3857
117 | 0.38266 | 0.18206 | -0.38264 | -0.18428 | 1.8841e-05 | -0.0022236 | 0.012257 | 0.012285 | 0.012285 | 0.99806 | -0.068539 | 0.99802 | -0.068121 | 5.5839
118 | -0.81053 | -0.38464 | 0.81062 | 0.38209 | 9.7242e-05 | -0.0025479 | 0.025948 | 0.025916 | 0.025948 | 0.99811 | -0.068934 | 0.99822 | -0.069925 | 11.7945
119 | 0.097175 | 0.046335 | -0.097175 | -0.047064 | 3.9783e-07 | -0.00072885 | 0.0031137 | 0.0031228 | 0.0031228 | 0.99811 | -0.068934 | 0.9981 | -0.068899 | 1.4195
120 | 0.38264 | 0.18428 | -0.38263 | -0.18532 | 8.8117e-06 | -0.0010364 | 0.012285 | 0.012298 | 0.012298 | 0.99802 | -0.068121 | 0.998 | -0.067922 | 5.5898
121 | -9.2249 | -4.1612 | 9.2307 | 4.1765 | 0.0057864 | 0.015299 | 0.29266 | 0.29266 | 0.29266 | 0.99822 | -0.069925 | 0.99937 | -0.0031689 | 45.3739
122 | 8.4143 | 3.7792 | -8.4139 | -3.7801 | 0.00043342 | -0.00098996 | 0.26675 | 0.26676 | 0.26676 | 0.99822 | -0.069925 | 0.99816 | -0.070205 | 41.8126
123 | 8.303 | 3.7265 | -8.3025 | -3.7275 | 0.00045662 | -0.0010781 | 0.2632 | 0.26322 | 0.26322 | 0.99816 | -0.070205 | 0.99811 | -0.070504 | 41.2569
124 | 0.78965 | 0.38014 | -0.78962 | -0.38077 | 2.3066e-05 | -0.0006326 | 0.025347 | 0.025355 | 0.025355 | 0.99811 | -0.070504 | 0.99808 | -0.070253 | 11.525
125 | 0.18678 | 0.089811 | -0.18678 | -0.090459 | 1.3097e-06 | -0.00064814 | 0.0059942 | 0.0060024 | 0.0060024 | 0.99808 | -0.070253 | 0.99807 | -0.070192 | 2.7284
126 | 0.60285 | 0.29096 | -0.60283 | -0.29196 | 2.1202e-05 | -0.0010008 | 0.019361 | 0.019373 | 0.019373 | 0.99808 | -0.070253 | 0.99805 | -0.069947 | 8.8061
127 | 0.093314 | 0.044746 | -0.093314 | -0.045194 | 2.3012e-07 | -0.00044793 | 0.0030077 | 0.0030133 | 0.0030133 | 0.99326 | -0.053786 | 0.99326 | -0.053764 | 1.3697

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.8366 | 6.1371

## res_load
| p_mw | q_mvar
0 | 0.056657 | 0.02744
1 | 0.3533 | 0.17111
2 | 0.31462 | 0.15238
3 | 0.2617 | 0.12675
4 | 0.10679 | 0.051722
5 | 0.30741 | 0.14889
6 | 0.216 | 0.10461
7 | 0.20543 | 0.099497
8 | 0.34576 | 0.16746
9 | 0.13545 | 0.065601
10 | 0.12708 | 0.061546
11 | 0.11187 | 0.05418
12 | 0.10024 | 0.048548
13 | 0.14478 | 0.070122
14 | 0.2406 | 0.11653
15 | 0.15991 | 0.077447
16 | 0.13518 | 0.06547
17 | 0.22904 | 0.11093
18 | 0.37669 | 0.18244
19 | 0.18363 | 0.088937
20 | 0.11984 | 0.058041
21 | 0.17319 | 0.083881
22 | 0.40682 | 0.19703
23 | 0.14276 | 0.069143
24 | 0.10026 | 0.04856
25 | 0.23162 | 0.11218
26 | 0.3599 | 0.17431
27 | 0.31113 | 0.15068
28 | 0.080509 | 0.038992
29 | 0.40938 | 0.19827
30 | 0.16487 | 0.079848
31 | 0.25451 | 0.12326
32 | 0.29375 | 0.14227
33 | 0.25966 | 0.12576
34 | 0.11711 | 0.056718
35 | 0.24109 | 0.11676
36 | 0.19513 | 0.094506
37 | 0.21088 | 0.10213
38 | 0.078809 | 0.038169
39 | 0.071197 | 0.034482
40 | 0.3498 | 0.16942
41 | 0.069859 | 0.033834
42 | 0.091806 | 0.044464
43 | 0.18658 | 0.090364
44 | 0.067564 | 0.032723
45 | 0.11085 | 0.053685
46 | 0.2867 | 0.13885
47 | 0.15949 | 0.077247
48 | 0.13294 | 0.064388
49 | 0.16365 | 0.079261
50 | 0.073872 | 0.035778
51 | 0.23265 | 0.11268
52 | 0.40645 | 0.19685
53 | 0.70041 | 0.33922
54 | 0.19526 | 0.09457
55 | 0.13538 | 0.065569
56 | 0.097175 | 0.047064
57 | 0.38263 | 0.18532
58 | 0.34804 | 0.16856
59 | 0.11086 | 0.05369
60 | 0.18678 | 0.090459
61 | 0.60283 | 0.29196
62 | 0.20029 | 0.097003
63 | 0.093314 | 0.045194

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1