## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_465_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_465_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_465_0_node_13 | 20 | n |  | TRUE
3 | bus_MV_465_0_node_166 | 20 | n |  | TRUE
4 | bus_MV_465_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_465_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_465_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_465_0_node_28 | 20 | n |  | TRUE
8 | bus_MV_465_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_465_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_465_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_465_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_465_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_465_0_node_19 | 20 | n |  | TRUE
14 | bus_MV_465_0_node_128 | 20 | n |  | TRUE
15 | bus_MV_465_0_node_12 | 20 | n |  | TRUE
16 | bus_MV_465_0_node_14 | 20 | n |  | TRUE
17 | bus_MV_465_0_node_15 | 20 | n |  | TRUE
18 | bus_MV_465_0_node_16 | 20 | n |  | TRUE
19 | bus_MV_465_0_node_17 | 20 | n |  | TRUE
20 | bus_MV_465_0_node_18 | 20 | n |  | TRUE
21 | bus_MV_465_0_node_23 | 20 | n |  | TRUE
22 | bus_MV_465_0_node_24 | 20 | n |  | TRUE
23 | bus_MV_465_0_node_167 | 20 | n |  | TRUE
24 | bus_MV_465_0_node_25 | 20 | n |  | TRUE
25 | bus_MV_465_0_node_157 | 20 | n |  | TRUE
26 | bus_MV_465_0_node_26 | 20 | n |  | TRUE
27 | bus_MV_465_0_node_29 | 20 | n |  | TRUE
28 | bus_MV_465_0_node_30 | 20 | n |  | TRUE
29 | bus_MV_465_0_node_129 | 20 | n |  | TRUE
30 | bus_MV_465_0_node_127 | 20 | n |  | TRUE
31 | bus_MV_465_0_node_156 | 20 | n |  | TRUE
32 | bus_MV_465_0_node_35 | 20 | n |  | TRUE
33 | bus_MV_465_0_node_40 | 20 | n |  | TRUE
34 | bus_MV_465_0_node_34 | 20 | n |  | TRUE
35 | bus_MV_465_0_node_36 | 20 | n |  | TRUE
36 | bus_MV_465_0_node_50 | 20 | n |  | TRUE
37 | bus_MV_465_0_node_51 | 20 | n |  | TRUE
38 | bus_MV_465_0_node_54 | 20 | n |  | TRUE
39 | bus_MV_465_0_node_126 | 20 | n |  | TRUE
40 | bus_MV_465_0_node_163 | 20 | n |  | TRUE
41 | bus_MV_465_0_node_52 | 20 | n |  | TRUE
42 | bus_MV_465_0_node_53 | 20 | n |  | TRUE
43 | bus_MV_465_0_node_55 | 20 | n |  | TRUE
44 | bus_MV_465_0_node_56 | 20 | n |  | TRUE
45 | bus_HV_465_0_node_157 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_465_0_load_0 | 0 | 0.19177 | 0.09288 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_465_0_load_166 | 3 | 0.27859 | 0.13493 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_465_0_load_2 | 4 | 0.29719 | 0.14394 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_465_0_load_28 | 7 | 0.29881 | 0.14472 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_465_0_load_7 | 9 | 0.20373 | 0.098671 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_465_0_load_8 | 10 | 0.11428 | 0.055349 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_465_0_load_19 | 13 | 0.078881 | 0.038204 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_465_0_load_12 | 15 | 0.27596 | 0.13365 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_465_0_load_15 | 17 | 0.19661 | 0.095221 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_465_0_load_16 | 18 | 0.19825 | 0.096016 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_465_0_load_18 | 20 | 0.071142 | 0.034456 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_465_0_load_23 | 21 | 0.38146 | 0.18475 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_465_0_load_157 | 25 | 0.36551 | 0.17703 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_465_0_load_26 | 26 | 0.25183 | 0.12197 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_465_0_load_30 | 28 | 0.23236 | 0.11254 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_465_0_load_129 | 29 | 0.096352 | 0.046666 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_465_0_load_156 | 31 | 0.26311 | 0.12743 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_465_0_load_50 | 36 | 0.38867 | 0.18824 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_465_0_load_126 | 39 | 0.072311 | 0.035022 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_465_0_load_163 | 40 | 0.21547 | 0.10436 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_465_0_load_52 | 41 | 0.1031 | 0.049936 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_465_0_load_53 | 42 | 0.39273 | 0.19021 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_465_0_load_56 | 44 | 0.28536 | 0.13821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_465_0_line_0 |  | 0 | 1 | 0.067557 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
1 | MV_465_0_line_1 |  | 0 | 2 | 2.8866 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
2 | MV_465_0_line_2 |  | 1 | 3 | 0.86824 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
3 | MV_465_0_line_3 |  | 2 | 15 | 0.10574 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
4 | MV_465_0_line_4 |  | 3 | 23 | 0.050287 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
5 | MV_465_0_line_5 |  | 4 | 5 | 0.04198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_465_0_line_6 |  | 4 | 6 | 0.047828 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_465_0_line_7 |  | 5 | 7 | 1.0641 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_465_0_line_8 |  | 6 | 8 | 0.36673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_465_0_line_9 |  | 7 | 27 | 0.18897 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_465_0_line_10 |  | 7 | 21 | 0.68737 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
11 | MV_465_0_line_11 |  | 7 | 24 | 0.41117 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
12 | MV_465_0_line_12 |  | 8 | 9 | 0.040081 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_465_0_line_13 |  | 10 | 11 | 0.040947 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_465_0_line_14 |  | 11 | 12 | 0.30287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_465_0_line_15 |  | 12 | 13 | 0.095556 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_465_0_line_16 |  | 12 | 14 | 0.52337 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_465_0_line_17 |  | 13 | 19 | 0.11039 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_465_0_line_18 |  | 14 | 29 | 0.12735 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_465_0_line_19 |  | 14 | 30 | 0.5242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_465_0_line_20 |  | 14 | 17 | 0.92508 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
21 | MV_465_0_line_21 |  | 15 | 16 | 0.15793 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
22 | MV_465_0_line_22 |  | 16 | 17 | 0.052292 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_465_0_line_23 |  | 18 | 19 | 0.051856 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_465_0_line_24 |  | 18 | 20 | 0.077413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_465_0_line_25 |  | 21 | 22 | 0.055467 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
26 | MV_465_0_line_26 |  | 22 | 23 | 1.3789 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
27 | MV_465_0_line_27 |  | 24 | 25 | 0.043831 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
28 | MV_465_0_line_28 |  | 26 | 27 | 0.25302 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
29 | MV_465_0_line_29 |  | 27 | 28 | 0.17975 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_465_0_line_30 |  | 30 | 39 | 0.051624 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_465_0_line_31 |  | 31 | 32 | 0.031776 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_465_0_line_32 |  | 31 | 33 | 0.13902 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_465_0_line_33 |  | 32 | 34 | 0.45022 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_465_0_line_34 |  | 33 | 40 | 0.02307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_465_0_line_35 |  | 34 | 35 | 0.84979 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_465_0_line_36 |  | 34 | 36 | 0.015833 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_465_0_line_37 |  | 35 | 37 | 0.65184 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_465_0_line_38 |  | 35 | 38 | 0.072558 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_465_0_line_39 |  | 35 | 39 | 0.005244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_465_0_line_40 |  | 37 | 41 | 0.1564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_465_0_line_41 |  | 38 | 42 | 0.014672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_465_0_line_42 |  | 42 | 43 | 0.036973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_465_0_line_43 |  | 43 | 44 | 0.10647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_465_0_trafo_157 | 25 MVA 110/20 kV | 45 | 25 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2585212.3531 | 1214506.832
1 | 2585262.5316 | 1214551.1765
2 | 2583226.6188 | 1216601.9617
3 | 2585559.5204 | 1215367.0405
4 | 2586503.25 | 1216715.092
5 | 2586480.321 | 1216750.2643
6 | 2586532.0783 | 1216676.8713
7 | 2585680.6304 | 1217452.2211
8 | 2586687.4267 | 1216358.9616
9 | 2586647.4708 | 1216362.1312
10 | 2583277.7947 | 1217345.0079
11 | 2583259.618 | 1217308.316
12 | 2583439.5736 | 1217226.1748
13 | 2583493.0743 | 1217147.0743
14 | 2583732.3079 | 1217660.0233
15 | 2583162.208 | 1216685.8254
16 | 2583272.1248 | 1216799.2345
17 | 2583306.2377 | 1216838.9054
18 | 2583493.1929 | 1217001.0571
19 | 2583521.471 | 1217043.8425
20 | 2583441.3459 | 1217058.5436
21 | 2585458.98 | 1216801.5678
22 | 2585507.2007 | 1216774.1563
23 | 2585517.9949 | 1215395.3245
24 | 2585289.5545 | 1217325.2511
25 | 2585253.3392 | 1217300.5604
26 | 2585445.4888 | 1217631.6743
27 | 2585698.389 | 1217639.5406
28 | 2585747.566 | 1217765.8609
29 | 2583830.3842 | 1217641.0931
30 | 2583992.1415 | 1218008.5375
31 | 2584417.0361 | 1218092.7311
32 | 2584435.1298 | 1218118.7984
33 | 2584283.938 | 1218132.8722
34 | 2584537.9052 | 1217862.1381
35 | 2584033.963 | 1217970.0026
36 | 2584547.7793 | 1217849.761
37 | 2583859.8735 | 1218397.5524
38 | 2584090.1985 | 1217928.7945
39 | 2584030.108 | 1217973.5576
40 | 2584268.2347 | 1218149.8124
41 | 2583767.4808 | 1218271.8566
42 | 2584100.3479 | 1217918.1723
43 | 2584125.4671 | 1217945.365
44 | 2584185.5049 | 1217858.2657
45 | 2585253.3392 | 1217300.5604

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99186 | -0.45762 | 0.19177 | 0.09288
1 | 0.99192 | -0.45731 | 0 | 0
2 | 0.98652 | -0.76796 | 0 | 0
3 | 0.99364 | -0.35819 | 0.27859 | 0.13493
4 | 0.99744 | -0.092089 | 0.29719 | 0.14394
5 | 0.99747 | -0.092314 | 0 | 0
6 | 0.99743 | -0.092001 | 0 | 0
7 | 0.99849 | -0.084799 | 0.29881 | 0.14472
8 | 0.99734 | -0.091206 | 0 | 0
9 | 0.99732 | -0.091305 | 0.20373 | 0.098671
10 | 0.9841 | -0.88163 | 0.11428 | 0.055349
11 | 0.98411 | -0.88157 | 0 | 0
12 | 0.98415 | -0.88193 | 0 | 0
13 | 0.98411 | -0.88156 | 0.078881 | 0.038204
14 | 0.98462 | -0.87821 | 0 | 0
15 | 0.98633 | -0.77939 | 0.27596 | 0.13365
16 | 0.98607 | -0.79478 | 0 | 0
17 | 0.98603 | -0.79501 | 0.19661 | 0.095221
18 | 0.98405 | -0.88106 | 0.19825 | 0.096016
19 | 0.98407 | -0.88122 | 0 | 0
20 | 0.98405 | -0.88099 | 0.071142 | 0.034456
21 | 0.99682 | -0.17972 | 0.38146 | 0.18475
22 | 0.9967 | -0.18659 | 0 | 0
23 | 0.9937 | -0.35794 | 0 | 0
24 | 0.99985 | -0.0081579 | 0 | 0
25 | 1 | 0 | -4.9329 | -2.3203
26 | 0.99825 | -0.084559 | 0.25183 | 0.12197
27 | 0.99838 | -0.083783 | 0 | 0
28 | 0.99833 | -0.083306 | 0.23236 | 0.11254
29 | 0.98461 | -0.87808 | 0.096352 | 0.046666
30 | 0.98347 | -0.86925 | 0 | 0
31 | 0.98209 | -0.85769 | 0.26311 | 0.12743
32 | 0.98211 | -0.85788 | 0 | 0
33 | 0.98204 | -0.85808 | 0 | 0
34 | 0.98239 | -0.86036 | 0 | 0
35 | 0.98334 | -0.86825 | 0 | 0
36 | 0.98238 | -0.86028 | 0.38867 | 0.18824
37 | 0.98326 | -0.8679 | 0 | 0
38 | 0.98328 | -0.86767 | 0 | 0
39 | 0.98335 | -0.86834 | 0.072311 | 0.035022
40 | 0.98203 | -0.85802 | 0.21547 | 0.10436
41 | 0.98324 | -0.86772 | 0.1031 | 0.049936
42 | 0.98326 | -0.86755 | 0.39273 | 0.19021
43 | 0.98325 | -0.86742 | 0 | 0
44 | 0.98321 | -0.86706 | 0.28536 | 0.13821
45 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -2.9584 | -1.3591 | 2.9586 | 1.3551 | 0.00018733 | -0.0040707 | 0.094754 | 0.094704 | 0.094754 | 0.99186 | -0.45762 | 0.99192 | -0.45731 | 14.8518
1 | 2.7666 | 1.2663 | -2.7585 | -1.2484 | 0.0080856 | 0.017838 | 0.088554 | 0.088601 | 0.088601 | 0.99186 | -0.45762 | 0.98652 | -0.76796 | 13.7367
2 | -2.9586 | -1.3551 | 2.9614 | 1.3614 | 0.0027796 | 0.0062915 | 0.094704 | 0.094689 | 0.094704 | 0.99192 | -0.45731 | 0.99364 | -0.35819 | 14.6828
3 | 2.7585 | 1.2484 | -2.7582 | -1.2478 | 0.00029636 | 0.0006547 | 0.088601 | 0.088603 | 0.088603 | 0.98652 | -0.76796 | 0.98633 | -0.77939 | 13.7369
4 | -3.2399 | -1.4963 | 3.2401 | 1.4933 | 0.00016697 | -0.0030257 | 0.10368 | 0.10364 | 0.10368 | 0.99364 | -0.35819 | 0.9937 | -0.35794 | 16.2509
5 | -0.50095 | -0.23272 | 0.50096 | 0.23173 | 1.4312e-05 | -0.00099298 | 0.015986 | 0.015974 | 0.015986 | 0.99744 | -0.092089 | 0.99747 | -0.092314 | 7.2665
6 | 0.20376 | 0.088785 | -0.20375 | -0.089921 | 2.6474e-06 | -0.0011353 | 0.0064325 | 0.0064457 | 0.0064457 | 0.99744 | -0.092089 | 0.99743 | -0.092001 | 2.9299
7 | -0.50096 | -0.23173 | 0.50145 | 0.23077 | 0.00048331 | -0.00096244 | 0.015974 | 0.015959 | 0.015974 | 0.99747 | -0.092314 | 0.99849 | -0.084799 | 7.6068
8 | 0.20375 | 0.089921 | -0.20373 | -0.098625 | 2.067e-05 | -0.0087043 | 0.0064457 | 0.0065516 | 0.0065516 | 0.99743 | -0.092001 | 0.99734 | -0.091206 | 2.978
9 | 0.4843 | 0.22547 | -0.48424 | -0.22995 | 6.0394e-05 | -0.0044799 | 0.015445 | 0.0155 | 0.0155 | 0.99849 | -0.084799 | 0.99838 | -0.083783 | 7.0455
10 | 3.6304 | 1.6988 | -3.6271 | -1.6908 | 0.0032955 | 0.0079161 | 0.11588 | 0.11589 | 0.11589 | 0.99849 | -0.084799 | 0.99682 | -0.17972 | 17.9677
11 | -4.9149 | -2.2997 | 4.9185 | 2.3089 | 0.0036126 | 0.009147 | 0.15688 | 0.15687 | 0.15688 | 0.99849 | -0.084799 | 0.99985 | -0.0081579 | 24.3227
12 | 0.20373 | 0.098625 | -0.20373 | -0.098671 | 3.0656e-06 | -4.5674e-05 | 0.0065516 | 0.0065522 | 0.0065522 | 0.99734 | -0.091206 | 0.99732 | -0.091305 | 3.1201
13 | -0.11428 | -0.055349 | 0.11428 | 0.055302 | 1.012e-06 | -4.6708e-05 | 0.0037248 | 0.0037242 | 0.0037248 | 0.9841 | -0.88163 | 0.98411 | -0.88157 | 1.7737
14 | -0.11428 | -0.055302 | 0.11429 | 0.0483 | 5.4774e-06 | -0.0070021 | 0.0037242 | 0.0036394 | 0.0037242 | 0.98411 | -0.88157 | 0.98415 | -0.88193 | 1.6928
15 | 0.34831 | 0.16093 | -0.34829 | -0.16314 | 1.6197e-05 | -0.0022049 | 0.011254 | 0.011282 | 0.011282 | 0.98415 | -0.88193 | 0.98411 | -0.88156 | 5.1281
16 | -0.46259 | -0.20923 | 0.4628 | 0.20876 | 0.00020671 | -0.00047597 | 0.014892 | 0.014885 | 0.014892 | 0.98415 | -0.88193 | 0.98462 | -0.87821 | 7.0916
17 | 0.26941 | 0.12494 | -0.2694 | -0.12748 | 1.1223e-05 | -0.0025491 | 0.0087111 | 0.0087429 | 0.0087429 | 0.98411 | -0.88156 | 0.98407 | -0.88122 | 3.974
18 | 0.096354 | 0.043718 | -0.096352 | -0.046666 | 1.6552e-06 | -0.0029473 | 0.0031021 | 0.0031388 | 0.0031388 | 0.98462 | -0.87821 | 0.98461 | -0.87808 | 1.4267
19 | 1.7243 | 0.76528 | -1.7221 | -0.77676 | 0.0021463 | -0.011483 | 0.055309 | 0.055454 | 0.055454 | 0.98462 | -0.87821 | 0.98347 | -0.86925 | 25.2063
20 | -2.2834 | -1.0178 | 2.2852 | 1.0213 | 0.0017738 | 0.0035285 | 0.073295 | 0.073281 | 0.073295 | 0.98462 | -0.87821 | 0.98603 | -0.79501 | 11.3636
21 | 2.4823 | 1.1141 | -2.4819 | -1.1134 | 0.00035755 | 0.00074916 | 0.079633 | 0.079635 | 0.079635 | 0.98633 | -0.77939 | 0.98607 | -0.79478 | 12.3465
22 | 2.4819 | 1.1134 | -2.4818 | -1.1165 | 0.00010252 | -0.0031368 | 0.079635 | 0.079673 | 0.079673 | 0.98607 | -0.79478 | 0.98603 | -0.79501 | 12.488
23 | -0.26939 | -0.12868 | 0.2694 | 0.12748 | 5.3008e-06 | -0.0011974 | 0.008758 | 0.0087429 | 0.008758 | 0.98405 | -0.88106 | 0.98407 | -0.88122 | 3.9809
24 | 0.071143 | 0.032666 | -0.071142 | -0.034456 | 5.503e-07 | -0.0017897 | 0.0022965 | 0.0023189 | 0.0023189 | 0.98405 | -0.88106 | 0.98405 | -0.88099 | 1.054
25 | 3.2456 | 1.5061 | -3.2454 | -1.5056 | 0.00021261 | 0.00049555 | 0.10362 | 0.10362 | 0.10362 | 0.99682 | -0.17972 | 0.9967 | -0.18659 | 16.0651
26 | 3.2454 | 1.5056 | -3.2401 | -1.4933 | 0.0052866 | 0.012328 | 0.10362 | 0.10364 | 0.10364 | 0.9967 | -0.18659 | 0.9937 | -0.35794 | 16.0686
27 | -4.9185 | -2.3089 | 4.9189 | 2.3098 | 0.00038508 | 0.00097494 | 0.15687 | 0.15687 | 0.15687 | 0.99985 | -0.0081579 | 1 | 0 | 24.3216
28 | -0.25183 | -0.12197 | 0.25186 | 0.12169 | 2.9503e-05 | -0.00028256 | 0.0080917 | 0.0080879 | 0.0080917 | 0.99825 | -0.084559 | 0.99838 | -0.083783 | 3.8532
29 | 0.23238 | 0.10827 | -0.23236 | -0.11254 | 1.3279e-05 | -0.0042736 | 0.0074125 | 0.0074656 | 0.0074656 | 0.99838 | -0.083783 | 0.99833 | -0.083306 | 3.3934
30 | 1.7221 | 0.77676 | -1.7219 | -0.77789 | 0.00021199 | -0.0011291 | 0.055454 | 0.055468 | 0.055468 | 0.98347 | -0.86925 | 0.98335 | -0.86834 | 25.2128
31 | -0.4786 | -0.23111 | 0.47861 | 0.23038 | 1.0347e-05 | -0.00072871 | 0.015622 | 0.015613 | 0.015622 | 0.98209 | -0.85769 | 0.98211 | -0.85788 | 7.1009
32 | 0.21549 | 0.10367 | -0.21547 | -0.10383 | 1.2241e-05 | -0.0001524 | 0.0070289 | 0.0070309 | 0.0070309 | 0.98209 | -0.85769 | 0.98204 | -0.85808 | 3.3481
33 | -0.47861 | -0.23038 | 0.47875 | 0.22005 | 0.00014528 | -0.010328 | 0.015613 | 0.015483 | 0.015613 | 0.98211 | -0.85788 | 0.98239 | -0.86036 | 7.0967
34 | 0.21547 | 0.10383 | -0.21547 | -0.10436 | 1.524e-06 | -0.00053075 | 0.0070309 | 0.0070377 | 0.0070377 | 0.98204 | -0.85808 | 0.98203 | -0.85802 | 3.199
35 | -0.86742 | -0.40792 | 0.86832 | 0.38859 | 0.00089234 | -0.019336 | 0.028167 | 0.027927 | 0.028167 | 0.98239 | -0.86036 | 0.98334 | -0.86825 | 12.8032
36 | 0.38867 | 0.18788 | -0.38867 | -0.18824 | 3.4026e-06 | -0.00036383 | 0.012685 | 0.01269 | 0.01269 | 0.98239 | -0.86036 | 0.98238 | -0.86028 | 5.7682
37 | 0.10312 | 0.031281 | -0.10311 | -0.046326 | 9.1035e-06 | -0.015045 | 0.0031634 | 0.0033186 | 0.0033186 | 0.98334 | -0.86825 | 0.98326 | -0.8679 | 1.5085
38 | 0.67817 | 0.32311 | -0.67812 | -0.32477 | 4.7154e-05 | -0.0016611 | 0.022053 | 0.022074 | 0.022074 | 0.98334 | -0.86825 | 0.98328 | -0.86767 | 10.0336
39 | -1.6496 | -0.74298 | 1.6496 | 0.74287 | 1.9748e-05 | -0.00011521 | 0.053112 | 0.05311 | 0.053112 | 0.98334 | -0.86825 | 0.98335 | -0.86834 | 24.1418
40 | 0.10311 | 0.046326 | -0.1031 | -0.049936 | 2.3303e-06 | -0.0036095 | 0.0033186 | 0.0033635 | 0.0033635 | 0.98326 | -0.8679 | 0.98324 | -0.86772 | 1.5289
41 | 0.67812 | 0.32477 | -0.67811 | -0.32511 | 9.5459e-06 | -0.00033586 | 0.022074 | 0.022078 | 0.022078 | 0.98328 | -0.86767 | 0.98326 | -0.86755 | 10.0356
42 | 0.28537 | 0.1349 | -0.28537 | -0.13575 | 4.2439e-06 | -0.0008522 | 0.0092672 | 0.0092779 | 0.0092779 | 0.98326 | -0.86755 | 0.98325 | -0.86742 | 4.2172
43 | 0.28537 | 0.13575 | -0.28536 | -0.13821 | 1.2277e-05 | -0.002454 | 0.0092779 | 0.0093092 | 0.0093092 | 0.98325 | -0.86742 | 0.98321 | -0.86706 | 4.2314

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 5.2984 | 2.4974

## res_load
| p_mw | q_mvar
0 | 0.19177 | 0.09288
1 | 0.27859 | 0.13493
2 | 0.29719 | 0.14394
3 | 0.29881 | 0.14472
4 | 0.20373 | 0.098671
5 | 0.11428 | 0.055349
6 | 0.078881 | 0.038204
7 | 0.27596 | 0.13365
8 | 0.19661 | 0.095221
9 | 0.19825 | 0.096016
10 | 0.071142 | 0.034456
11 | 0.38146 | 0.18475
12 | 0.36551 | 0.17703
13 | 0.25183 | 0.12197
14 | 0.23236 | 0.11254
15 | 0.096352 | 0.046666
16 | 0.26311 | 0.12743
17 | 0.38867 | 0.18824
18 | 0.072311 | 0.035022
19 | 0.21547 | 0.10436
20 | 0.1031 | 0.049936
21 | 0.39273 | 0.19021
22 | 0.28536 | 0.13821

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1