## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_466_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_466_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_466_0_node_5 | 20 | n |  | TRUE
3 | bus_MV_466_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_466_0_node_31 | 20 | n |  | TRUE
5 | bus_MV_466_0_node_91 | 20 | n |  | TRUE
6 | bus_MV_466_0_node_98 | 20 | n |  | TRUE
7 | bus_MV_466_0_node_32 | 20 | n |  | TRUE
8 | bus_MV_466_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_466_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_466_0_node_8 | 20 | n |  | TRUE
11 | bus_MV_466_0_node_9 | 20 | n |  | TRUE
12 | bus_MV_466_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_466_0_node_55 | 20 | n |  | TRUE
14 | bus_MV_466_0_node_58 | 20 | n |  | TRUE
15 | bus_MV_466_0_node_43 | 20 | n |  | TRUE
16 | bus_MV_466_0_node_37 | 20 | n |  | TRUE
17 | bus_MV_466_0_node_11 | 20 | n |  | TRUE
18 | bus_MV_466_0_node_73 | 20 | n |  | TRUE
19 | bus_MV_466_0_node_74 | 20 | n |  | TRUE
20 | bus_MV_466_0_node_72 | 20 | n |  | TRUE
21 | bus_MV_466_0_node_13 | 20 | n |  | TRUE
22 | bus_MV_466_0_node_14 | 20 | n |  | TRUE
23 | bus_MV_466_0_node_71 | 20 | n |  | TRUE
24 | bus_MV_466_0_node_102 | 20 | n |  | TRUE
25 | bus_MV_466_0_node_65 | 20 | n |  | TRUE
26 | bus_MV_466_0_node_62 | 20 | n |  | TRUE
27 | bus_MV_466_0_node_68 | 20 | n |  | TRUE
28 | bus_MV_466_0_node_69 | 20 | n |  | TRUE
29 | bus_MV_466_0_node_15 | 20 | n |  | TRUE
30 | bus_MV_466_0_node_16 | 20 | n |  | TRUE
31 | bus_MV_466_0_node_17 | 20 | n |  | TRUE
32 | bus_MV_466_0_node_19 | 20 | n |  | TRUE
33 | bus_MV_466_0_node_35 | 20 | n |  | TRUE
34 | bus_MV_466_0_node_78 | 20 | n |  | TRUE
35 | bus_MV_466_0_node_76 | 20 | n |  | TRUE
36 | bus_MV_466_0_node_20 | 20 | n |  | TRUE
37 | bus_MV_466_0_node_81 | 20 | n |  | TRUE
38 | bus_MV_466_0_node_92 | 20 | n |  | TRUE
39 | bus_MV_466_0_node_36 | 20 | n |  | TRUE
40 | bus_MV_466_0_node_97 | 20 | n |  | TRUE
41 | bus_MV_466_0_node_93 | 20 | n |  | TRUE
42 | bus_MV_466_0_node_96 | 20 | n |  | TRUE
43 | bus_MV_466_0_node_82 | 20 | n |  | TRUE
44 | bus_MV_466_0_node_77 | 20 | n |  | TRUE
45 | bus_MV_466_0_node_80 | 20 | n |  | TRUE
46 | bus_MV_466_0_node_21 | 20 | n |  | TRUE
47 | bus_MV_466_0_node_22 | 20 | n |  | TRUE
48 | bus_MV_466_0_node_25 | 20 | n |  | TRUE
49 | bus_MV_466_0_node_28 | 20 | n |  | TRUE
50 | bus_MV_466_0_node_29 | 20 | n |  | TRUE
51 | bus_MV_466_0_node_26 | 20 | n |  | TRUE
52 | bus_MV_466_0_node_42 | 20 | n |  | TRUE
53 | bus_MV_466_0_node_27 | 20 | n |  | TRUE
54 | bus_MV_466_0_node_44 | 20 | n |  | TRUE
55 | bus_MV_466_0_node_59 | 20 | n |  | TRUE
56 | bus_MV_466_0_node_23 | 20 | n |  | TRUE
57 | bus_MV_466_0_node_24 | 20 | n |  | TRUE
58 | bus_MV_466_0_node_60 | 20 | n |  | TRUE
59 | bus_MV_466_0_node_30 | 20 | n |  | TRUE
60 | bus_MV_466_0_node_34 | 20 | n |  | TRUE
61 | bus_MV_466_0_node_99 | 20 | n |  | TRUE
62 | bus_MV_466_0_node_33 | 20 | n |  | TRUE
63 | bus_MV_466_0_node_49 | 20 | n |  | TRUE
64 | bus_MV_466_0_node_50 | 20 | n |  | TRUE
65 | bus_MV_466_0_node_100 | 20 | n |  | TRUE
66 | bus_MV_466_0_node_51 | 20 | n |  | TRUE
67 | bus_MV_466_0_node_45 | 20 | n |  | TRUE
68 | bus_MV_466_0_node_54 | 20 | n |  | TRUE
69 | bus_MV_466_0_node_47 | 20 | n |  | TRUE
70 | bus_MV_466_0_node_48 | 20 | n |  | TRUE
71 | bus_MV_466_0_node_75 | 20 | n |  | TRUE
72 | bus_MV_466_0_node_90 | 20 | n |  | TRUE
73 | bus_MV_466_0_node_95 | 20 | n |  | TRUE
74 | bus_MV_466_0_node_86 | 20 | n |  | TRUE
75 | bus_MV_466_0_node_38 | 20 | n |  | TRUE
76 | bus_MV_466_0_node_39 | 20 | n |  | TRUE
77 | bus_MV_466_0_node_40 | 20 | n |  | TRUE
78 | bus_MV_466_0_node_41 | 20 | n |  | TRUE
79 | bus_MV_466_0_node_79 | 20 | n |  | TRUE
80 | bus_MV_466_0_node_88 | 20 | n |  | TRUE
81 | bus_MV_466_0_node_89 | 20 | n |  | TRUE
82 | bus_MV_466_0_node_53 | 20 | n |  | TRUE
83 | bus_MV_466_0_node_52 | 20 | n |  | TRUE
84 | bus_MV_466_0_node_61 | 20 | n |  | TRUE
85 | bus_MV_466_0_node_63 | 20 | n |  | TRUE
86 | bus_MV_466_0_node_64 | 20 | n |  | TRUE
87 | bus_MV_466_0_node_66 | 20 | n |  | TRUE
88 | bus_MV_466_0_node_67 | 20 | n |  | TRUE
89 | bus_MV_466_0_node_70 | 20 | n |  | TRUE
90 | bus_MV_466_0_node_83 | 20 | n |  | TRUE
91 | bus_MV_466_0_node_84 | 20 | n |  | TRUE
92 | bus_MV_466_0_node_85 | 20 | n |  | TRUE
93 | bus_MV_466_0_node_87 | 20 | n |  | TRUE
94 | bus_MV_466_0_node_101 | 20 | n |  | TRUE
95 | bus_MV_466_0_node_94 | 20 | n |  | TRUE
96 | bus_HV_466_0_node_78 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_466_0_load_0 | 0 | 0.1213 | 0.058747 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_466_0_load_91 | 5 | 0.077012 | 0.037298 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_466_0_load_98 | 6 | 0.3016 | 0.14607 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_466_0_load_32 | 7 | 0.4103 | 0.19872 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_466_0_load_6 | 8 | 0.37107 | 0.17972 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_466_0_load_55 | 13 | 0.21067 | 0.10203 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_466_0_load_58 | 14 | 0.38245 | 0.18523 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_466_0_load_43 | 15 | 0.2564 | 0.12418 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_466_0_load_11 | 17 | 0.20608 | 0.099811 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_466_0_load_73 | 18 | 0.11371 | 0.055072 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_466_0_load_71 | 23 | 0.24954 | 0.12086 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_466_0_load_102 | 24 | 0.39888 | 0.19319 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_466_0_load_15 | 29 | 0.34825 | 0.16866 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_466_0_load_35 | 33 | 0.3808 | 0.18443 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_466_0_load_76 | 35 | 0.46412 | 0.22479 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_466_0_load_81 | 37 | 0.28101 | 0.1361 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_466_0_load_92 | 38 | 0.4418 | 0.21397 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_466_0_load_97 | 40 | 0.26804 | 0.12982 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_466_0_load_82 | 43 | 0.4894 | 0.23703 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_466_0_load_77 | 44 | 0.14039 | 0.067994 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_466_0_load_21 | 46 | 0.35736 | 0.17308 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_466_0_load_29 | 50 | 0.22416 | 0.10857 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_466_0_load_42 | 52 | 0.37131 | 0.17983 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_466_0_load_44 | 54 | 0.28547 | 0.13826 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_466_0_load_59 | 55 | 0.37404 | 0.18116 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_466_0_load_23 | 56 | 0.34963 | 0.16933 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_466_0_load_99 | 61 | 0.36197 | 0.17531 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_466_0_load_100 | 65 | 0.07909 | 0.038305 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_466_0_load_45 | 67 | 0.17742 | 0.085926 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_466_0_load_54 | 68 | 0.072956 | 0.035334 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_466_0_load_48 | 70 | 0.22137 | 0.10721 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_466_0_load_95 | 73 | 0.30871 | 0.14951 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_466_0_load_38 | 75 | 0.26695 | 0.12929 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_466_0_load_41 | 78 | 0.092812 | 0.044951 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_466_0_load_79 | 79 | 0.11752 | 0.056919 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_466_0_load_88 | 80 | 0.090364 | 0.043765 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_466_0_load_52 | 83 | 0.3789 | 0.18351 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_466_0_load_61 | 84 | 0.29926 | 0.14494 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_466_0_load_64 | 86 | 0.35322 | 0.17107 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_466_0_load_67 | 88 | 0.33614 | 0.1628 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_466_0_load_70 | 89 | 0.28966 | 0.14029 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_466_0_load_83 | 90 | 0.1418 | 0.068678 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_466_0_load_87 | 93 | 0.17704 | 0.085742 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_466_0_load_101 | 94 | 0.10663 | 0.051644 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_466_0_line_0 |  | 0 | 1 | 0.046005 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_466_0_line_1 |  | 1 | 2 | 0.425 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_466_0_line_2 |  | 2 | 6 | 0.035669 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_466_0_line_3 |  | 2 | 3 | 0.28849 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_466_0_line_4 |  | 3 | 4 | 0.13444 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_466_0_line_5 |  | 3 | 5 | 0.045647 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_466_0_line_6 |  | 4 | 7 | 0.060269 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_466_0_line_7 |  | 7 | 62 | 0.061405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_466_0_line_8 |  | 8 | 9 | 0.02334 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_466_0_line_9 |  | 8 | 10 | 0.057997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_466_0_line_10 |  | 9 | 11 | 0.163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_466_0_line_11 |  | 10 | 12 | 0.14916 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_466_0_line_12 |  | 11 | 13 | 0.073527 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_466_0_line_13 |  | 11 | 14 | 0.20553 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_466_0_line_14 |  | 12 | 15 | 0.050621 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_466_0_line_15 |  | 15 | 16 | 0.17657 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
16 | MV_466_0_line_16 |  | 16 | 73 | 0.16565 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_466_0_line_17 |  | 16 | 39 | 0.027436 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_466_0_line_18 |  | 17 | 18 | 0.14664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_466_0_line_19 |  | 18 | 19 | 0.068107 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
20 | MV_466_0_line_20 |  | 18 | 20 | 0.010052 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
21 | MV_466_0_line_21 |  | 19 | 71 | 0.16274 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_466_0_line_22 |  | 20 | 25 | 0.026217 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_466_0_line_23 |  | 21 | 22 | 0.56521 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
24 | MV_466_0_line_24 |  | 21 | 23 | 0.002866 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
25 | MV_466_0_line_25 |  | 22 | 24 | 0.14056 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
26 | MV_466_0_line_26 |  | 23 | 25 | 0.074259 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
27 | MV_466_0_line_27 |  | 24 | 27 | 0.2108 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
28 | MV_466_0_line_28 |  | 25 | 26 | 0.14146 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_466_0_line_29 |  | 26 | 85 | 0.18133 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_466_0_line_30 |  | 26 | 84 | 0.032522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_466_0_line_31 |  | 27 | 28 | 0.084671 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_466_0_line_32 |  | 28 | 89 | 0.054488 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
33 | MV_466_0_line_33 |  | 29 | 30 | 0.046859 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_466_0_line_34 |  | 30 | 31 | 0.097112 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
35 | MV_466_0_line_35 |  | 30 | 32 | 0.3732 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_466_0_line_36 |  | 31 | 33 | 0.13202 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_466_0_line_37 |  | 32 | 34 | 0.24638 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
38 | MV_466_0_line_38 |  | 32 | 35 | 0.041162 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
39 | MV_466_0_line_39 |  | 33 | 39 | 0.030631 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_466_0_line_40 |  | 34 | 43 | 0.079609 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_466_0_line_41 |  | 35 | 44 | 0.053475 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_466_0_line_42 |  | 36 | 37 | 0.0023822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_466_0_line_43 |  | 36 | 38 | 0.30366 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_466_0_line_44 |  | 37 | 45 | 0.073006 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_466_0_line_45 |  | 38 | 41 | 0.070579 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_466_0_line_46 |  | 40 | 41 | 0.32916 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_466_0_line_47 |  | 40 | 42 | 0.068468 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_466_0_line_48 |  | 42 | 95 | 0.32201 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_466_0_line_49 |  | 44 | 89 | 0.049756 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
50 | MV_466_0_line_50 |  | 45 | 77 | 0.23613 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_466_0_line_51 |  | 46 | 47 | 0.062451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_466_0_line_52 |  | 47 | 48 | 0.10996 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_466_0_line_53 |  | 47 | 49 | 0.28361 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_466_0_line_54 |  | 48 | 50 | 0.091213 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_466_0_line_55 |  | 49 | 55 | 0.021839 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_466_0_line_56 |  | 49 | 51 | 0.35267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_466_0_line_57 |  | 49 | 53 | 0.40265 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_466_0_line_58 |  | 50 | 59 | 0.013346 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_466_0_line_59 |  | 51 | 52 | 0.021313 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_466_0_line_60 |  | 53 | 54 | 0.022096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_466_0_line_61 |  | 55 | 58 | 0.082034 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_466_0_line_62 |  | 56 | 57 | 0.041693 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_466_0_line_63 |  | 57 | 58 | 0.15308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_466_0_line_64 |  | 59 | 60 | 0.32441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_466_0_line_65 |  | 60 | 61 | 0.037511 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_466_0_line_66 |  | 61 | 71 | 0.045344 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
67 | MV_466_0_line_67 |  | 61 | 72 | 0.035635 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_466_0_line_68 |  | 62 | 63 | 0.37594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_466_0_line_69 |  | 63 | 70 | 0.070843 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_466_0_line_70 |  | 63 | 64 | 0.25942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_466_0_line_71 |  | 64 | 65 | 0.007683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_466_0_line_72 |  | 64 | 66 | 0.14824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_466_0_line_73 |  | 64 | 67 | 0.16455 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
74 | MV_466_0_line_74 |  | 66 | 68 | 0.0044317 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_466_0_line_75 |  | 66 | 69 | 0.21305 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
76 | MV_466_0_line_76 |  | 68 | 82 | 0.04499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_466_0_line_77 |  | 69 | 80 | 0.010629 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_466_0_line_78 |  | 72 | 81 | 0.62841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_466_0_line_79 |  | 73 | 74 | 0.11168 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_466_0_line_80 |  | 74 | 91 | 0.095544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_466_0_line_81 |  | 75 | 76 | 0.009665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_466_0_line_82 |  | 76 | 77 | 0.14112 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_466_0_line_83 |  | 76 | 78 | 0.11951 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_466_0_line_84 |  | 77 | 79 | 0.056981 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_466_0_line_85 |  | 80 | 81 | 0.023397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_466_0_line_86 |  | 82 | 83 | 0.012569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_466_0_line_87 |  | 85 | 86 | 0.12073 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_466_0_line_88 |  | 86 | 87 | 0.015041 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_466_0_line_89 |  | 87 | 88 | 0.083115 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_466_0_line_90 |  | 90 | 91 | 0.083778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_466_0_line_91 |  | 90 | 92 | 0.10986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_466_0_line_92 |  | 92 | 93 | 0.062266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_466_0_line_93 |  | 93 | 94 | 0.10234 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_466_0_line_94 |  | 94 | 95 | 0.0439 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_466_0_trafo_78 | 25 MVA 110/20 kV | 96 | 34 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2588340.924 | 1221267.3178
1 | 2588295.5335 | 1221275.5678
2 | 2588135.6866 | 1221533.6132
3 | 2587967.0376 | 1221667.5647
4 | 2587856.0954 | 1221591.692
5 | 2587942.8044 | 1221706.2475
6 | 2588145.088 | 1221505.0445
7 | 2587888.2806 | 1221540.6854
8 | 2587051.4204 | 1222632.9243
9 | 2587033.1872 | 1222618.2891
10 | 2587071.3417 | 1222677.4511
11 | 2587002.2676 | 1222507.6482
12 | 2587094.6428 | 1222790.4325
13 | 2586934.4651 | 1222479.2033
14 | 2587183.6171 | 1222410.9187
15 | 2587139.3994 | 1222814.0821
16 | 2587314.3842 | 1222790.4461
17 | 2587320.1442 | 1221650.0836
18 | 2587448.497 | 1221720.99
19 | 2587476.5812 | 1221658.9444
20 | 2587444.39 | 1221730.165
21 | 2587372.1855 | 1221788.8082
22 | 2587081.7439 | 1222075.7125
23 | 2587374.6839 | 1221790.2259
24 | 2587202.7271 | 1222147.2688
25 | 2587439.0156 | 1221753.1341
26 | 2587526.6227 | 1221804.2561
27 | 2587411.6937 | 1222119.5266
28 | 2587479.417 | 1222170.6014
29 | 2587516.1687 | 1222564.6857
30 | 2587471.6282 | 1222550.1269
31 | 2587418.327 | 1222631.2761
32 | 2587640.023 | 1222286.5753
33 | 2587345.8577 | 1222741.6281
34 | 2587774.2936 | 1222099.4656
35 | 2587605.0924 | 1222264.7992
36 | 2587949.6865 | 1222476.4798
37 | 2587950.9084 | 1222474.4348
38 | 2588076.8457 | 1222752.2328
39 | 2587329.4187 | 1222767.5005
40 | 2587720.5627 | 1222726.0848
41 | 2588038.4598 | 1222811.4606
42 | 2587656.8365 | 1222751.1209
43 | 2587829.7485 | 1222144.6359
44 | 2587559.8475 | 1222236.2971
45 | 2587988.3545 | 1222411.7635
46 | 2587884.7722 | 1221901.3902
47 | 2587913.7011 | 1221846.1546
48 | 2587825.9992 | 1221809.7022
49 | 2588158.1003 | 1221760.5551
50 | 2587736.6474 | 1221790.1422
51 | 2588338.5787 | 1221827.891
52 | 2588358.0359 | 1221836.7133
53 | 2588308.4384 | 1221491.3114
54 | 2588314.5101 | 1221470.0649
55 | 2588156.7483 | 1221782.3482
56 | 2588144.2995 | 1222057.3101
57 | 2588136.6706 | 1222016.3239
58 | 2588152.0886 | 1221864.2494
59 | 2587723.5202 | 1221787.5346
60 | 2587577.8095 | 1221593.3708
61 | 2587594.0692 | 1221559.5505
62 | 2587893.822 | 1221479.7722
63 | 2587997.48 | 1221221.1337
64 | 2587814.4552 | 1221209.9237
65 | 2587816.6019 | 1221217.3013
66 | 2587774.7803 | 1221274.8208
67 | 2587770.3812 | 1221051.3898
68 | 2587776.3433 | 1221278.9678
69 | 2587562.516 | 1221293.1516
70 | 2587996.2584 | 1221291.966
71 | 2587551.9214 | 1221557.2822
72 | 2587609.5059 | 1221527.4329
73 | 2587425.1242 | 1222913.8925
74 | 2587505.7096 | 1222991.2111
75 | 2588242.3427 | 1222441.537
76 | 2588237.1487 | 1222449.6965
77 | 2588129.2271 | 1222358.4148
78 | 2588328.4005 | 1222526.8749
79 | 2588089.8819 | 1222399.6171
80 | 2587552.7808 | 1221288.9466
81 | 2587531.7567 | 1221278.6858
82 | 2587792.2086 | 1221321.0671
83 | 2587796.64 | 1221332.8314
84 | 2587559.2382 | 1221804.6321
85 | 2587617.5471 | 1221940.6997
86 | 2587554.8119 | 1222043.8529
87 | 2587546.9963 | 1222056.7039
88 | 2587474.1904 | 1222016.2341
89 | 2587523.5801 | 1222202.66
90 | 2587650.1111 | 1223097.4823
91 | 2587582.8063 | 1223047.6371
92 | 2587741.5105 | 1223158.4149
93 | 2587770.971 | 1223103.5219
94 | 2587793.5143 | 1223003.6951
95 | 2587816.3317 | 1222966.5376
96 | 2587774.2936 | 1222099.4656

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99124 | -0.094566 | 0.1213 | 0.058747
1 | 0.99125 | -0.094633 | 0 | 0
2 | 0.99132 | -0.095093 | 0 | 0
3 | 0.99147 | -0.096292 | 0 | 0
4 | 0.99156 | -0.096924 | 0 | 0
5 | 0.99147 | -0.096251 | 0.077012 | 0.037298
6 | 0.9913 | -0.094963 | 0.3016 | 0.14607
7 | 0.99159 | -0.097199 | 0.4103 | 0.19872
8 | 0.99644 | -0.029367 | 0.37107 | 0.17972
9 | 0.99642 | -0.029207 | 0 | 0
10 | 0.99651 | -0.030021 | 0 | 0
11 | 0.9963 | -0.028065 | 0 | 0
12 | 0.9967 | -0.031678 | 0 | 0
13 | 0.99627 | -0.028254 | 0.21067 | 0.10203
14 | 0.99615 | -0.029024 | 0.38245 | 0.18523
15 | 0.99679 | -0.031041 | 0.2564 | 0.12418
16 | 0.99721 | -0.028271 | 0 | 0
17 | 0.99562 | -0.1103 | 0.20608 | 0.099811
18 | 0.99567 | -0.10993 | 0.11371 | 0.055072
19 | 0.99558 | -0.1104 | 0 | 0
20 | 0.99569 | -0.10986 | 0 | 0
21 | 0.99601 | -0.093778 | 0 | 0
22 | 0.99708 | -0.088606 | 0 | 0
23 | 0.99601 | -0.093804 | 0.24954 | 0.12086
24 | 0.99762 | -0.057217 | 0.39888 | 0.19319
25 | 0.99573 | -0.10967 | 0 | 0
26 | 0.99555 | -0.10809 | 0 | 0
27 | 0.9985 | -0.0070368 | 0 | 0
28 | 0.99867 | -0.0062122 | 0 | 0
29 | 0.99822 | -0.013579 | 0.34825 | 0.16866
30 | 0.99826 | -0.013381 | 0 | 0
31 | 0.99805 | -0.015574 | 0 | 0
32 | 0.9991 | -0.0041638 | 0 | 0
33 | 0.99746 | -0.030482 | 0.3808 | 0.18443
34 | 1 | 0 | -11.8127 | -5.4617
35 | 0.999 | -0.0046156 | 0.46412 | 0.22479
36 | 0.99301 | -0.025247 | 0 | 0
37 | 0.99301 | -0.025228 | 0.28101 | 0.1361
38 | 0.99345 | -0.022027 | 0.4418 | 0.21397
39 | 0.99733 | -0.029317 | 0 | 0
40 | 0.99433 | -0.017657 | 0.26804 | 0.12982
41 | 0.99356 | -0.022981 | 0 | 0
42 | 0.99452 | -0.016326 | 0 | 0
43 | 0.99995 | 0.00046132 | 0.4894 | 0.23703
44 | 0.99889 | -0.0051714 | 0.14039 | 0.067994
45 | 0.99296 | -0.024872 | 0 | 0
46 | 0.99384 | -0.10075 | 0.35736 | 0.17308
47 | 0.99387 | -0.10102 | 0 | 0
48 | 0.99411 | -0.10309 | 0 | 0
49 | 0.99337 | -0.096772 | 0 | 0
50 | 0.99431 | -0.1048 | 0.22416 | 0.10857
51 | 0.9932 | -0.09529 | 0 | 0
52 | 0.99319 | -0.095195 | 0.37131 | 0.17983
53 | 0.99322 | -0.095515 | 0 | 0
54 | 0.99321 | -0.095439 | 0.28547 | 0.13826
55 | 0.99335 | -0.096587 | 0.37404 | 0.18116
56 | 0.99321 | -0.096175 | 0.34963 | 0.16933
57 | 0.99322 | -0.09635 | 0 | 0
58 | 0.99329 | -0.096972 | 0 | 0
59 | 0.99435 | -0.10508 | 0 | 0
60 | 0.99516 | -0.11192 | 0 | 0
61 | 0.99525 | -0.1127 | 0.36197 | 0.17531
62 | 0.99167 | -0.097779 | 0 | 0
63 | 0.9921 | -0.10121 | 0 | 0
64 | 0.99247 | -0.10414 | 0 | 0
65 | 0.99247 | -0.10413 | 0.07909 | 0.038305
66 | 0.99274 | -0.10623 | 0 | 0
67 | 0.99242 | -0.1045 | 0.17742 | 0.085926
68 | 0.99273 | -0.1062 | 0.072956 | 0.035334
69 | 0.99349 | -0.10057 | 0 | 0
70 | 0.99207 | -0.1014 | 0.22137 | 0.10721
71 | 0.99535 | -0.11149 | 0 | 0
72 | 0.99512 | -0.11374 | 0 | 0
73 | 0.99674 | -0.024261 | 0.30871 | 0.14951
74 | 0.99633 | -0.027175 | 0 | 0
75 | 0.99275 | -0.023059 | 0.26695 | 0.12929
76 | 0.99275 | -0.023091 | 0 | 0
77 | 0.99282 | -0.023664 | 0 | 0
78 | 0.99274 | -0.022967 | 0.092812 | 0.044951
79 | 0.99281 | -0.023585 | 0.11752 | 0.056919
80 | 0.99352 | -0.10077 | 0.090364 | 0.043765
81 | 0.99357 | -0.10125 | 0 | 0
82 | 0.99271 | -0.106 | 0 | 0
83 | 0.99271 | -0.10594 | 0.3789 | 0.18351
84 | 0.99554 | -0.10798 | 0.29926 | 0.14494
85 | 0.99539 | -0.10667 | 0 | 0
86 | 0.99529 | -0.10569 | 0.35322 | 0.17107
87 | 0.99528 | -0.10563 | 0 | 0
88 | 0.99524 | -0.1053 | 0.33614 | 0.1628
89 | 0.99878 | -0.0056781 | 0.28966 | 0.14029
90 | 0.9959 | -0.023448 | 0.1418 | 0.068678
91 | 0.9961 | -0.025196 | 0 | 0
92 | 0.99566 | -0.021327 | 0 | 0
93 | 0.99552 | -0.020116 | 0.17704 | 0.085742
94 | 0.99521 | -0.022316 | 0.10663 | 0.051644
95 | 0.99512 | -0.021608 | 0 | 0
96 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.1213 | -0.058747 | 0.1213 | 0.057668 | 9.4286e-07 | -0.001079 | 0.003925 | 0.0039114 | 0.003925 | 0.99124 | -0.094566 | 0.99125 | -0.094633 | 1.7841
1 | -0.1213 | -0.057668 | 0.12131 | 0.047699 | 8.4154e-06 | -0.0099687 | 0.0039114 | 0.0037958 | 0.0039114 | 0.99125 | -0.094633 | 0.99132 | -0.095093 | 1.7779
2 | 0.30161 | 0.14524 | -0.3016 | -0.14607 | 4.5299e-06 | -0.00083555 | 0.0097482 | 0.0097588 | 0.0097588 | 0.99132 | -0.095093 | 0.9913 | -0.094963 | 4.4358
3 | -0.42291 | -0.19294 | 0.42298 | 0.18619 | 7.0146e-05 | -0.006749 | 0.013536 | 0.013456 | 0.013536 | 0.99132 | -0.095093 | 0.99147 | -0.096292 | 6.1529
4 | -0.49999 | -0.22241 | 0.50004 | 0.21927 | 4.5458e-05 | -0.0031423 | 0.015933 | 0.015896 | 0.015933 | 0.99147 | -0.096292 | 0.99156 | -0.096924 | 7.2423
5 | 0.077012 | 0.036227 | -0.077012 | -0.037298 | 3.762e-07 | -0.0010712 | 0.002478 | 0.0024914 | 0.0024914 | 0.99147 | -0.096292 | 0.99147 | -0.096251 | 1.1325
6 | -0.50004 | -0.21927 | 0.50006 | 0.21786 | 2.0309e-05 | -0.0014088 | 0.015896 | 0.015879 | 0.015896 | 0.99156 | -0.096924 | 0.99159 | -0.097199 | 7.2254
7 | -0.91036 | -0.41658 | 0.91043 | 0.41516 | 6.9594e-05 | -0.001421 | 0.029146 | 0.029128 | 0.029146 | 0.99159 | -0.097199 | 0.99167 | -0.097779 | 13.248
8 | 0.59327 | 0.28258 | -0.59326 | -0.28313 | 1.1297e-05 | -0.00054995 | 0.019037 | 0.019044 | 0.019044 | 0.99644 | -0.029367 | 0.99642 | -0.029207 | 8.6565
9 | -0.96434 | -0.46229 | 0.96441 | 0.46094 | 7.4278e-05 | -0.001353 | 0.030982 | 0.030965 | 0.030982 | 0.99644 | -0.029367 | 0.99651 | -0.030021 | 14.0826
10 | 0.59326 | 0.28313 | -0.59318 | -0.28697 | 7.9122e-05 | -0.00384 | 0.019044 | 0.019093 | 0.019093 | 0.99642 | -0.029207 | 0.9963 | -0.028065 | 8.6786
11 | -0.96441 | -0.46094 | 0.9646 | 0.45746 | 0.00019065 | -0.0034806 | 0.030965 | 0.030921 | 0.030965 | 0.99651 | -0.030021 | 0.9967 | -0.031678 | 14.0748
12 | 0.21067 | 0.10195 | -0.21067 | -0.10203 | 6.0254e-06 | -8.3353e-05 | 0.0067813 | 0.0067824 | 0.0067824 | 0.9963 | -0.028065 | 0.99627 | -0.028254 | 3.2297
13 | 0.38251 | 0.18502 | -0.38245 | -0.18523 | 5.552e-05 | -0.00020874 | 0.012312 | 0.012315 | 0.012315 | 0.9963 | -0.028065 | 0.99615 | -0.029024 | 5.8641
14 | -0.9646 | -0.45746 | 0.96469 | 0.45746 | 8.6228e-05 | -6.028e-06 | 0.030921 | 0.03092 | 0.030921 | 0.9967 | -0.031678 | 0.99679 | -0.031041 | 14.7241
15 | -1.2211 | -0.58164 | 1.2216 | 0.58173 | 0.00048266 | 9.2794e-05 | 0.03917 | 0.039168 | 0.03917 | 0.99679 | -0.031041 | 0.99721 | -0.028271 | 18.6525
16 | 2.209 | 1.0308 | -2.2079 | -1.0344 | 0.001102 | -0.0036043 | 0.070567 | 0.070616 | 0.070616 | 0.99721 | -0.028271 | 0.99674 | -0.024261 | 32.098
17 | -3.4306 | -1.6125 | 3.431 | 1.612 | 0.00044101 | -0.00052066 | 0.10973 | 0.10973 | 0.10973 | 0.99721 | -0.028271 | 0.99733 | -0.029317 | 49.8792
18 | -0.20608 | -0.099811 | 0.2061 | 0.099645 | 1.1512e-05 | -0.00016632 | 0.0066392 | 0.0066371 | 0.0066392 | 0.99562 | -0.1103 | 0.99567 | -0.10993 | 3.1615
19 | 4.2661 | 1.9413 | -4.2658 | -1.9453 | 0.00038878 | -0.004023 | 0.13589 | 0.13594 | 0.13594 | 0.99567 | -0.10993 | 0.99558 | -0.1104 | 21.3077
20 | -4.586 | -2.096 | 4.586 | 2.0954 | 6.6379e-05 | -0.00058878 | 0.14619 | 0.14618 | 0.14619 | 0.99567 | -0.10993 | 0.99569 | -0.10986 | 22.9137
21 | 4.2658 | 1.9453 | -4.2648 | -1.9549 | 0.00093014 | -0.0096088 | 0.13594 | 0.13607 | 0.13607 | 0.99558 | -0.1104 | 0.99535 | -0.11149 | 21.3268
22 | -4.586 | -2.0954 | 4.5862 | 2.0939 | 0.00017309 | -0.0015357 | 0.14618 | 0.14616 | 0.14618 | 0.99569 | -0.10986 | 0.99573 | -0.10967 | 22.9125
23 | -5.8256 | -2.6821 | 5.8316 | 2.6502 | 0.0060206 | -0.031878 | 0.18588 | 0.18546 | 0.18588 | 0.99601 | -0.093778 | 0.99708 | -0.088606 | 29.1348
24 | 5.8256 | 2.6821 | -5.8256 | -2.6822 | 3.0599e-05 | -0.00016141 | 0.18588 | 0.18588 | 0.18588 | 0.99601 | -0.093778 | 0.99601 | -0.093804 | 29.1351
25 | -5.8316 | -2.6502 | 5.8334 | 2.6547 | 0.0017259 | 0.0044477 | 0.18546 | 0.18545 | 0.18546 | 0.99708 | -0.088606 | 0.99762 | -0.057217 | 28.7527
26 | 5.5761 | 2.5614 | -5.5752 | -2.5592 | 0.00083853 | 0.0021531 | 0.17785 | 0.17785 | 0.17785 | 0.99601 | -0.093804 | 0.99573 | -0.10967 | 27.5735
27 | -6.2323 | -2.8478 | 6.2352 | 2.8555 | 0.0029584 | 0.0076652 | 0.19827 | 0.19827 | 0.19827 | 0.99762 | -0.057217 | 0.9985 | -0.0070368 | 30.7401
28 | 0.98903 | 0.46535 | -0.98884 | -0.46864 | 0.00018988 | -0.0032918 | 0.031689 | 0.03173 | 0.03173 | 0.99573 | -0.10967 | 0.99555 | -0.10809 | 14.4227
29 | 0.68957 | 0.32447 | -0.68945 | -0.32872 | 0.0001185 | -0.0042552 | 0.022098 | 0.022151 | 0.022151 | 0.99555 | -0.10809 | 0.99539 | -0.10667 | 10.0688
30 | 0.29927 | 0.14417 | -0.29926 | -0.14494 | 4.0323e-06 | -0.0007684 | 0.0096322 | 0.0096419 | 0.0096419 | 0.99555 | -0.10809 | 0.99554 | -0.10798 | 4.3827
31 | -6.2352 | -2.8555 | 6.2362 | 2.8508 | 0.0010282 | -0.004726 | 0.19827 | 0.19821 | 0.19827 | 0.9985 | -0.0070368 | 0.99867 | -0.0062122 | 31.0769
32 | -6.2362 | -2.8508 | 6.2369 | 2.8477 | 0.00066131 | -0.0030425 | 0.19821 | 0.19817 | 0.19821 | 0.99867 | -0.0062122 | 0.99878 | -0.0056781 | 31.0669
33 | -0.34825 | -0.16866 | 0.34826 | 0.16861 | 1.0453e-05 | -4.9197e-05 | 0.01119 | 0.011189 | 0.01119 | 0.99822 | -0.013579 | 0.99826 | -0.013381 | 5.3285
34 | 3.8148 | 1.795 | -3.8141 | -1.7978 | 0.00069744 | -0.0028124 | 0.12192 | 0.12196 | 0.12196 | 0.99826 | -0.013381 | 0.99805 | -0.015574 | 33.6905
35 | -4.1631 | -1.9636 | 4.1663 | 1.9531 | 0.0031899 | -0.010451 | 0.13311 | 0.13295 | 0.13311 | 0.99826 | -0.013381 | 0.9991 | -0.0041638 | 36.7699
36 | 3.8141 | 1.7978 | -3.8123 | -1.7959 | 0.0018027 | 0.0018967 | 0.12196 | 0.12196 | 0.12196 | 0.99805 | -0.015574 | 0.99746 | -0.030482 | 34.8462
37 | -11.2994 | -5.226 | 11.3093 | 5.2161 | 0.0098454 | -0.0099222 | 0.35971 | 0.35952 | 0.35971 | 0.9991 | -0.0041638 | 1 | 0 | 56.3807
38 | 7.1331 | 3.2729 | -7.1325 | -3.2751 | 0.00065412 | -0.0022131 | 0.22676 | 0.22679 | 0.22679 | 0.9991 | -0.0041638 | 0.999 | -0.0046156 | 35.5475
39 | 3.4315 | 1.6114 | -3.431 | -1.612 | 0.0004923 | -0.00058151 | 0.10972 | 0.10973 | 0.10973 | 0.99746 | -0.030482 | 0.99733 | -0.029317 | 49.8755
40 | 0.48942 | 0.23513 | -0.4894 | -0.23703 | 2.6151e-05 | -0.0018929 | 0.015674 | 0.015698 | 0.015698 | 1 | 0 | 0.99995 | 0.00046132 | 7.1355
41 | 6.6684 | 3.0503 | -6.6676 | -3.0533 | 0.00074204 | -0.002935 | 0.21189 | 0.21193 | 0.21193 | 0.999 | -0.0046156 | 0.99889 | -0.0051714 | 33.2186
42 | 0.75842 | 0.35226 | -0.75842 | -0.35232 | 1.8795e-06 | -5.5528e-05 | 0.02431 | 0.024311 | 0.024311 | 0.99301 | -0.025247 | 0.99301 | -0.025228 | 11.0503
43 | -0.75842 | -0.35226 | 0.75874 | 0.3521 | 0.00031968 | -0.00015738 | 0.02431 | 0.024306 | 0.02431 | 0.99301 | -0.025247 | 0.99345 | -0.022027 | 11.5761
44 | 0.47741 | 0.21622 | -0.47738 | -0.21793 | 2.2654e-05 | -0.001712 | 0.015236 | 0.015256 | 0.015256 | 0.99301 | -0.025228 | 0.99296 | -0.024872 | 6.9347
45 | -1.2005 | -0.56608 | 1.2007 | 0.56445 | 0.00014008 | -0.0016218 | 0.038568 | 0.038548 | 0.038568 | 0.99345 | -0.022027 | 0.99356 | -0.022981 | 17.5311
46 | 1.2015 | 0.56461 | -1.2007 | -0.56445 | 0.00087134 | 0.00015757 | 0.038543 | 0.038548 | 0.038548 | 0.99433 | -0.017657 | 0.99356 | -0.022981 | 18.3561
47 | -1.4696 | -0.69443 | 1.4699 | 0.69452 | 0.00027164 | 8.9317e-05 | 0.047189 | 0.047188 | 0.047189 | 0.99433 | -0.017657 | 0.99452 | -0.016326 | 22.4709
48 | -1.4699 | -0.69452 | 1.4708 | 0.68719 | 0.00095531 | -0.0073255 | 0.047188 | 0.047094 | 0.047188 | 0.99452 | -0.016326 | 0.99512 | -0.021608 | 21.449
49 | 6.5272 | 2.9853 | -6.5266 | -2.988 | 0.00066163 | -0.0027464 | 0.20743 | 0.20747 | 0.20747 | 0.99889 | -0.0051714 | 0.99878 | -0.0056781 | 32.5181
50 | 0.47738 | 0.21793 | -0.47731 | -0.22346 | 7.3697e-05 | -0.0055361 | 0.015256 | 0.015324 | 0.015324 | 0.99296 | -0.024872 | 0.99282 | -0.023664 | 6.9655
51 | -0.35736 | -0.17308 | 0.35737 | 0.17161 | 1.1072e-05 | -0.0014695 | 0.011533 | 0.011515 | 0.011533 | 0.99384 | -0.10075 | 0.99387 | -0.10102 | 5.2424
52 | -1.7387 | -0.80977 | 1.7392 | 0.80731 | 0.00045536 | -0.0024589 | 0.055711 | 0.055679 | 0.055711 | 0.99387 | -0.10102 | 0.99411 | -0.10309 | 25.3233
53 | 1.3814 | 0.63816 | -1.3806 | -0.64463 | 0.00074097 | -0.0064655 | 0.044198 | 0.044279 | 0.044279 | 0.99387 | -0.10102 | 0.99337 | -0.096772 | 20.127
54 | -1.7392 | -0.80731 | 1.7396 | 0.80527 | 0.00037733 | -0.0020407 | 0.055679 | 0.055653 | 0.055679 | 0.99411 | -0.10309 | 0.99431 | -0.1048 | 25.3088
55 | 0.72374 | 0.34532 | -0.72372 | -0.34583 | 1.5837e-05 | -0.00050983 | 0.023303 | 0.02331 | 0.02331 | 0.99337 | -0.096772 | 0.99335 | -0.096587 | 10.5953
56 | 0.37138 | 0.17104 | -0.37131 | -0.17933 | 6.7042e-05 | -0.0082878 | 0.011882 | 0.011985 | 0.011985 | 0.99337 | -0.096772 | 0.9932 | -0.09529 | 5.4477
57 | 0.28552 | 0.12827 | -0.28547 | -0.13774 | 4.5037e-05 | -0.0094719 | 0.009096 | 0.0092124 | 0.0092124 | 0.99337 | -0.096772 | 0.99322 | -0.095515 | 4.1875
58 | -1.9637 | -0.91383 | 1.9638 | 0.91354 | 7.0449e-05 | -0.00029415 | 0.062883 | 0.062879 | 0.062883 | 0.99431 | -0.1048 | 0.99435 | -0.10508 | 28.5833
59 | 0.37131 | 0.17933 | -0.37131 | -0.17983 | 4.0891e-06 | -0.00050076 | 0.011985 | 0.011991 | 0.011991 | 0.9932 | -0.09529 | 0.99319 | -0.095195 | 5.4506
60 | 0.28547 | 0.13774 | -0.28547 | -0.13826 | 2.5053e-06 | -0.00051969 | 0.0092124 | 0.009219 | 0.009219 | 0.99322 | -0.095515 | 0.99321 | -0.095439 | 4.1905
61 | 0.34968 | 0.16467 | -0.34966 | -0.16476 | 1.8442e-05 | -8.5076e-05 | 0.011232 | 0.011234 | 0.011234 | 0.99335 | -0.096587 | 0.99329 | -0.096972 | 5.3493
62 | -0.34963 | -0.16933 | 0.34964 | 0.16835 | 7.0882e-06 | -0.0009799 | 0.011291 | 0.011279 | 0.011291 | 0.99321 | -0.096175 | 0.99322 | -0.09635 | 5.1323
63 | -0.34964 | -0.16835 | 0.34966 | 0.16476 | 2.5892e-05 | -0.003598 | 0.011279 | 0.011234 | 0.011279 | 0.99322 | -0.09635 | 0.99329 | -0.096972 | 5.1267
64 | -1.9638 | -0.91354 | 1.9655 | 0.90638 | 0.0017098 | -0.0071574 | 0.062879 | 0.062786 | 0.062879 | 0.99435 | -0.10508 | 0.99516 | -0.11192 | 28.5815
65 | -1.9655 | -0.90638 | 1.9657 | 0.90555 | 0.00019737 | -0.0008285 | 0.062786 | 0.062775 | 0.062786 | 0.99516 | -0.11192 | 0.99525 | -0.1127 | 28.539
66 | -4.2644 | -1.9562 | 4.2648 | 1.9549 | 0.00040553 | -0.0012463 | 0.13608 | 0.13607 | 0.13608 | 0.99525 | -0.1127 | 0.99535 | -0.11149 | 37.5922
67 | 1.9367 | 0.87532 | -1.9365 | -0.87521 | 0.00024129 | 0.000109 | 0.061647 | 0.061647 | 0.061647 | 0.99525 | -0.1127 | 0.99512 | -0.11374 | 29.3558
68 | -0.91043 | -0.41516 | 0.91086 | 0.40646 | 0.00042427 | -0.0087049 | 0.029128 | 0.029023 | 0.029128 | 0.99167 | -0.097779 | 0.9921 | -0.10121 | 13.2401
69 | 0.22137 | 0.10713 | -0.22137 | -0.10721 | 6.4647e-06 | -7.919e-05 | 0.0071561 | 0.0071571 | 0.0071571 | 0.9921 | -0.10121 | 0.99207 | -0.1014 | 3.4082
70 | -1.1322 | -0.51359 | 1.1327 | 0.50763 | 0.00045231 | -0.0059645 | 0.036176 | 0.036103 | 0.036176 | 0.9921 | -0.10121 | 0.99247 | -0.10414 | 16.4436
71 | 0.07909 | 0.038125 | -0.07909 | -0.038305 | 6.6953e-08 | -0.00018067 | 0.0025538 | 0.0025561 | 0.0025561 | 0.99247 | -0.10414 | 0.99247 | -0.10413 | 1.1618
72 | -1.3892 | -0.63149 | 1.3896 | 0.62812 | 0.00038952 | -0.0033718 | 0.044386 | 0.044344 | 0.044386 | 0.99247 | -0.10414 | 0.99274 | -0.10623 | 20.1753
73 | 0.17743 | 0.085739 | -0.17742 | -0.085926 | 9.6354e-06 | -0.00018744 | 0.0057317 | 0.0057341 | 0.0057341 | 0.99247 | -0.10414 | 0.99242 | -0.1045 | 2.7305
74 | 0.45187 | 0.21739 | -0.45187 | -0.21749 | 1.258e-06 | -0.00010391 | 0.014581 | 0.014583 | 0.014583 | 0.99274 | -0.10623 | 0.99273 | -0.1062 | 6.6284
75 | -1.8415 | -0.84551 | 1.8428 | 0.84608 | 0.0013178 | 0.00057459 | 0.058922 | 0.058919 | 0.058922 | 0.99274 | -0.10623 | 0.99349 | -0.10057 | 28.0581
76 | 0.37891 | 0.18216 | -0.3789 | -0.18321 | 8.9865e-06 | -0.0010559 | 0.012225 | 0.012239 | 0.012239 | 0.99273 | -0.1062 | 0.99271 | -0.106 | 5.5631
77 | -1.8428 | -0.84608 | 1.8428 | 0.84584 | 4.9258e-05 | -0.00023589 | 0.058919 | 0.058916 | 0.058919 | 0.99349 | -0.10057 | 0.99352 | -0.10077 | 26.7813
78 | 1.9365 | 0.87521 | -1.9333 | -0.88909 | 0.0031975 | -0.013886 | 0.061647 | 0.061826 | 0.061826 | 0.99512 | -0.11374 | 0.99357 | -0.10125 | 28.1027
79 | 1.8992 | 0.88491 | -1.8985 | -0.88458 | 0.00073273 | 0.00032656 | 0.060682 | 0.060684 | 0.060684 | 0.99674 | -0.024261 | 0.99633 | -0.027175 | 28.8971
80 | 1.8985 | 0.88458 | -1.898 | -0.8867 | 0.00046993 | -0.0021246 | 0.060684 | 0.060712 | 0.060712 | 0.99633 | -0.027175 | 0.9961 | -0.025196 | 27.5962
81 | -0.26695 | -0.12929 | 0.26695 | 0.12906 | 9.5949e-07 | -0.00022714 | 0.0086248 | 0.0086219 | 0.0086248 | 0.99275 | -0.023059 | 0.99275 | -0.023091 | 3.9204
82 | -0.35976 | -0.1712 | 0.35979 | 0.16789 | 2.5196e-05 | -0.0033135 | 0.011585 | 0.011544 | 0.011585 | 0.99275 | -0.023091 | 0.99282 | -0.023664 | 5.266
83 | 0.092813 | 0.042139 | -0.092812 | -0.044951 | 1.4179e-06 | -0.0028118 | 0.002964 | 0.0029987 | 0.0029987 | 0.99275 | -0.023091 | 0.99274 | -0.022967 | 1.3631
84 | 0.11752 | 0.055578 | -0.11752 | -0.056919 | 1.0918e-06 | -0.0013407 | 0.00378 | 0.0037969 | 0.0037969 | 0.99282 | -0.023664 | 0.99281 | -0.023585 | 1.7258
85 | -1.9332 | -0.88961 | 1.9333 | 0.88909 | 0.00011941 | -0.00051602 | 0.061833 | 0.061826 | 0.061833 | 0.99352 | -0.10077 | 0.99357 | -0.10125 | 28.1057
86 | 0.3789 | 0.18321 | -0.3789 | -0.18351 | 2.5141e-06 | -0.00029499 | 0.012239 | 0.012242 | 0.012242 | 0.99271 | -0.106 | 0.99271 | -0.10594 | 5.5648
87 | 0.68945 | 0.32872 | -0.68937 | -0.33155 | 7.9214e-05 | -0.0028323 | 0.022151 | 0.022187 | 0.022187 | 0.99539 | -0.10667 | 0.99529 | -0.10569 | 10.085
88 | 0.33615 | 0.16048 | -0.33615 | -0.16084 | 2.3448e-06 | -0.00035504 | 0.010804 | 0.010808 | 0.010808 | 0.99529 | -0.10569 | 0.99528 | -0.10563 | 4.9129
89 | 0.33615 | 0.16084 | -0.33614 | -0.1628 | 1.2992e-05 | -0.0019618 | 0.010808 | 0.010833 | 0.010833 | 0.99528 | -0.10563 | 0.99524 | -0.1053 | 4.9241
90 | -1.8976 | -0.88857 | 1.898 | 0.8867 | 0.00041241 | -0.001862 | 0.060736 | 0.060712 | 0.060736 | 0.9959 | -0.023448 | 0.9961 | -0.025196 | 27.6073
91 | 1.7558 | 0.81989 | -1.7553 | -0.82235 | 0.00046297 | -0.0024635 | 0.05617 | 0.056201 | 0.056201 | 0.9959 | -0.023448 | 0.99566 | -0.021327 | 25.5461
92 | 1.7553 | 0.82235 | -1.7551 | -0.82375 | 0.00026264 | -0.0013957 | 0.056201 | 0.05622 | 0.05622 | 0.99566 | -0.021327 | 0.99552 | -0.020116 | 25.5544
93 | 1.578 | 0.73801 | -1.5776 | -0.73784 | 0.00046532 | 0.00017042 | 0.050516 | 0.050518 | 0.050518 | 0.99552 | -0.020116 | 0.99521 | -0.022316 | 24.056
94 | 1.4709 | 0.68619 | -1.4708 | -0.68719 | 0.00012994 | -0.0009995 | 0.047081 | 0.047094 | 0.047094 | 0.99521 | -0.022316 | 0.99512 | -0.021608 | 21.4063

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.8127 | 5.4617

## res_load
| p_mw | q_mvar
0 | 0.1213 | 0.058747
1 | 0.077012 | 0.037298
2 | 0.3016 | 0.14607
3 | 0.4103 | 0.19872
4 | 0.37107 | 0.17972
5 | 0.21067 | 0.10203
6 | 0.38245 | 0.18523
7 | 0.2564 | 0.12418
8 | 0.20608 | 0.099811
9 | 0.11371 | 0.055072
10 | 0.24954 | 0.12086
11 | 0.39888 | 0.19319
12 | 0.34825 | 0.16866
13 | 0.3808 | 0.18443
14 | 0.46412 | 0.22479
15 | 0.28101 | 0.1361
16 | 0.4418 | 0.21397
17 | 0.26804 | 0.12982
18 | 0.4894 | 0.23703
19 | 0.14039 | 0.067994
20 | 0.35736 | 0.17308
21 | 0.22416 | 0.10857
22 | 0.37131 | 0.17983
23 | 0.28547 | 0.13826
24 | 0.37404 | 0.18116
25 | 0.34963 | 0.16933
26 | 0.36197 | 0.17531
27 | 0.07909 | 0.038305
28 | 0.17742 | 0.085926
29 | 0.072956 | 0.035334
30 | 0.22137 | 0.10721
31 | 0.30871 | 0.14951
32 | 0.26695 | 0.12929
33 | 0.092812 | 0.044951
34 | 0.11752 | 0.056919
35 | 0.090364 | 0.043765
36 | 0.3789 | 0.18351
37 | 0.29926 | 0.14494
38 | 0.35322 | 0.17107
39 | 0.33614 | 0.1628
40 | 0.28966 | 0.14029
41 | 0.1418 | 0.068678
42 | 0.17704 | 0.085742
43 | 0.10663 | 0.051644

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1