## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_467_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_467_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_467_0_node_57 | 20 | n |  | TRUE
3 | bus_MV_467_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_467_0_node_79 | 20 | n |  | TRUE
5 | bus_MV_467_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_467_0_node_3 | 20 | n |  | TRUE
7 | bus_MV_467_0_node_5 | 20 | n |  | TRUE
8 | bus_MV_467_0_node_6 | 20 | n |  | TRUE
9 | bus_MV_467_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_467_0_node_81 | 20 | n |  | TRUE
11 | bus_MV_467_0_node_14 | 20 | n |  | TRUE
12 | bus_MV_467_0_node_21 | 20 | n |  | TRUE
13 | bus_MV_467_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_467_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_467_0_node_78 | 20 | n |  | TRUE
16 | bus_MV_467_0_node_49 | 20 | n |  | TRUE
17 | bus_MV_467_0_node_56 | 20 | n |  | TRUE
18 | bus_MV_467_0_node_47 | 20 | n |  | TRUE
19 | bus_MV_467_0_node_12 | 20 | n |  | TRUE
20 | bus_MV_467_0_node_80 | 20 | n |  | TRUE
21 | bus_MV_467_0_node_25 | 20 | n |  | TRUE
22 | bus_MV_467_0_node_27 | 20 | n |  | TRUE
23 | bus_MV_467_0_node_30 | 20 | n |  | TRUE
24 | bus_MV_467_0_node_22 | 20 | n |  | TRUE
25 | bus_MV_467_0_node_17 | 20 | n |  | TRUE
26 | bus_MV_467_0_node_16 | 20 | n |  | TRUE
27 | bus_MV_467_0_node_28 | 20 | n |  | TRUE
28 | bus_MV_467_0_node_26 | 20 | n |  | TRUE
29 | bus_MV_467_0_node_15 | 20 | n |  | TRUE
30 | bus_MV_467_0_node_19 | 20 | n |  | TRUE
31 | bus_MV_467_0_node_20 | 20 | n |  | TRUE
32 | bus_MV_467_0_node_18 | 20 | n |  | TRUE
33 | bus_MV_467_0_node_86 | 20 | n |  | TRUE
34 | bus_MV_467_0_node_77 | 20 | n |  | TRUE
35 | bus_MV_467_0_node_76 | 20 | n |  | TRUE
36 | bus_MV_467_0_node_23 | 20 | n |  | TRUE
37 | bus_MV_467_0_node_24 | 20 | n |  | TRUE
38 | bus_MV_467_0_node_55 | 20 | n |  | TRUE
39 | bus_MV_467_0_node_54 | 20 | n |  | TRUE
40 | bus_MV_467_0_node_84 | 20 | n |  | TRUE
41 | bus_MV_467_0_node_69 | 20 | n |  | TRUE
42 | bus_MV_467_0_node_29 | 20 | n |  | TRUE
43 | bus_MV_467_0_node_31 | 20 | n |  | TRUE
44 | bus_MV_467_0_node_32 | 20 | n |  | TRUE
45 | bus_MV_467_0_node_33 | 20 | n |  | TRUE
46 | bus_MV_467_0_node_36 | 20 | n |  | TRUE
47 | bus_MV_467_0_node_85 | 20 | n |  | TRUE
48 | bus_MV_467_0_node_34 | 20 | n |  | TRUE
49 | bus_MV_467_0_node_35 | 20 | n |  | TRUE
50 | bus_MV_467_0_node_83 | 20 | n |  | TRUE
51 | bus_MV_467_0_node_82 | 20 | n |  | TRUE
52 | bus_MV_467_0_node_37 | 20 | n |  | TRUE
53 | bus_MV_467_0_node_43 | 20 | n |  | TRUE
54 | bus_MV_467_0_node_40 | 20 | n |  | TRUE
55 | bus_MV_467_0_node_38 | 20 | n |  | TRUE
56 | bus_MV_467_0_node_53 | 20 | n |  | TRUE
57 | bus_MV_467_0_node_39 | 20 | n |  | TRUE
58 | bus_MV_467_0_node_67 | 20 | n |  | TRUE
59 | bus_MV_467_0_node_62 | 20 | n |  | TRUE
60 | bus_MV_467_0_node_70 | 20 | n |  | TRUE
61 | bus_MV_467_0_node_44 | 20 | n |  | TRUE
62 | bus_MV_467_0_node_45 | 20 | n |  | TRUE
63 | bus_MV_467_0_node_58 | 20 | n |  | TRUE
64 | bus_MV_467_0_node_59 | 20 | n |  | TRUE
65 | bus_MV_467_0_node_71 | 20 | n |  | TRUE
66 | bus_MV_467_0_node_72 | 20 | n |  | TRUE
67 | bus_MV_467_0_node_75 | 20 | n |  | TRUE
68 | bus_MV_467_0_node_73 | 20 | n |  | TRUE
69 | bus_MV_467_0_node_74 | 20 | n |  | TRUE
70 | bus_MV_467_0_node_41 | 20 | n |  | TRUE
71 | bus_MV_467_0_node_42 | 20 | n |  | TRUE
72 | bus_MV_467_0_node_52 | 20 | n |  | TRUE
73 | bus_MV_467_0_node_61 | 20 | n |  | TRUE
74 | bus_MV_467_0_node_60 | 20 | n |  | TRUE
75 | bus_MV_467_0_node_63 | 20 | n |  | TRUE
76 | bus_MV_467_0_node_68 | 20 | n |  | TRUE
77 | bus_MV_467_0_node_46 | 20 | n |  | TRUE
78 | bus_MV_467_0_node_48 | 20 | n |  | TRUE
79 | bus_MV_467_0_node_50 | 20 | n |  | TRUE
80 | bus_MV_467_0_node_51 | 20 | n |  | TRUE
81 | bus_MV_467_0_node_66 | 20 | n |  | TRUE
82 | bus_MV_467_0_node_64 | 20 | n |  | TRUE
83 | bus_MV_467_0_node_65 | 20 | n |  | TRUE
84 | bus_HV_467_0_node_55 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_467_0_load_0 | 0 | 0.21234 | 0.10284 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_467_0_load_57 | 2 | 0.13175 | 0.063808 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_467_0_load_79 | 4 | 0.14646 | 0.070932 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_467_0_load_7 | 9 | 0.18631 | 0.090234 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_467_0_load_81 | 10 | 0.13861 | 0.067131 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_467_0_load_14 | 11 | 0.14571 | 0.07057 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_467_0_load_21 | 12 | 0.397 | 0.19228 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_467_0_load_78 | 15 | 0.31902 | 0.15451 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_467_0_load_56 | 17 | 0.20344 | 0.098529 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_467_0_load_80 | 20 | 0.32017 | 0.15506 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_467_0_load_25 | 21 | 0.35952 | 0.17412 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_467_0_load_30 | 23 | 0.21543 | 0.10434 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_467_0_load_26 | 28 | 0.252 | 0.12205 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_467_0_load_15 | 29 | 0.17435 | 0.084441 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_467_0_load_18 | 32 | 0.17809 | 0.086253 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_467_0_load_86 | 33 | 0.25683 | 0.12439 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_467_0_load_76 | 35 | 0.072295 | 0.035014 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_467_0_load_54 | 39 | 0.079194 | 0.038355 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_467_0_load_84 | 40 | 0.12408 | 0.060096 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_467_0_load_69 | 41 | 2.075 | 1.005 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_467_0_load_29 | 42 | 0.12854 | 0.062255 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_467_0_load_31 | 43 | 0.40832 | 0.19776 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_467_0_load_85 | 47 | 0.23998 | 0.11623 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_467_0_load_83 | 50 | 0.39246 | 0.19008 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_467_0_load_82 | 51 | 0.28364 | 0.13737 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_467_0_load_43 | 53 | 0.20791 | 0.1007 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_467_0_load_40 | 54 | 0.36876 | 0.1786 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_467_0_load_53 | 56 | 0.08925 | 0.043226 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_467_0_load_67 | 58 | 0.093001 | 0.045042 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_467_0_load_70 | 60 | 0.39898 | 0.19324 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_467_0_load_44 | 61 | 0.081293 | 0.039372 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_467_0_load_58 | 63 | 0.079867 | 0.038681 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_467_0_load_72 | 66 | 0.2911 | 0.14098 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_467_0_load_73 | 68 | 0.21071 | 0.10205 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_467_0_load_41 | 70 | 0.10394 | 0.050341 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_467_0_load_42 | 71 | 0.090608 | 0.043884 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_467_0_load_60 | 74 | 1.4635 | 0.70882 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_467_0_load_68 | 76 | 0.38895 | 0.18838 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_467_0_load_46 | 77 | 0.29676 | 0.14373 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_467_0_load_48 | 78 | 0.12553 | 0.060796 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_467_0_load_51 | 80 | 0.38832 | 0.18807 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_467_0_load_66 | 81 | 1.3732 | 0.66509 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_467_0_load_64 | 82 | 0.084337 | 0.040846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_467_0_line_0 |  | 0 | 1 | 0.11801 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_467_0_line_1 |  | 1 | 2 | 0.2877 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_467_0_line_2 |  | 2 | 16 | 0.009764 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_467_0_line_3 |  | 3 | 4 | 0.028035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_467_0_line_4 |  | 3 | 5 | 0.24697 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_467_0_line_5 |  | 5 | 11 | 0.062004 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_467_0_line_6 |  | 5 | 6 | 0.21715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_467_0_line_7 |  | 6 | 7 | 0.52654 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_467_0_line_8 |  | 6 | 8 | 0.51185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_467_0_line_9 |  | 6 | 9 | 0.055571 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_467_0_line_10 |  | 6 | 10 | 0.21007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_467_0_line_11 |  | 7 | 12 | 0.010722 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_467_0_line_12 |  | 8 | 13 | 0.2878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_467_0_line_13 |  | 8 | 14 | 0.96354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_467_0_line_14 |  | 8 | 15 | 0.041845 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_467_0_line_15 |  | 12 | 24 | 0.037165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_467_0_line_16 |  | 13 | 21 | 0.042051 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_467_0_line_17 |  | 14 | 22 | 0.14845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_467_0_line_18 |  | 14 | 23 | 0.0694 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_467_0_line_19 |  | 14 | 19 | 0.65541 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_467_0_line_20 |  | 15 | 25 | 0.002218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_467_0_line_21 |  | 16 | 17 | 0.06539 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_467_0_line_22 |  | 16 | 18 | 0.62525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_467_0_line_23 |  | 18 | 77 | 0.17441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_467_0_line_24 |  | 19 | 20 | 0.10435 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_467_0_line_25 |  | 22 | 27 | 1.34 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_467_0_line_26 |  | 22 | 28 | 0.11516 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_467_0_line_27 |  | 24 | 36 | 0.25393 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_467_0_line_28 |  | 24 | 37 | 0.031942 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_467_0_line_29 |  | 25 | 26 | 0.57399 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_467_0_line_30 |  | 26 | 29 | 0.12289 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_467_0_line_31 |  | 27 | 42 | 0.12428 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_467_0_line_32 |  | 29 | 30 | 0.30869 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_467_0_line_33 |  | 30 | 31 | 1.4454 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_467_0_line_34 |  | 30 | 32 | 0.006405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_467_0_line_35 |  | 31 | 33 | 0.010094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_467_0_line_36 |  | 31 | 34 | 1.4096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_467_0_line_37 |  | 34 | 35 | 0.17463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_467_0_line_38 |  | 36 | 38 | 0.056992 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_467_0_line_39 |  | 36 | 39 | 0.082306 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_467_0_line_40 |  | 37 | 40 | 0.05052 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_467_0_line_41 |  | 38 | 41 | 0.093935 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_467_0_line_42 |  | 41 | 75 | 0.0086393 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
43 | MV_467_0_line_43 |  | 43 | 44 | 0.07878 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_467_0_line_44 |  | 44 | 45 | 0.34536 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_467_0_line_45 |  | 45 | 46 | 0.4203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_467_0_line_46 |  | 45 | 47 | 0.04168 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_467_0_line_47 |  | 46 | 52 | 0.47836 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_467_0_line_48 |  | 46 | 53 | 0.024882 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_467_0_line_49 |  | 46 | 48 | 1.1304 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_467_0_line_50 |  | 48 | 49 | 0.27113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_467_0_line_51 |  | 48 | 50 | 0.049683 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_467_0_line_52 |  | 49 | 51 | 0.019262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_467_0_line_53 |  | 52 | 54 | 0.086282 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
54 | MV_467_0_line_54 |  | 53 | 61 | 0.0069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_467_0_line_55 |  | 54 | 70 | 0.045855 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_467_0_line_56 |  | 54 | 71 | 0.13596 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_467_0_line_57 |  | 55 | 56 | 0.10222 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_467_0_line_58 |  | 55 | 57 | 0.3741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_467_0_line_59 |  | 55 | 58 | 0.073545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_467_0_line_60 |  | 56 | 72 | 0.13498 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_467_0_line_61 |  | 57 | 59 | 0.071543 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
62 | MV_467_0_line_62 |  | 57 | 60 | 0.054314 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_467_0_line_63 |  | 59 | 75 | 0.030916 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
64 | MV_467_0_line_64 |  | 59 | 76 | 0.031893 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_467_0_line_65 |  | 59 | 73 | 0.028189 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_467_0_line_66 |  | 60 | 71 | 0.1714 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
67 | MV_467_0_line_67 |  | 61 | 62 | 0.018076 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_467_0_line_68 |  | 62 | 63 | 0.014809 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_467_0_line_69 |  | 63 | 64 | 0.018391 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_467_0_line_70 |  | 64 | 65 | 0.008978 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_467_0_line_71 |  | 65 | 66 | 0.028649 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_467_0_line_72 |  | 66 | 67 | 0.030288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_467_0_line_73 |  | 67 | 69 | 0.030397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_467_0_line_74 |  | 68 | 69 | 0.022318 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_467_0_line_75 |  | 72 | 80 | 0.009401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_467_0_line_76 |  | 73 | 74 | 0.0046822 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_467_0_line_77 |  | 76 | 81 | 0.027931 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_467_0_line_78 |  | 77 | 78 | 0.15385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_467_0_line_79 |  | 78 | 79 | 0.088411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_467_0_line_80 |  | 79 | 80 | 0.1261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_467_0_line_81 |  | 81 | 83 | 0.030094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_467_0_line_82 |  | 82 | 83 | 0.029337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_467_0_trafo_55 | 25 MVA 110/20 kV | 84 | 38 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2674958.7063 | 1255987.6864
1 | 2674942.0591 | 1256104.518
2 | 2674686.416 | 1256236.4866
3 | 2675623.6018 | 1256365.876
4 | 2675629.3601 | 1256393.3144
5 | 2675437.3204 | 1256463.1504
6 | 2675286.1741 | 1256460.2581
7 | 2675375.2638 | 1256116.3577
8 | 2675490.0436 | 1256674.9133
9 | 2675231.2247 | 1256468.5438
10 | 2675086.6684 | 1256394.4652
11 | 2675499.3241 | 1256462.9515
12 | 2675375.6341 | 1256105.6433
13 | 2675435.5949 | 1256852.8855
14 | 2674965.4622 | 1257017.7826
15 | 2675531.8881 | 1256675.1916
16 | 2674676.6244 | 1256236.641
17 | 2674680.5619 | 1256301.9127
18 | 2674724.1943 | 1255745.4545
19 | 2675438.9358 | 1257082.9665
20 | 2675536.9964 | 1257118.6321
21 | 2675395.2175 | 1256841.1403
22 | 2674970.9804 | 1257112.5675
23 | 2674898.0816 | 1257001.1842
24 | 2675377.7735 | 1256068.543
25 | 2675534.1126 | 1256675.2088
26 | 2675877.2166 | 1256672.76
27 | 2674222.0348 | 1256760.304
28 | 2675086.1162 | 1257114.917
29 | 2675987.5796 | 1256726.8043
30 | 2675810.9346 | 1256979.9626
31 | 2676901.1691 | 1256486.8294
32 | 2675804.5201 | 1256980.3141
33 | 2676910.9399 | 1256484.1877
34 | 2676770.8808 | 1255747.5426
35 | 2676650.4244 | 1255782.3459
36 | 2675366.1851 | 1255825.9708
37 | 2675365.5088 | 1256040.7774
38 | 2675395.7112 | 1255793.6671
39 | 2675284.2887 | 1255834.1702
40 | 2675356.9486 | 1255990.987
41 | 2675403.3128 | 1255700.0411
42 | 2674335.9459 | 1256710.607
43 | 2675270.2058 | 1254676.9547
44 | 2675345.1558 | 1254652.6895
45 | 2675507.3469 | 1254840.16
46 | 2675540.0091 | 1255041.9481
47 | 2675517.1955 | 1254880.66
48 | 2675833.7285 | 1254665.0441
49 | 2675968.3596 | 1254546.9816
50 | 2675785.3467 | 1254676.9337
51 | 2675965.2148 | 1254528.6611
52 | 2675599.5781 | 1255315.0438
53 | 2675564.5972 | 1255038.1366
54 | 2675609.3446 | 1255400.7711
55 | 2675321.9015 | 1255395.7438
56 | 2675223.8067 | 1255424.4994
57 | 2675414.9557 | 1255613.4672
58 | 2675319.7339 | 1255468.9866
59 | 2675396.5 | 1255669.5739
60 | 2675468.8165 | 1255607.0525
61 | 2675571.4305 | 1255037.1794
62 | 2675589.3317 | 1255034.6719
63 | 2675603.9585 | 1255032.3539
64 | 2675622.1224 | 1255029.4754
65 | 2675625.0844 | 1255037.9529
66 | 2675653.1027 | 1255031.9763
67 | 2675682.7241 | 1255025.6577
68 | 2675657.4041 | 1255060.1245
69 | 2675679.2702 | 1255055.658
70 | 2675654.9046 | 1255395.5807
71 | 2675624.7338 | 1255535.8529
72 | 2675094.2773 | 1255462.4697
73 | 2675406.4204 | 1255652.2873
74 | 2675407.0002 | 1255647.6412
75 | 2675404.0133 | 1255691.4302
76 | 2675364.7589 | 1255666.4642
77 | 2674732.3528 | 1255571.2394
78 | 2674879.1674 | 1255525.941
79 | 2674963.923 | 1255500.7802
80 | 2675085.1432 | 1255464.8001
81 | 2675336.961 | 1255663.7409
82 | 2675308.9521 | 1255631.5342
83 | 2675307.0105 | 1255660.8066
84 | 2675395.7112 | 1255793.6671

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99702 | 0.010706 | 0.21234 | 0.10284
1 | 0.99707 | 0.011011 | 0 | 0
2 | 0.99719 | 0.011761 | 0.13175 | 0.063808
3 | 0.99643 | 0.022416 | 0 | 0
4 | 0.99642 | 0.022464 | 0.14646 | 0.070932
5 | 0.99647 | 0.022037 | 0 | 0
6 | 0.99655 | 0.0214 | 0 | 0
7 | 0.99847 | 0.0097774 | 0 | 0
8 | 0.99509 | 0.029728 | 0 | 0
9 | 0.99653 | 0.021274 | 0.18631 | 0.090234
10 | 0.9965 | 0.021044 | 0.13861 | 0.067131
11 | 0.99645 | 0.021927 | 0.14571 | 0.07057
12 | 0.99851 | 0.0095456 | 0.397 | 0.19228
13 | 0.99496 | 0.030914 | 0 | 0
14 | 0.99398 | 0.036434 | 0 | 0
15 | 0.99501 | 0.028907 | 0.31902 | 0.15451
16 | 0.99719 | 0.011721 | 0 | 0
17 | 0.99718 | 0.011878 | 0.20344 | 0.098529
18 | 0.99763 | 0.0079918 | 0 | 0
19 | 0.99371 | 0.038644 | 0 | 0
20 | 0.99365 | 0.038235 | 0.32017 | 0.15506
21 | 0.99493 | 0.03073 | 0.35952 | 0.17412
22 | 0.99391 | 0.036796 | 0 | 0
23 | 0.99396 | 0.036611 | 0.21543 | 0.10434
24 | 0.99866 | 0.0085665 | 0 | 0
25 | 0.99501 | 0.028913 | 0 | 0
26 | 0.99452 | 0.030721 | 0 | 0
27 | 0.9937 | 0.037504 | 0 | 0
28 | 0.99385 | 0.03644 | 0.252 | 0.12205
29 | 0.99437 | 0.028934 | 0.17435 | 0.084441
30 | 0.99409 | 0.025105 | 0 | 0
31 | 0.9935 | 0.025775 | 0 | 0
32 | 0.99408 | 0.025119 | 0.17809 | 0.086253
33 | 0.9935 | 0.025806 | 0.25683 | 0.12439
34 | 0.99338 | 0.025124 | 0 | 0
35 | 0.99337 | 0.025254 | 0.072295 | 0.035014
36 | 0.99975 | 0.0015958 | 0 | 0
37 | 0.99865 | 0.0086108 | 0 | 0
38 | 1 | 0 | -13.6247 | -6.2496
39 | 0.99974 | 0.0016687 | 0.079194 | 0.038355
40 | 0.99865 | 0.0086841 | 0.12408 | 0.060096
41 | 0.99969 | -0.0012827 | 2.075 | 1.005
42 | 0.99367 | 0.037308 | 0.12854 | 0.062255
43 | 0.99554 | 0.006945 | 0.40832 | 0.19776
44 | 0.9956 | 0.0073375 | 0 | 0
45 | 0.99578 | 0.0057284 | 0 | 0
46 | 0.99613 | 0.0028007 | 0 | 0
47 | 0.99576 | 0.0056064 | 0.23998 | 0.11623
48 | 0.99516 | 0.010469 | 0 | 0
49 | 0.99506 | 0.011334 | 0 | 0
50 | 0.99513 | 0.010702 | 0.39246 | 0.19008
51 | 0.99505 | 0.0114 | 0.28364 | 0.13737
52 | 0.99746 | -0.0079112 | 0 | 0
53 | 0.99609 | 0.0025277 | 0.20791 | 0.1007
54 | 0.99782 | -0.0050944 | 0.36876 | 0.1786
55 | 0.99868 | 0.0021887 | 0 | 0
56 | 0.99849 | 0.0037632 | 0.08925 | 0.043226
57 | 0.99941 | -0.0038082 | 0 | 0
58 | 0.99867 | 0.0022666 | 0.093001 | 0.045042
59 | 0.99959 | -0.0017251 | 0 | 0
60 | 0.99919 | -0.0020063 | 0.39898 | 0.19324
61 | 0.99608 | 0.002581 | 0.081293 | 0.039372
62 | 0.99607 | 0.0027033 | 0 | 0
63 | 0.99606 | 0.0028039 | 0.079867 | 0.038681
64 | 0.99604 | 0.0029115 | 0 | 0
65 | 0.99604 | 0.0029643 | 0 | 0
66 | 0.99602 | 0.0031334 | 0.2911 | 0.14098
67 | 0.99601 | 0.0032072 | 0 | 0
68 | 0.996 | 0.0033391 | 0.21071 | 0.10205
69 | 0.996 | 0.0032828 | 0 | 0
70 | 0.99782 | -0.0050387 | 0.10394 | 0.050341
71 | 0.99828 | -0.0088313 | 0.090608 | 0.043884
72 | 0.99826 | 0.005723 | 0 | 0
73 | 0.99954 | -0.0012319 | 0 | 0
74 | 0.99953 | -0.0011498 | 1.4635 | 0.70882
75 | 0.99967 | -0.0013794 | 0 | 0
76 | 0.99951 | -0.0010249 | 0.38895 | 0.18838
77 | 0.99781 | 0.009409 | 0.29676 | 0.14373
78 | 0.99798 | 0.0080366 | 0.12553 | 0.060796
79 | 0.99809 | 0.0071311 | 0 | 0
80 | 0.99824 | 0.0058606 | 0.38832 | 0.18807
81 | 0.99946 | -0.00054044 | 1.3732 | 0.66509
82 | 0.99945 | -0.0004831 | 0.084337 | 0.040846
83 | 0.99946 | -0.00051208 | 0 | 0
84 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.21234 | -0.10284 | 0.21235 | 0.10271 | 9.8096e-06 | -0.00013391 | 0.0068313 | 0.0068295 | 0.0068313 | 0.99702 | 0.010706 | 0.99707 | 0.011011 | 3.253
1 | -0.21235 | -0.10271 | 0.21238 | 0.10238 | 2.3893e-05 | -0.00032652 | 0.0068295 | 0.0068252 | 0.0068295 | 0.99707 | 0.011011 | 0.99719 | 0.011761 | 3.2522
2 | -0.34412 | -0.16619 | 0.34413 | 0.16596 | 1.5949e-06 | -0.00023135 | 0.011063 | 0.01106 | 0.011063 | 0.99719 | 0.011761 | 0.99719 | 0.011721 | 5.0286
3 | 0.14646 | 0.070267 | -0.14646 | -0.070932 | 8.3037e-07 | -0.00066434 | 0.0047061 | 0.0047144 | 0.0047144 | 0.99643 | 0.022416 | 0.99642 | 0.022464 | 2.1429
4 | -0.14646 | -0.070267 | 0.14646 | 0.064415 | 7.1904e-06 | -0.0058526 | 0.0047061 | 0.0046352 | 0.0047061 | 0.99643 | 0.022416 | 0.99647 | 0.022037 | 2.1391
5 | 0.14571 | 0.070498 | -0.14571 | -0.07057 | 2.4298e-06 | -7.1976e-05 | 0.0046893 | 0.0046903 | 0.0046903 | 0.99647 | 0.022037 | 0.99645 | 0.021927 | 2.2335
6 | -0.29218 | -0.13491 | 0.2922 | 0.12977 | 2.5031e-05 | -0.0051413 | 0.009323 | 0.0092615 | 0.009323 | 0.99647 | 0.022037 | 0.99655 | 0.0214 | 4.2377
7 | -2.899 | -1.2108 | 2.9048 | 1.2 | 0.005813 | -0.010785 | 0.091007 | 0.090868 | 0.091007 | 0.99655 | 0.0214 | 0.99847 | 0.0097774 | 41.3668
8 | 2.2819 | 0.92393 | -2.2784 | -0.93501 | 0.0034815 | -0.011086 | 0.071313 | 0.071446 | 0.071446 | 0.99655 | 0.0214 | 0.99509 | 0.029728 | 32.4755
9 | 0.18631 | 0.09017 | -0.18631 | -0.090234 | 3.5599e-06 | -6.3653e-05 | 0.0059958 | 0.0059967 | 0.0059967 | 0.99655 | 0.0214 | 0.99653 | 0.021274 | 2.8556
10 | 0.13862 | 0.066887 | -0.13861 | -0.067131 | 7.445e-06 | -0.00024438 | 0.0044584 | 0.0044615 | 0.0044615 | 0.99655 | 0.0214 | 0.9965 | 0.021044 | 2.1245
11 | -2.9048 | -1.2 | 2.905 | 1.1998 | 0.00011819 | -0.00022017 | 0.090868 | 0.090865 | 0.090868 | 0.99847 | 0.0097774 | 0.99851 | 0.0095456 | 41.3037
12 | 0.35958 | 0.16729 | -0.35953 | -0.17408 | 5.1229e-05 | -0.0067881 | 0.011505 | 0.01159 | 0.01159 | 0.99509 | 0.029728 | 0.99496 | 0.030914 | 5.2681
13 | 0.9174 | 0.36874 | -0.91633 | -0.39118 | 0.0010675 | -0.022438 | 0.028683 | 0.028936 | 0.028936 | 0.99509 | 0.029728 | 0.99398 | 0.036434 | 13.1527
14 | 1.0014 | 0.39898 | -1.0014 | -0.39899 | 7.2915e-05 | -3.7904e-06 | 0.031273 | 0.031273 | 0.031273 | 0.99509 | 0.029728 | 0.99501 | 0.028907 | 14.892
15 | -3.302 | -1.392 | 3.3025 | 1.3913 | 0.00053245 | -0.0007269 | 0.1036 | 0.10359 | 0.1036 | 0.99851 | 0.0095456 | 0.99866 | 0.0085665 | 47.0903
16 | 0.35953 | 0.17408 | -0.35952 | -0.17412 | 1.0064e-05 | -4.339e-05 | 0.01159 | 0.01159 | 0.01159 | 0.99496 | 0.030914 | 0.99493 | 0.03073 | 5.5192
17 | 0.38062 | 0.14895 | -0.38059 | -0.15244 | 2.8012e-05 | -0.0034932 | 0.01187 | 0.011908 | 0.011908 | 0.99398 | 0.036434 | 0.99391 | 0.036796 | 5.4126
18 | 0.21543 | 0.1027 | -0.21543 | -0.10434 | 4.4642e-06 | -0.0016358 | 0.0069312 | 0.0069518 | 0.0069518 | 0.99398 | 0.036434 | 0.99396 | 0.036611 | 3.1599
19 | 0.32028 | 0.13952 | -0.32019 | -0.15495 | 9.1707e-05 | -0.01543 | 0.010146 | 0.010334 | 0.010334 | 0.99398 | 0.036434 | 0.99371 | 0.038644 | 4.697
20 | 0.68235 | 0.24448 | -0.68235 | -0.24453 | 1.3094e-06 | -5.2042e-05 | 0.021029 | 0.021029 | 0.021029 | 0.99501 | 0.028907 | 0.99501 | 0.028913 | 9.5587
21 | 0.20344 | 0.096978 | -0.20344 | -0.098529 | 3.7269e-06 | -0.0015514 | 0.0065242 | 0.0065437 | 0.0065437 | 0.99719 | 0.011721 | 0.99718 | 0.011878 | 2.9744
22 | -0.54757 | -0.26294 | 0.54782 | 0.24816 | 0.0002554 | -0.014776 | 0.017584 | 0.017402 | 0.017584 | 0.99719 | 0.011721 | 0.99763 | 0.0079918 | 7.9928
23 | -0.54782 | -0.24816 | 0.54792 | 0.24801 | 9.4093e-05 | -0.00014832 | 0.017402 | 0.0174 | 0.017402 | 0.99763 | 0.0079918 | 0.99781 | 0.009409 | 8.2869
24 | 0.32019 | 0.15495 | -0.32017 | -0.15506 | 1.9855e-05 | -0.00011056 | 0.010334 | 0.010335 | 0.010335 | 0.99371 | 0.038644 | 0.99365 | 0.038235 | 4.9215
25 | 0.12857 | 0.03052 | -0.12854 | -0.062111 | 2.8185e-05 | -0.031591 | 0.0038381 | 0.0041474 | 0.0041474 | 0.99391 | 0.036796 | 0.9937 | 0.037504 | 1.8852
26 | 0.25202 | 0.12192 | -0.252 | -0.12205 | 1.3569e-05 | -0.0001273 | 0.0081313 | 0.008133 | 0.008133 | 0.99391 | 0.036796 | 0.99385 | 0.03644 | 3.8729
27 | -3.4266 | -1.4494 | 3.4305 | 1.4445 | 0.0039184 | -0.0048908 | 0.10755 | 0.10748 | 0.10755 | 0.99866 | 0.0085665 | 0.99975 | 0.0015958 | 48.8848
28 | 0.12408 | 0.058133 | -0.12408 | -0.058893 | 6.7059e-07 | -0.0007604 | 0.0039609 | 0.0039703 | 0.0039703 | 0.99866 | 0.0085665 | 0.99865 | 0.0086108 | 1.8047
29 | 0.68235 | 0.24453 | -0.682 | -0.25799 | 0.00034104 | -0.01346 | 0.021029 | 0.021165 | 0.021165 | 0.99501 | 0.028913 | 0.99452 | 0.030721 | 9.6205
30 | 0.682 | 0.25799 | -0.68191 | -0.25807 | 9.8087e-05 | -8.3638e-05 | 0.021165 | 0.021167 | 0.021167 | 0.99452 | 0.030721 | 0.99437 | 0.028934 | 10.0794
31 | 0.12854 | 0.062111 | -0.12854 | -0.062255 | 3.8105e-06 | -0.00014411 | 0.0041474 | 0.0041492 | 0.0041492 | 0.9937 | 0.037504 | 0.99367 | 0.037308 | 1.9758
32 | 0.50756 | 0.17363 | -0.50742 | -0.17391 | 0.00013342 | -0.00028071 | 0.015573 | 0.015577 | 0.015577 | 0.99437 | 0.028934 | 0.99409 | 0.025105 | 7.4174
33 | 0.32933 | 0.087812 | -0.32914 | -0.12184 | 0.00019438 | -0.034026 | 0.0098977 | 0.010198 | 0.010198 | 0.99409 | 0.025105 | 0.9935 | 0.025775 | 4.6353
34 | 0.17809 | 0.086102 | -0.17809 | -0.086253 | 2.8224e-07 | -0.00015104 | 0.0057443 | 0.0057462 | 0.0057462 | 0.99409 | 0.025105 | 0.99408 | 0.025119 | 2.6119
35 | 0.25683 | 0.12415 | -0.25683 | -0.12439 | 9.2616e-07 | -0.00023761 | 0.0082888 | 0.0082918 | 0.0082918 | 0.9935 | 0.025775 | 0.9935 | 0.025806 | 3.769
36 | 0.072305 | -0.0023134 | -0.072296 | -0.0309 | 8.6309e-06 | -0.033214 | 0.002102 | 0.0022848 | 0.0022848 | 0.9935 | 0.025775 | 0.99338 | 0.025124 | 1.0385
37 | 0.072296 | 0.0309 | -0.072295 | -0.035014 | 1.2428e-06 | -0.004114 | 0.0022848 | 0.0023344 | 0.0023344 | 0.99338 | 0.025124 | 0.99337 | 0.025254 | 1.0611
38 | -3.5097 | -1.4809 | 3.5106 | 1.4798 | 0.00092039 | -0.0010874 | 0.10999 | 0.10998 | 0.10999 | 0.99975 | 0.0015958 | 1 | 0 | 49.9973
39 | 0.079195 | 0.036391 | -0.079194 | -0.038355 | 7.0253e-07 | -0.0019639 | 0.0025166 | 0.0025408 | 0.0025408 | 0.99975 | 0.0015958 | 0.99974 | 0.0016687 | 1.1549
40 | 0.12408 | 0.058893 | -0.12408 | -0.060096 | 1.0672e-06 | -0.0012026 | 0.0039703 | 0.0039853 | 0.0039853 | 0.99865 | 0.0086108 | 0.99865 | 0.0086841 | 1.8115
41 | 10.1001 | 4.7592 | -10.0971 | -4.7634 | 0.003016 | -0.0042019 | 0.32231 | 0.32238 | 0.32238 | 1 | 0 | 0.99969 | -0.0012827 | 50.5305
42 | 8.022 | 3.7585 | -8.0218 | -3.7589 | 0.0001747 | -0.0004441 | 0.25581 | 0.25582 | 0.25582 | 0.99969 | -0.0012827 | 0.99967 | -0.0013794 | 40.0968
43 | -0.40832 | -0.19776 | 0.40834 | 0.19768 | 2.429e-05 | -7.8002e-05 | 0.013155 | 0.013154 | 0.013155 | 0.99554 | 0.006945 | 0.9956 | 0.0073375 | 6.2645
44 | -0.40834 | -0.19768 | 0.40842 | 0.18953 | 7.9159e-05 | -0.0081515 | 0.013154 | 0.013053 | 0.013154 | 0.9956 | 0.0073375 | 0.99578 | 0.0057284 | 5.9792
45 | -0.6484 | -0.30571 | 0.64864 | 0.29582 | 0.0002409 | -0.0098827 | 0.020782 | 0.02066 | 0.020782 | 0.99578 | 0.0057284 | 0.99613 | 0.0028007 | 9.4461
46 | 0.23998 | 0.11618 | -0.23998 | -0.11623 | 4.437e-06 | -4.6559e-05 | 0.0077294 | 0.00773 | 0.00773 | 0.99578 | 0.0057284 | 0.99576 | 0.0056064 | 3.681
47 | -2.1964 | -1.0063 | 2.1996 | 0.99583 | 0.0031244 | -0.010421 | 0.070014 | 0.069878 | 0.070014 | 0.99613 | 0.0028007 | 0.99746 | -0.0079112 | 31.8247
48 | 0.87096 | 0.41756 | -0.87093 | -0.41756 | 3.4734e-05 | -7.7167e-06 | 0.027991 | 0.027991 | 0.027991 | 0.99613 | 0.0028007 | 0.99609 | 0.0025277 | 13.3292
49 | 0.67684 | 0.29287 | -0.67614 | -0.31942 | 0.0006995 | -0.026548 | 0.021372 | 0.021692 | 0.021692 | 0.99613 | 0.0028007 | 0.99516 | 0.010469 | 9.86
50 | 0.28367 | 0.13052 | -0.28364 | -0.13692 | 2.9955e-05 | -0.0064015 | 0.0090578 | 0.0091371 | 0.0091371 | 0.99516 | 0.010469 | 0.99506 | 0.011334 | 4.1532
51 | 0.39247 | 0.18891 | -0.39246 | -0.19008 | 1.0601e-05 | -0.0011716 | 0.012635 | 0.01265 | 0.01265 | 0.99516 | 0.010469 | 0.99513 | 0.010702 | 5.7499
52 | 0.28364 | 0.13692 | -0.28364 | -0.13737 | 2.1482e-06 | -0.00045473 | 0.0091371 | 0.0091429 | 0.0091429 | 0.99506 | 0.011334 | 0.99505 | 0.0114 | 4.1559
53 | -2.1996 | -0.99583 | 2.2003 | 0.9962 | 0.00075063 | 0.00036765 | 0.069878 | 0.069877 | 0.069878 | 0.99746 | -0.0079112 | 0.99782 | -0.0050944 | 33.2753
54 | 0.66301 | 0.31687 | -0.66301 | -0.31703 | 4.1782e-06 | -0.00016222 | 0.021296 | 0.021298 | 0.021298 | 0.99609 | 0.0025277 | 0.99608 | 0.002581 | 9.6811
55 | 0.10394 | 0.049252 | -0.10394 | -0.050341 | 6.8061e-07 | -0.0010899 | 0.0033276 | 0.0033412 | 0.0033412 | 0.99782 | -0.0050944 | 0.99782 | -0.0050387 | 1.5187
56 | -2.673 | -1.2241 | 2.6743 | 1.2212 | 0.0013124 | -0.0028442 | 0.085054 | 0.085016 | 0.085054 | 0.99782 | -0.0050944 | 0.99828 | -0.0088313 | 38.6611
57 | 1.4488 | 0.66952 | -1.4486 | -0.67187 | 0.00029065 | -0.0023475 | 0.046135 | 0.046165 | 0.046165 | 0.99868 | 0.0021887 | 0.99849 | 0.0037632 | 20.9841
58 | -1.5418 | -0.71281 | 1.543 | 0.70425 | 0.0012014 | -0.0085586 | 0.049101 | 0.048993 | 0.049101 | 0.99868 | 0.0021887 | 0.99941 | -0.0038082 | 22.3185
59 | 0.093002 | 0.043291 | -0.093001 | -0.045042 | 8.6958e-07 | -0.0017511 | 0.0029653 | 0.002987 | 0.002987 | 0.99868 | 0.0021887 | 0.99867 | 0.0022666 | 1.3577
60 | 1.3593 | 0.62864 | -1.359 | -0.63176 | 0.00033813 | -0.003112 | 0.043298 | 0.043337 | 0.043337 | 0.99849 | 0.0037632 | 0.99826 | 0.005723 | 19.6988
61 | -4.7101 | -2.1628 | 4.7108 | 2.1609 | 0.00077429 | -0.0018892 | 0.14971 | 0.14968 | 0.14971 | 0.99941 | -0.0038082 | 0.99959 | -0.0017251 | 41.3552
62 | 3.167 | 1.4585 | -3.1663 | -1.4596 | 0.00073559 | -0.0010768 | 0.10071 | 0.10073 | 0.10073 | 0.99941 | -0.0038082 | 0.99919 | -0.0020063 | 45.7858
63 | -8.0212 | -3.7605 | 8.0218 | 3.7589 | 0.00062524 | -0.001589 | 0.25584 | 0.25582 | 0.25584 | 0.99959 | -0.0017251 | 0.99967 | -0.0013794 | 40.1006
64 | 1.8468 | 0.89153 | -1.8466 | -0.89225 | 0.00014936 | -0.0007165 | 0.059223 | 0.059232 | 0.059232 | 0.99959 | -0.0017251 | 0.99951 | -0.0010249 | 26.9237
65 | 1.4636 | 0.70806 | -1.4635 | -0.70871 | 8.2985e-05 | -0.00064784 | 0.046955 | 0.046963 | 0.046963 | 0.99959 | -0.0017251 | 0.99954 | -0.0012319 | 21.347
66 | 2.7673 | 1.2664 | -2.7649 | -1.2651 | 0.0023609 | 0.0012747 | 0.087924 | 0.087926 | 0.087926 | 0.99919 | -0.0020063 | 0.99828 | -0.0088313 | 41.8696
67 | 0.58172 | 0.27766 | -0.58171 | -0.27808 | 8.4236e-06 | -0.0004257 | 0.018681 | 0.018686 | 0.018686 | 0.99608 | 0.002581 | 0.99607 | 0.0027033 | 8.4937
68 | 0.58171 | 0.27808 | -0.5817 | -0.27843 | 6.9049e-06 | -0.00034876 | 0.018686 | 0.01869 | 0.01869 | 0.99607 | 0.0027033 | 0.99606 | 0.0028039 | 8.4957
69 | 0.50183 | 0.23975 | -0.50183 | -0.24019 | 6.3809e-06 | -0.00043374 | 0.016119 | 0.016124 | 0.016124 | 0.99606 | 0.0028039 | 0.99604 | 0.0029115 | 7.3291
70 | 0.50183 | 0.24019 | -0.50182 | -0.2404 | 3.1166e-06 | -0.00021174 | 0.016124 | 0.016127 | 0.016127 | 0.99604 | 0.0029115 | 0.99604 | 0.0029643 | 7.3303
71 | 0.50182 | 0.2404 | -0.50181 | -0.24107 | 9.9519e-06 | -0.00067564 | 0.016127 | 0.016135 | 0.016135 | 0.99604 | 0.0029643 | 0.99602 | 0.0031334 | 7.3342
72 | 0.21072 | 0.10009 | -0.21072 | -0.10081 | 1.8508e-06 | -0.00071685 | 0.0067611 | 0.0067701 | 0.0067701 | 0.99602 | 0.0031334 | 0.99601 | 0.0032072 | 3.0773
73 | 0.21072 | 0.10081 | -0.21071 | -0.10152 | 1.8624e-06 | -0.00071943 | 0.0067701 | 0.0067791 | 0.0067791 | 0.99601 | 0.0032072 | 0.996 | 0.0032828 | 3.0814
74 | -0.21071 | -0.10205 | 0.21071 | 0.10152 | 1.3706e-06 | -0.0005282 | 0.0067858 | 0.0067791 | 0.0067858 | 0.996 | 0.0033391 | 0.996 | 0.0032828 | 3.0844
75 | 1.359 | 0.63176 | -1.3589 | -0.63197 | 2.3573e-05 | -0.00021668 | 0.043337 | 0.04334 | 0.04334 | 0.99826 | 0.005723 | 0.99824 | 0.0058606 | 19.7001
76 | 1.4635 | 0.70871 | -1.4635 | -0.70882 | 1.3787e-05 | -0.0001076 | 0.046963 | 0.046965 | 0.046965 | 0.99954 | -0.0012319 | 0.99953 | -0.0011498 | 21.3477
77 | 1.4577 | 0.70388 | -1.4576 | -0.70452 | 8.1512e-05 | -0.00064202 | 0.046751 | 0.046759 | 0.046759 | 0.99951 | -0.0010249 | 0.99946 | -0.00054044 | 21.2541
78 | -0.84467 | -0.39174 | 0.84482 | 0.38812 | 0.00014879 | -0.0036138 | 0.026937 | 0.026893 | 0.026937 | 0.99781 | 0.009409 | 0.99798 | 0.0080366 | 12.2442
79 | -0.97035 | -0.44892 | 0.97046 | 0.44685 | 0.0001128 | -0.0020692 | 0.030927 | 0.030901 | 0.030927 | 0.99798 | 0.0080366 | 0.99809 | 0.0071311 | 14.0576
80 | -0.97046 | -0.44685 | 0.97062 | 0.4439 | 0.00016057 | -0.0029522 | 0.030901 | 0.030865 | 0.030901 | 0.99809 | 0.0071311 | 0.99824 | 0.0058606 | 14.046
81 | 0.084337 | 0.039429 | -0.084337 | -0.040147 | 2.9145e-07 | -0.00071766 | 0.002689 | 0.0026978 | 0.0026978 | 0.99946 | -0.00054044 | 0.99946 | -0.00051208 | 1.2263
82 | -0.084337 | -0.040846 | 0.084337 | 0.040147 | 2.8597e-07 | -0.0006996 | 0.0027066 | 0.0026978 | 0.0027066 | 0.99945 | -0.0004831 | 0.99946 | -0.00051208 | 1.2303

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.6247 | 6.2496

## res_load
| p_mw | q_mvar
0 | 0.21234 | 0.10284
1 | 0.13175 | 0.063808
2 | 0.14646 | 0.070932
3 | 0.18631 | 0.090234
4 | 0.13861 | 0.067131
5 | 0.14571 | 0.07057
6 | 0.397 | 0.19228
7 | 0.31902 | 0.15451
8 | 0.20344 | 0.098529
9 | 0.32017 | 0.15506
10 | 0.35952 | 0.17412
11 | 0.21543 | 0.10434
12 | 0.252 | 0.12205
13 | 0.17435 | 0.084441
14 | 0.17809 | 0.086253
15 | 0.25683 | 0.12439
16 | 0.072295 | 0.035014
17 | 0.079194 | 0.038355
18 | 0.12408 | 0.060096
19 | 2.075 | 1.005
20 | 0.12854 | 0.062255
21 | 0.40832 | 0.19776
22 | 0.23998 | 0.11623
23 | 0.39246 | 0.19008
24 | 0.28364 | 0.13737
25 | 0.20791 | 0.1007
26 | 0.36876 | 0.1786
27 | 0.08925 | 0.043226
28 | 0.093001 | 0.045042
29 | 0.39898 | 0.19324
30 | 0.081293 | 0.039372
31 | 0.079867 | 0.038681
32 | 0.2911 | 0.14098
33 | 0.21071 | 0.10205
34 | 0.10394 | 0.050341
35 | 0.090608 | 0.043884
36 | 1.4635 | 0.70882
37 | 0.38895 | 0.18838
38 | 0.29676 | 0.14373
39 | 0.12553 | 0.060796
40 | 0.38832 | 0.18807
41 | 1.3732 | 0.66509
42 | 0.084337 | 0.040846

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1