## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_46_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_46_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_46_0_node_5 | 20 | n |  | TRUE
3 | bus_MV_46_0_node_4 | 20 | n |  | TRUE
4 | bus_MV_46_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_46_0_node_15 | 20 | n |  | TRUE
6 | bus_MV_46_0_node_171 | 20 | n |  | TRUE
7 | bus_MV_46_0_node_6 | 20 | n |  | TRUE
8 | bus_MV_46_0_node_7 | 20 | n |  | TRUE
9 | bus_MV_46_0_node_8 | 20 | n |  | TRUE
10 | bus_MV_46_0_node_11 | 20 | n |  | TRUE
11 | bus_MV_46_0_node_17 | 20 | n |  | TRUE
12 | bus_MV_46_0_node_10 | 20 | n |  | TRUE
13 | bus_MV_46_0_node_12 | 20 | n |  | TRUE
14 | bus_MV_46_0_node_14 | 20 | n |  | TRUE
15 | bus_MV_46_0_node_106 | 20 | n |  | TRUE
16 | bus_MV_46_0_node_101 | 20 | n |  | TRUE
17 | bus_MV_46_0_node_13 | 20 | n |  | TRUE
18 | bus_MV_46_0_node_100 | 20 | n |  | TRUE
19 | bus_MV_46_0_node_16 | 20 | n |  | TRUE
20 | bus_MV_46_0_node_102 | 20 | n |  | TRUE
21 | bus_MV_46_0_node_103 | 20 | n |  | TRUE
22 | bus_MV_46_0_node_104 | 20 | n |  | TRUE
23 | bus_MV_46_0_node_105 | 20 | n |  | TRUE
24 | bus_MV_46_0_node_108 | 20 | n |  | TRUE
25 | bus_MV_46_0_node_107 | 20 | n |  | TRUE
26 | bus_MV_46_0_node_109 | 20 | n |  | TRUE
27 | bus_MV_46_0_node_184 | 20 | n |  | TRUE
28 | bus_MV_46_0_node_181 | 20 | n |  | TRUE
29 | bus_MV_46_0_node_78 | 20 | n |  | TRUE
30 | bus_MV_46_0_node_170 | 20 | n |  | TRUE
31 | bus_MV_46_0_node_80 | 20 | n |  | TRUE
32 | bus_MV_46_0_node_81 | 20 | n |  | TRUE
33 | bus_MV_46_0_node_82 | 20 | n |  | TRUE
34 | bus_MV_46_0_node_156 | 20 | n |  | TRUE
35 | bus_MV_46_0_node_147 | 20 | n |  | TRUE
36 | bus_MV_46_0_node_85 | 20 | n |  | TRUE
37 | bus_MV_46_0_node_86 | 20 | n |  | TRUE
38 | bus_MV_46_0_node_89 | 20 | n |  | TRUE
39 | bus_MV_46_0_node_84 | 20 | n |  | TRUE
40 | bus_MV_46_0_node_66 | 20 | n |  | TRUE
41 | bus_MV_46_0_node_67 | 20 | n |  | TRUE
42 | bus_MV_46_0_node_68 | 20 | n |  | TRUE
43 | bus_MV_46_0_node_70 | 20 | n |  | TRUE
44 | bus_MV_46_0_node_71 | 20 | n |  | TRUE
45 | bus_MV_46_0_node_75 | 20 | n |  | TRUE
46 | bus_MV_46_0_node_91 | 20 | n |  | TRUE
47 | bus_MV_46_0_node_69 | 20 | n |  | TRUE
48 | bus_MV_46_0_node_79 | 20 | n |  | TRUE
49 | bus_MV_46_0_node_77 | 20 | n |  | TRUE
50 | bus_MV_46_0_node_76 | 20 | n |  | TRUE
51 | bus_MV_46_0_node_187 | 20 | n |  | TRUE
52 | bus_MV_46_0_node_72 | 20 | n |  | TRUE
53 | bus_MV_46_0_node_74 | 20 | n |  | TRUE
54 | bus_MV_46_0_node_167 | 20 | n |  | TRUE
55 | bus_MV_46_0_node_73 | 20 | n |  | TRUE
56 | bus_MV_46_0_node_92 | 20 | n |  | TRUE
57 | bus_MV_46_0_node_96 | 20 | n |  | TRUE
58 | bus_MV_46_0_node_94 | 20 | n |  | TRUE
59 | bus_MV_46_0_node_148 | 20 | n |  | TRUE
60 | bus_MV_46_0_node_90 | 20 | n |  | TRUE
61 | bus_MV_46_0_node_83 | 20 | n |  | TRUE
62 | bus_MV_46_0_node_95 | 20 | n |  | TRUE
63 | bus_MV_46_0_node_174 | 20 | n |  | TRUE
64 | bus_MV_46_0_node_172 | 20 | n |  | TRUE
65 | bus_MV_46_0_node_93 | 20 | n |  | TRUE
66 | bus_MV_46_0_node_154 | 20 | n |  | TRUE
67 | bus_MV_46_0_node_87 | 20 | n |  | TRUE
68 | bus_MV_46_0_node_88 | 20 | n |  | TRUE
69 | bus_MV_46_0_node_149 | 20 | n |  | TRUE
70 | bus_MV_46_0_node_153 | 20 | n |  | TRUE
71 | bus_MV_46_0_node_165 | 20 | n |  | TRUE
72 | bus_MV_46_0_node_155 | 20 | n |  | TRUE
73 | bus_MV_46_0_node_146 | 20 | n |  | TRUE
74 | bus_MV_46_0_node_145 | 20 | n |  | TRUE
75 | bus_MV_46_0_node_150 | 20 | n |  | TRUE
76 | bus_MV_46_0_node_173 | 20 | n |  | TRUE
77 | bus_MV_46_0_node_164 | 20 | n |  | TRUE
78 | bus_MV_46_0_node_99 | 20 | n |  | TRUE
79 | bus_MV_46_0_node_97 | 20 | n |  | TRUE
80 | bus_MV_46_0_node_98 | 20 | n |  | TRUE
81 | bus_MV_46_0_node_151 | 20 | n |  | TRUE
82 | bus_MV_46_0_node_152 | 20 | n |  | TRUE
83 | bus_MV_46_0_node_175 | 20 | n |  | TRUE
84 | bus_MV_46_0_node_176 | 20 | n |  | TRUE
85 | bus_MV_46_0_node_177 | 20 | n |  | TRUE
86 | bus_MV_46_0_node_157 | 20 | n |  | TRUE
87 | bus_MV_46_0_node_158 | 20 | n |  | TRUE
88 | bus_MV_46_0_node_159 | 20 | n |  | TRUE
89 | bus_MV_46_0_node_160 | 20 | n |  | TRUE
90 | bus_MV_46_0_node_161 | 20 | n |  | TRUE
91 | bus_MV_46_0_node_162 | 20 | n |  | TRUE
92 | bus_MV_46_0_node_163 | 20 | n |  | TRUE
93 | bus_MV_46_0_node_166 | 20 | n |  | TRUE
94 | bus_MV_46_0_node_168 | 20 | n |  | TRUE
95 | bus_MV_46_0_node_169 | 20 | n |  | TRUE
96 | bus_MV_46_0_node_185 | 20 | n |  | TRUE
97 | bus_HV_46_0_node_171 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_46_0_load_0 | 0 | 0.21984 | 0.10647 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_46_0_load_5 | 2 | 0.2523 | 0.12219 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_46_0_load_15 | 5 | 0.32722 | 0.15848 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_46_0_load_171 | 6 | 0.27025 | 0.13089 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_46_0_load_6 | 7 | 0.22528 | 0.10911 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_46_0_load_17 | 11 | 0.28098 | 0.13608 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_46_0_load_106 | 15 | 0.3476 | 0.16835 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_46_0_load_101 | 16 | 0.25308 | 0.12257 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_46_0_load_100 | 18 | 0.098944 | 0.047921 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_46_0_load_16 | 19 | 0.13669 | 0.0662 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_46_0_load_102 | 20 | 0.33485 | 0.16218 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_46_0_load_103 | 21 | 0.33843 | 0.16391 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_46_0_load_104 | 22 | 0.18018 | 0.087265 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_46_0_load_107 | 25 | 0.19466 | 0.094278 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_46_0_load_184 | 27 | 0.17513 | 0.084821 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_46_0_load_181 | 28 | 0.19376 | 0.093844 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_46_0_load_80 | 31 | 0.16343 | 0.079154 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_46_0_load_156 | 34 | 0.27594 | 0.13364 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_46_0_load_84 | 39 | 0.38626 | 0.18707 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_46_0_load_66 | 40 | 0.37179 | 0.18006 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_46_0_load_91 | 46 | 0.18761 | 0.090862 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_46_0_load_77 | 49 | 0.25651 | 0.12424 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_46_0_load_76 | 50 | 0.36426 | 0.17642 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_46_0_load_187 | 51 | 0.17088 | 0.082763 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_46_0_load_167 | 54 | 0.14913 | 0.072229 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_46_0_load_92 | 56 | 0.21281 | 0.10307 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_46_0_load_148 | 59 | 0.11125 | 0.053881 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_46_0_load_90 | 60 | 0.16501 | 0.079919 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_46_0_load_83 | 61 | 0.37077 | 0.17957 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_46_0_load_174 | 63 | 0.30077 | 0.14567 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_46_0_load_172 | 64 | 0.28005 | 0.13564 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_46_0_load_93 | 65 | 0.33418 | 0.16185 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_46_0_load_154 | 66 | 0.22393 | 0.10845 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_46_0_load_149 | 69 | 0.069291 | 0.033559 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_46_0_load_153 | 70 | 0.092736 | 0.044914 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_46_0_load_155 | 72 | 0.11262 | 0.054546 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_46_0_load_145 | 74 | 0.29966 | 0.14513 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_46_0_load_173 | 76 | 0.26049 | 0.12616 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_46_0_load_97 | 79 | 0.29724 | 0.14396 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_46_0_load_152 | 82 | 0.12304 | 0.059591 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_46_0_load_176 | 84 | 0.073963 | 0.035822 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_46_0_load_157 | 86 | 0.20073 | 0.097219 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_46_0_load_158 | 87 | 0.21625 | 0.10474 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_46_0_load_160 | 89 | 0.21608 | 0.10465 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_46_0_load_161 | 90 | 0.26158 | 0.12669 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_46_0_load_162 | 91 | 0.22025 | 0.10667 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_46_0_load_163 | 92 | 0.50976 | 0.24689 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_46_0_load_166 | 93 | 0.12516 | 0.060618 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_46_0_load_168 | 94 | 0.082447 | 0.039931 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_46_0_load_185 | 96 | 0.63682 | 0.30842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_46_0_line_0 |  | 0 | 1 | 0.16178 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_46_0_line_1 |  | 0 | 2 | 0.73728 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_46_0_line_2 |  | 1 | 3 | 1.2607 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
3 | MV_46_0_line_3 |  | 2 | 4 | 0.054618 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_46_0_line_4 |  | 3 | 6 | 0.05352 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
5 | MV_46_0_line_5 |  | 4 | 5 | 0.99524 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_46_0_line_6 |  | 5 | 12 | 0.020353 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_46_0_line_7 |  | 6 | 29 | 0.060197 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
8 | MV_46_0_line_8 |  | 6 | 30 | 0.1227 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_46_0_line_9 |  | 7 | 8 | 0.060659 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_46_0_line_10 |  | 8 | 9 | 0.38911 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_46_0_line_11 |  | 8 | 10 | 0.2939 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_46_0_line_12 |  | 9 | 11 | 0.10504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_46_0_line_13 |  | 10 | 13 | 0.2604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_46_0_line_14 |  | 10 | 15 | 0.028523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_46_0_line_15 |  | 12 | 13 | 0.71355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_46_0_line_16 |  | 12 | 14 | 1.0838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_46_0_line_17 |  | 13 | 16 | 0.030417 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_46_0_line_18 |  | 13 | 17 | 0.058615 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_46_0_line_19 |  | 14 | 19 | 0.24315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_46_0_line_20 |  | 15 | 20 | 0.044915 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
21 | MV_46_0_line_21 |  | 17 | 18 | 0.020114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_46_0_line_22 |  | 20 | 21 | 0.012048 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_46_0_line_23 |  | 20 | 22 | 0.033168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_46_0_line_24 |  | 21 | 23 | 0.037108 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_46_0_line_25 |  | 23 | 24 | 0.070918 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_46_0_line_26 |  | 24 | 26 | 0.57523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_46_0_line_27 |  | 24 | 25 | 0.033287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_46_0_line_28 |  | 26 | 27 | 0.11665 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_46_0_line_29 |  | 27 | 28 | 0.82591 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_46_0_line_30 |  | 28 | 33 | 0.091083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_46_0_line_31 |  | 29 | 47 | 0.50747 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
32 | MV_46_0_line_32 |  | 30 | 95 | 0.10337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_46_0_line_33 |  | 31 | 32 | 0.071096 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_46_0_line_34 |  | 32 | 33 | 0.77869 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_46_0_line_35 |  | 34 | 35 | 0.15139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_46_0_line_36 |  | 35 | 72 | 0.058961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_46_0_line_37 |  | 35 | 73 | 0.57376 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_46_0_line_38 |  | 35 | 68 | 0.80185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_46_0_line_39 |  | 36 | 37 | 0.21345 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_46_0_line_40 |  | 36 | 38 | 0.5062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_46_0_line_41 |  | 36 | 39 | 0.061285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_46_0_line_42 |  | 37 | 66 | 0.033124 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_46_0_line_43 |  | 38 | 64 | 0.006299 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
44 | MV_46_0_line_44 |  | 38 | 71 | 0.14714 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_46_0_line_45 |  | 38 | 67 | 0.41168 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_46_0_line_46 |  | 40 | 41 | 0.040007 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_46_0_line_47 |  | 41 | 42 | 0.25405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_46_0_line_48 |  | 41 | 43 | 0.36963 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_46_0_line_49 |  | 41 | 44 | 0.239 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_46_0_line_50 |  | 41 | 45 | 0.40576 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
51 | MV_46_0_line_51 |  | 42 | 46 | 0.005592 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_46_0_line_52 |  | 43 | 50 | 0.013826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_46_0_line_53 |  | 43 | 47 | 0.24119 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_46_0_line_54 |  | 44 | 51 | 0.1281 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_46_0_line_55 |  | 45 | 60 | 0.006908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_46_0_line_56 |  | 45 | 55 | 0.38193 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_46_0_line_57 |  | 47 | 48 | 0.80065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_46_0_line_58 |  | 47 | 49 | 0.024363 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_46_0_line_59 |  | 48 | 61 | 0.035841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_46_0_line_60 |  | 52 | 53 | 0.041985 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_46_0_line_61 |  | 52 | 54 | 0.0023677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_46_0_line_62 |  | 53 | 57 | 0.49722 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
63 | MV_46_0_line_63 |  | 53 | 58 | 0.23733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_46_0_line_64 |  | 53 | 59 | 0.019845 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_46_0_line_65 |  | 53 | 55 | 0.34146 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
66 | MV_46_0_line_66 |  | 55 | 56 | 0.061894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_46_0_line_67 |  | 57 | 64 | 0.051007 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
68 | MV_46_0_line_68 |  | 57 | 62 | 0.26663 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_46_0_line_69 |  | 58 | 65 | 0.052882 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_46_0_line_70 |  | 62 | 63 | 0.055395 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_46_0_line_71 |  | 63 | 78 | 0.084569 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_46_0_line_72 |  | 67 | 68 | 0.2746 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_46_0_line_73 |  | 67 | 69 | 0.054468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_46_0_line_74 |  | 68 | 70 | 0.028185 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_46_0_line_75 |  | 69 | 75 | 0.02009 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_46_0_line_76 |  | 71 | 76 | 0.034365 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_46_0_line_77 |  | 71 | 77 | 0.048277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_46_0_line_78 |  | 73 | 74 | 0.092886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_46_0_line_79 |  | 75 | 81 | 0.005903 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_46_0_line_80 |  | 77 | 93 | 0.02488 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
81 | MV_46_0_line_81 |  | 77 | 88 | 0.033512 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_46_0_line_82 |  | 78 | 80 | 0.34023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_46_0_line_83 |  | 79 | 80 | 0.024163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_46_0_line_84 |  | 81 | 82 | 0.02228 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_46_0_line_85 |  | 82 | 83 | 0.094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_46_0_line_86 |  | 83 | 84 | 0.48733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_46_0_line_87 |  | 83 | 85 | 0.067808 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_46_0_line_88 |  | 85 | 96 | 0.01375 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_46_0_line_89 |  | 86 | 87 | 0.0033699 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_46_0_line_90 |  | 86 | 88 | 0.050952 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_46_0_line_91 |  | 87 | 89 | 0.022745 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_46_0_line_92 |  | 87 | 90 | 0.038731 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_46_0_line_93 |  | 87 | 91 | 0.044369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
94 | MV_46_0_line_94 |  | 88 | 92 | 0.028473 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_46_0_line_95 |  | 94 | 95 | 0.090281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_46_0_trafo_171 | 25 MVA 110/20 kV | 97 | 6 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2764788.4807 | 1257191.994
1 | 2764948.067 | 1257220.1898
2 | 2764181.1644 | 1256773.9617
3 | 2765171.5301 | 1257840.0948
4 | 2764135.3802 | 1256758.554
5 | 2763499.7813 | 1257524.4018
6 | 2765221.9823 | 1257829.0021
7 | 2762939.7532 | 1257845.6526
8 | 2762987.6227 | 1257882.9093
9 | 2762881.1268 | 1257710.5205
10 | 2763150.7631 | 1257883.2702
11 | 2762778.5168 | 1257691.928
12 | 2763490.1929 | 1257542.3669
13 | 2763331.3674 | 1257820.0509
14 | 2762700.9396 | 1257384.3147
15 | 2763141.0227 | 1257910.0853
16 | 2763302.7609 | 1257822.6867
17 | 2763374.2532 | 1257811.7812
18 | 2763366.7961 | 1257830.4616
19 | 2762666.5702 | 1257541.5451
20 | 2763115.1536 | 1257946.8029
21 | 2763103.1362 | 1257945.942
22 | 2763144.5514 | 1257959.9347
23 | 2763067.2131 | 1257938.8818
24 | 2763067.1964 | 1258009.7999
25 | 2763100.4626 | 1258010.9409
26 | 2762623.2009 | 1258133.9155
27 | 2762534.4012 | 1258209.8448
28 | 2762933.2819 | 1258933.0447
29 | 2765190.2227 | 1257872.0834
30 | 2765304.6126 | 1257738.302
31 | 2763667.4666 | 1258782.9876
32 | 2763599.3084 | 1258766.208
33 | 2763019.0209 | 1258901.7394
34 | 2766862.8428 | 1257458.4396
35 | 2766961.5013 | 1257551.4782
36 | 2766715.8633 | 1257445.3433
37 | 2766743.7848 | 1257604.7098
38 | 2766443.337 | 1257844.932
39 | 2766771.9355 | 1257470.0763
40 | 2765836.2913 | 1258176.6243
41 | 2765797.5844 | 1258186.7397
42 | 2765787.6261 | 1258033.076
43 | 2765599.2697 | 1258127.9042
44 | 2765967.4596 | 1258232.7265
45 | 2765660.696 | 1257884.9883
46 | 2765782.1257 | 1258034.1676
47 | 2765400.3506 | 1258220.0179
48 | 2764966.3807 | 1258158.1763
49 | 2765401.3521 | 1258244.3605
50 | 2765609.5485 | 1258118.6264
51 | 2766015.3725 | 1258351.5292
52 | 2765947.3665 | 1257697.5302
53 | 2765983.5254 | 1257681.2823
54 | 2765945.3124 | 1257698.7076
55 | 2765910.0753 | 1257762.487
56 | 2765957.1706 | 1257779.9589
57 | 2766410.1604 | 1257800.2297
58 | 2766111.0119 | 1257629.481
59 | 2765999.64 | 1257670.1832
60 | 2765656.8354 | 1257879.252
61 | 2765002.0315 | 1258154.4849
62 | 2766541.3993 | 1257597.8279
63 | 2766488.9667 | 1257580.1901
64 | 2766440.0096 | 1257839.5772
65 | 2766081.5058 | 1257585.5956
66 | 2766743.2056 | 1257637.8286
67 | 2766483.7148 | 1258113.797
68 | 2766663.9723 | 1258044.8294
69 | 2766463.8275 | 1258162.7549
70 | 2766686.0348 | 1258062.3165
71 | 2766307.9802 | 1257901.6436
72 | 2766989.3995 | 1257514.3034
73 | 2766940.4887 | 1257867.9106
74 | 2766850.8314 | 1257889.3835
75 | 2766454.3015 | 1258180.4406
76 | 2766317.4704 | 1257934.6785
77 | 2766265.4608 | 1257907.9893
78 | 2766404.9399 | 1257569.0714
79 | 2766275.0136 | 1257487.9795
80 | 2766297.4391 | 1257478.8219
81 | 2766459.5112 | 1258183.2457
82 | 2766448.5089 | 1258202.6346
83 | 2766476.4026 | 1258288.31
84 | 2766723.4674 | 1258138.2706
85 | 2766543.3673 | 1258280.4742
86 | 2766252.3226 | 1257969.2169
87 | 2766253.2061 | 1257972.469
88 | 2766238.9643 | 1257920.0468
89 | 2766236.4062 | 1257987.8012
90 | 2766291.6382 | 1257977.2751
91 | 2766212.742 | 1257990.6687
92 | 2766211.4169 | 1257927.2473
93 | 2766241.3976 | 1257914.3108
94 | 2765437.008 | 1257845.882
95 | 2765391.4942 | 1257771.3969
96 | 2766556.979 | 1258278.2659
97 | 2765221.9823 | 1257829.0021

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99662 | -0.025071 | 0.21984 | 0.10647
1 | 0.99739 | -0.031184 | 0 | 0
2 | 0.99162 | -0.064452 | 0.2523 | 0.12219
3 | 0.99993 | -0.00036458 | 0 | 0
4 | 0.99139 | -0.062686 | 0 | 0
5 | 0.98512 | -0.11315 | 0.32722 | 0.15848
6 | 1 | 0 | -11.7984 | -5.2074
7 | 0.98145 | -0.083427 | 0.22528 | 0.10911
8 | 0.98148 | -0.083256 | 0 | 0
9 | 0.98134 | -0.082075 | 0 | 0
10 | 0.98167 | -0.084815 | 0 | 0
11 | 0.9813 | -0.081717 | 0.28098 | 0.13608
12 | 0.98505 | -0.11257 | 0 | 0
13 | 0.98249 | -0.091595 | 0 | 0
14 | 0.98486 | -0.11204 | 0 | 0
15 | 0.9816 | -0.08421 | 0.3476 | 0.16835
16 | 0.98248 | -0.091501 | 0.25308 | 0.12257
17 | 0.98248 | -0.091528 | 0 | 0
18 | 0.98248 | -0.091504 | 0.098944 | 0.047921
19 | 0.98482 | -0.11167 | 0.13669 | 0.0662
20 | 0.98146 | -0.085265 | 0.33485 | 0.16218
21 | 0.98145 | -0.085137 | 0.33843 | 0.16391
22 | 0.98145 | -0.085191 | 0.18018 | 0.087265
23 | 0.98141 | -0.084899 | 0 | 0
24 | 0.98131 | -0.085793 | 0 | 0
25 | 0.9813 | -0.085713 | 0.19466 | 0.094278
26 | 0.98092 | -0.083197 | 0 | 0
27 | 0.98084 | -0.082608 | 0.17513 | 0.084821
28 | 0.98028 | -0.087929 | 0.19376 | 0.093844
29 | 0.99985 | -0.00085492 | 0 | 0
30 | 0.99998 | -0.00017127 | 0 | 0
31 | 0.98008 | -0.086687 | 0.16343 | 0.079154
32 | 0.98009 | -0.086828 | 0 | 0
33 | 0.98026 | -0.087867 | 0 | 0
34 | 0.99213 | -0.017283 | 0.27594 | 0.13364
35 | 0.99218 | -0.017773 | 0 | 0
36 | 0.99364 | -0.027995 | 0 | 0
37 | 0.99358 | -0.027461 | 0 | 0
38 | 0.99403 | -0.031304 | 0 | 0
39 | 0.99361 | -0.027711 | 0.38626 | 0.18707
40 | 0.99713 | -0.015565 | 0.37179 | 0.18006
41 | 0.99716 | -0.015384 | 0 | 0
42 | 0.9971 | -0.014862 | 0 | 0
43 | 0.99799 | -0.01098 | 0 | 0
44 | 0.99711 | -0.014939 | 0 | 0
45 | 0.99635 | -0.019661 | 0 | 0
46 | 0.9971 | -0.014849 | 0.18761 | 0.090862
47 | 0.99855 | -0.0079388 | 0 | 0
48 | 0.99818 | -0.0049068 | 0 | 0
49 | 0.99854 | -0.0080145 | 0.25651 | 0.12424
50 | 0.99798 | -0.01092 | 0.36426 | 0.17642
51 | 0.99707 | -0.015205 | 0.17088 | 0.082763
52 | 0.99496 | -0.026616 | 0 | 0
53 | 0.99497 | -0.02669 | 0 | 0
54 | 0.99496 | -0.026612 | 0.14913 | 0.072229
55 | 0.99561 | -0.023479 | 0 | 0
56 | 0.99559 | -0.023323 | 0.21281 | 0.10307
57 | 0.99413 | -0.030778 | 0 | 0
58 | 0.99486 | -0.025775 | 0 | 0
59 | 0.99496 | -0.026664 | 0.11125 | 0.053881
60 | 0.99635 | -0.019648 | 0.16501 | 0.079919
61 | 0.99816 | -0.0047483 | 0.37077 | 0.17957
62 | 0.99392 | -0.029106 | 0 | 0
63 | 0.99388 | -0.028745 | 0.30077 | 0.14567
64 | 0.99405 | -0.031135 | 0.28005 | 0.13564
65 | 0.99483 | -0.025991 | 0.33418 | 0.16185
66 | 0.99357 | -0.027372 | 0.22393 | 0.10845
67 | 0.99316 | -0.024749 | 0 | 0
68 | 0.99288 | -0.022917 | 0 | 0
69 | 0.99309 | -0.024214 | 0.069291 | 0.033559
70 | 0.99288 | -0.022886 | 0.092736 | 0.044914
71 | 0.99366 | -0.027812 | 0 | 0
72 | 0.99218 | -0.017695 | 0.11262 | 0.054546
73 | 0.99197 | -0.016015 | 0 | 0
74 | 0.99193 | -0.015683 | 0.29966 | 0.14513
75 | 0.99307 | -0.024032 | 0 | 0
76 | 0.99364 | -0.027704 | 0.26049 | 0.12616
77 | 0.99355 | -0.026808 | 0 | 0
78 | 0.99385 | -0.028493 | 0 | 0
79 | 0.99371 | -0.027282 | 0.29724 | 0.14396
80 | 0.99372 | -0.027369 | 0 | 0
81 | 0.99306 | -0.023978 | 0 | 0
82 | 0.99304 | -0.023776 | 0.12304 | 0.059591
83 | 0.99296 | -0.023053 | 0 | 0
84 | 0.99291 | -0.022797 | 0.073963 | 0.035822
85 | 0.9929 | -0.022534 | 0 | 0
86 | 0.99341 | -0.02548 | 0.20073 | 0.097219
87 | 0.9934 | -0.025444 | 0.21625 | 0.10474
88 | 0.99348 | -0.026159 | 0 | 0
89 | 0.9934 | -0.025384 | 0.21608 | 0.10465
90 | 0.99339 | -0.025322 | 0.26158 | 0.12669
91 | 0.99339 | -0.025327 | 0.22025 | 0.10667
92 | 0.99346 | -0.025983 | 0.50976 | 0.24689
93 | 0.99354 | -0.026771 | 0.12516 | 0.060618
94 | 0.99996 | -8.7822e-06 | 0.082447 | 0.039931
95 | 0.99997 | -9.1638e-05 | 0 | 0
96 | 0.99289 | -0.022428 | 0.63682 | 0.30842
97 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -3.7707 | -1.7096 | 3.7738 | 1.7067 | 0.0031048 | -0.0029187 | 0.11992 | 0.11987 | 0.11992 | 0.99662 | -0.025071 | 0.99739 | -0.031184 | 54.5095
1 | 3.5508 | 1.6032 | -3.5341 | -1.5936 | 0.01673 | 0.0096093 | 0.11285 | 0.11286 | 0.11286 | 0.99662 | -0.025071 | 0.99162 | -0.064452 | 53.7421
2 | -3.7738 | -1.7067 | 3.7825 | 1.6699 | 0.008713 | -0.036803 | 0.11987 | 0.11937 | 0.11987 | 0.99739 | -0.031184 | 0.99993 | -0.00036458 | 33.1146
3 | 3.2818 | 1.4714 | -3.281 | -1.4724 | 0.00079943 | -0.0010449 | 0.1047 | 0.10472 | 0.10472 | 0.99162 | -0.064452 | 0.99139 | -0.062686 | 47.5982
4 | -3.7825 | -1.6699 | 3.7827 | 1.6667 | 0.00023556 | -0.0032299 | 0.11937 | 0.11933 | 0.11937 | 0.99993 | -0.00036458 | 1 | 0 | 18.7094
5 | 3.281 | 1.4724 | -3.2615 | -1.4614 | 0.019447 | 0.01102 | 0.10472 | 0.10473 | 0.10473 | 0.99139 | -0.062686 | 0.98512 | -0.11315 | 49.8714
6 | 2.9343 | 1.3029 | -2.9341 | -1.3033 | 0.00024051 | -0.00040022 | 0.094081 | 0.094087 | 0.094087 | 0.98512 | -0.11315 | 0.98505 | -0.11257 | 42.7667
7 | 7.9192 | 3.495 | -7.918 | -3.4981 | 0.0011617 | -0.0031276 | 0.24988 | 0.24993 | 0.24993 | 1 | 0 | 0.99985 | -0.00085492 | 39.1732
8 | 0.08245 | 0.035163 | -0.082449 | -0.035308 | 1.4646e-06 | -0.00014555 | 0.0025875 | 0.0025892 | 0.0025892 | 1 | 0 | 0.99998 | -0.00017127 | 1.233
9 | -0.22528 | -0.10911 | 0.22529 | 0.10904 | 5.8578e-06 | -6.6087e-05 | 0.0073625 | 0.0073616 | 0.0073625 | 0.98145 | -0.083427 | 0.98148 | -0.083256 | 3.506
10 | 0.28103 | 0.12474 | -0.28099 | -0.13367 | 4.2994e-05 | -0.0089355 | 0.0090434 | 0.0091533 | 0.0091533 | 0.98148 | -0.083256 | 0.98134 | -0.082075 | 4.1606
11 | -0.50632 | -0.23378 | 0.50643 | 0.22705 | 0.00010503 | -0.0067298 | 0.016403 | 0.01632 | 0.016403 | 0.98148 | -0.083256 | 0.98167 | -0.084815 | 7.4558
12 | 0.28099 | 0.13367 | -0.28098 | -0.13608 | 1.1788e-05 | -0.0024116 | 0.0091533 | 0.009184 | 0.009184 | 0.98134 | -0.082075 | 0.9813 | -0.081717 | 4.1746
13 | -2.4354 | -1.1194 | 2.4376 | 1.1141 | 0.0021577 | -0.0053564 | 0.078821 | 0.078747 | 0.078821 | 0.98167 | -0.084815 | 0.98249 | -0.091595 | 35.8277
14 | 1.929 | 0.89236 | -1.9289 | -0.89297 | 0.00014877 | -0.00061211 | 0.062501 | 0.062509 | 0.062509 | 0.98167 | -0.084815 | 0.9816 | -0.08421 | 28.4134
15 | 2.7974 | 1.2678 | -2.7896 | -1.282 | 0.0077341 | -0.014194 | 0.090006 | 0.090207 | 0.090207 | 0.98505 | -0.11257 | 0.98249 | -0.091595 | 41.003
16 | 0.13672 | 0.035475 | -0.13669 | -0.060571 | 2.6092e-05 | -0.025096 | 0.0041393 | 0.0043823 | 0.0043823 | 0.98505 | -0.11257 | 0.98486 | -0.11204 | 1.992
17 | 0.25308 | 0.12187 | -0.25308 | -0.12257 | 2.769e-06 | -0.0007002 | 0.0082533 | 0.0082622 | 0.0082622 | 0.98249 | -0.091595 | 0.98248 | -0.091501 | 3.7556
18 | 0.098945 | 0.046107 | -0.098945 | -0.047457 | 8.0922e-07 | -0.0013507 | 0.0032074 | 0.0032243 | 0.0032243 | 0.98249 | -0.091595 | 0.98248 | -0.091528 | 1.4656
19 | 0.13669 | 0.060571 | -0.13669 | -0.0662 | 6.3313e-06 | -0.0056288 | 0.0043823 | 0.0044518 | 0.0044518 | 0.98486 | -0.11204 | 0.98482 | -0.11167 | 2.0235
20 | 1.5813 | 0.72462 | -1.5811 | -0.72455 | 0.0002094 | 7.9506e-05 | 0.051153 | 0.051154 | 0.051154 | 0.9816 | -0.08421 | 0.98146 | -0.085265 | 24.359
21 | 0.098945 | 0.047457 | -0.098944 | -0.047921 | 2.7967e-07 | -0.00046348 | 0.0032243 | 0.0032302 | 0.0032302 | 0.98248 | -0.091528 | 0.98248 | -0.091504 | 1.4683
22 | 1.066 | 0.47587 | -1.066 | -0.47614 | 1.8966e-05 | -0.00027147 | 0.034337 | 0.03434 | 0.03434 | 0.98146 | -0.085265 | 0.98145 | -0.085137 | 15.6093
23 | 0.18018 | 0.086502 | -0.18018 | -0.087265 | 1.5328e-06 | -0.00076237 | 0.0058787 | 0.0058884 | 0.0058884 | 0.98146 | -0.085265 | 0.98145 | -0.085191 | 2.6766
24 | 0.72758 | 0.31223 | -0.72756 | -0.31307 | 2.6878e-05 | -0.00084543 | 0.023288 | 0.023298 | 0.023298 | 0.98145 | -0.085137 | 0.98141 | -0.084899 | 10.5899
25 | 0.72756 | 0.31307 | -0.72749 | -0.31311 | 6.8586e-05 | -3.8576e-05 | 0.023298 | 0.023299 | 0.023299 | 0.98141 | -0.084899 | 0.98131 | -0.085793 | 11.0946
26 | 0.53282 | 0.2196 | -0.5326 | -0.23275 | 0.00022267 | -0.013154 | 0.016953 | 0.017105 | 0.017105 | 0.98131 | -0.085793 | 0.98092 | -0.083197 | 7.7751
27 | 0.19466 | 0.093513 | -0.19466 | -0.094278 | 1.7963e-06 | -0.0007648 | 0.0063529 | 0.0063627 | 0.0063627 | 0.98131 | -0.085793 | 0.9813 | -0.085713 | 2.8921
28 | 0.5326 | 0.23275 | -0.53256 | -0.23542 | 4.565e-05 | -0.0026662 | 0.017105 | 0.017137 | 0.017137 | 0.98092 | -0.083197 | 0.98084 | -0.082608 | 7.7896
29 | 0.35742 | 0.1506 | -0.35723 | -0.15143 | 0.00019193 | -0.00082779 | 0.011415 | 0.011426 | 0.011426 | 0.98084 | -0.082608 | 0.98028 | -0.087929 | 5.4409
30 | 0.16347 | 0.057582 | -0.16346 | -0.059671 | 3.1802e-06 | -0.0020888 | 0.0051038 | 0.0051245 | 0.0051245 | 0.98028 | -0.087929 | 0.98026 | -0.087867 | 2.3293
31 | 7.918 | 3.4981 | -7.9082 | -3.5244 | 0.0098093 | -0.026311 | 0.24993 | 0.2503 | 0.2503 | 0.99985 | -0.00085492 | 0.99855 | -0.0079388 | 39.2317
32 | 0.082449 | 0.035308 | -0.082448 | -0.037776 | 9.3531e-07 | -0.0024676 | 0.0025892 | 0.0026181 | 0.0026181 | 0.99998 | -0.00017127 | 0.99997 | -9.1638e-05 | 1.19
33 | -0.16343 | -0.079154 | 0.16344 | 0.077524 | 2.7047e-06 | -0.0016298 | 0.0053487 | 0.0053279 | 0.0053487 | 0.98008 | -0.086687 | 0.98009 | -0.086828 | 2.4312
34 | -0.16344 | -0.077524 | 0.16346 | 0.059671 | 2.8333e-05 | -0.017854 | 0.0053279 | 0.0051245 | 0.0053279 | 0.98009 | -0.086828 | 0.98026 | -0.087867 | 2.4218
35 | -0.27594 | -0.13364 | 0.27595 | 0.13009 | 1.6003e-05 | -0.0035534 | 0.0089209 | 0.0088763 | 0.0089209 | 0.99213 | -0.017283 | 0.99218 | -0.017773 | 4.0549
36 | 0.11263 | 0.053161 | -0.11262 | -0.054546 | 1.0384e-06 | -0.0013855 | 0.0036235 | 0.0036409 | 0.0036409 | 0.99218 | -0.017773 | 0.99218 | -0.017695 | 1.655
37 | 0.29974 | 0.12949 | -0.29967 | -0.14295 | 7.029e-05 | -0.013462 | 0.0095 | 0.0096623 | 0.0096623 | 0.99218 | -0.017773 | 0.99197 | -0.016015 | 4.3919
38 | -0.68832 | -0.31274 | 0.68883 | 0.29403 | 0.0005127 | -0.018708 | 0.021997 | 0.021776 | 0.021997 | 0.99218 | -0.017773 | 0.99288 | -0.022917 | 9.9986
39 | 0.22394 | 0.10265 | -0.22393 | -0.10767 | 1.4721e-05 | -0.005027 | 0.007157 | 0.0072191 | 0.0072191 | 0.99364 | -0.027995 | 0.99358 | -0.027461 | 3.2814
40 | -0.61021 | -0.28828 | 0.61047 | 0.27642 | 0.00025785 | -0.011861 | 0.019607 | 0.019461 | 0.019607 | 0.99364 | -0.027995 | 0.99403 | -0.031304 | 8.9122
41 | 0.38627 | 0.18563 | -0.38626 | -0.18707 | 1.2701e-05 | -0.0014409 | 0.012451 | 0.012469 | 0.012469 | 0.99364 | -0.027995 | 0.99361 | -0.027711 | 5.6677
42 | 0.22393 | 0.10767 | -0.22393 | -0.10845 | 2.3077e-06 | -0.00078006 | 0.0072191 | 0.0072289 | 0.0072289 | 0.99358 | -0.027461 | 0.99357 | -0.027372 | 3.2859
43 | -4.3087 | -1.9813 | 4.3088 | 1.9811 | 5.7707e-05 | -0.00017159 | 0.13772 | 0.13772 | 0.13772 | 0.99403 | -0.031304 | 0.99405 | -0.031135 | 38.0453
44 | 2.0116 | 0.96277 | -2.0107 | -0.96599 | 0.00082447 | -0.0032255 | 0.064764 | 0.064807 | 0.064807 | 0.99403 | -0.031304 | 0.99366 | -0.027812 | 29.4578
45 | 1.6867 | 0.74209 | -1.6851 | -0.75132 | 0.0015773 | -0.009236 | 0.053514 | 0.053629 | 0.053629 | 0.99403 | -0.031304 | 0.99316 | -0.024749 | 24.3766
46 | -0.37179 | -0.18006 | 0.3718 | 0.18002 | 1.0194e-05 | -4.1103e-05 | 0.011959 | 0.011959 | 0.011959 | 0.99713 | -0.015565 | 0.99716 | -0.015384 | 5.6949
47 | 0.18762 | 0.084702 | -0.18761 | -0.09073 | 1.2193e-05 | -0.0060273 | 0.0059594 | 0.0060333 | 0.0060333 | 0.99716 | -0.015384 | 0.9971 | -0.014862 | 2.7424
48 | -6.9071 | -3.0973 | 6.9126 | 3.0773 | 0.0054781 | -0.020027 | 0.21914 | 0.21887 | 0.21914 | 0.99716 | -0.015384 | 0.99799 | -0.01098 | 34.3483
49 | 0.1709 | 0.076944 | -0.17089 | -0.082615 | 9.512e-06 | -0.0056709 | 0.0054258 | 0.0054953 | 0.0054953 | 0.99716 | -0.015384 | 0.99711 | -0.014939 | 2.4979
50 | 6.1768 | 2.7557 | -6.1719 | -2.7783 | 0.0048143 | -0.022618 | 0.1958 | 0.1961 | 0.1961 | 0.99716 | -0.015384 | 0.99635 | -0.019661 | 30.7372
51 | 0.18761 | 0.09073 | -0.18761 | -0.090862 | 2.7182e-07 | -0.00013266 | 0.0060333 | 0.006035 | 0.006035 | 0.9971 | -0.014862 | 0.9971 | -0.014849 | 2.7432
52 | 0.36427 | 0.17609 | -0.36426 | -0.17642 | 2.529e-06 | -0.00032803 | 0.011703 | 0.011707 | 0.011707 | 0.99799 | -0.01098 | 0.99798 | -0.01092 | 5.3216
53 | -7.2768 | -3.2534 | 7.2808 | 3.2405 | 0.0039589 | -0.012873 | 0.23057 | 0.23039 | 0.23057 | 0.99799 | -0.01098 | 0.99855 | -0.0079388 | 36.139
54 | 0.17089 | 0.082615 | -0.17088 | -0.082763 | 6.8948e-06 | -0.00014772 | 0.0054953 | 0.0054972 | 0.0054972 | 0.99711 | -0.014939 | 0.99707 | -0.015205 | 2.6177
55 | 0.16501 | 0.079755 | -0.16501 | -0.079919 | 2.6013e-07 | -0.00016366 | 0.0053101 | 0.0053121 | 0.0053121 | 0.99635 | -0.019661 | 0.99635 | -0.019648 | 2.4146
56 | 6.0069 | 2.6985 | -6.0026 | -2.7199 | 0.0043026 | -0.021382 | 0.1908 | 0.19108 | 0.19108 | 0.99635 | -0.019661 | 0.99561 | -0.023479 | 29.9497
57 | 0.37093 | 0.15971 | -0.37078 | -0.17872 | 0.00014849 | -0.01901 | 0.011675 | 0.011904 | 0.011904 | 0.99855 | -0.0079388 | 0.99818 | -0.0049068 | 5.4108
58 | 0.25652 | 0.12421 | -0.25651 | -0.12424 | 2.9469e-06 | -2.7155e-05 | 0.0082393 | 0.0082397 | 0.0082397 | 0.99855 | -0.0079388 | 0.99854 | -0.0080145 | 3.9237
59 | 0.37078 | 0.17872 | -0.37077 | -0.17957 | 6.7861e-06 | -0.00085061 | 0.011904 | 0.011914 | 0.011914 | 0.99818 | -0.0049068 | 0.99816 | -0.0047483 | 5.4156
60 | -0.14913 | -0.072173 | 0.14913 | 0.071181 | 1.2918e-06 | -0.00099199 | 0.004807 | 0.0047945 | 0.004807 | 0.99496 | -0.026616 | 0.99497 | -0.02669 | 2.185
61 | 0.14913 | 0.072173 | -0.14913 | -0.072229 | 7.3058e-08 | -5.594e-05 | 0.004807 | 0.0048077 | 0.0048077 | 0.99496 | -0.026616 | 0.99496 | -0.026612 | 2.1853
62 | 5.1916 | 2.3567 | -5.1874 | -2.3853 | 0.0042137 | -0.028528 | 0.16542 | 0.16579 | 0.16579 | 0.99497 | -0.02669 | 0.99413 | -0.030778 | 25.9865
63 | 0.33422 | 0.1562 | -0.33419 | -0.16179 | 3.6536e-05 | -0.0055982 | 0.010704 | 0.010774 | 0.010774 | 0.99497 | -0.02669 | 0.99486 | -0.025775 | 4.8971
64 | 0.11125 | 0.053412 | -0.11125 | -0.053881 | 3.4021e-07 | -0.00046895 | 0.0035805 | 0.0035864 | 0.0035864 | 0.99497 | -0.02669 | 0.99496 | -0.026664 | 1.6302
65 | -5.7862 | -2.6375 | 5.7898 | 2.6183 | 0.0035866 | -0.019233 | 0.1845 | 0.18424 | 0.1845 | 0.99497 | -0.02669 | 0.99561 | -0.023479 | 28.9181
66 | 0.21281 | 0.1016 | -0.21281 | -0.10307 | 3.8736e-06 | -0.0014637 | 0.0068377 | 0.0068561 | 0.0068561 | 0.99561 | -0.023479 | 0.99559 | -0.023323 | 3.1164
67 | 4.5892 | 2.1138 | -4.5889 | -2.1167 | 0.00033936 | -0.002976 | 0.14672 | 0.14676 | 0.14676 | 0.99413 | -0.030778 | 0.99405 | -0.031135 | 23.0025
68 | 0.59822 | 0.27151 | -0.59809 | -0.27776 | 0.00013005 | -0.0062516 | 0.019077 | 0.019153 | 0.019153 | 0.99413 | -0.030778 | 0.99392 | -0.029106 | 8.7058
69 | 0.33419 | 0.16179 | -0.33418 | -0.16185 | 1.0937e-05 | -5.5632e-05 | 0.010774 | 0.010774 | 0.010774 | 0.99486 | -0.025775 | 0.99483 | -0.025991 | 5.1307
70 | 0.59809 | 0.27776 | -0.59806 | -0.27906 | 2.715e-05 | -0.0012985 | 0.019153 | 0.019169 | 0.019169 | 0.99392 | -0.029106 | 0.99388 | -0.028745 | 8.7131
71 | 0.2973 | 0.13339 | -0.29729 | -0.13538 | 1.0138e-05 | -0.0019915 | 0.0094644 | 0.0094882 | 0.0094882 | 0.99388 | -0.028745 | 0.99385 | -0.028493 | 4.3128
72 | 0.78179 | 0.33188 | -0.78157 | -0.33828 | 0.00022409 | -0.0063988 | 0.024687 | 0.024761 | 0.024761 | 0.99316 | -0.024749 | 0.99288 | -0.022917 | 11.2549
73 | 0.90333 | 0.41944 | -0.90327 | -0.4207 | 6.0972e-05 | -0.0012646 | 0.028949 | 0.028965 | 0.028965 | 0.99316 | -0.024749 | 0.99309 | -0.024214 | 13.1658
74 | 0.092736 | 0.044251 | -0.092736 | -0.044914 | 3.3676e-07 | -0.00066331 | 0.0029875 | 0.0029958 | 0.0029958 | 0.99288 | -0.022917 | 0.99288 | -0.022886 | 1.3617
75 | 0.83398 | 0.38714 | -0.83396 | -0.38761 | 1.9163e-05 | -0.00046738 | 0.026727 | 0.026733 | 0.026733 | 0.99309 | -0.024214 | 0.99307 | -0.024032 | 12.1513
76 | 0.26049 | 0.12535 | -0.26049 | -0.12616 | 3.2397e-06 | -0.00080915 | 0.0083983 | 0.0084085 | 0.0084085 | 0.99366 | -0.027812 | 0.99364 | -0.027704 | 3.822
77 | 1.7503 | 0.84064 | -1.75 | -0.84172 | 0.00020513 | -0.0010771 | 0.056409 | 0.056423 | 0.056423 | 0.99366 | -0.027812 | 0.99355 | -0.026808 | 25.6469
78 | 0.29967 | 0.14295 | -0.29966 | -0.14513 | 1.161e-05 | -0.0021787 | 0.0096623 | 0.0096898 | 0.0096898 | 0.99197 | -0.016015 | 0.99193 | -0.015683 | 4.4044
79 | 0.83396 | 0.38761 | -0.83396 | -0.38775 | 5.6322e-06 | -0.00013732 | 0.026733 | 0.026735 | 0.026735 | 0.99307 | -0.024032 | 0.99306 | -0.023978 | 12.1521
80 | 0.12516 | 0.060032 | -0.12516 | -0.060618 | 5.4128e-07 | -0.00058623 | 0.0040332 | 0.0040406 | 0.0040406 | 0.99355 | -0.026808 | 0.99354 | -0.026771 | 1.8366
81 | 1.6249 | 0.78169 | -1.6248 | -0.78244 | 0.00012282 | -0.00075336 | 0.05239 | 0.0524 | 0.0524 | 0.99355 | -0.026808 | 0.99348 | -0.026159 | 23.8182
82 | 0.29729 | 0.13538 | -0.29724 | -0.14339 | 4.1313e-05 | -0.0080105 | 0.0094882 | 0.0095872 | 0.0095872 | 0.99385 | -0.028493 | 0.99372 | -0.027369 | 4.3578
83 | -0.29724 | -0.14396 | 0.29724 | 0.14339 | 2.9672e-06 | -0.00056881 | 0.0095944 | 0.0095872 | 0.0095944 | 0.99371 | -0.027282 | 0.99372 | -0.027369 | 4.3611
84 | 0.83396 | 0.38775 | -0.83394 | -0.38827 | 2.1264e-05 | -0.00051829 | 0.026735 | 0.026741 | 0.026741 | 0.99306 | -0.023978 | 0.99304 | -0.023776 | 12.155
85 | 0.7109 | 0.32868 | -0.71083 | -0.33087 | 6.5126e-05 | -0.0021937 | 0.022767 | 0.022795 | 0.022795 | 0.99304 | -0.023776 | 0.99296 | -0.023053 | 10.3611
86 | 0.073967 | 0.024352 | -0.073963 | -0.035822 | 3.5061e-06 | -0.011471 | 0.0022639 | 0.0023893 | 0.0023893 | 0.99296 | -0.023053 | 0.99291 | -0.022797 | 1.086
87 | 0.63686 | 0.30652 | -0.63682 | -0.3081 | 3.8258e-05 | -0.0015848 | 0.020548 | 0.020568 | 0.020568 | 0.99296 | -0.023053 | 0.9929 | -0.022534 | 9.3491
88 | 0.63682 | 0.3081 | -0.63682 | -0.30842 | 7.7671e-06 | -0.00032134 | 0.020568 | 0.020572 | 0.020572 | 0.9929 | -0.022534 | 0.99289 | -0.022428 | 9.351
89 | 0.91417 | 0.44018 | -0.91417 | -0.44026 | 3.9111e-06 | -7.8243e-05 | 0.029484 | 0.029485 | 0.029485 | 0.99341 | -0.02548 | 0.9934 | -0.025444 | 13.4024
90 | -1.1149 | -0.5374 | 1.115 | 0.53622 | 8.795e-05 | -0.0011746 | 0.035965 | 0.03595 | 0.035965 | 0.99341 | -0.02548 | 0.99348 | -0.026159 | 16.3479
91 | 0.21608 | 0.10412 | -0.21608 | -0.10465 | 1.4765e-06 | -0.00053547 | 0.00697 | 0.0069768 | 0.0069768 | 0.9934 | -0.025444 | 0.9934 | -0.025384 | 3.1713
92 | 0.26158 | 0.12578 | -0.26158 | -0.12669 | 3.6834e-06 | -0.00091149 | 0.0084344 | 0.008446 | 0.008446 | 0.9934 | -0.025444 | 0.99339 | -0.025322 | 3.8391
93 | 0.22026 | 0.10563 | -0.22025 | -0.10667 | 2.9901e-06 | -0.0010445 | 0.0070985 | 0.0071117 | 0.0071117 | 0.9934 | -0.025444 | 0.99339 | -0.025327 | 3.2326
94 | 0.50977 | 0.24622 | -0.50976 | -0.24689 | 1.0291e-05 | -0.00066792 | 0.01645 | 0.016458 | 0.016458 | 0.99348 | -0.026159 | 0.99346 | -0.025983 | 7.481
95 | -0.082447 | -0.039931 | 0.082448 | 0.037776 | 8.3441e-07 | -0.0021552 | 0.0026446 | 0.0026181 | 0.0026446 | 0.99996 | -8.7822e-06 | 0.99997 | -9.1638e-05 | 1.2021

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 12.0686 | 5.3382

## res_load
| p_mw | q_mvar
0 | 0.21984 | 0.10647
1 | 0.2523 | 0.12219
2 | 0.32722 | 0.15848
3 | 0.27025 | 0.13089
4 | 0.22528 | 0.10911
5 | 0.28098 | 0.13608
6 | 0.3476 | 0.16835
7 | 0.25308 | 0.12257
8 | 0.098944 | 0.047921
9 | 0.13669 | 0.0662
10 | 0.33485 | 0.16218
11 | 0.33843 | 0.16391
12 | 0.18018 | 0.087265
13 | 0.19466 | 0.094278
14 | 0.17513 | 0.084821
15 | 0.19376 | 0.093844
16 | 0.16343 | 0.079154
17 | 0.27594 | 0.13364
18 | 0.38626 | 0.18707
19 | 0.37179 | 0.18006
20 | 0.18761 | 0.090862
21 | 0.25651 | 0.12424
22 | 0.36426 | 0.17642
23 | 0.17088 | 0.082763
24 | 0.14913 | 0.072229
25 | 0.21281 | 0.10307
26 | 0.11125 | 0.053881
27 | 0.16501 | 0.079919
28 | 0.37077 | 0.17957
29 | 0.30077 | 0.14567
30 | 0.28005 | 0.13564
31 | 0.33418 | 0.16185
32 | 0.22393 | 0.10845
33 | 0.069291 | 0.033559
34 | 0.092736 | 0.044914
35 | 0.11262 | 0.054546
36 | 0.29966 | 0.14513
37 | 0.26049 | 0.12616
38 | 0.29724 | 0.14396
39 | 0.12304 | 0.059591
40 | 0.073963 | 0.035822
41 | 0.20073 | 0.097219
42 | 0.21625 | 0.10474
43 | 0.21608 | 0.10465
44 | 0.26158 | 0.12669
45 | 0.22025 | 0.10667
46 | 0.50976 | 0.24689
47 | 0.12516 | 0.060618
48 | 0.082447 | 0.039931
49 | 0.63682 | 0.30842

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1