## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_481_1_node_50 | 20 | n |  | TRUE
1 | bus_MV_481_1_node_51 | 20 | n |  | TRUE
2 | bus_MV_481_1_node_52 | 20 | n |  | TRUE
3 | bus_MV_481_1_node_148 | 20 | n |  | TRUE
4 | bus_MV_481_1_node_83 | 20 | n |  | TRUE
5 | bus_MV_481_1_node_85 | 20 | n |  | TRUE
6 | bus_MV_481_1_node_86 | 20 | n |  | TRUE
7 | bus_MV_481_1_node_84 | 20 | n |  | TRUE
8 | bus_MV_481_1_node_87 | 20 | n |  | TRUE
9 | bus_MV_481_1_node_88 | 20 | n |  | TRUE
10 | bus_MV_481_1_node_89 | 20 | n |  | TRUE
11 | bus_MV_481_1_node_90 | 20 | n |  | TRUE
12 | bus_MV_481_1_node_127 | 20 | n |  | TRUE
13 | bus_MV_481_1_node_109 | 20 | n |  | TRUE
14 | bus_MV_481_1_node_159 | 20 | n |  | TRUE
15 | bus_MV_481_1_node_126 | 20 | n |  | TRUE
16 | bus_MV_481_1_node_111 | 20 | n |  | TRUE
17 | bus_MV_481_1_node_91 | 20 | n |  | TRUE
18 | bus_MV_481_1_node_92 | 20 | n |  | TRUE
19 | bus_MV_481_1_node_93 | 20 | n |  | TRUE
20 | bus_MV_481_1_node_95 | 20 | n |  | TRUE
21 | bus_MV_481_1_node_114 | 20 | n |  | TRUE
22 | bus_MV_481_1_node_94 | 20 | n |  | TRUE
23 | bus_MV_481_1_node_113 | 20 | n |  | TRUE
24 | bus_MV_481_1_node_112 | 20 | n |  | TRUE
25 | bus_MV_481_1_node_166 | 20 | n |  | TRUE
26 | bus_MV_481_1_node_97 | 20 | n |  | TRUE
27 | bus_MV_481_1_node_96 | 20 | n |  | TRUE
28 | bus_MV_481_1_node_98 | 20 | n |  | TRUE
29 | bus_MV_481_1_node_150 | 20 | n |  | TRUE
30 | bus_MV_481_1_node_100 | 20 | n |  | TRUE
31 | bus_MV_481_1_node_102 | 20 | n |  | TRUE
32 | bus_MV_481_1_node_146 | 20 | n |  | TRUE
33 | bus_MV_481_1_node_103 | 20 | n |  | TRUE
34 | bus_MV_481_1_node_104 | 20 | n |  | TRUE
35 | bus_MV_481_1_node_118 | 20 | n |  | TRUE
36 | bus_MV_481_1_node_108 | 20 | n |  | TRUE
37 | bus_MV_481_1_node_106 | 20 | n |  | TRUE
38 | bus_MV_481_1_node_107 | 20 | n |  | TRUE
39 | bus_MV_481_1_node_110 | 20 | n |  | TRUE
40 | bus_MV_481_1_node_152 | 20 | n |  | TRUE
41 | bus_MV_481_1_node_158 | 20 | n |  | TRUE
42 | bus_MV_481_1_node_115 | 20 | n |  | TRUE
43 | bus_MV_481_1_node_116 | 20 | n |  | TRUE
44 | bus_MV_481_1_node_117 | 20 | n |  | TRUE
45 | bus_MV_481_1_node_136 | 20 | n |  | TRUE
46 | bus_MV_481_1_node_160 | 20 | n |  | TRUE
47 | bus_MV_481_1_node_119 | 20 | n |  | TRUE
48 | bus_MV_481_1_node_121 | 20 | n |  | TRUE
49 | bus_MV_481_1_node_122 | 20 | n |  | TRUE
50 | bus_MV_481_1_node_120 | 20 | n |  | TRUE
51 | bus_MV_481_1_node_123 | 20 | n |  | TRUE
52 | bus_MV_481_1_node_125 | 20 | n |  | TRUE
53 | bus_MV_481_1_node_124 | 20 | n |  | TRUE
54 | bus_MV_481_1_node_134 | 20 | n |  | TRUE
55 | bus_MV_481_1_node_129 | 20 | n |  | TRUE
56 | bus_MV_481_1_node_128 | 20 | n |  | TRUE
57 | bus_MV_481_1_node_131 | 20 | n |  | TRUE
58 | bus_MV_481_1_node_130 | 20 | n |  | TRUE
59 | bus_MV_481_1_node_153 | 20 | n |  | TRUE
60 | bus_MV_481_1_node_133 | 20 | n |  | TRUE
61 | bus_MV_481_1_node_132 | 20 | n |  | TRUE
62 | bus_MV_481_1_node_151 | 20 | n |  | TRUE
63 | bus_MV_481_1_node_135 | 20 | n |  | TRUE
64 | bus_MV_481_1_node_138 | 20 | n |  | TRUE
65 | bus_MV_481_1_node_137 | 20 | n |  | TRUE
66 | bus_MV_481_1_node_140 | 20 | n |  | TRUE
67 | bus_MV_481_1_node_139 | 20 | n |  | TRUE
68 | bus_MV_481_1_node_147 | 20 | n |  | TRUE
69 | bus_MV_481_1_node_149 | 20 | n |  | TRUE
70 | bus_MV_481_1_node_154 | 20 | n |  | TRUE
71 | bus_MV_481_1_node_155 | 20 | n |  | TRUE
72 | bus_MV_481_1_node_156 | 20 | n |  | TRUE
73 | bus_MV_481_1_node_157 | 20 | n |  | TRUE
74 | bus_HV_481_1_node_114 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_481_1_load_50 | 0 | 0.16333 | 0.079104 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_481_1_load_52 | 2 | 0.072239 | 0.034987 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_481_1_load_83 | 4 | 0.29091 | 0.1409 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_481_1_load_87 | 8 | 0.31835 | 0.15419 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_481_1_load_90 | 11 | 0.081609 | 0.039525 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_481_1_load_109 | 13 | 0.14301 | 0.069263 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_481_1_load_159 | 14 | 0.10232 | 0.049555 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_481_1_load_126 | 15 | 0.81406 | 0.39427 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_481_1_load_91 | 17 | 0.16406 | 0.079459 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_481_1_load_113 | 23 | 0.14008 | 0.067842 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_481_1_load_112 | 24 | 0.21817 | 0.10566 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_481_1_load_166 | 25 | 0.3014 | 0.14598 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_481_1_load_96 | 27 | 0.23228 | 0.1125 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_481_1_load_150 | 29 | 0.076155 | 0.036884 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_481_1_load_100 | 30 | 0.2219 | 0.10747 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_481_1_load_146 | 32 | 0.076495 | 0.037048 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_481_1_load_118 | 35 | 0.20999 | 0.1017 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_481_1_load_108 | 36 | 0.33965 | 0.1645 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_481_1_load_110 | 39 | 0.13114 | 0.063513 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_481_1_load_152 | 40 | 0.86024 | 0.41663 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_481_1_load_115 | 42 | 0.30498 | 0.14771 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_481_1_load_160 | 46 | 0.22481 | 0.10888 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_481_1_load_119 | 47 | 0.13053 | 0.06322 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_481_1_load_124 | 53 | 0.19946 | 0.096604 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_481_1_load_134 | 54 | 0.19449 | 0.094197 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_481_1_load_129 | 55 | 0.35278 | 0.17086 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_481_1_load_128 | 56 | 0.40341 | 0.19538 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_481_1_load_131 | 57 | 0.30839 | 0.14936 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_481_1_load_153 | 59 | 1.3499 | 0.65377 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_481_1_load_132 | 61 | 0.11198 | 0.054233 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_481_1_load_135 | 63 | 0.40411 | 0.19572 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_481_1_load_140 | 66 | 0.32333 | 0.1566 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_481_1_load_139 | 67 | 0.38455 | 0.18624 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_481_1_load_147 | 68 | 0.95251 | 0.46132 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_481_1_load_149 | 69 | 0.37018 | 0.17929 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_481_1_load_154 | 70 | 0.72346 | 0.35039 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_481_1_load_157 | 73 | 0.22689 | 0.10989 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_481_1_line_0 |  | 0 | 1 | 0.042254 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_481_1_line_1 |  | 0 | 2 | 0.063191 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_481_1_line_2 |  | 1 | 3 | 0.67768 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_481_1_line_3 |  | 3 | 60 | 0.038597 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_481_1_line_4 |  | 3 | 68 | 0.045564 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_481_1_line_5 |  | 4 | 5 | 0.029624 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_481_1_line_6 |  | 4 | 6 | 0.17665 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_481_1_line_7 |  | 5 | 9 | 0.065437 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_481_1_line_8 |  | 5 | 10 | 0.10888 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_481_1_line_9 |  | 6 | 11 | 0.0021662 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_481_1_line_10 |  | 6 | 7 | 0.093288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_481_1_line_11 |  | 7 | 8 | 0.15358 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_481_1_line_12 |  | 8 | 12 | 0.15026 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_481_1_line_13 |  | 8 | 13 | 0.2341 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
14 | MV_481_1_line_14 |  | 9 | 14 | 0.034002 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_481_1_line_15 |  | 10 | 15 | 0.06409 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_481_1_line_16 |  | 10 | 16 | 0.099384 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
17 | MV_481_1_line_17 |  | 12 | 56 | 0.10676 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_481_1_line_18 |  | 14 | 72 | 0.020711 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_481_1_line_19 |  | 15 | 49 | 0.090272 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
20 | MV_481_1_line_20 |  | 16 | 39 | 0.070354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_481_1_line_21 |  | 17 | 18 | 0.041369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_481_1_line_22 |  | 18 | 19 | 0.28018 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_481_1_line_23 |  | 18 | 20 | 0.34851 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_481_1_line_24 |  | 19 | 21 | 0.25165 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_481_1_line_25 |  | 19 | 22 | 0.21127 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_481_1_line_26 |  | 19 | 23 | 0.053255 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_481_1_line_27 |  | 20 | 25 | 0.036593 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_481_1_line_28 |  | 20 | 26 | 0.6717 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_481_1_line_29 |  | 21 | 40 | 0.053561 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
30 | MV_481_1_line_30 |  | 21 | 41 | 0.003691 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_481_1_line_31 |  | 22 | 24 | 0.088556 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_481_1_line_32 |  | 26 | 28 | 0.080079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_481_1_line_33 |  | 26 | 27 | 0.0042244 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_481_1_line_34 |  | 28 | 29 | 0.071224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_481_1_line_35 |  | 29 | 44 | 0.034799 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_481_1_line_36 |  | 30 | 31 | 0.069713 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_481_1_line_37 |  | 31 | 32 | 0.21048 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_481_1_line_38 |  | 32 | 34 | 0.06756 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_481_1_line_39 |  | 33 | 34 | 0.21497 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_481_1_line_40 |  | 33 | 35 | 0.076432 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_481_1_line_41 |  | 34 | 36 | 0.20991 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_481_1_line_42 |  | 35 | 46 | 0.21415 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_481_1_line_43 |  | 36 | 38 | 0.040976 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_481_1_line_44 |  | 37 | 38 | 0.35211 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_481_1_line_45 |  | 37 | 39 | 0.14294 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_481_1_line_46 |  | 40 | 62 | 0.052539 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_481_1_line_47 |  | 41 | 73 | 0.080531 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_481_1_line_48 |  | 42 | 43 | 0.068783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_481_1_line_49 |  | 43 | 44 | 0.00677 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_481_1_line_50 |  | 44 | 45 | 0.14946 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_481_1_line_51 |  | 45 | 64 | 0.61246 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_481_1_line_52 |  | 45 | 63 | 0.02679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_481_1_line_53 |  | 47 | 48 | 0.052417 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
54 | MV_481_1_line_54 |  | 47 | 49 | 0.053237 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
55 | MV_481_1_line_55 |  | 47 | 50 | 0.092635 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_481_1_line_56 |  | 48 | 52 | 0.064852 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_481_1_line_57 |  | 50 | 51 | 0.032973 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_481_1_line_58 |  | 51 | 53 | 0.0128 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_481_1_line_59 |  | 52 | 54 | 0.035268 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_481_1_line_60 |  | 52 | 55 | 0.080045 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_481_1_line_61 |  | 54 | 62 | 0.024563 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
62 | MV_481_1_line_62 |  | 55 | 57 | 0.039499 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_481_1_line_63 |  | 55 | 58 | 0.054542 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_481_1_line_64 |  | 55 | 59 | 0.028307 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_481_1_line_65 |  | 57 | 61 | 0.06849 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_481_1_line_66 |  | 58 | 60 | 0.045062 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_481_1_line_67 |  | 59 | 69 | 0.0050199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_481_1_line_68 |  | 64 | 67 | 0.01504 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_481_1_line_69 |  | 64 | 65 | 0.36637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_481_1_line_70 |  | 65 | 66 | 0.034259 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
71 | MV_481_1_line_71 |  | 70 | 71 | 0.11594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_481_1_line_72 |  | 71 | 72 | 0.042272 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_481_1_trafo_114 | 25 MVA 110/20 kV | 74 | 21 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2625480.7045 | 1231092.7028
1 | 2625519.5346 | 1231109.3659
2 | 2625455.785 | 1231150.773
3 | 2625998.3074 | 1230629.7563
4 | 2626419.2871 | 1230732.8706
5 | 2626395.593 | 1230714.9992
6 | 2626443.9043 | 1230907.797
7 | 2626530.0143 | 1230871.8136
8 | 2626590.1213 | 1231013.2007
9 | 2626343.4725 | 1230675.4446
10 | 2626397.1896 | 1230616.2353
11 | 2626441.9605 | 1230908.753
12 | 2626647.0703 | 1231152.2507
13 | 2626817.6708 | 1230958.2095
14 | 2626312.3964 | 1230679.678
15 | 2626339.1583 | 1230590.5732
16 | 2626422.821 | 1230520.213
17 | 2625710.9402 | 1230284.0223
18 | 2625742.2022 | 1230311.2182
19 | 2625936.8783 | 1230290.461
20 | 2625657.0077 | 1230070.6721
21 | 2626035.0484 | 1230452.8096
22 | 2625970.6283 | 1230146.3542
23 | 2625904.5044 | 1230332.7457
24 | 2626039.5536 | 1230201.9553
25 | 2625680.4506 | 1230042.5227
26 | 2625545.5128 | 1229733.3672
27 | 2625549.216 | 1229735.4
28 | 2625488.5532 | 1229753.9135
29 | 2625426.6893 | 1229746.9561
30 | 2626508.2001 | 1229907.8329
31 | 2626510.5259 | 1229977.4965
32 | 2626302.8296 | 1230011.6375
33 | 2626151.8137 | 1229884.0104
34 | 2626254.6621 | 1230019.7335
35 | 2626093.4182 | 1229834.5022
36 | 2626303.2667 | 1230223.938
37 | 2626528.4277 | 1230335.4927
38 | 2626311.7696 | 1230264.022
39 | 2626464.0037 | 1230463.0945
40 | 2626081.5523 | 1230479.3787
41 | 2626032.9296 | 1230455.8355
42 | 2625359.0025 | 1229687.8877
43 | 2625419.7578 | 1229720.4661
44 | 2625422.6246 | 1229714.3302
45 | 2625480.8427 | 1229576.707
46 | 2625879.2646 | 1229834.9686
47 | 2626218.9226 | 1230512.4186
48 | 2626188.0243 | 1230554.8195
49 | 2626261.5278 | 1230544.5035
50 | 2626273.8364 | 1230437.8154
51 | 2626302.9726 | 1230453.4089
52 | 2626140.9173 | 1230552.678
53 | 2626314.1236 | 1230459.7509
54 | 2626113.6665 | 1230530.2894
55 | 2626094.2698 | 1230617.3995
56 | 2626687.7799 | 1231250.9473
57 | 2626128.5757 | 1230636.9774
58 | 2626060.0299 | 1230659.8553
59 | 2626070.9176 | 1230601.3999
60 | 2626027.56 | 1230655.0326
61 | 2626121.6776 | 1230705.1193
62 | 2626125.183 | 1230508.5934
63 | 2625504.0281 | 1229590.1283
64 | 2625049.4258 | 1229576.0777
65 | 2625015.3333 | 1229698.108
66 | 2625046.7056 | 1229684.3426
67 | 2625041.1262 | 1229564.647
68 | 2625965.0508 | 1230598.6107
69 | 2626067.777 | 1230605.316
70 | 2626227.0569 | 1230733.0567
71 | 2626300.226 | 1230643.1228
72 | 2626293.2189 | 1230672.5986
73 | 2625983.4448 | 1230519.369
74 | 2626035.0484 | 1230452.8096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99859 | 2.3858e-05 | 0.16333 | 0.079104
1 | 0.9986 | -9.014e-05 | 0 | 0
2 | 0.99858 | 7.5587e-05 | 0.072239 | 0.034987
3 | 0.99891 | 0.0020122 | 0 | 0
4 | 0.9985 | 0.00037341 | 0.29091 | 0.1409
5 | 0.99855 | -4.8671e-05 | 0 | 0
6 | 0.99818 | -0.0017909 | 0 | 0
7 | 0.99807 | -0.0008683 | 0 | 0
8 | 0.99791 | 0.00067988 | 0.31835 | 0.15419
9 | 0.99848 | 0.00057529 | 0 | 0
10 | 0.99883 | -0.0026203 | 0 | 0
11 | 0.99818 | -0.0017888 | 0.081609 | 0.039525
12 | 0.99779 | -8.96e-05 | 0 | 0
13 | 0.99784 | 0.00027081 | 0.14301 | 0.069263
14 | 0.99844 | 0.00090212 | 0.10232 | 0.049555
15 | 0.9991 | -0.0049638 | 0.81406 | 0.39427
16 | 0.9986 | -0.0042523 | 0 | 0
17 | 0.9984 | 0.012784 | 0.16406 | 0.079459
18 | 0.99841 | 0.012704 | 0 | 0
19 | 0.99919 | 0.0064777 | 0 | 0
20 | 0.99751 | 0.019964 | 0 | 0
21 | 1 | 0 | -11.959 | -5.6369
22 | 0.99913 | 0.0069947 | 0 | 0
23 | 0.99917 | 0.0063873 | 0.14008 | 0.067842
24 | 0.99909 | 0.0067604 | 0.21817 | 0.10566
25 | 0.9975 | 0.020095 | 0.3014 | 0.14598
26 | 0.99604 | 0.032111 | 0 | 0
27 | 0.99604 | 0.032123 | 0.23228 | 0.1125
28 | 0.99589 | 0.033384 | 0 | 0
29 | 0.99575 | 0.034524 | 0.076155 | 0.036884
30 | 0.9972 | -0.0040492 | 0.2219 | 0.10747
31 | 0.99722 | -0.0042316 | 0 | 0
32 | 0.99731 | -0.003632 | 0.076495 | 0.037048
33 | 0.99722 | -0.002802 | 0 | 0
34 | 0.99734 | -0.0038628 | 0 | 0
35 | 0.99718 | -0.0024079 | 0.20999 | 0.1017
36 | 0.99763 | -0.0017992 | 0.33965 | 0.1645
37 | 0.9982 | -0.0054256 | 0 | 0
38 | 0.99772 | -0.001227 | 0 | 0
39 | 0.99849 | -0.0033266 | 0.13114 | 0.063513
40 | 0.99984 | -0.00062978 | 0.86024 | 0.41663
41 | 1 | 9.5564e-06 | 0 | 0
42 | 0.99566 | 0.035326 | 0.30498 | 0.14771
43 | 0.99569 | 0.035076 | 0 | 0
44 | 0.99569 | 0.035052 | 0 | 0
45 | 0.99548 | 0.036809 | 0 | 0
46 | 0.99708 | -0.0029953 | 0.22481 | 0.10888
47 | 0.99937 | -0.0025177 | 0.13053 | 0.06322
48 | 0.99944 | -0.0022086 | 0 | 0
49 | 0.9993 | -0.0028077 | 0 | 0
50 | 0.99933 | -0.0027503 | 0 | 0
51 | 0.99932 | -0.002673 | 0 | 0
52 | 0.99954 | -0.0018226 | 0 | 0
53 | 0.99932 | -0.0026425 | 0.19946 | 0.096604
54 | 0.99963 | -0.0014549 | 0.19449 | 0.094197
55 | 0.99916 | 0.001664 | 0.35278 | 0.17086
56 | 0.99773 | 0.00041932 | 0.40341 | 0.19538
57 | 0.99914 | 0.0018616 | 0.30839 | 0.14936
58 | 0.99904 | 0.00084936 | 0 | 0
59 | 0.99907 | 0.0010743 | 1.3499 | 0.65377
60 | 0.99897 | 0.0014743 | 0 | 0
61 | 0.99913 | 0.0017686 | 0.11198 | 0.054233
62 | 0.9997 | -0.0011926 | 0 | 0
63 | 0.99547 | 0.036939 | 0.40411 | 0.19572
64 | 0.99493 | 0.041404 | 0 | 0
65 | 0.99478 | 0.042733 | 0 | 0
66 | 0.99476 | 0.042598 | 0.32333 | 0.1566
67 | 0.99492 | 0.041474 | 0.38455 | 0.18624
68 | 0.99886 | 0.002531 | 0.95251 | 0.46132
69 | 0.99907 | 0.0010965 | 0.37018 | 0.17929
70 | 0.99828 | 0.0024315 | 0.72346 | 0.35039
71 | 0.99838 | 0.0014349 | 0 | 0
72 | 0.99842 | 0.0010766 | 0 | 0
73 | 0.99998 | 0.00022323 | 0.22689 | 0.10989
74 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23557 | -0.11259 | 0.23557 | 0.11158 | 3.2082e-06 | -0.0010051 | 0.0075477 | 0.0075352 | 0.0075477 | 0.99859 | 2.3858e-05 | 0.9986 | -9.014e-05 | 3.4308
1 | 0.07224 | 0.033483 | -0.072239 | -0.034987 | 4.5053e-07 | -0.0015044 | 0.0023017 | 0.0023204 | 0.0023204 | 0.99859 | 2.3858e-05 | 0.99858 | 7.5587e-05 | 1.0547
2 | -0.23557 | -0.11158 | 0.23564 | 0.11082 | 6.8465e-05 | -0.00076412 | 0.0075352 | 0.0075252 | 0.0075352 | 0.9986 | -9.014e-05 | 0.99891 | 0.0020122 | 3.5882
3 | -1.1882 | -0.57107 | 1.1883 | 0.57017 | 7.4767e-05 | -0.00089742 | 0.038098 | 0.038087 | 0.038098 | 0.99891 | 0.0020122 | 0.99897 | 0.0014743 | 17.3173
4 | 0.95257 | 0.46025 | -0.95251 | -0.46132 | 5.6882e-05 | -0.0010686 | 0.030573 | 0.030587 | 0.030587 | 0.99891 | 0.0020122 | 0.99886 | 0.002531 | 13.9031
5 | -1.2379 | -0.59042 | 1.238 | 0.58973 | 6.2166e-05 | -0.00068678 | 0.039652 | 0.039643 | 0.039652 | 0.9985 | 0.00037341 | 0.99855 | -4.8671e-05 | 18.0235
6 | 0.94701 | 0.44953 | -0.94672 | -0.44955 | 0.00028911 | -2.9095e-05 | 0.030307 | 0.030309 | 0.030309 | 0.9985 | 0.00037341 | 0.99818 | -0.0017909 | 14.433
7 | 0.82601 | 0.39339 | -0.82594 | -0.39493 | 6.1158e-05 | -0.0015396 | 0.026449 | 0.026469 | 0.026469 | 0.99855 | -4.8671e-05 | 0.99848 | 0.00057529 | 12.0312
8 | -2.064 | -0.98312 | 2.0646 | 0.98072 | 0.0006346 | -0.0024045 | 0.066092 | 0.06606 | 0.066092 | 0.99855 | -4.8671e-05 | 0.99883 | -0.0026203 | 30.0419
9 | 0.081609 | 0.039474 | -0.081609 | -0.039525 | 1.9899e-08 | -5.1525e-05 | 0.0026218 | 0.0026224 | 0.0026224 | 0.99818 | -0.0017909 | 0.99818 | -0.0017888 | 1.192
10 | 0.86511 | 0.41008 | -0.86501 | -0.41227 | 9.5568e-05 | -0.0021907 | 0.027688 | 0.027715 | 0.027715 | 0.99818 | -0.0017909 | 0.99807 | -0.0008683 | 12.5978
11 | 0.86501 | 0.41227 | -0.86486 | -0.41588 | 0.00015775 | -0.0036054 | 0.027715 | 0.027761 | 0.027761 | 0.99807 | -0.0008683 | 0.99791 | 0.00067988 | 12.6186
12 | 0.40348 | 0.1927 | -0.40344 | -0.19285 | 4.48e-05 | -0.00015055 | 0.012935 | 0.012937 | 0.012937 | 0.99791 | 0.00067988 | 0.99779 | -8.96e-05 | 6.1605
13 | 0.14302 | 0.068991 | -0.14301 | -0.069263 | 8.8076e-06 | -0.00027277 | 0.0045935 | 0.004597 | 0.004597 | 0.99791 | 0.00067988 | 0.99784 | 0.00027081 | 2.1891
14 | 0.82594 | 0.39493 | -0.82591 | -0.39573 | 3.1814e-05 | -0.00079991 | 0.026469 | 0.026479 | 0.026479 | 0.99848 | 0.00057529 | 0.99844 | 0.00090212 | 12.0358
15 | -3.2703 | -1.5433 | 3.2712 | 1.5421 | 0.00093437 | -0.0012499 | 0.10451 | 0.10449 | 0.10451 | 0.99883 | -0.0026203 | 0.9991 | -0.0049638 | 47.505
16 | 1.2056 | 0.56259 | -1.2054 | -0.56254 | 0.00026182 | 4.5653e-05 | 0.038452 | 0.038453 | 0.038453 | 0.99883 | -0.0026203 | 0.9986 | -0.0042523 | 18.311
17 | 0.40344 | 0.19285 | -0.40341 | -0.19538 | 2.3913e-05 | -0.0025306 | 0.012937 | 0.012969 | 0.012969 | 0.99779 | -8.96e-05 | 0.99773 | 0.00041932 | 5.895
18 | 0.72359 | 0.34617 | -0.72358 | -0.34666 | 1.4875e-05 | -0.00048853 | 0.023192 | 0.023198 | 0.023198 | 0.99844 | 0.00090212 | 0.99842 | 0.0010766 | 10.5445
19 | -4.0853 | -1.9363 | 4.086 | 1.9338 | 0.00074376 | -0.0025514 | 0.13063 | 0.13059 | 0.13063 | 0.9991 | -0.0049638 | 0.9993 | -0.0028077 | 36.0845
20 | 1.2054 | 0.56254 | -1.2052 | -0.56417 | 0.00013895 | -0.0016337 | 0.038453 | 0.038474 | 0.038474 | 0.9986 | -0.0042523 | 0.99849 | -0.0033266 | 17.488
21 | -0.16406 | -0.079459 | 0.16406 | 0.078475 | 1.5306e-06 | -0.00098413 | 0.0052707 | 0.0052584 | 0.0052707 | 0.9984 | 0.012784 | 0.99841 | 0.012704 | 2.3958
22 | -2.1968 | -1.0028 | 2.1987 | 0.99665 | 0.0018214 | -0.0061332 | 0.069823 | 0.069743 | 0.069823 | 0.99841 | 0.012704 | 0.99919 | 0.0064777 | 31.7377
23 | 2.0328 | 0.92431 | -2.0308 | -0.93202 | 0.0019425 | -0.007711 | 0.064566 | 0.064665 | 0.064665 | 0.99841 | 0.012704 | 0.99751 | 0.019964 | 29.3932
24 | -2.5569 | -1.165 | 2.5591 | 1.1596 | 0.002212 | -0.0053475 | 0.081178 | 0.081106 | 0.081178 | 0.99919 | 0.0064777 | 1 | 0 | 36.8992
25 | 0.21819 | 0.10053 | -0.21817 | -0.10556 | 1.3707e-05 | -0.0050318 | 0.0069406 | 0.0070027 | 0.0070027 | 0.99919 | 0.0064777 | 0.99913 | 0.0069947 | 3.183
26 | 0.14008 | 0.06778 | -0.14008 | -0.067842 | 1.9182e-06 | -6.227e-05 | 0.0044959 | 0.0044967 | 0.0044967 | 0.99919 | 0.0064777 | 0.99917 | 0.0063873 | 2.1413
27 | 0.30141 | 0.14511 | -0.3014 | -0.14598 | 4.5835e-06 | -0.00086798 | 0.0096808 | 0.0096918 | 0.0096918 | 0.99751 | 0.019964 | 0.9975 | 0.020095 | 4.4054
28 | 1.7294 | 0.78691 | -1.7267 | -0.80204 | 0.0027207 | -0.015127 | 0.054986 | 0.055179 | 0.055179 | 0.99751 | 0.019964 | 0.99604 | 0.032111 | 25.0814
29 | 9.1589 | 4.3589 | -9.1575 | -4.3615 | 0.0014192 | -0.0025656 | 0.29281 | 0.29285 | 0.29285 | 1 | 0 | 0.99984 | -0.00062978 | 45.9019
30 | 0.2269 | 0.10788 | -0.2269 | -0.10797 | 2.5923e-07 | -8.805e-05 | 0.0072526 | 0.0072537 | 0.0072537 | 1 | 0 | 1 | 9.5564e-06 | 3.2971
31 | 0.21817 | 0.10556 | -0.21817 | -0.10566 | 7.7386e-06 | -0.00010068 | 0.0070027 | 0.007004 | 0.007004 | 0.99913 | 0.0069947 | 0.99909 | 0.0067604 | 3.3352
32 | 1.4944 | 0.68964 | -1.4942 | -0.69146 | 0.00024337 | -0.0018244 | 0.047701 | 0.047724 | 0.047724 | 0.99604 | 0.032111 | 0.99589 | 0.033384 | 21.6929
33 | 0.23228 | 0.1124 | -0.23228 | -0.1125 | 3.1549e-07 | -9.9972e-05 | 0.0074788 | 0.00748 | 0.00748 | 0.99604 | 0.032111 | 0.99604 | 0.032123 | 3.4
34 | 1.4942 | 0.69146 | -1.494 | -0.69309 | 0.00021666 | -0.0016221 | 0.047724 | 0.047745 | 0.047745 | 0.99589 | 0.033384 | 0.99575 | 0.034524 | 21.7022
35 | 1.4178 | 0.6562 | -1.4177 | -0.657 | 9.5321e-05 | -0.00079549 | 0.045292 | 0.045302 | 0.045302 | 0.99575 | 0.034524 | 0.99569 | 0.035052 | 20.5919
36 | -0.2219 | -0.10747 | 0.2219 | 0.10582 | 4.7271e-06 | -0.0016538 | 0.0071373 | 0.0071165 | 0.0071373 | 0.9972 | -0.0040492 | 0.99722 | -0.0042316 | 3.2442
37 | -0.2219 | -0.10582 | 0.22192 | 0.10558 | 1.8985e-05 | -0.00023801 | 0.0071165 | 0.0071134 | 0.0071165 | 0.99722 | -0.0042316 | 0.99731 | -0.003632 | 3.3888
38 | -0.29841 | -0.14263 | 0.29842 | 0.14102 | 8.2492e-06 | -0.001602 | 0.0095736 | 0.0095536 | 0.0095736 | 0.99731 | -0.003632 | 0.99734 | -0.0038628 | 4.3516
39 | -0.43483 | -0.20853 | 0.43489 | 0.20344 | 5.5676e-05 | -0.0050883 | 0.01396 | 0.013897 | 0.01396 | 0.99722 | -0.002802 | 0.99734 | -0.0038628 | 6.3455
40 | 0.43483 | 0.20853 | -0.43481 | -0.21034 | 1.9918e-05 | -0.0018088 | 0.01396 | 0.013983 | 0.013983 | 0.99722 | -0.002802 | 0.99718 | -0.0024079 | 6.3559
41 | -0.73331 | -0.34446 | 0.73352 | 0.34434 | 0.00020564 | -0.00012052 | 0.02345 | 0.023447 | 0.02345 | 0.99734 | -0.0038628 | 0.99763 | -0.0017992 | 11.1669
42 | 0.22483 | 0.10864 | -0.22481 | -0.10888 | 1.9946e-05 | -0.0002417 | 0.0072286 | 0.0072318 | 0.0072318 | 0.99718 | -0.0024079 | 0.99708 | -0.0029953 | 3.4437
43 | -1.0732 | -0.50885 | 1.0733 | 0.50885 | 8.6227e-05 | 5.3195e-06 | 0.034367 | 0.034367 | 0.034367 | 0.99763 | -0.0017992 | 0.99772 | -0.001227 | 16.3653
44 | 1.0738 | 0.50064 | -1.0733 | -0.50885 | 0.0005535 | -0.0082084 | 0.034263 | 0.034367 | 0.034367 | 0.9982 | -0.0054256 | 0.99772 | -0.001227 | 15.6211
45 | -1.0738 | -0.50064 | 1.0741 | 0.50066 | 0.00029897 | 1.7186e-05 | 0.034263 | 0.034261 | 0.034263 | 0.9982 | -0.0054256 | 0.99849 | -0.0033266 | 16.3159
46 | 8.2973 | 3.9449 | -8.2961 | -3.9475 | 0.0011425 | -0.0026562 | 0.26526 | 0.2653 | 0.2653 | 0.99984 | -0.00062978 | 0.9997 | -0.0011926 | 41.5829
47 | 0.2269 | 0.10797 | -0.22689 | -0.10989 | 5.6754e-06 | -0.001921 | 0.0072537 | 0.0072777 | 0.0072777 | 1 | 9.5564e-06 | 0.99998 | 0.00022323 | 3.308
48 | -0.30498 | -0.14771 | 0.30499 | 0.14608 | 8.8453e-06 | -0.0016255 | 0.0098249 | 0.0098044 | 0.0098249 | 0.99566 | 0.035326 | 0.99569 | 0.035076 | 4.4659
49 | -0.30499 | -0.14608 | 0.30499 | 0.14592 | 8.6862e-07 | -0.00015999 | 0.0098044 | 0.0098024 | 0.0098044 | 0.99569 | 0.035076 | 0.99569 | 0.035052 | 4.4566
50 | 1.1127 | 0.51107 | -1.1125 | -0.51454 | 0.00025177 | -0.0034625 | 0.035501 | 0.035544 | 0.035544 | 0.99569 | 0.035052 | 0.99548 | 0.036809 | 16.1562
51 | 0.70836 | 0.31945 | -0.70794 | -0.33381 | 0.00041839 | -0.014359 | 0.022534 | 0.02271 | 0.02271 | 0.99548 | 0.036809 | 0.99493 | 0.041404 | 10.3226
52 | 0.40411 | 0.19509 | -0.40411 | -0.19572 | 6.0598e-06 | -0.00063206 | 0.013013 | 0.013021 | 0.013021 | 0.99548 | 0.036809 | 0.99547 | 0.036939 | 5.9185
53 | -4.4163 | -2.0892 | 4.4166 | 2.0861 | 0.00032248 | -0.003108 | 0.14112 | 0.14108 | 0.14112 | 0.99937 | -0.0025177 | 0.99944 | -0.0022086 | 22.1195
54 | 4.0863 | 1.9306 | -4.086 | -1.9338 | 0.00028044 | -0.0031826 | 0.13055 | 0.13059 | 0.13059 | 0.99937 | -0.0025177 | 0.9993 | -0.0028077 | 20.4683
55 | 0.19947 | 0.095407 | -0.19946 | -0.095513 | 6.7344e-06 | -0.00010623 | 0.006387 | 0.0063884 | 0.0063884 | 0.99937 | -0.0025177 | 0.99933 | -0.0027503 | 3.0421
56 | -4.4166 | -2.0861 | 4.417 | 2.0823 | 0.00039872 | -0.0038461 | 0.14108 | 0.14103 | 0.14108 | 0.99944 | -0.0022086 | 0.99954 | -0.0018226 | 22.1132
57 | 0.19946 | 0.095513 | -0.19946 | -0.096299 | 1.7993e-06 | -0.00078568 | 0.0063884 | 0.0063983 | 0.0063983 | 0.99933 | -0.0027503 | 0.99932 | -0.002673 | 2.9083
58 | 0.19946 | 0.096299 | -0.19946 | -0.096604 | 6.9996e-07 | -0.00030499 | 0.0063983 | 0.0064021 | 0.0064021 | 0.99932 | -0.002673 | 0.99932 | -0.0026425 | 2.91
59 | -8.1004 | -3.8564 | 8.1011 | 3.8546 | 0.00073156 | -0.0018022 | 0.2591 | 0.25908 | 0.2591 | 0.99954 | -0.0018226 | 0.99963 | -0.0014549 | 40.612
60 | 3.6834 | 1.7741 | -3.6819 | -1.7756 | 0.0014901 | -0.0014667 | 0.11808 | 0.1181 | 0.1181 | 0.99954 | -0.0018226 | 0.99916 | 0.001664 | 53.6815
61 | -8.2956 | -3.9488 | 8.2961 | 3.9475 | 0.00053425 | -0.0012415 | 0.26532 | 0.2653 | 0.26532 | 0.99963 | -0.0014549 | 0.9997 | -0.0011926 | 41.5859
62 | 0.42038 | 0.20257 | -0.42037 | -0.20351 | 9.5931e-06 | -0.00093864 | 0.013482 | 0.013494 | 0.013494 | 0.99916 | 0.001664 | 0.99914 | 0.0018616 | 6.1336
63 | 1.1885 | 0.56915 | -1.1884 | -0.56913 | 0.00014086 | 2.3236e-05 | 0.038072 | 0.038073 | 0.038073 | 0.99916 | 0.001664 | 0.99904 | 0.00084936 | 18.1301
64 | 1.7202 | 0.833 | -1.7201 | -0.83294 | 0.00015379 | 6.2597e-05 | 0.05522 | 0.055221 | 0.055221 | 0.99916 | 0.001664 | 0.99907 | 0.0010743 | 26.2956
65 | 0.11198 | 0.054152 | -0.11198 | -0.054233 | 1.5765e-06 | -8.0635e-05 | 0.0035937 | 0.0035948 | 0.0035948 | 0.99914 | 0.0018616 | 0.99913 | 0.0017686 | 1.7118
66 | 1.1884 | 0.56913 | -1.1883 | -0.57017 | 8.7233e-05 | -0.0010479 | 0.038073 | 0.038087 | 0.038087 | 0.99904 | 0.00084936 | 0.99897 | 0.0014743 | 17.3121
67 | 0.37018 | 0.17917 | -0.37018 | -0.17929 | 9.4639e-07 | -0.00011935 | 0.011883 | 0.011885 | 0.011885 | 0.99907 | 0.0010743 | 0.99907 | 0.0010965 | 5.4021
68 | 0.38455 | 0.18589 | -0.38455 | -0.18624 | 3.0848e-06 | -0.00035455 | 0.012393 | 0.012397 | 0.012397 | 0.99493 | 0.041404 | 0.99492 | 0.041474 | 5.6351
69 | 0.32339 | 0.14792 | -0.32334 | -0.15656 | 5.2607e-05 | -0.0086421 | 0.010318 | 0.010425 | 0.010425 | 0.99493 | 0.041404 | 0.99478 | 0.042733 | 4.7387
70 | 0.32334 | 0.15656 | -0.32333 | -0.1566 | 6.6344e-06 | -3.6317e-05 | 0.010425 | 0.010426 | 0.010426 | 0.99478 | 0.042733 | 0.99476 | 0.042598 | 4.9646
71 | -0.72346 | -0.35039 | 0.72355 | 0.34766 | 8.3508e-05 | -0.0027342 | 0.023245 | 0.023211 | 0.023245 | 0.99828 | 0.0024315 | 0.99838 | 0.0014349 | 10.566
72 | -0.72355 | -0.34766 | 0.72358 | 0.34666 | 3.0386e-05 | -0.00099706 | 0.023211 | 0.023198 | 0.023211 | 0.99838 | 0.0014349 | 0.99842 | 0.0010766 | 10.5502

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.959 | 5.6369

## res_load
| p_mw | q_mvar
0 | 0.16333 | 0.079104
1 | 0.072239 | 0.034987
2 | 0.29091 | 0.1409
3 | 0.31835 | 0.15419
4 | 0.081609 | 0.039525
5 | 0.14301 | 0.069263
6 | 0.10232 | 0.049555
7 | 0.81406 | 0.39427
8 | 0.16406 | 0.079459
9 | 0.14008 | 0.067842
10 | 0.21817 | 0.10566
11 | 0.3014 | 0.14598
12 | 0.23228 | 0.1125
13 | 0.076155 | 0.036884
14 | 0.2219 | 0.10747
15 | 0.076495 | 0.037048
16 | 0.20999 | 0.1017
17 | 0.33965 | 0.1645
18 | 0.13114 | 0.063513
19 | 0.86024 | 0.41663
20 | 0.30498 | 0.14771
21 | 0.22481 | 0.10888
22 | 0.13053 | 0.06322
23 | 0.19946 | 0.096604
24 | 0.19449 | 0.094197
25 | 0.35278 | 0.17086
26 | 0.40341 | 0.19538
27 | 0.30839 | 0.14936
28 | 1.3499 | 0.65377
29 | 0.11198 | 0.054233
30 | 0.40411 | 0.19572
31 | 0.32333 | 0.1566
32 | 0.38455 | 0.18624
33 | 0.95251 | 0.46132
34 | 0.37018 | 0.17929
35 | 0.72346 | 0.35039
36 | 0.22689 | 0.10989

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1