## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_485_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_485_0_node_50 | 20 | n |  | TRUE
2 | bus_MV_485_0_node_42 | 20 | n |  | TRUE
3 | bus_MV_485_0_node_1 | 20 | n |  | TRUE
4 | bus_MV_485_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_485_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_485_0_node_58 | 20 | n |  | TRUE
7 | bus_MV_485_0_node_60 | 20 | n |  | TRUE
8 | bus_MV_485_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_485_0_node_6 | 20 | n |  | TRUE
10 | bus_MV_485_0_node_75 | 20 | n |  | TRUE
11 | bus_MV_485_0_node_74 | 20 | n |  | TRUE
12 | bus_MV_485_0_node_56 | 20 | n |  | TRUE
13 | bus_MV_485_0_node_61 | 20 | n |  | TRUE
14 | bus_MV_485_0_node_31 | 20 | n |  | TRUE
15 | bus_MV_485_0_node_32 | 20 | n |  | TRUE
16 | bus_MV_485_0_node_62 | 20 | n |  | TRUE
17 | bus_MV_485_0_node_33 | 20 | n |  | TRUE
18 | bus_MV_485_0_node_72 | 20 | n |  | TRUE
19 | bus_MV_485_0_node_7 | 20 | n |  | TRUE
20 | bus_MV_485_0_node_8 | 20 | n |  | TRUE
21 | bus_MV_485_0_node_78 | 20 | n |  | TRUE
22 | bus_MV_485_0_node_43 | 20 | n |  | TRUE
23 | bus_MV_485_0_node_18 | 20 | n |  | TRUE
24 | bus_MV_485_0_node_11 | 20 | n |  | TRUE
25 | bus_MV_485_0_node_41 | 20 | n |  | TRUE
26 | bus_MV_485_0_node_13 | 20 | n |  | TRUE
27 | bus_MV_485_0_node_45 | 20 | n |  | TRUE
28 | bus_MV_485_0_node_12 | 20 | n |  | TRUE
29 | bus_MV_485_0_node_24 | 20 | n |  | TRUE
30 | bus_MV_485_0_node_25 | 20 | n |  | TRUE
31 | bus_MV_485_0_node_38 | 20 | n |  | TRUE
32 | bus_MV_485_0_node_14 | 20 | n |  | TRUE
33 | bus_MV_485_0_node_29 | 20 | n |  | TRUE
34 | bus_MV_485_0_node_77 | 20 | n |  | TRUE
35 | bus_MV_485_0_node_44 | 20 | n |  | TRUE
36 | bus_MV_485_0_node_47 | 20 | n |  | TRUE
37 | bus_MV_485_0_node_40 | 20 | n |  | TRUE
38 | bus_MV_485_0_node_35 | 20 | n |  | TRUE
39 | bus_MV_485_0_node_27 | 20 | n |  | TRUE
40 | bus_MV_485_0_node_37 | 20 | n |  | TRUE
41 | bus_MV_485_0_node_30 | 20 | n |  | TRUE
42 | bus_MV_485_0_node_26 | 20 | n |  | TRUE
43 | bus_MV_485_0_node_36 | 20 | n |  | TRUE
44 | bus_MV_485_0_node_23 | 20 | n |  | TRUE
45 | bus_MV_485_0_node_15 | 20 | n |  | TRUE
46 | bus_MV_485_0_node_16 | 20 | n |  | TRUE
47 | bus_MV_485_0_node_19 | 20 | n |  | TRUE
48 | bus_MV_485_0_node_76 | 20 | n |  | TRUE
49 | bus_MV_485_0_node_17 | 20 | n |  | TRUE
50 | bus_MV_485_0_node_79 | 20 | n |  | TRUE
51 | bus_MV_485_0_node_65 | 20 | n |  | TRUE
52 | bus_MV_485_0_node_64 | 20 | n |  | TRUE
53 | bus_MV_485_0_node_22 | 20 | n |  | TRUE
54 | bus_MV_485_0_node_20 | 20 | n |  | TRUE
55 | bus_MV_485_0_node_70 | 20 | n |  | TRUE
56 | bus_MV_485_0_node_67 | 20 | n |  | TRUE
57 | bus_MV_485_0_node_39 | 20 | n |  | TRUE
58 | bus_MV_485_0_node_63 | 20 | n |  | TRUE
59 | bus_MV_485_0_node_59 | 20 | n |  | TRUE
60 | bus_MV_485_0_node_46 | 20 | n |  | TRUE
61 | bus_MV_485_0_node_34 | 20 | n |  | TRUE
62 | bus_MV_485_0_node_52 | 20 | n |  | TRUE
63 | bus_MV_485_0_node_48 | 20 | n |  | TRUE
64 | bus_MV_485_0_node_49 | 20 | n |  | TRUE
65 | bus_MV_485_0_node_53 | 20 | n |  | TRUE
66 | bus_MV_485_0_node_54 | 20 | n |  | TRUE
67 | bus_MV_485_0_node_55 | 20 | n |  | TRUE
68 | bus_MV_485_0_node_57 | 20 | n |  | TRUE
69 | bus_MV_485_0_node_68 | 20 | n |  | TRUE
70 | bus_MV_485_0_node_66 | 20 | n |  | TRUE
71 | bus_MV_485_0_node_69 | 20 | n |  | TRUE
72 | bus_MV_485_0_node_71 | 20 | n |  | TRUE
73 | bus_MV_485_0_node_73 | 20 | n |  | TRUE
74 | bus_HV_485_0_node_37 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_485_0_load_0 | 0 | 0.081833 | 0.039634 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_485_0_load_50 | 1 | 0.13096 | 0.063428 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_485_0_load_1 | 3 | 0.31537 | 0.15274 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_485_0_load_60 | 7 | 0.070028 | 0.033916 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_485_0_load_75 | 10 | 0.12847 | 0.062223 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_485_0_load_74 | 11 | 0.17692 | 0.085688 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_485_0_load_56 | 12 | 0.13493 | 0.065351 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_485_0_load_61 | 13 | 0.1104 | 0.053467 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_485_0_load_32 | 15 | 0.36025 | 0.17448 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_485_0_load_62 | 16 | 0.28303 | 0.13708 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_485_0_load_72 | 18 | 0.089044 | 0.043126 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_485_0_load_7 | 19 | 0.25952 | 0.12569 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_485_0_load_78 | 21 | 0.10177 | 0.049288 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_485_0_load_43 | 22 | 0.080534 | 0.039004 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_485_0_load_45 | 27 | 0.20286 | 0.098248 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_485_0_load_25 | 30 | 0.38778 | 0.18781 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_485_0_load_38 | 31 | 0.17986 | 0.087111 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_485_0_load_29 | 33 | 0.31331 | 0.15174 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_485_0_load_77 | 34 | 0.28346 | 0.13729 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_485_0_load_47 | 36 | 0.59951 | 0.29036 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_485_0_load_37 | 40 | 0.30386 | 0.14717 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_485_0_load_30 | 41 | 0.20275 | 0.098196 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_485_0_load_36 | 43 | 0.38439 | 0.18617 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_485_0_load_15 | 45 | 0.35573 | 0.17229 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_485_0_load_76 | 48 | 0.063382 | 0.030697 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_485_0_load_79 | 50 | 0.28013 | 0.13567 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_485_0_load_64 | 52 | 0.068269 | 0.033064 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_485_0_load_22 | 53 | 0.40482 | 0.19606 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_485_0_load_20 | 54 | 0.17178 | 0.083198 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_485_0_load_70 | 55 | 0.11236 | 0.054417 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_485_0_load_39 | 57 | 0.079111 | 0.038315 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_485_0_load_63 | 58 | 0.11513 | 0.05576 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_485_0_load_59 | 59 | 0.29907 | 0.14485 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_485_0_load_52 | 62 | 0.085442 | 0.041381 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_485_0_load_49 | 64 | 0.77554 | 0.37561 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_485_0_load_53 | 65 | 0.15048 | 0.072882 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_485_0_load_54 | 66 | 0.07064 | 0.034213 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_485_0_load_57 | 68 | 0.13754 | 0.066614 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_485_0_load_68 | 69 | 0.10774 | 0.05218 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_485_0_load_66 | 70 | 0.13705 | 0.066378 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_485_0_load_69 | 71 | 0.92672 | 0.44883 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_485_0_load_73 | 73 | 0.14568 | 0.070556 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_485_0_line_0 |  | 0 | 1 | 2.0092 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_485_0_line_1 |  | 1 | 2 | 0.007174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_485_0_line_2 |  | 2 | 37 | 0.074043 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_485_0_line_3 |  | 3 | 4 | 2.2115e-05 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_485_0_line_4 |  | 4 | 5 | 0.10214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_485_0_line_5 |  | 5 | 6 | 0.037703 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_485_0_line_6 |  | 5 | 7 | 0.068838 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_485_0_line_7 |  | 6 | 12 | 0.040174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_485_0_line_8 |  | 7 | 13 | 0.043035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_485_0_line_9 |  | 7 | 14 | 0.17376 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
10 | MV_485_0_line_10 |  | 7 | 15 | 0.14165 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_485_0_line_11 |  | 8 | 9 | 0.27447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_485_0_line_12 |  | 8 | 10 | 0.0029161 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_485_0_line_13 |  | 9 | 11 | 0.065193 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_485_0_line_14 |  | 11 | 18 | 0.058657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_485_0_line_15 |  | 12 | 67 | 0.01307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_485_0_line_16 |  | 14 | 38 | 0.004542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_485_0_line_17 |  | 14 | 41 | 0.091903 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
18 | MV_485_0_line_18 |  | 15 | 17 | 0.11679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_485_0_line_19 |  | 16 | 17 | 0.15517 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_485_0_line_20 |  | 17 | 61 | 0.055695 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_485_0_line_21 |  | 18 | 72 | 0.054766 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_485_0_line_22 |  | 19 | 20 | 0.069746 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_485_0_line_23 |  | 19 | 21 | 0.20082 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_485_0_line_24 |  | 20 | 22 | 0.38228 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_485_0_line_25 |  | 22 | 23 | 0.053152 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_485_0_line_26 |  | 23 | 35 | 0.11479 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_485_0_line_27 |  | 23 | 49 | 0.075908 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_485_0_line_28 |  | 24 | 25 | 0.037145 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_485_0_line_29 |  | 24 | 26 | 0.048407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_485_0_line_30 |  | 24 | 27 | 0.028797 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_485_0_line_31 |  | 25 | 36 | 0.029485 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_485_0_line_32 |  | 25 | 37 | 0.062261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_485_0_line_33 |  | 26 | 31 | 0.059177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_485_0_line_34 |  | 27 | 38 | 0.090739 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_485_0_line_35 |  | 28 | 29 | 0.22386 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_485_0_line_36 |  | 28 | 30 | 0.082277 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
37 | MV_485_0_line_37 |  | 29 | 43 | 0.027016 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_485_0_line_38 |  | 29 | 44 | 0.066645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_485_0_line_39 |  | 30 | 42 | 0.028225 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
40 | MV_485_0_line_40 |  | 30 | 32 | 0.37458 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
41 | MV_485_0_line_41 |  | 32 | 33 | 0.11205 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
42 | MV_485_0_line_42 |  | 34 | 35 | 0.013687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_485_0_line_43 |  | 35 | 54 | 0.39601 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_485_0_line_44 |  | 37 | 57 | 0.12878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_485_0_line_45 |  | 38 | 60 | 0.005279 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_485_0_line_46 |  | 39 | 40 | 0.046402 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
47 | MV_485_0_line_47 |  | 39 | 41 | 0.13897 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
48 | MV_485_0_line_48 |  | 39 | 42 | 0.027409 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
49 | MV_485_0_line_49 |  | 44 | 53 | 0.04517 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_485_0_line_50 |  | 45 | 46 | 0.025742 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_485_0_line_51 |  | 46 | 47 | 0.58091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_485_0_line_52 |  | 46 | 48 | 1.3278 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
53 | MV_485_0_line_53 |  | 47 | 51 | 0.1308 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_485_0_line_54 |  | 47 | 52 | 0.054516 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_485_0_line_55 |  | 47 | 53 | 0.11948 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
56 | MV_485_0_line_56 |  | 47 | 49 | 0.22379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_485_0_line_57 |  | 49 | 50 | 0.03184 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_485_0_line_58 |  | 51 | 55 | 0.039786 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_485_0_line_59 |  | 51 | 56 | 0.098413 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_485_0_line_60 |  | 56 | 69 | 0.040763 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_485_0_line_61 |  | 56 | 70 | 0.086799 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_485_0_line_62 |  | 58 | 59 | 0.025412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_485_0_line_63 |  | 59 | 68 | 0.014051 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_485_0_line_64 |  | 60 | 63 | 0.004729 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_485_0_line_65 |  | 60 | 64 | 0.028605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_485_0_line_66 |  | 61 | 62 | 0.035129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_485_0_line_67 |  | 63 | 65 | 0.024011 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
68 | MV_485_0_line_68 |  | 66 | 67 | 0.027266 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_485_0_line_69 |  | 67 | 68 | 0.019712 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_485_0_line_70 |  | 69 | 71 | 0.015382 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_485_0_line_71 |  | 71 | 72 | 0.067094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_485_0_line_72 |  | 72 | 73 | 0.014079 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_485_0_trafo_37 | 25 MVA 110/20 kV | 74 | 40 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2610503.7956 | 1211676.5992
1 | 2612228.5577 | 1212707.2441
2 | 2612230.6479 | 1212714.1078
3 | 2612453.4004 | 1213044.5427
4 | 2612453.4094 | 1213044.5629
5 | 2612542.0697 | 1212993.8638
6 | 2612574.9616 | 1212975.2778
7 | 2612510.9262 | 1212933.7767
8 | 2612503.4692 | 1213196.3301
9 | 2612680.9608 | 1213099.2374
10 | 2612500.7676 | 1213197.4277
11 | 2612739.0181 | 1213069.5815
12 | 2612607.489 | 1212951.7202
13 | 2612545.2407 | 1212910.4092
14 | 2612430.5481 | 1212779.7224
15 | 2612396.2635 | 1212850.6134
16 | 2612288.0769 | 1213070.0001
17 | 2612302.8028 | 1212915.535
18 | 2612791.2552 | 1213042.8986
19 | 2612908.2619 | 1212196.55
20 | 2612965.3965 | 1212236.5512
21 | 2613070.2399 | 1212077.8457
22 | 2613113.5714 | 1212588.9495
23 | 2613150.3555 | 1212626.7173
24 | 2612382.4966 | 1212668.0826
25 | 2612346.6659 | 1212678.2477
26 | 2612423.0102 | 1212663.6084
27 | 2612393.2371 | 1212694.8016
28 | 2612663.3792 | 1212598.3971
29 | 2612872.4808 | 1212524.7902
30 | 2612689.1331 | 1212676.5398
31 | 2612457.0089 | 1212708.9599
32 | 2612585.3771 | 1212316.6194
33 | 2612510.5773 | 1212233.1939
34 | 2613243.8826 | 1212558.6407
35 | 2613250.5031 | 1212570.6287
36 | 2612356.1979 | 1212706.1498
37 | 2612292.2569 | 1212687.152
38 | 2612428.4675 | 1212775.6825
39 | 2612651.2371 | 1212711.2124
40 | 2612666.4996 | 1212755.032
41 | 2612518.012 | 1212750.7438
42 | 2612676.5547 | 1212701.0491
43 | 2612898.4314 | 1212517.2795
44 | 2612898.9563 | 1212584.2137
45 | 2612891.1197 | 1213034.5717
46 | 2612900.6695 | 1213058.4835
47 | 2612925.066 | 1212739.0235
48 | 2613346.7581 | 1214309.1421
49 | 2613107.4377 | 1212670.6701
50 | 2613121.6946 | 1212699.1395
51 | 2612843.4785 | 1212818.0146
52 | 2612948.1126 | 1212788.428
53 | 2612927.1469 | 1212619.561
54 | 2613521.8252 | 1212859.0856
55 | 2612875.4396 | 1212812.8469
56 | 2612799.4078 | 1212905.5138
57 | 2612415.5809 | 1212650.0586
58 | 2612662.5135 | 1212904.9197
59 | 2612643.2676 | 1212921.5127
60 | 2612423.6015 | 1212777.7625
61 | 2612279.016 | 1212865.2136
62 | 2612247.8608 | 1212881.6146
63 | 2612425.4308 | 1212782.1243
64 | 2612398.4081 | 1212791.2733
65 | 2612404.5619 | 1212793.9518
66 | 2612601.5011 | 1212921.6813
67 | 2612617.7259 | 1212943.5944
68 | 2612632.6611 | 1212930.729
69 | 2612810.6796 | 1212943.2497
70 | 2612722.3812 | 1212945.5267
71 | 2612817.5175 | 1212957.0281
72 | 2612840.0265 | 1213017.986
73 | 2612839.8221 | 1213032.0631
74 | 2612666.4996 | 1212755.032

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99833 | -0.020346 | 0.081833 | 0.039634
1 | 0.99864 | -0.018148 | 0.13096 | 0.063428
2 | 0.99864 | -0.018165 | 0 | 0
3 | 0.99813 | -0.023817 | 0.31537 | 0.15274
4 | 0.99813 | -0.023817 | 0 | 0
5 | 0.99817 | -0.024196 | 0 | 0
6 | 0.99813 | -0.023862 | 0 | 0
7 | 0.99826 | -0.02505 | 0.070028 | 0.033916
8 | 0.9967 | -0.01099 | 0 | 0
9 | 0.99674 | -0.011356 | 0 | 0
10 | 0.9967 | -0.010985 | 0.12847 | 0.062223
11 | 0.99675 | -0.011426 | 0.17692 | 0.085688
12 | 0.99809 | -0.023504 | 0.13493 | 0.065351
13 | 0.99826 | -0.024994 | 0.1104 | 0.053467
14 | 0.99893 | -0.020658 | 0 | 0
15 | 0.99806 | -0.026365 | 0.36025 | 0.17448
16 | 0.99792 | -0.02641 | 0.28303 | 0.13708
17 | 0.99801 | -0.025876 | 0 | 0
18 | 0.99678 | -0.011608 | 0.089044 | 0.043126
19 | 0.99671 | -0.01574 | 0.25952 | 0.12569
20 | 0.99676 | -0.015431 | 0 | 0
21 | 0.99667 | -0.01599 | 0.10177 | 0.049288
22 | 0.99702 | -0.013734 | 0.080534 | 0.039004
23 | 0.99705 | -0.014012 | 0 | 0
24 | 0.99873 | -0.018897 | 0 | 0
25 | 0.99869 | -0.018524 | 0 | 0
26 | 0.99872 | -0.018799 | 0 | 0
27 | 0.99877 | -0.019242 | 0.20286 | 0.098248
28 | 0.99935 | -0.011386 | 0 | 0
29 | 0.99883 | -0.017068 | 0 | 0
30 | 0.99977 | -0.00095188 | 0.38778 | 0.18781
31 | 0.9987 | -0.018674 | 0.17986 | 0.087111
32 | 0.99954 | -0.0023824 | 0 | 0
33 | 0.99947 | -0.0028076 | 0.31331 | 0.15174
34 | 0.99698 | -0.013352 | 0.28346 | 0.13729
35 | 0.99699 | -0.013399 | 0 | 0
36 | 0.99866 | -0.018312 | 0.59951 | 0.29036
37 | 0.99866 | -0.018338 | 0 | 0
38 | 0.99892 | -0.020543 | 0 | 0
39 | 0.99986 | -0.00057572 | 0 | 0
40 | 1 | 0 | -9.3953 | -4.4508
41 | 0.99914 | -0.018433 | 0.20275 | 0.098196
42 | 0.99981 | -0.00076139 | 0 | 0
43 | 0.99882 | -0.016944 | 0.38439 | 0.18617
44 | 0.9985 | -0.014184 | 0 | 0
45 | 0.99716 | -0.015125 | 0.35573 | 0.17229
46 | 0.99717 | -0.015235 | 0 | 0
47 | 0.99748 | -0.017826 | 0 | 0
48 | 0.99701 | -0.016348 | 0.063382 | 0.030697
49 | 0.99714 | -0.0148 | 0 | 0
50 | 0.99712 | -0.014909 | 0.28013 | 0.13567
51 | 0.99717 | -0.015132 | 0 | 0
52 | 0.99747 | -0.017783 | 0.068269 | 0.033064
53 | 0.99828 | -0.012224 | 0.40482 | 0.19606
54 | 0.99686 | -0.014234 | 0.17178 | 0.083198
55 | 0.99717 | -0.015079 | 0.11236 | 0.054417
56 | 0.99696 | -0.013214 | 0 | 0
57 | 0.99865 | -0.018228 | 0.079111 | 0.038315
58 | 0.99806 | -0.023176 | 0.11513 | 0.05576
59 | 0.99806 | -0.02321 | 0.29907 | 0.14485
60 | 0.99891 | -0.020485 | 0 | 0
61 | 0.998 | -0.025824 | 0 | 0
62 | 0.998 | -0.025789 | 0.085442 | 0.041381
63 | 0.99891 | -0.020477 | 0 | 0
64 | 0.99888 | -0.02022 | 0.77554 | 0.37561
65 | 0.9989 | -0.020434 | 0.15048 | 0.072882
66 | 0.99808 | -0.023386 | 0.07064 | 0.034213
67 | 0.99808 | -0.023409 | 0 | 0
68 | 0.99807 | -0.023279 | 0.13754 | 0.066614
69 | 0.99688 | -0.012477 | 0.10774 | 0.05218
70 | 0.99694 | -0.013076 | 0.13705 | 0.066378
71 | 0.99685 | -0.012218 | 0.92672 | 0.44883
72 | 0.9968 | -0.011833 | 0 | 0
73 | 0.9968 | -0.011808 | 0.14568 | 0.070556
74 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.081833 | -0.039634 | 0.081858 | 0.037258 | 2.4467e-05 | -0.002376 | 0.0026292 | 0.0025998 | 0.0026292 | 0.99833 | -0.020346 | 0.99864 | -0.018148 | 1.252
1 | -0.21282 | -0.10069 | 0.21282 | 0.10052 | 4.4346e-07 | -0.00017069 | 0.0068057 | 0.0068036 | 0.0068057 | 0.99864 | -0.018148 | 0.99864 | -0.018165 | 3.0935
2 | -0.21282 | -0.10052 | 0.21283 | 0.098754 | 4.561e-06 | -0.0017618 | 0.0068036 | 0.006782 | 0.0068036 | 0.99864 | -0.018165 | 0.99866 | -0.018338 | 3.0925
3 | -0.31537 | -0.15274 | 0.31537 | 0.15274 | 2.8127e-09 | -5.271e-07 | 0.010134 | 0.010134 | 0.010134 | 0.99813 | -0.023817 | 0.99813 | -0.023817 | 4.6065
4 | -0.31537 | -0.15274 | 0.31538 | 0.15031 | 1.3962e-05 | -0.0024254 | 0.010134 | 0.010104 | 0.010134 | 0.99813 | -0.023817 | 0.99817 | -0.024196 | 4.6065
5 | 0.75739 | 0.36259 | -0.75737 | -0.36348 | 2.9698e-05 | -0.00088807 | 0.024285 | 0.024296 | 0.024296 | 0.99817 | -0.024196 | 0.99813 | -0.023862 | 11.0437
6 | -1.0728 | -0.5129 | 1.0729 | 0.5113 | 0.00010861 | -0.0016055 | 0.034389 | 0.034368 | 0.034389 | 0.99817 | -0.024196 | 0.99826 | -0.02505 | 15.6313
7 | 0.75737 | 0.36348 | -0.75733 | -0.36442 | 3.1675e-05 | -0.00094619 | 0.024296 | 0.024308 | 0.024308 | 0.99813 | -0.023862 | 0.99809 | -0.023504 | 11.0491
8 | 0.1104 | 0.052443 | -0.1104 | -0.053467 | 7.2024e-07 | -0.0010237 | 0.0035343 | 0.0035471 | 0.0035471 | 0.99826 | -0.02505 | 0.99826 | -0.024994 | 1.6123
9 | -1.9822 | -0.94541 | 1.9835 | 0.94599 | 0.0012486 | 0.00057522 | 0.063507 | 0.063505 | 0.063507 | 0.99826 | -0.02505 | 0.99893 | -0.020658 | 30.2415
10 | 0.72891 | 0.34776 | -0.72878 | -0.34784 | 0.00013766 | -8.2249e-05 | 0.023355 | 0.023357 | 0.023357 | 0.99826 | -0.02505 | 0.99806 | -0.026365 | 11.1222
11 | -0.12847 | -0.062154 | 0.12848 | 0.055645 | 6.1398e-06 | -0.0065086 | 0.0041336 | 0.004055 | 0.0041336 | 0.9967 | -0.01099 | 0.99674 | -0.011356 | 1.8789
12 | 0.12847 | 0.062154 | -0.12847 | -0.062223 | 6.6554e-08 | -6.9146e-05 | 0.0041336 | 0.0041345 | 0.0041345 | 0.9967 | -0.01099 | 0.9967 | -0.010985 | 1.8793
13 | -0.12848 | -0.055645 | 0.12848 | 0.054099 | 1.4249e-06 | -0.001546 | 0.004055 | 0.0040374 | 0.004055 | 0.99674 | -0.011356 | 0.99675 | -0.011426 | 1.8432
14 | -0.30541 | -0.13979 | 0.30541 | 0.1384 | 7.3971e-06 | -0.0013893 | 0.0097275 | 0.0097108 | 0.0097275 | 0.99675 | -0.011426 | 0.99678 | -0.011608 | 4.4216
15 | 0.6224 | 0.29907 | -0.62239 | -0.29938 | 6.9611e-06 | -0.0003088 | 0.019972 | 0.019976 | 0.019976 | 0.99809 | -0.023504 | 0.99808 | -0.023409 | 9.0799
16 | 2.2006 | 1.0482 | -2.2005 | -1.0483 | 3.0086e-05 | -9.9287e-05 | 0.070439 | 0.070441 | 0.070441 | 0.99893 | -0.020658 | 0.99892 | -0.020543 | 32.0185
17 | -4.184 | -1.9942 | 4.1848 | 1.9917 | 0.00079615 | -0.0025682 | 0.13394 | 0.1339 | 0.13394 | 0.99893 | -0.020658 | 0.99914 | -0.018433 | 37.0011
18 | 0.36852 | 0.17336 | -0.3685 | -0.17613 | 2.1697e-05 | -0.0027712 | 0.011779 | 0.011814 | 0.011814 | 0.99806 | -0.026365 | 0.99801 | -0.025876 | 5.3699
19 | -0.28303 | -0.13708 | 0.28306 | 0.13691 | 2.2873e-05 | -0.00017016 | 0.0090972 | 0.0090949 | 0.0090972 | 0.99792 | -0.02641 | 0.99801 | -0.025876 | 4.332
20 | 0.085443 | 0.039222 | -0.085442 | -0.040546 | 5.5311e-07 | -0.0013243 | 0.0027194 | 0.0027356 | 0.0027356 | 0.99801 | -0.025876 | 0.998 | -0.025824 | 1.2435
21 | -0.39446 | -0.18152 | 0.39447 | 0.18023 | 1.1548e-05 | -0.0012958 | 0.012575 | 0.01256 | 0.012575 | 0.99678 | -0.011608 | 0.9968 | -0.011833 | 5.7161
22 | -0.36129 | -0.17474 | 0.3613 | 0.17467 | 1.6788e-05 | -7.2204e-05 | 0.011624 | 0.011623 | 0.011624 | 0.99671 | -0.01574 | 0.99676 | -0.015431 | 5.535
23 | 0.10177 | 0.049052 | -0.10177 | -0.049288 | 3.8342e-06 | -0.00023575 | 0.0032721 | 0.0032751 | 0.0032751 | 0.99671 | -0.01574 | 0.99667 | -0.01599 | 1.5596
24 | -0.3613 | -0.17467 | 0.3614 | 0.17427 | 9.1962e-05 | -0.00039594 | 0.011623 | 0.011617 | 0.011623 | 0.99676 | -0.015431 | 0.99702 | -0.013734 | 5.5345
25 | -0.44193 | -0.21328 | 0.44194 | 0.21202 | 1.4307e-05 | -0.0012573 | 0.014208 | 0.014192 | 0.014208 | 0.99702 | -0.013734 | 0.99705 | -0.014012 | 6.458
26 | 0.4553 | 0.21699 | -0.45526 | -0.2197 | 3.2753e-05 | -0.0027146 | 0.014603 | 0.014637 | 0.014637 | 0.99705 | -0.014012 | 0.99699 | -0.013399 | 6.6531
27 | -0.89724 | -0.42901 | 0.89733 | 0.42723 | 8.3955e-05 | -0.001777 | 0.028794 | 0.028772 | 0.028794 | 0.99705 | -0.014012 | 0.99714 | -0.0148 | 13.0884
28 | 0.89151 | 0.42131 | -0.89147 | -0.42218 | 4.0297e-05 | -0.00087264 | 0.028501 | 0.028512 | 0.028512 | 0.99873 | -0.018897 | 0.99869 | -0.018524 | 12.96
29 | 0.17987 | 0.08455 | -0.17986 | -0.085702 | 2.1379e-06 | -0.0011522 | 0.0057446 | 0.0057589 | 0.0057589 | 0.99873 | -0.018897 | 0.99872 | -0.018799 | 2.6177
30 | -1.0714 | -0.50586 | 1.0714 | 0.50519 | 4.5075e-05 | -0.00067247 | 0.034246 | 0.034237 | 0.034246 | 0.99873 | -0.018897 | 0.99877 | -0.019242 | 15.5662
31 | 0.59953 | 0.28966 | -0.59951 | -0.29036 | 1.4587e-05 | -0.00069781 | 0.019246 | 0.019255 | 0.019255 | 0.99869 | -0.018524 | 0.99866 | -0.018312 | 8.7523
32 | 0.29195 | 0.13252 | -0.29194 | -0.134 | 7.1525e-06 | -0.0014805 | 0.0092675 | 0.0092853 | 0.0092853 | 0.99869 | -0.018524 | 0.99866 | -0.018338 | 4.2206
33 | 0.17986 | 0.085702 | -0.17986 | -0.087111 | 2.6281e-06 | -0.0014085 | 0.0057589 | 0.0057765 | 0.0057765 | 0.99872 | -0.018799 | 0.9987 | -0.018674 | 2.6257
34 | -1.2743 | -0.60343 | 1.2745 | 0.60133 | 0.00020104 | -0.0021019 | 0.040752 | 0.040725 | 0.040752 | 0.99877 | -0.019242 | 0.99892 | -0.020543 | 18.5234
35 | 4.2869 | 2.0127 | -4.2848 | -2.0189 | 0.0020248 | -0.0061943 | 0.1368 | 0.13689 | 0.13689 | 0.99935 | -0.011386 | 0.99883 | -0.017068 | 37.8161
36 | -4.2869 | -2.0127 | 4.2883 | 2.0142 | 0.0014135 | 0.0015134 | 0.1368 | 0.1368 | 0.1368 | 0.99935 | -0.011386 | 0.99977 | -0.00095188 | 39.0857
37 | 0.38439 | 0.18553 | -0.38439 | -0.18617 | 5.4918e-06 | -0.00064189 | 0.012336 | 0.012344 | 0.012344 | 0.99883 | -0.017068 | 0.99882 | -0.016944 | 5.6108
38 | 3.9004 | 1.8334 | -3.8991 | -1.8345 | 0.0013806 | -0.0011775 | 0.12456 | 0.12458 | 0.12458 | 0.99883 | -0.017068 | 0.9985 | -0.014184 | 56.6266
39 | -4.9894 | -2.3532 | 4.9897 | 2.3516 | 0.00022125 | -0.0016481 | 0.15929 | 0.15926 | 0.15929 | 0.99977 | -0.00095188 | 0.99981 | -0.00076139 | 24.9664
40 | 0.3134 | 0.15122 | -0.31333 | -0.15162 | 6.741e-05 | -0.00040464 | 0.010047 | 0.010053 | 0.010053 | 0.99977 | -0.00095188 | 0.99954 | -0.0023824 | 4.7871
41 | 0.31333 | 0.15162 | -0.31331 | -0.15174 | 2.0179e-05 | -0.00012099 | 0.010053 | 0.010055 | 0.010055 | 0.99954 | -0.0023824 | 0.99947 | -0.0028076 | 4.7879
42 | -0.28346 | -0.13729 | 0.28346 | 0.13696 | 1.5189e-06 | -0.00032437 | 0.0091195 | 0.0091154 | 0.0091195 | 0.99698 | -0.013352 | 0.99699 | -0.013399 | 4.1452
43 | 0.1718 | 0.082742 | -0.17178 | -0.083198 | 2.1533e-05 | -0.00045636 | 0.0055214 | 0.0055273 | 0.0055273 | 0.99699 | -0.013399 | 0.99686 | -0.014234 | 2.632
44 | 0.079113 | 0.035249 | -0.079111 | -0.038315 | 1.0935e-06 | -0.0030662 | 0.0025036 | 0.0025409 | 0.0025409 | 0.99866 | -0.018338 | 0.99865 | -0.018228 | 1.155
45 | 0.92605 | 0.44701 | -0.92605 | -0.44713 | 6.2238e-06 | -0.00012392 | 0.029717 | 0.029718 | 0.029718 | 0.99892 | -0.020543 | 0.99891 | -0.020485 | 13.5083
46 | -9.38 | -4.4425 | 9.3813 | 4.4403 | 0.0012873 | -0.0021902 | 0.29965 | 0.29962 | 0.29965 | 0.99986 | -0.00057572 | 1 | 0 | 46.9676
47 | 4.3901 | 2.0926 | -4.3876 | -2.0899 | 0.0025152 | 0.0027024 | 0.14041 | 0.14041 | 0.14041 | 0.99986 | -0.00057572 | 0.99914 | -0.018433 | 40.1182
48 | 4.9899 | 2.35 | -4.9897 | -2.3516 | 0.00021479 | -0.0016006 | 0.15924 | 0.15926 | 0.15926 | 0.99986 | -0.00057572 | 0.99981 | -0.00076139 | 24.963
49 | 3.8991 | 1.8345 | -3.8981 | -1.8353 | 0.00093597 | -0.00079738 | 0.12458 | 0.12459 | 0.12459 | 0.9985 | -0.014184 | 0.99828 | -0.012224 | 56.6326
50 | -0.35573 | -0.17229 | 0.35573 | 0.17168 | 4.4965e-06 | -0.0006098 | 0.011442 | 0.011435 | 0.011442 | 0.99716 | -0.015125 | 0.99717 | -0.015235 | 5.2011
51 | -0.41912 | -0.2008 | 0.41926 | 0.18705 | 0.00013861 | -0.013755 | 0.013454 | 0.013286 | 0.013454 | 0.99717 | -0.015235 | 0.99748 | -0.017826 | 6.1155
52 | 0.063392 | 0.029127 | -0.063382 | -0.030697 | 9.742e-06 | -0.0015699 | 0.0020196 | 0.0020391 | 0.0020391 | 0.99717 | -0.015235 | 0.99701 | -0.016348 | 0.97099
53 | 1.8252 | 0.86125 | -1.8246 | -0.86418 | 0.00059611 | -0.0029295 | 0.058408 | 0.058447 | 0.058447 | 0.99748 | -0.017826 | 0.99717 | -0.015132 | 26.5667
54 | 0.068269 | 0.031769 | -0.068269 | -0.033064 | 3.4815e-07 | -0.001295 | 0.0021792 | 0.0021953 | 0.0021953 | 0.99748 | -0.017826 | 0.99747 | -0.017783 | 0.99785
55 | -3.4906 | -1.6377 | 3.4933 | 1.6393 | 0.0026507 | 0.0015183 | 0.11159 | 0.11159 | 0.11159 | 0.99748 | -0.017826 | 0.99828 | -0.012224 | 53.1368
56 | 1.1779 | 0.55768 | -1.1775 | -0.56287 | 0.00042573 | -0.0051882 | 0.037716 | 0.037782 | 0.037782 | 0.99748 | -0.017826 | 0.99714 | -0.0148 | 17.1738
57 | 0.28013 | 0.13564 | -0.28013 | -0.13567 | 4.606e-06 | -3.4908e-05 | 0.0090105 | 0.009011 | 0.009011 | 0.99714 | -0.0148 | 0.99712 | -0.014909 | 4.2909
58 | 0.11236 | 0.053473 | -0.11236 | -0.054417 | 6.9149e-07 | -0.00094436 | 0.0036023 | 0.0036141 | 0.0036141 | 0.99717 | -0.015132 | 0.99717 | -0.015079 | 1.6428
59 | 1.7123 | 0.8107 | -1.7119 | -0.81292 | 0.00039539 | -0.0022187 | 0.054844 | 0.054873 | 0.054873 | 0.99717 | -0.015132 | 0.99696 | -0.013214 | 24.9425
60 | 1.5748 | 0.7486 | -1.5747 | -0.74953 | 0.00013876 | -0.00092612 | 0.05049 | 0.050502 | 0.050502 | 0.99696 | -0.013214 | 0.99688 | -0.012477 | 22.9553
61 | 0.13706 | 0.064319 | -0.13705 | -0.066378 | 2.2399e-06 | -0.0020592 | 0.0043838 | 0.0044095 | 0.0044095 | 0.99696 | -0.013214 | 0.99694 | -0.013076 | 2.0043
62 | -0.11513 | -0.05576 | 0.11513 | 0.055155 | 4.6346e-07 | -0.00060424 | 0.0037 | 0.0036924 | 0.0037 | 0.99806 | -0.023176 | 0.99806 | -0.02321 | 1.6818
63 | -0.4142 | -0.2 | 0.41421 | 0.19967 | 3.319e-06 | -0.00033321 | 0.013304 | 0.0133 | 0.013304 | 0.99806 | -0.02321 | 0.99807 | -0.023279 | 6.0471
64 | 0.15048 | 0.072197 | -0.15048 | -0.07231 | 1.4691e-07 | -0.00011262 | 0.0048234 | 0.0048248 | 0.0048248 | 0.99891 | -0.020485 | 0.99891 | -0.020477 | 2.1931
65 | 0.77556 | 0.37494 | -0.77554 | -0.37561 | 2.3675e-05 | -0.00067445 | 0.024895 | 0.024903 | 0.024903 | 0.99891 | -0.020485 | 0.99888 | -0.02022 | 11.3197
66 | 0.085442 | 0.040546 | -0.085442 | -0.041381 | 3.5229e-07 | -0.00083529 | 0.0027356 | 0.002746 | 0.002746 | 0.998 | -0.025824 | 0.998 | -0.025789 | 1.2482
67 | 0.15048 | 0.07231 | -0.15048 | -0.072882 | 7.4732e-07 | -0.00057182 | 0.0048248 | 0.004832 | 0.004832 | 0.99891 | -0.020477 | 0.9989 | -0.020434 | 2.1964
68 | -0.07064 | -0.034213 | 0.07064 | 0.033564 | 1.8691e-07 | -0.00064845 | 0.0022701 | 0.002262 | 0.0022701 | 0.99808 | -0.023386 | 0.99808 | -0.023409 | 1.0319
69 | 0.55175 | 0.26582 | -0.55175 | -0.26628 | 8.2601e-06 | -0.0004664 | 0.017714 | 0.01772 | 0.01772 | 0.99808 | -0.023409 | 0.99807 | -0.023279 | 8.0544
70 | 1.4669 | 0.69735 | -1.4669 | -0.6977 | 4.5434e-05 | -0.00035148 | 0.047035 | 0.04704 | 0.04704 | 0.99688 | -0.012477 | 0.99685 | -0.012218 | 21.3817
71 | 0.54018 | 0.24887 | -0.54015 | -0.25045 | 2.66e-05 | -0.0015839 | 0.017223 | 0.017243 | 0.017243 | 0.99685 | -0.012218 | 0.9968 | -0.011833 | 7.8375
72 | 0.14568 | 0.070222 | -0.14568 | -0.070556 | 4.1265e-07 | -0.00033387 | 0.0046835 | 0.0046877 | 0.0046877 | 0.9968 | -0.011833 | 0.9968 | -0.011808 | 2.1308

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 9.6991 | 4.598

## res_load
| p_mw | q_mvar
0 | 0.081833 | 0.039634
1 | 0.13096 | 0.063428
2 | 0.31537 | 0.15274
3 | 0.070028 | 0.033916
4 | 0.12847 | 0.062223
5 | 0.17692 | 0.085688
6 | 0.13493 | 0.065351
7 | 0.1104 | 0.053467
8 | 0.36025 | 0.17448
9 | 0.28303 | 0.13708
10 | 0.089044 | 0.043126
11 | 0.25952 | 0.12569
12 | 0.10177 | 0.049288
13 | 0.080534 | 0.039004
14 | 0.20286 | 0.098248
15 | 0.38778 | 0.18781
16 | 0.17986 | 0.087111
17 | 0.31331 | 0.15174
18 | 0.28346 | 0.13729
19 | 0.59951 | 0.29036
20 | 0.30386 | 0.14717
21 | 0.20275 | 0.098196
22 | 0.38439 | 0.18617
23 | 0.35573 | 0.17229
24 | 0.063382 | 0.030697
25 | 0.28013 | 0.13567
26 | 0.068269 | 0.033064
27 | 0.40482 | 0.19606
28 | 0.17178 | 0.083198
29 | 0.11236 | 0.054417
30 | 0.079111 | 0.038315
31 | 0.11513 | 0.05576
32 | 0.29907 | 0.14485
33 | 0.085442 | 0.041381
34 | 0.77554 | 0.37561
35 | 0.15048 | 0.072882
36 | 0.07064 | 0.034213
37 | 0.13754 | 0.066614
38 | 0.10774 | 0.05218
39 | 0.13705 | 0.066378
40 | 0.92672 | 0.44883
41 | 0.14568 | 0.070556

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1