## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_486_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_486_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_486_0_node_43 | 20 | n |  | TRUE
3 | bus_MV_486_0_node_163 | 20 | n |  | TRUE
4 | bus_MV_486_0_node_2 | 20 | n |  | TRUE
5 | bus_MV_486_0_node_3 | 20 | n |  | TRUE
6 | bus_MV_486_0_node_124 | 20 | n |  | TRUE
7 | bus_MV_486_0_node_4 | 20 | n |  | TRUE
8 | bus_MV_486_0_node_5 | 20 | n |  | TRUE
9 | bus_MV_486_0_node_161 | 20 | n |  | TRUE
10 | bus_MV_486_0_node_6 | 20 | n |  | TRUE
11 | bus_MV_486_0_node_8 | 20 | n |  | TRUE
12 | bus_MV_486_0_node_9 | 20 | n |  | TRUE
13 | bus_MV_486_0_node_10 | 20 | n |  | TRUE
14 | bus_MV_486_0_node_11 | 20 | n |  | TRUE
15 | bus_MV_486_0_node_18 | 20 | n |  | TRUE
16 | bus_MV_486_0_node_25 | 20 | n |  | TRUE
17 | bus_MV_486_0_node_26 | 20 | n |  | TRUE
18 | bus_MV_486_0_node_13 | 20 | n |  | TRUE
19 | bus_MV_486_0_node_127 | 20 | n |  | TRUE
20 | bus_MV_486_0_node_12 | 20 | n |  | TRUE
21 | bus_MV_486_0_node_15 | 20 | n |  | TRUE
22 | bus_MV_486_0_node_14 | 20 | n |  | TRUE
23 | bus_MV_486_0_node_16 | 20 | n |  | TRUE
24 | bus_MV_486_0_node_129 | 20 | n |  | TRUE
25 | bus_MV_486_0_node_42 | 20 | n |  | TRUE
26 | bus_MV_486_0_node_17 | 20 | n |  | TRUE
27 | bus_MV_486_0_node_20 | 20 | n |  | TRUE
28 | bus_MV_486_0_node_21 | 20 | n |  | TRUE
29 | bus_MV_486_0_node_22 | 20 | n |  | TRUE
30 | bus_MV_486_0_node_23 | 20 | n |  | TRUE
31 | bus_MV_486_0_node_126 | 20 | n |  | TRUE
32 | bus_MV_486_0_node_24 | 20 | n |  | TRUE
33 | bus_MV_486_0_node_27 | 20 | n |  | TRUE
34 | bus_MV_486_0_node_159 | 20 | n |  | TRUE
35 | bus_MV_486_0_node_28 | 20 | n |  | TRUE
36 | bus_MV_486_0_node_29 | 20 | n |  | TRUE
37 | bus_MV_486_0_node_30 | 20 | n |  | TRUE
38 | bus_MV_486_0_node_31 | 20 | n |  | TRUE
39 | bus_MV_486_0_node_37 | 20 | n |  | TRUE
40 | bus_MV_486_0_node_32 | 20 | n |  | TRUE
41 | bus_MV_486_0_node_44 | 20 | n |  | TRUE
42 | bus_MV_486_0_node_128 | 20 | n |  | TRUE
43 | bus_MV_486_0_node_120 | 20 | n |  | TRUE
44 | bus_MV_486_0_node_125 | 20 | n |  | TRUE
45 | bus_MV_486_0_node_40 | 20 | n |  | TRUE
46 | bus_MV_486_0_node_146 | 20 | n |  | TRUE
47 | bus_MV_486_0_node_122 | 20 | n |  | TRUE
48 | bus_MV_486_0_node_147 | 20 | n |  | TRUE
49 | bus_MV_486_0_node_148 | 20 | n |  | TRUE
50 | bus_MV_486_0_node_121 | 20 | n |  | TRUE
51 | bus_MV_486_0_node_123 | 20 | n |  | TRUE
52 | bus_HV_486_0_node_127 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_486_0_load_0 | 0 | 0.086487 | 0.041887 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_486_0_load_163 | 3 | 0.12629 | 0.061165 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_486_0_load_2 | 4 | 0.11192 | 0.054205 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_486_0_load_161 | 9 | 0.087977 | 0.042609 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_486_0_load_6 | 10 | 0.14565 | 0.07054 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_486_0_load_8 | 11 | 0.094205 | 0.045626 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_486_0_load_26 | 17 | 0.16134 | 0.07814 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_486_0_load_13 | 18 | 0.1599 | 0.077443 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_486_0_load_127 | 19 | 0.19055 | 0.09229 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_486_0_load_12 | 20 | 0.052474 | 0.025414 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_486_0_load_14 | 22 | 0.085171 | 0.04125 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_486_0_load_16 | 23 | 0.10051 | 0.048681 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_486_0_load_42 | 25 | 0.072842 | 0.035279 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_486_0_load_17 | 26 | 0.1193 | 0.057782 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_486_0_load_20 | 27 | 0.16123 | 0.078088 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_486_0_load_126 | 31 | 0.076525 | 0.037063 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_486_0_load_27 | 33 | 0.13504 | 0.065405 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_486_0_load_159 | 34 | 0.13448 | 0.065131 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_486_0_load_28 | 35 | 0.14873 | 0.072035 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_486_0_load_37 | 39 | 0.1211 | 0.058654 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_486_0_load_32 | 40 | 0.10333 | 0.050045 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_486_0_load_44 | 41 | 0.1306 | 0.063251 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_486_0_load_128 | 42 | 0.08513 | 0.04123 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_486_0_load_120 | 43 | 0.24329 | 0.11783 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_486_0_load_40 | 45 | 0.051834 | 0.025104 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_486_0_load_146 | 46 | 0.11564 | 0.056007 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_486_0_load_148 | 49 | 0.1049 | 0.050807 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_486_0_load_123 | 51 | 0.096862 | 0.046912 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_486_0_line_0 |  | 0 | 1 | 0.007289 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_486_0_line_1 |  | 0 | 2 | 1.3023 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_486_0_line_2 |  | 1 | 3 | 0.61328 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
3 | MV_486_0_line_3 |  | 2 | 41 | 1.0536 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_486_0_line_4 |  | 2 | 25 | 0.060622 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_486_0_line_5 |  | 3 | 44 | 0.086562 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_486_0_line_6 |  | 4 | 5 | 0.20441 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_486_0_line_7 |  | 4 | 6 | 0.77683 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_486_0_line_8 |  | 5 | 7 | 0.21672 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_486_0_line_9 |  | 5 | 8 | 0.70069 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_486_0_line_10 |  | 6 | 44 | 0.086059 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_486_0_line_11 |  | 6 | 51 | 0.097331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_486_0_line_12 |  | 7 | 9 | 0.13423 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_486_0_line_13 |  | 8 | 10 | 0.006632 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_486_0_line_14 |  | 11 | 12 | 0.064984 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_486_0_line_15 |  | 12 | 13 | 0.39351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_486_0_line_16 |  | 12 | 14 | 1.0607 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_486_0_line_17 |  | 13 | 15 | 0.39111 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_486_0_line_18 |  | 13 | 16 | 0.45276 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_486_0_line_19 |  | 13 | 17 | 0.10518 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
20 | MV_486_0_line_20 |  | 14 | 18 | 0.053545 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_486_0_line_21 |  | 14 | 19 | 0.037684 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_486_0_line_22 |  | 14 | 20 | 0.025522 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_486_0_line_23 |  | 15 | 26 | 0.052661 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_486_0_line_24 |  | 16 | 34 | 0.068355 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_486_0_line_25 |  | 17 | 32 | 0.06245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_486_0_line_26 |  | 18 | 21 | 0.039639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_486_0_line_27 |  | 18 | 22 | 0.043005 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
28 | MV_486_0_line_28 |  | 21 | 24 | 0.051509 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_486_0_line_29 |  | 22 | 23 | 0.016323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_486_0_line_30 |  | 23 | 25 | 0.58135 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
31 | MV_486_0_line_31 |  | 24 | 42 | 0.0098687 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_486_0_line_32 |  | 25 | 45 | 0.60449 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_486_0_line_33 |  | 27 | 28 | 0.077397 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_486_0_line_34 |  | 28 | 29 | 0.70783 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_486_0_line_35 |  | 28 | 30 | 0.34889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_486_0_line_36 |  | 29 | 31 | 0.064065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_486_0_line_37 |  | 30 | 32 | 0.55068 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_486_0_line_38 |  | 30 | 33 | 0.016261 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_486_0_line_39 |  | 35 | 36 | 0.014259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_486_0_line_40 |  | 35 | 37 | 0.10871 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_486_0_line_41 |  | 36 | 38 | 0.44617 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_486_0_line_42 |  | 36 | 39 | 0.28443 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
43 | MV_486_0_line_43 |  | 37 | 40 | 0.039226 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_486_0_line_44 |  | 38 | 41 | 0.14588 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_486_0_line_45 |  | 39 | 43 | 1.1452 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
46 | MV_486_0_line_46 |  | 43 | 50 | 0.026245 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_486_0_line_47 |  | 46 | 47 | 0.11716 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_486_0_line_48 |  | 47 | 48 | 0.036067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_486_0_line_49 |  | 47 | 50 | 0.074542 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_486_0_line_50 |  | 48 | 49 | 0.0075604 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_486_0_trafo_127 | 25 MVA 110/20 kV | 52 | 19 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2657350.2199 | 1272770.3985
1 | 2657348.294 | 1272777.4296
2 | 2658600.2724 | 1272405.1208
3 | 2657006.9745 | 1273286.948
4 | 2657636.7136 | 1273941.6272
5 | 2657543.0822 | 1274123.3314
6 | 2657045.485 | 1273437.735
7 | 2657439.5795 | 1274257.6714
8 | 2658041.0645 | 1274386.4509
9 | 2657322.445 | 1274192.1164
10 | 2658047.0662 | 1274389.3121
11 | 2659861.001 | 1273277.4523
12 | 2659827.8955 | 1273333.371
13 | 2660035.7785 | 1273443.8097
14 | 2659278.5036 | 1272580.8662
15 | 2660349.6237 | 1273210.4174
16 | 2660440.601 | 1273646.5612
17 | 2660134.5886 | 1273479.8537
18 | 2659260.6899 | 1272530.3711
19 | 2659245.4668 | 1272598.6291
20 | 2659257.9813 | 1272565.6932
21 | 2659250.7264 | 1272491.9973
22 | 2659218.8996 | 1272540.5188
23 | 2659205.5062 | 1272549.8498
24 | 2659283.3613 | 1272508.3039
25 | 2658631.6081 | 1272457.0491
26 | 2660397.7126 | 1273231.881
27 | 2660673.3539 | 1273382.1994
28 | 2660627.1924 | 1273442.7165
29 | 2661027.9427 | 1273761.0559
30 | 2660596.2736 | 1273649.7476
31 | 2660966.1194 | 1273744.26
32 | 2660172.9827 | 1273436.4669
33 | 2660610.911 | 1273656.8301
34 | 2660410.7954 | 1273708.1148
35 | 2658877.2827 | 1271128.5026
36 | 2658890.5985 | 1271133.706
37 | 2658892.8172 | 1271021.3761
38 | 2658877.0568 | 1271369.9283
39 | 2659175.024 | 1271132.6912
40 | 2658906.3639 | 1270984.6054
41 | 2658731.5417 | 1271359.6834
42 | 2659292.9358 | 1272505.9124
43 | 2660209.6615 | 1271623.5955
44 | 2657059.5403 | 1273353.6176
45 | 2658853.6756 | 1273019.2762
46 | 2660354.2533 | 1271578.2467
47 | 2660266.0748 | 1271592.1022
48 | 2660280.2465 | 1271558.9325
49 | 2660283.339 | 1271552.0336
50 | 2660228.1414 | 1271642.1981
51 | 2656960.3932 | 1273405.4853
52 | 2659245.4668 | 1272598.6291

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99581 | -0.026761 | 0.086487 | 0.041887
1 | 0.99581 | -0.026725 | 0 | 0
2 | 0.99744 | -0.012899 | 0 | 0
3 | 0.99515 | -0.032552 | 0.12629 | 0.061165
4 | 0.99455 | -0.036726 | 0.11192 | 0.054205
5 | 0.99446 | -0.037698 | 0 | 0
6 | 0.99505 | -0.031934 | 0 | 0
7 | 0.99443 | -0.037506 | 0 | 0
8 | 0.99433 | -0.036844 | 0 | 0
9 | 0.99441 | -0.037651 | 0.087977 | 0.042609
10 | 0.99433 | -0.036832 | 0.14565 | 0.07054
11 | 0.99867 | 0.007574 | 0.094205 | 0.045626
12 | 0.99868 | 0.0076484 | 0 | 0
13 | 0.99829 | 0.010088 | 0 | 0
14 | 0.99985 | 0.0010636 | 0 | 0
15 | 0.9982 | 0.0095122 | 0 | 0
16 | 0.99818 | 0.0092763 | 0 | 0
17 | 0.99819 | 0.0090155 | 0.16134 | 0.07814
18 | 0.9997 | 0.0022566 | 0.1599 | 0.077443
19 | 1 | 0 | -3.1377 | -1.3793
20 | 0.99985 | 0.0010474 | 0.052474 | 0.025414
21 | 0.9997 | 0.0022921 | 0 | 0
22 | 0.99954 | 0.0010348 | 0.085171 | 0.04125
23 | 0.99951 | 0.0013375 | 0.10051 | 0.048681
24 | 0.99969 | 0.0023418 | 0 | 0
25 | 0.99756 | -0.013869 | 0.072842 | 0.035279
26 | 0.99819 | 0.0094359 | 0.1193 | 0.057782
27 | 0.99779 | 0.010941 | 0.16123 | 0.078088
28 | 0.9978 | 0.010795 | 0 | 0
29 | 0.99774 | 0.010996 | 0 | 0
30 | 0.99791 | 0.010342 | 0 | 0
31 | 0.99773 | 0.011052 | 0.076525 | 0.037063
32 | 0.99816 | 0.0091245 | 0 | 0
33 | 0.9979 | 0.010368 | 0.13504 | 0.065405
34 | 0.99817 | 0.0093831 | 0.13448 | 0.065131
35 | 0.99476 | -0.025097 | 0.14873 | 0.072035
36 | 0.99476 | -0.025137 | 0 | 0
37 | 0.99475 | -0.024976 | 0 | 0
38 | 0.99524 | -0.029169 | 0 | 0
39 | 0.99444 | -0.027357 | 0.1211 | 0.058654
40 | 0.99474 | -0.024929 | 0.10333 | 0.050045
41 | 0.99547 | -0.027398 | 0.1306 | 0.063251
42 | 0.99969 | 0.0023518 | 0.08513 | 0.04123
43 | 0.99342 | -0.034529 | 0.24329 | 0.11783
44 | 0.9951 | -0.032248 | 0 | 0
45 | 0.9975 | -0.014268 | 0.051834 | 0.025104
46 | 0.99337 | -0.034138 | 0.11564 | 0.056007
47 | 0.99339 | -0.034292 | 0 | 0
48 | 0.99338 | -0.034247 | 0 | 0
49 | 0.99338 | -0.034238 | 0.1049 | 0.050807
50 | 0.99341 | -0.034469 | 0 | 0
51 | 0.99504 | -0.031827 | 0.096862 | 0.046912
52 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.5693 | 0.24538 | -0.5693 | -0.24555 | 3.143e-06 | -0.00017165 | 0.017971 | 0.017973 | 0.017973 | 0.99581 | -0.026761 | 0.99581 | -0.026725 | 8.1696
1 | -0.65579 | -0.28726 | 0.65679 | 0.28634 | 0.00099863 | -0.00091875 | 0.020754 | 0.020737 | 0.020754 | 0.99581 | -0.026761 | 0.99744 | -0.012899 | 9.8831
2 | 0.5693 | 0.24555 | -0.56895 | -0.24605 | 0.00035313 | -0.00050434 | 0.017973 | 0.017981 | 0.017981 | 0.99581 | -0.026725 | 0.99515 | -0.032552 | 8.5626
3 | 0.97065 | 0.44675 | -0.96885 | -0.44687 | 0.0017962 | -0.00012386 | 0.030925 | 0.03094 | 0.03094 | 0.99744 | -0.012899 | 0.99547 | -0.027398 | 14.7333
4 | -1.6274 | -0.73309 | 1.6277 | 0.73171 | 0.0002159 | -0.0013761 | 0.051659 | 0.051642 | 0.051659 | 0.99744 | -0.012899 | 0.99756 | -0.013869 | 23.4813
5 | 0.44266 | 0.18489 | -0.44263 | -0.18693 | 2.2415e-05 | -0.00204 | 0.013916 | 0.013939 | 0.013939 | 0.99515 | -0.032552 | 0.9951 | -0.032248 | 6.3358
6 | 0.23367 | 0.090953 | -0.23365 | -0.091182 | 1.9298e-05 | -0.00022926 | 0.007278 | 0.0072806 | 0.0072806 | 0.99455 | -0.036726 | 0.99446 | -0.037698 | 3.4669
7 | -0.34558 | -0.14516 | 0.34575 | 0.14434 | 0.00016368 | -0.00081523 | 0.01088 | 0.01087 | 0.01088 | 0.99455 | -0.036726 | 0.99505 | -0.031934 | 5.1809
8 | 0.087981 | 0.037335 | -0.087979 | -0.042452 | 2.2751e-06 | -0.0051163 | 0.0027744 | 0.0028357 | 0.0028357 | 0.99446 | -0.037698 | 0.99443 | -0.037506 | 1.289
9 | 0.14567 | 0.053847 | -0.14565 | -0.070383 | 1.9767e-05 | -0.016537 | 0.0045081 | 0.0046963 | 0.0046963 | 0.99446 | -0.037698 | 0.99433 | -0.036844 | 2.1347
10 | -0.44261 | -0.18895 | 0.44263 | 0.18693 | 2.2358e-05 | -0.0020279 | 0.013962 | 0.013939 | 0.013962 | 0.99505 | -0.031934 | 0.9951 | -0.032248 | 6.3463
11 | 0.096863 | 0.044612 | -0.096862 | -0.046912 | 1.2551e-06 | -0.0023005 | 0.0030938 | 0.0031223 | 0.0031223 | 0.99505 | -0.031934 | 0.99504 | -0.031827 | 1.4192
12 | 0.087979 | 0.042452 | -0.087977 | -0.042609 | 1.9245e-06 | -0.00015726 | 0.0028357 | 0.0028377 | 0.0028377 | 0.99443 | -0.037506 | 0.99441 | -0.037651 | 1.3513
13 | 0.14565 | 0.070383 | -0.14565 | -0.07054 | 1.9536e-07 | -0.0001565 | 0.0046963 | 0.0046983 | 0.0046983 | 0.99433 | -0.036844 | 0.99433 | -0.036832 | 2.1356
14 | -0.094205 | -0.045626 | 0.094206 | 0.045549 | 1.0596e-06 | -7.6709e-05 | 0.0030257 | 0.0030247 | 0.0030257 | 0.99867 | 0.007574 | 0.99868 | 0.0076484 | 1.4408
15 | 0.78847 | 0.32616 | -0.78815 | -0.33543 | 0.00032092 | -0.0092719 | 0.024664 | 0.024769 | 0.024769 | 0.99868 | 0.0076484 | 0.99829 | 0.010088 | 11.2586
16 | -0.88267 | -0.37171 | 0.88375 | 0.34674 | 0.0010743 | -0.024969 | 0.027684 | 0.027409 | 0.027684 | 0.99868 | 0.0076484 | 0.99985 | 0.0010636 | 12.5837
17 | 0.11932 | 0.057261 | -0.11931 | -0.05772 | 1.0221e-05 | -0.00045888 | 0.003827 | 0.0038328 | 0.0038328 | 0.99829 | 0.010088 | 0.9982 | 0.0095122 | 1.8252
18 | 0.1345 | 0.062977 | -0.13448 | -0.063506 | 1.49e-05 | -0.00052927 | 0.0042944 | 0.0043011 | 0.0043011 | 0.99829 | 0.010088 | 0.99818 | 0.0092763 | 2.0481
19 | 0.53433 | 0.21519 | -0.53428 | -0.21529 | 5.2e-05 | -9.2551e-05 | 0.016657 | 0.016659 | 0.016659 | 0.99829 | 0.010088 | 0.99819 | 0.0090155 | 7.9327
20 | 2.187 | 0.99748 | -2.1866 | -0.99865 | 0.00034435 | -0.0011757 | 0.069399 | 0.069414 | 0.069414 | 0.99985 | 0.0010636 | 0.9997 | 0.0022566 | 31.552
21 | -3.1232 | -1.3696 | 3.1237 | 1.3688 | 0.00048766 | -0.00075495 | 0.098461 | 0.098451 | 0.098461 | 0.99985 | 0.0010636 | 1 | 0 | 44.7551
22 | 0.052474 | 0.025384 | -0.052474 | -0.025414 | 1.2883e-07 | -3.0379e-05 | 0.001683 | 0.0016834 | 0.0016834 | 0.99985 | 0.0010636 | 0.99985 | 0.0010474 | 0.8016
23 | 0.11931 | 0.05772 | -0.1193 | -0.057782 | 1.3787e-06 | -6.1778e-05 | 0.0038328 | 0.0038336 | 0.0038336 | 0.9982 | 0.0095122 | 0.99819 | 0.0094359 | 1.8255
24 | 0.13448 | 0.063506 | -0.13448 | -0.065131 | 1.6961e-06 | -0.0016256 | 0.0043011 | 0.0043214 | 0.0043214 | 0.99818 | 0.0092763 | 0.99817 | 0.0093831 | 1.9643
25 | 0.37294 | 0.13715 | -0.37293 | -0.13863 | 1.1024e-05 | -0.0014824 | 0.011492 | 0.011507 | 0.011507 | 0.99819 | 0.0090155 | 0.99816 | 0.0091245 | 5.2302
26 | 0.085131 | 0.03882 | -0.085131 | -0.039766 | 3.8791e-07 | -0.00094575 | 0.0027018 | 0.0027132 | 0.0027132 | 0.9997 | 0.0022566 | 0.9997 | 0.0022921 | 1.2333
27 | 1.9416 | 0.88239 | -1.9413 | -0.88226 | 0.00029059 | 0.00013072 | 0.061584 | 0.061584 | 0.061584 | 0.9997 | 0.0022566 | 0.99954 | 0.0010348 | 29.3259
28 | 0.085131 | 0.039766 | -0.08513 | -0.040995 | 5.0904e-07 | -0.0012289 | 0.0027132 | 0.0027284 | 0.0027284 | 0.9997 | 0.0022921 | 0.99969 | 0.0023418 | 1.2402
29 | 1.8561 | 0.84101 | -1.8561 | -0.84138 | 7.5483e-05 | -0.00036698 | 0.058852 | 0.058857 | 0.058857 | 0.99954 | 0.0010348 | 0.99951 | 0.0013375 | 26.7531
30 | 1.7555 | 0.7927 | -1.7523 | -0.79138 | 0.0032062 | 0.0013163 | 0.055632 | 0.055641 | 0.055641 | 0.99951 | 0.0013375 | 0.99756 | -0.013869 | 26.4955
31 | 0.08513 | 0.040995 | -0.08513 | -0.04123 | 9.8198e-08 | -0.00023545 | 0.0027284 | 0.0027314 | 0.0027314 | 0.99969 | 0.0023418 | 0.99969 | 0.0023518 | 1.2415
32 | 0.051837 | 0.024388 | -0.051834 | -0.025104 | 2.9758e-06 | -0.00071623 | 0.0016578 | 0.0016667 | 0.0016667 | 0.99756 | -0.013869 | 0.9975 | -0.014268 | 0.79368
33 | -0.16123 | -0.078088 | 0.16123 | 0.076249 | 2.7633e-06 | -0.001839 | 0.0051829 | 0.00516 | 0.0051829 | 0.99779 | 0.010941 | 0.9978 | 0.010795 | 2.3559
34 | 0.076531 | 0.018717 | -0.076526 | -0.03554 | 5.2146e-06 | -0.016823 | 0.0022794 | 0.0024412 | 0.0024412 | 0.9978 | 0.010795 | 0.99774 | 0.010996 | 1.1097
35 | -0.23776 | -0.094966 | 0.23779 | 0.086679 | 2.5255e-05 | -0.008287 | 0.0074072 | 0.0073216 | 0.0074072 | 0.9978 | 0.010795 | 0.99791 | 0.010342 | 3.3669
36 | 0.076526 | 0.03554 | -0.076525 | -0.037063 | 5.1363e-07 | -0.0015226 | 0.0024412 | 0.0024601 | 0.0024601 | 0.99774 | 0.010996 | 0.99773 | 0.011052 | 1.1182
37 | -0.37283 | -0.1517 | 0.37293 | 0.13863 | 9.8478e-05 | -0.013067 | 0.011644 | 0.011507 | 0.011644 | 0.99791 | 0.010342 | 0.99816 | 0.0091245 | 5.2927
38 | 0.13504 | 0.065018 | -0.13504 | -0.065405 | 4.0854e-07 | -0.0003865 | 0.0043358 | 0.0043406 | 0.0043406 | 0.99791 | 0.010342 | 0.9979 | 0.010368 | 1.973
39 | -0.25207 | -0.11859 | 0.25207 | 0.11825 | 1.2433e-06 | -0.00033652 | 0.0080839 | 0.0080797 | 0.0080839 | 0.99476 | -0.025097 | 0.99476 | -0.025137 | 3.6745
40 | 0.10333 | 0.04655 | -0.10333 | -0.049118 | 1.5847e-06 | -0.002568 | 0.0032889 | 0.0033202 | 0.0033202 | 0.99476 | -0.025097 | 0.99475 | -0.024976 | 1.5092
41 | -0.83764 | -0.39409 | 0.83807 | 0.38367 | 0.00042778 | -0.01042 | 0.026864 | 0.026735 | 0.026864 | 0.99476 | -0.025137 | 0.99524 | -0.029169 | 12.2108
42 | 0.58557 | 0.27585 | -0.5854 | -0.27607 | 0.00017885 | -0.00022387 | 0.018784 | 0.018788 | 0.018788 | 0.99476 | -0.025137 | 0.99444 | -0.027357 | 8.9468
43 | 0.10333 | 0.049118 | -0.10333 | -0.050045 | 5.7929e-07 | -0.00092657 | 0.0033202 | 0.0033318 | 0.0033318 | 0.99475 | -0.024976 | 0.99474 | -0.024929 | 1.5145
44 | -0.83807 | -0.38367 | 0.83825 | 0.38362 | 0.00018576 | -5.6182e-05 | 0.026735 | 0.026733 | 0.026735 | 0.99524 | -0.029169 | 0.99547 | -0.027398 | 12.7309
45 | 0.46429 | 0.21742 | -0.46384 | -0.21848 | 0.00045242 | -0.0010672 | 0.014882 | 0.014899 | 0.014899 | 0.99444 | -0.027357 | 0.99342 | -0.034529 | 7.0948
46 | 0.22055 | 0.10065 | -0.22055 | -0.10127 | 1.7407e-06 | -0.00061788 | 0.0070449 | 0.0070524 | 0.0070524 | 0.99342 | -0.034529 | 0.99341 | -0.034469 | 3.2056
47 | -0.11564 | -0.056007 | 0.11564 | 0.053247 | 2.1605e-06 | -0.0027598 | 0.0037339 | 0.0036996 | 0.0037339 | 0.99337 | -0.034138 | 0.99339 | -0.034292 | 1.6972
48 | 0.1049 | 0.04978 | -0.1049 | -0.050629 | 5.4996e-07 | -0.00084962 | 0.0033743 | 0.003385 | 0.003385 | 0.99339 | -0.034292 | 0.99338 | -0.034247 | 1.5386
49 | -0.22055 | -0.10303 | 0.22055 | 0.10127 | 4.9644e-06 | -0.0017549 | 0.0070738 | 0.0070524 | 0.0070738 | 0.99339 | -0.034292 | 0.99341 | -0.034469 | 3.2154
50 | 0.1049 | 0.050629 | -0.1049 | -0.050807 | 1.1573e-07 | -0.0001781 | 0.003385 | 0.0033872 | 0.0033872 | 0.99338 | -0.034247 | 0.99338 | -0.034238 | 1.5396

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 3.3282 | 1.4716

## res_load
| p_mw | q_mvar
0 | 0.086487 | 0.041887
1 | 0.12629 | 0.061165
2 | 0.11192 | 0.054205
3 | 0.087977 | 0.042609
4 | 0.14565 | 0.07054
5 | 0.094205 | 0.045626
6 | 0.16134 | 0.07814
7 | 0.1599 | 0.077443
8 | 0.19055 | 0.09229
9 | 0.052474 | 0.025414
10 | 0.085171 | 0.04125
11 | 0.10051 | 0.048681
12 | 0.072842 | 0.035279
13 | 0.1193 | 0.057782
14 | 0.16123 | 0.078088
15 | 0.076525 | 0.037063
16 | 0.13504 | 0.065405
17 | 0.13448 | 0.065131
18 | 0.14873 | 0.072035
19 | 0.1211 | 0.058654
20 | 0.10333 | 0.050045
21 | 0.1306 | 0.063251
22 | 0.08513 | 0.04123
23 | 0.24329 | 0.11783
24 | 0.051834 | 0.025104
25 | 0.11564 | 0.056007
26 | 0.1049 | 0.050807
27 | 0.096862 | 0.046912

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1