## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_488_1_node_167 | 20 | n |  | TRUE
1 | bus_MV_488_1_node_170 | 20 | n |  | TRUE
2 | bus_MV_488_1_node_43 | 20 | n |  | TRUE
3 | bus_MV_488_1_node_44 | 20 | n |  | TRUE
4 | bus_MV_488_1_node_149 | 20 | n |  | TRUE
5 | bus_MV_488_1_node_45 | 20 | n |  | TRUE
6 | bus_MV_488_1_node_150 | 20 | n |  | TRUE
7 | bus_MV_488_1_node_148 | 20 | n |  | TRUE
8 | bus_MV_488_1_node_99 | 20 | n |  | TRUE
9 | bus_MV_488_1_node_100 | 20 | n |  | TRUE
10 | bus_MV_488_1_node_102 | 20 | n |  | TRUE
11 | bus_MV_488_1_node_137 | 20 | n |  | TRUE
12 | bus_MV_488_1_node_47 | 20 | n |  | TRUE
13 | bus_MV_488_1_node_48 | 20 | n |  | TRUE
14 | bus_MV_488_1_node_152 | 20 | n |  | TRUE
15 | bus_MV_488_1_node_151 | 20 | n |  | TRUE
16 | bus_MV_488_1_node_159 | 20 | n |  | TRUE
17 | bus_MV_488_1_node_92 | 20 | n |  | TRUE
18 | bus_MV_488_1_node_80 | 20 | n |  | TRUE
19 | bus_MV_488_1_node_85 | 20 | n |  | TRUE
20 | bus_MV_488_1_node_75 | 20 | n |  | TRUE
21 | bus_MV_488_1_node_49 | 20 | n |  | TRUE
22 | bus_MV_488_1_node_51 | 20 | n |  | TRUE
23 | bus_MV_488_1_node_50 | 20 | n |  | TRUE
24 | bus_MV_488_1_node_54 | 20 | n |  | TRUE
25 | bus_MV_488_1_node_52 | 20 | n |  | TRUE
26 | bus_MV_488_1_node_174 | 20 | n |  | TRUE
27 | bus_MV_488_1_node_160 | 20 | n |  | TRUE
28 | bus_MV_488_1_node_53 | 20 | n |  | TRUE
29 | bus_MV_488_1_node_176 | 20 | n |  | TRUE
30 | bus_MV_488_1_node_132 | 20 | n |  | TRUE
31 | bus_MV_488_1_node_98 | 20 | n |  | TRUE
32 | bus_MV_488_1_node_131 | 20 | n |  | TRUE
33 | bus_MV_488_1_node_164 | 20 | n |  | TRUE
34 | bus_MV_488_1_node_130 | 20 | n |  | TRUE
35 | bus_MV_488_1_node_133 | 20 | n |  | TRUE
36 | bus_MV_488_1_node_62 | 20 | n |  | TRUE
37 | bus_MV_488_1_node_63 | 20 | n |  | TRUE
38 | bus_MV_488_1_node_67 | 20 | n |  | TRUE
39 | bus_MV_488_1_node_55 | 20 | n |  | TRUE
40 | bus_MV_488_1_node_57 | 20 | n |  | TRUE
41 | bus_MV_488_1_node_60 | 20 | n |  | TRUE
42 | bus_MV_488_1_node_58 | 20 | n |  | TRUE
43 | bus_MV_488_1_node_59 | 20 | n |  | TRUE
44 | bus_MV_488_1_node_106 | 20 | n |  | TRUE
45 | bus_MV_488_1_node_61 | 20 | n |  | TRUE
46 | bus_MV_488_1_node_77 | 20 | n |  | TRUE
47 | bus_MV_488_1_node_120 | 20 | n |  | TRUE
48 | bus_MV_488_1_node_105 | 20 | n |  | TRUE
49 | bus_MV_488_1_node_107 | 20 | n |  | TRUE
50 | bus_MV_488_1_node_64 | 20 | n |  | TRUE
51 | bus_MV_488_1_node_157 | 20 | n |  | TRUE
52 | bus_MV_488_1_node_158 | 20 | n |  | TRUE
53 | bus_MV_488_1_node_79 | 20 | n |  | TRUE
54 | bus_MV_488_1_node_142 | 20 | n |  | TRUE
55 | bus_MV_488_1_node_73 | 20 | n |  | TRUE
56 | bus_MV_488_1_node_72 | 20 | n |  | TRUE
57 | bus_MV_488_1_node_178 | 20 | n |  | TRUE
58 | bus_MV_488_1_node_71 | 20 | n |  | TRUE
59 | bus_MV_488_1_node_74 | 20 | n |  | TRUE
60 | bus_MV_488_1_node_162 | 20 | n |  | TRUE
61 | bus_MV_488_1_node_139 | 20 | n |  | TRUE
62 | bus_MV_488_1_node_146 | 20 | n |  | TRUE
63 | bus_MV_488_1_node_145 | 20 | n |  | TRUE
64 | bus_MV_488_1_node_69 | 20 | n |  | TRUE
65 | bus_MV_488_1_node_143 | 20 | n |  | TRUE
66 | bus_MV_488_1_node_78 | 20 | n |  | TRUE
67 | bus_MV_488_1_node_144 | 20 | n |  | TRUE
68 | bus_MV_488_1_node_68 | 20 | n |  | TRUE
69 | bus_MV_488_1_node_119 | 20 | n |  | TRUE
70 | bus_MV_488_1_node_163 | 20 | n |  | TRUE
71 | bus_MV_488_1_node_65 | 20 | n |  | TRUE
72 | bus_MV_488_1_node_66 | 20 | n |  | TRUE
73 | bus_MV_488_1_node_70 | 20 | n |  | TRUE
74 | bus_MV_488_1_node_166 | 20 | n |  | TRUE
75 | bus_MV_488_1_node_76 | 20 | n |  | TRUE
76 | bus_MV_488_1_node_97 | 20 | n |  | TRUE
77 | bus_MV_488_1_node_156 | 20 | n |  | TRUE
78 | bus_MV_488_1_node_154 | 20 | n |  | TRUE
79 | bus_MV_488_1_node_138 | 20 | n |  | TRUE
80 | bus_MV_488_1_node_96 | 20 | n |  | TRUE
81 | bus_MV_488_1_node_84 | 20 | n |  | TRUE
82 | bus_MV_488_1_node_86 | 20 | n |  | TRUE
83 | bus_MV_488_1_node_111 | 20 | n |  | TRUE
84 | bus_MV_488_1_node_91 | 20 | n |  | TRUE
85 | bus_MV_488_1_node_165 | 20 | n |  | TRUE
86 | bus_MV_488_1_node_87 | 20 | n |  | TRUE
87 | bus_MV_488_1_node_153 | 20 | n |  | TRUE
88 | bus_MV_488_1_node_104 | 20 | n |  | TRUE
89 | bus_MV_488_1_node_147 | 20 | n |  | TRUE
90 | bus_MV_488_1_node_109 | 20 | n |  | TRUE
91 | bus_MV_488_1_node_110 | 20 | n |  | TRUE
92 | bus_MV_488_1_node_81 | 20 | n |  | TRUE
93 | bus_MV_488_1_node_82 | 20 | n |  | TRUE
94 | bus_MV_488_1_node_83 | 20 | n |  | TRUE
95 | bus_MV_488_1_node_89 | 20 | n |  | TRUE
96 | bus_MV_488_1_node_93 | 20 | n |  | TRUE
97 | bus_MV_488_1_node_108 | 20 | n |  | TRUE
98 | bus_MV_488_1_node_103 | 20 | n |  | TRUE
99 | bus_MV_488_1_node_129 | 20 | n |  | TRUE
100 | bus_MV_488_1_node_121 | 20 | n |  | TRUE
101 | bus_MV_488_1_node_114 | 20 | n |  | TRUE
102 | bus_MV_488_1_node_115 | 20 | n |  | TRUE
103 | bus_MV_488_1_node_113 | 20 | n |  | TRUE
104 | bus_MV_488_1_node_101 | 20 | n |  | TRUE
105 | bus_MV_488_1_node_94 | 20 | n |  | TRUE
106 | bus_MV_488_1_node_95 | 20 | n |  | TRUE
107 | bus_MV_488_1_node_112 | 20 | n |  | TRUE
108 | bus_MV_488_1_node_117 | 20 | n |  | TRUE
109 | bus_MV_488_1_node_140 | 20 | n |  | TRUE
110 | bus_MV_488_1_node_116 | 20 | n |  | TRUE
111 | bus_MV_488_1_node_141 | 20 | n |  | TRUE
112 | bus_MV_488_1_node_118 | 20 | n |  | TRUE
113 | bus_MV_488_1_node_134 | 20 | n |  | TRUE
114 | bus_MV_488_1_node_135 | 20 | n |  | TRUE
115 | bus_MV_488_1_node_136 | 20 | n |  | TRUE
116 | bus_MV_488_1_node_161 | 20 | n |  | TRUE
117 | bus_MV_488_1_node_155 | 20 | n |  | TRUE
118 | bus_MV_488_1_node_177 | 20 | n |  | TRUE
119 | bus_HV_488_1_node_154 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_488_1_load_167 | 0 | 0.052297 | 0.025329 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_488_1_load_170 | 1 | 0.098127 | 0.047525 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_488_1_load_43 | 2 | 0.070816 | 0.034298 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_488_1_load_150 | 6 | 0.11551 | 0.055944 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_488_1_load_148 | 7 | 0.095284 | 0.046148 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_488_1_load_99 | 8 | 0.18833 | 0.091212 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_488_1_load_137 | 11 | 0.12075 | 0.058482 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_488_1_load_152 | 14 | 0.073745 | 0.035716 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_488_1_load_151 | 15 | 0.10607 | 0.051372 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_488_1_load_159 | 16 | 0.33272 | 0.16114 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_488_1_load_80 | 18 | 0.24336 | 0.11787 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_488_1_load_49 | 21 | 0.18534 | 0.089765 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_488_1_load_174 | 26 | 0.32084 | 0.15539 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_488_1_load_160 | 27 | 0.22968 | 0.11124 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_488_1_load_176 | 29 | 0.24822 | 0.12022 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_488_1_load_98 | 31 | 0.21311 | 0.10322 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_488_1_load_164 | 33 | 0.21089 | 0.10214 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_488_1_load_130 | 34 | 0.12454 | 0.060317 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_488_1_load_133 | 35 | 0.074227 | 0.03595 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_488_1_load_55 | 39 | 0.30297 | 0.14673 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_488_1_load_61 | 45 | 0.26462 | 0.12816 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_488_1_load_120 | 47 | 0.40557 | 0.19643 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_488_1_load_105 | 48 | 0.30279 | 0.14665 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_488_1_load_157 | 51 | 0.21268 | 0.103 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_488_1_load_142 | 54 | 0.070325 | 0.03406 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_488_1_load_178 | 57 | 0.38399 | 0.18597 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_488_1_load_162 | 60 | 0.40639 | 0.19682 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_488_1_load_145 | 63 | 0.13364 | 0.064726 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_488_1_load_143 | 65 | 0.17807 | 0.086242 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_488_1_load_144 | 67 | 0.10074 | 0.048789 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_488_1_load_68 | 68 | 0.2117 | 0.10253 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_488_1_load_119 | 69 | 0.3087 | 0.14951 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_488_1_load_163 | 70 | 0.13175 | 0.063808 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_488_1_load_65 | 71 | 0.23662 | 0.1146 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_488_1_load_166 | 74 | 0.41464 | 0.20082 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_488_1_load_97 | 76 | 1.1661 | 0.56478 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_488_1_load_154 | 78 | 0.30668 | 0.14853 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_488_1_load_138 | 79 | 0.24008 | 0.11627 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_488_1_load_96 | 80 | 2.3781 | 1.1518 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_488_1_load_165 | 85 | 0.16745 | 0.0811 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_488_1_load_153 | 87 | 0.07037 | 0.034082 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_488_1_load_104 | 88 | 0.29802 | 0.14434 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_488_1_load_147 | 89 | 0.1265 | 0.061266 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_488_1_load_109 | 90 | 0.38292 | 0.18546 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_488_1_load_110 | 91 | 0.073077 | 0.035393 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_488_1_load_81 | 92 | 0.16167 | 0.078299 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_488_1_load_108 | 97 | 0.27882 | 0.13504 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_488_1_load_103 | 98 | 0.21902 | 0.10608 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_488_1_load_129 | 99 | 0.07802 | 0.037787 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_488_1_load_121 | 100 | 0.25794 | 0.12493 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_488_1_load_101 | 104 | 0.37263 | 0.18047 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_488_1_load_94 | 105 | 0.18027 | 0.087307 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_488_1_load_95 | 106 | 1.8238 | 0.88333 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_488_1_load_112 | 107 | 0.36765 | 0.17806 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_488_1_load_140 | 109 | 0.084535 | 0.040942 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_488_1_load_141 | 111 | 0.07457 | 0.036116 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_488_1_load_118 | 112 | 0.21764 | 0.10541 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_488_1_load_134 | 113 | 0.069537 | 0.033678 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_488_1_load_161 | 116 | 0.38589 | 0.18689 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_488_1_load_177 | 118 | 0.19118 | 0.092592 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_488_1_line_0 |  | 0 | 1 | 1.2593 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_488_1_line_1 |  | 1 | 9 | 0.64691 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_488_1_line_2 |  | 2 | 3 | 0.004375 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
3 | MV_488_1_line_3 |  | 2 | 4 | 0.13728 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
4 | MV_488_1_line_4 |  | 3 | 5 | 0.15198 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
5 | MV_488_1_line_5 |  | 4 | 6 | 0.038354 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_488_1_line_6 |  | 4 | 7 | 0.044043 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
7 | MV_488_1_line_7 |  | 5 | 11 | 0.04632 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
8 | MV_488_1_line_8 |  | 6 | 14 | 0.10139 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_488_1_line_9 |  | 7 | 81 | 0.084094 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
10 | MV_488_1_line_10 |  | 8 | 9 | 0.053817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_488_1_line_11 |  | 8 | 10 | 0.64613 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_488_1_line_12 |  | 10 | 104 | 0.071008 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
13 | MV_488_1_line_13 |  | 10 | 95 | 0.34754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_488_1_line_14 |  | 11 | 16 | 0.13379 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
15 | MV_488_1_line_15 |  | 12 | 13 | 0.060843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_488_1_line_16 |  | 12 | 14 | 0.033315 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_488_1_line_17 |  | 13 | 15 | 0.028153 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_488_1_line_18 |  | 16 | 17 | 0.005818 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
19 | MV_488_1_line_19 |  | 17 | 96 | 0.26624 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
20 | MV_488_1_line_20 |  | 18 | 19 | 0.33806 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
21 | MV_488_1_line_21 |  | 18 | 20 | 0.12996 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
22 | MV_488_1_line_22 |  | 19 | 84 | 0.39727 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
23 | MV_488_1_line_23 |  | 19 | 85 | 0.063141 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
24 | MV_488_1_line_24 |  | 20 | 73 | 0.53888 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
25 | MV_488_1_line_25 |  | 21 | 22 | 0.072091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_488_1_line_26 |  | 21 | 23 | 0.10062 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
27 | MV_488_1_line_27 |  | 22 | 24 | 0.86247 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_488_1_line_28 |  | 23 | 25 | 0.87824 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_488_1_line_29 |  | 24 | 31 | 0.022868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_488_1_line_30 |  | 25 | 26 | 0.017575 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_488_1_line_31 |  | 25 | 27 | 0.25217 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
32 | MV_488_1_line_32 |  | 27 | 36 | 0.01156 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
33 | MV_488_1_line_33 |  | 28 | 29 | 0.011081 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_488_1_line_34 |  | 28 | 30 | 0.42919 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_488_1_line_35 |  | 30 | 35 | 0.11129 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_488_1_line_36 |  | 30 | 33 | 0.20155 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_488_1_line_37 |  | 31 | 38 | 0.069673 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_488_1_line_38 |  | 32 | 33 | 0.31428 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_488_1_line_39 |  | 32 | 34 | 0.012528 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_488_1_line_40 |  | 33 | 37 | 0.027937 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_488_1_line_41 |  | 36 | 50 | 0.56854 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_488_1_line_42 |  | 36 | 43 | 0.21881 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_488_1_line_43 |  | 37 | 50 | 0.40147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_488_1_line_44 |  | 38 | 72 | 0.56994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_488_1_line_45 |  | 39 | 40 | 0.013989 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_488_1_line_46 |  | 40 | 41 | 0.077104 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_488_1_line_47 |  | 41 | 46 | 0.17657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_488_1_line_48 |  | 41 | 47 | 0.005525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_488_1_line_49 |  | 42 | 43 | 0.30831 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_488_1_line_50 |  | 42 | 44 | 0.10243 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_488_1_line_51 |  | 43 | 45 | 0.0252 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_488_1_line_52 |  | 44 | 49 | 0.17886 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_488_1_line_53 |  | 44 | 48 | 0.021412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_488_1_line_54 |  | 46 | 53 | 0.25288 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_488_1_line_55 |  | 46 | 54 | 0.0053806 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_488_1_line_56 |  | 46 | 55 | 0.39841 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_488_1_line_57 |  | 47 | 49 | 0.026666 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
58 | MV_488_1_line_58 |  | 50 | 51 | 0.005277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_488_1_line_59 |  | 50 | 52 | 1.1357 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_488_1_line_60 |  | 52 | 70 | 0.050682 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_488_1_line_61 |  | 53 | 65 | 0.030843 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_488_1_line_62 |  | 53 | 66 | 0.019038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_488_1_line_63 |  | 55 | 69 | 0.027774 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
64 | MV_488_1_line_64 |  | 55 | 56 | 0.26312 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
65 | MV_488_1_line_65 |  | 55 | 59 | 0.32424 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
66 | MV_488_1_line_66 |  | 56 | 57 | 0.025411 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_488_1_line_67 |  | 56 | 58 | 0.21626 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
68 | MV_488_1_line_68 |  | 58 | 62 | 0.17265 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
69 | MV_488_1_line_69 |  | 58 | 63 | 0.030577 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_488_1_line_70 |  | 58 | 64 | 0.22692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_488_1_line_71 |  | 59 | 60 | 0.0087 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_488_1_line_72 |  | 59 | 61 | 0.075287 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
73 | MV_488_1_line_73 |  | 61 | 79 | 0.014138 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
74 | MV_488_1_line_74 |  | 62 | 77 | 0.13969 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_488_1_line_75 |  | 62 | 78 | 0.020962 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
76 | MV_488_1_line_76 |  | 64 | 68 | 0.035858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_488_1_line_77 |  | 66 | 67 | 0.040657 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_488_1_line_78 |  | 71 | 72 | 0.019914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_488_1_line_79 |  | 73 | 74 | 0.015751 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
80 | MV_488_1_line_80 |  | 73 | 75 | 0.54889 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
81 | MV_488_1_line_81 |  | 75 | 76 | 0.020739 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
82 | MV_488_1_line_82 |  | 76 | 80 | 0.037245 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
83 | MV_488_1_line_83 |  | 77 | 118 | 0.003923 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_488_1_line_84 |  | 77 | 117 | 0.10707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_488_1_line_85 |  | 79 | 102 | 0.027465 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
86 | MV_488_1_line_86 |  | 80 | 106 | 0.031868 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_488_1_line_87 |  | 81 | 82 | 0.11753 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
88 | MV_488_1_line_88 |  | 81 | 83 | 0.06761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_488_1_line_89 |  | 82 | 86 | 0.40625 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
90 | MV_488_1_line_90 |  | 82 | 87 | 0.037994 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_488_1_line_91 |  | 83 | 90 | 0.067847 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_488_1_line_92 |  | 84 | 89 | 0.097109 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_488_1_line_93 |  | 84 | 86 | 0.40029 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
94 | MV_488_1_line_94 |  | 86 | 88 | 0.076406 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
95 | MV_488_1_line_95 |  | 90 | 91 | 0.016125 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_488_1_line_96 |  | 92 | 93 | 0.013811 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
97 | MV_488_1_line_97 |  | 92 | 94 | 0.047554 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
98 | MV_488_1_line_98 |  | 93 | 95 | 0.35972 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
99 | MV_488_1_line_99 |  | 94 | 96 | 0.38127 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
100 | MV_488_1_line_100 |  | 95 | 97 | 0.003809 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
101 | MV_488_1_line_101 |  | 96 | 98 | 0.023986 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_488_1_line_102 |  | 97 | 99 | 0.50003 | 0.0595 | 0.16 | 22 | 0 | 1.29 | 1 | 1 | ol | TRUE
103 | MV_488_1_line_103 |  | 99 | 100 | 0.23846 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_488_1_line_104 |  | 99 | 101 | 0.0011682 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
105 | MV_488_1_line_105 |  | 101 | 102 | 0.051054 | 0.0515 | 0.029 | 1000 | 0 | 1.276 | 1 | 1 | cs | TRUE
106 | MV_488_1_line_106 |  | 101 | 103 | 0.15925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_488_1_line_107 |  | 102 | 109 | 0.035174 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_488_1_line_108 |  | 103 | 108 | 0.12698 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_488_1_line_109 |  | 103 | 107 | 0.023883 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_488_1_line_110 |  | 105 | 106 | 0.075155 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
111 | MV_488_1_line_111 |  | 108 | 112 | 0.032234 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
112 | MV_488_1_line_112 |  | 108 | 110 | 0.031816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_488_1_line_113 |  | 110 | 111 | 0.033385 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_488_1_line_114 |  | 113 | 114 | 0.091997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_488_1_line_115 |  | 114 | 115 | 0.54471 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_488_1_line_116 |  | 115 | 116 | 0.022826 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
117 | MV_488_1_line_117 |  | 116 | 117 | 0.01998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_488_1_trafo_154 | 25 MVA 110/20 kV | 119 | 78 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2726502.1579 | 1271506.7303
1 | 2727493.3837 | 1270729.936
2 | 2726826.7081 | 1269318.8311
3 | 2726825.1896 | 1269322.9357
4 | 2726737.1803 | 1269214.7574
5 | 2726898.7075 | 1269398.4403
6 | 2726719.1296 | 1269180.9165
7 | 2726696.5399 | 1269231.6855
8 | 2727111.6086 | 1270147.1505
9 | 2727152.5206 | 1270180.1175
10 | 2726550.059 | 1269827.54
11 | 2726860.0374 | 1269423.9394
12 | 2726824.6999 | 1269163.5432
13 | 2726869.6903 | 1269192.0802
14 | 2726809.0723 | 1269134.1205
15 | 2726884.832 | 1269215.815
16 | 2726749.2934 | 1269499.0156
17 | 2726746.0399 | 1269494.1858
18 | 2725838.6175 | 1269153.783
19 | 2726175.8515 | 1269130.0976
20 | 2725711.1585 | 1269179.1377
21 | 2725354.439 | 1270482.2804
22 | 2725382.7654 | 1270548.61
23 | 2725263.7355 | 1270525.8412
24 | 2725808.8834 | 1270387.2087
25 | 2724955.3716 | 1270264.5561
26 | 2724967.2747 | 1270277.5199
27 | 2725095.3224 | 1270054.7898
28 | 2724534.2501 | 1270081.5489
29 | 2724544.8204 | 1270084.9749
30 | 2724742.5559 | 1269895.6493
31 | 2725793.9219 | 1270369.8739
32 | 2724593.9374 | 1269863.6277
33 | 2724890.0378 | 1269758.2823
34 | 2724588.3035 | 1269852.4375
35 | 2724682.9372 | 1269801.8815
36 | 2725090.1981 | 1270044.4273
37 | 2724917.723 | 1269753.9748
38 | 2725785.1506 | 1270305.4048
39 | 2725410.7712 | 1269932.2531
40 | 2725424.7391 | 1269930.9262
41 | 2725501.4952 | 1269923.6051
42 | 2725473.0496 | 1270176.1135
43 | 2725244.0877 | 1270176.3883
44 | 2725550.5595 | 1270109.1536
45 | 2725219.3864 | 1270181.3672
46 | 2725519.5759 | 1269791.5331
47 | 2725507.009 | 1269923.0551
48 | 2725571.3839 | 1270103.9247
49 | 2725510.383 | 1269949.5069
50 | 2725071.9101 | 1269606.389
51 | 2725076.519 | 1269603.7953
52 | 2725039.1684 | 1269329.506
53 | 2725451.3671 | 1269692.3365
54 | 2725524.5478 | 1269789.4762
55 | 2725598.2105 | 1269759.697
56 | 2725725.3078 | 1269624.2078
57 | 2725750.0793 | 1269618.2294
58 | 2725632.4487 | 1269585.8189
59 | 2725760.5344 | 1269786.3973
60 | 2725768.0578 | 1269790.806
61 | 2725760.9843 | 1269844.7612
62 | 2725536.2338 | 1269588.009
63 | 2725603.4703 | 1269594.1522
64 | 2725633.8633 | 1269366.5786
65 | 2725424.0669 | 1269706.6881
66 | 2725460.9495 | 1269687.3576
67 | 2725496.9907 | 1269668.5417
68 | 2725666.1824 | 1269350.8625
69 | 2725581.957 | 1269737.175
70 | 2725082.2242 | 1269304.3719
71 | 2725472.3028 | 1270219.3824
72 | 2725472.2032 | 1270239.2877
73 | 2725531.0782 | 1268911.1937
74 | 2725544.7151 | 1268903.2428
75 | 2725187.5709 | 1269051.391
76 | 2725167.4177 | 1269056.2865
77 | 2725460.478 | 1269610.3872
78 | 2725526.6646 | 1269569.3439
79 | 2725767.7784 | 1269857.1598
80 | 2725131.2254 | 1269065.0781
81 | 2726615.0867 | 1269251.6184
82 | 2726574.0828 | 1269302.8876
83 | 2726623.6048 | 1269184.7498
84 | 2726378.3741 | 1269135.0196
85 | 2726216.1931 | 1269081.5253
86 | 2726424.7236 | 1269390.8716
87 | 2726611.376 | 1269310.1509
88 | 2726460.4096 | 1269458.4316
89 | 2726467.2516 | 1269118.7571
90 | 2726674.1932 | 1269148.136
91 | 2726658.9316 | 1269142.9295
92 | 2726352.6285 | 1269595.6979
93 | 2726344.872 | 1269584.2547
94 | 2726382.3127 | 1269632.0667
95 | 2726296.0259 | 1269749.6533
96 | 2726646.6454 | 1269657.4176
97 | 2726292.4875 | 1269751.0901
98 | 2726659.8239 | 1269677.4856
99 | 2725814.5676 | 1269898.1294
100 | 2726051.4766 | 1269870.9767
101 | 2725814.0251 | 1269897.0948
102 | 2725780.9431 | 1269881.2645
103 | 2725778.4013 | 1270004.0692
104 | 2726479.4585 | 1269835.1351
105 | 2725027.2265 | 1269090.3409
106 | 2725100.2574 | 1269072.6007
107 | 2725799.8255 | 1269993.6823
108 | 2725710.4209 | 1269920.2664
109 | 2725749.7908 | 1269897.5965
110 | 2725705.1107 | 1269893.94
111 | 2725729.0525 | 1269870.6725
112 | 2725682.456 | 1269936.2974
113 | 2725448.9361 | 1269214.5414
114 | 2725367.2047 | 1269255.7893
115 | 2725360.6761 | 1269624.4929
116 | 2725382.9561 | 1269623.4536
117 | 2725375.9571 | 1269604.9657
118 | 2725462.5143 | 1269613.7447
119 | 2725526.6646 | 1269569.3439

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99476 | -0.11068 | 0.052297 | 0.025329
1 | 0.99489 | -0.1098 | 0.098127 | 0.047525
2 | 0.99375 | -0.13914 | 0.070816 | 0.034298
3 | 0.99376 | -0.13911 | 0 | 0
4 | 0.9934 | -0.15974 | 0 | 0
5 | 0.99395 | -0.13804 | 0 | 0
6 | 0.99339 | -0.15961 | 0.11551 | 0.055944
7 | 0.99335 | -0.16004 | 0.095284 | 0.046148
8 | 0.99509 | -0.10859 | 0.18833 | 0.091212
9 | 0.99508 | -0.10851 | 0 | 0
10 | 0.99551 | -0.10571 | 0 | 0
11 | 0.99401 | -0.13771 | 0.12075 | 0.058482
12 | 0.99335 | -0.15982 | 0 | 0
13 | 0.99334 | -0.15975 | 0 | 0
14 | 0.99335 | -0.15986 | 0.073745 | 0.035716
15 | 0.99334 | -0.15971 | 0.10607 | 0.051372
16 | 0.99436 | -0.11714 | 0.33272 | 0.16114
17 | 0.99436 | -0.11709 | 0 | 0
18 | 0.99112 | -0.20845 | 0.24336 | 0.11787
19 | 0.99183 | -0.16789 | 0 | 0
20 | 0.99086 | -0.22345 | 0 | 0
21 | 0.99145 | 0.017788 | 0.18534 | 0.089765
22 | 0.99141 | 0.018009 | 0 | 0
23 | 0.99157 | 0.018905 | 0 | 0
24 | 0.99092 | 0.021272 | 0 | 0
25 | 0.99228 | 0.014872 | 0 | 0
26 | 0.99227 | 0.01494 | 0.32084 | 0.15539
27 | 0.99273 | 0.019124 | 0.22968 | 0.11124
28 | 0.99142 | 0.027151 | 0 | 0
29 | 0.99141 | 0.027185 | 0.24822 | 0.12022
30 | 0.99155 | 0.026002 | 0 | 0
31 | 0.99091 | 0.021374 | 0.21311 | 0.10322
32 | 0.9916 | 0.026535 | 0 | 0
33 | 0.99168 | 0.027029 | 0.21089 | 0.10214
34 | 0.9916 | 0.026554 | 0.12454 | 0.060317
35 | 0.99154 | 0.026093 | 0.074227 | 0.03595
36 | 0.99276 | 0.019352 | 0 | 0
37 | 0.9917 | 0.026831 | 0 | 0
38 | 0.99089 | 0.021508 | 0 | 0
39 | 0.99555 | 0.010196 | 0.30297 | 0.14673
40 | 0.99555 | 0.010145 | 0 | 0
41 | 0.99558 | 0.0098697 | 0 | 0
42 | 0.99432 | 0.0088464 | 0 | 0
43 | 0.99336 | 0.015341 | 0 | 0
44 | 0.9948 | 0.013146 | 0 | 0
45 | 0.99336 | 0.015422 | 0.26462 | 0.12816
46 | 0.99636 | 0.004153 | 0 | 0
47 | 0.99556 | 0.01003 | 0.40557 | 0.19643
48 | 0.99479 | 0.013224 | 0.30279 | 0.14665
49 | 0.99542 | 0.008802 | 0 | 0
50 | 0.99204 | 0.024118 | 0 | 0
51 | 0.99204 | 0.024132 | 0.21268 | 0.103
52 | 0.99185 | 0.024869 | 0 | 0
53 | 0.99627 | 0.0049192 | 0 | 0
54 | 0.99636 | 0.0041575 | 0.070325 | 0.03406
55 | 0.99828 | -0.0099992 | 0 | 0
56 | 0.99894 | -0.0061958 | 0 | 0
57 | 0.99893 | -0.0060793 | 0.38399 | 0.18597
58 | 0.99949 | -0.0029763 | 0 | 0
59 | 0.99769 | -0.013412 | 0 | 0
60 | 0.99768 | -0.013369 | 0.40639 | 0.19682
61 | 0.99755 | -0.014173 | 0 | 0
62 | 0.99994 | -0.00033386 | 0 | 0
63 | 0.99949 | -0.0029281 | 0.13364 | 0.064726
64 | 0.99943 | -0.0024525 | 0 | 0
65 | 0.99626 | 0.0049847 | 0.17807 | 0.086242
66 | 0.99627 | 0.0049409 | 0 | 0
67 | 0.99626 | 0.004989 | 0.10074 | 0.048789
68 | 0.99942 | -0.0023625 | 0.2117 | 0.10253
69 | 0.99827 | -0.010103 | 0.3087 | 0.14951
70 | 0.99184 | 0.024948 | 0.13175 | 0.063808
71 | 0.99071 | 0.022945 | 0.23662 | 0.1146
72 | 0.99072 | 0.022888 | 0 | 0
73 | 0.99034 | -0.22579 | 0 | 0
74 | 0.99033 | -0.22571 | 0.41464 | 0.20082
75 | 0.98983 | -0.22776 | 0 | 0
76 | 0.98981 | -0.22783 | 1.1661 | 0.56478
77 | 0.99983 | 0.00056414 | 0 | 0
78 | 1 | 0 | -16.9509 | -7.3875
79 | 0.99753 | -0.014315 | 0.24008 | 0.11627
80 | 0.98973 | -0.22877 | 2.3781 | 1.1518
81 | 0.99325 | -0.16059 | 0 | 0
82 | 0.99312 | -0.16133 | 0 | 0
83 | 0.99321 | -0.16023 | 0 | 0
84 | 0.99225 | -0.16592 | 0 | 0
85 | 0.99181 | -0.16802 | 0.16745 | 0.0811
86 | 0.99267 | -0.16375 | 0 | 0
87 | 0.99312 | -0.1613 | 0.07037 | 0.034082
88 | 0.99263 | -0.16403 | 0.29802 | 0.14434
89 | 0.99223 | -0.16578 | 0.1265 | 0.061266
90 | 0.99317 | -0.15986 | 0.38292 | 0.18546
91 | 0.99317 | -0.15985 | 0.073077 | 0.035393
92 | 0.99531 | -0.11166 | 0.16167 | 0.078299
93 | 0.99532 | -0.11154 | 0 | 0
94 | 0.99524 | -0.11205 | 0 | 0
95 | 0.99583 | -0.1085 | 0 | 0
96 | 0.99472 | -0.11509 | 0 | 0
97 | 0.99583 | -0.10847 | 0.27882 | 0.13504
98 | 0.99471 | -0.11502 | 0.21902 | 0.10608
99 | 0.99739 | -0.0151 | 0.07802 | 0.037787
100 | 0.99727 | -0.01585 | 0.25794 | 0.12493
101 | 0.99739 | -0.015089 | 0 | 0
102 | 0.99748 | -0.014587 | 0 | 0
103 | 0.99726 | -0.013897 | 0 | 0
104 | 0.99546 | -0.10603 | 0.37263 | 0.18047
105 | 0.98963 | -0.22783 | 0.18027 | 0.087307
106 | 0.98964 | -0.22799 | 1.8238 | 0.88333
107 | 0.99725 | -0.013791 | 0.36765 | 0.17806
108 | 0.99721 | -0.013475 | 0 | 0
109 | 0.99748 | -0.014552 | 0.084535 | 0.040942
110 | 0.99721 | -0.013449 | 0 | 0
111 | 0.99721 | -0.01342 | 0.07457 | 0.036116
112 | 0.9972 | -0.013561 | 0.21764 | 0.10541
113 | 0.9997 | 0.0013349 | 0.069537 | 0.033678
114 | 0.99971 | 0.0012648 | 0 | 0
115 | 0.99975 | 0.0011134 | 0 | 0
116 | 0.99976 | 0.0011169 | 0.38589 | 0.18689
117 | 0.99977 | 0.0010283 | 0 | 0
118 | 0.99983 | 0.00057311 | 0.19118 | 0.092592
119 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.052297 | -0.025329 | 0.052304 | 0.023845 | 6.31e-06 | -0.0014839 | 0.0016863 | 0.0016679 | 0.0016863 | 0.99476 | -0.11068 | 0.99489 | -0.1098 | 0.80299
1 | -0.15043 | -0.07137 | 0.15046 | 0.070622 | 2.685e-05 | -0.00074773 | 0.0048312 | 0.0048218 | 0.0048312 | 0.99489 | -0.1098 | 0.99508 | -0.10851 | 2.3006
2 | -7.8075 | -3.4604 | 7.8076 | 3.4599 | 4.1598e-05 | -0.00051951 | 0.24808 | 0.24807 | 0.24808 | 0.99375 | -0.13914 | 0.99376 | -0.13911 | 19.4419
3 | 7.7367 | 3.4261 | -7.7352 | -3.4225 | 0.0014805 | 0.0036065 | 0.24579 | 0.2458 | 0.2458 | 0.99375 | -0.13914 | 0.9934 | -0.15974 | 19.0542
4 | -7.8076 | -3.4599 | 7.809 | 3.4419 | 0.0014438 | -0.018052 | 0.24807 | 0.24785 | 0.24807 | 0.99376 | -0.13911 | 0.99395 | -0.13804 | 19.4414
5 | 0.29534 | 0.13913 | -0.29533 | -0.14004 | 4.6138e-06 | -0.00090232 | 0.0094869 | 0.0094982 | 0.0094982 | 0.9934 | -0.15974 | 0.99339 | -0.15961 | 4.3173
6 | 7.4399 | 3.2834 | -7.4395 | -3.2886 | 0.00038011 | -0.0052475 | 0.23631 | 0.23638 | 0.23638 | 0.9934 | -0.15974 | 0.99335 | -0.16004 | 18.525
7 | -7.809 | -3.4419 | 7.8094 | 3.4364 | 0.00043951 | -0.0055034 | 0.24785 | 0.24778 | 0.24785 | 0.99395 | -0.13804 | 0.99401 | -0.13771 | 19.4241
8 | 0.17982 | 0.084092 | -0.17982 | -0.084208 | 6.0131e-06 | -0.00011567 | 0.0057688 | 0.0057702 | 0.0057702 | 0.99339 | -0.15961 | 0.99335 | -0.15986 | 2.7477
9 | 7.3442 | 3.2425 | -7.3435 | -3.2525 | 0.00070756 | -0.010028 | 0.2333 | 0.23343 | 0.23343 | 0.99335 | -0.16004 | 0.99325 | -0.16059 | 18.2936
10 | 0.15046 | 0.069351 | -0.15046 | -0.070622 | 1.665e-06 | -0.0012718 | 0.0048062 | 0.0048218 | 0.0048218 | 0.99509 | -0.10859 | 0.99508 | -0.10851 | 2.1917
11 | -0.33879 | -0.16056 | 0.33893 | 0.15988 | 0.00013606 | -0.0006789 | 0.010876 | 0.010867 | 0.010876 | 0.99509 | -0.10859 | 0.99551 | -0.10571 | 5.1791
12 | 0.37265 | 0.1804 | -0.37263 | -0.18047 | 1.8237e-05 | -7.2583e-05 | 0.012006 | 0.012007 | 0.012007 | 0.99551 | -0.10571 | 0.99546 | -0.10603 | 5.7174
13 | -0.71157 | -0.34028 | 0.71181 | 0.33213 | 0.00024163 | -0.0081545 | 0.022872 | 0.02277 | 0.022872 | 0.99551 | -0.10571 | 0.99583 | -0.1085 | 10.3964
14 | -7.9302 | -3.4948 | 7.9317 | 3.4985 | 0.0015127 | 0.0037022 | 0.25168 | 0.25167 | 0.25168 | 0.99401 | -0.13771 | 0.99436 | -0.11714 | 19.5099
15 | 0.10607 | 0.049276 | -0.10607 | -0.050709 | 9.4325e-07 | -0.0014332 | 0.0033989 | 0.0034167 | 0.0034167 | 0.99335 | -0.15982 | 0.99334 | -0.15975 | 1.553
16 | -0.10607 | -0.049276 | 0.10607 | 0.048491 | 5.1237e-07 | -0.00078475 | 0.0033989 | 0.0033894 | 0.0033989 | 0.99335 | -0.15982 | 0.99335 | -0.15986 | 1.545
17 | 0.10607 | 0.050709 | -0.10607 | -0.051372 | 4.3982e-07 | -0.00066314 | 0.0034167 | 0.003425 | 0.003425 | 0.99334 | -0.15975 | 0.99334 | -0.15971 | 1.5568
18 | -8.2644 | -3.6597 | 8.2645 | 3.659 | 6.1889e-05 | -0.00068804 | 0.2624 | 0.26239 | 0.2624 | 0.99436 | -0.11714 | 0.99436 | -0.11709 | 20.5642
19 | -8.2645 | -3.659 | 8.2673 | 3.6275 | 0.0028279 | -0.0315 | 0.26239 | 0.262 | 0.26239 | 0.99436 | -0.11709 | 0.99472 | -0.11509 | 20.5635
20 | -6.2137 | -2.8707 | 6.2161 | 2.8762 | 0.0023982 | 0.0055303 | 0.19936 | 0.19935 | 0.19936 | 0.99112 | -0.20845 | 0.99183 | -0.16789 | 15.4543
21 | 5.9703 | 2.7528 | -5.9694 | -2.7509 | 0.00085059 | 0.0019345 | 0.19149 | 0.19149 | 0.19149 | 0.99112 | -0.20845 | 0.99086 | -0.22345 | 14.8442
22 | -6.3835 | -2.9573 | 6.3861 | 2.9096 | 0.0025659 | -0.047686 | 0.20476 | 0.20417 | 0.20476 | 0.99183 | -0.16789 | 0.99225 | -0.16592 | 16.0472
23 | 0.16745 | 0.081028 | -0.16745 | -0.0811 | 3.2985e-06 | -7.2084e-05 | 0.0054144 | 0.0054153 | 0.0054153 | 0.99183 | -0.16789 | 0.99181 | -0.16802 | 2.5787
24 | 5.9694 | 2.7509 | -5.9664 | -2.8156 | 0.0030659 | -0.064724 | 0.19149 | 0.19231 | 0.19231 | 0.99086 | -0.22345 | 0.99034 | -0.22579 | 15.0712
25 | 0.45005 | 0.17999 | -0.45003 | -0.18168 | 1.9193e-05 | -0.0016862 | 0.014113 | 0.014131 | 0.014131 | 0.99145 | 0.017788 | 0.99141 | 0.018009 | 6.4233
26 | -0.63539 | -0.26976 | 0.63546 | 0.26968 | 7.2413e-05 | -7.2735e-05 | 0.020098 | 0.020097 | 0.020098 | 0.99145 | 0.017788 | 0.99157 | 0.018905 | 9.5707
27 | 0.45003 | 0.18168 | -0.44979 | -0.20184 | 0.00023361 | -0.020161 | 0.014131 | 0.014362 | 0.014362 | 0.99141 | 0.018009 | 0.99092 | 0.021272 | 6.5283
28 | -0.63546 | -0.26968 | 0.63593 | 0.24919 | 0.00046812 | -0.020493 | 0.020097 | 0.01987 | 0.020097 | 0.99157 | 0.018905 | 0.99228 | 0.014872 | 9.135
29 | 0.44979 | 0.20184 | -0.44979 | -0.20237 | 6.3e-06 | -0.00053425 | 0.014362 | 0.014369 | 0.014369 | 0.99092 | 0.021272 | 0.99091 | 0.021374 | 6.5312
30 | 0.32084 | 0.15498 | -0.32084 | -0.15539 | 2.5224e-06 | -0.00041241 | 0.010366 | 0.010371 | 0.010371 | 0.99228 | 0.014872 | 0.99227 | 0.01494 | 4.7142
31 | -0.95677 | -0.40417 | 0.95718 | 0.40413 | 0.00041016 | -3.9631e-05 | 0.030216 | 0.030213 | 0.030216 | 0.99228 | 0.014872 | 0.99273 | 0.019124 | 14.3887
32 | -1.1869 | -0.51537 | 1.1869 | 0.51537 | 2.9159e-05 | 4.6631e-06 | 0.037626 | 0.037626 | 0.037626 | 0.99273 | 0.019124 | 0.99276 | 0.019352 | 17.9171
33 | 0.24822 | 0.11996 | -0.24822 | -0.12022 | 9.5366e-07 | -0.00025977 | 0.0080274 | 0.0080307 | 0.0080307 | 0.99142 | 0.027151 | 0.99141 | 0.027185 | 3.6503
34 | -0.24822 | -0.11996 | 0.24826 | 0.1099 | 3.6347e-05 | -0.010063 | 0.0080274 | 0.0079042 | 0.0080274 | 0.99142 | 0.027151 | 0.99155 | 0.026002 | 3.6488
35 | 0.074228 | 0.033338 | -0.074227 | -0.03595 | 8.4501e-07 | -0.0026123 | 0.002369 | 0.0024011 | 0.0024011 | 0.99155 | 0.026002 | 0.99154 | 0.026093 | 1.0914
36 | -0.32249 | -0.14324 | 0.32253 | 0.14302 | 3.7888e-05 | -0.00021286 | 0.010273 | 0.01027 | 0.010273 | 0.99155 | 0.026002 | 0.99168 | 0.027029 | 4.892
37 | 0.23667 | 0.099158 | -0.23667 | -0.10079 | 5.2108e-06 | -0.0016318 | 0.0074755 | 0.0074941 | 0.0074941 | 0.99091 | 0.021374 | 0.99089 | 0.021508 | 3.4064
38 | -0.12454 | -0.060023 | 0.12455 | 0.05966 | 9.0599e-06 | -0.00036327 | 0.0040247 | 0.0040201 | 0.0040247 | 0.9916 | 0.026535 | 0.99168 | 0.027029 | 1.9165
39 | 0.12454 | 0.060023 | -0.12454 | -0.060317 | 2.7118e-07 | -0.00029405 | 0.0040247 | 0.0040285 | 0.0040285 | 0.9916 | 0.026535 | 0.9916 | 0.026554 | 1.8311
40 | -0.65797 | -0.30482 | 0.65799 | 0.30417 | 1.6612e-05 | -0.00065106 | 0.021109 | 0.021101 | 0.021109 | 0.99168 | 0.027029 | 0.9917 | 0.026831 | 9.595
41 | 1.0034 | 0.42049 | -1.0027 | -0.43364 | 0.00076329 | -0.013142 | 0.031636 | 0.031789 | 0.031789 | 0.99276 | 0.019352 | 0.99204 | 0.024118 | 14.4494
42 | -2.1903 | -0.93587 | 2.1917 | 0.93113 | 0.0014001 | -0.0047368 | 0.069261 | 0.069202 | 0.069261 | 0.99276 | 0.019352 | 0.99336 | 0.015341 | 31.4821
43 | -0.65799 | -0.30417 | 0.65822 | 0.29481 | 0.00023734 | -0.0093598 | 0.021101 | 0.020987 | 0.021101 | 0.9917 | 0.026831 | 0.99204 | 0.024118 | 9.5913
44 | 0.23667 | 0.10079 | -0.23662 | -0.11414 | 4.363e-05 | -0.013346 | 0.0074941 | 0.0076549 | 0.0076549 | 0.99089 | 0.021508 | 0.99072 | 0.022888 | 3.4795
45 | -0.30297 | -0.14673 | 0.30297 | 0.1464 | 1.7786e-06 | -0.00033051 | 0.0097611 | 0.0097569 | 0.0097611 | 0.99555 | 0.010196 | 0.99555 | 0.010145 | 4.4369
46 | -0.30297 | -0.1464 | 0.30298 | 0.14458 | 9.7761e-06 | -0.0018218 | 0.0097569 | 0.009734 | 0.0097569 | 0.99555 | 0.010145 | 0.99558 | 0.0098697 | 4.435
47 | -3.4735 | -1.5363 | 3.4764 | 1.5329 | 0.0028576 | -0.0033343 | 0.11013 | 0.11008 | 0.11013 | 0.99558 | 0.0098697 | 0.99636 | 0.004153 | 50.0583
48 | 3.1706 | 1.3917 | -3.1705 | -1.3918 | 7.4349e-05 | -0.0001087 | 0.1004 | 0.1004 | 0.1004 | 0.99558 | 0.0098697 | 0.99556 | 0.01003 | 45.6364
49 | 2.4588 | 1.0522 | -2.4563 | -1.0587 | 0.0024841 | -0.0065339 | 0.077647 | 0.07773 | 0.07773 | 0.99432 | 0.0088464 | 0.99336 | 0.015341 | 35.3319
50 | -2.4588 | -1.0522 | 2.4599 | 1.0527 | 0.0011003 | 0.00056821 | 0.077647 | 0.077646 | 0.077647 | 0.99432 | 0.0088464 | 0.9948 | 0.013146 | 36.9747
51 | 0.26462 | 0.12757 | -0.26462 | -0.12816 | 2.4539e-06 | -0.00059299 | 0.0085368 | 0.0085443 | 0.0085443 | 0.99336 | 0.015341 | 0.99336 | 0.015422 | 3.8838
52 | -2.7627 | -1.1989 | 2.7645 | 1.1952 | 0.0018227 | -0.0036882 | 0.087393 | 0.087344 | 0.087393 | 0.9948 | 0.013146 | 0.99542 | 0.008802 | 39.7242
53 | 0.30279 | 0.14614 | -0.30279 | -0.14665 | 2.7228e-06 | -0.00050512 | 0.0097565 | 0.0097629 | 0.0097629 | 0.9948 | 0.013146 | 0.99479 | 0.013224 | 4.4377
54 | 0.27883 | 0.1269 | -0.27881 | -0.13289 | 2.6815e-05 | -0.0059854 | 0.008876 | 0.0089493 | 0.0089493 | 0.99636 | 0.004153 | 0.99627 | 0.0049192 | 4.0679
55 | 0.070325 | 0.033932 | -0.070325 | -0.03406 | 3.6788e-08 | -0.00012752 | 0.0022623 | 0.0022639 | 0.0022639 | 0.99636 | 0.004153 | 0.99636 | 0.0041575 | 1.0291
56 | -3.8255 | -1.6938 | 3.8334 | 1.6866 | 0.0078079 | -0.0071456 | 0.12122 | 0.12111 | 0.12122 | 0.99636 | 0.004153 | 0.99828 | -0.0099992 | 55.098
57 | 2.7649 | 1.1954 | -2.7645 | -1.1952 | 0.00036246 | 0.00019549 | 0.087344 | 0.087344 | 0.087344 | 0.99556 | 0.01003 | 0.99542 | 0.008802 | 41.5926
58 | 0.21268 | 0.10288 | -0.21268 | -0.103 | 3.3301e-07 | -0.0001239 | 0.0068748 | 0.0068763 | 0.0068763 | 0.99204 | 0.024118 | 0.99204 | 0.024132 | 3.1256
59 | 0.13177 | 0.035944 | -0.13175 | -0.062618 | 2.5412e-05 | -0.026674 | 0.0039746 | 0.0042455 | 0.0042455 | 0.99204 | 0.024118 | 0.99185 | 0.024869 | 1.9298
60 | 0.13175 | 0.062618 | -0.13175 | -0.063808 | 1.2238e-06 | -0.0011901 | 0.0042455 | 0.0042605 | 0.0042605 | 0.99185 | 0.024869 | 0.99184 | 0.024948 | 1.9366
61 | 0.17807 | 0.085511 | -0.17807 | -0.086242 | 1.3511e-06 | -0.00073051 | 0.0057238 | 0.005733 | 0.005733 | 0.99627 | 0.0049192 | 0.99626 | 0.0049847 | 2.6059
62 | 0.10074 | 0.047375 | -0.10074 | -0.047826 | 2.6491e-07 | -0.0004511 | 0.0032256 | 0.0032312 | 0.0032312 | 0.99627 | 0.0049192 | 0.99627 | 0.0049409 | 1.4687
63 | 0.30871 | 0.14948 | -0.3087 | -0.14951 | 4.8683e-06 | -2.9993e-05 | 0.0099184 | 0.0099188 | 0.0099188 | 0.99828 | -0.0099992 | 0.99827 | -0.010103 | 4.7232
64 | -15.5347 | -6.8101 | 15.5444 | 6.7826 | 0.0097723 | -0.02747 | 0.49049 | 0.49011 | 0.49049 | 0.99828 | -0.0099992 | 0.99894 | -0.0061958 | 38.4395
65 | 11.3926 | 4.974 | -11.3861 | -5.0109 | 0.0064818 | -0.036931 | 0.35947 | 0.35994 | 0.35994 | 0.99828 | -0.0099992 | 0.99769 | -0.013412 | 28.2087
66 | 0.384 | 0.18537 | -0.38399 | -0.18597 | 5.154e-06 | -0.00060389 | 0.012322 | 0.01233 | 0.01233 | 0.99894 | -0.0061958 | 0.99893 | -0.0060793 | 5.6044
67 | -15.9284 | -6.968 | 15.9369 | 6.9456 | 0.0084287 | -0.022387 | 0.50242 | 0.50211 | 0.50242 | 0.99894 | -0.0061958 | 0.99949 | -0.0029763 | 39.3745
68 | -16.2822 | -7.1059 | 16.2892 | 7.0881 | 0.0070191 | -0.017731 | 0.5131 | 0.51285 | 0.5131 | 0.99949 | -0.0029763 | 0.99994 | -0.00033386 | 40.2115
69 | 0.13364 | 0.063996 | -0.13364 | -0.064726 | 7.4923e-07 | -0.0007291 | 0.0042796 | 0.0042888 | 0.0042888 | 0.99949 | -0.0029763 | 0.99949 | -0.0029281 | 1.9494
70 | 0.21172 | 0.09627 | -0.2117 | -0.10168 | 1.3803e-05 | -0.005408 | 0.0067174 | 0.0067836 | 0.0067836 | 0.99949 | -0.0029763 | 0.99943 | -0.0024525 | 3.0834
71 | 0.40639 | 0.19662 | -0.40639 | -0.19682 | 1.9822e-06 | -0.00020617 | 0.013063 | 0.013065 | 0.013065 | 0.99769 | -0.013412 | 0.99768 | -0.013369 | 5.9387
72 | 10.9797 | 4.8143 | -10.9783 | -4.8229 | 0.0014001 | -0.0086274 | 0.34689 | 0.347 | 0.347 | 0.99769 | -0.013412 | 0.99755 | -0.014173 | 27.1943
73 | 10.9783 | 4.8229 | -10.9781 | -4.8245 | 0.00026303 | -0.0016198 | 0.347 | 0.34702 | 0.34702 | 0.99755 | -0.014173 | 0.99753 | -0.014315 | 27.1959
74 | 0.64672 | 0.291 | -0.64664 | -0.29431 | 7.8317e-05 | -0.0033112 | 0.020473 | 0.020513 | 0.020513 | 0.99994 | -0.00033386 | 0.99983 | 0.00056414 | 9.3241
75 | -16.936 | -7.3791 | 16.9369 | 7.377 | 0.00092111 | -0.0021153 | 0.53332 | 0.53329 | 0.53332 | 0.99994 | -0.00033386 | 1 | 0 | 41.7963
76 | 0.2117 | 0.10168 | -0.2117 | -0.10253 | 2.2063e-06 | -0.00085451 | 0.0067836 | 0.0067943 | 0.0067943 | 0.99943 | -0.0024525 | 0.99942 | -0.0023625 | 3.0883
77 | 0.10074 | 0.047826 | -0.10074 | -0.048789 | 5.688e-07 | -0.00096333 | 0.0032312 | 0.0032433 | 0.0032433 | 0.99627 | 0.0049409 | 0.99626 | 0.004989 | 1.4742
78 | -0.23662 | -0.1146 | 0.23662 | 0.11414 | 1.5591e-06 | -0.00046622 | 0.0076609 | 0.0076549 | 0.0076609 | 0.99071 | 0.022945 | 0.99072 | 0.022888 | 3.4822
79 | 0.41464 | 0.20045 | -0.41464 | -0.20082 | 3.791e-06 | -0.00036771 | 0.013425 | 0.013429 | 0.013429 | 0.99034 | -0.22579 | 0.99033 | -0.22571 | 6.1043
80 | 5.5517 | 2.6152 | -5.549 | -2.6813 | 0.0027265 | -0.066079 | 0.17888 | 0.17973 | 0.17973 | 0.99034 | -0.22579 | 0.98983 | -0.22776 | 14.0857
81 | 5.549 | 2.6813 | -5.5489 | -2.6838 | 0.00010353 | -0.0024951 | 0.17973 | 0.17977 | 0.17977 | 0.98983 | -0.22776 | 0.98981 | -0.22783 | 14.0882
82 | 4.3828 | 2.119 | -4.3824 | -2.12 | 0.00036266 | -0.00098817 | 0.14198 | 0.14199 | 0.14199 | 0.98981 | -0.22783 | 0.98973 | -0.22877 | 39.2247
83 | 0.19118 | 0.092498 | -0.19118 | -0.092592 | 1.9699e-07 | -9.3575e-05 | 0.0061319 | 0.0061331 | 0.0061331 | 0.99983 | 0.00056414 | 0.99983 | 0.00057311 | 2.7878
84 | 0.45546 | 0.20181 | -0.45543 | -0.20436 | 2.9634e-05 | -0.0025467 | 0.014383 | 0.014414 | 0.014414 | 0.99983 | 0.00056414 | 0.99977 | 0.0010283 | 6.5516
85 | 10.738 | 4.7083 | -10.7375 | -4.7114 | 0.00048859 | -0.0031591 | 0.33931 | 0.33935 | 0.33935 | 0.99753 | -0.014315 | 0.99748 | -0.014587 | 26.5944
86 | 2.0043 | 0.96819 | -2.0041 | -0.96888 | 0.00017935 | -0.00069208 | 0.064923 | 0.064933 | 0.064933 | 0.98973 | -0.22877 | 0.98964 | -0.22799 | 29.5148
87 | 6.8875 | 3.0352 | -6.8866 | -3.0493 | 0.00086956 | -0.014078 | 0.21875 | 0.21892 | 0.21892 | 0.99325 | -0.16059 | 0.99312 | -0.16133 | 17.1569
88 | 0.45603 | 0.21729 | -0.45601 | -0.21888 | 1.9482e-05 | -0.0015867 | 0.014682 | 0.014702 | 0.014702 | 0.99325 | -0.16059 | 0.99321 | -0.16023 | 6.6826
89 | 6.8162 | 3.0161 | -6.8133 | -3.0648 | 0.0029544 | -0.048664 | 0.21666 | 0.21726 | 0.21726 | 0.99312 | -0.16133 | 0.99267 | -0.16375 | 17.0264
90 | 0.07037 | 0.033187 | -0.07037 | -0.034082 | 2.607e-07 | -0.00089463 | 0.0022615 | 0.0022727 | 0.0022727 | 0.99312 | -0.16133 | 0.99312 | -0.1613 | 1.0331
91 | 0.45601 | 0.21888 | -0.45599 | -0.22047 | 1.9604e-05 | -0.0015921 | 0.014702 | 0.014722 | 0.014722 | 0.99321 | -0.16023 | 0.99317 | -0.15986 | 6.6917
92 | 0.1265 | 0.058984 | -0.1265 | -0.061266 | 2.1526e-06 | -0.0022821 | 0.0040607 | 0.0040892 | 0.0040892 | 0.99225 | -0.16592 | 0.99223 | -0.16578 | 1.8587
93 | -6.5126 | -2.9686 | 6.5153 | 2.9205 | 0.0026738 | -0.04804 | 0.20823 | 0.20763 | 0.20823 | 0.99225 | -0.16592 | 0.99267 | -0.16375 | 16.3187
94 | 0.29803 | 0.14426 | -0.29802 | -0.14434 | 1.2623e-05 | -8.1971e-05 | 0.0096289 | 0.00963 | 0.00963 | 0.99267 | -0.16375 | 0.99263 | -0.16403 | 4.5857
95 | 0.073077 | 0.035013 | -0.073077 | -0.035393 | 1.1967e-07 | -0.00037973 | 0.0023553 | 0.0023601 | 0.0023601 | 0.99317 | -0.15986 | 0.99317 | -0.15985 | 1.0728
96 | -8.6528 | -3.7606 | 8.6529 | 3.759 | 0.00015977 | -0.0016294 | 0.27364 | 0.27362 | 0.27364 | 0.99531 | -0.11166 | 0.99532 | -0.11154 | 21.4452
97 | 8.4911 | 3.6823 | -8.4906 | -3.688 | 0.00052955 | -0.0056213 | 0.26843 | 0.2685 | 0.2685 | 0.99531 | -0.11166 | 0.99524 | -0.11205 | 21.0426
98 | -8.6529 | -3.759 | 8.6571 | 3.7165 | 0.0041531 | -0.042466 | 0.27362 | 0.27311 | 0.27362 | 0.99532 | -0.11154 | 0.99583 | -0.1085 | 21.4436
99 | 8.4906 | 3.688 | -8.4863 | -3.733 | 0.0042555 | -0.045036 | 0.2685 | 0.26905 | 0.26905 | 0.99524 | -0.11205 | 0.99472 | -0.11509 | 21.0858
100 | -9.3689 | -4.0487 | 9.369 | 4.0482 | 5.1513e-05 | -0.00044566 | 0.29587 | 0.29586 | 0.29587 | 0.99583 | -0.1085 | 0.99583 | -0.10847 | 23.1869
101 | 0.21902 | 0.10551 | -0.21902 | -0.10608 | 1.5955e-06 | -0.00056618 | 0.0070553 | 0.0070624 | 0.0070624 | 0.99472 | -0.11509 | 0.99471 | -0.11502 | 3.2102
102 | -9.6478 | -4.1833 | 9.6561 | 4.2042 | 0.0082934 | 0.020929 | 0.30483 | 0.30482 | 0.30483 | 0.99583 | -0.10847 | 0.99739 | -0.0151 | 23.6304
103 | 0.25797 | 0.12466 | -0.25794 | -0.12493 | 2.9229e-05 | -0.00026485 | 0.0082926 | 0.0082961 | 0.0082961 | 0.99739 | -0.0151 | 0.99727 | -0.01585 | 3.9505
104 | -9.9921 | -4.3666 | 9.9921 | 4.3665 | 1.7978e-05 | -0.00013591 | 0.31561 | 0.31561 | 0.31561 | 0.99739 | -0.0151 | 0.99739 | -0.015089 | 24.7343
105 | -10.6521 | -4.6772 | 10.653 | 4.6713 | 0.00089409 | -0.0058793 | 0.33671 | 0.33664 | 0.33671 | 0.99739 | -0.015089 | 0.99748 | -0.014587 | 26.3881
106 | 0.65998 | 0.31067 | -0.65988 | -0.31442 | 9.4971e-05 | -0.0037538 | 0.021112 | 0.021159 | 0.021159 | 0.99739 | -0.015089 | 0.99726 | -0.013897 | 9.6178
107 | 0.084535 | 0.040107 | -0.084535 | -0.040942 | 3.4564e-07 | -0.00083549 | 0.0027079 | 0.0027183 | 0.0027183 | 0.99748 | -0.014587 | 0.99748 | -0.014552 | 1.2356
108 | 0.29223 | 0.13693 | -0.29221 | -0.13994 | 1.4852e-05 | -0.0030107 | 0.0093417 | 0.009379 | 0.009379 | 0.99726 | -0.013897 | 0.99721 | -0.013475 | 4.2632
109 | 0.36766 | 0.1775 | -0.36765 | -0.17806 | 4.4556e-06 | -0.00056579 | 0.011818 | 0.011825 | 0.011825 | 0.99726 | -0.013897 | 0.99725 | -0.013791 | 5.375
110 | -0.18027 | -0.087307 | 0.18027 | 0.085551 | 3.412e-06 | -0.0017564 | 0.0058427 | 0.0058205 | 0.0058427 | 0.98963 | -0.22783 | 0.98964 | -0.22799 | 2.6558
111 | 0.21764 | 0.10537 | -0.21764 | -0.10541 | 2.8143e-06 | -3.6504e-05 | 0.0069999 | 0.0070004 | 0.0070004 | 0.99721 | -0.013475 | 0.9972 | -0.013561 | 3.3335
112 | 0.074571 | 0.034568 | -0.07457 | -0.035323 | 2.414e-07 | -0.00075535 | 0.0023793 | 0.0023886 | 0.0023886 | 0.99721 | -0.013475 | 0.99721 | -0.013449 | 1.0857
113 | 0.07457 | 0.035323 | -0.07457 | -0.036116 | 2.5534e-07 | -0.0007926 | 0.0023886 | 0.0023985 | 0.0023985 | 0.99721 | -0.013449 | 0.99721 | -0.01342 | 1.0902
114 | -0.069537 | -0.033678 | 0.069537 | 0.031483 | 6.0388e-07 | -0.0021951 | 0.0022311 | 0.0022042 | 0.0022311 | 0.9997 | 0.0013349 | 0.99971 | 0.0012648 | 1.0141
115 | -0.069537 | -0.031483 | 0.06954 | 0.018485 | 3.3104e-06 | -0.012998 | 0.0022042 | 0.0020777 | 0.0022042 | 0.99971 | 0.0012648 | 0.99975 | 0.0011134 | 1.0019
116 | -0.06954 | -0.018485 | 0.069541 | 0.017941 | 1.3129e-07 | -0.00054469 | 0.0020777 | 0.0020737 | 0.0020777 | 0.99975 | 0.0011134 | 0.99976 | 0.0011169 | 0.9444
117 | -0.45543 | -0.20483 | 0.45543 | 0.20436 | 5.5435e-06 | -0.00047517 | 0.014419 | 0.014414 | 0.014419 | 0.99976 | 0.0011169 | 0.99977 | 0.0010283 | 6.5542

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 17.2576 | 7.536

## res_load
| p_mw | q_mvar
0 | 0.052297 | 0.025329
1 | 0.098127 | 0.047525
2 | 0.070816 | 0.034298
3 | 0.11551 | 0.055944
4 | 0.095284 | 0.046148
5 | 0.18833 | 0.091212
6 | 0.12075 | 0.058482
7 | 0.073745 | 0.035716
8 | 0.10607 | 0.051372
9 | 0.33272 | 0.16114
10 | 0.24336 | 0.11787
11 | 0.18534 | 0.089765
12 | 0.32084 | 0.15539
13 | 0.22968 | 0.11124
14 | 0.24822 | 0.12022
15 | 0.21311 | 0.10322
16 | 0.21089 | 0.10214
17 | 0.12454 | 0.060317
18 | 0.074227 | 0.03595
19 | 0.30297 | 0.14673
20 | 0.26462 | 0.12816
21 | 0.40557 | 0.19643
22 | 0.30279 | 0.14665
23 | 0.21268 | 0.103
24 | 0.070325 | 0.03406
25 | 0.38399 | 0.18597
26 | 0.40639 | 0.19682
27 | 0.13364 | 0.064726
28 | 0.17807 | 0.086242
29 | 0.10074 | 0.048789
30 | 0.2117 | 0.10253
31 | 0.3087 | 0.14951
32 | 0.13175 | 0.063808
33 | 0.23662 | 0.1146
34 | 0.41464 | 0.20082
35 | 1.1661 | 0.56478
36 | 0.30668 | 0.14853
37 | 0.24008 | 0.11627
38 | 2.3781 | 1.1518
39 | 0.16745 | 0.0811
40 | 0.07037 | 0.034082
41 | 0.29802 | 0.14434
42 | 0.1265 | 0.061266
43 | 0.38292 | 0.18546
44 | 0.073077 | 0.035393
45 | 0.16167 | 0.078299
46 | 0.27882 | 0.13504
47 | 0.21902 | 0.10608
48 | 0.07802 | 0.037787
49 | 0.25794 | 0.12493
50 | 0.37263 | 0.18047
51 | 0.18027 | 0.087307
52 | 1.8238 | 0.88333
53 | 0.36765 | 0.17806
54 | 0.084535 | 0.040942
55 | 0.07457 | 0.036116
56 | 0.21764 | 0.10541
57 | 0.069537 | 0.033678
58 | 0.38589 | 0.18689
59 | 0.19118 | 0.092592

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1