## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_493_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_493_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_493_0_node_2 | 20 | n |  | TRUE
3 | bus_MV_493_0_node_77 | 20 | n |  | TRUE
4 | bus_MV_493_0_node_8 | 20 | n |  | TRUE
5 | bus_MV_493_0_node_75 | 20 | n |  | TRUE
6 | bus_MV_493_0_node_62 | 20 | n |  | TRUE
7 | bus_MV_493_0_node_80 | 20 | n |  | TRUE
8 | bus_MV_493_0_node_19 | 20 | n |  | TRUE
9 | bus_MV_493_0_node_78 | 20 | n |  | TRUE
10 | bus_MV_493_0_node_13 | 20 | n |  | TRUE
11 | bus_MV_493_0_node_3 | 20 | n |  | TRUE
12 | bus_MV_493_0_node_4 | 20 | n |  | TRUE
13 | bus_MV_493_0_node_7 | 20 | n |  | TRUE
14 | bus_MV_493_0_node_6 | 20 | n |  | TRUE
15 | bus_MV_493_0_node_48 | 20 | n |  | TRUE
16 | bus_MV_493_0_node_49 | 20 | n |  | TRUE
17 | bus_MV_493_0_node_47 | 20 | n |  | TRUE
18 | bus_MV_493_0_node_71 | 20 | n |  | TRUE
19 | bus_MV_493_0_node_66 | 20 | n |  | TRUE
20 | bus_MV_493_0_node_61 | 20 | n |  | TRUE
21 | bus_MV_493_0_node_20 | 20 | n |  | TRUE
22 | bus_MV_493_0_node_18 | 20 | n |  | TRUE
23 | bus_MV_493_0_node_10 | 20 | n |  | TRUE
24 | bus_MV_493_0_node_9 | 20 | n |  | TRUE
25 | bus_MV_493_0_node_11 | 20 | n |  | TRUE
26 | bus_MV_493_0_node_68 | 20 | n |  | TRUE
27 | bus_MV_493_0_node_69 | 20 | n |  | TRUE
28 | bus_MV_493_0_node_14 | 20 | n |  | TRUE
29 | bus_MV_493_0_node_12 | 20 | n |  | TRUE
30 | bus_MV_493_0_node_17 | 20 | n |  | TRUE
31 | bus_MV_493_0_node_15 | 20 | n |  | TRUE
32 | bus_MV_493_0_node_23 | 20 | n |  | TRUE
33 | bus_MV_493_0_node_22 | 20 | n |  | TRUE
34 | bus_MV_493_0_node_16 | 20 | n |  | TRUE
35 | bus_MV_493_0_node_21 | 20 | n |  | TRUE
36 | bus_MV_493_0_node_57 | 20 | n |  | TRUE
37 | bus_MV_493_0_node_58 | 20 | n |  | TRUE
38 | bus_MV_493_0_node_59 | 20 | n |  | TRUE
39 | bus_MV_493_0_node_55 | 20 | n |  | TRUE
40 | bus_MV_493_0_node_56 | 20 | n |  | TRUE
41 | bus_MV_493_0_node_54 | 20 | n |  | TRUE
42 | bus_MV_493_0_node_24 | 20 | n |  | TRUE
43 | bus_MV_493_0_node_25 | 20 | n |  | TRUE
44 | bus_MV_493_0_node_32 | 20 | n |  | TRUE
45 | bus_MV_493_0_node_67 | 20 | n |  | TRUE
46 | bus_MV_493_0_node_31 | 20 | n |  | TRUE
47 | bus_MV_493_0_node_26 | 20 | n |  | TRUE
48 | bus_MV_493_0_node_27 | 20 | n |  | TRUE
49 | bus_MV_493_0_node_53 | 20 | n |  | TRUE
50 | bus_MV_493_0_node_52 | 20 | n |  | TRUE
51 | bus_MV_493_0_node_76 | 20 | n |  | TRUE
52 | bus_MV_493_0_node_65 | 20 | n |  | TRUE
53 | bus_MV_493_0_node_29 | 20 | n |  | TRUE
54 | bus_MV_493_0_node_79 | 20 | n |  | TRUE
55 | bus_MV_493_0_node_41 | 20 | n |  | TRUE
56 | bus_MV_493_0_node_30 | 20 | n |  | TRUE
57 | bus_MV_493_0_node_34 | 20 | n |  | TRUE
58 | bus_MV_493_0_node_33 | 20 | n |  | TRUE
59 | bus_MV_493_0_node_44 | 20 | n |  | TRUE
60 | bus_MV_493_0_node_38 | 20 | n |  | TRUE
61 | bus_MV_493_0_node_35 | 20 | n |  | TRUE
62 | bus_MV_493_0_node_42 | 20 | n |  | TRUE
63 | bus_MV_493_0_node_39 | 20 | n |  | TRUE
64 | bus_MV_493_0_node_50 | 20 | n |  | TRUE
65 | bus_MV_493_0_node_37 | 20 | n |  | TRUE
66 | bus_MV_493_0_node_40 | 20 | n |  | TRUE
67 | bus_MV_493_0_node_51 | 20 | n |  | TRUE
68 | bus_MV_493_0_node_72 | 20 | n |  | TRUE
69 | bus_MV_493_0_node_45 | 20 | n |  | TRUE
70 | bus_MV_493_0_node_43 | 20 | n |  | TRUE
71 | bus_MV_493_0_node_74 | 20 | n |  | TRUE
72 | bus_MV_493_0_node_46 | 20 | n |  | TRUE
73 | bus_MV_493_0_node_73 | 20 | n |  | TRUE
74 | bus_MV_493_0_node_64 | 20 | n |  | TRUE
75 | bus_MV_493_0_node_60 | 20 | n |  | TRUE
76 | bus_MV_493_0_node_70 | 20 | n |  | TRUE
77 | bus_HV_493_0_node_71 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_493_0_load_0 | 0 | 0.23517 | 0.1139 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_493_0_load_77 | 3 | 0.34177 | 0.16552 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_493_0_load_75 | 5 | 0.35599 | 0.17242 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_493_0_load_80 | 7 | 0.34046 | 0.16489 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_493_0_load_78 | 9 | 0.41373 | 0.20038 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_493_0_load_3 | 11 | 0.31288 | 0.15153 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_493_0_load_6 | 14 | 0.20894 | 0.10119 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_493_0_load_47 | 17 | 0.15364 | 0.074412 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_493_0_load_71 | 18 | 0.27994 | 0.13558 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_493_0_load_20 | 21 | 0.34777 | 0.16843 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_493_0_load_68 | 26 | 0.19449 | 0.094197 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_493_0_load_69 | 27 | 0.37215 | 0.18024 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_493_0_load_12 | 29 | 0.23145 | 0.1121 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_493_0_load_22 | 33 | 0.30987 | 0.15008 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_493_0_load_21 | 35 | 0.26565 | 0.12866 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_493_0_load_57 | 36 | 0.078162 | 0.037856 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_493_0_load_58 | 37 | 1.313 | 0.63592 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_493_0_load_59 | 38 | 0.19733 | 0.095573 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_493_0_load_54 | 41 | 0.21104 | 0.10221 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_493_0_load_24 | 42 | 0.35241 | 0.17068 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_493_0_load_67 | 45 | 0.39507 | 0.19134 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_493_0_load_52 | 50 | 0.23376 | 0.11322 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_493_0_load_76 | 51 | 0.39545 | 0.19153 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_493_0_load_29 | 53 | 0.31779 | 0.15391 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_493_0_load_79 | 54 | 0.14543 | 0.070435 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_493_0_load_30 | 56 | 0.30536 | 0.14789 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_493_0_load_44 | 59 | 0.25362 | 0.12283 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_493_0_load_42 | 62 | 0.32526 | 0.15753 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_493_0_load_50 | 64 | 0.21897 | 0.10605 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_493_0_load_40 | 66 | 0.18308 | 0.088668 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_493_0_load_51 | 67 | 0.26066 | 0.12624 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_493_0_load_72 | 68 | 0.41359 | 0.20031 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_493_0_load_43 | 70 | 0.074653 | 0.036156 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_493_0_load_74 | 71 | 0.15919 | 0.0771 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_493_0_load_73 | 73 | 0.26779 | 0.12969 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_493_0_load_64 | 74 | 0.16613 | 0.08046 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_493_0_load_60 | 75 | 0.42417 | 0.20543 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_493_0_load_70 | 76 | 0.075109 | 0.036377 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_493_0_line_0 |  | 0 | 1 | 0.046955 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_493_0_line_1 |  | 1 | 2 | 1.1091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_493_0_line_2 |  | 2 | 7 | 0.053154 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_493_0_line_3 |  | 3 | 4 | 0.10352 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
4 | MV_493_0_line_4 |  | 4 | 23 | 0.67172 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_493_0_line_5 |  | 4 | 13 | 0.29023 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
6 | MV_493_0_line_6 |  | 5 | 6 | 0.040179 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_493_0_line_7 |  | 6 | 21 | 0.62525 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
8 | MV_493_0_line_8 |  | 6 | 22 | 0.56357 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
9 | MV_493_0_line_9 |  | 6 | 18 | 0.28267 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
10 | MV_493_0_line_10 |  | 7 | 8 | 1.1418 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_493_0_line_11 |  | 8 | 9 | 0.024696 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_493_0_line_12 |  | 8 | 10 | 0.88789 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_493_0_line_13 |  | 10 | 28 | 0.52468 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_493_0_line_14 |  | 10 | 30 | 0.47997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_493_0_line_15 |  | 10 | 29 | 0.007493 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_493_0_line_16 |  | 11 | 12 | 0.028384 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_493_0_line_17 |  | 12 | 13 | 0.57682 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
18 | MV_493_0_line_18 |  | 13 | 14 | 0.076449 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_493_0_line_19 |  | 15 | 16 | 0.14784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_493_0_line_20 |  | 15 | 17 | 0.032083 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_493_0_line_21 |  | 16 | 71 | 0.033759 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
22 | MV_493_0_line_22 |  | 17 | 74 | 0.18025 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
23 | MV_493_0_line_23 |  | 18 | 19 | 0.027915 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
24 | MV_493_0_line_24 |  | 18 | 20 | 0.32272 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_493_0_line_25 |  | 19 | 52 | 0.12584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_493_0_line_26 |  | 19 | 47 | 0.2898 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
27 | MV_493_0_line_27 |  | 20 | 76 | 0.0157 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_493_0_line_28 |  | 20 | 40 | 0.16784 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_493_0_line_29 |  | 21 | 25 | 0.025707 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
30 | MV_493_0_line_30 |  | 22 | 37 | 0.041089 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_493_0_line_31 |  | 22 | 31 | 0.44105 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_493_0_line_32 |  | 23 | 27 | 0.057537 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_493_0_line_33 |  | 24 | 25 | 0.40299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_493_0_line_34 |  | 24 | 26 | 0.12125 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_493_0_line_35 |  | 27 | 28 | 0.048645 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_493_0_line_36 |  | 28 | 31 | 0.35262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_493_0_line_37 |  | 30 | 36 | 0.10513 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_493_0_line_38 |  | 30 | 34 | 0.32555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_493_0_line_39 |  | 31 | 32 | 0.42972 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_493_0_line_40 |  | 31 | 33 | 0.017458 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_493_0_line_41 |  | 32 | 38 | 0.034955 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_493_0_line_42 |  | 34 | 35 | 0.04398 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_493_0_line_43 |  | 39 | 40 | 0.23369 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_493_0_line_44 |  | 39 | 41 | 0.050342 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_493_0_line_45 |  | 40 | 75 | 0.025974 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_493_0_line_46 |  | 42 | 43 | 0.007741 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_493_0_line_47 |  | 43 | 44 | 0.2847 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_493_0_line_48 |  | 44 | 45 | 0.004728 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_493_0_line_49 |  | 44 | 46 | 0.30648 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_493_0_line_50 |  | 45 | 48 | 0.079793 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
51 | MV_493_0_line_51 |  | 46 | 57 | 0.60904 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
52 | MV_493_0_line_52 |  | 46 | 56 | 0.015668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_493_0_line_53 |  | 47 | 48 | 0.42187 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_493_0_line_54 |  | 47 | 49 | 0.27456 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_493_0_line_55 |  | 47 | 50 | 0.024692 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_493_0_line_56 |  | 49 | 51 | 0.032718 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_493_0_line_57 |  | 52 | 74 | 0.032331 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_493_0_line_58 |  | 53 | 54 | 0.48131 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
59 | MV_493_0_line_59 |  | 54 | 55 | 0.004791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_493_0_line_60 |  | 55 | 65 | 0.24163 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_493_0_line_61 |  | 57 | 60 | 0.47372 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_493_0_line_62 |  | 57 | 61 | 0.58846 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_493_0_line_63 |  | 57 | 62 | 0.023262 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_493_0_line_64 |  | 57 | 58 | 0.35264 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_493_0_line_65 |  | 58 | 59 | 0.04169 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_493_0_line_66 |  | 59 | 69 | 0.085775 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_493_0_line_67 |  | 60 | 67 | 0.044978 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_493_0_line_68 |  | 60 | 65 | 0.53067 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_493_0_line_69 |  | 61 | 63 | 0.29218 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_493_0_line_70 |  | 61 | 64 | 0.043525 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_493_0_line_71 |  | 62 | 70 | 0.0078263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_493_0_line_72 |  | 63 | 68 | 0.002371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_493_0_line_73 |  | 65 | 66 | 0.037469 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_493_0_line_74 |  | 69 | 72 | 0.41419 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
75 | MV_493_0_line_75 |  | 72 | 73 | 0.01147 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_493_0_trafo_71 | 25 MVA 110/20 kV | 77 | 18 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2687746.685 | 1242639.3408
1 | 2687789.2874 | 1242659.0853
2 | 2688064.7859 | 1242955.7293
3 | 2687533.385 | 1244169.8615
4 | 2687600.4452 | 1244248.7204
5 | 2687767.034 | 1245443.2662
6 | 2687727.1347 | 1245448.0018
7 | 2688060.599 | 1243006.5712
8 | 2688176.1923 | 1244142.5254
9 | 2688175.8704 | 1244167.2167
10 | 2687945.7073 | 1244541.8111
11 | 2686802.1915 | 1244634.7847
12 | 2686822.6137 | 1244615.0133
13 | 2687352.0522 | 1244386.0709
14 | 2687298.7947 | 1244440.9165
15 | 2687142.1115 | 1245635.6962
16 | 2687011.1038 | 1245675.9363
17 | 2687167.5277 | 1245655.3731
18 | 2687457.398 | 1245532.5151
19 | 2687444.1607 | 1245556.5155
20 | 2687779.9132 | 1245521.1256
21 | 2687479.8104 | 1244873.7428
22 | 2687673.1593 | 1244887.0217
23 | 2687743.7879 | 1244565.2611
24 | 2687407.3576 | 1244612.2301
25 | 2687454.7283 | 1244876.5012
26 | 2687507.4224 | 1244543.7545
27 | 2687765.2066 | 1244616.249
28 | 2687770.8867 | 1244646.0661
29 | 2687947.2218 | 1244534.4725
30 | 2688280.2034 | 1244555.8222
31 | 2687945.1416 | 1244858.1146
32 | 2688251.1005 | 1244716.7085
33 | 2687962.633 | 1244857.3066
34 | 2688146.5819 | 1244684.3085
35 | 2688189.0206 | 1244672.3192
36 | 2688318.7568 | 1244631.2185
37 | 2687633.5961 | 1244875.929
38 | 2688250.4431 | 1244681.7599
39 | 2687977.8145 | 1245538.648
40 | 2687843.6415 | 1245574.1972
41 | 2687969.9961 | 1245584.833
42 | 2687504.2522 | 1246166.2763
43 | 2687496.6699 | 1246165.5417
44 | 2687233.796 | 1246056.2111
45 | 2687231.7687 | 1246060.4844
46 | 2686986.0886 | 1245942.9895
47 | 2687496.9354 | 1245841.4717
48 | 2687303.2736 | 1246095.896
49 | 2687715.5901 | 1245865.0962
50 | 2687509.5674 | 1245861.6206
51 | 2687688.3463 | 1245883.3291
52 | 2687348.513 | 1245571.5286
53 | 2687332.9406 | 1246608.3579
54 | 2687033.8307 | 1246231.2703
55 | 2687029.0273 | 1246231.1552
56 | 2686970.8198 | 1245939.3073
57 | 2686621.3698 | 1245956.5181
58 | 2686635.7047 | 1245727.369
59 | 2686602.3657 | 1245702.7084
60 | 2686647.0517 | 1246176.1558
61 | 2686362.2845 | 1246005.0208
62 | 2686642.9639 | 1245965.1351
63 | 2686210.611 | 1246097.2382
64 | 2686398.2975 | 1245980.427
65 | 2686902.603 | 1246109.1668
66 | 2686939.165 | 1246117.8312
67 | 2686682.1199 | 1246147.9917
68 | 2686211.8738 | 1246099.247
69 | 2686532.4274 | 1245742.6173
70 | 2686645.6927 | 1245957.7999
71 | 2686977.5868 | 1245679.97
72 | 2686363.4196 | 1245695.8198
73 | 2686353.7555 | 1245689.5967
74 | 2687337.3498 | 1245594.9493
75 | 2687869.4176 | 1245570.9988
76 | 2687793.7389 | 1245513.6135
77 | 2687457.398 | 1245532.5151

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98823 | -0.09667 | 0.23517 | 0.1139
1 | 0.98825 | -0.096534 | 0 | 0
2 | 0.98858 | -0.098788 | 0 | 0
3 | 0.99106 | -0.096663 | 0.34177 | 0.16552
4 | 0.99113 | -0.096228 | 0 | 0
5 | 0.99814 | -0.047425 | 0.35599 | 0.17242
6 | 0.99817 | -0.047251 | 0 | 0
7 | 0.98859 | -0.098849 | 0.34046 | 0.16489
8 | 0.98985 | -0.087967 | 0 | 0
9 | 0.98984 | -0.087843 | 0.41373 | 0.20038
10 | 0.99097 | -0.096417 | 0 | 0
11 | 0.99057 | -0.096637 | 0.31288 | 0.15153
12 | 0.99058 | -0.096745 | 0 | 0
13 | 0.99094 | -0.094473 | 0 | 0
14 | 0.9909 | -0.09467 | 0.20894 | 0.10119
15 | 0.99972 | -0.00066006 | 0 | 0
16 | 0.99969 | -0.00039534 | 0 | 0
17 | 0.99973 | -0.00071312 | 0.15364 | 0.074412
18 | 1 | 0 | -10.9244 | -5.0133
19 | 0.99993 | -0.00080503 | 0 | 0
20 | 0.99956 | -0.0031008 | 0 | 0
21 | 0.99752 | -0.051938 | 0.34777 | 0.16843
22 | 0.99512 | -0.1269 | 0 | 0
23 | 0.99187 | -0.10258 | 0 | 0
24 | 0.99741 | -0.051079 | 0 | 0
25 | 0.99751 | -0.051895 | 0 | 0
26 | 0.99737 | -0.051366 | 0.19449 | 0.094197
27 | 0.99193 | -0.10309 | 0.37215 | 0.18024
28 | 0.99201 | -0.10374 | 0 | 0
29 | 0.99097 | -0.096396 | 0.23145 | 0.1121
30 | 0.99076 | -0.094929 | 0 | 0
31 | 0.99327 | -0.1131 | 0 | 0
32 | 0.99316 | -0.11224 | 0 | 0
33 | 0.99326 | -0.11304 | 0.30987 | 0.15008
34 | 0.99065 | -0.093977 | 0 | 0
35 | 0.99063 | -0.093836 | 0.26565 | 0.12866
36 | 0.99075 | -0.094837 | 0.078162 | 0.037856
37 | 0.99505 | -0.12624 | 1.313 | 0.63592
38 | 0.99315 | -0.11216 | 0.19733 | 0.095573
39 | 0.99936 | -0.0013933 | 0 | 0
40 | 0.99942 | -0.0019246 | 0 | 0
41 | 0.99935 | -0.001268 | 0.21104 | 0.10221
42 | 0.99588 | -0.027311 | 0.35241 | 0.17068
43 | 0.99589 | -0.027344 | 0 | 0
44 | 0.99608 | -0.026113 | 0 | 0
45 | 0.9961 | -0.026261 | 0.39507 | 0.19134
46 | 0.99501 | -0.017714 | 0 | 0
47 | 0.99852 | -0.037229 | 0 | 0
48 | 0.99664 | -0.022161 | 0 | 0
49 | 0.99839 | -0.035997 | 0 | 0
50 | 0.99852 | -0.03716 | 0.23376 | 0.11322
51 | 0.99837 | -0.035842 | 0.39545 | 0.19153
52 | 0.99985 | -0.00013844 | 0 | 0
53 | 0.99167 | 0.0048005 | 0.31779 | 0.15391
54 | 0.99197 | 0.0066912 | 0.14543 | 0.070435
55 | 0.99197 | 0.0066644 | 0 | 0
56 | 0.995 | -0.017657 | 0.30536 | 0.14789
57 | 0.9931 | -0.0027864 | 0 | 0
58 | 0.99287 | -0.00094675 | 0 | 0
59 | 0.99284 | -0.0007167 | 0.25362 | 0.12283
60 | 0.99255 | 0.0016531 | 0 | 0
61 | 0.99263 | 0.0011652 | 0 | 0
62 | 0.99309 | -0.0026742 | 0.32526 | 0.15753
63 | 0.99247 | 0.0025667 | 0 | 0
64 | 0.99261 | 0.0012795 | 0.21897 | 0.10605
65 | 0.99212 | 0.0053583 | 0 | 0
66 | 0.99211 | 0.0054406 | 0.18308 | 0.088668
67 | 0.99253 | 0.0015092 | 0.26066 | 0.12624
68 | 0.99247 | 0.0025787 | 0.41359 | 0.20031
69 | 0.99281 | -0.00049906 | 0 | 0
70 | 0.99309 | -0.0026672 | 0.074653 | 0.036156
71 | 0.99968 | -0.00046037 | 0.15919 | 0.0771
72 | 0.99267 | 0.00070961 | 0 | 0
73 | 0.99266 | 0.00074681 | 0.26779 | 0.12969
74 | 0.99983 | 3.6737e-05 | 0.16613 | 0.08046
75 | 0.99941 | -0.0017932 | 0.42417 | 0.20543
76 | 0.99956 | -0.0030869 | 0.075109 | 0.036377
77 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.23517 | -0.1139 | 0.23517 | 0.11385 | 4.8738e-06 | -5.1692e-05 | 0.0076329 | 0.0076322 | 0.0076329 | 0.98823 | -0.09667 | 0.98825 | -0.096534 | 3.6347
1 | -0.23517 | -0.11385 | 0.23526 | 0.087999 | 8.2742e-05 | -0.025847 | 0.0076322 | 0.0073346 | 0.0076322 | 0.98825 | -0.096534 | 0.98858 | -0.098788 | 3.4692
2 | -0.23526 | -0.087999 | 0.23526 | 0.08676 | 3.8109e-06 | -0.0012392 | 0.0073346 | 0.007322 | 0.0073346 | 0.98858 | -0.098788 | 0.98859 | -0.098849 | 3.3339
3 | -0.34177 | -0.16552 | 0.34179 | 0.16542 | 2.2562e-05 | -0.00010726 | 0.011061 | 0.011059 | 0.011061 | 0.99106 | -0.096663 | 0.99113 | -0.096228 | 5.2672
4 | -0.86383 | -0.41001 | 0.86452 | 0.39445 | 0.00069068 | -0.015562 | 0.02785 | 0.027656 | 0.02785 | 0.99113 | -0.096228 | 0.99187 | -0.10258 | 12.6591
5 | 0.52204 | 0.24459 | -0.52193 | -0.25137 | 0.00010979 | -0.0067734 | 0.016791 | 0.016876 | 0.016876 | 0.99113 | -0.096228 | 0.99094 | -0.094473 | 7.671
6 | -0.35599 | -0.17242 | 0.356 | 0.17237 | 9.3681e-06 | -4.1922e-05 | 0.01144 | 0.011439 | 0.01144 | 0.99814 | -0.047425 | 0.99817 | -0.047251 | 5.4475
7 | 0.54263 | 0.25178 | -0.5423 | -0.25232 | 0.00033359 | -0.00053426 | 0.0173 | 0.017309 | 0.017309 | 0.99817 | -0.047251 | 0.99752 | -0.051938 | 8.2425
8 | 4.6472 | 2.1125 | -4.6359 | -2.1003 | 0.011277 | 0.012195 | 0.14763 | 0.14764 | 0.14764 | 0.99817 | -0.047251 | 0.99512 | -0.1269 | 42.1832
9 | -5.5458 | -2.5366 | 5.5539 | 2.5455 | 0.0080714 | 0.0088774 | 0.17637 | 0.17636 | 0.17637 | 0.99817 | -0.047251 | 1 | 0 | 50.391
10 | -0.57572 | -0.25165 | 0.5764 | 0.25075 | 0.00068423 | -0.00090531 | 0.018347 | 0.018332 | 0.018347 | 0.98859 | -0.098849 | 0.98985 | -0.087967 | 8.7368
11 | 0.41373 | 0.1998 | -0.41373 | -0.20038 | 5.9225e-06 | -0.00057597 | 0.013399 | 0.013407 | 0.013407 | 0.98985 | -0.087967 | 0.98984 | -0.087843 | 6.0939
12 | -0.99014 | -0.45055 | 0.99132 | 0.4301 | 0.0011837 | -0.020444 | 0.031725 | 0.031479 | 0.031725 | 0.98985 | -0.087967 | 0.99097 | -0.096417 | 14.4203
13 | -1.5667 | -0.6862 | 1.5684 | 0.6744 | 0.0017339 | -0.011801 | 0.049825 | 0.049682 | 0.049825 | 0.99097 | -0.096417 | 0.99201 | -0.10374 | 22.6475
14 | 0.34393 | 0.14417 | -0.34385 | -0.1554 | 7.6518e-05 | -0.011229 | 0.010863 | 0.010994 | 0.010994 | 0.99097 | -0.096417 | 0.99076 | -0.094929 | 4.9974
15 | 0.23145 | 0.11192 | -0.23145 | -0.1121 | 5.6125e-07 | -0.00017552 | 0.0074893 | 0.0074915 | 0.0074915 | 0.99097 | -0.096417 | 0.99097 | -0.096396 | 3.4052
16 | -0.31288 | -0.15153 | 0.31288 | 0.15087 | 3.8861e-06 | -0.00066384 | 0.010131 | 0.010123 | 0.010131 | 0.99057 | -0.096637 | 0.99058 | -0.096745 | 4.6051
17 | -0.31288 | -0.15087 | 0.31299 | 0.15026 | 0.00010522 | -0.00061004 | 0.010123 | 0.010114 | 0.010123 | 0.99058 | -0.096745 | 0.99094 | -0.094473 | 4.8203
18 | 0.20894 | 0.10111 | -0.20894 | -0.10119 | 6.2292e-06 | -8.5713e-05 | 0.006762 | 0.0067632 | 0.0067632 | 0.99094 | -0.094473 | 0.9909 | -0.09467 | 3.2206
19 | 0.1592 | 0.073535 | -0.15919 | -0.077061 | 5.1037e-06 | -0.0035262 | 0.0050637 | 0.0051072 | 0.0051072 | 0.99972 | -0.00066006 | 0.99969 | -0.00039534 | 2.3215
20 | -0.1592 | -0.073535 | 0.1592 | 0.072769 | 1.0962e-06 | -0.00076527 | 0.0050637 | 0.0050544 | 0.0050637 | 0.99972 | -0.00066006 | 0.99973 | -0.00071312 | 2.3017
21 | 0.15919 | 0.077061 | -0.15919 | -0.0771 | 1.569e-06 | -3.9293e-05 | 0.0051072 | 0.0051077 | 0.0051077 | 0.99969 | -0.00039534 | 0.99968 | -0.00046037 | 2.4322
22 | -0.31284 | -0.14718 | 0.31287 | 0.14699 | 3.1999e-05 | -0.00019505 | 0.0099832 | 0.0099806 | 0.0099832 | 0.99973 | -0.00071312 | 0.99983 | 3.6737e-05 | 4.7539
23 | 4.6458 | 2.1252 | -4.6455 | -2.126 | 0.00029327 | -0.00074447 | 0.14748 | 0.14749 | 0.14749 | 1 | 0 | 0.99993 | -0.00080503 | 40.743
24 | 0.71073 | 0.33208 | -0.71043 | -0.33228 | 0.00029494 | -0.00020035 | 0.022646 | 0.022651 | 0.022651 | 1 | 0 | 0.99956 | -0.0031008 | 10.7861
25 | 0.47905 | 0.22369 | -0.47901 | -0.22668 | 3.9232e-05 | -0.0029922 | 0.015263 | 0.0153 | 0.0153 | 0.99993 | -0.00080503 | 0.99985 | -0.00013844 | 6.9547
26 | 4.1664 | 1.9023 | -4.1618 | -1.8973 | 0.0046515 | 0.0049568 | 0.13223 | 0.13223 | 0.13223 | 0.99993 | -0.00080503 | 0.99852 | -0.037229 | 37.7803
27 | 0.075109 | 0.036002 | -0.075109 | -0.036377 | 1.2152e-07 | -0.00037449 | 0.0024055 | 0.0024102 | 0.0024102 | 0.99956 | -0.0031008 | 0.99956 | -0.0030869 | 1.0955
28 | 0.63532 | 0.29628 | -0.63523 | -0.30026 | 9.2061e-05 | -0.003976 | 0.020245 | 0.020295 | 0.020295 | 0.99956 | -0.0031008 | 0.99942 | -0.0019246 | 9.2248
29 | 0.19452 | 0.083882 | -0.19452 | -0.084492 | 1.2913e-06 | -0.00061036 | 0.0061305 | 0.0061375 | 0.0061375 | 0.99752 | -0.051938 | 0.99751 | -0.051895 | 2.7898
30 | 1.3131 | 0.63498 | -1.313 | -0.63592 | 9.8234e-05 | -0.00094228 | 0.042312 | 0.042324 | 0.042324 | 0.99512 | -0.1269 | 0.99505 | -0.12624 | 19.2384
31 | 3.3228 | 1.4653 | -3.3163 | -1.4738 | 0.0065422 | -0.0084681 | 0.10535 | 0.10547 | 0.10547 | 0.99512 | -0.1269 | 0.99327 | -0.1131 | 47.9409
32 | -0.86452 | -0.39445 | 0.86458 | 0.39312 | 5.8717e-05 | -0.0013342 | 0.027656 | 0.02764 | 0.027656 | 0.99187 | -0.10258 | 0.99193 | -0.10309 | 12.5711
33 | -0.1945 | -0.094059 | 0.19452 | 0.084492 | 2.064e-05 | -0.0095668 | 0.006253 | 0.0061375 | 0.006253 | 0.99741 | -0.051079 | 0.99751 | -0.051895 | 2.8423
34 | 0.1945 | 0.094059 | -0.19449 | -0.094197 | 8.4495e-06 | -0.0001387 | 0.006253 | 0.0062549 | 0.0062549 | 0.99741 | -0.051079 | 0.99737 | -0.051366 | 2.9785
35 | -1.2367 | -0.57336 | 1.2368 | 0.57225 | 0.00010217 | -0.0011126 | 0.039671 | 0.039658 | 0.039671 | 0.99193 | -0.10309 | 0.99201 | -0.10374 | 18.0325
36 | -2.8053 | -1.2466 | 2.809 | 1.2395 | 0.0037525 | -0.0071827 | 0.089331 | 0.089233 | 0.089331 | 0.99201 | -0.10374 | 0.99327 | -0.1131 | 40.605
37 | 0.078163 | 0.035392 | -0.078162 | -0.037856 | 8.8772e-07 | -0.0024636 | 0.0025 | 0.0025305 | 0.0025305 | 0.99076 | -0.094929 | 0.99075 | -0.094837 | 1.1502
38 | 0.26569 | 0.12001 | -0.26566 | -0.12763 | 3.1702e-05 | -0.0076197 | 0.0084944 | 0.0085883 | 0.0085883 | 0.99076 | -0.094929 | 0.99065 | -0.093977 | 3.9038
39 | 0.19736 | 0.084636 | -0.19734 | -0.09475 | 2.2772e-05 | -0.010114 | 0.006241 | 0.0063627 | 0.0063627 | 0.99327 | -0.1131 | 0.99316 | -0.11224 | 2.8922
40 | 0.30987 | 0.14967 | -0.30987 | -0.15008 | 2.3325e-06 | -0.00041054 | 0.010001 | 0.010007 | 0.010007 | 0.99327 | -0.1131 | 0.99326 | -0.11304 | 4.5484
41 | 0.19734 | 0.09475 | -0.19733 | -0.095573 | 1.8923e-06 | -0.00082263 | 0.0063627 | 0.0063731 | 0.0063731 | 0.99316 | -0.11224 | 0.99315 | -0.11216 | 2.8969
42 | 0.26566 | 0.12763 | -0.26565 | -0.12866 | 4.3372e-06 | -0.0010292 | 0.0085883 | 0.0086013 | 0.0086013 | 0.99065 | -0.093977 | 0.99063 | -0.093836 | 3.9097
43 | -0.21104 | -0.10101 | 0.21106 | 0.095443 | 1.4106e-05 | -0.0055687 | 0.0067585 | 0.0066906 | 0.0067585 | 0.99936 | -0.0013933 | 0.99942 | -0.0019246 | 3.072
44 | 0.21104 | 0.10101 | -0.21104 | -0.10221 | 3.0766e-06 | -0.0011995 | 0.0067585 | 0.0067735 | 0.0067735 | 0.99936 | -0.0013933 | 0.99935 | -0.001268 | 3.0789
45 | 0.42417 | 0.20482 | -0.42417 | -0.20543 | 6.4222e-06 | -0.00061752 | 0.013605 | 0.013613 | 0.013613 | 0.99942 | -0.0019246 | 0.99941 | -0.0017932 | 6.1878
46 | -0.35241 | -0.17068 | 0.35241 | 0.1705 | 1.3311e-06 | -0.00018291 | 0.01135 | 0.011348 | 0.01135 | 0.99588 | -0.027311 | 0.99589 | -0.027344 | 5.1592
47 | -0.35241 | -0.1705 | 0.35248 | 0.1702 | 6.5298e-05 | -0.00029626 | 0.011348 | 0.011344 | 0.011348 | 0.99589 | -0.027344 | 0.99608 | -0.026113 | 5.4038
48 | -3.1285 | -1.4161 | 3.1285 | 1.416 | 6.2517e-05 | -9.3461e-05 | 0.099523 | 0.099521 | 0.099523 | 0.99608 | -0.026113 | 0.9961 | -0.026261 | 45.2375
49 | 2.776 | 1.2459 | -2.7728 | -1.2522 | 0.0031848 | -0.0063079 | 0.088183 | 0.088269 | 0.088269 | 0.99608 | -0.026113 | 0.99501 | -0.017714 | 40.1223
50 | -3.5236 | -1.6074 | 3.5254 | 1.6084 | 0.0017909 | 0.0010272 | 0.11224 | 0.11224 | 0.11224 | 0.9961 | -0.026261 | 0.99664 | -0.022161 | 53.4471
51 | 2.4674 | 1.1047 | -2.4624 | -1.1176 | 0.0050128 | -0.012882 | 0.078434 | 0.078605 | 0.078605 | 0.99501 | -0.017714 | 0.9931 | -0.0027864 | 35.7296
52 | 0.30537 | 0.14753 | -0.30536 | -0.14789 | 2.0259e-06 | -0.00036976 | 0.0098391 | 0.0098438 | 0.0098438 | 0.99501 | -0.017714 | 0.995 | -0.017657 | 4.4745
53 | 3.5325 | 1.6005 | -3.5254 | -1.6084 | 0.0070872 | -0.0079217 | 0.11212 | 0.11224 | 0.11224 | 0.99852 | -0.037229 | 0.99664 | -0.022161 | 51.0172
54 | 0.39552 | 0.18423 | -0.39546 | -0.19075 | 5.8694e-05 | -0.0065179 | 0.012614 | 0.012695 | 0.012695 | 0.99852 | -0.037229 | 0.99839 | -0.035997 | 5.7704
55 | 0.23376 | 0.11263 | -0.23376 | -0.11322 | 1.8569e-06 | -0.00058725 | 0.0075017 | 0.0075091 | 0.0075091 | 0.99852 | -0.037229 | 0.99852 | -0.03716 | 3.4132
56 | 0.39546 | 0.19075 | -0.39545 | -0.19153 | 7.0448e-06 | -0.00077656 | 0.012695 | 0.012705 | 0.012705 | 0.99839 | -0.035997 | 0.99837 | -0.035842 | 5.7749
57 | 0.47901 | 0.22668 | -0.479 | -0.22745 | 1.0111e-05 | -0.00076871 | 0.0153 | 0.01531 | 0.01531 | 0.99985 | -0.00013844 | 0.99983 | 3.6737e-05 | 6.959
58 | -0.31779 | -0.15391 | 0.31788 | 0.1534 | 9.0538e-05 | -0.00050852 | 0.010279 | 0.010271 | 0.010279 | 0.99167 | 0.0048005 | 0.99197 | 0.0066912 | 4.8946
59 | -0.46331 | -0.22384 | 0.46331 | 0.22373 | 1.4339e-06 | -0.00011214 | 0.014974 | 0.014972 | 0.014974 | 0.99197 | 0.0066912 | 0.99197 | 0.0066644 | 6.8063
60 | -0.46331 | -0.22373 | 0.46338 | 0.21807 | 7.197e-05 | -0.0056565 | 0.014972 | 0.014901 | 0.014972 | 0.99197 | 0.0066644 | 0.99212 | 0.0053583 | 6.8057
61 | 0.90796 | 0.40867 | -0.90743 | -0.41967 | 0.00053223 | -0.010991 | 0.028943 | 0.029078 | 0.029078 | 0.9931 | -0.0027864 | 0.99255 | 0.0016531 | 13.2171
62 | 0.63296 | 0.28468 | -0.63263 | -0.29843 | 0.00032238 | -0.013755 | 0.020174 | 0.020343 | 0.020343 | 0.9931 | -0.0027864 | 0.99263 | 0.0011652 | 9.2466
63 | 0.39991 | 0.19295 | -0.39991 | -0.1935 | 5.1763e-06 | -0.00054623 | 0.012907 | 0.012914 | 0.012914 | 0.9931 | -0.0027864 | 0.99309 | -0.0026742 | 5.87
64 | 0.5216 | 0.23127 | -0.52147 | -0.23953 | 0.00013027 | -0.0082633 | 0.016585 | 0.016685 | 0.016685 | 0.9931 | -0.0027864 | 0.99287 | -0.00094675 | 7.584
65 | 0.52147 | 0.23953 | -0.52146 | -0.24051 | 1.5505e-05 | -0.00097662 | 0.016685 | 0.016697 | 0.016697 | 0.99287 | -0.00094675 | 0.99284 | -0.0007167 | 7.5894
66 | 0.26784 | 0.11767 | -0.26783 | -0.11969 | 8.3081e-06 | -0.0020162 | 0.008506 | 0.0085298 | 0.0085298 | 0.99284 | -0.0007167 | 0.99281 | -0.00049906 | 3.8772
67 | 0.26067 | 0.1262 | -0.26066 | -0.12624 | 5.6859e-06 | -4.9335e-05 | 0.008423 | 0.0084237 | 0.0084237 | 0.99255 | 0.0016531 | 0.99253 | 0.0015092 | 4.0113
68 | 0.64676 | 0.29347 | -0.64646 | -0.30586 | 0.00030451 | -0.012387 | 0.020656 | 0.020809 | 0.020809 | 0.99255 | 0.0016531 | 0.99212 | 0.0053583 | 9.4587
69 | 0.41366 | 0.1934 | -0.41359 | -0.20026 | 6.9232e-05 | -0.0068519 | 0.01328 | 0.013366 | 0.013366 | 0.99263 | 0.0011652 | 0.99247 | 0.0025667 | 6.0754
70 | 0.21897 | 0.10503 | -0.21897 | -0.10605 | 2.9038e-06 | -0.0010231 | 0.0070628 | 0.0070757 | 0.0070757 | 0.99263 | 0.0011652 | 0.99261 | 0.0012795 | 3.2162
71 | 0.074653 | 0.035972 | -0.074653 | -0.036156 | 6.0677e-08 | -0.00018427 | 0.0024088 | 0.0024112 | 0.0024112 | 0.99309 | -0.0026742 | 0.99309 | -0.0026672 | 1.096
72 | 0.41359 | 0.20026 | -0.41359 | -0.20031 | 5.6546e-07 | -5.5593e-05 | 0.013366 | 0.013367 | 0.013367 | 0.99247 | 0.0025667 | 0.99247 | 0.0025787 | 6.0757
73 | 0.18308 | 0.087788 | -0.18308 | -0.088668 | 1.7491e-06 | -0.00088004 | 0.0059078 | 0.0059189 | 0.0059189 | 0.99212 | 0.0053583 | 0.99211 | 0.0054406 | 2.6904
74 | 0.26783 | 0.11969 | -0.26779 | -0.12943 | 4.0787e-05 | -0.009734 | 0.0085298 | 0.0086493 | 0.0086493 | 0.99281 | -0.00049906 | 0.99267 | 0.00070961 | 3.9315
75 | 0.26779 | 0.12943 | -0.26779 | -0.12969 | 1.146e-06 | -0.00026952 | 0.0086493 | 0.0086527 | 0.0086527 | 0.99267 | 0.00070961 | 0.99266 | 0.00074681 | 3.933

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 11.2043 | 5.1489

## res_load
| p_mw | q_mvar
0 | 0.23517 | 0.1139
1 | 0.34177 | 0.16552
2 | 0.35599 | 0.17242
3 | 0.34046 | 0.16489
4 | 0.41373 | 0.20038
5 | 0.31288 | 0.15153
6 | 0.20894 | 0.10119
7 | 0.15364 | 0.074412
8 | 0.27994 | 0.13558
9 | 0.34777 | 0.16843
10 | 0.19449 | 0.094197
11 | 0.37215 | 0.18024
12 | 0.23145 | 0.1121
13 | 0.30987 | 0.15008
14 | 0.26565 | 0.12866
15 | 0.078162 | 0.037856
16 | 1.313 | 0.63592
17 | 0.19733 | 0.095573
18 | 0.21104 | 0.10221
19 | 0.35241 | 0.17068
20 | 0.39507 | 0.19134
21 | 0.23376 | 0.11322
22 | 0.39545 | 0.19153
23 | 0.31779 | 0.15391
24 | 0.14543 | 0.070435
25 | 0.30536 | 0.14789
26 | 0.25362 | 0.12283
27 | 0.32526 | 0.15753
28 | 0.21897 | 0.10605
29 | 0.18308 | 0.088668
30 | 0.26066 | 0.12624
31 | 0.41359 | 0.20031
32 | 0.074653 | 0.036156
33 | 0.15919 | 0.0771
34 | 0.26779 | 0.12969
35 | 0.16613 | 0.08046
36 | 0.42417 | 0.20543
37 | 0.075109 | 0.036377

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1