## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_496_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_496_0_node_2 | 20 | n |  | TRUE
2 | bus_MV_496_0_node_1 | 20 | n |  | TRUE
3 | bus_MV_496_0_node_5 | 20 | n |  | TRUE
4 | bus_MV_496_0_node_3 | 20 | n |  | TRUE
5 | bus_MV_496_0_node_4 | 20 | n |  | TRUE
6 | bus_MV_496_0_node_65 | 20 | n |  | TRUE
7 | bus_MV_496_0_node_64 | 20 | n |  | TRUE
8 | bus_MV_496_0_node_28 | 20 | n |  | TRUE
9 | bus_MV_496_0_node_29 | 20 | n |  | TRUE
10 | bus_MV_496_0_node_66 | 20 | n |  | TRUE
11 | bus_MV_496_0_node_24 | 20 | n |  | TRUE
12 | bus_MV_496_0_node_31 | 20 | n |  | TRUE
13 | bus_MV_496_0_node_79 | 20 | n |  | TRUE
14 | bus_MV_496_0_node_30 | 20 | n |  | TRUE
15 | bus_MV_496_0_node_6 | 20 | n |  | TRUE
16 | bus_MV_496_0_node_7 | 20 | n |  | TRUE
17 | bus_MV_496_0_node_11 | 20 | n |  | TRUE
18 | bus_MV_496_0_node_8 | 20 | n |  | TRUE
19 | bus_MV_496_0_node_68 | 20 | n |  | TRUE
20 | bus_MV_496_0_node_9 | 20 | n |  | TRUE
21 | bus_MV_496_0_node_67 | 20 | n |  | TRUE
22 | bus_MV_496_0_node_34 | 20 | n |  | TRUE
23 | bus_MV_496_0_node_10 | 20 | n |  | TRUE
24 | bus_MV_496_0_node_45 | 20 | n |  | TRUE
25 | bus_MV_496_0_node_44 | 20 | n |  | TRUE
26 | bus_MV_496_0_node_43 | 20 | n |  | TRUE
27 | bus_MV_496_0_node_39 | 20 | n |  | TRUE
28 | bus_MV_496_0_node_75 | 20 | n |  | TRUE
29 | bus_MV_496_0_node_38 | 20 | n |  | TRUE
30 | bus_MV_496_0_node_56 | 20 | n |  | TRUE
31 | bus_MV_496_0_node_14 | 20 | n |  | TRUE
32 | bus_MV_496_0_node_46 | 20 | n |  | TRUE
33 | bus_MV_496_0_node_12 | 20 | n |  | TRUE
34 | bus_MV_496_0_node_13 | 20 | n |  | TRUE
35 | bus_MV_496_0_node_15 | 20 | n |  | TRUE
36 | bus_MV_496_0_node_42 | 20 | n |  | TRUE
37 | bus_MV_496_0_node_16 | 20 | n |  | TRUE
38 | bus_MV_496_0_node_17 | 20 | n |  | TRUE
39 | bus_MV_496_0_node_18 | 20 | n |  | TRUE
40 | bus_MV_496_0_node_19 | 20 | n |  | TRUE
41 | bus_MV_496_0_node_21 | 20 | n |  | TRUE
42 | bus_MV_496_0_node_20 | 20 | n |  | TRUE
43 | bus_MV_496_0_node_54 | 20 | n |  | TRUE
44 | bus_MV_496_0_node_59 | 20 | n |  | TRUE
45 | bus_MV_496_0_node_23 | 20 | n |  | TRUE
46 | bus_MV_496_0_node_22 | 20 | n |  | TRUE
47 | bus_MV_496_0_node_78 | 20 | n |  | TRUE
48 | bus_MV_496_0_node_52 | 20 | n |  | TRUE
49 | bus_MV_496_0_node_60 | 20 | n |  | TRUE
50 | bus_MV_496_0_node_63 | 20 | n |  | TRUE
51 | bus_MV_496_0_node_70 | 20 | n |  | TRUE
52 | bus_MV_496_0_node_32 | 20 | n |  | TRUE
53 | bus_MV_496_0_node_71 | 20 | n |  | TRUE
54 | bus_MV_496_0_node_62 | 20 | n |  | TRUE
55 | bus_MV_496_0_node_61 | 20 | n |  | TRUE
56 | bus_MV_496_0_node_25 | 20 | n |  | TRUE
57 | bus_MV_496_0_node_26 | 20 | n |  | TRUE
58 | bus_MV_496_0_node_27 | 20 | n |  | TRUE
59 | bus_MV_496_0_node_80 | 20 | n |  | TRUE
60 | bus_MV_496_0_node_33 | 20 | n |  | TRUE
61 | bus_MV_496_0_node_40 | 20 | n |  | TRUE
62 | bus_MV_496_0_node_35 | 20 | n |  | TRUE
63 | bus_MV_496_0_node_36 | 20 | n |  | TRUE
64 | bus_MV_496_0_node_37 | 20 | n |  | TRUE
65 | bus_MV_496_0_node_76 | 20 | n |  | TRUE
66 | bus_MV_496_0_node_41 | 20 | n |  | TRUE
67 | bus_MV_496_0_node_72 | 20 | n |  | TRUE
68 | bus_MV_496_0_node_47 | 20 | n |  | TRUE
69 | bus_MV_496_0_node_49 | 20 | n |  | TRUE
70 | bus_MV_496_0_node_48 | 20 | n |  | TRUE
71 | bus_MV_496_0_node_69 | 20 | n |  | TRUE
72 | bus_MV_496_0_node_50 | 20 | n |  | TRUE
73 | bus_MV_496_0_node_51 | 20 | n |  | TRUE
74 | bus_MV_496_0_node_53 | 20 | n |  | TRUE
75 | bus_MV_496_0_node_55 | 20 | n |  | TRUE
76 | bus_MV_496_0_node_57 | 20 | n |  | TRUE
77 | bus_MV_496_0_node_58 | 20 | n |  | TRUE
78 | bus_MV_496_0_node_77 | 20 | n |  | TRUE
79 | bus_MV_496_0_node_73 | 20 | n |  | TRUE
80 | bus_MV_496_0_node_74 | 20 | n |  | TRUE
81 | bus_HV_496_0_node_58 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_496_0_load_0 | 0 | 0.29574 | 0.14323 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_496_0_load_64 | 7 | 0.090575 | 0.043867 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_496_0_load_28 | 8 | 0.094536 | 0.045786 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_496_0_load_29 | 9 | 0.2215 | 0.10728 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_496_0_load_66 | 10 | 0.14353 | 0.069516 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_496_0_load_24 | 11 | 0.26949 | 0.13052 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_496_0_load_79 | 13 | 0.30403 | 0.14725 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_496_0_load_6 | 15 | 0.29525 | 0.14299 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_496_0_load_68 | 19 | 1.2224 | 0.59202 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_496_0_load_67 | 21 | 0.70066 | 0.33934 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_496_0_load_34 | 22 | 0.26464 | 0.12817 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_496_0_load_44 | 25 | 0.13555 | 0.065648 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_496_0_load_43 | 26 | 0.20431 | 0.098953 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_496_0_load_75 | 28 | 0.10288 | 0.049828 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_496_0_load_56 | 30 | 0.39636 | 0.19196 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_496_0_load_46 | 32 | 0.058043 | 0.028112 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_496_0_load_12 | 33 | 0.35192 | 0.17044 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_496_0_load_42 | 36 | 0.23691 | 0.11474 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_496_0_load_16 | 37 | 0.29947 | 0.14504 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_496_0_load_59 | 44 | 0.25295 | 0.12251 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_496_0_load_22 | 46 | 0.41395 | 0.20049 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_496_0_load_78 | 47 | 0.24239 | 0.11739 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_496_0_load_60 | 49 | 0.23393 | 0.1133 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_496_0_load_70 | 51 | 0.38815 | 0.18799 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_496_0_load_71 | 53 | 0.31701 | 0.15354 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_496_0_load_61 | 55 | 0.10375 | 0.050248 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_496_0_load_80 | 59 | 0.28179 | 0.13648 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_496_0_load_33 | 60 | 0.17342 | 0.083989 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_496_0_load_35 | 62 | 0.32852 | 0.15911 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_496_0_load_76 | 65 | 0.14475 | 0.070107 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_496_0_load_41 | 66 | 0.22313 | 0.10807 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_496_0_load_72 | 67 | 0.34197 | 0.16562 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_496_0_load_69 | 71 | 0.069693 | 0.033754 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_496_0_load_50 | 72 | 0.085259 | 0.041293 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_496_0_load_51 | 73 | 2.1328 | 1.033 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_496_0_load_53 | 74 | 0.51702 | 0.2504 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_496_0_load_55 | 75 | 0.34103 | 0.16517 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_496_0_load_77 | 78 | 0.27861 | 0.13494 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_496_0_load_74 | 80 | 1.08 | 0.52305 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_496_0_line_0 |  | 0 | 1 | 0.015621 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
1 | MV_496_0_line_1 |  | 0 | 2 | 0.12529 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_496_0_line_2 |  | 1 | 3 | 0.49294 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_496_0_line_3 |  | 2 | 4 | 0.53091 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_496_0_line_4 |  | 2 | 5 | 1.2173 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
5 | MV_496_0_line_5 |  | 3 | 9 | 0.026429 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_496_0_line_6 |  | 4 | 6 | 0.021724 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_496_0_line_7 |  | 4 | 7 | 0.099183 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_496_0_line_8 |  | 5 | 8 | 0.11027 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
9 | MV_496_0_line_9 |  | 6 | 10 | 0.046817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_496_0_line_10 |  | 8 | 11 | 0.30919 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
11 | MV_496_0_line_11 |  | 9 | 14 | 0.023491 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_496_0_line_12 |  | 11 | 56 | 0.02207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_496_0_line_13 |  | 12 | 13 | 0.015754 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_496_0_line_14 |  | 12 | 14 | 0.11812 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
15 | MV_496_0_line_15 |  | 14 | 52 | 0.15925 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_496_0_line_16 |  | 14 | 41 | 0.14842 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_496_0_line_17 |  | 15 | 16 | 0.055778 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_496_0_line_18 |  | 16 | 17 | 0.68024 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
19 | MV_496_0_line_19 |  | 17 | 26 | 0.045817 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_496_0_line_20 |  | 17 | 18 | 0.27816 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_496_0_line_21 |  | 17 | 23 | 0.33325 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_496_0_line_22 |  | 18 | 19 | 0.031337 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_496_0_line_23 |  | 18 | 20 | 0.39092 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_496_0_line_24 |  | 18 | 21 | 0.023242 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
25 | MV_496_0_line_25 |  | 20 | 22 | 0.057588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_496_0_line_26 |  | 21 | 30 | 0.030567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_496_0_line_27 |  | 22 | 31 | 0.020744 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_496_0_line_28 |  | 23 | 24 | 0.61997 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_496_0_line_29 |  | 23 | 25 | 0.075763 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_496_0_line_30 |  | 24 | 32 | 0.021637 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_496_0_line_31 |  | 27 | 28 | 0.13031 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_496_0_line_32 |  | 27 | 29 | 0.53056 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_496_0_line_33 |  | 29 | 66 | 0.024113 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_496_0_line_34 |  | 29 | 63 | 0.94362 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_496_0_line_35 |  | 30 | 43 | 0.020078 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
36 | MV_496_0_line_36 |  | 31 | 35 | 0.70771 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
37 | MV_496_0_line_37 |  | 32 | 68 | 0.036209 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_496_0_line_38 |  | 33 | 34 | 0.18752 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_496_0_line_39 |  | 34 | 35 | 0.37202 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_496_0_line_40 |  | 35 | 36 | 0.03733 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_496_0_line_41 |  | 37 | 38 | 0.009197 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_496_0_line_42 |  | 37 | 39 | 0.022803 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_496_0_line_43 |  | 38 | 40 | 0.32371 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
44 | MV_496_0_line_44 |  | 39 | 41 | 0.15725 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_496_0_line_45 |  | 40 | 42 | 0.33401 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_496_0_line_46 |  | 40 | 43 | 0.021724 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
47 | MV_496_0_line_47 |  | 40 | 44 | 0.033932 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_496_0_line_48 |  | 41 | 47 | 0.013753 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_496_0_line_49 |  | 42 | 45 | 1.1277 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_496_0_line_50 |  | 42 | 46 | 0.020142 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_496_0_line_51 |  | 43 | 48 | 0.035664 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
52 | MV_496_0_line_52 |  | 44 | 49 | 0.037594 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
53 | MV_496_0_line_53 |  | 45 | 50 | 0.4307 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_496_0_line_54 |  | 45 | 51 | 0.0446 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
55 | MV_496_0_line_55 |  | 48 | 74 | 0.011202 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
56 | MV_496_0_line_56 |  | 48 | 73 | 0.04441 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
57 | MV_496_0_line_57 |  | 50 | 53 | 0.016912 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
58 | MV_496_0_line_58 |  | 50 | 54 | 0.48328 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_496_0_line_59 |  | 52 | 67 | 0.020474 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
60 | MV_496_0_line_60 |  | 54 | 55 | 0.0071442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_496_0_line_61 |  | 56 | 57 | 0.29224 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
62 | MV_496_0_line_62 |  | 56 | 58 | 0.30788 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_496_0_line_63 |  | 57 | 59 | 0.021451 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_496_0_line_64 |  | 58 | 60 | 0.019667 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_496_0_line_65 |  | 59 | 61 | 0.005303 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_496_0_line_66 |  | 61 | 63 | 0.56889 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_496_0_line_67 |  | 62 | 63 | 0.067729 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_496_0_line_68 |  | 63 | 64 | 0.41341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_496_0_line_69 |  | 64 | 65 | 0.016491 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
70 | MV_496_0_line_70 |  | 68 | 69 | 0.54207 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_496_0_line_71 |  | 69 | 72 | 0.019561 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_496_0_line_72 |  | 69 | 70 | 0.16341 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_496_0_line_73 |  | 70 | 71 | 0.031882 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_496_0_line_74 |  | 74 | 75 | 0.024984 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
75 | MV_496_0_line_75 |  | 75 | 76 | 0.03998 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
76 | MV_496_0_line_76 |  | 76 | 77 | 0.14301 | 0.061 | 0.056 | 608 | 0 | 0.842 | 1 | 1 | cs | TRUE
77 | MV_496_0_line_77 |  | 77 | 78 | 0.040761 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
78 | MV_496_0_line_78 |  | 77 | 79 | 0.0076214 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_496_0_line_79 |  | 79 | 80 | 0.14114 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_496_0_trafo_58 | 25 MVA 110/20 kV | 81 | 77 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2690812.8256 | 1236429.2851
1 | 2690826.6478 | 1236423.1364
2 | 2690790.8238 | 1236552.6273
3 | 2691040.7631 | 1236159.3442
4 | 2690922.8091 | 1236581.0441
5 | 2690247.9431 | 1236338.6454
6 | 2690918.591 | 1236559.9865
7 | 2690872.7684 | 1236593.5386
8 | 2690147.509 | 1236369.4985
9 | 2691027.9258 | 1236136.2419
10 | 2690871.6362 | 1236560.2794
11 | 2689973.327 | 1236624.9521
12 | 2690900.0865 | 1236135.9734
13 | 2690889.8103 | 1236124.0075
14 | 2691016.4565 | 1236115.7291
15 | 2691172.999 | 1236766.2574
16 | 2691120.3139 | 1236785.0072
17 | 2691415.4225 | 1236479.8188
18 | 2691408.6727 | 1236263.0017
19 | 2691384.9519 | 1236280.8498
20 | 2691729.8423 | 1236208.6232
21 | 2691404.7263 | 1236241.4178
22 | 2691786.8069 | 1236215.3067
23 | 2691548.9687 | 1236605.7112
24 | 2691970.5045 | 1236787.0208
25 | 2691554.963 | 1236681.2363
26 | 2691415.7732 | 1236435.4141
27 | 2690305.7665 | 1237773.4768
28 | 2690422.672 | 1237813.6734
29 | 2689918.4268 | 1237560.0344
30 | 2691393.5081 | 1236212.9877
31 | 2691806.3745 | 1236222.1818
32 | 2691990.8999 | 1236779.6311
33 | 2692426.6933 | 1236049.7847
34 | 2692240.5035 | 1236072.0853
35 | 2692079.0234 | 1236218.0202
36 | 2692041.6952 | 1236215.2064
37 | 2691315.2468 | 1236058.1163
38 | 2691323.8282 | 1236054.7457
39 | 2691294.0814 | 1236066.7528
40 | 2691404.3517 | 1236184.8117
41 | 2691146.7609 | 1236121.5975
42 | 2691535.8646 | 1236040.5204
43 | 2691385.0049 | 1236194.7992
44 | 2691396.5433 | 1236210.6887
45 | 2692047.2194 | 1235690.4323
46 | 2691517.7903 | 1236049.4104
47 | 2691133.7999 | 1236126.3021
48 | 2691353.0109 | 1236210.741
49 | 2691417.0271 | 1236231.668
50 | 2691908.5398 | 1235871.495
51 | 2692089.8537 | 1235677.339
52 | 2691030.1828 | 1236003.3467
53 | 2691893.663 | 1235879.6042
54 | 2692192.4645 | 1235924.5434
55 | 2692195.6015 | 1235918.1247
56 | 2689954.1408 | 1236614.7007
57 | 2689731.7935 | 1236789.109
58 | 2689938.8402 | 1236849.895
59 | 2689713.3366 | 1236800.1271
60 | 2689922.0372 | 1236860.1147
61 | 2689708.7997 | 1236802.8939
62 | 2689739.1049 | 1237145.9445
63 | 2689683.2422 | 1237184.2398
64 | 2689513.3301 | 1236990.8593
65 | 2689529.0973 | 1236986.0267
66 | 2689894.3083 | 1237561.8151
67 | 2691048.1068 | 1235993.3586
68 | 2692024.7847 | 1236767.1023
69 | 2692403.6189 | 1236578.7117
70 | 2692482.3727 | 1236601.3203
71 | 2692485.7983 | 1236570.2554
72 | 2692422.8836 | 1236575.322
73 | 2691314.1864 | 1236216.9609
74 | 2691342.9388 | 1236215.6442
75 | 2691320.4751 | 1236226.5799
76 | 2691284.5283 | 1236244.0793
77 | 2691217.5029 | 1236358.9667
78 | 2691176.827 | 1236356.8519
79 | 2691224.7469 | 1236361.3352
80 | 2691347.4285 | 1236291.714
81 | 2691217.5029 | 1236358.9667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99488 | 0.016598 | 0.29574 | 0.14323
1 | 0.99493 | 0.016318 | 0 | 0
2 | 0.99445 | 0.0124 | 0 | 0
3 | 0.99626 | 0.0076613 | 0 | 0
4 | 0.99429 | 0.013554 | 0 | 0
5 | 0.99195 | 0.028965 | 0 | 0
6 | 0.99428 | 0.01359 | 0 | 0
7 | 0.99428 | 0.013655 | 0.090575 | 0.043867
8 | 0.99173 | 0.030581 | 0.094536 | 0.045786
9 | 0.99637 | 0.0086689 | 0.2215 | 0.10728
10 | 0.99428 | 0.01367 | 0.14353 | 0.069516
11 | 0.99083 | 0.022727 | 0.26949 | 0.13052
12 | 0.99637 | 0.007762 | 0 | 0
13 | 0.99637 | 0.0078195 | 0.30403 | 0.14725
14 | 0.99644 | 0.0082035 | 0 | 0
15 | 0.99847 | -0.0062174 | 0.29525 | 0.14299
16 | 0.99849 | -0.0064127 | 0 | 0
17 | 0.99875 | -0.0084124 | 0 | 0
18 | 0.99904 | -0.010102 | 0 | 0
19 | 0.99899 | -0.0096435 | 1.2224 | 0.59202
20 | 0.99862 | -0.0069327 | 0 | 0
21 | 0.99913 | -0.010759 | 0.70066 | 0.33934
22 | 0.99856 | -0.006446 | 0.26464 | 0.12817
23 | 0.9986 | -0.0078328 | 0 | 0
24 | 0.99844 | -0.0073092 | 0 | 0
25 | 0.99859 | -0.0079575 | 0.13555 | 0.065648
26 | 0.99874 | -0.0083017 | 0.20431 | 0.098953
27 | 0.98933 | 0.031776 | 0 | 0
28 | 0.98931 | 0.031927 | 0.10288 | 0.049828
29 | 0.9894 | 0.031429 | 0 | 0
30 | 0.99927 | -0.011877 | 0.39636 | 0.19196
31 | 0.99854 | -0.0063353 | 0 | 0
32 | 0.99844 | -0.0072804 | 0.058043 | 0.028112
33 | 0.99772 | -0.0015037 | 0.35192 | 0.17044
34 | 0.99785 | -0.00070096 | 0 | 0
35 | 0.99802 | -0.0021635 | 0 | 0
36 | 0.99801 | -0.0020583 | 0.23691 | 0.11474
37 | 0.99775 | -0.0011813 | 0.29947 | 0.14504
38 | 0.99779 | -0.0014865 | 0 | 0
39 | 0.99766 | -0.00050607 | 0 | 0
40 | 0.99925 | -0.012129 | 0 | 0
41 | 0.99701 | 0.0041752 | 0 | 0
42 | 0.99874 | -0.0083767 | 0 | 0
43 | 0.99931 | -0.011375 | 0 | 0
44 | 0.99923 | -0.011934 | 0.25295 | 0.12251
45 | 0.99759 | -5.6066e-07 | 0 | 0
46 | 0.99873 | -0.008277 | 0.41395 | 0.20049
47 | 0.997 | 0.0042151 | 0.24239 | 0.11739
48 | 0.99942 | -0.010814 | 0 | 0
49 | 0.99922 | -0.01183 | 0.23393 | 0.1133
50 | 0.99736 | 0.001705 | 0 | 0
51 | 0.99755 | -0.00021087 | 0.38815 | 0.18799
52 | 0.99637 | 0.0088355 | 0 | 0
53 | 0.99735 | 0.0017692 | 0.31701 | 0.15354
54 | 0.99729 | 0.0021251 | 0 | 0
55 | 0.99729 | 0.002134 | 0.10375 | 0.050248
56 | 0.99079 | 0.022955 | 0 | 0
57 | 0.99039 | 0.025569 | 0 | 0
58 | 0.99072 | 0.023533 | 0 | 0
59 | 0.99036 | 0.025766 | 0.28179 | 0.13648
60 | 0.99072 | 0.023491 | 0.17342 | 0.083989
61 | 0.99036 | 0.025797 | 0 | 0
62 | 0.98974 | 0.029056 | 0.32852 | 0.15911
63 | 0.98978 | 0.029331 | 0 | 0
64 | 0.98971 | 0.029931 | 0 | 0
65 | 0.9897 | 0.029902 | 0.14475 | 0.070107
66 | 0.98939 | 0.031494 | 0.22313 | 0.10807
67 | 0.99636 | 0.0089196 | 0.34197 | 0.16562
68 | 0.99843 | -0.0072557 | 0 | 0
69 | 0.99832 | -0.0066484 | 0 | 0
70 | 0.99831 | -0.0065399 | 0 | 0
71 | 0.99831 | -0.006514 | 0.069693 | 0.033754
72 | 0.99832 | -0.0066286 | 0.085259 | 0.041293
73 | 0.9993 | -0.0096807 | 2.1328 | 1.033
74 | 0.99945 | -0.010295 | 0.51702 | 0.2504
75 | 0.99951 | -0.0090872 | 0.34103 | 0.16517
76 | 0.99962 | -0.0071029 | 0 | 0
77 | 1 | 0 | -13.6854 | -6.2797
78 | 0.99999 | 0.0001346 | 0.27861 | 0.13494
79 | 0.99999 | 9.6793e-05 | 0 | 0
80 | 0.9998 | 0.0019057 | 1.08 | 0.52305
81 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -2.1563 | -0.9189 | 2.1564 | 0.91856 | 9.6458e-05 | -0.00034057 | 0.068012 | 0.068008 | 0.068012 | 0.99488 | 0.016598 | 0.99493 | 0.016318 | 30.9148
1 | 1.8606 | 0.77567 | -1.8598 | -0.77534 | 0.00076372 | 0.00033039 | 0.058491 | 0.058492 | 0.058492 | 0.99488 | 0.016598 | 0.99445 | 0.0124 | 27.8535
2 | -2.1564 | -0.91856 | 2.1595 | 0.9078 | 0.0030378 | -0.010765 | 0.068008 | 0.067876 | 0.068008 | 0.99493 | 0.016318 | 0.99626 | 0.0076613 | 30.9128
3 | 0.23415 | 0.096903 | -0.23411 | -0.10943 | 3.9103e-05 | -0.012522 | 0.0073562 | 0.0075028 | 0.0075028 | 0.99445 | 0.0124 | 0.99429 | 0.013554 | 3.4104
4 | 1.6257 | 0.67843 | -1.6214 | -0.70584 | 0.0042766 | -0.027403 | 0.051136 | 0.051463 | 0.051463 | 0.99445 | 0.0124 | 0.99195 | 0.028965 | 23.3923
5 | -2.1595 | -0.9078 | 2.1597 | 0.9079 | 0.00021695 | 0.00010457 | 0.067876 | 0.067876 | 0.067876 | 0.99626 | 0.0076613 | 0.99637 | 0.0086689 | 32.3221
6 | 0.14353 | 0.067899 | -0.14353 | -0.068411 | 6.1721e-07 | -0.00051259 | 0.00461 | 0.0046164 | 0.0046164 | 0.99429 | 0.013554 | 0.99428 | 0.01359 | 2.0984
7 | 0.090576 | 0.041527 | -0.090575 | -0.043867 | 1.1191e-06 | -0.0023408 | 0.0028929 | 0.0029219 | 0.0029219 | 0.99429 | 0.013554 | 0.99428 | 0.013655 | 1.3281
8 | 1.6214 | 0.70584 | -1.621 | -0.70831 | 0.00039012 | -0.0024744 | 0.051463 | 0.051493 | 0.051493 | 0.99195 | 0.028965 | 0.99173 | 0.030581 | 23.406
9 | 0.14353 | 0.068411 | -0.14353 | -0.069516 | 1.336e-06 | -0.0011047 | 0.0046164 | 0.0046303 | 0.0046303 | 0.99428 | 0.01359 | 0.99428 | 0.01367 | 2.1047
10 | 1.5265 | 0.66253 | -1.5252 | -0.66208 | 0.0012926 | 0.00044695 | 0.048438 | 0.048442 | 0.048442 | 0.99173 | 0.030581 | 0.99083 | 0.022727 | 23.0678
11 | -2.3812 | -1.0152 | 2.3814 | 1.0147 | 0.00017638 | -0.00050453 | 0.074997 | 0.074991 | 0.074997 | 0.99637 | 0.0086689 | 0.99644 | 0.0082035 | 34.0898
12 | 1.2557 | 0.53156 | -1.2557 | -0.53206 | 4.6508e-05 | -0.00050351 | 0.039727 | 0.039733 | 0.039733 | 0.99083 | 0.022727 | 0.99079 | 0.022955 | 18.0606
13 | 0.30403 | 0.14688 | -0.30403 | -0.14725 | 2.0137e-06 | -0.00037282 | 0.0097826 | 0.0097873 | 0.0097873 | 0.99637 | 0.007762 | 0.99637 | 0.0078195 | 4.4488
14 | -0.30403 | -0.14688 | 0.30405 | 0.14675 | 2.0136e-05 | -0.00012739 | 0.0097826 | 0.0097809 | 0.0097826 | 0.99637 | 0.007762 | 0.99644 | 0.0082035 | 4.6584
15 | 0.342 | 0.16137 | -0.34197 | -0.16514 | 2.5625e-05 | -0.0037673 | 0.010955 | 0.011003 | 0.011003 | 0.99644 | 0.0082035 | 0.99637 | 0.0088355 | 5.0011
16 | -3.0274 | -1.3228 | 3.0292 | 1.3198 | 0.0018144 | -0.0029824 | 0.095713 | 0.095672 | 0.095713 | 0.99644 | 0.0082035 | 0.99701 | 0.0041752 | 43.5058
17 | -0.29525 | -0.14299 | 0.29525 | 0.14167 | 6.6867e-06 | -0.0013257 | 0.0094845 | 0.0094679 | 0.0094845 | 0.99847 | -0.0062174 | 0.99849 | -0.0064127 | 4.3112
18 | -0.29525 | -0.14167 | 0.29533 | 0.1255 | 7.9713e-05 | -0.016173 | 0.0094679 | 0.0092749 | 0.0094679 | 0.99849 | -0.0064127 | 0.99875 | -0.0084124 | 4.3036
19 | 0.20432 | 0.097863 | -0.20431 | -0.098953 | 2.628e-06 | -0.0010904 | 0.0065479 | 0.0065616 | 0.0065616 | 0.99875 | -0.0084124 | 0.99874 | -0.0083017 | 2.9826
20 | -0.8483 | -0.35002 | 0.84856 | 0.34347 | 0.00026053 | -0.0065493 | 0.026524 | 0.026452 | 0.026524 | 0.99875 | -0.0084124 | 0.99904 | -0.010102 | 12.0565
21 | 0.34865 | 0.12667 | -0.3486 | -0.13459 | 5.1522e-05 | -0.0079204 | 0.010722 | 0.010802 | 0.010802 | 0.99875 | -0.0084124 | 0.9986 | -0.0078328 | 4.9101
22 | 1.2224 | 0.59129 | -1.2224 | -0.59202 | 6.4424e-05 | -0.00072763 | 0.039238 | 0.039247 | 0.039247 | 0.99904 | -0.010102 | 0.99899 | -0.0096435 | 17.8396
23 | 0.85435 | 0.37565 | -0.85397 | -0.38485 | 0.00038107 | -0.0091988 | 0.026968 | 0.027077 | 0.027077 | 0.99904 | -0.010102 | 0.99862 | -0.0069327 | 12.3077
24 | -2.9253 | -1.3104 | 2.9256 | 1.3099 | 0.00026617 | -0.00047497 | 0.092622 | 0.092615 | 0.092622 | 0.99904 | -0.010102 | 0.99913 | -0.010759 | 42.1008
25 | 0.85397 | 0.38485 | -0.85391 | -0.38621 | 5.6399e-05 | -0.0013544 | 0.027077 | 0.027093 | 0.027093 | 0.99862 | -0.0069327 | 0.99856 | -0.006446 | 12.3151
26 | -3.6263 | -1.6493 | 3.6268 | 1.6487 | 0.00054057 | -0.00056831 | 0.1151 | 0.11509 | 0.1151 | 0.99913 | -0.010759 | 0.99927 | -0.011877 | 52.3183
27 | 0.58927 | 0.25804 | -0.58927 | -0.25853 | 9.5807e-06 | -0.00049101 | 0.018597 | 0.018603 | 0.018603 | 0.99856 | -0.006446 | 0.99854 | -0.0063353 | 8.4558
28 | 0.21305 | 0.069027 | -0.21302 | -0.083775 | 3.5432e-05 | -0.014748 | 0.0064741 | 0.006618 | 0.006618 | 0.9986 | -0.0078328 | 0.99844 | -0.0073092 | 3.0082
29 | 0.13555 | 0.065559 | -0.13555 | -0.065648 | 2.558e-06 | -8.859e-05 | 0.0043526 | 0.0043538 | 0.0043538 | 0.9986 | -0.0078328 | 0.99859 | -0.0079575 | 2.0732
30 | 0.21302 | 0.083775 | -0.21302 | -0.08429 | 1.2662e-06 | -0.00051462 | 0.006618 | 0.0066235 | 0.0066235 | 0.99844 | -0.0073092 | 0.99844 | -0.0072804 | 3.0107
31 | 0.10288 | 0.046784 | -0.10288 | -0.049828 | 1.9134e-06 | -0.0030446 | 0.0032979 | 0.0033356 | 0.0033356 | 0.98933 | 0.031776 | 0.98931 | 0.031927 | 1.5162
32 | -0.10288 | -0.046784 | 0.10289 | 0.034386 | 7.3768e-06 | -0.012398 | 0.0032979 | 0.0031653 | 0.0032979 | 0.98933 | 0.031776 | 0.9894 | 0.031429 | 1.499
33 | 0.22313 | 0.1075 | -0.22313 | -0.10807 | 1.6827e-06 | -0.00056308 | 0.0072264 | 0.0072335 | 0.0072335 | 0.9894 | 0.031429 | 0.98939 | 0.031494 | 3.288
34 | -0.32602 | -0.14189 | 0.32615 | 0.11986 | 0.00013235 | -0.022024 | 0.010374 | 0.010134 | 0.010374 | 0.9894 | 0.031429 | 0.98978 | 0.029331 | 4.7155
35 | -4.0232 | -1.8407 | 4.0233 | 1.8401 | 0.00015841 | -0.00057271 | 0.12781 | 0.1278 | 0.12781 | 0.99927 | -0.011877 | 0.99931 | -0.011375 | 35.3068
36 | 0.58927 | 0.25853 | -0.58893 | -0.27527 | 0.00033046 | -0.016741 | 0.018603 | 0.018804 | 0.018804 | 0.99854 | -0.0063353 | 0.99802 | -0.0021635 | 8.5472
37 | 0.15497 | 0.056178 | -0.15497 | -0.057039 | 1.1e-06 | -0.0008615 | 0.004766 | 0.0047745 | 0.0047745 | 0.99844 | -0.0072804 | 0.99843 | -0.0072557 | 2.1702
38 | -0.35192 | -0.17044 | 0.35196 | 0.17025 | 4.2753e-05 | -0.00019609 | 0.011314 | 0.011311 | 0.011314 | 0.99772 | -0.0015037 | 0.99785 | -0.00070096 | 5.3874
39 | -0.35196 | -0.17025 | 0.35202 | 0.16142 | 6.292e-05 | -0.0088272 | 0.011311 | 0.011202 | 0.011311 | 0.99785 | -0.00070096 | 0.99802 | -0.0021635 | 5.1412
40 | 0.23691 | 0.11385 | -0.23691 | -0.11474 | 2.8849e-06 | -0.0008869 | 0.0076029 | 0.007614 | 0.007614 | 0.99802 | -0.0021635 | 0.99801 | -0.0020583 | 3.4609
41 | -3.5737 | -1.5784 | 3.5738 | 1.5782 | 0.00015686 | -0.00017208 | 0.11303 | 0.11303 | 0.11303 | 0.99775 | -0.0011813 | 0.99779 | -0.0014865 | 51.3778
42 | 3.2742 | 1.4334 | -3.2739 | -1.4338 | 0.00032556 | -0.00044538 | 0.10341 | 0.10342 | 0.10342 | 0.99775 | -0.0011813 | 0.99766 | -0.00050607 | 47.0077
43 | -3.5738 | -1.5782 | 3.5793 | 1.5722 | 0.0055165 | -0.0060697 | 0.11303 | 0.11294 | 0.11303 | 0.99779 | -0.0014865 | 0.99925 | -0.012129 | 51.3766
44 | 3.2739 | 1.4338 | -3.2716 | -1.4369 | 0.0022461 | -0.0030682 | 0.10342 | 0.10346 | 0.10346 | 0.99766 | -0.00050607 | 0.99701 | 0.0041752 | 47.0274
45 | 1.2246 | 0.53519 | -1.224 | -0.54296 | 0.00066631 | -0.0077612 | 0.03861 | 0.038702 | 0.038702 | 0.99925 | -0.012129 | 0.99874 | -0.0083767 | 17.592
46 | -5.2909 | -2.3415 | 5.2912 | 2.3409 | 0.00029313 | -0.00053118 | 0.16715 | 0.16714 | 0.16715 | 0.99925 | -0.012129 | 0.99931 | -0.011375 | 46.1733
47 | 0.48689 | 0.2341 | -0.48688 | -0.23491 | 1.1042e-05 | -0.00080566 | 0.015607 | 0.015617 | 0.015617 | 0.99925 | -0.012129 | 0.99923 | -0.011934 | 7.0989
48 | 0.24239 | 0.11707 | -0.24239 | -0.11739 | 1.1159e-06 | -0.00032607 | 0.0077938 | 0.0077979 | 0.0077979 | 0.99701 | 0.0041752 | 0.997 | 0.0042151 | 3.5445
49 | 0.81002 | 0.34295 | -0.80903 | -0.36948 | 0.00098497 | -0.026534 | 0.025425 | 0.025737 | 0.025737 | 0.99874 | -0.0083767 | 0.99759 | -5.6066e-07 | 11.6987
50 | 0.41396 | 0.20001 | -0.41395 | -0.20049 | 4.7504e-06 | -0.00047829 | 0.013288 | 0.013294 | 0.013294 | 0.99874 | -0.0083767 | 0.99873 | -0.008277 | 6.0429
51 | -9.3145 | -4.181 | 9.3154 | 4.1793 | 0.00095852 | -0.0016982 | 0.29494 | 0.29491 | 0.29494 | 0.99931 | -0.011375 | 0.99942 | -0.010814 | 46.2281
52 | 0.23393 | 0.1124 | -0.23393 | -0.1133 | 2.8257e-06 | -0.00089536 | 0.007498 | 0.0075092 | 0.0075092 | 0.99923 | -0.011934 | 0.99922 | -0.01183 | 3.4133
53 | 0.42087 | 0.18154 | -0.42077 | -0.19174 | 0.00010206 | -0.010201 | 0.013264 | 0.013384 | 0.013384 | 0.99759 | -5.6066e-07 | 0.99736 | 0.001705 | 6.0834
54 | 0.38816 | 0.18795 | -0.38815 | -0.18799 | 1.2377e-05 | -4.5232e-05 | 0.01248 | 0.012481 | 0.012481 | 0.99759 | -5.6066e-07 | 0.99755 | -0.00021087 | 5.9431
55 | -11.4485 | -5.2113 | 11.4488 | 5.2107 | 0.00027061 | -0.00060649 | 0.36333 | 0.36332 | 0.36333 | 0.99942 | -0.010814 | 0.99945 | -0.010295 | 43.1508
56 | 2.1331 | 1.032 | -2.1328 | -1.033 | 0.00027779 | -0.00097658 | 0.068444 | 0.068458 | 0.068458 | 0.99942 | -0.010814 | 0.9993 | -0.0096807 | 31.1171
57 | 0.31701 | 0.15313 | -0.31701 | -0.15354 | 2.3456e-06 | -0.00040096 | 0.01019 | 0.010195 | 0.010195 | 0.99736 | 0.001705 | 0.99735 | 0.0017692 | 4.6342
58 | 0.10376 | 0.038603 | -0.10375 | -0.050078 | 6.8814e-06 | -0.011475 | 0.0032042 | 0.0033346 | 0.0033346 | 0.99736 | 0.001705 | 0.99729 | 0.0021251 | 1.5157
59 | 0.34197 | 0.16514 | -0.34197 | -0.16562 | 3.3106e-06 | -0.00048431 | 0.011003 | 0.011009 | 0.011009 | 0.99637 | 0.0088355 | 0.99636 | 0.0089196 | 5.0039
60 | 0.10375 | 0.050078 | -0.10375 | -0.050248 | 1.0612e-07 | -0.00016962 | 0.0033346 | 0.0033368 | 0.0033368 | 0.99729 | 0.0021251 | 0.99729 | 0.002134 | 1.5167
61 | 1.0822 | 0.45531 | -1.0818 | -0.46202 | 0.00045759 | -0.0067112 | 0.034208 | 0.034286 | 0.034286 | 0.99079 | 0.022955 | 0.99039 | 0.025569 | 15.5847
62 | 0.17343 | 0.076755 | -0.17342 | -0.083967 | 1.2748e-05 | -0.0072119 | 0.0055258 | 0.0056141 | 0.0056141 | 0.99079 | 0.022955 | 0.99072 | 0.023533 | 2.5519
63 | 1.0818 | 0.46202 | -1.0817 | -0.46251 | 3.367e-05 | -0.00049237 | 0.034286 | 0.034292 | 0.034292 | 0.99039 | 0.025569 | 0.99036 | 0.025766 | 15.5873
64 | 0.17342 | 0.083967 | -0.17342 | -0.083989 | 1.1045e-06 | -2.2353e-05 | 0.0056141 | 0.0056144 | 0.0056144 | 0.99072 | 0.023533 | 0.99072 | 0.023491 | 2.6735
65 | 0.79994 | 0.32603 | -0.79994 | -0.32616 | 4.4887e-06 | -0.00012285 | 0.025179 | 0.025181 | 0.025181 | 0.99036 | 0.025766 | 0.99036 | 0.025797 | 11.4458
66 | 0.79994 | 0.32616 | -0.79945 | -0.33933 | 0.00048439 | -0.013171 | 0.025181 | 0.02533 | 0.02533 | 0.99036 | 0.025797 | 0.98978 | 0.029331 | 11.5136
67 | -0.32852 | -0.15911 | 0.32854 | 0.15904 | 1.3677e-05 | -7.0641e-05 | 0.010647 | 0.010646 | 0.010647 | 0.98974 | 0.029056 | 0.98978 | 0.029331 | 5.0698
68 | 0.14477 | 0.060423 | -0.14475 | -0.070088 | 1.1838e-05 | -0.0096658 | 0.0045752 | 0.004691 | 0.004691 | 0.98978 | 0.029331 | 0.98971 | 0.029931 | 2.1323
69 | 0.14475 | 0.070088 | -0.14475 | -0.070107 | 6.4661e-07 | -1.8879e-05 | 0.004691 | 0.0046913 | 0.0046913 | 0.98971 | 0.029931 | 0.9897 | 0.029902 | 2.2339
70 | 0.15497 | 0.057039 | -0.15495 | -0.069935 | 1.6967e-05 | -0.012895 | 0.0047745 | 0.0049158 | 0.0049158 | 0.99843 | -0.0072557 | 0.99832 | -0.0066484 | 2.2345
71 | 0.08526 | 0.040828 | -0.085259 | -0.041293 | 1.9553e-07 | -0.00046541 | 0.0027335 | 0.0027393 | 0.0027393 | 0.99832 | -0.0066484 | 0.99832 | -0.0066286 | 1.2451
72 | 0.069694 | 0.029107 | -0.069693 | -0.032995 | 1.0618e-06 | -0.0038881 | 0.002184 | 0.0022297 | 0.0022297 | 0.99832 | -0.0066484 | 0.99831 | -0.0065399 | 1.0135
73 | 0.069693 | 0.032995 | -0.069693 | -0.033754 | 2.125e-07 | -0.00075858 | 0.0022297 | 0.0022392 | 0.0022392 | 0.99831 | -0.0065399 | 0.99831 | -0.006514 | 1.0178
74 | -11.9658 | -5.4611 | 11.9665 | 5.4598 | 0.00065985 | -0.0013011 | 0.37991 | 0.37988 | 0.37991 | 0.99945 | -0.010295 | 0.99951 | -0.0090872 | 45.1197
75 | -12.3075 | -5.625 | 12.3086 | 5.623 | 0.0011174 | -0.0020261 | 0.39083 | 0.39079 | 0.39083 | 0.99951 | -0.0090872 | 0.99962 | -0.0071029 | 46.4164
76 | -12.3086 | -5.623 | 12.3126 | 5.6157 | 0.0039953 | -0.0072544 | 0.39079 | 0.39066 | 0.39079 | 0.99962 | -0.0071029 | 1 | 0 | 46.412
77 | 0.27861 | 0.13396 | -0.27861 | -0.13494 | 4.3397e-06 | -0.00097191 | 0.0089243 | 0.0089365 | 0.0089365 | 1 | 0 | 0.99999 | 0.0001346 | 4.062
78 | 1.0802 | 0.51957 | -1.0802 | -0.51975 | 1.2183e-05 | -0.00017835 | 0.034603 | 0.034605 | 0.034605 | 1 | 0 | 0.99999 | 9.6793e-05 | 15.7295
79 | 1.0802 | 0.51975 | -1.08 | -0.52305 | 0.00022591 | -0.0033022 | 0.034605 | 0.034647 | 0.034647 | 0.99999 | 9.6793e-05 | 0.9998 | 0.0019057 | 15.7487

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 13.6854 | 6.2797

## res_load
| p_mw | q_mvar
0 | 0.29574 | 0.14323
1 | 0.090575 | 0.043867
2 | 0.094536 | 0.045786
3 | 0.2215 | 0.10728
4 | 0.14353 | 0.069516
5 | 0.26949 | 0.13052
6 | 0.30403 | 0.14725
7 | 0.29525 | 0.14299
8 | 1.2224 | 0.59202
9 | 0.70066 | 0.33934
10 | 0.26464 | 0.12817
11 | 0.13555 | 0.065648
12 | 0.20431 | 0.098953
13 | 0.10288 | 0.049828
14 | 0.39636 | 0.19196
15 | 0.058043 | 0.028112
16 | 0.35192 | 0.17044
17 | 0.23691 | 0.11474
18 | 0.29947 | 0.14504
19 | 0.25295 | 0.12251
20 | 0.41395 | 0.20049
21 | 0.24239 | 0.11739
22 | 0.23393 | 0.1133
23 | 0.38815 | 0.18799
24 | 0.31701 | 0.15354
25 | 0.10375 | 0.050248
26 | 0.28179 | 0.13648
27 | 0.17342 | 0.083989
28 | 0.32852 | 0.15911
29 | 0.14475 | 0.070107
30 | 0.22313 | 0.10807
31 | 0.34197 | 0.16562
32 | 0.069693 | 0.033754
33 | 0.085259 | 0.041293
34 | 2.1328 | 1.033
35 | 0.51702 | 0.2504
36 | 0.34103 | 0.16517
37 | 0.27861 | 0.13494
38 | 1.08 | 0.52305

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1