## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_498_0_node_0 | 20 | n |  | TRUE
1 | bus_MV_498_0_node_1 | 20 | n |  | TRUE
2 | bus_MV_498_0_node_3 | 20 | n |  | TRUE
3 | bus_MV_498_0_node_2 | 20 | n |  | TRUE
4 | bus_MV_498_0_node_13 | 20 | n |  | TRUE
5 | bus_MV_498_0_node_12 | 20 | n |  | TRUE
6 | bus_MV_498_0_node_4 | 20 | n |  | TRUE
7 | bus_MV_498_0_node_27 | 20 | n |  | TRUE
8 | bus_MV_498_0_node_114 | 20 | n |  | TRUE
9 | bus_MV_498_0_node_7 | 20 | n |  | TRUE
10 | bus_MV_498_0_node_5 | 20 | n |  | TRUE
11 | bus_MV_498_0_node_59 | 20 | n |  | TRUE
12 | bus_MV_498_0_node_61 | 20 | n |  | TRUE
13 | bus_MV_498_0_node_6 | 20 | n |  | TRUE
14 | bus_MV_498_0_node_47 | 20 | n |  | TRUE
15 | bus_MV_498_0_node_21 | 20 | n |  | TRUE
16 | bus_MV_498_0_node_119 | 20 | n |  | TRUE
17 | bus_MV_498_0_node_14 | 20 | n |  | TRUE
18 | bus_MV_498_0_node_68 | 20 | n |  | TRUE
19 | bus_MV_498_0_node_60 | 20 | n |  | TRUE
20 | bus_MV_498_0_node_58 | 20 | n |  | TRUE
21 | bus_MV_498_0_node_113 | 20 | n |  | TRUE
22 | bus_MV_498_0_node_123 | 20 | n |  | TRUE
23 | bus_MV_498_0_node_55 | 20 | n |  | TRUE
24 | bus_MV_498_0_node_48 | 20 | n |  | TRUE
25 | bus_MV_498_0_node_49 | 20 | n |  | TRUE
26 | bus_MV_498_0_node_50 | 20 | n |  | TRUE
27 | bus_MV_498_0_node_121 | 20 | n |  | TRUE
28 | bus_MV_498_0_node_8 | 20 | n |  | TRUE
29 | bus_MV_498_0_node_10 | 20 | n |  | TRUE
30 | bus_MV_498_0_node_11 | 20 | n |  | TRUE
31 | bus_MV_498_0_node_110 | 20 | n |  | TRUE
32 | bus_MV_498_0_node_111 | 20 | n |  | TRUE
33 | bus_MV_498_0_node_86 | 20 | n |  | TRUE
34 | bus_MV_498_0_node_85 | 20 | n |  | TRUE
35 | bus_MV_498_0_node_106 | 20 | n |  | TRUE
36 | bus_MV_498_0_node_69 | 20 | n |  | TRUE
37 | bus_MV_498_0_node_15 | 20 | n |  | TRUE
38 | bus_MV_498_0_node_17 | 20 | n |  | TRUE
39 | bus_MV_498_0_node_18 | 20 | n |  | TRUE
40 | bus_MV_498_0_node_19 | 20 | n |  | TRUE
41 | bus_MV_498_0_node_102 | 20 | n |  | TRUE
42 | bus_MV_498_0_node_20 | 20 | n |  | TRUE
43 | bus_MV_498_0_node_128 | 20 | n |  | TRUE
44 | bus_MV_498_0_node_125 | 20 | n |  | TRUE
45 | bus_MV_498_0_node_42 | 20 | n |  | TRUE
46 | bus_MV_498_0_node_93 | 20 | n |  | TRUE
47 | bus_MV_498_0_node_24 | 20 | n |  | TRUE
48 | bus_MV_498_0_node_43 | 20 | n |  | TRUE
49 | bus_MV_498_0_node_41 | 20 | n |  | TRUE
50 | bus_MV_498_0_node_115 | 20 | n |  | TRUE
51 | bus_MV_498_0_node_126 | 20 | n |  | TRUE
52 | bus_MV_498_0_node_81 | 20 | n |  | TRUE
53 | bus_MV_498_0_node_22 | 20 | n |  | TRUE
54 | bus_MV_498_0_node_23 | 20 | n |  | TRUE
55 | bus_MV_498_0_node_84 | 20 | n |  | TRUE
56 | bus_MV_498_0_node_25 | 20 | n |  | TRUE
57 | bus_MV_498_0_node_26 | 20 | n |  | TRUE
58 | bus_MV_498_0_node_44 | 20 | n |  | TRUE
59 | bus_MV_498_0_node_45 | 20 | n |  | TRUE
60 | bus_MV_498_0_node_66 | 20 | n |  | TRUE
61 | bus_MV_498_0_node_64 | 20 | n |  | TRUE
62 | bus_MV_498_0_node_89 | 20 | n |  | TRUE
63 | bus_MV_498_0_node_124 | 20 | n |  | TRUE
64 | bus_MV_498_0_node_67 | 20 | n |  | TRUE
65 | bus_MV_498_0_node_65 | 20 | n |  | TRUE
66 | bus_MV_498_0_node_63 | 20 | n |  | TRUE
67 | bus_MV_498_0_node_90 | 20 | n |  | TRUE
68 | bus_MV_498_0_node_28 | 20 | n |  | TRUE
69 | bus_MV_498_0_node_29 | 20 | n |  | TRUE
70 | bus_MV_498_0_node_95 | 20 | n |  | TRUE
71 | bus_MV_498_0_node_96 | 20 | n |  | TRUE
72 | bus_MV_498_0_node_88 | 20 | n |  | TRUE
73 | bus_MV_498_0_node_79 | 20 | n |  | TRUE
74 | bus_MV_498_0_node_32 | 20 | n |  | TRUE
75 | bus_MV_498_0_node_33 | 20 | n |  | TRUE
76 | bus_MV_498_0_node_31 | 20 | n |  | TRUE
77 | bus_MV_498_0_node_37 | 20 | n |  | TRUE
78 | bus_MV_498_0_node_34 | 20 | n |  | TRUE
79 | bus_MV_498_0_node_77 | 20 | n |  | TRUE
80 | bus_MV_498_0_node_76 | 20 | n |  | TRUE
81 | bus_MV_498_0_node_108 | 20 | n |  | TRUE
82 | bus_MV_498_0_node_74 | 20 | n |  | TRUE
83 | bus_MV_498_0_node_101 | 20 | n |  | TRUE
84 | bus_MV_498_0_node_38 | 20 | n |  | TRUE
85 | bus_MV_498_0_node_39 | 20 | n |  | TRUE
86 | bus_MV_498_0_node_99 | 20 | n |  | TRUE
87 | bus_MV_498_0_node_78 | 20 | n |  | TRUE
88 | bus_MV_498_0_node_75 | 20 | n |  | TRUE
89 | bus_MV_498_0_node_97 | 20 | n |  | TRUE
90 | bus_MV_498_0_node_83 | 20 | n |  | TRUE
91 | bus_MV_498_0_node_82 | 20 | n |  | TRUE
92 | bus_MV_498_0_node_40 | 20 | n |  | TRUE
93 | bus_MV_498_0_node_103 | 20 | n |  | TRUE
94 | bus_MV_498_0_node_107 | 20 | n |  | TRUE
95 | bus_MV_498_0_node_87 | 20 | n |  | TRUE
96 | bus_MV_498_0_node_120 | 20 | n |  | TRUE
97 | bus_MV_498_0_node_52 | 20 | n |  | TRUE
98 | bus_MV_498_0_node_53 | 20 | n |  | TRUE
99 | bus_MV_498_0_node_51 | 20 | n |  | TRUE
100 | bus_MV_498_0_node_54 | 20 | n |  | TRUE
101 | bus_MV_498_0_node_94 | 20 | n |  | TRUE
102 | bus_MV_498_0_node_56 | 20 | n |  | TRUE
103 | bus_MV_498_0_node_57 | 20 | n |  | TRUE
104 | bus_MV_498_0_node_122 | 20 | n |  | TRUE
105 | bus_MV_498_0_node_112 | 20 | n |  | TRUE
106 | bus_MV_498_0_node_62 | 20 | n |  | TRUE
107 | bus_MV_498_0_node_127 | 20 | n |  | TRUE
108 | bus_MV_498_0_node_70 | 20 | n |  | TRUE
109 | bus_MV_498_0_node_116 | 20 | n |  | TRUE
110 | bus_MV_498_0_node_117 | 20 | n |  | TRUE
111 | bus_MV_498_0_node_71 | 20 | n |  | TRUE
112 | bus_MV_498_0_node_72 | 20 | n |  | TRUE
113 | bus_MV_498_0_node_80 | 20 | n |  | TRUE
114 | bus_MV_498_0_node_109 | 20 | n |  | TRUE
115 | bus_MV_498_0_node_91 | 20 | n |  | TRUE
116 | bus_MV_498_0_node_92 | 20 | n |  | TRUE
117 | bus_MV_498_0_node_98 | 20 | n |  | TRUE
118 | bus_MV_498_0_node_104 | 20 | n |  | TRUE
119 | bus_MV_498_0_node_100 | 20 | n |  | TRUE
120 | bus_MV_498_0_node_105 | 20 | n |  | TRUE
121 | bus_MV_498_0_node_118 | 20 | n |  | TRUE
122 | bus_HV_498_0_node_70 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_498_0_load_0 | 0 | 0.18713 | 0.090633 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_498_0_load_12 | 5 | 0.29742 | 0.14405 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_498_0_load_27 | 7 | 0.41478 | 0.20089 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_498_0_load_114 | 8 | 0.3974 | 0.19247 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_498_0_load_61 | 12 | 0.41001 | 0.19858 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_498_0_load_47 | 14 | 0.41237 | 0.19972 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_498_0_load_21 | 15 | 0.20437 | 0.098979 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_498_0_load_119 | 16 | 0.40459 | 0.19595 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_498_0_load_68 | 18 | 0.54305 | 0.26301 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_498_0_load_58 | 20 | 0.3019 | 0.14622 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_498_0_load_123 | 22 | 0.2234 | 0.1082 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_498_0_load_121 | 27 | 0.39253 | 0.19011 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_498_0_load_8 | 28 | 0.17556 | 0.085025 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_498_0_load_111 | 32 | 0.15795 | 0.076499 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_498_0_load_86 | 33 | 0.20323 | 0.09843 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_498_0_load_15 | 37 | 0.28812 | 0.13954 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_498_0_load_102 | 41 | 0.14089 | 0.068235 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_498_0_load_128 | 43 | 0.31474 | 0.15244 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_498_0_load_125 | 44 | 0.3792 | 0.18365 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_498_0_load_93 | 46 | 0.72843 | 0.3528 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_498_0_load_41 | 49 | 0.092101 | 0.044607 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_498_0_load_115 | 50 | 0.38321 | 0.1856 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_498_0_load_126 | 51 | 0.091979 | 0.044547 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_498_0_load_81 | 52 | 0.10806 | 0.052336 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_498_0_load_22 | 53 | 0.30471 | 0.14758 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_498_0_load_84 | 55 | 0.12182 | 0.059002 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_498_0_load_44 | 58 | 0.14674 | 0.071067 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_498_0_load_89 | 62 | 0.10077 | 0.048804 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_498_0_load_124 | 63 | 0.34353 | 0.16638 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_498_0_load_65 | 65 | 0.072983 | 0.035347 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_498_0_load_63 | 66 | 0.33011 | 0.15988 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_498_0_load_90 | 67 | 0.094466 | 0.045752 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_498_0_load_28 | 68 | 0.35262 | 0.17078 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_498_0_load_95 | 70 | 0.41217 | 0.19962 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_498_0_load_96 | 71 | 0.21882 | 0.10598 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_498_0_load_88 | 72 | 0.087132 | 0.0422 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_498_0_load_31 | 76 | 0.2519 | 0.122 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_498_0_load_37 | 77 | 0.13024 | 0.063079 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_498_0_load_77 | 79 | 0.082057 | 0.039742 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_498_0_load_108 | 81 | 0.31163 | 0.15093 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_498_0_load_101 | 83 | 0.31129 | 0.15076 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_498_0_load_75 | 88 | 0.070845 | 0.034312 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_498_0_load_83 | 90 | 0.10904 | 0.052808 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_498_0_load_103 | 93 | 0.35358 | 0.17125 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_498_0_load_107 | 94 | 0.23571 | 0.11416 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_498_0_load_120 | 96 | 0.21896 | 0.10605 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_498_0_load_51 | 99 | 0.29657 | 0.14364 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_498_0_load_94 | 101 | 0.10336 | 0.05006 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_498_0_load_57 | 103 | 0.31828 | 0.15415 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_498_0_load_122 | 104 | 0.058801 | 0.028479 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_498_0_load_112 | 105 | 0.25995 | 0.1259 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_498_0_load_62 | 106 | 0.091602 | 0.044365 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_498_0_load_127 | 107 | 0.1489 | 0.072116 | 0 | 0 |  | 1 | TRUE | wye
53 | MV_498_0_load_71 | 111 | 0.071343 | 0.034553 | 0 | 0 |  | 1 | TRUE | wye
54 | MV_498_0_load_80 | 113 | 0.17515 | 0.084831 | 0 | 0 |  | 1 | TRUE | wye
55 | MV_498_0_load_109 | 114 | 0.21362 | 0.10346 | 0 | 0 |  | 1 | TRUE | wye
56 | MV_498_0_load_92 | 116 | 0.18005 | 0.087203 | 0 | 0 |  | 1 | TRUE | wye
57 | MV_498_0_load_104 | 118 | 0.12945 | 0.062695 | 0 | 0 |  | 1 | TRUE | wye
58 | MV_498_0_load_105 | 120 | 0.12574 | 0.0609 | 0 | 0 |  | 1 | TRUE | wye
59 | MV_498_0_load_118 | 121 | 0.081624 | 0.039532 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 108 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_498_0_line_0 |  | 0 | 1 | 0.063962 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_498_0_line_1 |  | 1 | 2 | 0.22049 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
2 | MV_498_0_line_2 |  | 2 | 6 | 0.5878 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_498_0_line_3 |  | 2 | 7 | 0.024404 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_498_0_line_4 |  | 2 | 3 | 0.20656 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
5 | MV_498_0_line_5 |  | 3 | 4 | 0.099129 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
6 | MV_498_0_line_6 |  | 3 | 5 | 0.021181 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
7 | MV_498_0_line_7 |  | 4 | 16 | 0.036606 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_498_0_line_8 |  | 4 | 17 | 0.29958 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
9 | MV_498_0_line_9 |  | 6 | 8 | 0.02035 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
10 | MV_498_0_line_10 |  | 6 | 9 | 0.55634 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
11 | MV_498_0_line_11 |  | 9 | 15 | 0.040686 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
12 | MV_498_0_line_12 |  | 9 | 13 | 0.43323 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
13 | MV_498_0_line_13 |  | 10 | 11 | 0.59557 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
14 | MV_498_0_line_14 |  | 10 | 12 | 0.03047 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_498_0_line_15 |  | 11 | 19 | 1.2794 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
16 | MV_498_0_line_16 |  | 11 | 20 | 0.075792 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_498_0_line_17 |  | 12 | 23 | 0.039297 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
18 | MV_498_0_line_18 |  | 13 | 14 | 0.045894 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
19 | MV_498_0_line_19 |  | 14 | 24 | 0.058715 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_498_0_line_20 |  | 16 | 35 | 0.015412 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_498_0_line_21 |  | 17 | 18 | 0.030022 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
22 | MV_498_0_line_22 |  | 18 | 36 | 0.018485 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
23 | MV_498_0_line_23 |  | 19 | 21 | 0.29544 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_498_0_line_24 |  | 19 | 22 | 0.018183 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_498_0_line_25 |  | 21 | 105 | 0.041664 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
26 | MV_498_0_line_26 |  | 23 | 100 | 0.29522 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_498_0_line_27 |  | 24 | 25 | 0.12447 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_498_0_line_28 |  | 24 | 26 | 0.40001 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
29 | MV_498_0_line_29 |  | 25 | 27 | 0.075226 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
30 | MV_498_0_line_30 |  | 26 | 96 | 0.035164 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
31 | MV_498_0_line_31 |  | 28 | 29 | 0.063596 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_498_0_line_32 |  | 29 | 30 | 0.46198 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
33 | MV_498_0_line_33 |  | 29 | 31 | 0.37647 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
34 | MV_498_0_line_34 |  | 30 | 33 | 0.037772 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
35 | MV_498_0_line_35 |  | 31 | 32 | 0.015588 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_498_0_line_36 |  | 32 | 39 | 0.41143 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_498_0_line_37 |  | 33 | 34 | 0.034389 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
38 | MV_498_0_line_38 |  | 34 | 55 | 0.047442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
39 | MV_498_0_line_39 |  | 34 | 95 | 0.062463 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_498_0_line_40 |  | 35 | 119 | 0.13285 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_498_0_line_41 |  | 36 | 108 | 0.3138 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
42 | MV_498_0_line_42 |  | 37 | 38 | 0.06434 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_498_0_line_43 |  | 37 | 39 | 0.10537 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_498_0_line_44 |  | 38 | 40 | 0.33568 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
45 | MV_498_0_line_45 |  | 39 | 41 | 0.039486 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_498_0_line_46 |  | 40 | 42 | 0.069396 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
47 | MV_498_0_line_47 |  | 40 | 43 | 0.070554 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
48 | MV_498_0_line_48 |  | 40 | 44 | 0.33595 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
49 | MV_498_0_line_49 |  | 42 | 45 | 0.20808 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
50 | MV_498_0_line_50 |  | 42 | 46 | 0.020175 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_498_0_line_51 |  | 44 | 47 | 0.053757 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_498_0_line_52 |  | 45 | 48 | 0.16633 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
53 | MV_498_0_line_53 |  | 45 | 49 | 0.036424 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
54 | MV_498_0_line_54 |  | 47 | 60 | 0.18679 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
55 | MV_498_0_line_55 |  | 48 | 91 | 0.007998 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
56 | MV_498_0_line_56 |  | 48 | 52 | 0.037699 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
57 | MV_498_0_line_57 |  | 50 | 51 | 0.050696 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
58 | MV_498_0_line_58 |  | 50 | 52 | 0.21 | 0.119 | 0.32 | 11 | 0 | 0.645 | 1 | 1 | ol | TRUE
59 | MV_498_0_line_59 |  | 51 | 108 | 0.011748 | 0.103 | 0.058 | 500 | 0 | 0.638 | 1 | 1 | cs | TRUE
60 | MV_498_0_line_60 |  | 53 | 54 | 0.12107 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
61 | MV_498_0_line_61 |  | 53 | 55 | 0.68154 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
62 | MV_498_0_line_62 |  | 54 | 56 | 0.47748 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_498_0_line_63 |  | 54 | 57 | 0.43795 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_498_0_line_64 |  | 55 | 59 | 0.25019 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
65 | MV_498_0_line_65 |  | 56 | 61 | 0.18086 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
66 | MV_498_0_line_66 |  | 56 | 62 | 0.044858 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
67 | MV_498_0_line_67 |  | 57 | 63 | 0.037916 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
68 | MV_498_0_line_68 |  | 58 | 59 | 0.036351 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_498_0_line_69 |  | 60 | 64 | 0.075791 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
70 | MV_498_0_line_70 |  | 60 | 65 | 0.035017 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_498_0_line_71 |  | 61 | 66 | 0.17392 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_498_0_line_72 |  | 62 | 67 | 0.017762 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
73 | MV_498_0_line_73 |  | 64 | 107 | 0.003208 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
74 | MV_498_0_line_74 |  | 66 | 106 | 0.037216 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
75 | MV_498_0_line_75 |  | 67 | 115 | 0.052138 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
76 | MV_498_0_line_76 |  | 68 | 69 | 0.051111 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
77 | MV_498_0_line_77 |  | 69 | 70 | 0.43552 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
78 | MV_498_0_line_78 |  | 70 | 71 | 0.040723 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
79 | MV_498_0_line_79 |  | 70 | 72 | 0.2127 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
80 | MV_498_0_line_80 |  | 70 | 73 | 0.17984 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
81 | MV_498_0_line_81 |  | 71 | 89 | 0.053467 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
82 | MV_498_0_line_82 |  | 73 | 87 | 0.003964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
83 | MV_498_0_line_83 |  | 73 | 113 | 0.003943 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_498_0_line_84 |  | 74 | 75 | 0.21274 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_498_0_line_85 |  | 74 | 76 | 0.031949 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_498_0_line_86 |  | 75 | 77 | 0.006038 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_498_0_line_87 |  | 77 | 84 | 0.004287 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
88 | MV_498_0_line_88 |  | 78 | 79 | 0.03256 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
89 | MV_498_0_line_89 |  | 78 | 80 | 0.034475 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_498_0_line_90 |  | 79 | 87 | 0.02203 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
91 | MV_498_0_line_91 |  | 80 | 88 | 0.026894 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_498_0_line_92 |  | 81 | 82 | 0.16131 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
93 | MV_498_0_line_93 |  | 82 | 114 | 0.046166 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
94 | MV_498_0_line_94 |  | 82 | 112 | 0.19407 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_498_0_line_95 |  | 83 | 84 | 0.21821 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
96 | MV_498_0_line_96 |  | 83 | 85 | 0.060719 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
97 | MV_498_0_line_97 |  | 83 | 86 | 0.005857 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
98 | MV_498_0_line_98 |  | 85 | 92 | 0.069094 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_498_0_line_99 |  | 86 | 119 | 0.16749 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_498_0_line_100 |  | 89 | 117 | 0.30887 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
101 | MV_498_0_line_101 |  | 90 | 91 | 0.0081194 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
102 | MV_498_0_line_102 |  | 92 | 93 | 0.06622 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
103 | MV_498_0_line_103 |  | 94 | 95 | 0.06873 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
104 | MV_498_0_line_104 |  | 96 | 97 | 0.23316 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
105 | MV_498_0_line_105 |  | 97 | 98 | 0.41281 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
106 | MV_498_0_line_106 |  | 97 | 99 | 0.080367 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
107 | MV_498_0_line_107 |  | 98 | 100 | 0.26538 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
108 | MV_498_0_line_108 |  | 98 | 101 | 0.011905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
109 | MV_498_0_line_109 |  | 100 | 102 | 0.30481 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
110 | MV_498_0_line_110 |  | 100 | 103 | 0.056525 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
111 | MV_498_0_line_111 |  | 102 | 104 | 0.032339 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
112 | MV_498_0_line_112 |  | 108 | 109 | 0.011639 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
113 | MV_498_0_line_113 |  | 109 | 110 | 0.057267 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
114 | MV_498_0_line_114 |  | 110 | 121 | 0.013033 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
115 | MV_498_0_line_115 |  | 111 | 112 | 0.017605 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
116 | MV_498_0_line_116 |  | 112 | 113 | 0.068844 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
117 | MV_498_0_line_117 |  | 115 | 116 | 0.051961 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
118 | MV_498_0_line_118 |  | 117 | 118 | 0.017905 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
119 | MV_498_0_line_119 |  | 117 | 119 | 0.14896 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
120 | MV_498_0_line_120 |  | 119 | 120 | 0.008405 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_498_0_trafo_70 | 25 MVA 110/20 kV | 122 | 108 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2677326.993 | 1225814.0469
1 | 2677315.7281 | 1225877.0093
2 | 2677157.1816 | 1225905.0708
3 | 2677225.6758 | 1225992.5509
4 | 2677275.4426 | 1226033.4464
5 | 2677216.7928 | 1225973.7453
6 | 2676857.375 | 1225628.1294
7 | 2677132.977 | 1225901.4881
8 | 2676837.151 | 1225630.8701
9 | 2676974.0672 | 1225889.8009
10 | 2676529.1171 | 1225282.8478
11 | 2676794.2888 | 1225420.4878
12 | 2676498.5592 | 1225283.1664
13 | 2676620.7387 | 1225807.4539
14 | 2676633.0187 | 1225851.6748
15 | 2676985.2246 | 1225850.6746
16 | 2677306.4187 | 1226035.0831
17 | 2677108.9033 | 1226126.3932
18 | 2677081.0223 | 1226115.258
19 | 2676576.2578 | 1224820.5909
20 | 2676754.0391 | 1225356.2877
21 | 2676537.5823 | 1225018.5141
22 | 2676594.2536 | 1224817.9873
23 | 2676459.4443 | 1225286.8107
24 | 2676646.7624 | 1225908.1895
25 | 2676647.9504 | 1225979.5414
26 | 2676377.787 | 1225935.4058
27 | 2676703.3383 | 1226030.4444
28 | 2677066.8882 | 1227619.1789
29 | 2677014.8599 | 1227582.6075
30 | 2676916.7385 | 1227764.8387
31 | 2677146.5374 | 1227229.9206
32 | 2677133.2046 | 1227221.8201
33 | 2676904.3116 | 1227800.508
34 | 2676893.3251 | 1227833.0931
35 | 2677321.0311 | 1226030.0806
36 | 2677073.2772 | 1226131.4685
37 | 2677379.2759 | 1226782.0971
38 | 2677391.5643 | 1226719.0591
39 | 2677293.1024 | 1226842.7291
40 | 2677206.7575 | 1226594.9756
41 | 2677256.499 | 1226827.6549
42 | 2677226.9107 | 1226528.5703
43 | 2677227.0433 | 1226662.5507
44 | 2676874.458 | 1226644.3961
45 | 2677381.7254 | 1226426.0346
46 | 2677232.8159 | 1226509.2784
47 | 2676829.5035 | 1226614.9181
48 | 2677294.9751 | 1226442.5851
49 | 2677397.3579 | 1226393.2493
50 | 2677128.9841 | 1226259.0978
51 | 2677078.7444 | 1226265.8848
52 | 2677272.5189 | 1226412.3888
53 | 2676299.8117 | 1227541.2573
54 | 2676180.4242 | 1227521.1475
55 | 2676890.9402 | 1227880.4734
56 | 2676099.4996 | 1227626.4716
57 | 2676414.5362 | 1227274.2393
58 | 2676930.7939 | 1228145.1874
59 | 2676899.2167 | 1228130.5249
60 | 2676828.6634 | 1226748.0186
61 | 2675982.7216 | 1227761.6477
62 | 2676063.1249 | 1227600.3433
63 | 2676443.2303 | 1227299.0244
64 | 2676863.4514 | 1226714.8233
65 | 2676804.1507 | 1226765.7725
66 | 2675861.9411 | 1227881.8872
67 | 2676049.0459 | 1227589.5144
68 | 2677716.9967 | 1226562.3724
69 | 2677756.5341 | 1226529.9003
70 | 2677735.4617 | 1226094.8888
71 | 2677739.7777 | 1226054.6627
72 | 2677616.0161 | 1226270.8865
73 | 2677912.2652 | 1226127.8115
74 | 2677539.077 | 1226406.0914
75 | 2677477.66 | 1226289.291
76 | 2677562.8544 | 1226427.1486
77 | 2677476.7675 | 1226283.3199
78 | 2677937.8575 | 1226075.1446
79 | 2677923.6248 | 1226104.4289
80 | 2677968.6102 | 1226090.9024
81 | 2677983.4602 | 1226386.9623
82 | 2678090.5759 | 1226266.3524
83 | 2677489.6898 | 1226061.2171
84 | 2677476.5883 | 1226279.0369
85 | 2677460.0116 | 1226114.1885
86 | 2677487.1966 | 1226055.9144
87 | 2677913.9948 | 1226124.2429
88 | 2677958.0764 | 1226115.2582
89 | 2677686.3634 | 1226050.0956
90 | 2677282.9209 | 1226445.0525
91 | 2677288.635 | 1226447.4839
92 | 2677416.3228 | 1226142.2944
93 | 2677395.2885 | 1226205.0852
94 | 2676996.815 | 1227910.3722
95 | 2676948.3537 | 1227861.6347
96 | 2676368.3898 | 1225901.5181
97 | 2676175.5678 | 1225770.4267
98 | 2676443.1878 | 1225628.5296
99 | 2676130.5619 | 1225836.177
100 | 2676309.9967 | 1225493.6086
101 | 2676448.1621 | 1225639.3453
102 | 2676441.9034 | 1225423.4654
103 | 2676321.0791 | 1225438.1804
104 | 2676467.5638 | 1225442.5521
105 | 2676579.0664 | 1225022.3835
106 | 2675824.8174 | 1227879.2663
107 | 2676861.1611 | 1226712.57
108 | 2677067.3515 | 1226262.9242
109 | 2677075.1352 | 1226254.2525
110 | 2677088.633 | 1226201.8367
111 | 2677941.1283 | 1226203.1906
112 | 2677949.4755 | 1226188.7507
113 | 2677916.1452 | 1226128.5133
114 | 2678136.0034 | 1226274.5764
115 | 2676006.2953 | 1227559.6689
116 | 2676048.0779 | 1227528.7793
117 | 2677476.7225 | 1225943.992
118 | 2677459.5884 | 1225949.3504
119 | 2677381.5372 | 1226013.4002
120 | 2677381.0263 | 1226021.7881
121 | 2677076.0259 | 1226198.3933
122 | 2677067.3515 | 1226262.9242

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99748 | -0.014873 | 0.18713 | 0.090633
1 | 0.99751 | -0.014727 | 0 | 0
2 | 0.99756 | -0.015185 | 0 | 0
3 | 0.99803 | -0.0095384 | 0 | 0
4 | 0.99817 | -0.0087782 | 0 | 0
5 | 0.99802 | -0.009463 | 0.29742 | 0.14405
6 | 0.99486 | 0.005351 | 0 | 0
7 | 0.99755 | -0.015064 | 0.41478 | 0.20089
8 | 0.99485 | 0.0054485 | 0.3974 | 0.19247
9 | 0.99259 | 0.022709 | 0 | 0
10 | 0.98642 | 0.05055 | 0 | 0
11 | 0.98583 | 0.054537 | 0 | 0
12 | 0.98645 | 0.05036 | 0.41001 | 0.19858
13 | 0.99094 | 0.035531 | 0 | 0
14 | 0.99067 | 0.033426 | 0.41237 | 0.19972
15 | 0.99258 | 0.022607 | 0.20437 | 0.098979
16 | 0.998 | -0.0072446 | 0.40459 | 0.19595
17 | 0.99897 | -0.0049465 | 0 | 0
18 | 0.99905 | -0.0045583 | 0.54305 | 0.26301
19 | 0.98504 | 0.060331 | 0 | 0
20 | 0.9858 | 0.054815 | 0.3019 | 0.14622
21 | 0.98494 | 0.061211 | 0 | 0
22 | 0.98503 | 0.060281 | 0.2234 | 0.1082
23 | 0.98651 | 0.04992 | 0 | 0
24 | 0.99048 | 0.034894 | 0 | 0
25 | 0.99041 | 0.035477 | 0 | 0
26 | 0.98936 | 0.043208 | 0 | 0
27 | 0.99036 | 0.035113 | 0.39253 | 0.19011
28 | 0.99218 | -0.071124 | 0.17556 | 0.085025
29 | 0.9922 | -0.071257 | 0 | 0
30 | 0.99092 | -0.060487 | 0 | 0
31 | 0.99389 | -0.058764 | 0 | 0
32 | 0.99394 | -0.059152 | 0.15795 | 0.076499
33 | 0.99082 | -0.05959 | 0.20323 | 0.09843
34 | 0.99073 | -0.058858 | 0 | 0
35 | 0.99793 | -0.0066731 | 0 | 0
36 | 0.99911 | -0.0043072 | 0 | 0
37 | 0.99645 | -0.040849 | 0.28812 | 0.13954
38 | 0.99669 | -0.042897 | 0 | 0
39 | 0.99592 | -0.044726 | 0 | 0
40 | 0.99794 | -0.053463 | 0 | 0
41 | 0.99591 | -0.04466 | 0.14089 | 0.068235
42 | 0.99828 | -0.056351 | 0 | 0
43 | 0.9979 | -0.053732 | 0.31474 | 0.15244
44 | 0.99756 | -0.056127 | 0.3792 | 0.18365
45 | 0.9988 | -0.050631 | 0 | 0
46 | 0.99826 | -0.056175 | 0.72843 | 0.3528
47 | 0.99753 | -0.056304 | 0 | 0
48 | 0.99905 | -0.049512 | 0 | 0
49 | 0.99879 | -0.050592 | 0.092101 | 0.044607
50 | 0.9998 | -0.010231 | 0.38321 | 0.1856
51 | 0.99998 | -8.9018e-05 | 0.091979 | 0.044547
52 | 0.99911 | -0.049249 | 0.10806 | 0.052336
53 | 0.98872 | -0.072159 | 0.30471 | 0.14758
54 | 0.98846 | -0.074223 | 0 | 0
55 | 0.99063 | -0.057975 | 0.12182 | 0.059002
56 | 0.98797 | -0.070114 | 0 | 0
57 | 0.98826 | -0.072528 | 0 | 0
58 | 0.99055 | -0.058385 | 0.14674 | 0.071067
59 | 0.99056 | -0.058449 | 0 | 0
60 | 0.99748 | -0.055865 | 0 | 0
61 | 0.98787 | -0.069253 | 0 | 0
62 | 0.98795 | -0.069918 | 0.10077 | 0.048804
63 | 0.98824 | -0.072689 | 0.34353 | 0.16638
64 | 0.99747 | -0.055734 | 0 | 0
65 | 0.99748 | -0.055835 | 0.072983 | 0.035347
66 | 0.98778 | -0.068377 | 0.33011 | 0.15988
67 | 0.98794 | -0.069861 | 0.094466 | 0.045752
68 | 0.99564 | 0.0093508 | 0.35262 | 0.17078
69 | 0.99566 | 0.0091353 | 0 | 0
70 | 0.99596 | 0.011062 | 0.41217 | 0.19962
71 | 0.99605 | 0.010217 | 0.21882 | 0.10598
72 | 0.99592 | 0.010834 | 0.087132 | 0.0422
73 | 0.99564 | 0.0089056 | 0 | 0
74 | 0.99691 | -0.00015287 | 0 | 0
75 | 0.99698 | -0.00075315 | 0 | 0
76 | 0.9969 | -5.6761e-05 | 0.2519 | 0.122
77 | 0.99698 | -0.00076918 | 0.13024 | 0.063079
78 | 0.99563 | 0.0089733 | 0 | 0
79 | 0.99563 | 0.0089493 | 0.082057 | 0.039742
80 | 0.99563 | 0.0090005 | 0 | 0
81 | 0.99533 | 0.0089935 | 0.31163 | 0.15093
82 | 0.99542 | 0.0096079 | 0 | 0
83 | 0.99715 | 0.0003419 | 0.31129 | 0.15076
84 | 0.99698 | -0.00078725 | 0 | 0
85 | 0.9971 | 7.1841e-05 | 0 | 0
86 | 0.99715 | 0.00027117 | 0 | 0
87 | 0.99564 | 0.0089122 | 0 | 0
88 | 0.99562 | 0.0090229 | 0.070845 | 0.034312
89 | 0.99619 | 0.0089719 | 0 | 0
90 | 0.99905 | -0.049491 | 0.10904 | 0.052808
91 | 0.99905 | -0.049501 | 0 | 0
92 | 0.99707 | 0.00036187 | 0 | 0
93 | 0.99703 | 7.7041e-05 | 0.35358 | 0.17125
94 | 0.99068 | -0.058881 | 0.23571 | 0.11416
95 | 0.99071 | -0.058681 | 0 | 0
96 | 0.98926 | 0.043952 | 0.21896 | 0.10605
97 | 0.98838 | 0.036484 | 0 | 0
98 | 0.9875 | 0.042811 | 0 | 0
99 | 0.98835 | 0.036771 | 0.29657 | 0.14364
100 | 0.98696 | 0.04669 | 0 | 0
101 | 0.98749 | 0.042826 | 0.10336 | 0.05006
102 | 0.98694 | 0.046825 | 0 | 0
103 | 0.98693 | 0.046467 | 0.31828 | 0.15415
104 | 0.98694 | 0.046847 | 0.058801 | 0.028479
105 | 0.98492 | 0.061076 | 0.25995 | 0.1259
106 | 0.98777 | -0.068419 | 0.091602 | 0.044365
107 | 0.99746 | -0.055728 | 0.1489 | 0.072116
108 | 1 | 0 | -14.2693 | -6.576
109 | 1 | 1.0018e-05 | 0 | 0
110 | 0.99999 | 6.231e-05 | 0 | 0
111 | 0.99555 | 0.0084237 | 0.071343 | 0.034553
112 | 0.99555 | 0.0084088 | 0 | 0
113 | 0.99563 | 0.008941 | 0.17515 | 0.084831
114 | 0.9954 | 0.0094875 | 0.21362 | 0.10346
115 | 0.98793 | -0.069752 | 0 | 0
116 | 0.98792 | -0.06964 | 0.18005 | 0.087203
117 | 0.99697 | 0.0018687 | 0 | 0
118 | 0.99697 | 0.0018964 | 0.12945 | 0.062695
119 | 0.99738 | -0.0017289 | 0 | 0
120 | 0.99737 | -0.0017162 | 0.12574 | 0.0609
121 | 0.99999 | 7.4908e-05 | 0.081624 | 0.039532
122 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.18713 | -0.090633 | 0.18714 | 0.090559 | 4.1258e-06 | -7.3392e-05 | 0.0060174 | 0.0060165 | 0.0060174 | 0.99748 | -0.014873 | 0.99751 | -0.014727 | 2.8654
1 | -0.18714 | -0.090559 | 0.18715 | 0.085324 | 1.054e-05 | -0.0052355 | 0.0060165 | 0.005952 | 0.0060165 | 0.99751 | -0.014727 | 0.99756 | -0.015185 | 2.7348
2 | 3.6314 | 1.6142 | -3.621 | -1.625 | 0.010393 | -0.010846 | 0.115 | 0.11516 | 0.11516 | 0.99756 | -0.015185 | 0.99486 | 0.005351 | 52.3475
3 | 0.41478 | 0.20031 | -0.41478 | -0.20089 | 5.7917e-06 | -0.00057811 | 0.013329 | 0.013337 | 0.013337 | 0.99756 | -0.015185 | 0.99755 | -0.015064 | 6.0622
4 | -4.2333 | -1.8998 | 4.2351 | 1.894 | 0.0017977 | -0.0057487 | 0.13428 | 0.13419 | 0.13428 | 0.99756 | -0.015185 | 0.99803 | -0.0095384 | 37.0926
5 | -4.5326 | -2.0376 | 4.5332 | 2.0317 | 0.00063255 | -0.0058486 | 0.14374 | 0.14367 | 0.14374 | 0.99803 | -0.0095384 | 0.99817 | -0.0087782 | 22.5298
6 | 0.29742 | 0.14354 | -0.29742 | -0.14405 | 2.5819e-06 | -0.00050296 | 0.0095524 | 0.0095587 | 0.0095587 | 0.99803 | -0.0095384 | 0.99802 | -0.009463 | 4.3449
7 | 3.7091 | 1.7545 | -3.7084 | -1.7552 | 0.0006882 | -0.00066652 | 0.11866 | 0.11868 | 0.11868 | 0.99817 | -0.0087782 | 0.998 | -0.0072446 | 53.9434
8 | -8.2423 | -3.7862 | 8.2487 | 3.7711 | 0.0063643 | -0.015186 | 0.26232 | 0.26209 | 0.26232 | 0.99817 | -0.0087782 | 0.99897 | -0.0049465 | 41.1157
9 | 0.3974 | 0.19199 | -0.3974 | -0.19247 | 4.4577e-06 | -0.00047957 | 0.012806 | 0.012812 | 0.012812 | 0.99486 | 0.005351 | 0.99485 | 0.0054485 | 5.8239
10 | 3.2236 | 1.433 | -3.2158 | -1.4438 | 0.0077942 | -0.010805 | 0.10236 | 0.10252 | 0.10252 | 0.99486 | 0.005351 | 0.99259 | 0.022709 | 46.5997
11 | 0.20437 | 0.098934 | -0.20437 | -0.098979 | 3.1613e-06 | -4.5873e-05 | 0.0066035 | 0.0066041 | 0.0066041 | 0.99259 | 0.022709 | 0.99258 | 0.022607 | 3.1448
12 | 3.0114 | 1.3449 | -3.0061 | -1.3535 | 0.0053279 | -0.0085938 | 0.095919 | 0.09604 | 0.09604 | 0.99259 | 0.022709 | 0.99094 | 0.035531 | 43.6545
13 | 0.7862 | 0.32844 | -0.78571 | -0.34212 | 0.00049748 | -0.013681 | 0.024935 | 0.025094 | 0.025094 | 0.98642 | 0.05055 | 0.98583 | 0.054537 | 11.4063
14 | -0.7862 | -0.32844 | 0.78623 | 0.32774 | 2.5283e-05 | -0.00070041 | 0.024935 | 0.024927 | 0.024935 | 0.98642 | 0.05055 | 0.98645 | 0.05036 | 11.3341
15 | 0.4838 | 0.19766 | -0.48339 | -0.2272 | 0.00040893 | -0.029542 | 0.015304 | 0.015653 | 0.015653 | 0.98583 | 0.054537 | 0.98504 | 0.060331 | 7.115
16 | 0.30191 | 0.14446 | -0.3019 | -0.14622 | 9.7407e-06 | -0.0017557 | 0.0098005 | 0.0098229 | 0.0098229 | 0.98583 | 0.054537 | 0.9858 | 0.054815 | 4.4649
17 | -1.1962 | -0.52632 | 1.1963 | 0.52542 | 7.6714e-05 | -0.00089031 | 0.038245 | 0.038234 | 0.038245 | 0.98645 | 0.05036 | 0.98651 | 0.04992 | 17.3842
18 | 3.0061 | 1.3535 | -3.0054 | -1.3531 | 0.00075422 | 0.00041863 | 0.09604 | 0.09604 | 0.09604 | 0.99094 | 0.035531 | 0.99067 | 0.033426 | 45.7336
19 | 2.593 | 1.1533 | -2.5925 | -1.1546 | 0.00053614 | -0.0012165 | 0.082695 | 0.082711 | 0.082711 | 0.99067 | 0.033426 | 0.99048 | 0.034894 | 37.5961
20 | 3.3038 | 1.5592 | -3.3036 | -1.5595 | 0.00022977 | -0.00029833 | 0.10567 | 0.10568 | 0.10568 | 0.998 | -0.0072446 | 0.99793 | -0.0066731 | 48.0352
21 | -8.2487 | -3.7711 | 8.2493 | 3.7695 | 0.0006372 | -0.0015238 | 0.26209 | 0.26207 | 0.26209 | 0.99897 | -0.0049465 | 0.99905 | -0.0045583 | 41.0803
22 | -8.7924 | -4.0325 | 8.7928 | 4.0316 | 0.00044618 | -0.00090804 | 0.2795 | 0.27949 | 0.2795 | 0.99905 | -0.0045583 | 0.99911 | -0.0043072 | 43.8088
23 | 0.25998 | 0.11902 | -0.25996 | -0.12586 | 2.7974e-05 | -0.0068354 | 0.0083795 | 0.008465 | 0.008465 | 0.98504 | 0.060331 | 0.98494 | 0.061211 | 3.8477
24 | 0.22341 | 0.10818 | -0.2234 | -0.1082 | 1.7144e-06 | -1.9988e-05 | 0.0072743 | 0.0072746 | 0.0072746 | 0.98504 | 0.060331 | 0.98503 | 0.060281 | 3.4641
25 | 0.25996 | 0.12586 | -0.25995 | -0.1259 | 5.3197e-06 | -4.4919e-05 | 0.008465 | 0.0084656 | 0.0084656 | 0.98494 | 0.061211 | 0.98492 | 0.061076 | 4.0312
26 | -1.1963 | -0.52542 | 1.1969 | 0.51873 | 0.00057493 | -0.0066923 | 0.038234 | 0.038154 | 0.038234 | 0.98651 | 0.04992 | 0.98696 | 0.04669 | 17.3793
27 | 0.39258 | 0.18713 | -0.39255 | -0.19003 | 2.6772e-05 | -0.0029073 | 0.012675 | 0.012712 | 0.012712 | 0.99048 | 0.034894 | 0.99041 | 0.035477 | 5.7781
28 | 2.1999 | 0.96743 | -2.1973 | -0.97601 | 0.0026239 | -0.0085808 | 0.070041 | 0.070152 | 0.070152 | 0.99048 | 0.034894 | 0.98936 | 0.043208 | 31.8872
29 | 0.39255 | 0.19003 | -0.39253 | -0.19011 | 2.166e-05 | -7.4519e-05 | 0.012712 | 0.012713 | 0.012713 | 0.99041 | 0.035477 | 0.99036 | 0.035113 | 6.0538
30 | 2.1973 | 0.97601 | -2.197 | -0.97676 | 0.00023106 | -0.00075319 | 0.070152 | 0.070162 | 0.070162 | 0.98936 | 0.043208 | 0.98926 | 0.043952 | 31.8916
31 | -0.17556 | -0.085025 | 0.17556 | 0.083531 | 2.7255e-06 | -0.001494 | 0.0056753 | 0.0056565 | 0.0056753 | 0.99218 | -0.071124 | 0.9922 | -0.071257 | 2.5797
32 | 2.1599 | 0.99484 | -2.1569 | -1.0048 | 0.0029578 | -0.0099675 | 0.069186 | 0.069318 | 0.069318 | 0.9922 | -0.071257 | 0.99092 | -0.060487 | 31.5083
33 | -2.3354 | -1.0784 | 2.3392 | 1.0803 | 0.0037568 | 0.0019099 | 0.074842 | 0.074836 | 0.074842 | 0.9922 | -0.071257 | 0.99389 | -0.058764 | 35.6389
34 | 2.1569 | 1.0048 | -2.1567 | -1.0056 | 0.00024234 | -0.00081359 | 0.069318 | 0.069329 | 0.069329 | 0.99092 | -0.060487 | 0.99082 | -0.05959 | 31.5132
35 | -2.3392 | -1.0803 | 2.3393 | 1.0799 | 0.00011654 | -0.0003331 | 0.074836 | 0.074832 | 0.074836 | 0.99389 | -0.058764 | 0.99394 | -0.059152 | 34.0165
36 | -2.4972 | -1.1564 | 2.5019 | 1.1589 | 0.0046827 | 0.0024469 | 0.079928 | 0.079922 | 0.079928 | 0.99394 | -0.059152 | 0.99592 | -0.044726 | 38.061
37 | 1.9534 | 0.90719 | -1.9532 | -0.90794 | 0.00018081 | -0.00075237 | 0.062751 | 0.062761 | 0.062761 | 0.99082 | -0.05959 | 0.99073 | -0.058858 | 28.5276
38 | 1.7175 | 0.79532 | -1.7173 | -0.79638 | 0.00019268 | -0.0010546 | 0.055149 | 0.055163 | 0.055163 | 0.99073 | -0.058858 | 0.99063 | -0.057975 | 25.0741
39 | 0.23572 | 0.11262 | -0.23571 | -0.11408 | 4.8433e-06 | -0.0014624 | 0.0076119 | 0.0076304 | 0.0076304 | 0.99073 | -0.058858 | 0.99071 | -0.058681 | 3.4684
40 | 3.3036 | 1.5595 | -3.3016 | -1.5621 | 0.0019813 | -0.0025693 | 0.10568 | 0.10572 | 0.10572 | 0.99793 | -0.0066731 | 0.99738 | -0.0017289 | 48.0529
41 | -8.7928 | -4.0316 | 8.8004 | 4.0162 | 0.0075678 | -0.015438 | 0.27949 | 0.27925 | 0.27949 | 0.99911 | -0.0043072 | 1 | 0 | 43.8066
42 | -2.9323 | -1.3665 | 2.933 | 1.3651 | 0.00075428 | -0.0013019 | 0.093719 | 0.093701 | 0.093719 | 0.99645 | -0.040849 | 0.99669 | -0.042897 | 42.5998
43 | 2.6441 | 1.2269 | -2.6428 | -1.2262 | 0.0013388 | 0.00071373 | 0.084446 | 0.084448 | 0.084448 | 0.99645 | -0.040849 | 0.99592 | -0.044726 | 40.2132
44 | -2.933 | -1.3651 | 2.937 | 1.3583 | 0.0039304 | -0.0068059 | 0.093701 | 0.093604 | 0.093701 | 0.99669 | -0.042897 | 0.99794 | -0.053463 | 42.5913
45 | 0.14089 | 0.067301 | -0.14089 | -0.068235 | 1.0825e-06 | -0.00093476 | 0.0045258 | 0.0045376 | 0.0045376 | 0.99592 | -0.044726 | 0.99591 | -0.04466 | 2.0625
46 | -3.853 | -1.7944 | 3.8544 | 1.7931 | 0.0014002 | -0.0012353 | 0.12295 | 0.12293 | 0.12295 | 0.99794 | -0.053463 | 0.99828 | -0.056351 | 55.8864
47 | 0.31475 | 0.15236 | -0.31474 | -0.15244 | 1.2864e-05 | -7.5821e-05 | 0.010115 | 0.010116 | 0.010116 | 0.99794 | -0.053463 | 0.9979 | -0.053732 | 4.8174
48 | 0.60132 | 0.28365 | -0.6011 | -0.28391 | 0.00022146 | -0.00026054 | 0.019233 | 0.019237 | 0.019237 | 0.99794 | -0.053463 | 0.99756 | -0.056127 | 9.1607
49 | -4.5829 | -2.1454 | 4.585 | 2.1399 | 0.0021506 | -0.0055548 | 0.14633 | 0.14624 | 0.14633 | 0.99828 | -0.056351 | 0.9988 | -0.050631 | 40.4217
50 | 0.72845 | 0.35232 | -0.72843 | -0.3528 | 1.4751e-05 | -0.00047567 | 0.023399 | 0.023405 | 0.023405 | 0.99828 | -0.056351 | 0.99826 | -0.056175 | 10.6387
51 | 0.2219 | 0.10026 | -0.2219 | -0.10032 | 4.7563e-06 | -6.0882e-05 | 0.0070465 | 0.0070473 | 0.0070473 | 0.99756 | -0.056127 | 0.99753 | -0.056304 | 3.3559
52 | -4.6771 | -2.1836 | 4.6783 | 2.1738 | 0.0011429 | -0.0097847 | 0.14919 | 0.14906 | 0.14919 | 0.9988 | -0.050631 | 0.99905 | -0.049512 | 23.3834
53 | 0.092102 | 0.043739 | -0.092101 | -0.044607 | 4.2382e-07 | -0.00086745 | 0.0029469 | 0.0029577 | 0.0029577 | 0.9988 | -0.050631 | 0.99879 | -0.050592 | 1.3444
54 | 0.2219 | 0.10032 | -0.22189 | -0.10476 | 1.2478e-05 | -0.0044339 | 0.0070473 | 0.0071012 | 0.0071012 | 0.99753 | -0.056304 | 0.99748 | -0.055865 | 3.2278
55 | 0.10904 | 0.052424 | -0.10904 | -0.052615 | 1.3059e-07 | -0.00019056 | 0.0034958 | 0.0034982 | 0.0034982 | 0.99905 | -0.049512 | 0.99905 | -0.049501 | 1.5901
56 | -4.7873 | -2.2263 | 4.7876 | 2.2241 | 0.00027106 | -0.0022117 | 0.15255 | 0.15253 | 0.15255 | 0.99905 | -0.049512 | 0.99911 | -0.049249 | 23.9114
57 | -5.2807 | -2.4666 | 5.2812 | 2.4679 | 0.00051253 | 0.0013082 | 0.16828 | 0.16828 | 0.16828 | 0.9998 | -0.010231 | 0.99998 | -8.9018e-05 | 26.0905
58 | 4.8975 | 2.281 | -4.8956 | -2.2764 | 0.0018243 | 0.0046157 | 0.15599 | 0.15599 | 0.15599 | 0.9998 | -0.010231 | 0.99911 | -0.049249 | 24.1852
59 | -5.3732 | -2.5125 | 5.3733 | 2.5118 | 0.00010643 | -0.0006782 | 0.17123 | 0.17122 | 0.17123 | 0.99998 | -8.9018e-05 | 1 | 0 | 26.839
60 | 1.1414 | 0.51902 | -1.1411 | -0.51898 | 0.00028912 | 3.9841e-05 | 0.036609 | 0.036611 | 0.036611 | 0.98872 | -0.072159 | 0.98846 | -0.074223 | 17.4339
61 | -1.4461 | -0.6666 | 1.4488 | 0.66744 | 0.0026242 | 0.0008468 | 0.046492 | 0.046483 | 0.046492 | 0.98872 | -0.072159 | 0.99063 | -0.057975 | 22.1392
62 | 0.79752 | 0.36283 | -0.7971 | -0.37384 | 0.00041958 | -0.011009 | 0.025588 | 0.025725 | 0.025725 | 0.98846 | -0.074223 | 0.98797 | -0.070114 | 11.6931
63 | 0.34362 | 0.15615 | -0.34354 | -0.16634 | 7.1845e-05 | -0.010193 | 0.011023 | 0.011149 | 0.011149 | 0.98846 | -0.074223 | 0.98826 | -0.072528 | 5.0679
64 | 0.14675 | 0.069929 | -0.14674 | -0.070216 | 1.001e-05 | -0.00028681 | 0.004737 | 0.0047407 | 0.0047407 | 0.99063 | -0.057975 | 0.99056 | -0.058449 | 2.2575
65 | 0.4218 | 0.19596 | -0.42175 | -0.20016 | 4.476e-05 | -0.0042011 | 0.01359 | 0.013642 | 0.013642 | 0.98797 | -0.070114 | 0.98787 | -0.069253 | 6.2009
66 | 0.3753 | 0.17788 | -0.37529 | -0.17892 | 8.8286e-06 | -0.0010428 | 0.012135 | 0.012148 | 0.012148 | 0.98797 | -0.070114 | 0.98795 | -0.069918 | 5.522
67 | 0.34354 | 0.16634 | -0.34353 | -0.16638 | 8.3983e-06 | -3.8947e-05 | 0.011149 | 0.01115 | 0.01115 | 0.98826 | -0.072528 | 0.98824 | -0.072689 | 5.3095
68 | -0.14674 | -0.071067 | 0.14674 | 0.070216 | 1.0931e-06 | -0.00085128 | 0.0047514 | 0.0047407 | 0.0047514 | 0.99055 | -0.058385 | 0.99056 | -0.058449 | 2.1597
69 | 0.1489 | 0.07024 | -0.1489 | -0.07204 | 2.3078e-06 | -0.0017998 | 0.0047647 | 0.0047872 | 0.0047872 | 0.99748 | -0.055865 | 0.99747 | -0.055734 | 2.176
70 | 0.072984 | 0.034516 | -0.072983 | -0.035347 | 2.5633e-07 | -0.00083178 | 0.0023365 | 0.0023469 | 0.0023469 | 0.99748 | -0.055865 | 0.99748 | -0.055835 | 1.0668
71 | 0.42175 | 0.20016 | -0.42171 | -0.2042 | 4.3371e-05 | -0.0040391 | 0.013642 | 0.013693 | 0.013693 | 0.98787 | -0.069253 | 0.98778 | -0.068377 | 6.2242
72 | 0.27452 | 0.13012 | -0.27452 | -0.13053 | 1.8696e-06 | -0.00041338 | 0.0088769 | 0.0088821 | 0.0088821 | 0.98795 | -0.069918 | 0.98794 | -0.069861 | 4.0373
73 | 0.1489 | 0.07204 | -0.1489 | -0.072116 | 9.8154e-08 | -7.6178e-05 | 0.0047872 | 0.0047881 | 0.0047881 | 0.99747 | -0.055734 | 0.99746 | -0.055728 | 2.1764
74 | 0.091602 | 0.044322 | -0.091602 | -0.044365 | 5.8656e-07 | -4.2982e-05 | 0.0029739 | 0.0029745 | 0.0029745 | 0.98778 | -0.068377 | 0.98777 | -0.068419 | 1.4164
75 | 0.18006 | 0.084779 | -0.18005 | -0.085993 | 2.36e-06 | -0.0012143 | 0.0058152 | 0.0058305 | 0.0058305 | 0.98794 | -0.069861 | 0.98793 | -0.069752 | 2.6502
76 | -0.35262 | -0.17078 | 0.35263 | 0.16958 | 8.7936e-06 | -0.0012071 | 0.01136 | 0.011345 | 0.01136 | 0.99564 | 0.0093508 | 0.99566 | 0.0091353 | 5.1636
77 | -0.35263 | -0.16958 | 0.35273 | 0.16912 | 9.9813e-05 | -0.00045306 | 0.011345 | 0.011338 | 0.011345 | 0.99566 | 0.0091353 | 0.99596 | 0.011062 | 5.4023
78 | -1.7771 | -0.85029 | 1.7773 | 0.84938 | 0.00017723 | -0.00091198 | 0.057102 | 0.05709 | 0.057102 | 0.99596 | 0.011062 | 0.99605 | 0.010217 | 25.9554
79 | 0.087135 | 0.04195 | -0.087132 | -0.0422 | 2.9809e-06 | -0.00025 | 0.002803 | 0.0028062 | 0.0028062 | 0.99596 | 0.011062 | 0.99592 | 0.010834 | 1.3363
80 | 0.92509 | 0.4396 | -0.92481 | -0.43964 | 0.00028242 | -3.5997e-05 | 0.029687 | 0.02969 | 0.02969 | 0.99596 | 0.011062 | 0.99564 | 0.0089056 | 14.1379
81 | -1.9961 | -0.95536 | 1.9964 | 0.95418 | 0.00029354 | -0.0011796 | 0.064136 | 0.06412 | 0.064136 | 0.99605 | 0.010217 | 0.99619 | 0.0089719 | 29.1528
82 | 0.1529 | 0.071216 | -0.1529 | -0.07131 | 1.2661e-07 | -9.3783e-05 | 0.0048906 | 0.0048917 | 0.0048917 | 0.99564 | 0.0089056 | 0.99564 | 0.0089122 | 2.2235
83 | 0.77191 | 0.36842 | -0.77191 | -0.36851 | 3.2374e-06 | -9.2363e-05 | 0.024799 | 0.0248 | 0.0248 | 0.99564 | 0.0089056 | 0.99563 | 0.008941 | 11.2729
84 | -0.2519 | -0.12124 | 0.25192 | 0.1162 | 1.8468e-05 | -0.0050429 | 0.0080953 | 0.008033 | 0.0080953 | 0.99691 | -0.00015287 | 0.99698 | -0.00075315 | 3.6797
85 | 0.2519 | 0.12124 | -0.2519 | -0.122 | 2.7985e-06 | -0.00075728 | 0.0080953 | 0.0081049 | 0.0081049 | 0.99691 | -0.00015287 | 0.9969 | -5.6761e-05 | 3.684
86 | -0.25192 | -0.1162 | 0.25192 | 0.11606 | 5.2002e-07 | -0.00014314 | 0.008033 | 0.0080313 | 0.008033 | 0.99698 | -0.00075315 | 0.99698 | -0.00076918 | 3.6514
87 | -0.38216 | -0.17914 | 0.38217 | 0.17904 | 8.5467e-07 | -0.00010149 | 0.012221 | 0.01222 | 0.012221 | 0.99698 | -0.00076918 | 0.99698 | -0.00078725 | 5.5549
88 | -0.070845 | -0.032859 | 0.070845 | 0.032089 | 2.2194e-07 | -0.00077056 | 0.0022643 | 0.002255 | 0.0022643 | 0.99563 | 0.0089733 | 0.99563 | 0.0089493 | 1.0292
89 | 0.070845 | 0.032859 | -0.070845 | -0.033675 | 2.3701e-07 | -0.00081588 | 0.0022643 | 0.0022744 | 0.0022744 | 0.99563 | 0.0089733 | 0.99563 | 0.0090005 | 1.0338
90 | -0.1529 | -0.071831 | 0.1529 | 0.07131 | 7.0468e-07 | -0.0005212 | 0.0048981 | 0.0048917 | 0.0048981 | 0.99563 | 0.0089493 | 0.99564 | 0.0089122 | 2.2264
91 | 0.070845 | 0.033675 | -0.070845 | -0.034312 | 1.8637e-07 | -0.00063646 | 0.0022744 | 0.0022823 | 0.0022823 | 0.99563 | 0.0090005 | 0.99562 | 0.0090229 | 1.0374
92 | -0.31163 | -0.15093 | 0.31166 | 0.15076 | 2.8979e-05 | -0.00017264 | 0.010043 | 0.01004 | 0.010043 | 0.99533 | 0.0089935 | 0.99542 | 0.0096079 | 4.7822
93 | 0.21362 | 0.10341 | -0.21362 | -0.10346 | 3.897e-06 | -5.2168e-05 | 0.0068828 | 0.0068835 | 0.0068835 | 0.99542 | 0.0096079 | 0.9954 | 0.0094875 | 3.2779
94 | -0.52529 | -0.25417 | 0.52536 | 0.2496 | 7.3947e-05 | -0.0045701 | 0.016923 | 0.016865 | 0.016923 | 0.99542 | 0.0096079 | 0.99555 | 0.0084088 | 7.6923
95 | 0.38222 | 0.17881 | -0.38217 | -0.17904 | 5.8039e-05 | -0.00022262 | 0.012216 | 0.01222 | 0.01222 | 0.99715 | 0.0003419 | 0.99698 | -0.00078725 | 5.8189
96 | 0.35362 | 0.16948 | -0.35361 | -0.16954 | 1.3943e-05 | -6.3336e-05 | 0.011352 | 0.011353 | 0.011353 | 0.99715 | 0.0003419 | 0.9971 | 7.1841e-05 | 5.4064
97 | -1.0471 | -0.49906 | 1.0471 | 0.49892 | 8.8173e-06 | -0.00013643 | 0.033582 | 0.03358 | 0.033582 | 0.99715 | 0.0003419 | 0.99715 | 0.00027117 | 15.2643
98 | 0.35361 | 0.16954 | -0.3536 | -0.17118 | 1.1911e-05 | -0.0016366 | 0.011353 | 0.011374 | 0.011374 | 0.9971 | 7.1841e-05 | 0.99707 | 0.00036187 | 5.17
99 | -1.0471 | -0.49892 | 1.0474 | 0.49502 | 0.00025176 | -0.0039024 | 0.03358 | 0.03353 | 0.03358 | 0.99715 | 0.00027117 | 0.99738 | -0.0017289 | 15.2636
100 | -1.9964 | -0.95418 | 1.9981 | 0.94736 | 0.0016929 | -0.006822 | 0.06412 | 0.064029 | 0.06412 | 0.99619 | 0.0089719 | 0.99697 | 0.0018687 | 29.1456
101 | -0.10904 | -0.052808 | 0.10904 | 0.052615 | 1.3273e-07 | -0.00019345 | 0.0035006 | 0.0034982 | 0.0035006 | 0.99905 | -0.049491 | 0.99905 | -0.049501 | 1.5912
102 | 0.3536 | 0.17118 | -0.35358 | -0.17125 | 1.5265e-05 | -6.9027e-05 | 0.011374 | 0.011375 | 0.011375 | 0.99707 | 0.00036187 | 0.99703 | 7.7041e-05 | 5.4166
103 | -0.23571 | -0.11416 | 0.23571 | 0.11408 | 7.1307e-06 | -7.6065e-05 | 0.0076314 | 0.0076304 | 0.0076314 | 0.99068 | -0.058881 | 0.99071 | -0.058681 | 3.634
104 | 1.9781 | 0.87071 | -1.9764 | -0.86995 | 0.0016524 | 0.00076284 | 0.063066 | 0.063069 | 0.063069 | 0.98926 | 0.043952 | 0.98838 | 0.036484 | 30.0331
105 | 1.6798 | 0.72818 | -1.6782 | -0.73733 | 0.0015792 | -0.0091516 | 0.053474 | 0.053586 | 0.053586 | 0.98838 | 0.036484 | 0.9875 | 0.042811 | 24.3574
106 | 0.29658 | 0.14177 | -0.29657 | -0.14364 | 9.9143e-06 | -0.0018715 | 0.009601 | 0.0096247 | 0.0096247 | 0.98838 | 0.036484 | 0.98835 | 0.036771 | 4.3749
107 | 1.5749 | 0.68755 | -1.574 | -0.69346 | 0.00089533 | -0.0059099 | 0.050235 | 0.050307 | 0.050307 | 0.9875 | 0.042811 | 0.98696 | 0.04669 | 22.867
108 | 0.10336 | 0.049783 | -0.10336 | -0.05006 | 1.7894e-07 | -0.00027712 | 0.0033538 | 0.0033573 | 0.0033573 | 0.9875 | 0.042811 | 0.98749 | 0.042826 | 1.526
109 | 0.058802 | 0.020638 | -0.058801 | -0.027726 | 1.4073e-06 | -0.0070885 | 0.0018228 | 0.0019015 | 0.0019015 | 0.98696 | 0.04669 | 0.98694 | 0.046825 | 0.86432
110 | 0.31829 | 0.15409 | -0.31828 | -0.15415 | 1.0775e-05 | -5.8981e-05 | 0.010343 | 0.010344 | 0.010344 | 0.98696 | 0.04669 | 0.98693 | 0.046467 | 4.9257
111 | 0.058801 | 0.027726 | -0.058801 | -0.028479 | 1.5688e-07 | -0.00075205 | 0.0019015 | 0.001911 | 0.001911 | 0.98694 | 0.046825 | 0.98694 | 0.046847 | 0.86864
112 | 0.081625 | 0.037576 | -0.081625 | -0.037854 | 1.0468e-07 | -0.00027786 | 0.002594 | 0.0025974 | 0.0025974 | 1 | 0 | 1 | 1.0018e-05 | 1.1806
113 | 0.081625 | 0.037854 | -0.081624 | -0.039221 | 5.1909e-07 | -0.0013671 | 0.0025974 | 0.0026142 | 0.0026142 | 1 | 1.0018e-05 | 0.99999 | 6.231e-05 | 1.1883
114 | 0.081624 | 0.039221 | -0.081624 | -0.039532 | 1.1909e-07 | -0.00031114 | 0.0026142 | 0.0026181 | 0.0026181 | 0.99999 | 6.231e-05 | 0.99999 | 7.4908e-05 | 1.1901
115 | -0.071343 | -0.034553 | 0.071344 | 0.034137 | 1.239e-07 | -0.00041658 | 0.0022986 | 0.0022933 | 0.0022986 | 0.99555 | 0.0084237 | 0.99555 | 0.0084088 | 1.0448
116 | -0.59671 | -0.28373 | 0.59675 | 0.28368 | 4.5021e-05 | -5.3264e-05 | 0.019159 | 0.019158 | 0.019159 | 0.99555 | 0.0084088 | 0.99563 | 0.008941 | 9.1232
117 | 0.18005 | 0.085993 | -0.18005 | -0.087203 | 2.3643e-06 | -0.0012101 | 0.0058305 | 0.0058458 | 0.0058458 | 0.98793 | -0.069752 | 0.98792 | -0.06964 | 2.6572
118 | 0.12945 | 0.062271 | -0.12945 | -0.062695 | 4.1407e-07 | -0.00042479 | 0.0041594 | 0.0041647 | 0.0041647 | 0.99697 | 0.0018687 | 0.99697 | 0.0018964 | 1.8931
119 | -2.1276 | -1.0096 | 2.1285 | 1.0064 | 0.00092403 | -0.0032623 | 0.068189 | 0.068145 | 0.068189 | 0.99697 | 0.0018687 | 0.99738 | -0.0017289 | 30.9948
120 | 0.12574 | 0.060701 | -0.12574 | -0.0609 | 1.8338e-07 | -0.00019957 | 0.0040413 | 0.0040438 | 0.0040438 | 0.99738 | -0.0017289 | 0.99737 | -0.0017162 | 1.8381

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 14.2693 | 6.576

## res_load
| p_mw | q_mvar
0 | 0.18713 | 0.090633
1 | 0.29742 | 0.14405
2 | 0.41478 | 0.20089
3 | 0.3974 | 0.19247
4 | 0.41001 | 0.19858
5 | 0.41237 | 0.19972
6 | 0.20437 | 0.098979
7 | 0.40459 | 0.19595
8 | 0.54305 | 0.26301
9 | 0.3019 | 0.14622
10 | 0.2234 | 0.1082
11 | 0.39253 | 0.19011
12 | 0.17556 | 0.085025
13 | 0.15795 | 0.076499
14 | 0.20323 | 0.09843
15 | 0.28812 | 0.13954
16 | 0.14089 | 0.068235
17 | 0.31474 | 0.15244
18 | 0.3792 | 0.18365
19 | 0.72843 | 0.3528
20 | 0.092101 | 0.044607
21 | 0.38321 | 0.1856
22 | 0.091979 | 0.044547
23 | 0.10806 | 0.052336
24 | 0.30471 | 0.14758
25 | 0.12182 | 0.059002
26 | 0.14674 | 0.071067
27 | 0.10077 | 0.048804
28 | 0.34353 | 0.16638
29 | 0.072983 | 0.035347
30 | 0.33011 | 0.15988
31 | 0.094466 | 0.045752
32 | 0.35262 | 0.17078
33 | 0.41217 | 0.19962
34 | 0.21882 | 0.10598
35 | 0.087132 | 0.0422
36 | 0.2519 | 0.122
37 | 0.13024 | 0.063079
38 | 0.082057 | 0.039742
39 | 0.31163 | 0.15093
40 | 0.31129 | 0.15076
41 | 0.070845 | 0.034312
42 | 0.10904 | 0.052808
43 | 0.35358 | 0.17125
44 | 0.23571 | 0.11416
45 | 0.21896 | 0.10605
46 | 0.29657 | 0.14364
47 | 0.10336 | 0.05006
48 | 0.31828 | 0.15415
49 | 0.058801 | 0.028479
50 | 0.25995 | 0.1259
51 | 0.091602 | 0.044365
52 | 0.1489 | 0.072116
53 | 0.071343 | 0.034553
54 | 0.17515 | 0.084831
55 | 0.21362 | 0.10346
56 | 0.18005 | 0.087203
57 | 0.12945 | 0.062695
58 | 0.12574 | 0.0609
59 | 0.081624 | 0.039532

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1