## bus
| name | vn_kv | type | zone | in_service
0 | bus_MV_49_1_node_73 | 20 | n |  | TRUE
1 | bus_MV_49_1_node_74 | 20 | n |  | TRUE
2 | bus_MV_49_1_node_204 | 20 | n |  | TRUE
3 | bus_MV_49_1_node_75 | 20 | n |  | TRUE
4 | bus_MV_49_1_node_239 | 20 | n |  | TRUE
5 | bus_MV_49_1_node_88 | 20 | n |  | TRUE
6 | bus_MV_49_1_node_95 | 20 | n |  | TRUE
7 | bus_MV_49_1_node_100 | 20 | n |  | TRUE
8 | bus_MV_49_1_node_96 | 20 | n |  | TRUE
9 | bus_MV_49_1_node_98 | 20 | n |  | TRUE
10 | bus_MV_49_1_node_99 | 20 | n |  | TRUE
11 | bus_MV_49_1_node_101 | 20 | n |  | TRUE
12 | bus_MV_49_1_node_102 | 20 | n |  | TRUE
13 | bus_MV_49_1_node_217 | 20 | n |  | TRUE
14 | bus_MV_49_1_node_133 | 20 | n |  | TRUE
15 | bus_MV_49_1_node_156 | 20 | n |  | TRUE
16 | bus_MV_49_1_node_136 | 20 | n |  | TRUE
17 | bus_MV_49_1_node_135 | 20 | n |  | TRUE
18 | bus_MV_49_1_node_103 | 20 | n |  | TRUE
19 | bus_MV_49_1_node_104 | 20 | n |  | TRUE
20 | bus_MV_49_1_node_105 | 20 | n |  | TRUE
21 | bus_MV_49_1_node_106 | 20 | n |  | TRUE
22 | bus_MV_49_1_node_117 | 20 | n |  | TRUE
23 | bus_MV_49_1_node_118 | 20 | n |  | TRUE
24 | bus_MV_49_1_node_223 | 20 | n |  | TRUE
25 | bus_MV_49_1_node_107 | 20 | n |  | TRUE
26 | bus_MV_49_1_node_108 | 20 | n |  | TRUE
27 | bus_MV_49_1_node_109 | 20 | n |  | TRUE
28 | bus_MV_49_1_node_224 | 20 | n |  | TRUE
29 | bus_MV_49_1_node_218 | 20 | n |  | TRUE
30 | bus_MV_49_1_node_110 | 20 | n |  | TRUE
31 | bus_MV_49_1_node_111 | 20 | n |  | TRUE
32 | bus_MV_49_1_node_221 | 20 | n |  | TRUE
33 | bus_MV_49_1_node_112 | 20 | n |  | TRUE
34 | bus_MV_49_1_node_139 | 20 | n |  | TRUE
35 | bus_MV_49_1_node_143 | 20 | n |  | TRUE
36 | bus_MV_49_1_node_113 | 20 | n |  | TRUE
37 | bus_MV_49_1_node_114 | 20 | n |  | TRUE
38 | bus_MV_49_1_node_115 | 20 | n |  | TRUE
39 | bus_MV_49_1_node_116 | 20 | n |  | TRUE
40 | bus_MV_49_1_node_119 | 20 | n |  | TRUE
41 | bus_MV_49_1_node_120 | 20 | n |  | TRUE
42 | bus_MV_49_1_node_127 | 20 | n |  | TRUE
43 | bus_MV_49_1_node_121 | 20 | n |  | TRUE
44 | bus_MV_49_1_node_122 | 20 | n |  | TRUE
45 | bus_MV_49_1_node_123 | 20 | n |  | TRUE
46 | bus_MV_49_1_node_124 | 20 | n |  | TRUE
47 | bus_MV_49_1_node_125 | 20 | n |  | TRUE
48 | bus_MV_49_1_node_126 | 20 | n |  | TRUE
49 | bus_MV_49_1_node_128 | 20 | n |  | TRUE
50 | bus_MV_49_1_node_129 | 20 | n |  | TRUE
51 | bus_MV_49_1_node_130 | 20 | n |  | TRUE
52 | bus_MV_49_1_node_131 | 20 | n |  | TRUE
53 | bus_MV_49_1_node_132 | 20 | n |  | TRUE
54 | bus_MV_49_1_node_138 | 20 | n |  | TRUE
55 | bus_MV_49_1_node_134 | 20 | n |  | TRUE
56 | bus_MV_49_1_node_226 | 20 | n |  | TRUE
57 | bus_MV_49_1_node_194 | 20 | n |  | TRUE
58 | bus_MV_49_1_node_137 | 20 | n |  | TRUE
59 | bus_MV_49_1_node_141 | 20 | n |  | TRUE
60 | bus_MV_49_1_node_142 | 20 | n |  | TRUE
61 | bus_MV_49_1_node_220 | 20 | n |  | TRUE
62 | bus_MV_49_1_node_144 | 20 | n |  | TRUE
63 | bus_MV_49_1_node_145 | 20 | n |  | TRUE
64 | bus_MV_49_1_node_146 | 20 | n |  | TRUE
65 | bus_MV_49_1_node_149 | 20 | n |  | TRUE
66 | bus_MV_49_1_node_147 | 20 | n |  | TRUE
67 | bus_MV_49_1_node_225 | 20 | n |  | TRUE
68 | bus_MV_49_1_node_148 | 20 | n |  | TRUE
69 | bus_MV_49_1_node_212 | 20 | n |  | TRUE
70 | bus_MV_49_1_node_150 | 20 | n |  | TRUE
71 | bus_MV_49_1_node_152 | 20 | n |  | TRUE
72 | bus_MV_49_1_node_158 | 20 | n |  | TRUE
73 | bus_MV_49_1_node_151 | 20 | n |  | TRUE
74 | bus_MV_49_1_node_153 | 20 | n |  | TRUE
75 | bus_MV_49_1_node_154 | 20 | n |  | TRUE
76 | bus_MV_49_1_node_155 | 20 | n |  | TRUE
77 | bus_MV_49_1_node_207 | 20 | n |  | TRUE
78 | bus_MV_49_1_node_157 | 20 | n |  | TRUE
79 | bus_MV_49_1_node_219 | 20 | n |  | TRUE
80 | bus_MV_49_1_node_159 | 20 | n |  | TRUE
81 | bus_MV_49_1_node_189 | 20 | n |  | TRUE
82 | bus_MV_49_1_node_190 | 20 | n |  | TRUE
83 | bus_MV_49_1_node_191 | 20 | n |  | TRUE
84 | bus_MV_49_1_node_227 | 20 | n |  | TRUE
85 | bus_MV_49_1_node_222 | 20 | n |  | TRUE
86 | bus_MV_49_1_node_192 | 20 | n |  | TRUE
87 | bus_MV_49_1_node_193 | 20 | n |  | TRUE
88 | bus_MV_49_1_node_195 | 20 | n |  | TRUE
89 | bus_MV_49_1_node_196 | 20 | n |  | TRUE
90 | bus_MV_49_1_node_197 | 20 | n |  | TRUE
91 | bus_MV_49_1_node_199 | 20 | n |  | TRUE
92 | bus_MV_49_1_node_200 | 20 | n |  | TRUE
93 | bus_MV_49_1_node_198 | 20 | n |  | TRUE
94 | bus_MV_49_1_node_203 | 20 | n |  | TRUE
95 | bus_MV_49_1_node_205 | 20 | n |  | TRUE
96 | bus_MV_49_1_node_208 | 20 | n |  | TRUE
97 | bus_MV_49_1_node_201 | 20 | n |  | TRUE
98 | bus_MV_49_1_node_202 | 20 | n |  | TRUE
99 | bus_MV_49_1_node_206 | 20 | n |  | TRUE
100 | bus_MV_49_1_node_209 | 20 | n |  | TRUE
101 | bus_MV_49_1_node_211 | 20 | n |  | TRUE
102 | bus_HV_49_1_node_159 | 110 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | MV_49_1_load_73 | 0 | 0.12313 | 0.059636 | 0 | 0 |  | 1 | TRUE | wye
1 | MV_49_1_load_204 | 2 | 0.12806 | 0.062024 | 0 | 0 |  | 1 | TRUE | wye
2 | MV_49_1_load_239 | 4 | 0.13212 | 0.063988 | 0 | 0 |  | 1 | TRUE | wye
3 | MV_49_1_load_88 | 5 | 0.081085 | 0.039271 | 0 | 0 |  | 1 | TRUE | wye
4 | MV_49_1_load_95 | 6 | 0.16254 | 0.078721 | 0 | 0 |  | 1 | TRUE | wye
5 | MV_49_1_load_96 | 8 | 0.15433 | 0.074744 | 0 | 0 |  | 1 | TRUE | wye
6 | MV_49_1_load_217 | 13 | 0.15839 | 0.076713 | 0 | 0 |  | 1 | TRUE | wye
7 | MV_49_1_load_133 | 14 | 0.083298 | 0.040343 | 0 | 0 |  | 1 | TRUE | wye
8 | MV_49_1_load_156 | 15 | 0.14218 | 0.068859 | 0 | 0 |  | 1 | TRUE | wye
9 | MV_49_1_load_136 | 16 | 0.079557 | 0.038531 | 0 | 0 |  | 1 | TRUE | wye
10 | MV_49_1_load_135 | 17 | 0.13507 | 0.065415 | 0 | 0 |  | 1 | TRUE | wye
11 | MV_49_1_load_103 | 18 | 0.091602 | 0.044365 | 0 | 0 |  | 1 | TRUE | wye
12 | MV_49_1_load_118 | 23 | 0.068943 | 0.033391 | 0 | 0 |  | 1 | TRUE | wye
13 | MV_49_1_load_223 | 24 | 0.078225 | 0.037886 | 0 | 0 |  | 1 | TRUE | wye
14 | MV_49_1_load_107 | 25 | 0.079234 | 0.038375 | 0 | 0 |  | 1 | TRUE | wye
15 | MV_49_1_load_224 | 28 | 0.067968 | 0.032919 | 0 | 0 |  | 1 | TRUE | wye
16 | MV_49_1_load_218 | 29 | 0.15938 | 0.077192 | 0 | 0 |  | 1 | TRUE | wye
17 | MV_49_1_load_110 | 30 | 0.05017 | 0.024299 | 0 | 0 |  | 1 | TRUE | wye
18 | MV_49_1_load_221 | 32 | 0.16102 | 0.077987 | 0 | 0 |  | 1 | TRUE | wye
19 | MV_49_1_load_139 | 34 | 0.11719 | 0.056757 | 0 | 0 |  | 1 | TRUE | wye
20 | MV_49_1_load_143 | 35 | 0.12383 | 0.059972 | 0 | 0 |  | 1 | TRUE | wye
21 | MV_49_1_load_113 | 36 | 0.1365 | 0.066111 | 0 | 0 |  | 1 | TRUE | wye
22 | MV_49_1_load_116 | 39 | 0.064823 | 0.031395 | 0 | 0 |  | 1 | TRUE | wye
23 | MV_49_1_load_119 | 40 | 0.063504 | 0.030756 | 0 | 0 |  | 1 | TRUE | wye
24 | MV_49_1_load_127 | 42 | 0.14212 | 0.06883 | 0 | 0 |  | 1 | TRUE | wye
25 | MV_49_1_load_122 | 44 | 0.098051 | 0.047488 | 0 | 0 |  | 1 | TRUE | wye
26 | MV_49_1_load_128 | 49 | 0.16215 | 0.078532 | 0 | 0 |  | 1 | TRUE | wye
27 | MV_49_1_load_130 | 51 | 0.058469 | 0.028318 | 0 | 0 |  | 1 | TRUE | wye
28 | MV_49_1_load_138 | 54 | 0.087985 | 0.042613 | 0 | 0 |  | 1 | TRUE | wye
29 | MV_49_1_load_226 | 56 | 0.062176 | 0.030113 | 0 | 0 |  | 1 | TRUE | wye
30 | MV_49_1_load_194 | 57 | 0.25728 | 0.12461 | 0 | 0 |  | 1 | TRUE | wye
31 | MV_49_1_load_220 | 61 | 0.15912 | 0.077064 | 0 | 0 |  | 1 | TRUE | wye
32 | MV_49_1_load_144 | 62 | 0.12234 | 0.05925 | 0 | 0 |  | 1 | TRUE | wye
33 | MV_49_1_load_225 | 67 | 0.084526 | 0.040938 | 0 | 0 |  | 1 | TRUE | wye
34 | MV_49_1_load_212 | 69 | 0.091526 | 0.044328 | 0 | 0 |  | 1 | TRUE | wye
35 | MV_49_1_load_150 | 70 | 0.058394 | 0.028281 | 0 | 0 |  | 1 | TRUE | wye
36 | MV_49_1_load_152 | 71 | 0.07863 | 0.038082 | 0 | 0 |  | 1 | TRUE | wye
37 | MV_49_1_load_158 | 72 | 0.093696 | 0.045379 | 0 | 0 |  | 1 | TRUE | wye
38 | MV_49_1_load_153 | 74 | 0.28324 | 0.13718 | 0 | 0 |  | 1 | TRUE | wye
39 | MV_49_1_load_155 | 76 | 0.1532 | 0.074201 | 0 | 0 |  | 1 | TRUE | wye
40 | MV_49_1_load_207 | 77 | 0.27872 | 0.13499 | 0 | 0 |  | 1 | TRUE | wye
41 | MV_49_1_load_157 | 78 | 0.12826 | 0.062118 | 0 | 0 |  | 1 | TRUE | wye
42 | MV_49_1_load_189 | 81 | 0.08891 | 0.043061 | 0 | 0 |  | 1 | TRUE | wye
43 | MV_49_1_load_227 | 84 | 0.13811 | 0.066892 | 0 | 0 |  | 1 | TRUE | wye
44 | MV_49_1_load_192 | 86 | 0.2027 | 0.098174 | 0 | 0 |  | 1 | TRUE | wye
45 | MV_49_1_load_195 | 88 | 0.15118 | 0.073222 | 0 | 0 |  | 1 | TRUE | wye
46 | MV_49_1_load_197 | 90 | 0.12799 | 0.061989 | 0 | 0 |  | 1 | TRUE | wye
47 | MV_49_1_load_200 | 92 | 0.31219 | 0.1512 | 0 | 0 |  | 1 | TRUE | wye
48 | MV_49_1_load_203 | 94 | 0.12804 | 0.062012 | 0 | 0 |  | 1 | TRUE | wye
49 | MV_49_1_load_205 | 95 | 0.088724 | 0.042971 | 0 | 0 |  | 1 | TRUE | wye
50 | MV_49_1_load_201 | 97 | 0.12803 | 0.062008 | 0 | 0 |  | 1 | TRUE | wye
51 | MV_49_1_load_202 | 98 | 0.12804 | 0.062012 | 0 | 0 |  | 1 | TRUE | wye
52 | MV_49_1_load_211 | 101 | 0.32215 | 0.15602 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | MV_49_1_line_0 |  | 0 | 1 | 0.043015 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
1 | MV_49_1_line_1 |  | 0 | 2 | 2.973 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
2 | MV_49_1_line_2 |  | 1 | 3 | 0.47964 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
3 | MV_49_1_line_3 |  | 2 | 93 | 0.66243 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
4 | MV_49_1_line_4 |  | 3 | 4 | 0.060234 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
5 | MV_49_1_line_5 |  | 5 | 6 | 0.33766 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
6 | MV_49_1_line_6 |  | 6 | 7 | 2.7203 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
7 | MV_49_1_line_7 |  | 7 | 11 | 0.63449 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
8 | MV_49_1_line_8 |  | 7 | 14 | 0.040098 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
9 | MV_49_1_line_9 |  | 8 | 9 | 0.013767 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
10 | MV_49_1_line_10 |  | 8 | 10 | 0.34865 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
11 | MV_49_1_line_11 |  | 9 | 11 | 0.65827 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
12 | MV_49_1_line_12 |  | 9 | 12 | 0.27883 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
13 | MV_49_1_line_13 |  | 10 | 13 | 0.078664 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
14 | MV_49_1_line_14 |  | 11 | 15 | 0.029555 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
15 | MV_49_1_line_15 |  | 12 | 16 | 0.004529 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
16 | MV_49_1_line_16 |  | 12 | 17 | 0.010177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
17 | MV_49_1_line_17 |  | 13 | 64 | 0.004436 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
18 | MV_49_1_line_18 |  | 16 | 58 | 0.004799 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
19 | MV_49_1_line_19 |  | 18 | 19 | 0.004818 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
20 | MV_49_1_line_20 |  | 19 | 20 | 0.077527 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
21 | MV_49_1_line_21 |  | 19 | 21 | 0.59514 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
22 | MV_49_1_line_22 |  | 20 | 22 | 0.065602 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
23 | MV_49_1_line_23 |  | 20 | 23 | 0.12259 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
24 | MV_49_1_line_24 |  | 21 | 24 | 0.24373 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
25 | MV_49_1_line_25 |  | 22 | 39 | 0.21199 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
26 | MV_49_1_line_26 |  | 24 | 43 | 0.008793 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
27 | MV_49_1_line_27 |  | 25 | 26 | 0.00533 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
28 | MV_49_1_line_28 |  | 26 | 27 | 0.49704 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
29 | MV_49_1_line_29 |  | 26 | 28 | 1.433 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
30 | MV_49_1_line_30 |  | 27 | 29 | 0.038131 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
31 | MV_49_1_line_31 |  | 28 | 48 | 0.044263 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
32 | MV_49_1_line_32 |  | 29 | 68 | 0.041286 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
33 | MV_49_1_line_33 |  | 30 | 31 | 0.11777 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
34 | MV_49_1_line_34 |  | 30 | 32 | 1.5351 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
35 | MV_49_1_line_35 |  | 31 | 33 | 0.49668 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
36 | MV_49_1_line_36 |  | 31 | 34 | 0.43197 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
37 | MV_49_1_line_37 |  | 32 | 85 | 0.18452 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
38 | MV_49_1_line_38 |  | 33 | 35 | 0.13674 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
39 | MV_49_1_line_39 |  | 35 | 59 | 0.01065 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
40 | MV_49_1_line_40 |  | 36 | 37 | 0.054515 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
41 | MV_49_1_line_41 |  | 37 | 38 | 0.23685 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
42 | MV_49_1_line_42 |  | 38 | 39 | 0.010139 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
43 | MV_49_1_line_43 |  | 40 | 41 | 0.14106 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
44 | MV_49_1_line_44 |  | 40 | 42 | 0.70713 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
45 | MV_49_1_line_45 |  | 41 | 43 | 0.25842 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
46 | MV_49_1_line_46 |  | 42 | 47 | 0.051341 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
47 | MV_49_1_line_47 |  | 44 | 45 | 0.018204 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
48 | MV_49_1_line_48 |  | 44 | 46 | 0.052177 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
49 | MV_49_1_line_49 |  | 45 | 47 | 0.29227 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
50 | MV_49_1_line_50 |  | 46 | 48 | 0.19223 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
51 | MV_49_1_line_51 |  | 49 | 50 | 0.19431 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
52 | MV_49_1_line_52 |  | 50 | 51 | 0.062313 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
53 | MV_49_1_line_53 |  | 50 | 52 | 0.20944 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
54 | MV_49_1_line_54 |  | 51 | 53 | 0.16544 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
55 | MV_49_1_line_55 |  | 52 | 54 | 0.0073392 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
56 | MV_49_1_line_56 |  | 53 | 55 | 0.96072 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
57 | MV_49_1_line_57 |  | 54 | 58 | 0.03587 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
58 | MV_49_1_line_58 |  | 55 | 56 | 0.071774 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
59 | MV_49_1_line_59 |  | 55 | 57 | 0.35174 | 0.306 | 0.35 | 10 | 0 | 0.35 | 1 | 1 | ol | TRUE
60 | MV_49_1_line_60 |  | 57 | 90 | 0.014829 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
61 | MV_49_1_line_61 |  | 57 | 86 | 0.45565 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
62 | MV_49_1_line_62 |  | 59 | 60 | 0.66034 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
63 | MV_49_1_line_63 |  | 60 | 61 | 0.028524 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
64 | MV_49_1_line_64 |  | 61 | 79 | 0.099077 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
65 | MV_49_1_line_65 |  | 62 | 63 | 0.074045 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
66 | MV_49_1_line_66 |  | 63 | 64 | 0.16645 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
67 | MV_49_1_line_67 |  | 63 | 65 | 0.080782 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
68 | MV_49_1_line_68 |  | 65 | 69 | 0.082373 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
69 | MV_49_1_line_69 |  | 65 | 68 | 0.074085 | 0.161 | 0.117 | 273 | 0 | 0.362 | 1 | 1 | cs | TRUE
70 | MV_49_1_line_70 |  | 66 | 67 | 0.016584 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
71 | MV_49_1_line_71 |  | 66 | 68 | 0.27229 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
72 | MV_49_1_line_72 |  | 70 | 71 | 0.099032 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
73 | MV_49_1_line_73 |  | 70 | 72 | 0.64638 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
74 | MV_49_1_line_74 |  | 71 | 76 | 0.18704 | 0.2376 | 0.344 | 10.3 | 0 | 0.41 | 1 | 1 | ol | TRUE
75 | MV_49_1_line_75 |  | 72 | 80 | 0.13958 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
76 | MV_49_1_line_76 |  | 72 | 78 | 0.16838 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
77 | MV_49_1_line_77 |  | 73 | 74 | 0.063152 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
78 | MV_49_1_line_78 |  | 73 | 75 | 0.12234 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
79 | MV_49_1_line_79 |  | 74 | 76 | 0.1302 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
80 | MV_49_1_line_80 |  | 75 | 77 | 0.097039 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
81 | MV_49_1_line_81 |  | 77 | 99 | 0.10782 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
82 | MV_49_1_line_82 |  | 78 | 79 | 0.22071 | 0.5939 | 0.372 | 9.5 | 0 | 0.21 | 1 | 1 | ol | TRUE
83 | MV_49_1_line_83 |  | 81 | 82 | 0.011465 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
84 | MV_49_1_line_84 |  | 82 | 83 | 0.40523 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
85 | MV_49_1_line_85 |  | 83 | 84 | 0.002299 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
86 | MV_49_1_line_86 |  | 83 | 85 | 0.40567 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
87 | MV_49_1_line_87 |  | 86 | 87 | 0.29381 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
88 | MV_49_1_line_88 |  | 87 | 88 | 0.009029 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
89 | MV_49_1_line_89 |  | 87 | 89 | 0.089478 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
90 | MV_49_1_line_90 |  | 88 | 91 | 0.050763 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
91 | MV_49_1_line_91 |  | 89 | 92 | 0.054221 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
92 | MV_49_1_line_92 |  | 90 | 93 | 0.032914 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
93 | MV_49_1_line_93 |  | 91 | 95 | 0.087444 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
94 | MV_49_1_line_94 |  | 92 | 96 | 0.050379 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
95 | MV_49_1_line_95 |  | 93 | 94 | 0.042429 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
96 | MV_49_1_line_96 |  | 94 | 98 | 0.053143 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
97 | MV_49_1_line_97 |  | 95 | 99 | 0.091161 | 0.122 | 0.112 | 304 | 0 | 0.421 | 1 | 1 | cs | TRUE
98 | MV_49_1_line_98 |  | 96 | 100 | 0.14442 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
99 | MV_49_1_line_99 |  | 97 | 98 | 0.0043241 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE
100 | MV_49_1_line_100 |  | 100 | 101 | 0.060506 | 0.445 | 0.132 | 190 | 0 | 0.22 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | MV_49_1_trafo_159 | 25 MVA 110/20 kV | 102 | 80 | 25 | 110 | 20 | 12 | 0.41 | 14 | 0.07 | 150 | hv | 0 | -9 | 9 | 1.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## bus_geodata
| x | y | coords
0 | 2759211.9746 | 1238981.0001
1 | 2759214.3412 | 1239023.9497
2 | 2757914.0085 | 1236306.3227
3 | 2759193.9775 | 1239393.5968
4 | 2759193.066 | 1239333.3693
5 | 2758579.6883 | 1239656.4599
6 | 2758296.7328 | 1239472.1978
7 | 2756595.1183 | 1237349.8546
8 | 2756136.3823 | 1236559.4808
9 | 2756146.3918 | 1236568.964
10 | 2756030.387 | 1236227.3355
11 | 2756582.8776 | 1236821.8828
12 | 2756322.3934 | 1236541.0326
13 | 2755958.2923 | 1236196.4132
14 | 2756559.6931 | 1237331.0695
15 | 2756608.8237 | 1236807.7303
16 | 2756320.0808 | 1236537.1347
17 | 2756327.2762 | 1236549.9696
18 | 2752861.718 | 1233170.5873
19 | 2752864.4334 | 1233174.5719
20 | 2752795.321 | 1233141.7089
21 | 2752916.585 | 1233379.2036
22 | 2752787.1038 | 1233079.7957
23 | 2752681.378 | 1233110.5632
24 | 2753064.5637 | 1233572.8706
25 | 2755352.0074 | 1235594.3586
26 | 2755348.5836 | 1235598.4507
27 | 2755661.1592 | 1235950.365
28 | 2754153.3796 | 1234807.8232
29 | 2755680.0593 | 1235983.2581
30 | 2755434.0413 | 1233334.4927
31 | 2755535.2275 | 1233394.8186
32 | 2755667.3829 | 1231817.2168
33 | 2755991.3159 | 1233477.0258
34 | 2755728.1451 | 1233781.3121
35 | 2756055.4473 | 1233597.79
36 | 2752487.5203 | 1232702.0749
37 | 2752540.4605 | 1232711.5196
38 | 2752669.5888 | 1232893.1586
39 | 2752674.6121 | 1232901.9736
40 | 2753331.8994 | 1233874.8206
41 | 2753243.4093 | 1233764.9692
42 | 2753672.7186 | 1234494.4027
43 | 2753071.8834 | 1233577.7748
44 | 2753995.8429 | 1234647.3993
45 | 2753980.655 | 1234637.2963
46 | 2754037.2532 | 1234679.2802
47 | 2753723.7086 | 1234500.3937
48 | 2754114.0561 | 1234828.3559
49 | 2756640.4455 | 1236523.015
50 | 2756517.7355 | 1236372.3594
51 | 2756564.4453 | 1236330.9729
52 | 2756357.0435 | 1236506.6784
53 | 2756690.6063 | 1236223.552
54 | 2756351.4926 | 1236511.4796
55 | 2757270.1208 | 1235759.1757
56 | 2757264.2389 | 1235687.6517
57 | 2757616.6622 | 1235698.9145
58 | 2756324.3633 | 1236534.9453
59 | 2756045.9707 | 1233602.7013
60 | 2756192.4376 | 1234199.4685
61 | 2756191.5893 | 1234227.9732
62 | 2755877.5791 | 1236040.1131
63 | 2755827.7347 | 1236094.8687
64 | 2755959.57 | 1236192.1649
65 | 2755770.1198 | 1236044.9994
66 | 2755602.7445 | 1236240.2433
67 | 2755598.5231 | 1236256.2813
68 | 2755713.3401 | 1236007.4198
69 | 2755764.777 | 1236103.8531
70 | 2756921.9908 | 1234704.134
71 | 2756960.1114 | 1234795.5352
72 | 2756275.6601 | 1234696.4382
73 | 2757128.4103 | 1234615.3471
74 | 2757134.4022 | 1234678.2146
75 | 2757240.6419 | 1234568.026
76 | 2757146.75 | 1234807.8301
77 | 2757279.7302 | 1234656.8269
78 | 2756280.6079 | 1234528.1311
79 | 2756189.6807 | 1234327.0168
80 | 2756271.5584 | 1234835.9628
81 | 2755862.7719 | 1231143.3634
82 | 2755866.1364 | 1231154.3239
83 | 2755728.5947 | 1231348.8581
84 | 2755726.6334 | 1231347.65
85 | 2755677.5382 | 1231632.9764
86 | 2757468.743 | 1235268.1949
87 | 2757384.1518 | 1234986.8242
88 | 2757381.4796 | 1234978.1996
89 | 2757295.4675 | 1234998.0089
90 | 2757621.7444 | 1235712.8456
91 | 2757366.4522 | 1234929.7121
92 | 2757242.3204 | 1235008.0787
93 | 2757633.0247 | 1235743.7666
94 | 2757640.506 | 1235785.531
95 | 2757341.1813 | 1234845.9989
96 | 2757212.3209 | 1235046.3214
97 | 2757650.6389 | 1235842.0982
98 | 2757649.8764 | 1235837.8418
99 | 2757314.9407 | 1234758.6963
100 | 2757190.5817 | 1234908.0367
101 | 2757250.5784 | 1234915.8709
102 | 2756271.5584 | 1234835.9628

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9897 | -0.24713 | 0.12313 | 0.059636
1 | 0.98968 | -0.24724 | 0 | 0
2 | 0.99114 | -0.23441 | 0.12806 | 0.062024
3 | 0.9896 | -0.24664 | 0 | 0
4 | 0.98959 | -0.24674 | 0.13212 | 0.063988
5 | 0.98608 | -0.30397 | 0.081085 | 0.039271
6 | 0.98614 | -0.30362 | 0.16254 | 0.078721
7 | 0.98743 | -0.29493 | 0 | 0
8 | 0.98808 | -0.29983 | 0.15433 | 0.074744
9 | 0.98809 | -0.29966 | 0 | 0
10 | 0.98747 | -0.31692 | 0 | 0
11 | 0.9877 | -0.29702 | 0 | 0
12 | 0.98841 | -0.29536 | 0 | 0
13 | 0.98741 | -0.31778 | 0.15839 | 0.076713
14 | 0.98742 | -0.29497 | 0.083298 | 0.040343
15 | 0.98769 | -0.29697 | 0.14218 | 0.068859
16 | 0.98841 | -0.29529 | 0.079557 | 0.038531
17 | 0.9884 | -0.29535 | 0.13507 | 0.065415
18 | 0.98361 | -0.36747 | 0.091602 | 0.044365
19 | 0.98361 | -0.36748 | 0 | 0
20 | 0.98358 | -0.36731 | 0 | 0
21 | 0.98388 | -0.36916 | 0 | 0
22 | 0.98356 | -0.3672 | 0 | 0
23 | 0.98357 | -0.36721 | 0.068943 | 0.033391
24 | 0.98405 | -0.36737 | 0.078225 | 0.037886
25 | 0.98691 | -0.32469 | 0.079234 | 0.038375
26 | 0.98691 | -0.3247 | 0 | 0
27 | 0.98715 | -0.32141 | 0 | 0
28 | 0.98558 | -0.36281 | 0.067968 | 0.032919
29 | 0.98717 | -0.32115 | 0.15938 | 0.077192
30 | 0.99768 | -0.0084084 | 0.05017 | 0.024299
31 | 0.99774 | -0.0088564 | 0 | 0
32 | 0.99655 | -0.018366 | 0.16102 | 0.077987
33 | 0.99809 | -0.011196 | 0 | 0
34 | 0.99765 | -0.0094804 | 0.11719 | 0.056757
35 | 0.99823 | -0.0098442 | 0.12383 | 0.059972
36 | 0.98345 | -0.36636 | 0.1365 | 0.066111
37 | 0.98346 | -0.36645 | 0 | 0
38 | 0.98351 | -0.36679 | 0 | 0
39 | 0.98351 | -0.3668 | 0.064823 | 0.031395
40 | 0.98431 | -0.36696 | 0.063504 | 0.030756
41 | 0.98419 | -0.36821 | 0 | 0
42 | 0.98499 | -0.3601 | 0.14212 | 0.06883
43 | 0.98405 | -0.3674 | 0 | 0
44 | 0.9853 | -0.36111 | 0.098051 | 0.047488
45 | 0.98529 | -0.36102 | 0 | 0
46 | 0.98535 | -0.36143 | 0 | 0
47 | 0.98505 | -0.35951 | 0 | 0
48 | 0.98553 | -0.36256 | 0 | 0
49 | 0.98868 | -0.29123 | 0.16215 | 0.078532
50 | 0.98874 | -0.29084 | 0 | 0
51 | 0.98883 | -0.2897 | 0.058469 | 0.028318
52 | 0.98847 | -0.29448 | 0 | 0
53 | 0.98906 | -0.28658 | 0 | 0
54 | 0.98846 | -0.29461 | 0.087985 | 0.042613
55 | 0.99042 | -0.2681 | 0 | 0
56 | 0.99042 | -0.26805 | 0.062176 | 0.030113
57 | 0.99151 | -0.2369 | 0.25728 | 0.12461
58 | 0.98842 | -0.29521 | 0 | 0
59 | 0.99824 | -0.009906 | 0 | 0
60 | 0.99881 | -0.013396 | 0 | 0
61 | 0.99883 | -0.013532 | 0.15912 | 0.077064
62 | 0.98727 | -0.31958 | 0.12234 | 0.05925
63 | 0.98729 | -0.31947 | 0 | 0
64 | 0.98741 | -0.31783 | 0 | 0
65 | 0.98723 | -0.32021 | 0 | 0
66 | 0.98716 | -0.32061 | 0 | 0
67 | 0.98716 | -0.3206 | 0.084526 | 0.040938
68 | 0.98719 | -0.32083 | 0 | 0
69 | 0.98722 | -0.32012 | 0.091526 | 0.044328
70 | 0.99592 | -0.13842 | 0.058394 | 0.028281
71 | 0.99568 | -0.14327 | 0.07863 | 0.038082
72 | 0.99959 | -0.0081049 | 0.093696 | 0.045379
73 | 0.99419 | -0.18931 | 0 | 0
74 | 0.99433 | -0.18646 | 0.28324 | 0.13718
75 | 0.99391 | -0.19483 | 0 | 0
76 | 0.99464 | -0.1803 | 0.1532 | 0.074201
77 | 0.9937 | -0.1992 | 0.27872 | 0.13499
78 | 0.99928 | -0.010884 | 0.12826 | 0.062118
79 | 0.99893 | -0.014183 | 0 | 0
80 | 1 | 0 | -6.9224 | -3.0287
81 | 0.99631 | -0.018146 | 0.08891 | 0.043061
82 | 0.99631 | -0.018158 | 0 | 0
83 | 0.99636 | -0.01846 | 0 | 0
84 | 0.99636 | -0.018456 | 0.13811 | 0.066892
85 | 0.99647 | -0.019186 | 0 | 0
86 | 0.99245 | -0.2244 | 0.2027 | 0.098174
87 | 0.99297 | -0.2139 | 0 | 0
88 | 0.99298 | -0.21353 | 0.15118 | 0.073222
89 | 0.99289 | -0.21326 | 0 | 0
90 | 0.9915 | -0.23677 | 0.12799 | 0.061989
91 | 0.99309 | -0.2114 | 0 | 0
92 | 0.99285 | -0.21286 | 0.31219 | 0.1512
93 | 0.99146 | -0.23653 | 0 | 0
94 | 0.99144 | -0.23634 | 0.12804 | 0.062012
95 | 0.99327 | -0.20772 | 0.088724 | 0.042971
96 | 0.99283 | -0.21268 | 0 | 0
97 | 0.99142 | -0.23617 | 0.12803 | 0.062008
98 | 0.99143 | -0.23618 | 0.12804 | 0.062012
99 | 0.99347 | -0.20382 | 0 | 0
100 | 0.99277 | -0.21215 | 0 | 0
101 | 0.99274 | -0.21192 | 0.32215 | 0.15602
102 | 0.99997 | 149.9981 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.13213 | 0.052657 | -0.13213 | -0.052706 | 1.3194e-06 | -4.9471e-05 | 0.0041488 | 0.0041494 | 0.0041494 | 0.9897 | -0.24713 | 0.98968 | -0.24724 | 1.9759
1 | -0.25527 | -0.11229 | 0.25562 | 0.10903 | 0.00034873 | -0.003263 | 0.0081342 | 0.0080939 | 0.0081342 | 0.9897 | -0.24713 | 0.99114 | -0.23441 | 3.8734
2 | 0.13213 | 0.052706 | -0.13212 | -0.063919 | 1.1364e-05 | -0.011213 | 0.0041494 | 0.0042814 | 0.0042814 | 0.98968 | -0.24724 | 0.9896 | -0.24664 | 1.9461
3 | -0.38368 | -0.17105 | 0.38381 | 0.15555 | 0.00013044 | -0.015504 | 0.012235 | 0.012058 | 0.012235 | 0.99114 | -0.23441 | 0.99146 | -0.23653 | 5.5614
4 | 0.13212 | 0.063919 | -0.13212 | -0.063988 | 1.9676e-06 | -6.9187e-05 | 0.0042814 | 0.0042823 | 0.0042823 | 0.9896 | -0.24664 | 0.98959 | -0.24674 | 2.0392
5 | -0.081085 | -0.039271 | 0.081089 | 0.038882 | 4.1772e-06 | -0.00038937 | 0.0026375 | 0.0026325 | 0.0026375 | 0.98608 | -0.30397 | 0.98614 | -0.30362 | 1.256
6 | -0.24363 | -0.1176 | 0.24393 | 0.11463 | 0.00030243 | -0.0029728 | 0.0079193 | 0.0078795 | 0.0079193 | 0.98614 | -0.30362 | 0.98743 | -0.29493 | 3.7711
7 | -0.32723 | -0.15493 | 0.32732 | 0.14018 | 9.3279e-05 | -0.014747 | 0.010585 | 0.010407 | 0.010585 | 0.98743 | -0.29493 | 0.9877 | -0.29702 | 4.8112
8 | 0.083299 | 0.040297 | -0.083298 | -0.040343 | 5.2295e-07 | -4.6345e-05 | 0.0027052 | 0.0027058 | 0.0027058 | 0.98743 | -0.29493 | 0.98742 | -0.29497 | 1.2885
9 | -1.6647 | -0.71034 | 1.6647 | 0.70989 | 1.8591e-05 | -0.00044759 | 0.052879 | 0.052873 | 0.052879 | 0.98808 | -0.29983 | 0.98809 | -0.29966 | 14.6073
10 | 1.5104 | 0.6356 | -1.5096 | -0.63518 | 0.00073366 | 0.00041167 | 0.047875 | 0.04788 | 0.04788 | 0.98808 | -0.29983 | 0.98747 | -0.31692 | 13.68
11 | 0.4697 | 0.19307 | -0.4695 | -0.20835 | 0.00019571 | -0.015281 | 0.014836 | 0.015013 | 0.015013 | 0.98809 | -0.29966 | 0.9877 | -0.29702 | 6.8239
12 | -2.1344 | -0.90296 | 2.135 | 0.89407 | 0.00061645 | -0.0088942 | 0.067709 | 0.067603 | 0.067709 | 0.98809 | -0.29966 | 0.98841 | -0.29536 | 18.7041
13 | 1.5096 | 0.63518 | -1.5096 | -0.63775 | 8.7157e-05 | -0.002568 | 0.04788 | 0.04791 | 0.04791 | 0.98747 | -0.31692 | 0.98741 | -0.31778 | 13.2348
14 | 0.14218 | 0.068171 | -0.14218 | -0.068859 | 8.3952e-07 | -0.00068815 | 0.0046084 | 0.0046171 | 0.0046171 | 0.9877 | -0.29702 | 0.98769 | -0.29697 | 2.0987
15 | -2.2701 | -0.95925 | 2.2701 | 0.9591 | 1.1333e-05 | -0.00014356 | 0.071977 | 0.071975 | 0.071977 | 0.98841 | -0.29536 | 0.98841 | -0.29529 | 19.8832
16 | 0.13507 | 0.065178 | -0.13507 | -0.065415 | 2.6082e-07 | -0.00023731 | 0.00438 | 0.004383 | 0.004383 | 0.98841 | -0.29536 | 0.9884 | -0.29535 | 1.9923
17 | 1.3512 | 0.56104 | -1.3512 | -0.56119 | 3.9199e-06 | -0.00014553 | 0.042772 | 0.042774 | 0.042774 | 0.98741 | -0.31778 | 0.98741 | -0.31783 | 11.816
18 | -2.3497 | -0.99763 | 2.3497 | 0.99748 | 1.2883e-05 | -0.00015148 | 0.074554 | 0.074552 | 0.074554 | 0.98841 | -0.29529 | 0.98842 | -0.29521 | 20.595
19 | -0.091602 | -0.044365 | 0.091602 | 0.044254 | 5.7404e-08 | -0.00011128 | 0.0029871 | 0.0029857 | 0.0029871 | 0.98361 | -0.36747 | 0.98361 | -0.36748 | 1.3578
20 | 0.2703 | 0.11291 | -0.27029 | -0.1147 | 7.668e-06 | -0.0017885 | 0.0085973 | 0.0086177 | 0.0086177 | 0.98361 | -0.36748 | 0.98358 | -0.36731 | 3.9171
21 | -0.3619 | -0.15716 | 0.36201 | 0.14344 | 0.00010509 | -0.01372 | 0.01158 | 0.011425 | 0.01158 | 0.98361 | -0.36748 | 0.98388 | -0.36916 | 5.2635
22 | 0.20135 | 0.084139 | -0.20134 | -0.085653 | 3.6021e-06 | -0.0015142 | 0.0064047 | 0.006422 | 0.006422 | 0.98358 | -0.36731 | 0.98356 | -0.3672 | 2.9191
23 | 0.068944 | 0.03056 | -0.068943 | -0.033391 | 8.142e-07 | -0.0028313 | 0.0022133 | 0.0022483 | 0.0022483 | 0.98358 | -0.36731 | 0.98357 | -0.36721 | 1.022
24 | -0.36201 | -0.14344 | 0.36206 | 0.1432 | 5.6668e-05 | -0.00024621 | 0.011425 | 0.011422 | 0.011425 | 0.98388 | -0.36916 | 0.98405 | -0.36737 | 5.4404
25 | 0.20134 | 0.085653 | -0.20133 | -0.090546 | 1.1775e-05 | -0.0048926 | 0.006422 | 0.0064796 | 0.0064796 | 0.98356 | -0.3672 | 0.98351 | -0.3668 | 2.9453
26 | -0.44029 | -0.18108 | 0.44029 | 0.18088 | 2.2892e-06 | -0.00020262 | 0.013966 | 0.013964 | 0.013966 | 0.98405 | -0.36737 | 0.98405 | -0.3674 | 6.3481
27 | -0.079234 | -0.038375 | 0.079234 | 0.038251 | 4.7149e-08 | -0.00012394 | 0.0025751 | 0.0025736 | 0.0025751 | 0.98691 | -0.32469 | 0.98691 | -0.3247 | 1.1705
28 | -0.89291 | -0.37786 | 0.8931 | 0.36139 | 0.00019181 | -0.016473 | 0.02836 | 0.028174 | 0.02836 | 0.98691 | -0.3247 | 0.98715 | -0.32141 | 7.8343
29 | 0.81367 | 0.33961 | -0.8128 | -0.34036 | 0.00087566 | -0.00075003 | 0.02579 | 0.02581 | 0.02581 | 0.98691 | -0.3247 | 0.98558 | -0.36281 | 7.3742
30 | -0.8931 | -0.36139 | 0.89311 | 0.36012 | 1.4612e-05 | -0.0012641 | 0.028174 | 0.02816 | 0.028174 | 0.98715 | -0.32141 | 0.98717 | -0.32115 | 7.783
31 | 0.74483 | 0.30744 | -0.74479 | -0.30846 | 3.2931e-05 | -0.0010168 | 0.023601 | 0.023613 | 0.023613 | 0.98558 | -0.36281 | 0.98553 | -0.36256 | 10.7331
32 | -1.0525 | -0.43732 | 1.0525 | 0.43595 | 2.2141e-05 | -0.0013642 | 0.033329 | 0.033314 | 0.033329 | 0.98717 | -0.32115 | 0.98719 | -0.32083 | 9.2069
33 | -0.43868 | -0.19093 | 0.43871 | 0.18814 | 3.0059e-05 | -0.0027902 | 0.013843 | 0.013811 | 0.013843 | 0.99768 | -0.0084084 | 0.99774 | -0.0088564 | 6.2923
34 | 0.38851 | 0.16663 | -0.3881 | -0.16819 | 0.0004099 | -0.0015653 | 0.012232 | 0.012252 | 0.012252 | 0.99768 | -0.0084084 | 0.99655 | -0.018366 | 5.8345
35 | -0.55591 | -0.24439 | 0.55611 | 0.23264 | 0.0002031 | -0.011749 | 0.01757 | 0.017435 | 0.01757 | 0.99774 | -0.0088564 | 0.99809 | -0.011196 | 7.9862
36 | 0.1172 | 0.056251 | -0.11719 | -0.056757 | 1.0907e-05 | -0.00050648 | 0.0037613 | 0.0037677 | 0.0037677 | 0.99774 | -0.0088564 | 0.99765 | -0.0094804 | 1.7942
37 | 0.22707 | 0.090207 | -0.22706 | -0.090415 | 1.6474e-05 | -0.00020843 | 0.0070777 | 0.0070801 | 0.0070801 | 0.99655 | -0.018366 | 0.99647 | -0.019186 | 3.3715
38 | -0.55611 | -0.23264 | 0.55618 | 0.23252 | 7.4048e-05 | -0.00011626 | 0.017435 | 0.017433 | 0.017435 | 0.99809 | -0.011196 | 0.99823 | -0.0098442 | 8.3023
39 | -0.68001 | -0.29249 | 0.68002 | 0.29224 | 6.5145e-06 | -0.00025145 | 0.021407 | 0.021404 | 0.021407 | 0.99823 | -0.0098442 | 0.99824 | -0.009906 | 9.7304
40 | -0.1365 | -0.066111 | 0.1365 | 0.064853 | 1.4373e-06 | -0.0012585 | 0.004452 | 0.004436 | 0.004452 | 0.98345 | -0.36636 | 0.98346 | -0.36645 | 2.0236
41 | -0.1365 | -0.064853 | 0.13651 | 0.059385 | 6.1274e-06 | -0.0054679 | 0.004436 | 0.0043695 | 0.004436 | 0.98346 | -0.36645 | 0.98351 | -0.36679 | 2.0164
42 | -0.13651 | -0.059385 | 0.13651 | 0.059151 | 2.5827e-07 | -0.00023408 | 0.0043695 | 0.0043668 | 0.0043695 | 0.98351 | -0.36679 | 0.98351 | -0.3668 | 1.9861
43 | 0.44041 | 0.17479 | -0.44036 | -0.17492 | 4.8538e-05 | -0.00013273 | 0.013896 | 0.013898 | 0.013898 | 0.98431 | -0.36696 | 0.98419 | -0.36821 | 6.6181
44 | -0.50391 | -0.20555 | 0.50423 | 0.20493 | 0.00032077 | -0.00061754 | 0.015961 | 0.015952 | 0.015961 | 0.98431 | -0.36696 | 0.98499 | -0.3601 | 7.6003
45 | 0.44036 | 0.17492 | -0.44029 | -0.18088 | 6.6949e-05 | -0.0059558 | 0.013898 | 0.013964 | 0.013964 | 0.98419 | -0.36821 | 0.98405 | -0.3674 | 6.3471
46 | -0.64635 | -0.27376 | 0.64639 | 0.27373 | 3.8711e-05 | -3.5221e-05 | 0.020572 | 0.020571 | 0.020572 | 0.98499 | -0.3601 | 0.98505 | -0.35951 | 9.7962
47 | 0.64656 | 0.26658 | -0.64655 | -0.267 | 1.0205e-05 | -0.00041893 | 0.02049 | 0.020495 | 0.020495 | 0.9853 | -0.36111 | 0.98529 | -0.36102 | 9.3158
48 | -0.74461 | -0.31407 | 0.74465 | 0.31287 | 3.9026e-05 | -0.0011979 | 0.023677 | 0.023663 | 0.023677 | 0.9853 | -0.36111 | 0.98535 | -0.36143 | 10.7622
49 | 0.64655 | 0.267 | -0.64639 | -0.27373 | 0.0001645 | -0.006724 | 0.020495 | 0.020571 | 0.020571 | 0.98529 | -0.36102 | 0.98505 | -0.35951 | 9.3506
50 | -0.74465 | -0.31287 | 0.74479 | 0.30846 | 0.00014339 | -0.0044144 | 0.023663 | 0.023613 | 0.023663 | 0.98535 | -0.36143 | 0.98553 | -0.36256 | 10.756
51 | -0.16215 | -0.078532 | 0.16216 | 0.078311 | 9.5748e-06 | -0.00022076 | 0.0052604 | 0.0052576 | 0.0052604 | 0.98868 | -0.29123 | 0.98874 | -0.29084 | 2.505
52 | -2.6005 | -1.1105 | 2.6008 | 1.1085 | 0.00020508 | -0.001941 | 0.082558 | 0.082535 | 0.082558 | 0.98874 | -0.29084 | 0.98883 | -0.2897 | 22.8062
53 | 2.4384 | 1.0322 | -2.4378 | -1.0387 | 0.0006052 | -0.0065826 | 0.077307 | 0.077387 | 0.077387 | 0.98874 | -0.29084 | 0.98847 | -0.29448 | 21.3777
54 | -2.6592 | -1.1368 | 2.6598 | 1.1317 | 0.00056917 | -0.0051372 | 0.084429 | 0.084365 | 0.084429 | 0.98883 | -0.2897 | 0.98906 | -0.28658 | 23.3229
55 | 2.4378 | 1.0387 | -2.4378 | -1.039 | 2.123e-05 | -0.00023058 | 0.077387 | 0.07739 | 0.07739 | 0.98847 | -0.29448 | 0.98846 | -0.29461 | 21.3784
56 | -2.6598 | -1.1317 | 2.6631 | 1.1018 | 0.0032884 | -0.029896 | 0.084365 | 0.084001 | 0.084365 | 0.98906 | -0.28658 | 0.99042 | -0.2681 | 23.3054
57 | 2.3498 | 0.99635 | -2.3497 | -0.99748 | 9.6275e-05 | -0.0011323 | 0.074538 | 0.074552 | 0.074552 | 0.98846 | -0.29461 | 0.98842 | -0.29521 | 20.5945
58 | 0.062176 | 0.028432 | -0.062176 | -0.030113 | 3.8444e-07 | -0.0016809 | 0.0019927 | 0.0020136 | 0.0020136 | 0.99042 | -0.2681 | 0.99042 | -0.26805 | 0.91527
59 | -2.7253 | -1.1302 | 2.7276 | 1.1325 | 0.0023876 | 0.0022969 | 0.085993 | 0.085988 | 0.085993 | 0.99042 | -0.2681 | 0.99151 | -0.2369 | 24.5693
60 | 0.89597 | 0.40012 | -0.89595 | -0.40047 | 1.616e-05 | -0.00034328 | 0.028569 | 0.028573 | 0.028573 | 0.99151 | -0.2369 | 0.9915 | -0.23677 | 12.9877
61 | -3.8809 | -1.6573 | 3.8842 | 1.6443 | 0.0033174 | -0.012971 | 0.12286 | 0.12269 | 0.12286 | 0.99151 | -0.2369 | 0.99245 | -0.2244 | 33.9397
62 | -0.68002 | -0.29224 | 0.68042 | 0.27664 | 0.00040053 | -0.015601 | 0.021404 | 0.021229 | 0.021404 | 0.99824 | -0.009906 | 0.99881 | -0.013396 | 9.7291
63 | -0.68042 | -0.27664 | 0.68044 | 0.27597 | 1.7155e-05 | -0.00067434 | 0.021229 | 0.021221 | 0.021229 | 0.99881 | -0.013396 | 0.99883 | -0.013532 | 9.6494
64 | -0.83955 | -0.35303 | 0.83964 | 0.3507 | 9.1551e-05 | -0.0023331 | 0.026322 | 0.026296 | 0.026322 | 0.99883 | -0.013532 | 0.99893 | -0.014183 | 11.9646
65 | -0.12234 | -0.05925 | 0.12234 | 0.059165 | 2.0835e-06 | -8.4855e-05 | 0.0039745 | 0.0039734 | 0.0039745 | 0.98727 | -0.31958 | 0.98729 | -0.31947 | 1.8926
66 | -1.351 | -0.56664 | 1.3512 | 0.56119 | 0.00014731 | -0.0054596 | 0.042837 | 0.042774 | 0.042837 | 0.98729 | -0.31947 | 0.98741 | -0.31783 | 11.8333
67 | 1.2287 | 0.50748 | -1.2286 | -0.51014 | 5.8995e-05 | -0.0026583 | 0.038869 | 0.0389 | 0.0389 | 0.98729 | -0.31947 | 0.98723 | -0.32021 | 10.7457
68 | 0.091527 | 0.042411 | -0.091526 | -0.044328 | 9.6451e-07 | -0.0019165 | 0.0029497 | 0.0029737 | 0.0029737 | 0.98723 | -0.32021 | 0.98722 | -0.32012 | 1.3517
69 | 1.1371 | 0.46773 | -1.137 | -0.47017 | 4.6288e-05 | -0.0024434 | 0.035952 | 0.03598 | 0.03598 | 0.98723 | -0.32021 | 0.98719 | -0.32083 | 9.9392
70 | 0.084526 | 0.040552 | -0.084526 | -0.040938 | 1.667e-07 | -0.00038581 | 0.0027415 | 0.0027464 | 0.0027464 | 0.98716 | -0.32061 | 0.98716 | -0.3206 | 1.2484
71 | -0.084526 | -0.040552 | 0.084529 | 0.034217 | 2.6554e-06 | -0.0063348 | 0.0027415 | 0.0026666 | 0.0027415 | 0.98716 | -0.32061 | 0.98719 | -0.32083 | 1.2462
72 | 5.7698 | 2.5131 | -5.7686 | -2.5157 | 0.0012064 | -0.002644 | 0.18242 | 0.18246 | 0.18246 | 0.99592 | -0.13842 | 0.99568 | -0.14327 | 43.3397
73 | -5.8282 | -2.5414 | 5.8438 | 2.5632 | 0.015648 | 0.021823 | 0.1843 | 0.18429 | 0.1843 | 0.99592 | -0.13842 | 0.99959 | -0.0081049 | 44.9502
74 | 5.6899 | 2.4776 | -5.6856 | -2.4716 | 0.0043164 | 0.0060095 | 0.17993 | 0.17993 | 0.17993 | 0.99568 | -0.14327 | 0.99464 | -0.1803 | 43.8858
75 | -6.906 | -3.0213 | 6.9084 | 3.0182 | 0.0024203 | -0.0031082 | 0.21769 | 0.21763 | 0.21769 | 0.99959 | -0.0081049 | 1 | 0 | 51.7081
76 | 0.96845 | 0.4127 | -0.96817 | -0.41272 | 0.00027731 | -2.709e-05 | 0.030402 | 0.030404 | 0.030404 | 0.99959 | -0.0081049 | 0.99928 | -0.010884 | 14.4782
77 | -5.2471 | -2.2656 | 5.2477 | 2.2638 | 0.00063645 | -0.0018006 | 0.16595 | 0.16592 | 0.16595 | 0.99419 | -0.18931 | 0.99433 | -0.18646 | 39.4184
78 | 5.2471 | 2.2656 | -5.2458 | -2.2691 | 0.0012335 | -0.0034858 | 0.16595 | 0.166 | 0.166 | 0.99419 | -0.18931 | 0.99391 | -0.19483 | 39.4311
79 | -5.531 | -2.401 | 5.5324 | 2.3974 | 0.0014598 | -0.0035791 | 0.17505 | 0.175 | 0.17505 | 0.99433 | -0.18646 | 0.99464 | -0.1803 | 41.5802
80 | 5.2458 | 2.2691 | -5.2449 | -2.2719 | 0.00097899 | -0.0027625 | 0.166 | 0.16605 | 0.16605 | 0.99391 | -0.19483 | 0.9937 | -0.1992 | 39.4411
81 | 4.9662 | 2.1369 | -4.9652 | -2.1401 | 0.00097369 | -0.0031722 | 0.15706 | 0.15711 | 0.15711 | 0.9937 | -0.1992 | 0.99347 | -0.20382 | 37.3173
82 | 0.83992 | 0.35061 | -0.83964 | -0.3507 | 0.00027189 | -9.2718e-05 | 0.026293 | 0.026296 | 0.026296 | 0.99928 | -0.010884 | 0.99893 | -0.014183 | 12.5218
83 | -0.08891 | -0.043061 | 0.08891 | 0.042789 | 1.2526e-07 | -0.0002717 | 0.0028623 | 0.0028589 | 0.0028623 | 0.99631 | -0.018146 | 0.99631 | -0.018158 | 1.3011
84 | -0.08891 | -0.042789 | 0.088914 | 0.033186 | 4.2455e-06 | -0.0096032 | 0.0028589 | 0.0027497 | 0.0028589 | 0.99631 | -0.018158 | 0.99636 | -0.01846 | 1.2995
85 | 0.13811 | 0.066837 | -0.13811 | -0.066892 | 6.074e-08 | -5.4474e-05 | 0.0044455 | 0.0044462 | 0.0044462 | 0.99636 | -0.01846 | 0.99636 | -0.018456 | 2.021
86 | -0.22703 | -0.10002 | 0.22706 | 0.090415 | 2.7553e-05 | -0.0096084 | 0.0071878 | 0.0070801 | 0.0071878 | 0.99636 | -0.01846 | 0.99647 | -0.019186 | 3.2672
87 | -4.0869 | -1.7425 | 4.0887 | 1.7331 | 0.0017941 | -0.0094141 | 0.12923 | 0.1291 | 0.12923 | 0.99245 | -0.2244 | 0.99297 | -0.2139 | 30.6959
88 | -4.7232 | -2.0309 | 4.7232 | 2.0307 | 7.3826e-05 | -0.00027232 | 0.14947 | 0.14946 | 0.14947 | 0.99297 | -0.2139 | 0.99298 | -0.21353 | 35.5031
89 | 0.63446 | 0.29787 | -0.63441 | -0.29996 | 4.9661e-05 | -0.0020916 | 0.020377 | 0.020403 | 0.020403 | 0.99297 | -0.2139 | 0.99289 | -0.21326 | 9.274
90 | -4.8744 | -2.1039 | 4.8749 | 2.1024 | 0.00044253 | -0.0015061 | 0.15434 | 0.15432 | 0.15434 | 0.99298 | -0.21353 | 0.99309 | -0.2114 | 36.661
91 | 0.63441 | 0.29996 | -0.63438 | -0.30123 | 3.0155e-05 | -0.0012672 | 0.020403 | 0.020419 | 0.020419 | 0.99289 | -0.21326 | 0.99285 | -0.21286 | 9.2812
92 | 0.76796 | 0.33848 | -0.76793 | -0.33924 | 2.6245e-05 | -0.00076475 | 0.024435 | 0.024444 | 0.024444 | 0.9915 | -0.23677 | 0.99146 | -0.23653 | 11.1108
93 | -4.8749 | -2.1024 | 4.8756 | 2.0998 | 0.000762 | -0.0025956 | 0.15432 | 0.15428 | 0.15432 | 0.99309 | -0.2114 | 0.99327 | -0.20772 | 36.6558
94 | 0.32219 | 0.15003 | -0.32218 | -0.15121 | 7.1919e-06 | -0.0011836 | 0.010334 | 0.010348 | 0.010348 | 0.99285 | -0.21286 | 0.99283 | -0.21268 | 4.7037
95 | 0.38412 | 0.18369 | -0.38411 | -0.18469 | 8.7143e-06 | -0.00099322 | 0.012397 | 0.01241 | 0.01241 | 0.99146 | -0.23653 | 0.99144 | -0.23634 | 5.6408
96 | 0.25608 | 0.12267 | -0.25607 | -0.12392 | 4.8585e-06 | -0.0012458 | 0.0082675 | 0.0082832 | 0.0082832 | 0.99144 | -0.23634 | 0.99143 | -0.23618 | 3.7651
97 | -4.9644 | -2.1427 | 4.9652 | 2.1401 | 0.00082373 | -0.0026803 | 0.15715 | 0.15711 | 0.15715 | 0.99327 | -0.20772 | 0.99347 | -0.20382 | 37.3267
98 | 0.32218 | 0.15121 | -0.32216 | -0.1546 | 2.073e-05 | -0.0033925 | 0.010348 | 0.010391 | 0.010391 | 0.99283 | -0.21268 | 0.99277 | -0.21215 | 4.723
99 | -0.12803 | -0.062008 | 0.12803 | 0.061907 | 9.9012e-08 | -0.00010145 | 0.0041421 | 0.0041408 | 0.0041421 | 0.99142 | -0.23617 | 0.99143 | -0.23618 | 1.8828
100 | 0.32216 | 0.1546 | -0.32215 | -0.15602 | 8.7358e-06 | -0.0014212 | 0.010391 | 0.010408 | 0.010408 | 0.99277 | -0.21215 | 0.99274 | -0.21192 | 4.7311

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.6518e-14 | 1.7507e-14 | 0.013999 | 0.0105 | 0.013999 | 0.0105 | 1.6678e-16 | 0.00050517 | 0.99997 | 149.9981 | 1 | 0 | 0.069998

## res_ext_grid
| p_mw | q_mvar
0 | 6.9224 | 3.0287

## res_load
| p_mw | q_mvar
0 | 0.12313 | 0.059636
1 | 0.12806 | 0.062024
2 | 0.13212 | 0.063988
3 | 0.081085 | 0.039271
4 | 0.16254 | 0.078721
5 | 0.15433 | 0.074744
6 | 0.15839 | 0.076713
7 | 0.083298 | 0.040343
8 | 0.14218 | 0.068859
9 | 0.079557 | 0.038531
10 | 0.13507 | 0.065415
11 | 0.091602 | 0.044365
12 | 0.068943 | 0.033391
13 | 0.078225 | 0.037886
14 | 0.079234 | 0.038375
15 | 0.067968 | 0.032919
16 | 0.15938 | 0.077192
17 | 0.05017 | 0.024299
18 | 0.16102 | 0.077987
19 | 0.11719 | 0.056757
20 | 0.12383 | 0.059972
21 | 0.1365 | 0.066111
22 | 0.064823 | 0.031395
23 | 0.063504 | 0.030756
24 | 0.14212 | 0.06883
25 | 0.098051 | 0.047488
26 | 0.16215 | 0.078532
27 | 0.058469 | 0.028318
28 | 0.087985 | 0.042613
29 | 0.062176 | 0.030113
30 | 0.25728 | 0.12461
31 | 0.15912 | 0.077064
32 | 0.12234 | 0.05925
33 | 0.084526 | 0.040938
34 | 0.091526 | 0.044328
35 | 0.058394 | 0.028281
36 | 0.07863 | 0.038082
37 | 0.093696 | 0.045379
38 | 0.28324 | 0.13718
39 | 0.1532 | 0.074201
40 | 0.27872 | 0.13499
41 | 0.12826 | 0.062118
42 | 0.08891 | 0.043061
43 | 0.13811 | 0.066892
44 | 0.2027 | 0.098174
45 | 0.15118 | 0.073222
46 | 0.12799 | 0.061989
47 | 0.31219 | 0.1512
48 | 0.12804 | 0.062012
49 | 0.088724 | 0.042971
50 | 0.12803 | 0.062008
51 | 0.12804 | 0.062012
52 | 0.32215 | 0.15602

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | bus_geodata | x | float64
59 | bus_geodata | y | float64
60 | bus_geodata | coords | object
61 | res_bus | vm_pu | float64
62 | res_bus | va_degree | float64
63 | res_bus | p_mw | float64
64 | res_bus | q_mvar | float64
65 | res_line | p_from_mw | float64
66 | res_line | q_from_mvar | float64
67 | res_line | p_to_mw | float64
68 | res_line | q_to_mvar | float64
69 | res_line | pl_mw | float64
70 | res_line | ql_mvar | float64
71 | res_line | i_from_ka | float64
72 | res_line | i_to_ka | float64
73 | res_line | i_ka | float64
74 | res_line | vm_from_pu | float64
75 | res_line | va_from_degree | float64
76 | res_line | vm_to_pu | float64
77 | res_line | va_to_degree | float64
78 | res_line | loading_percent | float64
79 | res_trafo | p_hv_mw | float64
80 | res_trafo | q_hv_mvar | float64
81 | res_trafo | p_lv_mw | float64
82 | res_trafo | q_lv_mvar | float64
83 | res_trafo | pl_mw | float64
84 | res_trafo | ql_mvar | float64
85 | res_trafo | i_hv_ka | float64
86 | res_trafo | i_lv_ka | float64
87 | res_trafo | vm_hv_pu | float64
88 | res_trafo | va_hv_degree | float64
89 | res_trafo | vm_lv_pu | float64
90 | res_trafo | va_lv_degree | float64
91 | res_trafo | loading_percent | float64
92 | res_ext_grid | p_mw | float64
93 | res_ext_grid | q_mvar | float64
94 | res_load | p_mw | float64
95 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1